## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6782-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6782-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6782-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6782-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6782-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6782-4_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6782-4_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_6782-4_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6782-4_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6782-4_0_3_node_47 | 0.4 | n |  | TRUE
10 | bus_LV_6782-4_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6782-4_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_6782-4_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6782-4_0_3_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_6782-4_0_3_node_64 | 0.4 | n |  | TRUE
15 | bus_LV_6782-4_0_3_node_62 | 0.4 | n |  | TRUE
16 | bus_LV_6782-4_0_3_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_6782-4_0_3_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_6782-4_0_3_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_6782-4_0_3_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_6782-4_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_6782-4_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6782-4_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6782-4_0_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_6782-4_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_6782-4_0_3_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_6782-4_0_3_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_6782-4_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_6782-4_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_6782-4_0_3_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_6782-4_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_6782-4_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_6782-4_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_6782-4_0_3_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_6782-4_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_6782-4_0_3_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_6782-4_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_6782-4_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_6782-4_0_3_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_6782-4_0_3_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_6782-4_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_6782-4_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_6782-4_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_6782-4_0_3_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_6782-4_0_3_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_6782-4_0_3_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_6782-4_0_3_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_6782-4_0_3_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_6782-4_0_3_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_6782-4_0_3_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_6782-4_0_3_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_6782-4_0_3_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_6782-4_0_3_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_6782-4_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_6782-4_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_6782-4_0_3_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_6782-4_0_3_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_6782-4_0_3_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_6782-4_0_3_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_6782-4_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_6782-4_0_3_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_6782-4_0_3_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_6782-4_0_3_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_6782-4_0_3_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_6782-4_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_6782-4_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_6782-4_0_3_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_6782-4_0_3_node_96 | 0.4 | n |  | TRUE
68 | bus_LV_6782-4_0_3_node_95 | 0.4 | n |  | TRUE
69 | bus_LV_6782-4_0_3_node_97 | 0.4 | n |  | TRUE
70 | bus_LV_6782-4_0_3_node_94 | 0.4 | n |  | TRUE
71 | bus_LV_6782-4_0_3_node_86 | 0.4 | n |  | TRUE
72 | bus_LV_6782-4_0_3_node_93 | 0.4 | n |  | TRUE
73 | bus_LV_6782-4_0_3_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_6782-4_0_3_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_6782-4_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_6782-4_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_6782-4_0_3_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_6782-4_0_3_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_6782-4_0_3_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_6782-4_0_3_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_6782-4_0_3_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_6782-4_0_3_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_6782-4_0_3_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_6782-4_0_3_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_6782-4_0_3_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_6782-4_0_3_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_6782-4_0_3_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_6782-4_0_3_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_6782-4_0_3_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_6782-4_0_3_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_6782-4_0_3_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_6782-4_0_3_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_6782-4_0_3_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_6782-4_0_3_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_6782-4_0_3_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_6782-4_0_3_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_6782-4_0_3_node_98 | 0.4 | n |  | TRUE
98 | bus_MV_342_0_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6782-4_0_3_load_0 | 0 | 0.0011588 | 0.00029043 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6782-4_0_3_load_1 | 1 | 0.0018413 | 0.00046146 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6782-4_0_3_load_2 | 2 | 0.0038805 | 0.00097253 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6782-4_0_3_load_6 | 5 | 0.0050781 | 0.0012727 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6782-4_0_3_load_11 | 6 | 0.0060849 | 0.001525 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6782-4_0_3_load_7 | 7 | 0.0017043 | 0.00042713 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6782-4_0_3_load_5 | 8 | 0.0022525 | 0.00056454 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6782-4_0_3_load_9 | 12 | 0.0016484 | 0.00041314 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6782-4_0_3_load_64 | 14 | 0.0012193 | 0.00030557 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6782-4_0_3_load_62 | 15 | 0.0014237 | 0.00035682 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6782-4_0_3_load_46 | 16 | 0.0012817 | 0.00032122 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6782-4_0_3_load_63 | 18 | 0.0011049 | 0.00027692 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6782-4_0_3_load_65 | 19 | 0.0015351 | 0.00038473 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6782-4_0_3_load_12 | 20 | 0.0076882 | 0.0019268 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6782-4_0_3_load_13 | 21 | 0.0046543 | 0.0011665 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6782-4_0_3_load_61 | 26 | 0.0035011 | 0.00087747 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6782-4_0_3_load_26 | 27 | 0.0022397 | 0.00056133 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6782-4_0_3_load_22 | 28 | 0.0025208 | 0.00063177 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6782-4_0_3_load_15 | 29 | 0.0026085 | 0.00065375 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6782-4_0_3_load_16 | 30 | 0.0033022 | 0.00082761 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6782-4_0_3_load_28 | 32 | 0.010748 | 0.0026936 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6782-4_0_3_load_18 | 33 | 0.001472 | 0.00036892 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6782-4_0_3_load_20 | 35 | 0.0016865 | 0.00042267 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6782-4_0_3_load_32 | 36 | 0.002538 | 0.00063609 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6782-4_0_3_load_29 | 37 | 0.001849 | 0.00046341 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6782-4_0_3_load_21 | 38 | 0.0023962 | 0.00060054 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6782-4_0_3_load_53 | 39 | 0.002151 | 0.00053909 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6782-4_0_3_load_30 | 40 | 0.002117 | 0.00053056 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6782-4_0_3_load_33 | 41 | 0.0016239 | 0.00040699 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6782-4_0_3_load_34 | 42 | 0.0019138 | 0.00047964 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6782-4_0_3_load_23 | 43 | 0.0025425 | 0.00063722 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6782-4_0_3_load_66 | 44 | 0.0042496 | 0.0010651 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6782-4_0_3_load_60 | 46 | 0.0025929 | 0.00064983 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6782-4_0_3_load_31 | 47 | 0.003053 | 0.00076515 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6782-4_0_3_load_51 | 48 | 0.00087782 | 0.00022 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6782-4_0_3_load_35 | 49 | 0.0018701 | 0.00046868 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6782-4_0_3_load_48 | 50 | 0.00093556 | 0.00023447 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6782-4_0_3_load_49 | 51 | 0.0021474 | 0.0005382 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6782-4_0_3_load_36 | 52 | 0.0030161 | 0.00075591 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6782-4_0_3_load_37 | 53 | 0.015275 | 0.0038283 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6782-4_0_3_load_39 | 55 | 0.0042082 | 0.0010547 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6782-4_0_3_load_40 | 56 | 0.0074532 | 0.001868 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6782-4_0_3_load_41 | 58 | 0.0018204 | 0.00045623 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6782-4_0_3_load_43 | 60 | 0.001873 | 0.00046941 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6782-4_0_3_load_67 | 61 | 0.0025161 | 0.00063059 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6782-4_0_3_load_68 | 62 | 0.0017992 | 0.00045091 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6782-4_0_3_load_50 | 63 | 0.0023445 | 0.00058759 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6782-4_0_3_load_55 | 66 | 0.0015042 | 0.000377 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6782-4_0_3_load_96 | 67 | 0.0013561 | 0.00033987 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6782-4_0_3_load_95 | 68 | 0.0029021 | 0.00072734 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6782-4_0_3_load_97 | 69 | 0.0013594 | 0.00034069 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6782-4_0_3_load_94 | 70 | 0.0039095 | 0.00097981 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6782-4_0_3_load_93 | 72 | 0.0025551 | 0.00064036 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6782-4_0_3_load_59 | 74 | 0.0036295 | 0.00090964 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6782-4_0_3_load_69 | 75 | 0.0013129 | 0.00032904 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6782-4_0_3_load_70 | 76 | 0.0058359 | 0.0014626 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6782-4_0_3_load_71 | 77 | 0.0073765 | 0.0018487 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6782-4_0_3_load_72 | 78 | 0.0016111 | 0.00040377 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6782-4_0_3_load_74 | 79 | 0.0022678 | 0.00056837 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6782-4_0_3_load_76 | 80 | 0.0012367 | 0.00030995 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6782-4_0_3_load_83 | 81 | 0.0022673 | 0.00056824 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6782-4_0_3_load_84 | 82 | 0.0023523 | 0.00058955 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6782-4_0_3_load_75 | 85 | 0.001937 | 0.00048545 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6782-4_0_3_load_78 | 87 | 0.001993 | 0.00049948 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6782-4_0_3_load_79 | 88 | 0.0016994 | 0.00042591 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6782-4_0_3_load_81 | 89 | 0.0070634 | 0.0017703 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6782-4_0_3_load_85 | 90 | 0.0019552 | 0.00049001 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6782-4_0_3_load_87 | 91 | 0.00079344 | 0.00019885 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6782-4_0_3_load_90 | 94 | 0.010992 | 0.0027548 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6782-4_0_3_load_91 | 95 | 0.0026488 | 0.00066386 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6782-4_0_3_load_92 | 96 | 0.0019961 | 0.00050027 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6782-4_0_3_load_98 | 97 | 0.0025202 | 0.00063163 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6782-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6782-4_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.024803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6782-4_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6782-4_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.043614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6782-4_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.044578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6782-4_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.01879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6782-4_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0048794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6782-4_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0055352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6782-4_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.018228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6782-4_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.027981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6782-4_0_3_line_10 | NAYY 4x150 SE | 9 | 19 | 0.041516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6782-4_0_3_line_11 | NAYY 4x150 SE | 9 | 13 | 0.032849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6782-4_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.006256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6782-4_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.004322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6782-4_0_3_line_14 | NAYY 4x150 SE | 11 | 15 | 0.018226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6782-4_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.0014949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6782-4_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.022862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6782-4_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.019775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6782-4_0_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.0056148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6782-4_0_3_line_19 | NAYY 4x150 SE | 16 | 51 | 0.015626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6782-4_0_3_line_20 | NAYY 4x150 SE | 17 | 61 | 0.023931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6782-4_0_3_line_21 | NAYY 4x150 SE | 17 | 59 | 0.02333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6782-4_0_3_line_22 | NAYY 4x150 SE | 19 | 62 | 0.027835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6782-4_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.012116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6782-4_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.027917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6782-4_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.04899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6782-4_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.021864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6782-4_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.042618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6782-4_0_3_line_28 | NAYY 4x150 SE | 23 | 26 | 0.015684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6782-4_0_3_line_29 | NAYY 4x150 SE | 24 | 27 | 0.017162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6782-4_0_3_line_30 | NAYY 4x150 SE | 24 | 28 | 0.013406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6782-4_0_3_line_31 | NAYY 4x150 SE | 25 | 44 | 0.020208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6782-4_0_3_line_32 | NAYY 4x150 SE | 25 | 45 | 0.015915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6782-4_0_3_line_33 | NAYY 4x150 SE | 26 | 46 | 0.0056414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6782-4_0_3_line_34 | NAYY 4x150 SE | 28 | 43 | 0.012545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6782-4_0_3_line_35 | NAYY 4x150 SE | 29 | 30 | 0.013906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6782-4_0_3_line_36 | NAYY 4x150 SE | 29 | 31 | 0.042782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6782-4_0_3_line_37 | NAYY 4x150 SE | 29 | 32 | 0.04978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6782-4_0_3_line_38 | NAYY 4x150 SE | 30 | 33 | 0.018284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6782-4_0_3_line_39 | NAYY 4x150 SE | 31 | 34 | 0.009481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6782-4_0_3_line_40 | NAYY 4x150 SE | 33 | 35 | 0.017885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6782-4_0_3_line_41 | NAYY 4x150 SE | 34 | 36 | 0.027944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_6782-4_0_3_line_42 | NAYY 4x150 SE | 34 | 37 | 0.0097644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_6782-4_0_3_line_43 | NAYY 4x150 SE | 35 | 38 | 0.031578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6782-4_0_3_line_44 | NAYY 4x150 SE | 36 | 39 | 0.050933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6782-4_0_3_line_45 | NAYY 4x150 SE | 37 | 40 | 0.0028116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_6782-4_0_3_line_46 | NAYY 4x150 SE | 38 | 41 | 3.7036e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6782-4_0_3_line_47 | NAYY 4x150 SE | 39 | 48 | 0.014683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6782-4_0_3_line_48 | NAYY 4x150 SE | 40 | 47 | 0.03565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_6782-4_0_3_line_49 | NAYY 4x150 SE | 41 | 42 | 0.02448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6782-4_0_3_line_50 | NAYY 4x150 SE | 42 | 49 | 0.0055696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6782-4_0_3_line_51 | NAYY 4x150 SE | 44 | 47 | 0.0013975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6782-4_0_3_line_52 | NAYY 4x150 SE | 45 | 57 | 0.00658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6782-4_0_3_line_53 | NAYY 4x150 SE | 45 | 55 | 0.019933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6782-4_0_3_line_54 | NAYY 4x150 SE | 46 | 74 | 0.032105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6782-4_0_3_line_55 | NAYY 4x150 SE | 48 | 63 | 0.02838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6782-4_0_3_line_56 | NAYY 4x150 SE | 49 | 50 | 0.019153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6782-4_0_3_line_57 | NAYY 4x150 SE | 50 | 51 | 0.0078303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6782-4_0_3_line_58 | NAYY 4x150 SE | 52 | 53 | 0.024508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6782-4_0_3_line_59 | NAYY 4x150 SE | 52 | 54 | 0.00014613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6782-4_0_3_line_60 | NAYY 4x150 SE | 54 | 55 | 0.029668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6782-4_0_3_line_61 | NAYY 4x150 SE | 54 | 56 | 0.025906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6782-4_0_3_line_62 | NAYY 4x150 SE | 57 | 71 | 0.044158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6782-4_0_3_line_63 | NAYY 4x150 SE | 58 | 59 | 0.020625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6782-4_0_3_line_64 | NAYY 4x150 SE | 59 | 60 | 0.027856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6782-4_0_3_line_65 | NAYY 4x150 SE | 62 | 75 | 0.017425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6782-4_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.044311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6782-4_0_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.022092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6782-4_0_3_line_68 | NAYY 4x150 SE | 64 | 66 | 0.065427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6782-4_0_3_line_69 | NAYY 4x150 SE | 65 | 67 | 0.02621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6782-4_0_3_line_70 | NAYY 4x150 SE | 65 | 68 | 0.015854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6782-4_0_3_line_71 | NAYY 4x150 SE | 67 | 69 | 0.030692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6782-4_0_3_line_72 | NAYY 4x150 SE | 68 | 70 | 0.050494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6782-4_0_3_line_73 | NAYY 4x150 SE | 69 | 97 | 0.062104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6782-4_0_3_line_74 | NAYY 4x150 SE | 70 | 96 | 0.027563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6782-4_0_3_line_75 | NAYY 4x150 SE | 71 | 72 | 0.020092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6782-4_0_3_line_76 | NAYY 4x150 SE | 71 | 73 | 0.057675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6782-4_0_3_line_77 | NAYY 4x150 SE | 72 | 83 | 0.051327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6782-4_0_3_line_78 | NAYY 4x150 SE | 73 | 84 | 0.057905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6782-4_0_3_line_79 | NAYY 4x150 SE | 73 | 77 | 0.021551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6782-4_0_3_line_80 | NAYY 4x150 SE | 76 | 77 | 0.002119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6782-4_0_3_line_81 | NAYY 4x150 SE | 76 | 78 | 0.030476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6782-4_0_3_line_82 | NAYY 4x150 SE | 78 | 79 | 0.027923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6782-4_0_3_line_83 | NAYY 4x150 SE | 78 | 80 | 0.032963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_6782-4_0_3_line_84 | NAYY 4x150 SE | 79 | 85 | 0.0067625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6782-4_0_3_line_85 | NAYY 4x150 SE | 80 | 87 | 0.01566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_6782-4_0_3_line_86 | NAYY 4x150 SE | 81 | 82 | 0.012399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_6782-4_0_3_line_87 | NAYY 4x150 SE | 81 | 83 | 0.026754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_6782-4_0_3_line_88 | NAYY 4x150 SE | 83 | 90 | 0.0034276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_6782-4_0_3_line_89 | NAYY 4x150 SE | 84 | 89 | 0.021631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_6782-4_0_3_line_90 | NAYY 4x150 SE | 85 | 86 | 0.017221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_6782-4_0_3_line_91 | NAYY 4x150 SE | 86 | 88 | 0.018554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_6782-4_0_3_line_92 | NAYY 4x150 SE | 91 | 92 | 0.078725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_6782-4_0_3_line_93 | NAYY 4x150 SE | 91 | 93 | 0.0077475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_6782-4_0_3_line_94 | NAYY 4x150 SE | 92 | 94 | 0.042385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_6782-4_0_3_line_95 | NAYY 4x150 SE | 93 | 95 | 0.0053312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_6782-4_0_3_line_96 | NAYY 4x150 SE | 93 | 96 | 0.025335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6782-4_0_3_trafo_32 | 0.25 MVA 20/0.4 kV | 98 | 36 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2578995.7888 | 1251111.0517 | 2578981.6443 | 1251100.3278 | 2578977.9165 | 1251096.2607 | 2578974.5349 | 1251091.9477 | 2578974.1553 | 1251091.3521
1 | 2578995.7888 | 1251111.0517 | 2579015.5533 | 1251126.0363
2 | 2578959.4852 | 1251066.5847 | 2578966.0258 | 1251076.3011 | 2578970.4059 | 1251085.4693 | 2578974.1553 | 1251091.3521
3 | 2579048.6998 | 1251154.3692 | 2579018.9088 | 1251128.5804 | 2579015.5533 | 1251126.0363
4 | 2578959.4852 | 1251066.5847 | 2578966.0401 | 1251065.4939 | 2578986.6145 | 1251067.5442 | 2578993.279 | 1251069.6552 | 2579001.9062 | 1251075.2186
5 | 2579048.6998 | 1251154.3692 | 2579057.617 | 1251137.8304
6 | 2579048.6998 | 1251154.3692 | 2579052.3893 | 1251157.5623
7 | 2579006.558 | 1251078.2184 | 2579001.9062 | 1251075.2186
8 | 2579066.2678 | 1251121.7855 | 2579057.617 | 1251137.8304
9 | 2579073.5468 | 1251175.8729 | 2579052.3893 | 1251157.5623
10 | 2579066.2678 | 1251121.7855 | 2579085.9189 | 1251085.2143
11 | 2579066.2678 | 1251121.7855 | 2579095.0427 | 1251137.7829
12 | 2579077.2855 | 1251180.8963 | 2579073.5468 | 1251175.8729
13 | 2579077.2855 | 1251180.8963 | 2579079.8718 | 1251184.3591
14 | 2579077.2855 | 1251180.8963 | 2579065.3157 | 1251194.6405
15 | 2579095.0427 | 1251137.7829 | 2579094.308 | 1251139.0848
16 | 2579095.0427 | 1251137.7829 | 2579106.2819 | 1251117.8739
17 | 2579091.28 | 1251200.4817 | 2579089.2446 | 1251196.9088 | 2579079.8718 | 1251184.3591
18 | 2579061.6281 | 1251198.8747 | 2579065.3157 | 1251194.6405
19 | 2579106.2819 | 1251117.8739 | 2579113.9637 | 1251104.2664
20 | 2579111.5311 | 1251188.1241 | 2579098.8104 | 1251197.82 | 2579091.28 | 1251200.4817
21 | 2579091.28 | 1251200.4817 | 2579100.5075 | 1251216.693 | 2579102.4397 | 1251220.9667
22 | 2579085.9189 | 1251085.2143 | 2579099.0944 | 1251060.6946
23 | 2579155.1433 | 1250836.7731 | 2579155.1433 | 1250836.7731 | 2579144.7905 | 1250830.4796
24 | 2579172.3049 | 1250814.7537 | 2579155.1433 | 1250836.7731
25 | 2579172.3049 | 1250814.7537 | 2579202.0122 | 1250842.2669 | 2579208.252 | 1250848.0376
26 | 2579172.3049 | 1250814.7537 | 2579156.2357 | 1250799.8785
27 | 2579208.252 | 1250848.0376 | 2579231.4846 | 1250869.5587 | 2579239.9854 | 1250876.5667
28 | 2579208.252 | 1250848.0376 | 2579216.9133 | 1250834.9619
29 | 2579156.2357 | 1250799.8785 | 2579167.3234 | 1250786.779
30 | 2579156.2357 | 1250799.8785 | 2579153.661 | 1250797.4971 | 2579146.3065 | 1250790.8712
31 | 2579239.9854 | 1250876.5667 | 2579226.8974 | 1250891.9637
32 | 2579253.9233 | 1250884.3228 | 2579239.9854 | 1250876.5667
33 | 2579220.0287 | 1250830.2588 | 2579216.9133 | 1250834.9619
34 | 2579136.9859 | 1250782.4739 | 2579146.3065 | 1250790.8712
35 | 2579173.7315 | 1250994.7006 | 2579180.0109 | 1250982.293
36 | 2579199.3297 | 1250944.1208 | 2579180.0109 | 1250982.293
37 | 2579180.0109 | 1250982.293 | 2579139.2618 | 1250953.7008
38 | 2579173.7315 | 1250994.7006 | 2579165.9753 | 1251010.0261 | 2579165.4416 | 1251010.9966
39 | 2579203.6096 | 1250935.6557 | 2579199.3297 | 1250944.1208
40 | 2579156.8238 | 1251026.6689 | 2579165.4416 | 1251010.9966
41 | 2579203.6096 | 1250935.6557 | 2579207.2369 | 1250945.4605 | 2579213.4934 | 1250961.7931
42 | 2579203.6096 | 1250935.6557 | 2579208.0202 | 1250926.9442
43 | 2579156.8238 | 1251026.6689 | 2579141.6083 | 1251054.3398
44 | 2579213.4934 | 1250961.7931 | 2579218.4275 | 1250974.6735 | 2579221.7369 | 1250988.5265 | 2579220.542 | 1251011.392
45 | 2579208.0202 | 1250926.9442 | 2579209.2903 | 1250924.4358
46 | 2579141.5905 | 1251054.3722 | 2579141.6083 | 1251054.3398
47 | 2579220.542 | 1251011.392 | 2579220.5136 | 1251011.935 | 2579220.5413 | 1251021.9192 | 2579220.7631 | 1251026.0679
48 | 2579209.2903 | 1250924.4358 | 2579224.0126 | 1250895.3575 | 2579225.9923 | 1250893.0285
49 | 2579141.5905 | 1251054.3722 | 2579129.795 | 1251075.8235
50 | 2579127.1114 | 1251080.7039 | 2579129.795 | 1251075.8235
51 | 2579226.8974 | 1250891.9637 | 2579225.9923 | 1250893.0285
52 | 2579260.1952 | 1250886.3687 | 2579253.9233 | 1250884.3228
53 | 2579253.9233 | 1250884.3228 | 2579262.2769 | 1250866.2243
54 | 2579237.7582 | 1250803.4934 | 2579220.0287 | 1250830.2588
55 | 2579223.5037 | 1251054.3027 | 2579221.2523 | 1251035.2143 | 2579220.7631 | 1251026.0679
56 | 2579117.8131 | 1251097.4477 | 2579121.3317 | 1251091.2148 | 2579127.1114 | 1251080.7039
57 | 2579117.8131 | 1251097.4477 | 2579113.9637 | 1251104.2664
58 | 2579274.7714 | 1250839.1543 | 2579281.1598 | 1250825.3218 | 2579285.3876 | 1250817.0708
59 | 2579274.7101 | 1250839.2869 | 2579274.7714 | 1250839.1543
60 | 2579274.7101 | 1250839.2869 | 2579262.2769 | 1250866.2243
61 | 2579274.7101 | 1250839.2869 | 2579298.0258 | 1250850.5788
62 | 2579260.1952 | 1250886.3687 | 2579267.6006 | 1250888.7999 | 2579302.7994 | 1250898.4048
63 | 2579102.4397 | 1251220.9667 | 2579108.5026 | 1251234.4319 | 2579110.4163 | 1251239.9684
64 | 2579102.4397 | 1251220.9667 | 2579109.9442 | 1251217.3934 | 2579115.3286 | 1251218.286 | 2579128.3342 | 1251223.6975
65 | 2579107.3421 | 1251045.3454 | 2579099.0944 | 1251060.6946
66 | 2579223.4538 | 1251090.2315 | 2579213.2137 | 1251084.3304 | 2579223.337 | 1251063.5144 | 2579223.8742 | 1251061.7336 | 2579224.1387 | 1251059.6868 | 2579223.5037 | 1251054.3027
67 | 2579223.4538 | 1251090.2315 | 2579243.2482 | 1251100.1572
68 | 2579223.4538 | 1251090.2315 | 2579217.7173 | 1251094.3989 | 2579189.5529 | 1251145.486
69 | 2579243.2482 | 1251100.1572 | 2579242.4543 | 1251104.0514 | 2579242.8722 | 1251106.9741 | 2579244.5321 | 1251108.9696 | 2579249.7663 | 1251112.1866 | 2579259.1631 | 1251116.9703
70 | 2579243.2482 | 1251100.1572 | 2579250.1319 | 1251085.8756
71 | 2579259.1631 | 1251116.9703 | 2579263.1493 | 1251118.9996 | 2579265.6222 | 1251120.3696 | 2579266.8041 | 1251121.6551 | 2579267.2779 | 1251123.3101 | 2579267.263 | 1251125.5227 | 2579266.6582 | 1251127.3816 | 2579259.9406 | 1251141.6344
72 | 2579272.0562 | 1251040.3898 | 2579250.1319 | 1251085.8756
73 | 2579233.4633 | 1251197.8112 | 2579259.9406 | 1251141.6344
74 | 2579284.0239 | 1251015.5606 | 2579272.0562 | 1251040.3898
75 | 2579302.7994 | 1250898.4048 | 2579295.6845 | 1250917.1944
76 | 2579302.7994 | 1250898.4048 | 2579323.145 | 1250903.9593 | 2579337.5264 | 1250870.3203
77 | 2579295.6845 | 1250917.1944 | 2579341.8226 | 1250939.684
78 | 2579360.308 | 1250817.0612 | 2579337.5264 | 1250870.3203
79 | 2579337.5264 | 1250870.3203 | 2579357.424 | 1250878.5981
80 | 2579359.3804 | 1250879.412 | 2579357.424 | 1250878.5981
81 | 2579388.1925 | 1250880.4497 | 2579381.3476 | 1250878.5613 | 2579378.3639 | 1250880.0616 | 2579367.6861 | 1250882.8674 | 2579359.3804 | 1250879.412
82 | 2579388.1925 | 1250880.4497 | 2579406.1111 | 1250901.8656
83 | 2579388.1925 | 1250880.4497 | 2579418.71 | 1250867.9906
84 | 2579406.1111 | 1250901.8656 | 2579403.7537 | 1250908.2039
85 | 2579432.7854 | 1250861.1259 | 2579418.71 | 1250867.9906
86 | 2579377.7064 | 1250955.3465 | 2579366.343 | 1250950.3866
87 | 2579341.8226 | 1250939.684 | 2579366.343 | 1250950.3866
88 | 2579341.8226 | 1250939.684 | 2579340.4129 | 1250942.8083
89 | 2579360.308 | 1250817.0612 | 2579380.2178 | 1250825.5179
90 | 2579397.7504 | 1250924.345 | 2579403.7537 | 1250908.2039
91 | 2579397.7504 | 1250924.345 | 2579415.4543 | 1250929.8985
92 | 2579366.5206 | 1251039.4517 | 2579335.8299 | 1251025.8947 | 2579322.0349 | 1251017.8711 | 2579312.2944 | 1251010.2336 | 2579302.9467 | 1251000.5823 | 2579300.5298 | 1250998.1893
93 | 2579295.0243 | 1250992.7383 | 2579300.5298 | 1250998.1893
94 | 2579366.5206 | 1251039.4517 | 2579348.8433 | 1251077.9944
95 | 2579295.0243 | 1250992.7383 | 2579292.2757 | 1250988.1703
96 | 2579295.0243 | 1250992.7383 | 2579284.0239 | 1251015.5606

## bus_geodata
| x | y | coords
0 | 2578995.7888 | 1251111.0517
1 | 2578974.1553 | 1251091.3521
2 | 2579015.5533 | 1251126.0363
3 | 2578959.4852 | 1251066.5847
4 | 2579048.6998 | 1251154.3692
5 | 2579001.9062 | 1251075.2186
6 | 2579057.617 | 1251137.8304
7 | 2579052.3893 | 1251157.5623
8 | 2579006.558 | 1251078.2184
9 | 2579066.2678 | 1251121.7855
10 | 2579073.5468 | 1251175.8729
11 | 2579077.2855 | 1251180.8963
12 | 2579094.308 | 1251139.0848
13 | 2579095.0427 | 1251137.7829
14 | 2579079.8718 | 1251184.3591
15 | 2579065.3157 | 1251194.6405
16 | 2579106.2819 | 1251117.8739
17 | 2579091.28 | 1251200.4817
18 | 2579061.6281 | 1251198.8747
19 | 2579085.9189 | 1251085.2143
20 | 2579144.7905 | 1250830.4796
21 | 2579155.1433 | 1250836.7731
22 | 2579172.3049 | 1250814.7537
23 | 2579208.252 | 1250848.0376
24 | 2579156.2357 | 1250799.8785
25 | 2579239.9854 | 1250876.5667
26 | 2579216.9133 | 1250834.9619
27 | 2579167.3234 | 1250786.779
28 | 2579146.3065 | 1250790.8712
29 | 2579180.0109 | 1250982.293
30 | 2579173.7315 | 1250994.7006
31 | 2579199.3297 | 1250944.1208
32 | 2579139.2618 | 1250953.7008
33 | 2579165.4416 | 1251010.9966
34 | 2579203.6096 | 1250935.6557
35 | 2579156.8238 | 1251026.6689
36 | 2579213.4934 | 1250961.7931
37 | 2579208.0202 | 1250926.9442
38 | 2579141.6083 | 1251054.3398
39 | 2579220.542 | 1251011.392
40 | 2579209.2903 | 1250924.4358
41 | 2579141.5905 | 1251054.3722
42 | 2579129.795 | 1251075.8235
43 | 2579136.9859 | 1250782.4739
44 | 2579226.8974 | 1250891.9637
45 | 2579253.9233 | 1250884.3228
46 | 2579220.0287 | 1250830.2588
47 | 2579225.9923 | 1250893.0285
48 | 2579220.7631 | 1251026.0679
49 | 2579127.1114 | 1251080.7039
50 | 2579117.8131 | 1251097.4477
51 | 2579113.9637 | 1251104.2664
52 | 2579274.7714 | 1250839.1543
53 | 2579285.3876 | 1250817.0708
54 | 2579274.7101 | 1250839.2869
55 | 2579262.2769 | 1250866.2243
56 | 2579298.0258 | 1250850.5788
57 | 2579260.1952 | 1250886.3687
58 | 2579110.4163 | 1251239.9684
59 | 2579102.4397 | 1251220.9667
60 | 2579128.3342 | 1251223.6975
61 | 2579111.5311 | 1251188.1241
62 | 2579099.0944 | 1251060.6946
63 | 2579223.5037 | 1251054.3027
64 | 2579223.4538 | 1251090.2315
65 | 2579243.2482 | 1251100.1572
66 | 2579189.5529 | 1251145.486
67 | 2579259.1631 | 1251116.9703
68 | 2579250.1319 | 1251085.8756
69 | 2579259.9406 | 1251141.6344
70 | 2579272.0562 | 1251040.3898
71 | 2579302.7994 | 1250898.4048
72 | 2579295.6845 | 1250917.1944
73 | 2579337.5264 | 1250870.3203
74 | 2579237.7582 | 1250803.4934
75 | 2579107.3421 | 1251045.3454
76 | 2579359.3804 | 1250879.412
77 | 2579357.424 | 1250878.5981
78 | 2579388.1925 | 1250880.4497
79 | 2579406.1111 | 1250901.8656
80 | 2579418.71 | 1250867.9906
81 | 2579366.343 | 1250950.3866
82 | 2579377.7064 | 1250955.3465
83 | 2579341.8226 | 1250939.684
84 | 2579360.308 | 1250817.0612
85 | 2579403.7537 | 1250908.2039
86 | 2579397.7504 | 1250924.345
87 | 2579432.7854 | 1250861.1259
88 | 2579415.4543 | 1250929.8985
89 | 2579380.2178 | 1250825.5179
90 | 2579340.4129 | 1250942.8083
91 | 2579300.5298 | 1250998.1893
92 | 2579366.5206 | 1251039.4517
93 | 2579295.0243 | 1250992.7383
94 | 2579348.8433 | 1251077.9944
95 | 2579292.2757 | 1250988.1703
96 | 2579284.0239 | 1251015.5606
97 | 2579233.4633 | 1251197.8112
98 | 2579203.6096 | 1250935.6557

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1