## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6784-10_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6784-10_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6784-10_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6784-10_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6784-10_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6784-10_0_2_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_6784-10_0_2_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_6784-10_0_2_node_52 | 0.4 | n |  | TRUE
8 | bus_LV_6784-10_0_2_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_6784-10_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6784-10_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6784-10_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6784-10_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6784-10_0_2_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_6784-10_0_2_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_6784-10_0_2_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_6784-10_0_2_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_6784-10_0_2_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6784-10_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6784-10_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6784-10_0_2_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_6784-10_0_2_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6784-10_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6784-10_0_2_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_6784-10_0_2_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_6784-10_0_2_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_6784-10_0_2_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_6784-10_0_2_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_6784-10_0_2_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_6784-10_0_2_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_6784-10_0_2_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_6784-10_0_2_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_6784-10_0_2_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_6784-10_0_2_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_6784-10_0_2_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_6784-10_0_2_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_6784-10_0_2_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_6784-10_0_2_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_6784-10_0_2_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_6784-10_0_2_node_86 | 0.4 | n |  | TRUE
40 | bus_LV_6784-10_0_2_node_88 | 0.4 | n |  | TRUE
41 | bus_LV_6784-10_0_2_node_84 | 0.4 | n |  | TRUE
42 | bus_LV_6784-10_0_2_node_87 | 0.4 | n |  | TRUE
43 | bus_LV_6784-10_0_2_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_6784-10_0_2_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6784-10_0_2_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_6784-10_0_2_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_6784-10_0_2_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_6784-10_0_2_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_6784-10_0_2_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_6784-10_0_2_node_80 | 0.4 | n |  | TRUE
51 | bus_LV_6784-10_0_2_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_6784-10_0_2_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_6784-10_0_2_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_6784-10_0_2_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_6784-10_0_2_node_100 | 0.4 | n |  | TRUE
56 | bus_LV_6784-10_0_2_node_102 | 0.4 | n |  | TRUE
57 | bus_LV_6784-10_0_2_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_6784-10_0_2_node_101 | 0.4 | n |  | TRUE
59 | bus_LV_6784-10_0_2_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_6784-10_0_2_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_6784-10_0_2_node_91 | 0.4 | n |  | TRUE
62 | bus_LV_6784-10_0_2_node_93 | 0.4 | n |  | TRUE
63 | bus_LV_6784-10_0_2_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_6784-10_0_2_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_6784-10_0_2_node_73 | 0.4 | n |  | TRUE
66 | bus_LV_6784-10_0_2_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_6784-10_0_2_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_6784-10_0_2_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_6784-10_0_2_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_6784-10_0_2_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_6784-10_0_2_node_44 | 0.4 | n |  | TRUE
72 | bus_LV_6784-10_0_2_node_45 | 0.4 | n |  | TRUE
73 | bus_LV_6784-10_0_2_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_6784-10_0_2_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_6784-10_0_2_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_6784-10_0_2_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_6784-10_0_2_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_6784-10_0_2_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_6784-10_0_2_node_58 | 0.4 | n |  | TRUE
80 | bus_LV_6784-10_0_2_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_6784-10_0_2_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_6784-10_0_2_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_6784-10_0_2_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_6784-10_0_2_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_6784-10_0_2_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_6784-10_0_2_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_6784-10_0_2_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_6784-10_0_2_node_69 | 0.4 | n |  | TRUE
89 | bus_LV_6784-10_0_2_node_68 | 0.4 | n |  | TRUE
90 | bus_LV_6784-10_0_2_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_6784-10_0_2_node_77 | 0.4 | n |  | TRUE
92 | bus_LV_6784-10_0_2_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_6784-10_0_2_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_6784-10_0_2_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_6784-10_0_2_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_6784-10_0_2_node_99 | 0.4 | n |  | TRUE
97 | bus_LV_6784-10_0_2_node_83 | 0.4 | n |  | TRUE
98 | bus_LV_6784-10_0_2_node_85 | 0.4 | n |  | TRUE
99 | bus_LV_6784-10_0_2_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_6784-10_0_2_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_6784-10_0_2_node_98 | 0.4 | n |  | TRUE
102 | bus_MV_342_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6784-10_0_2_load_0 | 0 | 0.00075212 | 0.0001885 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6784-10_0_2_load_1 | 1 | 0.0010096 | 0.00025302 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6784-10_0_2_load_3 | 3 | 0.0012891 | 0.00032308 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6784-10_0_2_load_32 | 5 | 0.0022084 | 0.00055348 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6784-10_0_2_load_35 | 6 | 0.0011793 | 0.00029557 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6784-10_0_2_load_33 | 8 | 0.00043436 | 0.00010886 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6784-10_0_2_load_5 | 9 | 0.0020096 | 0.00050364 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6784-10_0_2_load_6 | 10 | 0.0020843 | 0.00052237 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6784-10_0_2_load_7 | 11 | 0.0034384 | 0.00086173 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6784-10_0_2_load_30 | 13 | 0.002928 | 0.00073382 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6784-10_0_2_load_26 | 14 | 0.0020805 | 0.00052142 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6784-10_0_2_load_9 | 17 | 0.0014683 | 0.00036799 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6784-10_0_2_load_10 | 18 | 0.0010774 | 0.00027002 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6784-10_0_2_load_12 | 20 | 0.0011976 | 0.00030015 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6784-10_0_2_load_14 | 22 | 0.0018045 | 0.00045225 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6784-10_0_2_load_15 | 24 | 0.001888 | 0.00047319 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6784-10_0_2_load_21 | 25 | 0.0019829 | 0.00049697 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6784-10_0_2_load_16 | 27 | 0.0066501 | 0.0016667 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6784-10_0_2_load_22 | 28 | 0.0006443 | 0.00016148 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6784-10_0_2_load_17 | 29 | 0.0012636 | 0.00031668 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6784-10_0_2_load_18 | 30 | 0.0013297 | 0.00033325 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6784-10_0_2_load_19 | 31 | 0.00316 | 0.00079198 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6784-10_0_2_load_56 | 34 | 0.0057852 | 0.0014499 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6784-10_0_2_load_43 | 35 | 0.0047727 | 0.0011962 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6784-10_0_2_load_55 | 36 | 0.0024895 | 0.00062393 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6784-10_0_2_load_31 | 37 | 0.00039588 | 9.9217e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6784-10_0_2_load_78 | 38 | 0.000696 | 0.00017444 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6784-10_0_2_load_86 | 39 | 0.0019383 | 0.00048579 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6784-10_0_2_load_88 | 40 | 0.0027304 | 0.00068429 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6784-10_0_2_load_84 | 41 | 0.0013649 | 0.00034209 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6784-10_0_2_load_39 | 44 | 0.0019343 | 0.00048477 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6784-10_0_2_load_40 | 45 | 0.0022371 | 0.00056067 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6784-10_0_2_load_42 | 46 | 0.0048176 | 0.0012074 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6784-10_0_2_load_34 | 47 | 0.00099111 | 0.0002484 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6784-10_0_2_load_46 | 48 | 0.00040623 | 0.00010181 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6784-10_0_2_load_47 | 49 | 0.0005125 | 0.00012844 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6784-10_0_2_load_36 | 52 | 0.0027916 | 0.00069963 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6784-10_0_2_load_37 | 53 | 0.0004394 | 0.00011012 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6784-10_0_2_load_100 | 55 | 0.00077127 | 0.0001933 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6784-10_0_2_load_102 | 56 | 0.002517 | 0.00063082 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6784-10_0_2_load_101 | 58 | 0.0024887 | 0.00062373 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6784-10_0_2_load_91 | 61 | 0.0007469 | 0.00018719 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6784-10_0_2_load_93 | 62 | 0.00063249 | 0.00015852 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6784-10_0_2_load_73 | 65 | 0.00118 | 0.00029573 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6784-10_0_2_load_67 | 66 | 0.0018179 | 0.0004556 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6784-10_0_2_load_59 | 67 | 0.00095918 | 0.00024039 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6784-10_0_2_load_41 | 68 | 0.0021748 | 0.00054506 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6784-10_0_2_load_54 | 69 | 0.0020152 | 0.00050507 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6784-10_0_2_load_82 | 70 | 0.0014535 | 0.00036429 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6784-10_0_2_load_44 | 71 | 0.003187 | 0.00079874 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6784-10_0_2_load_45 | 72 | 0.01179 | 0.002955 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6784-10_0_2_load_48 | 73 | 0.0037199 | 0.0009323 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6784-10_0_2_load_49 | 74 | 0.0042869 | 0.0010744 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6784-10_0_2_load_50 | 75 | 0.00085636 | 0.00021462 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6784-10_0_2_load_53 | 76 | 0.0018005 | 0.00045125 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6784-10_0_2_load_79 | 77 | 0.00053568 | 0.00013425 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6784-10_0_2_load_57 | 78 | 0.0011221 | 0.00028124 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6784-10_0_2_load_58 | 79 | 0.00088985 | 0.00022302 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6784-10_0_2_load_75 | 80 | 0.00067279 | 0.00016862 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6784-10_0_2_load_76 | 81 | 0.0010411 | 0.00026092 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6784-10_0_2_load_60 | 82 | 0.0090531 | 0.0022689 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6784-10_0_2_load_64 | 84 | 0.0010791 | 0.00027045 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6784-10_0_2_load_65 | 85 | 0.00090986 | 0.00022803 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6784-10_0_2_load_66 | 86 | 0.0018767 | 0.00047035 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6784-10_0_2_load_70 | 87 | 0.0077178 | 0.0019343 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6784-10_0_2_load_69 | 88 | 0.0011139 | 0.00027918 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6784-10_0_2_load_68 | 89 | 0.0010629 | 0.00026638 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6784-10_0_2_load_77 | 91 | 0.0013344 | 0.00033442 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6784-10_0_2_load_92 | 92 | 0.00057321 | 0.00014366 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6784-10_0_2_load_89 | 93 | 0.0023514 | 0.0005893 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6784-10_0_2_load_90 | 94 | 0.0031514 | 0.00078983 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6784-10_0_2_load_94 | 95 | 0.00055858 | 0.00013999 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6784-10_0_2_load_99 | 96 | 0.0024734 | 0.00061989 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6784-10_0_2_load_83 | 97 | 0.0015425 | 0.0003866 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6784-10_0_2_load_85 | 98 | 0.0018732 | 0.00046947 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6784-10_0_2_load_97 | 99 | 0.00095959 | 0.0002405 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6784-10_0_2_load_96 | 100 | 0.001974 | 0.00049473 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6784-10_0_2_load_98 | 101 | 0.0025554 | 0.00064044 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6784-10_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6784-10_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6784-10_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.011028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6784-10_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.042846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6784-10_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0094842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6784-10_0_2_line_5 | NAYY 4x150 SE | 5 | 8 | 0.0094194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6784-10_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.019542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6784-10_0_2_line_7 | NAYY 4x150 SE | 7 | 50 | 0.007526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6784-10_0_2_line_8 | NAYY 4x150 SE | 7 | 51 | 0.041416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6784-10_0_2_line_9 | NAYY 4x150 SE | 8 | 47 | 0.0082701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6784-10_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0069968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6784-10_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.01522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6784-10_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.013178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6784-10_0_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.0097045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6784-10_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.039196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6784-10_0_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.014868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6784-10_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.011695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6784-10_0_2_line_17 | NAYY 4x150 SE | 15 | 39 | 0.041425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6784-10_0_2_line_18 | NAYY 4x150 SE | 16 | 43 | 0.014685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6784-10_0_2_line_19 | NAYY 4x150 SE | 16 | 33 | 0.025486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6784-10_0_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.019073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6784-10_0_2_line_21 | NAYY 4x150 SE | 17 | 19 | 0.0062499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6784-10_0_2_line_22 | NAYY 4x150 SE | 18 | 20 | 0.044442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6784-10_0_2_line_23 | NAYY 4x150 SE | 19 | 21 | 0.059739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6784-10_0_2_line_24 | NAYY 4x150 SE | 19 | 22 | 0.014865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6784-10_0_2_line_25 | NAYY 4x150 SE | 20 | 23 | 0.035402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6784-10_0_2_line_26 | NAYY 4x150 SE | 21 | 24 | 0.023042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6784-10_0_2_line_27 | NAYY 4x150 SE | 22 | 25 | 0.025412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6784-10_0_2_line_28 | NAYY 4x150 SE | 23 | 26 | 0.02771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6784-10_0_2_line_29 | NAYY 4x150 SE | 24 | 27 | 0.031874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6784-10_0_2_line_30 | NAYY 4x150 SE | 25 | 28 | 0.029953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6784-10_0_2_line_31 | NAYY 4x150 SE | 26 | 40 | 0.031075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6784-10_0_2_line_32 | NAYY 4x150 SE | 28 | 37 | 0.017692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6784-10_0_2_line_33 | NAYY 4x150 SE | 29 | 30 | 0.021557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6784-10_0_2_line_34 | NAYY 4x150 SE | 29 | 31 | 0.0588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6784-10_0_2_line_35 | NAYY 4x150 SE | 31 | 32 | 0.013546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6784-10_0_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.059318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6784-10_0_2_line_37 | NAYY 4x150 SE | 32 | 34 | 0.0268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6784-10_0_2_line_38 | NAYY 4x150 SE | 33 | 35 | 0.015067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6784-10_0_2_line_39 | NAYY 4x150 SE | 34 | 36 | 0.0044425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6784-10_0_2_line_40 | NAYY 4x150 SE | 35 | 46 | 0.028376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6784-10_0_2_line_41 | NAYY 4x150 SE | 36 | 78 | 0.010294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6784-10_0_2_line_42 | NAYY 4x150 SE | 37 | 38 | 0.011567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6784-10_0_2_line_43 | NAYY 4x150 SE | 39 | 41 | 0.0053182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6784-10_0_2_line_44 | NAYY 4x150 SE | 40 | 42 | 0.051304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6784-10_0_2_line_45 | NAYY 4x150 SE | 41 | 97 | 0.017753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6784-10_0_2_line_46 | NAYY 4x150 SE | 42 | 98 | 0.03789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6784-10_0_2_line_47 | NAYY 4x150 SE | 43 | 44 | 0.01363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6784-10_0_2_line_48 | NAYY 4x150 SE | 44 | 45 | 0.027341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6784-10_0_2_line_49 | NAYY 4x150 SE | 45 | 68 | 0.026754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6784-10_0_2_line_50 | NAYY 4x150 SE | 46 | 71 | 0.025371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6784-10_0_2_line_51 | NAYY 4x150 SE | 47 | 48 | 0.003002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6784-10_0_2_line_52 | NAYY 4x150 SE | 48 | 49 | 0.0085557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6784-10_0_2_line_53 | NAYY 4x150 SE | 49 | 75 | 0.010962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6784-10_0_2_line_54 | NAYY 4x150 SE | 50 | 77 | 0.0011423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6784-10_0_2_line_55 | NAYY 4x150 SE | 51 | 76 | 0.033232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6784-10_0_2_line_56 | NAYY 4x150 SE | 51 | 75 | 0.018663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6784-10_0_2_line_57 | NAYY 4x150 SE | 52 | 53 | 0.013821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6784-10_0_2_line_58 | NAYY 4x150 SE | 53 | 54 | 0.00085574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6784-10_0_2_line_59 | NAYY 4x150 SE | 54 | 59 | 0.01858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6784-10_0_2_line_60 | NAYY 4x150 SE | 54 | 60 | 0.043564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6784-10_0_2_line_61 | NAYY 4x150 SE | 55 | 56 | 0.039294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6784-10_0_2_line_62 | NAYY 4x150 SE | 55 | 57 | 0.02043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6784-10_0_2_line_63 | NAYY 4x150 SE | 57 | 60 | 0.019139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6784-10_0_2_line_64 | NAYY 4x150 SE | 57 | 58 | 0.016036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6784-10_0_2_line_65 | NAYY 4x150 SE | 59 | 61 | 0.0036987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6784-10_0_2_line_66 | NAYY 4x150 SE | 59 | 62 | 0.01652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6784-10_0_2_line_67 | NAYY 4x150 SE | 60 | 67 | 0.024912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6784-10_0_2_line_68 | NAYY 4x150 SE | 61 | 94 | 0.021993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6784-10_0_2_line_69 | NAYY 4x150 SE | 62 | 95 | 0.036025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6784-10_0_2_line_70 | NAYY 4x150 SE | 63 | 64 | 0.028123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6784-10_0_2_line_71 | NAYY 4x150 SE | 63 | 65 | 0.027915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6784-10_0_2_line_72 | NAYY 4x150 SE | 63 | 66 | 0.013164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6784-10_0_2_line_73 | NAYY 4x150 SE | 64 | 90 | 0.006181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6784-10_0_2_line_74 | NAYY 4x150 SE | 64 | 77 | 0.036305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6784-10_0_2_line_75 | NAYY 4x150 SE | 65 | 91 | 0.021604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6784-10_0_2_line_76 | NAYY 4x150 SE | 66 | 85 | 0.0076202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6784-10_0_2_line_77 | NAYY 4x150 SE | 67 | 82 | 0.039553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6784-10_0_2_line_78 | NAYY 4x150 SE | 68 | 69 | 0.02855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6784-10_0_2_line_79 | NAYY 4x150 SE | 69 | 70 | 0.027385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6784-10_0_2_line_80 | NAYY 4x150 SE | 71 | 72 | 0.0028032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6784-10_0_2_line_81 | NAYY 4x150 SE | 72 | 73 | 0.023826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6784-10_0_2_line_82 | NAYY 4x150 SE | 73 | 74 | 0.0095624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6784-10_0_2_line_83 | NAYY 4x150 SE | 78 | 79 | 0.018598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_6784-10_0_2_line_84 | NAYY 4x150 SE | 79 | 80 | 0.003166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6784-10_0_2_line_85 | NAYY 4x150 SE | 80 | 81 | 0.015341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_6784-10_0_2_line_86 | NAYY 4x150 SE | 81 | 91 | 0.015571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_6784-10_0_2_line_87 | NAYY 4x150 SE | 82 | 83 | 0.0082731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_6784-10_0_2_line_88 | NAYY 4x150 SE | 83 | 87 | 0.033995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_6784-10_0_2_line_89 | NAYY 4x150 SE | 83 | 88 | 0.031649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_6784-10_0_2_line_90 | NAYY 4x150 SE | 84 | 85 | 0.018763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_6784-10_0_2_line_91 | NAYY 4x150 SE | 84 | 86 | 0.0074743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_6784-10_0_2_line_92 | NAYY 4x150 SE | 86 | 89 | 0.014514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_6784-10_0_2_line_93 | NAYY 4x150 SE | 90 | 92 | 0.015743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_6784-10_0_2_line_94 | NAYY 4x150 SE | 90 | 93 | 0.011349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_6784-10_0_2_line_95 | NAYY 4x150 SE | 92 | 96 | 0.0027977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_6784-10_0_2_line_96 | NAYY 4x150 SE | 93 | 94 | 0.012882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_6784-10_0_2_line_97 | NAYY 4x150 SE | 96 | 99 | 0.0288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_6784-10_0_2_line_98 | NAYY 4x150 SE | 97 | 98 | 0.027678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_6784-10_0_2_line_99 | NAYY 4x150 SE | 99 | 100 | 0.033369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_6784-10_0_2_line_100 | NAYY 4x150 SE | 100 | 101 | 0.025092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6784-10_0_2_trafo_56 | 0.25 MVA 20/0.4 kV | 102 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2575715.7727 | 1250658.4504 | 2575726.2854 | 1250646.5983
1 | 2575716.58 | 1250674.4787 | 2575713.4377 | 1250661.0828 | 2575715.7727 | 1250658.4504
2 | 2575726.2854 | 1250646.5983 | 2575726.2854 | 1250646.5983 | 2575719.729 | 1250637.7304
3 | 2575756.3827 | 1250658.3267 | 2575716.58 | 1250674.4787
4 | 2575756.3827 | 1250658.3267 | 2575759.7444 | 1250649.4584
5 | 2575759.7444 | 1250649.4584 | 2575763.0833 | 1250640.6505
6 | 2575819.3957 | 1250634.7306 | 2575801.0949 | 1250641.5836
7 | 2575826.4422 | 1250632.0333 | 2575819.3957 | 1250634.7306
8 | 2575791.9516 | 1250603.6894 | 2575799.1984 | 1250613.0214 | 2575819.3957 | 1250634.7306
9 | 2575766.0147 | 1250632.9174 | 2575763.0833 | 1250640.6505
10 | 2575658.1556 | 1250763.0341 | 2575654.0479 | 1250768.6981
11 | 2575666.9785 | 1250750.6329 | 2575660.5099 | 1250759.7878 | 2575658.1556 | 1250763.0341
12 | 2575651.2404 | 1250781.5737 | 2575654.0479 | 1250768.6981 | 2575654.0479 | 1250768.6981
13 | 2575651.2404 | 1250781.5737 | 2575641.902 | 1250778.9332
14 | 2575651.2404 | 1250781.5737 | 2575688.9955 | 1250792.1051
15 | 2575627.5655 | 1250775.0004 | 2575630.1569 | 1250775.6123 | 2575641.902 | 1250778.9332
16 | 2575700.2603 | 1250795.2473 | 2575688.9955 | 1250792.1051
17 | 2575627.5655 | 1250775.0004 | 2575597.499 | 1250803.4967
18 | 2575700.2603 | 1250795.2473 | 2575689.5535 | 1250805.3314
19 | 2575718.5663 | 1250777.4603 | 2575700.2603 | 1250795.2473
20 | 2575636.0976 | 1250732.6643 | 2575645.427 | 1250724.538 | 2575650.3958 | 1250720.0417
21 | 2575655.0299 | 1250715.8482 | 2575650.3958 | 1250720.0417
22 | 2575636.0976 | 1250732.6643 | 2575631.0243 | 1250737.0834 | 2575602.6709 | 1250756.4243 | 2575599.833 | 1250758.2835
23 | 2575655.0299 | 1250715.8482 | 2575645.8733 | 1250715.6414 | 2575613.6112 | 1250722.5013 | 2575601.3272 | 1250723.5194 | 2575596.4637 | 1250721.0823
24 | 2575655.0299 | 1250715.8482 | 2575663.4447 | 1250710.0431 | 2575667.632 | 1250708.0401
25 | 2575570.2196 | 1250777.6836 | 2575599.833 | 1250758.2835
26 | 2575596.4637 | 1250721.0823 | 2575574.2838 | 1250727.327
27 | 2575690.7889 | 1250697.5854 | 2575677.6297 | 1250703.2579 | 2575667.632 | 1250708.0401
28 | 2575570.2196 | 1250777.6836 | 2575548.4988 | 1250781.8651 | 2575542.8865 | 1250782.6778
29 | 2575542.9929 | 1250733.1034 | 2575565.402 | 1250729.8277 | 2575574.2838 | 1250727.327
30 | 2575690.7889 | 1250697.5854 | 2575718.2951 | 1250685.7284
31 | 2575542.8865 | 1250782.6778 | 2575539.5549 | 1250813.5737
32 | 2575718.2951 | 1250685.7284 | 2575734.542 | 1250678.7249
33 | 2575697.1446 | 1250717.9327 | 2575688.5504 | 1250721.2359 | 2575678.3942 | 1250728.2631
34 | 2575697.1446 | 1250717.9327 | 2575705.6272 | 1250714.6724 | 2575723.2194 | 1250714.1219 | 2575740.8238 | 1250718.3745 | 2575749.5197 | 1250722.1857 | 2575752.4166 | 1250725.6375
35 | 2575761.125 | 1250736.0138 | 2575752.4166 | 1250725.6375
36 | 2575761.125 | 1250736.0138 | 2575718.5663 | 1250777.4603
37 | 2575761.125 | 1250736.0138 | 2575781.4037 | 1250718.4919
38 | 2575718.5663 | 1250777.4603 | 2575733.1401 | 1250781.2836
39 | 2575784.7652 | 1250715.5874 | 2575781.4037 | 1250718.4919
40 | 2575760.5877 | 1250788.484 | 2575733.1401 | 1250781.2836
41 | 2575784.7652 | 1250715.5874 | 2575792.5539 | 1250708.8575
42 | 2575745.2708 | 1250674.4141 | 2575740.6499 | 1250676.0919 | 2575734.542 | 1250678.7249
43 | 2575597.499 | 1250803.4967 | 2575593.639 | 1250807.1551
44 | 2575533.1642 | 1250864.4718 | 2575537.0571 | 1250836.7375 | 2575539.5549 | 1250813.5737
45 | 2575580.7537 | 1250819.3675 | 2575593.639 | 1250807.1551
46 | 2575533.1642 | 1250864.4718 | 2575560.6647 | 1250838.4074
47 | 2575689.5535 | 1250805.3314 | 2575679.6881 | 1250814.7358
48 | 2575679.6881 | 1250814.7358 | 2575676.0355 | 1250818.2177 | 2575659.9088 | 1250833.6124
49 | 2575659.9088 | 1250833.6124 | 2575640.5564 | 1250852.0863
50 | 2575760.5877 | 1250788.484 | 2575785.1279 | 1250794.9218
51 | 2575766.0147 | 1250632.9174 | 2575767.0788 | 1250630.1103
52 | 2575767.0788 | 1250630.1103 | 2575770.1115 | 1250622.1102
53 | 2575776.1521 | 1250613.624 | 2575772.4446 | 1250615.9552 | 2575770.1115 | 1250622.1102
54 | 2575826.4422 | 1250632.0333 | 2575827.5081 | 1250631.6227
55 | 2575791.9516 | 1250603.6894 | 2575788.7569 | 1250599.5665 | 2575773.2551 | 1250576.2292
56 | 2575791.9516 | 1250603.6894 | 2575776.1521 | 1250613.624
57 | 2575932.974 | 1250608.4614 | 2575921.0941 | 1250615.5239
58 | 2575921.0941 | 1250615.5239 | 2575920.3585 | 1250615.9612
59 | 2575913.8187 | 1250598.5654 | 2575920.3585 | 1250615.9612
60 | 2575920.3585 | 1250615.9612 | 2575938.7183 | 1250655.4678
61 | 2575971.4232 | 1250677.6101 | 2576010.056 | 1250670.4318
62 | 2575955.1452 | 1250665.274 | 2575969.7816 | 1250676.544 | 2575971.4232 | 1250677.6101
63 | 2575955.1452 | 1250665.274 | 2575951.0791 | 1250662.144 | 2575938.7183 | 1250655.4678
64 | 2575955.1452 | 1250665.274 | 2575961.0076 | 1250660.9584 | 2575963.3417 | 1250652.5183
65 | 2575913.8187 | 1250598.5654 | 2575910.3646 | 1250599.8881
66 | 2575913.8187 | 1250598.5654 | 2575918.8453 | 1250596.5769 | 2575929.1781 | 1250592.4831
67 | 2575938.7183 | 1250655.4678 | 2575937.8311 | 1250680.3635
68 | 2575889.8256 | 1250607.7533 | 2575910.3646 | 1250599.8881
69 | 2575929.1781 | 1250592.4831 | 2575962.6699 | 1250579.2139
70 | 2575871.9716 | 1250644.7109 | 2575861.4108 | 1250618.637
71 | 2575871.9716 | 1250644.7109 | 2575849.2352 | 1250660.9059
72 | 2575871.9716 | 1250644.7109 | 2575877.1139 | 1250656.8289
73 | 2575867.1987 | 1250616.423 | 2575861.4108 | 1250618.637
74 | 2575861.4108 | 1250618.637 | 2575828.9216 | 1250631.0781 | 2575827.5081 | 1250631.6227
75 | 2575849.2352 | 1250660.9059 | 2575841.8443 | 1250666.1705 | 2575832.3726 | 1250674.3733
76 | 2575880.0907 | 1250663.8436 | 2575877.1139 | 1250656.8289
77 | 2575937.8311 | 1250680.3635 | 2575937.3976 | 1250692.5308 | 2575937.0165 | 1250719.9062
78 | 2575619.9052 | 1250871.8001 | 2575640.5564 | 1250852.0863
79 | 2575600.0966 | 1250890.7095 | 2575619.9052 | 1250871.8001
80 | 2575787.8393 | 1250795.6331 | 2575785.1279 | 1250794.9218
81 | 2575787.8393 | 1250795.6331 | 2575810.8857 | 1250801.6789
82 | 2575820.1352 | 1250804.1054 | 2575810.8857 | 1250801.6789
83 | 2575806.6129 | 1250696.6825 | 2575792.9178 | 1250708.5431 | 2575792.5539 | 1250708.8575
84 | 2575806.6129 | 1250696.6825 | 2575809.0061 | 1250694.6099
85 | 2575809.0061 | 1250694.6099 | 2575820.6024 | 1250684.5669
86 | 2575832.3726 | 1250674.3733 | 2575820.6024 | 1250684.5669
87 | 2575936.9014 | 1250728.1785 | 2575937.0165 | 1250719.9062
88 | 2575936.9014 | 1250728.1785 | 2575937.4458 | 1250732.1122 | 2575944.5934 | 1250739.4434 | 2575957.3134 | 1250754.646
89 | 2575936.9014 | 1250728.1785 | 2575930.1626 | 1250730.4296 | 2575907.8201 | 1250740.5888
90 | 2575887.4204 | 1250681.1162 | 2575887.4204 | 1250681.1162 | 2575880.0907 | 1250663.8436
91 | 2575887.4204 | 1250681.1162 | 2575887.4345 | 1250684.5517 | 2575886.4296 | 1250686.168 | 2575884.5116 | 1250687.1071
92 | 2575871.4767 | 1250693.4894 | 2575884.5116 | 1250687.1071
93 | 2575867.1987 | 1250616.423 | 2575862.1559 | 1250601.5094
94 | 2575867.1987 | 1250616.423 | 2575871.1176 | 1250614.9171 | 2575877.7958 | 1250612.3598
95 | 2575861.2598 | 1250598.8592 | 2575862.1559 | 1250601.5094
96 | 2575877.7958 | 1250612.3598 | 2575884.9996 | 1250609.6014 | 2575889.8256 | 1250607.7533
97 | 2575852.0347 | 1250571.5769 | 2575861.2598 | 1250598.8592
98 | 2575580.7537 | 1250819.3675 | 2575560.6647 | 1250838.4074
99 | 2575841.3461 | 1250539.966 | 2575852.0347 | 1250571.5769
100 | 2575841.3461 | 1250539.966 | 2575833.3088 | 1250516.1963

## bus_geodata
| x | y | coords
0 | 2575715.7727 | 1250658.4504
1 | 2575726.2854 | 1250646.5983
2 | 2575716.58 | 1250674.4787
3 | 2575719.729 | 1250637.7304
4 | 2575756.3827 | 1250658.3267
5 | 2575759.7444 | 1250649.4584
6 | 2575801.0949 | 1250641.5836
7 | 2575819.3957 | 1250634.7306
8 | 2575763.0833 | 1250640.6505
9 | 2575658.1556 | 1250763.0341
10 | 2575654.0479 | 1250768.6981
11 | 2575666.9785 | 1250750.6329
12 | 2575651.2404 | 1250781.5737
13 | 2575641.902 | 1250778.9332
14 | 2575688.9955 | 1250792.1051
15 | 2575627.5655 | 1250775.0004
16 | 2575700.2603 | 1250795.2473
17 | 2575650.3958 | 1250720.0417
18 | 2575636.0976 | 1250732.6643
19 | 2575655.0299 | 1250715.8482
20 | 2575599.833 | 1250758.2835
21 | 2575596.4637 | 1250721.0823
22 | 2575667.632 | 1250708.0401
23 | 2575570.2196 | 1250777.6836
24 | 2575574.2838 | 1250727.327
25 | 2575690.7889 | 1250697.5854
26 | 2575542.8865 | 1250782.6778
27 | 2575542.9929 | 1250733.1034
28 | 2575718.2951 | 1250685.7284
29 | 2575697.1446 | 1250717.9327
30 | 2575678.3942 | 1250728.2631
31 | 2575752.4166 | 1250725.6375
32 | 2575761.125 | 1250736.0138
33 | 2575718.5663 | 1250777.4603
34 | 2575781.4037 | 1250718.4919
35 | 2575733.1401 | 1250781.2836
36 | 2575784.7652 | 1250715.5874
37 | 2575734.542 | 1250678.7249
38 | 2575745.2708 | 1250674.4141
39 | 2575597.499 | 1250803.4967
40 | 2575539.5549 | 1250813.5737
41 | 2575593.639 | 1250807.1551
42 | 2575533.1642 | 1250864.4718
43 | 2575689.5535 | 1250805.3314
44 | 2575679.6881 | 1250814.7358
45 | 2575659.9088 | 1250833.6124
46 | 2575760.5877 | 1250788.484
47 | 2575766.0147 | 1250632.9174
48 | 2575767.0788 | 1250630.1103
49 | 2575770.1115 | 1250622.1102
50 | 2575826.4422 | 1250632.0333
51 | 2575791.9516 | 1250603.6894
52 | 2575932.974 | 1250608.4614
53 | 2575921.0941 | 1250615.5239
54 | 2575920.3585 | 1250615.9612
55 | 2575971.4232 | 1250677.6101
56 | 2576010.056 | 1250670.4318
57 | 2575955.1452 | 1250665.274
58 | 2575963.3417 | 1250652.5183
59 | 2575913.8187 | 1250598.5654
60 | 2575938.7183 | 1250655.4678
61 | 2575910.3646 | 1250599.8881
62 | 2575929.1781 | 1250592.4831
63 | 2575871.9716 | 1250644.7109
64 | 2575861.4108 | 1250618.637
65 | 2575849.2352 | 1250660.9059
66 | 2575877.1139 | 1250656.8289
67 | 2575937.8311 | 1250680.3635
68 | 2575640.5564 | 1250852.0863
69 | 2575619.9052 | 1250871.8001
70 | 2575600.0966 | 1250890.7095
71 | 2575785.1279 | 1250794.9218
72 | 2575787.8393 | 1250795.6331
73 | 2575810.8857 | 1250801.6789
74 | 2575820.1352 | 1250804.1054
75 | 2575776.1521 | 1250613.624
76 | 2575773.2551 | 1250576.2292
77 | 2575827.5081 | 1250631.6227
78 | 2575792.5539 | 1250708.8575
79 | 2575806.6129 | 1250696.6825
80 | 2575809.0061 | 1250694.6099
81 | 2575820.6024 | 1250684.5669
82 | 2575937.0165 | 1250719.9062
83 | 2575936.9014 | 1250728.1785
84 | 2575887.4204 | 1250681.1162
85 | 2575880.0907 | 1250663.8436
86 | 2575884.5116 | 1250687.1071
87 | 2575957.3134 | 1250754.646
88 | 2575907.8201 | 1250740.5888
89 | 2575871.4767 | 1250693.4894
90 | 2575867.1987 | 1250616.423
91 | 2575832.3726 | 1250674.3733
92 | 2575862.1559 | 1250601.5094
93 | 2575877.7958 | 1250612.3598
94 | 2575889.8256 | 1250607.7533
95 | 2575962.6699 | 1250579.2139
96 | 2575861.2598 | 1250598.8592
97 | 2575580.7537 | 1250819.3675
98 | 2575560.6647 | 1250838.4074
99 | 2575852.0347 | 1250571.5769
100 | 2575841.3461 | 1250539.966
101 | 2575833.3088 | 1250516.1963
102 | 2575761.125 | 1250736.0138

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1