## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6789-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6789-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6789-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6789-2_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6789-2_0_2_node_98 | 0.4 | n |  | TRUE
5 | bus_LV_6789-2_0_2_node_99 | 0.4 | n |  | TRUE
6 | bus_LV_6789-2_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6789-2_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6789-2_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6789-2_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6789-2_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_6789-2_0_2_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_6789-2_0_2_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_6789-2_0_2_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_6789-2_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6789-2_0_2_node_96 | 0.4 | n |  | TRUE
16 | bus_LV_6789-2_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6789-2_0_2_node_93 | 0.4 | n |  | TRUE
18 | bus_LV_6789-2_0_2_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_6789-2_0_2_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_6789-2_0_2_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_6789-2_0_2_node_105 | 0.4 | n |  | TRUE
22 | bus_LV_6789-2_0_2_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_6789-2_0_2_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_6789-2_0_2_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_6789-2_0_2_node_94 | 0.4 | n |  | TRUE
26 | bus_LV_6789-2_0_2_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_6789-2_0_2_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_6789-2_0_2_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_6789-2_0_2_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_6789-2_0_2_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_6789-2_0_2_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_6789-2_0_2_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_6789-2_0_2_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_6789-2_0_2_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_6789-2_0_2_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_6789-2_0_2_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_6789-2_0_2_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_6789-2_0_2_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_6789-2_0_2_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_6789-2_0_2_node_100 | 0.4 | n |  | TRUE
41 | bus_LV_6789-2_0_2_node_102 | 0.4 | n |  | TRUE
42 | bus_LV_6789-2_0_2_node_104 | 0.4 | n |  | TRUE
43 | bus_LV_6789-2_0_2_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_6789-2_0_2_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_6789-2_0_2_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_6789-2_0_2_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_6789-2_0_2_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_6789-2_0_2_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_6789-2_0_2_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_6789-2_0_2_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_6789-2_0_2_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_6789-2_0_2_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_6789-2_0_2_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_6789-2_0_2_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_6789-2_0_2_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_6789-2_0_2_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_6789-2_0_2_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_6789-2_0_2_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_6789-2_0_2_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_6789-2_0_2_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_6789-2_0_2_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_6789-2_0_2_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_6789-2_0_2_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_6789-2_0_2_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_6789-2_0_2_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_6789-2_0_2_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_6789-2_0_2_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_6789-2_0_2_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_6789-2_0_2_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_6789-2_0_2_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_6789-2_0_2_node_86 | 0.4 | n |  | TRUE
72 | bus_LV_6789-2_0_2_node_90 | 0.4 | n |  | TRUE
73 | bus_LV_6789-2_0_2_node_87 | 0.4 | n |  | TRUE
74 | bus_LV_6789-2_0_2_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_6789-2_0_2_node_89 | 0.4 | n |  | TRUE
76 | bus_LV_6789-2_0_2_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_6789-2_0_2_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_6789-2_0_2_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_6789-2_0_2_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_6789-2_0_2_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_6789-2_0_2_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_6789-2_0_2_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_6789-2_0_2_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_6789-2_0_2_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_6789-2_0_2_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_6789-2_0_2_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_6789-2_0_2_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_6789-2_0_2_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_6789-2_0_2_node_71 | 0.4 | n |  | TRUE
90 | bus_LV_6789-2_0_2_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_6789-2_0_2_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_6789-2_0_2_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_6789-2_0_2_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_6789-2_0_2_node_82 | 0.4 | n |  | TRUE
95 | bus_LV_6789-2_0_2_node_83 | 0.4 | n |  | TRUE
96 | bus_LV_6789-2_0_2_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_6789-2_0_2_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_6789-2_0_2_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_6789-2_0_2_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_6789-2_0_2_node_95 | 0.4 | n |  | TRUE
101 | bus_LV_6789-2_0_2_node_101 | 0.4 | n |  | TRUE
102 | bus_MV_344_0_node_187 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6789-2_0_2_load_0 | 0 | 0.0016674 | 0.0004179 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6789-2_0_2_load_1 | 1 | 0.0020749 | 0.00052001 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6789-2_0_2_load_2 | 2 | 0.0017103 | 0.00042865 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6789-2_0_2_load_4 | 3 | 0.0013047 | 0.000327 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6789-2_0_2_load_98 | 4 | 0.00064425 | 0.00016146 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6789-2_0_2_load_5 | 6 | 0.00087008 | 0.00021806 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6789-2_0_2_load_6 | 7 | 0.0034638 | 0.0008681 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6789-2_0_2_load_9 | 10 | 0.0033577 | 0.00084152 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6789-2_0_2_load_28 | 11 | 0.00034896 | 8.7456e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6789-2_0_2_load_20 | 13 | 0.00079729 | 0.00019982 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6789-2_0_2_load_96 | 15 | 0.001337 | 0.00033509 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6789-2_0_2_load_93 | 17 | 0.00054314 | 0.00013612 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6789-2_0_2_load_36 | 18 | 0.0034011 | 0.00085239 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6789-2_0_2_load_35 | 19 | 0.010339 | 0.0025912 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6789-2_0_2_load_105 | 21 | 0.0010522 | 0.0002637 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6789-2_0_2_load_23 | 22 | 0.0024862 | 0.0006231 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6789-2_0_2_load_21 | 23 | 0.0038423 | 0.00096297 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6789-2_0_2_load_27 | 24 | 0.00042568 | 0.00010669 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6789-2_0_2_load_94 | 25 | 0.00075069 | 0.00018814 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6789-2_0_2_load_38 | 26 | 0.00050126 | 0.00012563 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6789-2_0_2_load_39 | 28 | 0.0016712 | 0.00041885 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6789-2_0_2_load_12 | 30 | 0.00083817 | 0.00021006 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6789-2_0_2_load_13 | 31 | 0.0017471 | 0.00043787 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6789-2_0_2_load_14 | 32 | 0.0032177 | 0.00080643 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6789-2_0_2_load_15 | 33 | 0.0011013 | 0.00027601 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6789-2_0_2_load_16 | 34 | 0.0026176 | 0.00065603 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6789-2_0_2_load_26 | 35 | 0.0046062 | 0.0011544 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6789-2_0_2_load_17 | 36 | 0.0017757 | 0.00044504 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6789-2_0_2_load_18 | 38 | 0.00071398 | 0.00017894 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6789-2_0_2_load_19 | 39 | 0.0017595 | 0.00044097 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6789-2_0_2_load_100 | 40 | 0.00045191 | 0.00011326 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6789-2_0_2_load_102 | 41 | 0.00042621 | 0.00010682 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6789-2_0_2_load_104 | 42 | 0.0013718 | 0.00034381 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6789-2_0_2_load_29 | 43 | 0.0026352 | 0.00066043 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6789-2_0_2_load_30 | 44 | 0.0011003 | 0.00027577 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6789-2_0_2_load_33 | 47 | 0.0015199 | 0.00038093 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6789-2_0_2_load_34 | 48 | 0.0014356 | 0.00035979 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6789-2_0_2_load_49 | 49 | 0.0026636 | 0.00066756 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6789-2_0_2_load_53 | 50 | 0.0061495 | 0.0015412 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6789-2_0_2_load_48 | 52 | 0.0017084 | 0.00042817 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6789-2_0_2_load_64 | 53 | 0.0052809 | 0.0013235 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6789-2_0_2_load_55 | 54 | 0.0011109 | 0.00027841 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6789-2_0_2_load_56 | 55 | 0.00096227 | 0.00024117 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6789-2_0_2_load_40 | 56 | 0.00054001 | 0.00013534 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6789-2_0_2_load_45 | 61 | 0.00079174 | 0.00019843 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6789-2_0_2_load_46 | 62 | 0.00080408 | 0.00020152 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6789-2_0_2_load_57 | 63 | 0.0059308 | 0.0014864 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6789-2_0_2_load_79 | 64 | 0.001753 | 0.00043934 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6789-2_0_2_load_58 | 65 | 0.0040496 | 0.0010149 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6789-2_0_2_load_47 | 67 | 0.00056447 | 0.00014147 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6789-2_0_2_load_51 | 69 | 0.0059877 | 0.0015007 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6789-2_0_2_load_52 | 70 | 0.0010136 | 0.00025404 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6789-2_0_2_load_86 | 71 | 0.00088402 | 0.00022156 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6789-2_0_2_load_87 | 73 | 0.00035378 | 8.8667e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6789-2_0_2_load_89 | 75 | 0.001422 | 0.00035638 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6789-2_0_2_load_81 | 76 | 0.00078594 | 0.00019697 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6789-2_0_2_load_59 | 78 | 0.00028792 | 7.216e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6789-2_0_2_load_60 | 79 | 0.0017034 | 0.00042692 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6789-2_0_2_load_61 | 80 | 0.0012326 | 0.00030893 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6789-2_0_2_load_63 | 81 | 0.0044963 | 0.0011269 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6789-2_0_2_load_68 | 82 | 0.002379 | 0.00059624 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6789-2_0_2_load_69 | 83 | 0.0011206 | 0.00028084 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6789-2_0_2_load_65 | 84 | 0.001046 | 0.00026215 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6789-2_0_2_load_75 | 85 | 0.0007689 | 0.0001927 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6789-2_0_2_load_78 | 86 | 0.0013326 | 0.00033398 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6789-2_0_2_load_76 | 87 | 0.0050297 | 0.0012606 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6789-2_0_2_load_70 | 88 | 0.00046429 | 0.00011636 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6789-2_0_2_load_71 | 89 | 0.00039941 | 0.0001001 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6789-2_0_2_load_72 | 90 | 0.001301 | 0.00032606 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6789-2_0_2_load_73 | 91 | 0.0010004 | 0.00025071 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6789-2_0_2_load_74 | 92 | 0.00099981 | 0.00025058 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6789-2_0_2_load_80 | 93 | 0.00046884 | 0.0001175 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6789-2_0_2_load_83 | 95 | 0.00059671 | 0.00014955 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6789-2_0_2_load_88 | 96 | 0.00061351 | 0.00015376 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6789-2_0_2_load_92 | 98 | 0.0016331 | 0.0004093 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6789-2_0_2_load_97 | 99 | 0.00063549 | 0.00015927 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6789-2_0_2_load_95 | 100 | 0.0021224 | 0.00053192 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6789-2_0_2_load_101 | 101 | 0.00053494 | 0.00013407 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6789-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.061718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6789-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.038289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6789-2_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.012678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6789-2_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.012587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6789-2_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.014681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6789-2_0_2_line_5 | NAYY 4x150 SE | 5 | 101 | 0.011291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6789-2_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.029059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6789-2_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0085935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6789-2_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.083813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6789-2_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.019441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6789-2_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.031351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6789-2_0_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.058449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6789-2_0_2_line_12 | NAYY 4x150 SE | 10 | 13 | 0.0061101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6789-2_0_2_line_13 | NAYY 4x150 SE | 12 | 20 | 0.077752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6789-2_0_2_line_14 | NAYY 4x150 SE | 12 | 21 | 0.057493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6789-2_0_2_line_15 | NAYY 4x150 SE | 12 | 22 | 0.020869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6789-2_0_2_line_16 | NAYY 4x150 SE | 13 | 23 | 0.014169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6789-2_0_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.023891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6789-2_0_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.015282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6789-2_0_2_line_19 | NAYY 4x150 SE | 14 | 17 | 0.034845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6789-2_0_2_line_20 | NAYY 4x150 SE | 15 | 24 | 0.011926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6789-2_0_2_line_21 | NAYY 4x150 SE | 16 | 18 | 0.015643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6789-2_0_2_line_22 | NAYY 4x150 SE | 16 | 19 | 0.040642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6789-2_0_2_line_23 | NAYY 4x150 SE | 17 | 25 | 0.011318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6789-2_0_2_line_24 | NAYY 4x150 SE | 18 | 26 | 0.012953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6789-2_0_2_line_25 | NAYY 4x150 SE | 20 | 42 | 0.052346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6789-2_0_2_line_26 | NAYY 4x150 SE | 23 | 37 | 0.023926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6789-2_0_2_line_27 | NAYY 4x150 SE | 24 | 37 | 0.0055672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6789-2_0_2_line_28 | NAYY 4x150 SE | 25 | 100 | 0.0041562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6789-2_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.0096484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6789-2_0_2_line_30 | NAYY 4x150 SE | 27 | 28 | 0.011649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6789-2_0_2_line_31 | NAYY 4x150 SE | 27 | 29 | 0.030331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6789-2_0_2_line_32 | NAYY 4x150 SE | 29 | 53 | 0.0067805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6789-2_0_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0021314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6789-2_0_2_line_34 | NAYY 4x150 SE | 30 | 32 | 0.0034752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6789-2_0_2_line_35 | NAYY 4x150 SE | 31 | 33 | 0.02183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6789-2_0_2_line_36 | NAYY 4x150 SE | 32 | 34 | 0.011772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6789-2_0_2_line_37 | NAYY 4x150 SE | 33 | 35 | 0.020779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6789-2_0_2_line_38 | NAYY 4x150 SE | 34 | 36 | 0.0089014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6789-2_0_2_line_39 | NAYY 4x150 SE | 35 | 37 | 0.0067779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6789-2_0_2_line_40 | NAYY 4x150 SE | 36 | 38 | 0.018716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6789-2_0_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0063374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6789-2_0_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.0079877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6789-2_0_2_line_43 | NAYY 4x150 SE | 40 | 41 | 0.0047245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6789-2_0_2_line_44 | NAYY 4x150 SE | 41 | 101 | 0.017313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6789-2_0_2_line_45 | NAYY 4x150 SE | 43 | 44 | 0.0052512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6789-2_0_2_line_46 | NAYY 4x150 SE | 43 | 45 | 0.0181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6789-2_0_2_line_47 | NAYY 4x150 SE | 44 | 46 | 0.019763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6789-2_0_2_line_48 | NAYY 4x150 SE | 45 | 47 | 0.0051759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6789-2_0_2_line_49 | NAYY 4x150 SE | 45 | 48 | 0.021661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6789-2_0_2_line_50 | NAYY 4x150 SE | 46 | 49 | 0.0084022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6789-2_0_2_line_51 | NAYY 4x150 SE | 47 | 50 | 0.029543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6789-2_0_2_line_52 | NAYY 4x150 SE | 48 | 51 | 0.018211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6789-2_0_2_line_53 | NAYY 4x150 SE | 49 | 52 | 0.012594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6789-2_0_2_line_54 | NAYY 4x150 SE | 51 | 54 | 0.011173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6789-2_0_2_line_55 | NAYY 4x150 SE | 51 | 55 | 0.011395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6789-2_0_2_line_56 | NAYY 4x150 SE | 52 | 67 | 0.0024725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6789-2_0_2_line_57 | NAYY 4x150 SE | 53 | 84 | 0.016951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6789-2_0_2_line_58 | NAYY 4x150 SE | 54 | 76 | 0.0003122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6789-2_0_2_line_59 | NAYY 4x150 SE | 56 | 57 | 0.023607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6789-2_0_2_line_60 | NAYY 4x150 SE | 57 | 58 | 0.071231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6789-2_0_2_line_61 | NAYY 4x150 SE | 57 | 59 | 0.011325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6789-2_0_2_line_62 | NAYY 4x150 SE | 58 | 63 | 0.060623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6789-2_0_2_line_63 | NAYY 4x150 SE | 59 | 62 | 0.020506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6789-2_0_2_line_64 | NAYY 4x150 SE | 60 | 61 | 0.013381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6789-2_0_2_line_65 | NAYY 4x150 SE | 60 | 62 | 0.0093115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6789-2_0_2_line_66 | NAYY 4x150 SE | 61 | 64 | 0.0027914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6789-2_0_2_line_67 | NAYY 4x150 SE | 63 | 65 | 0.051794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6789-2_0_2_line_68 | NAYY 4x150 SE | 64 | 66 | 0.032391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6789-2_0_2_line_69 | NAYY 4x150 SE | 66 | 85 | 0.01175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6789-2_0_2_line_70 | NAYY 4x150 SE | 66 | 77 | 0.00509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6789-2_0_2_line_71 | NAYY 4x150 SE | 68 | 69 | 0.05181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6789-2_0_2_line_72 | NAYY 4x150 SE | 68 | 70 | 0.0043498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6789-2_0_2_line_73 | NAYY 4x150 SE | 69 | 71 | 0.036875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6789-2_0_2_line_74 | NAYY 4x150 SE | 70 | 72 | 0.019721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6789-2_0_2_line_75 | NAYY 4x150 SE | 71 | 73 | 0.0058257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6789-2_0_2_line_76 | NAYY 4x150 SE | 72 | 74 | 0.007095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6789-2_0_2_line_77 | NAYY 4x150 SE | 72 | 75 | 0.022651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6789-2_0_2_line_78 | NAYY 4x150 SE | 73 | 96 | 0.0068648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6789-2_0_2_line_79 | NAYY 4x150 SE | 74 | 92 | 0.026199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6789-2_0_2_line_80 | NAYY 4x150 SE | 76 | 77 | 0.026907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6789-2_0_2_line_81 | NAYY 4x150 SE | 77 | 84 | 0.014236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6789-2_0_2_line_82 | NAYY 4x150 SE | 78 | 79 | 0.023363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6789-2_0_2_line_83 | NAYY 4x150 SE | 78 | 80 | 0.035836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_6789-2_0_2_line_84 | NAYY 4x150 SE | 80 | 81 | 0.018159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6789-2_0_2_line_85 | NAYY 4x150 SE | 81 | 82 | 0.0063864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_6789-2_0_2_line_86 | NAYY 4x150 SE | 82 | 83 | 0.012021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_6789-2_0_2_line_87 | NAYY 4x150 SE | 83 | 86 | 0.012898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_6789-2_0_2_line_88 | NAYY 4x150 SE | 85 | 87 | 0.0097821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_6789-2_0_2_line_89 | NAYY 4x150 SE | 86 | 87 | 0.0094316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_6789-2_0_2_line_90 | NAYY 4x150 SE | 88 | 89 | 0.0083349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_6789-2_0_2_line_91 | NAYY 4x150 SE | 88 | 90 | 0.017974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_6789-2_0_2_line_92 | NAYY 4x150 SE | 89 | 91 | 0.019077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_6789-2_0_2_line_93 | NAYY 4x150 SE | 90 | 92 | 0.0045816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_6789-2_0_2_line_94 | NAYY 4x150 SE | 91 | 93 | 0.022819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_6789-2_0_2_line_95 | NAYY 4x150 SE | 93 | 94 | 0.0207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_6789-2_0_2_line_96 | NAYY 4x150 SE | 94 | 95 | 0.033355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_6789-2_0_2_line_97 | NAYY 4x150 SE | 96 | 97 | 0.01717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_6789-2_0_2_line_98 | NAYY 4x150 SE | 97 | 98 | 0.036272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_6789-2_0_2_line_99 | NAYY 4x150 SE | 98 | 99 | 0.01127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_6789-2_0_2_line_100 | NAYY 4x150 SE | 99 | 100 | 0.00019526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6789-2_0_2_trafo_37 | 0.25 MVA 20/0.4 kV | 102 | 27 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2563124.2894 | 1251811.0241 | 2563112.0494 | 1251805.4942 | 2563086.5885 | 1251798.5819 | 2563067.9854 | 1251794.929 | 2563065.0708 | 1251794.4972
1 | 2563124.2894 | 1251811.0241 | 2563127.7306 | 1251812.5788 | 2563146.2564 | 1251824.4045 | 2563157.2236 | 1251830.4738
2 | 2563168.3165 | 1251836.6127 | 2563157.2236 | 1251830.4738
3 | 2563168.3165 | 1251836.6127 | 2563171.8453 | 1251838.5656 | 2563179.3572 | 1251842.6573
4 | 2563191.9766 | 1251850.1145 | 2563188.6562 | 1251847.7225 | 2563179.3572 | 1251842.6573
5 | 2563191.9766 | 1251850.1145 | 2563190.3675 | 1251852.2704 | 2563187.3483 | 1251860.3241
6 | 2563093.7414 | 1252006.1802 | 2563067.1756 | 1251994.403
7 | 2563101.5975 | 1252009.663 | 2563093.7414 | 1252006.1802
8 | 2562990.0822 | 1251961.5282 | 2562993.0181 | 1251962.7773 | 2563048.1781 | 1251985.981 | 2563067.1756 | 1251994.403
9 | 2563101.5975 | 1252009.663 | 2563112.3342 | 1251993.456
10 | 2562977.4556 | 1251990.2376 | 2562990.0822 | 1251961.5282
11 | 2562944.326 | 1251958.9577 | 2562950.9377 | 1251944.6733 | 2562953.2959 | 1251946.4486 | 2562954.6729 | 1251947.0181 | 2562981.6157 | 1251958.0567 | 2562990.0822 | 1251961.5282
12 | 2563112.3342 | 1251993.456 | 2563115.7087 | 1251988.3622
13 | 2562971.4094 | 1251887.7401 | 2562948.9889 | 1251939.5821 | 2562949.68 | 1251942.6687 | 2562950.9377 | 1251944.6733 | 2562944.326 | 1251958.9577
14 | 2562944.326 | 1251958.9577 | 2562888.7624 | 1251973.7274
15 | 2562944.326 | 1251958.9577 | 2562963.5844 | 1251966.9962
16 | 2563127.1422 | 1251980.6063 | 2563127.1422 | 1251980.6063 | 2563121.8941 | 1251982.507 | 2563116.8561 | 1251986.6301 | 2563115.7087 | 1251988.3622
17 | 2563142.2927 | 1252026.0534 | 2563145.4294 | 1252013.5365 | 2563147.4028 | 1252002.728
18 | 2563130.2855 | 1252034.4005 | 2563131.6759 | 1252032.2793 | 2563133.1965 | 1252030.4686 | 2563135.7852 | 1252028.0842 | 2563138.9159 | 1252026.6971 | 2563142.2927 | 1252026.0534
19 | 2563142.2927 | 1252026.0534 | 2563145.7481 | 1252025.8984 | 2563149.7116 | 1252026.1627 | 2563168.7642 | 1252031.8255 | 2563176.0212 | 1252033.8639
20 | 2563147.4028 | 1252002.728 | 2563149.5448 | 1251990.9958
21 | 2563130.2855 | 1252034.4005 | 2563134.1904 | 1252039.7798 | 2563136.2645 | 1252048.0502 | 2563136.2118 | 1252048.5168
22 | 2563130.2855 | 1252034.4005 | 2563109.2599 | 1252029.4173 | 2563094.4082 | 1252031.8117 | 2563090.4728 | 1252031.1528
23 | 2563176.0212 | 1252033.8639 | 2563186.9174 | 1252036.9245
24 | 2563134.2675 | 1252061.3009 | 2563135.2061 | 1252057.4186 | 2563136.2118 | 1252048.5168
25 | 2562971.4094 | 1251887.7401 | 2562978.8558 | 1251889.7837 | 2563022.0218 | 1251901.6547
26 | 2563150.5447 | 1251985.5191 | 2563134.7568 | 1251981.8263 | 2563127.1422 | 1251980.6063
27 | 2563150.5447 | 1251985.5191 | 2563149.5448 | 1251990.9958
28 | 2563186.9174 | 1252036.9245 | 2563189.3268 | 1252037.6012 | 2563190.9363 | 1252037.9806
29 | 2563134.2675 | 1252061.3009 | 2563133.3082 | 1252065.2691 | 2563128.9072 | 1252068.6766 | 2563128.9072 | 1252068.6766
30 | 2563117.5664 | 1252071.338 | 2563128.9072 | 1252068.6766
31 | 2563117.5664 | 1252071.338 | 2563110.7074 | 1252085.9573 | 2563107.3643 | 1252091.9934 | 2563102.8269 | 1252097.7144
32 | 2563102.8269 | 1252097.7144 | 2563096.9964 | 1252101.1757
33 | 2563161.9309 | 1251935.293 | 2563161.3541 | 1251937.345
34 | 2563162.8713 | 1251931.9475 | 2563161.9309 | 1251935.293
35 | 2563161.3541 | 1251937.345 | 2563158.9977 | 1251945.7286 | 2563156.2711 | 1251958.5635
36 | 2563162.8713 | 1251931.9475 | 2563166.0567 | 1251920.6147
37 | 2563151.9532 | 1251978.8891 | 2563156.2711 | 1251958.5635
38 | 2563168.4654 | 1251912.0453 | 2563166.0567 | 1251920.6147
39 | 2563150.5447 | 1251985.5191 | 2563151.9532 | 1251978.8891
40 | 2563168.4654 | 1251912.0453 | 2563169.9833 | 1251906.645 | 2563174.5841 | 1251894.3723
41 | 2563174.5841 | 1251894.3723 | 2563176.8087 | 1251888.4382
42 | 2563179.6126 | 1251880.9589 | 2563176.8087 | 1251888.4382
43 | 2563181.2711 | 1251876.535 | 2563179.6126 | 1251880.9589
44 | 2563187.3483 | 1251860.3241 | 2563181.2711 | 1251876.535
45 | 2563111.8826 | 1252142.6597 | 2563113.539 | 1252137.6765
46 | 2563106.1733 | 1252159.8352 | 2563111.8826 | 1252142.6597
47 | 2563119.7728 | 1252118.9229 | 2563113.539 | 1252137.6765
48 | 2563106.1733 | 1252159.8352 | 2563111.2343 | 1252160.9196
49 | 2563106.1733 | 1252159.8352 | 2563098.7302 | 1252158.2473 | 2563089.517 | 1252158.405 | 2563084.6868 | 1252158.177
50 | 2563119.7728 | 1252118.9229 | 2563122.2645 | 1252120.3527 | 2563127.3088 | 1252122.6175
51 | 2563135.5564 | 1252173.9613 | 2563134.8314 | 1252171.4419 | 2563133.3988 | 1252169.2271 | 2563130.044 | 1252166.1238 | 2563127.6034 | 1252164.4268 | 2563111.2343 | 1252160.9196
52 | 2563067.2677 | 1252153.1627 | 2563082.0288 | 1252158.0515 | 2563084.6868 | 1252158.177
53 | 2563138.7977 | 1252127.7758 | 2563127.3088 | 1252122.6175
54 | 2563067.2677 | 1252153.1627 | 2563068.792 | 1252148.3166 | 2563069.9092 | 1252142.3268
55 | 2563060.3516 | 1252162.2342 | 2563067.2677 | 1252153.1627
56 | 2563141.0533 | 1252128.7886 | 2563138.7977 | 1252127.7758
57 | 2563096.9964 | 1252101.1757 | 2563095.2933 | 1252102.1867 | 2563082.6511 | 1252109.1259 | 2563082.1575 | 1252109.3654
58 | 2563069.9092 | 1252142.3268 | 2563069.9665 | 1252142.0199
59 | 2562984.407 | 1252157.7287 | 2562993.4895 | 1252160.8184 | 2562999.4617 | 1252161.2924 | 2563005.9298 | 1252159.0281 | 2563006.9082 | 1252158.388
60 | 2562921.852 | 1252192.0885 | 2562938.41 | 1252183.8791 | 2562972.5632 | 1252164.3852 | 2562977.0142 | 1252161.7555 | 2562984.407 | 1252157.7287
61 | 2562994.3795 | 1252152.3071 | 2562984.407 | 1252157.7287
62 | 2562921.852 | 1252192.0885 | 2562932.2287 | 1252199.3727 | 2562954.4585 | 1252209.9293 | 2562975.2455 | 1252220.5344
63 | 2562994.3795 | 1252152.3071 | 2563012.7934 | 1252143.2836
64 | 2563021.1549 | 1252139.1862 | 2563033.1695 | 1252133.2964
65 | 2563021.1549 | 1252139.1862 | 2563012.7934 | 1252143.2836
66 | 2563033.1695 | 1252133.2964 | 2563035.676 | 1252132.0677
67 | 2562975.2455 | 1252220.5344 | 2562997.7315 | 1252232.0063 | 2563021.4803 | 1252243.878
68 | 2563064.76 | 1252117.8102 | 2563035.676 | 1252132.0677
69 | 2563064.76 | 1252117.8102 | 2563058.9533 | 1252107.5952
70 | 2563069.3494 | 1252115.58 | 2563064.76 | 1252117.8102
71 | 2563229.0965 | 1252167.185 | 2563232.7259 | 1252115.5026
72 | 2563229.0965 | 1252167.185 | 2563229.2762 | 1252171.5311
73 | 2563235.309 | 1252078.7186 | 2563232.7259 | 1252115.5026
74 | 2563232.0371 | 1252191.0271 | 2563229.4696 | 1252176.2109 | 2563229.2762 | 1252171.5311
75 | 2563235.309 | 1252078.7186 | 2563235.7171 | 1252072.9072
76 | 2563232.0371 | 1252191.0271 | 2563231.953 | 1252198.1213
77 | 2563232.0371 | 1252191.0271 | 2563254.3893 | 1252194.697
78 | 2563235.7171 | 1252072.9072 | 2563236.198 | 1252066.0593
79 | 2563231.953 | 1252198.1213 | 2563245.1799 | 1252216.0177 | 2563247.048 | 1252219.4931
80 | 2563069.3494 | 1252115.58 | 2563071.933 | 1252125.6706 | 2563071.2088 | 1252135.3594 | 2563069.9665 | 1252142.0199
81 | 2563069.3494 | 1252115.58 | 2563082.1575 | 1252109.3654
82 | 2562976.2024 | 1252083.2332 | 2562975.2155 | 1252084.3148 | 2562962.9123 | 1252102.431
83 | 2562976.2024 | 1252083.2332 | 2562983.46 | 1252075.2793 | 2562989.7005 | 1252070.4036 | 2562993.4352 | 1252069.0682 | 2562999.4061 | 1252068.1191 | 2563006.4901 | 1252068.9864 | 2563006.4901 | 1252068.9864
84 | 2563019.547 | 1252081.2431 | 2563011.9813 | 1252072.1764 | 2563006.4901 | 1252068.9864
85 | 2563019.547 | 1252081.2431 | 2563023.6387 | 1252086.1466
86 | 2563031.3405 | 1252095.3764 | 2563023.6387 | 1252086.1466
87 | 2563031.3405 | 1252095.3764 | 2563037.2706 | 1252102.4829 | 2563040.5388 | 1252104.0912
88 | 2563058.9533 | 1252107.5952 | 2563058.9533 | 1252107.5952 | 2563056.0134 | 1252105.7012 | 2563052.4655 | 1252105.5233 | 2563049.733 | 1252105.5404
89 | 2563040.5388 | 1252104.0912 | 2563041.9336 | 1252104.7775 | 2563045.8853 | 1252105.5644 | 2563049.733 | 1252105.5404
90 | 2563257.7269 | 1252239.3603 | 2563261.673 | 1252246.7018
91 | 2563257.7269 | 1252239.3603 | 2563249.2172 | 1252223.5287
92 | 2563261.673 | 1252246.7018 | 2563270.7053 | 1252263.5055
93 | 2563249.2172 | 1252223.5287 | 2563247.048 | 1252219.4931
94 | 2563270.7053 | 1252263.5055 | 2563271.5194 | 1252265.0201 | 2563281.2065 | 1252283.764
95 | 2563292.3224 | 1252301.1151 | 2563286.0853 | 1252293.2041 | 2563281.2065 | 1252283.764
96 | 2563292.3224 | 1252301.1151 | 2563282.4612 | 1252301.3765 | 2563275.2445 | 1252298.5528 | 2563262.7386 | 1252288.9939
97 | 2563237.4008 | 1252048.9317 | 2563236.198 | 1252066.0593
98 | 2563237.4008 | 1252048.9317 | 2563202.096 | 1252040.6108
99 | 2563191.1263 | 1252038.0253 | 2563202.096 | 1252040.6108
100 | 2563191.1263 | 1252038.0253 | 2563190.9363 | 1252037.9806

## bus_geodata
| x | y | coords
0 | 2563124.2894 | 1251811.0241
1 | 2563065.0708 | 1251794.4972
2 | 2563157.2236 | 1251830.4738
3 | 2563168.3165 | 1251836.6127
4 | 2563179.3572 | 1251842.6573
5 | 2563191.9766 | 1251850.1145
6 | 2563093.7414 | 1252006.1802
7 | 2563067.1756 | 1251994.403
8 | 2563101.5975 | 1252009.663
9 | 2562990.0822 | 1251961.5282
10 | 2563112.3342 | 1251993.456
11 | 2562977.4556 | 1251990.2376
12 | 2562944.326 | 1251958.9577
13 | 2563115.7087 | 1251988.3622
14 | 2563142.2927 | 1252026.0534
15 | 2563147.4028 | 1252002.728
16 | 2563130.2855 | 1252034.4005
17 | 2563176.0212 | 1252033.8639
18 | 2563136.2118 | 1252048.5168
19 | 2563090.4728 | 1252031.1528
20 | 2562971.4094 | 1251887.7401
21 | 2562888.7624 | 1251973.7274
22 | 2562963.5844 | 1251966.9962
23 | 2563127.1422 | 1251980.6063
24 | 2563149.5448 | 1251990.9958
25 | 2563186.9174 | 1252036.9245
26 | 2563134.2675 | 1252061.3009
27 | 2563117.5664 | 1252071.338
28 | 2563128.9072 | 1252068.6766
29 | 2563102.8269 | 1252097.7144
30 | 2563161.9309 | 1251935.293
31 | 2563161.3541 | 1251937.345
32 | 2563162.8713 | 1251931.9475
33 | 2563156.271 | 1251958.5635
34 | 2563166.0567 | 1251920.6147
35 | 2563151.9532 | 1251978.8891
36 | 2563168.4654 | 1251912.0453
37 | 2563150.5447 | 1251985.5191
38 | 2563174.5841 | 1251894.3723
39 | 2563176.8087 | 1251888.4382
40 | 2563179.6126 | 1251880.9589
41 | 2563181.2711 | 1251876.535
42 | 2563022.0218 | 1251901.6547
43 | 2563111.8826 | 1252142.6596
44 | 2563113.539 | 1252137.6765
45 | 2563106.1733 | 1252159.8352
46 | 2563119.7728 | 1252118.9229
47 | 2563111.2343 | 1252160.9196
48 | 2563084.6868 | 1252158.177
49 | 2563127.3088 | 1252122.6175
50 | 2563135.5564 | 1252173.9613
51 | 2563067.2677 | 1252153.1627
52 | 2563138.7977 | 1252127.7758
53 | 2563096.9964 | 1252101.1757
54 | 2563069.9092 | 1252142.3268
55 | 2563060.3516 | 1252162.2342
56 | 2563006.9082 | 1252158.388
57 | 2562984.407 | 1252157.7287
58 | 2562921.852 | 1252192.0885
59 | 2562994.3795 | 1252152.3071
60 | 2563021.1549 | 1252139.1862
61 | 2563033.1695 | 1252133.2964
62 | 2563012.7934 | 1252143.2836
63 | 2562975.2455 | 1252220.5344
64 | 2563035.676 | 1252132.0677
65 | 2563021.4803 | 1252243.878
66 | 2563064.76 | 1252117.8102
67 | 2563141.0533 | 1252128.7886
68 | 2563229.0965 | 1252167.185
69 | 2563232.7259 | 1252115.5026
70 | 2563229.2762 | 1252171.5311
71 | 2563235.309 | 1252078.7186
72 | 2563232.0371 | 1252191.0271
73 | 2563235.7171 | 1252072.9072
74 | 2563231.953 | 1252198.1213
75 | 2563254.3893 | 1252194.697
76 | 2563069.9665 | 1252142.0199
77 | 2563069.3494 | 1252115.58
78 | 2562976.2024 | 1252083.2332
79 | 2562962.9123 | 1252102.431
80 | 2563006.4901 | 1252068.9864
81 | 2563019.547 | 1252081.2431
82 | 2563023.6387 | 1252086.1466
83 | 2563031.3405 | 1252095.3764
84 | 2563082.1575 | 1252109.3654
85 | 2563058.9533 | 1252107.5952
86 | 2563040.5388 | 1252104.0912
87 | 2563049.733 | 1252105.5404
88 | 2563257.7269 | 1252239.3603
89 | 2563261.673 | 1252246.7018
90 | 2563249.2172 | 1252223.5287
91 | 2563270.7053 | 1252263.5055
92 | 2563247.048 | 1252219.4931
93 | 2563281.2065 | 1252283.764
94 | 2563292.3224 | 1252301.1151
95 | 2563262.7386 | 1252288.9939
96 | 2563236.198 | 1252066.0593
97 | 2563237.4008 | 1252048.9317
98 | 2563202.096 | 1252040.6108
99 | 2563191.1263 | 1252038.0253
100 | 2563190.9363 | 1252037.9806
101 | 2563187.3483 | 1251860.3241
102 | 2563102.8269 | 1252097.7144

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1