## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6789-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6789-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6789-3_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6789-3_0_2_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_6789-3_0_2_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_6789-3_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6789-3_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6789-3_0_2_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_6789-3_0_2_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_6789-3_0_2_node_89 | 0.4 | n |  | TRUE
10 | bus_LV_6789-3_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6789-3_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6789-3_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6789-3_0_2_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_6789-3_0_2_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_6789-3_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6789-3_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6789-3_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_6789-3_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6789-3_0_2_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_6789-3_0_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_6789-3_0_2_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_6789-3_0_2_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_6789-3_0_2_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_6789-3_0_2_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_6789-3_0_2_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_6789-3_0_2_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_6789-3_0_2_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_6789-3_0_2_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_6789-3_0_2_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_6789-3_0_2_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_6789-3_0_2_node_60 | 0.4 | n |  | TRUE
32 | bus_LV_6789-3_0_2_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_6789-3_0_2_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_6789-3_0_2_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_6789-3_0_2_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_6789-3_0_2_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_6789-3_0_2_node_69 | 0.4 | n |  | TRUE
38 | bus_LV_6789-3_0_2_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_6789-3_0_2_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_6789-3_0_2_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_6789-3_0_2_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_6789-3_0_2_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_6789-3_0_2_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_6789-3_0_2_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6789-3_0_2_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_6789-3_0_2_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_6789-3_0_2_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_6789-3_0_2_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_6789-3_0_2_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_6789-3_0_2_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_6789-3_0_2_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_6789-3_0_2_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_6789-3_0_2_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_6789-3_0_2_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_6789-3_0_2_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_6789-3_0_2_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_6789-3_0_2_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_6789-3_0_2_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_6789-3_0_2_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_6789-3_0_2_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_6789-3_0_2_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_6789-3_0_2_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_6789-3_0_2_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_6789-3_0_2_node_86 | 0.4 | n |  | TRUE
65 | bus_LV_6789-3_0_2_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_6789-3_0_2_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_6789-3_0_2_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_6789-3_0_2_node_88 | 0.4 | n |  | TRUE
69 | bus_LV_6789-3_0_2_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_6789-3_0_2_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_6789-3_0_2_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_6789-3_0_2_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_6789-3_0_2_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_6789-3_0_2_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_6789-3_0_2_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_6789-3_0_2_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_6789-3_0_2_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_6789-3_0_2_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_6789-3_0_2_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_6789-3_0_2_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_6789-3_0_2_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_6789-3_0_2_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_6789-3_0_2_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_6789-3_0_2_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_6789-3_0_2_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_6789-3_0_2_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_6789-3_0_2_node_84 | 0.4 | n |  | TRUE
88 | bus_MV_344_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6789-3_0_2_load_0 | 0 | 0.00070603 | 0.00017695 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6789-3_0_2_load_1 | 1 | 0.001153 | 0.00028896 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6789-3_0_2_load_6 | 3 | 0.00057141 | 0.00014321 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6789-3_0_2_load_5 | 5 | 0.0013553 | 0.00033966 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6789-3_0_2_load_21 | 7 | 0.0011015 | 0.00027605 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6789-3_0_2_load_22 | 8 | 0.0037624 | 0.00094296 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6789-3_0_2_load_89 | 9 | 0.0071689 | 0.0017967 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6789-3_0_2_load_8 | 11 | 0.00065492 | 0.00016414 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6789-3_0_2_load_9 | 12 | 0.00080242 | 0.00020111 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6789-3_0_2_load_16 | 13 | 0.0014888 | 0.00037313 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6789-3_0_2_load_15 | 14 | 0.00050698 | 0.00012706 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6789-3_0_2_load_11 | 15 | 0.00058465 | 0.00014653 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6789-3_0_2_load_12 | 16 | 0.0023266 | 0.00058311 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6789-3_0_2_load_13 | 17 | 0.0011694 | 0.00029307 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6789-3_0_2_load_14 | 18 | 0.00088758 | 0.00022245 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6789-3_0_2_load_19 | 19 | 0.0032391 | 0.00081179 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6789-3_0_2_load_17 | 20 | 0.00075615 | 0.00018951 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6789-3_0_2_load_18 | 21 | 0.0011176 | 0.00028009 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6789-3_0_2_load_20 | 22 | 0.00075899 | 0.00019022 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6789-3_0_2_load_61 | 23 | 0.0039185 | 0.00098207 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6789-3_0_2_load_59 | 24 | 0.0019388 | 0.00048592 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6789-3_0_2_load_23 | 25 | 0.0021539 | 0.00053982 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6789-3_0_2_load_24 | 26 | 0.00095924 | 0.00024041 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6789-3_0_2_load_26 | 28 | 0.0031548 | 0.00079067 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6789-3_0_2_load_27 | 29 | 0.00096058 | 0.00024074 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6789-3_0_2_load_60 | 31 | 0.0015007 | 0.0003761 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6789-3_0_2_load_70 | 33 | 0.0015513 | 0.00038878 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6789-3_0_2_load_58 | 34 | 0.0010778 | 0.00027011 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6789-3_0_2_load_68 | 35 | 0.00061414 | 0.00015392 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6789-3_0_2_load_44 | 36 | 0.00053045 | 0.00013294 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6789-3_0_2_load_29 | 38 | 0.003799 | 0.00095213 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6789-3_0_2_load_30 | 39 | 0.00086864 | 0.0002177 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6789-3_0_2_load_31 | 40 | 0.0024696 | 0.00061893 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6789-3_0_2_load_32 | 41 | 0.0074173 | 0.0018589 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6789-3_0_2_load_33 | 42 | 0.0009025 | 0.00022619 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6789-3_0_2_load_43 | 43 | 0.0020629 | 0.00051702 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6789-3_0_2_load_39 | 44 | 0.00039071 | 9.792e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6789-3_0_2_load_40 | 45 | 0.001982 | 0.00049673 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6789-3_0_2_load_34 | 46 | 0.0024797 | 0.00062147 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6789-3_0_2_load_35 | 47 | 0.00067863 | 0.00017008 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6789-3_0_2_load_36 | 48 | 0.0022957 | 0.00057535 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6789-3_0_2_load_37 | 49 | 0.0039502 | 0.00099001 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6789-3_0_2_load_38 | 50 | 0.0024484 | 0.00061363 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6789-3_0_2_load_62 | 51 | 0.002456 | 0.00061552 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6789-3_0_2_load_67 | 52 | 0.0026574 | 0.000666 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6789-3_0_2_load_42 | 54 | 0.0018022 | 0.00045168 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6789-3_0_2_load_41 | 55 | 0.00034367 | 8.6133e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6789-3_0_2_load_45 | 56 | 0.0017229 | 0.00043179 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6789-3_0_2_load_46 | 57 | 0.00027778 | 6.9619e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6789-3_0_2_load_48 | 59 | 0.0005725 | 0.00014348 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6789-3_0_2_load_49 | 60 | 0.0017183 | 0.00043065 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6789-3_0_2_load_50 | 61 | 0.0010139 | 0.00025411 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6789-3_0_2_load_76 | 62 | 0.001167 | 0.00029249 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6789-3_0_2_load_66 | 63 | 0.0031629 | 0.00079271 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6789-3_0_2_load_77 | 65 | 0.0019663 | 0.0004928 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6789-3_0_2_load_54 | 66 | 0.0016892 | 0.00042335 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6789-3_0_2_load_87 | 67 | 0.0025835 | 0.00064747 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6789-3_0_2_load_88 | 68 | 0.002263 | 0.00056716 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6789-3_0_2_load_51 | 69 | 0.0014064 | 0.00035249 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6789-3_0_2_load_52 | 70 | 0.0029012 | 0.00072712 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6789-3_0_2_load_56 | 72 | 0.0017174 | 0.00043043 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6789-3_0_2_load_81 | 73 | 0.0017243 | 0.00043214 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6789-3_0_2_load_79 | 74 | 0.0041017 | 0.001028 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6789-3_0_2_load_57 | 75 | 0.0035205 | 0.00088233 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6789-3_0_2_load_63 | 77 | 0.0013137 | 0.00032923 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6789-3_0_2_load_74 | 79 | 0.00035398 | 8.8716e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6789-3_0_2_load_71 | 81 | 0.001088 | 0.00027268 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6789-3_0_2_load_80 | 83 | 0.002286 | 0.00057293 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6789-3_0_2_load_72 | 84 | 0.0007958 | 0.00019945 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6789-3_0_2_load_83 | 85 | 0.00086049 | 0.00021566 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6789-3_0_2_load_82 | 86 | 0.001554 | 0.00038946 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6789-3_0_2_load_84 | 87 | 0.0012781 | 0.00032031 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6789-3_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6789-3_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.063118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6789-3_0_2_line_2 | NAYY 4x150 SE | 2 | 6 | 0.007095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6789-3_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.078712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6789-3_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.018191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6789-3_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.024072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6789-3_0_2_line_6 | NAYY 4x150 SE | 5 | 10 | 0.021641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6789-3_0_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.054557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6789-3_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.0014719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6789-3_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.05415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6789-3_0_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.012265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6789-3_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.021588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6789-3_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.017496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6789-3_0_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.00011742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6789-3_0_2_line_14 | NAYY 4x150 SE | 14 | 17 | 0.0004682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6789-3_0_2_line_15 | NAYY 4x150 SE | 15 | 16 | 0.010037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6789-3_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.010513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6789-3_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.00031966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6789-3_0_2_line_18 | NAYY 4x150 SE | 18 | 19 | 0.0089485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6789-3_0_2_line_19 | NAYY 4x150 SE | 19 | 20 | 0.0017833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6789-3_0_2_line_20 | NAYY 4x150 SE | 20 | 21 | 0.0039354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6789-3_0_2_line_21 | NAYY 4x150 SE | 21 | 22 | 0.0096364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6789-3_0_2_line_22 | NAYY 4x150 SE | 22 | 23 | 0.0044552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6789-3_0_2_line_23 | NAYY 4x150 SE | 23 | 24 | 0.017316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6789-3_0_2_line_24 | NAYY 4x150 SE | 24 | 75 | 0.0034508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6789-3_0_2_line_25 | NAYY 4x150 SE | 25 | 26 | 0.012475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6789-3_0_2_line_26 | NAYY 4x150 SE | 25 | 27 | 0.019797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6789-3_0_2_line_27 | NAYY 4x150 SE | 26 | 28 | 0.010097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6789-3_0_2_line_28 | NAYY 4x150 SE | 27 | 29 | 0.031857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6789-3_0_2_line_29 | NAYY 4x150 SE | 27 | 30 | 0.003593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6789-3_0_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.013455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6789-3_0_2_line_31 | NAYY 4x150 SE | 30 | 32 | 0.020337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6789-3_0_2_line_32 | NAYY 4x150 SE | 30 | 33 | 0.017218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6789-3_0_2_line_33 | NAYY 4x150 SE | 31 | 34 | 0.00092564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6789-3_0_2_line_34 | NAYY 4x150 SE | 32 | 35 | 0.012751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6789-3_0_2_line_35 | NAYY 4x150 SE | 32 | 36 | 0.020863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6789-3_0_2_line_36 | NAYY 4x150 SE | 33 | 37 | 0.017288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6789-3_0_2_line_37 | NAYY 4x150 SE | 34 | 75 | 0.0098085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6789-3_0_2_line_38 | NAYY 4x150 SE | 36 | 43 | 0.017925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6789-3_0_2_line_39 | NAYY 4x150 SE | 37 | 81 | 0.0031482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6789-3_0_2_line_40 | NAYY 4x150 SE | 38 | 39 | 0.019312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6789-3_0_2_line_41 | NAYY 4x150 SE | 38 | 40 | 0.0013779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6789-3_0_2_line_42 | NAYY 4x150 SE | 39 | 41 | 0.0035346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6789-3_0_2_line_43 | NAYY 4x150 SE | 40 | 42 | 0.0024401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6789-3_0_2_line_44 | NAYY 4x150 SE | 41 | 43 | 0.02142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6789-3_0_2_line_45 | NAYY 4x150 SE | 42 | 44 | 0.0045362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6789-3_0_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.0099967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6789-3_0_2_line_47 | NAYY 4x150 SE | 45 | 55 | 0.015873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6789-3_0_2_line_48 | NAYY 4x150 SE | 46 | 47 | 0.034315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6789-3_0_2_line_49 | NAYY 4x150 SE | 46 | 48 | 0.0037104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6789-3_0_2_line_50 | NAYY 4x150 SE | 47 | 49 | 0.009343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6789-3_0_2_line_51 | NAYY 4x150 SE | 48 | 50 | 0.00074147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6789-3_0_2_line_52 | NAYY 4x150 SE | 49 | 51 | 0.022997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6789-3_0_2_line_53 | NAYY 4x150 SE | 50 | 52 | 0.033098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6789-3_0_2_line_54 | NAYY 4x150 SE | 51 | 53 | 0.011113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6789-3_0_2_line_55 | NAYY 4x150 SE | 52 | 54 | 0.0032141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6789-3_0_2_line_56 | NAYY 4x150 SE | 53 | 76 | 0.018059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6789-3_0_2_line_57 | NAYY 4x150 SE | 54 | 55 | 0.013572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6789-3_0_2_line_58 | NAYY 4x150 SE | 56 | 57 | 0.056343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6789-3_0_2_line_59 | NAYY 4x150 SE | 56 | 58 | 0.037425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6789-3_0_2_line_60 | NAYY 4x150 SE | 57 | 59 | 0.0051769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6789-3_0_2_line_61 | NAYY 4x150 SE | 58 | 60 | 0.022744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6789-3_0_2_line_62 | NAYY 4x150 SE | 58 | 61 | 0.027453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6789-3_0_2_line_63 | NAYY 4x150 SE | 59 | 62 | 0.014848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6789-3_0_2_line_64 | NAYY 4x150 SE | 60 | 63 | 0.010989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6789-3_0_2_line_65 | NAYY 4x150 SE | 61 | 64 | 0.0028098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6789-3_0_2_line_66 | NAYY 4x150 SE | 62 | 65 | 0.0012584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6789-3_0_2_line_67 | NAYY 4x150 SE | 63 | 66 | 0.0099424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6789-3_0_2_line_68 | NAYY 4x150 SE | 64 | 67 | 0.0067442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6789-3_0_2_line_69 | NAYY 4x150 SE | 64 | 68 | 0.005809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6789-3_0_2_line_70 | NAYY 4x150 SE | 66 | 70 | 0.011434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6789-3_0_2_line_71 | NAYY 4x150 SE | 69 | 70 | 0.014211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6789-3_0_2_line_72 | NAYY 4x150 SE | 69 | 71 | 0.0039196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6789-3_0_2_line_73 | NAYY 4x150 SE | 71 | 72 | 0.022989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6789-3_0_2_line_74 | NAYY 4x150 SE | 72 | 73 | 0.0043727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6789-3_0_2_line_75 | NAYY 4x150 SE | 73 | 74 | 0.015116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6789-3_0_2_line_76 | NAYY 4x150 SE | 74 | 82 | 0.020494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6789-3_0_2_line_77 | NAYY 4x150 SE | 76 | 79 | 0.014271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6789-3_0_2_line_78 | NAYY 4x150 SE | 76 | 78 | 0.007364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6789-3_0_2_line_79 | NAYY 4x150 SE | 77 | 78 | 0.022466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6789-3_0_2_line_80 | NAYY 4x150 SE | 79 | 80 | 0.010398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6789-3_0_2_line_81 | NAYY 4x150 SE | 80 | 84 | 0.018008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6789-3_0_2_line_82 | NAYY 4x150 SE | 81 | 82 | 0.0023276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6789-3_0_2_line_83 | NAYY 4x150 SE | 82 | 83 | 0.017357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_6789-3_0_2_line_84 | NAYY 4x150 SE | 83 | 85 | 0.026491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6789-3_0_2_line_85 | NAYY 4x150 SE | 85 | 86 | 0.0026946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_6789-3_0_2_line_86 | NAYY 4x150 SE | 86 | 87 | 0.011613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6789-3_0_2_trafo_32 | 0.25 MVA 20/0.4 kV | 88 | 41 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2563273.9351 | 1252269.6943 | 2563271.5194 | 1252265.0201 | 2563264.5274 | 1252252.0121
1 | 2563231.953 | 1252198.1213 | 2563245.1799 | 1252216.0177 | 2563264.5274 | 1252252.0121
2 | 2563232.0371 | 1252191.0271 | 2563231.953 | 1252198.1213
3 | 2563234.6104 | 1252088.6663 | 2563229.0965 | 1252167.185
4 | 2563235.8847 | 1252070.52 | 2563234.6104 | 1252088.6663
5 | 2563232.0371 | 1252191.0271 | 2563229.4696 | 1252176.2109 | 2563229.0965 | 1252167.185
6 | 2563237.4008 | 1252048.9317 | 2563235.8847 | 1252070.52
7 | 2563232.0371 | 1252191.0271 | 2563255.787 | 1252194.9265 | 2563283.9706 | 1252206.5562
8 | 2563285.3312 | 1252207.1176 | 2563283.9706 | 1252206.5562
9 | 2563283.9706 | 1252206.5562 | 2563298.6474 | 1252154.4329
10 | 2563237.4008 | 1252048.9317 | 2563249.4837 | 1252051.0358
11 | 2563237.4008 | 1252048.9317 | 2563216.3883 | 1252043.9793
12 | 2563249.4837 | 1252051.0358 | 2563262.7996 | 1252053.3545 | 2563266.7458 | 1252053.8727
13 | 2563266.8622 | 1252053.8879 | 2563266.7458 | 1252053.8727
14 | 2563267.3265 | 1252053.9489 | 2563266.8622 | 1252053.8879
15 | 2563277.7496 | 1252055.3175 | 2563287.7008 | 1252056.6241
16 | 2563267.3265 | 1252053.9489 | 2563277.7496 | 1252055.3175
17 | 2563288.019 | 1252056.6539 | 2563287.7008 | 1252056.6241 | 2563287.7008 | 1252056.6241
18 | 2563288.019 | 1252056.6539 | 2563296.9286 | 1252057.4875
19 | 2563296.9286 | 1252057.4875 | 2563298.7041 | 1252057.6536
20 | 2563302.6225 | 1252058.0202 | 2563298.7041 | 1252057.6536
21 | 2563302.6225 | 1252058.0202 | 2563307.5369 | 1252058.48 | 2563312.2318 | 1252058.2508
22 | 2563312.2318 | 1252058.2508 | 2563316.6818 | 1252058.0336
23 | 2563333.5239 | 1252054.2606 | 2563327.7017 | 1252056.1421 | 2563318.4987 | 1252057.9449 | 2563316.6818 | 1252058.0336
24 | 2563336.8075 | 1252053.1995 | 2563333.5239 | 1252054.2606
25 | 2563390.0621 | 1252052.9839 | 2563390.3965 | 1252059.5556 | 2563390.5905 | 1252065.4468
26 | 2563389.0559 | 1252033.2129 | 2563390.0621 | 1252052.9839
27 | 2563390.5905 | 1252065.4468 | 2563390.9227 | 1252075.5381
28 | 2563389.0559 | 1252033.2129 | 2563385.1441 | 1252033.9932 | 2563381.1812 | 1252035.0518 | 2563377.567 | 1252036.364 | 2563359.2016 | 1252044.0808
29 | 2563389.0559 | 1252033.2129 | 2563392.6144 | 1252032.646
30 | 2563359.2016 | 1252044.0808 | 2563346.7969 | 1252049.293
31 | 2563399.9316 | 1252013.9215 | 2563395.1445 | 1252023.2351 | 2563392.9427 | 1252028.3967 | 2563392.6144 | 1252032.646
32 | 2563392.6144 | 1252032.646 | 2563405.1691 | 1252033.4243 | 2563409.7788 | 1252033.9486
33 | 2563346.7969 | 1252049.293 | 2563345.9435 | 1252049.6516
34 | 2563399.9316 | 1252013.9215 | 2563410.4568 | 1252021.1185
35 | 2563399.9316 | 1252013.9215 | 2563393.306 | 1252009.0926 | 2563382.3624 | 1252002.7197
36 | 2563426.9561 | 1252035.9022 | 2563409.7788 | 1252033.9486
37 | 2563336.8075 | 1252053.1995 | 2563339.8047 | 1252052.231 | 2563345.9435 | 1252049.6516
38 | 2563382.3624 | 1252002.7197 | 2563376.6434 | 1251999.3893 | 2563366.5359 | 1251994.3212
39 | 2563426.9561 | 1252035.9022 | 2563430.011 | 1252036.6631
40 | 2563327.656 | 1251973.1855 | 2563331.8053 | 1251975.6626 | 2563344.4479 | 1251982.7219
41 | 2563327.656 | 1251973.1855 | 2563326.4729 | 1251972.4792
42 | 2563347.5339 | 1251984.4451 | 2563344.4479 | 1251982.7219
43 | 2563324.3777 | 1251971.2284 | 2563326.4729 | 1251972.4792
44 | 2563347.5339 | 1251984.4451 | 2563353.6454 | 1251987.8575 | 2563366.5359 | 1251994.3212
45 | 2563324.3777 | 1251971.2284 | 2563322.5339 | 1251970.1276 | 2563320.7678 | 1251968.5192
46 | 2563313.3766 | 1251961.7884 | 2563320.7678 | 1251968.5192
47 | 2563313.3766 | 1251961.7884 | 2563309.2674 | 1251958.0463 | 2563302.3672 | 1251950.3787
48 | 2563272.272 | 1251905.3909 | 2563270.1724 | 1251901.6847 | 2563256.3448 | 1251885.5932 | 2563249.9591 | 1251879.4817
49 | 2563272.272 | 1251905.3909 | 2563274.1009 | 1251908.6193
50 | 2563249.9591 | 1251879.4817 | 2563244.7216 | 1251874.4692 | 2563242.9952 | 1251873.2851
51 | 2563274.4663 | 1251909.2645 | 2563274.1009 | 1251908.6193
52 | 2563224.0306 | 1251860.2779 | 2563242.9952 | 1251873.2851
53 | 2563274.4663 | 1251909.2645 | 2563287.0815 | 1251931.533 | 2563291.566 | 1251937.5502
54 | 2563214.286 | 1251855.1456 | 2563218.8086 | 1251856.6963 | 2563224.0306 | 1251860.2779
55 | 2563293.4866 | 1251940.1273 | 2563291.566 | 1251937.5502
56 | 2563214.286 | 1251855.1456 | 2563202.2306 | 1251850.9957 | 2563198.3663 | 1251847.2951
57 | 2563302.3672 | 1251950.3787 | 2563295.1482 | 1251942.3568 | 2563293.4866 | 1251940.1273
58 | 2563411.0288 | 1251921.4221 | 2563390.6327 | 1251917.5033 | 2563380.7131 | 1251916.9866 | 2563375.3638 | 1251918.4096 | 2563366.8984 | 1251926.0228 | 2563359.341 | 1251930.3726
59 | 2563447.6633 | 1251927.3346 | 2563438.7139 | 1251923.8321 | 2563426.0008 | 1251923.0991 | 2563414.6823 | 1251922.1241 | 2563411.0288 | 1251921.4221
60 | 2563354.1771 | 1251930.0071 | 2563359.341 | 1251930.3726 | 2563359.341 | 1251930.3726
61 | 2563447.6633 | 1251927.3346 | 2563442.2822 | 1251934.595 | 2563435.7925 | 1251946.6681
62 | 2563447.6633 | 1251927.3346 | 2563454.4717 | 1251923.8902 | 2563463.6665 | 1251920.7089 | 2563473.6087 | 1251918.9688
63 | 2563339.3657 | 1251928.9588 | 2563354.1771 | 1251930.0071
64 | 2563435.7925 | 1251946.6681 | 2563433.0235 | 1251951.8194 | 2563430.9327 | 1251956.5157
65 | 2563476.3764 | 1251918.4844 | 2563473.6087 | 1251918.9688
66 | 2563338.1105 | 1251928.8699 | 2563339.3657 | 1251928.9588
67 | 2563430.9327 | 1251956.5157 | 2563426.8889 | 1251965.5986
68 | 2563476.3764 | 1251918.4844 | 2563482.9857 | 1251919.8267
69 | 2563476.3764 | 1251918.4844 | 2563479.6552 | 1251913.6892
70 | 2563422.2384 | 1251976.0443 | 2563426.8889 | 1251965.5986
71 | 2563416.0201 | 1251988.8052 | 2563418.45 | 1251984.5537 | 2563422.2384 | 1251976.0443
72 | 2563414.0752 | 1251992.2082 | 2563416.0201 | 1251988.8052
73 | 2563414.0752 | 1251992.2082 | 2563431.4609 | 1251996.8259 | 2563435.7207 | 1251998.6229 | 2563435.9519 | 1251998.9206
74 | 2563435.9519 | 1251998.9206 | 2563438.368 | 1252002.0311 | 2563438.4708 | 1252002.4528
75 | 2563436.6407 | 1252017.2038 | 2563439.2043 | 1252005.4615 | 2563438.4708 | 1252002.4528
76 | 2563432.2695 | 1252037.2257 | 2563436.6407 | 1252017.2038
77 | 2563198.3663 | 1251847.2951 | 2563204.7131 | 1251834.5134
78 | 2563191.9766 | 1251850.1145 | 2563193.3014 | 1251848.3495 | 2563198.3663 | 1251847.2951
79 | 2563191.9766 | 1251850.1145 | 2563190.3675 | 1251852.2704 | 2563183.4255 | 1251870.7881
80 | 2563209.3374 | 1251825.2008 | 2563204.7131 | 1251834.5134
81 | 2563209.3374 | 1251825.2008 | 2563215.93 | 1251811.3394 | 2563216.6512 | 1251808.7805
82 | 2563432.2695 | 1252037.2257 | 2563430.011 | 1252036.6631
83 | 2563432.2695 | 1252037.2257 | 2563436.7973 | 1252038.4207 | 2563449.0336 | 1252041.7247
84 | 2563449.0336 | 1252041.7247 | 2563474.6088 | 1252048.6303
85 | 2563477.2102 | 1252049.3327 | 2563474.6088 | 1252048.6303
86 | 2563477.2102 | 1252049.3327 | 2563486.0299 | 1252051.7141 | 2563488.422 | 1252052.3582

## bus_geodata
| x | y | coords
0 | 2563273.9351 | 1252269.6943
1 | 2563264.5274 | 1252252.0121
2 | 2563231.953 | 1252198.1213
3 | 2563234.6104 | 1252088.6663
4 | 2563229.0965 | 1252167.185
5 | 2563235.8847 | 1252070.52
6 | 2563232.0371 | 1252191.0271
7 | 2563283.9706 | 1252206.5562
8 | 2563285.3312 | 1252207.1176
9 | 2563298.6474 | 1252154.4329
10 | 2563237.4008 | 1252048.9317
11 | 2563249.4837 | 1252051.0358
12 | 2563216.3883 | 1252043.9793
13 | 2563266.7458 | 1252053.8727
14 | 2563266.8622 | 1252053.8879
15 | 2563277.7496 | 1252055.3175
16 | 2563287.7008 | 1252056.6241
17 | 2563267.3265 | 1252053.9489
18 | 2563288.019 | 1252056.6539
19 | 2563296.9286 | 1252057.4875
20 | 2563298.7041 | 1252057.6536
21 | 2563302.6225 | 1252058.0202
22 | 2563312.2318 | 1252058.2508
23 | 2563316.6818 | 1252058.0336
24 | 2563333.5239 | 1252054.2606
25 | 2563390.0621 | 1252052.9839
26 | 2563390.5905 | 1252065.4468
27 | 2563389.0559 | 1252033.2129
28 | 2563390.9227 | 1252075.5381
29 | 2563359.2016 | 1252044.0808
30 | 2563392.6144 | 1252032.646
31 | 2563346.7969 | 1252049.293
32 | 2563399.9316 | 1252013.9215
33 | 2563409.7788 | 1252033.9486
34 | 2563345.9435 | 1252049.6516
35 | 2563410.4568 | 1252021.1185
36 | 2563382.3624 | 1252002.7197
37 | 2563426.9561 | 1252035.9022
38 | 2563327.656 | 1251973.1855
39 | 2563344.4479 | 1251982.7219
40 | 2563326.4729 | 1251972.4792
41 | 2563347.5339 | 1251984.4451
42 | 2563324.3777 | 1251971.2284
43 | 2563366.5359 | 1251994.3212
44 | 2563320.7678 | 1251968.5192
45 | 2563313.3766 | 1251961.7884
46 | 2563272.272 | 1251905.3909
47 | 2563249.9591 | 1251879.4817
48 | 2563274.1009 | 1251908.6193
49 | 2563242.9952 | 1251873.2851
50 | 2563274.4663 | 1251909.2645
51 | 2563224.0306 | 1251860.2779
52 | 2563291.566 | 1251937.5502
53 | 2563214.286 | 1251855.1456
54 | 2563293.4866 | 1251940.1273
55 | 2563302.3672 | 1251950.3787
56 | 2563411.0288 | 1251921.4221
57 | 2563359.341 | 1251930.3726
58 | 2563447.6633 | 1251927.3346
59 | 2563354.1771 | 1251930.0071
60 | 2563435.7925 | 1251946.6681
61 | 2563473.6087 | 1251918.9688
62 | 2563339.3657 | 1251928.9588
63 | 2563430.9327 | 1251956.5157
64 | 2563476.3764 | 1251918.4844
65 | 2563338.1105 | 1251928.8699
66 | 2563426.8889 | 1251965.5986
67 | 2563482.9857 | 1251919.8267
68 | 2563479.6553 | 1251913.6892
69 | 2563416.0201 | 1251988.8052
70 | 2563422.2384 | 1251976.0443
71 | 2563414.0752 | 1251992.2082
72 | 2563435.9519 | 1251998.9206
73 | 2563438.4708 | 1252002.4528
74 | 2563436.6407 | 1252017.2038
75 | 2563336.8075 | 1252053.1995
76 | 2563198.3663 | 1251847.2951
77 | 2563183.4255 | 1251870.7881
78 | 2563191.9766 | 1251850.1145
79 | 2563204.7131 | 1251834.5134
80 | 2563209.3374 | 1251825.2008
81 | 2563430.011 | 1252036.6631
82 | 2563432.2695 | 1252037.2257
83 | 2563449.0336 | 1252041.7247
84 | 2563216.6512 | 1251808.7805
85 | 2563474.6088 | 1252048.6303
86 | 2563477.2102 | 1252049.3327
87 | 2563488.422 | 1252052.3582
88 | 2563399.9316 | 1252013.9215

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1