## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6808-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6808-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6808-11_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6808-11_0_3_node_72 | 0.4 | n |  | TRUE
4 | bus_LV_6808-11_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6808-11_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6808-11_0_3_node_74 | 0.4 | n |  | TRUE
7 | bus_LV_6808-11_0_3_node_75 | 0.4 | n |  | TRUE
8 | bus_LV_6808-11_0_3_node_66 | 0.4 | n |  | TRUE
9 | bus_LV_6808-11_0_3_node_71 | 0.4 | n |  | TRUE
10 | bus_LV_6808-11_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_6808-11_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_6808-11_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6808-11_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_6808-11_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6808-11_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6808-11_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6808-11_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_6808-11_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6808-11_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_6808-11_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6808-11_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_6808-11_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_6808-11_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_6808-11_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6808-11_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_6808-11_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6808-11_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_6808-11_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_6808-11_0_3_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_6808-11_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_6808-11_0_3_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_6808-11_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_6808-11_0_3_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_6808-11_0_3_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_6808-11_0_3_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_6808-11_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_6808-11_0_3_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_6808-11_0_3_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_6808-11_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_6808-11_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_6808-11_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_6808-11_0_3_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_6808-11_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_6808-11_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_6808-11_0_3_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_6808-11_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_6808-11_0_3_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_6808-11_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_6808-11_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_6808-11_0_3_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_6808-11_0_3_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_6808-11_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_6808-11_0_3_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_6808-11_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_6808-11_0_3_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_6808-11_0_3_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_6808-11_0_3_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_6808-11_0_3_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_6808-11_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_6808-11_0_3_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_6808-11_0_3_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_6808-11_0_3_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_6808-11_0_3_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_6808-11_0_3_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_6808-11_0_3_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_6808-11_0_3_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_6808-11_0_3_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_6808-11_0_3_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_6808-11_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_6808-11_0_3_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_6808-11_0_3_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_6808-11_0_3_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_6808-11_0_3_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_6808-11_0_3_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_6808-11_0_3_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_6808-11_0_3_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_6808-11_0_3_node_81 | 0.4 | n |  | TRUE
78 | bus_LV_6808-11_0_3_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_6808-11_0_3_node_83 | 0.4 | n |  | TRUE
80 | bus_MV_0_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6808-11_0_3_load_0 | 0 | 0.00014184 | 3.5548e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6808-11_0_3_load_1 | 1 | 0.00018796 | 4.7106e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6808-11_0_3_load_4 | 5 | 0.0010379 | 0.00026012 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6808-11_0_3_load_74 | 6 | 0.0010046 | 0.00025177 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6808-11_0_3_load_75 | 7 | 0.00061431 | 0.00015396 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6808-11_0_3_load_66 | 8 | 0.0023465 | 0.00058808 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6808-11_0_3_load_71 | 9 | 0.00035361 | 8.8622e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6808-11_0_3_load_11 | 11 | 0.00015836 | 3.9688e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6808-11_0_3_load_6 | 13 | 0.00031803 | 7.9706e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6808-11_0_3_load_7 | 14 | 0.00014189 | 3.5562e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6808-11_0_3_load_8 | 15 | 0.00016559 | 4.1502e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6808-11_0_3_load_10 | 16 | 0.00023383 | 5.8604e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6808-11_0_3_load_12 | 17 | 0.0001741 | 4.3633e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6808-11_0_3_load_13 | 18 | 0.00017823 | 4.4668e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6808-11_0_3_load_14 | 19 | 0.00015235 | 3.8183e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6808-11_0_3_load_19 | 23 | 0.00013732 | 3.4417e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6808-11_0_3_load_17 | 24 | 0.0005509 | 0.00013807 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6808-11_0_3_load_20 | 25 | 0.00013735 | 3.4424e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6808-11_0_3_load_45 | 29 | 0.0047695 | 0.0011954 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6808-11_0_3_load_62 | 31 | 0.00033076 | 8.2895e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6808-11_0_3_load_61 | 33 | 0.0014641 | 0.00036693 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6808-11_0_3_load_65 | 34 | 0.0017315 | 0.00043395 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6808-11_0_3_load_63 | 35 | 0.00032819 | 8.2252e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6808-11_0_3_load_37 | 36 | 0.001101 | 0.00027594 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6808-11_0_3_load_52 | 37 | 0.00093052 | 0.00023321 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6808-11_0_3_load_64 | 38 | 0.0006541 | 0.00016393 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6808-11_0_3_load_36 | 39 | 0.0053549 | 0.0013421 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6808-11_0_3_load_27 | 40 | 0.00038776 | 9.7182e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6808-11_0_3_load_28 | 41 | 0.002832 | 0.00070977 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6808-11_0_3_load_30 | 43 | 0.00046321 | 0.00011609 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6808-11_0_3_load_31 | 44 | 0.0039309 | 0.00098517 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6808-11_0_3_load_32 | 45 | 0.0022829 | 0.00057214 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6808-11_0_3_load_33 | 46 | 0.0016635 | 0.00041691 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6808-11_0_3_load_34 | 48 | 0.00049833 | 0.00012489 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6808-11_0_3_load_49 | 49 | 0.0026189 | 0.00065635 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6808-11_0_3_load_50 | 50 | 0.00054742 | 0.0001372 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6808-11_0_3_load_44 | 52 | 0.0015205 | 0.00038108 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6808-11_0_3_load_43 | 53 | 0.0041872 | 0.0010494 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6808-11_0_3_load_46 | 54 | 0.00089803 | 0.00022507 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6808-11_0_3_load_41 | 55 | 0.00090839 | 0.00022766 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6808-11_0_3_load_38 | 56 | 0.00038111 | 9.5516e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6808-11_0_3_load_39 | 57 | 0.00024629 | 6.1726e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6808-11_0_3_load_40 | 58 | 0.00081586 | 0.00020447 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6808-11_0_3_load_59 | 61 | 0.00024474 | 6.1337e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6808-11_0_3_load_57 | 62 | 0.00033876 | 8.4902e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6808-11_0_3_load_60 | 63 | 0.00061384 | 0.00015384 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6808-11_0_3_load_47 | 64 | 0.0015302 | 0.00038351 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6808-11_0_3_load_51 | 65 | 0.0013887 | 0.00034805 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6808-11_0_3_load_53 | 66 | 0.00027136 | 6.801e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6808-11_0_3_load_54 | 67 | 0.00027809 | 6.9695e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6808-11_0_3_load_55 | 68 | 0.00014418 | 3.6135e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6808-11_0_3_load_56 | 69 | 0.00014495 | 3.6327e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6808-11_0_3_load_67 | 70 | 0.00052847 | 0.00013245 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6808-11_0_3_load_68 | 71 | 0.0015368 | 0.00038515 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6808-11_0_3_load_80 | 72 | 0.00018298 | 4.5859e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6808-11_0_3_load_78 | 75 | 0.00015201 | 3.8097e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6808-11_0_3_load_81 | 77 | 0.00018679 | 4.6814e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6808-11_0_3_load_82 | 78 | 0.00014275 | 3.5776e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6808-11_0_3_load_83 | 79 | 0.00017243 | 4.3216e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6808-11_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.35132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_6808-11_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.1145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6808-11_0_3_line_2 | NAYY 4x150 SE | 0 | 3 | 0.7327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6808-11_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.10628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_6808-11_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.1398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6808-11_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.020742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6808-11_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.015714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6808-11_0_3_line_7 | NAYY 4x150 SE | 3 | 8 | 0.49144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6808-11_0_3_line_8 | NAYY 4x150 SE | 3 | 9 | 0.046299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6808-11_0_3_line_9 | NAYY 4x150 SE | 4 | 10 | 0.12943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6808-11_0_3_line_10 | NAYY 4x150 SE | 4 | 11 | 0.4718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_6808-11_0_3_line_11 | NAYY 4x150 SE | 8 | 70 | 0.033491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6808-11_0_3_line_12 | NAYY 4x150 SE | 8 | 71 | 0.029595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6808-11_0_3_line_13 | NAYY 4x150 SE | 9 | 74 | 0.0073618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6808-11_0_3_line_14 | NAYY 4x150 SE | 10 | 13 | 0.10843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6808-11_0_3_line_15 | NAYY 4x150 SE | 11 | 12 | 0.013001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_6808-11_0_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.010466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_6808-11_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.021495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_6808-11_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.025863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_6808-11_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.029251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_6808-11_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.0191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_6808-11_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.048532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_6808-11_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.03089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_6808-11_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.032896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_6808-11_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.083851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6808-11_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.33903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_6808-11_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.01459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6808-11_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.12396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_6808-11_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.2414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_6808-11_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.10233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_6808-11_0_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.012497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_6808-11_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.033701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6808-11_0_3_line_32 | NAYY 4x150 SE | 28 | 36 | 0.012721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_6808-11_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.021821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6808-11_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.032807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6808-11_0_3_line_35 | NAYY 4x150 SE | 30 | 33 | 0.014445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6808-11_0_3_line_36 | NAYY 4x150 SE | 31 | 37 | 0.00083664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6808-11_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.016131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6808-11_0_3_line_38 | NAYY 4x150 SE | 32 | 35 | 0.027186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6808-11_0_3_line_39 | NAYY 4x150 SE | 35 | 38 | 0.011588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6808-11_0_3_line_40 | NAYY 4x150 SE | 36 | 39 | 0.014699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_6808-11_0_3_line_41 | NAYY 4x150 SE | 37 | 65 | 0.012225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6808-11_0_3_line_42 | NAYY 4x150 SE | 39 | 44 | 0.0073178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_6808-11_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.018196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_6808-11_0_3_line_44 | NAYY 4x150 SE | 40 | 42 | 0.012237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_6808-11_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.0030667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_6808-11_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.044331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_6808-11_0_3_line_47 | NAYY 4x150 SE | 42 | 45 | 0.0016771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6808-11_0_3_line_48 | NAYY 4x150 SE | 43 | 46 | 0.0060619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_6808-11_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.015393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6808-11_0_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.0029399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_6808-11_0_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.0076446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6808-11_0_3_line_52 | NAYY 4x150 SE | 47 | 50 | 0.010627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6808-11_0_3_line_53 | NAYY 4x150 SE | 48 | 51 | 0.0084894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_6808-11_0_3_line_54 | NAYY 4x150 SE | 49 | 65 | 0.010237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6808-11_0_3_line_55 | NAYY 4x150 SE | 51 | 52 | 0.019334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6808-11_0_3_line_56 | NAYY 4x150 SE | 51 | 53 | 0.014322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_6808-11_0_3_line_57 | NAYY 4x150 SE | 52 | 54 | 0.0066313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6808-11_0_3_line_58 | NAYY 4x150 SE | 53 | 55 | 0.02402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_6808-11_0_3_line_59 | NAYY 4x150 SE | 54 | 64 | 0.020576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6808-11_0_3_line_60 | NAYY 4x150 SE | 55 | 57 | 0.010485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_6808-11_0_3_line_61 | NAYY 4x150 SE | 56 | 57 | 0.015733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_6808-11_0_3_line_62 | NAYY 4x150 SE | 56 | 58 | 0.042029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_6808-11_0_3_line_63 | NAYY 4x150 SE | 58 | 59 | 0.034941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_6808-11_0_3_line_64 | NAYY 4x150 SE | 59 | 60 | 0.008574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6808-11_0_3_line_65 | NAYY 4x150 SE | 59 | 61 | 0.026448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_6808-11_0_3_line_66 | NAYY 4x150 SE | 60 | 62 | 0.0039149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6808-11_0_3_line_67 | NAYY 4x150 SE | 61 | 63 | 0.031603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_6808-11_0_3_line_68 | NAYY 4x150 SE | 62 | 69 | 0.02056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6808-11_0_3_line_69 | NAYY 4x150 SE | 66 | 67 | 0.01444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6808-11_0_3_line_70 | NAYY 4x150 SE | 67 | 68 | 0.010385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6808-11_0_3_line_71 | NAYY 4x150 SE | 68 | 69 | 0.032476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6808-11_0_3_line_72 | NAYY 4x150 SE | 72 | 73 | 0.14582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6808-11_0_3_line_73 | NAYY 4x150 SE | 73 | 75 | 0.018649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6808-11_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.24805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6808-11_0_3_line_75 | NAYY 4x150 SE | 75 | 76 | 0.14685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6808-11_0_3_line_76 | NAYY 4x150 SE | 76 | 77 | 0.091305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6808-11_0_3_line_77 | NAYY 4x150 SE | 77 | 78 | 0.018932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6808-11_0_3_line_78 | NAYY 4x150 SE | 78 | 79 | 0.024928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6808-11_0_3_trafo_60 | 0.25 MVA 20/0.4 kV | 80 | 63 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30
0 | 2574245.3415 | 1245195.0344 | 2574230.5225 | 1245196.5412 | 2574217.6604 | 1245197.5091 | 2574201.6533 | 1245198.0015 | 2574187.4195 | 1245197.9969 | 2574173.8406 | 1245197.4448 | 2574159.7006 | 1245196.4504 | 2574147.6297 | 1245195.2024 | 2574134.5061 | 1245193.3809 | 2574123.2547 | 1245191.251 | 2574113.0826 | 1245188.8495 | 2574102.4545 | 1245185.8386 | 2574092.3076 | 1245182.303 | 2574081.0925 | 1245178.105 | 2574065.9766 | 1245171.6672 | 2574043.0795 | 1245161.9059 | 2574016.1774 | 1245150.3056 | 2573990.3185 | 1245138.823 | 2573956.2762 | 1245123.7077 | 2573925.6984 | 1245109.5667 | 2573912.9255 | 1245103.3969 | 2573912.5509 | 1245103.2
1 | 2574359.0375 | 1245181.5393 | 2574332.5579 | 1245185.2455 | 2574302.8055 | 1245188.6326 | 2574271.7008 | 1245192.0367 | 2574247.5441 | 1245194.8104 | 2574245.3415 | 1245195.0344
2 | 2573946.3348 | 1244526.1238 | 2574245.3415 | 1245195.0344
3 | 2573840.0626 | 1245028.2485 | 2573844.1809 | 1245036.9247 | 2573852.7256 | 1245050.5067 | 2573858.4649 | 1245058.4309 | 2573864.9667 | 1245066.2182 | 2573871.6549 | 1245073.4711 | 2573879.9942 | 1245081.6284 | 2573888.4414 | 1245088.5511 | 2573896.3157 | 1245094.0754 | 2573904.2849 | 1245098.8544 | 2573912.5509 | 1245103.2
4 | 2574359.0375 | 1245181.5393 | 2574359.6307 | 1245178.9573 | 2574360.6809 | 1245175.4728 | 2574361.5858 | 1245173.3452 | 2574362.8389 | 1245171.3496 | 2574364.5524 | 1245169.2631 | 2574366.6219 | 1245167.3862 | 2574390.1964 | 1245147.0599 | 2574391.3531 | 1245145.4872 | 2574392.1094 | 1245143.9162 | 2574392.6515 | 1245141.7458 | 2574392.6925 | 1245139.0217 | 2574392.3042 | 1245136.5773 | 2574391.5089 | 1245134.3794 | 2574386.84 | 1245125.7052 | 2574385.8083 | 1245124.7312 | 2574384.5589 | 1245124.1029 | 2574383.0542 | 1245123.8204 | 2574381.5959 | 1245123.7822 | 2574380.1165 | 1245124.1111 | 2574369.7594 | 1245127.8361 | 2574364.0289 | 1245130.4627 | 2574359.0475 | 1245133.3639 | 2574347.1629 | 1245141.9988 | 2574341.8736 | 1245145.3128 | 2574336.092 | 1245148.3621 | 2574326.0278 | 1245153.409
5 | 2573927.4899 | 1244534.6123 | 2573933.2018 | 1244532.8193 | 2573936.5966 | 1244531.5924 | 2573940.186 | 1244529.9533 | 2573943.3666 | 1244528.1493 | 2573946.3348 | 1244526.1238
6 | 2573946.3348 | 1244526.1238 | 2573942.9554 | 1244525.7051 | 2573939.9098 | 1244525.5851 | 2573937.0019 | 1244525.8314 | 2573934.0347 | 1244526.367 | 2573931.1523 | 1244527.2692 | 2573930.8717 | 1244527.3945
7 | 2573946.3348 | 1244526.1238 | 2574408.5377 | 1244359.1359
8 | 2573946.3348 | 1244526.1238 | 2573946.2214 | 1244520.9877 | 2573945.791 | 1244517.6207 | 2573944.6738 | 1244514.4347 | 2573942.884 | 1244511.2294 | 2573940.3926 | 1244508.283 | 2573937.966 | 1244506.3146 | 2573934.7544 | 1244504.5277 | 2573931.1016 | 1244503.7766 | 2573926.6965 | 1244503.7961 | 2573923.0502 | 1244504.5237 | 2573919.8137 | 1244505.661 | 2573915.4683 | 1244507.6495
9 | 2573736.5468 | 1245104.6121 | 2573752.4864 | 1245095.7023 | 2573769.9893 | 1245083.2054 | 2573804.9619 | 1245062.626 | 2573819.6137 | 1245051.176 | 2573831.9234 | 1245038.013 | 2573840.0626 | 1245028.2485
10 | 2573707.8401 | 1244575.3587 | 2573840.0626 | 1245028.2485
11 | 2574408.5377 | 1244359.1359 | 2574408.8979 | 1244366.3452 | 2574416.4905 | 1244379.9989 | 2574426.1433 | 1244384.4988
12 | 2574408.5377 | 1244359.1359 | 2574407.4418 | 1244337.1996 | 2574406.3839 | 1244329.6418
13 | 2573908.7741 | 1244510.7129 | 2573915.4683 | 1244507.6495
14 | 2573736.5468 | 1245104.6121 | 2573740.5308 | 1245122.1613 | 2573752.4873 | 1245128.2009 | 2573769.9882 | 1245135.7058 | 2573804.9908 | 1245140.6982 | 2573827.4937 | 1245143.2002
15 | 2573698.3842 | 1244566.4365 | 2573707.8401 | 1244575.3587
16 | 2573698.3842 | 1244566.4365 | 2573690.3766 | 1244559.6982
17 | 2573690.3766 | 1244559.6982 | 2573673.9299 | 1244545.8584
18 | 2573673.9299 | 1244545.8584 | 2573654.3949 | 1244529.4198 | 2573654.1385 | 1244529.2088
19 | 2573631.4483 | 1244510.7509 | 2573633.1153 | 1244512.0258 | 2573640.8957 | 1244518.3062 | 2573654.1385 | 1244529.2088
20 | 2573616.0358 | 1244499.4781 | 2573623.0845 | 1244504.3545 | 2573631.4483 | 1244510.7509
21 | 2573574.6216 | 1244474.2183 | 2573593.6282 | 1244485.0737 | 2573609.7674 | 1244495.1414 | 2573616.0358 | 1244499.4781
22 | 2573564.874 | 1244445.4546 | 2573564.8397 | 1244449.5907 | 2573565.3661 | 1244454.0912 | 2573566.8085 | 1244458.9768 | 2573568.7929 | 1244463.4152 | 2573574.6216 | 1244474.2183
23 | 2573532.7859 | 1244451.0684 | 2573545.1601 | 1244450.4682 | 2573552.0262 | 1244449.9594 | 2573557.0842 | 1244448.925 | 2573560.9845 | 1244447.54 | 2573564.874 | 1244445.4546
24 | 2573617.6391 | 1244381.4112 | 2573609.4547 | 1244387.9185 | 2573606.3443 | 1244390.2228 | 2573603.5653 | 1244392.2809 | 2573598.7343 | 1244396.7721 | 2573592.6057 | 1244403.4037 | 2573586.6402 | 1244411.013 | 2573580.7153 | 1244419.267 | 2573574.5028 | 1244429.0788 | 2573571.2631 | 1244434.5635 | 2573564.874 | 1244445.4546
25 | 2573532.7859 | 1244451.0684 | 2573498.7448 | 1244432.2867 | 2573484.7283 | 1244425.5563 | 2573473.8628 | 1244420.5463 | 2573464.5587 | 1244416.6078 | 2573454.8778 | 1244412.9044 | 2573442.5487 | 1244408.4236 | 2573430.3645 | 1244404.2312 | 2573416.1543 | 1244399.8145 | 2573397.9523 | 1244394.9377 | 2573380.0935 | 1244390.771 | 2573343.8685 | 1244383.8631 | 2573321.8779 | 1244380.0265 | 2573300.8887 | 1244377.086 | 2573282.7479 | 1244375.756 | 2573264.7498 | 1244375.893 | 2573248.299 | 1244377.3239 | 2573229.2913 | 1244379.7893 | 2573207.6848 | 1244382.9512
26 | 2573617.6391 | 1244381.4112 | 2573625.0374 | 1244371.4384 | 2573626.405 | 1244369.7508
27 | 2573207.6848 | 1244382.9512 | 2573185.5401 | 1244386.1917 | 2573125.2624 | 1244395.6604 | 2573112.3003 | 1244398.2432 | 2573100.3289 | 1244401.0106 | 2573085.7152 | 1244404.6347
28 | 2572854.9989 | 1244475.5019 | 2572885.7633 | 1244464.7983 | 2572917.1571 | 1244454.5812 | 2572990.6664 | 1244432.3084 | 2573048.9355 | 1244414.998 | 2573071.2568 | 1244408.481 | 2573085.1205 | 1244404.7822 | 2573085.7152 | 1244404.6347
29 | 2572779.1668 | 1244542.7826 | 2572786.2246 | 1244534.7005 | 2572792.9776 | 1244527.6983 | 2572799.5898 | 1244521.3082 | 2572807.4224 | 1244514.0898 | 2572820.4275 | 1244502.8783 | 2572830.2193 | 1244494.4946 | 2572836.2981 | 1244488.7407 | 2572838.998 | 1244485.971 | 2572841.1397 | 1244483.4151 | 2572843.9646 | 1244479.8887 | 2572854.9989 | 1244475.5019
30 | 2572779.1668 | 1244542.7826 | 2572771.346 | 1244552.5471
31 | 2572779.1668 | 1244542.7826 | 2572786.1716 | 1244546.1748 | 2572793.3689 | 1244550.3332 | 2572798.5257 | 1244554.401 | 2572804.0119 | 1244559.4568 | 2572806.3414 | 1244562.1714
32 | 2572771.346 | 1244552.5471 | 2572765.3193 | 1244561.3806 | 2572764.2398 | 1244563.0966
33 | 2572688.0738 | 1244575.8017 | 2572702.9972 | 1244591.7217
34 | 2572662.7111 | 1244555.1168 | 2572683.419 | 1244570.82 | 2572688.0738 | 1244575.8017
35 | 2572688.0738 | 1244575.8017 | 2572676.1558 | 1244583.9642
36 | 2572702.9972 | 1244591.7217 | 2572703.5694 | 1244592.3321
37 | 2572662.7111 | 1244555.1168 | 2572654.0377 | 1244547.1296 | 2572650.9944 | 1244544.0358
38 | 2572662.7111 | 1244555.1168 | 2572654.7527 | 1244557.9443 | 2572648.5316 | 1244560.6415 | 2572642.7972 | 1244564.0257 | 2572638.5151 | 1244567.15
39 | 2572638.5151 | 1244567.15 | 2572629.1542 | 1244573.98
40 | 2572756.6384 | 1244575.6738 | 2572759.5886 | 1244570.4906 | 2572764.2398 | 1244563.0966
41 | 2572703.5694 | 1244592.3321 | 2572711.3397 | 1244600.6213 | 2572711.9099 | 1244601.2695
42 | 2572756.6384 | 1244575.6738 | 2572753.0185 | 1244582.0335
43 | 2572749.107 | 1244629.1589 | 2572751.8881 | 1244630.8759 | 2572755.1113 | 1244633.485 | 2572758.0652 | 1244636.6623 | 2572761.2521 | 1244641.2172 | 2572761.7836 | 1244641.9233
44 | 2572738.2536 | 1244623.5118 | 2572748.4025 | 1244628.724 | 2572749.107 | 1244629.1589
45 | 2572763.6278 | 1244644.3735 | 2572761.7836 | 1244641.9233
46 | 2572738.2536 | 1244623.5118 | 2572740.2454 | 1244617.9658 | 2572741.6444 | 1244613.3008 | 2572742.4867 | 1244609.1609 | 2572743.0318 | 1244606.1231 | 2572744.0446 | 1244601.282 | 2572745.019 | 1244597.9309 | 2572746.2208 | 1244594.7455 | 2572752.2283 | 1244583.4217 | 2572753.0185 | 1244582.0335
47 | 2572738.2536 | 1244623.5118 | 2572736.7501 | 1244622.7688
48 | 2572767.2732 | 1244649.2168 | 2572767.2732 | 1244649.2168 | 2572763.6278 | 1244644.3735
49 | 2572723.7208 | 1244614.6954 | 2572726.967 | 1244617.36 | 2572731.1879 | 1244620.02 | 2572736.7501 | 1244622.7688
50 | 2572767.2732 | 1244649.2168 | 2572768.9424 | 1244650.7212 | 2572769.5496 | 1244651.0549
51 | 2572723.7208 | 1244614.6954 | 2572718.6715 | 1244608.9557
52 | 2572723.7208 | 1244614.6954 | 2572715.1064 | 1244620.9182
53 | 2572777.7113 | 1244651.637 | 2572775.4171 | 1244652.2368 | 2572772.9467 | 1244652.3038 | 2572770.8286 | 1244651.7576 | 2572769.5496 | 1244651.0549
54 | 2572718.6715 | 1244608.9557 | 2572711.9099 | 1244601.2695
55 | 2572777.7113 | 1244651.637 | 2572783.7742 | 1244660.5036 | 2572789.2532 | 1244667.1223
56 | 2572777.7113 | 1244651.637 | 2572786.9382 | 1244648.6259 | 2572791.3408 | 1244647.2381
57 | 2572793.5774 | 1244672.1496 | 2572789.7615 | 1244667.7363 | 2572789.2532 | 1244667.1223
58 | 2572814.8475 | 1244644.7689 | 2572812.5319 | 1244644.1608 | 2572808.6163 | 1244643.8008 | 2572804.3558 | 1244644.0206 | 2572799.4485 | 1244644.877 | 2572794.4906 | 1244646.2451 | 2572791.3408 | 1244647.2381
59 | 2572807.0353 | 1244687.714 | 2572793.5774 | 1244672.1496
60 | 2572814.8475 | 1244644.7689 | 2572815.8605 | 1244645.035 | 2572818.9572 | 1244646.4327 | 2572821.5106 | 1244647.9775 | 2572823.8017 | 1244650.0002
61 | 2572835.596 | 1244660.4125 | 2572823.8017 | 1244650.0002
62 | 2572835.596 | 1244660.4125 | 2572850.2638 | 1244673.3617 | 2572867.5098 | 1244687.7545
63 | 2572893.9332 | 1244710.5852 | 2572888.8858 | 1244705.594 | 2572867.5098 | 1244687.7545
64 | 2572893.9332 | 1244710.5852 | 2572895.7433 | 1244713.1563 | 2572898.6732 | 1244717.7347
65 | 2572893.9332 | 1244710.5852 | 2572898.2531 | 1244696.9789 | 2572901.9205 | 1244685.3717
66 | 2572898.6732 | 1244717.7347 | 2572900.4707 | 1244721.2126
67 | 2572911.6094 | 1244655.2909 | 2572904.6804 | 1244676.6364 | 2572901.9205 | 1244685.3717
68 | 2572908.9962 | 1244739.9069 | 2572907.2929 | 1244735.5511 | 2572902.9728 | 1244726.0537 | 2572900.4707 | 1244721.2126
69 | 2572930.4457 | 1244792.7618 | 2572930.5394 | 1244791.1025 | 2572929.9808 | 1244787.903 | 2572926.0892 | 1244779.2033
70 | 2572921.8486 | 1244769.7236 | 2572926.0892 | 1244779.2033
71 | 2572908.9962 | 1244739.9069 | 2572912.3924 | 1244748.5916 | 2572914.0336 | 1244752.2531 | 2572921.8486 | 1244769.7236
72 | 2573759.5716 | 1244333.3153 | 2573770.7314 | 1244336.5567 | 2573776.4305 | 1244338.6439 | 2573782.0254 | 1244341.0873 | 2573786.3929 | 1244342.7913 | 2573790.6985 | 1244344.1842 | 2573795.1121 | 1244346.0547 | 2573800.8997 | 1244347.6745 | 2573806.4486 | 1244348.2725 | 2573819.4442 | 1244348.037 | 2573828.8483 | 1244347.2727 | 2573847.2332 | 1244344.0337 | 2573872.319 | 1244338.7305 | 2573901.8842 | 1244333.0963
73 | 2573759.5716 | 1244333.3153 | 2573756.9549 | 1244331.0922 | 2573753.6731 | 1244328.8609 | 2573749.9314 | 1244326.8428 | 2573745.6547 | 1244325.1608 | 2573743.3696 | 1244324.4254
74 | 2573759.5716 | 1244333.3153 | 2573762.2466 | 1244336.7278 | 2573763.9591 | 1244339.522 | 2573768.749 | 1244347.8617 | 2573771.8585 | 1244353.8406 | 2573776.6046 | 1244364.2484 | 2573780.8062 | 1244376.2374 | 2573784.8862 | 1244391.5069 | 2573788.6682 | 1244400.9073 | 2573790.3212 | 1244403.9019 | 2573793.4291 | 1244409.5361 | 2573798.803 | 1244416.7058 | 2573820.4727 | 1244442.0038 | 2573827.1932 | 1244449.5344 | 2573831.5245 | 1244455.0298 | 2573834.8412 | 1244460.0628 | 2573836.5677 | 1244462.6124 | 2573842.6904 | 1244471.6688 | 2573845.2994 | 1244475.5709 | 2573848.2552 | 1244479.2936 | 2573852.3221 | 1244483.1225 | 2573856.0835 | 1244486.1856 | 2573861.5932 | 1244489.908 | 2573874.7728 | 1244498.9 | 2573883.1247 | 1244504.6 | 2573887.1137 | 1244507.8956 | 2573889.9891 | 1244510.5291 | 2573892.433 | 1244512.9976 | 2573894.2175 | 1244515.0021 | 2573895.6465 | 1244516.9193 | 2573908.7741 | 1244510.7129
75 | 2573608.5328 | 1244267.8235 | 2573633.3797 | 1244281.7771 | 2573639.7556 | 1244284.7951 | 2573647.0072 | 1244287.6424 | 2573655.9903 | 1244290.7376 | 2573666.0925 | 1244294.0281 | 2573672.4873 | 1244296.2121 | 2573679.4877 | 1244298.6603 | 2573686.0368 | 1244301.5552 | 2573693.6856 | 1244305.368 | 2573703.6087 | 1244310.8718 | 2573710.871 | 1244314.4307 | 2573718.547 | 1244317.5764 | 2573725.1307 | 1244319.7707 | 2573728.52 | 1244320.7007 | 2573732.4384 | 1244321.6617 | 2573740.6453 | 1244323.5486 | 2573743.3696 | 1244324.4254
76 | 2573608.5328 | 1244267.8235 | 2573598.7238 | 1244262.5306 | 2573586.8774 | 1244256.1906 | 2573576.7753 | 1244251.277 | 2573569.2114 | 1244247.8864 | 2573558.5139 | 1244243.3314 | 2573537.8642 | 1244235.263 | 2573533.1183 | 1244233.472 | 2573525.7516 | 1244230.2474 | 2573525.4884 | 1244230.1287
77 | 2573525.4884 | 1244230.1287 | 2573518.6494 | 1244227.0438 | 2573509.9613 | 1244222.3686 | 2573508.6419 | 1244221.5301
78 | 2573508.6419 | 1244221.5301 | 2573487.6038 | 1244208.1592

## bus_geodata
| x | y | coords
0 | 2574245.3415 | 1245195.0344
1 | 2573912.5509 | 1245103.2
2 | 2574359.0375 | 1245181.5393
3 | 2573946.3348 | 1244526.1238
4 | 2573840.0626 | 1245028.2485
5 | 2574326.0278 | 1245153.409
6 | 2573927.4899 | 1244534.6123
7 | 2573930.8717 | 1244527.3945
8 | 2574408.5377 | 1244359.1359
9 | 2573915.4683 | 1244507.6495
10 | 2573736.5468 | 1245104.6121
11 | 2573707.8401 | 1244575.3587
12 | 2573698.3842 | 1244566.4365
13 | 2573827.4937 | 1245143.2002
14 | 2573690.3766 | 1244559.6982
15 | 2573673.9299 | 1244545.8584
16 | 2573654.1385 | 1244529.2088
17 | 2573631.4483 | 1244510.7509
18 | 2573616.0358 | 1244499.4781
19 | 2573574.6216 | 1244474.2183
20 | 2573564.874 | 1244445.4546
21 | 2573532.7859 | 1244451.0684
22 | 2573617.6391 | 1244381.4112
23 | 2573207.6848 | 1244382.9512
24 | 2573626.405 | 1244369.7508
25 | 2573085.7152 | 1244404.6347
26 | 2572854.9989 | 1244475.5019
27 | 2572779.1668 | 1244542.7826
28 | 2572771.346 | 1244552.5471
29 | 2572806.3414 | 1244562.1714
30 | 2572688.0738 | 1244575.8017
31 | 2572702.9972 | 1244591.7217
32 | 2572662.7111 | 1244555.1168
33 | 2572676.1558 | 1244583.9642
34 | 2572650.9944 | 1244544.0358
35 | 2572638.5151 | 1244567.15
36 | 2572764.2398 | 1244563.0966
37 | 2572703.5694 | 1244592.3321
38 | 2572629.1542 | 1244573.98
39 | 2572756.6384 | 1244575.6738
40 | 2572749.107 | 1244629.1589
41 | 2572761.7836 | 1244641.9233
42 | 2572738.2536 | 1244623.5118
43 | 2572763.6278 | 1244644.3735
44 | 2572753.0185 | 1244582.0335
45 | 2572736.7501 | 1244622.7688
46 | 2572767.2732 | 1244649.2168
47 | 2572723.7208 | 1244614.6954
48 | 2572769.5496 | 1244651.0549
49 | 2572718.6715 | 1244608.9557
50 | 2572715.1064 | 1244620.9182
51 | 2572777.7114 | 1244651.637
52 | 2572789.2532 | 1244667.1223
53 | 2572791.3408 | 1244647.2381
54 | 2572793.5774 | 1244672.1496
55 | 2572814.8475 | 1244644.7689
56 | 2572835.596 | 1244660.4125
57 | 2572823.8017 | 1244650.0002
58 | 2572867.5098 | 1244687.7545
59 | 2572893.9332 | 1244710.5852
60 | 2572898.6732 | 1244717.7347
61 | 2572901.9205 | 1244685.3717
62 | 2572900.4707 | 1244721.2126
63 | 2572911.6094 | 1244655.2909
64 | 2572807.0353 | 1244687.714
65 | 2572711.9099 | 1244601.2695
66 | 2572930.4457 | 1244792.7618
67 | 2572926.0892 | 1244779.2033
68 | 2572921.8486 | 1244769.7236
69 | 2572908.9962 | 1244739.9069
70 | 2574426.1433 | 1244384.4988
71 | 2574406.3839 | 1244329.6418
72 | 2573901.8842 | 1244333.0963
73 | 2573759.5716 | 1244333.3153
74 | 2573908.7741 | 1244510.7129
75 | 2573743.3696 | 1244324.4254
76 | 2573608.5328 | 1244267.8235
77 | 2573525.4884 | 1244230.1287
78 | 2573508.6419 | 1244221.5301
79 | 2573487.6038 | 1244208.1592
80 | 2572911.6094 | 1244655.2909

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1