## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6808-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6808-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6808-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6808-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6808-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6808-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6808-2_0_3_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_6808-2_0_3_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_6808-2_0_3_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_6808-2_0_3_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_6808-2_0_3_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_6808-2_0_3_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_6808-2_0_3_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_6808-2_0_3_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_6808-2_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_6808-2_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_6808-2_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6808-2_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6808-2_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6808-2_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6808-2_0_3_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_6808-2_0_3_node_85 | 0.4 | n |  | TRUE
22 | bus_LV_6808-2_0_3_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_6808-2_0_3_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_6808-2_0_3_node_60 | 0.4 | n |  | TRUE
25 | bus_LV_6808-2_0_3_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_6808-2_0_3_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_6808-2_0_3_node_88 | 0.4 | n |  | TRUE
28 | bus_LV_6808-2_0_3_node_59 | 0.4 | n |  | TRUE
29 | bus_LV_6808-2_0_3_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_6808-2_0_3_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_6808-2_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_6808-2_0_3_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_6808-2_0_3_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_6808-2_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_6808-2_0_3_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_6808-2_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_6808-2_0_3_node_86 | 0.4 | n |  | TRUE
38 | bus_LV_6808-2_0_3_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_6808-2_0_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_6808-2_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_6808-2_0_3_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_6808-2_0_3_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_6808-2_0_3_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_6808-2_0_3_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_6808-2_0_3_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_6808-2_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_6808-2_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_6808-2_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_6808-2_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_6808-2_0_3_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_6808-2_0_3_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_6808-2_0_3_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_6808-2_0_3_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_6808-2_0_3_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_6808-2_0_3_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_6808-2_0_3_node_87 | 0.4 | n |  | TRUE
57 | bus_LV_6808-2_0_3_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_6808-2_0_3_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_6808-2_0_3_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_6808-2_0_3_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_6808-2_0_3_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_6808-2_0_3_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_6808-2_0_3_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_6808-2_0_3_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_6808-2_0_3_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_6808-2_0_3_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_6808-2_0_3_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_6808-2_0_3_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_6808-2_0_3_node_82 | 0.4 | n |  | TRUE
70 | bus_LV_6808-2_0_3_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_6808-2_0_3_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_6808-2_0_3_node_84 | 0.4 | n |  | TRUE
73 | bus_LV_6808-2_0_3_node_83 | 0.4 | n |  | TRUE
74 | bus_LV_6808-2_0_3_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_6808-2_0_3_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_6808-2_0_3_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_6808-2_0_3_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_6808-2_0_3_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_6808-2_0_3_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_6808-2_0_3_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_6808-2_0_3_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_6808-2_0_3_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_6808-2_0_3_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_6808-2_0_3_node_81 | 0.4 | n |  | TRUE
85 | bus_MV_330_0_node_161 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6808-2_0_3_load_0 | 0 | 0.0022917 | 0.00057437 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6808-2_0_3_load_1 | 1 | 0.0017958 | 0.00045008 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6808-2_0_3_load_3 | 3 | 0.0019899 | 0.00049872 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6808-2_0_3_load_5 | 5 | 0.0013074 | 0.00032767 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6808-2_0_3_load_39 | 6 | 0.0033895 | 0.0008495 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6808-2_0_3_load_27 | 7 | 0.0034427 | 0.00086283 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6808-2_0_3_load_44 | 8 | 0.0037913 | 0.00095019 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6808-2_0_3_load_38 | 9 | 0.0020036 | 0.00050215 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6808-2_0_3_load_26 | 10 | 0.0062114 | 0.0015567 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6808-2_0_3_load_30 | 11 | 0.013896 | 0.0034825 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6808-2_0_3_load_6 | 14 | 0.0084602 | 0.0021203 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6808-2_0_3_load_11 | 19 | 0.004157 | 0.0010418 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6808-2_0_3_load_50 | 20 | 0.006465 | 0.0016203 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6808-2_0_3_load_85 | 21 | 0.00063493 | 0.00015913 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6808-2_0_3_load_46 | 22 | 0.0012699 | 0.00031827 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6808-2_0_3_load_45 | 23 | 0.0015484 | 0.00038808 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6808-2_0_3_load_24 | 25 | 0.0024211 | 0.00060679 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6808-2_0_3_load_88 | 27 | 0.0013841 | 0.00034689 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6808-2_0_3_load_12 | 29 | 0.0028913 | 0.00072462 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6808-2_0_3_load_18 | 33 | 0.0014417 | 0.00036133 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6808-2_0_3_load_19 | 34 | 0.0019034 | 0.00047703 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6808-2_0_3_load_34 | 36 | 0.003765 | 0.0009436 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6808-2_0_3_load_86 | 37 | 0.049003 | 0.012281 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6808-2_0_3_load_25 | 38 | 0.0013643 | 0.00034192 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6808-2_0_3_load_43 | 39 | 0.0020904 | 0.00052391 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6808-2_0_3_load_42 | 41 | 0.0059627 | 0.0014944 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6808-2_0_3_load_20 | 42 | 0.0032485 | 0.00081416 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6808-2_0_3_load_22 | 44 | 0.0012759 | 0.00031976 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6808-2_0_3_load_23 | 45 | 0.0032005 | 0.00080211 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6808-2_0_3_load_33 | 46 | 0.008834 | 0.002214 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6808-2_0_3_load_37 | 47 | 0.0031485 | 0.00078909 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6808-2_0_3_load_41 | 48 | 0.0033069 | 0.00082879 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6808-2_0_3_load_36 | 49 | 0.0092011 | 0.002306 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6808-2_0_3_load_48 | 50 | 0.001981 | 0.0004965 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6808-2_0_3_load_47 | 51 | 0.001405 | 0.00035213 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6808-2_0_3_load_51 | 52 | 0.001583 | 0.00039674 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6808-2_0_3_load_52 | 53 | 0.0028756 | 0.00072068 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6808-2_0_3_load_54 | 55 | 0.0022931 | 0.00057471 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6808-2_0_3_load_87 | 56 | 0.0019555 | 0.0004901 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6808-2_0_3_load_55 | 57 | 0.0014776 | 0.00037032 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6808-2_0_3_load_56 | 58 | 0.0016915 | 0.00042393 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6808-2_0_3_load_69 | 59 | 0.0021134 | 0.00052966 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6808-2_0_3_load_68 | 60 | 0.0010911 | 0.00027345 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6808-2_0_3_load_57 | 62 | 0.0040562 | 0.0010166 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6808-2_0_3_load_58 | 63 | 0.0032735 | 0.00082042 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6808-2_0_3_load_61 | 65 | 0.0016782 | 0.00042059 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6808-2_0_3_load_67 | 67 | 0.0008436 | 0.00021143 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6808-2_0_3_load_65 | 68 | 0.00075935 | 0.00019031 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6808-2_0_3_load_82 | 69 | 0.001297 | 0.00032506 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6808-2_0_3_load_84 | 72 | 0.0012306 | 0.00030842 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6808-2_0_3_load_83 | 73 | 0.0011468 | 0.00028742 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6808-2_0_3_load_71 | 74 | 0.0014492 | 0.00036321 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6808-2_0_3_load_73 | 76 | 0.00052014 | 0.00013036 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6808-2_0_3_load_74 | 77 | 0.0010598 | 0.00026562 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6808-2_0_3_load_75 | 78 | 0.0011061 | 0.00027721 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6808-2_0_3_load_78 | 79 | 0.0011222 | 0.00028125 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6808-2_0_3_load_76 | 80 | 0.0011732 | 0.00029404 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6808-2_0_3_load_79 | 81 | 0.0010962 | 0.00027474 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6808-2_0_3_load_80 | 83 | 0.00069312 | 0.00017371 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6808-2_0_3_load_81 | 84 | 0.0013261 | 0.00033235 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6808-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00018805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_6808-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0083448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_6808-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.029438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_6808-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.008681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6808-2_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.016433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_6808-2_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0087627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_6808-2_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.031585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6808-2_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0052978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_6808-2_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0090694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_6808-2_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.011866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6808-2_0_3_line_10 | NAYY 4x150 SE | 8 | 13 | 0.010908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_6808-2_0_3_line_11 | NAYY 4x150 SE | 9 | 45 | 0.0064605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_6808-2_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.014693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6808-2_0_3_line_13 | NAYY 4x150 SE | 12 | 40 | 0.005705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6808-2_0_3_line_14 | NAYY 4x150 SE | 12 | 46 | 0.016045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6808-2_0_3_line_15 | NAYY 4x150 SE | 13 | 48 | 0.016206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6808-2_0_3_line_16 | NAYY 4x150 SE | 13 | 40 | 0.007316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6808-2_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.022547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_6808-2_0_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.039236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_6808-2_0_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.027958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_6808-2_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.01365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6808-2_0_3_line_21 | NAYY 4x150 SE | 16 | 19 | 0.013569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6808-2_0_3_line_22 | NAYY 4x150 SE | 17 | 20 | 0.025826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_6808-2_0_3_line_23 | NAYY 4x150 SE | 17 | 21 | 0.065407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6808-2_0_3_line_24 | NAYY 4x150 SE | 18 | 22 | 0.0026801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6808-2_0_3_line_25 | NAYY 4x150 SE | 18 | 23 | 0.027991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6808-2_0_3_line_26 | NAYY 4x150 SE | 19 | 24 | 0.094559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6808-2_0_3_line_27 | NAYY 4x150 SE | 20 | 25 | 0.033467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_6808-2_0_3_line_28 | NAYY 4x150 SE | 20 | 26 | 0.038035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6808-2_0_3_line_29 | NAYY 4x150 SE | 24 | 27 | 0.054062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6808-2_0_3_line_30 | NAYY 4x150 SE | 24 | 28 | 0.051415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6808-2_0_3_line_31 | NAYY 4x150 SE | 25 | 43 | 0.041932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_6808-2_0_3_line_32 | NAYY 4x150 SE | 26 | 50 | 0.034778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6808-2_0_3_line_33 | NAYY 4x150 SE | 26 | 51 | 0.024103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6808-2_0_3_line_34 | NAYY 4x150 SE | 28 | 62 | 0.048281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6808-2_0_3_line_35 | NAYY 4x150 SE | 29 | 30 | 0.0052753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6808-2_0_3_line_36 | NAYY 4x150 SE | 30 | 31 | 0.007341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6808-2_0_3_line_37 | NAYY 4x150 SE | 31 | 35 | 0.015723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6808-2_0_3_line_38 | NAYY 4x150 SE | 31 | 36 | 0.020894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6808-2_0_3_line_39 | NAYY 4x150 SE | 32 | 33 | 0.024818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6808-2_0_3_line_40 | NAYY 4x150 SE | 32 | 34 | 0.019669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6808-2_0_3_line_41 | NAYY 4x150 SE | 33 | 38 | 0.00050111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6808-2_0_3_line_42 | NAYY 4x150 SE | 34 | 39 | 0.0095461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6808-2_0_3_line_43 | NAYY 4x150 SE | 35 | 37 | 0.020036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6808-2_0_3_line_44 | NAYY 4x150 SE | 36 | 40 | 0.010474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6808-2_0_3_line_45 | NAYY 4x150 SE | 39 | 41 | 0.00073877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6808-2_0_3_line_46 | NAYY 4x150 SE | 41 | 48 | 0.013242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6808-2_0_3_line_47 | NAYY 4x150 SE | 42 | 43 | 0.016391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_6808-2_0_3_line_48 | NAYY 4x150 SE | 42 | 44 | 0.02527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_6808-2_0_3_line_49 | NAYY 4x150 SE | 43 | 45 | 0.041795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_6808-2_0_3_line_50 | NAYY 4x150 SE | 46 | 47 | 0.0061019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6808-2_0_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.0074978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6808-2_0_3_line_52 | NAYY 4x150 SE | 52 | 53 | 0.023501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6808-2_0_3_line_53 | NAYY 4x150 SE | 52 | 54 | 0.012709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6808-2_0_3_line_54 | NAYY 4x150 SE | 53 | 55 | 0.049664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6808-2_0_3_line_55 | NAYY 4x150 SE | 53 | 56 | 0.10031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6808-2_0_3_line_56 | NAYY 4x150 SE | 54 | 57 | 0.050549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6808-2_0_3_line_57 | NAYY 4x150 SE | 55 | 58 | 0.0069753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6808-2_0_3_line_58 | NAYY 4x150 SE | 57 | 59 | 0.0091327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6808-2_0_3_line_59 | NAYY 4x150 SE | 58 | 60 | 0.030257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6808-2_0_3_line_60 | NAYY 4x150 SE | 60 | 61 | 0.023023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6808-2_0_3_line_61 | NAYY 4x150 SE | 61 | 67 | 0.017606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6808-2_0_3_line_62 | NAYY 4x150 SE | 61 | 68 | 0.022081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6808-2_0_3_line_63 | NAYY 4x150 SE | 61 | 66 | 0.013416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6808-2_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.026557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6808-2_0_3_line_65 | NAYY 4x150 SE | 62 | 64 | 0.047165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6808-2_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.010187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6808-2_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.026277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6808-2_0_3_line_68 | NAYY 4x150 SE | 67 | 69 | 0.032472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6808-2_0_3_line_69 | NAYY 4x150 SE | 68 | 70 | 0.029747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6808-2_0_3_line_70 | NAYY 4x150 SE | 69 | 73 | 0.0074412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6808-2_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.018371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6808-2_0_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.047446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6808-2_0_3_line_73 | NAYY 4x150 SE | 73 | 81 | 0.0010776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6808-2_0_3_line_74 | NAYY 4x150 SE | 74 | 75 | 0.015467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6808-2_0_3_line_75 | NAYY 4x150 SE | 75 | 76 | 0.012787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6808-2_0_3_line_76 | NAYY 4x150 SE | 75 | 77 | 0.019591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6808-2_0_3_line_77 | NAYY 4x150 SE | 76 | 78 | 0.0043616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6808-2_0_3_line_78 | NAYY 4x150 SE | 77 | 79 | 0.014169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6808-2_0_3_line_79 | NAYY 4x150 SE | 78 | 80 | 0.011882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6808-2_0_3_line_80 | NAYY 4x150 SE | 79 | 81 | 0.011864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6808-2_0_3_line_81 | NAYY 4x150 SE | 80 | 82 | 0.016016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6808-2_0_3_line_82 | NAYY 4x150 SE | 82 | 83 | 0.016351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6808-2_0_3_line_83 | NAYY 4x150 SE | 82 | 84 | 0.020314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6808-2_0_3_trafo_22 | 0.25 MVA 20/0.4 kV | 85 | 44 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2578415.8532 | 1245975.1166 | 2578415.9206 | 1245975.2922
1 | 2578419.8062 | 1245982.6482 | 2578418.0665 | 1245979.9418 | 2578416.598 | 1245977.0564 | 2578415.9206 | 1245975.2922
2 | 2578405.0702 | 1245947.7281 | 2578407.6749 | 1245953.863 | 2578412.0753 | 1245965.2765 | 2578415.8532 | 1245975.1166
3 | 2578416.9959 | 1245990.8638 | 2578419.8062 | 1245982.6482
4 | 2578419.8062 | 1245982.6482 | 2578422.9966 | 1245985.4273 | 2578425.7386 | 1245987.4408 | 2578429.3801 | 1245989.64 | 2578433.384 | 1245991.7934
5 | 2578405.0702 | 1245947.7281 | 2578401.9296 | 1245940.3309 | 2578401.6298 | 1245939.6692
6 | 2578416.9959 | 1245990.8638 | 2578415.389 | 1245995.5616 | 2578412.077 | 1246007.0366 | 2578409.1434 | 1246018.6992 | 2578408.6541 | 1246021.3043
7 | 2578438.076 | 1245994.2474 | 2578437.5318 | 1245994.0241 | 2578433.384 | 1245991.7934
8 | 2578397.8866 | 1245931.4083 | 2578401.6298 | 1245939.6692
9 | 2578408.6541 | 1246021.3043 | 2578407.0538 | 1246029.8251 | 2578406.5331 | 1246032.9791
10 | 2578448.266 | 1245998.1209 | 2578444.5676 | 1245996.9114 | 2578438.076 | 1245994.2474
11 | 2578395.2202 | 1245925.5237 | 2578397.8866 | 1245931.4083
12 | 2578452.9988 | 1246005.4194 | 2578448.6113 | 1246003.7344 | 2578439.3303 | 1246000.0305
13 | 2578455.2988 | 1246000.1966 | 2578452.9988 | 1246005.4194
14 | 2578452.9988 | 1246005.4194 | 2578448.7648 | 1246014.752 | 2578447.0325 | 1246020.2841
15 | 2578448.266 | 1245998.1209 | 2578450.6771 | 1245992.2973 | 2578453.1522 | 1245987.4407 | 2578455.6252 | 1245983.7389
16 | 2578448.266 | 1245998.1209 | 2578451.9189 | 1245999.3084 | 2578455.2988 | 1246000.1966
17 | 2578348.6197 | 1245783.6478 | 2578344.0162 | 1245782.8642 | 2578340.5799 | 1245778.9966 | 2578333.0638 | 1245768.7552
18 | 2578309.1231 | 1245737.6855 | 2578320.7564 | 1245751.9853 | 2578333.0638 | 1245768.7552
19 | 2578365.1557 | 1245806.2239 | 2578348.6197 | 1245783.6478
20 | 2578309.1231 | 1245737.6855 | 2578299.5346 | 1245747.427
21 | 2578309.1231 | 1245737.6855 | 2578318.647 | 1245728.0203
22 | 2578365.1557 | 1245806.2239 | 2578379.0447 | 1245828.0204
23 | 2578365.1557 | 1245806.2239 | 2578385.6685 | 1245794.6414 | 2578389.4564 | 1245793.4601 | 2578393.4294 | 1245793.3011 | 2578397.3004 | 1245794.1986 | 2578400.7974 | 1245796.0759 | 2578403.678 | 1245798.8004 | 2578416.0024 | 1245817.0228
24 | 2578299.5346 | 1245747.427 | 2578301.4962 | 1245749.2532
25 | 2578299.5346 | 1245747.427 | 2578294.412 | 1245743.0986 | 2578288.9728 | 1245738.9826 | 2578279.4301 | 1245732.4135 | 2578277.0163 | 1245730.8451
26 | 2578318.647 | 1245728.0203 | 2578371.8272 | 1245649.8326
27 | 2578379.0447 | 1245828.0204 | 2578386.1356 | 1245841.7477 | 2578389.7959 | 1245851.1292 | 2578394.2689 | 1245857.6967
28 | 2578379.0447 | 1245828.0204 | 2578376.8385 | 1245829.963 | 2578374.3596 | 1245829.6719 | 2578371.924 | 1245828.8248 | 2578369.8415 | 1245827.4204 | 2578358.0451 | 1245815.9896 | 2578356.0155 | 1245814.585 | 2578353.6851 | 1245813.5818 | 2578351.3797 | 1245813.2233 | 2578347.6047 | 1245813.8153
29 | 2578371.8272 | 1245649.8326 | 2578411.3453 | 1245612.8199
30 | 2578371.8272 | 1245649.8326 | 2578379.6304 | 1245657.9315 | 2578390.6185 | 1245669.3208 | 2578396.7458 | 1245675.6802 | 2578406.9643 | 1245687.3503
31 | 2578418.6582 | 1245891.7831 | 2578409.1176 | 1245879.4989 | 2578394.2689 | 1245857.6967
32 | 2578347.6047 | 1245813.8153 | 2578340.178 | 1245801.2234 | 2578329.7273 | 1245783.9845
33 | 2578347.6047 | 1245813.8153 | 2578332.6216 | 1245832.6959
34 | 2578406.9643 | 1245687.3503 | 2578411.7151 | 1245685.0092 | 2578415.9731 | 1245684.2821 | 2578420.2794 | 1245684.3664 | 2578425.3276 | 1245684.8594 | 2578431.1262 | 1245686.039 | 2578436.8209 | 1245687.7637 | 2578443.0388 | 1245689.9869 | 2578446.691 | 1245690.9186 | 2578450.1141 | 1245691.1841 | 2578453.6315 | 1245690.3596
35 | 2578487.4706 | 1245997.9112 | 2578488.3021 | 1245992.7018
36 | 2578487.4706 | 1245997.9112 | 2578487.2121 | 1245999.5243 | 2578486.2732 | 1246005.1535
37 | 2578500.8802 | 1246010.6928 | 2578498.3587 | 1246009.0454 | 2578495.6117 | 1246007.6878 | 2578492.1175 | 1246006.522 | 2578486.2732 | 1246005.1535
38 | 2578486.2732 | 1246005.1535 | 2578465.6415 | 1246001.8518
39 | 2578492.5741 | 1245970.1192 | 2578492.7832 | 1245967.4056 | 2578492.7013 | 1245965.6603 | 2578492.4375 | 1245963.7267 | 2578487.6363 | 1245945.9662
40 | 2578492.5741 | 1245970.1192 | 2578488.726 | 1245969.2771 | 2578484.2288 | 1245968.5931 | 2578479.363 | 1245968.3106 | 2578474.8848 | 1245968.6827 | 2578473.1168 | 1245969.0852
41 | 2578487.6363 | 1245945.9662 | 2578487.6785 | 1245945.4668
42 | 2578473.1168 | 1245969.0852 | 2578470.6655 | 1245969.6432 | 2578467.166 | 1245971.1569 | 2578464.5802 | 1245973.0744
43 | 2578500.8802 | 1246010.6928 | 2578494.3793 | 1246019.8223 | 2578487.2523 | 1246018.8588 | 2578486.9259 | 1246020.4943
44 | 2578455.2988 | 1246000.1966 | 2578465.6415 | 1246001.8518
45 | 2578463.9868 | 1245973.5145 | 2578463.9868 | 1245973.5145 | 2578464.5802 | 1245973.0744
46 | 2578455.6252 | 1245983.7389 | 2578456.488 | 1245982.4475 | 2578461.0739 | 1245976.4047 | 2578463.9868 | 1245973.5145
47 | 2578418.6582 | 1245891.7831 | 2578420.5318 | 1245891.8429 | 2578422.3318 | 1245892.4145 | 2578423.8227 | 1245893.1651 | 2578424.9442 | 1245894.1283 | 2578425.9534 | 1245895.3365 | 2578430.1487 | 1245902.0372
48 | 2578452.6585 | 1245908.0694 | 2578438.6843 | 1245908.3316 | 2578436.848 | 1245908.1716 | 2578435.1466 | 1245907.6997 | 2578433.3976 | 1245906.5943 | 2578432.093 | 1245905.1425 | 2578430.1487 | 1245902.0372
49 | 2578395.2202 | 1245925.5237 | 2578397.7974 | 1245917.5981 | 2578399.7378 | 1245913.1993 | 2578402.4559 | 1245908.6976 | 2578405.6377 | 1245904.9613 | 2578418.6582 | 1245891.7831
50 | 2578447.0325 | 1246020.2841 | 2578447.0325 | 1246020.2841 | 2578446.3817 | 1246026.168 | 2578446.3922 | 1246026.3498
51 | 2578446.8271 | 1246033.835 | 2578446.3922 | 1246026.3498
52 | 2578564.1693 | 1245876.9259 | 2578563.9806 | 1245875.9548 | 2578559.7729 | 1245863.4843 | 2578558.1962 | 1245859.8988 | 2578556.0514 | 1245855.9152 | 2578555.5719 | 1245855.1425
53 | 2578559.9612 | 1245888.2773 | 2578562.8416 | 1245884.7312 | 2578563.6224 | 1245883.4164 | 2578564.1527 | 1245881.7579 | 2578564.3956 | 1245879.9781 | 2578564.3886 | 1245878.0547 | 2578564.1693 | 1245876.9259
54 | 2578555.5719 | 1245855.1425 | 2578541.1883 | 1245831.9649 | 2578538.0115 | 1245826.6953 | 2578535.714 | 1245822.2675 | 2578534.3878 | 1245819.0369 | 2578533.1201 | 1245815.2724 | 2578532.2141 | 1245811.6027
55 | 2578555.5719 | 1245855.1425 | 2578649.1978 | 1245819.1431
56 | 2578559.9612 | 1245888.2773 | 2578556.2765 | 1245882.5092 | 2578552.327 | 1245876.642 | 2578548.0514 | 1245870.4424 | 2578543.662 | 1245864.0765 | 2578539.5857 | 1245858.6545 | 2578533.111 | 1245850.1504 | 2578530.7668 | 1245847.0385
57 | 2578530.8715 | 1245804.759 | 2578530.9456 | 1245805.2072 | 2578532.0314 | 1245810.8625 | 2578532.2141 | 1245811.6027
58 | 2578525.2718 | 1245839.7438 | 2578530.7668 | 1245847.0385
59 | 2578530.8715 | 1245804.759 | 2578529.3236 | 1245795.4068 | 2578526.7939 | 1245774.7837
60 | 2578523.9907 | 1245751.9317 | 2578526.7939 | 1245774.7837
61 | 2578523.9907 | 1245751.9317 | 2578524.7886 | 1245746.9701 | 2578526.9712 | 1245742.6594 | 2578529.8451 | 1245739.3913 | 2578532.6634 | 1245737.4948
62 | 2578523.9907 | 1245751.9317 | 2578518.6577 | 1245756.1649 | 2578510.0103 | 1245763.0341 | 2578506.6976 | 1245765.6622
63 | 2578519.2168 | 1245739.5967 | 2578519.7615 | 1245743.9531 | 2578523.9907 | 1245751.9317
64 | 2578456.8453 | 1245666.4103 | 2578459.1302 | 1245675.619 | 2578459.5101 | 1245678.3082 | 2578459.4777 | 1245681.8439 | 2578458.652 | 1245685.3492 | 2578456.608 | 1245688.3252 | 2578453.6315 | 1245690.3596
65 | 2578495.6591 | 1245711.7646 | 2578453.6315 | 1245690.3596
66 | 2578495.6591 | 1245711.7646 | 2578502.2402 | 1245719.5398
67 | 2578519.2168 | 1245739.5967 | 2578502.2402 | 1245719.5398
68 | 2578564.3816 | 1245735.2906 | 2578556.072 | 1245734.7375 | 2578546.7393 | 1245733.9041 | 2578541.7472 | 1245734.267 | 2578537.1194 | 1245735.0954 | 2578533.5829 | 1245736.8761 | 2578532.6634 | 1245737.4948
69 | 2578483.3978 | 1245784.1556 | 2578486.4937 | 1245781.6983 | 2578490.9228 | 1245778.18 | 2578494.561 | 1245775.2982 | 2578499.9016 | 1245771.0538 | 2578506.6976 | 1245765.6622
70 | 2578564.3816 | 1245735.2906 | 2578568.585 | 1245735.5703 | 2578571.8135 | 1245735.5753
71 | 2578474.694 | 1245798.2964 | 2578476.8097 | 1245788.071 | 2578477.5577 | 1245788.1239 | 2578478.3807 | 1245788.0097 | 2578479.1198 | 1245787.6624 | 2578483.3978 | 1245784.1556
72 | 2578474.694 | 1245798.2964 | 2578474.919 | 1245799.9189 | 2578475.9641 | 1245802.7057 | 2578497.9135 | 1245839.486
73 | 2578572.8911 | 1245735.577 | 2578572.8911 | 1245735.577 | 2578571.8135 | 1245735.5753
74 | 2578580.4362 | 1245699.7155 | 2578572.2183 | 1245686.6126
75 | 2578580.4362 | 1245699.7155 | 2578591.7088 | 1245693.6805
76 | 2578580.4362 | 1245699.7155 | 2578583.4604 | 1245704.5743 | 2578585.3624 | 1245708.2587 | 2578586.865 | 1245712.2113 | 2578587.5585 | 1245715.9779 | 2578587.6035 | 1245717.6408
77 | 2578595.5541 | 1245691.6219 | 2578591.7088 | 1245693.6805
78 | 2578587.6035 | 1245717.6408 | 2578587.6719 | 1245720.169 | 2578587.2925 | 1245723.8617 | 2578585.6227 | 1245727.9481 | 2578583.4268 | 1245730.6912
79 | 2578595.5541 | 1245691.6219 | 2578606.0292 | 1245686.0138
80 | 2578583.4268 | 1245730.6912 | 2578583.4268 | 1245730.6912 | 2578580.3765 | 1245733.2261 | 2578577.1335 | 1245734.7166 | 2578572.8911 | 1245735.577
81 | 2578619.8899 | 1245678.0364 | 2578616.7553 | 1245680.2714 | 2578606.0292 | 1245686.0138
82 | 2578619.8899 | 1245678.0364 | 2578627.2378 | 1245675.2636 | 2578629.0478 | 1245672.3219 | 2578631.1355 | 1245667.7311
83 | 2578619.8899 | 1245678.0364 | 2578621.8071 | 1245675.5057 | 2578622.7109 | 1245672.6672 | 2578622.898 | 1245670.0982 | 2578622.3807 | 1245667.0204 | 2578620.8509 | 1245663.8906 | 2578617.9805 | 1245659.8095

## bus_geodata
| x | y | coords
0 | 2578415.9206 | 1245975.2922
1 | 2578415.8532 | 1245975.1166
2 | 2578419.8062 | 1245982.6482
3 | 2578405.0702 | 1245947.7281
4 | 2578416.9959 | 1245990.8638
5 | 2578433.384 | 1245991.7934
6 | 2578401.6298 | 1245939.6692
7 | 2578408.6541 | 1246021.3043
8 | 2578438.076 | 1245994.2474
9 | 2578397.8866 | 1245931.4083
10 | 2578406.5331 | 1246032.9791
11 | 2578439.3303 | 1246000.0305
12 | 2578452.9988 | 1246005.4194
13 | 2578448.266 | 1245998.1209
14 | 2578333.0638 | 1245768.7552
15 | 2578348.6197 | 1245783.6478
16 | 2578309.1231 | 1245737.6855
17 | 2578365.1557 | 1245806.2239
18 | 2578299.5346 | 1245747.427
19 | 2578318.647 | 1245728.0203
20 | 2578379.0447 | 1245828.0204
21 | 2578416.0024 | 1245817.0227
22 | 2578301.4962 | 1245749.2532
23 | 2578277.0163 | 1245730.8451
24 | 2578371.8272 | 1245649.8326
25 | 2578394.2689 | 1245857.6967
26 | 2578347.6047 | 1245813.8153
27 | 2578411.3453 | 1245612.8199
28 | 2578406.9643 | 1245687.3503
29 | 2578488.3021 | 1245992.7018
30 | 2578487.4706 | 1245997.9112
31 | 2578486.2732 | 1246005.1535
32 | 2578492.5741 | 1245970.1192
33 | 2578487.6363 | 1245945.9662
34 | 2578473.1168 | 1245969.0852
35 | 2578500.8802 | 1246010.6928
36 | 2578465.6415 | 1246001.8518
37 | 2578486.9259 | 1246020.4943
38 | 2578487.6785 | 1245945.4668
39 | 2578464.5802 | 1245973.0744
40 | 2578455.2988 | 1246000.1966
41 | 2578463.9868 | 1245973.5145
42 | 2578430.1487 | 1245902.0372
43 | 2578418.6582 | 1245891.7831
44 | 2578452.6585 | 1245908.0694
45 | 2578395.2202 | 1245925.5237
46 | 2578447.0325 | 1246020.2841
47 | 2578446.3922 | 1246026.3498
48 | 2578455.6252 | 1245983.7389
49 | 2578446.8271 | 1246033.835
50 | 2578329.7273 | 1245783.9845
51 | 2578332.6216 | 1245832.6959
52 | 2578564.1693 | 1245876.9259
53 | 2578555.5719 | 1245855.1425
54 | 2578559.9612 | 1245888.2773
55 | 2578532.2141 | 1245811.6027
56 | 2578649.1978 | 1245819.1431
57 | 2578530.7668 | 1245847.0385
58 | 2578530.8715 | 1245804.759
59 | 2578525.2718 | 1245839.7438
60 | 2578526.7939 | 1245774.7837
61 | 2578523.9907 | 1245751.9317
62 | 2578453.6315 | 1245690.3596
63 | 2578456.8453 | 1245666.4103
64 | 2578495.6591 | 1245711.7646
65 | 2578502.2402 | 1245719.5398
66 | 2578519.2168 | 1245739.5967
67 | 2578532.6634 | 1245737.4948
68 | 2578506.6976 | 1245765.6622
69 | 2578564.3816 | 1245735.2906
70 | 2578483.3978 | 1245784.1556
71 | 2578474.694 | 1245798.2964
72 | 2578497.9135 | 1245839.486
73 | 2578571.8135 | 1245735.5753
74 | 2578572.2183 | 1245686.6126
75 | 2578580.4362 | 1245699.7155
76 | 2578591.7088 | 1245693.6805
77 | 2578587.6035 | 1245717.6408
78 | 2578595.5541 | 1245691.6219
79 | 2578583.4268 | 1245730.6912
80 | 2578606.0292 | 1245686.0138
81 | 2578572.8911 | 1245735.577
82 | 2578619.8899 | 1245678.0364
83 | 2578631.1355 | 1245667.7311
84 | 2578617.9805 | 1245659.8095
85 | 2578418.6582 | 1245891.7831

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1