## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6808-7_1_2_node_8 | 0.4 | n |  | TRUE
1 | bus_LV_6808-7_1_2_node_9 | 0.4 | n |  | TRUE
2 | bus_LV_6808-7_1_2_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_6808-7_1_2_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_6808-7_1_2_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_6808-7_1_2_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_6808-7_1_2_node_191 | 0.4 | n |  | TRUE
7 | bus_LV_6808-7_1_2_node_81 | 0.4 | n |  | TRUE
8 | bus_LV_6808-7_1_2_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_6808-7_1_2_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_6808-7_1_2_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_6808-7_1_2_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_6808-7_1_2_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_6808-7_1_2_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_6808-7_1_2_node_192 | 0.4 | n |  | TRUE
15 | bus_LV_6808-7_1_2_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_6808-7_1_2_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_6808-7_1_2_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_6808-7_1_2_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_6808-7_1_2_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_6808-7_1_2_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_6808-7_1_2_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_6808-7_1_2_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_6808-7_1_2_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_6808-7_1_2_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_6808-7_1_2_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_6808-7_1_2_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_6808-7_1_2_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_6808-7_1_2_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_6808-7_1_2_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_6808-7_1_2_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_6808-7_1_2_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_6808-7_1_2_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_6808-7_1_2_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_6808-7_1_2_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_6808-7_1_2_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_6808-7_1_2_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_6808-7_1_2_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_6808-7_1_2_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_6808-7_1_2_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_6808-7_1_2_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_6808-7_1_2_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_6808-7_1_2_node_78 | 0.4 | n |  | TRUE
43 | bus_MV_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6808-7_1_2_load_8 | 0 | 0.0016526 | 0.00041418 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6808-7_1_2_load_11 | 3 | 0.001886 | 0.00047267 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6808-7_1_2_load_191 | 6 | 0.00039959 | 0.00010015 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6808-7_1_2_load_81 | 7 | 0.0001192 | 2.9875e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6808-7_1_2_load_14 | 8 | 0.00058046 | 0.00014548 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6808-7_1_2_load_15 | 9 | 0.0023144 | 0.00058005 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6808-7_1_2_load_16 | 10 | 0.0027351 | 0.00068548 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6808-7_1_2_load_17 | 11 | 0.00043897 | 0.00011002 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6808-7_1_2_load_18 | 12 | 0.0012648 | 0.000317 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6808-7_1_2_load_19 | 13 | 0.0056647 | 0.0014197 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6808-7_1_2_load_22 | 16 | 0.0006005 | 0.0001505 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6808-7_1_2_load_24 | 19 | 0.00080334 | 0.00020134 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6808-7_1_2_load_25 | 20 | 0.00071662 | 0.0001796 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6808-7_1_2_load_26 | 21 | 0.00036516 | 9.1518e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6808-7_1_2_load_27 | 22 | 0.0018557 | 0.00046508 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6808-7_1_2_load_28 | 23 | 0.0014398 | 0.00036085 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6808-7_1_2_load_38 | 25 | 0.001517 | 0.0003802 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6808-7_1_2_load_39 | 26 | 0.00077369 | 0.00019391 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6808-7_1_2_load_29 | 27 | 0.0013636 | 0.00034174 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6808-7_1_2_load_30 | 28 | 0.00037934 | 9.5073e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6808-7_1_2_load_33 | 30 | 0.0020592 | 0.00051609 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6808-7_1_2_load_34 | 31 | 0.00073686 | 0.00018468 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6808-7_1_2_load_36 | 33 | 0.0011563 | 0.00028979 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6808-7_1_2_load_37 | 34 | 0.0030141 | 0.0007554 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6808-7_1_2_load_47 | 35 | 0.0015942 | 0.00039954 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6808-7_1_2_load_40 | 36 | 0.00076323 | 0.00019128 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6808-7_1_2_load_42 | 37 | 0.00076389 | 0.00019145 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6808-7_1_2_load_43 | 38 | 0.0024618 | 0.00061698 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6808-7_1_2_load_44 | 39 | 0.0024303 | 0.00060908 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6808-7_1_2_load_45 | 40 | 0.0018889 | 0.0004734 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6808-7_1_2_load_46 | 41 | 0.0020553 | 0.00051512 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6808-7_1_2_load_78 | 42 | 0.00019438 | 4.8717e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6808-7_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6808-7_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.087147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6808-7_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.099787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6808-7_1_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.16444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6808-7_1_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.042811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6808-7_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.3333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6808-7_1_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.62252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6808-7_1_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.058116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6808-7_1_2_line_8 | NAYY 4x150 SE | 6 | 14 | 0.03057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6808-7_1_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.018222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6808-7_1_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6808-7_1_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.057701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6808-7_1_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.07848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6808-7_1_2_line_13 | NAYY 4x150 SE | 11 | 14 | 0.22154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6808-7_1_2_line_14 | NAYY 4x150 SE | 12 | 15 | 0.028996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6808-7_1_2_line_15 | NAYY 4x150 SE | 14 | 42 | 0.37031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6808-7_1_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.026372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6808-7_1_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.15584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6808-7_1_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.35368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6808-7_1_2_line_19 | NAYY 4x150 SE | 18 | 33 | 0.18272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_6808-7_1_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.012136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_6808-7_1_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.026364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_6808-7_1_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.0058606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_6808-7_1_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.010413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_6808-7_1_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.027023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_6808-7_1_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.012341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_6808-7_1_2_line_26 | NAYY 4x150 SE | 23 | 26 | 0.0073055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6808-7_1_2_line_27 | NAYY 4x150 SE | 24 | 33 | 0.028155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_6808-7_1_2_line_28 | NAYY 4x150 SE | 24 | 34 | 0.082366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6808-7_1_2_line_29 | NAYY 4x150 SE | 24 | 28 | 0.01522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6808-7_1_2_line_30 | NAYY 4x150 SE | 25 | 36 | 0.05803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_6808-7_1_2_line_31 | NAYY 4x150 SE | 27 | 28 | 0.01495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6808-7_1_2_line_32 | NAYY 4x150 SE | 27 | 29 | 0.038579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6808-7_1_2_line_33 | NAYY 4x150 SE | 29 | 30 | 0.03432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6808-7_1_2_line_34 | NAYY 4x150 SE | 29 | 31 | 0.021924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6808-7_1_2_line_35 | NAYY 4x150 SE | 29 | 32 | 0.10799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6808-7_1_2_line_36 | NAYY 4x150 SE | 32 | 35 | 0.022273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6808-7_1_2_line_37 | NAYY 4x150 SE | 35 | 41 | 0.01669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6808-7_1_2_line_38 | NAYY 4x150 SE | 37 | 38 | 0.022278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6808-7_1_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.030137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6808-7_1_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.015285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6808-7_1_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.018218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6808-7_1_2_trafo_40 | 0.25 MVA 20/0.4 kV | 43 | 36 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2579766.379 | 1245232.4902 | 2579758.7306 | 1245249.4406
1 | 2579729.1318 | 1245331.1476 | 2579731.35 | 1245325.9033 | 2579733.6913 | 1245319.0909 | 2579735.8108 | 1245311.4899 | 2579738.3988 | 1245299.5178 | 2579740.7432 | 1245291.3935 | 2579743.5136 | 1245284.146 | 2579758.6261 | 1245249.6722 | 2579758.7306 | 1245249.4406
2 | 2579766.379 | 1245232.4902 | 2579783.4254 | 1245239.7698 | 2579786.3032 | 1245241.7834 | 2579788.3369 | 1245244.4226 | 2579789.487 | 1245247.1204 | 2579790.111 | 1245250.6539 | 2579789.7687 | 1245254.3908 | 2579789.0171 | 1245257.7288 | 2579785.58 | 1245266.6685 | 2579765.8015 | 1245313.8233
3 | 2579766.379 | 1245232.4902 | 2579768.6038 | 1245226.9235 | 2579770.398 | 1245221.3804 | 2579772.8519 | 1245212.1217 | 2579775.6019 | 1245201.1052 | 2579778.4648 | 1245187.7424 | 2579780.9004 | 1245170.9234 | 2579782.7513 | 1245153.2502 | 2579785.4678 | 1245130.2373 | 2579786.2719 | 1245120.1615 | 2579786.2929 | 1245113.0457 | 2579784.9933 | 1245101.9876 | 2579782.3973 | 1245089.6108 | 2579781.3703 | 1245080.9421 | 2579781.1713 | 1245075.7839 | 2579781.0637 | 1245073.0492 | 2579781.1007 | 1245070.6031
4 | 2579711.8372 | 1245370.2542 | 2579715.2042 | 1245360.7588 | 2579717.017 | 1245356.2497 | 2579723.7098 | 1245342.8515 | 2579727.6924 | 1245334.3768 | 2579728.4348 | 1245332.7844 | 2579729.1318 | 1245331.1476
5 | 2579701.0437 | 1244747.0602 | 2579781.1007 | 1245070.6031
6 | 2579225.1036 | 1244790.6085 | 2579781.1007 | 1245070.6031
7 | 2579711.8372 | 1245370.2542 | 2579735.836 | 1245338.6183 | 2579746.793 | 1245323.8277
8 | 2579699.1818 | 1244717.5701 | 2579697.3835 | 1244721.9679 | 2579696.7583 | 1244724.7052 | 2579696.4126 | 1244727.4526 | 2579696.6127 | 1244730.7095 | 2579697.3216 | 1244734.7207 | 2579698.1732 | 1244738.4535 | 2579699.1441 | 1244741.7634 | 2579701.0437 | 1244747.0602
9 | 2579931.3492 | 1244709.9599 | 2579932.552 | 1244710.5569 | 2579936.6134 | 1244711.755 | 2579941.1717 | 1244712.3955 | 2579948.0109 | 1244712.7836 | 2579949.2022 | 1244712.7965
10 | 2579931.3492 | 1244709.9599 | 2579929.6154 | 1244709.0993 | 2579927.3196 | 1244707.1948 | 2579924.9296 | 1244704.2677 | 2579923.1948 | 1244700.7158 | 2579920.2863 | 1244694.1882 | 2579919.1465 | 1244691.1946
11 | 2580006.4843 | 1244707.6332 | 2579982.0235 | 1244711.9344 | 2579977.8772 | 1244712.4265 | 2579974.0022 | 1244712.7399 | 2579966.6963 | 1244712.8758 | 2579955.0606 | 1244712.8598 | 2579949.2022 | 1244712.7965
12 | 2579918.4534 | 1244615.782 | 2579917.743 | 1244617.3146 | 2579914.985 | 1244623.9504 | 2579912.7676 | 1244629.5504 | 2579910.9649 | 1244634.9155 | 2579909.7665 | 1244640.2229 | 2579909.0129 | 1244645.2509 | 2579908.7345 | 1244650.0327 | 2579909.061 | 1244654.9236 | 2579909.955 | 1244660.0905 | 2579911.5798 | 1244666.8448 | 2579913.5855 | 1244674.5096 | 2579915.5106 | 1244680.707 | 2579917.8849 | 1244687.8812 | 2579919.1465 | 1244691.1946
13 | 2579919.1465 | 1244691.1946 | 2579699.1818 | 1244717.5701
14 | 2580034.7873 | 1244701.538 | 2580029.5042 | 1244703.257 | 2580024.5743 | 1244704.4522 | 2580006.4843 | 1244707.6332
15 | 2579377.1633 | 1244534.7247 | 2579699.1818 | 1244717.5701
16 | 2580034.7873 | 1244701.538 | 2580039.6666 | 1244698.7976 | 2580044.8222 | 1244695.1223 | 2580050.6687 | 1244690.1883 | 2580055.6865 | 1244685.6079
17 | 2580133.2318 | 1244553.8787 | 2580131.2722 | 1244555.3418 | 2580115.6353 | 1244569.9259 | 2580110.5758 | 1244575.2686 | 2580106.9806 | 1244580.1505 | 2580103.9851 | 1244585.8753 | 2580097.8028 | 1244598.8266 | 2580094.428 | 1244606.3205 | 2580091.2121 | 1244613.9029 | 2580087.9936 | 1244622.9417 | 2580081.764 | 1244642.0193 | 2580076.7107 | 1244655.8785 | 2580073.5989 | 1244662.9268 | 2580070.3264 | 1244669.3864 | 2580067.0563 | 1244674.3228 | 2580062.1482 | 1244679.7095 | 2580055.6865 | 1244685.6079
18 | 2580455.323 | 1244699.9748 | 2580133.2318 | 1244553.8787
19 | 2580455.323 | 1244699.9748 | 2580458.9762 | 1244701.119 | 2580462.3593 | 1244702.8533 | 2580466.7983 | 1244706.2964 | 2580470.0667 | 1244709.8767 | 2580475.4473 | 1244717.019 | 2580479.7398 | 1244724.1538 | 2580484.4161 | 1244733.0996 | 2580487.4557 | 1244740.65 | 2580494.121 | 1244761.5968 | 2580499.72 | 1244779.9789 | 2580502.376 | 1244790.3323 | 2580505.3287 | 1244805.8658 | 2580506.6179 | 1244816.4683 | 2580506.6751 | 1244826.9192 | 2580506.3483 | 1244844.6538 | 2580506.5273 | 1244850.8127 | 2580507.3651 | 1244855.1016 | 2580509.6063 | 1244858.8521 | 2580512.6504 | 1244860.8989 | 2580516.4276 | 1244862.167
20 | 2580525.0867 | 1244909.1042 | 2580525.0682 | 1244907.9768 | 2580525.9014 | 1244904.0271 | 2580527.7272 | 1244900.9525 | 2580530.3629 | 1244898.8113
21 | 2580525.0867 | 1244909.1042 | 2580525.1534 | 1244913.191 | 2580526.1753 | 1244927.5079 | 2580526.5051 | 1244935.4242
22 | 2580534.8691 | 1244895.0652 | 2580533.1827 | 1244896.5206 | 2580530.3629 | 1244898.8113
23 | 2580526.9384 | 1244945.8281 | 2580526.5051 | 1244935.4242
24 | 2580543.3194 | 1244870.5039 | 2580543.2004 | 1244875.6409 | 2580542.6135 | 1244880.9685 | 2580541.4578 | 1244885.653 | 2580539.9366 | 1244889.4605 | 2580537.3339 | 1244892.9379 | 2580534.8691 | 1244895.0652
25 | 2580526.9384 | 1244945.8281 | 2580522.1557 | 1244945.7661 | 2580517.2889 | 1244945.4264 | 2580514.6393 | 1244945.0288
26 | 2580526.9384 | 1244945.8281 | 2580532.2339 | 1244945.5772 | 2580534.206 | 1244945.2202
27 | 2580543.3194 | 1244870.5039 | 2580521.7566 | 1244863.7818 | 2580516.8483 | 1244862.3082 | 2580516.4276 | 1244862.167
28 | 2580541.983 | 1244792.87 | 2580544.8747 | 1244799.12 | 2580545.4643 | 1244803.7877 | 2580544.8568 | 1244809.7268 | 2580543.4673 | 1244814.5344 | 2580539.5465 | 1244823.8311 | 2580536.0093 | 1244830.358 | 2580534.2275 | 1244835.3115 | 2580533.5111 | 1244840.317 | 2580533.974 | 1244845.5077 | 2580537.957 | 1244855.0562 | 2580541.5351 | 1244863.2607 | 2580542.6652 | 1244866.8593 | 2580543.3194 | 1244870.5039
29 | 2580543.3194 | 1244870.5039 | 2580556.0733 | 1244875.176 | 2580557.4366 | 1244876.0831
30 | 2580514.6393 | 1244945.0288 | 2580510.0397 | 1244944.3385 | 2580502.8493 | 1244942.739 | 2580495.8468 | 1244940.8498 | 2580489.0383 | 1244938.2151 | 2580482.651 | 1244935.0341 | 2580476.511 | 1244931.2187 | 2580470.035 | 1244926.3481 | 2580463.0958 | 1244920.6298
31 | 2580569.8793 | 1244884.3714 | 2580569.1426 | 1244883.8718 | 2580557.4366 | 1244876.0831
32 | 2580601.8096 | 1244906.023 | 2580569.8793 | 1244884.3714
33 | 2580601.8096 | 1244906.023 | 2580594.8377 | 1244913.4506 | 2580573.9478 | 1244925.535
34 | 2580601.8096 | 1244906.023 | 2580619.0929 | 1244919.5115
35 | 2580601.8096 | 1244906.023 | 2580604.9139 | 1244901.143 | 2580606.4362 | 1244893.0551 | 2580606.5724 | 1244883.9266 | 2580605.2523 | 1244873.0685 | 2580602.3426 | 1244859.0024 | 2580601.6295 | 1244851.2442 | 2580601.6312 | 1244844.8735 | 2580602.5546 | 1244838.4775 | 2580603.7076 | 1244832.9702 | 2580605.8645 | 1244827.1483 | 2580608.4908 | 1244821.6251 | 2580612.8635 | 1244814.1504 | 2580618.5623 | 1244803.2247
36 | 2580618.5623 | 1244803.2247 | 2580637.1664 | 1244815.4715 | 2580637.1664 | 1244815.4715
37 | 2580647.3044 | 1244828.5755 | 2580644.2101 | 1244822.9754 | 2580637.1664 | 1244815.4715
38 | 2580657.4421 | 1244913.379 | 2580655.8962 | 1244898.3407 | 2580655.4425 | 1244891.1942
39 | 2580655.4425 | 1244891.1942 | 2580653.533 | 1244861.1174
40 | 2580652.5645 | 1244845.8633 | 2580653.533 | 1244861.1174
41 | 2580647.3044 | 1244828.5755 | 2580648.7173 | 1244831.1325 | 2580652.3669 | 1244842.7502 | 2580652.5645 | 1244845.8633

## bus_geodata
| x | y | coords
0 | 2579758.7306 | 1245249.4406
1 | 2579766.379 | 1245232.4902
2 | 2579729.1318 | 1245331.1476
3 | 2579765.8015 | 1245313.8233
4 | 2579781.1007 | 1245070.6031
5 | 2579711.8372 | 1245370.2542
6 | 2579701.0437 | 1244747.0602
7 | 2579225.1036 | 1244790.6085
8 | 2579746.793 | 1245323.8277
9 | 2579931.3492 | 1244709.9599
10 | 2579949.2022 | 1244712.7965
11 | 2579919.1465 | 1244691.1946
12 | 2580006.4843 | 1244707.6332
13 | 2579918.4534 | 1244615.782
14 | 2579699.1818 | 1244717.5701
15 | 2580034.7873 | 1244701.538
16 | 2580055.6865 | 1244685.6079
17 | 2580133.2318 | 1244553.8787
18 | 2580455.323 | 1244699.9748
19 | 2580525.0867 | 1244909.1042
20 | 2580530.3629 | 1244898.8113
21 | 2580526.5051 | 1244935.4242
22 | 2580534.8691 | 1244895.0652
23 | 2580526.9384 | 1244945.8281
24 | 2580543.3194 | 1244870.5039
25 | 2580514.6393 | 1244945.0288
26 | 2580534.206 | 1244945.2202
27 | 2580569.8793 | 1244884.3714
28 | 2580557.4366 | 1244876.0831
29 | 2580601.8096 | 1244906.023
30 | 2580573.9478 | 1244925.535
31 | 2580619.0929 | 1244919.5115
32 | 2580618.5623 | 1244803.2247
33 | 2580516.4276 | 1244862.167
34 | 2580541.983 | 1244792.87
35 | 2580637.1664 | 1244815.4715
36 | 2580463.0958 | 1244920.6298
37 | 2580657.4421 | 1244913.379
38 | 2580655.4425 | 1244891.1942
39 | 2580653.533 | 1244861.1174
40 | 2580652.5645 | 1244845.8633
41 | 2580647.3044 | 1244828.5755
42 | 2579377.1633 | 1244534.7247
43 | 2580463.0958 | 1244920.6298

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1