## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6808-8_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6808-8_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6808-8_0_2_node_88 | 0.4 | n |  | TRUE
3 | bus_LV_6808-8_0_2_node_84 | 0.4 | n |  | TRUE
4 | bus_LV_6808-8_0_2_node_41 | 0.4 | n |  | TRUE
5 | bus_LV_6808-8_0_2_node_53 | 0.4 | n |  | TRUE
6 | bus_LV_6808-8_0_2_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_6808-8_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_6808-8_0_2_node_51 | 0.4 | n |  | TRUE
9 | bus_LV_6808-8_0_2_node_85 | 0.4 | n |  | TRUE
10 | bus_LV_6808-8_0_2_node_86 | 0.4 | n |  | TRUE
11 | bus_LV_6808-8_0_2_node_83 | 0.4 | n |  | TRUE
12 | bus_LV_6808-8_0_2_node_40 | 0.4 | n |  | TRUE
13 | bus_LV_6808-8_0_2_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_6808-8_0_2_node_2 | 0.4 | n |  | TRUE
15 | bus_LV_6808-8_0_2_node_3 | 0.4 | n |  | TRUE
16 | bus_LV_6808-8_0_2_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_6808-8_0_2_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_6808-8_0_2_node_5 | 0.4 | n |  | TRUE
19 | bus_LV_6808-8_0_2_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_6808-8_0_2_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_6808-8_0_2_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_6808-8_0_2_node_7 | 0.4 | n |  | TRUE
23 | bus_LV_6808-8_0_2_node_8 | 0.4 | n |  | TRUE
24 | bus_LV_6808-8_0_2_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_6808-8_0_2_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_6808-8_0_2_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_6808-8_0_2_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_6808-8_0_2_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_6808-8_0_2_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_6808-8_0_2_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_6808-8_0_2_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_6808-8_0_2_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_6808-8_0_2_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_6808-8_0_2_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_6808-8_0_2_node_82 | 0.4 | n |  | TRUE
36 | bus_LV_6808-8_0_2_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_6808-8_0_2_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_6808-8_0_2_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_6808-8_0_2_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_6808-8_0_2_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_6808-8_0_2_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_6808-8_0_2_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_6808-8_0_2_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_6808-8_0_2_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_6808-8_0_2_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_6808-8_0_2_node_18 | 0.4 | n |  | TRUE
47 | bus_LV_6808-8_0_2_node_19 | 0.4 | n |  | TRUE
48 | bus_LV_6808-8_0_2_node_21 | 0.4 | n |  | TRUE
49 | bus_LV_6808-8_0_2_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_6808-8_0_2_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_6808-8_0_2_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_6808-8_0_2_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_6808-8_0_2_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_6808-8_0_2_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_6808-8_0_2_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_6808-8_0_2_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_6808-8_0_2_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_6808-8_0_2_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_6808-8_0_2_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_6808-8_0_2_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_6808-8_0_2_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_6808-8_0_2_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_6808-8_0_2_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_6808-8_0_2_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_6808-8_0_2_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_6808-8_0_2_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_6808-8_0_2_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_6808-8_0_2_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_6808-8_0_2_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_6808-8_0_2_node_87 | 0.4 | n |  | TRUE
71 | bus_LV_6808-8_0_2_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_6808-8_0_2_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_6808-8_0_2_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_6808-8_0_2_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_6808-8_0_2_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_6808-8_0_2_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_6808-8_0_2_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_6808-8_0_2_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_6808-8_0_2_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_6808-8_0_2_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_6808-8_0_2_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_6808-8_0_2_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_6808-8_0_2_node_80 | 0.4 | n |  | TRUE
84 | bus_MV_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6808-8_0_2_load_0 | 0 | 0.00011125 | 2.7882e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6808-8_0_2_load_88 | 2 | 0.00011939 | 2.9922e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6808-8_0_2_load_54 | 6 | 0.00022772 | 5.7071e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6808-8_0_2_load_4 | 7 | 0.00057399 | 0.00014385 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6808-8_0_2_load_51 | 8 | 0.0001768 | 4.4309e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6808-8_0_2_load_85 | 9 | 0.00025723 | 6.4468e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6808-8_0_2_load_86 | 10 | 0.00022814 | 5.7177e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6808-8_0_2_load_83 | 11 | 0.00022708 | 5.6911e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6808-8_0_2_load_40 | 12 | 0.00045501 | 0.00011404 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6808-8_0_2_load_36 | 13 | 0.0011024 | 0.00027628 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6808-8_0_2_load_2 | 14 | 0.001307 | 0.00032756 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6808-8_0_2_load_3 | 15 | 0.00024002 | 6.0155e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6808-8_0_2_load_42 | 16 | 0.00041776 | 0.0001047 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6808-8_0_2_load_43 | 17 | 0.00053099 | 0.00013308 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6808-8_0_2_load_5 | 18 | 0.00083853 | 0.00021016 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6808-8_0_2_load_10 | 20 | 0.00081434 | 0.00020409 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6808-8_0_2_load_7 | 22 | 0.0022614 | 0.00056676 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6808-8_0_2_load_8 | 23 | 0.00087347 | 0.00021891 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6808-8_0_2_load_22 | 26 | 0.00014348 | 3.5959e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6808-8_0_2_load_13 | 28 | 0.0016734 | 0.0004194 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6808-8_0_2_load_14 | 29 | 0.00134 | 0.00033583 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6808-8_0_2_load_15 | 30 | 0.0016302 | 0.00040857 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6808-8_0_2_load_31 | 31 | 0.00081931 | 0.00020534 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6808-8_0_2_load_17 | 32 | 0.00036063 | 9.0384e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6808-8_0_2_load_82 | 35 | 0.00043161 | 0.00010817 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6808-8_0_2_load_29 | 36 | 0.0008575 | 0.00021491 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6808-8_0_2_load_30 | 37 | 0.0040897 | 0.001025 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6808-8_0_2_load_35 | 38 | 0.0023639 | 0.00059245 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6808-8_0_2_load_32 | 39 | 0.0011233 | 0.00028154 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6808-8_0_2_load_25 | 43 | 0.00025988 | 6.5133e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6808-8_0_2_load_26 | 45 | 0.00040963 | 0.00010266 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6808-8_0_2_load_18 | 46 | 0.00068066 | 0.00017059 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6808-8_0_2_load_21 | 48 | 0.00041976 | 0.0001052 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6808-8_0_2_load_37 | 50 | 0.0022919 | 0.00057439 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6808-8_0_2_load_38 | 51 | 0.0016545 | 0.00041466 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6808-8_0_2_load_44 | 52 | 0.0006182 | 0.00015494 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6808-8_0_2_load_47 | 55 | 0.00014313 | 3.5872e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6808-8_0_2_load_55 | 57 | 0.0001807 | 4.5288e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6808-8_0_2_load_58 | 58 | 9.3468e-05 | 2.3425e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6808-8_0_2_load_52 | 59 | 0.00045124 | 0.00011309 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6808-8_0_2_load_48 | 60 | 0.00026638 | 6.676e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6808-8_0_2_load_57 | 61 | 0.00046469 | 0.00011646 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6808-8_0_2_load_49 | 62 | 0.00011576 | 2.9013e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6808-8_0_2_load_64 | 64 | 0.00053271 | 0.00013351 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6808-8_0_2_load_65 | 66 | 0.00055242 | 0.00013845 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6808-8_0_2_load_62 | 69 | 0.00024473 | 6.1334e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6808-8_0_2_load_87 | 70 | 0.00019631 | 4.92e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6808-8_0_2_load_74 | 72 | 0.0004353 | 0.0001091 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6808-8_0_2_load_70 | 73 | 0.00013442 | 3.3689e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6808-8_0_2_load_81 | 76 | 0.00077104 | 0.00019324 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6808-8_0_2_load_79 | 77 | 0.00015668 | 3.9269e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6808-8_0_2_load_71 | 78 | 0.00086733 | 0.00021737 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6808-8_0_2_load_75 | 79 | 0.00022058 | 5.5283e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6808-8_0_2_load_77 | 80 | 0.00024262 | 6.0807e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6808-8_0_2_load_76 | 81 | 0.00042506 | 0.00010653 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6808-8_0_2_load_78 | 82 | 0.00076192 | 0.00019095 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6808-8_0_2_load_80 | 83 | 7.7718e-05 | 1.9478e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6808-8_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.08075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_6808-8_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.33643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6808-8_0_2_line_2 | NAYY 4x150 SE | 0 | 3 | 0.27084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_6808-8_0_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.16672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_6808-8_0_2_line_4 | NAYY 4x150 SE | 3 | 9 | 0.015211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_6808-8_0_2_line_5 | NAYY 4x150 SE | 3 | 10 | 0.022608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6808-8_0_2_line_6 | NAYY 4x150 SE | 3 | 11 | 0.11331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6808-8_0_2_line_7 | NAYY 4x150 SE | 4 | 12 | 0.092784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_6808-8_0_2_line_8 | NAYY 4x150 SE | 5 | 6 | 0.051663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_6808-8_0_2_line_9 | NAYY 4x150 SE | 5 | 7 | 0.51044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_6808-8_0_2_line_10 | NAYY 4x150 SE | 5 | 8 | 0.41016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_6808-8_0_2_line_11 | NAYY 4x150 SE | 6 | 9 | 0.00049536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_6808-8_0_2_line_12 | NAYY 4x150 SE | 7 | 18 | 0.022962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_6808-8_0_2_line_13 | NAYY 4x150 SE | 8 | 62 | 0.013735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6808-8_0_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.73227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_6808-8_0_2_line_15 | NAYY 4x150 SE | 13 | 50 | 0.01675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6808-8_0_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.0045854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6808-8_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.035303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6808-8_0_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.027507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6808-8_0_2_line_19 | NAYY 4x150 SE | 17 | 52 | 0.0016695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6808-8_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.034458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_6808-8_0_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.036625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_6808-8_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.023489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_6808-8_0_2_line_23 | NAYY 4x150 SE | 21 | 24 | 0.027034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6808-8_0_2_line_24 | NAYY 4x150 SE | 21 | 25 | 0.039862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_6808-8_0_2_line_25 | NAYY 4x150 SE | 22 | 23 | 0.0036489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6808-8_0_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.023887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6808-8_0_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.04701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_6808-8_0_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.10673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_6808-8_0_2_line_29 | NAYY 4x150 SE | 27 | 30 | 0.51893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_6808-8_0_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.02787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6808-8_0_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.048788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6808-8_0_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.7929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6808-8_0_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.019756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_6808-8_0_2_line_34 | NAYY 4x150 SE | 31 | 39 | 0.032668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6808-8_0_2_line_35 | NAYY 4x150 SE | 32 | 43 | 0.01003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_6808-8_0_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.035973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6808-8_0_2_line_37 | NAYY 4x150 SE | 33 | 35 | 0.29441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6808-8_0_2_line_38 | NAYY 4x150 SE | 34 | 44 | 0.03709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6808-8_0_2_line_39 | NAYY 4x150 SE | 36 | 37 | 0.039929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6808-8_0_2_line_40 | NAYY 4x150 SE | 37 | 38 | 0.21148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6808-8_0_2_line_41 | NAYY 4x150 SE | 38 | 41 | 0.039854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6808-8_0_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.016205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6808-8_0_2_line_43 | NAYY 4x150 SE | 40 | 41 | 0.064836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6808-8_0_2_line_44 | NAYY 4x150 SE | 41 | 42 | 0.45994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6808-8_0_2_line_45 | NAYY 4x150 SE | 42 | 46 | 0.04364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6808-8_0_2_line_46 | NAYY 4x150 SE | 43 | 45 | 0.010779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_6808-8_0_2_line_47 | NAYY 4x150 SE | 44 | 49 | 0.004525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_6808-8_0_2_line_48 | NAYY 4x150 SE | 44 | 45 | 0.026258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_6808-8_0_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.066018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6808-8_0_2_line_50 | NAYY 4x150 SE | 47 | 48 | 0.02588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6808-8_0_2_line_51 | NAYY 4x150 SE | 50 | 51 | 0.0061223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6808-8_0_2_line_52 | NAYY 4x150 SE | 52 | 53 | 0.019843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6808-8_0_2_line_53 | NAYY 4x150 SE | 53 | 54 | 0.008027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6808-8_0_2_line_54 | NAYY 4x150 SE | 53 | 55 | 0.0089161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6808-8_0_2_line_55 | NAYY 4x150 SE | 54 | 56 | 0.042888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6808-8_0_2_line_56 | NAYY 4x150 SE | 54 | 57 | 0.021612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6808-8_0_2_line_57 | NAYY 4x150 SE | 55 | 58 | 0.025748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6808-8_0_2_line_58 | NAYY 4x150 SE | 56 | 59 | 0.046281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6808-8_0_2_line_59 | NAYY 4x150 SE | 56 | 60 | 0.015462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6808-8_0_2_line_60 | NAYY 4x150 SE | 58 | 61 | 0.019329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6808-8_0_2_line_61 | NAYY 4x150 SE | 60 | 62 | 0.049223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6808-8_0_2_line_62 | NAYY 4x150 SE | 61 | 63 | 0.02146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6808-8_0_2_line_63 | NAYY 4x150 SE | 63 | 65 | 0.018675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6808-8_0_2_line_64 | NAYY 4x150 SE | 63 | 68 | 0.005275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6808-8_0_2_line_65 | NAYY 4x150 SE | 64 | 65 | 0.023658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6808-8_0_2_line_66 | NAYY 4x150 SE | 65 | 69 | 0.035614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6808-8_0_2_line_67 | NAYY 4x150 SE | 66 | 67 | 0.033758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6808-8_0_2_line_68 | NAYY 4x150 SE | 67 | 74 | 0.017122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6808-8_0_2_line_69 | NAYY 4x150 SE | 67 | 69 | 0.011402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6808-8_0_2_line_70 | NAYY 4x150 SE | 68 | 70 | 0.031785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6808-8_0_2_line_71 | NAYY 4x150 SE | 71 | 72 | 0.030601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6808-8_0_2_line_72 | NAYY 4x150 SE | 71 | 73 | 0.0059836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6808-8_0_2_line_73 | NAYY 4x150 SE | 72 | 79 | 0.00057751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6808-8_0_2_line_74 | NAYY 4x150 SE | 73 | 78 | 0.01606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6808-8_0_2_line_75 | NAYY 4x150 SE | 74 | 75 | 0.020849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6808-8_0_2_line_76 | NAYY 4x150 SE | 74 | 76 | 0.015552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6808-8_0_2_line_77 | NAYY 4x150 SE | 75 | 77 | 0.01606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6808-8_0_2_line_78 | NAYY 4x150 SE | 75 | 78 | 0.0033086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6808-8_0_2_line_79 | NAYY 4x150 SE | 77 | 80 | 0.001496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6808-8_0_2_line_80 | NAYY 4x150 SE | 79 | 81 | 0.057224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6808-8_0_2_line_81 | NAYY 4x150 SE | 80 | 82 | 0.028312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6808-8_0_2_line_82 | NAYY 4x150 SE | 82 | 83 | 0.022543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6808-8_0_2_trafo_28 | 0.25 MVA 20/0.4 kV | 84 | 49 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2571738.0865 | 1242455.5773 | 2571732.3758 | 1242451.591 | 2571727.0346 | 1242447.4249 | 2571722.762 | 1242443.8542 | 2571717.3875 | 1242439.0546 | 2571693.3304 | 1242415.7993 | 2571685.5415 | 1242408.7655 | 2571677.7113 | 1242402.0994
1 | 2571677.7113 | 1242402.0994 | 2571397.5099 | 1242588.3102
2 | 2571677.7113 | 1242402.0994 | 2571815.2455 | 1242168.7822
3 | 2571738.0865 | 1242455.5773 | 2571891.3921 | 1242521.0996
4 | 2571815.2455 | 1242168.7822 | 2571811.6999 | 1242165.5192 | 2571806.3448 | 1242160.0746 | 2571804.4843 | 1242158.0418
5 | 2571815.2455 | 1242168.7822 | 2571818.3712 | 1242166.4213 | 2571819.7888 | 1242165.6808 | 2571821.102 | 1242165.252 | 2571822.9222 | 1242164.932 | 2571824.2675 | 1242164.9034 | 2571825.9389 | 1242165.0733 | 2571828.0495 | 1242165.419 | 2571829.8731 | 1242165.8106 | 2571831.6973 | 1242166.3356 | 2571836.296 | 1242168.1233
6 | 2571815.2455 | 1242168.7822 | 2571817.9862 | 1242171.2929 | 2571824.0186 | 1242176.1117 | 2571829.0536 | 1242179.4343 | 2571834.3372 | 1242182.5889 | 2571843.2545 | 1242186.8714 | 2571851.6093 | 1242190.4895 | 2571856.2311 | 1242192.7689 | 2571860.4144 | 1242195.0171 | 2571864.2351 | 1242197.3337 | 2571868.4809 | 1242200.0153 | 2571897.9013 | 1242220.8998 | 2571910.3818 | 1242229.6104
7 | 2571891.3921 | 1242521.0996 | 2571946.7646 | 1242546.3083 | 2571958.0514 | 1242553.0924 | 2571971.6055 | 1242563.0011 | 2571973.2086 | 1242564.1718
8 | 2571773.0809 | 1242116.4277 | 2571775.8493 | 1242119.9612 | 2571796.7964 | 1242148.6795 | 2571801.6641 | 1242154.9603 | 2571804.1499 | 1242157.6764
9 | 2571773.0809 | 1242116.4277 | 2572091.7014 | 1241717.637
10 | 2571773.0809 | 1242116.4277 | 2571381.1373 | 1241995.5552
11 | 2571804.4843 | 1242158.0418 | 2571804.1499 | 1242157.6764
12 | 2572111.0007 | 1241705.1974 | 2572099.435 | 1241712.7785 | 2572091.7014 | 1241717.637
13 | 2571381.1373 | 1241995.5552 | 2571379.5335 | 1241996.1535 | 2571368.2703 | 1242000.361
14 | 2571973.2086 | 1242564.1718 | 2572273.962 | 1243231.8304
15 | 2572273.962 | 1243231.8304 | 2572280.2598 | 1243234.1743 | 2572286.7417 | 1243236.8456 | 2572289.3694 | 1243238.3319
16 | 2571250.7612 | 1242113.9775 | 2571250.8118 | 1242116.6766 | 2571251.0133 | 1242118.5516
17 | 2571255.9253 | 1242079.2078 | 2571255.4512 | 1242080.5311 | 2571253.8094 | 1242086.4428 | 2571252.6599 | 1242092.5523 | 2571251.3528 | 1242102.0202 | 2571250.6792 | 1242109.6061 | 2571250.7612 | 1242113.9775
18 | 2571255.9253 | 1242079.2078 | 2571257.5021 | 1242074.8064 | 2571259.3211 | 1242069.572 | 2571260.399 | 1242065.8421 | 2571260.9956 | 1242062.615 | 2571261.3797 | 1242059.2109 | 2571261.1996 | 1242053.2636 | 2571261.1171 | 1242052.5184
19 | 2571261.1171 | 1242052.5184 | 2571260.9333 | 1242050.859
20 | 2572141.4767 | 1241689.3321 | 2572133.6435 | 1241692.2264 | 2572127.1434 | 1241695.6925 | 2572120.7719 | 1241699.1581 | 2572112.2316 | 1241704.3906 | 2572111.0007 | 1241705.1974
21 | 2572141.4767 | 1241689.3321 | 2572146.2541 | 1241695.7025 | 2572149.3618 | 1241699.0678 | 2572152.3155 | 1241701.8334 | 2572155.6694 | 1241704.4971 | 2572158.8258 | 1241706.9616 | 2572162.1802 | 1241709.7253 | 2572164.7766 | 1241712.0813 | 2572166.8662 | 1241714.3507 | 2572167.3971 | 1241714.9633
22 | 2572186.825 | 1241727.5429 | 2572183.9551 | 1241726.5002 | 2572181.0083 | 1241725.2021 | 2572177.8106 | 1241723.5939 | 2572174.8085 | 1241721.7958 | 2572171.9113 | 1241719.7859 | 2572169.5721 | 1241717.4732 | 2572167.3971 | 1241714.9633
23 | 2572181.5375 | 1241750.916 | 2572184.6195 | 1241748.8335 | 2572187.2741 | 1241745.8636 | 2572188.7518 | 1241743.4106 | 2572189.904 | 1241740.8702 | 2572186.825 | 1241727.5429
24 | 2572186.825 | 1241727.5429 | 2572190.3066 | 1241728.4382 | 2572194.157 | 1241728.976 | 2572196.7423 | 1241728.9639 | 2572198.8809 | 1241728.8204 | 2572202.8998 | 1241728.2234 | 2572207.3102 | 1241727.2798 | 2572212.4983 | 1241726.1658 | 2572216.7509 | 1241725.4343 | 2572221.1713 | 1241725.0244 | 2572226.1842 | 1241725.2232
25 | 2572155.282 | 1241758.986 | 2572158.7648 | 1241757.8977
26 | 2572181.5375 | 1241750.916 | 2572177.6759 | 1241752.802 | 2572173.0861 | 1241754.1467 | 2572166.5548 | 1241755.7895 | 2572160.5825 | 1241757.3297 | 2572158.7648 | 1241757.8977
27 | 2572226.1842 | 1241725.2232 | 2572231.4194 | 1241726.0658 | 2572236.5813 | 1241727.4091 | 2572244.041 | 1241730.287 | 2572261.0861 | 1241737.9897 | 2572270.0984 | 1241741.5052
28 | 2572374.871 | 1241758.7704 | 2572366.3739 | 1241755.508 | 2572360.4913 | 1241753.6121 | 2572353.1972 | 1241752.1563 | 2572296.9928 | 1241747.4497 | 2572288.4152 | 1241746.3558 | 2572279.6445 | 1241744.3957 | 2572270.0984 | 1241741.5052
29 | 2572631.6364 | 1242209.7302 | 2572374.871 | 1241758.7704
30 | 2572696.283 | 1242216.0855 | 2572695.2267 | 1242211.8704 | 2572693.1822 | 1242207.8329 | 2572687.0188 | 1242203.9366 | 2572679.7657 | 1242201.413 | 2572675.787 | 1242200.7843
31 | 2572631.6364 | 1242209.7302 | 2572634.6249 | 1242204.935 | 2572639.2112 | 1242201.2337 | 2572645.7231 | 1242198.7575 | 2572659.4627 | 1242198.2048 | 2572675.787 | 1242200.7843
32 | 2572696.283 | 1242216.0855 | 2573480.804 | 1242331.038
33 | 2572631.6364 | 1242209.7302 | 2572630.8583 | 1242210.9785 | 2572627.6499 | 1242220.0324 | 2572622.2913 | 1242226.8605
34 | 2573480.804 | 1242331.038 | 2573484.4888 | 1242320.9372 | 2573485.8476 | 1242318.852 | 2573488.0922 | 1242317.0853 | 2573490.5518 | 1242316.0736 | 2573493.9664 | 1242315.6358 | 2573501.2542 | 1242315.8811 | 2573504.4273 | 1242316.0235
35 | 2572622.2913 | 1242226.8605 | 2572619.707 | 1242230.1534 | 2572616.283 | 1242234.8897
36 | 2572624.4723 | 1242271.6355 | 2572655.9381 | 1242289.2345
37 | 2572655.9381 | 1242289.2345 | 2572632.5619 | 1242582.7103
38 | 2572624.4723 | 1242271.6355 | 2572615.3577 | 1242267.0414 | 2572610.1315 | 1242264.7531 | 2572605.3016 | 1242263.1522 | 2572600.0722 | 1242261.8089 | 2572594.1932 | 1242260.5798 | 2572589.4437 | 1242260.0237
39 | 2573746.1541 | 1242149.8278 | 2573756.636 | 1242157.7974 | 2573775.5195 | 1242176.7601
40 | 2573596.1102 | 1242298.8626 | 2573746.1541 | 1242149.8278
41 | 2573582.5571 | 1242336.3414 | 2573596.1102 | 1242298.8626
42 | 2573520.6161 | 1242316.7504 | 2573504.4273 | 1242316.0235
43 | 2573520.6161 | 1242316.7504 | 2573530.6327 | 1242320.4079 | 2573546.266 | 1242325.8637 | 2573553.7748 | 1242328.2093 | 2573560.9794 | 1242330.145 | 2573569.5613 | 1242332.4303 | 2573577.4244 | 1242334.5743 | 2573582.5571 | 1242336.3414
44 | 2573582.5571 | 1242336.3414 | 2573535.7616 | 1242793.8971
45 | 2573535.7616 | 1242793.8971 | 2573553.3081 | 1242801.5456 | 2573562.1968 | 1242804.997 | 2573570.8242 | 1242807.4822 | 2573576.6904 | 1242808.6713
46 | 2572609.5835 | 1242243.3031 | 2572612.0536 | 1242240.74 | 2572616.283 | 1242234.8897
47 | 2572584.9076 | 1242259.8668 | 2572589.4437 | 1242260.0237
48 | 2572589.4437 | 1242260.0237 | 2572603.4326 | 1242249.6856 | 2572609.5835 | 1242243.3031
49 | 2573640.0761 | 1242796.5328 | 2573628.37 | 1242801.9662 | 2573617.7464 | 1242806.0607 | 2573608.3498 | 1242809.0267 | 2573598.9158 | 1242810.3919 | 2573589.891 | 1242810.321 | 2573579.9476 | 1242809.3315 | 2573576.6904 | 1242808.6713
50 | 2573640.0761 | 1242796.5328 | 2573644.9388 | 1242802.2481 | 2573661.3953 | 1242809.5683 | 2573661.732 | 1242809.7079
51 | 2572289.3694 | 1243238.3319 | 2572291.1671 | 1243239.3487 | 2572294.4941 | 1243241.6705
52 | 2571257.5703 | 1242031.3117 | 2571259.6563 | 1242042.1307 | 2571260.5671 | 1242047.5519 | 2571260.9333 | 1242050.859
53 | 2571264.887 | 1242028.0741 | 2571262.7766 | 1242029.3407 | 2571260.2048 | 1242030.554 | 2571257.5703 | 1242031.3117
54 | 2571257.5703 | 1242031.3117 | 2571248.7388 | 1242032.5368
55 | 2571307.2252 | 1242021.709 | 2571284.7014 | 1242026.8993 | 2571276.9436 | 1242028.0155 | 2571270.5267 | 1242028.1912 | 2571264.887 | 1242028.0741
56 | 2571264.887 | 1242028.0741 | 2571266.7452 | 1242026.2528 | 2571268.6078 | 1242023.7644 | 2571271.7295 | 1242019.0462 | 2571277.2808 | 1242010.436
57 | 2571248.7388 | 1242032.5368 | 2571240.4603 | 1242033.6853 | 2571229.2296 | 1242035.6856 | 2571223.3685 | 1242036.8869
58 | 2571307.2252 | 1242021.709 | 2571310.8027 | 1242017.4444 | 2571312.9228 | 1242015.066 | 2571315.596 | 1242012.9294 | 2571335.0565 | 1242001.1054 | 2571341.77 | 1241996.6255 | 2571344.3981 | 1241994.5448
59 | 2571307.2252 | 1242021.709 | 2571317.9059 | 1242018.4996 | 2571321.9664 | 1242017.0556
60 | 2571204.5476 | 1242041.2819 | 2571209.7403 | 1242039.972 | 2571215.7959 | 1242038.5639 | 2571221.7837 | 1242037.2117 | 2571223.3685 | 1242036.8869
61 | 2571321.9664 | 1242017.0556 | 2571355.5311 | 1242005.1198 | 2571368.2703 | 1242000.361
62 | 2571183.8155 | 1242046.8248 | 2571204.0326 | 1242041.4118 | 2571204.5476 | 1242041.2819
63 | 2571183.8155 | 1242046.8248 | 2571173.1024 | 1242041.8072 | 2571166.8445 | 1242038.9247
64 | 2571183.8155 | 1242046.8248 | 2571178.7968 | 1242048.4948
65 | 2571166.8445 | 1242038.9247 | 2571171.9874 | 1242015.8322
66 | 2571166.8445 | 1242038.9247 | 2571155.9657 | 1242034.0302 | 2571139.6539 | 1242026.4716 | 2571134.3767 | 1242024.2989
67 | 2571123.5626 | 1242020.7243 | 2571131.0437 | 1241987.806
68 | 2571123.5626 | 1242020.7243 | 2571122.0036 | 1242020.365 | 2571118.9095 | 1242019.8687 | 2571116.2174 | 1242019.6595 | 2571113.2244 | 1242019.7408 | 2571106.5072 | 1242020.3518
69 | 2571123.5626 | 1242020.7243 | 2571124.9098 | 1242021.0735 | 2571128.1422 | 1242022.025 | 2571131.6477 | 1242023.1753 | 2571134.3767 | 1242024.2989
70 | 2571159.5156 | 1242073.7159 | 2571166.2704 | 1242065.3444 | 2571174.485 | 1242055.6092 | 2571176.1959 | 1242053.0215 | 2571178.7968 | 1242048.4948
71 | 2571131.9743 | 1242052.9037 | 2571129.9794 | 1242065.4214 | 2571129.3783 | 1242070.8056 | 2571128.9787 | 1242078.7681 | 2571129.098 | 1242083.0592 | 2571129.1218 | 1242083.3008
72 | 2571131.9743 | 1242052.9037 | 2571126.8321 | 1242049.8442
73 | 2571129.1786 | 1242083.8755 | 2571129.1218 | 1242083.3008
74 | 2571126.8321 | 1242049.8442 | 2571120.5571 | 1242046.1107 | 2571115.3727 | 1242043.2675 | 2571112.7393 | 1242042.1906
75 | 2571109.6769 | 1242040.9383 | 2571108.4137 | 1242029.9486 | 2571107.5043 | 1242024.8498 | 2571106.5072 | 1242020.3518
76 | 2571106.5072 | 1242020.3518 | 2571102.3525 | 1242005.3646
77 | 2571109.6769 | 1242040.9383 | 2571102.8877 | 1242039.1815 | 2571096.3734 | 1242037.9792 | 2571093.9613 | 1242037.7487
78 | 2571109.6769 | 1242040.9383 | 2571112.7393 | 1242042.1906
79 | 2571092.472 | 1242037.6064 | 2571093.9613 | 1242037.7487
80 | 2571146.4592 | 1242133.7511 | 2571147.3095 | 1242125.2082 | 2571148.3333 | 1242118.1432 | 2571148.5168 | 1242113.9396 | 2571148.2922 | 1242111.2723 | 2571147.4239 | 1242108.3859 | 2571146.3468 | 1242106.0674 | 2571144.6955 | 1242103.8296 | 2571141.0511 | 1242100.5342 | 2571136.2011 | 1242096.4886 | 2571133.1718 | 1242093.7906 | 2571131.2708 | 1242091.4873 | 2571130.0956 | 1242089.2249 | 2571129.4558 | 1242086.6819 | 2571129.1786 | 1242083.8755
81 | 2571092.472 | 1242037.6064 | 2571087.5175 | 1242037.133 | 2571078.1867 | 1242036.5672 | 2571066.1214 | 1242036.3816 | 2571064.2014 | 1242036.3511
82 | 2571064.2014 | 1242036.3511 | 2571041.6611 | 1242035.9934

## bus_geodata
| x | y | coords
0 | 2571677.7113 | 1242402.0994
1 | 2571738.0865 | 1242455.5773
2 | 2571397.5099 | 1242588.3102
3 | 2571815.2455 | 1242168.7822
4 | 2571891.3921 | 1242521.0996
5 | 2571773.0809 | 1242116.4277
6 | 2571804.1499 | 1242157.6764
7 | 2572091.7014 | 1241717.637
8 | 2571381.1373 | 1241995.5552
9 | 2571804.4843 | 1242158.0418
10 | 2571836.296 | 1242168.1233
11 | 2571910.3818 | 1242229.6104
12 | 2571973.2086 | 1242564.1718
13 | 2572273.962 | 1243231.8304
14 | 2571251.0133 | 1242118.5516
15 | 2571250.7612 | 1242113.9775
16 | 2571255.9253 | 1242079.2078
17 | 2571261.1171 | 1242052.5184
18 | 2572111.0007 | 1241705.1974
19 | 2572141.4767 | 1241689.3321
20 | 2572167.3971 | 1241714.9633
21 | 2572186.825 | 1241727.5429
22 | 2572155.282 | 1241758.986
23 | 2572158.7648 | 1241757.8977
24 | 2572181.5375 | 1241750.916
25 | 2572226.1842 | 1241725.2232
26 | 2572270.0984 | 1241741.5052
27 | 2572374.871 | 1241758.7704
28 | 2572675.787 | 1242200.7843
29 | 2572696.283 | 1242216.0855
30 | 2572631.6364 | 1242209.7302
31 | 2573480.804 | 1242331.038
32 | 2572622.2913 | 1242226.8605
33 | 2572655.9381 | 1242289.2345
34 | 2572624.4723 | 1242271.6355
35 | 2572632.5619 | 1242582.7103
36 | 2573775.5195 | 1242176.7601
37 | 2573746.1541 | 1242149.8278
38 | 2573596.1102 | 1242298.8626
39 | 2573504.4273 | 1242316.0235
40 | 2573520.6161 | 1242316.7504
41 | 2573582.5571 | 1242336.3414
42 | 2573535.7616 | 1242793.8971
43 | 2572616.283 | 1242234.8897
44 | 2572589.4437 | 1242260.0237
45 | 2572609.5835 | 1242243.3031
46 | 2573576.6904 | 1242808.6713
47 | 2573640.0761 | 1242796.5328
48 | 2573661.732 | 1242809.7079
49 | 2572584.9076 | 1242259.8668
50 | 2572289.3694 | 1243238.3319
51 | 2572294.4941 | 1243241.6705
52 | 2571260.9333 | 1242050.859
53 | 2571257.5703 | 1242031.3117
54 | 2571264.887 | 1242028.0741
55 | 2571248.7388 | 1242032.5368
56 | 2571307.2252 | 1242021.709
57 | 2571277.2808 | 1242010.436
58 | 2571223.3685 | 1242036.8869
59 | 2571344.3981 | 1241994.5448
60 | 2571321.9664 | 1242017.0556
61 | 2571204.5476 | 1242041.2819
62 | 2571368.2703 | 1242000.361
63 | 2571183.8155 | 1242046.8248
64 | 2571171.9874 | 1242015.8322
65 | 2571166.8445 | 1242038.9247
66 | 2571131.0437 | 1241987.806
67 | 2571123.5626 | 1242020.7243
68 | 2571178.7968 | 1242048.4948
69 | 2571134.3767 | 1242024.2989
70 | 2571159.5156 | 1242073.7159
71 | 2571131.9743 | 1242052.9037
72 | 2571129.1218 | 1242083.3008
73 | 2571126.8321 | 1242049.8442
74 | 2571106.5072 | 1242020.3518
75 | 2571109.6769 | 1242040.9383
76 | 2571102.3525 | 1242005.3646
77 | 2571093.9613 | 1242037.7487
78 | 2571112.7393 | 1242042.1906
79 | 2571129.1786 | 1242083.8755
80 | 2571092.472 | 1242037.6064
81 | 2571146.4592 | 1242133.7512
82 | 2571064.2014 | 1242036.3511
83 | 2571041.6611 | 1242035.9934
84 | 2572584.9076 | 1242259.8668

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1