## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6809-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6809-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6809-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6809-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6809-5_0_4_node_36 | 0.4 | n |  | TRUE
5 | bus_LV_6809-5_0_4_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_6809-5_0_4_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_6809-5_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_6809-5_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6809-5_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6809-5_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6809-5_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6809-5_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6809-5_0_4_node_157 | 0.4 | n |  | TRUE
14 | bus_LV_6809-5_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6809-5_0_4_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_6809-5_0_4_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_6809-5_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_6809-5_0_4_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_6809-5_0_4_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_6809-5_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_6809-5_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_6809-5_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_6809-5_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_6809-5_0_4_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_6809-5_0_4_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_6809-5_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_6809-5_0_4_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_6809-5_0_4_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_6809-5_0_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_6809-5_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_6809-5_0_4_node_153 | 0.4 | n |  | TRUE
32 | bus_LV_6809-5_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_6809-5_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_6809-5_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_6809-5_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_6809-5_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_6809-5_0_4_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_6809-5_0_4_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_6809-5_0_4_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_6809-5_0_4_node_155 | 0.4 | n |  | TRUE
41 | bus_LV_6809-5_0_4_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_6809-5_0_4_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_6809-5_0_4_node_154 | 0.4 | n |  | TRUE
44 | bus_LV_6809-5_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_6809-5_0_4_node_134 | 0.4 | n |  | TRUE
46 | bus_LV_6809-5_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_6809-5_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_6809-5_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_6809-5_0_4_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_6809-5_0_4_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_6809-5_0_4_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_6809-5_0_4_node_152 | 0.4 | n |  | TRUE
53 | bus_LV_6809-5_0_4_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_6809-5_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_6809-5_0_4_node_148 | 0.4 | n |  | TRUE
56 | bus_LV_6809-5_0_4_node_149 | 0.4 | n |  | TRUE
57 | bus_LV_6809-5_0_4_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_6809-5_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_6809-5_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_6809-5_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_6809-5_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_6809-5_0_4_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_6809-5_0_4_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_6809-5_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_6809-5_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_6809-5_0_4_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_6809-5_0_4_node_91 | 0.4 | n |  | TRUE
68 | bus_LV_6809-5_0_4_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_6809-5_0_4_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_6809-5_0_4_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_6809-5_0_4_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_6809-5_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_6809-5_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_6809-5_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_6809-5_0_4_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_6809-5_0_4_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_6809-5_0_4_node_92 | 0.4 | n |  | TRUE
78 | bus_LV_6809-5_0_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_6809-5_0_4_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_6809-5_0_4_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_6809-5_0_4_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_6809-5_0_4_node_93 | 0.4 | n |  | TRUE
83 | bus_LV_6809-5_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_6809-5_0_4_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_6809-5_0_4_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_6809-5_0_4_node_88 | 0.4 | n |  | TRUE
87 | bus_LV_6809-5_0_4_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_6809-5_0_4_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_6809-5_0_4_node_115 | 0.4 | n |  | TRUE
90 | bus_LV_6809-5_0_4_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_6809-5_0_4_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_6809-5_0_4_node_76 | 0.4 | n |  | TRUE
93 | bus_LV_6809-5_0_4_node_79 | 0.4 | n |  | TRUE
94 | bus_LV_6809-5_0_4_node_80 | 0.4 | n |  | TRUE
95 | bus_LV_6809-5_0_4_node_81 | 0.4 | n |  | TRUE
96 | bus_LV_6809-5_0_4_node_109 | 0.4 | n |  | TRUE
97 | bus_LV_6809-5_0_4_node_122 | 0.4 | n |  | TRUE
98 | bus_LV_6809-5_0_4_node_94 | 0.4 | n |  | TRUE
99 | bus_LV_6809-5_0_4_node_95 | 0.4 | n |  | TRUE
100 | bus_LV_6809-5_0_4_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_6809-5_0_4_node_97 | 0.4 | n |  | TRUE
102 | bus_LV_6809-5_0_4_node_98 | 0.4 | n |  | TRUE
103 | bus_LV_6809-5_0_4_node_112 | 0.4 | n |  | TRUE
104 | bus_LV_6809-5_0_4_node_111 | 0.4 | n |  | TRUE
105 | bus_LV_6809-5_0_4_node_100 | 0.4 | n |  | TRUE
106 | bus_LV_6809-5_0_4_node_102 | 0.4 | n |  | TRUE
107 | bus_LV_6809-5_0_4_node_99 | 0.4 | n |  | TRUE
108 | bus_LV_6809-5_0_4_node_110 | 0.4 | n |  | TRUE
109 | bus_LV_6809-5_0_4_node_103 | 0.4 | n |  | TRUE
110 | bus_LV_6809-5_0_4_node_130 | 0.4 | n |  | TRUE
111 | bus_LV_6809-5_0_4_node_101 | 0.4 | n |  | TRUE
112 | bus_LV_6809-5_0_4_node_104 | 0.4 | n |  | TRUE
113 | bus_LV_6809-5_0_4_node_105 | 0.4 | n |  | TRUE
114 | bus_LV_6809-5_0_4_node_106 | 0.4 | n |  | TRUE
115 | bus_LV_6809-5_0_4_node_107 | 0.4 | n |  | TRUE
116 | bus_LV_6809-5_0_4_node_108 | 0.4 | n |  | TRUE
117 | bus_LV_6809-5_0_4_node_123 | 0.4 | n |  | TRUE
118 | bus_LV_6809-5_0_4_node_124 | 0.4 | n |  | TRUE
119 | bus_LV_6809-5_0_4_node_128 | 0.4 | n |  | TRUE
120 | bus_LV_6809-5_0_4_node_129 | 0.4 | n |  | TRUE
121 | bus_LV_6809-5_0_4_node_131 | 0.4 | n |  | TRUE
122 | bus_LV_6809-5_0_4_node_84 | 0.4 | n |  | TRUE
123 | bus_LV_6809-5_0_4_node_85 | 0.4 | n |  | TRUE
124 | bus_LV_6809-5_0_4_node_86 | 0.4 | n |  | TRUE
125 | bus_LV_6809-5_0_4_node_87 | 0.4 | n |  | TRUE
126 | bus_LV_6809-5_0_4_node_113 | 0.4 | n |  | TRUE
127 | bus_LV_6809-5_0_4_node_114 | 0.4 | n |  | TRUE
128 | bus_LV_6809-5_0_4_node_116 | 0.4 | n |  | TRUE
129 | bus_LV_6809-5_0_4_node_125 | 0.4 | n |  | TRUE
130 | bus_LV_6809-5_0_4_node_126 | 0.4 | n |  | TRUE
131 | bus_LV_6809-5_0_4_node_120 | 0.4 | n |  | TRUE
132 | bus_LV_6809-5_0_4_node_117 | 0.4 | n |  | TRUE
133 | bus_LV_6809-5_0_4_node_119 | 0.4 | n |  | TRUE
134 | bus_LV_6809-5_0_4_node_121 | 0.4 | n |  | TRUE
135 | bus_LV_6809-5_0_4_node_127 | 0.4 | n |  | TRUE
136 | bus_LV_6809-5_0_4_node_132 | 0.4 | n |  | TRUE
137 | bus_LV_6809-5_0_4_node_133 | 0.4 | n |  | TRUE
138 | bus_LV_6809-5_0_4_node_135 | 0.4 | n |  | TRUE
139 | bus_LV_6809-5_0_4_node_141 | 0.4 | n |  | TRUE
140 | bus_LV_6809-5_0_4_node_142 | 0.4 | n |  | TRUE
141 | bus_LV_6809-5_0_4_node_145 | 0.4 | n |  | TRUE
142 | bus_LV_6809-5_0_4_node_151 | 0.4 | n |  | TRUE
143 | bus_LV_6809-5_0_4_node_136 | 0.4 | n |  | TRUE
144 | bus_LV_6809-5_0_4_node_137 | 0.4 | n |  | TRUE
145 | bus_LV_6809-5_0_4_node_138 | 0.4 | n |  | TRUE
146 | bus_LV_6809-5_0_4_node_139 | 0.4 | n |  | TRUE
147 | bus_LV_6809-5_0_4_node_140 | 0.4 | n |  | TRUE
148 | bus_LV_6809-5_0_4_node_143 | 0.4 | n |  | TRUE
149 | bus_LV_6809-5_0_4_node_147 | 0.4 | n |  | TRUE
150 | bus_LV_6809-5_0_4_node_144 | 0.4 | n |  | TRUE
151 | bus_LV_6809-5_0_4_node_150 | 0.4 | n |  | TRUE
152 | bus_LV_6809-5_0_4_node_146 | 0.4 | n |  | TRUE
153 | bus_MV_344_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6809-5_0_4_load_0 | 0 | 0.006199 | 0.0015536 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6809-5_0_4_load_1 | 1 | 0.00098089 | 0.00024583 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6809-5_0_4_load_2 | 2 | 0.00029261 | 7.3335e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6809-5_0_4_load_36 | 4 | 0.00067087 | 0.00016814 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6809-5_0_4_load_34 | 5 | 0.0010612 | 0.00026595 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6809-5_0_4_load_33 | 6 | 0.00034955 | 8.7606e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6809-5_0_4_load_4 | 7 | 0.00081153 | 0.00020339 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6809-5_0_4_load_5 | 8 | 0.0013066 | 0.00032747 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6809-5_0_4_load_7 | 10 | 0.00031294 | 7.8429e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6809-5_0_4_load_8 | 11 | 0.0081764 | 0.0020492 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6809-5_0_4_load_9 | 12 | 0.0025906 | 0.00064926 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6809-5_0_4_load_157 | 13 | 0.0026422 | 0.00066219 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6809-5_0_4_load_10 | 14 | 0.002549 | 0.00063883 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6809-5_0_4_load_16 | 15 | 0.0019115 | 0.00047907 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6809-5_0_4_load_25 | 18 | 0.011201 | 0.0028073 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6809-5_0_4_load_11 | 20 | 0.0015137 | 0.00037938 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6809-5_0_4_load_12 | 21 | 0.00075899 | 0.00019022 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6809-5_0_4_load_13 | 22 | 0.0010478 | 0.00026259 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6809-5_0_4_load_27 | 24 | 0.0018362 | 0.00046019 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6809-5_0_4_load_35 | 28 | 0.00050142 | 0.00012567 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6809-5_0_4_load_19 | 30 | 0.0030386 | 0.00076153 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6809-5_0_4_load_153 | 31 | 0.0030157 | 0.00075581 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6809-5_0_4_load_18 | 32 | 0.0036445 | 0.00091339 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6809-5_0_4_load_22 | 35 | 0.0031708 | 0.00079467 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6809-5_0_4_load_38 | 37 | 0.0025752 | 0.00064541 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6809-5_0_4_load_39 | 38 | 0.00098113 | 0.00024589 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6809-5_0_4_load_37 | 39 | 0.0011691 | 0.00029301 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6809-5_0_4_load_155 | 40 | 0.0047059 | 0.0011794 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6809-5_0_4_load_54 | 42 | 0.0016463 | 0.00041261 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6809-5_0_4_load_154 | 43 | 0.0012689 | 0.00031801 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6809-5_0_4_load_134 | 45 | 0.0028062 | 0.0007033 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6809-5_0_4_load_42 | 46 | 0.0061065 | 0.0015304 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6809-5_0_4_load_30 | 47 | 0.0022098 | 0.00055383 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6809-5_0_4_load_31 | 48 | 0.0010577 | 0.00026508 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6809-5_0_4_load_69 | 50 | 0.0014052 | 0.00035218 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6809-5_0_4_load_152 | 52 | 0.00090173 | 0.00022599 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6809-5_0_4_load_53 | 53 | 0.0015346 | 0.0003846 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6809-5_0_4_load_49 | 54 | 0.00081457 | 0.00020415 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6809-5_0_4_load_148 | 55 | 0.014409 | 0.0036111 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6809-5_0_4_load_149 | 56 | 0.0029103 | 0.0007294 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6809-5_0_4_load_43 | 57 | 0.0010055 | 0.000252 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6809-5_0_4_load_44 | 58 | 0.0016922 | 0.00042411 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6809-5_0_4_load_46 | 60 | 0.00068911 | 0.00017271 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6809-5_0_4_load_48 | 62 | 0.0024667 | 0.0006182 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6809-5_0_4_load_55 | 64 | 0.0014163 | 0.00035497 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6809-5_0_4_load_52 | 65 | 0.00066387 | 0.00016638 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6809-5_0_4_load_71 | 66 | 0.0013877 | 0.00034779 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6809-5_0_4_load_91 | 67 | 0.00081355 | 0.00020389 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6809-5_0_4_load_83 | 68 | 0.00068186 | 0.00017089 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6809-5_0_4_load_56 | 69 | 0.0024878 | 0.0006235 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6809-5_0_4_load_50 | 70 | 0.0006893 | 0.00017276 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6809-5_0_4_load_70 | 71 | 0.002985 | 0.0007481 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6809-5_0_4_load_59 | 73 | 0.0011871 | 0.00029752 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6809-5_0_4_load_60 | 74 | 0.0022239 | 0.00055737 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6809-5_0_4_load_73 | 76 | 0.0026365 | 0.00066076 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6809-5_0_4_load_63 | 78 | 0.00093046 | 0.0002332 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6809-5_0_4_load_65 | 79 | 0.0015811 | 0.00039627 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6809-5_0_4_load_89 | 80 | 0.00053954 | 0.00013522 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6809-5_0_4_load_72 | 81 | 0.00097925 | 0.00024542 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6809-5_0_4_load_77 | 83 | 0.00038901 | 9.7495e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6809-5_0_4_load_64 | 84 | 0.0016734 | 0.0004194 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6809-5_0_4_load_68 | 85 | 0.00071361 | 0.00017885 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6809-5_0_4_load_88 | 86 | 0.0017748 | 0.00044482 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6809-5_0_4_load_78 | 87 | 0.00094704 | 0.00023735 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6809-5_0_4_load_90 | 88 | 0.001353 | 0.00033909 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6809-5_0_4_load_115 | 89 | 0.0025631 | 0.00064236 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6809-5_0_4_load_82 | 90 | 0.0017963 | 0.00045021 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6809-5_0_4_load_75 | 91 | 0.0014681 | 0.00036795 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6809-5_0_4_load_81 | 95 | 0.0021148 | 0.00053003 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6809-5_0_4_load_109 | 96 | 0.0015636 | 0.00039186 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6809-5_0_4_load_122 | 97 | 0.00098399 | 0.00024661 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6809-5_0_4_load_94 | 98 | 0.0010263 | 0.00025722 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6809-5_0_4_load_95 | 99 | 0.001069 | 0.00026791 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6809-5_0_4_load_96 | 100 | 0.0016855 | 0.00042244 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6809-5_0_4_load_97 | 101 | 0.0014104 | 0.00035349 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6809-5_0_4_load_98 | 102 | 0.0015444 | 0.00038706 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6809-5_0_4_load_112 | 103 | 0.0012953 | 0.00032464 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6809-5_0_4_load_111 | 104 | 0.0020752 | 0.0005201 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6809-5_0_4_load_102 | 106 | 0.0013097 | 0.00032825 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6809-5_0_4_load_99 | 107 | 0.0013459 | 0.00033732 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6809-5_0_4_load_110 | 108 | 0.00066261 | 0.00016607 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6809-5_0_4_load_103 | 109 | 0.00072396 | 0.00018144 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6809-5_0_4_load_130 | 110 | 0.0010138 | 0.00025409 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6809-5_0_4_load_104 | 112 | 0.00073061 | 0.00018311 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6809-5_0_4_load_106 | 114 | 0.0015852 | 0.00039728 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6809-5_0_4_load_107 | 115 | 0.0015193 | 0.00038078 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6809-5_0_4_load_108 | 116 | 0.0021386 | 0.00053599 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6809-5_0_4_load_123 | 117 | 0.00075413 | 0.000189 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6809-5_0_4_load_124 | 118 | 0.00081926 | 0.00020533 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6809-5_0_4_load_128 | 119 | 0.0017407 | 0.00043625 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6809-5_0_4_load_129 | 120 | 0.0017149 | 0.00042979 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6809-5_0_4_load_131 | 121 | 0.0010663 | 0.00026723 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6809-5_0_4_load_84 | 122 | 0.00064307 | 0.00016117 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_6809-5_0_4_load_85 | 123 | 0.0015652 | 0.00039229 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_6809-5_0_4_load_86 | 124 | 0.0018613 | 0.00046649 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_6809-5_0_4_load_87 | 125 | 0.00054536 | 0.00013668 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_6809-5_0_4_load_113 | 126 | 0.0032959 | 0.00082603 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_6809-5_0_4_load_114 | 127 | 0.0031917 | 0.00079991 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_6809-5_0_4_load_126 | 130 | 0.0010864 | 0.00027228 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_6809-5_0_4_load_120 | 131 | 0.00075703 | 0.00018973 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_6809-5_0_4_load_117 | 132 | 0.0014789 | 0.00037064 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_6809-5_0_4_load_121 | 134 | 0.0010831 | 0.00027146 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_6809-5_0_4_load_127 | 135 | 0.0014199 | 0.00035586 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_6809-5_0_4_load_132 | 136 | 0.0014036 | 0.00035178 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_6809-5_0_4_load_133 | 137 | 0.00057238 | 0.00014345 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_6809-5_0_4_load_135 | 138 | 0.0006014 | 0.00015072 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_6809-5_0_4_load_141 | 139 | 0.0011562 | 0.00028977 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_6809-5_0_4_load_142 | 140 | 0.00069112 | 0.00017321 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_6809-5_0_4_load_145 | 141 | 0.00084122 | 0.00021083 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_6809-5_0_4_load_151 | 142 | 0.0036459 | 0.00091375 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_6809-5_0_4_load_136 | 143 | 0.0017659 | 0.00044257 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_6809-5_0_4_load_137 | 144 | 0.00054756 | 0.00013723 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_6809-5_0_4_load_138 | 145 | 0.0067281 | 0.0016862 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_6809-5_0_4_load_143 | 148 | 0.00071531 | 0.00017927 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_6809-5_0_4_load_147 | 149 | 0.0016917 | 0.00042399 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_6809-5_0_4_load_150 | 151 | 0.0033313 | 0.00083491 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_6809-5_0_4_load_146 | 152 | 0.0056039 | 0.0014045 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6809-5_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6809-5_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.015123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6809-5_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.012652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6809-5_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.015554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6809-5_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0083046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6809-5_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.014634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6809-5_0_4_line_6 | NAYY 4x150 SE | 6 | 25 | 0.03507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6809-5_0_4_line_7 | NAYY 4x150 SE | 7 | 8 | 0.009116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6809-5_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.011337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6809-5_0_4_line_9 | NAYY 4x150 SE | 8 | 10 | 0.00065463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6809-5_0_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.032187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_6809-5_0_4_line_11 | NAYY 4x150 SE | 9 | 12 | 0.034776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_6809-5_0_4_line_12 | NAYY 4x150 SE | 9 | 13 | 0.039556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6809-5_0_4_line_13 | NAYY 4x150 SE | 10 | 14 | 0.032606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6809-5_0_4_line_14 | NAYY 4x150 SE | 11 | 15 | 0.0021698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_6809-5_0_4_line_15 | NAYY 4x150 SE | 12 | 16 | 0.03865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_6809-5_0_4_line_16 | NAYY 4x150 SE | 15 | 17 | 0.03099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_6809-5_0_4_line_17 | NAYY 4x150 SE | 16 | 18 | 0.024423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6809-5_0_4_line_18 | NAYY 4x150 SE | 16 | 19 | 0.033092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6809-5_0_4_line_19 | NAYY 4x150 SE | 17 | 26 | 0.039909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_6809-5_0_4_line_20 | NAYY 4x150 SE | 17 | 22 | 0.010533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6809-5_0_4_line_21 | NAYY 4x150 SE | 18 | 44 | 0.0036133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6809-5_0_4_line_22 | NAYY 4x150 SE | 19 | 45 | 0.029346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6809-5_0_4_line_23 | NAYY 4x150 SE | 20 | 21 | 0.011298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6809-5_0_4_line_24 | NAYY 4x150 SE | 20 | 22 | 0.0076313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6809-5_0_4_line_25 | NAYY 4x150 SE | 23 | 24 | 0.038676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6809-5_0_4_line_26 | NAYY 4x150 SE | 23 | 25 | 0.00825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6809-5_0_4_line_27 | NAYY 4x150 SE | 24 | 27 | 0.035543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6809-5_0_4_line_28 | NAYY 4x150 SE | 25 | 28 | 0.04371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6809-5_0_4_line_29 | NAYY 4x150 SE | 26 | 29 | 0.027343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_6809-5_0_4_line_30 | NAYY 4x150 SE | 26 | 30 | 0.016946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6809-5_0_4_line_31 | NAYY 4x150 SE | 27 | 47 | 0.0091139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6809-5_0_4_line_32 | NAYY 4x150 SE | 27 | 48 | 0.00485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6809-5_0_4_line_33 | NAYY 4x150 SE | 29 | 31 | 0.019083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_6809-5_0_4_line_34 | NAYY 4x150 SE | 30 | 32 | 0.0082006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6809-5_0_4_line_35 | NAYY 4x150 SE | 31 | 52 | 0.0045767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_6809-5_0_4_line_36 | NAYY 4x150 SE | 33 | 34 | 0.011972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_6809-5_0_4_line_37 | NAYY 4x150 SE | 33 | 35 | 0.014523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6809-5_0_4_line_38 | NAYY 4x150 SE | 33 | 36 | 0.022973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_6809-5_0_4_line_39 | NAYY 4x150 SE | 34 | 37 | 0.04018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_6809-5_0_4_line_40 | NAYY 4x150 SE | 34 | 38 | 0.009694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6809-5_0_4_line_41 | NAYY 4x150 SE | 34 | 39 | 0.0058027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6809-5_0_4_line_42 | NAYY 4x150 SE | 36 | 40 | 0.0076059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_6809-5_0_4_line_43 | NAYY 4x150 SE | 37 | 41 | 0.023004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_6809-5_0_4_line_44 | NAYY 4x150 SE | 38 | 42 | 0.014511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6809-5_0_4_line_45 | NAYY 4x150 SE | 40 | 43 | 0.0087192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_6809-5_0_4_line_46 | NAYY 4x150 SE | 41 | 53 | 0.017449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_6809-5_0_4_line_47 | NAYY 4x150 SE | 41 | 54 | 0.016836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_6809-5_0_4_line_48 | NAYY 4x150 SE | 43 | 52 | 0.027466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_6809-5_0_4_line_49 | NAYY 4x150 SE | 44 | 46 | 0.016581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6809-5_0_4_line_50 | NAYY 4x150 SE | 46 | 55 | 0.005508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6809-5_0_4_line_51 | NAYY 4x150 SE | 48 | 49 | 0.056394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6809-5_0_4_line_52 | NAYY 4x150 SE | 49 | 50 | 0.0043302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6809-5_0_4_line_53 | NAYY 4x150 SE | 49 | 51 | 0.017836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6809-5_0_4_line_54 | NAYY 4x150 SE | 50 | 86 | 0.037021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6809-5_0_4_line_55 | NAYY 4x150 SE | 51 | 85 | 0.0080602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6809-5_0_4_line_56 | NAYY 4x150 SE | 51 | 84 | 0.030621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6809-5_0_4_line_57 | NAYY 4x150 SE | 53 | 72 | 0.0021303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6809-5_0_4_line_58 | NAYY 4x150 SE | 54 | 70 | 0.014722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_6809-5_0_4_line_59 | NAYY 4x150 SE | 55 | 56 | 0.0082699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6809-5_0_4_line_60 | NAYY 4x150 SE | 56 | 151 | 0.017305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6809-5_0_4_line_61 | NAYY 4x150 SE | 57 | 58 | 0.017602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_6809-5_0_4_line_62 | NAYY 4x150 SE | 57 | 59 | 0.013345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_6809-5_0_4_line_63 | NAYY 4x150 SE | 58 | 60 | 0.013771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_6809-5_0_4_line_64 | NAYY 4x150 SE | 59 | 61 | 0.005384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_6809-5_0_4_line_65 | NAYY 4x150 SE | 59 | 62 | 0.013331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6809-5_0_4_line_66 | NAYY 4x150 SE | 60 | 63 | 0.0054446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_6809-5_0_4_line_67 | NAYY 4x150 SE | 61 | 64 | 0.025086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6809-5_0_4_line_68 | NAYY 4x150 SE | 61 | 65 | 0.0095111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_6809-5_0_4_line_69 | NAYY 4x150 SE | 62 | 66 | 0.0036204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6809-5_0_4_line_70 | NAYY 4x150 SE | 63 | 67 | 0.0050289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6809-5_0_4_line_71 | NAYY 4x150 SE | 63 | 68 | 0.0046409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_6809-5_0_4_line_72 | NAYY 4x150 SE | 64 | 69 | 0.017401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6809-5_0_4_line_73 | NAYY 4x150 SE | 65 | 70 | 0.010488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_6809-5_0_4_line_74 | NAYY 4x150 SE | 66 | 71 | 0.012101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6809-5_0_4_line_75 | NAYY 4x150 SE | 67 | 89 | 0.015336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6809-5_0_4_line_76 | NAYY 4x150 SE | 68 | 90 | 0.01209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_6809-5_0_4_line_77 | NAYY 4x150 SE | 72 | 73 | 0.010576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6809-5_0_4_line_78 | NAYY 4x150 SE | 73 | 74 | 0.028509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6809-5_0_4_line_79 | NAYY 4x150 SE | 75 | 76 | 0.011795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6809-5_0_4_line_80 | NAYY 4x150 SE | 75 | 77 | 0.009321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6809-5_0_4_line_81 | NAYY 4x150 SE | 76 | 80 | 0.010011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6809-5_0_4_line_82 | NAYY 4x150 SE | 76 | 81 | 0.015921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6809-5_0_4_line_83 | NAYY 4x150 SE | 77 | 82 | 0.02991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_6809-5_0_4_line_84 | NAYY 4x150 SE | 77 | 83 | 0.0054456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6809-5_0_4_line_85 | NAYY 4x150 SE | 78 | 79 | 0.0011851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_6809-5_0_4_line_86 | NAYY 4x150 SE | 79 | 84 | 0.014047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_6809-5_0_4_line_87 | NAYY 4x150 SE | 80 | 88 | 0.006435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_6809-5_0_4_line_88 | NAYY 4x150 SE | 82 | 87 | 0.018496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_6809-5_0_4_line_89 | NAYY 4x150 SE | 82 | 85 | 0.014557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_6809-5_0_4_line_90 | NAYY 4x150 SE | 87 | 92 | 0.043165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_6809-5_0_4_line_91 | NAYY 4x150 SE | 88 | 125 | 0.0013742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_6809-5_0_4_line_92 | NAYY 4x150 SE | 89 | 126 | 0.020364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_6809-5_0_4_line_93 | NAYY 4x150 SE | 90 | 122 | 0.010173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
94 | LV_6809-5_0_4_line_94 | NAYY 4x150 SE | 91 | 92 | 0.015111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_6809-5_0_4_line_95 | NAYY 4x150 SE | 91 | 93 | 0.079576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_6809-5_0_4_line_96 | NAYY 4x150 SE | 93 | 94 | 0.014756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_6809-5_0_4_line_97 | NAYY 4x150 SE | 93 | 95 | 0.013405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_6809-5_0_4_line_98 | NAYY 4x150 SE | 94 | 96 | 0.030085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_6809-5_0_4_line_99 | NAYY 4x150 SE | 95 | 97 | 0.0266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_6809-5_0_4_line_100 | NAYY 4x150 SE | 96 | 116 | 0.015816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_6809-5_0_4_line_101 | NAYY 4x150 SE | 97 | 117 | 0.013836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_6809-5_0_4_line_102 | NAYY 4x150 SE | 98 | 99 | 0.0085812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_6809-5_0_4_line_103 | NAYY 4x150 SE | 98 | 100 | 7.8705e-07 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_6809-5_0_4_line_104 | NAYY 4x150 SE | 99 | 101 | 0.0081909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_6809-5_0_4_line_105 | NAYY 4x150 SE | 100 | 102 | 0.014667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_6809-5_0_4_line_106 | NAYY 4x150 SE | 101 | 103 | 0.0035052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_6809-5_0_4_line_107 | NAYY 4x150 SE | 102 | 104 | 7.8641e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_6809-5_0_4_line_108 | NAYY 4x150 SE | 104 | 108 | 0.012522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_6809-5_0_4_line_109 | NAYY 4x150 SE | 105 | 106 | 0.027641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_6809-5_0_4_line_110 | NAYY 4x150 SE | 105 | 107 | 0.018839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_6809-5_0_4_line_111 | NAYY 4x150 SE | 106 | 108 | 0.0080766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_6809-5_0_4_line_112 | NAYY 4x150 SE | 107 | 111 | 0.020196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_6809-5_0_4_line_113 | NAYY 4x150 SE | 109 | 110 | 0.0095042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_6809-5_0_4_line_114 | NAYY 4x150 SE | 109 | 111 | 0.029341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_6809-5_0_4_line_115 | NAYY 4x150 SE | 110 | 121 | 0.0095886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_6809-5_0_4_line_116 | NAYY 4x150 SE | 112 | 113 | 0.01504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_6809-5_0_4_line_117 | NAYY 4x150 SE | 113 | 114 | 0.01418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_6809-5_0_4_line_118 | NAYY 4x150 SE | 113 | 115 | 0.012308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_6809-5_0_4_line_119 | NAYY 4x150 SE | 114 | 116 | 0.001072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_6809-5_0_4_line_120 | NAYY 4x150 SE | 117 | 118 | 0.0086516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_6809-5_0_4_line_121 | NAYY 4x150 SE | 118 | 119 | 0.010142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_6809-5_0_4_line_122 | NAYY 4x150 SE | 119 | 120 | 0.024152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_6809-5_0_4_line_123 | NAYY 4x150 SE | 120 | 121 | 0.0012204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_6809-5_0_4_line_124 | NAYY 4x150 SE | 122 | 123 | 0.011282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
125 | LV_6809-5_0_4_line_125 | NAYY 4x150 SE | 123 | 124 | 0.016186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
126 | LV_6809-5_0_4_line_126 | NAYY 4x150 SE | 124 | 125 | 0.01101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_6809-5_0_4_line_127 | NAYY 4x150 SE | 126 | 127 | 0.028175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_6809-5_0_4_line_128 | NAYY 4x150 SE | 127 | 128 | 0.012271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_6809-5_0_4_line_129 | NAYY 4x150 SE | 128 | 129 | 0.012017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_6809-5_0_4_line_130 | NAYY 4x150 SE | 129 | 130 | 0.018467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_6809-5_0_4_line_131 | NAYY 4x150 SE | 129 | 131 | 0.015148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_6809-5_0_4_line_132 | NAYY 4x150 SE | 131 | 133 | 0.031843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_6809-5_0_4_line_133 | NAYY 4x150 SE | 132 | 133 | 0.0076731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_6809-5_0_4_line_134 | NAYY 4x150 SE | 133 | 134 | 0.032361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_6809-5_0_4_line_135 | NAYY 4x150 SE | 134 | 135 | 0.022002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_6809-5_0_4_line_136 | NAYY 4x150 SE | 136 | 137 | 0.0090635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_6809-5_0_4_line_137 | NAYY 4x150 SE | 137 | 138 | 0.010026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_6809-5_0_4_line_138 | NAYY 4x150 SE | 138 | 139 | 0.028066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_6809-5_0_4_line_139 | NAYY 4x150 SE | 138 | 140 | 0.010222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_6809-5_0_4_line_140 | NAYY 4x150 SE | 139 | 141 | 0.010711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_6809-5_0_4_line_141 | NAYY 4x150 SE | 140 | 142 | 0.024617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_6809-5_0_4_line_142 | NAYY 4x150 SE | 141 | 146 | 0.0094332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_6809-5_0_4_line_143 | NAYY 4x150 SE | 142 | 151 | 0.00044232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_6809-5_0_4_line_144 | NAYY 4x150 SE | 143 | 144 | 0.0050155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_6809-5_0_4_line_145 | NAYY 4x150 SE | 143 | 145 | 0.010716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_6809-5_0_4_line_146 | NAYY 4x150 SE | 144 | 146 | 0.02296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
147 | LV_6809-5_0_4_line_147 | NAYY 4x150 SE | 145 | 147 | 0.021907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
148 | LV_6809-5_0_4_line_148 | NAYY 4x150 SE | 146 | 148 | 0.019015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
149 | LV_6809-5_0_4_line_149 | NAYY 4x150 SE | 147 | 149 | 0.0049564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
150 | LV_6809-5_0_4_line_150 | NAYY 4x150 SE | 148 | 150 | 0.0080521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
151 | LV_6809-5_0_4_line_151 | NAYY 4x150 SE | 150 | 152 | 0.049916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6809-5_0_4_trafo_53 | 0.25 MVA 20/0.4 kV | 153 | 53 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2566934.3627 | 1248807.5914 | 2566923.2751 | 1248825.8766 | 2566921.7442 | 1248827.7172
1 | 2566934.3627 | 1248807.5914 | 2566934.3627 | 1248807.5914 | 2566945.0372 | 1248797.7919 | 2566945.5425 | 1248797.4115
2 | 2566913.0907 | 1248836.8964 | 2566916.8551 | 1248833.5954 | 2566921.7442 | 1248827.7172
3 | 2566905.7589 | 1248823.373 | 2566911.8954 | 1248832.4335 | 2566913.0907 | 1248836.8964
4 | 2566913.0907 | 1248836.8964 | 2566909.7039 | 1248841.5407 | 2566908.7328 | 1248843.9057
5 | 2566903.1743 | 1248857.4431 | 2566908.7328 | 1248843.9057
6 | 2566896.0545 | 1248891.739 | 2566902.2774 | 1248859.6275 | 2566903.1743 | 1248857.4431
7 | 2566817.2922 | 1248975.2679 | 2566812.2061 | 1248973.641 | 2566808.4513 | 1248973.2412
8 | 2566828.0904 | 1248978.7218 | 2566817.2922 | 1248975.2679
9 | 2566807.8004 | 1248973.1719 | 2566808.4513 | 1248973.2412
10 | 2566828.0904 | 1248978.7218 | 2566853.6012 | 1248986.4616 | 2566858.9797 | 1248987.7372
11 | 2566828.0904 | 1248978.7218 | 2566817.4967 | 1249011.8448
12 | 2566828.0904 | 1248978.7218 | 2566838.9305 | 1248940.6804
13 | 2566781.4532 | 1248983.7792 | 2566783.3633 | 1248978.951 | 2566785.345 | 1248975.5487 | 2566788.7824 | 1248973.2167 | 2566793.8552 | 1248971.6872 | 2566807.8004 | 1248973.1719
14 | 2566858.9797 | 1248987.7372 | 2566861.0909 | 1248988.238
15 | 2566814.6223 | 1249048.9215 | 2566810.6311 | 1249033.3114 | 2566817.4967 | 1249011.8448
16 | 2566891.2445 | 1248995.3898 | 2566861.0909 | 1248988.238
17 | 2566814.6223 | 1249048.9215 | 2566831.6069 | 1249048.2924 | 2566839.0011 | 1249048.9913
18 | 2566788.8276 | 1249068.5348 | 2566792.2483 | 1249064.5797 | 2566795.5467 | 1249061.7037 | 2566798.7127 | 1249058.1169 | 2566805.5565 | 1249051.9744 | 2566814.6223 | 1249048.9215
19 | 2566891.2445 | 1248995.3898 | 2566895.445 | 1249016.0465 | 2566897.7393 | 1249034.7349
20 | 2566891.2445 | 1248995.3898 | 2566890.1982 | 1248984.9094
21 | 2566842.5984 | 1249049.3314 | 2566839.0011 | 1249048.9913
22 | 2566788.8276 | 1249068.5348 | 2566796.2376 | 1249082.5358 | 2566801.6956 | 1249094.8886
23 | 2566890.7006 | 1248966.0485 | 2566889.8194 | 1248977.3118
24 | 2566890.1982 | 1248984.9094 | 2566889.6526 | 1248979.4438 | 2566889.8194 | 1248977.3118
25 | 2566894.8166 | 1248899.8958 | 2566897.4872 | 1248903.5277 | 2566899.7797 | 1248912.454 | 2566901.4296 | 1248921.2284 | 2566905.6345 | 1248929.1878 | 2566909.7162 | 1248934.9015
26 | 2566896.0545 | 1248891.739 | 2566894.8166 | 1248899.8958
27 | 2566924.1557 | 1248966.9423 | 2566922.2854 | 1248964.6402 | 2566914.8351 | 1248942.067 | 2566909.7162 | 1248934.9015
28 | 2566886.1451 | 1248850.7676 | 2566889.4757 | 1248880.5463 | 2566892.0154 | 1248889.1155 | 2566896.0545 | 1248891.739
29 | 2566897.7393 | 1249034.7349 | 2566893.0332 | 1249041.0543 | 2566882.8655 | 1249057.6778
30 | 2566897.7393 | 1249034.7349 | 2566902.1938 | 1249045.4837 | 2566904.8831 | 1249050.0631
31 | 2566924.1557 | 1248966.9423 | 2566925.9041 | 1248975.8869
32 | 2566924.1557 | 1248966.9423 | 2566924.26 | 1248962.0935
33 | 2566882.8655 | 1249057.6778 | 2566900.4362 | 1249065.1228
34 | 2566904.8831 | 1249050.0631 | 2566905.9748 | 1249051.9223 | 2566909.7714 | 1249056.6259
35 | 2566904.6502 | 1249066.9084 | 2566900.4362 | 1249065.1228
36 | 2566946.656 | 1249051.9725 | 2566947.4586 | 1249059.1171 | 2566947.5382 | 1249063.8976
37 | 2566947.5382 | 1249063.8976 | 2566953.5357 | 1249064.3755 | 2566959.7143 | 1249070.2226
38 | 2566943.7281 | 1249085.989 | 2566947.7121 | 1249077.45 | 2566947.5382 | 1249063.8976
39 | 2566946.656 | 1249051.9725 | 2566945.4211 | 1249040.4384 | 2566940.7601 | 1249017.0491 | 2566940.0048 | 1249012.3788
40 | 2566946.656 | 1249051.9725 | 2566949.7316 | 1249048.3974 | 2566951.3043 | 1249043.6744
41 | 2566946.656 | 1249051.9725 | 2566942.6084 | 1249047.8146 | 2566942.6084 | 1249047.8146
42 | 2566943.7281 | 1249085.989 | 2566937.5309 | 1249081.5795
43 | 2566940.9397 | 1248989.7857 | 2566938.3277 | 1249002.0084 | 2566940.0048 | 1249012.3788
44 | 2566951.3043 | 1249043.6744 | 2566953.526 | 1249037.002 | 2566955.7414 | 1249029.8588
45 | 2566930.0908 | 1249077.0668 | 2566934.4876 | 1249079.4142 | 2566937.5309 | 1249081.5795
46 | 2566940.9397 | 1248989.7857 | 2566946.3847 | 1248973.2077
47 | 2566940.9397 | 1248989.7857 | 2566950.1497 | 1248988.1776 | 2566957.632 | 1248987.9208
48 | 2566904.6502 | 1249066.9084 | 2566909.8766 | 1249069.1229 | 2566923.8325 | 1249073.7256 | 2566930.0908 | 1249077.0668
49 | 2566842.5984 | 1249049.3314 | 2566841.1922 | 1249065.8531
50 | 2566840.7251 | 1249071.3413 | 2566841.1922 | 1249065.8531
51 | 2566936.2887 | 1248907.5242 | 2566931.8166 | 1248917.9116 | 2566928.5149 | 1248926.9694 | 2566926.2435 | 1248942.0254 | 2566924.4612 | 1248952.7424 | 2566924.26 | 1248962.0935
52 | 2566936.2887 | 1248907.5242 | 2566935.0197 | 1248903.3841
53 | 2566946.7785 | 1248893.0783 | 2566936.2887 | 1248907.5242
54 | 2566945.0135 | 1248867.7604 | 2566937.0811 | 1248893.9553 | 2566935.0197 | 1248903.3841
55 | 2566946.7785 | 1248893.0783 | 2566951.7004 | 1248886.6953
56 | 2566946.7785 | 1248893.0783 | 2566945.1138 | 1248907.2747 | 2566943.0664 | 1248923.4736
57 | 2566947.0495 | 1248971.1837 | 2566946.3847 | 1248973.2077
58 | 2566957.632 | 1248987.9208 | 2566972.3456 | 1248987.4158
59 | 2566840.7251 | 1249071.3413 | 2566840.3177 | 1249076.1285 | 2566840.2558 | 1249079.5933
60 | 2566841.1542 | 1249096.8564 | 2566840.1626 | 1249084.8129 | 2566840.2558 | 1249079.5933
61 | 2567011.0109 | 1248985.1462 | 2567015.9015 | 1248984.7302 | 2567023.7837 | 1248981.9511 | 2567027.7298 | 1248980.1536
62 | 2566997.7138 | 1248986.2772 | 2567011.0109 | 1248985.1462
63 | 2567027.7298 | 1248980.1536 | 2567034.0638 | 1248977.2684 | 2567040.0167 | 1248973.9594
64 | 2566992.3329 | 1248986.7298 | 2566997.7138 | 1248986.2772
65 | 2566997.7138 | 1248986.2772 | 2566994.8997 | 1248973.2462
66 | 2567043.4679 | 1248969.8555 | 2567040.9134 | 1248973.461 | 2567040.0167 | 1248973.9594
67 | 2566992.3329 | 1248986.7298 | 2567002.0135 | 1248999.0839 | 2567007.8554 | 1249006.4367
68 | 2566992.3329 | 1248986.7298 | 2566982.8274 | 1248987.056
69 | 2566993.6934 | 1248969.8433 | 2566994.7064 | 1248972.3515 | 2566994.8997 | 1248973.2462
70 | 2567043.4679 | 1248969.8555 | 2567048.0426 | 1248971.9441
71 | 2567043.4679 | 1248969.8555 | 2567039.7163 | 1248967.1235
72 | 2567018.4611 | 1249020.2298 | 2567013.2443 | 1249013.2194 | 2567007.8554 | 1249006.4367
73 | 2566982.8274 | 1248987.056 | 2566972.3456 | 1248987.4158
74 | 2566989.1617 | 1248958.6232 | 2566993.6934 | 1248969.8433
75 | 2567048.0426 | 1248971.9441 | 2567055.8821 | 1248975.5234 | 2567062.4971 | 1248976.6943
76 | 2567030.2852 | 1248959.607 | 2567032.6192 | 1248961.9553 | 2567039.7163 | 1248967.1235
77 | 2566947.0495 | 1248971.1837 | 2566951.2014 | 1248961.457
78 | 2566951.2014 | 1248961.457 | 2566962.3936 | 1248935.2363
79 | 2566978.4827 | 1248902.485 | 2566989.0229 | 1248907.8408
80 | 2566978.4827 | 1248902.485 | 2566982.2329 | 1248893.9473
81 | 2566989.0229 | 1248907.8408 | 2566994.2698 | 1248916.3671
82 | 2566989.0229 | 1248907.8408 | 2566988.4644 | 1248923.7519
83 | 2566960.4726 | 1248875.0787 | 2566968.8077 | 1248877.6672 | 2566976.3082 | 1248884.93 | 2566982.2329 | 1248893.9473
84 | 2566982.2329 | 1248893.9473 | 2566984.426 | 1248888.9629
85 | 2566942.5561 | 1248938.6958 | 2566942.5929 | 1248937.5113
86 | 2566943.0664 | 1248923.4736 | 2566943.017 | 1248923.864 | 2566942.5929 | 1248937.5113
87 | 2566994.2698 | 1248916.3671 | 2566997.6423 | 1248921.8475
88 | 2566960.4726 | 1248875.0787 | 2566966.4302 | 1248867.0401 | 2566971.8943 | 1248860.5413
89 | 2566960.4726 | 1248875.0787 | 2566956.1037 | 1248880.9848 | 2566951.7004 | 1248886.6953
90 | 2567008.1214 | 1248838.166 | 2566999.1813 | 1248840.8177 | 2566975.0335 | 1248856.8075 | 2566971.8943 | 1248860.5413
91 | 2566998.3625 | 1248923.0178 | 2566997.6423 | 1248921.8475
92 | 2567082.7484 | 1248978.6091 | 2567082.7484 | 1248978.6091 | 2567067.5741 | 1248977.5929 | 2567062.4971 | 1248976.6943
93 | 2567030.2852 | 1248959.607 | 2567023.1133 | 1248952.3916
94 | 2567008.1214 | 1248838.166 | 2567015.0323 | 1248830.4446 | 2567018.6744 | 1248827.3984
95 | 2567018.6744 | 1248827.3984 | 2567080.8132 | 1248777.6876
96 | 2567093.8596 | 1248770.7215 | 2567080.8132 | 1248777.6876
97 | 2567080.8132 | 1248777.6876 | 2567094.0696 | 1248779.6749
98 | 2567093.8596 | 1248770.7215 | 2567109.6504 | 1248752.1769 | 2567113.1168 | 1248747.6165
99 | 2567120.3165 | 1248783.9652 | 2567111.4187 | 1248782.2758 | 2567094.0696 | 1248779.6749
100 | 2567113.1168 | 1248747.6165 | 2567119.0201 | 1248739.85 | 2567122.2468 | 1248734.7193
101 | 2567120.3165 | 1248783.9652 | 2567133.9099 | 1248786.5461
102 | 2567145.5353 | 1248764.756 | 2567137.0245 | 1248765.8531
103 | 2567145.5353 | 1248764.756 | 2567145.5361 | 1248764.7559
104 | 2567137.0245 | 1248765.8531 | 2567132.3139 | 1248766.4603 | 2567128.9011 | 1248766.9018
105 | 2567160.0825 | 1248762.8809 | 2567145.5361 | 1248764.7559
106 | 2567125.4249 | 1248767.3515 | 2567128.9011 | 1248766.9018
107 | 2567160.0825 | 1248762.8809 | 2567160.1605 | 1248762.8709
108 | 2567172.5711 | 1248761.2084 | 2567163.2342 | 1248762.4747 | 2567160.1605 | 1248762.8709
109 | 2567204.1757 | 1248746.5035 | 2567192.9438 | 1248755.2827 | 2567183.4094 | 1248759.7386 | 2567180.5745 | 1248760.123
110 | 2567204.1757 | 1248746.5035 | 2567209.9762 | 1248757.6675 | 2567213.6088 | 1248762.7628
111 | 2567172.5711 | 1248761.2084 | 2567180.5745 | 1248760.123
112 | 2567225.3329 | 1248779.2076 | 2567213.6088 | 1248762.7628
113 | 2567197.0846 | 1248786.3074 | 2567191.9789 | 1248786.831 | 2567187.6072 | 1248786.8553
114 | 2567225.3329 | 1248779.2076 | 2567209.1694 | 1248785.0678 | 2567197.0846 | 1248786.3074
115 | 2567187.6072 | 1248786.8553 | 2567178.0188 | 1248786.9086
116 | 2567130.3665 | 1248721.8084 | 2567133.4826 | 1248711.8845 | 2567135.6474 | 1248707.7822
117 | 2567130.3665 | 1248721.8084 | 2567122.8175 | 1248733.8119
118 | 2567130.3665 | 1248721.8084 | 2567129.9837 | 1248711.3592 | 2567130.1653 | 1248709.516
119 | 2567122.8175 | 1248733.8119 | 2567122.2468 | 1248734.7193
120 | 2567142.5059 | 1248787.1061 | 2567137.0197 | 1248787.1366 | 2567133.9099 | 1248786.5461
121 | 2567142.5059 | 1248787.1061 | 2567152.6472 | 1248787.0497
122 | 2567176.7984 | 1248786.9154 | 2567163.7782 | 1248786.9878 | 2567152.6472 | 1248787.0497
123 | 2567176.7984 | 1248786.9154 | 2567178.0188 | 1248786.9086
124 | 2567015.2682 | 1248944.2929 | 2567016.2107 | 1248945.4471 | 2567023.1133 | 1248952.3916
125 | 2567015.2682 | 1248944.2929 | 2567005.0307 | 1248931.7554
126 | 2567005.0307 | 1248931.7554 | 2566999.7894 | 1248925.3366 | 2566998.3625 | 1248923.0178
127 | 2567082.7484 | 1248978.6091 | 2567107.9323 | 1248977.8572 | 2567110.907 | 1248977.6821
128 | 2567123.1564 | 1248976.9608 | 2567110.907 | 1248977.6821
129 | 2567135.1876 | 1248976.2379 | 2567123.1564 | 1248976.9608
130 | 2567135.1876 | 1248976.2379 | 2567120.014 | 1248965.7126
131 | 2567135.1876 | 1248976.2379 | 2567150.1345 | 1248978.7006
132 | 2567181.4857 | 1248984.2637 | 2567163.8448 | 1248980.9595 | 2567150.1345 | 1248978.7006
133 | 2567181.4857 | 1248984.2637 | 2567187.6897 | 1248979.7485
134 | 2567181.4857 | 1248984.2637 | 2567187.9732 | 1248987.2852 | 2567210.3782 | 1248998.8289
135 | 2567230.5334 | 1249007.6478 | 2567211.1587 | 1248999.2311 | 2567210.3782 | 1248998.8289
136 | 2566824.3541 | 1249121.0599 | 2566831.7813 | 1249126.2544
137 | 2566839.9971 | 1249132.0004 | 2566831.7813 | 1249126.2544
138 | 2566839.9971 | 1249132.0004 | 2566849.9178 | 1249138.6714 | 2566858.5225 | 1249144.9606 | 2566862.9266 | 1249148.1761
139 | 2566839.9971 | 1249132.0004 | 2566840.9232 | 1249121.8209
140 | 2566862.9266 | 1249148.1761 | 2566871.5777 | 1249154.4923
141 | 2566840.9232 | 1249121.8209 | 2566842.1234 | 1249108.6287 | 2566841.1905 | 1249097.2972
142 | 2566879.1964 | 1249160.0547 | 2566871.5777 | 1249154.4923
143 | 2566841.1542 | 1249096.8564 | 2566841.1905 | 1249097.2972
144 | 2566863.9967 | 1249177.2636 | 2566860.6765 | 1249181.0227
145 | 2566853.5826 | 1249189.0543 | 2566860.6765 | 1249181.0227
146 | 2566879.1964 | 1249160.0547 | 2566863.9967 | 1249177.2636
147 | 2566844.6344 | 1249208.914 | 2566851.9475 | 1249190.9056 | 2566853.5826 | 1249189.0543
148 | 2566879.1964 | 1249160.0547 | 2566893.6451 | 1249172.4164
149 | 2566844.6344 | 1249208.914 | 2566846.0893 | 1249213.6521
150 | 2566899.7634 | 1249177.6511 | 2566893.6451 | 1249172.4164
151 | 2566899.7634 | 1249177.6511 | 2566915.3361 | 1249155.5159 | 2566928.6858 | 1249142.2102 | 2566931.3053 | 1249139.182

## bus_geodata
| x | y | coords
0 | 2566934.3627 | 1248807.5914
1 | 2566921.7442 | 1248827.7172
2 | 2566945.5425 | 1248797.4115
3 | 2566913.0907 | 1248836.8964
4 | 2566905.7589 | 1248823.373
5 | 2566908.7328 | 1248843.9057
6 | 2566903.1743 | 1248857.4431
7 | 2566817.2922 | 1248975.2679
8 | 2566808.4513 | 1248973.2412
9 | 2566828.0904 | 1248978.7218
10 | 2566807.8004 | 1248973.1719
11 | 2566858.9797 | 1248987.7372
12 | 2566817.4967 | 1249011.8448
13 | 2566838.9305 | 1248940.6804
14 | 2566781.4532 | 1248983.7792
15 | 2566861.0909 | 1248988.238
16 | 2566814.6223 | 1249048.9215
17 | 2566891.2445 | 1248995.3898
18 | 2566839.0011 | 1249048.9913
19 | 2566788.8276 | 1249068.5348
20 | 2566889.8194 | 1248977.3118
21 | 2566890.7006 | 1248966.0485
22 | 2566890.1982 | 1248984.9094
23 | 2566894.8166 | 1248899.8958
24 | 2566909.7162 | 1248934.9015
25 | 2566896.0545 | 1248891.739
26 | 2566897.7393 | 1249034.7349
27 | 2566924.1557 | 1248966.9423
28 | 2566886.1451 | 1248850.7676
29 | 2566882.8655 | 1249057.6778
30 | 2566904.8831 | 1249050.0631
31 | 2566900.4362 | 1249065.1228
32 | 2566909.7714 | 1249056.6259
33 | 2566947.5382 | 1249063.8976
34 | 2566946.656 | 1249051.9725
35 | 2566959.7143 | 1249070.2226
36 | 2566943.7281 | 1249085.989
37 | 2566940.0048 | 1249012.3788
38 | 2566951.3043 | 1249043.6744
39 | 2566942.6084 | 1249047.8146
40 | 2566937.5309 | 1249081.5795
41 | 2566940.9397 | 1248989.7857
42 | 2566955.7414 | 1249029.8588
43 | 2566930.0908 | 1249077.0668
44 | 2566842.5984 | 1249049.3314
45 | 2566801.6956 | 1249094.8886
46 | 2566841.1922 | 1249065.8531
47 | 2566925.9041 | 1248975.8869
48 | 2566924.26 | 1248962.0935
49 | 2566936.2887 | 1248907.5242
50 | 2566935.0197 | 1248903.3841
51 | 2566946.7785 | 1248893.0783
52 | 2566904.6502 | 1249066.9084
53 | 2566946.3847 | 1248973.2077
54 | 2566957.632 | 1248987.9208
55 | 2566840.7251 | 1249071.3413
56 | 2566840.2558 | 1249079.5933
57 | 2567011.0109 | 1248985.1462
58 | 2567027.7298 | 1248980.1536
59 | 2566997.7138 | 1248986.2772
60 | 2567040.0167 | 1248973.9594
61 | 2566992.3329 | 1248986.7298
62 | 2566994.8997 | 1248973.2462
63 | 2567043.4679 | 1248969.8555
64 | 2567007.8554 | 1249006.4367
65 | 2566982.8274 | 1248987.056
66 | 2566993.6934 | 1248969.8433
67 | 2567048.0426 | 1248971.9441
68 | 2567039.7163 | 1248967.1235
69 | 2567018.4611 | 1249020.2298
70 | 2566972.3456 | 1248987.4158
71 | 2566989.1617 | 1248958.6232
72 | 2566947.0495 | 1248971.1837
73 | 2566951.2014 | 1248961.457
74 | 2566962.3936 | 1248935.2363
75 | 2566978.4827 | 1248902.485
76 | 2566989.0229 | 1248907.8408
77 | 2566982.2329 | 1248893.9473
78 | 2566942.5561 | 1248938.6958
79 | 2566942.5929 | 1248937.5113
80 | 2566994.2698 | 1248916.3671
81 | 2566988.4644 | 1248923.7519
82 | 2566960.4726 | 1248875.0787
83 | 2566984.426 | 1248888.9629
84 | 2566943.0664 | 1248923.4736
85 | 2566951.7004 | 1248886.6953
86 | 2566945.0135 | 1248867.7604
87 | 2566971.8943 | 1248860.5413
88 | 2566997.6423 | 1248921.8475
89 | 2567062.4971 | 1248976.6943
90 | 2567030.2852 | 1248959.607
91 | 2567018.6744 | 1248827.3984
92 | 2567008.1214 | 1248838.166
93 | 2567080.8132 | 1248777.6876
94 | 2567093.8596 | 1248770.7215
95 | 2567094.0696 | 1248779.6749
96 | 2567113.1168 | 1248747.6165
97 | 2567120.3165 | 1248783.9652
98 | 2567145.5353 | 1248764.756
99 | 2567137.0245 | 1248765.8531
100 | 2567145.5361 | 1248764.7559
101 | 2567128.9011 | 1248766.9018
102 | 2567160.0825 | 1248762.8809
103 | 2567125.4249 | 1248767.3515
104 | 2567160.1605 | 1248762.8709
105 | 2567204.1757 | 1248746.5035
106 | 2567180.5745 | 1248760.123
107 | 2567213.6088 | 1248762.7628
108 | 2567172.5711 | 1248761.2084
109 | 2567197.0846 | 1248786.3074
110 | 2567187.6072 | 1248786.8553
111 | 2567225.3329 | 1248779.2076
112 | 2567135.6474 | 1248707.7822
113 | 2567130.3665 | 1248721.8084
114 | 2567122.8175 | 1248733.8119
115 | 2567130.1653 | 1248709.516
116 | 2567122.2468 | 1248734.7193
117 | 2567133.9099 | 1248786.5461
118 | 2567142.5059 | 1248787.1061
119 | 2567152.6472 | 1248787.0497
120 | 2567176.7984 | 1248786.9154
121 | 2567178.0188 | 1248786.9086
122 | 2567023.1133 | 1248952.3916
123 | 2567015.2682 | 1248944.2929
124 | 2567005.0307 | 1248931.7554
125 | 2566998.3625 | 1248923.0178
126 | 2567082.7484 | 1248978.6091
127 | 2567110.907 | 1248977.6821
128 | 2567123.1564 | 1248976.9608
129 | 2567135.1876 | 1248976.2379
130 | 2567120.014 | 1248965.7126
131 | 2567150.1345 | 1248978.7006
132 | 2567187.6897 | 1248979.7485
133 | 2567181.4857 | 1248984.2637
134 | 2567210.3782 | 1248998.8289
135 | 2567230.5334 | 1249007.6478
136 | 2566824.3541 | 1249121.0599
137 | 2566831.7813 | 1249126.2544
138 | 2566839.9971 | 1249132.0004
139 | 2566862.9266 | 1249148.1761
140 | 2566840.9232 | 1249121.8209
141 | 2566871.5777 | 1249154.4923
142 | 2566841.1905 | 1249097.2972
143 | 2566860.6765 | 1249181.0227
144 | 2566863.9967 | 1249177.2636
145 | 2566853.5826 | 1249189.0543
146 | 2566879.1964 | 1249160.0547
147 | 2566844.6344 | 1249208.914
148 | 2566893.6451 | 1249172.4164
149 | 2566846.0893 | 1249213.6521
150 | 2566899.7634 | 1249177.6511
151 | 2566841.1542 | 1249096.8564
152 | 2566931.3053 | 1249139.182
153 | 2566947.0495 | 1248971.1837

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1