## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6810-4_1_2_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_6810-4_1_2_node_5 | 0.4 | n |  | TRUE
2 | bus_LV_6810-4_1_2_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_6810-4_1_2_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_6810-4_1_2_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_6810-4_1_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_6810-4_1_2_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_6810-4_1_2_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_6810-4_1_2_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_6810-4_1_2_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_6810-4_1_2_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_6810-4_1_2_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_6810-4_1_2_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_6810-4_1_2_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_6810-4_1_2_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_6810-4_1_2_node_112 | 0.4 | n |  | TRUE
16 | bus_LV_6810-4_1_2_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_6810-4_1_2_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_6810-4_1_2_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_6810-4_1_2_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_6810-4_1_2_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_6810-4_1_2_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_6810-4_1_2_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_6810-4_1_2_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_6810-4_1_2_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_6810-4_1_2_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_6810-4_1_2_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_6810-4_1_2_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_6810-4_1_2_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_6810-4_1_2_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_6810-4_1_2_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_6810-4_1_2_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_6810-4_1_2_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_6810-4_1_2_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_6810-4_1_2_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_6810-4_1_2_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_6810-4_1_2_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_6810-4_1_2_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_6810-4_1_2_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_6810-4_1_2_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_6810-4_1_2_node_85 | 0.4 | n |  | TRUE
41 | bus_LV_6810-4_1_2_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_6810-4_1_2_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_6810-4_1_2_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_6810-4_1_2_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_6810-4_1_2_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_6810-4_1_2_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_6810-4_1_2_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_6810-4_1_2_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_6810-4_1_2_node_63 | 0.4 | n |  | TRUE
50 | bus_LV_6810-4_1_2_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_6810-4_1_2_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_6810-4_1_2_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_6810-4_1_2_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_6810-4_1_2_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_6810-4_1_2_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_6810-4_1_2_node_82 | 0.4 | n |  | TRUE
57 | bus_LV_6810-4_1_2_node_88 | 0.4 | n |  | TRUE
58 | bus_LV_6810-4_1_2_node_83 | 0.4 | n |  | TRUE
59 | bus_LV_6810-4_1_2_node_86 | 0.4 | n |  | TRUE
60 | bus_LV_6810-4_1_2_node_84 | 0.4 | n |  | TRUE
61 | bus_LV_6810-4_1_2_node_87 | 0.4 | n |  | TRUE
62 | bus_LV_6810-4_1_2_node_96 | 0.4 | n |  | TRUE
63 | bus_LV_6810-4_1_2_node_90 | 0.4 | n |  | TRUE
64 | bus_LV_6810-4_1_2_node_91 | 0.4 | n |  | TRUE
65 | bus_LV_6810-4_1_2_node_92 | 0.4 | n |  | TRUE
66 | bus_LV_6810-4_1_2_node_102 | 0.4 | n |  | TRUE
67 | bus_LV_6810-4_1_2_node_93 | 0.4 | n |  | TRUE
68 | bus_LV_6810-4_1_2_node_94 | 0.4 | n |  | TRUE
69 | bus_LV_6810-4_1_2_node_95 | 0.4 | n |  | TRUE
70 | bus_LV_6810-4_1_2_node_97 | 0.4 | n |  | TRUE
71 | bus_LV_6810-4_1_2_node_98 | 0.4 | n |  | TRUE
72 | bus_LV_6810-4_1_2_node_99 | 0.4 | n |  | TRUE
73 | bus_LV_6810-4_1_2_node_103 | 0.4 | n |  | TRUE
74 | bus_LV_6810-4_1_2_node_100 | 0.4 | n |  | TRUE
75 | bus_LV_6810-4_1_2_node_101 | 0.4 | n |  | TRUE
76 | bus_LV_6810-4_1_2_node_105 | 0.4 | n |  | TRUE
77 | bus_LV_6810-4_1_2_node_104 | 0.4 | n |  | TRUE
78 | bus_LV_6810-4_1_2_node_106 | 0.4 | n |  | TRUE
79 | bus_LV_6810-4_1_2_node_110 | 0.4 | n |  | TRUE
80 | bus_LV_6810-4_1_2_node_107 | 0.4 | n |  | TRUE
81 | bus_LV_6810-4_1_2_node_108 | 0.4 | n |  | TRUE
82 | bus_LV_6810-4_1_2_node_109 | 0.4 | n |  | TRUE
83 | bus_LV_6810-4_1_2_node_111 | 0.4 | n |  | TRUE
84 | bus_MV_342_0_node_127 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6810-4_1_2_load_4 | 0 | 0.00063043 | 0.000158 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6810-4_1_2_load_6 | 2 | 0.0012308 | 0.00030846 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6810-4_1_2_load_11 | 3 | 0.0013678 | 0.0003428 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6810-4_1_2_load_7 | 4 | 0.0014601 | 0.00036595 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6810-4_1_2_load_41 | 7 | 0.00035888 | 8.9944e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6810-4_1_2_load_12 | 8 | 0.0027438 | 0.00068766 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6810-4_1_2_load_13 | 9 | 0.00051274 | 0.0001285 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6810-4_1_2_load_16 | 12 | 0.0015722 | 0.00039403 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6810-4_1_2_load_17 | 13 | 0.0020234 | 0.00050712 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6810-4_1_2_load_19 | 16 | 0.0024327 | 0.00060969 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6810-4_1_2_load_20 | 17 | 0.0015287 | 0.00038312 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6810-4_1_2_load_21 | 18 | 0.0038095 | 0.00095475 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6810-4_1_2_load_22 | 19 | 0.00072455 | 0.00018159 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6810-4_1_2_load_23 | 20 | 0.00136 | 0.00034084 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6810-4_1_2_load_24 | 22 | 0.001769 | 0.00044336 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6810-4_1_2_load_26 | 23 | 0.003333 | 0.00083532 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6810-4_1_2_load_27 | 24 | 0.0016948 | 0.00042476 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6810-4_1_2_load_28 | 25 | 0.0043041 | 0.0010787 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6810-4_1_2_load_29 | 26 | 0.0021722 | 0.0005444 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6810-4_1_2_load_37 | 27 | 0.0012889 | 0.00032303 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6810-4_1_2_load_31 | 28 | 0.00038289 | 9.5962e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6810-4_1_2_load_32 | 29 | 0.0008687 | 0.00021772 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6810-4_1_2_load_42 | 32 | 0.00060291 | 0.0001511 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6810-4_1_2_load_39 | 33 | 0.002027 | 0.00050802 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6810-4_1_2_load_40 | 34 | 0.001394 | 0.00034936 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6810-4_1_2_load_35 | 35 | 0.0022421 | 0.00056192 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6810-4_1_2_load_38 | 36 | 0.0018737 | 0.0004696 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6810-4_1_2_load_81 | 37 | 0.002726 | 0.00068321 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6810-4_1_2_load_61 | 38 | 0.00035181 | 8.8173e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6810-4_1_2_load_89 | 39 | 0.00098912 | 0.0002479 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6810-4_1_2_load_56 | 41 | 0.00050622 | 0.00012687 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6810-4_1_2_load_57 | 42 | 0.00060378 | 0.00015132 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6810-4_1_2_load_58 | 43 | 0.0005158 | 0.00012927 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6810-4_1_2_load_60 | 45 | 0.00051454 | 0.00012896 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6810-4_1_2_load_72 | 46 | 0.00099853 | 0.00025025 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6810-4_1_2_load_69 | 47 | 0.00045363 | 0.00011369 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6810-4_1_2_load_63 | 49 | 0.0014566 | 0.00036507 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6810-4_1_2_load_70 | 50 | 0.00030394 | 7.6174e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6810-4_1_2_load_71 | 51 | 0.001267 | 0.00031753 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6810-4_1_2_load_75 | 52 | 0.0015348 | 0.00038466 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6810-4_1_2_load_78 | 53 | 0.00079167 | 0.00019841 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6810-4_1_2_load_76 | 54 | 0.00079854 | 0.00020013 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6810-4_1_2_load_79 | 55 | 0.00081414 | 0.00020404 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6810-4_1_2_load_82 | 56 | 0.00083592 | 0.0002095 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6810-4_1_2_load_88 | 57 | 0.00073085 | 0.00018317 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6810-4_1_2_load_86 | 59 | 0.00043976 | 0.00011021 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6810-4_1_2_load_84 | 60 | 0.0010703 | 0.00026824 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6810-4_1_2_load_87 | 61 | 0.0014545 | 0.00036453 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6810-4_1_2_load_96 | 62 | 0.00029431 | 7.3762e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6810-4_1_2_load_90 | 63 | 0.0064804 | 0.0016241 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6810-4_1_2_load_91 | 64 | 0.0016634 | 0.00041688 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6810-4_1_2_load_92 | 65 | 0.001227 | 0.00030751 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6810-4_1_2_load_102 | 66 | 0.0023885 | 0.00059862 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6810-4_1_2_load_93 | 67 | 0.0013291 | 0.00033311 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6810-4_1_2_load_97 | 70 | 0.00093744 | 0.00023494 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6810-4_1_2_load_98 | 71 | 0.00021022 | 5.2687e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6810-4_1_2_load_99 | 72 | 0.00055534 | 0.00013918 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6810-4_1_2_load_100 | 74 | 0.0021444 | 0.00053743 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6810-4_1_2_load_101 | 75 | 0.0014554 | 0.00036476 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6810-4_1_2_load_105 | 76 | 0.0007813 | 0.00019581 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6810-4_1_2_load_104 | 77 | 0.00064843 | 0.00016251 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6810-4_1_2_load_106 | 78 | 0.0012316 | 0.00030867 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6810-4_1_2_load_110 | 79 | 0.0036325 | 0.0009104 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6810-4_1_2_load_107 | 80 | 0.0016271 | 0.00040778 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6810-4_1_2_load_108 | 81 | 0.0010929 | 0.00027392 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6810-4_1_2_load_109 | 82 | 0.00088412 | 0.00022158 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6810-4_1_2_load_111 | 83 | 0.0011834 | 0.0002966 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6810-4_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6810-4_1_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.023587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6810-4_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.022033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6810-4_1_2_line_3 | NAYY 4x150 SE | 3 | 8 | 0.01088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6810-4_1_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.23877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6810-4_1_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.055741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6810-4_1_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.038901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6810-4_1_2_line_7 | NAYY 4x150 SE | 7 | 32 | 0.0028902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6810-4_1_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.0059517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6810-4_1_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.04426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6810-4_1_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.037836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6810-4_1_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.041792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6810-4_1_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.15748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6810-4_1_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.098461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6810-4_1_2_line_14 | NAYY 4x150 SE | 14 | 15 | 0.2988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6810-4_1_2_line_15 | NAYY 4x150 SE | 15 | 83 | 0.048252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6810-4_1_2_line_16 | NAYY 4x150 SE | 16 | 17 | 0.011929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6810-4_1_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0066142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6810-4_1_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.018651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6810-4_1_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.027087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6810-4_1_2_line_20 | NAYY 4x150 SE | 19 | 21 | 0.028879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6810-4_1_2_line_21 | NAYY 4x150 SE | 20 | 22 | 0.0047662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6810-4_1_2_line_22 | NAYY 4x150 SE | 21 | 39 | 0.018553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6810-4_1_2_line_23 | NAYY 4x150 SE | 21 | 40 | 0.030546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6810-4_1_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.0012752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6810-4_1_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.012168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6810-4_1_2_line_26 | NAYY 4x150 SE | 24 | 26 | 0.013445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6810-4_1_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.044879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6810-4_1_2_line_28 | NAYY 4x150 SE | 27 | 36 | 0.040064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6810-4_1_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.014206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6810-4_1_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.0036595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6810-4_1_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.028411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6810-4_1_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.11914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6810-4_1_2_line_33 | NAYY 4x150 SE | 31 | 33 | 0.029941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6810-4_1_2_line_34 | NAYY 4x150 SE | 31 | 34 | 0.042995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6810-4_1_2_line_35 | NAYY 4x150 SE | 33 | 35 | 0.015283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6810-4_1_2_line_36 | NAYY 4x150 SE | 34 | 38 | 0.031183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6810-4_1_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.0051744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6810-4_1_2_line_38 | NAYY 4x150 SE | 37 | 57 | 0.020214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6810-4_1_2_line_39 | NAYY 4x150 SE | 38 | 48 | 0.037497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6810-4_1_2_line_40 | NAYY 4x150 SE | 39 | 57 | 0.018779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6810-4_1_2_line_41 | NAYY 4x150 SE | 40 | 61 | 0.005012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6810-4_1_2_line_42 | NAYY 4x150 SE | 40 | 60 | 0.019099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6810-4_1_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.014389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6810-4_1_2_line_44 | NAYY 4x150 SE | 41 | 43 | 0.013278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6810-4_1_2_line_45 | NAYY 4x150 SE | 42 | 44 | 0.036659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6810-4_1_2_line_46 | NAYY 4x150 SE | 43 | 45 | 0.017806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6810-4_1_2_line_47 | NAYY 4x150 SE | 44 | 46 | 0.011903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6810-4_1_2_line_48 | NAYY 4x150 SE | 44 | 47 | 0.049909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6810-4_1_2_line_49 | NAYY 4x150 SE | 45 | 48 | 0.0614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6810-4_1_2_line_50 | NAYY 4x150 SE | 46 | 53 | 0.007526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6810-4_1_2_line_51 | NAYY 4x150 SE | 47 | 50 | 0.022259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6810-4_1_2_line_52 | NAYY 4x150 SE | 48 | 49 | 0.11993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6810-4_1_2_line_53 | NAYY 4x150 SE | 50 | 51 | 0.010112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6810-4_1_2_line_54 | NAYY 4x150 SE | 51 | 52 | 0.02719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6810-4_1_2_line_55 | NAYY 4x150 SE | 52 | 54 | 0.061212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6810-4_1_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.0081117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6810-4_1_2_line_57 | NAYY 4x150 SE | 55 | 56 | 0.025127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6810-4_1_2_line_58 | NAYY 4x150 SE | 56 | 58 | 0.0032185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6810-4_1_2_line_59 | NAYY 4x150 SE | 58 | 59 | 0.017983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6810-4_1_2_line_60 | NAYY 4x150 SE | 58 | 60 | 0.010113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6810-4_1_2_line_61 | NAYY 4x150 SE | 59 | 62 | 0.012168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6810-4_1_2_line_62 | NAYY 4x150 SE | 61 | 63 | 0.01194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6810-4_1_2_line_63 | NAYY 4x150 SE | 62 | 68 | 0.010713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6810-4_1_2_line_64 | NAYY 4x150 SE | 63 | 64 | 0.013141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6810-4_1_2_line_65 | NAYY 4x150 SE | 64 | 65 | 0.018765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6810-4_1_2_line_66 | NAYY 4x150 SE | 65 | 66 | 0.021931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6810-4_1_2_line_67 | NAYY 4x150 SE | 66 | 76 | 0.019565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6810-4_1_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.0012412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6810-4_1_2_line_69 | NAYY 4x150 SE | 67 | 69 | 0.015641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6810-4_1_2_line_70 | NAYY 4x150 SE | 68 | 70 | 0.017896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6810-4_1_2_line_71 | NAYY 4x150 SE | 69 | 71 | 0.010481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6810-4_1_2_line_72 | NAYY 4x150 SE | 69 | 72 | 0.033123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6810-4_1_2_line_73 | NAYY 4x150 SE | 70 | 73 | 0.019347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6810-4_1_2_line_74 | NAYY 4x150 SE | 71 | 74 | 0.033671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6810-4_1_2_line_75 | NAYY 4x150 SE | 73 | 77 | 0.043832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6810-4_1_2_line_76 | NAYY 4x150 SE | 74 | 75 | 0.025683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6810-4_1_2_line_77 | NAYY 4x150 SE | 76 | 78 | 0.0028056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6810-4_1_2_line_78 | NAYY 4x150 SE | 78 | 79 | 0.013558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6810-4_1_2_line_79 | NAYY 4x150 SE | 79 | 81 | 0.012867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6810-4_1_2_line_80 | NAYY 4x150 SE | 80 | 81 | 0.016418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6810-4_1_2_line_81 | NAYY 4x150 SE | 80 | 82 | 0.002425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6810-4_1_2_line_82 | NAYY 4x150 SE | 82 | 83 | 0.012715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6810-4_1_2_trafo_22 | 0.25 MVA 20/0.4 kV | 84 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2582254.4922 | 1253002.5891 | 2582249.2727 | 1253003.1608 | 2582244.1387 | 1253004.5438 | 2582236.5987 | 1253007.4821
1 | 2582254.4922 | 1253002.5891 | 2582261.7181 | 1252991.8047 | 2582268.8365 | 1252983.9424
2 | 2582283.6245 | 1252967.6088 | 2582268.8365 | 1252983.9424
3 | 2582283.6245 | 1252967.6088 | 2582290.9266 | 1252959.5437
4 | 2583300.8299 | 1252846.9961 | 2583312.4348 | 1252881.7083 | 2583326.0271 | 1252901.5829 | 2583351.1218 | 1252920.0574 | 2583359.6161 | 1252932.853 | 2583360.6642 | 1252943.3125 | 2583352.5649 | 1252952.7749 | 2583341.7358 | 1252952.1384 | 2583311.9211 | 1252940.0704 | 2583279.4434 | 1252941.5189 | 2583261.8521 | 1252942.9142 | 2583248.3373 | 1252950.3798
5 | 2583289.8475 | 1252792.3802 | 2583298.0771 | 1252828.7919 | 2583300.8299 | 1252846.9961
6 | 2583289.8475 | 1252792.3802 | 2583287.4457 | 1252780.9128 | 2583281.7765 | 1252764.0066 | 2583281.9344 | 1252754.6545
7 | 2583281.9832 | 1252751.7647 | 2583281.9344 | 1252754.6545
8 | 2582294.9212 | 1252955.1316 | 2582290.9266 | 1252959.5437
9 | 2582323.55 | 1252921.3948 | 2582305.8687 | 1252943.0399 | 2582294.9212 | 1252955.1316
10 | 2582335.6586 | 1252885.7239 | 2582330.9561 | 1252905.2286 | 2582323.55 | 1252921.3948
11 | 2582323.55 | 1252921.3948 | 2582310.6543 | 1252918.5761 | 2582296.4617 | 1252913.4931 | 2582284.1537 | 1252907.9077
12 | 2582335.6586 | 1252885.7239 | 2582333.7491 | 1252870.4196 | 2582323.4649 | 1252835.205 | 2582312.6889 | 1252799.5694 | 2582301.9001 | 1252759.72 | 2582295.5402 | 1252733.6226
13 | 2582297.2797 | 1252635.8079 | 2582291.9899 | 1252678.3629 | 2582292.0451 | 1252709.272 | 2582293.3361 | 1252724.5782 | 2582295.5402 | 1252733.6226
14 | 2582588.0776 | 1252567.1411 | 2582297.2797 | 1252635.8079
15 | 2582588.0776 | 1252567.1411 | 2582621.5241 | 1252576.2818 | 2582634.8523 | 1252578.8798
16 | 2582789.2458 | 1252654.5994 | 2582791.5315 | 1252642.8917
17 | 2582789.2458 | 1252654.5994 | 2582787.9785 | 1252661.091
18 | 2582791.5315 | 1252642.8917 | 2582792.5584 | 1252637.6315 | 2582794.9403 | 1252624.5555
19 | 2582782.7884 | 1252687.6758 | 2582787.9785 | 1252661.091
20 | 2582798.707 | 1252595.9417 | 2582796.7024 | 1252614.8822 | 2582794.9403 | 1252624.5555
21 | 2582782.7884 | 1252687.6758 | 2582781.8752 | 1252692.3537
22 | 2582798.707 | 1252595.9417 | 2582810.7002 | 1252597.0407 | 2582817.123 | 1252598.1025
23 | 2582782.4034 | 1252570.9506 | 2582786.3115 | 1252575.9091 | 2582794.3847 | 1252583.4794 | 2582798.707 | 1252595.9417
24 | 2582940.9097 | 1252666.8647 | 2582939.8774 | 1252666.116
25 | 2582940.9097 | 1252666.8647 | 2582945.3058 | 1252670.0533 | 2582950.6794 | 1252674.117
26 | 2582928.9935 | 1252658.2218 | 2582939.8774 | 1252666.116
27 | 2582928.9935 | 1252658.2218 | 2582912.754 | 1252646.4432 | 2582892.4694 | 1252632.6596 | 2582892.2209 | 1252632.5044
28 | 2582892.2209 | 1252632.5044 | 2582881.6218 | 1252625.8866 | 2582859.7062 | 1252609.1615 | 2582859.7062 | 1252609.1615
29 | 2583291.388 | 1252631.4418 | 2583279.1145 | 1252624.2887
30 | 2583294.5497 | 1252633.2845 | 2583291.388 | 1252631.4418
31 | 2583254.5676 | 1252609.9826 | 2583279.1145 | 1252624.2887
32 | 2583294.5497 | 1252633.2845 | 2583281.9832 | 1252751.7647
33 | 2583254.5676 | 1252609.9826 | 2583262.4627 | 1252594.917 | 2583272.5963 | 1252586.8829
34 | 2583254.5676 | 1252609.9826 | 2583240.3912 | 1252602.6292 | 2583215.2518 | 1252592.7123
35 | 2583287.7241 | 1252586.0805 | 2583280.6207 | 1252585.4481 | 2583272.5963 | 1252586.8829 | 2583272.5963 | 1252586.8829
36 | 2583186.107 | 1252581.6375 | 2583195.6183 | 1252584.9673 | 2583215.2518 | 1252592.7123
37 | 2582854.9522 | 1252607.1187 | 2582859.7062 | 1252609.1615
38 | 2582854.9522 | 1252607.1187 | 2582853.9493 | 1252606.6878 | 2582836.609 | 1252601.3236 | 2582835.6503 | 1252601.1651
39 | 2583150.7223 | 1252569.2296 | 2583156.1153 | 1252571.1376 | 2583186.107 | 1252581.6375
40 | 2582835.6503 | 1252601.1651 | 2582817.123 | 1252598.1025
41 | 2582782.4034 | 1252570.9506 | 2582777.7767 | 1252572.8776
42 | 2582782.4034 | 1252570.9506 | 2582788.6488 | 1252567.5412 | 2582799.0913 | 1252561.6614
43 | 2583062.9384 | 1252540.2495 | 2583048.8955 | 1252537.1119
44 | 2583062.9384 | 1252540.2495 | 2583065.4507 | 1252540.8108 | 2583075.7145 | 1252543.8498
45 | 2583012.5041 | 1252533.4027 | 2583040.4434 | 1252535.2235 | 2583048.8955 | 1252537.1119
46 | 2583092.7876 | 1252548.9048 | 2583075.7145 | 1252543.8498
47 | 2583012.5041 | 1252533.4027 | 2583011.1359 | 1252521.5789
48 | 2583012.5041 | 1252533.4027 | 2583002.3835 | 1252532.7426 | 2582962.6244 | 1252531.9432
49 | 2583150.7223 | 1252569.2296 | 2583095.5381 | 1252549.7192 | 2583092.7876 | 1252548.9048
50 | 2583011.1359 | 1252521.5789 | 2583010.6546 | 1252517.4198 | 2583009.6307 | 1252514.2415
51 | 2582962.6244 | 1252531.9432 | 2582955.4845 | 1252531.7996 | 2582940.4872 | 1252533.7033
52 | 2583150.7223 | 1252569.2296 | 2583138.482 | 1252571.3993 | 2583120.5301 | 1252571.1061 | 2583092.8163 | 1252566.249 | 2583076.2219 | 1252563.0612 | 2583069.7256 | 1252563.2466 | 2583066.6658 | 1252567.1691 | 2583057.1822 | 1252599.0729
53 | 2582930.4554 | 1252534.9767 | 2582940.4872 | 1252533.7033
54 | 2582930.4554 | 1252534.9767 | 2582921.6019 | 1252536.1005 | 2582903.6729 | 1252539.5896
55 | 2582903.6729 | 1252539.5896 | 2582851.2483 | 1252549.7916 | 2582843.4496 | 1252550.0726
56 | 2582835.3432 | 1252550.3648 | 2582843.4496 | 1252550.0726
57 | 2582835.3432 | 1252550.3648 | 2582829.0967 | 1252550.5899 | 2582817.2279 | 1252553.3374 | 2582810.9313 | 1252555.6083
58 | 2582807.9037 | 1252556.7001 | 2582810.9313 | 1252555.6083
59 | 2582807.9037 | 1252556.7001 | 2582808.5614 | 1252539.0088 | 2582808.6137 | 1252538.7345
60 | 2582807.9037 | 1252556.7001 | 2582803.2181 | 1252559.3378 | 2582799.0913 | 1252561.6614
61 | 2582810.8941 | 1252526.7817 | 2582808.6137 | 1252538.7345
62 | 2582766.7237 | 1252577.3888 | 2582767.8355 | 1252577.0083 | 2582775.0102 | 1252574.0298 | 2582777.7767 | 1252572.8776
63 | 2582812.9017 | 1252516.259 | 2582810.8941 | 1252526.7817
64 | 2582766.7237 | 1252577.3888 | 2582757.7119 | 1252580.4735 | 2582754.2438 | 1252581.4986
65 | 2582754.2438 | 1252581.4986 | 2582749.0495 | 1252583.0338 | 2582737.0688 | 1252586.2043 | 2582736.1225 | 1252586.3399
66 | 2582714.3644 | 1252588.8873 | 2582719.397 | 1252588.7356 | 2582736.1225 | 1252586.3399
67 | 2582714.3644 | 1252588.8873 | 2582706.3216 | 1252589.1297 | 2582694.8435 | 1252588.1688
68 | 2582812.9017 | 1252516.259 | 2582813.1683 | 1252515.0468
69 | 2582816.5283 | 1252499.7709 | 2582813.1683 | 1252515.0468
70 | 2582812.9017 | 1252516.259 | 2582795.4373 | 1252512.3522
71 | 2582816.5283 | 1252499.7709 | 2582818.7818 | 1252489.5354
72 | 2582849.6 | 1252496.7726 | 2582837.2661 | 1252497.9204 | 2582832.0392 | 1252498.7139 | 2582816.5283 | 1252499.7709
73 | 2582776.6127 | 1252507.9039 | 2582781.1589 | 1252509.1581 | 2582795.4373 | 1252512.3522
74 | 2582818.7818 | 1252489.5354 | 2582819.2986 | 1252487.1879 | 2582825.398 | 1252469.9143 | 2582828.0465 | 1252464.6921 | 2582830.147 | 1252460.4721 | 2582831.0132 | 1252458.2564
75 | 2582783.1414 | 1252464.5785 | 2582778.5173 | 1252498.6144 | 2582776.6127 | 1252507.9039
76 | 2582840.3651 | 1252434.3371 | 2582831.0132 | 1252458.2564
77 | 2582692.0477 | 1252587.9348 | 2582694.8435 | 1252588.1688
78 | 2582692.0477 | 1252587.9348 | 2582678.5372 | 1252586.8037
79 | 2582665.8277 | 1252584.9178 | 2582673.2185 | 1252586.3584 | 2582678.5372 | 1252586.8037
80 | 2582649.7126 | 1252581.7765 | 2582665.8277 | 1252584.9178
81 | 2582649.7126 | 1252581.7765 | 2582647.3324 | 1252581.3125
82 | 2582634.8523 | 1252578.8798 | 2582647.3324 | 1252581.3125

## bus_geodata
| x | y | coords
0 | 2582236.5987 | 1253007.4821
1 | 2582254.4922 | 1253002.5891
2 | 2582268.8365 | 1252983.9424
3 | 2582283.6245 | 1252967.6088
4 | 2583248.3373 | 1252950.3798
5 | 2583300.8299 | 1252846.9961
6 | 2583289.8475 | 1252792.3802
7 | 2583281.9344 | 1252754.6545
8 | 2582290.9266 | 1252959.5437
9 | 2582294.9212 | 1252955.1316
10 | 2582323.55 | 1252921.3948
11 | 2582335.6586 | 1252885.7239
12 | 2582284.1537 | 1252907.9077
13 | 2582295.5402 | 1252733.6226
14 | 2582297.2797 | 1252635.8079
15 | 2582588.0776 | 1252567.1411
16 | 2582789.2458 | 1252654.5994
17 | 2582791.5315 | 1252642.8917
18 | 2582787.9785 | 1252661.091
19 | 2582794.9403 | 1252624.5555
20 | 2582782.7884 | 1252687.6758
21 | 2582798.707 | 1252595.9417
22 | 2582781.8752 | 1252692.3537
23 | 2582940.9097 | 1252666.8647
24 | 2582939.8774 | 1252666.116
25 | 2582950.6794 | 1252674.117
26 | 2582928.9935 | 1252658.2218
27 | 2582892.2209 | 1252632.5044
28 | 2583291.388 | 1252631.4418
29 | 2583279.1145 | 1252624.2887
30 | 2583294.5497 | 1252633.2845
31 | 2583254.5676 | 1252609.9826
32 | 2583281.9832 | 1252751.7647
33 | 2583272.5963 | 1252586.8829
34 | 2583215.2518 | 1252592.7123
35 | 2583287.7241 | 1252586.0805
36 | 2582859.7062 | 1252609.1615
37 | 2582854.9522 | 1252607.1187
38 | 2583186.107 | 1252581.6375
39 | 2582817.123 | 1252598.1025
40 | 2582782.4034 | 1252570.9506
41 | 2583062.9384 | 1252540.2495
42 | 2583048.8955 | 1252537.1119
43 | 2583075.7145 | 1252543.8498
44 | 2583012.5041 | 1252533.4027
45 | 2583092.7876 | 1252548.9048
46 | 2583011.1359 | 1252521.5789
47 | 2582962.6244 | 1252531.9432
48 | 2583150.7223 | 1252569.2296
49 | 2583057.1822 | 1252599.0729
50 | 2582940.4872 | 1252533.7033
51 | 2582930.4554 | 1252534.9767
52 | 2582903.6729 | 1252539.5896
53 | 2583009.6307 | 1252514.2415
54 | 2582843.4496 | 1252550.0726
55 | 2582835.3432 | 1252550.3648
56 | 2582810.9313 | 1252555.6083
57 | 2582835.6503 | 1252601.1651
58 | 2582807.9037 | 1252556.7001
59 | 2582808.6137 | 1252538.7345
60 | 2582799.0913 | 1252561.6614
61 | 2582777.7767 | 1252572.8776
62 | 2582810.8941 | 1252526.7817
63 | 2582766.7237 | 1252577.3888
64 | 2582754.2438 | 1252581.4986
65 | 2582736.1225 | 1252586.3399
66 | 2582714.3644 | 1252588.8873
67 | 2582813.1683 | 1252515.0468
68 | 2582812.9017 | 1252516.259
69 | 2582816.5283 | 1252499.7709
70 | 2582795.4373 | 1252512.3522
71 | 2582818.7818 | 1252489.5354
72 | 2582849.6 | 1252496.7726
73 | 2582776.6127 | 1252507.9039
74 | 2582831.0132 | 1252458.2564
75 | 2582840.3651 | 1252434.3371
76 | 2582694.8435 | 1252588.1688
77 | 2582783.1414 | 1252464.5785
78 | 2582692.0477 | 1252587.9348
79 | 2582678.5372 | 1252586.8037
80 | 2582649.7126 | 1252581.7765
81 | 2582665.8277 | 1252584.9178
82 | 2582647.3324 | 1252581.3125
83 | 2582634.8523 | 1252578.8798
84 | 2582798.707 | 1252595.9417

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1