## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6810-6_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6810-6_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6810-6_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6810-6_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6810-6_0_5_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_6810-6_0_5_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_6810-6_0_5_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_6810-6_0_5_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_6810-6_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6810-6_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6810-6_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6810-6_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6810-6_0_5_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_6810-6_0_5_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_6810-6_0_5_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_6810-6_0_5_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_6810-6_0_5_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_6810-6_0_5_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_6810-6_0_5_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_6810-6_0_5_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_6810-6_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6810-6_0_5_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_6810-6_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_6810-6_0_5_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_6810-6_0_5_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_6810-6_0_5_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_6810-6_0_5_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_6810-6_0_5_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_6810-6_0_5_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_6810-6_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_6810-6_0_5_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_6810-6_0_5_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_6810-6_0_5_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_6810-6_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_6810-6_0_5_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_6810-6_0_5_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_6810-6_0_5_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_6810-6_0_5_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_6810-6_0_5_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_6810-6_0_5_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_6810-6_0_5_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_6810-6_0_5_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_6810-6_0_5_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_6810-6_0_5_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_6810-6_0_5_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6810-6_0_5_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_6810-6_0_5_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_6810-6_0_5_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_6810-6_0_5_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_6810-6_0_5_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_6810-6_0_5_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_6810-6_0_5_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_6810-6_0_5_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_6810-6_0_5_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_6810-6_0_5_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_6810-6_0_5_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_6810-6_0_5_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_6810-6_0_5_node_59 | 0.4 | n |  | TRUE
58 | bus_MV_342_0_node_138 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6810-6_0_5_load_0 | 0 | 0.054083 | 0.013554 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6810-6_0_5_load_1 | 1 | 0.021042 | 0.0052736 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6810-6_0_5_load_2 | 2 | 0.031485 | 0.007891 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6810-6_0_5_load_3 | 3 | 0.027433 | 0.0068754 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6810-6_0_5_load_13 | 5 | 0.00028098 | 7.0419e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6810-6_0_5_load_10 | 7 | 0.001099 | 0.00027544 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6810-6_0_5_load_6 | 8 | 0.007722 | 0.0019353 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6810-6_0_5_load_5 | 9 | 0.008328 | 0.0020872 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6810-6_0_5_load_8 | 11 | 0.0021454 | 0.00053768 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6810-6_0_5_load_14 | 13 | 0.00052308 | 0.0001311 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6810-6_0_5_load_29 | 16 | 0.0019905 | 0.00049886 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6810-6_0_5_load_30 | 17 | 0.00021685 | 5.4348e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6810-6_0_5_load_24 | 18 | 0.00070736 | 0.00017728 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6810-6_0_5_load_20 | 19 | 0.00055896 | 0.00014009 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6810-6_0_5_load_15 | 20 | 0.0031329 | 0.00078519 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6810-6_0_5_load_16 | 21 | 0.00091249 | 0.00022869 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6810-6_0_5_load_19 | 24 | 0.0062697 | 0.0015713 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6810-6_0_5_load_35 | 25 | 0.00081568 | 0.00020443 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6810-6_0_5_load_32 | 26 | 0.00087413 | 0.00021908 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6810-6_0_5_load_38 | 27 | 0.0021905 | 0.00054898 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6810-6_0_5_load_33 | 28 | 0.00094583 | 0.00023705 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6810-6_0_5_load_21 | 29 | 0.00080792 | 0.00020248 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6810-6_0_5_load_23 | 30 | 0.001137 | 0.00028497 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6810-6_0_5_load_50 | 32 | 0.00084232 | 0.0002111 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6810-6_0_5_load_25 | 34 | 0.0006216 | 0.00015579 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6810-6_0_5_load_48 | 35 | 0.00096113 | 0.00024088 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6810-6_0_5_load_46 | 36 | 0.00078352 | 0.00019637 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6810-6_0_5_load_31 | 38 | 0.00040247 | 0.00010087 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6810-6_0_5_load_34 | 39 | 0.0010831 | 0.00027145 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6810-6_0_5_load_49 | 40 | 0.0040845 | 0.0010237 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6810-6_0_5_load_51 | 41 | 0.0028738 | 0.00072025 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6810-6_0_5_load_36 | 42 | 0.0022151 | 0.00055516 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6810-6_0_5_load_37 | 43 | 0.0047818 | 0.0011984 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6810-6_0_5_load_40 | 45 | 0.0065677 | 0.001646 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6810-6_0_5_load_41 | 46 | 0.0049205 | 0.0012332 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6810-6_0_5_load_56 | 47 | 0.0049014 | 0.0012284 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6810-6_0_5_load_58 | 48 | 0.0026728 | 0.00066988 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6810-6_0_5_load_42 | 50 | 0.00098261 | 0.00024627 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6810-6_0_5_load_45 | 52 | 0.0041881 | 0.0010496 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6810-6_0_5_load_47 | 53 | 0.013285 | 0.0033296 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6810-6_0_5_load_54 | 54 | 0.0008296 | 0.00020792 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6810-6_0_5_load_55 | 55 | 0.0006952 | 0.00017423 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6810-6_0_5_load_52 | 56 | 0.0040975 | 0.0010269 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6810-6_0_5_load_59 | 57 | 0.0040965 | 0.0010267 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6810-6_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6810-6_0_5_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0015857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6810-6_0_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0052154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_6810-6_0_5_line_3 | NAYY 4x150 SE | 3 | 8 | 0.0071477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_6810-6_0_5_line_4 | NAYY 4x150 SE | 4 | 5 | 0.038816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_6810-6_0_5_line_5 | NAYY 4x150 SE | 4 | 6 | 0.11848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_6810-6_0_5_line_6 | NAYY 4x150 SE | 4 | 7 | 0.025951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6810-6_0_5_line_7 | NAYY 4x150 SE | 5 | 14 | 0.010696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_6810-6_0_5_line_8 | NAYY 4x150 SE | 6 | 10 | 0.10138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_6810-6_0_5_line_9 | NAYY 4x150 SE | 6 | 11 | 0.057179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6810-6_0_5_line_10 | NAYY 4x150 SE | 7 | 12 | 0.014269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6810-6_0_5_line_11 | NAYY 4x150 SE | 8 | 9 | 0.0052754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_6810-6_0_5_line_12 | NAYY 4x150 SE | 9 | 10 | 0.059978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_6810-6_0_5_line_13 | NAYY 4x150 SE | 12 | 13 | 0.091467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6810-6_0_5_line_14 | NAYY 4x150 SE | 13 | 15 | 0.024641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6810-6_0_5_line_15 | NAYY 4x150 SE | 14 | 16 | 0.018222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_6810-6_0_5_line_16 | NAYY 4x150 SE | 14 | 17 | 0.037813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6810-6_0_5_line_17 | NAYY 4x150 SE | 15 | 18 | 0.02876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6810-6_0_5_line_18 | NAYY 4x150 SE | 15 | 19 | 0.0056372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6810-6_0_5_line_19 | NAYY 4x150 SE | 16 | 24 | 0.015201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_6810-6_0_5_line_20 | NAYY 4x150 SE | 17 | 38 | 0.0081793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6810-6_0_5_line_21 | NAYY 4x150 SE | 18 | 32 | 0.084559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6810-6_0_5_line_22 | NAYY 4x150 SE | 19 | 29 | 0.032632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6810-6_0_5_line_23 | NAYY 4x150 SE | 20 | 21 | 0.086872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_6810-6_0_5_line_24 | NAYY 4x150 SE | 20 | 22 | 0.010741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_6810-6_0_5_line_25 | NAYY 4x150 SE | 21 | 23 | 0.028702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6810-6_0_5_line_26 | NAYY 4x150 SE | 22 | 24 | 0.012838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_6810-6_0_5_line_27 | NAYY 4x150 SE | 23 | 25 | 0.04047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6810-6_0_5_line_28 | NAYY 4x150 SE | 23 | 26 | 0.0074218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6810-6_0_5_line_29 | NAYY 4x150 SE | 25 | 27 | 0.036828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6810-6_0_5_line_30 | NAYY 4x150 SE | 26 | 28 | 0.043381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6810-6_0_5_line_31 | NAYY 4x150 SE | 28 | 39 | 0.030067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6810-6_0_5_line_32 | NAYY 4x150 SE | 29 | 30 | 0.0024896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6810-6_0_5_line_33 | NAYY 4x150 SE | 30 | 31 | 0.029535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6810-6_0_5_line_34 | NAYY 4x150 SE | 31 | 33 | 0.004592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6810-6_0_5_line_35 | NAYY 4x150 SE | 31 | 34 | 0.014947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6810-6_0_5_line_36 | NAYY 4x150 SE | 33 | 35 | 0.02579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6810-6_0_5_line_37 | NAYY 4x150 SE | 33 | 36 | 0.076632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6810-6_0_5_line_38 | NAYY 4x150 SE | 36 | 37 | 0.0647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6810-6_0_5_line_39 | NAYY 4x150 SE | 37 | 53 | 0.048257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6810-6_0_5_line_40 | NAYY 4x150 SE | 37 | 51 | 0.018072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6810-6_0_5_line_41 | NAYY 4x150 SE | 39 | 40 | 0.015492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6810-6_0_5_line_42 | NAYY 4x150 SE | 40 | 41 | 0.016938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6810-6_0_5_line_43 | NAYY 4x150 SE | 41 | 56 | 0.012968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6810-6_0_5_line_44 | NAYY 4x150 SE | 42 | 43 | 0.022821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6810-6_0_5_line_45 | NAYY 4x150 SE | 43 | 44 | 0.022814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6810-6_0_5_line_46 | NAYY 4x150 SE | 44 | 45 | 0.0044253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6810-6_0_5_line_47 | NAYY 4x150 SE | 44 | 46 | 0.049545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6810-6_0_5_line_48 | NAYY 4x150 SE | 45 | 47 | 0.011844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6810-6_0_5_line_49 | NAYY 4x150 SE | 46 | 48 | 0.0070849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6810-6_0_5_line_50 | NAYY 4x150 SE | 48 | 49 | 0.04026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6810-6_0_5_line_51 | NAYY 4x150 SE | 49 | 57 | 0.024277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6810-6_0_5_line_52 | NAYY 4x150 SE | 49 | 56 | 0.0079423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6810-6_0_5_line_53 | NAYY 4x150 SE | 50 | 51 | 0.064979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6810-6_0_5_line_54 | NAYY 4x150 SE | 51 | 52 | 0.025676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6810-6_0_5_line_55 | NAYY 4x150 SE | 52 | 54 | 0.0017856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6810-6_0_5_line_56 | NAYY 4x150 SE | 54 | 55 | 0.020892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6810-6_0_5_trafo_9 | 0.25 MVA 20/0.4 kV | 58 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2582456.278 | 1252546.6494 | 2582455.6739 | 1252546.6091 | 2582455.1995 | 1252546.6198
1 | 2582456.278 | 1252546.6494 | 2582457.8602 | 1252546.7551
2 | 2582449.9854 | 1252546.7376 | 2582455.1995 | 1252546.6198
3 | 2582442.8395 | 1252546.8991 | 2582449.9854 | 1252546.7376
4 | 2582267.1762 | 1252373.6371 | 2582269.005 | 1252369.5289 | 2582282.032 | 1252337.7787
5 | 2582267.1762 | 1252373.6371 | 2582360.3754 | 1252446.7834
6 | 2582267.1762 | 1252373.6371 | 2582243.8014 | 1252362.3657
7 | 2582286.092 | 1252327.8835 | 2582282.032 | 1252337.7787
8 | 2582377.7578 | 1252546.6637 | 2582360.3754 | 1252446.7834
9 | 2582360.3754 | 1252446.7834 | 2582366.5405 | 1252444.3411 | 2582412.2553 | 1252445.1606 | 2582416.4581 | 1252442.7889
10 | 2582230.9487 | 1252356.1681 | 2582243.8014 | 1252362.3657
11 | 2582437.5654 | 1252547.0183 | 2582442.8395 | 1252546.8991
12 | 2582377.7578 | 1252546.6637 | 2582382.5077 | 1252547.9059 | 2582397.8631 | 1252547.9156 | 2582437.5654 | 1252547.0183
13 | 2582230.9487 | 1252356.1681 | 2582207.6434 | 1252344.9866 | 2582193.2807 | 1252336.5688 | 2582181.9001 | 1252328.6202 | 2582174.6675 | 1252322.4603 | 2582169.5509 | 1252317.2946 | 2582158.2449 | 1252302.8819
14 | 2582141.0436 | 1252285.3487 | 2582147.0879 | 1252290.3337 | 2582154.9156 | 1252298.6377 | 2582158.2449 | 1252302.8819
15 | 2582286.092 | 1252327.8835 | 2582289.6545 | 1252315.6203 | 2582290.2308 | 1252310.1989
16 | 2582286.092 | 1252327.8835 | 2582279.2446 | 1252319.2762 | 2582272.1937 | 1252313.2602 | 2582265.8626 | 1252310.7553 | 2582258.9648 | 1252310.4981 | 2582255.4607 | 1252312.0541
17 | 2582141.0436 | 1252285.3487 | 2582143.1817 | 1252278.7268 | 2582141.7999 | 1252270.9926 | 2582138.9452 | 1252257.3434
18 | 2582141.0436 | 1252285.3487 | 2582136.3027 | 1252282.2989
19 | 2582290.2308 | 1252310.1989 | 2582290.6452 | 1252306.3001 | 2582289.6901 | 1252297.3304 | 2582289.1305 | 1252295.141
20 | 2582252.3897 | 1252319.635 | 2582255.4607 | 1252312.0541
21 | 2582138.2823 | 1252176.8434 | 2582136.8435 | 1252179.3141 | 2582130.5088 | 1252190.6073 | 2582127.5132 | 1252195.6531 | 2582127.5257 | 1252199.7779 | 2582127.8591 | 1252205.1805 | 2582132.6954 | 1252224.8565 | 2582137.2287 | 1252249.1365 | 2582138.9452 | 1252257.3434
22 | 2582107.2956 | 1252267.6346 | 2582107.9919 | 1252267.8597 | 2582116.1208 | 1252270.9704 | 2582124.0324 | 1252274.5599 | 2582127.7291 | 1252276.7835 | 2582136.3027 | 1252282.2989
23 | 2582231.9053 | 1252204.592 | 2582232.5465 | 1252212.9247 | 2582236.9812 | 1252222.1285 | 2582256.0582 | 1252239.8494 | 2582268.3163 | 1252250.9865 | 2582274.6638 | 1252258.9393 | 2582278.3095 | 1252269.3018 | 2582280.3087 | 1252273.3759
24 | 2582285.142 | 1252282.968 | 2582281.6654 | 1252276.1406 | 2582280.3087 | 1252273.3759
25 | 2582246.6802 | 1252182.829 | 2582242.8055 | 1252184.1527 | 2582235.0301 | 1252190.7026 | 2582231.6355 | 1252201.0864 | 2582231.9053 | 1252204.592
26 | 2582285.142 | 1252282.968 | 2582287.5521 | 1252288.9647 | 2582289.1305 | 1252295.141
27 | 2582246.6802 | 1252182.829 | 2582253.4571 | 1252180.496 | 2582285.6439 | 1252171.9465
28 | 2582246.6802 | 1252182.829 | 2582249.6264 | 1252176.0171
29 | 2582285.6439 | 1252171.9465 | 2582317.3444 | 1252163.5262 | 2582321.1722 | 1252162.2702
30 | 2582249.6264 | 1252176.0171 | 2582266.8469 | 1252136.2007
31 | 2582266.8469 | 1252136.2007 | 2582278.7824 | 1252108.604
32 | 2582107.2956 | 1252267.6346 | 2582104.9266 | 1252266.869
33 | 2582076.6173 | 1252258.471 | 2582092.6207 | 1252262.892 | 2582104.9266 | 1252266.869
34 | 2582076.6173 | 1252258.471 | 2582072.2064 | 1252257.1502
35 | 2582076.6173 | 1252258.471 | 2582070.4381 | 1252272.0811
36 | 2582072.2064 | 1252257.1502 | 2582071.2889 | 1252253.2394 | 2582069.5225 | 1252250.543 | 2582058.1853 | 1252239.6258 | 2582056.1453 | 1252237.6921
37 | 2582072.2064 | 1252257.1502 | 2582044.2681 | 1252248.7742 | 2582003.1428 | 1252234.1122 | 2581999.7772 | 1252232.3376
38 | 2581945.848 | 1252197.9414 | 2581951.0275 | 1252198.8928 | 2581955.9158 | 1252200.8347 | 2581972.6407 | 1252214.0589 | 2581987.7542 | 1252225.9983 | 2581999.7772 | 1252232.3376
39 | 2581945.848 | 1252197.9414 | 2581941.0714 | 1252197.956 | 2581936.3728 | 1252198.8043 | 2581931.9031 | 1252200.4746 | 2581927.473 | 1252202.7786 | 2581922.9104 | 1252206.1281 | 2581919.3958 | 1252209.2076 | 2581914.4396 | 1252214.6264 | 2581907.4185 | 1252223.4346
40 | 2581945.848 | 1252197.9414 | 2581947.089 | 1252189.2096 | 2581945.9441 | 1252180.0293
41 | 2582285.1218 | 1252094.4724 | 2582283.0861 | 1252098.6532 | 2582278.7824 | 1252108.604
42 | 2582292.5367 | 1252079.2441 | 2582285.1218 | 1252094.4724
43 | 2582292.5367 | 1252079.2441 | 2582297.741 | 1252068.5561 | 2582298.5292 | 1252067.8177
44 | 2582376.244 | 1252135.1262 | 2582385.6631 | 1252114.3392
45 | 2582395.0793 | 1252093.5588 | 2582385.6631 | 1252114.3392
46 | 2582395.0793 | 1252093.5588 | 2582397.0252 | 1252089.5843
47 | 2582395.0793 | 1252093.5588 | 2582354.9732 | 1252074.0881 | 2582350.2308 | 1252072.6257
48 | 2582397.0252 | 1252089.5843 | 2582402.2333 | 1252078.9465
49 | 2582343.4606 | 1252070.5379 | 2582350.2308 | 1252072.6257
50 | 2582304.3254 | 1252062.3878 | 2582319.7298 | 1252063.2199 | 2582343.4606 | 1252070.5379
51 | 2582304.3254 | 1252062.3878 | 2582303.6762 | 1252057.2975 | 2582310.8962 | 1252039.5653
52 | 2582304.3254 | 1252062.3878 | 2582298.5292 | 1252067.8177
53 | 2581945.9441 | 1252180.0293 | 2581929.4509 | 1252124.3099 | 2581927.7284 | 1252117.6594
54 | 2581945.9441 | 1252180.0293 | 2581951.5921 | 1252176.2762 | 2581966.6159 | 1252164.8182
55 | 2581968.0357 | 1252163.7353 | 2581966.6159 | 1252164.8182
56 | 2581985.6063 | 1252152.8235 | 2581979.4026 | 1252155.0661 | 2581968.0357 | 1252163.7353

## bus_geodata
| x | y | coords
0 | 2582456.278 | 1252546.6494
1 | 2582455.1995 | 1252546.6198
2 | 2582457.8602 | 1252546.7551
3 | 2582449.9854 | 1252546.7376
4 | 2582267.1762 | 1252373.6371
5 | 2582282.032 | 1252337.7787
6 | 2582360.3754 | 1252446.7834
7 | 2582243.8014 | 1252362.3657
8 | 2582442.8395 | 1252546.8991
9 | 2582437.5654 | 1252547.0183
10 | 2582377.7578 | 1252546.6637
11 | 2582416.4581 | 1252442.7889
12 | 2582230.9487 | 1252356.1681
13 | 2582158.2449 | 1252302.8819
14 | 2582286.092 | 1252327.8835
15 | 2582141.0436 | 1252285.3487
16 | 2582290.2308 | 1252310.1989
17 | 2582255.4607 | 1252312.0541
18 | 2582138.9452 | 1252257.3434
19 | 2582136.3027 | 1252282.2989
20 | 2582280.3087 | 1252273.3759
21 | 2582231.9053 | 1252204.592
22 | 2582285.142 | 1252282.968
23 | 2582246.6802 | 1252182.829
24 | 2582289.1305 | 1252295.141
25 | 2582285.6439 | 1252171.9465
26 | 2582249.6264 | 1252176.0171
27 | 2582321.1722 | 1252162.2702
28 | 2582266.8469 | 1252136.2007
29 | 2582107.2956 | 1252267.6346
30 | 2582104.9266 | 1252266.869
31 | 2582076.6173 | 1252258.471
32 | 2582138.2823 | 1252176.8434
33 | 2582072.2064 | 1252257.1502
34 | 2582070.4381 | 1252272.0811
35 | 2582056.1453 | 1252237.6921
36 | 2581999.7772 | 1252232.3376
37 | 2581945.848 | 1252197.9414
38 | 2582252.3897 | 1252319.635
39 | 2582278.7824 | 1252108.604
40 | 2582285.1218 | 1252094.4724
41 | 2582292.5367 | 1252079.2441
42 | 2582376.244 | 1252135.1262
43 | 2582385.6631 | 1252114.3392
44 | 2582395.0793 | 1252093.5588
45 | 2582397.0252 | 1252089.5843
46 | 2582350.2308 | 1252072.6257
47 | 2582402.2333 | 1252078.9465
48 | 2582343.4606 | 1252070.5379
49 | 2582304.3254 | 1252062.3878
50 | 2581927.7284 | 1252117.6594
51 | 2581945.9441 | 1252180.0293
52 | 2581966.6159 | 1252164.8182
53 | 2581907.4185 | 1252223.4346
54 | 2581968.0357 | 1252163.7353
55 | 2581985.6063 | 1252152.8235
56 | 2582298.5292 | 1252067.8177
57 | 2582310.8962 | 1252039.5653
58 | 2582339.749 | 1252523.5512

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1