## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_683-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_683-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_683-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_683-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_683-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_683-1_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_683-1_0_2_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_683-1_0_2_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_683-1_0_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_683-1_0_2_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_683-1_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_683-1_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_683-1_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_683-1_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_683-1_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_683-1_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_683-1_0_2_node_82 | 0.4 | n |  | TRUE
17 | bus_LV_683-1_0_2_node_84 | 0.4 | n |  | TRUE
18 | bus_LV_683-1_0_2_node_80 | 0.4 | n |  | TRUE
19 | bus_LV_683-1_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_683-1_0_2_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_683-1_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_683-1_0_2_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_683-1_0_2_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_683-1_0_2_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_683-1_0_2_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_683-1_0_2_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_683-1_0_2_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_683-1_0_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_683-1_0_2_node_85 | 0.4 | n |  | TRUE
30 | bus_LV_683-1_0_2_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_683-1_0_2_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_683-1_0_2_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_683-1_0_2_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_683-1_0_2_node_83 | 0.4 | n |  | TRUE
35 | bus_LV_683-1_0_2_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_683-1_0_2_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_683-1_0_2_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_683-1_0_2_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_683-1_0_2_node_81 | 0.4 | n |  | TRUE
40 | bus_LV_683-1_0_2_node_78 | 0.4 | n |  | TRUE
41 | bus_LV_683-1_0_2_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_683-1_0_2_node_79 | 0.4 | n |  | TRUE
43 | bus_LV_683-1_0_2_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_683-1_0_2_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_683-1_0_2_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_683-1_0_2_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_683-1_0_2_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_683-1_0_2_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_683-1_0_2_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_683-1_0_2_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_683-1_0_2_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_683-1_0_2_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_683-1_0_2_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_683-1_0_2_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_683-1_0_2_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_683-1_0_2_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_683-1_0_2_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_683-1_0_2_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_683-1_0_2_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_683-1_0_2_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_683-1_0_2_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_683-1_0_2_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_683-1_0_2_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_683-1_0_2_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_683-1_0_2_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_683-1_0_2_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_683-1_0_2_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_683-1_0_2_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_683-1_0_2_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_683-1_0_2_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_683-1_0_2_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_683-1_0_2_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_683-1_0_2_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_683-1_0_2_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_683-1_0_2_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_683-1_0_2_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_683-1_0_2_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_683-1_0_2_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_683-1_0_2_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_683-1_0_2_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_683-1_0_2_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_683-1_0_2_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_683-1_0_2_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_683-1_0_2_node_76 | 0.4 | n |  | TRUE
85 | bus_MV_311_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_683-1_0_2_load_0 | 0 | 0.0037407 | 0.00093751 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_683-1_0_2_load_1 | 1 | 0.00066945 | 0.00016778 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_683-1_0_2_load_3 | 3 | 0.0029295 | 0.0007342 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_683-1_0_2_load_4 | 4 | 0.0009669 | 0.00024233 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_683-1_0_2_load_11 | 6 | 0.0037064 | 0.00092892 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_683-1_0_2_load_31 | 7 | 0.0014432 | 0.00036169 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_683-1_0_2_load_30 | 9 | 0.001196 | 0.00029974 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_683-1_0_2_load_6 | 10 | 0.0015009 | 0.00037616 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_683-1_0_2_load_7 | 11 | 0.0025711 | 0.00064437 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_683-1_0_2_load_9 | 12 | 0.0026011 | 0.0006519 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_683-1_0_2_load_10 | 13 | 0.0028579 | 0.00071624 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_683-1_0_2_load_12 | 14 | 0.0025756 | 0.00064551 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_683-1_0_2_load_13 | 15 | 0.0038261 | 0.00095892 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_683-1_0_2_load_82 | 16 | 0.00036609 | 9.1752e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_683-1_0_2_load_84 | 17 | 0.0015014 | 0.00037627 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_683-1_0_2_load_80 | 18 | 0.0020575 | 0.00051567 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_683-1_0_2_load_14 | 19 | 0.0018585 | 0.00046577 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_683-1_0_2_load_15 | 20 | 0.00092324 | 0.00023139 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_683-1_0_2_load_16 | 21 | 0.00089497 | 0.0002243 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_683-1_0_2_load_17 | 22 | 0.0034887 | 0.00087434 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_683-1_0_2_load_27 | 25 | 0.0020007 | 0.00050141 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_683-1_0_2_load_28 | 26 | 0.00087199 | 0.00021854 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_683-1_0_2_load_20 | 28 | 0.00069982 | 0.00017539 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_683-1_0_2_load_85 | 29 | 0.0044765 | 0.0011219 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_683-1_0_2_load_45 | 30 | 0.00095153 | 0.00023848 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_683-1_0_2_load_25 | 32 | 0.00080922 | 0.00020281 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_683-1_0_2_load_21 | 33 | 0.0032628 | 0.00081773 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_683-1_0_2_load_83 | 34 | 0.0013019 | 0.00032629 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_683-1_0_2_load_22 | 35 | 0.002349 | 0.0005887 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_683-1_0_2_load_24 | 36 | 0.00049613 | 0.00012434 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_683-1_0_2_load_29 | 38 | 0.0050238 | 0.0012591 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_683-1_0_2_load_81 | 39 | 0.0027303 | 0.00068429 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_683-1_0_2_load_78 | 40 | 0.00079922 | 0.0002003 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_683-1_0_2_load_50 | 41 | 0.0009868 | 0.00024731 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_683-1_0_2_load_79 | 42 | 0.0027994 | 0.0007016 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_683-1_0_2_load_43 | 44 | 0.0015061 | 0.00037746 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_683-1_0_2_load_44 | 45 | 0.003125 | 0.00078321 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_683-1_0_2_load_33 | 47 | 0.0020367 | 0.00051046 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_683-1_0_2_load_34 | 48 | 0.00030789 | 7.7163e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_683-1_0_2_load_35 | 49 | 0.0026434 | 0.0006625 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_683-1_0_2_load_36 | 50 | 0.00076162 | 0.00019088 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_683-1_0_2_load_38 | 51 | 0.00026875 | 6.7354e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_683-1_0_2_load_37 | 52 | 0.0012536 | 0.00031418 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_683-1_0_2_load_39 | 53 | 0.0010445 | 0.00026178 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_683-1_0_2_load_40 | 54 | 0.0030013 | 0.0007522 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_683-1_0_2_load_41 | 55 | 0.0027137 | 0.00068012 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_683-1_0_2_load_46 | 56 | 0.0015847 | 0.00039715 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_683-1_0_2_load_47 | 57 | 0.0024623 | 0.00061712 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_683-1_0_2_load_61 | 59 | 0.0033328 | 0.00083528 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_683-1_0_2_load_54 | 60 | 0.0025083 | 0.00062863 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_683-1_0_2_load_49 | 62 | 0.0016869 | 0.00042277 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_683-1_0_2_load_60 | 64 | 0.0013681 | 0.00034287 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_683-1_0_2_load_55 | 65 | 0.0014072 | 0.00035268 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_683-1_0_2_load_67 | 66 | 0.001986 | 0.00049773 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_683-1_0_2_load_68 | 67 | 0.0013386 | 0.00033548 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_683-1_0_2_load_59 | 68 | 0.0029502 | 0.00073938 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_683-1_0_2_load_70 | 69 | 0.0032369 | 0.00081124 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_683-1_0_2_load_71 | 70 | 0.00061425 | 0.00015395 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_683-1_0_2_load_72 | 71 | 0.0020982 | 0.00052585 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_683-1_0_2_load_56 | 72 | 0.002106 | 0.00052782 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_683-1_0_2_load_57 | 73 | 0.0029308 | 0.00073454 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_683-1_0_2_load_53 | 74 | 0.0040661 | 0.0010191 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_683-1_0_2_load_58 | 75 | 0.0015815 | 0.00039636 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_683-1_0_2_load_63 | 76 | 0.0021902 | 0.00054892 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_683-1_0_2_load_64 | 77 | 0.0017626 | 0.00044175 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_683-1_0_2_load_77 | 80 | 0.0016319 | 0.000409 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_683-1_0_2_load_73 | 81 | 0.0030514 | 0.00076475 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_683-1_0_2_load_74 | 82 | 0.0013066 | 0.00032747 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_683-1_0_2_load_75 | 83 | 0.0021821 | 0.00054689 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_683-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_683-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_683-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_683-1_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.054329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_683-1_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.036228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_683-1_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.02069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_683-1_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.019886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_683-1_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.023824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_683-1_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.017619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_683-1_0_2_line_9 | NAYY 4x150 SE | 8 | 13 | 0.031839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_683-1_0_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.0084731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_683-1_0_2_line_11 | NAYY 4x150 SE | 9 | 46 | 0.020678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_683-1_0_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.0043457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_683-1_0_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.030552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_683-1_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.00042007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_683-1_0_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0053886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_683-1_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.019287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_683-1_0_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.030102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_683-1_0_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0097937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_683-1_0_2_line_19 | NAYY 4x150 SE | 18 | 42 | 0.0051077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_683-1_0_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.012059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_683-1_0_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.002525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_683-1_0_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.025435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_683-1_0_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.031411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_683-1_0_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.039556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_683-1_0_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.021496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_683-1_0_2_line_26 | NAYY 4x150 SE | 24 | 26 | 0.010722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_683-1_0_2_line_27 | NAYY 4x150 SE | 24 | 27 | 0.029722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_683-1_0_2_line_28 | NAYY 4x150 SE | 25 | 30 | 0.0096179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_683-1_0_2_line_29 | NAYY 4x150 SE | 26 | 31 | 0.015655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_683-1_0_2_line_30 | NAYY 4x150 SE | 27 | 32 | 0.040816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_683-1_0_2_line_31 | NAYY 4x150 SE | 27 | 33 | 0.0088191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_683-1_0_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.013108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_683-1_0_2_line_33 | NAYY 4x150 SE | 29 | 34 | 0.021774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_683-1_0_2_line_34 | NAYY 4x150 SE | 30 | 43 | 0.042455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_683-1_0_2_line_35 | NAYY 4x150 SE | 31 | 44 | 0.018504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_683-1_0_2_line_36 | NAYY 4x150 SE | 31 | 45 | 0.010634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_683-1_0_2_line_37 | NAYY 4x150 SE | 32 | 38 | 0.0032955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_683-1_0_2_line_38 | NAYY 4x150 SE | 33 | 35 | 0.0090284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_683-1_0_2_line_39 | NAYY 4x150 SE | 34 | 39 | 0.00037642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_683-1_0_2_line_40 | NAYY 4x150 SE | 35 | 36 | 0.017097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_683-1_0_2_line_41 | NAYY 4x150 SE | 36 | 37 | 0.0083023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_683-1_0_2_line_42 | NAYY 4x150 SE | 37 | 39 | 0.017765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_683-1_0_2_line_43 | NAYY 4x150 SE | 37 | 40 | 0.001835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_683-1_0_2_line_44 | NAYY 4x150 SE | 38 | 41 | 0.008509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_683-1_0_2_line_45 | NAYY 4x150 SE | 40 | 42 | 0.030121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_683-1_0_2_line_46 | NAYY 4x150 SE | 43 | 60 | 0.0019066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_683-1_0_2_line_47 | NAYY 4x150 SE | 43 | 61 | 0.020731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_683-1_0_2_line_48 | NAYY 4x150 SE | 44 | 56 | 0.042635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_683-1_0_2_line_49 | NAYY 4x150 SE | 45 | 57 | 0.00036937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_683-1_0_2_line_50 | NAYY 4x150 SE | 46 | 47 | 0.02477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_683-1_0_2_line_51 | NAYY 4x150 SE | 46 | 48 | 0.025655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_683-1_0_2_line_52 | NAYY 4x150 SE | 47 | 49 | 0.039515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_683-1_0_2_line_53 | NAYY 4x150 SE | 48 | 50 | 0.01063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_683-1_0_2_line_54 | NAYY 4x150 SE | 50 | 51 | 0.0011397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_683-1_0_2_line_55 | NAYY 4x150 SE | 51 | 52 | 1.0516e-06 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_683-1_0_2_line_56 | NAYY 4x150 SE | 52 | 53 | 0.018992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_683-1_0_2_line_57 | NAYY 4x150 SE | 53 | 54 | 0.0061567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_683-1_0_2_line_58 | NAYY 4x150 SE | 54 | 55 | 0.0078061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_683-1_0_2_line_59 | NAYY 4x150 SE | 56 | 58 | 0.020952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_683-1_0_2_line_60 | NAYY 4x150 SE | 57 | 59 | 0.028787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_683-1_0_2_line_61 | NAYY 4x150 SE | 58 | 62 | 0.042631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_683-1_0_2_line_62 | NAYY 4x150 SE | 58 | 63 | 0.051856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_683-1_0_2_line_63 | NAYY 4x150 SE | 59 | 64 | 0.0083211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_683-1_0_2_line_64 | NAYY 4x150 SE | 61 | 74 | 0.025962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_683-1_0_2_line_65 | NAYY 4x150 SE | 62 | 65 | 0.0017874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_683-1_0_2_line_66 | NAYY 4x150 SE | 63 | 69 | 0.032686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_683-1_0_2_line_67 | NAYY 4x150 SE | 63 | 70 | 0.014314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_683-1_0_2_line_68 | NAYY 4x150 SE | 63 | 66 | 0.012706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_683-1_0_2_line_69 | NAYY 4x150 SE | 65 | 72 | 0.020118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_683-1_0_2_line_70 | NAYY 4x150 SE | 66 | 67 | 0.0058516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_683-1_0_2_line_71 | NAYY 4x150 SE | 67 | 68 | 0.025346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_683-1_0_2_line_72 | NAYY 4x150 SE | 68 | 73 | 0.015629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_683-1_0_2_line_73 | NAYY 4x150 SE | 70 | 71 | 0.010841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_683-1_0_2_line_74 | NAYY 4x150 SE | 73 | 75 | 0.02908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_683-1_0_2_line_75 | NAYY 4x150 SE | 75 | 76 | 0.014094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_683-1_0_2_line_76 | NAYY 4x150 SE | 76 | 77 | 0.010432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_683-1_0_2_line_77 | NAYY 4x150 SE | 77 | 78 | 0.012096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_683-1_0_2_line_78 | NAYY 4x150 SE | 78 | 79 | 0.012288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_683-1_0_2_line_79 | NAYY 4x150 SE | 79 | 80 | 0.042538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_683-1_0_2_line_80 | NAYY 4x150 SE | 80 | 84 | 0.017996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_683-1_0_2_line_81 | NAYY 4x150 SE | 81 | 82 | 0.0033503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_683-1_0_2_line_82 | NAYY 4x150 SE | 82 | 83 | 0.017906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_683-1_0_2_line_83 | NAYY 4x150 SE | 83 | 84 | 0.017381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_683-1_0_2_trafo_21 | 0.25 MVA 20/0.4 kV | 85 | 33 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2589277.8488 | 1234008.3822 | 2589282.6248 | 1234012.0925 | 2589299.0481 | 1234029.0827
1 | 2589264.2206 | 1233997.7951 | 2589277.8488 | 1234008.3822
2 | 2589313.4762 | 1234044.0089 | 2589299.0481 | 1234029.0827
3 | 2589264.2206 | 1233997.7951 | 2589256.6166 | 1233999.4877 | 2589253.7166 | 1234003.1063 | 2589251.1826 | 1234008.1918 | 2589249.5691 | 1234019.9685 | 2589250.8589 | 1234029.9278 | 2589257.2145 | 1234042.7271
4 | 2589343.4496 | 1234061.4233 | 2589336.9872 | 1234053.9971 | 2589318.7676 | 1234049.4829 | 2589313.4762 | 1234044.0089
5 | 2589343.4496 | 1234061.4233 | 2589346.2621 | 1234042.9181 | 2589346.649 | 1234040.9838
6 | 2589343.4496 | 1234061.4233 | 2589340.5395 | 1234072.035 | 2589337.4887 | 1234080.3776
7 | 2589353.0827 | 1234018.1574 | 2589349.4652 | 1234026.9026 | 2589346.649 | 1234040.9838
8 | 2589337.4887 | 1234080.3776 | 2589337.1953 | 1234081.1799 | 2589327.4698 | 1234089.9806 | 2589324.5197 | 1234092.1267
9 | 2589353.0827 | 1234018.1574 | 2589382.7266 | 1234029.7757
10 | 2589353.0827 | 1234018.1574 | 2589355.8334 | 1234011.504 | 2589356.2578 | 1234010.3034
11 | 2589309.8863 | 1234106.4891 | 2589317.1893 | 1234097.4593 | 2589324.5197 | 1234092.1267
12 | 2589356.2578 | 1234010.3034 | 2589357.7058 | 1234006.206
13 | 2589357.7058 | 1234006.206 | 2589362.5961 | 1233992.3691 | 2589365.3042 | 1233976.725
14 | 2589365.3758 | 1233976.3111 | 2589365.3042 | 1233976.725
15 | 2589387.7437 | 1234031.742 | 2589382.7266 | 1234029.7757
16 | 2589365.3758 | 1233976.3111 | 2589365.5551 | 1233975.2756 | 2589370.5842 | 1233957.747
17 | 2589390.4407 | 1234053.9118 | 2589396.7183 | 1234047.0408 | 2589397.3061 | 1234041.3696 | 2589396.9952 | 1234036.9008 | 2589389.5088 | 1234032.4338 | 2589387.7437 | 1234031.742
18 | 2589370.5842 | 1233957.747 | 2589373.0997 | 1233948.9794 | 2589373.1684 | 1233948.3105
19 | 2589373.6905 | 1233943.2295 | 2589373.1684 | 1233948.3105
20 | 2589466.7185 | 1233884.6812 | 2589477.2497 | 1233890.5559
21 | 2589466.7185 | 1233884.6812 | 2589464.5134 | 1233883.4511
22 | 2589477.2497 | 1233890.5559 | 2589499.4625 | 1233902.947
23 | 2589437.0821 | 1233868.1489 | 2589464.5134 | 1233883.4511
24 | 2589437.0821 | 1233868.1489 | 2589402.9456 | 1233847.9979
25 | 2589402.9456 | 1233847.9979 | 2589385.1352 | 1233835.9627
26 | 2589402.9456 | 1233847.9979 | 2589410.5167 | 1233840.4054
27 | 2589402.9456 | 1233847.9979 | 2589401.1919 | 1233849.3241 | 2589390.2085 | 1233857.6378 | 2589381.7882 | 1233868.5595
28 | 2589385.1352 | 1233835.9627 | 2589382.6803 | 1233834.3038 | 2589377.9532 | 1233829.6192
29 | 2589421.5708 | 1233829.3198 | 2589410.5167 | 1233840.4054
30 | 2589381.7882 | 1233868.5595 | 2589372.566 | 1233867.0641 | 2589362.9783 | 1233860.2106 | 2589348.2457 | 1233847.1498
31 | 2589381.7882 | 1233868.5595 | 2589379.9173 | 1233877.1779
32 | 2589419.2805 | 1233905.0394 | 2589416.0752 | 1233917.7499
33 | 2589416.0752 | 1233917.7499 | 2589416.0752 | 1233917.7499 | 2589394.5773 | 1233914.2953
34 | 2589347.7982 | 1233799.7347 | 2589377.9532 | 1233829.6192
35 | 2589421.5708 | 1233829.3198 | 2589420.5967 | 1233810.8418
36 | 2589421.5708 | 1233829.3198 | 2589428.6346 | 1233821.3708
37 | 2589345.7797 | 1233844.9637 | 2589348.2457 | 1233847.1498
38 | 2589378.6239 | 1233886.0944 | 2589379.0406 | 1233881.2166 | 2589379.9173 | 1233877.1779
39 | 2589394.2056 | 1233914.2356 | 2589394.5773 | 1233914.2953
40 | 2589378.6239 | 1233886.0944 | 2589377.2615 | 1233902.0435 | 2589377.1923 | 1233903.1314
41 | 2589376.6653 | 1233911.4169 | 2589377.1923 | 1233903.1314
42 | 2589376.6653 | 1233911.4169 | 2589394.2056 | 1233914.2356
43 | 2589376.6653 | 1233911.4169 | 2589376.5487 | 1233913.2482
44 | 2589339.4125 | 1233839.319 | 2589345.7797 | 1233844.9637
45 | 2589376.5487 | 1233913.2482 | 2589376.1868 | 1233918.9334 | 2589373.6905 | 1233943.2295
46 | 2589347.7982 | 1233799.7347 | 2589346.5054 | 1233798.3333
47 | 2589327.2595 | 1233802.4513 | 2589332.089 | 1233802.5537 | 2589347.7982 | 1233799.7347
48 | 2589419.2597 | 1233768.2279 | 2589420.5599 | 1233810.1434 | 2589420.5967 | 1233810.8418
49 | 2589428.6346 | 1233821.3708 | 2589428.8799 | 1233821.0947
50 | 2589309.8863 | 1234106.4891 | 2589313.3659 | 1234113.6427 | 2589319.8645 | 1234115.9879 | 2589329.2107 | 1234119.273
51 | 2589309.8863 | 1234106.4891 | 2589296.3033 | 1234116.7978 | 2589292.6539 | 1234124.5889
52 | 2589368.5291 | 1234123.1825 | 2589351.9528 | 1234121.7556 | 2589329.2107 | 1234119.273 | 2589329.2107 | 1234119.273
53 | 2589292.6539 | 1234124.5889 | 2589289.6682 | 1234130.9628 | 2589288.1307 | 1234134.2087
54 | 2589287.6428 | 1234135.2387 | 2589288.1307 | 1234134.2087
55 | 2589287.6423 | 1234135.2396 | 2589287.6428 | 1234135.2387
56 | 2589287.6423 | 1234135.2396 | 2589281.7511 | 1234147.6762 | 2589281.025 | 1234152.8564
57 | 2589280.1705 | 1234158.9535 | 2589281.025 | 1234152.8564
58 | 2589279.1904 | 1234166.6969 | 2589279.5767 | 1234163.1896 | 2589280.1705 | 1234158.9535
59 | 2589418.2898 | 1233747.2983 | 2589419.186 | 1233765.8524 | 2589419.2597 | 1233768.2279
60 | 2589448.2669 | 1233799.8614 | 2589446.6358 | 1233801.1134 | 2589428.8799 | 1233821.0947
61 | 2589418.2898 | 1233747.2983 | 2589387.7396 | 1233717.5654
62 | 2589418.2898 | 1233747.2983 | 2589458.9869 | 1233715.1615
63 | 2589454.8677 | 1233794.7949 | 2589448.2669 | 1233799.8614
64 | 2589327.2595 | 1233802.4513 | 2589314.6255 | 1233802.1851 | 2589301.3419 | 1233801.1264
65 | 2589387.7396 | 1233717.5654 | 2589386.4586 | 1233716.3187
66 | 2589458.9869 | 1233715.1615 | 2589481.6536 | 1233691.5512
67 | 2589458.9869 | 1233715.1615 | 2589468.7316 | 1233725.6459
68 | 2589458.9869 | 1233715.1615 | 2589450.1542 | 1233706.0274
69 | 2589372.0418 | 1233702.2875 | 2589386.4586 | 1233716.3187
70 | 2589450.1542 | 1233706.0274 | 2589446.0865 | 1233701.8209
71 | 2589446.0865 | 1233701.8209 | 2589428.4671 | 1233683.6004
72 | 2589417.6027 | 1233672.3653 | 2589428.4671 | 1233683.6004
73 | 2589476.112 | 1233733.5865 | 2589468.7316 | 1233725.6459
74 | 2589417.6027 | 1233672.3653 | 2589422.4109 | 1233656.3359 | 2589428.5845 | 1233645.6458
75 | 2589435.6328 | 1233633.4409 | 2589428.5845 | 1233645.6458
76 | 2589435.6328 | 1233633.4409 | 2589437.4507 | 1233630.2931 | 2589441.0105 | 1233624.5032
77 | 2589447.3458 | 1233614.199 | 2589441.0105 | 1233624.5032
78 | 2589447.3458 | 1233614.199 | 2589452.352 | 1233602.9722
79 | 2589452.352 | 1233602.9722 | 2589457.7386 | 1233601.2837 | 2589462.7596 | 1233598.2841 | 2589467.6333 | 1233593.339 | 2589471.7937 | 1233587.4392 | 2589474.8614 | 1233580.0848 | 2589477.2235 | 1233571.7644 | 2589477.2762 | 1233571.5051
80 | 2589479.9921 | 1233553.7375 | 2589479.107 | 1233562.4999 | 2589477.2762 | 1233571.5051
81 | 2589518.5955 | 1233555.3631 | 2589515.2482 | 1233555.2222
82 | 2589497.358 | 1233554.4688 | 2589515.2482 | 1233555.2222
83 | 2589479.9921 | 1233553.7375 | 2589497.358 | 1233554.4688

## bus_geodata
| x | y | coords
0 | 2589277.8488 | 1234008.3822
1 | 2589299.0481 | 1234029.0827
2 | 2589264.2206 | 1233997.7951
3 | 2589313.4762 | 1234044.0089
4 | 2589257.2145 | 1234042.7271
5 | 2589343.4496 | 1234061.4233
6 | 2589346.649 | 1234040.9838
7 | 2589337.4887 | 1234080.3776
8 | 2589353.0827 | 1234018.1574
9 | 2589324.5197 | 1234092.1267
10 | 2589356.2578 | 1234010.3034
11 | 2589357.7058 | 1234006.206
12 | 2589365.3042 | 1233976.725
13 | 2589382.7266 | 1234029.7757
14 | 2589365.3758 | 1233976.3111
15 | 2589387.7437 | 1234031.742
16 | 2589370.5842 | 1233957.747
17 | 2589390.4407 | 1234053.9118
18 | 2589373.1684 | 1233948.3105
19 | 2589466.7185 | 1233884.6812
20 | 2589477.2497 | 1233890.5559
21 | 2589464.5134 | 1233883.4511
22 | 2589499.4625 | 1233902.947
23 | 2589437.0821 | 1233868.1489
24 | 2589402.9456 | 1233847.9979
25 | 2589385.1352 | 1233835.9627
26 | 2589410.5166 | 1233840.4054
27 | 2589381.7882 | 1233868.5595
28 | 2589419.2805 | 1233905.0394
29 | 2589416.0752 | 1233917.7499
30 | 2589377.9532 | 1233829.6192
31 | 2589421.5708 | 1233829.3198
32 | 2589348.2457 | 1233847.1498
33 | 2589379.9173 | 1233877.1779
34 | 2589394.5773 | 1233914.2953
35 | 2589378.6239 | 1233886.0944
36 | 2589377.1923 | 1233903.1314
37 | 2589376.6653 | 1233911.4169
38 | 2589345.7797 | 1233844.9637
39 | 2589394.2056 | 1233914.2356
40 | 2589376.5487 | 1233913.2482
41 | 2589339.4125 | 1233839.319
42 | 2589373.6905 | 1233943.2295
43 | 2589347.7982 | 1233799.7347
44 | 2589420.5967 | 1233810.8418
45 | 2589428.6346 | 1233821.3708
46 | 2589309.8863 | 1234106.4891
47 | 2589329.2107 | 1234119.273
48 | 2589292.6539 | 1234124.5889
49 | 2589368.5291 | 1234123.1825
50 | 2589288.1307 | 1234134.2087
51 | 2589287.6428 | 1234135.2387
52 | 2589287.6423 | 1234135.2396
53 | 2589281.025 | 1234152.8564
54 | 2589280.1705 | 1234158.9535
55 | 2589279.1904 | 1234166.6969
56 | 2589419.2597 | 1233768.2279
57 | 2589428.8799 | 1233821.0946
58 | 2589418.2898 | 1233747.2983
59 | 2589448.2669 | 1233799.8614
60 | 2589346.5054 | 1233798.3334
61 | 2589327.2595 | 1233802.4513
62 | 2589387.7396 | 1233717.5654
63 | 2589458.9869 | 1233715.1615
64 | 2589454.8677 | 1233794.7949
65 | 2589386.4586 | 1233716.3187
66 | 2589450.1542 | 1233706.0274
67 | 2589446.0865 | 1233701.8209
68 | 2589428.4671 | 1233683.6004
69 | 2589481.6536 | 1233691.5512
70 | 2589468.7316 | 1233725.6459
71 | 2589476.112 | 1233733.5865
72 | 2589372.0418 | 1233702.2875
73 | 2589417.6027 | 1233672.3653
74 | 2589301.3419 | 1233801.1264
75 | 2589428.5845 | 1233645.6458
76 | 2589435.6328 | 1233633.4409
77 | 2589441.0105 | 1233624.5032
78 | 2589447.3458 | 1233614.199
79 | 2589452.352 | 1233602.9722
80 | 2589477.2762 | 1233571.5051
81 | 2589518.5955 | 1233555.3631
82 | 2589515.2482 | 1233555.2222
83 | 2589497.358 | 1233554.4688
84 | 2589479.9921 | 1233553.7375
85 | 2589381.7882 | 1233868.5595

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1