## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_691-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_691-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_691-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_691-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_691-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_691-2_0_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_691-2_0_3_node_68 | 0.4 | n |  | TRUE
7 | bus_LV_691-2_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_691-2_0_3_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_691-2_0_3_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_691-2_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_691-2_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_691-2_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_691-2_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_691-2_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_691-2_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_691-2_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_691-2_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_691-2_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_691-2_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_691-2_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_691-2_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_691-2_0_3_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_691-2_0_3_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_691-2_0_3_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_691-2_0_3_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_691-2_0_3_node_71 | 0.4 | n |  | TRUE
27 | bus_LV_691-2_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_691-2_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_691-2_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_691-2_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_691-2_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_691-2_0_3_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_691-2_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_691-2_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_691-2_0_3_node_67 | 0.4 | n |  | TRUE
36 | bus_LV_691-2_0_3_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_691-2_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_691-2_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_691-2_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_691-2_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_691-2_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_691-2_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_691-2_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_691-2_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_691-2_0_3_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_691-2_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_691-2_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_691-2_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_691-2_0_3_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_691-2_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_691-2_0_3_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_691-2_0_3_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_691-2_0_3_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_691-2_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_691-2_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_691-2_0_3_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_691-2_0_3_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_691-2_0_3_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_691-2_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_691-2_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_691-2_0_3_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_691-2_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_691-2_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_691-2_0_3_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_691-2_0_3_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_691-2_0_3_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_691-2_0_3_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_691-2_0_3_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_691-2_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_691-2_0_3_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_691-2_0_3_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_691-2_0_3_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_691-2_0_3_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_691-2_0_3_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_691-2_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_691-2_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_691-2_0_3_node_77 | 0.4 | n |  | TRUE
78 | bus_MV_345_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_691-2_0_3_load_0 | 0 | 0.0038015 | 0.00095275 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_691-2_0_3_load_1 | 1 | 0.0010316 | 0.00025853 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_691-2_0_3_load_2 | 2 | 0.0073671 | 0.0018464 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_691-2_0_3_load_3 | 3 | 0.0012933 | 0.00032412 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_691-2_0_3_load_4 | 4 | 0.0027672 | 0.00069354 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_691-2_0_3_load_10 | 5 | 0.0015041 | 0.00037696 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_691-2_0_3_load_32 | 9 | 0.0052808 | 0.0013235 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_691-2_0_3_load_5 | 10 | 0.0015285 | 0.00038307 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_691-2_0_3_load_8 | 12 | 0.0014456 | 0.00036231 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_691-2_0_3_load_9 | 13 | 0.0018428 | 0.00046184 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_691-2_0_3_load_11 | 14 | 0.0010737 | 0.00026909 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_691-2_0_3_load_12 | 15 | 0.00034633 | 8.6798e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_691-2_0_3_load_13 | 16 | 0.0010466 | 0.0002623 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_691-2_0_3_load_14 | 17 | 0.038061 | 0.0095389 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_691-2_0_3_load_15 | 18 | 0.047811 | 0.011983 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_691-2_0_3_load_18 | 21 | 0.0063523 | 0.001592 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_691-2_0_3_load_75 | 23 | 0.0017296 | 0.00043347 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_691-2_0_3_load_74 | 25 | 0.0056351 | 0.0014123 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_691-2_0_3_load_71 | 26 | 0.0012795 | 0.00032068 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_691-2_0_3_load_19 | 27 | 0.0010403 | 0.00026072 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_691-2_0_3_load_22 | 30 | 0.00096688 | 0.00024232 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_691-2_0_3_load_24 | 31 | 0.00055642 | 0.00013945 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_691-2_0_3_load_66 | 32 | 0.0016174 | 0.00040535 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_691-2_0_3_load_25 | 33 | 0.00063029 | 0.00015797 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_691-2_0_3_load_67 | 35 | 0.0016126 | 0.00040416 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_691-2_0_3_load_38 | 36 | 0.0018623 | 0.00046675 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_691-2_0_3_load_26 | 38 | 0.0035944 | 0.00090085 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_691-2_0_3_load_36 | 39 | 0.0021968 | 0.00055056 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_691-2_0_3_load_29 | 40 | 0.0011536 | 0.00028911 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_691-2_0_3_load_31 | 42 | 0.0036642 | 0.00091835 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_691-2_0_3_load_33 | 43 | 0.0026518 | 0.0006646 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_691-2_0_3_load_42 | 44 | 0.0023769 | 0.00059571 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_691-2_0_3_load_43 | 45 | 0.0033242 | 0.00083312 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_691-2_0_3_load_34 | 46 | 0.0032007 | 0.00080217 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_691-2_0_3_load_35 | 47 | 0.0023978 | 0.00060094 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_691-2_0_3_load_44 | 49 | 0.0030186 | 0.00075654 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_691-2_0_3_load_45 | 50 | 0.0025917 | 0.00064954 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_691-2_0_3_load_41 | 51 | 0.0033752 | 0.00084591 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_691-2_0_3_load_46 | 52 | 0.0017518 | 0.00043905 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_691-2_0_3_load_39 | 53 | 0.0020436 | 0.00051217 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_691-2_0_3_load_40 | 54 | 0.0022571 | 0.00056569 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_691-2_0_3_load_47 | 55 | 0.0021396 | 0.00053623 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_691-2_0_3_load_65 | 57 | 0.0020586 | 0.00051592 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_691-2_0_3_load_49 | 60 | 0.0017324 | 0.00043417 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_691-2_0_3_load_50 | 61 | 0.0018828 | 0.00047187 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_691-2_0_3_load_52 | 63 | 0.0020023 | 0.00050182 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_691-2_0_3_load_59 | 65 | 0.0034494 | 0.0008645 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_691-2_0_3_load_60 | 66 | 0.0018342 | 0.00045969 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_691-2_0_3_load_76 | 67 | 0.00084086 | 0.00021074 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_691-2_0_3_load_61 | 69 | 0.0022762 | 0.00057047 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_691-2_0_3_load_55 | 70 | 0.0029651 | 0.00074311 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_691-2_0_3_load_56 | 71 | 0.0030521 | 0.00076494 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_691-2_0_3_load_57 | 72 | 0.00088761 | 0.00022246 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_691-2_0_3_load_62 | 73 | 0.0028449 | 0.00071299 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_691-2_0_3_load_69 | 75 | 0.025887 | 0.006488 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_691-2_0_3_load_77 | 77 | 0.0052967 | 0.0013275 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 75 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_691-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0057179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_691-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.022902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_691-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.007576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_691-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.025365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_691-2_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.037647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_691-2_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.021874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_691-2_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.063861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_691-2_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.033044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_691-2_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.069517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_691-2_0_3_line_9 | NAYY 4x150 SE | 7 | 12 | 0.026015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_691-2_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.035891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_691-2_0_3_line_11 | NAYY 4x150 SE | 8 | 32 | 0.022349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_691-2_0_3_line_12 | NAYY 4x150 SE | 8 | 28 | 0.004471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_691-2_0_3_line_13 | NAYY 4x150 SE | 9 | 41 | 0.044566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_691-2_0_3_line_14 | NAYY 4x150 SE | 10 | 11 | 0.02853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_691-2_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.0092692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_691-2_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.056972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_691-2_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.019089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_691-2_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.0041536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_691-2_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.036205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_691-2_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.0081817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_691-2_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.048189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_691-2_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.02315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_691-2_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.029435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_691-2_0_3_line_24 | NAYY 4x150 SE | 20 | 23 | 0.011477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_691-2_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.057056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_691-2_0_3_line_26 | NAYY 4x150 SE | 22 | 25 | 0.018392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_691-2_0_3_line_27 | NAYY 4x150 SE | 22 | 26 | 0.02563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_691-2_0_3_line_28 | NAYY 4x150 SE | 24 | 77 | 0.01182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_691-2_0_3_line_29 | NAYY 4x150 SE | 26 | 45 | 0.0057523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_691-2_0_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.036203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_691-2_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.022241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_691-2_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.062649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_691-2_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.021209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_691-2_0_3_line_34 | NAYY 4x150 SE | 32 | 35 | 0.014441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_691-2_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.028952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_691-2_0_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.020715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_691-2_0_3_line_37 | NAYY 4x150 SE | 34 | 37 | 0.04262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_691-2_0_3_line_38 | NAYY 4x150 SE | 35 | 64 | 0.014864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_691-2_0_3_line_39 | NAYY 4x150 SE | 36 | 39 | 0.033385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_691-2_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.03116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_691-2_0_3_line_41 | NAYY 4x150 SE | 39 | 46 | 0.0048479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_691-2_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.015161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_691-2_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.012175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_691-2_0_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.020084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_691-2_0_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.012846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_691-2_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.01418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_691-2_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.010594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_691-2_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.0065629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_691-2_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.018325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_691-2_0_3_line_50 | NAYY 4x150 SE | 48 | 50 | 0.042159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_691-2_0_3_line_51 | NAYY 4x150 SE | 49 | 51 | 0.028529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_691-2_0_3_line_52 | NAYY 4x150 SE | 50 | 52 | 0.002964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_691-2_0_3_line_53 | NAYY 4x150 SE | 51 | 54 | 0.034414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_691-2_0_3_line_54 | NAYY 4x150 SE | 52 | 55 | 0.018846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_691-2_0_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.060729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_691-2_0_3_line_56 | NAYY 4x150 SE | 55 | 56 | 0.0066066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_691-2_0_3_line_57 | NAYY 4x150 SE | 56 | 57 | 0.010283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_691-2_0_3_line_58 | NAYY 4x150 SE | 56 | 58 | 0.016526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_691-2_0_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.014427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_691-2_0_3_line_60 | NAYY 4x150 SE | 59 | 66 | 0.018277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_691-2_0_3_line_61 | NAYY 4x150 SE | 59 | 62 | 0.028847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_691-2_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.039756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_691-2_0_3_line_63 | NAYY 4x150 SE | 60 | 62 | 0.056383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_691-2_0_3_line_64 | NAYY 4x150 SE | 61 | 63 | 0.034423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_691-2_0_3_line_65 | NAYY 4x150 SE | 62 | 64 | 0.001411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_691-2_0_3_line_66 | NAYY 4x150 SE | 63 | 65 | 0.035914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_691-2_0_3_line_67 | NAYY 4x150 SE | 64 | 67 | 0.009805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_691-2_0_3_line_68 | NAYY 4x150 SE | 65 | 68 | 0.030806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_691-2_0_3_line_69 | NAYY 4x150 SE | 66 | 69 | 0.019127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_691-2_0_3_line_70 | NAYY 4x150 SE | 68 | 74 | 0.0581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_691-2_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.040595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_691-2_0_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.015982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_691-2_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.022557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_691-2_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.0073554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_691-2_0_3_line_75 | NAYY 4x150 SE | 75 | 76 | 0.011484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_691-2_0_3_line_76 | NAYY 4x150 SE | 76 | 77 | 0.024033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_691-2_0_3_trafo_69 | 0.25 MVA 20/0.4 kV | 78 | 75 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2599744.5632 | 1237175.7798 | 2599738.8768 | 1237175.1813
1 | 2599744.5632 | 1237175.7798 | 2599767.3397 | 1237178.177
2 | 2599738.8768 | 1237175.1813 | 2599731.3424 | 1237174.3883
3 | 2599792.6212 | 1237177.6252 | 2599774.3129 | 1237178.911 | 2599767.3397 | 1237178.177
4 | 2599693.7892 | 1237174.786 | 2599699.9243 | 1237175.691 | 2599731.3424 | 1237174.3883 | 2599731.3424 | 1237174.3883
5 | 2599814.2568 | 1237174.7176 | 2599803.4614 | 1237176.8639 | 2599792.6212 | 1237177.6252
6 | 2599630.6113 | 1237165.4673 | 2599693.7892 | 1237174.786
7 | 2599814.2568 | 1237174.7176 | 2599815.9669 | 1237183.1338 | 2599817.1398 | 1237189.9046 | 2599817.1249 | 1237195.8082 | 2599817.057 | 1237200.5667 | 2599816.8228 | 1237207.482
8 | 2599814.2568 | 1237174.7176 | 2599816.8815 | 1237165.5452 | 2599845.4435 | 1237112.8064
9 | 2599630.6113 | 1237165.4673 | 2599630.6712 | 1237156.8397 | 2599631.329 | 1237152.2814 | 2599634.2036 | 1237149.0236 | 2599638.508 | 1237146.544 | 2599641.9589 | 1237146.1895
10 | 2599594.6236 | 1237164.6473 | 2599630.6113 | 1237165.4673
11 | 2599816.8228 | 1237207.482 | 2599816.7473 | 1237211.5178 | 2599814.2513 | 1237229.6593
12 | 2599816.8228 | 1237207.482 | 2599814.0087 | 1237210.962
13 | 2599860.8471 | 1237072.3198 | 2599861.5509 | 1237079.0795 | 2599859.3347 | 1237089.1079 | 2599853.9787 | 1237097.0463 | 2599845.4435 | 1237112.8064
14 | 2599594.6236 | 1237164.6473 | 2599594.8801 | 1237155.1415 | 2599598.6697 | 1237148.7595 | 2599603.1103 | 1237146.1576 | 2599609.5257 | 1237145.4745
15 | 2599651.1796 | 1237145.2423 | 2599641.9589 | 1237146.1895
16 | 2599651.1796 | 1237145.2423 | 2599673.5614 | 1237092.8511
17 | 2599673.5614 | 1237092.8511 | 2599692.5893 | 1237094.3731
18 | 2599696.733 | 1237094.652 | 2599695.2514 | 1237094.5861 | 2599692.5893 | 1237094.3731
19 | 2599988.4466 | 1237127.7468 | 2599987.635 | 1237129.1736 | 2599955.6721 | 1237142.3267 | 2599955.6721 | 1237142.3267
20 | 2599992.4918 | 1237120.635 | 2599988.4466 | 1237127.7468
21 | 2599992.4918 | 1237120.635 | 2599990.2298 | 1237120.7907 | 2599984.8357 | 1237119.3899 | 2599954.2791 | 1237092.9076
22 | 2599992.4918 | 1237120.635 | 2599998.3321 | 1237120.2458 | 2600014.3608 | 1237113.7445
23 | 2599931.3937 | 1237074.3967 | 2599948.2268 | 1237088.0047 | 2599954.2791 | 1237092.9076
24 | 2599954.2791 | 1237092.9076 | 2599963.6559 | 1237086.2889
25 | 2599931.3937 | 1237074.3967 | 2599892.2064 | 1237106.5842 | 2599887.4328 | 1237110.9092
26 | 2599931.3937 | 1237074.3967 | 2599931.3479 | 1237056.0077
27 | 2599931.3937 | 1237074.3967 | 2599919.8188 | 1237074.3859 | 2599905.7721 | 1237073.8938
28 | 2599887.4328 | 1237110.9092 | 2599886.9263 | 1237122.7164
29 | 2599900.0233 | 1237073.6924 | 2599905.7721 | 1237073.8938
30 | 2599814.0087 | 1237210.962 | 2599810.0902 | 1237215.8207 | 2599791.2763 | 1237228.4516 | 2599785.197 | 1237232.4934
31 | 2599766.6754 | 1237244.8072 | 2599785.197 | 1237232.4934
32 | 2599814.0087 | 1237210.962 | 2599808.0398 | 1237209.139 | 2599763.7382 | 1237206.4172 | 2599762.1619 | 1237218.3357
33 | 2599766.6754 | 1237244.8072 | 2599765.8746 | 1237265.998
34 | 2599814.2513 | 1237229.6593 | 2599812.966 | 1237239.0015 | 2599812.1041 | 1237243.9377
35 | 2599706.7627 | 1237289.9271 | 2599711.3316 | 1237284.846 | 2599729.2521 | 1237271.8813
36 | 2599706.7627 | 1237289.9271 | 2599704.5464 | 1237294.3522 | 2599704.1533 | 1237298.9106 | 2599705.4548 | 1237304.7696 | 2599707.8203 | 1237309.3881
37 | 2599665.3141 | 1237293.3208 | 2599679.1204 | 1237295.599 | 2599689.6812 | 1237295.7207 | 2599697.2461 | 1237293.6856 | 2599706.7627 | 1237289.9271
38 | 2599809.5474 | 1237258.5803 | 2599812.1041 | 1237243.9377
39 | 2599726.6304 | 1237336.739 | 2599723.62 | 1237331.207 | 2599717.6055 | 1237325.0813 | 2599708.7233 | 1237311.1511 | 2599707.8203 | 1237309.3881
40 | 2599665.3141 | 1237293.3208 | 2599663.7857 | 1237289.5075 | 2599660.7442 | 1237285.2606 | 2599657.4986 | 1237281.6142 | 2599653.3452 | 1237279.6355 | 2599641.0027 | 1237279.3382
41 | 2599727.6567 | 1237341.453 | 2599726.8809 | 1237337.1993 | 2599726.6304 | 1237336.739
42 | 2599860.8471 | 1237072.3198 | 2599860.6352 | 1237070.3519 | 2599856.3301 | 1237059.2787 | 2599855.7382 | 1237058.12
43 | 2599860.8471 | 1237072.3198 | 2599873.0143 | 1237072.7461
44 | 2599860.8471 | 1237072.3198 | 2599840.7723 | 1237072.9306
45 | 2599873.0143 | 1237072.7461 | 2599885.8521 | 1237073.1959
46 | 2599900.0233 | 1237073.6924 | 2599885.8521 | 1237073.1959
47 | 2599727.6567 | 1237341.453 | 2599727.9252 | 1237342.925 | 2599729.363 | 1237351.9082
48 | 2599733.6753 | 1237356.8554 | 2599729.363 | 1237351.9082
49 | 2599733.6753 | 1237356.8554 | 2599733.5471 | 1237362.5923 | 2599735.7639 | 1237368.0622 | 2599740.0457 | 1237373.1952
50 | 2599733.6753 | 1237356.8554 | 2599737.8586 | 1237353.3419 | 2599768.4752 | 1237333.1132
51 | 2599740.0457 | 1237373.1952 | 2599741.5136 | 1237374.9549 | 2599751.9687 | 1237381.6029 | 2599764.8037 | 1237386.8024
52 | 2599770.9481 | 1237331.4793 | 2599768.4752 | 1237333.1132
53 | 2599796.3802 | 1237400.4205 | 2599788.9316 | 1237396.5768 | 2599764.8037 | 1237386.8024
54 | 2599770.9481 | 1237331.4793 | 2599781.6128 | 1237324.433 | 2599786.1779 | 1237320.4423
55 | 2599843.3523 | 1237437.1837 | 2599829.2992 | 1237426.6601 | 2599824.9869 | 1237418.5776 | 2599811.1427 | 1237408.0384 | 2599796.3802 | 1237400.4205
56 | 2599791.1519 | 1237316.0941 | 2599786.1779 | 1237320.4423
57 | 2599791.1519 | 1237316.0941 | 2599799.7989 | 1237321.6971
58 | 2599799.851 | 1237302.1296 | 2599796.7648 | 1237308.6671 | 2599791.1519 | 1237316.0941
59 | 2599802.9066 | 1237288.0986 | 2599800.8192 | 1237300.0727 | 2599799.851 | 1237302.1296
60 | 2599802.9066 | 1237288.0986 | 2599821.1158 | 1237286.5278
61 | 2599809.3054 | 1237259.97 | 2599802.9066 | 1237288.0986
62 | 2599865.2239 | 1237255.714 | 2599904.5936 | 1237250.1881
63 | 2599809.3054 | 1237259.97 | 2599815.3197 | 1237261.2706 | 2599842.3572 | 1237258.9236 | 2599865.2239 | 1237255.714
64 | 2599904.5936 | 1237250.1881 | 2599938.6825 | 1237245.4034
65 | 2599809.3054 | 1237259.97 | 2599809.5474 | 1237258.5803
66 | 2599938.6825 | 1237245.4034 | 2599947.2542 | 1237244.2003 | 2599974.2927 | 1237240.745
67 | 2599809.5474 | 1237258.5803 | 2599800.1971 | 1237261.6159
68 | 2600004.4689 | 1237238.9962 | 2600001.2008 | 1237237.3063 | 2599974.2927 | 1237240.745
69 | 2599840.1719 | 1237284.884 | 2599821.1158 | 1237286.5278
70 | 2600004.4689 | 1237238.9962 | 2600004.991 | 1237242.376 | 2600004.469 | 1237246.2895 | 2600002.1163 | 1237249.5471 | 2599987.8791 | 1237266.0796 | 2599974.1639 | 1237286.9148
71 | 2599888.43 | 1237298.3183 | 2599928.6709 | 1237292.9658
72 | 2599944.5131 | 1237290.8587 | 2599928.6709 | 1237292.9658
73 | 2599944.5131 | 1237290.8587 | 2599966.8727 | 1237287.8846
74 | 2599974.1639 | 1237286.9148 | 2599966.8727 | 1237287.8846
75 | 2599903.9259 | 1237139.7041 | 2599904.5993 | 1237141.7386 | 2599906.3696 | 1237143.9622 | 2599909.0175 | 1237145.5075 | 2599912.4067 | 1237146.0522
76 | 2599886.9263 | 1237122.7164 | 2599903.9259 | 1237139.7041

## bus_geodata
| x | y | coords
0 | 2599744.5632 | 1237175.7798
1 | 2599738.8768 | 1237175.1813
2 | 2599767.3397 | 1237178.177
3 | 2599731.3424 | 1237174.3883
4 | 2599792.6212 | 1237177.6252
5 | 2599693.7892 | 1237174.786
6 | 2599814.2568 | 1237174.7176
7 | 2599630.6113 | 1237165.4673
8 | 2599816.8228 | 1237207.482
9 | 2599845.4435 | 1237112.8064
10 | 2599609.5257 | 1237145.4745
11 | 2599594.6236 | 1237164.6473
12 | 2599641.9589 | 1237146.1895
13 | 2599651.1796 | 1237145.2423
14 | 2599673.5614 | 1237092.8511
15 | 2599692.5893 | 1237094.3731
16 | 2599696.733 | 1237094.652
17 | 2599988.4466 | 1237127.7468
18 | 2599955.6721 | 1237142.3267
19 | 2599992.4918 | 1237120.635
20 | 2599954.2791 | 1237092.9076
21 | 2600014.3608 | 1237113.7445
22 | 2599931.3937 | 1237074.3967
23 | 2599963.6559 | 1237086.2889
24 | 2599887.4328 | 1237110.9092
25 | 2599931.3479 | 1237056.0077
26 | 2599905.7721 | 1237073.8938
27 | 2599785.197 | 1237232.4934
28 | 2599814.0087 | 1237210.962
29 | 2599766.6754 | 1237244.8072
30 | 2599762.1619 | 1237218.3357
31 | 2599765.8746 | 1237265.998
32 | 2599814.2513 | 1237229.6593
33 | 2599729.2521 | 1237271.8813
34 | 2599706.7627 | 1237289.9271
35 | 2599812.1041 | 1237243.9377
36 | 2599707.8203 | 1237309.3881
37 | 2599665.3141 | 1237293.3208
38 | 2599641.0027 | 1237279.3382
39 | 2599726.6304 | 1237336.739
40 | 2599855.7382 | 1237058.12
41 | 2599860.8471 | 1237072.3198
42 | 2599873.0143 | 1237072.7461
43 | 2599840.7723 | 1237072.9306
44 | 2599885.8521 | 1237073.1959
45 | 2599900.0233 | 1237073.6924
46 | 2599727.6567 | 1237341.4531
47 | 2599729.363 | 1237351.9082
48 | 2599733.6753 | 1237356.8554
49 | 2599740.0457 | 1237373.1952
50 | 2599768.4752 | 1237333.1132
51 | 2599764.8037 | 1237386.8024
52 | 2599770.9481 | 1237331.4793
53 | 2599843.3523 | 1237437.1837
54 | 2599796.3802 | 1237400.4205
55 | 2599786.1779 | 1237320.4423
56 | 2599791.1519 | 1237316.0941
57 | 2599799.7989 | 1237321.6971
58 | 2599799.851 | 1237302.1296
59 | 2599802.9066 | 1237288.0986
60 | 2599865.2239 | 1237255.714
61 | 2599904.5936 | 1237250.1881
62 | 2599809.3054 | 1237259.97
63 | 2599938.6825 | 1237245.4034
64 | 2599809.5474 | 1237258.5803
65 | 2599974.2927 | 1237240.745
66 | 2599821.1158 | 1237286.5278
67 | 2599800.1971 | 1237261.6159
68 | 2600004.4689 | 1237238.9962
69 | 2599840.1719 | 1237284.884
70 | 2599888.43 | 1237298.3183
71 | 2599928.6709 | 1237292.9658
72 | 2599944.513 | 1237290.8587
73 | 2599966.8727 | 1237287.8846
74 | 2599974.1639 | 1237286.9148
75 | 2599912.4067 | 1237146.0522
76 | 2599903.9259 | 1237139.7041
77 | 2599886.9263 | 1237122.7164
78 | 2599903.9259 | 1237139.7041

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1