## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_700-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_700-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_700-18_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_700-18_0_4_node_83 | 0.4 | n |  | TRUE
4 | bus_LV_700-18_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_700-18_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_700-18_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_700-18_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_700-18_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_700-18_0_4_node_82 | 0.4 | n |  | TRUE
10 | bus_LV_700-18_0_4_node_81 | 0.4 | n |  | TRUE
11 | bus_LV_700-18_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_700-18_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_700-18_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_700-18_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_700-18_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_700-18_0_4_node_75 | 0.4 | n |  | TRUE
17 | bus_LV_700-18_0_4_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_700-18_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_700-18_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_700-18_0_4_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_700-18_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_700-18_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_700-18_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_700-18_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_700-18_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_700-18_0_4_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_700-18_0_4_node_78 | 0.4 | n |  | TRUE
28 | bus_LV_700-18_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_700-18_0_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_700-18_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_700-18_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_700-18_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_700-18_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_700-18_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_700-18_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_700-18_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_700-18_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_700-18_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_700-18_0_4_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_700-18_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_700-18_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_700-18_0_4_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_700-18_0_4_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_700-18_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_700-18_0_4_node_74 | 0.4 | n |  | TRUE
46 | bus_LV_700-18_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_700-18_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_700-18_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_700-18_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_700-18_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_700-18_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_700-18_0_4_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_700-18_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_700-18_0_4_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_700-18_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_700-18_0_4_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_700-18_0_4_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_700-18_0_4_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_700-18_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_700-18_0_4_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_700-18_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_700-18_0_4_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_700-18_0_4_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_700-18_0_4_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_700-18_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_700-18_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_700-18_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_700-18_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_700-18_0_4_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_700-18_0_4_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_700-18_0_4_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_700-18_0_4_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_700-18_0_4_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_700-18_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_700-18_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_700-18_0_4_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_700-18_0_4_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_700-18_0_4_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_700-18_0_4_node_67 | 0.4 | n |  | TRUE
80 | bus_MV_345_0_node_209 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_700-18_0_4_load_0 | 0 | 0.0011363 | 0.00028479 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_700-18_0_4_load_1 | 1 | 0.002505 | 0.0006278 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_700-18_0_4_load_2 | 2 | 0.0012819 | 0.00032127 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_700-18_0_4_load_83 | 3 | 0.00099323 | 0.00024893 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_700-18_0_4_load_3 | 4 | 0.0012771 | 0.00032008 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_700-18_0_4_load_5 | 5 | 0.0012808 | 0.000321 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_700-18_0_4_load_4 | 6 | 0.0014404 | 0.00036099 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_700-18_0_4_load_6 | 7 | 0.0012827 | 0.00032148 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_700-18_0_4_load_7 | 8 | 0.0012726 | 0.00031896 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_700-18_0_4_load_82 | 9 | 0.0032975 | 0.00082644 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_700-18_0_4_load_81 | 10 | 0.0012913 | 0.00032364 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_700-18_0_4_load_8 | 11 | 0.0025909 | 0.00064935 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_700-18_0_4_load_9 | 12 | 0.0025905 | 0.00064925 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_700-18_0_4_load_10 | 13 | 0.0025863 | 0.0006482 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_700-18_0_4_load_11 | 14 | 0.003169 | 0.00079423 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_700-18_0_4_load_12 | 15 | 0.0032094 | 0.00080434 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_700-18_0_4_load_75 | 16 | 0.0057517 | 0.0014415 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_700-18_0_4_load_13 | 18 | 0.0077264 | 0.0019364 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_700-18_0_4_load_15 | 19 | 0.0012628 | 0.00031649 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_700-18_0_4_load_16 | 21 | 0.0022603 | 0.00056647 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_700-18_0_4_load_17 | 22 | 0.0049863 | 0.0012497 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_700-18_0_4_load_18 | 23 | 0.0022568 | 0.0005656 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_700-18_0_4_load_19 | 24 | 0.0022499 | 0.00056387 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_700-18_0_4_load_31 | 26 | 0.0021898 | 0.00054882 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_700-18_0_4_load_78 | 27 | 0.0021746 | 0.00054501 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_700-18_0_4_load_23 | 28 | 0.0020168 | 0.00050545 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_700-18_0_4_load_30 | 30 | 0.0019679 | 0.00049321 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_700-18_0_4_load_21 | 31 | 0.0020409 | 0.0005115 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_700-18_0_4_load_22 | 32 | 0.0020166 | 0.00050541 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_700-18_0_4_load_24 | 33 | 0.0019616 | 0.00049163 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_700-18_0_4_load_25 | 34 | 0.003815 | 0.00095612 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_700-18_0_4_load_28 | 37 | 0.0035648 | 0.00089343 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_700-18_0_4_load_44 | 39 | 0.0047995 | 0.0012029 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_700-18_0_4_load_34 | 41 | 0.0039381 | 0.00098697 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_700-18_0_4_load_56 | 42 | 0.0035733 | 0.00089555 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_700-18_0_4_load_54 | 43 | 0.0019274 | 0.00048306 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_700-18_0_4_load_41 | 44 | 0.0018951 | 0.00047495 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_700-18_0_4_load_74 | 45 | 0.0036453 | 0.00091359 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_700-18_0_4_load_40 | 47 | 0.0034502 | 0.0008647 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_700-18_0_4_load_35 | 48 | 0.0029006 | 0.00072696 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_700-18_0_4_load_36 | 49 | 0.00302 | 0.00075689 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_700-18_0_4_load_37 | 50 | 0.0022398 | 0.00056134 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_700-18_0_4_load_38 | 51 | 0.0043877 | 0.0010997 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_700-18_0_4_load_39 | 52 | 0.0015029 | 0.00037666 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_700-18_0_4_load_43 | 55 | 0.001937 | 0.00048547 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_700-18_0_4_load_68 | 56 | 0.0012806 | 0.00032094 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_700-18_0_4_load_73 | 57 | 0.0028695 | 0.00071916 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_700-18_0_4_load_66 | 58 | 0.001985 | 0.00049749 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_700-18_0_4_load_46 | 59 | 0.002413 | 0.00060477 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_700-18_0_4_load_47 | 60 | 0.0035876 | 0.00089913 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_700-18_0_4_load_48 | 61 | 0.0048155 | 0.0012069 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_700-18_0_4_load_49 | 62 | 0.0036425 | 0.00091291 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_700-18_0_4_load_50 | 63 | 0.003153 | 0.00079022 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_700-18_0_4_load_72 | 64 | 0.0017223 | 0.00043166 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_700-18_0_4_load_51 | 65 | 0.0031201 | 0.00078197 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_700-18_0_4_load_52 | 66 | 0.0042947 | 0.0010764 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_700-18_0_4_load_55 | 67 | 0.0033309 | 0.00083479 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_700-18_0_4_load_62 | 68 | 0.0018069 | 0.00045286 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_700-18_0_4_load_57 | 69 | 0.0030153 | 0.00075572 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_700-18_0_4_load_58 | 70 | 0.0040929 | 0.0010258 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_700-18_0_4_load_60 | 72 | 0.0055144 | 0.001382 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_700-18_0_4_load_61 | 73 | 0.0013281 | 0.00033284 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_700-18_0_4_load_64 | 74 | 0.0059832 | 0.0014995 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_700-18_0_4_load_65 | 75 | 0.0027829 | 0.00069746 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_700-18_0_4_load_71 | 76 | 0.002225 | 0.00055764 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_700-18_0_4_load_77 | 78 | 0.0013981 | 0.00035041 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_700-18_0_4_load_67 | 79 | 0.0025059 | 0.00062804 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_700-18_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0042773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_700-18_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.027291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_700-18_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.049583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_700-18_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0019736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_700-18_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.012819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_700-18_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.0020769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_700-18_0_4_line_6 | NAYY 4x150 SE | 6 | 7 | 0.012747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_700-18_0_4_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0093096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_700-18_0_4_line_8 | NAYY 4x150 SE | 8 | 9 | 0.02057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_700-18_0_4_line_9 | NAYY 4x150 SE | 9 | 10 | 0.0028527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_700-18_0_4_line_10 | NAYY 4x150 SE | 10 | 78 | 0.023587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_700-18_0_4_line_11 | NAYY 4x150 SE | 11 | 12 | 0.0071518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_700-18_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.0056355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_700-18_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.0068646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_700-18_0_4_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0078008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_700-18_0_4_line_15 | NAYY 4x150 SE | 14 | 16 | 0.032541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_700-18_0_4_line_16 | NAYY 4x150 SE | 16 | 17 | 0.03415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_700-18_0_4_line_17 | NAYY 4x150 SE | 16 | 18 | 0.032515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_700-18_0_4_line_18 | NAYY 4x150 SE | 17 | 20 | 0.011403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_700-18_0_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.051401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_700-18_0_4_line_20 | NAYY 4x150 SE | 20 | 78 | 0.019735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_700-18_0_4_line_21 | NAYY 4x150 SE | 20 | 68 | 0.0072566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_700-18_0_4_line_22 | NAYY 4x150 SE | 21 | 22 | 0.004435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_700-18_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0070864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_700-18_0_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.0026445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_700-18_0_4_line_25 | NAYY 4x150 SE | 23 | 25 | 0.012685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_700-18_0_4_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0067351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_700-18_0_4_line_27 | NAYY 4x150 SE | 25 | 27 | 0.012135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_700-18_0_4_line_28 | NAYY 4x150 SE | 25 | 28 | 0.018023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_700-18_0_4_line_29 | NAYY 4x150 SE | 26 | 29 | 0.012356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_700-18_0_4_line_30 | NAYY 4x150 SE | 27 | 30 | 0.0030059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_700-18_0_4_line_31 | NAYY 4x150 SE | 28 | 31 | 0.007088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_700-18_0_4_line_32 | NAYY 4x150 SE | 29 | 40 | 0.040965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_700-18_0_4_line_33 | NAYY 4x150 SE | 29 | 41 | 0.020179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_700-18_0_4_line_34 | NAYY 4x150 SE | 29 | 37 | 0.018332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_700-18_0_4_line_35 | NAYY 4x150 SE | 30 | 35 | 0.012624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_700-18_0_4_line_36 | NAYY 4x150 SE | 31 | 32 | 0.0070823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_700-18_0_4_line_37 | NAYY 4x150 SE | 32 | 33 | 0.0067165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_700-18_0_4_line_38 | NAYY 4x150 SE | 34 | 35 | 0.022462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_700-18_0_4_line_39 | NAYY 4x150 SE | 36 | 37 | 0.0051503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_700-18_0_4_line_40 | NAYY 4x150 SE | 36 | 38 | 0.017225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_700-18_0_4_line_41 | NAYY 4x150 SE | 38 | 39 | 0.013503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_700-18_0_4_line_42 | NAYY 4x150 SE | 40 | 42 | 0.026573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_700-18_0_4_line_43 | NAYY 4x150 SE | 40 | 43 | 0.017941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_700-18_0_4_line_44 | NAYY 4x150 SE | 41 | 44 | 0.018357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_700-18_0_4_line_45 | NAYY 4x150 SE | 42 | 45 | 0.013917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_700-18_0_4_line_46 | NAYY 4x150 SE | 43 | 46 | 0.0012945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_700-18_0_4_line_47 | NAYY 4x150 SE | 44 | 47 | 0.0042608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_700-18_0_4_line_48 | NAYY 4x150 SE | 46 | 67 | 0.018053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_700-18_0_4_line_49 | NAYY 4x150 SE | 46 | 66 | 0.035432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_700-18_0_4_line_50 | NAYY 4x150 SE | 47 | 53 | 0.013566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_700-18_0_4_line_51 | NAYY 4x150 SE | 48 | 49 | 0.012788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_700-18_0_4_line_52 | NAYY 4x150 SE | 48 | 50 | 0.0017755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_700-18_0_4_line_53 | NAYY 4x150 SE | 49 | 51 | 0.016265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_700-18_0_4_line_54 | NAYY 4x150 SE | 50 | 52 | 0.0077687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_700-18_0_4_line_55 | NAYY 4x150 SE | 51 | 53 | 0.020763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_700-18_0_4_line_56 | NAYY 4x150 SE | 52 | 54 | 0.01927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_700-18_0_4_line_57 | NAYY 4x150 SE | 53 | 55 | 0.014188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_700-18_0_4_line_58 | NAYY 4x150 SE | 54 | 56 | 0.012527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_700-18_0_4_line_59 | NAYY 4x150 SE | 55 | 57 | 0.0070158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_700-18_0_4_line_60 | NAYY 4x150 SE | 56 | 79 | 0.021092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_700-18_0_4_line_61 | NAYY 4x150 SE | 57 | 58 | 0.026749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_700-18_0_4_line_62 | NAYY 4x150 SE | 58 | 75 | 0.0020722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_700-18_0_4_line_63 | NAYY 4x150 SE | 59 | 60 | 0.0012151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_700-18_0_4_line_64 | NAYY 4x150 SE | 59 | 61 | 0.028904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_700-18_0_4_line_65 | NAYY 4x150 SE | 60 | 62 | 0.023787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_700-18_0_4_line_66 | NAYY 4x150 SE | 61 | 63 | 0.0042548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_700-18_0_4_line_67 | NAYY 4x150 SE | 62 | 64 | 0.0035003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_700-18_0_4_line_68 | NAYY 4x150 SE | 63 | 65 | 0.0289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_700-18_0_4_line_69 | NAYY 4x150 SE | 65 | 66 | 0.0043465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_700-18_0_4_line_70 | NAYY 4x150 SE | 67 | 68 | 0.0098173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_700-18_0_4_line_71 | NAYY 4x150 SE | 69 | 70 | 0.0026761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_700-18_0_4_line_72 | NAYY 4x150 SE | 69 | 71 | 0.017254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_700-18_0_4_line_73 | NAYY 4x150 SE | 71 | 72 | 0.01957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_700-18_0_4_line_74 | NAYY 4x150 SE | 71 | 73 | 0.0069101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_700-18_0_4_line_75 | NAYY 4x150 SE | 72 | 74 | 0.00071748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_700-18_0_4_line_76 | NAYY 4x150 SE | 74 | 75 | 0.025135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_700-18_0_4_line_77 | NAYY 4x150 SE | 76 | 77 | 0.029606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_700-18_0_4_line_78 | NAYY 4x150 SE | 77 | 79 | 0.030018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_700-18_0_4_trafo_53 | 0.25 MVA 20/0.4 kV | 80 | 46 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2594291.8018 | 1236545.7301 | 2594295.2686 | 1236548.2354
1 | 2594291.8018 | 1236545.7301 | 2594276.3167 | 1236534.54 | 2594268.6791 | 1236531.5943
2 | 2594295.2686 | 1236548.2354 | 2594267.186 | 1236589.0985
3 | 2594266.8377 | 1236530.8842 | 2594268.6791 | 1236531.5943
4 | 2594254.8776 | 1236526.2715 | 2594266.8377 | 1236530.8842
5 | 2594252.9398 | 1236525.5241 | 2594254.8776 | 1236526.2715
6 | 2594252.9398 | 1236525.5241 | 2594241.0469 | 1236520.9374
7 | 2594241.0469 | 1236520.9374 | 2594235.8308 | 1236518.9257 | 2594232.6235 | 1236517.043
8 | 2594223.7896 | 1236502.9863 | 2594230.8545 | 1236505.7003 | 2594233.1269 | 1236508.3107 | 2594231.5268 | 1236512.2814 | 2594231.7655 | 1236516.5393 | 2594232.6235 | 1236517.043
9 | 2594221.1267 | 1236501.9633 | 2594223.7896 | 1236502.9863
10 | 2594217.412 | 1236485.1121 | 2594217.412 | 1236485.1121 | 2594212.5528 | 1236498.6696 | 2594221.1267 | 1236501.9633
11 | 2594125.6834 | 1236445.2941 | 2594132.1776 | 1236448.2898
12 | 2594125.6834 | 1236445.2941 | 2594120.5661 | 1236442.9335
13 | 2594132.1776 | 1236448.2898 | 2594138.411 | 1236451.1651
14 | 2594120.5661 | 1236442.9335 | 2594113.4825 | 1236439.6659
15 | 2594167.9594 | 1236464.7955 | 2594138.411 | 1236451.1651
16 | 2594198.5152 | 1236473.1012 | 2594193.3509 | 1236476.5084 | 2594167.9594 | 1236464.7955
17 | 2594167.9594 | 1236464.7955 | 2594144.9998 | 1236487.8189
18 | 2594208.4666 | 1236467.5213 | 2594202.3789 | 1236470.5625 | 2594198.5152 | 1236473.1012
19 | 2594198.5152 | 1236473.1012 | 2594209.2786 | 1236485.2869 | 2594198.536 | 1236518.7473
20 | 2594208.4666 | 1236467.5213 | 2594217.412 | 1236485.1121
21 | 2594208.4666 | 1236467.5213 | 2594213.7855 | 1236462.5848
22 | 2594209.9947 | 1236382.5988 | 2594214.2272 | 1236383.9234
23 | 2594203.2317 | 1236380.4824 | 2594209.9947 | 1236382.5988
24 | 2594216.7511 | 1236384.7132 | 2594214.2272 | 1236383.9234
25 | 2594191.1259 | 1236376.6941 | 2594203.2317 | 1236380.4824
26 | 2594223.1788 | 1236386.7247 | 2594216.7511 | 1236384.7132
27 | 2594191.1259 | 1236376.6941 | 2594193.1742 | 1236364.7337
28 | 2594191.1259 | 1236376.6941 | 2594174.374 | 1236370.0459
29 | 2594234.9704 | 1236390.4147 | 2594223.1788 | 1236386.7247
30 | 2594193.1742 | 1236364.7337 | 2594193.6816 | 1236361.7709
31 | 2594174.374 | 1236370.0459 | 2594167.7858 | 1236367.4313
32 | 2594234.9704 | 1236390.4147 | 2594222.4729 | 1236422.9691 | 2594222.9859 | 1236429.0501
33 | 2594234.9704 | 1236390.4147 | 2594253.5793 | 1236398.2179
34 | 2594234.9704 | 1236390.4147 | 2594239.767 | 1236372.7213
35 | 2594195.8125 | 1236349.3283 | 2594193.6816 | 1236361.7709
36 | 2594161.203 | 1236364.8189 | 2594167.7858 | 1236367.4313
37 | 2594161.203 | 1236364.8189 | 2594154.9602 | 1236362.3414
38 | 2594195.8125 | 1236349.3283 | 2594216.8999 | 1236357.0661
39 | 2594241.1146 | 1236367.7504 | 2594239.767 | 1236372.7213
40 | 2594243.8597 | 1236350.8485 | 2594243.4517 | 1236359.1428 | 2594241.1146 | 1236367.7504
41 | 2594243.8597 | 1236350.8485 | 2594247.6924 | 1236347.4649 | 2594253.9836 | 1236341.9136
42 | 2594222.9859 | 1236429.0501 | 2594199.0011 | 1236417.6111
43 | 2594222.9859 | 1236429.0501 | 2594223.185 | 1236431.4736 | 2594225.3234 | 1236436.3189 | 2594233.2132 | 1236442.8038
44 | 2594253.5793 | 1236398.2179 | 2594270.5084 | 1236405.3166
45 | 2594186.4392 | 1236411.62 | 2594199.0011 | 1236417.6111
46 | 2594234.2132 | 1236443.6257 | 2594233.2132 | 1236442.8038
47 | 2594274.4378 | 1236406.9643 | 2594270.5084 | 1236405.3166
48 | 2594234.2132 | 1236443.6257 | 2594220.9812 | 1236455.9065
49 | 2594234.2132 | 1236443.6257 | 2594255.7137 | 1236456.5903 | 2594264.602 | 1236461.8456
50 | 2594286.9487 | 1236412.2105 | 2594274.4378 | 1236406.9643
51 | 2594330.3831 | 1236387.8183 | 2594319.2333 | 1236394.0799
52 | 2594330.3831 | 1236387.8183 | 2594331.9312 | 1236386.9489
53 | 2594305.0519 | 1236402.044 | 2594319.2333 | 1236394.0799
54 | 2594331.9312 | 1236386.9489 | 2594338.7048 | 1236383.145
55 | 2594286.9487 | 1236412.2105 | 2594305.0519 | 1236402.044
56 | 2594355.5064 | 1236373.7094 | 2594338.7048 | 1236383.145
57 | 2594286.9487 | 1236412.2105 | 2594298.4174 | 1236420.5634
58 | 2594355.5064 | 1236373.7094 | 2594365.5386 | 1236381.2107
59 | 2594298.4174 | 1236420.5634 | 2594304.0884 | 1236424.6938
60 | 2594382.4307 | 1236393.8415 | 2594365.5386 | 1236381.2107
61 | 2594325.7108 | 1236440.442 | 2594304.0884 | 1236424.6938
62 | 2594325.7108 | 1236440.442 | 2594327.3858 | 1236441.662
63 | 2594319.025 | 1236499.5435 | 2594319.9619 | 1236500.3173
64 | 2594319.025 | 1236499.5435 | 2594296.7402 | 1236481.1361
65 | 2594319.9619 | 1236500.3173 | 2594338.3017 | 1236515.4662
66 | 2594293.2207 | 1236478.7668 | 2594295.5117 | 1236480.1214 | 2594296.7402 | 1236481.1361
67 | 2594341.0004 | 1236517.6953 | 2594338.3017 | 1236515.4662
68 | 2594268.3434 | 1236464.0578 | 2594293.2207 | 1236478.7668
69 | 2594268.3434 | 1236464.0578 | 2594264.602 | 1236461.8456
70 | 2594220.9812 | 1236455.9065 | 2594213.7855 | 1236462.5848
71 | 2594376.4973 | 1236480.4062 | 2594378.4197 | 1236482.2678
72 | 2594364.102 | 1236468.4034 | 2594376.4973 | 1236480.4062
73 | 2594364.102 | 1236468.4034 | 2594348.2831 | 1236456.8821
74 | 2594364.102 | 1236468.4034 | 2594368.2436 | 1236462.872
75 | 2594347.7032 | 1236456.4597 | 2594348.2831 | 1236456.8821
76 | 2594347.7032 | 1236456.4597 | 2594327.3858 | 1236441.662
77 | 2594406.471 | 1236411.8171 | 2594388.7265 | 1236435.516
78 | 2594406.471 | 1236411.8171 | 2594382.4307 | 1236393.8415

## bus_geodata
| x | y | coords
0 | 2594291.8018 | 1236545.7301
1 | 2594295.2686 | 1236548.2354
2 | 2594268.6791 | 1236531.5943
3 | 2594267.186 | 1236589.0985
4 | 2594266.8377 | 1236530.8842
5 | 2594254.8776 | 1236526.2715
6 | 2594252.9398 | 1236525.5241
7 | 2594241.0469 | 1236520.9374
8 | 2594232.6235 | 1236517.043
9 | 2594223.7896 | 1236502.9863
10 | 2594221.1267 | 1236501.9633
11 | 2594125.6834 | 1236445.2941
12 | 2594132.1776 | 1236448.2898
13 | 2594120.5661 | 1236442.9335
14 | 2594138.411 | 1236451.1651
15 | 2594113.4825 | 1236439.6659
16 | 2594167.9594 | 1236464.7955
17 | 2594198.5152 | 1236473.1012
18 | 2594144.9998 | 1236487.8189
19 | 2594198.536 | 1236518.7473
20 | 2594208.4666 | 1236467.5213
21 | 2594209.9947 | 1236382.5988
22 | 2594214.2272 | 1236383.9234
23 | 2594203.2317 | 1236380.4824
24 | 2594216.7511 | 1236384.7132
25 | 2594191.1259 | 1236376.6941
26 | 2594223.1788 | 1236386.7247
27 | 2594193.1742 | 1236364.7337
28 | 2594174.374 | 1236370.0459
29 | 2594234.9704 | 1236390.4147
30 | 2594193.6816 | 1236361.7709
31 | 2594167.7858 | 1236367.4313
32 | 2594161.203 | 1236364.8189
33 | 2594154.9602 | 1236362.3414
34 | 2594216.8999 | 1236357.0661
35 | 2594195.8125 | 1236349.3283
36 | 2594241.1146 | 1236367.7504
37 | 2594239.767 | 1236372.7213
38 | 2594243.8597 | 1236350.8485
39 | 2594253.9836 | 1236341.9136
40 | 2594222.9859 | 1236429.0501
41 | 2594253.5793 | 1236398.2179
42 | 2594199.0011 | 1236417.6111
43 | 2594233.2132 | 1236442.8038
44 | 2594270.5084 | 1236405.3166
45 | 2594186.4392 | 1236411.62
46 | 2594234.2132 | 1236443.6257
47 | 2594274.4378 | 1236406.9643
48 | 2594330.3831 | 1236387.8183
49 | 2594319.2333 | 1236394.0799
50 | 2594331.9312 | 1236386.9489
51 | 2594305.0519 | 1236402.044
52 | 2594338.7048 | 1236383.145
53 | 2594286.9487 | 1236412.2105
54 | 2594355.5064 | 1236373.7094
55 | 2594298.4174 | 1236420.5634
56 | 2594365.5386 | 1236381.2107
57 | 2594304.0884 | 1236424.6938
58 | 2594325.7108 | 1236440.442
59 | 2594319.025 | 1236499.5435
60 | 2594319.9619 | 1236500.3173
61 | 2594296.7402 | 1236481.1361
62 | 2594338.3017 | 1236515.4662
63 | 2594293.2207 | 1236478.7668
64 | 2594341.0004 | 1236517.6953
65 | 2594268.3434 | 1236464.0578
66 | 2594264.602 | 1236461.8456
67 | 2594220.9812 | 1236455.9065
68 | 2594213.7855 | 1236462.5848
69 | 2594376.4973 | 1236480.4062
70 | 2594378.4197 | 1236482.2678
71 | 2594364.102 | 1236468.4034
72 | 2594348.2831 | 1236456.8821
73 | 2594368.2436 | 1236462.872
74 | 2594347.7032 | 1236456.4597
75 | 2594327.3858 | 1236441.662
76 | 2594388.7265 | 1236435.516
77 | 2594406.471 | 1236411.8171
78 | 2594217.412 | 1236485.1121
79 | 2594382.4307 | 1236393.8415
80 | 2594222.9859 | 1236429.0501

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1