## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_701-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_701-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_701-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_701-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_701-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_701-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_701-2_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_701-2_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_701-2_0_3_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_701-2_0_3_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_701-2_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_701-2_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_701-2_0_3_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_701-2_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_701-2_0_3_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_701-2_0_3_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_701-2_0_3_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_701-2_0_3_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_701-2_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_701-2_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_701-2_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_701-2_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_701-2_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_701-2_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_701-2_0_3_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_701-2_0_3_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_701-2_0_3_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_701-2_0_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_701-2_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_701-2_0_3_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_701-2_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_701-2_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_701-2_0_3_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_701-2_0_3_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_701-2_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_701-2_0_3_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_701-2_0_3_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_701-2_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_701-2_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_701-2_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_701-2_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_701-2_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_701-2_0_3_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_701-2_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_701-2_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_701-2_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_701-2_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_701-2_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_701-2_0_3_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_701-2_0_3_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_701-2_0_3_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_701-2_0_3_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_701-2_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_701-2_0_3_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_701-2_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_701-2_0_3_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_701-2_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_701-2_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_701-2_0_3_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_701-2_0_3_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_701-2_0_3_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_701-2_0_3_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_701-2_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_MV_345_0_node_181 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_701-2_0_3_load_0 | 0 | 0.0055918 | 0.0014014 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_701-2_0_3_load_1 | 1 | 0.0021639 | 0.00054231 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_701-2_0_3_load_3 | 3 | 0.0052659 | 0.0013198 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_701-2_0_3_load_4 | 4 | 0.0062317 | 0.0015618 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_701-2_0_3_load_21 | 8 | 0.0064374 | 0.0016134 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_701-2_0_3_load_20 | 9 | 0.0049534 | 0.0012414 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_701-2_0_3_load_7 | 10 | 0.0035531 | 0.00089049 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_701-2_0_3_load_8 | 11 | 0.00069656 | 0.00017457 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_701-2_0_3_load_13 | 12 | 0.0015571 | 0.00039024 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_701-2_0_3_load_9 | 13 | 0.0014893 | 0.00037325 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_701-2_0_3_load_23 | 14 | 0.0039693 | 0.00099481 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_701-2_0_3_load_28 | 16 | 0.0010817 | 0.00027109 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_701-2_0_3_load_26 | 17 | 0.00074823 | 0.00018752 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_701-2_0_3_load_10 | 18 | 0.00149 | 0.00037344 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_701-2_0_3_load_14 | 20 | 0.0011848 | 0.00029695 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_701-2_0_3_load_17 | 21 | 0.0033259 | 0.00083356 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_701-2_0_3_load_16 | 23 | 0.00093294 | 0.00023382 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_701-2_0_3_load_54 | 24 | 0.00070343 | 0.0001763 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_701-2_0_3_load_59 | 25 | 0.0037523 | 0.00094041 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_701-2_0_3_load_55 | 26 | 0.013013 | 0.0032614 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_701-2_0_3_load_27 | 27 | 0.0011286 | 0.00028286 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_701-2_0_3_load_22 | 28 | 0.00303 | 0.00075938 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_701-2_0_3_load_30 | 29 | 0.005122 | 0.0012837 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_701-2_0_3_load_24 | 30 | 0.0025109 | 0.0006293 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_701-2_0_3_load_25 | 31 | 0.0022084 | 0.00055347 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_701-2_0_3_load_38 | 32 | 0.0071355 | 0.0017883 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_701-2_0_3_load_37 | 33 | 0.0032379 | 0.00081151 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_701-2_0_3_load_29 | 34 | 0.0017828 | 0.00044681 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_701-2_0_3_load_63 | 35 | 0.0026479 | 0.00066363 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_701-2_0_3_load_64 | 36 | 0.0014936 | 0.00037432 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_701-2_0_3_load_31 | 37 | 0.0023664 | 0.00059307 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_701-2_0_3_load_33 | 39 | 0.0039381 | 0.00098699 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_701-2_0_3_load_36 | 41 | 0.016035 | 0.0040187 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_701-2_0_3_load_52 | 42 | 0.00079482 | 0.0001992 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_701-2_0_3_load_35 | 43 | 0.0023313 | 0.00058428 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_701-2_0_3_load_39 | 45 | 0.0029545 | 0.00074046 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_701-2_0_3_load_40 | 46 | 0.012329 | 0.00309 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_701-2_0_3_load_41 | 47 | 0.0092706 | 0.0023234 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_701-2_0_3_load_43 | 48 | 0.015025 | 0.0037655 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_701-2_0_3_load_53 | 49 | 0.0010814 | 0.00027102 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_701-2_0_3_load_44 | 52 | 0.00093383 | 0.00023404 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_701-2_0_3_load_45 | 53 | 0.00064313 | 0.00016118 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_701-2_0_3_load_46 | 54 | 0.005096 | 0.0012772 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_701-2_0_3_load_60 | 55 | 0.00052397 | 0.00013132 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_701-2_0_3_load_48 | 57 | 0.00096808 | 0.00024262 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_701-2_0_3_load_62 | 59 | 0.00050165 | 0.00012572 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_701-2_0_3_load_57 | 60 | 0.00077973 | 0.00019542 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_701-2_0_3_load_58 | 61 | 0.00054646 | 0.00013696 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_701-2_0_3_load_56 | 62 | 0.0011623 | 0.0002913 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_701-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_701-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.001594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_701-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.033243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_701-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.020572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_701-2_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.027525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_701-2_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.010639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_701-2_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.013014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_701-2_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.016514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_701-2_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.024496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_701-2_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.010092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_701-2_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.030269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_701-2_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.021209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_701-2_0_3_line_12 | NAYY 4x150 SE | 7 | 13 | 0.013078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_701-2_0_3_line_13 | NAYY 4x150 SE | 8 | 14 | 0.016628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_701-2_0_3_line_14 | NAYY 4x150 SE | 9 | 15 | 0.0079711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_701-2_0_3_line_15 | NAYY 4x150 SE | 11 | 16 | 0.022399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_701-2_0_3_line_16 | NAYY 4x150 SE | 12 | 21 | 0.01083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_701-2_0_3_line_17 | NAYY 4x150 SE | 13 | 18 | 0.034369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_701-2_0_3_line_18 | NAYY 4x150 SE | 14 | 30 | 0.016073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_701-2_0_3_line_19 | NAYY 4x150 SE | 15 | 28 | 0.027586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_701-2_0_3_line_20 | NAYY 4x150 SE | 16 | 17 | 0.010895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_701-2_0_3_line_21 | NAYY 4x150 SE | 17 | 27 | 0.022606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_701-2_0_3_line_22 | NAYY 4x150 SE | 18 | 19 | 0.023776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_701-2_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.016671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_701-2_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.024706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_701-2_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.046311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_701-2_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0049512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_701-2_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.017636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_701-2_0_3_line_28 | NAYY 4x150 SE | 26 | 62 | 0.011895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_701-2_0_3_line_29 | NAYY 4x150 SE | 27 | 34 | 0.039802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_701-2_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.029742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_701-2_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.014128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_701-2_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.022738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_701-2_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.012639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_701-2_0_3_line_34 | NAYY 4x150 SE | 33 | 43 | 0.010155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_701-2_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.011205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_701-2_0_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.039757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_701-2_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.0021027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_701-2_0_3_line_38 | NAYY 4x150 SE | 38 | 39 | 0.010554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_701-2_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.031562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_701-2_0_3_line_40 | NAYY 4x150 SE | 40 | 41 | 0.012157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_701-2_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.011177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_701-2_0_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.013544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_701-2_0_3_line_43 | NAYY 4x150 SE | 42 | 44 | 0.0046143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_701-2_0_3_line_44 | NAYY 4x150 SE | 44 | 49 | 0.0088204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_701-2_0_3_line_45 | NAYY 4x150 SE | 44 | 46 | 0.030159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_701-2_0_3_line_46 | NAYY 4x150 SE | 45 | 46 | 0.0065327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_701-2_0_3_line_47 | NAYY 4x150 SE | 45 | 47 | 0.014622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_701-2_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.013796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_701-2_0_3_line_49 | NAYY 4x150 SE | 48 | 50 | 0.040377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_701-2_0_3_line_50 | NAYY 4x150 SE | 50 | 51 | 0.017696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_701-2_0_3_line_51 | NAYY 4x150 SE | 51 | 62 | 0.026929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_701-2_0_3_line_52 | NAYY 4x150 SE | 51 | 57 | 0.039132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_701-2_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.012444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_701-2_0_3_line_54 | NAYY 4x150 SE | 52 | 54 | 0.013539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_701-2_0_3_line_55 | NAYY 4x150 SE | 52 | 55 | 0.053435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_701-2_0_3_line_56 | NAYY 4x150 SE | 53 | 56 | 0.048974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_701-2_0_3_line_57 | NAYY 4x150 SE | 54 | 57 | 0.0056199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_701-2_0_3_line_58 | NAYY 4x150 SE | 55 | 58 | 0.016774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_701-2_0_3_line_59 | NAYY 4x150 SE | 56 | 60 | 0.020709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_701-2_0_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.0062392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_701-2_0_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.0091447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_701-2_0_3_trafo_25 | 0.25 MVA 20/0.4 kV | 63 | 31 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2592749.0977 | 1236120.3537 | 2592752.1102 | 1236120.6048 | 2592759.4395 | 1236118.4831
1 | 2592747.5093 | 1236120.2213 | 2592749.0977 | 1236120.3537
2 | 2592759.4395 | 1236118.4831 | 2592789.7933 | 1236109.6962 | 2592791.4121 | 1236109.4176
3 | 2592747.5093 | 1236120.2213 | 2592741.9835 | 1236130.7234 | 2592736.6323 | 1236137.5896
4 | 2592720.5725 | 1236114.1954 | 2592747.5093 | 1236120.2213
5 | 2592801.8972 | 1236107.6134 | 2592791.4121 | 1236109.4176
6 | 2592727.2556 | 1236146.2178 | 2592731.7925 | 1236143.7996 | 2592736.6323 | 1236137.5896
7 | 2592720.5725 | 1236114.1954 | 2592722.8999 | 1236097.8459
8 | 2592720.5725 | 1236114.1954 | 2592707.9328 | 1236111.2982 | 2592698.5881 | 1236104.546
9 | 2592801.8972 | 1236107.6134 | 2592804.5287 | 1236097.8702
10 | 2592801.8972 | 1236107.6134 | 2592831.688 | 1236102.4183 | 2592831.7168 | 1236102.4188
11 | 2592727.2556 | 1236146.2178 | 2592720.2276 | 1236147.3049 | 2592706.2601 | 1236145.3956
12 | 2592727.2556 | 1236146.2178 | 2592723.5878 | 1236153.9492 | 2592721.2736 | 1236157.8321
13 | 2592715.6108 | 1236083.3122 | 2592717.3626 | 1236088.4503 | 2592723.0704 | 1236096.6483 | 2592722.8999 | 1236097.8459
14 | 2592692.1272 | 1236099.8775 | 2592698.5881 | 1236104.546
15 | 2592831.7168 | 1236102.4188 | 2592854.1122 | 1236102.7958
16 | 2592706.2601 | 1236145.3956 | 2592703.3817 | 1236145.0022 | 2592696.0639 | 1236141.9605
17 | 2592721.2736 | 1236157.8321 | 2592718.6874 | 1236162.1714 | 2592711.9062 | 1236166.9939 | 2592697.1881 | 1236172.0597 | 2592691.8005 | 1236171.3774
18 | 2592715.6108 | 1236083.3122 | 2592710.4239 | 1236068.0986
19 | 2592692.1272 | 1236099.8775 | 2592681.1924 | 1236074.5514
20 | 2592865.0053 | 1236102.9792 | 2592854.1122 | 1236102.7958
21 | 2592865.0053 | 1236102.9792 | 2592872.3364 | 1236103.1026 | 2592887.3462 | 1236105.9283
22 | 2592669.3878 | 1236165.0901 | 2592676.3241 | 1236169.4174 | 2592691.8005 | 1236171.3774
23 | 2592669.3878 | 1236165.0901 | 2592670.9467 | 1236181.6877
24 | 2592841.2883 | 1236045.1717 | 2592865.975 | 1236044.1935
25 | 2592810.4252 | 1236010.643 | 2592841.2883 | 1236045.1717
26 | 2592870.9224 | 1236043.9975 | 2592865.975 | 1236044.1935
27 | 2592810.4252 | 1236010.643 | 2592808.9347 | 1236009.167 | 2592800.8069 | 1235995.9244 | 2592800.8069 | 1235995.9244
28 | 2592799.5196 | 1235984.0988 | 2592800.8069 | 1235995.9244
29 | 2592925.5422 | 1236116.3918 | 2592910.8892 | 1236110.3604 | 2592887.3462 | 1236105.9283
30 | 2592681.1924 | 1236074.5514 | 2592680.1905 | 1236072.2311 | 2592669.9815 | 1236058.7911 | 2592662.212 | 1236051.9736
31 | 2592710.4239 | 1236068.0986 | 2592705.8648 | 1236054.7264
32 | 2592698.5273 | 1236033.2049 | 2592705.8648 | 1236054.7264
33 | 2592698.5273 | 1236033.2049 | 2592694.4487 | 1236021.2421
34 | 2592691.1717 | 1236011.6307 | 2592694.4487 | 1236021.2421
35 | 2592925.5422 | 1236116.3918 | 2592935.9033 | 1236120.6566
36 | 2592925.5422 | 1236116.3918 | 2592920.814 | 1236076.9169
37 | 2592657.7743 | 1236002.4609 | 2592655.8302 | 1236003.2622
38 | 2592657.7743 | 1236002.4609 | 2592655.2435 | 1235999.6512 | 2592650.7131 | 1235994.6164
39 | 2592685.0855 | 1235986.6617 | 2592671.6507 | 1235995.7173 | 2592657.7743 | 1236002.4609
40 | 2592685.0855 | 1235986.6617 | 2592687.9564 | 1235998.4747
41 | 2592685.0855 | 1235986.6617 | 2592693.6188 | 1235979.4429
42 | 2592691.1717 | 1236011.6307 | 2592691.1091 | 1236011.4471 | 2592687.9564 | 1235998.4747
43 | 2592697.1417 | 1235976.4627 | 2592693.6188 | 1235979.4429
44 | 2592697.1417 | 1235976.4627 | 2592703.1742 | 1235970.0278
45 | 2592697.1417 | 1235976.4627 | 2592723.1595 | 1235967.0024 | 2592725.6276 | 1235966.8234
46 | 2592732.1432 | 1235966.3509 | 2592725.6276 | 1235966.8234
47 | 2592732.1432 | 1235966.3509 | 2592739.3811 | 1235965.8261 | 2592746.4763 | 1235963.8494 | 2592746.4763 | 1235963.8494
48 | 2592756.807 | 1235954.7052 | 2592746.4763 | 1235963.8494
49 | 2592793.5498 | 1235939.8992 | 2592764.2992 | 1235948.0734 | 2592756.807 | 1235954.7052
50 | 2592796.6055 | 1235957.3283 | 2592793.5498 | 1235939.8992
51 | 2592796.6055 | 1235957.3283 | 2592799.5196 | 1235984.0988
52 | 2592796.6055 | 1235957.3283 | 2592804.9018 | 1235959.9308 | 2592816.6593 | 1235958.9269 | 2592824.0287 | 1235952.2138 | 2592832.5573 | 1235950.6622
53 | 2592851.4067 | 1235947.233 | 2592851.4067 | 1235947.233 | 2592860.4282 | 1235955.0267 | 2592860.8054 | 1235955.3879
54 | 2592851.4067 | 1235947.233 | 2592838.0865 | 1235949.6563
55 | 2592851.4067 | 1235947.233 | 2592860.2783 | 1235894.54
56 | 2592902.2104 | 1235978.9463 | 2592889.7456 | 1235976.9157 | 2592873.8445 | 1235967.8738 | 2592860.8054 | 1235955.3879
57 | 2592838.0865 | 1235949.6563 | 2592832.5573 | 1235950.6622
58 | 2592875.7529 | 1235888.0673 | 2592860.2783 | 1235894.54
59 | 2592902.2104 | 1235978.9463 | 2592899.9975 | 1235958.3558
60 | 2592875.7529 | 1235888.0673 | 2592880.9322 | 1235891.0184 | 2592881.2005 | 1235891.0918
61 | 2592899.9975 | 1235958.3558 | 2592899.4171 | 1235952.956 | 2592901.2368 | 1235949.7185

## bus_geodata
| x | y | coords
0 | 2592749.0977 | 1236120.3537
1 | 2592759.4395 | 1236118.4831
2 | 2592747.5093 | 1236120.2213
3 | 2592791.4121 | 1236109.4176
4 | 2592736.6323 | 1236137.5896
5 | 2592720.5725 | 1236114.1954
6 | 2592801.8972 | 1236107.6134
7 | 2592727.2556 | 1236146.2178
8 | 2592722.8999 | 1236097.8459
9 | 2592698.5881 | 1236104.546
10 | 2592804.5287 | 1236097.8702
11 | 2592831.7169 | 1236102.4188
12 | 2592706.2601 | 1236145.3956
13 | 2592721.2736 | 1236157.8321
14 | 2592715.6108 | 1236083.3122
15 | 2592692.1272 | 1236099.8775
16 | 2592854.1122 | 1236102.7958
17 | 2592865.0053 | 1236102.9792
18 | 2592691.8005 | 1236171.3774
19 | 2592669.3878 | 1236165.0901
20 | 2592670.9467 | 1236181.6877
21 | 2592696.0639 | 1236141.9605
22 | 2592841.2883 | 1236045.1717
23 | 2592865.975 | 1236044.1935
24 | 2592810.4252 | 1236010.643
25 | 2592870.9224 | 1236043.9975
26 | 2592800.8069 | 1235995.9244
27 | 2592887.3462 | 1236105.9283
28 | 2592681.1924 | 1236074.5514
29 | 2592662.212 | 1236051.9736
30 | 2592710.4239 | 1236068.0986
31 | 2592705.8648 | 1236054.7264
32 | 2592698.5273 | 1236033.2049
33 | 2592694.4487 | 1236021.2421
34 | 2592925.5422 | 1236116.3918
35 | 2592935.9033 | 1236120.6566
36 | 2592920.814 | 1236076.9169
37 | 2592655.8302 | 1236003.2622
38 | 2592657.7743 | 1236002.4609
39 | 2592650.7131 | 1235994.6164
40 | 2592685.0855 | 1235986.6617
41 | 2592687.9564 | 1235998.4747
42 | 2592693.6188 | 1235979.4429
43 | 2592691.1717 | 1236011.6307
44 | 2592697.1417 | 1235976.4627
45 | 2592732.1432 | 1235966.3509
46 | 2592725.6276 | 1235966.8234
47 | 2592746.4763 | 1235963.8494
48 | 2592756.807 | 1235954.7052
49 | 2592703.1742 | 1235970.0278
50 | 2592793.5498 | 1235939.8992
51 | 2592796.6055 | 1235957.3283
52 | 2592851.4067 | 1235947.233
53 | 2592860.8054 | 1235955.3879
54 | 2592838.0865 | 1235949.6563
55 | 2592860.2783 | 1235894.54
56 | 2592902.2104 | 1235978.9463
57 | 2592832.5573 | 1235950.6622
58 | 2592875.7529 | 1235888.0673
59 | 2592881.2005 | 1235891.0918
60 | 2592899.9975 | 1235958.3558
61 | 2592901.2368 | 1235949.7185
62 | 2592799.5196 | 1235984.0988
63 | 2592720.5725 | 1236114.1954

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1