## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_707-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_707-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_707-1_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_707-1_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_707-1_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_707-1_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_707-1_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_707-1_0_5_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_707-1_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_707-1_0_5_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_707-1_0_5_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_707-1_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_707-1_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_707-1_0_5_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_707-1_0_5_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_707-1_0_5_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_707-1_0_5_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_707-1_0_5_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_707-1_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_707-1_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_707-1_0_5_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_707-1_0_5_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_707-1_0_5_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_707-1_0_5_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_707-1_0_5_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_707-1_0_5_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_707-1_0_5_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_707-1_0_5_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_707-1_0_5_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_707-1_0_5_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_707-1_0_5_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_707-1_0_5_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_707-1_0_5_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_707-1_0_5_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_707-1_0_5_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_707-1_0_5_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_707-1_0_5_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_707-1_0_5_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_707-1_0_5_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_707-1_0_5_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_707-1_0_5_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_707-1_0_5_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_707-1_0_5_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_707-1_0_5_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_707-1_0_5_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_707-1_0_5_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_707-1_0_5_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_707-1_0_5_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_707-1_0_5_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_707-1_0_5_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_707-1_0_5_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_707-1_0_5_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_707-1_0_5_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_707-1_0_5_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_707-1_0_5_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_707-1_0_5_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_707-1_0_5_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_707-1_0_5_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_707-1_0_5_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_707-1_0_5_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_707-1_0_5_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_707-1_0_5_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_707-1_0_5_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_707-1_0_5_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_707-1_0_5_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_707-1_0_5_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_707-1_0_5_node_75 | 0.4 | n |  | TRUE
67 | bus_LV_707-1_0_5_node_81 | 0.4 | n |  | TRUE
68 | bus_LV_707-1_0_5_node_78 | 0.4 | n |  | TRUE
69 | bus_LV_707-1_0_5_node_79 | 0.4 | n |  | TRUE
70 | bus_LV_707-1_0_5_node_80 | 0.4 | n |  | TRUE
71 | bus_LV_707-1_0_5_node_87 | 0.4 | n |  | TRUE
72 | bus_LV_707-1_0_5_node_86 | 0.4 | n |  | TRUE
73 | bus_LV_707-1_0_5_node_82 | 0.4 | n |  | TRUE
74 | bus_LV_707-1_0_5_node_83 | 0.4 | n |  | TRUE
75 | bus_LV_707-1_0_5_node_84 | 0.4 | n |  | TRUE
76 | bus_LV_707-1_0_5_node_85 | 0.4 | n |  | TRUE
77 | bus_LV_707-1_0_5_node_90 | 0.4 | n |  | TRUE
78 | bus_LV_707-1_0_5_node_89 | 0.4 | n |  | TRUE
79 | bus_LV_707-1_0_5_node_52 | 0.4 | n |  | TRUE
80 | bus_LV_707-1_0_5_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_707-1_0_5_node_55 | 0.4 | n |  | TRUE
82 | bus_LV_707-1_0_5_node_56 | 0.4 | n |  | TRUE
83 | bus_LV_707-1_0_5_node_59 | 0.4 | n |  | TRUE
84 | bus_LV_707-1_0_5_node_61 | 0.4 | n |  | TRUE
85 | bus_LV_707-1_0_5_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_707-1_0_5_node_66 | 0.4 | n |  | TRUE
87 | bus_MV_311_0_node_194 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_707-1_0_5_load_0 | 0 | 0.0015262 | 0.00038251 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_707-1_0_5_load_1 | 1 | 0.00065883 | 0.00016512 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_707-1_0_5_load_3 | 2 | 0.0020793 | 0.00052112 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_707-1_0_5_load_4 | 3 | 0.0012639 | 0.00031675 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_707-1_0_5_load_7 | 5 | 0.0010709 | 0.00026839 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_707-1_0_5_load_8 | 8 | 0.00087414 | 0.00021908 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_707-1_0_5_load_13 | 9 | 0.0015378 | 0.00038541 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_707-1_0_5_load_10 | 11 | 0.0023808 | 0.0005967 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_707-1_0_5_load_11 | 12 | 0.00038677 | 9.6933e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_707-1_0_5_load_20 | 13 | 0.0019615 | 0.00049159 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_707-1_0_5_load_27 | 14 | 0.0032019 | 0.00080248 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_707-1_0_5_load_21 | 15 | 0.0016662 | 0.00041759 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_707-1_0_5_load_25 | 16 | 0.00047718 | 0.00011959 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_707-1_0_5_load_14 | 17 | 0.0028538 | 0.00071524 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_707-1_0_5_load_15 | 18 | 0.0026027 | 0.00065231 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_707-1_0_5_load_17 | 20 | 0.0076505 | 0.0019174 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_707-1_0_5_load_18 | 21 | 0.0018199 | 0.00045611 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_707-1_0_5_load_62 | 22 | 0.0039518 | 0.00099041 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_707-1_0_5_load_60 | 23 | 0.0022499 | 0.00056388 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_707-1_0_5_load_22 | 24 | 0.0002679 | 6.7141e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_707-1_0_5_load_33 | 26 | 0.0030754 | 0.00077077 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_707-1_0_5_load_30 | 27 | 0.0012228 | 0.00030647 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_707-1_0_5_load_35 | 28 | 0.0013989 | 0.0003506 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_707-1_0_5_load_31 | 29 | 0.0042347 | 0.0010613 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_707-1_0_5_load_24 | 30 | 0.0053491 | 0.0013406 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_707-1_0_5_load_29 | 33 | 0.00057231 | 0.00014344 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_707-1_0_5_load_67 | 34 | 0.0040907 | 0.0010252 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_707-1_0_5_load_32 | 35 | 0.0020931 | 0.00052458 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_707-1_0_5_load_38 | 36 | 0.0012016 | 0.00030115 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_707-1_0_5_load_68 | 37 | 0.0011998 | 0.00030069 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_707-1_0_5_load_34 | 38 | 0.0069907 | 0.001752 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_707-1_0_5_load_36 | 39 | 0.0024426 | 0.00061217 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_707-1_0_5_load_37 | 40 | 0.0013367 | 0.00033502 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_707-1_0_5_load_41 | 41 | 0.0018416 | 0.00046155 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_707-1_0_5_load_39 | 42 | 0.006417 | 0.0016083 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_707-1_0_5_load_40 | 44 | 0.0019614 | 0.00049157 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_707-1_0_5_load_58 | 45 | 0.00039502 | 9.9e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_707-1_0_5_load_57 | 46 | 0.0020735 | 0.00051967 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_707-1_0_5_load_43 | 47 | 0.0015532 | 0.00038927 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_707-1_0_5_load_44 | 48 | 0.0023037 | 0.00057735 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_707-1_0_5_load_46 | 51 | 0.0012215 | 0.00030614 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_707-1_0_5_load_47 | 52 | 0.0005782 | 0.00014491 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_707-1_0_5_load_49 | 53 | 0.0011778 | 0.00029517 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_707-1_0_5_load_50 | 55 | 0.0018201 | 0.00045615 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_707-1_0_5_load_53 | 56 | 0.00093294 | 0.00023382 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_707-1_0_5_load_51 | 57 | 0.0011724 | 0.00029383 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_707-1_0_5_load_54 | 58 | 0.00093252 | 0.00023371 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_707-1_0_5_load_69 | 59 | 0.0020618 | 0.00051674 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_707-1_0_5_load_70 | 60 | 0.0017595 | 0.00044098 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_707-1_0_5_load_72 | 62 | 0.0052981 | 0.0013278 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_707-1_0_5_load_73 | 63 | 0.00031966 | 8.0115e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_707-1_0_5_load_74 | 65 | 0.0017412 | 0.00043638 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_707-1_0_5_load_78 | 68 | 0.0011152 | 0.00027951 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_707-1_0_5_load_86 | 72 | 0.0010274 | 0.0002575 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_707-1_0_5_load_82 | 73 | 0.0012286 | 0.00030792 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_707-1_0_5_load_83 | 74 | 0.00039632 | 9.9328e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_707-1_0_5_load_84 | 75 | 0.00072724 | 0.00018226 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_707-1_0_5_load_85 | 76 | 0.00080695 | 0.00020224 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_707-1_0_5_load_90 | 77 | 0.0022748 | 0.00057012 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_707-1_0_5_load_89 | 78 | 0.00058141 | 0.00014571 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_707-1_0_5_load_52 | 79 | 0.0013598 | 0.00034079 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_707-1_0_5_load_65 | 80 | 0.0027237 | 0.00068263 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_707-1_0_5_load_55 | 81 | 0.00069281 | 0.00017364 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_707-1_0_5_load_56 | 82 | 0.00018683 | 4.6824e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_707-1_0_5_load_59 | 83 | 0.0019546 | 0.00048986 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_707-1_0_5_load_63 | 85 | 0.0019718 | 0.00049418 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_707-1_0_5_load_66 | 86 | 0.0017981 | 0.00045065 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_707-1_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_707-1_0_5_line_1 | NAYY 4x150 SE | 1 | 2 | 0.012348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_707-1_0_5_line_2 | NAYY 4x150 SE | 2 | 3 | 0.01721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_707-1_0_5_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0027347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_707-1_0_5_line_4 | NAYY 4x150 SE | 4 | 5 | 0.011875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_707-1_0_5_line_5 | NAYY 4x150 SE | 5 | 7 | 0.011834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_707-1_0_5_line_6 | NAYY 4x150 SE | 6 | 7 | 0.011621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_707-1_0_5_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0068515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_707-1_0_5_line_8 | NAYY 4x150 SE | 7 | 9 | 0.027383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_707-1_0_5_line_9 | NAYY 4x150 SE | 8 | 10 | 0.0098718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_707-1_0_5_line_10 | NAYY 4x150 SE | 9 | 17 | 0.023758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_707-1_0_5_line_11 | NAYY 4x150 SE | 10 | 11 | 0.0067552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_707-1_0_5_line_12 | NAYY 4x150 SE | 10 | 12 | 0.028581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_707-1_0_5_line_13 | NAYY 4x150 SE | 11 | 13 | 0.020533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_707-1_0_5_line_14 | NAYY 4x150 SE | 12 | 14 | 0.013062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_707-1_0_5_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0060118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_707-1_0_5_line_16 | NAYY 4x150 SE | 14 | 16 | 0.00565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_707-1_0_5_line_17 | NAYY 4x150 SE | 15 | 24 | 0.019911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_707-1_0_5_line_18 | NAYY 4x150 SE | 16 | 30 | 0.00075969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_707-1_0_5_line_19 | NAYY 4x150 SE | 17 | 18 | 0.0082293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_707-1_0_5_line_20 | NAYY 4x150 SE | 18 | 19 | 0.027293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_707-1_0_5_line_21 | NAYY 4x150 SE | 19 | 20 | 0.019324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_707-1_0_5_line_22 | NAYY 4x150 SE | 19 | 21 | 0.034384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_707-1_0_5_line_23 | NAYY 4x150 SE | 22 | 23 | 0.036605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_707-1_0_5_line_24 | NAYY 4x150 SE | 23 | 83 | 0.026527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_707-1_0_5_line_25 | NAYY 4x150 SE | 24 | 25 | 0.023592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_707-1_0_5_line_26 | NAYY 4x150 SE | 25 | 26 | 0.011567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_707-1_0_5_line_27 | NAYY 4x150 SE | 25 | 27 | 0.006626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_707-1_0_5_line_28 | NAYY 4x150 SE | 26 | 28 | 0.011687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_707-1_0_5_line_29 | NAYY 4x150 SE | 27 | 29 | 0.027062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_707-1_0_5_line_30 | NAYY 4x150 SE | 28 | 38 | 0.01674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_707-1_0_5_line_31 | NAYY 4x150 SE | 29 | 35 | 0.011232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_707-1_0_5_line_32 | NAYY 4x150 SE | 30 | 31 | 0.0071232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_707-1_0_5_line_33 | NAYY 4x150 SE | 31 | 32 | 0.058295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_707-1_0_5_line_34 | NAYY 4x150 SE | 31 | 33 | 0.03271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_707-1_0_5_line_35 | NAYY 4x150 SE | 32 | 34 | 0.039636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_707-1_0_5_line_36 | NAYY 4x150 SE | 35 | 36 | 0.010836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_707-1_0_5_line_37 | NAYY 4x150 SE | 36 | 37 | 0.010508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_707-1_0_5_line_38 | NAYY 4x150 SE | 37 | 43 | 0.0033138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_707-1_0_5_line_39 | NAYY 4x150 SE | 38 | 39 | 0.021295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_707-1_0_5_line_40 | NAYY 4x150 SE | 39 | 40 | 0.022876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_707-1_0_5_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0069026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_707-1_0_5_line_42 | NAYY 4x150 SE | 41 | 42 | 0.012036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_707-1_0_5_line_43 | NAYY 4x150 SE | 42 | 44 | 0.015215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_707-1_0_5_line_44 | NAYY 4x150 SE | 43 | 80 | 0.048619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_707-1_0_5_line_45 | NAYY 4x150 SE | 43 | 84 | 0.024684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_707-1_0_5_line_46 | NAYY 4x150 SE | 45 | 46 | 0.016523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_707-1_0_5_line_47 | NAYY 4x150 SE | 46 | 82 | 0.019697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_707-1_0_5_line_48 | NAYY 4x150 SE | 47 | 48 | 0.012876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_707-1_0_5_line_49 | NAYY 4x150 SE | 47 | 49 | 0.030086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_707-1_0_5_line_50 | NAYY 4x150 SE | 48 | 50 | 0.12217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_707-1_0_5_line_51 | NAYY 4x150 SE | 49 | 51 | 0.011582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_707-1_0_5_line_52 | NAYY 4x150 SE | 49 | 52 | 0.03002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_707-1_0_5_line_53 | NAYY 4x150 SE | 50 | 53 | 0.033225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_707-1_0_5_line_54 | NAYY 4x150 SE | 51 | 55 | 0.0026368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_707-1_0_5_line_55 | NAYY 4x150 SE | 52 | 56 | 0.00053224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_707-1_0_5_line_56 | NAYY 4x150 SE | 53 | 54 | 0.89039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_707-1_0_5_line_57 | NAYY 4x150 SE | 54 | 63 | 0.042914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_707-1_0_5_line_58 | NAYY 4x150 SE | 55 | 57 | 0.038688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_707-1_0_5_line_59 | NAYY 4x150 SE | 56 | 58 | 0.021027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_707-1_0_5_line_60 | NAYY 4x150 SE | 57 | 79 | 0.012463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_707-1_0_5_line_61 | NAYY 4x150 SE | 58 | 81 | 0.0043359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_707-1_0_5_line_62 | NAYY 4x150 SE | 59 | 60 | 0.012019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_707-1_0_5_line_63 | NAYY 4x150 SE | 59 | 61 | 0.032064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_707-1_0_5_line_64 | NAYY 4x150 SE | 60 | 62 | 0.070052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_707-1_0_5_line_65 | NAYY 4x150 SE | 61 | 63 | 0.025863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_707-1_0_5_line_66 | NAYY 4x150 SE | 62 | 64 | 0.061402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_707-1_0_5_line_67 | NAYY 4x150 SE | 64 | 66 | 0.085477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_707-1_0_5_line_68 | NAYY 4x150 SE | 65 | 66 | 0.035382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_707-1_0_5_line_69 | NAYY 4x150 SE | 65 | 67 | 0.12788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_707-1_0_5_line_70 | NAYY 4x150 SE | 67 | 73 | 0.049006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_707-1_0_5_line_71 | NAYY 4x150 SE | 67 | 69 | 0.048322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_707-1_0_5_line_72 | NAYY 4x150 SE | 68 | 69 | 0.039822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_707-1_0_5_line_73 | NAYY 4x150 SE | 69 | 70 | 0.052483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_707-1_0_5_line_74 | NAYY 4x150 SE | 70 | 71 | 0.054444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_707-1_0_5_line_75 | NAYY 4x150 SE | 70 | 72 | 0.039905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_707-1_0_5_line_76 | NAYY 4x150 SE | 71 | 77 | 0.027453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_707-1_0_5_line_77 | NAYY 4x150 SE | 71 | 78 | 0.078809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_707-1_0_5_line_78 | NAYY 4x150 SE | 72 | 76 | 0.0063072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_707-1_0_5_line_79 | NAYY 4x150 SE | 74 | 75 | 0.023917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_707-1_0_5_line_80 | NAYY 4x150 SE | 75 | 76 | 0.041188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_707-1_0_5_line_81 | NAYY 4x150 SE | 79 | 80 | 0.017803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_707-1_0_5_line_82 | NAYY 4x150 SE | 81 | 82 | 0.00076054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_707-1_0_5_line_83 | NAYY 4x150 SE | 83 | 84 | 0.047588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_707-1_0_5_line_84 | NAYY 4x150 SE | 84 | 85 | 0.021967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_707-1_0_5_line_85 | NAYY 4x150 SE | 85 | 86 | 0.013779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_707-1_0_5_trafo_45 | 0.25 MVA 20/0.4 kV | 87 | 49 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2583340.8534 | 1232625.1182 | 2583339.7064 | 1232637.7447
1 | 2583339.7064 | 1232637.7447 | 2583338.5893 | 1232650.042
2 | 2583340.5103 | 1232667.1326 | 2583338.5388 | 1232650.5985 | 2583338.5893 | 1232650.042
3 | 2583340.8341 | 1232669.8481 | 2583340.5103 | 1232667.1326
4 | 2583340.8341 | 1232669.8481 | 2583339.0356 | 1232681.5858
5 | 2583337.2433 | 1232693.2835 | 2583339.0356 | 1232681.5858
6 | 2583348.886 | 1232692.7504 | 2583337.2433 | 1232693.2835
7 | 2583348.886 | 1232692.7504 | 2583351.9709 | 1232698.8681
8 | 2583337.2433 | 1232693.2835 | 2583309.8892 | 1232694.5407
9 | 2583356.4157 | 1232707.6827 | 2583351.9709 | 1232698.8681
10 | 2583286.1562 | 1232695.537 | 2583287.2437 | 1232695.5816 | 2583309.8892 | 1232694.5407
11 | 2583356.4157 | 1232707.6827 | 2583356.94 | 1232714.4175
12 | 2583356.4157 | 1232707.6827 | 2583382.1652 | 1232707.9549 | 2583384.9599 | 1232707.5115
13 | 2583360.719 | 1232734.321 | 2583358.0339 | 1232728.4685 | 2583356.94 | 1232714.4175
14 | 2583397.8604 | 1232705.4648 | 2583397.8604 | 1232705.4648 | 2583384.9599 | 1232707.5115
15 | 2583360.719 | 1232734.321 | 2583363.2259 | 1232739.7852
16 | 2583397.8604 | 1232705.4648 | 2583403.0443 | 1232703.2176
17 | 2583373.4875 | 1232756.7964 | 2583365.4001 | 1232744.5241 | 2583363.2259 | 1232739.7852
18 | 2583403.7413 | 1232702.9154 | 2583403.0443 | 1232703.2176
19 | 2583286.1562 | 1232695.537 | 2583277.9338 | 1232695.2004
20 | 2583250.6641 | 1232694.0841 | 2583277.9338 | 1232695.2004
21 | 2583250.6641 | 1232694.0841 | 2583231.9749 | 1232689.1706
22 | 2583250.6641 | 1232694.0841 | 2583248.3107 | 1232705.1642 | 2583244.8693 | 1232709.0207 | 2583243.8691 | 1232714.0822 | 2583247.9496 | 1232719.3404 | 2583253.7732 | 1232721.0619
23 | 2583333.6276 | 1232793.9442 | 2583310.1948 | 1232765.8224
24 | 2583349.7011 | 1232815.0404 | 2583336.7048 | 1232797.6371 | 2583333.6276 | 1232793.9442
25 | 2583386.4689 | 1232776.4954 | 2583373.4875 | 1232756.7964
26 | 2583386.4689 | 1232776.4954 | 2583396.9332 | 1232781.4253
27 | 2583386.4689 | 1232776.4954 | 2583387.852 | 1232782.9754
28 | 2583407.5053 | 1232786.406 | 2583396.9332 | 1232781.4253
29 | 2583387.852 | 1232782.9754 | 2583393.5006 | 1232809.4414
30 | 2583422.9117 | 1232792.9338 | 2583413.2825 | 1232789.1277 | 2583407.5053 | 1232786.406
31 | 2583393.5006 | 1232809.4414 | 2583395.845 | 1232820.426
32 | 2583410.2768 | 1232700.0823 | 2583403.7413 | 1232702.9154
33 | 2583410.2768 | 1232700.0823 | 2583453.4879 | 1232679.7711 | 2583463.6464 | 1232676.4407
34 | 2583410.2768 | 1232700.0823 | 2583411.7443 | 1232691.5508 | 2583420.0308 | 1232676.7408 | 2583424.1408 | 1232670.9723
35 | 2583463.6464 | 1232676.4407 | 2583451.1296 | 1232702.7917 | 2583447.9108 | 1232712.7478
36 | 2583395.845 | 1232820.426 | 2583398.1067 | 1232831.023
37 | 2583400.3 | 1232841.2994 | 2583398.1067 | 1232831.023
38 | 2583400.9917 | 1232844.5402 | 2583400.3 | 1232841.2994
39 | 2583422.9117 | 1232792.9338 | 2583428.5319 | 1232795.1553 | 2583441.9526 | 1232802.3999 | 2583441.9526 | 1232802.3999
40 | 2583441.9526 | 1232802.3999 | 2583443.9357 | 1232825.1902
41 | 2583444.7656 | 1232832.038 | 2583444.2603 | 1232828.9206 | 2583443.9357 | 1232825.1902
42 | 2583446.6914 | 1232843.9184 | 2583444.7656 | 1232832.038
43 | 2583446.6914 | 1232843.9184 | 2583449.126 | 1232858.9378
44 | 2583400.9917 | 1232844.5402 | 2583406.6723 | 1232869.7062 | 2583408.9771 | 1232892.4098
45 | 2583400.9917 | 1232844.5402 | 2583377.8803 | 1232853.3883
46 | 2583446.9095 | 1232946.4054 | 2583452.6104 | 1232936.8959 | 2583454.3453 | 1232931.7447
47 | 2583446.9095 | 1232946.4054 | 2583441.3675 | 1232955.6498 | 2583436.4139 | 1232963.0665
48 | 2583382.1391 | 1233000.1567 | 2583376.547 | 1233011.7551
49 | 2583395.2053 | 1232973.0565 | 2583382.1391 | 1233000.1567
50 | 2583376.547 | 1233011.7551 | 2583283.4027 | 1233090.8095
51 | 2583395.2053 | 1232973.0565 | 2583396.9321 | 1232961.6039
52 | 2583395.2053 | 1232973.0565 | 2583409.9766 | 1232986.9123 | 2583418.2955 | 1232981.7937
53 | 2583283.4027 | 1233090.8095 | 2583281.4506 | 1233104.59 | 2583284.168 | 1233115.1554 | 2583289.9033 | 1233121.29
54 | 2583397.3252 | 1232958.9966 | 2583396.9321 | 1232961.6039
55 | 2583418.7488 | 1232981.5148 | 2583418.2955 | 1232981.7937
56 | 2583289.9033 | 1233121.29 | 2583391.2118 | 1234005.8945
57 | 2583391.2118 | 1234005.8945 | 2583359.8109 | 1234012.6981 | 2583349.026 | 1234012.6649
58 | 2583397.3252 | 1232958.9966 | 2583398.4234 | 1232951.7123 | 2583397.3292 | 1232926.0109 | 2583398.7752 | 1232920.6046
59 | 2583418.7488 | 1232981.5148 | 2583427.82 | 1232975.9334 | 2583433.5832 | 1232967.3046
60 | 2583402.7225 | 1232908.8229 | 2583400.7455 | 1232913.238 | 2583398.7752 | 1232920.6046
61 | 2583433.5832 | 1232967.3046 | 2583435.9915 | 1232963.699
62 | 2583345.2045 | 1234045.3275 | 2583345.4718 | 1234057.3434 | 2583345.4718 | 1234057.3434
63 | 2583329.1435 | 1234021.9234 | 2583333.3643 | 1234026.2697 | 2583344.9171 | 1234032.4076 | 2583345.2045 | 1234045.3275
64 | 2583377.3833 | 1234117.5281 | 2583375.6267 | 1234116.1943 | 2583359.1456 | 1234099.008 | 2583354.0426 | 1234077.0201 | 2583350.6831 | 1234069.3805 | 2583345.4718 | 1234057.3434
65 | 2583329.1435 | 1234021.9234 | 2583330.9782 | 1234014.914 | 2583335.3013 | 1234012.6226 | 2583349.026 | 1234012.6649
66 | 2583421.5575 | 1234159.8141 | 2583412.7178 | 1234149.3881 | 2583395.5837 | 1234131.3475 | 2583377.3833 | 1234117.5281
67 | 2583421.5575 | 1234159.8141 | 2583427.9328 | 1234168.6794 | 2583431.6963 | 1234155.7499 | 2583438.3797 | 1234147.6373 | 2583454.0407 | 1234139.7109 | 2583468.7858 | 1234131.7648 | 2583477.3835 | 1234117.9435
68 | 2583477.3835 | 1234117.9435 | 2583485.8377 | 1234112.3053 | 2583493.9251 | 1234102.7658 | 2583499.1282 | 1234093.0231 | 2583499.5942 | 1234091.4203
69 | 2583627.4164 | 1234095.1455 | 2583499.5942 | 1234091.4203
70 | 2583627.4164 | 1234095.1455 | 2583630.6584 | 1234082.3398 | 2583634.6711 | 1234071.7779 | 2583642.9815 | 1234060.6481 | 2583647.6362 | 1234051.1159
71 | 2583627.4164 | 1234095.1455 | 2583638.6765 | 1234094.1026 | 2583655.5754 | 1234093.033 | 2583664.8041 | 1234093.6856 | 2583675.1117 | 1234090.3662
72 | 2583675.1117 | 1234090.3662 | 2583660.4919 | 1234053.3246
73 | 2583702.107 | 1234050.5342 | 2583697.0584 | 1234058.7754 | 2583690.9923 | 1234082.3175 | 2583685.6107 | 1234087.8357 | 2583675.1117 | 1234090.3662
74 | 2583702.107 | 1234050.5342 | 2583712.1623 | 1234057.2439 | 2583748.509 | 1234078.9904
75 | 2583702.107 | 1234050.5342 | 2583697.0609 | 1234029.5242 | 2583690.6381 | 1234017.0899 | 2583688.7191 | 1234013.239
76 | 2583748.509 | 1234078.9904 | 2583743.1961 | 1234087.4991 | 2583735.6445 | 1234091.1554 | 2583726.561 | 1234090.9581
77 | 2583748.509 | 1234078.9904 | 2583789.8267 | 1234011.8806
78 | 2583685.9061 | 1234007.5938 | 2583688.7191 | 1234013.239
79 | 2583663.1588 | 1233947.6013 | 2583663.1588 | 1233947.6013 | 2583667.0288 | 1233951.0928 | 2583668.9721 | 1233955.8347 | 2583672.0468 | 1233969.0617
80 | 2583672.0468 | 1233969.0617 | 2583672.1205 | 1233969.3787 | 2583674.6922 | 1233982.3906 | 2583681.6642 | 1233999.0815 | 2583685.9061 | 1234007.5938
81 | 2583402.7225 | 1232908.8229 | 2583409.1794 | 1232894.403 | 2583408.9771 | 1232892.4098
82 | 2583436.4139 | 1232963.0665 | 2583435.9915 | 1232963.699
83 | 2583377.8803 | 1232853.3883 | 2583355.2551 | 1232822.4776 | 2583349.7011 | 1232815.0404
84 | 2583377.8803 | 1232853.3883 | 2583359.8319 | 1232861.5328 | 2583358.2791 | 1232863.0429
85 | 2583353.9789 | 1232874.7129 | 2583353.3539 | 1232867.8327 | 2583358.2791 | 1232863.0429

## bus_geodata
| x | y | coords
0 | 2583340.8534 | 1232625.1182
1 | 2583339.7064 | 1232637.7447
2 | 2583338.5893 | 1232650.042
3 | 2583340.5103 | 1232667.1326
4 | 2583340.8341 | 1232669.8481
5 | 2583339.0356 | 1232681.5858
6 | 2583348.886 | 1232692.7504
7 | 2583337.2433 | 1232693.2835
8 | 2583351.9709 | 1232698.8681
9 | 2583309.8892 | 1232694.5407
10 | 2583356.4157 | 1232707.6827
11 | 2583356.94 | 1232714.4175
12 | 2583384.9599 | 1232707.5115
13 | 2583360.719 | 1232734.321
14 | 2583397.8604 | 1232705.4648
15 | 2583363.2259 | 1232739.7852
16 | 2583403.0443 | 1232703.2176
17 | 2583286.1562 | 1232695.537
18 | 2583277.9338 | 1232695.2004
19 | 2583250.6641 | 1232694.0841
20 | 2583231.9749 | 1232689.1706
21 | 2583253.7732 | 1232721.0619
22 | 2583310.1948 | 1232765.8224
23 | 2583333.6276 | 1232793.9442
24 | 2583373.4875 | 1232756.7964
25 | 2583386.4689 | 1232776.4954
26 | 2583396.9332 | 1232781.4253
27 | 2583387.852 | 1232782.9754
28 | 2583407.5053 | 1232786.406
29 | 2583393.5006 | 1232809.4414
30 | 2583403.7413 | 1232702.9154
31 | 2583410.2768 | 1232700.0823
32 | 2583463.6464 | 1232676.4407
33 | 2583424.1408 | 1232670.9723
34 | 2583447.9108 | 1232712.7478
35 | 2583395.845 | 1232820.426
36 | 2583398.1067 | 1232831.023
37 | 2583400.3 | 1232841.2994
38 | 2583422.9117 | 1232792.9338
39 | 2583441.9526 | 1232802.3999
40 | 2583443.9357 | 1232825.1902
41 | 2583444.7656 | 1232832.038
42 | 2583446.6914 | 1232843.9184
43 | 2583400.9917 | 1232844.5402
44 | 2583449.126 | 1232858.9378
45 | 2583454.3453 | 1232931.7447
46 | 2583446.9095 | 1232946.4054
47 | 2583382.1391 | 1233000.1567
48 | 2583376.547 | 1233011.7551
49 | 2583395.2053 | 1232973.0565
50 | 2583283.4027 | 1233090.8095
51 | 2583396.9321 | 1232961.6039
52 | 2583418.2955 | 1232981.7937
53 | 2583289.9033 | 1233121.29
54 | 2583391.2118 | 1234005.8945
55 | 2583397.3252 | 1232958.9966
56 | 2583418.7488 | 1232981.5148
57 | 2583398.7752 | 1232920.6046
58 | 2583433.5832 | 1232967.3046
59 | 2583345.2045 | 1234045.3275
60 | 2583345.4718 | 1234057.3434
61 | 2583329.1435 | 1234021.9234
62 | 2583377.3833 | 1234117.5281
63 | 2583349.026 | 1234012.6649
64 | 2583421.5575 | 1234159.8141
65 | 2583499.5942 | 1234091.4203
66 | 2583477.3835 | 1234117.9435
67 | 2583627.4164 | 1234095.1455
68 | 2583660.4919 | 1234053.3246
69 | 2583675.1117 | 1234090.3662
70 | 2583702.107 | 1234050.5342
71 | 2583748.5089 | 1234078.9904
72 | 2583688.7191 | 1234013.239
73 | 2583647.6362 | 1234051.1159
74 | 2583663.1588 | 1233947.6013
75 | 2583672.0468 | 1233969.0617
76 | 2583685.9061 | 1234007.5938
77 | 2583726.561 | 1234090.9581
78 | 2583789.8267 | 1234011.8806
79 | 2583402.7225 | 1232908.8229
80 | 2583408.9771 | 1232892.4098
81 | 2583435.9915 | 1232963.699
82 | 2583436.4139 | 1232963.0665
83 | 2583349.7011 | 1232815.0404
84 | 2583377.8803 | 1232853.3883
85 | 2583358.2791 | 1232863.0429
86 | 2583353.9789 | 1232874.7129
87 | 2583457.2655 | 1232923.0745

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1