## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_713-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_713-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_713-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_713-12_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_713-12_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_713-12_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_713-12_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_713-12_0_3_node_77 | 0.4 | n |  | TRUE
8 | bus_LV_713-12_0_3_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_713-12_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_713-12_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_713-12_0_3_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_713-12_0_3_node_42 | 0.4 | n |  | TRUE
13 | bus_LV_713-12_0_3_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_713-12_0_3_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_713-12_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_713-12_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_713-12_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_713-12_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_713-12_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_713-12_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_713-12_0_3_node_66 | 0.4 | n |  | TRUE
22 | bus_LV_713-12_0_3_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_713-12_0_3_node_71 | 0.4 | n |  | TRUE
24 | bus_LV_713-12_0_3_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_713-12_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_713-12_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_713-12_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_713-12_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_713-12_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_713-12_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_713-12_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_713-12_0_3_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_713-12_0_3_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_713-12_0_3_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_713-12_0_3_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_713-12_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_713-12_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_713-12_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_713-12_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_713-12_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_713-12_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_713-12_0_3_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_713-12_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_713-12_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_713-12_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_713-12_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_713-12_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_713-12_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_713-12_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_713-12_0_3_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_713-12_0_3_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_713-12_0_3_node_95 | 0.4 | n |  | TRUE
53 | bus_LV_713-12_0_3_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_713-12_0_3_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_713-12_0_3_node_78 | 0.4 | n |  | TRUE
56 | bus_LV_713-12_0_3_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_713-12_0_3_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_713-12_0_3_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_713-12_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_713-12_0_3_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_713-12_0_3_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_713-12_0_3_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_713-12_0_3_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_713-12_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_713-12_0_3_node_73 | 0.4 | n |  | TRUE
66 | bus_LV_713-12_0_3_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_713-12_0_3_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_713-12_0_3_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_713-12_0_3_node_90 | 0.4 | n |  | TRUE
70 | bus_LV_713-12_0_3_node_93 | 0.4 | n |  | TRUE
71 | bus_LV_713-12_0_3_node_91 | 0.4 | n |  | TRUE
72 | bus_LV_713-12_0_3_node_92 | 0.4 | n |  | TRUE
73 | bus_LV_713-12_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_713-12_0_3_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_713-12_0_3_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_713-12_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_713-12_0_3_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_713-12_0_3_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_713-12_0_3_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_713-12_0_3_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_713-12_0_3_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_713-12_0_3_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_713-12_0_3_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_713-12_0_3_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_713-12_0_3_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_713-12_0_3_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_713-12_0_3_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_713-12_0_3_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_713-12_0_3_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_713-12_0_3_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_713-12_0_3_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_713-12_0_3_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_713-12_0_3_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_713-12_0_3_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_713-12_0_3_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_713-12_0_3_node_96 | 0.4 | n |  | TRUE
97 | bus_MV_308_0_node_181 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_713-12_0_3_load_0 | 0 | 0.0028158 | 0.00070571 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_713-12_0_3_load_2 | 2 | 0.0030751 | 0.00077069 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_713-12_0_3_load_3 | 3 | 0.0013463 | 0.00033743 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_713-12_0_3_load_4 | 4 | 0.0045153 | 0.0011317 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_713-12_0_3_load_77 | 7 | 0.0026429 | 0.00066239 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_713-12_0_3_load_7 | 9 | 0.0029296 | 0.00073422 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_713-12_0_3_load_8 | 10 | 0.0039611 | 0.00099275 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_713-12_0_3_load_52 | 11 | 0.003295 | 0.00082579 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_713-12_0_3_load_42 | 12 | 0.0067439 | 0.0016902 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_713-12_0_3_load_28 | 13 | 0.0044069 | 0.0011045 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_713-12_0_3_load_26 | 14 | 0.0017655 | 0.00044248 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_713-12_0_3_load_9 | 15 | 0.0011297 | 0.00028313 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_713-12_0_3_load_10 | 16 | 0.0030448 | 0.00076309 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_713-12_0_3_load_11 | 17 | 0.0015844 | 0.00039708 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_713-12_0_3_load_12 | 18 | 0.0040869 | 0.0010243 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_713-12_0_3_load_13 | 19 | 0.0027037 | 0.00067761 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_713-12_0_3_load_66 | 21 | 0.0010513 | 0.00026348 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_713-12_0_3_load_43 | 22 | 0.0036126 | 0.0009054 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_713-12_0_3_load_71 | 23 | 0.0011534 | 0.00028906 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_713-12_0_3_load_41 | 24 | 0.003619 | 0.000907 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_713-12_0_3_load_15 | 25 | 0.0037393 | 0.00093715 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_713-12_0_3_load_16 | 26 | 0.0023401 | 0.00058649 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_713-12_0_3_load_17 | 27 | 0.0023942 | 0.00060005 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_713-12_0_3_load_18 | 28 | 0.0031978 | 0.00080143 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_713-12_0_3_load_19 | 29 | 0.003178 | 0.00079647 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_713-12_0_3_load_20 | 30 | 0.0017149 | 0.0004298 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_713-12_0_3_load_21 | 31 | 0.0037645 | 0.00094347 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_713-12_0_3_load_54 | 32 | 0.0023216 | 0.00058185 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_713-12_0_3_load_45 | 33 | 0.0032169 | 0.00080623 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_713-12_0_3_load_55 | 34 | 0.0023129 | 0.00057968 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_713-12_0_3_load_46 | 35 | 0.0029571 | 0.00074111 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_713-12_0_3_load_22 | 36 | 0.0017556 | 0.00044 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_713-12_0_3_load_23 | 37 | 0.0017639 | 0.00044207 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_713-12_0_3_load_25 | 39 | 0.0048319 | 0.001211 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_713-12_0_3_load_27 | 40 | 0.0017707 | 0.00044378 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_713-12_0_3_load_29 | 41 | 0.00028654 | 7.1814e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_713-12_0_3_load_30 | 42 | 0.0006601 | 0.00016544 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_713-12_0_3_load_32 | 44 | 0.001385 | 0.0003471 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_713-12_0_3_load_33 | 45 | 0.00050901 | 0.00012757 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_713-12_0_3_load_34 | 46 | 0.00053195 | 0.00013332 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_713-12_0_3_load_35 | 47 | 0.0003023 | 7.5764e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_713-12_0_3_load_36 | 48 | 0.0032061 | 0.00080352 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_713-12_0_3_load_37 | 49 | 0.00049833 | 0.00012489 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_713-12_0_3_load_67 | 50 | 0.0011633 | 0.00029154 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_713-12_0_3_load_56 | 51 | 0.0030933 | 0.00077526 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_713-12_0_3_load_94 | 54 | 0.0058096 | 0.001456 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_713-12_0_3_load_78 | 55 | 0.0058077 | 0.0014556 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_713-12_0_3_load_38 | 56 | 0.0046958 | 0.0011769 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_713-12_0_3_load_39 | 57 | 0.0033667 | 0.00084378 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_713-12_0_3_load_40 | 58 | 0.002706 | 0.00067818 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_713-12_0_3_load_50 | 59 | 0.0022816 | 0.00057183 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_713-12_0_3_load_47 | 60 | 0.006071 | 0.0015215 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_713-12_0_3_load_48 | 61 | 0.0026672 | 0.00066847 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_713-12_0_3_load_49 | 62 | 0.0022693 | 0.00056874 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_713-12_0_3_load_51 | 63 | 0.0026692 | 0.00066896 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_713-12_0_3_load_53 | 64 | 0.0019122 | 0.00047925 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_713-12_0_3_load_73 | 65 | 0.0039862 | 0.00099903 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_713-12_0_3_load_72 | 66 | 0.0017009 | 0.00042629 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_713-12_0_3_load_57 | 67 | 0.0002804 | 7.0275e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_713-12_0_3_load_58 | 68 | 0.0014016 | 0.00035128 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_713-12_0_3_load_93 | 70 | 0.00042022 | 0.00010532 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_713-12_0_3_load_91 | 71 | 0.00014299 | 3.5836e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_713-12_0_3_load_92 | 72 | 0.00026939 | 6.7515e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_713-12_0_3_load_59 | 73 | 0.00057608 | 0.00014438 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_713-12_0_3_load_60 | 74 | 0.00043212 | 0.0001083 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_713-12_0_3_load_61 | 75 | 0.00043216 | 0.00010831 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_713-12_0_3_load_63 | 77 | 0.0014251 | 0.00035717 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_713-12_0_3_load_64 | 78 | 0.00066775 | 0.00016735 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_713-12_0_3_load_65 | 79 | 0.0012325 | 0.0003089 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_713-12_0_3_load_69 | 80 | 0.0017108 | 0.00042877 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_713-12_0_3_load_70 | 81 | 0.00096453 | 0.00024173 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_713-12_0_3_load_75 | 83 | 0.0016896 | 0.00042345 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_713-12_0_3_load_76 | 84 | 0.0023522 | 0.00058952 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_713-12_0_3_load_83 | 85 | 0.0015116 | 0.00037883 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_713-12_0_3_load_84 | 86 | 0.0022177 | 0.00055581 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_713-12_0_3_load_79 | 87 | 0.0025827 | 0.00064729 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_713-12_0_3_load_80 | 88 | 0.0043844 | 0.0010988 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_713-12_0_3_load_85 | 91 | 0.0021674 | 0.0005432 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_713-12_0_3_load_86 | 92 | 0.001855 | 0.0004649 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_713-12_0_3_load_87 | 93 | 0.0031455 | 0.00078834 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_713-12_0_3_load_88 | 94 | 0.0031555 | 0.00079085 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_713-12_0_3_load_89 | 95 | 0.0049595 | 0.001243 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_713-12_0_3_load_96 | 96 | 0.0049594 | 0.0012429 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_713-12_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_713-12_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.047163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_713-12_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.01154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_713-12_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.023655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_713-12_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.025494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_713-12_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.012216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_713-12_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.029386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_713-12_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.003674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_713-12_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.013446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_713-12_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.010758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_713-12_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.026943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_713-12_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.022898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_713-12_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.0083161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_713-12_0_3_line_13 | NAYY 4x150 SE | 11 | 59 | 0.021783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_713-12_0_3_line_14 | NAYY 4x150 SE | 12 | 58 | 0.0073719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_713-12_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.0056316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_713-12_0_3_line_16 | NAYY 4x150 SE | 14 | 38 | 0.011014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_713-12_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.0042347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_713-12_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.015574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_713-12_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.012363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_713-12_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.022715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_713-12_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.01433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_713-12_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.011947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_713-12_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.034346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_713-12_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.024716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_713-12_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.0087235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_713-12_0_3_line_26 | NAYY 4x150 SE | 23 | 80 | 0.0048634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_713-12_0_3_line_27 | NAYY 4x150 SE | 24 | 57 | 0.016265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_713-12_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.0096809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_713-12_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.00080273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_713-12_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0088921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_713-12_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.018661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_713-12_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.0041936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_713-12_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.012788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_713-12_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.00061539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_713-12_0_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.010492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_713-12_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.010327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_713-12_0_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.010403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_713-12_0_3_line_38 | NAYY 4x150 SE | 34 | 51 | 0.0014092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_713-12_0_3_line_39 | NAYY 4x150 SE | 35 | 60 | 0.0080467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_713-12_0_3_line_40 | NAYY 4x150 SE | 36 | 37 | 0.012679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_713-12_0_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.0041199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_713-12_0_3_line_42 | NAYY 4x150 SE | 37 | 39 | 0.0060515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_713-12_0_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.0013391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_713-12_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.0021617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_713-12_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.0075686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_713-12_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.018821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_713-12_0_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.022063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_713-12_0_3_line_48 | NAYY 4x150 SE | 43 | 46 | 0.014429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_713-12_0_3_line_49 | NAYY 4x150 SE | 44 | 47 | 0.0049619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_713-12_0_3_line_50 | NAYY 4x150 SE | 45 | 48 | 0.02082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_713-12_0_3_line_51 | NAYY 4x150 SE | 46 | 49 | 0.030627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_713-12_0_3_line_52 | NAYY 4x150 SE | 47 | 50 | 0.026176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_713-12_0_3_line_53 | NAYY 4x150 SE | 48 | 51 | 0.012677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_713-12_0_3_line_54 | NAYY 4x150 SE | 49 | 52 | 0.067381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_713-12_0_3_line_55 | NAYY 4x150 SE | 50 | 53 | 0.028132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_713-12_0_3_line_56 | NAYY 4x150 SE | 52 | 55 | 0.083488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_713-12_0_3_line_57 | NAYY 4x150 SE | 52 | 54 | 0.037362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_713-12_0_3_line_58 | NAYY 4x150 SE | 53 | 80 | 0.024577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_713-12_0_3_line_59 | NAYY 4x150 SE | 53 | 81 | 0.01349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_713-12_0_3_line_60 | NAYY 4x150 SE | 53 | 79 | 0.026543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_713-12_0_3_line_61 | NAYY 4x150 SE | 55 | 70 | 0.12574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_713-12_0_3_line_62 | NAYY 4x150 SE | 56 | 57 | 7.5548e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_713-12_0_3_line_63 | NAYY 4x150 SE | 56 | 58 | 0.015013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_713-12_0_3_line_64 | NAYY 4x150 SE | 59 | 61 | 0.0095377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_713-12_0_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.00092891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_713-12_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.00011672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_713-12_0_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.029313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_713-12_0_3_line_68 | NAYY 4x150 SE | 65 | 66 | 0.011457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_713-12_0_3_line_69 | NAYY 4x150 SE | 66 | 82 | 0.010662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_713-12_0_3_line_70 | NAYY 4x150 SE | 67 | 68 | 0.03102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_713-12_0_3_line_71 | NAYY 4x150 SE | 68 | 69 | 0.019344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_713-12_0_3_line_72 | NAYY 4x150 SE | 69 | 71 | 0.0079242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_713-12_0_3_line_73 | NAYY 4x150 SE | 70 | 72 | 0.20872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_713-12_0_3_line_74 | NAYY 4x150 SE | 71 | 72 | 0.042151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_713-12_0_3_line_75 | NAYY 4x150 SE | 73 | 74 | 0.0085689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_713-12_0_3_line_76 | NAYY 4x150 SE | 73 | 75 | 0.012506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_713-12_0_3_line_77 | NAYY 4x150 SE | 74 | 76 | 0.044202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_713-12_0_3_line_78 | NAYY 4x150 SE | 75 | 77 | 0.025991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_713-12_0_3_line_79 | NAYY 4x150 SE | 76 | 78 | 0.039792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_713-12_0_3_line_80 | NAYY 4x150 SE | 77 | 79 | 0.00061559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_713-12_0_3_line_81 | NAYY 4x150 SE | 81 | 82 | 0.0082174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_713-12_0_3_line_82 | NAYY 4x150 SE | 82 | 83 | 0.016165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_713-12_0_3_line_83 | NAYY 4x150 SE | 83 | 84 | 0.015305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_713-12_0_3_line_84 | NAYY 4x150 SE | 84 | 85 | 0.011028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_713-12_0_3_line_85 | NAYY 4x150 SE | 85 | 86 | 0.019782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_713-12_0_3_line_86 | NAYY 4x150 SE | 86 | 91 | 0.014052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_713-12_0_3_line_87 | NAYY 4x150 SE | 87 | 88 | 0.0066004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_713-12_0_3_line_88 | NAYY 4x150 SE | 88 | 89 | 0.039568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_713-12_0_3_line_89 | NAYY 4x150 SE | 89 | 90 | 0.011392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_713-12_0_3_line_90 | NAYY 4x150 SE | 90 | 91 | 0.025011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_713-12_0_3_line_91 | NAYY 4x150 SE | 90 | 92 | 0.022414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_713-12_0_3_line_92 | NAYY 4x150 SE | 92 | 93 | 0.02701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_713-12_0_3_line_93 | NAYY 4x150 SE | 93 | 94 | 0.018843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_713-12_0_3_line_94 | NAYY 4x150 SE | 94 | 95 | 0.024832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_713-12_0_3_line_95 | NAYY 4x150 SE | 95 | 96 | 0.018807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_713-12_0_3_trafo_10 | 0.25 MVA 20/0.4 kV | 97 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2581932.1235 | 1229792.851 | 2581954.4507 | 1229804.9194
1 | 2581932.1235 | 1229792.851 | 2581940.6154 | 1229788.1 | 2581951.0252 | 1229783.8546 | 2581976.8548 | 1229779.524
2 | 2581932.1235 | 1229792.851 | 2581921.5336 | 1229788.2668
3 | 2581976.8548 | 1229779.524 | 2581977.5685 | 1229779.4043 | 2581988.2562 | 1229776.8592 | 2581997.802 | 1229769.6791
4 | 2581897.9785 | 1229778.5245 | 2581909.961 | 1229783.2574 | 2581921.5336 | 1229788.2668
5 | 2582008.4254 | 1229763.701 | 2581999.7283 | 1229768.2302 | 2581997.802 | 1229769.6791
6 | 2581897.9785 | 1229778.5245 | 2581897.1564 | 1229779.6833 | 2581892.4728 | 1229786.3015 | 2581887.1558 | 1229796.3349 | 2581883.5132 | 1229804.0174
7 | 2581897.9785 | 1229778.5245 | 2581895.6822 | 1229775.652
8 | 2582008.4254 | 1229763.701 | 2582000.0159 | 1229753.2092
9 | 2582008.4254 | 1229763.701 | 2582018.8769 | 1229761.1497
10 | 2581895.6822 | 1229775.652 | 2581878.8607 | 1229754.6059
11 | 2581895.6822 | 1229775.652 | 2581899.0611 | 1229770.8944 | 2581909.3134 | 1229757.2549 | 2581909.3134 | 1229757.2549
12 | 2581992.8236 | 1229749.0345 | 2582000.0159 | 1229753.2092 | 2582000.0159 | 1229753.2092
13 | 2581878.8607 | 1229754.6059 | 2581865.2608 | 1229737.5904
14 | 2581904.3756 | 1229751.781 | 2581909.3134 | 1229757.2549
15 | 2581992.8236 | 1229749.0345 | 2581987.953 | 1229746.2074
16 | 2581978.4276 | 1229740.6785 | 2581987.953 | 1229746.2074
17 | 2581893.7355 | 1229683.0527 | 2581896.7895 | 1229685.9863
18 | 2581882.5037 | 1229672.2638 | 2581882.5037 | 1229672.2638 | 2581893.7355 | 1229683.0527
19 | 2581905.7054 | 1229694.5506 | 2581896.7895 | 1229685.9863
20 | 2581882.5037 | 1229672.2638 | 2581865.3409 | 1229687.1435
21 | 2581854.5134 | 1229696.5307 | 2581865.3409 | 1229687.1435
22 | 2581854.5134 | 1229696.5307 | 2581848.3357 | 1229686.3045
23 | 2581854.5134 | 1229696.5307 | 2581877.5248 | 1229722.0282
24 | 2581848.3357 | 1229686.3045 | 2581835.5558 | 1229665.1492
25 | 2581877.5248 | 1229722.0282 | 2581883.3694 | 1229728.5043
26 | 2581833.0411 | 1229660.9865 | 2581835.5558 | 1229665.1492
27 | 2581883.3694 | 1229728.5043 | 2581894.2671 | 1229740.5794
28 | 2581940.6654 | 1229649.3847 | 2581933.4457 | 1229642.9352
29 | 2581941.264 | 1229649.9195 | 2581940.6654 | 1229649.3847
30 | 2581926.8143 | 1229637.0112 | 2581933.4457 | 1229642.9352
31 | 2581955.1807 | 1229662.3517 | 2581941.264 | 1229649.9195
32 | 2581923.6868 | 1229634.2174 | 2581926.8143 | 1229637.0112
33 | 2581955.1807 | 1229662.3517 | 2581955.6095 | 1229662.7347 | 2581957.6961 | 1229668.8431 | 2581957.175 | 1229674.5773
34 | 2581923.6868 | 1229634.2174 | 2581923.2279 | 1229633.8074
35 | 2581957.175 | 1229674.5773 | 2581956.8533 | 1229678.1179 | 2581951.7399 | 1229682.8051
36 | 2581915.5265 | 1229626.9275 | 2581923.2279 | 1229633.8074
37 | 2581944.0711 | 1229689.8348 | 2581951.7399 | 1229682.8051
38 | 2581914.4756 | 1229625.9887 | 2581915.5265 | 1229626.9275
39 | 2581938.7355 | 1229695.8505 | 2581943.37 | 1229690.4776 | 2581944.0711 | 1229689.8348
40 | 2581976.6337 | 1229736.9697 | 2581972.6877 | 1229728.8111 | 2581969.851 | 1229726.5684
41 | 2581978.4276 | 1229740.6785 | 2581976.6337 | 1229736.9697
42 | 2581965.1038 | 1229722.8153 | 2581969.851 | 1229726.5684
43 | 2581965.1038 | 1229722.8153 | 2581964.0534 | 1229721.9848
44 | 2581870.288 | 1229591.9351 | 2581871.8302 | 1229590.4203
45 | 2581877.2297 | 1229585.1166 | 2581871.8302 | 1229590.4203
46 | 2581870.288 | 1229591.9351 | 2581856.8609 | 1229605.1238
47 | 2581877.2297 | 1229585.1166 | 2581890.5247 | 1229602.7241
48 | 2581877.2297 | 1229585.1166 | 2581888.3755 | 1229575.953
49 | 2581853.321 | 1229608.6009 | 2581856.8609 | 1229605.1238
50 | 2581905.0216 | 1229617.5432 | 2581894.8599 | 1229608.4655 | 2581890.5247 | 1229602.7241
51 | 2581912.0334 | 1229556.5023 | 2581888.3755 | 1229575.953
52 | 2581853.321 | 1229608.6009 | 2581834.6471 | 1229626.9433
53 | 2581905.0216 | 1229617.5432 | 2581914.4756 | 1229625.9887
54 | 2581912.0334 | 1229556.5023 | 2581952.1737 | 1229502.3826
55 | 2581814.5773 | 1229646.6568 | 2581834.6471 | 1229626.9433
56 | 2581952.1737 | 1229502.3826 | 2582020.9194 | 1229455.0084
57 | 2581952.1737 | 1229502.3826 | 2581929.1956 | 1229474.1469 | 2581928.4839 | 1229473.5053
58 | 2581814.5773 | 1229646.6568 | 2581827.6377 | 1229652.0421 | 2581833.0411 | 1229660.9865
59 | 2581814.5773 | 1229646.6568 | 2581805.5512 | 1229656.6819
60 | 2581814.5773 | 1229646.6568 | 2581806.8041 | 1229621.277
61 | 2582020.9194 | 1229455.0084 | 2582016.2304 | 1229329.3556
62 | 2581894.2671 | 1229740.5794 | 2581894.3177 | 1229740.6354
63 | 2581904.3756 | 1229751.781 | 2581902.6326 | 1229749.8486 | 2581894.3177 | 1229740.6354
64 | 2581865.2608 | 1229737.5904 | 2581864.3467 | 1229736.4467 | 2581858.5352 | 1229730.8423
65 | 2581857.8666 | 1229730.1975 | 2581858.5352 | 1229730.8423
66 | 2581831.2718 | 1229703.6613 | 2581831.3429 | 1229703.7539
67 | 2581831.2718 | 1229703.6613 | 2581818.5876 | 1229687.1465 | 2581813.4471 | 1229680.391
68 | 2581806.5095 | 1229671.2739 | 2581813.4471 | 1229680.391
69 | 2581800.0529 | 1229662.7888 | 2581806.5095 | 1229671.2739
70 | 2582282.5781 | 1229380.1933 | 2582292.7805 | 1229394.5226 | 2582292.9942 | 1229405.1838 | 2582294.9765 | 1229407.114
71 | 2582271.3586 | 1229364.4354 | 2582282.5781 | 1229380.1933
72 | 2582271.3586 | 1229364.4354 | 2582263.4345 | 1229364.4495
73 | 2582016.2304 | 1229329.3556 | 2582223.6705 | 1229352.3998
74 | 2582263.4345 | 1229364.4495 | 2582252.9888 | 1229364.4682 | 2582252.1318 | 1229364.115 | 2582223.6705 | 1229352.3998
75 | 2581795.3502 | 1229583.8792 | 2581792.8409 | 1229575.686
76 | 2581795.3502 | 1229583.8792 | 2581799.0125 | 1229595.8367
77 | 2581774.9755 | 1229535.8789 | 2581784.7736 | 1229549.3457 | 2581792.8409 | 1229575.686
78 | 2581806.6239 | 1229620.6884 | 2581799.0125 | 1229595.8367
79 | 2581800.9129 | 1229506.526 | 2581795.8377 | 1229509.0098 | 2581782.9421 | 1229522.8355 | 2581774.9755 | 1229535.8789
80 | 2581806.8041 | 1229621.277 | 2581806.6239 | 1229620.6884
81 | 2581800.0529 | 1229662.7888 | 2581805.5512 | 1229656.6819
82 | 2581800.0529 | 1229662.7888 | 2581788.1041 | 1229673.6754
83 | 2581788.1041 | 1229673.6754 | 2581776.791 | 1229683.9828
84 | 2581776.791 | 1229683.9828 | 2581768.6389 | 1229691.4102
85 | 2581768.6389 | 1229691.4102 | 2581765.4271 | 1229694.3365 | 2581760.3984 | 1229699.5774 | 2581755.1733 | 1229705.8635
86 | 2581746.1912 | 1229716.6696 | 2581755.1733 | 1229705.8635
87 | 2581697.2094 | 1229696.4566 | 2581700.684 | 1229702.0684
88 | 2581718.8378 | 1229737.0614 | 2581715.7124 | 1229728.2324 | 2581710.842 | 1229718.4749 | 2581700.684 | 1229702.0684
89 | 2581730.2039 | 1229735.9034 | 2581718.8378 | 1229737.0614
90 | 2581730.2039 | 1229735.9034 | 2581746.1912 | 1229716.6696
91 | 2581730.2039 | 1229735.9034 | 2581750.1333 | 1229738.4323 | 2581751.7869 | 1229740.0662
92 | 2581751.7869 | 1229740.0662 | 2581771.0002 | 1229759.0506
93 | 2581771.0002 | 1229759.0506 | 2581784.404 | 1229772.2946
94 | 2581784.404 | 1229772.2946 | 2581802.068 | 1229789.7482
95 | 2581815.4461 | 1229802.9669 | 2581802.068 | 1229789.7482

## bus_geodata
| x | y | coords
0 | 2581954.4507 | 1229804.9194
1 | 2581932.1235 | 1229792.851
2 | 2581976.8548 | 1229779.524
3 | 2581921.5336 | 1229788.2668
4 | 2581997.802 | 1229769.6791
5 | 2581897.9785 | 1229778.5245
6 | 2582008.4254 | 1229763.701
7 | 2581883.5132 | 1229804.0173
8 | 2581895.6822 | 1229775.652
9 | 2582000.0159 | 1229753.2092
10 | 2582018.8769 | 1229761.1497
11 | 2581878.8608 | 1229754.6059
12 | 2581909.3134 | 1229757.2549
13 | 2581992.8236 | 1229749.0345
14 | 2581987.953 | 1229746.2074
15 | 2581893.7355 | 1229683.0527
16 | 2581896.7895 | 1229685.9863
17 | 2581882.5037 | 1229672.2638
18 | 2581905.7054 | 1229694.5506
19 | 2581865.3409 | 1229687.1435
20 | 2581854.5134 | 1229696.5307
21 | 2581848.3357 | 1229686.3045
22 | 2581877.5248 | 1229722.0282
23 | 2581835.5558 | 1229665.1492
24 | 2581883.3694 | 1229728.5043
25 | 2581940.6654 | 1229649.3847
26 | 2581933.4457 | 1229642.9352
27 | 2581941.2641 | 1229649.9195
28 | 2581926.8143 | 1229637.0112
29 | 2581955.1807 | 1229662.3517
30 | 2581923.6868 | 1229634.2174
31 | 2581957.175 | 1229674.5773
32 | 2581923.2279 | 1229633.8074
33 | 2581951.7399 | 1229682.8051
34 | 2581915.5265 | 1229626.9275
35 | 2581944.0711 | 1229689.8348
36 | 2581976.6337 | 1229736.9697
37 | 2581969.851 | 1229726.5684
38 | 2581978.4276 | 1229740.6785
39 | 2581965.1038 | 1229722.8153
40 | 2581964.0534 | 1229721.9848
41 | 2581871.8302 | 1229590.4203
42 | 2581870.288 | 1229591.9351
43 | 2581877.2297 | 1229585.1166
44 | 2581856.8609 | 1229605.1238
45 | 2581890.5247 | 1229602.7241
46 | 2581888.3755 | 1229575.953
47 | 2581853.321 | 1229608.6009
48 | 2581905.0216 | 1229617.5432
49 | 2581912.0334 | 1229556.5023
50 | 2581834.6471 | 1229626.9433
51 | 2581914.4756 | 1229625.9887
52 | 2581952.1737 | 1229502.3826
53 | 2581814.5773 | 1229646.6568
54 | 2581928.4839 | 1229473.5053
55 | 2582020.9194 | 1229455.0084
56 | 2581894.3177 | 1229740.6354
57 | 2581894.2671 | 1229740.5794
58 | 2581904.3756 | 1229751.781
59 | 2581865.2608 | 1229737.5904
60 | 2581938.7355 | 1229695.8505
61 | 2581858.5352 | 1229730.8423
62 | 2581857.8666 | 1229730.1975
63 | 2581831.3429 | 1229703.7539
64 | 2581831.2718 | 1229703.6613
65 | 2581813.4471 | 1229680.391
66 | 2581806.5095 | 1229671.2739
67 | 2582294.9765 | 1229407.114
68 | 2582282.5781 | 1229380.1933
69 | 2582271.3586 | 1229364.4354
70 | 2582016.2304 | 1229329.3556
71 | 2582263.4345 | 1229364.4495
72 | 2582223.6705 | 1229352.3998
73 | 2581795.3502 | 1229583.8792
74 | 2581792.8409 | 1229575.686
75 | 2581799.0125 | 1229595.8367
76 | 2581774.9755 | 1229535.8789
77 | 2581806.6239 | 1229620.6884
78 | 2581800.9129 | 1229506.526
79 | 2581806.8041 | 1229621.277
80 | 2581833.0411 | 1229660.9865
81 | 2581805.5512 | 1229656.6819
82 | 2581800.0529 | 1229662.7888
83 | 2581788.1041 | 1229673.6754
84 | 2581776.791 | 1229683.9828
85 | 2581768.6389 | 1229691.4102
86 | 2581755.1733 | 1229705.8635
87 | 2581697.2094 | 1229696.4566
88 | 2581700.684 | 1229702.0684
89 | 2581718.8378 | 1229737.0614
90 | 2581730.2039 | 1229735.9034
91 | 2581746.1912 | 1229716.6696
92 | 2581751.7869 | 1229740.0662
93 | 2581771.0002 | 1229759.0506
94 | 2581784.404 | 1229772.2946
95 | 2581802.068 | 1229789.7482
96 | 2581815.4461 | 1229802.9669
97 | 2581905.7054 | 1229694.5506

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1