## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_713-19_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_713-19_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_713-19_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_713-19_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_713-19_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_713-19_0_4_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_713-19_0_4_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_713-19_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_713-19_0_4_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_713-19_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_713-19_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_713-19_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_713-19_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_713-19_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_713-19_0_4_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_713-19_0_4_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_713-19_0_4_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_713-19_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_713-19_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_713-19_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_713-19_0_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_713-19_0_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_713-19_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_713-19_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_713-19_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_713-19_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_713-19_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_713-19_0_4_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_713-19_0_4_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_713-19_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_713-19_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_713-19_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_713-19_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_713-19_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_713-19_0_4_node_77 | 0.4 | n |  | TRUE
35 | bus_LV_713-19_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_713-19_0_4_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_713-19_0_4_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_713-19_0_4_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_713-19_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_713-19_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_713-19_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_713-19_0_4_node_79 | 0.4 | n |  | TRUE
43 | bus_LV_713-19_0_4_node_72 | 0.4 | n |  | TRUE
44 | bus_LV_713-19_0_4_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_713-19_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_713-19_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_713-19_0_4_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_713-19_0_4_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_713-19_0_4_node_76 | 0.4 | n |  | TRUE
50 | bus_LV_713-19_0_4_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_713-19_0_4_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_713-19_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_713-19_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_713-19_0_4_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_713-19_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_713-19_0_4_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_713-19_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_713-19_0_4_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_713-19_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_713-19_0_4_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_713-19_0_4_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_713-19_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_713-19_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_713-19_0_4_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_713-19_0_4_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_713-19_0_4_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_713-19_0_4_node_75 | 0.4 | n |  | TRUE
68 | bus_LV_713-19_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_713-19_0_4_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_713-19_0_4_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_713-19_0_4_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_713-19_0_4_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_713-19_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_MV_308_0_node_193 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_713-19_0_4_load_0 | 0 | 0.0056673 | 0.0014204 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_713-19_0_4_load_1 | 1 | 0.0015602 | 0.00039102 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_713-19_0_4_load_2 | 2 | 0.00092628 | 0.00023215 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_713-19_0_4_load_3 | 3 | 0.00046852 | 0.00011742 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_713-19_0_4_load_4 | 4 | 0.0008493 | 0.00021285 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_713-19_0_4_load_14 | 5 | 0.001852 | 0.00046415 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_713-19_0_4_load_40 | 6 | 0.0014087 | 0.00035305 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_713-19_0_4_load_12 | 7 | 0.0011476 | 0.0002876 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_713-19_0_4_load_5 | 9 | 0.002453 | 0.00061477 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_713-19_0_4_load_6 | 10 | 0.0038232 | 0.00095818 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_713-19_0_4_load_7 | 11 | 0.0039509 | 0.00099018 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_713-19_0_4_load_8 | 12 | 0.0030337 | 0.00076032 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_713-19_0_4_load_38 | 14 | 0.0026165 | 0.00065577 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_713-19_0_4_load_34 | 16 | 0.0011445 | 0.00028683 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_713-19_0_4_load_10 | 17 | 0.00082092 | 0.00020574 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_713-19_0_4_load_11 | 18 | 0.003765 | 0.0009436 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_713-19_0_4_load_13 | 19 | 0.0059991 | 0.0015035 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_713-19_0_4_load_20 | 20 | 0.0097208 | 0.0024363 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_713-19_0_4_load_15 | 22 | 0.0083985 | 0.0021049 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_713-19_0_4_load_16 | 23 | 0.0079494 | 0.0019923 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_713-19_0_4_load_17 | 24 | 0.0050393 | 0.001263 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_713-19_0_4_load_18 | 25 | 0.00709 | 0.0017769 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_713-19_0_4_load_31 | 27 | 0.016133 | 0.0040434 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_713-19_0_4_load_37 | 28 | 0.0017015 | 0.00042645 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_713-19_0_4_load_22 | 31 | 0.01239 | 0.0031052 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_713-19_0_4_load_77 | 34 | 0.0029174 | 0.00073118 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_713-19_0_4_load_33 | 35 | 0.0026459 | 0.00066313 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_713-19_0_4_load_53 | 36 | 0.0030601 | 0.00076694 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_713-19_0_4_load_51 | 37 | 0.0032116 | 0.00080491 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_713-19_0_4_load_64 | 38 | 0.0024238 | 0.00060746 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_713-19_0_4_load_27 | 39 | 0.0042174 | 0.001057 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_713-19_0_4_load_28 | 40 | 0.0032738 | 0.00082048 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_713-19_0_4_load_79 | 42 | 0.0028509 | 0.0007145 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_713-19_0_4_load_71 | 44 | 0.0067269 | 0.0016859 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_713-19_0_4_load_35 | 45 | 0.002691 | 0.00067443 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_713-19_0_4_load_36 | 46 | 0.0044635 | 0.0011187 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_713-19_0_4_load_41 | 47 | 0.00089146 | 0.00022342 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_713-19_0_4_load_57 | 48 | 0.00348 | 0.00087217 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_713-19_0_4_load_76 | 49 | 0.0028506 | 0.00071443 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_713-19_0_4_load_56 | 51 | 0.00059099 | 0.00014812 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_713-19_0_4_load_42 | 52 | 0.010628 | 0.0026637 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_713-19_0_4_load_43 | 53 | 0.0014977 | 0.00037537 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_713-19_0_4_load_44 | 54 | 0.0014766 | 0.00037007 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_713-19_0_4_load_45 | 55 | 0.0018696 | 0.00046857 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_713-19_0_4_load_46 | 56 | 0.0012474 | 0.00031263 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_713-19_0_4_load_54 | 57 | 0.0018619 | 0.00046664 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_713-19_0_4_load_47 | 58 | 0.0011353 | 0.00028452 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_713-19_0_4_load_50 | 61 | 0.0014177 | 0.00035531 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_713-19_0_4_load_55 | 63 | 0.0010574 | 0.00026501 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_713-19_0_4_load_68 | 65 | 0.0018821 | 0.00047169 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_713-19_0_4_load_65 | 66 | 0.0018592 | 0.00046596 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_713-19_0_4_load_75 | 67 | 0.0020555 | 0.00051517 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_713-19_0_4_load_59 | 68 | 0.0026421 | 0.00066218 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_713-19_0_4_load_60 | 69 | 0.0072587 | 0.0018192 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_713-19_0_4_load_62 | 70 | 0.0023513 | 0.00058929 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_713-19_0_4_load_66 | 71 | 0.007355 | 0.0018433 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_713-19_0_4_load_74 | 72 | 0.001361 | 0.0003411 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_713-19_0_4_load_70 | 73 | 0.002888 | 0.0007238 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_713-19_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_713-19_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0051492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_713-19_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0033356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_713-19_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_713-19_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0069722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_713-19_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.016536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_713-19_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.010696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_713-19_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.031708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_713-19_0_4_line_8 | NAYY 4x150 SE | 7 | 17 | 0.0013616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_713-19_0_4_line_9 | NAYY 4x150 SE | 8 | 16 | 0.031331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_713-19_0_4_line_10 | NAYY 4x150 SE | 8 | 13 | 0.058379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_713-19_0_4_line_11 | NAYY 4x150 SE | 9 | 10 | 0.00029283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_713-19_0_4_line_12 | NAYY 4x150 SE | 9 | 11 | 0.0087003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_713-19_0_4_line_13 | NAYY 4x150 SE | 10 | 12 | 0.019525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_713-19_0_4_line_14 | NAYY 4x150 SE | 11 | 13 | 0.051384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_713-19_0_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.0023213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_713-19_0_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.015589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_713-19_0_4_line_17 | NAYY 4x150 SE | 15 | 48 | 0.0027294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_713-19_0_4_line_18 | NAYY 4x150 SE | 16 | 35 | 0.0061337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_713-19_0_4_line_19 | NAYY 4x150 SE | 17 | 18 | 0.016938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_713-19_0_4_line_20 | NAYY 4x150 SE | 18 | 19 | 0.0055918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_713-19_0_4_line_21 | NAYY 4x150 SE | 19 | 20 | 0.0023866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_713-19_0_4_line_22 | NAYY 4x150 SE | 20 | 21 | 0.017721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_713-19_0_4_line_23 | NAYY 4x150 SE | 21 | 31 | 0.030213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_713-19_0_4_line_24 | NAYY 4x150 SE | 21 | 33 | 0.04149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_713-19_0_4_line_25 | NAYY 4x150 SE | 22 | 23 | 0.0051997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_713-19_0_4_line_26 | NAYY 4x150 SE | 22 | 24 | 0.023112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_713-19_0_4_line_27 | NAYY 4x150 SE | 23 | 25 | 0.014981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_713-19_0_4_line_28 | NAYY 4x150 SE | 24 | 26 | 0.014914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_713-19_0_4_line_29 | NAYY 4x150 SE | 26 | 27 | 0.016896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_713-19_0_4_line_30 | NAYY 4x150 SE | 26 | 28 | 0.017659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_713-19_0_4_line_31 | NAYY 4x150 SE | 27 | 32 | 0.026991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_713-19_0_4_line_32 | NAYY 4x150 SE | 29 | 30 | 0.008394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_713-19_0_4_line_33 | NAYY 4x150 SE | 29 | 31 | 0.014938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_713-19_0_4_line_34 | NAYY 4x150 SE | 30 | 36 | 0.012563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_713-19_0_4_line_35 | NAYY 4x150 SE | 30 | 37 | 0.045945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_713-19_0_4_line_36 | NAYY 4x150 SE | 32 | 39 | 0.046483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_713-19_0_4_line_37 | NAYY 4x150 SE | 33 | 34 | 0.013661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_713-19_0_4_line_38 | NAYY 4x150 SE | 35 | 45 | 0.025659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_713-19_0_4_line_39 | NAYY 4x150 SE | 36 | 38 | 0.013379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_713-19_0_4_line_40 | NAYY 4x150 SE | 38 | 66 | 0.017588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_713-19_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.022809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_713-19_0_4_line_42 | NAYY 4x150 SE | 40 | 41 | 0.024191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_713-19_0_4_line_43 | NAYY 4x150 SE | 41 | 42 | 0.013357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_713-19_0_4_line_44 | NAYY 4x150 SE | 41 | 43 | 0.00835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_713-19_0_4_line_45 | NAYY 4x150 SE | 43 | 44 | 0.015384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_713-19_0_4_line_46 | NAYY 4x150 SE | 44 | 73 | 0.01795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_713-19_0_4_line_47 | NAYY 4x150 SE | 45 | 46 | 0.027256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_713-19_0_4_line_48 | NAYY 4x150 SE | 46 | 47 | 0.0006892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_713-19_0_4_line_49 | NAYY 4x150 SE | 48 | 51 | 0.015735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_713-19_0_4_line_50 | NAYY 4x150 SE | 49 | 50 | 0.015771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_713-19_0_4_line_51 | NAYY 4x150 SE | 50 | 72 | 0.022329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_713-19_0_4_line_52 | NAYY 4x150 SE | 50 | 71 | 0.018364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_713-19_0_4_line_53 | NAYY 4x150 SE | 51 | 63 | 0.013646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_713-19_0_4_line_54 | NAYY 4x150 SE | 52 | 53 | 0.018993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_713-19_0_4_line_55 | NAYY 4x150 SE | 52 | 54 | 0.0029976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_713-19_0_4_line_56 | NAYY 4x150 SE | 53 | 55 | 0.037716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_713-19_0_4_line_57 | NAYY 4x150 SE | 54 | 56 | 0.0014033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_713-19_0_4_line_58 | NAYY 4x150 SE | 55 | 57 | 0.010083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_713-19_0_4_line_59 | NAYY 4x150 SE | 56 | 58 | 0.028118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_713-19_0_4_line_60 | NAYY 4x150 SE | 58 | 59 | 0.0063159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_713-19_0_4_line_61 | NAYY 4x150 SE | 59 | 60 | 0.027292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_713-19_0_4_line_62 | NAYY 4x150 SE | 59 | 61 | 0.026075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_713-19_0_4_line_63 | NAYY 4x150 SE | 60 | 62 | 0.024549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_713-19_0_4_line_64 | NAYY 4x150 SE | 60 | 63 | 0.024797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_713-19_0_4_line_65 | NAYY 4x150 SE | 62 | 64 | 0.024173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_713-19_0_4_line_66 | NAYY 4x150 SE | 62 | 65 | 0.041927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_713-19_0_4_line_67 | NAYY 4x150 SE | 64 | 67 | 0.012456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_713-19_0_4_line_68 | NAYY 4x150 SE | 66 | 73 | 0.0072103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_713-19_0_4_line_69 | NAYY 4x150 SE | 67 | 72 | 0.012024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_713-19_0_4_line_70 | NAYY 4x150 SE | 68 | 69 | 0.018661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_713-19_0_4_line_71 | NAYY 4x150 SE | 69 | 70 | 0.020736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_713-19_0_4_line_72 | NAYY 4x150 SE | 70 | 71 | 0.022676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_713-19_0_4_trafo_0 | 0.25 MVA 20/0.4 kV | 74 | 0 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2581965.6411 | 1230154.0269 | 2581976.2212 | 1230171.8422
1 | 2581965.6411 | 1230154.0269 | 2581963.0118 | 1230149.5996
2 | 2581976.2212 | 1230171.8422 | 2581977.9244 | 1230174.7102
3 | 2581963.0118 | 1230149.5996 | 2581962.1576 | 1230148.1612 | 2581957.3403 | 1230137.038
4 | 2581977.9244 | 1230174.7102 | 2581981.4846 | 1230180.705
5 | 2581950.7687 | 1230121.8643 | 2581957.3403 | 1230137.038
6 | 2581986.946 | 1230189.9012 | 2581981.4846 | 1230180.705
7 | 2581938.1675 | 1230092.7678 | 2581950.7687 | 1230121.8643
8 | 2581986.946 | 1230189.9012 | 2581987.6413 | 1230191.0719
9 | 2581938.1675 | 1230092.7678 | 2581912.4169 | 1230110.6163
10 | 2581897.6935 | 1230056.6365 | 2581908.0529 | 1230055.8821 | 2581925.1979 | 1230072.1506 | 2581938.1675 | 1230092.7678
11 | 2581847.0465 | 1230089.5032 | 2581847.2921 | 1230089.3438
12 | 2581847.2921 | 1230089.3438 | 2581854.5904 | 1230084.6077
13 | 2581830.6218 | 1230100.0603 | 2581844.2797 | 1230091.2986 | 2581847.0465 | 1230089.5032
14 | 2581897.6935 | 1230056.6365 | 2581854.5904 | 1230084.6077
15 | 2581830.6218 | 1230100.0603 | 2581828.668 | 1230101.3136
16 | 2581815.5465 | 1230109.7312 | 2581828.668 | 1230101.3136
17 | 2581815.5465 | 1230109.7312 | 2581813.2493 | 1230111.2052
18 | 2581907.3758 | 1230114.1104 | 2581912.4169 | 1230110.6163
19 | 2581987.6413 | 1230191.0719 | 2581996.2899 | 1230205.6349
20 | 2581999.1452 | 1230210.4428 | 2581996.2899 | 1230205.6349
21 | 2581999.1452 | 1230210.4428 | 2582000.3639 | 1230212.4948
22 | 2582009.4128 | 1230227.7317 | 2582000.3639 | 1230212.4948
23 | 2582009.4128 | 1230227.7317 | 2582039.621 | 1230228.2797
24 | 2582009.4128 | 1230227.7317 | 2582025.4347 | 1230266.0171
25 | 2582055.6304 | 1230164.2083 | 2582053.9176 | 1230159.2987
26 | 2582046.3046 | 1230137.4762 | 2582053.9176 | 1230159.2987
27 | 2582055.6304 | 1230164.2083 | 2582060.565 | 1230178.3532
28 | 2582041.392 | 1230123.3942 | 2582046.3046 | 1230137.4762
29 | 2582041.392 | 1230123.3942 | 2582052.9866 | 1230111.1048
30 | 2582041.392 | 1230123.3942 | 2582034.573 | 1230107.1054
31 | 2582071.5089 | 1230091.4727 | 2582052.9866 | 1230111.1048
32 | 2582054.557 | 1230228.5507 | 2582061.9388 | 1230232.5863
33 | 2582054.557 | 1230228.5507 | 2582039.621 | 1230228.2797
34 | 2582061.9388 | 1230232.5863 | 2582071.7867 | 1230224.7857
35 | 2582061.9388 | 1230232.5863 | 2582085.5497 | 1230272.0002
36 | 2582071.5089 | 1230091.4727 | 2582093.1024 | 1230132.636
37 | 2582025.4347 | 1230266.0171 | 2582014.9085 | 1230274.7249
38 | 2581907.3758 | 1230114.1104 | 2581887.7238 | 1230127.7318 | 2581886.6405 | 1230129.1039
39 | 2582071.7867 | 1230224.7857 | 2582082.2743 | 1230216.4782
40 | 2582082.2743 | 1230216.4782 | 2582094.0064 | 1230207.185 | 2582096.0136 | 1230205.4986
41 | 2582093.1024 | 1230132.636 | 2582097.7994 | 1230141.5898 | 2582104.8293 | 1230152.1639
42 | 2582118.9168 | 1230171.7996 | 2582113.0171 | 1230164.4797 | 2582104.8293 | 1230152.1639
43 | 2582118.9168 | 1230171.7996 | 2582130.273 | 1230164.7681
44 | 2582118.9168 | 1230171.7996 | 2582125.1219 | 1230177.4065
45 | 2582125.1219 | 1230177.4065 | 2582114.7717 | 1230188.788
46 | 2582114.7717 | 1230188.788 | 2582111.1108 | 1230192.8136 | 2582101.534 | 1230200.8602
47 | 2581886.6405 | 1230129.1039 | 2581884.2833 | 1230132.0894 | 2581884.3088 | 1230140.4277 | 2581883.3119 | 1230155.5082
48 | 2581883.3119 | 1230155.5082 | 2581883.2664 | 1230156.1959
49 | 2581813.2493 | 1230111.2052 | 2581800.0061 | 1230119.7028
50 | 2581809.2168 | 1230152.3763 | 2581819.8641 | 1230140.7423
51 | 2581809.2168 | 1230152.3763 | 2581794.1182 | 1230161.1835 | 2581790.9247 | 1230164.8332
52 | 2581809.2168 | 1230152.3763 | 2581822.2163 | 1230165.348
53 | 2581788.5208 | 1230127.0723 | 2581800.0061 | 1230119.7028
54 | 2581739.8463 | 1230134.7743 | 2581723.9289 | 1230145.1357
55 | 2581739.8463 | 1230134.7743 | 2581742.3585 | 1230133.139
56 | 2581723.9289 | 1230145.1357 | 2581692.3198 | 1230165.7114 | 2581692.3198 | 1230165.7114
57 | 2581742.3585 | 1230133.139 | 2581743.5346 | 1230132.3735
58 | 2581683.9361 | 1230160.1088 | 2581692.3198 | 1230165.7114
59 | 2581767.0994 | 1230117.0341 | 2581743.5346 | 1230132.3735
60 | 2581772.3926 | 1230113.5885 | 2581767.0994 | 1230117.0341
61 | 2581767.6507 | 1230140.4637 | 2581772.3926 | 1230113.5885
62 | 2581772.3926 | 1230113.5885 | 2581777.4521 | 1230088.0086
63 | 2581767.6507 | 1230140.4637 | 2581760.3002 | 1230163.8893
64 | 2581767.6507 | 1230140.4637 | 2581788.5208 | 1230127.0723
65 | 2581760.3002 | 1230163.8893 | 2581774.8038 | 1230183.2562
66 | 2581760.3002 | 1230163.8893 | 2581740.5843 | 1230188.3425 | 2581734.3667 | 1230196.8229
67 | 2581774.8038 | 1230183.2562 | 2581783.0064 | 1230173.8822
68 | 2582101.534 | 1230200.8602 | 2582096.0136 | 1230205.4986
69 | 2581790.9247 | 1230164.8332 | 2581783.0064 | 1230173.8822
70 | 2581864.9084 | 1230210.3959 | 2581852.2146 | 1230196.7178
71 | 2581838.1089 | 1230181.5182 | 2581852.2146 | 1230196.7178
72 | 2581838.1089 | 1230181.5182 | 2581834.1974 | 1230177.3034 | 2581822.2163 | 1230165.348

## bus_geodata
| x | y | coords
0 | 2581965.6411 | 1230154.0269
1 | 2581976.2212 | 1230171.8422
2 | 2581963.0118 | 1230149.5996
3 | 2581977.9244 | 1230174.7102
4 | 2581957.3403 | 1230137.038
5 | 2581981.4846 | 1230180.705
6 | 2581950.7687 | 1230121.8643
7 | 2581986.946 | 1230189.9012
8 | 2581938.1675 | 1230092.7678
9 | 2581847.2921 | 1230089.3438
10 | 2581847.0465 | 1230089.5032
11 | 2581854.5904 | 1230084.6077
12 | 2581830.6218 | 1230100.0603
13 | 2581897.6935 | 1230056.6365
14 | 2581828.668 | 1230101.3136
15 | 2581815.5465 | 1230109.7312
16 | 2581912.4169 | 1230110.6163
17 | 2581987.6413 | 1230191.0719
18 | 2581996.2899 | 1230205.6349
19 | 2581999.1452 | 1230210.4428
20 | 2582000.3639 | 1230212.4948
21 | 2582009.4128 | 1230227.7317
22 | 2582053.9176 | 1230159.2987
23 | 2582055.6304 | 1230164.2083
24 | 2582046.3046 | 1230137.4762
25 | 2582060.565 | 1230178.3532
26 | 2582041.392 | 1230123.3942
27 | 2582052.9866 | 1230111.1048
28 | 2582034.573 | 1230107.1054
29 | 2582054.557 | 1230228.5507
30 | 2582061.9388 | 1230232.5863
31 | 2582039.621 | 1230228.2797
32 | 2582071.5089 | 1230091.4727
33 | 2582025.4347 | 1230266.0171
34 | 2582014.9085 | 1230274.7249
35 | 2581907.3758 | 1230114.1104
36 | 2582071.7867 | 1230224.7857
37 | 2582085.5497 | 1230272.0002
38 | 2582082.2743 | 1230216.4782
39 | 2582093.1024 | 1230132.636
40 | 2582104.8293 | 1230152.1639
41 | 2582118.9168 | 1230171.7996
42 | 2582130.273 | 1230164.7681
43 | 2582125.1219 | 1230177.4065
44 | 2582114.7717 | 1230188.788
45 | 2581886.6405 | 1230129.1039
46 | 2581883.3119 | 1230155.5082
47 | 2581883.2664 | 1230156.1959
48 | 2581813.2493 | 1230111.2052
49 | 2581819.8641 | 1230140.7423
50 | 2581809.2168 | 1230152.3763
51 | 2581800.0061 | 1230119.7028
52 | 2581739.8463 | 1230134.7743
53 | 2581723.9289 | 1230145.1357
54 | 2581742.3585 | 1230133.139
55 | 2581692.3198 | 1230165.7114
56 | 2581743.5346 | 1230132.3735
57 | 2581683.9361 | 1230160.1088
58 | 2581767.0994 | 1230117.0341
59 | 2581772.3926 | 1230113.5885
60 | 2581767.6507 | 1230140.4637
61 | 2581777.4521 | 1230088.0086
62 | 2581760.3002 | 1230163.8893
63 | 2581788.5208 | 1230127.0723
64 | 2581774.8038 | 1230183.2562
65 | 2581734.3667 | 1230196.8229
66 | 2582096.0136 | 1230205.4986
67 | 2581783.0064 | 1230173.8822
68 | 2581864.9084 | 1230210.3959
69 | 2581852.2146 | 1230196.7178
70 | 2581838.1089 | 1230181.5182
71 | 2581822.2163 | 1230165.348
72 | 2581790.9247 | 1230164.8332
73 | 2582101.534 | 1230200.8602
74 | 2581938.1675 | 1230092.7678

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1