## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_716-2_1_3_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_716-2_1_3_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_716-2_1_3_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_716-2_1_3_node_165 | 0.4 | n |  | TRUE
4 | bus_LV_716-2_1_3_node_170 | 0.4 | n |  | TRUE
5 | bus_LV_716-2_1_3_node_98 | 0.4 | n |  | TRUE
6 | bus_LV_716-2_1_3_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_716-2_1_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_716-2_1_3_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_716-2_1_3_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_716-2_1_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_716-2_1_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_716-2_1_3_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_716-2_1_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_716-2_1_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_716-2_1_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_716-2_1_3_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_716-2_1_3_node_89 | 0.4 | n |  | TRUE
18 | bus_LV_716-2_1_3_node_90 | 0.4 | n |  | TRUE
19 | bus_LV_716-2_1_3_node_91 | 0.4 | n |  | TRUE
20 | bus_LV_716-2_1_3_node_92 | 0.4 | n |  | TRUE
21 | bus_LV_716-2_1_3_node_93 | 0.4 | n |  | TRUE
22 | bus_LV_716-2_1_3_node_94 | 0.4 | n |  | TRUE
23 | bus_LV_716-2_1_3_node_95 | 0.4 | n |  | TRUE
24 | bus_LV_716-2_1_3_node_103 | 0.4 | n |  | TRUE
25 | bus_LV_716-2_1_3_node_162 | 0.4 | n |  | TRUE
26 | bus_LV_716-2_1_3_node_112 | 0.4 | n |  | TRUE
27 | bus_LV_716-2_1_3_node_116 | 0.4 | n |  | TRUE
28 | bus_LV_716-2_1_3_node_114 | 0.4 | n |  | TRUE
29 | bus_LV_716-2_1_3_node_101 | 0.4 | n |  | TRUE
30 | bus_LV_716-2_1_3_node_111 | 0.4 | n |  | TRUE
31 | bus_LV_716-2_1_3_node_117 | 0.4 | n |  | TRUE
32 | bus_LV_716-2_1_3_node_96 | 0.4 | n |  | TRUE
33 | bus_LV_716-2_1_3_node_97 | 0.4 | n |  | TRUE
34 | bus_LV_716-2_1_3_node_99 | 0.4 | n |  | TRUE
35 | bus_LV_716-2_1_3_node_104 | 0.4 | n |  | TRUE
36 | bus_LV_716-2_1_3_node_102 | 0.4 | n |  | TRUE
37 | bus_LV_716-2_1_3_node_100 | 0.4 | n |  | TRUE
38 | bus_LV_716-2_1_3_node_105 | 0.4 | n |  | TRUE
39 | bus_LV_716-2_1_3_node_118 | 0.4 | n |  | TRUE
40 | bus_LV_716-2_1_3_node_163 | 0.4 | n |  | TRUE
41 | bus_LV_716-2_1_3_node_109 | 0.4 | n |  | TRUE
42 | bus_LV_716-2_1_3_node_106 | 0.4 | n |  | TRUE
43 | bus_LV_716-2_1_3_node_107 | 0.4 | n |  | TRUE
44 | bus_LV_716-2_1_3_node_108 | 0.4 | n |  | TRUE
45 | bus_LV_716-2_1_3_node_110 | 0.4 | n |  | TRUE
46 | bus_LV_716-2_1_3_node_115 | 0.4 | n |  | TRUE
47 | bus_LV_716-2_1_3_node_119 | 0.4 | n |  | TRUE
48 | bus_LV_716-2_1_3_node_120 | 0.4 | n |  | TRUE
49 | bus_LV_716-2_1_3_node_113 | 0.4 | n |  | TRUE
50 | bus_LV_716-2_1_3_node_146 | 0.4 | n |  | TRUE
51 | bus_LV_716-2_1_3_node_130 | 0.4 | n |  | TRUE
52 | bus_LV_716-2_1_3_node_131 | 0.4 | n |  | TRUE
53 | bus_LV_716-2_1_3_node_132 | 0.4 | n |  | TRUE
54 | bus_LV_716-2_1_3_node_133 | 0.4 | n |  | TRUE
55 | bus_LV_716-2_1_3_node_134 | 0.4 | n |  | TRUE
56 | bus_LV_716-2_1_3_node_142 | 0.4 | n |  | TRUE
57 | bus_LV_716-2_1_3_node_155 | 0.4 | n |  | TRUE
58 | bus_LV_716-2_1_3_node_140 | 0.4 | n |  | TRUE
59 | bus_LV_716-2_1_3_node_141 | 0.4 | n |  | TRUE
60 | bus_LV_716-2_1_3_node_144 | 0.4 | n |  | TRUE
61 | bus_LV_716-2_1_3_node_157 | 0.4 | n |  | TRUE
62 | bus_LV_716-2_1_3_node_147 | 0.4 | n |  | TRUE
63 | bus_LV_716-2_1_3_node_148 | 0.4 | n |  | TRUE
64 | bus_LV_716-2_1_3_node_149 | 0.4 | n |  | TRUE
65 | bus_LV_716-2_1_3_node_121 | 0.4 | n |  | TRUE
66 | bus_LV_716-2_1_3_node_122 | 0.4 | n |  | TRUE
67 | bus_LV_716-2_1_3_node_124 | 0.4 | n |  | TRUE
68 | bus_LV_716-2_1_3_node_160 | 0.4 | n |  | TRUE
69 | bus_LV_716-2_1_3_node_123 | 0.4 | n |  | TRUE
70 | bus_LV_716-2_1_3_node_125 | 0.4 | n |  | TRUE
71 | bus_LV_716-2_1_3_node_129 | 0.4 | n |  | TRUE
72 | bus_LV_716-2_1_3_node_161 | 0.4 | n |  | TRUE
73 | bus_LV_716-2_1_3_node_128 | 0.4 | n |  | TRUE
74 | bus_LV_716-2_1_3_node_126 | 0.4 | n |  | TRUE
75 | bus_LV_716-2_1_3_node_127 | 0.4 | n |  | TRUE
76 | bus_LV_716-2_1_3_node_145 | 0.4 | n |  | TRUE
77 | bus_LV_716-2_1_3_node_138 | 0.4 | n |  | TRUE
78 | bus_LV_716-2_1_3_node_154 | 0.4 | n |  | TRUE
79 | bus_LV_716-2_1_3_node_135 | 0.4 | n |  | TRUE
80 | bus_LV_716-2_1_3_node_136 | 0.4 | n |  | TRUE
81 | bus_LV_716-2_1_3_node_137 | 0.4 | n |  | TRUE
82 | bus_LV_716-2_1_3_node_139 | 0.4 | n |  | TRUE
83 | bus_LV_716-2_1_3_node_153 | 0.4 | n |  | TRUE
84 | bus_LV_716-2_1_3_node_152 | 0.4 | n |  | TRUE
85 | bus_LV_716-2_1_3_node_143 | 0.4 | n |  | TRUE
86 | bus_LV_716-2_1_3_node_156 | 0.4 | n |  | TRUE
87 | bus_LV_716-2_1_3_node_159 | 0.4 | n |  | TRUE
88 | bus_LV_716-2_1_3_node_150 | 0.4 | n |  | TRUE
89 | bus_LV_716-2_1_3_node_151 | 0.4 | n |  | TRUE
90 | bus_MV_311_0_node_190 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_716-2_1_3_load_6 | 0 | 0.0011209 | 0.00028094 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_716-2_1_3_load_7 | 1 | 0.0002249 | 5.6365e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_716-2_1_3_load_165 | 3 | 0.00046951 | 0.00011767 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_716-2_1_3_load_170 | 4 | 0.00053734 | 0.00013467 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_716-2_1_3_load_17 | 6 | 0.0006144 | 0.00015398 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_716-2_1_3_load_18 | 7 | 0.0028022 | 0.00070229 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_716-2_1_3_load_20 | 8 | 0.00095614 | 0.00023963 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_716-2_1_3_load_11 | 10 | 0.0004513 | 0.00011311 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_716-2_1_3_load_12 | 11 | 0.0017169 | 0.0004303 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_716-2_1_3_load_15 | 14 | 0.00034758 | 8.7112e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_716-2_1_3_load_19 | 16 | 0.001541 | 0.00038621 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_716-2_1_3_load_89 | 17 | 0.00060691 | 0.00015211 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_716-2_1_3_load_92 | 20 | 0.00040121 | 0.00010055 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_716-2_1_3_load_93 | 21 | 0.0026771 | 0.00067094 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_716-2_1_3_load_94 | 22 | 0.0013096 | 0.00032823 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_716-2_1_3_load_95 | 23 | 0.00054383 | 0.0001363 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_716-2_1_3_load_162 | 25 | 0.00054992 | 0.00013782 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_716-2_1_3_load_112 | 26 | 0.004394 | 0.0011012 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_716-2_1_3_load_116 | 27 | 0.0011071 | 0.00027746 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_716-2_1_3_load_101 | 29 | 0.00070423 | 0.0001765 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_716-2_1_3_load_111 | 30 | 0.00048525 | 0.00012161 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_716-2_1_3_load_96 | 32 | 0.0013292 | 0.00033313 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_716-2_1_3_load_97 | 33 | 0.00028345 | 7.104e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_716-2_1_3_load_99 | 34 | 0.0014199 | 0.00035587 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_716-2_1_3_load_104 | 35 | 0.00049642 | 0.00012441 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_716-2_1_3_load_100 | 37 | 0.00036545 | 9.1589e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_716-2_1_3_load_105 | 38 | 0.0022433 | 0.00056222 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_716-2_1_3_load_118 | 39 | 0.00095871 | 0.00024027 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_716-2_1_3_load_163 | 40 | 0.0034482 | 0.0008642 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_716-2_1_3_load_106 | 42 | 0.0040659 | 0.001019 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_716-2_1_3_load_107 | 43 | 0.004428 | 0.0011097 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_716-2_1_3_load_108 | 44 | 0.0040443 | 0.0010136 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_716-2_1_3_load_110 | 45 | 0.0013112 | 0.00032863 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_716-2_1_3_load_115 | 46 | 0.0024582 | 0.00061608 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_716-2_1_3_load_119 | 47 | 0.0030333 | 0.00076023 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_716-2_1_3_load_113 | 49 | 0.00085671 | 0.00021471 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_716-2_1_3_load_146 | 50 | 0.00070792 | 0.00017742 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_716-2_1_3_load_130 | 51 | 0.00046686 | 0.00011701 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_716-2_1_3_load_131 | 52 | 0.0020326 | 0.00050942 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_716-2_1_3_load_132 | 53 | 0.0012354 | 0.00030962 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_716-2_1_3_load_133 | 54 | 0.0025634 | 0.00064244 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_716-2_1_3_load_155 | 57 | 0.0026072 | 0.00065343 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_716-2_1_3_load_140 | 58 | 0.0006707 | 0.00016809 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_716-2_1_3_load_141 | 59 | 0.0020365 | 0.00051041 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_716-2_1_3_load_144 | 60 | 0.0010903 | 0.00027326 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_716-2_1_3_load_157 | 61 | 0.00095512 | 0.00023937 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_716-2_1_3_load_148 | 63 | 0.002005 | 0.0005025 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_716-2_1_3_load_149 | 64 | 0.00067589 | 0.00016939 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_716-2_1_3_load_121 | 65 | 0.00072276 | 0.00018114 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_716-2_1_3_load_122 | 66 | 0.0013788 | 0.00034555 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_716-2_1_3_load_160 | 68 | 0.00092739 | 0.00023243 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_716-2_1_3_load_125 | 70 | 0.0002081 | 5.2156e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_716-2_1_3_load_129 | 71 | 0.0032005 | 0.00080213 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_716-2_1_3_load_161 | 72 | 0.001283 | 0.00032155 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_716-2_1_3_load_126 | 74 | 0.0019605 | 0.00049134 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_716-2_1_3_load_127 | 75 | 0.00029114 | 7.2966e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_716-2_1_3_load_145 | 76 | 0.001131 | 0.00028344 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_716-2_1_3_load_138 | 77 | 0.0037592 | 0.00094215 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_716-2_1_3_load_154 | 78 | 0.0023726 | 0.00059462 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_716-2_1_3_load_135 | 79 | 0.0044358 | 0.0011117 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_716-2_1_3_load_136 | 80 | 0.0042211 | 0.0010579 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_716-2_1_3_load_137 | 81 | 0.0020903 | 0.00052387 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_716-2_1_3_load_139 | 82 | 0.0082212 | 0.0020604 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_716-2_1_3_load_153 | 83 | 0.0035568 | 0.00089141 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_716-2_1_3_load_152 | 84 | 0.004305 | 0.0010789 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_716-2_1_3_load_156 | 86 | 0.00073031 | 0.00018303 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_716-2_1_3_load_159 | 87 | 0.00052146 | 0.00013069 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_716-2_1_3_load_150 | 88 | 0.0015805 | 0.00039612 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_716-2_1_3_load_151 | 89 | 0.0019514 | 0.00048907 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_716-2_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.024889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_716-2_1_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.01766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_716-2_1_3_line_2 | NAYY 4x150 SE | 2 | 6 | 0.012355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_716-2_1_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.71965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_716-2_1_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.6081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_716-2_1_3_line_5 | NAYY 4x150 SE | 4 | 15 | 0.013593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_716-2_1_3_line_6 | NAYY 4x150 SE | 5 | 32 | 0.16179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_716-2_1_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.012005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_716-2_1_3_line_8 | NAYY 4x150 SE | 7 | 14 | 0.0033498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_716-2_1_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.02421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_716-2_1_3_line_10 | NAYY 4x150 SE | 9 | 16 | 0.038144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_716-2_1_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.008854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_716-2_1_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.015052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_716-2_1_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.042808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_716-2_1_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.03311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_716-2_1_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.010622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_716-2_1_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.021703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_716-2_1_3_line_17 | NAYY 4x150 SE | 17 | 18 | 0.017874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_716-2_1_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.003837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_716-2_1_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.025363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_716-2_1_3_line_20 | NAYY 4x150 SE | 18 | 21 | 0.021993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_716-2_1_3_line_21 | NAYY 4x150 SE | 19 | 22 | 0.027702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_716-2_1_3_line_22 | NAYY 4x150 SE | 19 | 23 | 0.04083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_716-2_1_3_line_23 | NAYY 4x150 SE | 20 | 24 | 0.028684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_716-2_1_3_line_24 | NAYY 4x150 SE | 21 | 25 | 0.023163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_716-2_1_3_line_25 | NAYY 4x150 SE | 22 | 26 | 0.0038061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_716-2_1_3_line_26 | NAYY 4x150 SE | 23 | 27 | 0.0073446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_716-2_1_3_line_27 | NAYY 4x150 SE | 24 | 28 | 0.012722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_716-2_1_3_line_28 | NAYY 4x150 SE | 24 | 29 | 0.007234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_716-2_1_3_line_29 | NAYY 4x150 SE | 26 | 30 | 0.012371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_716-2_1_3_line_30 | NAYY 4x150 SE | 27 | 31 | 0.041923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_716-2_1_3_line_31 | NAYY 4x150 SE | 28 | 40 | 0.019997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_716-2_1_3_line_32 | NAYY 4x150 SE | 28 | 41 | 0.005431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_716-2_1_3_line_33 | NAYY 4x150 SE | 29 | 37 | 0.019009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_716-2_1_3_line_34 | NAYY 4x150 SE | 30 | 49 | 0.004584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_716-2_1_3_line_35 | NAYY 4x150 SE | 31 | 50 | 0.42128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_716-2_1_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.018597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_716-2_1_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.030676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_716-2_1_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.005343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_716-2_1_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.0072749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_716-2_1_3_line_40 | NAYY 4x150 SE | 36 | 38 | 0.0066465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_716-2_1_3_line_41 | NAYY 4x150 SE | 36 | 37 | 0.022841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_716-2_1_3_line_42 | NAYY 4x150 SE | 38 | 39 | 0.032754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_716-2_1_3_line_43 | NAYY 4x150 SE | 41 | 46 | 0.035195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_716-2_1_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.023645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_716-2_1_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.025426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_716-2_1_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.011692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_716-2_1_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.013867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_716-2_1_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.045255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_716-2_1_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.01185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_716-2_1_3_line_50 | NAYY 4x150 SE | 48 | 65 | 0.018709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_716-2_1_3_line_51 | NAYY 4x150 SE | 48 | 66 | 0.038771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_716-2_1_3_line_52 | NAYY 4x150 SE | 50 | 62 | 0.046613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_716-2_1_3_line_53 | NAYY 4x150 SE | 50 | 63 | 0.011511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_716-2_1_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.01792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_716-2_1_3_line_55 | NAYY 4x150 SE | 51 | 53 | 0.019522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_716-2_1_3_line_56 | NAYY 4x150 SE | 52 | 54 | 0.0086206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_716-2_1_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.018991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_716-2_1_3_line_58 | NAYY 4x150 SE | 54 | 76 | 0.011728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_716-2_1_3_line_59 | NAYY 4x150 SE | 55 | 56 | 0.013332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_716-2_1_3_line_60 | NAYY 4x150 SE | 55 | 57 | 0.040583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_716-2_1_3_line_61 | NAYY 4x150 SE | 56 | 60 | 0.050317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_716-2_1_3_line_62 | NAYY 4x150 SE | 57 | 78 | 0.02907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_716-2_1_3_line_63 | NAYY 4x150 SE | 58 | 59 | 0.023481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_716-2_1_3_line_64 | NAYY 4x150 SE | 59 | 85 | 0.0038436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_716-2_1_3_line_65 | NAYY 4x150 SE | 60 | 61 | 0.16763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_716-2_1_3_line_66 | NAYY 4x150 SE | 62 | 64 | 0.059272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_716-2_1_3_line_67 | NAYY 4x150 SE | 64 | 87 | 0.034077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_716-2_1_3_line_68 | NAYY 4x150 SE | 65 | 67 | 0.88774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_716-2_1_3_line_69 | NAYY 4x150 SE | 66 | 68 | 0.042339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_716-2_1_3_line_70 | NAYY 4x150 SE | 67 | 71 | 0.22602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_716-2_1_3_line_71 | NAYY 4x150 SE | 67 | 69 | 0.021862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_716-2_1_3_line_72 | NAYY 4x150 SE | 68 | 72 | 0.017483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_716-2_1_3_line_73 | NAYY 4x150 SE | 69 | 70 | 0.12996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_716-2_1_3_line_74 | NAYY 4x150 SE | 71 | 73 | 0.022794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_716-2_1_3_line_75 | NAYY 4x150 SE | 73 | 74 | 0.031868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_716-2_1_3_line_76 | NAYY 4x150 SE | 74 | 75 | 0.0049856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_716-2_1_3_line_77 | NAYY 4x150 SE | 76 | 77 | 0.010335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_716-2_1_3_line_78 | NAYY 4x150 SE | 77 | 80 | 0.0045031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_716-2_1_3_line_79 | NAYY 4x150 SE | 78 | 85 | 0.026352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_716-2_1_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.0037161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_716-2_1_3_line_81 | NAYY 4x150 SE | 79 | 81 | 0.0019387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_716-2_1_3_line_82 | NAYY 4x150 SE | 81 | 82 | 0.013655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_716-2_1_3_line_83 | NAYY 4x150 SE | 82 | 83 | 2.5913e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_716-2_1_3_line_84 | NAYY 4x150 SE | 83 | 84 | 0.017488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_716-2_1_3_line_85 | NAYY 4x150 SE | 84 | 89 | 0.0075555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_716-2_1_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.029073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_716-2_1_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.068493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_716-2_1_3_line_88 | NAYY 4x150 SE | 88 | 89 | 0.01838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_716-2_1_3_trafo_113 | 0.25 MVA 20/0.4 kV | 90 | 49 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2581092.4551 | 1234550.4058 | 2581092.2231 | 1234555.6445 | 2581092.4125 | 1234558.0787 | 2581093.1616 | 1234560.3666 | 2581094.7209 | 1234562.7964 | 2581100.0006 | 1234568.9055 | 2581101.7801 | 1234571.557 | 2581102.0162 | 1234572.1538
1 | 2581101.5269 | 1234589.402 | 2581103.1464 | 1234582.2481 | 2581103.5033 | 1234577.8887 | 2581102.8255 | 1234574.1997 | 2581102.0162 | 1234572.1538
2 | 2581101.5269 | 1234589.402 | 2581095.0464 | 1234588.8446 | 2581089.2728 | 1234587.8965
3 | 2580883.3867 | 1235296.3799 | 2581038.4868 | 1234593.6397
4 | 2581457.8226 | 1235495.8954 | 2580883.3867 | 1235296.3799
5 | 2581042.1686 | 1234580.5533 | 2581038.4868 | 1234593.6397
6 | 2581457.8226 | 1235495.8954 | 2581459.2055 | 1235500.0936 | 2581459.7869 | 1235504.5167 | 2581459.7158 | 1235510.7986 | 2581458.9767 | 1235516.4043 | 2581457.1889 | 1235523.0473 | 2581454.6978 | 1235527.3912 | 2581450.0086 | 1235533.0538 | 2581442.006 | 1235541.4396 | 2581430.8087 | 1235551.8255 | 2581425.4602 | 1235557.1456 | 2581422.351 | 1235562.2696 | 2581419.0129 | 1235571.608 | 2581417.6779 | 1235577.8383 | 2581418.014 | 1235586.0534 | 2581418.9917 | 1235593.7328 | 2581422.0992 | 1235602.5173 | 2581425.4437 | 1235609.6667 | 2581428.2596 | 1235614.761 | 2581433.1916 | 1235621.4163 | 2581438.7739 | 1235627.8916 | 2581445.3875 | 1235634.3077
7 | 2581089.2728 | 1234587.8965 | 2581086.4137 | 1234587.4269 | 2581077.4687 | 1234585.713
8 | 2581074.1825 | 1234585.0655 | 2581074.4859 | 1234585.1415 | 2581077.4687 | 1234585.713
9 | 2581041.9422 | 1234502.9066 | 2581059.7597 | 1234493.7217 | 2581063.4102 | 1234491.7174
10 | 2581041.9422 | 1234502.9066 | 2581040.1884 | 1234503.557 | 2581036.655 | 1234503.913 | 2581021.9463 | 1234503.0597 | 2581015.9227 | 1234503.3903 | 2581012.8375 | 1234504.2563 | 2581010.594 | 1234505.6199 | 2581007.2953 | 1234508.3655 | 2581006.1067 | 1234509.7631
11 | 2581032.7907 | 1234561.5874 | 2581026.028 | 1234555.8726
12 | 2581045.0421 | 1234570.3267 | 2581033.5194 | 1234562.2031 | 2581032.7907 | 1234561.5874
13 | 2580993.9 | 1234527.5869 | 2581019.1151 | 1234550.0308 | 2581026.028 | 1234555.8726
14 | 2581045.0421 | 1234570.3267 | 2581055.0571 | 1234577.9771 | 2581061.1452 | 1234581.2373 | 2581066.8507 | 1234583.2314 | 2581074.1825 | 1234585.0655
15 | 2581042.1686 | 1234580.5533 | 2581045.0421 | 1234570.3267
16 | 2580993.9 | 1234527.5869 | 2580996.8709 | 1234521.7738 | 2580998.8363 | 1234518.6656 | 2581001.806 | 1234514.8204 | 2581006.1067 | 1234509.7631
17 | 2581573.1283 | 1235721.9735 | 2581579.6552 | 1235723.2762 | 2581586.2971 | 1235725.0455 | 2581590.432 | 1235726.3787
18 | 2581594.0839 | 1235727.5561 | 2581590.432 | 1235726.3787
19 | 2581573.1283 | 1235721.9735 | 2581563.8316 | 1235720.6017 | 2581548.0163 | 1235718.4126
20 | 2581573.1283 | 1235721.9735 | 2581566.6138 | 1235742.9798
21 | 2581594.0839 | 1235727.5561 | 2581584.7228 | 1235753.6284
22 | 2581594.0839 | 1235727.5561 | 2581604.0844 | 1235731.4163 | 2581615.4687 | 1235734.9163 | 2581624.9416 | 1235736.9882 | 2581633.3361 | 1235738.3444
23 | 2581520.967 | 1235709.4953 | 2581528.721 | 1235713.6069 | 2581535.5759 | 1235715.7424 | 2581546.7074 | 1235718.2314 | 2581548.0163 | 1235718.4126
24 | 2581551.0203 | 1235754.4735 | 2581559.6698 | 1235754.591 | 2581561.5526 | 1235754.1404 | 2581562.9346 | 1235753.2578 | 2581563.7543 | 1235751.6098 | 2581564.5727 | 1235749.5615 | 2581566.6138 | 1235742.9798
25 | 2581584.7228 | 1235753.6284 | 2581583.4366 | 1235757.2105
26 | 2581633.3361 | 1235738.3444 | 2581636.4872 | 1235738.8534 | 2581640.6273 | 1235739.1763
27 | 2581520.967 | 1235709.4953 | 2581513.5837 | 1235719.8692
28 | 2581520.967 | 1235709.4953 | 2581515.1309 | 1235705.2208
29 | 2581579.2561 | 1235768.8541 | 2581583.4366 | 1235757.2105
30 | 2581682.4229 | 1235742.4354 | 2581640.6273 | 1235739.1763
31 | 2581513.5837 | 1235719.8692 | 2581516.4236 | 1235725.4304 | 2581519.4015 | 1235738.8568
32 | 2581508.3596 | 1235721.4087 | 2581513.5837 | 1235719.8692
33 | 2581515.1309 | 1235705.2208 | 2581512.5027 | 1235703.2958 | 2581502.115 | 1235691.8434 | 2581501.8915 | 1235691.6595
34 | 2581577.7071 | 1235773.1684 | 2581579.2561 | 1235768.8541
35 | 2581682.4229 | 1235742.4354 | 2581923.9706 | 1236087.5954
36 | 2581445.3875 | 1235634.3077 | 2581450.2656 | 1235639.0402 | 2581459.0402 | 1235646.9301
37 | 2581481.8795 | 1235667.3807 | 2581479.8292 | 1235665.119 | 2581464.2135 | 1235651.5819 | 2581459.0402 | 1235646.9301
38 | 2581483.439 | 1235672.4456 | 2581483.0379 | 1235669.9897 | 2581481.8795 | 1235667.3807
39 | 2581482.7277 | 1235679.6856 | 2581483.439 | 1235672.4456
40 | 2581482.7277 | 1235679.6856 | 2581476.9657 | 1235676.3727
41 | 2581482.7277 | 1235679.6856 | 2581492.0626 | 1235683.5698 | 2581501.8915 | 1235691.6595
42 | 2581476.9657 | 1235676.3727 | 2581471.8037 | 1235673.4048 | 2581465.7564 | 1235670.6109 | 2581446.6678 | 1235664.195
43 | 2581508.3596 | 1235721.4087 | 2581509.7268 | 1235727.8639 | 2581515.2553 | 1235755.9194
44 | 2581508.3596 | 1235721.4087 | 2581504.0277 | 1235722.6897 | 2581494.9771 | 1235724.9972 | 2581487.2892 | 1235722.6865 | 2581485.6267 | 1235722.1105
45 | 2581461.5598 | 1235723.9054 | 2581464.2531 | 1235722.1028 | 2581470.3905 | 1235719.8488 | 2581478.6079 | 1235719.6785 | 2581485.6267 | 1235722.1105
46 | 2581451.8432 | 1235730.4088 | 2581461.5598 | 1235723.9054
47 | 2581451.8432 | 1235730.4088 | 2581448.1312 | 1235732.8933 | 2581440.3779 | 1235738.2085
48 | 2581402.5856 | 1235763.0914 | 2581423.6439 | 1235749.6805 | 2581440.3779 | 1235738.2085
49 | 2581392.5903 | 1235769.4569 | 2581402.5856 | 1235763.0914
50 | 2581392.5903 | 1235769.4569 | 2581385.2418 | 1235764.3658 | 2581382.0014 | 1235761.4297 | 2581377.3738 | 1235758.6539
51 | 2581392.5903 | 1235769.4569 | 2581393.8118 | 1235775.2788 | 2581397.0759 | 1235780.9387 | 2581409.2689 | 1235798.5667 | 2581412.8474 | 1235801.848
52 | 2581961.4597 | 1236059.8944 | 2581923.9706 | 1236087.5954
53 | 2581914.7125 | 1236094.4362 | 2581923.9706 | 1236087.5954
54 | 2581972.6878 | 1236247.0385 | 2581972.2212 | 1236246.454 | 2581968.1549 | 1236240.4627 | 2581964.3603 | 1236234.2704 | 2581963.2696 | 1236231.8344
55 | 2581957.0106 | 1236213.3901 | 2581958.8331 | 1236220.6567 | 2581961.7853 | 1236228.5192 | 2581963.2696 | 1236231.8344
56 | 2581972.6878 | 1236247.0385 | 2581978.0655 | 1236253.7761
57 | 2581954.4104 | 1236194.6098 | 2581954.7846 | 1236200.6902 | 2581956.5428 | 1236211.5248 | 2581957.0106 | 1236213.3901
58 | 2581986.2141 | 1236262.1876 | 2581979.8167 | 1236255.97 | 2581978.0655 | 1236253.7761
59 | 2581954.9298 | 1236181.3445 | 2581954.3051 | 1236184.9153 | 2581954.1315 | 1236190.0189 | 2581954.4104 | 1236194.6098
60 | 2581954.4104 | 1236194.6098 | 2581974.827 | 1236192.8687 | 2581986.0686 | 1236192.1339 | 2581994.8954 | 1236192.1995
61 | 2581954.9298 | 1236181.3445 | 2581935.5707 | 1236175.0998 | 2581922.0911 | 1236171.461 | 2581914.7563 | 1236170.5384 | 2581907.3661 | 1236171.2837 | 2581906.2036 | 1236171.554
62 | 2582018.9658 | 1236181.5162 | 2582016.0672 | 1236186.2946 | 2582014.274 | 1236188.7905 | 2582011.8886 | 1236190.6544 | 2582009.9096 | 1236191.7722 | 2582007.6339 | 1236192.3573 | 2582004.5475 | 1236192.6002 | 2581996.6771 | 1236192.2128 | 2581994.8954 | 1236192.1995
63 | 2582013.2563 | 1236154.2017 | 2582005.8354 | 1236150.904 | 2581999.1855 | 1236148.7785 | 2581992.8338 | 1236147.686 | 2581990.9001 | 1236147.702
64 | 2582016.7687 | 1236155.7626 | 2582013.2563 | 1236154.2017
65 | 2581820.1288 | 1236298.1438 | 2581822.6836 | 1236292.5068 | 2581827.5386 | 1236254.7353 | 2581832.9449 | 1236236.3074 | 2581838.6142 | 1236217.2894 | 2581857.0862 | 1236193.3736 | 2581882.178 | 1236178.9767 | 2581901.3096 | 1236172.692 | 2581906.2036 | 1236171.554
66 | 2581961.4597 | 1236059.8944 | 2581963.8487 | 1236061.7216 | 2581966.9035 | 1236063.4912 | 2581972.5466 | 1236065.4307 | 2581980.1344 | 1236067.4088 | 2582003.6448 | 1236072.6181 | 2582009.9464 | 1236074.6335 | 2582014.7569 | 1236076.5089 | 2582017.4685 | 1236077.94
67 | 2582038.6636 | 1236104.05 | 2582030.9656 | 1236091.7245 | 2582028.5104 | 1236088.052 | 2582025.3889 | 1236084.2258 | 2582022.5272 | 1236081.2438 | 2582019.3649 | 1236078.9409 | 2582017.4685 | 1236077.94
68 | 2581377.3738 | 1235758.6539 | 2580578.9035 | 1236146.6271
69 | 2581445.0827 | 1235829.2832 | 2581420.2652 | 1235808.6495 | 2581412.8474 | 1235801.848
70 | 2580354.733 | 1236117.7827 | 2580578.9035 | 1236146.6271
71 | 2580578.2413 | 1236168.476 | 2580578.9035 | 1236146.6271
72 | 2581445.0827 | 1235829.2832 | 2581450.013 | 1235833.3824 | 2581458.6138 | 1235840.3542
73 | 2580578.2413 | 1236168.476 | 2580577.982 | 1236177.0488 | 2580586.5317 | 1236259.8494 | 2580586.2517 | 1236296.673 | 2580585.5443 | 1236297.7876
74 | 2580358.7428 | 1236095.4672 | 2580356.7632 | 1236112.273 | 2580354.733 | 1236117.7827
75 | 2580358.7428 | 1236095.4672 | 2580360.7632 | 1236093.2369 | 2580361.5621 | 1236089.9989 | 2580359.4899 | 1236076.6531 | 2580360.2713 | 1236068.1564 | 2580362.2897 | 1236065.3146
76 | 2580362.2897 | 1236065.3146 | 2580366.739 | 1236063.0651
77 | 2581986.2141 | 1236262.1876 | 2581986.2141 | 1236262.1876 | 2581992.348 | 1236266.3382 | 2581994.9985 | 1236267.5841
78 | 2581999.0737 | 1236269.4998 | 2581994.9985 | 1236267.5841
79 | 2582016.7687 | 1236155.7626 | 2582018.0989 | 1236162.6961 | 2582020.3381 | 1236172.5065 | 2582020.467 | 1236175.0632 | 2582020.1807 | 1236177.9658 | 2582018.9658 | 1236181.5162
80 | 2582002.4368 | 1236271.0808 | 2581999.0737 | 1236269.4998
81 | 2582004.1913 | 1236271.9055 | 2582002.4368 | 1236271.0808
82 | 2582016.8278 | 1236277.0814 | 2582016.8278 | 1236277.0814 | 2582004.1913 | 1236271.9055 | 2582004.1913 | 1236271.9055
83 | 2582016.8532 | 1236277.0862 | 2582016.8278 | 1236277.0814
84 | 2582016.8532 | 1236277.0862 | 2582025.7688 | 1236278.7663 | 2582032.5341 | 1236279.0793 | 2582034.177 | 1236279.0487
85 | 2582041.7312 | 1236278.9082 | 2582034.177 | 1236279.0487
86 | 2582016.7687 | 1236155.7626 | 2582028.0203 | 1236160.7648 | 2582032.9131 | 1236162.3398 | 2582037.5074 | 1236162.8261 | 2582040.9648 | 1236162.6488 | 2582044.4204 | 1236161.8934
87 | 2582038.6636 | 1236104.05 | 2582052.1112 | 1236125.5811 | 2582055.3552 | 1236132.3532 | 2582057.0263 | 1236136.9954 | 2582057.7739 | 1236141.4848 | 2582057.7385 | 1236144.7647 | 2582057.0008 | 1236148.5026 | 2582055.3325 | 1236152.2988 | 2582053.3295 | 1236155.4846 | 2582050.5916 | 1236158.3614 | 2582047.2617 | 1236160.6507 | 2582044.4204 | 1236161.8934 | 2582044.4204 | 1236161.8934
88 | 2582060.0696 | 1236279.5293 | 2582051.8274 | 1236278.7205 | 2582041.7312 | 1236278.9082

## bus_geodata
| x | y | coords
0 | 2581092.4551 | 1234550.4058
1 | 2581102.0162 | 1234572.1538
2 | 2581101.5269 | 1234589.402
3 | 2580883.3867 | 1235296.3799
4 | 2581038.4868 | 1234593.6397
5 | 2581457.8226 | 1235495.8954
6 | 2581089.2728 | 1234587.8965
7 | 2581077.4687 | 1234585.713
8 | 2581063.4102 | 1234491.7174
9 | 2581041.9422 | 1234502.9066
10 | 2581032.7907 | 1234561.5874
11 | 2581026.028 | 1234555.8726
12 | 2581045.0421 | 1234570.3267
13 | 2580993.9 | 1234527.5869
14 | 2581074.1825 | 1234585.0655
15 | 2581042.1686 | 1234580.5533
16 | 2581006.1067 | 1234509.7631
17 | 2581590.432 | 1235726.3787
18 | 2581573.1283 | 1235721.9735
19 | 2581594.0839 | 1235727.5561
20 | 2581548.0163 | 1235718.4126
21 | 2581566.6138 | 1235742.9798
22 | 2581584.7228 | 1235753.6284
23 | 2581633.3361 | 1235738.3444
24 | 2581520.967 | 1235709.4953
25 | 2581551.0203 | 1235754.4735
26 | 2581583.4366 | 1235757.2105
27 | 2581640.6273 | 1235739.1763
28 | 2581513.5837 | 1235719.8692
29 | 2581515.1309 | 1235705.2208
30 | 2581579.2561 | 1235768.8541
31 | 2581682.4229 | 1235742.4354
32 | 2581445.3875 | 1235634.3077
33 | 2581459.0402 | 1235646.9301
34 | 2581481.8795 | 1235667.3807
35 | 2581483.439 | 1235672.4456
36 | 2581482.7277 | 1235679.6856
37 | 2581501.8915 | 1235691.6595
38 | 2581476.9657 | 1235676.3727
39 | 2581446.6678 | 1235664.195
40 | 2581519.4015 | 1235738.8568
41 | 2581508.3596 | 1235721.4087
42 | 2581461.5598 | 1235723.9054
43 | 2581485.6267 | 1235722.1105
44 | 2581451.8432 | 1235730.4088
45 | 2581440.3779 | 1235738.2085
46 | 2581515.2553 | 1235755.9194
47 | 2581402.5856 | 1235763.0914
48 | 2581392.5903 | 1235769.4569
49 | 2581577.7071 | 1235773.1684
50 | 2581923.9706 | 1236087.5954
51 | 2581963.2696 | 1236231.8344
52 | 2581972.6878 | 1236247.0385
53 | 2581957.0106 | 1236213.3901
54 | 2581978.0655 | 1236253.7761
55 | 2581954.4104 | 1236194.6098
56 | 2581954.9298 | 1236181.3445
57 | 2581994.8954 | 1236192.1995
58 | 2581990.9001 | 1236147.702
59 | 2582013.2563 | 1236154.2017
60 | 2581906.2036 | 1236171.554
61 | 2581820.1288 | 1236298.1438
62 | 2581961.4597 | 1236059.8944
63 | 2581914.7125 | 1236094.4362
64 | 2582017.4685 | 1236077.94
65 | 2581377.3738 | 1235758.6539
66 | 2581412.8474 | 1235801.848
67 | 2580578.9035 | 1236146.6271
68 | 2581445.0827 | 1235829.2832
69 | 2580578.2413 | 1236168.476
70 | 2580585.5443 | 1236297.7876
71 | 2580354.733 | 1236117.7827
72 | 2581458.6138 | 1235840.3542
73 | 2580358.7428 | 1236095.4672
74 | 2580362.2897 | 1236065.3146
75 | 2580366.739 | 1236063.0651
76 | 2581986.2141 | 1236262.1876
77 | 2581994.9985 | 1236267.5841
78 | 2582018.9658 | 1236181.5162
79 | 2582002.4368 | 1236271.0808
80 | 2581999.0737 | 1236269.4998
81 | 2582004.1913 | 1236271.9055
82 | 2582016.8278 | 1236277.0814
83 | 2582016.8532 | 1236277.0862
84 | 2582034.177 | 1236279.0487
85 | 2582016.7687 | 1236155.7626
86 | 2582044.4204 | 1236161.8934
87 | 2582038.6636 | 1236104.05
88 | 2582060.0696 | 1236279.5293
89 | 2582041.7312 | 1236278.9082
90 | 2581594.0839 | 1235727.5561

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1