## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_716-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_716-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_716-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_716-3_0_2_node_36 | 0.4 | n |  | TRUE
4 | bus_LV_716-3_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_716-3_0_2_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_716-3_0_2_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_716-3_0_2_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_716-3_0_2_node_75 | 0.4 | n |  | TRUE
9 | bus_LV_716-3_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_716-3_0_2_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_716-3_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_716-3_0_2_node_73 | 0.4 | n |  | TRUE
13 | bus_LV_716-3_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_716-3_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_716-3_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_716-3_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_716-3_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_716-3_0_2_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_716-3_0_2_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_716-3_0_2_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_716-3_0_2_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_716-3_0_2_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_716-3_0_2_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_716-3_0_2_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_716-3_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_716-3_0_2_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_716-3_0_2_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_716-3_0_2_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_716-3_0_2_node_76 | 0.4 | n |  | TRUE
30 | bus_LV_716-3_0_2_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_716-3_0_2_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_716-3_0_2_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_716-3_0_2_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_716-3_0_2_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_716-3_0_2_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_716-3_0_2_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_716-3_0_2_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_716-3_0_2_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_716-3_0_2_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_716-3_0_2_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_716-3_0_2_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_716-3_0_2_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_716-3_0_2_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_716-3_0_2_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_716-3_0_2_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_716-3_0_2_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_716-3_0_2_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_716-3_0_2_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_716-3_0_2_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_716-3_0_2_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_716-3_0_2_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_716-3_0_2_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_716-3_0_2_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_716-3_0_2_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_716-3_0_2_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_716-3_0_2_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_716-3_0_2_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_716-3_0_2_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_716-3_0_2_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_716-3_0_2_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_716-3_0_2_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_716-3_0_2_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_716-3_0_2_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_716-3_0_2_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_716-3_0_2_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_716-3_0_2_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_716-3_0_2_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_716-3_0_2_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_716-3_0_2_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_716-3_0_2_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_716-3_0_2_node_68 | 0.4 | n |  | TRUE
72 | bus_MV_311_0_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_716-3_0_2_load_0 | 0 | 0.0027278 | 0.00068364 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_716-3_0_2_load_1 | 1 | 0.0013552 | 0.00033965 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_716-3_0_2_load_2 | 2 | 0.0047969 | 0.0012022 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_716-3_0_2_load_36 | 3 | 0.0011079 | 0.00027766 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_716-3_0_2_load_27 | 5 | 0.00051936 | 0.00013016 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_716-3_0_2_load_75 | 8 | 0.0019416 | 0.00048661 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_716-3_0_2_load_4 | 10 | 0.0012882 | 0.00032286 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_716-3_0_2_load_73 | 12 | 0.0016857 | 0.00042248 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_716-3_0_2_load_9 | 13 | 0.0019385 | 0.00048583 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_716-3_0_2_load_10 | 14 | 0.0061832 | 0.0015496 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_716-3_0_2_load_11 | 15 | 0.0025372 | 0.00063588 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_716-3_0_2_load_12 | 16 | 0.00058898 | 0.00014761 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_716-3_0_2_load_13 | 17 | 0.000699 | 0.00017519 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_716-3_0_2_load_42 | 18 | 0.00060897 | 0.00015262 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_716-3_0_2_load_43 | 20 | 0.001877 | 0.00047041 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_716-3_0_2_load_34 | 21 | 0.0036826 | 0.00092295 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_716-3_0_2_load_35 | 22 | 0.00036114 | 9.051e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_716-3_0_2_load_14 | 23 | 0.00062542 | 0.00015675 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_716-3_0_2_load_15 | 24 | 0.00060786 | 0.00015234 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_716-3_0_2_load_17 | 26 | 0.001056 | 0.00026467 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_716-3_0_2_load_18 | 27 | 0.0007434 | 0.00018631 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_716-3_0_2_load_26 | 28 | 0.00090507 | 0.00022683 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_716-3_0_2_load_76 | 29 | 0.00062651 | 0.00015702 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_716-3_0_2_load_22 | 30 | 0.002265 | 0.00056767 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_716-3_0_2_load_24 | 31 | 0.0015878 | 0.00039794 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_716-3_0_2_load_20 | 32 | 0.00061439 | 0.00015398 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_716-3_0_2_load_19 | 33 | 0.0020814 | 0.00052166 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_716-3_0_2_load_21 | 34 | 0.00032884 | 8.2415e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_716-3_0_2_load_23 | 35 | 0.00065303 | 0.00016366 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_716-3_0_2_load_31 | 36 | 0.0015391 | 0.00038574 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_716-3_0_2_load_29 | 37 | 0.0019072 | 0.000478 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_716-3_0_2_load_25 | 38 | 0.00074659 | 0.00018711 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_716-3_0_2_load_28 | 39 | 0.0014864 | 0.00037252 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_716-3_0_2_load_30 | 40 | 0.00038523 | 9.6547e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_716-3_0_2_load_32 | 41 | 0.00031495 | 7.8935e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_716-3_0_2_load_44 | 42 | 0.0011698 | 0.00029318 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_716-3_0_2_load_37 | 43 | 0.0022254 | 0.00055773 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_716-3_0_2_load_38 | 44 | 0.0083723 | 0.0020983 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_716-3_0_2_load_39 | 45 | 0.0033276 | 0.00083398 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_716-3_0_2_load_40 | 46 | 0.0012425 | 0.0003114 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_716-3_0_2_load_41 | 47 | 0.0019453 | 0.00048753 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_716-3_0_2_load_47 | 48 | 0.0024332 | 0.00060981 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_716-3_0_2_load_48 | 49 | 0.0028268 | 0.00070847 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_716-3_0_2_load_57 | 50 | 0.0022667 | 0.00056808 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_716-3_0_2_load_56 | 51 | 0.0053453 | 0.0013397 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_716-3_0_2_load_49 | 52 | 0.0034335 | 0.00086051 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_716-3_0_2_load_50 | 53 | 0.0025062 | 0.00062812 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_716-3_0_2_load_51 | 54 | 0.00091038 | 0.00022816 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_716-3_0_2_load_52 | 55 | 0.0009687 | 0.00024278 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_716-3_0_2_load_54 | 57 | 0.0047483 | 0.00119 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_716-3_0_2_load_59 | 58 | 0.0070169 | 0.0017586 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_716-3_0_2_load_55 | 59 | 0.00068211 | 0.00017095 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_716-3_0_2_load_58 | 60 | 0.0014333 | 0.00035923 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_716-3_0_2_load_72 | 62 | 0.0018892 | 0.00047348 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_716-3_0_2_load_69 | 63 | 0.00057886 | 0.00014508 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_716-3_0_2_load_61 | 66 | 0.0016414 | 0.00041137 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_716-3_0_2_load_62 | 67 | 0.00094888 | 0.00023781 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_716-3_0_2_load_63 | 68 | 0.0016985 | 0.00042569 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_716-3_0_2_load_65 | 69 | 0.00034664 | 8.6877e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_716-3_0_2_load_66 | 70 | 0.00040881 | 0.00010246 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_716-3_0_2_load_68 | 71 | 0.00073701 | 0.00018471 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_716-3_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0042756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_716-3_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.019981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_716-3_0_2_line_2 | NAYY 4x150 SE | 2 | 6 | 0.041388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_716-3_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.38965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_716-3_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.013782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_716-3_0_2_line_5 | NAYY 4x150 SE | 4 | 10 | 0.10159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_716-3_0_2_line_6 | NAYY 4x150 SE | 5 | 38 | 0.014758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_716-3_0_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.13103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_716-3_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.057255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_716-3_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.10949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_716-3_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.062105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_716-3_0_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.055923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_716-3_0_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.10318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_716-3_0_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.0014563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_716-3_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.023746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_716-3_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.0059467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_716-3_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.037616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_716-3_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0084634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_716-3_0_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.0045011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_716-3_0_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.0043759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_716-3_0_2_line_20 | NAYY 4x150 SE | 19 | 21 | 0.022647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_716-3_0_2_line_21 | NAYY 4x150 SE | 19 | 22 | 0.014288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_716-3_0_2_line_22 | NAYY 4x150 SE | 20 | 46 | 0.013302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_716-3_0_2_line_23 | NAYY 4x150 SE | 21 | 42 | 0.01779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_716-3_0_2_line_24 | NAYY 4x150 SE | 22 | 41 | 0.0025104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_716-3_0_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.0005976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_716-3_0_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.062686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_716-3_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.01664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_716-3_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.076868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_716-3_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.05252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_716-3_0_2_line_30 | NAYY 4x150 SE | 26 | 29 | 0.18437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_716-3_0_2_line_31 | NAYY 4x150 SE | 27 | 30 | 0.018035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_716-3_0_2_line_32 | NAYY 4x150 SE | 28 | 31 | 0.015367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_716-3_0_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.040505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_716-3_0_2_line_34 | NAYY 4x150 SE | 31 | 38 | 0.012217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_716-3_0_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0096459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_716-3_0_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.010472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_716-3_0_2_line_37 | NAYY 4x150 SE | 34 | 35 | 0.013601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_716-3_0_2_line_38 | NAYY 4x150 SE | 35 | 36 | 0.012025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_716-3_0_2_line_39 | NAYY 4x150 SE | 36 | 37 | 0.025877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_716-3_0_2_line_40 | NAYY 4x150 SE | 37 | 39 | 0.0083973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_716-3_0_2_line_41 | NAYY 4x150 SE | 39 | 40 | 0.0067271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_716-3_0_2_line_42 | NAYY 4x150 SE | 40 | 41 | 0.010424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_716-3_0_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.021914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_716-3_0_2_line_44 | NAYY 4x150 SE | 43 | 45 | 0.0098001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_716-3_0_2_line_45 | NAYY 4x150 SE | 44 | 46 | 0.0061198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_716-3_0_2_line_46 | NAYY 4x150 SE | 45 | 47 | 0.00085494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_716-3_0_2_line_47 | NAYY 4x150 SE | 47 | 48 | 0.00015393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_716-3_0_2_line_48 | NAYY 4x150 SE | 48 | 49 | 0.018776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_716-3_0_2_line_49 | NAYY 4x150 SE | 49 | 50 | 0.00039639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_716-3_0_2_line_50 | NAYY 4x150 SE | 50 | 51 | 0.021426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_716-3_0_2_line_51 | NAYY 4x150 SE | 51 | 60 | 0.00057247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_716-3_0_2_line_52 | NAYY 4x150 SE | 52 | 53 | 0.026647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_716-3_0_2_line_53 | NAYY 4x150 SE | 52 | 54 | 0.0024476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_716-3_0_2_line_54 | NAYY 4x150 SE | 53 | 55 | 0.014229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_716-3_0_2_line_55 | NAYY 4x150 SE | 54 | 56 | 0.032499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_716-3_0_2_line_56 | NAYY 4x150 SE | 55 | 57 | 0.016029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_716-3_0_2_line_57 | NAYY 4x150 SE | 56 | 58 | 0.011864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_716-3_0_2_line_58 | NAYY 4x150 SE | 57 | 59 | 0.0099864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_716-3_0_2_line_59 | NAYY 4x150 SE | 58 | 60 | 0.011292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_716-3_0_2_line_60 | NAYY 4x150 SE | 59 | 61 | 0.018093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_716-3_0_2_line_61 | NAYY 4x150 SE | 61 | 62 | 0.0063222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_716-3_0_2_line_62 | NAYY 4x150 SE | 61 | 63 | 0.0052147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_716-3_0_2_line_63 | NAYY 4x150 SE | 62 | 64 | 0.01135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_716-3_0_2_line_64 | NAYY 4x150 SE | 63 | 65 | 0.012955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_716-3_0_2_line_65 | NAYY 4x150 SE | 64 | 68 | 0.0018926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_716-3_0_2_line_66 | NAYY 4x150 SE | 65 | 69 | 0.013749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_716-3_0_2_line_67 | NAYY 4x150 SE | 66 | 67 | 0.010699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_716-3_0_2_line_68 | NAYY 4x150 SE | 66 | 68 | 0.0076786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_716-3_0_2_line_69 | NAYY 4x150 SE | 69 | 70 | 0.0097917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_716-3_0_2_line_70 | NAYY 4x150 SE | 70 | 71 | 0.065392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_716-3_0_2_trafo_30 | 0.25 MVA 20/0.4 kV | 72 | 40 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2584196.1104 | 1235903.6968 | 2584195.5775 | 1235903.9584 | 2584192.118 | 1235905.2186
1 | 2584192.118 | 1235905.2186 | 2584186.4154 | 1235907.2961 | 2584173.1522 | 1235910.6892 | 2584172.936 | 1235910.7386
2 | 2584132.5885 | 1235919.9592 | 2584172.936 | 1235910.7386
3 | 2584684.0876 | 1235843.4073 | 2584296.0594 | 1235878.9529
4 | 2584697.771 | 1235842.2007 | 2584693.1497 | 1235842.0883 | 2584684.4207 | 1235843.3228 | 2584684.0876 | 1235843.4073
5 | 2584296.0594 | 1235878.9529 | 2584283.4425 | 1235894.9407 | 2584259.2763 | 1235921.3768 | 2584247.5574 | 1235933.5266 | 2584240.32 | 1235943.5631 | 2584233.6162 | 1235955.0214 | 2584232.4339 | 1235957.6422
6 | 2584712.4865 | 1235843.2121 | 2584703.063 | 1235842.3294 | 2584697.771 | 1235842.2007
7 | 2584132.5885 | 1235919.9592 | 2584133.9094 | 1235927.1712 | 2584135.738 | 1235934.682 | 2584138.6363 | 1235943.2128 | 2584142.6411 | 1235952.3632 | 2584160.7523 | 1235990.4935 | 2584165.3819 | 1236001.3211 | 2584169.2648 | 1236013.0512 | 2584172.4318 | 1236023.06 | 2584176.4422 | 1236042.8169
8 | 2584140.597 | 1236059.0563 | 2584142.7592 | 1236041.4397 | 2584143.8102 | 1236038.3461 | 2584146.0128 | 1236035.7941 | 2584149.8976 | 1236034.1049 | 2584155.1015 | 1236033.3905 | 2584159.1672 | 1236034.2579 | 2584164.1238 | 1236037.2353 | 2584176.4422 | 1236042.8169
9 | 2584176.4422 | 1236042.8169 | 2584177.968 | 1236050.3174 | 2584180.8579 | 1236064.2293 | 2584183.0505 | 1236077.6983 | 2584189.7248 | 1236063.7608 | 2584212.2501 | 1236009.7453
10 | 2584212.2501 | 1236009.7453 | 2584216.247 | 1236010.3683 | 2584219.5333 | 1236011.2601 | 2584221.8369 | 1236012.488 | 2584224.1351 | 1236014.5609 | 2584229.8118 | 1236020.8385 | 2584239.5608 | 1236033.3201 | 2584241.69 | 1236037.2724 | 2584243.29 | 1236041.404 | 2584245.0766 | 1236047.3918 | 2584246.0496 | 1236049.068 | 2584247.3768 | 1236050.2097 | 2584252.8607 | 1236052.3074
11 | 2584212.2501 | 1236009.7453 | 2584224.0855 | 1235976.1486 | 2584232.4339 | 1235957.6422
12 | 2584252.8607 | 1236052.3074 | 2584247.2288 | 1236054.2681 | 2584243.3849 | 1236057.1134 | 2584235.187 | 1236067.2526 | 2584229.1378 | 1236080.11 | 2584227.0226 | 1236087.0977 | 2584226.4338 | 1236093.2697 | 2584226.6413 | 1236097.3161 | 2584227.6674 | 1236101.8605 | 2584231.047 | 1236112.1801 | 2584236.1589 | 1236125.2077 | 2584238.5162 | 1236135.2187 | 2584239.5547 | 1236142.9869
13 | 2585167.352 | 1235925.2678 | 2585168.798 | 1235925.4403
14 | 2585143.8214 | 1235922.15 | 2585147.7776 | 1235922.9329 | 2585167.352 | 1235925.2678
15 | 2585174.7029 | 1235926.1446 | 2585168.798 | 1235925.4403
16 | 2585106.9209 | 1235914.8484 | 2585143.8214 | 1235922.15
17 | 2585174.7029 | 1235926.1446 | 2585183.1067 | 1235927.1471
18 | 2585102.5054 | 1235913.9747 | 2585106.9209 | 1235914.8484
19 | 2585183.1067 | 1235927.1471 | 2585187.3943 | 1235927.6585 | 2585187.4517 | 1235927.6657
20 | 2585102.5054 | 1235913.9747 | 2585103.1233 | 1235918.9318 | 2585103.5646 | 1235934.9182 | 2585103.6663 | 1235936.5744
21 | 2585102.5054 | 1235913.9747 | 2585088.489 | 1235911.2015
22 | 2585200.6506 | 1235929.3212 | 2585187.4517 | 1235927.6657
23 | 2585103.6663 | 1235936.5744 | 2585104.409 | 1235948.6689 | 2585104.5664 | 1235954.3393
24 | 2585086.0264 | 1235910.7142 | 2585088.489 | 1235911.2015
25 | 2584807.7057 | 1235859.9417 | 2584808.2978 | 1235860.0228
26 | 2584869.9776 | 1235870.15 | 2584866.4518 | 1235870.2702 | 2584863.1962 | 1235869.567 | 2584856.7664 | 1235867.4266 | 2584848.4458 | 1235865.6246 | 2584825.5324 | 1235862.3814 | 2584808.2978 | 1235860.0228
27 | 2584791.2344 | 1235857.5874 | 2584795.0724 | 1235858.2128 | 2584807.7057 | 1235859.9417
28 | 2584869.9776 | 1235870.15 | 2584871.8007 | 1235875.8377 | 2584875.1517 | 1235881.3102 | 2584879.9843 | 1235886.1897 | 2584883.5995 | 1235888.4485 | 2584890.037 | 1235890.6556 | 2584895.4031 | 1235891.1422 | 2584901.1748 | 1235890.427 | 2584907.9946 | 1235888.2638 | 2584914.5089 | 1235884.9896 | 2584923.813 | 1235880.7966 | 2584928.2433 | 1235879.2511 | 2584932.4566 | 1235878.6955 | 2584934.2013 | 1235878.6271
29 | 2584791.2344 | 1235857.5874 | 2584780.8331 | 1235855.8925 | 2584739.6902 | 1235847.5415
30 | 2584791.2344 | 1235857.5874 | 2584767.7115 | 1236040.4504
31 | 2584952.1553 | 1235879.6992 | 2584947.7274 | 1235879.0235 | 2584940.0379 | 1235878.3982 | 2584934.2013 | 1235878.6271
32 | 2584739.6902 | 1235847.5415 | 2584724.6305 | 1235844.4848
33 | 2584952.1553 | 1235879.6992 | 2584957.4016 | 1235880.4997 | 2584968.6972 | 1235882.7835 | 2584981.8813 | 1235886.7413 | 2584991.2772 | 1235889.8886
34 | 2584712.4865 | 1235843.2121 | 2584723.3927 | 1235844.2336 | 2584724.6305 | 1235844.4848
35 | 2584991.2772 | 1235889.8886 | 2585000.4236 | 1235892.9523
36 | 2585010.4 | 1235896.1203 | 2585008.0698 | 1235895.5135 | 2585000.4236 | 1235892.9523
37 | 2585010.4 | 1235896.1203 | 2585021.472 | 1235899.0038 | 2585023.5988 | 1235899.3786
38 | 2585035.4416 | 1235901.4658 | 2585023.5988 | 1235899.3786
39 | 2585035.4416 | 1235901.4658 | 2585060.9258 | 1235905.9571
40 | 2585069.1956 | 1235907.4145 | 2585060.9258 | 1235905.9571
41 | 2585069.1956 | 1235907.4145 | 2585070.6028 | 1235907.6625 | 2585075.8003 | 1235908.6909
42 | 2585086.0264 | 1235910.7142 | 2585075.8003 | 1235908.6909
43 | 2585228.4666 | 1235932.81 | 2585206.7228 | 1235930.0828
44 | 2585228.4666 | 1235932.81 | 2585238.1905 | 1235934.0296
45 | 2585200.6506 | 1235929.3212 | 2585206.7228 | 1235930.0828
46 | 2585239.0388 | 1235934.136 | 2585238.1905 | 1235934.0296
47 | 2585239.1915 | 1235934.1552 | 2585239.0388 | 1235934.136
48 | 2585257.8216 | 1235936.4919 | 2585239.1915 | 1235934.1552
49 | 2585258.2149 | 1235936.5412 | 2585257.8216 | 1235936.4919
50 | 2585279.5386 | 1235938.2952 | 2585271.0868 | 1235938.1557 | 2585258.2149 | 1235936.5412
51 | 2585280.111 | 1235938.3046 | 2585279.5386 | 1235938.2952
52 | 2585335.7135 | 1235923.2115 | 2585360.5004 | 1235913.4298
53 | 2585335.7135 | 1235923.2115 | 2585333.4367 | 1235924.1099
54 | 2585373.7362 | 1235908.2066 | 2585360.5004 | 1235913.4298
55 | 2585302.9969 | 1235935.4634 | 2585313.6648 | 1235931.9125 | 2585333.4367 | 1235924.1099
56 | 2585373.7362 | 1235908.2066 | 2585388.6458 | 1235902.3228
57 | 2585302.9969 | 1235935.4634 | 2585297.0002 | 1235937.0015 | 2585291.3803 | 1235937.7772
58 | 2585388.6458 | 1235902.3228 | 2585391.0356 | 1235901.3797 | 2585397.9819 | 1235898.7787
59 | 2585280.111 | 1235938.3046 | 2585281.6202 | 1235938.3295 | 2585289.6176 | 1235938.0205 | 2585291.3803 | 1235937.7772
60 | 2585415.4284 | 1235894.1484 | 2585410.9052 | 1235894.8488 | 2585405.7706 | 1235896.2068 | 2585400.0621 | 1235897.9998 | 2585397.9819 | 1235898.7787
61 | 2585415.4284 | 1235894.1484 | 2585419.5289 | 1235893.8603 | 2585421.7405 | 1235893.874
62 | 2585415.4284 | 1235894.1484 | 2585418.4901 | 1235889.9271
63 | 2585432.9041 | 1235895.7062 | 2585427.5361 | 1235894.4186 | 2585423.3805 | 1235893.8841 | 2585421.7405 | 1235893.874
64 | 2585427.411 | 1235880.5327 | 2585418.4901 | 1235889.9271
65 | 2585432.9041 | 1235895.7062 | 2585434.6917 | 1235896.3278
66 | 2585427.411 | 1235880.5327 | 2585429.9681 | 1235877.2688 | 2585432.4817 | 1235874.7722 | 2585437.044 | 1235871.5034 | 2585437.4245 | 1235871.2681
67 | 2585441.822 | 1235899.159 | 2585444.1444 | 1235900.1923 | 2585451.4225 | 1235903.8766
68 | 2585441.822 | 1235899.159 | 2585438.2055 | 1235897.5498 | 2585434.6917 | 1235896.3278
69 | 2585437.4245 | 1235871.2681 | 2585443.6323 | 1235867.4291 | 2585445.8224 | 1235866.2386
70 | 2585445.8224 | 1235866.2386 | 2585450.577 | 1235863.6541 | 2585456.4734 | 1235861.2937 | 2585473.7566 | 1235855.3031 | 2585483.2364 | 1235851.622 | 2585488.3758 | 1235849.13 | 2585492.9776 | 1235846.506 | 2585497.4191 | 1235843.3265 | 2585501.8747 | 1235839.7022 | 2585503.9142 | 1235837.5675

## bus_geodata
| x | y | coords
0 | 2584196.1104 | 1235903.6968
1 | 2584192.118 | 1235905.2186
2 | 2584172.936 | 1235910.7386
3 | 2584684.0876 | 1235843.4073
4 | 2584296.0594 | 1235878.9529
5 | 2584697.771 | 1235842.2007
6 | 2584132.5885 | 1235919.9592
7 | 2584176.4422 | 1236042.8169
8 | 2584140.597 | 1236059.0563
9 | 2584212.2501 | 1236009.7453
10 | 2584232.4339 | 1235957.6422
11 | 2584252.8607 | 1236052.3074
12 | 2584239.5547 | 1236142.9869
13 | 2585167.352 | 1235925.2678
14 | 2585168.798 | 1235925.4403
15 | 2585143.8214 | 1235922.15
16 | 2585174.7029 | 1235926.1446
17 | 2585106.9209 | 1235914.8484
18 | 2585183.1067 | 1235927.1471
19 | 2585102.5054 | 1235913.9747
20 | 2585187.4517 | 1235927.6657
21 | 2585103.6663 | 1235936.5744
22 | 2585088.489 | 1235911.2015
23 | 2584808.2978 | 1235860.0228
24 | 2584807.7057 | 1235859.9417
25 | 2584869.9776 | 1235870.15
26 | 2584791.2344 | 1235857.5874
27 | 2584934.2013 | 1235878.6271
28 | 2584739.6902 | 1235847.5415
29 | 2584767.7115 | 1236040.4504
30 | 2584952.1553 | 1235879.6992
31 | 2584724.6305 | 1235844.4848
32 | 2584991.2772 | 1235889.8886
33 | 2585000.4236 | 1235892.9523
34 | 2585010.4 | 1235896.1203
35 | 2585023.5988 | 1235899.3786
36 | 2585035.4416 | 1235901.4658
37 | 2585060.9258 | 1235905.9571
38 | 2584712.4865 | 1235843.2121
39 | 2585069.1956 | 1235907.4145
40 | 2585075.8003 | 1235908.6909
41 | 2585086.0264 | 1235910.7142
42 | 2585104.5664 | 1235954.3393
43 | 2585228.4666 | 1235932.81
44 | 2585206.7228 | 1235930.0828
45 | 2585238.1905 | 1235934.0296
46 | 2585200.6506 | 1235929.3212
47 | 2585239.0388 | 1235934.136
48 | 2585239.1915 | 1235934.1552
49 | 2585257.8216 | 1235936.4919
50 | 2585258.2149 | 1235936.5412
51 | 2585279.5386 | 1235938.2952
52 | 2585335.7135 | 1235923.2115
53 | 2585360.5004 | 1235913.4298
54 | 2585333.4367 | 1235924.1099
55 | 2585373.7362 | 1235908.2066
56 | 2585302.9969 | 1235935.4634
57 | 2585388.6458 | 1235902.3228
58 | 2585291.3803 | 1235937.7772
59 | 2585397.9819 | 1235898.7787
60 | 2585280.111 | 1235938.3046
61 | 2585415.4284 | 1235894.1484
62 | 2585421.7405 | 1235893.874
63 | 2585418.4901 | 1235889.9271
64 | 2585432.9041 | 1235895.7062
65 | 2585427.411 | 1235880.5327
66 | 2585441.822 | 1235899.159
67 | 2585451.4225 | 1235903.8766
68 | 2585434.6917 | 1235896.3278
69 | 2585437.4245 | 1235871.2681
70 | 2585445.8224 | 1235866.2386
71 | 2585503.9142 | 1235837.5675
72 | 2585102.5054 | 1235913.9747

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1