## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_987-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_987-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_987-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_987-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_987-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_987-1_0_2_node_59 | 0.4 | n |  | TRUE
6 | bus_LV_987-1_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_987-1_0_2_node_58 | 0.4 | n |  | TRUE
8 | bus_LV_987-1_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_987-1_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_987-1_0_2_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_987-1_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_987-1_0_2_node_90 | 0.4 | n |  | TRUE
13 | bus_LV_987-1_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_987-1_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_987-1_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_987-1_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_987-1_0_2_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_987-1_0_2_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_987-1_0_2_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_987-1_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_987-1_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_987-1_0_2_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_987-1_0_2_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_987-1_0_2_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_987-1_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_987-1_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_987-1_0_2_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_987-1_0_2_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_987-1_0_2_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_987-1_0_2_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_987-1_0_2_node_83 | 0.4 | n |  | TRUE
32 | bus_LV_987-1_0_2_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_987-1_0_2_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_987-1_0_2_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_987-1_0_2_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_987-1_0_2_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_987-1_0_2_node_76 | 0.4 | n |  | TRUE
38 | bus_LV_987-1_0_2_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_987-1_0_2_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_987-1_0_2_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_987-1_0_2_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_987-1_0_2_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_987-1_0_2_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_987-1_0_2_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_987-1_0_2_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_987-1_0_2_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_987-1_0_2_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_987-1_0_2_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_987-1_0_2_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_987-1_0_2_node_89 | 0.4 | n |  | TRUE
51 | bus_LV_987-1_0_2_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_987-1_0_2_node_88 | 0.4 | n |  | TRUE
53 | bus_LV_987-1_0_2_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_987-1_0_2_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_987-1_0_2_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_987-1_0_2_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_987-1_0_2_node_78 | 0.4 | n |  | TRUE
58 | bus_LV_987-1_0_2_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_987-1_0_2_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_987-1_0_2_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_987-1_0_2_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_987-1_0_2_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_987-1_0_2_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_987-1_0_2_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_987-1_0_2_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_987-1_0_2_node_80 | 0.4 | n |  | TRUE
67 | bus_LV_987-1_0_2_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_987-1_0_2_node_81 | 0.4 | n |  | TRUE
69 | bus_LV_987-1_0_2_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_987-1_0_2_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_987-1_0_2_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_987-1_0_2_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_987-1_0_2_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_987-1_0_2_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_987-1_0_2_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_987-1_0_2_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_987-1_0_2_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_987-1_0_2_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_987-1_0_2_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_987-1_0_2_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_987-1_0_2_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_987-1_0_2_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_987-1_0_2_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_987-1_0_2_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_987-1_0_2_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_987-1_0_2_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_987-1_0_2_node_87 | 0.4 | n |  | TRUE
88 | bus_MV_346_0_node_226 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_987-1_0_2_load_0 | 0 | 0.00094413 | 0.00023662 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_987-1_0_2_load_1 | 1 | 0.00095769 | 0.00024002 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_987-1_0_2_load_2 | 2 | 0.001048 | 0.00026266 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_987-1_0_2_load_4 | 4 | 0.0032253 | 0.00080833 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_987-1_0_2_load_7 | 6 | 0.00139 | 0.00034837 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_987-1_0_2_load_58 | 7 | 0.0014137 | 0.00035431 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_987-1_0_2_load_5 | 10 | 0.00093275 | 0.00023377 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_987-1_0_2_load_90 | 12 | 0.00078156 | 0.00019588 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_987-1_0_2_load_10 | 13 | 0.0034616 | 0.00086756 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_987-1_0_2_load_11 | 14 | 0.0027765 | 0.00069585 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_987-1_0_2_load_15 | 18 | 0.00532 | 0.0013333 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_987-1_0_2_load_36 | 19 | 0.001644 | 0.00041202 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_987-1_0_2_load_16 | 20 | 0.0041008 | 0.0010278 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_987-1_0_2_load_17 | 21 | 0.0013277 | 0.00033275 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_987-1_0_2_load_26 | 22 | 0.0025477 | 0.00063852 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_987-1_0_2_load_24 | 23 | 0.0022628 | 0.00056712 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_987-1_0_2_load_37 | 24 | 0.0035179 | 0.00088167 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_987-1_0_2_load_19 | 25 | 0.0060456 | 0.0015152 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_987-1_0_2_load_20 | 26 | 0.0013783 | 0.00034544 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_987-1_0_2_load_21 | 27 | 0.0026456 | 0.00066305 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_987-1_0_2_load_52 | 29 | 0.00098388 | 0.00024658 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_987-1_0_2_load_49 | 30 | 0.0012356 | 0.00030967 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_987-1_0_2_load_83 | 31 | 0.001364 | 0.00034186 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_987-1_0_2_load_50 | 32 | 0.0013777 | 0.00034527 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_987-1_0_2_load_25 | 33 | 0.00084847 | 0.00021265 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_987-1_0_2_load_65 | 35 | 0.0026231 | 0.0006574 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_987-1_0_2_load_62 | 36 | 0.0016082 | 0.00040304 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_987-1_0_2_load_76 | 37 | 0.0017294 | 0.00043343 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_987-1_0_2_load_63 | 38 | 0.0023928 | 0.0005997 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_987-1_0_2_load_28 | 39 | 0.0020799 | 0.00052128 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_987-1_0_2_load_29 | 40 | 0.0016125 | 0.00040413 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_987-1_0_2_load_30 | 41 | 0.006239 | 0.0015636 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_987-1_0_2_load_39 | 42 | 0.002187 | 0.00054812 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_987-1_0_2_load_31 | 44 | 0.0018028 | 0.00045181 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_987-1_0_2_load_32 | 45 | 0.0014281 | 0.0003579 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_987-1_0_2_load_33 | 46 | 0.00081579 | 0.00020446 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_987-1_0_2_load_34 | 47 | 0.0010827 | 0.00027136 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_987-1_0_2_load_35 | 48 | 0.0019858 | 0.0004977 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_987-1_0_2_load_67 | 49 | 0.001161 | 0.00029097 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_987-1_0_2_load_68 | 51 | 0.0014695 | 0.00036828 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_987-1_0_2_load_38 | 53 | 0.011731 | 0.00294 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_987-1_0_2_load_41 | 54 | 0.0072693 | 0.0018219 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_987-1_0_2_load_42 | 55 | 0.0026212 | 0.00065692 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_987-1_0_2_load_78 | 57 | 0.0050545 | 0.0012668 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_987-1_0_2_load_43 | 59 | 0.00090721 | 0.00022737 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_987-1_0_2_load_44 | 60 | 0.0012066 | 0.0003024 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_987-1_0_2_load_46 | 62 | 0.001862 | 0.00046666 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_987-1_0_2_load_48 | 64 | 0.0010155 | 0.00025452 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_987-1_0_2_load_80 | 66 | 0.0021839 | 0.00054734 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_987-1_0_2_load_57 | 67 | 0.0034754 | 0.00087103 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_987-1_0_2_load_81 | 68 | 0.0012838 | 0.00032176 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_987-1_0_2_load_51 | 69 | 0.010543 | 0.0026422 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_987-1_0_2_load_84 | 70 | 0.0023127 | 0.00057963 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_987-1_0_2_load_53 | 71 | 0.0037028 | 0.000928 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_987-1_0_2_load_54 | 72 | 0.0015007 | 0.0003761 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_987-1_0_2_load_55 | 73 | 0.0029783 | 0.00074642 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_987-1_0_2_load_60 | 75 | 0.0019689 | 0.00049344 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_987-1_0_2_load_74 | 76 | 0.0021865 | 0.00054799 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_987-1_0_2_load_70 | 77 | 0.0012645 | 0.00031692 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_987-1_0_2_load_71 | 78 | 0.0023102 | 0.00057898 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_987-1_0_2_load_64 | 79 | 0.0017793 | 0.00044592 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_987-1_0_2_load_66 | 80 | 0.002208 | 0.00055338 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_987-1_0_2_load_82 | 81 | 0.0017437 | 0.00043702 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_987-1_0_2_load_69 | 82 | 0.0012427 | 0.00031145 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_987-1_0_2_load_85 | 84 | 0.0022135 | 0.00055475 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_987-1_0_2_load_72 | 85 | 0.0011965 | 0.00029987 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_987-1_0_2_load_86 | 86 | 0.0029212 | 0.00073213 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_987-1_0_2_load_87 | 87 | 0.0023092 | 0.00057875 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 76 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_987-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0056906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_987-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_987-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.077677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_987-1_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0043009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_987-1_0_2_line_4 | NAYY 4x150 SE | 3 | 8 | 0.049536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_987-1_0_2_line_5 | NAYY 4x150 SE | 3 | 9 | 0.006703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_987-1_0_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.32677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_987-1_0_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.08088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_987-1_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.034789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_987-1_0_2_line_9 | NAYY 4x150 SE | 7 | 74 | 0.032046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_987-1_0_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.060913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_987-1_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.075408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_987-1_0_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.088722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_987-1_0_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.023046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_987-1_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.051964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_987-1_0_2_line_15 | NAYY 4x150 SE | 15 | 16 | 0.060595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_987-1_0_2_line_16 | NAYY 4x150 SE | 16 | 17 | 0.01002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_987-1_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.01913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_987-1_0_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.045312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_987-1_0_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.035403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_987-1_0_2_line_20 | NAYY 4x150 SE | 19 | 24 | 0.0044158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_987-1_0_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.023297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_987-1_0_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0033002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_987-1_0_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.014336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_987-1_0_2_line_24 | NAYY 4x150 SE | 23 | 33 | 0.0061592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_987-1_0_2_line_25 | NAYY 4x150 SE | 24 | 53 | 0.039388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_987-1_0_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.020885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_987-1_0_2_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0070373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_987-1_0_2_line_28 | NAYY 4x150 SE | 27 | 28 | 0.0080889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_987-1_0_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.032017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_987-1_0_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.014107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_987-1_0_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.032471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_987-1_0_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.0032368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_987-1_0_2_line_33 | NAYY 4x150 SE | 31 | 70 | 0.01504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_987-1_0_2_line_34 | NAYY 4x150 SE | 32 | 69 | 0.038659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_987-1_0_2_line_35 | NAYY 4x150 SE | 33 | 34 | 0.022835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_987-1_0_2_line_36 | NAYY 4x150 SE | 34 | 35 | 0.023056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_987-1_0_2_line_37 | NAYY 4x150 SE | 34 | 36 | 0.01691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_987-1_0_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.012937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_987-1_0_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.010396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_987-1_0_2_line_40 | NAYY 4x150 SE | 37 | 65 | 0.0022815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_987-1_0_2_line_41 | NAYY 4x150 SE | 38 | 79 | 0.013242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_987-1_0_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.0081893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_987-1_0_2_line_43 | NAYY 4x150 SE | 40 | 41 | 0.014686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_987-1_0_2_line_44 | NAYY 4x150 SE | 41 | 42 | 0.010515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_987-1_0_2_line_45 | NAYY 4x150 SE | 42 | 43 | 0.011232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_987-1_0_2_line_46 | NAYY 4x150 SE | 43 | 54 | 0.02063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_987-1_0_2_line_47 | NAYY 4x150 SE | 43 | 55 | 0.038837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_987-1_0_2_line_48 | NAYY 4x150 SE | 44 | 45 | 0.0073844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_987-1_0_2_line_49 | NAYY 4x150 SE | 44 | 46 | 0.0097305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_987-1_0_2_line_50 | NAYY 4x150 SE | 45 | 47 | 0.017503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_987-1_0_2_line_51 | NAYY 4x150 SE | 46 | 48 | 0.0093843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_987-1_0_2_line_52 | NAYY 4x150 SE | 47 | 49 | 0.00096376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_987-1_0_2_line_53 | NAYY 4x150 SE | 48 | 50 | 0.045016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_987-1_0_2_line_54 | NAYY 4x150 SE | 49 | 51 | 0.018014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_987-1_0_2_line_55 | NAYY 4x150 SE | 50 | 52 | 0.01073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_987-1_0_2_line_56 | NAYY 4x150 SE | 51 | 82 | 0.0031193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_987-1_0_2_line_57 | NAYY 4x150 SE | 52 | 87 | 0.045537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_987-1_0_2_line_58 | NAYY 4x150 SE | 55 | 56 | 0.032393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_987-1_0_2_line_59 | NAYY 4x150 SE | 56 | 57 | 0.021167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_987-1_0_2_line_60 | NAYY 4x150 SE | 56 | 58 | 0.08493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_987-1_0_2_line_61 | NAYY 4x150 SE | 57 | 69 | 0.0055021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_987-1_0_2_line_62 | NAYY 4x150 SE | 58 | 76 | 0.022771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_987-1_0_2_line_63 | NAYY 4x150 SE | 58 | 75 | 0.032248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_987-1_0_2_line_64 | NAYY 4x150 SE | 59 | 60 | 0.036468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_987-1_0_2_line_65 | NAYY 4x150 SE | 59 | 61 | 0.013482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_987-1_0_2_line_66 | NAYY 4x150 SE | 60 | 62 | 0.018279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_987-1_0_2_line_67 | NAYY 4x150 SE | 61 | 63 | 0.06075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_987-1_0_2_line_68 | NAYY 4x150 SE | 61 | 64 | 0.014343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_987-1_0_2_line_69 | NAYY 4x150 SE | 63 | 65 | 0.019794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_987-1_0_2_line_70 | NAYY 4x150 SE | 63 | 66 | 0.012275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_987-1_0_2_line_71 | NAYY 4x150 SE | 65 | 67 | 0.022433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_987-1_0_2_line_72 | NAYY 4x150 SE | 66 | 68 | 0.022603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_987-1_0_2_line_73 | NAYY 4x150 SE | 67 | 73 | 0.0023986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_987-1_0_2_line_74 | NAYY 4x150 SE | 68 | 81 | 0.015205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_987-1_0_2_line_75 | NAYY 4x150 SE | 68 | 80 | 0.056748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_987-1_0_2_line_76 | NAYY 4x150 SE | 70 | 83 | 0.026962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_987-1_0_2_line_77 | NAYY 4x150 SE | 71 | 72 | 0.030579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_987-1_0_2_line_78 | NAYY 4x150 SE | 71 | 73 | 0.033463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_987-1_0_2_line_79 | NAYY 4x150 SE | 72 | 74 | 0.0032673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_987-1_0_2_line_80 | NAYY 4x150 SE | 74 | 75 | 0.053324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_987-1_0_2_line_81 | NAYY 4x150 SE | 77 | 78 | 0.013301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_987-1_0_2_line_82 | NAYY 4x150 SE | 78 | 85 | 0.0045487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_987-1_0_2_line_83 | NAYY 4x150 SE | 82 | 83 | 0.010465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_987-1_0_2_line_84 | NAYY 4x150 SE | 83 | 84 | 0.013167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_987-1_0_2_line_85 | NAYY 4x150 SE | 84 | 86 | 0.0055568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_987-1_0_2_line_86 | NAYY 4x150 SE | 85 | 86 | 0.029172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_987-1_0_2_trafo_74 | 0.25 MVA 20/0.4 kV | 88 | 76 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2614972.6958 | 1234057.4096 | 2614976.2193 | 1234058.1752 | 2614978.1143 | 1234059.0444
1 | 2614972.6958 | 1234057.4096 | 2614962.3567 | 1234055.1629
2 | 2615028.6921 | 1234114.0411 | 2615027.6316 | 1234108.3683 | 2615017.5183 | 1234090.7099 | 2614996.4966 | 1234067.4762 | 2614978.1143 | 1234059.0444
3 | 2614958.1539 | 1234054.2497 | 2614962.3567 | 1234055.1629
4 | 2614980.5988 | 1234101.6126 | 2615028.6921 | 1234114.0411
5 | 2615035.1438 | 1234115.9251 | 2615028.6921 | 1234114.0411
6 | 2615083.9064 | 1234456.1439 | 2615014.8295 | 1234136.7585
7 | 2615083.9064 | 1234456.1439 | 2615097.5225 | 1234474.0559 | 2615114.5262 | 1234502.1828 | 2615116.6563 | 1234503.867 | 2615138.8826 | 1234508.9398
8 | 2615035.1438 | 1234115.9251 | 2615024.9993 | 1234137.7128 | 2615022.7634 | 1234138.9079 | 2615014.8295 | 1234136.7585
9 | 2615170.512 | 1234513.8542 | 2615148.7741 | 1234511.1974 | 2615138.8826 | 1234508.9398
10 | 2614980.5988 | 1234101.6126 | 2614960.2931 | 1234091.6 | 2614954.0479 | 1234088.8382 | 2614945.9326 | 1234086.2941 | 2614938.7311 | 1234084.575 | 2614931.8242 | 1234083.0568 | 2614923.4218 | 1234082.0389
11 | 2615033.8047 | 1234085.67 | 2615048.7168 | 1234100.3054 | 2615065.1852 | 1234113.1214 | 2615060.7207 | 1234118.6135 | 2615052.1165 | 1234120.8598 | 2615035.1438 | 1234115.9251
12 | 2615033.8047 | 1234085.67 | 2614984.9201 | 1234011.6303
13 | 2615393.9552 | 1234606.3454 | 2615378.6792 | 1234589.0892
14 | 2615410.4557 | 1234650.2522 | 2615401.603 | 1234646.427 | 2615399.5211 | 1234643.7089 | 2615396.4594 | 1234633.5504 | 2615398.0065 | 1234620.6131 | 2615397.9209 | 1234615.6543 | 2615396.9564 | 1234611.0602 | 2615394.5902 | 1234607.0627 | 2615393.9552 | 1234606.3454
15 | 2615369.7631 | 1234646.1892 | 2615377.6297 | 1234653.8252 | 2615380.9222 | 1234656.6577 | 2615388.6313 | 1234660.8134 | 2615403.3542 | 1234668.734 | 2615407.5019 | 1234656.9487 | 2615410.4557 | 1234650.2522
16 | 2615369.7631 | 1234646.1892 | 2615359.7189 | 1234646.508
17 | 2615369.7631 | 1234646.1892 | 2615367.3226 | 1234641.6468 | 2615361.8775 | 1234628.7781
18 | 2615359.7189 | 1234646.508 | 2615351.1573 | 1234647.1419 | 2615345.7424 | 1234648.4954 | 2615332.2478 | 1234660.2902 | 2615327.9989 | 1234661.4577 | 2615319.6065 | 1234658.7561
19 | 2615344.3955 | 1234598.6826 | 2615347.1069 | 1234600.592 | 2615351.258 | 1234605.1166 | 2615355.3089 | 1234613.2542 | 2615361.8775 | 1234628.7781
20 | 2615319.6065 | 1234658.7561 | 2615315.4032 | 1234657.4029
21 | 2615323.4589 | 1234588.6777 | 2615332.4429 | 1234593.2498 | 2615341.4182 | 1234596.586 | 2615344.3955 | 1234598.6826
22 | 2615323.4589 | 1234588.6777 | 2615320.5176 | 1234587.1809
23 | 2615320.5176 | 1234587.1809 | 2615307.7412 | 1234580.6787
24 | 2615303.3142 | 1234576.3965 | 2615307.7412 | 1234580.6787 | 2615307.7412 | 1234580.6787
25 | 2615315.4032 | 1234657.4029 | 2615277.9101 | 1234645.3332
26 | 2615226.6451 | 1234764.9798 | 2615219.203 | 1234759.1609 | 2615213.7833 | 1234750.5752 | 2615213.2724 | 1234749.3959
27 | 2615210.4752 | 1234742.9385 | 2615213.2724 | 1234749.3959
28 | 2615207.2599 | 1234735.5161 | 2615210.4752 | 1234742.9385
29 | 2615207.2599 | 1234735.5161 | 2615181.6211 | 1234740.4093 | 2615176.081 | 1234742.4826
30 | 2615207.2599 | 1234735.5161 | 2615205.3797 | 1234727.8844 | 2615202.4539 | 1234723.7077 | 2615201.5824 | 1234722.9608
31 | 2615176.081 | 1234742.4826 | 2615165.8639 | 1234746.3061 | 2615160.1151 | 1234748.0593 | 2615144.7809 | 1234750.6499
32 | 2615201.5824 | 1234722.9608 | 2615199.1247 | 1234720.8545
33 | 2615129.9508 | 1234753.1554 | 2615144.7809 | 1234750.6499
34 | 2615177.8982 | 1234690.7512 | 2615180.489 | 1234703.4839 | 2615182.1239 | 1234706.4232 | 2615184.0953 | 1234707.9736 | 2615199.1247 | 1234720.8545
35 | 2615287.0479 | 1234560.38 | 2615288.7837 | 1234562.3412 | 2615303.3142 | 1234576.3965
36 | 2615287.0479 | 1234560.38 | 2615274.8448 | 1234546.6181 | 2615270.8927 | 1234544.1439
37 | 2615287.0479 | 1234560.38 | 2615276.6258 | 1234573.697
38 | 2615259.9276 | 1234537.2792 | 2615270.8927 | 1234544.1439
39 | 2615276.6258 | 1234573.697 | 2615270.2188 | 1234581.8835
40 | 2615257.9939 | 1234536.0686 | 2615259.9276 | 1234537.2792
41 | 2615259.2404 | 1234575.418 | 2615269.8716 | 1234582.3271 | 2615270.2188 | 1234581.8835
42 | 2615277.7676 | 1234680.2536 | 2615281.6965 | 1234681.6068 | 2615285.4024 | 1234683.2001
43 | 2615263.8825 | 1234675.4713 | 2615277.7676 | 1234680.2536
44 | 2615253.9402 | 1234672.047 | 2615263.8825 | 1234675.4713
45 | 2615243.3206 | 1234668.3894 | 2615253.9402 | 1234672.047
46 | 2615243.3206 | 1234668.3894 | 2615237.887 | 1234688.2907
47 | 2615243.3206 | 1234668.3894 | 2615238.156 | 1234666.6085 | 2615204.9465 | 1234663.2995
48 | 2615058.0048 | 1234756.0383 | 2615065.2214 | 1234757.6033
49 | 2615058.0048 | 1234756.0383 | 2615048.4953 | 1234753.976
50 | 2615065.2214 | 1234757.6033 | 2615072.2718 | 1234759.1323 | 2615082.1661 | 1234761.9543
51 | 2615039.2676 | 1234752.3794 | 2615042.0832 | 1234752.5855 | 2615048.4953 | 1234753.976
52 | 2615083.0929 | 1234762.2186 | 2615082.1661 | 1234761.9543
53 | 2614997.986 | 1234766.2717 | 2615012.3674 | 1234756.6131 | 2615022.7689 | 1234752.5813 | 2615032.9575 | 1234751.9176 | 2615039.2676 | 1234752.3794
54 | 2615083.0929 | 1234762.2186 | 2615100.4159 | 1234767.1592
55 | 2614993.5945 | 1234776.0666 | 2614997.986 | 1234766.2717
56 | 2615100.4159 | 1234767.1592 | 2615102.4778 | 1234767.7473 | 2615103.3561 | 1234768.1712
57 | 2614993.5945 | 1234776.0666 | 2615004.1262 | 1234780.4069 | 2615037.4873 | 1234787.6873
58 | 2615172.5806 | 1234664.6179 | 2615204.9465 | 1234663.2995
59 | 2615172.5806 | 1234664.6179 | 2615176.8011 | 1234685.3596
60 | 2615198.3213 | 1234584.2678 | 2615199.1318 | 1234586.9493 | 2615198.876 | 1234589.3279 | 2615184.7248 | 1234630.1723 | 2615172.5806 | 1234664.6179
61 | 2615176.8011 | 1234685.3596 | 2615177.8982 | 1234690.7512
62 | 2615198.3213 | 1234584.2678 | 2615203.7082 | 1234582.0469 | 2615220.6895 | 1234583.0241
63 | 2615198.3213 | 1234584.2678 | 2615197.2657 | 1234582.6864 | 2615174.0149 | 1234563.1853
64 | 2615238.6057 | 1234451.8238 | 2615204.1154 | 1234439.9777
65 | 2615251.3561 | 1234456.203 | 2615238.6057 | 1234451.8238
66 | 2615204.1154 | 1234439.9777 | 2615186.8275 | 1234434.0401
67 | 2615251.3561 | 1234456.203 | 2615255.5234 | 1234472.2012 | 2615257.3042 | 1234492.0623 | 2615258.7559 | 1234516.2918
68 | 2615251.3561 | 1234456.203 | 2615258.3251 | 1234443.6664
69 | 2615257.9939 | 1234536.0686 | 2615258.7559 | 1234516.2918
70 | 2615258.7559 | 1234516.2918 | 2615270.7761 | 1234518.7797
71 | 2615257.9939 | 1234536.0686 | 2615238.2903 | 1234525.3444
72 | 2615270.7761 | 1234518.7797 | 2615270.7761 | 1234518.7797 | 2615279.3196 | 1234522.2926 | 2615288.2593 | 1234530.6872 | 2615288.9268 | 1234531.5646
73 | 2615238.2903 | 1234525.3444 | 2615236.1835 | 1234524.1977
74 | 2615298.1333 | 1234543.6649 | 2615288.9268 | 1234531.5646
75 | 2615288.9268 | 1234531.5646 | 2615315.6566 | 1234481.5061
76 | 2615112.7808 | 1234772.7209 | 2615124.4047 | 1234755.2174 | 2615128.5417 | 1234753.3935 | 2615129.9508 | 1234753.1554
77 | 2615204.2685 | 1234516.1359 | 2615188.6823 | 1234514.6231 | 2615173.7763 | 1234513.9923
78 | 2615204.2685 | 1234516.1359 | 2615222.4451 | 1234517.9001 | 2615226.6958 | 1234519.0338 | 2615236.1835 | 1234524.1977
79 | 2615170.512 | 1234513.8542 | 2615173.7763 | 1234513.9923
80 | 2615170.512 | 1234513.8542 | 2615164.7098 | 1234548.4049 | 2615165.5126 | 1234554.1549 | 2615169.3973 | 1234559.3124 | 2615174.0149 | 1234563.1853
81 | 2615171.0019 | 1234802.9031 | 2615158.784 | 1234797.6452
82 | 2615154.6059 | 1234795.8471 | 2615158.784 | 1234797.6452
83 | 2615112.7808 | 1234772.7209 | 2615103.3561 | 1234768.1712
84 | 2615112.7808 | 1234772.7209 | 2615124.0162 | 1234779.5861
85 | 2615124.0162 | 1234779.5861 | 2615128.7579 | 1234782.4834
86 | 2615154.6059 | 1234795.8471 | 2615141.1558 | 1234790.0589 | 2615128.7579 | 1234782.4834

## bus_geodata
| x | y | coords
0 | 2614972.6958 | 1234057.4096
1 | 2614978.1143 | 1234059.0444
2 | 2614962.3567 | 1234055.1629
3 | 2615028.6921 | 1234114.0411
4 | 2614958.1539 | 1234054.2497
5 | 2615083.9064 | 1234456.1439
6 | 2615014.8295 | 1234136.7585
7 | 2615138.8826 | 1234508.9398
8 | 2614980.5988 | 1234101.6126
9 | 2615035.1438 | 1234115.9251
10 | 2614923.4218 | 1234082.0389
11 | 2615033.8047 | 1234085.67
12 | 2614984.9201 | 1234011.6303
13 | 2615393.9552 | 1234606.3454
14 | 2615378.6792 | 1234589.0892
15 | 2615410.4557 | 1234650.2522
16 | 2615369.7631 | 1234646.1892
17 | 2615359.7189 | 1234646.508
18 | 2615361.8775 | 1234628.7781
19 | 2615319.6065 | 1234658.7561
20 | 2615344.3955 | 1234598.6826
21 | 2615323.4589 | 1234588.6777
22 | 2615320.5176 | 1234587.1809
23 | 2615307.7412 | 1234580.6787
24 | 2615315.4032 | 1234657.4029
25 | 2615213.2724 | 1234749.3959
26 | 2615226.6451 | 1234764.9798
27 | 2615210.4752 | 1234742.9385
28 | 2615207.2599 | 1234735.5161
29 | 2615176.081 | 1234742.4826
30 | 2615201.5824 | 1234722.9609
31 | 2615144.7809 | 1234750.6499
32 | 2615199.1247 | 1234720.8545
33 | 2615303.3142 | 1234576.3965
34 | 2615287.0479 | 1234560.38
35 | 2615270.8927 | 1234544.1439
36 | 2615276.6258 | 1234573.697
37 | 2615259.9276 | 1234537.2792
38 | 2615270.2188 | 1234581.8835
39 | 2615285.4024 | 1234683.2001
40 | 2615277.7676 | 1234680.2536
41 | 2615263.8825 | 1234675.4713
42 | 2615253.9402 | 1234672.047
43 | 2615243.3206 | 1234668.3894
44 | 2615058.0048 | 1234756.0383
45 | 2615065.2214 | 1234757.6033
46 | 2615048.4953 | 1234753.976
47 | 2615082.1661 | 1234761.9543
48 | 2615039.2676 | 1234752.3794
49 | 2615083.0929 | 1234762.2186
50 | 2614997.986 | 1234766.2717
51 | 2615100.4159 | 1234767.1592
52 | 2614993.5945 | 1234776.0666
53 | 2615277.9101 | 1234645.3332
54 | 2615237.887 | 1234688.2907
55 | 2615204.9465 | 1234663.2995
56 | 2615172.5806 | 1234664.6179
57 | 2615176.8011 | 1234685.3596
58 | 2615198.3213 | 1234584.2678
59 | 2615238.6057 | 1234451.8238
60 | 2615204.1154 | 1234439.9777
61 | 2615251.3561 | 1234456.203
62 | 2615186.8275 | 1234434.0401
63 | 2615258.7559 | 1234516.2918
64 | 2615258.3251 | 1234443.6664
65 | 2615257.9939 | 1234536.0686
66 | 2615270.7761 | 1234518.7797
67 | 2615238.2903 | 1234525.3444
68 | 2615288.9268 | 1234531.5646
69 | 2615177.8982 | 1234690.7512
70 | 2615129.9508 | 1234753.1554
71 | 2615204.2685 | 1234516.1359
72 | 2615173.7763 | 1234513.9923
73 | 2615236.1835 | 1234524.1977
74 | 2615170.512 | 1234513.8542
75 | 2615174.0149 | 1234563.1853
76 | 2615220.6895 | 1234583.0241
77 | 2615171.0019 | 1234802.9031
78 | 2615158.784 | 1234797.6452
79 | 2615259.2404 | 1234575.418
80 | 2615315.6566 | 1234481.5061
81 | 2615298.1333 | 1234543.6649
82 | 2615103.3561 | 1234768.1712
83 | 2615112.7808 | 1234772.7209
84 | 2615124.0162 | 1234779.5861
85 | 2615154.6059 | 1234795.8471
86 | 2615128.7579 | 1234782.4834
87 | 2615037.4873 | 1234787.6873
88 | 2615198.3213 | 1234584.2678

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1