## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_987-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_987-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_987-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_987-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_987-2_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_987-2_0_2_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_987-2_0_2_node_98 | 0.4 | n |  | TRUE
7 | bus_LV_987-2_0_2_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_987-2_0_2_node_67 | 0.4 | n |  | TRUE
9 | bus_LV_987-2_0_2_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_987-2_0_2_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_987-2_0_2_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_987-2_0_2_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_987-2_0_2_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_987-2_0_2_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_987-2_0_2_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_987-2_0_2_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_987-2_0_2_node_74 | 0.4 | n |  | TRUE
18 | bus_LV_987-2_0_2_node_80 | 0.4 | n |  | TRUE
19 | bus_LV_987-2_0_2_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_987-2_0_2_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_987-2_0_2_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_987-2_0_2_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_987-2_0_2_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_987-2_0_2_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_987-2_0_2_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_987-2_0_2_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_987-2_0_2_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_987-2_0_2_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_987-2_0_2_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_987-2_0_2_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_987-2_0_2_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_987-2_0_2_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_987-2_0_2_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_987-2_0_2_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_987-2_0_2_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_987-2_0_2_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_987-2_0_2_node_75 | 0.4 | n |  | TRUE
38 | bus_LV_987-2_0_2_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_987-2_0_2_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_987-2_0_2_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_987-2_0_2_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_987-2_0_2_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_987-2_0_2_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_987-2_0_2_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_987-2_0_2_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_987-2_0_2_node_94 | 0.4 | n |  | TRUE
47 | bus_LV_987-2_0_2_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_987-2_0_2_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_987-2_0_2_node_93 | 0.4 | n |  | TRUE
50 | bus_LV_987-2_0_2_node_91 | 0.4 | n |  | TRUE
51 | bus_LV_987-2_0_2_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_987-2_0_2_node_92 | 0.4 | n |  | TRUE
53 | bus_LV_987-2_0_2_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_987-2_0_2_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_987-2_0_2_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_987-2_0_2_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_987-2_0_2_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_987-2_0_2_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_987-2_0_2_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_987-2_0_2_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_987-2_0_2_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_987-2_0_2_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_987-2_0_2_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_987-2_0_2_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_987-2_0_2_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_987-2_0_2_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_987-2_0_2_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_987-2_0_2_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_987-2_0_2_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_987-2_0_2_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_987-2_0_2_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_987-2_0_2_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_987-2_0_2_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_987-2_0_2_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_987-2_0_2_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_987-2_0_2_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_987-2_0_2_node_97 | 0.4 | n |  | TRUE
78 | bus_LV_987-2_0_2_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_987-2_0_2_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_987-2_0_2_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_987-2_0_2_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_987-2_0_2_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_987-2_0_2_node_63 | 0.4 | n |  | TRUE
84 | bus_LV_987-2_0_2_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_987-2_0_2_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_987-2_0_2_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_987-2_0_2_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_987-2_0_2_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_987-2_0_2_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_987-2_0_2_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_987-2_0_2_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_987-2_0_2_node_77 | 0.4 | n |  | TRUE
93 | bus_LV_987-2_0_2_node_99 | 0.4 | n |  | TRUE
94 | bus_LV_987-2_0_2_node_81 | 0.4 | n |  | TRUE
95 | bus_LV_987-2_0_2_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_987-2_0_2_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_987-2_0_2_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_987-2_0_2_node_88 | 0.4 | n |  | TRUE
99 | bus_MV_346_0_node_2 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_987-2_0_2_load_0 | 0 | 0.0048648 | 0.0012192 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_987-2_0_2_load_1 | 1 | 0.00082217 | 0.00020605 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_987-2_0_2_load_2 | 2 | 0.012785 | 0.0032042 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_987-2_0_2_load_4 | 4 | 0.001662 | 0.00041654 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_987-2_0_2_load_98 | 6 | 0.0049799 | 0.0012481 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_987-2_0_2_load_65 | 9 | 0.002136 | 0.00053532 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_987-2_0_2_load_18 | 11 | 0.003764 | 0.00094335 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_987-2_0_2_load_13 | 12 | 0.001756 | 0.00044009 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_987-2_0_2_load_5 | 13 | 0.002825 | 0.00070802 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_987-2_0_2_load_6 | 14 | 0.0014269 | 0.00035761 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_987-2_0_2_load_7 | 15 | 0.0020129 | 0.00050448 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_987-2_0_2_load_8 | 16 | 0.00086266 | 0.0002162 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_987-2_0_2_load_80 | 18 | 0.0020231 | 0.00050704 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_987-2_0_2_load_9 | 21 | 0.0011764 | 0.00029484 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_987-2_0_2_load_10 | 22 | 0.0017399 | 0.00043606 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_987-2_0_2_load_12 | 26 | 0.0014285 | 0.00035802 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_987-2_0_2_load_17 | 29 | 0.0016387 | 0.00041068 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_987-2_0_2_load_58 | 30 | 0.0040262 | 0.0010091 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_987-2_0_2_load_43 | 31 | 0.0011062 | 0.00027724 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_987-2_0_2_load_29 | 32 | 0.0011911 | 0.00029853 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_987-2_0_2_load_19 | 33 | 0.0021943 | 0.00054995 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_987-2_0_2_load_28 | 35 | 0.0014201 | 0.00035591 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_987-2_0_2_load_20 | 36 | 0.0023455 | 0.00058784 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_987-2_0_2_load_75 | 37 | 0.0035376 | 0.00088662 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_987-2_0_2_load_45 | 38 | 0.0012082 | 0.0003028 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_987-2_0_2_load_41 | 40 | 0.0022676 | 0.00056832 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_987-2_0_2_load_22 | 41 | 0.0039974 | 0.0010018 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_987-2_0_2_load_26 | 43 | 0.0017471 | 0.00043787 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_987-2_0_2_load_27 | 44 | 0.0021121 | 0.00052934 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_987-2_0_2_load_38 | 45 | 0.0017648 | 0.0004423 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_987-2_0_2_load_94 | 46 | 0.00089199 | 0.00022355 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_987-2_0_2_load_24 | 47 | 0.0013192 | 0.00033063 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_987-2_0_2_load_25 | 48 | 0.0013924 | 0.00034897 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_987-2_0_2_load_93 | 49 | 0.0027428 | 0.00068741 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_987-2_0_2_load_91 | 50 | 0.0010496 | 0.00026306 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_987-2_0_2_load_39 | 51 | 0.0020046 | 0.00050241 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_987-2_0_2_load_92 | 52 | 0.0015079 | 0.00037791 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_987-2_0_2_load_30 | 53 | 0.0023722 | 0.00059454 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_987-2_0_2_load_31 | 54 | 0.0021177 | 0.00053075 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_987-2_0_2_load_35 | 57 | 0.0022309 | 0.00055913 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_987-2_0_2_load_36 | 58 | 0.003151 | 0.00078971 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_987-2_0_2_load_72 | 61 | 0.00069084 | 0.00017314 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_987-2_0_2_load_50 | 63 | 0.0025542 | 0.00064015 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_987-2_0_2_load_48 | 64 | 0.0043034 | 0.0010785 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_987-2_0_2_load_47 | 65 | 0.0048708 | 0.0012207 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_987-2_0_2_load_52 | 66 | 0.0043442 | 0.0010888 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_987-2_0_2_load_51 | 67 | 0.0017707 | 0.00044378 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_987-2_0_2_load_44 | 69 | 0.0028343 | 0.00071034 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_987-2_0_2_load_68 | 70 | 0.00088277 | 0.00022124 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_987-2_0_2_load_57 | 71 | 0.0020268 | 0.00050797 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_987-2_0_2_load_54 | 72 | 0.0084788 | 0.002125 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_987-2_0_2_load_76 | 73 | 0.0057087 | 0.0014307 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_987-2_0_2_load_62 | 75 | 0.0011284 | 0.0002828 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_987-2_0_2_load_59 | 76 | 0.0011302 | 0.00028325 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_987-2_0_2_load_97 | 77 | 0.001392 | 0.00034886 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_987-2_0_2_load_78 | 78 | 0.00072933 | 0.00018279 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_987-2_0_2_load_79 | 80 | 0.0017587 | 0.00044078 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_987-2_0_2_load_71 | 81 | 0.0040519 | 0.0010155 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_987-2_0_2_load_64 | 84 | 0.00088015 | 0.00022059 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_987-2_0_2_load_87 | 85 | 0.00068735 | 0.00017227 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_987-2_0_2_load_85 | 86 | 0.0019937 | 0.00049966 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_987-2_0_2_load_82 | 87 | 0.00070347 | 0.00017631 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_987-2_0_2_load_90 | 88 | 0.00061544 | 0.00015425 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_987-2_0_2_load_86 | 89 | 0.00041751 | 0.00010464 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_987-2_0_2_load_83 | 90 | 0.00038023 | 9.5294e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_987-2_0_2_load_73 | 91 | 0.0027904 | 0.00069934 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_987-2_0_2_load_77 | 92 | 0.0014474 | 0.00036276 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_987-2_0_2_load_99 | 93 | 0.00091434 | 0.00022916 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_987-2_0_2_load_81 | 94 | 0.0023453 | 0.00058779 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_987-2_0_2_load_84 | 95 | 0.0016924 | 0.00042416 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_987-2_0_2_load_95 | 96 | 0.0050704 | 0.0012708 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_987-2_0_2_load_89 | 97 | 0.0021548 | 0.00054005 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_987-2_0_2_load_88 | 98 | 0.0012538 | 0.00031423 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_987-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_987-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.028942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_987-2_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.013727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_987-2_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0053389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_987-2_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0071368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_987-2_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.07094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_987-2_0_2_line_6 | NAYY 4x150 SE | 5 | 10 | 0.019427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_987-2_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.017422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_987-2_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.011397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_987-2_0_2_line_9 | NAYY 4x150 SE | 8 | 37 | 0.0082381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_987-2_0_2_line_10 | NAYY 4x150 SE | 8 | 36 | 0.010021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_987-2_0_2_line_11 | NAYY 4x150 SE | 9 | 23 | 0.014633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_987-2_0_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.013122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_987-2_0_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.010192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_987-2_0_2_line_14 | NAYY 4x150 SE | 11 | 33 | 0.004251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_987-2_0_2_line_15 | NAYY 4x150 SE | 12 | 26 | 0.0040417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_987-2_0_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.017942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_987-2_0_2_line_17 | NAYY 4x150 SE | 13 | 15 | 0.039067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_987-2_0_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.013956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_987-2_0_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.0069274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_987-2_0_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.013191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_987-2_0_2_line_21 | NAYY 4x150 SE | 17 | 19 | 0.041779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_987-2_0_2_line_22 | NAYY 4x150 SE | 17 | 20 | 0.019813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_987-2_0_2_line_23 | NAYY 4x150 SE | 19 | 77 | 0.016968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_987-2_0_2_line_24 | NAYY 4x150 SE | 19 | 39 | 0.025852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_987-2_0_2_line_25 | NAYY 4x150 SE | 20 | 79 | 0.01668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_987-2_0_2_line_26 | NAYY 4x150 SE | 20 | 70 | 0.026534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_987-2_0_2_line_27 | NAYY 4x150 SE | 21 | 22 | 0.0059997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_987-2_0_2_line_28 | NAYY 4x150 SE | 22 | 23 | 0.014048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_987-2_0_2_line_29 | NAYY 4x150 SE | 23 | 24 | 0.004388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_987-2_0_2_line_30 | NAYY 4x150 SE | 24 | 25 | 0.014953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_987-2_0_2_line_31 | NAYY 4x150 SE | 25 | 56 | 0.023962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_987-2_0_2_line_32 | NAYY 4x150 SE | 26 | 27 | 0.010109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_987-2_0_2_line_33 | NAYY 4x150 SE | 27 | 28 | 0.008521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_987-2_0_2_line_34 | NAYY 4x150 SE | 27 | 29 | 0.010651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_987-2_0_2_line_35 | NAYY 4x150 SE | 28 | 30 | 0.018361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_987-2_0_2_line_36 | NAYY 4x150 SE | 28 | 31 | 0.0075778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_987-2_0_2_line_37 | NAYY 4x150 SE | 29 | 32 | 0.018874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_987-2_0_2_line_38 | NAYY 4x150 SE | 31 | 34 | 0.01012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_987-2_0_2_line_39 | NAYY 4x150 SE | 32 | 35 | 0.017973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_987-2_0_2_line_40 | NAYY 4x150 SE | 33 | 36 | 0.019005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_987-2_0_2_line_41 | NAYY 4x150 SE | 34 | 69 | 0.011815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_987-2_0_2_line_42 | NAYY 4x150 SE | 34 | 40 | 0.0023842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_987-2_0_2_line_43 | NAYY 4x150 SE | 35 | 53 | 0.0094001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_987-2_0_2_line_44 | NAYY 4x150 SE | 38 | 39 | 0.022874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_987-2_0_2_line_45 | NAYY 4x150 SE | 39 | 71 | 0.0055989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_987-2_0_2_line_46 | NAYY 4x150 SE | 41 | 42 | 0.003862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_987-2_0_2_line_47 | NAYY 4x150 SE | 42 | 43 | 0.010053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_987-2_0_2_line_48 | NAYY 4x150 SE | 42 | 44 | 0.0040791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_987-2_0_2_line_49 | NAYY 4x150 SE | 43 | 45 | 0.0082469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_987-2_0_2_line_50 | NAYY 4x150 SE | 44 | 46 | 0.016104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_987-2_0_2_line_51 | NAYY 4x150 SE | 45 | 51 | 0.011034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_987-2_0_2_line_52 | NAYY 4x150 SE | 46 | 52 | 0.034598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_987-2_0_2_line_53 | NAYY 4x150 SE | 47 | 48 | 0.02112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_987-2_0_2_line_54 | NAYY 4x150 SE | 47 | 49 | 0.044678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_987-2_0_2_line_55 | NAYY 4x150 SE | 49 | 50 | 0.00029642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_987-2_0_2_line_56 | NAYY 4x150 SE | 50 | 52 | 0.029324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_987-2_0_2_line_57 | NAYY 4x150 SE | 51 | 62 | 0.024338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_987-2_0_2_line_58 | NAYY 4x150 SE | 54 | 55 | 0.013059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_987-2_0_2_line_59 | NAYY 4x150 SE | 54 | 56 | 0.0017225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_987-2_0_2_line_60 | NAYY 4x150 SE | 55 | 57 | 0.016081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_987-2_0_2_line_61 | NAYY 4x150 SE | 56 | 58 | 0.014962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_987-2_0_2_line_62 | NAYY 4x150 SE | 57 | 62 | 0.0082727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_987-2_0_2_line_63 | NAYY 4x150 SE | 58 | 61 | 0.0063353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_987-2_0_2_line_64 | NAYY 4x150 SE | 59 | 60 | 0.044866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_987-2_0_2_line_65 | NAYY 4x150 SE | 59 | 61 | 0.016074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_987-2_0_2_line_66 | NAYY 4x150 SE | 60 | 63 | 0.02369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_987-2_0_2_line_67 | NAYY 4x150 SE | 60 | 64 | 0.057824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_987-2_0_2_line_68 | NAYY 4x150 SE | 62 | 65 | 0.02596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_987-2_0_2_line_69 | NAYY 4x150 SE | 63 | 73 | 0.013881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_987-2_0_2_line_70 | NAYY 4x150 SE | 65 | 68 | 0.0077506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_987-2_0_2_line_71 | NAYY 4x150 SE | 66 | 67 | 0.015349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_987-2_0_2_line_72 | NAYY 4x150 SE | 67 | 68 | 0.019019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_987-2_0_2_line_73 | NAYY 4x150 SE | 68 | 72 | 0.016672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_987-2_0_2_line_74 | NAYY 4x150 SE | 69 | 70 | 0.0025094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_987-2_0_2_line_75 | NAYY 4x150 SE | 71 | 78 | 0.013579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_987-2_0_2_line_76 | NAYY 4x150 SE | 72 | 74 | 0.0040047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_987-2_0_2_line_77 | NAYY 4x150 SE | 74 | 75 | 0.020907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_987-2_0_2_line_78 | NAYY 4x150 SE | 74 | 76 | 0.02926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_987-2_0_2_line_79 | NAYY 4x150 SE | 76 | 82 | 0.0034376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_987-2_0_2_line_80 | NAYY 4x150 SE | 78 | 80 | 0.018915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_987-2_0_2_line_81 | NAYY 4x150 SE | 79 | 81 | 0.016892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_987-2_0_2_line_82 | NAYY 4x150 SE | 80 | 94 | 0.011657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_987-2_0_2_line_83 | NAYY 4x150 SE | 81 | 91 | 0.0043726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_987-2_0_2_line_84 | NAYY 4x150 SE | 82 | 83 | 0.032049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_987-2_0_2_line_85 | NAYY 4x150 SE | 82 | 84 | 0.0089029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_987-2_0_2_line_86 | NAYY 4x150 SE | 83 | 85 | 0.028285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_987-2_0_2_line_87 | NAYY 4x150 SE | 83 | 86 | 0.019327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_987-2_0_2_line_88 | NAYY 4x150 SE | 84 | 87 | 0.025339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_987-2_0_2_line_89 | NAYY 4x150 SE | 85 | 88 | 0.0092588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_987-2_0_2_line_90 | NAYY 4x150 SE | 86 | 89 | 0.028394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_987-2_0_2_line_91 | NAYY 4x150 SE | 87 | 90 | 0.0010918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_987-2_0_2_line_92 | NAYY 4x150 SE | 88 | 97 | 0.020865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_987-2_0_2_line_93 | NAYY 4x150 SE | 89 | 92 | 0.10637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_987-2_0_2_line_94 | NAYY 4x150 SE | 90 | 95 | 0.020103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_987-2_0_2_line_95 | NAYY 4x150 SE | 92 | 93 | 0.14342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_987-2_0_2_line_96 | NAYY 4x150 SE | 95 | 96 | 0.0066977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_987-2_0_2_line_97 | NAYY 4x150 SE | 97 | 98 | 0.018908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_987-2_0_2_trafo_75 | 0.25 MVA 20/0.4 kV | 99 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2615427.2012 | 1234759.7235 | 2615415.3753 | 1234755.8094
1 | 2615427.2012 | 1234759.7235 | 2615454.6776 | 1234768.8174
2 | 2615402.3228 | 1234751.5596 | 2615405.8544 | 1234752.6583 | 2615415.3753 | 1234755.8094
3 | 2615454.6776 | 1234768.8174 | 2615459.7461 | 1234770.4949
4 | 2615401.9855 | 1234744.4322 | 2615402.1757 | 1234747.0009 | 2615402.3228 | 1234751.5596
5 | 2615459.7461 | 1234770.4949 | 2615518.9358 | 1234809.5972
6 | 2615386.2586 | 1234741.4675 | 2615402.1757 | 1234747.0009 | 2615401.9855 | 1234744.4322
7 | 2615385.6698 | 1234787.7943 | 2615388.1984 | 1234787.4895 | 2615390.5226 | 1234787.1953 | 2615394.9893 | 1234786.6509 | 2615403.0724 | 1234786.594
8 | 2615403.0724 | 1234786.594 | 2615403.1122 | 1234797.9909
9 | 2615385.6698 | 1234787.7943 | 2615386.3229 | 1234796.0064
10 | 2615385.6698 | 1234787.7943 | 2615384.8767 | 1234777.8049
11 | 2615401.6963 | 1234812.4506 | 2615403.142 | 1234806.5063 | 2615403.1122 | 1234797.9909
12 | 2615386.2586 | 1234741.4675 | 2615385.6742 | 1234754.5763
13 | 2615386.2586 | 1234741.4675 | 2615384.8936 | 1234731.3677
14 | 2615385.4849 | 1234758.8231 | 2615385.6742 | 1234754.5763
15 | 2615384.8936 | 1234731.3677 | 2615384.3523 | 1234727.3624
16 | 2615438.0207 | 1234624.018 | 2615435.7547 | 1234624.8688 | 2615425.8246 | 1234630.8134 | 2615423.1524 | 1234633.7195
17 | 2615438.0207 | 1234624.018 | 2615448.1942 | 1234620.1982 | 2615459.2905 | 1234616.9583 | 2615470.9446 | 1234617.4777 | 2615475.7351 | 1234618.8181
18 | 2615414.4439 | 1234644.588 | 2615418.6446 | 1234638.6219 | 2615423.1524 | 1234633.7195
19 | 2615410.4557 | 1234650.2522 | 2615414.4439 | 1234644.588
20 | 2615410.4557 | 1234650.2522 | 2615401.603 | 1234646.427 | 2615399.5211 | 1234643.7089 | 2615399.4854 | 1234643.5904
21 | 2615410.4557 | 1234650.2522 | 2615407.5019 | 1234656.9487 | 2615435.9239 | 1234676.434
22 | 2615403.3542 | 1234668.734 | 2615407.5019 | 1234656.9487 | 2615410.4557 | 1234650.2522
23 | 2615445.5116 | 1234662.417 | 2615435.9239 | 1234676.434
24 | 2615459.1221 | 1234687.7232 | 2615443.7289 | 1234681.524 | 2615435.9239 | 1234676.434
25 | 2615403.3542 | 1234668.734 | 2615388.6313 | 1234660.8134
26 | 2615403.3542 | 1234668.734 | 2615402.401 | 1234695.2513
27 | 2615419.2972 | 1234822.0202 | 2615415.1782 | 1234820.1346 | 2615413.9015 | 1234819.4069
28 | 2615401.6963 | 1234812.4506 | 2615413.9015 | 1234819.4069
29 | 2615400.3157 | 1234816.6163 | 2615401.6963 | 1234812.4506
30 | 2615400.3157 | 1234816.6163 | 2615397.3387 | 1234823.4906 | 2615394.2711 | 1234830.2979
31 | 2615394.2711 | 1234830.2979 | 2615386.422 | 1234845.309 | 2615383.6651 | 1234849.0375 | 2615382.0485 | 1234850.8122
32 | 2615382.9983 | 1234717.3444 | 2615384.3523 | 1234727.3624
33 | 2615382.9983 | 1234717.3444 | 2615384.2008 | 1234708.9091
34 | 2615382.9983 | 1234717.3444 | 2615372.493 | 1234715.59
35 | 2615384.2008 | 1234708.9091 | 2615385.5812 | 1234690.6003
36 | 2615384.2008 | 1234708.9091 | 2615391.7734 | 1234709.1905
37 | 2615354.2468 | 1234711.1019 | 2615361.1579 | 1234713.6971 | 2615372.493 | 1234715.59
38 | 2615401.8864 | 1234709.5662 | 2615391.7734 | 1234709.1905
39 | 2615354.2468 | 1234711.1019 | 2615337.4208 | 1234704.7838
40 | 2615385.4849 | 1234758.8231 | 2615384.7242 | 1234775.8846 | 2615384.8767 | 1234777.8049
41 | 2615401.8864 | 1234709.5662 | 2615402.3108 | 1234697.7591
42 | 2615401.8864 | 1234709.5662 | 2615401.8932 | 1234711.9504
43 | 2615328.6207 | 1234701.4793 | 2615337.4208 | 1234704.7838
44 | 2615459.1221 | 1234687.7232 | 2615447.4999 | 1234704.1364 | 2615445.6281 | 1234706.1683
45 | 2615459.1221 | 1234687.7232 | 2615464.3866 | 1234685.8173
46 | 2615343.7316 | 1234915.1528 | 2615347.2979 | 1234916.6348
47 | 2615343.7316 | 1234915.1528 | 2615339.5145 | 1234912.885 | 2615335.0641 | 1234910.0718
48 | 2615343.7316 | 1234915.1528 | 2615346.4581 | 1234918.1867
49 | 2615332.1808 | 1234902.6046 | 2615332.6212 | 1234906.4967 | 2615335.0641 | 1234910.0718
50 | 2615359.2579 | 1234927.691 | 2615350.0707 | 1234922.2067 | 2615346.4581 | 1234918.1867
51 | 2615332.1808 | 1234902.6046 | 2615332.1254 | 1234902.115 | 2615332.9834 | 1234898.1036 | 2615335.625 | 1234892.2308
52 | 2615382.8652 | 1234952.2997 | 2615373.4521 | 1234938.4435 | 2615363.3701 | 1234930.1458 | 2615359.2579 | 1234927.691
53 | 2615461.6173 | 1234984.6992 | 2615443.927 | 1234973.1612
54 | 2615399.4038 | 1234976.8723 | 2615443.927 | 1234973.1612
55 | 2615399.2388 | 1234976.626 | 2615399.4038 | 1234976.8723
56 | 2615399.2388 | 1234976.626 | 2615388.433 | 1234960.4955 | 2615382.8652 | 1234952.2997
57 | 2615350.7186 | 1234873.3786 | 2615342.403 | 1234881.4844 | 2615336.3401 | 1234890.641 | 2615335.625 | 1234892.2308
58 | 2615372.1286 | 1234861.7711 | 2615380.8925 | 1234852.0893
59 | 2615382.0485 | 1234850.8122 | 2615380.8925 | 1234852.0893
60 | 2615372.1286 | 1234861.7711 | 2615357.9913 | 1234869.4357
61 | 2615382.0485 | 1234850.8122 | 2615385.2063 | 1234853.0106 | 2615394.3294 | 1234859.3577
62 | 2615350.7186 | 1234873.3786 | 2615357.9913 | 1234869.4357
63 | 2615394.3294 | 1234859.3577 | 2615399.5299 | 1234862.9758
64 | 2615432.4343 | 1234893.0236 | 2615414.3874 | 1234885.9504 | 2615399.1126 | 1234880.9524 | 2615390.7312 | 1234876.428
65 | 2615390.7312 | 1234876.428 | 2615392.3573 | 1234873.9307 | 2615399.5299 | 1234862.9758
66 | 2615432.4343 | 1234893.0236 | 2615437.4846 | 1234895.0157 | 2615453.5734 | 1234903.6542
67 | 2615432.4343 | 1234893.0236 | 2615439.9211 | 1234877.667 | 2615448.9523 | 1234859.2124 | 2615452.7163 | 1234861.1122 | 2615467.1882 | 1234867.8828
68 | 2615350.7186 | 1234873.3786 | 2615346.2854 | 1234860.9374 | 2615339.9968 | 1234849.8432
69 | 2615465.803 | 1234910.2205 | 2615453.5734 | 1234903.6542
70 | 2615336.1748 | 1234843.1005 | 2615339.9968 | 1234849.8432
71 | 2615354.2663 | 1234837.2345 | 2615368.8665 | 1234832.5004
72 | 2615336.1748 | 1234843.1005 | 2615354.2663 | 1234837.2345
73 | 2615336.1748 | 1234843.1005 | 2615328.8754 | 1234835.6772 | 2615323.0469 | 1234833.3907
74 | 2615402.3108 | 1234697.7591 | 2615402.401 | 1234695.2513
75 | 2615464.3866 | 1234685.8173 | 2615468.8794 | 1234684.1908 | 2615474.6116 | 1234683.0716 | 2615477.569 | 1234683.2051
76 | 2615319.3188 | 1234831.9282 | 2615323.0469 | 1234833.3907
77 | 2615319.3188 | 1234831.9282 | 2615313.1524 | 1234845.9987 | 2615309.7846 | 1234850.4029
78 | 2615319.3188 | 1234831.9282 | 2615303.4542 | 1234826.662 | 2615291.4223 | 1234823.1144
79 | 2615288.125 | 1234822.1422 | 2615291.4223 | 1234823.1144
80 | 2615477.569 | 1234683.2051 | 2615482.4515 | 1234683.4255 | 2615495.8413 | 1234687.6075
81 | 2615388.6313 | 1234660.8134 | 2615380.9222 | 1234656.6577 | 2615377.6297 | 1234653.8252 | 2615374.9098 | 1234651.1851
82 | 2615506.9684 | 1234691.0827 | 2615495.8413 | 1234687.6075
83 | 2615374.9098 | 1234651.1851 | 2615371.7723 | 1234648.1395
84 | 2615288.125 | 1234822.1422 | 2615255.9837 | 1234821.7819
85 | 2615288.125 | 1234822.1422 | 2615280.2815 | 1234817.9302
86 | 2615255.9837 | 1234821.7819 | 2615227.7008 | 1234821.4591
87 | 2615255.9837 | 1234821.7819 | 2615249.2261 | 1234833.2939 | 2615247.7399 | 1234834.4019 | 2615245.7267 | 1234834.4078 | 2615243.6283 | 1234834.1787
88 | 2615261.0136 | 1234802.1456 | 2615269.631 | 1234812.211 | 2615280.2815 | 1234817.9302
89 | 2615218.6671 | 1234819.6254 | 2615225.8554 | 1234821.4381 | 2615227.7008 | 1234821.4591
90 | 2615243.6283 | 1234834.1787 | 2615237.2829 | 1234833.4857 | 2615223.6822 | 1234833.74 | 2615220.7996 | 1234841.6383
91 | 2615261.0136 | 1234802.1456 | 2615260.3036 | 1234801.3162
92 | 2615218.6671 | 1234819.6254 | 2615198.4352 | 1234814.5236
93 | 2615220.7996 | 1234841.6383 | 2615165.2666 | 1234932.3559
94 | 2615260.3036 | 1234801.3162 | 2615258.2219 | 1234798.8848 | 2615249.4223 | 1234784.4537
95 | 2615165.2666 | 1234932.3559 | 2615204.5671 | 1235070.291
96 | 2615245.0439 | 1234779.4266 | 2615248.5599 | 1234783.0393 | 2615249.4223 | 1234784.4537
97 | 2615181.0122 | 1234807.2111 | 2615197.3944 | 1234814.2611 | 2615198.4352 | 1234814.5236

## bus_geodata
| x | y | coords
0 | 2615427.2012 | 1234759.7235
1 | 2615415.3753 | 1234755.8094
2 | 2615454.6776 | 1234768.8174
3 | 2615402.3228 | 1234751.5596
4 | 2615459.7461 | 1234770.4949
5 | 2615401.9855 | 1234744.4322
6 | 2615518.9358 | 1234809.5972
7 | 2615403.0724 | 1234786.594
8 | 2615385.6698 | 1234787.7943
9 | 2615403.1122 | 1234797.9909
10 | 2615386.2586 | 1234741.4675
11 | 2615385.6742 | 1234754.5763
12 | 2615384.8936 | 1234731.3677
13 | 2615438.0207 | 1234624.018
14 | 2615423.1524 | 1234633.7195
15 | 2615475.7351 | 1234618.8181
16 | 2615414.4439 | 1234644.588
17 | 2615410.4557 | 1234650.2522
18 | 2615399.4854 | 1234643.5904
19 | 2615435.9239 | 1234676.434
20 | 2615403.3542 | 1234668.734
21 | 2615419.2972 | 1234822.0202
22 | 2615413.9015 | 1234819.4069
23 | 2615401.6963 | 1234812.4506
24 | 2615400.3157 | 1234816.6163
25 | 2615394.2711 | 1234830.2979
26 | 2615384.3523 | 1234727.3624
27 | 2615382.9983 | 1234717.3444
28 | 2615384.2008 | 1234708.9091
29 | 2615372.493 | 1234715.59
30 | 2615385.5812 | 1234690.6003
31 | 2615391.7734 | 1234709.1905
32 | 2615354.2468 | 1234711.1019
33 | 2615385.4849 | 1234758.8231
34 | 2615401.8864 | 1234709.5662
35 | 2615337.4208 | 1234704.7838
36 | 2615384.8767 | 1234777.8049
37 | 2615386.3229 | 1234796.0064
38 | 2615445.6281 | 1234706.1683
39 | 2615459.1221 | 1234687.7232
40 | 2615401.8932 | 1234711.9504
41 | 2615347.2979 | 1234916.6348
42 | 2615343.7316 | 1234915.1528
43 | 2615335.0641 | 1234910.0718
44 | 2615346.4581 | 1234918.1867
45 | 2615332.1808 | 1234902.6046
46 | 2615359.2579 | 1234927.691
47 | 2615443.927 | 1234973.1612
48 | 2615461.6173 | 1234984.6992
49 | 2615399.4038 | 1234976.8723
50 | 2615399.2388 | 1234976.626
51 | 2615335.625 | 1234892.2308
52 | 2615382.8652 | 1234952.2997
53 | 2615328.6207 | 1234701.4793
54 | 2615380.8925 | 1234852.0893
55 | 2615372.1286 | 1234861.7711
56 | 2615382.0485 | 1234850.8122
57 | 2615357.9913 | 1234869.4357
58 | 2615394.3294 | 1234859.3577
59 | 2615390.7312 | 1234876.428
60 | 2615432.4343 | 1234893.0236
61 | 2615399.5299 | 1234862.9758
62 | 2615350.7186 | 1234873.3786
63 | 2615453.5734 | 1234903.6542
64 | 2615467.1882 | 1234867.8828
65 | 2615339.9968 | 1234849.8432
66 | 2615368.8665 | 1234832.5004
67 | 2615354.2663 | 1234837.2344
68 | 2615336.1748 | 1234843.1005
69 | 2615402.3108 | 1234697.7591
70 | 2615402.401 | 1234695.2513
71 | 2615464.3866 | 1234685.8173
72 | 2615323.0469 | 1234833.3907
73 | 2615465.803 | 1234910.2205
74 | 2615319.3188 | 1234831.9282
75 | 2615309.7846 | 1234850.4029
76 | 2615291.4223 | 1234823.1144
77 | 2615445.5116 | 1234662.417
78 | 2615477.569 | 1234683.2051
79 | 2615388.6313 | 1234660.8134
80 | 2615495.8413 | 1234687.6075
81 | 2615374.9098 | 1234651.1851
82 | 2615288.125 | 1234822.1422
83 | 2615255.9837 | 1234821.7819
84 | 2615280.2815 | 1234817.9302
85 | 2615227.7008 | 1234821.4591
86 | 2615243.6283 | 1234834.1787
87 | 2615261.0136 | 1234802.1456
88 | 2615218.6671 | 1234819.6254
89 | 2615220.7996 | 1234841.6383
90 | 2615260.3036 | 1234801.3162
91 | 2615371.7723 | 1234648.1395
92 | 2615165.2666 | 1234932.3559
93 | 2615204.5671 | 1235070.291
94 | 2615506.9684 | 1234691.0827
95 | 2615249.4223 | 1234784.4537
96 | 2615245.0439 | 1234779.4266
97 | 2615198.4352 | 1234814.5236
98 | 2615181.0122 | 1234807.2111
99 | 2615385.6698 | 1234787.7943

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1