## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2824-1_1_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_2824-1_1_3_node_127 | 0.4 | n |  | TRUE
2 | bus_LV_2824-1_1_3_node_129 | 0.4 | n |  | TRUE
3 | bus_LV_2824-1_1_3_node_155 | 0.4 | n |  | TRUE
4 | bus_LV_2824-1_1_3_node_132 | 0.4 | n |  | TRUE
5 | bus_LV_2824-1_1_3_node_133 | 0.4 | n |  | TRUE
6 | bus_LV_2824-1_1_3_node_134 | 0.4 | n |  | TRUE
7 | bus_LV_2824-1_1_3_node_135 | 0.4 | n |  | TRUE
8 | bus_LV_2824-1_1_3_node_136 | 0.4 | n |  | TRUE
9 | bus_LV_2824-1_1_3_node_159 | 0.4 | n |  | TRUE
10 | bus_LV_2824-1_1_3_node_158 | 0.4 | n |  | TRUE
11 | bus_LV_2824-1_1_3_node_157 | 0.4 | n |  | TRUE
12 | bus_LV_2824-1_1_3_node_142 | 0.4 | n |  | TRUE
13 | bus_LV_2824-1_1_3_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_2824-1_1_3_node_143 | 0.4 | n |  | TRUE
15 | bus_LV_2824-1_1_3_node_156 | 0.4 | n |  | TRUE
16 | bus_LV_2824-1_1_3_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_2824-1_1_3_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_2824-1_1_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_2824-1_1_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_2824-1_1_3_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_2824-1_1_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_2824-1_1_3_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_2824-1_1_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_2824-1_1_3_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_2824-1_1_3_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_2824-1_1_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_2824-1_1_3_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_2824-1_1_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_2824-1_1_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_2824-1_1_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_2824-1_1_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_2824-1_1_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_2824-1_1_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_2824-1_1_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_2824-1_1_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_2824-1_1_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_2824-1_1_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_2824-1_1_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_2824-1_1_3_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_2824-1_1_3_node_124 | 0.4 | n |  | TRUE
41 | bus_LV_2824-1_1_3_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_2824-1_1_3_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_2824-1_1_3_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_2824-1_1_3_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_2824-1_1_3_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_2824-1_1_3_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_2824-1_1_3_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_2824-1_1_3_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_2824-1_1_3_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_2824-1_1_3_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_2824-1_1_3_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_2824-1_1_3_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_2824-1_1_3_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_2824-1_1_3_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_2824-1_1_3_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_2824-1_1_3_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_2824-1_1_3_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_2824-1_1_3_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_2824-1_1_3_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_2824-1_1_3_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_2824-1_1_3_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_2824-1_1_3_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_2824-1_1_3_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_2824-1_1_3_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_2824-1_1_3_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_2824-1_1_3_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_2824-1_1_3_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_2824-1_1_3_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_2824-1_1_3_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_2824-1_1_3_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_2824-1_1_3_node_147 | 0.4 | n |  | TRUE
72 | bus_LV_2824-1_1_3_node_126 | 0.4 | n |  | TRUE
73 | bus_MV_295_0_node_16 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2824-1_1_3_load_128 | 0 | 0.0021713 | 0.00054418 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2824-1_1_3_load_127 | 1 | 0.0023414 | 0.0005868 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2824-1_1_3_load_129 | 2 | 0.0049102 | 0.0012306 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2824-1_1_3_load_155 | 3 | 0.0021145 | 0.00052995 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2824-1_1_3_load_132 | 4 | 0.0022981 | 0.00057595 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2824-1_1_3_load_133 | 5 | 0.0039552 | 0.00099127 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2824-1_1_3_load_135 | 7 | 0.0023559 | 0.00059046 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2824-1_1_3_load_159 | 9 | 0.00065929 | 0.00016523 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2824-1_1_3_load_158 | 10 | 0.00094848 | 0.00023771 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2824-1_1_3_load_157 | 11 | 0.00053034 | 0.00013291 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2824-1_1_3_load_142 | 12 | 0.016467 | 0.0041271 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2824-1_1_3_load_37 | 13 | 0.013722 | 0.003439 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2824-1_1_3_load_143 | 14 | 0.0030029 | 0.0007526 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2824-1_1_3_load_156 | 15 | 0.0031809 | 0.0007972 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2824-1_1_3_load_59 | 16 | 0.0047019 | 0.0011784 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2824-1_1_3_load_31 | 17 | 0.0062567 | 0.0015681 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2824-1_1_3_load_18 | 18 | 0.0023167 | 0.00058063 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2824-1_1_3_load_19 | 19 | 0.0027064 | 0.00067828 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2824-1_1_3_load_20 | 20 | 0.0018073 | 0.00045296 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2824-1_1_3_load_21 | 21 | 0.0022232 | 0.00055718 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2824-1_1_3_load_23 | 23 | 0.0020463 | 0.00051286 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2824-1_1_3_load_58 | 24 | 0.0029738 | 0.00074532 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2824-1_1_3_load_24 | 25 | 0.0017218 | 0.00043152 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2824-1_1_3_load_26 | 28 | 0.0026364 | 0.00066073 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2824-1_1_3_load_27 | 29 | 0.0017725 | 0.00044423 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2824-1_1_3_load_29 | 31 | 0.016764 | 0.0042015 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2824-1_1_3_load_30 | 32 | 0.0014591 | 0.00036568 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2824-1_1_3_load_32 | 33 | 0.0047109 | 0.0011807 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2824-1_1_3_load_35 | 34 | 0.0044166 | 0.0011069 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2824-1_1_3_load_34 | 35 | 0.0036007 | 0.00090241 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2824-1_1_3_load_38 | 37 | 0.0023224 | 0.00058205 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2824-1_1_3_load_39 | 38 | 0.0075152 | 0.0018835 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2824-1_1_3_load_40 | 39 | 0.0030417 | 0.00076232 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2824-1_1_3_load_124 | 40 | 0.0045247 | 0.001134 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2824-1_1_3_load_41 | 42 | 0.0070832 | 0.0017752 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2824-1_1_3_load_48 | 43 | 0.0012588 | 0.0003155 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2824-1_1_3_load_55 | 44 | 0.0016351 | 0.00040979 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2824-1_1_3_load_43 | 45 | 0.0035015 | 0.00087755 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2824-1_1_3_load_44 | 46 | 0.010628 | 0.0026637 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2824-1_1_3_load_45 | 47 | 0.0036606 | 0.00091742 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2824-1_1_3_load_47 | 48 | 0.0058104 | 0.0014562 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2824-1_1_3_load_54 | 50 | 0.0035643 | 0.0008933 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2824-1_1_3_load_50 | 51 | 0.0035578 | 0.00089167 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2824-1_1_3_load_49 | 52 | 0.011817 | 0.0029615 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2824-1_1_3_load_57 | 53 | 0.0034263 | 0.00085871 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2824-1_1_3_load_51 | 54 | 0.0018537 | 0.00046458 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2824-1_1_3_load_52 | 55 | 0.0019254 | 0.00048254 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2824-1_1_3_load_63 | 56 | 0.0046553 | 0.0011667 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2824-1_1_3_load_60 | 57 | 0.0065901 | 0.0016516 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2824-1_1_3_load_62 | 58 | 0.0014223 | 0.00035646 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2824-1_1_3_load_61 | 59 | 0.010026 | 0.0025127 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2824-1_1_3_load_64 | 60 | 0.0035453 | 0.00088853 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2824-1_1_3_load_65 | 61 | 0.0016458 | 0.00041248 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2824-1_1_3_load_66 | 62 | 0.0057392 | 0.0014384 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2824-1_1_3_load_68 | 64 | 0.0014065 | 0.0003525 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2824-1_1_3_load_70 | 66 | 0.0036392 | 0.00091207 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2824-1_1_3_load_72 | 67 | 0.0042577 | 0.0010671 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2824-1_1_3_load_71 | 68 | 0.010494 | 0.00263 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2824-1_1_3_load_75 | 70 | 0.004149 | 0.0010398 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2824-1_1_3_load_147 | 71 | 0.0030787 | 0.0007716 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2824-1_1_3_load_126 | 72 | 0.002211 | 0.00055414 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2824-1_1_3_line_0 |  | 0 | 1 | 0.031077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2824-1_1_3_line_1 |  | 0 | 2 | 0.012023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2824-1_1_3_line_2 |  | 1 | 72 | 0.0069891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2824-1_1_3_line_3 |  | 2 | 3 | 0.0050072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2824-1_1_3_line_4 |  | 3 | 7 | 0.0005335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2824-1_1_3_line_5 |  | 4 | 5 | 0.0010949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2824-1_1_3_line_6 |  | 4 | 6 | 0.012367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2824-1_1_3_line_7 |  | 5 | 7 | 0.0052241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2824-1_1_3_line_8 |  | 6 | 8 | 0.026389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2824-1_1_3_line_9 |  | 8 | 9 | 0.019981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2824-1_1_3_line_10 |  | 9 | 10 | 0.0054402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2824-1_1_3_line_11 |  | 10 | 11 | 0.016621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2824-1_1_3_line_12 |  | 11 | 71 | 0.0023812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2824-1_1_3_line_13 |  | 12 | 13 | 0.0077962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2824-1_1_3_line_14 |  | 12 | 14 | 0.01267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2824-1_1_3_line_15 |  | 13 | 36 | 0.051646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2824-1_1_3_line_16 |  | 15 | 16 | 0.018452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2824-1_1_3_line_17 |  | 15 | 17 | 0.0020263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2824-1_1_3_line_18 |  | 16 | 22 | 0.0077154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2824-1_1_3_line_19 |  | 17 | 30 | 0.014994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2824-1_1_3_line_20 |  | 18 | 19 | 0.0073109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2824-1_1_3_line_21 |  | 18 | 20 | 0.0087649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2824-1_1_3_line_22 |  | 19 | 21 | 0.022832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2824-1_1_3_line_23 |  | 20 | 22 | 0.032806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2824-1_1_3_line_24 |  | 21 | 23 | 0.0090159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2824-1_1_3_line_25 |  | 22 | 24 | 0.0049297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2824-1_1_3_line_26 |  | 23 | 25 | 0.009936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2824-1_1_3_line_27 |  | 24 | 58 | 0.011512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2824-1_1_3_line_28 |  | 25 | 26 | 0.014396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2824-1_1_3_line_29 |  | 26 | 27 | 0.025299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2824-1_1_3_line_30 |  | 27 | 56 | 0.046166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2824-1_1_3_line_31 |  | 27 | 49 | 0.027159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2824-1_1_3_line_32 |  | 27 | 55 | 0.013064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2824-1_1_3_line_33 |  | 28 | 29 | 0.018957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2824-1_1_3_line_34 |  | 28 | 30 | 0.015935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2824-1_1_3_line_35 |  | 29 | 31 | 0.018016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2824-1_1_3_line_36 |  | 30 | 32 | 0.009437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2824-1_1_3_line_37 |  | 31 | 33 | 0.019803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2824-1_1_3_line_38 |  | 32 | 34 | 0.022874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2824-1_1_3_line_39 |  | 34 | 35 | 0.0020426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2824-1_1_3_line_40 |  | 35 | 36 | 0.018321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2824-1_1_3_line_41 |  | 37 | 38 | 0.026695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2824-1_1_3_line_42 |  | 37 | 39 | 0.027145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2824-1_1_3_line_43 |  | 38 | 40 | 0.025455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2824-1_1_3_line_44 |  | 39 | 41 | 0.029327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2824-1_1_3_line_45 |  | 40 | 72 | 0.035839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2824-1_1_3_line_46 |  | 41 | 44 | 0.022091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2824-1_1_3_line_47 |  | 42 | 43 | 0.010766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2824-1_1_3_line_48 |  | 43 | 52 | 0.03225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2824-1_1_3_line_49 |  | 44 | 50 | 0.026762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2824-1_1_3_line_50 |  | 45 | 46 | 0.02279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2824-1_1_3_line_51 |  | 45 | 47 | 0.0062829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2824-1_1_3_line_52 |  | 47 | 48 | 0.018866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2824-1_1_3_line_53 |  | 48 | 51 | 0.022156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_2824-1_1_3_line_54 |  | 49 | 50 | 0.013027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2824-1_1_3_line_55 |  | 51 | 53 | 0.020981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_2824-1_1_3_line_56 |  | 51 | 52 | 0.0057284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2824-1_1_3_line_57 |  | 53 | 57 | 0.0036396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_2824-1_1_3_line_58 |  | 54 | 55 | 0.024778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2824-1_1_3_line_59 |  | 56 | 60 | 0.023921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2824-1_1_3_line_60 |  | 57 | 59 | 0.0049722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_2824-1_1_3_line_61 |  | 58 | 59 | 0.002226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_2824-1_1_3_line_62 |  | 60 | 61 | 0.0019273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2824-1_1_3_line_63 |  | 61 | 62 | 0.018286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2824-1_1_3_line_64 |  | 62 | 63 | 0.0089442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2824-1_1_3_line_65 |  | 63 | 64 | 0.01891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2824-1_1_3_line_66 |  | 63 | 65 | 0.004328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2824-1_1_3_line_67 |  | 64 | 66 | 0.01547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2824-1_1_3_line_68 |  | 65 | 67 | 0.014027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2824-1_1_3_line_69 |  | 66 | 68 | 0.00038877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2824-1_1_3_line_70 |  | 67 | 69 | 0.024872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2824-1_1_3_line_71 |  | 69 | 70 | 0.021073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2824-1_1_3_trafo_47 | 0.63 MVA 20/0.4 kV | 73 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2621248.1754 | 1261530.0179 | 2621278.9936 | 1261534.0234
1 | 2621290.9164 | 1261535.5731 | 2621278.9936 | 1261534.0234
2 | 2621241.2446 | 1261529.1171 | 2621248.1754 | 1261530.0179
3 | 2621290.9164 | 1261535.5731 | 2621295.8818 | 1261536.2185
4 | 2621295.8818 | 1261536.2185 | 2621296.4108 | 1261536.2872
5 | 2621302.6772 | 1261537.1017 | 2621301.5914 | 1261536.9605
6 | 2621314.9319 | 1261538.7654 | 2621303.7039 | 1261537.2351 | 2621302.6772 | 1261537.1017
7 | 2621296.4108 | 1261536.2872 | 2621301.5914 | 1261536.9605
8 | 2621314.9319 | 1261538.7654 | 2621314.8803 | 1261515.427 | 2621315.0118 | 1261512.3809
9 | 2621315.0118 | 1261512.3809 | 2621300.1611 | 1261510.4818 | 2621295.1841 | 1261509.9107
10 | 2621289.7794 | 1261509.2905 | 2621295.1841 | 1261509.9107
11 | 2621289.7794 | 1261509.2905 | 2621273.2663 | 1261507.3955
12 | 2621273.2663 | 1261507.3955 | 2621270.9006 | 1261507.124
13 | 2621253.2436 | 1261775.5352 | 2621256.2331 | 1261776.1066 | 2621260.9213 | 1261776.8864
14 | 2621273.4193 | 1261778.9652 | 2621260.9213 | 1261776.8864
15 | 2621202.5155 | 1261765.8406 | 2621253.2436 | 1261775.5352
16 | 2621212.4723 | 1261678.2577 | 2621210.3884 | 1261696.5921
17 | 2621210.1595 | 1261698.6055 | 2621210.3884 | 1261696.5921
18 | 2621213.3436 | 1261670.5917 | 2621212.4723 | 1261678.2577
19 | 2621208.4662 | 1261713.5037 | 2621210.1595 | 1261698.6055
20 | 2621164.8155 | 1261664.7227 | 2621172.0735 | 1261665.6005
21 | 2621180.775 | 1261666.6529 | 2621172.0735 | 1261665.6005
22 | 2621164.8155 | 1261664.7227 | 2621142.1488 | 1261661.9814
23 | 2621213.3436 | 1261670.5917 | 2621180.775 | 1261666.6529
24 | 2621142.1488 | 1261661.9814 | 2621133.1981 | 1261660.8989
25 | 2621213.3436 | 1261670.5917 | 2621213.7629 | 1261665.6799
26 | 2621123.334 | 1261659.706 | 2621133.1981 | 1261660.8989
27 | 2621213.7629 | 1261665.6799 | 2621214.7421 | 1261654.2097
28 | 2621109.0421 | 1261657.9775 | 2621123.334 | 1261659.706
29 | 2621110.4807 | 1261632.7209 | 2621109.0421 | 1261657.9775
30 | 2621110.4807 | 1261632.7209 | 2621064.8102 | 1261639.4641
31 | 2621110.4807 | 1261632.7209 | 2621112.0238 | 1261605.6078
32 | 2621110.4807 | 1261632.7209 | 2621123.3982 | 1261634.6743
33 | 2621192.6882 | 1261711.2687 | 2621173.9182 | 1261708.6099
34 | 2621208.4662 | 1261713.5037 | 2621192.6882 | 1261711.2687
35 | 2621156.0798 | 1261706.083 | 2621173.9182 | 1261708.6099
36 | 2621208.4662 | 1261713.5037 | 2621207.4001 | 1261722.8803
37 | 2621136.4729 | 1261703.3056 | 2621156.0798 | 1261706.083
38 | 2621204.816 | 1261745.6074 | 2621207.4001 | 1261722.8803
39 | 2621204.5852 | 1261747.6369 | 2621204.816 | 1261745.6074
40 | 2621202.5155 | 1261765.8406 | 2621204.5852 | 1261747.6369
41 | 2621171.0871 | 1261547.2761 | 2621197.7314 | 1261548.9258
42 | 2621171.0871 | 1261547.2761 | 2621143.9936 | 1261545.5985
43 | 2621197.7314 | 1261548.9258 | 2621205.6751 | 1261524.7425
44 | 2621114.7228 | 1261543.7861 | 2621143.9936 | 1261545.5985
45 | 2621205.6751 | 1261524.7425 | 2621218.1928 | 1261526.121 | 2621241.2446 | 1261529.1171
46 | 2621114.7228 | 1261543.7861 | 2621113.7592 | 1261565.856
47 | 2621220.3614 | 1261573.8496 | 2621219.718 | 1261584.5961
48 | 2621217.7908 | 1261616.7885 | 2621219.718 | 1261584.5961
49 | 2621113.7592 | 1261565.856 | 2621112.592 | 1261592.593
50 | 2621170.7399 | 1261615.0196 | 2621148.2376 | 1261611.4126
51 | 2621170.7399 | 1261615.0196 | 2621176.9436 | 1261616.014
52 | 2621176.9436 | 1261616.014 | 2621195.5714 | 1261618.9999
53 | 2621217.4485 | 1261622.5067 | 2621195.5714 | 1261618.9999
54 | 2621112.0238 | 1261605.6078 | 2621112.592 | 1261592.593
55 | 2621217.4485 | 1261622.5067 | 2621215.6639 | 1261643.4112
56 | 2621217.4485 | 1261622.5067 | 2621217.7908 | 1261616.7885
57 | 2621215.6639 | 1261643.4112 | 2621215.3543 | 1261647.0376
58 | 2621147.8978 | 1261638.3793 | 2621123.3982 | 1261634.6743
59 | 2621064.8102 | 1261639.4641 | 2621059.1859 | 1261616.2138
60 | 2621214.9314 | 1261651.9918 | 2621215.3543 | 1261647.0376
61 | 2621214.9314 | 1261651.9918 | 2621214.7421 | 1261654.2097
62 | 2621058.7328 | 1261614.3405 | 2621059.1859 | 1261616.2138
63 | 2621058.7328 | 1261614.3405 | 2621056.0908 | 1261603.4185 | 2621056.6732 | 1261596.3936
64 | 2621048.0475 | 1261594.028 | 2621056.6732 | 1261596.3936
65 | 2621048.0475 | 1261594.028 | 2621054.3341 | 1261576.1936
66 | 2621048.0475 | 1261594.028 | 2621046.3307 | 1261598.0024
67 | 2621054.3341 | 1261576.1936 | 2621058.9094 | 1261561.4156
68 | 2621046.3307 | 1261598.0024 | 2621038.2054 | 1261586.5686
69 | 2621058.9094 | 1261561.4156 | 2621059.0244 | 1261561.0443
70 | 2621038.2054 | 1261586.5686 | 2621014.6842 | 1261594.6546
71 | 2621014.6842 | 1261594.6546 | 2621005.4155 | 1261580.2452 | 2621003.1629 | 1261577.0129

## bus_geodata
| x | y | coords
0 | 2621278.9936 | 1261534.0234
1 | 2621248.1754 | 1261530.0179
2 | 2621290.9164 | 1261535.5731
3 | 2621295.8818 | 1261536.2185
4 | 2621302.6772 | 1261537.1017
5 | 2621301.5914 | 1261536.9605
6 | 2621314.9319 | 1261538.7654
7 | 2621296.4108 | 1261536.2872
8 | 2621315.0118 | 1261512.3809
9 | 2621295.1841 | 1261509.9107
10 | 2621289.7794 | 1261509.2905
11 | 2621273.2663 | 1261507.3955
12 | 2621260.9213 | 1261776.8864
13 | 2621253.2436 | 1261775.5352
14 | 2621273.4193 | 1261778.9652
15 | 2621210.3884 | 1261696.5921
16 | 2621212.4723 | 1261678.2577
17 | 2621210.1595 | 1261698.6055
18 | 2621172.0735 | 1261665.6005
19 | 2621164.8155 | 1261664.7227
20 | 2621180.775 | 1261666.6529
21 | 2621142.1488 | 1261661.9814
22 | 2621213.3436 | 1261670.5917
23 | 2621133.1981 | 1261660.8989
24 | 2621213.7629 | 1261665.6799
25 | 2621123.334 | 1261659.706
26 | 2621109.0421 | 1261657.9775
27 | 2621110.4807 | 1261632.7209
28 | 2621192.6882 | 1261711.2687
29 | 2621173.9182 | 1261708.6099
30 | 2621208.4662 | 1261713.5037
31 | 2621156.0798 | 1261706.083
32 | 2621207.4001 | 1261722.8803
33 | 2621136.4729 | 1261703.3056
34 | 2621204.816 | 1261745.6074
35 | 2621204.5852 | 1261747.6369
36 | 2621202.5155 | 1261765.8406
37 | 2621171.0871 | 1261547.2761
38 | 2621197.7314 | 1261548.9258
39 | 2621143.9936 | 1261545.5985
40 | 2621205.6751 | 1261524.7425
41 | 2621114.7228 | 1261543.7861
42 | 2621220.3614 | 1261573.8496
43 | 2621219.718 | 1261584.5961
44 | 2621113.7592 | 1261565.856
45 | 2621170.7399 | 1261615.0196
46 | 2621148.2376 | 1261611.4126
47 | 2621176.9436 | 1261616.014
48 | 2621195.5714 | 1261618.9999
49 | 2621112.0238 | 1261605.6078
50 | 2621112.592 | 1261592.593
51 | 2621217.4485 | 1261622.5067
52 | 2621217.7908 | 1261616.7885
53 | 2621215.6639 | 1261643.4112
54 | 2621147.8978 | 1261638.3793
55 | 2621123.3982 | 1261634.6743
56 | 2621064.8102 | 1261639.4641
57 | 2621215.3543 | 1261647.0376
58 | 2621214.7421 | 1261654.2097
59 | 2621214.9314 | 1261651.9918
60 | 2621059.1859 | 1261616.2138
61 | 2621058.7328 | 1261614.3405
62 | 2621056.6732 | 1261596.3936
63 | 2621048.0475 | 1261594.028
64 | 2621054.3341 | 1261576.1936
65 | 2621046.3307 | 1261598.0024
66 | 2621058.9094 | 1261561.4156
67 | 2621038.2054 | 1261586.5686
68 | 2621059.0244 | 1261561.0443
69 | 2621014.6842 | 1261594.6546
70 | 2621003.1629 | 1261577.0129
71 | 2621270.9006 | 1261507.124
72 | 2621241.2446 | 1261529.1171
73 | 2621217.4485 | 1261622.5067

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1