## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2828-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2828-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2828-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2828-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2828-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2828-4_0_4_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_2828-4_0_4_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_2828-4_0_4_node_79 | 0.4 | n |  | TRUE
8 | bus_LV_2828-4_0_4_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_2828-4_0_4_node_69 | 0.4 | n |  | TRUE
10 | bus_LV_2828-4_0_4_node_81 | 0.4 | n |  | TRUE
11 | bus_LV_2828-4_0_4_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_2828-4_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_2828-4_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_2828-4_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2828-4_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2828-4_0_4_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_2828-4_0_4_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_2828-4_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2828-4_0_4_node_77 | 0.4 | n |  | TRUE
20 | bus_LV_2828-4_0_4_node_78 | 0.4 | n |  | TRUE
21 | bus_LV_2828-4_0_4_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_2828-4_0_4_node_75 | 0.4 | n |  | TRUE
23 | bus_LV_2828-4_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2828-4_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2828-4_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_2828-4_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2828-4_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2828-4_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2828-4_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_2828-4_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_2828-4_0_4_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_2828-4_0_4_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_2828-4_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_2828-4_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_2828-4_0_4_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_2828-4_0_4_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_2828-4_0_4_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_2828-4_0_4_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_2828-4_0_4_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_2828-4_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_2828-4_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_2828-4_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_2828-4_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_2828-4_0_4_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_2828-4_0_4_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_2828-4_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_2828-4_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_2828-4_0_4_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_2828-4_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_2828-4_0_4_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_2828-4_0_4_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_2828-4_0_4_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_2828-4_0_4_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_2828-4_0_4_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_2828-4_0_4_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_2828-4_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_2828-4_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_2828-4_0_4_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_2828-4_0_4_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_2828-4_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_2828-4_0_4_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_2828-4_0_4_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_2828-4_0_4_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_2828-4_0_4_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_2828-4_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_2828-4_0_4_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_2828-4_0_4_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_2828-4_0_4_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_2828-4_0_4_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_2828-4_0_4_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_2828-4_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_2828-4_0_4_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_2828-4_0_4_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_2828-4_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_2828-4_0_4_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_2828-4_0_4_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_2828-4_0_4_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_2828-4_0_4_node_70 | 0.4 | n |  | TRUE
79 | bus_MV_296_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2828-4_0_4_load_0 | 0 | 0.0070918 | 0.0017774 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2828-4_0_4_load_41 | 5 | 0.0026222 | 0.00065717 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2828-4_0_4_load_40 | 6 | 0.0009846 | 0.00024676 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2828-4_0_4_load_79 | 7 | 0.0013008 | 0.000326 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2828-4_0_4_load_42 | 8 | 0.0033626 | 0.00084275 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2828-4_0_4_load_69 | 9 | 0.0065023 | 0.0016296 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2828-4_0_4_load_81 | 10 | 0.0074196 | 0.0018595 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2828-4_0_4_load_68 | 11 | 0.011819 | 0.0029622 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2828-4_0_4_load_5 | 12 | 0.0032207 | 0.00080719 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2828-4_0_4_load_74 | 16 | 0.0021944 | 0.00054996 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2828-4_0_4_load_76 | 17 | 0.0052363 | 0.0013124 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2828-4_0_4_load_78 | 20 | 0.019617 | 0.0049165 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2828-4_0_4_load_39 | 21 | 0.011461 | 0.0028723 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2828-4_0_4_load_75 | 22 | 0.016871 | 0.0042283 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2828-4_0_4_load_12 | 23 | 0.015926 | 0.0039914 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2828-4_0_4_load_13 | 24 | 0.0069355 | 0.0017382 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2828-4_0_4_load_16 | 27 | 0.020559 | 0.0051527 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2828-4_0_4_load_17 | 28 | 0.009932 | 0.0024892 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2828-4_0_4_load_36 | 29 | 0.0072241 | 0.0018105 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2828-4_0_4_load_37 | 32 | 0.0021648 | 0.00054254 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2828-4_0_4_load_19 | 33 | 0.0024453 | 0.00061284 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2828-4_0_4_load_20 | 34 | 0.01012 | 0.0025362 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2828-4_0_4_load_35 | 35 | 0.0047136 | 0.0011813 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2828-4_0_4_load_59 | 36 | 0.0069843 | 0.0017504 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2828-4_0_4_load_21 | 38 | 0.0023282 | 0.00058351 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2828-4_0_4_load_22 | 39 | 0.0033063 | 0.00082863 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2828-4_0_4_load_23 | 40 | 0.0012312 | 0.00030858 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2828-4_0_4_load_25 | 42 | 0.0018997 | 0.00047611 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2828-4_0_4_load_26 | 43 | 0.0016023 | 0.00040157 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2828-4_0_4_load_80 | 45 | 0.0047905 | 0.0012006 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2828-4_0_4_load_28 | 46 | 0.010057 | 0.0025205 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2828-4_0_4_load_29 | 47 | 0.0047481 | 0.00119 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2828-4_0_4_load_30 | 48 | 0.010393 | 0.0026046 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2828-4_0_4_load_31 | 49 | 0.0031029 | 0.00077765 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2828-4_0_4_load_32 | 50 | 0.013585 | 0.0034047 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2828-4_0_4_load_65 | 51 | 0.0011422 | 0.00028627 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2828-4_0_4_load_62 | 52 | 0.0070935 | 0.0017778 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2828-4_0_4_load_63 | 53 | 0.029885 | 0.0074899 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2828-4_0_4_load_54 | 54 | 0.01129 | 0.0028295 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2828-4_0_4_load_48 | 56 | 0.0017611 | 0.00044137 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2828-4_0_4_load_45 | 57 | 0.004989 | 0.0012504 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2828-4_0_4_load_52 | 58 | 0.0051103 | 0.0012808 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2828-4_0_4_load_56 | 59 | 0.0049033 | 0.0012289 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2828-4_0_4_load_46 | 60 | 0.0089454 | 0.0022419 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2828-4_0_4_load_51 | 61 | 0.008269 | 0.0020724 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2828-4_0_4_load_38 | 62 | 0.0041322 | 0.0010356 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2828-4_0_4_load_67 | 63 | 0.0021538 | 0.00053978 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2828-4_0_4_load_73 | 64 | 0.0031514 | 0.0007898 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2828-4_0_4_load_43 | 65 | 0.00919 | 0.0023032 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2828-4_0_4_load_44 | 66 | 0.026879 | 0.0067366 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2828-4_0_4_load_49 | 67 | 0.0079067 | 0.0019816 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2828-4_0_4_load_57 | 70 | 0.0017148 | 0.00042976 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2828-4_0_4_load_58 | 71 | 0.0041385 | 0.0010372 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2828-4_0_4_load_55 | 72 | 0.011314 | 0.0028355 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2828-4_0_4_load_64 | 74 | 0.0042998 | 0.0010776 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2828-4_0_4_load_66 | 75 | 0.0050579 | 0.0012676 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2828-4_0_4_load_72 | 77 | 0.002806 | 0.00070325 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2828-4_0_4_load_70 | 78 | 0.0066364 | 0.0016632 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2828-4_0_4_line_0 |  | 0 | 1 | 0.011607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2828-4_0_4_line_1 |  | 0 | 2 | 0.043205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2828-4_0_4_line_2 |  | 1 | 3 | 0.096946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2828-4_0_4_line_3 |  | 2 | 4 | 0.09343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2828-4_0_4_line_4 |  | 3 | 5 | 0.0021398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2828-4_0_4_line_5 |  | 3 | 6 | 0.027079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2828-4_0_4_line_6 |  | 4 | 7 | 0.056479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2828-4_0_4_line_7 |  | 5 | 8 | 0.019273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2828-4_0_4_line_8 |  | 7 | 9 | 0.067493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2828-4_0_4_line_9 |  | 8 | 65 | 0.0077184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2828-4_0_4_line_10 |  | 9 | 78 | 0.034851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2828-4_0_4_line_11 |  | 9 | 11 | 0.032543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2828-4_0_4_line_12 |  | 10 | 11 | 0.043329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2828-4_0_4_line_13 |  | 12 | 13 | 0.039364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2828-4_0_4_line_14 |  | 13 | 14 | 0.071348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2828-4_0_4_line_15 |  | 14 | 15 | 0.050357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2828-4_0_4_line_16 |  | 14 | 16 | 0.0087287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2828-4_0_4_line_17 |  | 15 | 17 | 0.027545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2828-4_0_4_line_18 |  | 16 | 21 | 0.029439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2828-4_0_4_line_19 |  | 17 | 19 | 0.024682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2828-4_0_4_line_20 |  | 18 | 19 | 0.048498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2828-4_0_4_line_21 |  | 18 | 20 | 0.014317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2828-4_0_4_line_22 |  | 19 | 22 | 0.033408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2828-4_0_4_line_23 |  | 21 | 25 | 0.01605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2828-4_0_4_line_24 |  | 22 | 41 | 0.032922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2828-4_0_4_line_25 |  | 23 | 24 | 0.0013013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2828-4_0_4_line_26 |  | 24 | 25 | 0.022568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2828-4_0_4_line_27 |  | 25 | 29 | 0.01612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2828-4_0_4_line_28 |  | 26 | 27 | 0.026598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2828-4_0_4_line_29 |  | 26 | 28 | 0.028419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2828-4_0_4_line_30 |  | 27 | 30 | 0.03281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2828-4_0_4_line_31 |  | 28 | 31 | 0.0036281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2828-4_0_4_line_32 |  | 29 | 32 | 0.025299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2828-4_0_4_line_33 |  | 30 | 33 | 0.021736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2828-4_0_4_line_34 |  | 30 | 34 | 0.045783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2828-4_0_4_line_35 |  | 31 | 35 | 0.019535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2828-4_0_4_line_36 |  | 32 | 62 | 0.0177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2828-4_0_4_line_37 |  | 33 | 36 | 0.029617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2828-4_0_4_line_38 |  | 35 | 58 | 0.013337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2828-4_0_4_line_39 |  | 36 | 37 | 0.026312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2828-4_0_4_line_40 |  | 37 | 44 | 0.016671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2828-4_0_4_line_41 |  | 38 | 39 | 0.00703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2828-4_0_4_line_42 |  | 38 | 40 | 0.030316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2828-4_0_4_line_43 |  | 39 | 41 | 0.032888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2828-4_0_4_line_44 |  | 40 | 42 | 0.018487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2828-4_0_4_line_45 |  | 40 | 43 | 0.072368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2828-4_0_4_line_46 |  | 44 | 45 | 0.024781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2828-4_0_4_line_47 |  | 46 | 47 | 0.010992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2828-4_0_4_line_48 |  | 46 | 48 | 0.0045629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2828-4_0_4_line_49 |  | 47 | 49 | 0.0032043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2828-4_0_4_line_50 |  | 48 | 50 | 0.020169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2828-4_0_4_line_51 |  | 49 | 51 | 0.004509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2828-4_0_4_line_52 |  | 50 | 52 | 0.0042849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_2828-4_0_4_line_53 |  | 51 | 53 | 0.0082708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_2828-4_0_4_line_54 |  | 52 | 54 | 0.0040353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_2828-4_0_4_line_55 |  | 53 | 74 | 0.0071011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2828-4_0_4_line_56 |  | 54 | 73 | 0.0095868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_2828-4_0_4_line_57 |  | 55 | 56 | 0.035288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2828-4_0_4_line_58 |  | 55 | 57 | 0.027945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2828-4_0_4_line_59 |  | 56 | 59 | 0.047666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2828-4_0_4_line_60 |  | 57 | 60 | 0.0064055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2828-4_0_4_line_61 |  | 58 | 61 | 0.022117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_2828-4_0_4_line_62 |  | 59 | 68 | 0.0078949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2828-4_0_4_line_63 |  | 60 | 69 | 0.043809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2828-4_0_4_line_64 |  | 61 | 73 | 0.018498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_2828-4_0_4_line_65 |  | 62 | 63 | 0.0046777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2828-4_0_4_line_66 |  | 63 | 64 | 0.0061874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2828-4_0_4_line_67 |  | 64 | 77 | 0.013505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2828-4_0_4_line_68 |  | 65 | 66 | 0.024595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2828-4_0_4_line_69 |  | 66 | 67 | 0.00055959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2828-4_0_4_line_70 |  | 67 | 68 | 0.049088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2828-4_0_4_line_71 |  | 68 | 72 | 0.0017338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2828-4_0_4_line_72 |  | 69 | 70 | 0.040807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2828-4_0_4_line_73 |  | 69 | 71 | 0.012945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2828-4_0_4_line_74 |  | 72 | 73 | 0.027017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2828-4_0_4_line_75 |  | 74 | 75 | 0.025522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_2828-4_0_4_line_76 |  | 75 | 76 | 0.0035249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_2828-4_0_4_line_77 |  | 76 | 77 | 0.025945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2828-4_0_4_trafo_52 | 0.63 MVA 20/0.4 kV | 79 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2624591.8126 | 1258042.7626 | 2624598.2317 | 1258052.4336
1 | 2624622.1244 | 1258088.4304 | 2624598.2317 | 1258052.4336
2 | 2624523.2887 | 1257974.655 | 2624538.8819 | 1257984.8486 | 2624583.1597 | 1258033.2981 | 2624591.8126 | 1258042.7626
3 | 2624538.7311 | 1258130.5356 | 2624552.1084 | 1258124.1422 | 2624560.2895 | 1258120.0955 | 2624571.6293 | 1258114.2274 | 2624588.1978 | 1258105.4457 | 2624605.096 | 1258097.1768 | 2624622.1244 | 1258088.4304
4 | 2624523.2887 | 1257974.655 | 2624521.4971 | 1257973.4849
5 | 2624523.2887 | 1257974.655 | 2624537.8567 | 1257961.1617 | 2624543.7431 | 1257956.9766
6 | 2624538.7311 | 1258130.5356 | 2624524.0686 | 1258137.8132 | 2624519.6724 | 1258139.941 | 2624515.3364 | 1258142.0689 | 2624512.4977 | 1258143.0912 | 2624508.8332 | 1258143.2651 | 2624505.2059 | 1258141.7491 | 2624502.2457 | 1258139.3463 | 2624500.5276 | 1258135.5255 | 2624488.9869 | 1258137.8713
7 | 2624503.5338 | 1257967.3923 | 2624516.0935 | 1257969.9554 | 2624521.4971 | 1257973.4849
8 | 2624488.9869 | 1258137.8713 | 2624441.7184 | 1258089.694
9 | 2624503.5338 | 1257967.3923 | 2624498.799 | 1257966.426 | 2624495.9289 | 1257966.1236
10 | 2624441.7184 | 1258089.694 | 2624430.5976 | 1258097.6448 | 2624413.5125 | 1258110.1632
11 | 2624468.5946 | 1258071.3738 | 2624459.4198 | 1258077.0385 | 2624441.7184 | 1258089.694
12 | 2624468.5946 | 1258071.3738 | 2624509.5896 | 1258057.3463
13 | 2624229.7038 | 1257803.6439 | 2624234.7614 | 1257814.9611 | 2624245.9952 | 1257839.4779
14 | 2624229.7038 | 1257803.6439 | 2624231.943 | 1257803.6086 | 2624251.929 | 1257845.9745 | 2624254.2484 | 1257852.1326 | 2624255.0505 | 1257856.928 | 2624253.4311 | 1257867.6286
15 | 2624253.4311 | 1257867.6286 | 2624255.0505 | 1257856.928 | 2624254.2484 | 1257852.1326 | 2624251.929 | 1257845.9745 | 2624277.8843 | 1257835.229
16 | 2624253.4311 | 1257867.6286 | 2624261.1679 | 1257871.6698
17 | 2624277.8843 | 1257835.229 | 2624303.3312 | 1257824.684
18 | 2624286.9607 | 1257885.7575 | 2624277.9728 | 1257881.7386 | 2624262.8497 | 1257872.5483 | 2624261.1679 | 1257871.6698
19 | 2624326.1328 | 1257815.2353 | 2624303.3312 | 1257824.684
20 | 2624298.3451 | 1257798.4212 | 2624300.2942 | 1257797.4396 | 2624304.3494 | 1257795.7995 | 2624308.7191 | 1257794.6722 | 2624313.0984 | 1257793.0335 | 2624319.4403 | 1257792.6481 | 2624322.7659 | 1257792.4505 | 2624323.1728 | 1257794.3201 | 2624324.1945 | 1257798.883 | 2624324.7887 | 1257806.5573 | 2624326.1328 | 1257815.2353
21 | 2624298.3451 | 1257798.4212 | 2624296.4499 | 1257795.4558 | 2624295.4294 | 1257792.4385 | 2624295.126 | 1257789.224 | 2624295.14 | 1257785.8106 | 2624294.8854 | 1257784.874
22 | 2624326.1328 | 1257815.2353 | 2624356.999 | 1257802.454
23 | 2624302.7684 | 1257887.2105 | 2624296.2384 | 1257887.5284 | 2624288.7638 | 1257886.5638 | 2624286.9607 | 1257885.7575
24 | 2624387.416 | 1257789.8586 | 2624356.999 | 1257802.454
25 | 2624325.2032 | 1257879.3057 | 2624324.0349 | 1257879.8789
26 | 2624302.7684 | 1257887.2105 | 2624318.0527 | 1257882.8146 | 2624324.0349 | 1257879.8789
27 | 2624302.7684 | 1257887.2105 | 2624301.7726 | 1257903.3
28 | 2624363.5881 | 1257858.8519 | 2624384.2734 | 1257842.1312
29 | 2624363.5881 | 1257858.8519 | 2624370.2384 | 1257880.6161 | 2624371.8932 | 1257886.0303
30 | 2624409.7897 | 1257821.5054 | 2624384.2734 | 1257842.1312
31 | 2624372.9536 | 1257889.5 | 2624371.8932 | 1257886.0303
32 | 2624297.5555 | 1257928.1585 | 2624301.186 | 1257912.7769 | 2624301.7726 | 1257903.3
33 | 2624409.7897 | 1257821.5054 | 2624413.6928 | 1257818.3527 | 2624427.8532 | 1257809.4651
34 | 2624396.3212 | 1257851.7594 | 2624417.1568 | 1257835.7565 | 2624420.1129 | 1257833.734 | 2624409.7897 | 1257821.5054
35 | 2624372.9536 | 1257889.5 | 2624378.6604 | 1257908.1825
36 | 2624297.5555 | 1257928.1585 | 2624293.4895 | 1257945.3854
37 | 2624427.8532 | 1257809.4651 | 2624429.3389 | 1257808.5327 | 2624439.6445 | 1257803.1048 | 2624452.644 | 1257797.0765 | 2624454.4397 | 1257796.4993
38 | 2624378.6604 | 1257908.1825 | 2624382.5567 | 1257920.9378
39 | 2624479.9854 | 1257790.3958 | 2624463.9826 | 1257793.4319 | 2624454.4397 | 1257796.4993
40 | 2624496.4476 | 1257787.4729 | 2624479.9854 | 1257790.3958
41 | 2624424.9505 | 1257776.4529 | 2624418.1965 | 1257778.4031
42 | 2624424.9505 | 1257776.4529 | 2624454.077 | 1257768.0424
43 | 2624387.416 | 1257789.8586 | 2624407.8439 | 1257781.3925 | 2624418.1965 | 1257778.4031
44 | 2624471.8384 | 1257762.9138 | 2624454.077 | 1257768.0424
45 | 2624454.077 | 1257768.0424 | 2624425.2751 | 1257701.6527
46 | 2624496.4476 | 1257787.4729 | 2624515.176 | 1257785.2933 | 2624521.0627 | 1257784.6076
47 | 2624345.3681 | 1257981.4601 | 2624355.4223 | 1257977.0165
48 | 2624359.5957 | 1257975.172 | 2624355.4223 | 1257977.0165
49 | 2624345.3681 | 1257981.4601 | 2624345.3681 | 1257981.4601 | 2624342.2804 | 1257982.3167
50 | 2624378.043 | 1257967.019 | 2624359.5957 | 1257975.172
51 | 2624337.9355 | 1257983.5221 | 2624342.2804 | 1257982.3167
52 | 2624378.043 | 1257967.019 | 2624381.9622 | 1257965.2869
53 | 2624329.9657 | 1257985.7332 | 2624337.9355 | 1257983.5221
54 | 2624381.9622 | 1257965.2869 | 2624385.653 | 1257963.6557
55 | 2624329.9657 | 1257985.7332 | 2624323.1231 | 1257987.6316
56 | 2624394.4216 | 1257959.7803 | 2624385.653 | 1257963.6557
57 | 2624431.0967 | 1257886.9041 | 2624416.4329 | 1257892.5586 | 2624415.6111 | 1257894.3898 | 2624423.0134 | 1257910.3188
58 | 2624431.0967 | 1257886.9041 | 2624447.4577 | 1257879.1885 | 2624456.3744 | 1257874.9887
59 | 2624428.9182 | 1257950.3334 | 2624438.0887 | 1257942.7596 | 2624423.0134 | 1257910.3188
60 | 2624456.3744 | 1257874.9887 | 2624462.1694 | 1257872.2593
61 | 2624389.0178 | 1257942.0896 | 2624382.5567 | 1257920.9378
62 | 2624422.831 | 1257955.3608 | 2624428.9182 | 1257950.3334
63 | 2624501.3649 | 1257852.6929 | 2624467.0215 | 1257869.974 | 2624462.1694 | 1257872.2593
64 | 2624394.4216 | 1257959.7803 | 2624389.0178 | 1257942.0896
65 | 2624293.2321 | 1257950.0556 | 2624293.4832 | 1257945.4119 | 2624293.4895 | 1257945.3854
66 | 2624292.898 | 1257956.234 | 2624293.2321 | 1257950.0556
67 | 2624292.1687 | 1257969.7195 | 2624292.898 | 1257956.234
68 | 2624471.4694 | 1257963.5459 | 2624495.9289 | 1257966.1236
69 | 2624471.4694 | 1257963.5459 | 2624470.9129 | 1257963.4872
70 | 2624422.831 | 1257955.3608 | 2624437.6964 | 1257955.6222 | 2624462.8923 | 1257962.6419 | 2624470.9129 | 1257963.4872
71 | 2624422.831 | 1257955.3608 | 2624421.1178 | 1257955.6273
72 | 2624501.3649 | 1257852.6929 | 2624513.9999 | 1257880.0859 | 2624511.1304 | 1257890.3477
73 | 2624501.3649 | 1257852.6929 | 2624497.163 | 1257840.4493
74 | 2624394.4216 | 1257959.7803 | 2624421.1178 | 1257955.6273
75 | 2624298.5295 | 1257994.4546 | 2624323.1231 | 1257987.6316
76 | 2624295.1329 | 1257995.3969 | 2624298.5295 | 1257994.4546
77 | 2624295.1329 | 1257995.3969 | 2624291.8763 | 1257975.1254 | 2624292.1687 | 1257969.7195

## bus_geodata
| x | y | coords
0 | 2624598.2317 | 1258052.4336
1 | 2624591.8126 | 1258042.7626
2 | 2624622.1244 | 1258088.4304
3 | 2624523.2887 | 1257974.655
4 | 2624538.7311 | 1258130.5356
5 | 2624521.4971 | 1257973.4849
6 | 2624543.7431 | 1257956.9766
7 | 2624488.9869 | 1258137.8713
8 | 2624503.5338 | 1257967.3923
9 | 2624441.7184 | 1258089.694
10 | 2624509.5896 | 1258057.3463
11 | 2624468.5946 | 1258071.3738
12 | 2624245.9952 | 1257839.4779
13 | 2624229.7038 | 1257803.6439
14 | 2624253.4311 | 1257867.6286
15 | 2624277.8843 | 1257835.229
16 | 2624261.1679 | 1257871.6698
17 | 2624303.3312 | 1257824.684
18 | 2624298.3451 | 1257798.4212
19 | 2624326.1328 | 1257815.2353
20 | 2624294.8854 | 1257784.874
21 | 2624286.9607 | 1257885.7575
22 | 2624356.999 | 1257802.454
23 | 2624325.2032 | 1257879.3057
24 | 2624324.0349 | 1257879.8789
25 | 2624302.7684 | 1257887.2105
26 | 2624363.5881 | 1257858.8519
27 | 2624384.2734 | 1257842.1312
28 | 2624371.8932 | 1257886.0303
29 | 2624301.7726 | 1257903.3
30 | 2624409.7897 | 1257821.5054
31 | 2624372.9536 | 1257889.5
32 | 2624297.5555 | 1257928.1585
33 | 2624427.8532 | 1257809.4651
34 | 2624396.3212 | 1257851.7594
35 | 2624378.6604 | 1257908.1825
36 | 2624454.4397 | 1257796.4993
37 | 2624479.9854 | 1257790.3958
38 | 2624424.9505 | 1257776.4529
39 | 2624418.1965 | 1257778.4031
40 | 2624454.077 | 1257768.0424
41 | 2624387.416 | 1257789.8586
42 | 2624471.8384 | 1257762.9138
43 | 2624425.2751 | 1257701.6527
44 | 2624496.4476 | 1257787.4729
45 | 2624521.0627 | 1257784.6076
46 | 2624355.4223 | 1257977.0165
47 | 2624345.3681 | 1257981.4601
48 | 2624359.5957 | 1257975.172
49 | 2624342.2804 | 1257982.3167
50 | 2624378.043 | 1257967.019
51 | 2624337.9355 | 1257983.5221
52 | 2624381.9622 | 1257965.2869
53 | 2624329.9657 | 1257985.7332
54 | 2624385.653 | 1257963.6557
55 | 2624431.0967 | 1257886.9041
56 | 2624423.0134 | 1257910.3188
57 | 2624456.3744 | 1257874.9887
58 | 2624382.5567 | 1257920.9378
59 | 2624428.9182 | 1257950.3334
60 | 2624462.1694 | 1257872.2593
61 | 2624389.0178 | 1257942.0896
62 | 2624293.4895 | 1257945.3854
63 | 2624293.2321 | 1257950.0556
64 | 2624292.898 | 1257956.234
65 | 2624495.9289 | 1257966.1236
66 | 2624471.4694 | 1257963.5459
67 | 2624470.9129 | 1257963.4872
68 | 2624422.831 | 1257955.3608
69 | 2624501.3649 | 1257852.6929
70 | 2624511.1304 | 1257890.3477
71 | 2624497.163 | 1257840.4493
72 | 2624421.1178 | 1257955.6273
73 | 2624394.4216 | 1257959.7803
74 | 2624323.1231 | 1257987.6316
75 | 2624298.5295 | 1257994.4546
76 | 2624295.1329 | 1257995.3969
77 | 2624292.1687 | 1257969.7195
78 | 2624413.5125 | 1258110.1632
79 | 2624372.9536 | 1257889.5

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1