## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2829-34_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2829-34_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2829-34_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2829-34_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2829-34_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2829-34_0_4_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_2829-34_0_4_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_2829-34_0_4_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_2829-34_0_4_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_2829-34_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2829-34_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2829-34_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2829-34_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_2829-34_0_4_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_2829-34_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2829-34_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2829-34_0_4_node_84 | 0.4 | n |  | TRUE
17 | bus_LV_2829-34_0_4_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_2829-34_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2829-34_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_2829-34_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_2829-34_0_4_node_86 | 0.4 | n |  | TRUE
22 | bus_LV_2829-34_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2829-34_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2829-34_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_2829-34_0_4_node_88 | 0.4 | n |  | TRUE
26 | bus_LV_2829-34_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_2829-34_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2829-34_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_2829-34_0_4_node_77 | 0.4 | n |  | TRUE
30 | bus_LV_2829-34_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_2829-34_0_4_node_83 | 0.4 | n |  | TRUE
32 | bus_LV_2829-34_0_4_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_2829-34_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_2829-34_0_4_node_89 | 0.4 | n |  | TRUE
35 | bus_LV_2829-34_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_2829-34_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_2829-34_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2829-34_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_2829-34_0_4_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_2829-34_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_2829-34_0_4_node_82 | 0.4 | n |  | TRUE
42 | bus_LV_2829-34_0_4_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_2829-34_0_4_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_2829-34_0_4_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_2829-34_0_4_node_70 | 0.4 | n |  | TRUE
46 | bus_LV_2829-34_0_4_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_2829-34_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_2829-34_0_4_node_63 | 0.4 | n |  | TRUE
49 | bus_LV_2829-34_0_4_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_2829-34_0_4_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_2829-34_0_4_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_2829-34_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_2829-34_0_4_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_2829-34_0_4_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_2829-34_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_2829-34_0_4_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_2829-34_0_4_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_2829-34_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_2829-34_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_2829-34_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_2829-34_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_2829-34_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_2829-34_0_4_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_2829-34_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_2829-34_0_4_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_2829-34_0_4_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_2829-34_0_4_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_2829-34_0_4_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_2829-34_0_4_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_2829-34_0_4_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_2829-34_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_2829-34_0_4_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_2829-34_0_4_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_2829-34_0_4_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_2829-34_0_4_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_2829-34_0_4_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_2829-34_0_4_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_2829-34_0_4_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_2829-34_0_4_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_2829-34_0_4_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_2829-34_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_2829-34_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_MV_289_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2829-34_0_4_load_0 | 0 | 0.0025172 | 0.00063087 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2829-34_0_4_load_1 | 1 | 0.011099 | 0.0027817 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2829-34_0_4_load_3 | 3 | 0.011745 | 0.0029437 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2829-34_0_4_load_4 | 4 | 0.014325 | 0.0035901 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2829-34_0_4_load_42 | 6 | 0.0036801 | 0.00092232 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2829-34_0_4_load_33 | 7 | 0.0080372 | 0.0020143 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2829-34_0_4_load_40 | 8 | 0.0011748 | 0.00029442 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2829-34_0_4_load_5 | 9 | 0.062509 | 0.015666 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2829-34_0_4_load_18 | 13 | 0.016768 | 0.0042024 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2829-34_0_4_load_84 | 16 | 0.015709 | 0.003937 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2829-34_0_4_load_76 | 17 | 0.014238 | 0.0035684 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2829-34_0_4_load_21 | 20 | 0.010309 | 0.0025836 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2829-34_0_4_load_86 | 21 | 0.0053461 | 0.0013399 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2829-34_0_4_load_88 | 25 | 0.010921 | 0.002737 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2829-34_0_4_load_19 | 26 | 0.034982 | 0.0087673 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2829-34_0_4_load_83 | 31 | 0.002357 | 0.00059072 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2829-34_0_4_load_85 | 32 | 0.025143 | 0.0063015 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2829-34_0_4_load_22 | 33 | 0.0022641 | 0.00056744 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2829-34_0_4_load_89 | 34 | 0.0072344 | 0.0018131 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2829-34_0_4_load_25 | 35 | 0.0068895 | 0.0017267 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2829-34_0_4_load_31 | 38 | 0.0073025 | 0.0018302 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2829-34_0_4_load_64 | 39 | 0.006199 | 0.0015536 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2829-34_0_4_load_27 | 40 | 0.020138 | 0.005047 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2829-34_0_4_load_82 | 41 | 0.0016459 | 0.00041251 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2829-34_0_4_load_57 | 42 | 0.0021597 | 0.00054128 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2829-34_0_4_load_55 | 43 | 0.0025215 | 0.00063196 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2829-34_0_4_load_70 | 45 | 0.0021676 | 0.00054324 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2829-34_0_4_load_68 | 46 | 0.0038216 | 0.00095779 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2829-34_0_4_load_34 | 47 | 0.012433 | 0.0031161 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2829-34_0_4_load_61 | 50 | 0.013673 | 0.0034267 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2829-34_0_4_load_35 | 51 | 0.014123 | 0.0035396 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2829-34_0_4_load_36 | 52 | 0.0037906 | 0.00095003 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2829-34_0_4_load_37 | 53 | 0.0042269 | 0.0010594 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2829-34_0_4_load_38 | 54 | 0.0025183 | 0.00063115 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2829-34_0_4_load_39 | 55 | 0.0060778 | 0.0015232 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2829-34_0_4_load_41 | 56 | 0.00033648 | 8.433e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2829-34_0_4_load_43 | 57 | 0.0028232 | 0.00070756 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2829-34_0_4_load_44 | 58 | 0.0020156 | 0.00050515 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2829-34_0_4_load_45 | 59 | 0.001344 | 0.00033684 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2829-34_0_4_load_46 | 60 | 0.0032031 | 0.00080276 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2829-34_0_4_load_47 | 61 | 0.0021914 | 0.00054922 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2829-34_0_4_load_58 | 62 | 0.0027633 | 0.00069256 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2829-34_0_4_load_69 | 63 | 0.0032566 | 0.00081617 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2829-34_0_4_load_48 | 65 | 0.0027702 | 0.00069428 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2829-34_0_4_load_49 | 66 | 0.0011473 | 0.00028755 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2829-34_0_4_load_51 | 68 | 0.0057941 | 0.0014521 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2829-34_0_4_load_52 | 69 | 0.0021642 | 0.00054239 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2829-34_0_4_load_72 | 70 | 0.0078376 | 0.0019643 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2829-34_0_4_load_73 | 72 | 0.0028274 | 0.00070862 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2829-34_0_4_load_71 | 73 | 0.0054869 | 0.0013751 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2829-34_0_4_load_54 | 74 | 0.0018355 | 0.00046002 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2829-34_0_4_load_59 | 75 | 0.0023983 | 0.00060108 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2829-34_0_4_load_60 | 76 | 0.0061919 | 0.0015518 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2829-34_0_4_load_65 | 77 | 0.007302 | 0.0018301 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2829-34_0_4_load_67 | 78 | 0.01471 | 0.0036866 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2829-34_0_4_load_80 | 80 | 0.00092631 | 0.00023215 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2829-34_0_4_load_79 | 81 | 0.0010288 | 0.00025783 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2829-34_0_4_load_81 | 82 | 0.0012408 | 0.00031097 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2829-34_0_4_line_0 |  | 0 | 1 | 0.0058745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2829-34_0_4_line_1 |  | 0 | 2 | 0.018645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2829-34_0_4_line_2 |  | 2 | 3 | 0.021277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2829-34_0_4_line_3 |  | 2 | 4 | 0.020849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2829-34_0_4_line_4 |  | 3 | 5 | 0.037011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2829-34_0_4_line_5 |  | 4 | 6 | 0.022152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2829-34_0_4_line_6 |  | 5 | 7 | 0.042337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2829-34_0_4_line_7 |  | 6 | 8 | 0.0031615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2829-34_0_4_line_8 |  | 7 | 24 | 0.019135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2829-34_0_4_line_9 |  | 8 | 56 | 0.0051968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2829-34_0_4_line_10 |  | 9 | 10 | 0.02589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2829-34_0_4_line_11 |  | 10 | 11 | 0.003913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2829-34_0_4_line_12 |  | 11 | 12 | 0.055968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2829-34_0_4_line_13 |  | 11 | 13 | 0.044557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2829-34_0_4_line_14 |  | 12 | 21 | 0.029345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2829-34_0_4_line_15 |  | 12 | 14 | 0.050681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2829-34_0_4_line_16 |  | 13 | 22 | 0.025266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_2829-34_0_4_line_17 |  | 14 | 15 | 0.047304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2829-34_0_4_line_18 |  | 14 | 16 | 0.0093789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2829-34_0_4_line_19 |  | 15 | 17 | 0.021669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2829-34_0_4_line_20 |  | 17 | 29 | 0.025898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2829-34_0_4_line_21 |  | 18 | 19 | 0.027018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2829-34_0_4_line_22 |  | 18 | 20 | 0.036971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2829-34_0_4_line_23 |  | 19 | 32 | 0.007369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2829-34_0_4_line_24 |  | 19 | 30 | 0.04672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2829-34_0_4_line_25 |  | 20 | 33 | 0.014105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2829-34_0_4_line_26 |  | 22 | 23 | 0.038927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2829-34_0_4_line_27 |  | 23 | 26 | 0.014997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2829-34_0_4_line_28 |  | 24 | 25 | 0.047906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2829-34_0_4_line_29 |  | 25 | 34 | 0.0039772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2829-34_0_4_line_30 |  | 26 | 27 | 0.060107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2829-34_0_4_line_31 |  | 27 | 28 | 0.023235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2829-34_0_4_line_32 |  | 28 | 33 | 0.038594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2829-34_0_4_line_33 |  | 28 | 35 | 0.081276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2829-34_0_4_line_34 |  | 29 | 79 | 0.042963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2829-34_0_4_line_35 |  | 30 | 31 | 0.025005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2829-34_0_4_line_36 |  | 31 | 41 | 0.018982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2829-34_0_4_line_37 |  | 34 | 77 | 0.028628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2829-34_0_4_line_38 |  | 35 | 36 | 0.015615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_2829-34_0_4_line_39 |  | 36 | 40 | 0.02843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2829-34_0_4_line_40 |  | 37 | 38 | 0.018865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2829-34_0_4_line_41 |  | 37 | 39 | 0.007633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_2829-34_0_4_line_42 |  | 38 | 40 | 0.022516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_2829-34_0_4_line_43 |  | 39 | 44 | 0.019571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2829-34_0_4_line_44 |  | 41 | 82 | 0.018601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2829-34_0_4_line_45 |  | 42 | 43 | 0.020278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2829-34_0_4_line_46 |  | 43 | 74 | 0.0039205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2829-34_0_4_line_47 |  | 44 | 77 | 0.015809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2829-34_0_4_line_48 |  | 44 | 76 | 0.015829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2829-34_0_4_line_49 |  | 45 | 46 | 0.015302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2829-34_0_4_line_50 |  | 46 | 78 | 0.023334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2829-34_0_4_line_51 |  | 47 | 48 | 0.024755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2829-34_0_4_line_52 |  | 48 | 49 | 0.028349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2829-34_0_4_line_53 |  | 48 | 50 | 0.038094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2829-34_0_4_line_54 |  | 49 | 63 | 0.01204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2829-34_0_4_line_55 |  | 49 | 60 | 0.018418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2829-34_0_4_line_56 |  | 50 | 76 | 0.038732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2829-34_0_4_line_57 |  | 51 | 52 | 0.027791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2829-34_0_4_line_58 |  | 51 | 53 | 0.0023176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2829-34_0_4_line_59 |  | 52 | 54 | 0.020307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2829-34_0_4_line_60 |  | 53 | 55 | 0.0058835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2829-34_0_4_line_61 |  | 55 | 56 | 0.013663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2829-34_0_4_line_62 |  | 57 | 58 | 0.001604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2829-34_0_4_line_63 |  | 57 | 59 | 0.0067404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2829-34_0_4_line_64 |  | 58 | 60 | 0.014978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2829-34_0_4_line_65 |  | 59 | 61 | 0.0082082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2829-34_0_4_line_66 |  | 61 | 62 | 0.0034628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2829-34_0_4_line_67 |  | 62 | 64 | 0.0064319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2829-34_0_4_line_68 |  | 63 | 78 | 0.012909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2829-34_0_4_line_69 |  | 64 | 75 | 0.011589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2829-34_0_4_line_70 |  | 64 | 74 | 0.029494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2829-34_0_4_line_71 |  | 65 | 66 | 0.010641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2829-34_0_4_line_72 |  | 65 | 67 | 0.0051173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2829-34_0_4_line_73 |  | 66 | 68 | 0.004087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2829-34_0_4_line_74 |  | 67 | 69 | 0.025207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2829-34_0_4_line_75 |  | 68 | 70 | 0.015901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2829-34_0_4_line_76 |  | 69 | 71 | 0.024736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2829-34_0_4_line_77 |  | 70 | 73 | 0.018911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2829-34_0_4_line_78 |  | 71 | 72 | 0.027268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2829-34_0_4_line_79 |  | 73 | 75 | 0.0045924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2829-34_0_4_line_80 |  | 79 | 80 | 0.013268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2829-34_0_4_line_81 |  | 80 | 81 | 0.034695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2829-34_0_4_trafo_27 | 0.63 MVA 20/0.4 kV | 83 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2622653.9334 | 1259008.3255 | 2622652.9243 | 1259007.1738 | 2622650.079 | 1259003.8922
1 | 2622665.5497 | 1259022.8993 | 2622657.4497 | 1259012.339 | 2622653.9334 | 1259008.3255
2 | 2622665.5497 | 1259022.8993 | 2622650.23 | 1259035.7051 | 2622649.2407 | 1259036.5636
3 | 2622665.5497 | 1259022.8993 | 2622681.111 | 1259009.0232
4 | 2622621.2885 | 1259060.8228 | 2622649.2407 | 1259036.5636
5 | 2622681.111 | 1259009.0232 | 2622696.8994 | 1258994.9446 | 2622697.6571 | 1258994.2943
6 | 2622621.2885 | 1259060.8228 | 2622609.2497 | 1259071.1284 | 2622588.3164 | 1259087.482
7 | 2622697.6571 | 1258994.2943 | 2622700.056 | 1258992.2353
8 | 2622572.6869 | 1259098.5856 | 2622588.3164 | 1259087.482
9 | 2622703.9995 | 1258988.8506 | 2622700.056 | 1258992.2353
10 | 2622453.1358 | 1259387.5394 | 2622451.5416 | 1259368.6872 | 2622450.709 | 1259361.7666
11 | 2622453.4074 | 1259391.4431 | 2622453.1358 | 1259387.5394
12 | 2622453.4074 | 1259391.4431 | 2622453.8479 | 1259402.519 | 2622454.4758 | 1259407.8583 | 2622455.6208 | 1259412.0099 | 2622457.98 | 1259417.9451 | 2622460.1418 | 1259422.2562 | 2622462.3448 | 1259425.6558 | 2622474.0336 | 1259441.811
13 | 2622453.4074 | 1259391.4431 | 2622461.8358 | 1259388.9066 | 2622467.7408 | 1259387.9728 | 2622468.1413 | 1259391.6657 | 2622470.1994 | 1259391.5401 | 2622469.7984 | 1259387.9806 | 2622489.8223 | 1259383.987
14 | 2622474.0336 | 1259441.811 | 2622485.7043 | 1259438.8644 | 2622502.1498 | 1259433.4677
15 | 2622474.0336 | 1259441.811 | 2622478.3892 | 1259447.954 | 2622481.8343 | 1259455.7167 | 2622485.425 | 1259464.8143 | 2622491.6378 | 1259470.1304 | 2622492.2625 | 1259470.3662 | 2622495.9126 | 1259471.7366 | 2622508.0294 | 1259472.383
16 | 2622507.8712 | 1259371.1468 | 2622506.6528 | 1259374.4111 | 2622504.1552 | 1259381.1284 | 2622489.8223 | 1259383.987
17 | 2622504.2511 | 1259510.7169 | 2622499.7113 | 1259499.5032 | 2622498.6876 | 1259497.1755 | 2622496.2889 | 1259491.7405 | 2622493.23 | 1259485.5247 | 2622498.3504 | 1259480.7742 | 2622501.6471 | 1259477.9848 | 2622508.0294 | 1259472.383
18 | 2622508.0294 | 1259472.383 | 2622515.0769 | 1259466.1946
19 | 2622504.2511 | 1259510.7169 | 2622512.6678 | 1259523.1351 | 2622517.3359 | 1259527.8951
20 | 2622536.3161 | 1259545.5068 | 2622525.5616 | 1259535.4591 | 2622519.4097 | 1259530.0098 | 2622517.3359 | 1259527.8951
21 | 2622572.9557 | 1259415.9579 | 2622577.9365 | 1259412.2966 | 2622584.6004 | 1259409.9871 | 2622583.9293 | 1259396.2196
22 | 2622583.9293 | 1259396.2196 | 2622586.3137 | 1259387.6006 | 2622588.3095 | 1259384.028 | 2622597.0506 | 1259376.5896 | 2622602.5458 | 1259370.4508 | 2622604.854 | 1259366.9188
23 | 2622572.9557 | 1259415.9579 | 2622567.2301 | 1259420.5969
24 | 2622572.9557 | 1259415.9579 | 2622577.9365 | 1259412.2966 | 2622584.6004 | 1259409.9871 | 2622595.7943 | 1259407.6059 | 2622603.9999 | 1259406.1695 | 2622617.5664 | 1259404.1865
25 | 2622612.5701 | 1259355.1118 | 2622604.854 | 1259366.9188
26 | 2622538.9378 | 1259347.571 | 2622507.8712 | 1259371.1468
27 | 2622538.9378 | 1259347.571 | 2622550.9608 | 1259338.6072
28 | 2622572.6869 | 1259098.5856 | 2622601.8763 | 1259136.5721
29 | 2622601.8763 | 1259136.5721 | 2622604.2996 | 1259139.7258
30 | 2622599.1487 | 1259302.6806 | 2622550.9608 | 1259338.6072
31 | 2622613.4066 | 1259321.0586 | 2622599.1487 | 1259302.6806
32 | 2622613.4066 | 1259321.0586 | 2622619.2031 | 1259328.8193 | 2622620.9983 | 1259334.3743 | 2622621.1186 | 1259340.39 | 2622617.7235 | 1259347.2261 | 2622612.5701 | 1259355.1118
33 | 2622613.4066 | 1259321.0586 | 2622651.4127 | 1259286.4022 | 2622637.7585 | 1259259.8684
34 | 2622536.3161 | 1259545.5068 | 2622539.4777 | 1259548.4875 | 2622544.4578 | 1259552.8983 | 2622547.997 | 1259549.7541 | 2622548.6247 | 1259549.1783 | 2622550.4323 | 1259547.5285 | 2622572.7663 | 1259538.9298
35 | 2622617.5664 | 1259404.1865 | 2622629.1949 | 1259426.3232
36 | 2622629.1949 | 1259426.3232 | 2622638.0223 | 1259443.1275
37 | 2622621.7425 | 1259162.4257 | 2622604.2996 | 1259139.7258
38 | 2622630.6139 | 1259245.9842 | 2622637.7585 | 1259259.8684
39 | 2622630.6139 | 1259245.9842 | 2622615.2993 | 1259222.0318 | 2622615.2993 | 1259222.0318
40 | 2622647.912 | 1259196.5611 | 2622633.0445 | 1259208.1727
41 | 2622647.912 | 1259196.5611 | 2622643.2719 | 1259190.5004
42 | 2622633.0445 | 1259208.1727 | 2622615.2993 | 1259222.0318
43 | 2622631.3749 | 1259174.9611 | 2622643.2719 | 1259190.5004
44 | 2622646.6724 | 1259459.5944 | 2622638.0223 | 1259443.1275
45 | 2622793.2748 | 1259107.3487 | 2622781.3062 | 1259090.9794
46 | 2622778.9922 | 1259087.8146 | 2622781.3062 | 1259090.9794
47 | 2622631.3749 | 1259174.9611 | 2622621.7425 | 1259162.4257
48 | 2622631.3749 | 1259174.9611 | 2622644.0615 | 1259165.4947
49 | 2622754.706 | 1259154.6869 | 2622745.5753 | 1259142.407
50 | 2622731.6525 | 1259123.6821 | 2622745.5753 | 1259142.407
51 | 2622690.7064 | 1259112.3674 | 2622683.0367 | 1259111.493 | 2622676.4093 | 1259110.089 | 2622667.3073 | 1259105.351
52 | 2622690.7064 | 1259112.3674 | 2622697.2559 | 1259112.4703 | 2622703.6675 | 1259111.194 | 2622709.0177 | 1259109.5578 | 2622716.7661 | 1259103.6612
53 | 2622690.7064 | 1259112.3674 | 2622687.9462 | 1259134.4274 | 2622675.5251 | 1259144.2921
54 | 2622716.7661 | 1259103.6612 | 2622723.9499 | 1259113.3228
55 | 2622716.7661 | 1259103.6612 | 2622730.5596 | 1259091.4568
56 | 2622644.0615 | 1259165.4947 | 2622649.3875 | 1259161.5207 | 2622654.0613 | 1259161.3384 | 2622675.5251 | 1259144.2921
57 | 2622741.679 | 1258956.5104 | 2622720.5903 | 1258974.6108
58 | 2622718.8316 | 1258976.1202 | 2622720.5903 | 1258974.6108
59 | 2622757.0883 | 1258943.2846 | 2622741.679 | 1258956.5104
60 | 2622718.8316 | 1258976.1202 | 2622714.3671 | 1258979.9522
61 | 2622703.9995 | 1258988.8506 | 2622714.3671 | 1258979.9522
62 | 2622742.9786 | 1259080.4685 | 2622741.7774 | 1259081.5313
63 | 2622742.9786 | 1259080.4685 | 2622748.0267 | 1259076.002
64 | 2622741.7774 | 1259081.5313 | 2622730.5596 | 1259091.4568
65 | 2622754.1741 | 1259070.5628 | 2622748.0267 | 1259076.002
66 | 2622756.7675 | 1259068.2682 | 2622754.1741 | 1259070.5628
67 | 2622761.5845 | 1259064.0061 | 2622756.7675 | 1259068.2682
68 | 2622731.6525 | 1259123.6821 | 2622723.9499 | 1259113.3228
69 | 2622761.5845 | 1259064.0061 | 2622769.7816 | 1259055.814
70 | 2622761.5845 | 1259064.0061 | 2622778.9922 | 1259087.8146
71 | 2622808.0701 | 1259017.5485 | 2622800.5438 | 1259025.0704
72 | 2622811.6897 | 1259013.9312 | 2622808.0701 | 1259017.5485
73 | 2622797.653 | 1259027.9594 | 2622800.5438 | 1259025.0704
74 | 2622811.6897 | 1259013.9312 | 2622829.4144 | 1258996.0081
75 | 2622786.4062 | 1259039.1994 | 2622797.653 | 1259027.9594
76 | 2622846.8078 | 1258978.42 | 2622829.4144 | 1258996.0081
77 | 2622773.0299 | 1259052.5676 | 2622786.4062 | 1259039.1994
78 | 2622846.8078 | 1258978.42 | 2622828.3444 | 1258958.3537
79 | 2622769.7816 | 1259055.814 | 2622773.0299 | 1259052.5676
80 | 2622572.7663 | 1259538.9298 | 2622584.7425 | 1259533.2191
81 | 2622616.059 | 1259518.286 | 2622584.7425 | 1259533.2191

## bus_geodata
| x | y | coords
0 | 2622653.9334 | 1259008.3255
1 | 2622650.079 | 1259003.8922
2 | 2622665.5497 | 1259022.8993
3 | 2622649.2407 | 1259036.5636
4 | 2622681.111 | 1259009.0232
5 | 2622621.2885 | 1259060.8228
6 | 2622697.6571 | 1258994.2943
7 | 2622588.3164 | 1259087.482
8 | 2622700.056 | 1258992.2353
9 | 2622450.709 | 1259361.7666
10 | 2622453.1358 | 1259387.5394
11 | 2622453.4074 | 1259391.4431
12 | 2622474.0336 | 1259441.811
13 | 2622489.8223 | 1259383.987
14 | 2622508.0294 | 1259472.383
15 | 2622504.2511 | 1259510.7169
16 | 2622515.0769 | 1259466.1946
17 | 2622517.3359 | 1259527.8951
18 | 2622583.9293 | 1259396.2196
19 | 2622572.9557 | 1259415.9579
20 | 2622604.854 | 1259366.9188
21 | 2622502.1498 | 1259433.4677
22 | 2622507.8712 | 1259371.1468
23 | 2622538.9378 | 1259347.571
24 | 2622572.6869 | 1259098.5856
25 | 2622601.8763 | 1259136.5721
26 | 2622550.9608 | 1259338.6072
27 | 2622599.1487 | 1259302.6806
28 | 2622613.4066 | 1259321.0586
29 | 2622536.3161 | 1259545.5068
30 | 2622617.5664 | 1259404.1865
31 | 2622629.1949 | 1259426.3232
32 | 2622567.2301 | 1259420.5969
33 | 2622612.5701 | 1259355.1118
34 | 2622604.2996 | 1259139.7258
35 | 2622637.7585 | 1259259.8684
36 | 2622630.6139 | 1259245.9842
37 | 2622647.912 | 1259196.5611
38 | 2622633.0445 | 1259208.1727
39 | 2622643.2719 | 1259190.5004
40 | 2622615.2993 | 1259222.0318
41 | 2622638.0223 | 1259443.1275
42 | 2622793.2748 | 1259107.3487
43 | 2622781.3062 | 1259090.9794
44 | 2622631.3749 | 1259174.9611
45 | 2622754.706 | 1259154.6869
46 | 2622745.5753 | 1259142.407
47 | 2622667.3072 | 1259105.351
48 | 2622690.7064 | 1259112.3674
49 | 2622716.7661 | 1259103.6612
50 | 2622675.5251 | 1259144.2921
51 | 2622720.5903 | 1258974.6108
52 | 2622741.679 | 1258956.5104
53 | 2622718.8316 | 1258976.1202
54 | 2622757.0883 | 1258943.2846
55 | 2622714.3671 | 1258979.9522
56 | 2622703.9995 | 1258988.8506
57 | 2622742.9786 | 1259080.4685
58 | 2622741.7774 | 1259081.5313
59 | 2622748.0267 | 1259076.002
60 | 2622730.5596 | 1259091.4568
61 | 2622754.1741 | 1259070.5628
62 | 2622756.7675 | 1259068.2682
63 | 2622723.9499 | 1259113.3228
64 | 2622761.5845 | 1259064.0061
65 | 2622808.0701 | 1259017.5485
66 | 2622800.5438 | 1259025.0704
67 | 2622811.6897 | 1259013.9312
68 | 2622797.653 | 1259027.9594
69 | 2622829.4144 | 1258996.0081
70 | 2622786.4062 | 1259039.1994
71 | 2622846.8078 | 1258978.42
72 | 2622828.3444 | 1258958.3537
73 | 2622773.0299 | 1259052.5676
74 | 2622778.9922 | 1259087.8145
75 | 2622769.7816 | 1259055.814
76 | 2622644.0615 | 1259165.4947
77 | 2622621.7425 | 1259162.4257
78 | 2622731.6525 | 1259123.6821
79 | 2622572.7663 | 1259538.9298
80 | 2622584.7425 | 1259533.2191
81 | 2622616.059 | 1259518.286
82 | 2622646.6724 | 1259459.5944
83 | 2622630.6139 | 1259245.9842

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1