## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2829-38_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2829-38_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2829-38_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2829-38_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2829-38_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2829-38_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2829-38_0_6_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_2829-38_0_6_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_2829-38_0_6_node_88 | 0.4 | n |  | TRUE
9 | bus_LV_2829-38_0_6_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_2829-38_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2829-38_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2829-38_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2829-38_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2829-38_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2829-38_0_6_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_2829-38_0_6_node_89 | 0.4 | n |  | TRUE
17 | bus_LV_2829-38_0_6_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_2829-38_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2829-38_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2829-38_0_6_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2829-38_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2829-38_0_6_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_2829-38_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2829-38_0_6_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_2829-38_0_6_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_2829-38_0_6_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_2829-38_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_2829-38_0_6_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_2829-38_0_6_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_2829-38_0_6_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_2829-38_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_2829-38_0_6_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_2829-38_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_2829-38_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2829-38_0_6_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2829-38_0_6_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_2829-38_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_2829-38_0_6_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_2829-38_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_2829-38_0_6_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_2829-38_0_6_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_2829-38_0_6_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_2829-38_0_6_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_2829-38_0_6_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_2829-38_0_6_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_2829-38_0_6_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_2829-38_0_6_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_2829-38_0_6_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_2829-38_0_6_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_2829-38_0_6_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_2829-38_0_6_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_2829-38_0_6_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_2829-38_0_6_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_2829-38_0_6_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_2829-38_0_6_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_2829-38_0_6_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_2829-38_0_6_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_2829-38_0_6_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_2829-38_0_6_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_2829-38_0_6_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_2829-38_0_6_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_2829-38_0_6_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_2829-38_0_6_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_2829-38_0_6_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_2829-38_0_6_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_2829-38_0_6_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_2829-38_0_6_node_77 | 0.4 | n |  | TRUE
68 | bus_LV_2829-38_0_6_node_78 | 0.4 | n |  | TRUE
69 | bus_LV_2829-38_0_6_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_2829-38_0_6_node_81 | 0.4 | n |  | TRUE
71 | bus_LV_2829-38_0_6_node_82 | 0.4 | n |  | TRUE
72 | bus_LV_2829-38_0_6_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_2829-38_0_6_node_83 | 0.4 | n |  | TRUE
74 | bus_LV_2829-38_0_6_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_2829-38_0_6_node_87 | 0.4 | n |  | TRUE
76 | bus_LV_2829-38_0_6_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_2829-38_0_6_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_2829-38_0_6_node_85 | 0.4 | n |  | TRUE
79 | bus_LV_2829-38_0_6_node_86 | 0.4 | n |  | TRUE
80 | bus_LV_2829-38_0_6_node_60 | 0.4 | n |  | TRUE
81 | bus_LV_2829-38_0_6_node_61 | 0.4 | n |  | TRUE
82 | bus_LV_2829-38_0_6_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_2829-38_0_6_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_2829-38_0_6_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_2829-38_0_6_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_2829-38_0_6_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_2829-38_0_6_node_68 | 0.4 | n |  | TRUE
88 | bus_MV_289_0_node_141 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2829-38_0_6_load_0 | 0 | 0.082788 | 0.020749 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2829-38_0_6_load_1 | 1 | 0.010585 | 0.0026528 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2829-38_0_6_load_3 | 3 | 0.00201 | 0.00050376 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2829-38_0_6_load_4 | 4 | 0.015063 | 0.0037751 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2829-38_0_6_load_5 | 5 | 0.0088523 | 0.0022186 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2829-38_0_6_load_67 | 6 | 0.0028758 | 0.00072074 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2829-38_0_6_load_37 | 7 | 0.0071983 | 0.0018041 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2829-38_0_6_load_88 | 8 | 0.0017439 | 0.00043706 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2829-38_0_6_load_6 | 10 | 0.0027956 | 0.00070065 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2829-38_0_6_load_7 | 11 | 0.0050954 | 0.001277 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2829-38_0_6_load_8 | 12 | 0.0038767 | 0.0009716 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2829-38_0_6_load_9 | 13 | 0.0020912 | 0.00052411 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2829-38_0_6_load_10 | 14 | 0.003262 | 0.00081753 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2829-38_0_6_load_36 | 15 | 0.0035207 | 0.00088236 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2829-38_0_6_load_89 | 16 | 0.0012574 | 0.00031512 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2829-38_0_6_load_35 | 17 | 0.0030641 | 0.00076794 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2829-38_0_6_load_11 | 18 | 0.0082505 | 0.0020678 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2829-38_0_6_load_12 | 19 | 0.0073466 | 0.0018412 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2829-38_0_6_load_13 | 20 | 0.010321 | 0.0025866 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2829-38_0_6_load_15 | 21 | 0.003021 | 0.00075713 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2829-38_0_6_load_16 | 23 | 0.0019941 | 0.00049977 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2829-38_0_6_load_46 | 25 | 0.082029 | 0.020558 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2829-38_0_6_load_17 | 26 | 0.0025255 | 0.00063294 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2829-38_0_6_load_18 | 27 | 0.0021806 | 0.00054652 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2829-38_0_6_load_34 | 28 | 0.0026136 | 0.00065503 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2829-38_0_6_load_32 | 29 | 0.0050403 | 0.0012632 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2829-38_0_6_load_33 | 30 | 0.0012738 | 0.00031923 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2829-38_0_6_load_19 | 31 | 0.002323 | 0.0005822 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2829-38_0_6_load_20 | 32 | 0.00031059 | 7.7842e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2829-38_0_6_load_21 | 33 | 0.0005761 | 0.00014438 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2829-38_0_6_load_22 | 34 | 0.0016791 | 0.00042083 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2829-38_0_6_load_23 | 35 | 0.0015075 | 0.0003778 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2829-38_0_6_load_31 | 36 | 0.0025664 | 0.00064319 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2829-38_0_6_load_28 | 37 | 0.0026785 | 0.0006713 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2829-38_0_6_load_26 | 39 | 0.0028988 | 0.0007265 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2829-38_0_6_load_24 | 40 | 0.0068844 | 0.0017254 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2829-38_0_6_load_25 | 41 | 0.0022545 | 0.00056504 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2829-38_0_6_load_27 | 42 | 0.013561 | 0.0033988 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2829-38_0_6_load_40 | 43 | 0.001068 | 0.00026766 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2829-38_0_6_load_42 | 45 | 0.0088355 | 0.0022144 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2829-38_0_6_load_39 | 46 | 0.0030346 | 0.00076055 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2829-38_0_6_load_44 | 48 | 0.012064 | 0.0030236 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2829-38_0_6_load_47 | 49 | 0.0045643 | 0.0011439 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2829-38_0_6_load_70 | 50 | 0.0060167 | 0.0015079 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2829-38_0_6_load_69 | 51 | 0.0030755 | 0.00077078 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2829-38_0_6_load_48 | 52 | 0.0010971 | 0.00027496 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2829-38_0_6_load_49 | 54 | 0.010482 | 0.002627 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2829-38_0_6_load_52 | 56 | 0.0010636 | 0.00026655 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2829-38_0_6_load_58 | 57 | 0.002226 | 0.00055788 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2829-38_0_6_load_53 | 58 | 0.0013613 | 0.00034118 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2829-38_0_6_load_71 | 59 | 0.0033816 | 0.0008475 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2829-38_0_6_load_72 | 60 | 0.0013999 | 0.00035085 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2829-38_0_6_load_59 | 61 | 0.010337 | 0.0025906 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2829-38_0_6_load_54 | 62 | 0.0015413 | 0.00038628 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2829-38_0_6_load_73 | 63 | 0.0013386 | 0.0003355 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2829-38_0_6_load_74 | 64 | 0.0022818 | 0.00057186 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2829-38_0_6_load_75 | 65 | 0.002316 | 0.00058044 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2829-38_0_6_load_76 | 66 | 0.0010401 | 0.00026067 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2829-38_0_6_load_77 | 67 | 0.0014949 | 0.00037466 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2829-38_0_6_load_78 | 68 | 0.0014901 | 0.00037345 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2829-38_0_6_load_80 | 69 | 0.0024222 | 0.00060706 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2829-38_0_6_load_81 | 70 | 0.00152 | 0.00038095 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2829-38_0_6_load_82 | 71 | 0.0012363 | 0.00030984 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2829-38_0_6_load_55 | 72 | 0.0031651 | 0.00079324 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2829-38_0_6_load_83 | 73 | 0.0017967 | 0.00045031 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2829-38_0_6_load_56 | 74 | 0.0022069 | 0.00055311 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2829-38_0_6_load_87 | 75 | 0.013763 | 0.0034492 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2829-38_0_6_load_84 | 76 | 0.0015594 | 0.00039082 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2829-38_0_6_load_57 | 77 | 0.0084832 | 0.0021261 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2829-38_0_6_load_85 | 78 | 0.0017219 | 0.00043154 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2829-38_0_6_load_86 | 79 | 0.00078044 | 0.0001956 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2829-38_0_6_load_61 | 81 | 0.0029235 | 0.00073271 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2829-38_0_6_load_66 | 83 | 0.0032633 | 0.00081785 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2829-38_0_6_load_62 | 84 | 0.0095104 | 0.0023835 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2829-38_0_6_load_63 | 85 | 0.0075051 | 0.001881 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2829-38_0_6_load_65 | 86 | 0.0097842 | 0.0024521 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2829-38_0_6_load_68 | 87 | 0.0075318 | 0.0018876 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2829-38_0_6_line_0 |  | 0 | 1 | 0.025076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2829-38_0_6_line_1 |  | 0 | 2 | 0.037743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2829-38_0_6_line_2 |  | 1 | 3 | 0.015532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2829-38_0_6_line_3 |  | 2 | 4 | 0.005714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2829-38_0_6_line_4 |  | 2 | 5 | 0.016996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_2829-38_0_6_line_5 |  | 3 | 6 | 0.0034397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2829-38_0_6_line_6 |  | 5 | 7 | 0.020024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2829-38_0_6_line_7 |  | 6 | 8 | 0.0098904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2829-38_0_6_line_8 |  | 7 | 9 | 0.034242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2829-38_0_6_line_9 |  | 8 | 77 | 0.013077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2829-38_0_6_line_10 |  | 9 | 22 | 0.028225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2829-38_0_6_line_11 |  | 9 | 19 | 0.01653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2829-38_0_6_line_12 |  | 10 | 11 | 0.022169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2829-38_0_6_line_13 |  | 10 | 12 | 0.048978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2829-38_0_6_line_14 |  | 11 | 13 | 0.014149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2829-38_0_6_line_15 |  | 12 | 14 | 0.064352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2829-38_0_6_line_16 |  | 13 | 15 | 0.02283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2829-38_0_6_line_17 |  | 14 | 16 | 0.0081668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2829-38_0_6_line_18 |  | 15 | 17 | 0.0044149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2829-38_0_6_line_19 |  | 17 | 30 | 0.010774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2829-38_0_6_line_20 |  | 18 | 19 | 0.0059074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2829-38_0_6_line_21 |  | 18 | 20 | 0.011645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2829-38_0_6_line_22 |  | 20 | 21 | 0.036871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2829-38_0_6_line_23 |  | 21 | 23 | 0.032105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2829-38_0_6_line_24 |  | 22 | 24 | 0.021176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2829-38_0_6_line_25 |  | 22 | 25 | 0.021061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2829-38_0_6_line_26 |  | 23 | 26 | 0.016442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2829-38_0_6_line_27 |  | 24 | 46 | 0.021711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2829-38_0_6_line_28 |  | 25 | 47 | 0.0455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2829-38_0_6_line_29 |  | 26 | 27 | 0.023286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2829-38_0_6_line_30 |  | 27 | 28 | 0.023885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2829-38_0_6_line_31 |  | 27 | 29 | 0.023557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2829-38_0_6_line_32 |  | 28 | 30 | 0.0066989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2829-38_0_6_line_33 |  | 29 | 36 | 0.0149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2829-38_0_6_line_34 |  | 31 | 32 | 0.010547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2829-38_0_6_line_35 |  | 31 | 33 | 0.01084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2829-38_0_6_line_36 |  | 32 | 34 | 0.0076759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2829-38_0_6_line_37 |  | 33 | 35 | 0.049364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2829-38_0_6_line_38 |  | 34 | 36 | 0.014019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2829-38_0_6_line_39 |  | 35 | 37 | 0.0030031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2829-38_0_6_line_40 |  | 37 | 38 | 0.042673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2829-38_0_6_line_41 |  | 38 | 44 | 0.046593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2829-38_0_6_line_42 |  | 39 | 40 | 0.0050723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2829-38_0_6_line_43 |  | 40 | 41 | 0.016991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2829-38_0_6_line_44 |  | 41 | 42 | 0.011471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2829-38_0_6_line_45 |  | 42 | 43 | 0.015473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2829-38_0_6_line_46 |  | 43 | 46 | 0.0047577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2829-38_0_6_line_47 |  | 44 | 45 | 0.010529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2829-38_0_6_line_48 |  | 47 | 49 | 0.024475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2829-38_0_6_line_49 |  | 47 | 48 | 0.037105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2829-38_0_6_line_50 |  | 49 | 50 | 0.019902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2829-38_0_6_line_51 |  | 50 | 51 | 0.027307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2829-38_0_6_line_52 |  | 51 | 87 | 0.027256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2829-38_0_6_line_53 |  | 52 | 53 | 0.016984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2829-38_0_6_line_54 |  | 53 | 56 | 0.026551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2829-38_0_6_line_55 |  | 54 | 55 | 0.045557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2829-38_0_6_line_56 |  | 55 | 57 | 0.01872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2829-38_0_6_line_57 |  | 56 | 58 | 0.0081943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2829-38_0_6_line_58 |  | 57 | 61 | 0.0030317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2829-38_0_6_line_59 |  | 58 | 62 | 0.0069799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2829-38_0_6_line_60 |  | 59 | 60 | 0.017016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2829-38_0_6_line_61 |  | 60 | 63 | 0.0044577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2829-38_0_6_line_62 |  | 61 | 80 | 0.017309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2829-38_0_6_line_63 |  | 62 | 72 | 0.017318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2829-38_0_6_line_64 |  | 63 | 64 | 0.023482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2829-38_0_6_line_65 |  | 64 | 65 | 0.016223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2829-38_0_6_line_66 |  | 65 | 66 | 0.020012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2829-38_0_6_line_67 |  | 66 | 73 | 0.083542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2829-38_0_6_line_68 |  | 67 | 68 | 0.0016956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2829-38_0_6_line_69 |  | 68 | 69 | 0.0048742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2829-38_0_6_line_70 |  | 69 | 70 | 0.013273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2829-38_0_6_line_71 |  | 70 | 71 | 0.0031124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2829-38_0_6_line_72 |  | 71 | 73 | 0.0063283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2829-38_0_6_line_73 |  | 72 | 74 | 0.014493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2829-38_0_6_line_74 |  | 72 | 75 | 0.061461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2829-38_0_6_line_75 |  | 73 | 76 | 0.012526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2829-38_0_6_line_76 |  | 74 | 77 | 0.021425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2829-38_0_6_line_77 |  | 75 | 79 | 0.0048472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2829-38_0_6_line_78 |  | 76 | 78 | 0.00016871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2829-38_0_6_line_79 |  | 78 | 79 | 0.0081954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2829-38_0_6_line_80 |  | 80 | 81 | 0.017284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2829-38_0_6_line_81 |  | 81 | 82 | 0.0079019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2829-38_0_6_line_82 |  | 82 | 83 | 0.020812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2829-38_0_6_line_83 |  | 82 | 84 | 0.024774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2829-38_0_6_line_84 |  | 83 | 87 | 0.00038736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2829-38_0_6_line_85 |  | 84 | 85 | 0.012573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2829-38_0_6_line_86 |  | 85 | 86 | 0.029434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2829-38_0_6_trafo_2 | 0.63 MVA 20/0.4 kV | 88 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2622920.0329 | 1259518.77 | 2622942.9665 | 1259508.6291
1 | 2622885.4038 | 1259533.7798 | 2622908.3008 | 1259523.9615 | 2622911.1093 | 1259522.7159 | 2622920.0329 | 1259518.77
2 | 2622942.9665 | 1259508.6291 | 2622957.1715 | 1259502.3479
3 | 2622885.4038 | 1259533.7798 | 2622887.3652 | 1259539.1466
4 | 2622885.4038 | 1259533.7798 | 2622872.3963 | 1259539.3779 | 2622869.7931 | 1259540.4999
5 | 2622960.3174 | 1259500.9568 | 2622957.1715 | 1259502.3479
6 | 2622851.4045 | 1259548.4258 | 2622869.7931 | 1259540.4999
7 | 2622960.3174 | 1259500.9568 | 2622969.363 | 1259496.957 | 2622969.363 | 1259496.957
8 | 2622819.3916 | 1259560.5437 | 2622843.1729 | 1259551.9738 | 2622851.4045 | 1259548.4258
9 | 2622980.5552 | 1259490.1929 | 2622969.363 | 1259496.957
10 | 2622819.3916 | 1259560.5437 | 2622799.325 | 1259565.4588 | 2622791.7687 | 1259566.6194
11 | 2622819.3916 | 1259560.5437 | 2622820.5095 | 1259563.8391 | 2622826.9317 | 1259575.1991
12 | 2622853.6265 | 1259644.7867 | 2622832.6282 | 1259651.8942
13 | 2622853.6265 | 1259644.7867 | 2622871.3872 | 1259638.775 | 2622897.5527 | 1259623.6396
14 | 2622819.226 | 1259656.4306 | 2622819.226 | 1259656.4306 | 2622832.6282 | 1259651.8942
15 | 2622953.2416 | 1259593.0164 | 2622946.0399 | 1259593.4213 | 2622905.6802 | 1259618.9383 | 2622897.5527 | 1259623.6396
16 | 2622819.226 | 1259656.4306 | 2622800.6122 | 1259657.9601 | 2622796.6029 | 1259659.0428
17 | 2622961.3955 | 1259592.558 | 2622953.2416 | 1259593.0164
18 | 2622796.6029 | 1259659.0428 | 2622792.3406 | 1259660.1939
19 | 2622781.9391 | 1259663.003 | 2622792.3406 | 1259660.1939
20 | 2622829.8389 | 1259580.3416 | 2622826.9317 | 1259575.1991
21 | 2622829.8389 | 1259580.3416 | 2622833.4298 | 1259586.6933 | 2622833.2869 | 1259591.0396
22 | 2622806.8456 | 1259616.4425 | 2622830.8423 | 1259595.1447 | 2622833.2847 | 1259591.1069 | 2622833.2869 | 1259591.0396
23 | 2622806.8456 | 1259616.4425 | 2622782.8341 | 1259637.7535
24 | 2622770.6862 | 1259569.1846 | 2622791.7687 | 1259566.6194
25 | 2622791.7687 | 1259566.6194 | 2622791.1483 | 1259555.4761 | 2622793.5819 | 1259545.8789
26 | 2622770.1419 | 1259648.2043 | 2622781.9584 | 1259638.5307 | 2622782.8341 | 1259637.7535
27 | 2622770.6862 | 1259569.1846 | 2622770.937 | 1259572.5657 | 2622775.0876 | 1259590.4096
28 | 2622822.0105 | 1259510.6754 | 2622805.8115 | 1259526.9575 | 2622798.8222 | 1259537.4711 | 2622793.5819 | 1259545.8789
29 | 2622754.3571 | 1259664.5981 | 2622756.4496 | 1259659.4137 | 2622770.1419 | 1259648.2043
30 | 2622775.4718 | 1259664.7495 | 2622758.4765 | 1259669.3393 | 2622754.3571 | 1259664.5981 | 2622754.3571 | 1259664.5981
31 | 2622754.3571 | 1259664.5981 | 2622735.9337 | 1259649.9174
32 | 2622781.9391 | 1259663.003 | 2622775.4718 | 1259664.7495
33 | 2622735.9337 | 1259649.9174 | 2622722.3321 | 1259655.9997
34 | 2622702.5275 | 1259664.8558 | 2622692.8995 | 1259669.1612
35 | 2622683.3599 | 1259672.8768 | 2622683.4719 | 1259673.377 | 2622692.8995 | 1259669.1612
36 | 2622702.5275 | 1259664.8558 | 2622709.5347 | 1259661.7224
37 | 2622683.3599 | 1259672.8768 | 2622678.2479 | 1259650.0411 | 2622675.2691 | 1259636.7207 | 2622670.3607 | 1259625.4276 | 2622670.3607 | 1259625.4276
38 | 2622722.3321 | 1259655.9997 | 2622709.5347 | 1259661.7224
39 | 2622670.3607 | 1259625.4276 | 2622669.01 | 1259622.7454
40 | 2622652.4557 | 1259583.4639 | 2622655.6994 | 1259592.5492 | 2622660.6777 | 1259605.2991 | 2622664.5713 | 1259613.9309 | 2622669.01 | 1259622.7454
41 | 2622652.4557 | 1259583.4639 | 2622650.9867 | 1259579.3444 | 2622667.6486 | 1259577.8292 | 2622666.9515 | 1259572.9121 | 2622666.2983 | 1259568.3176 | 2622664.1125 | 1259552.5874
42 | 2622726.2629 | 1259610.9316 | 2622730.9732 | 1259609.0498
43 | 2622746.7516 | 1259602.7464 | 2622730.9732 | 1259609.0498
44 | 2622757.4037 | 1259598.4908 | 2622746.7516 | 1259602.7464
45 | 2622757.4037 | 1259598.4908 | 2622771.7726 | 1259592.7505
46 | 2622775.0876 | 1259590.4096 | 2622775.304 | 1259591.3397 | 2622771.7726 | 1259592.7505
47 | 2622664.1125 | 1259552.5874 | 2622667.3161 | 1259548.5191 | 2622668.9427 | 1259544.9118 | 2622669.6737 | 1259543.7254
48 | 2622822.0105 | 1259510.6754 | 2622839.924 | 1259493.9986
49 | 2622822.0105 | 1259510.6754 | 2622806.6761 | 1259500.087 | 2622798.7862 | 1259491.9622 | 2622797.0136 | 1259485.041
50 | 2622854.4904 | 1259480.4378 | 2622839.924 | 1259493.9986
51 | 2622874.4771 | 1259461.8309 | 2622854.4904 | 1259480.4378
52 | 2622894.4263 | 1259443.2589 | 2622874.4771 | 1259461.8309
53 | 2623044.4153 | 1259421.1743 | 2623028.9353 | 1259414.1881
54 | 2623044.4153 | 1259421.1743 | 2623029.9409 | 1259443.4332
55 | 2622954.5363 | 1259382.5662 | 2622959.902 | 1259386.6119 | 2622968.6123 | 1259389.203 | 2622993.4054 | 1259392.0454 | 2622991.5718 | 1259396.4747
56 | 2622954.5363 | 1259382.5662 | 2622941.5744 | 1259396.0721
57 | 2623024.5139 | 1259449.5729 | 2623029.9409 | 1259443.4332
58 | 2622939.4752 | 1259398.2595 | 2622941.5744 | 1259396.0721
59 | 2623024.5139 | 1259449.5729 | 2623019.8913 | 1259454.8026
60 | 2623178.7536 | 1259504.7994 | 2623170.225 | 1259519.5235
61 | 2623170.225 | 1259519.5235 | 2623167.9907 | 1259523.3808 | 2623167.9907 | 1259523.3808
62 | 2622927.4902 | 1259410.7475 | 2622939.4752 | 1259398.2595
63 | 2623008.4216 | 1259467.7785 | 2623019.8913 | 1259454.8026
64 | 2623164.0295 | 1259544.5909 | 2623170.785 | 1259533.4764 | 2623167.9907 | 1259523.3808
65 | 2623164.0295 | 1259544.5909 | 2623162.2361 | 1259547.5415 | 2623150.0888 | 1259551.4818
66 | 2623150.0888 | 1259551.4818 | 2623145.0305 | 1259553.1226 | 2623131.6875 | 1259553.871 | 2623130.9353 | 1259554.9686
67 | 2623071.2926 | 1259496.47 | 2623130.9353 | 1259554.9686
68 | 2623086.7561 | 1259471.9179 | 2623085.9896 | 1259473.4304
69 | 2623085.9896 | 1259473.4304 | 2623083.7861 | 1259477.7782
70 | 2623077.7861 | 1259489.6173 | 2623077.7861 | 1259489.6173 | 2623083.7861 | 1259477.7782
71 | 2623075.6453 | 1259491.8765 | 2623077.7861 | 1259489.6173
72 | 2623075.6453 | 1259491.8765 | 2623071.2926 | 1259496.47
73 | 2623008.4216 | 1259467.7785 | 2623006.3069 | 1259470.1709 | 2622997.7819 | 1259477.5881
74 | 2623008.4216 | 1259467.7785 | 2623051.0184 | 1259512.0841
75 | 2623062.0493 | 1259504.8139 | 2623065.6094 | 1259502.4676 | 2623071.2926 | 1259496.47
76 | 2622997.7819 | 1259477.5881 | 2622989.526 | 1259484.7713 | 2622980.5552 | 1259490.1929
77 | 2623051.0184 | 1259512.0841 | 2623055.0656 | 1259509.4167
78 | 2623061.9085 | 1259504.9067 | 2623062.0493 | 1259504.8139
79 | 2623061.9085 | 1259504.9067 | 2623055.0656 | 1259509.4167
80 | 2622927.4902 | 1259410.7475 | 2622915.4477 | 1259423.1459
81 | 2622909.9422 | 1259428.8142 | 2622915.4477 | 1259423.1459
82 | 2622909.9422 | 1259428.8142 | 2622894.7098 | 1259442.995
83 | 2622909.9422 | 1259428.8142 | 2622926.6211 | 1259447.1326
84 | 2622894.4263 | 1259443.2589 | 2622894.7098 | 1259442.995
85 | 2622926.6211 | 1259447.1326 | 2622935.0859 | 1259456.4295
86 | 2622955.8884 | 1259455.7546 | 2622944.2401 | 1259466.4835 | 2622935.0859 | 1259456.4295

## bus_geodata
| x | y | coords
0 | 2622920.0329 | 1259518.77
1 | 2622942.9665 | 1259508.6291
2 | 2622885.4038 | 1259533.7798
3 | 2622957.1715 | 1259502.3479
4 | 2622887.3652 | 1259539.1466
5 | 2622869.7931 | 1259540.4999
6 | 2622960.3174 | 1259500.9568
7 | 2622851.4045 | 1259548.4258
8 | 2622969.363 | 1259496.957
9 | 2622819.3916 | 1259560.5437
10 | 2622853.6265 | 1259644.7867
11 | 2622832.6282 | 1259651.8942
12 | 2622897.5527 | 1259623.6396
13 | 2622819.226 | 1259656.4306
14 | 2622953.2416 | 1259593.0164
15 | 2622796.6029 | 1259659.0428
16 | 2622961.3955 | 1259592.558
17 | 2622792.3406 | 1259660.1939
18 | 2622829.8389 | 1259580.3416
19 | 2622826.9317 | 1259575.1991
20 | 2622833.2869 | 1259591.0396
21 | 2622806.8456 | 1259616.4425
22 | 2622791.7687 | 1259566.6194
23 | 2622782.8341 | 1259637.7535
24 | 2622770.6862 | 1259569.1846
25 | 2622793.5819 | 1259545.8789
26 | 2622770.1419 | 1259648.2043
27 | 2622754.3571 | 1259664.5981
28 | 2622775.4718 | 1259664.7495
29 | 2622735.9337 | 1259649.9174
30 | 2622781.9391 | 1259663.003
31 | 2622692.8995 | 1259669.1612
32 | 2622702.5275 | 1259664.8558
33 | 2622683.3599 | 1259672.8768
34 | 2622709.5347 | 1259661.7224
35 | 2622670.3607 | 1259625.4276
36 | 2622722.3321 | 1259655.9997
37 | 2622669.01 | 1259622.7454
38 | 2622652.4557 | 1259583.4639
39 | 2622726.2629 | 1259610.9316
40 | 2622730.9732 | 1259609.0498
41 | 2622746.7516 | 1259602.7464
42 | 2622757.4037 | 1259598.4908
43 | 2622771.7726 | 1259592.7505
44 | 2622664.1125 | 1259552.5874
45 | 2622669.6737 | 1259543.7254
46 | 2622775.0876 | 1259590.4096
47 | 2622822.0105 | 1259510.6754
48 | 2622797.0136 | 1259485.041
49 | 2622839.924 | 1259493.9986
50 | 2622854.4904 | 1259480.4378
51 | 2622874.4771 | 1259461.8309
52 | 2623028.9353 | 1259414.1881
53 | 2623044.4153 | 1259421.1743
54 | 2622991.5718 | 1259396.4747
55 | 2622954.5363 | 1259382.5662
56 | 2623029.9409 | 1259443.4332
57 | 2622941.5744 | 1259396.0721
58 | 2623024.5139 | 1259449.5729
59 | 2623178.7536 | 1259504.7994
60 | 2623170.225 | 1259519.5235
61 | 2622939.4752 | 1259398.2595
62 | 2623019.8913 | 1259454.8026
63 | 2623167.9907 | 1259523.3808
64 | 2623164.0295 | 1259544.5909
65 | 2623150.0888 | 1259551.4818
66 | 2623130.9353 | 1259554.9686
67 | 2623086.7561 | 1259471.9179
68 | 2623085.9896 | 1259473.4304
69 | 2623083.7861 | 1259477.7782
70 | 2623077.7861 | 1259489.6173
71 | 2623075.6453 | 1259491.8765
72 | 2623008.4216 | 1259467.7785
73 | 2623071.2926 | 1259496.47
74 | 2622997.7819 | 1259477.5881
75 | 2623051.0184 | 1259512.0841
76 | 2623062.0493 | 1259504.8139
77 | 2622980.5552 | 1259490.1929
78 | 2623061.9085 | 1259504.9067
79 | 2623055.0656 | 1259509.4167
80 | 2622927.4902 | 1259410.7475
81 | 2622915.4477 | 1259423.1459
82 | 2622909.9422 | 1259428.8142
83 | 2622894.7098 | 1259442.995
84 | 2622926.6211 | 1259447.1326
85 | 2622935.0859 | 1259456.4295
86 | 2622955.8884 | 1259455.7546
87 | 2622894.4263 | 1259443.2589
88 | 2622885.51 | 1259539.4507

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1