## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2829-39_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2829-39_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2829-39_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2829-39_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2829-39_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2829-39_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2829-39_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2829-39_0_4_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_2829-39_0_4_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_2829-39_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2829-39_0_4_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_2829-39_0_4_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_2829-39_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2829-39_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2829-39_0_4_node_66 | 0.4 | n |  | TRUE
15 | bus_LV_2829-39_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2829-39_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2829-39_0_4_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_2829-39_0_4_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_2829-39_0_4_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_2829-39_0_4_node_58 | 0.4 | n |  | TRUE
21 | bus_LV_2829-39_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_2829-39_0_4_node_79 | 0.4 | n |  | TRUE
23 | bus_LV_2829-39_0_4_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_2829-39_0_4_node_78 | 0.4 | n |  | TRUE
25 | bus_LV_2829-39_0_4_node_65 | 0.4 | n |  | TRUE
26 | bus_LV_2829-39_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2829-39_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_2829-39_0_4_node_87 | 0.4 | n |  | TRUE
29 | bus_LV_2829-39_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_2829-39_0_4_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_2829-39_0_4_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_2829-39_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_2829-39_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_2829-39_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_2829-39_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_2829-39_0_4_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_2829-39_0_4_node_88 | 0.4 | n |  | TRUE
38 | bus_LV_2829-39_0_4_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_2829-39_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_2829-39_0_4_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_2829-39_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_2829-39_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_2829-39_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_2829-39_0_4_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_2829-39_0_4_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_2829-39_0_4_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_2829-39_0_4_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_2829-39_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_2829-39_0_4_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_2829-39_0_4_node_74 | 0.4 | n |  | TRUE
51 | bus_LV_2829-39_0_4_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_2829-39_0_4_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_2829-39_0_4_node_85 | 0.4 | n |  | TRUE
54 | bus_LV_2829-39_0_4_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_2829-39_0_4_node_89 | 0.4 | n |  | TRUE
56 | bus_LV_2829-39_0_4_node_90 | 0.4 | n |  | TRUE
57 | bus_LV_2829-39_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_2829-39_0_4_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_2829-39_0_4_node_28 | 0.4 | n |  | TRUE
60 | bus_LV_2829-39_0_4_node_29 | 0.4 | n |  | TRUE
61 | bus_LV_2829-39_0_4_node_30 | 0.4 | n |  | TRUE
62 | bus_LV_2829-39_0_4_node_31 | 0.4 | n |  | TRUE
63 | bus_LV_2829-39_0_4_node_36 | 0.4 | n |  | TRUE
64 | bus_LV_2829-39_0_4_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_2829-39_0_4_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_2829-39_0_4_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_2829-39_0_4_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_2829-39_0_4_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_2829-39_0_4_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_2829-39_0_4_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_2829-39_0_4_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_2829-39_0_4_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_2829-39_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_2829-39_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_2829-39_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_2829-39_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_2829-39_0_4_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_2829-39_0_4_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_2829-39_0_4_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_2829-39_0_4_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_2829-39_0_4_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_2829-39_0_4_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_2829-39_0_4_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_2829-39_0_4_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_2829-39_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_2829-39_0_4_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_2829-39_0_4_node_84 | 0.4 | n |  | TRUE
88 | bus_MV_289_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2829-39_0_4_load_0 | 0 | 0.0028309 | 0.0007095 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2829-39_0_4_load_1 | 1 | 0.010419 | 0.0026112 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2829-39_0_4_load_2 | 2 | 0.0023901 | 0.00059901 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2829-39_0_4_load_4 | 4 | 0.0027157 | 0.00068063 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2829-39_0_4_load_22 | 7 | 0.0039075 | 0.0009793 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2829-39_0_4_load_26 | 8 | 0.0020631 | 0.00051705 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2829-39_0_4_load_23 | 10 | 0.021334 | 0.0053467 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2829-39_0_4_load_24 | 11 | 0.0036336 | 0.00091068 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2829-39_0_4_load_66 | 14 | 0.00049948 | 0.00012518 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2829-39_0_4_load_53 | 18 | 0.001848 | 0.00046315 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2829-39_0_4_load_58 | 20 | 0.0068192 | 0.0017091 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2829-39_0_4_load_79 | 22 | 0.0038299 | 0.00095986 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2829-39_0_4_load_78 | 24 | 0.0034241 | 0.00085816 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2829-39_0_4_load_65 | 25 | 0.0019912 | 0.00049904 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2829-39_0_4_load_87 | 28 | 0.010885 | 0.002728 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2829-39_0_4_load_33 | 31 | 0.0013948 | 0.00034957 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2829-39_0_4_load_27 | 35 | 0.0016963 | 0.00042514 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2829-39_0_4_load_62 | 36 | 0.0018481 | 0.00046317 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2829-39_0_4_load_88 | 37 | 0.00043045 | 0.00010788 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2829-39_0_4_load_76 | 38 | 0.015588 | 0.0039067 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2829-39_0_4_load_39 | 40 | 0.0030937 | 0.00077535 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2829-39_0_4_load_40 | 42 | 0.00099895 | 0.00025036 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2829-39_0_4_load_38 | 43 | 0.0044453 | 0.0011141 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2829-39_0_4_load_56 | 44 | 0.001885 | 0.00047242 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2829-39_0_4_load_57 | 45 | 0.00097478 | 0.0002443 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2829-39_0_4_load_55 | 46 | 0.0024286 | 0.00060866 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2829-39_0_4_load_51 | 47 | 0.098051 | 0.024574 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2829-39_0_4_load_43 | 48 | 0.00093515 | 0.00023437 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2829-39_0_4_load_80 | 49 | 0.0034804 | 0.00087228 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2829-39_0_4_load_74 | 50 | 0.013121 | 0.0032885 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2829-39_0_4_load_77 | 51 | 0.0027229 | 0.00068242 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2829-39_0_4_load_86 | 52 | 0.014133 | 0.0035421 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2829-39_0_4_load_85 | 53 | 0.0061902 | 0.0015514 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2829-39_0_4_load_32 | 54 | 0.0074597 | 0.0018696 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2829-39_0_4_load_90 | 56 | 0.011878 | 0.002977 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2829-39_0_4_load_60 | 57 | 0.001167 | 0.00029247 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2829-39_0_4_load_35 | 58 | 0.0024558 | 0.00061549 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2829-39_0_4_load_28 | 59 | 0.00083871 | 0.0002102 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2829-39_0_4_load_30 | 61 | 0.00092214 | 0.00023111 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2829-39_0_4_load_31 | 62 | 0.0019152 | 0.00047999 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2829-39_0_4_load_36 | 63 | 0.0010688 | 0.00026788 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2829-39_0_4_load_41 | 64 | 0.0067982 | 0.0017038 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2829-39_0_4_load_44 | 66 | 0.0017914 | 0.00044896 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2829-39_0_4_load_46 | 67 | 0.00053101 | 0.00013308 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2829-39_0_4_load_47 | 68 | 0.0012578 | 0.00031524 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2829-39_0_4_load_54 | 69 | 0.00049416 | 0.00012385 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2829-39_0_4_load_48 | 70 | 0.002138 | 0.00053584 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2829-39_0_4_load_49 | 71 | 0.00077059 | 0.00019313 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2829-39_0_4_load_50 | 72 | 0.00048278 | 0.000121 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2829-39_0_4_load_59 | 73 | 0.0032201 | 0.00080704 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2829-39_0_4_load_61 | 74 | 0.0029999 | 0.00075185 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2829-39_0_4_load_63 | 75 | 0.0065763 | 0.0016482 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2829-39_0_4_load_64 | 76 | 0.00027992 | 7.0155e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2829-39_0_4_load_69 | 77 | 0.003789 | 0.00094961 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2829-39_0_4_load_67 | 78 | 0.010915 | 0.0027356 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2829-39_0_4_load_68 | 79 | 0.0049455 | 0.0012395 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2829-39_0_4_load_70 | 80 | 0.028926 | 0.0072495 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2829-39_0_4_load_71 | 81 | 0.0041837 | 0.0010485 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2829-39_0_4_load_72 | 82 | 0.0065629 | 0.0016448 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2829-39_0_4_load_73 | 83 | 0.0022499 | 0.00056389 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2829-39_0_4_load_81 | 84 | 0.0032563 | 0.00081611 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2829-39_0_4_load_82 | 85 | 0.003499 | 0.00087692 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2829-39_0_4_load_83 | 86 | 0.004402 | 0.0011033 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2829-39_0_4_load_84 | 87 | 0.0031897 | 0.00079942 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2829-39_0_4_line_0 |  | 0 | 1 | 0.037763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_2829-39_0_4_line_1 |  | 0 | 2 | 0.032181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2829-39_0_4_line_2 |  | 1 | 3 | 0.0085714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2829-39_0_4_line_3 |  | 2 | 4 | 0.031168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2829-39_0_4_line_4 |  | 3 | 5 | 0.11174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2829-39_0_4_line_5 |  | 3 | 6 | 0.043985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2829-39_0_4_line_6 |  | 4 | 7 | 0.013907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2829-39_0_4_line_7 |  | 5 | 8 | 0.010803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2829-39_0_4_line_8 |  | 6 | 11 | 0.041895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2829-39_0_4_line_9 |  | 6 | 12 | 0.093846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2829-39_0_4_line_10 |  | 6 | 9 | 0.004695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2829-39_0_4_line_11 |  | 7 | 35 | 0.0080408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2829-39_0_4_line_12 |  | 8 | 42 | 0.0015263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2829-39_0_4_line_13 |  | 8 | 43 | 0.012563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2829-39_0_4_line_14 |  | 9 | 10 | 0.013821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2829-39_0_4_line_15 |  | 12 | 14 | 0.025706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2829-39_0_4_line_16 |  | 12 | 20 | 0.022304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_2829-39_0_4_line_17 |  | 13 | 14 | 0.039174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2829-39_0_4_line_18 |  | 13 | 15 | 0.013676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2829-39_0_4_line_19 |  | 15 | 25 | 0.012099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2829-39_0_4_line_20 |  | 16 | 17 | 0.007259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2829-39_0_4_line_21 |  | 16 | 18 | 0.067563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2829-39_0_4_line_22 |  | 16 | 19 | 0.014577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2829-39_0_4_line_23 |  | 17 | 44 | 0.040382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2829-39_0_4_line_24 |  | 17 | 45 | 0.015937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2829-39_0_4_line_25 |  | 18 | 46 | 0.0015247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2829-39_0_4_line_26 |  | 19 | 47 | 0.024698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2829-39_0_4_line_27 |  | 19 | 48 | 0.027088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2829-39_0_4_line_28 |  | 20 | 44 | 0.027176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2829-39_0_4_line_29 |  | 21 | 22 | 0.016838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2829-39_0_4_line_30 |  | 21 | 23 | 0.12036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2829-39_0_4_line_31 |  | 21 | 24 | 0.014737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2829-39_0_4_line_32 |  | 22 | 49 | 0.0034029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2829-39_0_4_line_33 |  | 23 | 38 | 0.023676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2829-39_0_4_line_34 |  | 23 | 50 | 0.015755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2829-39_0_4_line_35 |  | 24 | 51 | 0.0088295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2829-39_0_4_line_36 |  | 26 | 27 | 0.011778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2829-39_0_4_line_37 |  | 26 | 28 | 0.012264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2829-39_0_4_line_38 |  | 27 | 37 | 0.014142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2829-39_0_4_line_39 |  | 28 | 32 | 0.033297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2829-39_0_4_line_40 |  | 29 | 30 | 0.084585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2829-39_0_4_line_41 |  | 29 | 31 | 0.024817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2829-39_0_4_line_42 |  | 30 | 40 | 0.027356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2829-39_0_4_line_43 |  | 31 | 54 | 0.021601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2829-39_0_4_line_44 |  | 32 | 33 | 0.04094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2829-39_0_4_line_45 |  | 33 | 38 | 0.027262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2829-39_0_4_line_46 |  | 34 | 35 | 0.066031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2829-39_0_4_line_47 |  | 34 | 36 | 0.040282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_2829-39_0_4_line_48 |  | 36 | 57 | 0.008619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_2829-39_0_4_line_49 |  | 37 | 55 | 0.0035371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2829-39_0_4_line_50 |  | 39 | 40 | 0.030394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2829-39_0_4_line_51 |  | 39 | 41 | 0.017292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2829-39_0_4_line_52 |  | 41 | 43 | 0.017851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2829-39_0_4_line_53 |  | 41 | 58 | 0.004779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2829-39_0_4_line_54 |  | 45 | 62 | 0.0087603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2829-39_0_4_line_55 |  | 47 | 69 | 0.03607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2829-39_0_4_line_56 |  | 48 | 65 | 0.0091182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2829-39_0_4_line_57 |  | 49 | 84 | 0.024753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_2829-39_0_4_line_58 |  | 50 | 83 | 0.04341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_2829-39_0_4_line_59 |  | 52 | 53 | 0.012121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2829-39_0_4_line_60 |  | 53 | 87 | 0.027469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_2829-39_0_4_line_61 |  | 55 | 56 | 0.0067788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2829-39_0_4_line_62 |  | 57 | 73 | 0.0049878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_2829-39_0_4_line_63 |  | 58 | 63 | 0.011278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2829-39_0_4_line_64 |  | 59 | 60 | 0.11307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2829-39_0_4_line_65 |  | 60 | 61 | 0.015788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2829-39_0_4_line_66 |  | 61 | 62 | 0.013234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2829-39_0_4_line_67 |  | 64 | 65 | 0.033083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2829-39_0_4_line_68 |  | 65 | 66 | 0.011299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2829-39_0_4_line_69 |  | 66 | 67 | 0.019207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2829-39_0_4_line_70 |  | 67 | 68 | 0.0012429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2829-39_0_4_line_71 |  | 68 | 70 | 0.012908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2829-39_0_4_line_72 |  | 70 | 71 | 0.0081018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2829-39_0_4_line_73 |  | 71 | 72 | 0.0022847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2829-39_0_4_line_74 |  | 73 | 74 | 0.019446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_2829-39_0_4_line_75 |  | 74 | 75 | 0.0058536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_2829-39_0_4_line_76 |  | 75 | 76 | 0.0036867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_2829-39_0_4_line_77 |  | 76 | 77 | 0.01811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_2829-39_0_4_line_78 |  | 77 | 78 | 0.0039377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_2829-39_0_4_line_79 |  | 78 | 79 | 0.019665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_2829-39_0_4_line_80 |  | 79 | 80 | 0.018713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_2829-39_0_4_line_81 |  | 80 | 81 | 0.0078081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_2829-39_0_4_line_82 |  | 81 | 82 | 0.024291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_2829-39_0_4_line_83 |  | 82 | 83 | 0.0056717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_2829-39_0_4_line_84 |  | 84 | 85 | 0.003935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_2829-39_0_4_line_85 |  | 85 | 86 | 0.027122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_2829-39_0_4_line_86 |  | 86 | 87 | 0.00038749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2829-39_0_4_trafo_2 | 0.63 MVA 20/0.4 kV | 88 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2622614.5895 | 1259518.9867 | 2622580.5031 | 1259535.2406
1 | 2622614.5895 | 1259518.9867 | 2622643.637 | 1259505.1357
2 | 2622572.7663 | 1259538.9298 | 2622580.5031 | 1259535.2406
3 | 2622643.637 | 1259505.1357 | 2622652.3413 | 1259500.9851 | 2622656.3933 | 1259497.7762 | 2622658.8386 | 1259492.9489 | 2622659.2641 | 1259488.1139 | 2622658.4807 | 1259482.0734 | 2622658.4807 | 1259482.0734
4 | 2622572.7663 | 1259538.9298 | 2622571.712 | 1259546.631 | 2622565.6082 | 1259556.2811 | 2622553.8505 | 1259564.2973 | 2622545.3581 | 1259565.8773 | 2622503.0599 | 1259586.2861 | 2622482.7906 | 1259597.0388
5 | 2622536.0554 | 1259552.6218 | 2622539.4777 | 1259548.4875 | 2622544.4578 | 1259552.8983 | 2622547.997 | 1259549.7541 | 2622548.6247 | 1259549.1783 | 2622550.4323 | 1259547.5285 | 2622572.7663 | 1259538.9298
6 | 2622652.0131 | 1259469.7613 | 2622658.4807 | 1259482.0734
7 | 2622482.7906 | 1259597.0388 | 2622478.5652 | 1259596.3223 | 2622474.7863 | 1259595.1405 | 2622472.3476 | 1259594.2751
8 | 2622536.0554 | 1259552.6218 | 2622525.3267 | 1259565.5565 | 2622502.7048 | 1259576.5893
9 | 2622536.0554 | 1259552.6218 | 2622542.7461 | 1259559.0738 | 2622564.408 | 1259580.5152 | 2622569.7305 | 1259588.0183 | 2622573.5979 | 1259595.6494 | 2622575.7707 | 1259602.9849 | 2622577.844 | 1259612.6994 | 2622577.5738 | 1259620.3146 | 2622583.078 | 1259621.6587 | 2622588.3713 | 1259622.9464
10 | 2622532.699 | 1259549.329 | 2622536.0554 | 1259552.6218
11 | 2622652.0131 | 1259469.7613 | 2622648.2738 | 1259462.6429
12 | 2622472.3476 | 1259594.2751 | 2622473.665 | 1259593.5044
13 | 2622472.3476 | 1259594.2751 | 2622461.5084 | 1259600.6272
14 | 2622532.699 | 1259549.329 | 2622523.843 | 1259541.4678 | 2622522.194 | 1259540.3737
15 | 2622588.3713 | 1259622.9464 | 2622596.7287 | 1259611.2925 | 2622604.9408 | 1259603.4361
16 | 2622588.3713 | 1259622.9464 | 2622580.8269 | 1259643.9352
17 | 2622638.809 | 1259584.8461 | 2622632.6154 | 1259586.4013 | 2622625.7999 | 1259588.977 | 2622617.7801 | 1259593.1382 | 2622606.2672 | 1259602.1671 | 2622604.9408 | 1259603.4361
18 | 2622638.809 | 1259584.8461 | 2622652.4557 | 1259583.4639
19 | 2622652.4557 | 1259583.4639 | 2622655.6994 | 1259592.5492 | 2622656.5911 | 1259594.8328
20 | 2622545.2286 | 1259700.991 | 2622545.9344 | 1259693.7665
21 | 2622545.9344 | 1259693.7665 | 2622524.7445 | 1259720.7489 | 2622512.2721 | 1259736.4789 | 2622507.0629 | 1259740.8399 | 2622501.6263 | 1259744.1915
22 | 2622545.9344 | 1259693.7665 | 2622537.2094 | 1259695.1232 | 2622531.8352 | 1259697.2709
23 | 2622545.2286 | 1259700.991 | 2622555.3007 | 1259688.254 | 2622567.6968 | 1259670.8448 | 2622568.9229 | 1259668.358
24 | 2622545.2286 | 1259700.991 | 2622543.6825 | 1259716.8525
25 | 2622501.6263 | 1259744.1915 | 2622500.8609 | 1259744.6634 | 2622500.3317 | 1259744.9968
26 | 2622531.8352 | 1259697.2709 | 2622518.462 | 1259676.5064
27 | 2622531.8352 | 1259697.2709 | 2622508.3054 | 1259710.6908
28 | 2622580.8269 | 1259643.9352 | 2622580.4569 | 1259644.9646 | 2622568.9229 | 1259668.358
29 | 2622889.5475 | 1259370.2067 | 2622875.9135 | 1259380.0869
30 | 2622817.5232 | 1259286.2498 | 2622821.1179 | 1259288.3317 | 2622825.9329 | 1259288.6394 | 2622836.6702 | 1259285.5341 | 2622850.5439 | 1259313.4288 | 2622881.2683 | 1259361.3798 | 2622889.5475 | 1259370.2067
31 | 2622889.5475 | 1259370.2067 | 2622902.2195 | 1259362.683
32 | 2622873.1581 | 1259382.0837 | 2622875.9135 | 1259380.0869
33 | 2622817.5232 | 1259286.2498 | 2622804.7083 | 1259266.3421
34 | 2622817.5232 | 1259286.2498 | 2622808.2739 | 1259299.0039
35 | 2622909.8742 | 1259358.2872 | 2622907.6326 | 1259359.4692 | 2622902.2195 | 1259362.683
36 | 2622699.0852 | 1259262.6794 | 2622700.1053 | 1259263.962 | 2622701.013 | 1259265.0884 | 2622704.8408 | 1259267.3268 | 2622709.0992 | 1259267.3431
37 | 2622709.0992 | 1259267.3431 | 2622710.7046 | 1259267.3493 | 2622717.5837 | 1259265.9636 | 2622720.8877 | 1259264.433
38 | 2622699.0852 | 1259262.6794 | 2622687.7121 | 1259271.0853
39 | 2622751.1006 | 1259250.437 | 2622720.8877 | 1259264.433
40 | 2622393.1058 | 1259658.3858 | 2622374.0149 | 1259622.6338 | 2622367.3251 | 1259621.9081 | 2622346.1477 | 1259595.7327 | 2622349.2226 | 1259593.754
41 | 2622349.2226 | 1259593.754 | 2622361.1271 | 1259588.6843 | 2622370.3663 | 1259581.2195
42 | 2622393.1058 | 1259658.3858 | 2622400.7156 | 1259652.9886 | 2622415.5469 | 1259642.7416
43 | 2622387.328 | 1259567.8468 | 2622378.1668 | 1259574.917 | 2622370.3663 | 1259581.2195
44 | 2622751.1006 | 1259250.437 | 2622767.3512 | 1259244.4064 | 2622774.3641 | 1259239.6189 | 2622778.2421 | 1259240.5456 | 2622785.9023 | 1259243.8439 | 2622788.3695 | 1259245.1431
45 | 2622788.3695 | 1259245.1431 | 2622792.4538 | 1259247.3047 | 2622804.7083 | 1259266.3421
46 | 2622617.5664 | 1259404.1865 | 2622648.2738 | 1259462.6429
47 | 2622617.5664 | 1259404.1865 | 2622629.3084 | 1259402.3634 | 2622657.1164 | 1259396.5988
48 | 2622665.556 | 1259394.8493 | 2622657.1164 | 1259396.5988
49 | 2622684.8676 | 1259273.1877 | 2622687.7121 | 1259271.0853
50 | 2622440.5529 | 1259625.4649 | 2622415.5469 | 1259642.7416
51 | 2622440.5529 | 1259625.4649 | 2622443.4439 | 1259622.2848 | 2622444.7302 | 1259618.954 | 2622445.5254 | 1259615.955 | 2622446.1069 | 1259609.6529
52 | 2622446.1069 | 1259609.6529 | 2622461.5084 | 1259600.6272
53 | 2622446.1069 | 1259609.6529 | 2622441.984 | 1259612.0695
54 | 2622543.6825 | 1259716.8525 | 2622542.8327 | 1259725.5715
55 | 2622518.462 | 1259676.5064 | 2622498.9317 | 1259646.1817
56 | 2622500.3849 | 1259715.2082 | 2622508.3054 | 1259710.6908
57 | 2622873.1581 | 1259382.0837 | 2622853.1143 | 1259396.6089
58 | 2622780.8731 | 1259332.6072 | 2622790.818 | 1259321.8714 | 2622800.8304 | 1259309.268 | 2622808.2739 | 1259299.0039
59 | 2622801.853 | 1259445.5426 | 2622809.8168 | 1259436.4047
60 | 2622829.3246 | 1259417.1457 | 2622817.4311 | 1259427.6679 | 2622809.8168 | 1259436.4047
61 | 2622684.8676 | 1259273.1877 | 2622684.6798 | 1259274.9882 | 2622680.7129 | 1259277.9799
62 | 2622670.44 | 1259393.8369 | 2622665.556 | 1259394.8493
63 | 2622432.254 | 1259617.7727 | 2622441.984 | 1259612.0695
64 | 2622536.5067 | 1259753.0711 | 2622542.4918 | 1259758.7199 | 2622539.7975 | 1259763.702 | 2622536.9545 | 1259768.1053 | 2622537.4986 | 1259769.6973 | 2622540.6804 | 1259769.3425 | 2622548.4748 | 1259766.9149 | 2622542.9964 | 1259782.5937 | 2622539.2671 | 1259790.1958 | 2622538.1528 | 1259795.851 | 2622541.7837 | 1259796.3095 | 2622559.3987 | 1259789.7387 | 2622576.8605 | 1259783.8567 | 2622584.7925 | 1259779.2786
65 | 2622536.5067 | 1259753.0711 | 2622538.6331 | 1259750.7999 | 2622540.6046 | 1259747.6608 | 2622541.319 | 1259742.1264 | 2622541.6231 | 1259738.7503
66 | 2622541.6231 | 1259738.7503 | 2622542.5386 | 1259728.5885 | 2622542.8327 | 1259725.5715
67 | 2622500.3849 | 1259715.2082 | 2622471.6466 | 1259731.5967
68 | 2622500.3849 | 1259715.2082 | 2622494.9004 | 1259705.3292
69 | 2622485.5775 | 1259688.5362 | 2622494.9004 | 1259705.3292
70 | 2622484.9742 | 1259687.4495 | 2622485.5775 | 1259688.5362
71 | 2622484.9742 | 1259687.4495 | 2622478.7088 | 1259676.1639
72 | 2622478.7088 | 1259676.1639 | 2622474.7763 | 1259669.0805
73 | 2622474.7763 | 1259669.0805 | 2622473.6674 | 1259667.083
74 | 2622670.44 | 1259393.8369 | 2622670.44 | 1259393.8369 | 2622688.6797 | 1259387.8581 | 2622688.9132 | 1259387.7642
75 | 2622688.9132 | 1259387.7642 | 2622694.3443 | 1259385.5808
76 | 2622694.3443 | 1259385.5808 | 2622697.765 | 1259384.2057
77 | 2622714.2511 | 1259376.7367 | 2622704.3505 | 1259381.5582 | 2622697.765 | 1259384.2057
78 | 2622717.7913 | 1259375.0127 | 2622714.2511 | 1259376.7367
79 | 2622717.7913 | 1259375.0127 | 2622724.5798 | 1259371.7067 | 2622734.8698 | 1259365.3143
80 | 2622750.6189 | 1259355.2134 | 2622743.9508 | 1259359.6728 | 2622734.8698 | 1259365.3143
81 | 2622750.6189 | 1259355.2134 | 2622751.1747 | 1259354.8417 | 2622756.9279 | 1259350.614
82 | 2622756.9279 | 1259350.614 | 2622770.5316 | 1259340.6174 | 2622776.3891 | 1259336.0803
83 | 2622780.8731 | 1259332.6072 | 2622780.8731 | 1259332.6072 | 2622776.3891 | 1259336.0803
84 | 2622849.928 | 1259398.9179 | 2622853.1143 | 1259396.6089
85 | 2622849.928 | 1259398.9179 | 2622849.928 | 1259398.9179 | 2622829.6148 | 1259416.889
86 | 2622829.6148 | 1259416.889 | 2622829.3246 | 1259417.1457

## bus_geodata
| x | y | coords
0 | 2622614.5895 | 1259518.9867
1 | 2622580.5031 | 1259535.2406
2 | 2622643.637 | 1259505.1357
3 | 2622572.7663 | 1259538.9298
4 | 2622658.4807 | 1259482.0734
5 | 2622482.7906 | 1259597.0388
6 | 2622536.0554 | 1259552.6218
7 | 2622652.0131 | 1259469.7613
8 | 2622472.3476 | 1259594.2751
9 | 2622532.699 | 1259549.329
10 | 2622522.194 | 1259540.3737
11 | 2622502.7048 | 1259576.5893
12 | 2622588.3713 | 1259622.9464
13 | 2622638.809 | 1259584.8461
14 | 2622604.9408 | 1259603.4361
15 | 2622652.4557 | 1259583.4639
16 | 2622545.9344 | 1259693.7665
17 | 2622545.2286 | 1259700.991
18 | 2622501.6263 | 1259744.1915
19 | 2622531.8352 | 1259697.2709
20 | 2622580.8269 | 1259643.9352
21 | 2622889.5475 | 1259370.2067
22 | 2622875.9135 | 1259380.0869
23 | 2622817.5232 | 1259286.2498
24 | 2622902.2195 | 1259362.683
25 | 2622656.5911 | 1259594.8328
26 | 2622709.0992 | 1259267.3431
27 | 2622699.0852 | 1259262.6794
28 | 2622720.8877 | 1259264.433
29 | 2622349.2226 | 1259593.754
30 | 2622393.1058 | 1259658.3858
31 | 2622370.3663 | 1259581.2195
32 | 2622751.1006 | 1259250.437
33 | 2622788.3695 | 1259245.1431
34 | 2622617.5664 | 1259404.1865
35 | 2622648.2738 | 1259462.6429
36 | 2622657.1164 | 1259396.5988
37 | 2622687.7121 | 1259271.0853
38 | 2622804.7083 | 1259266.3421
39 | 2622440.5529 | 1259625.4649
40 | 2622415.5469 | 1259642.7416
41 | 2622446.1069 | 1259609.6529
42 | 2622473.665 | 1259593.5044
43 | 2622461.5084 | 1259600.6272
44 | 2622568.9229 | 1259668.358
45 | 2622543.6825 | 1259716.8525
46 | 2622500.3317 | 1259744.9968
47 | 2622518.462 | 1259676.5064
48 | 2622508.3054 | 1259710.6908
49 | 2622873.1581 | 1259382.0837
50 | 2622808.2739 | 1259299.0039
51 | 2622909.8742 | 1259358.2872
52 | 2622801.853 | 1259445.5426
53 | 2622809.8168 | 1259436.4047
54 | 2622387.328 | 1259567.8468
55 | 2622684.8676 | 1259273.1877
56 | 2622680.7129 | 1259277.9799
57 | 2622665.556 | 1259394.8493
58 | 2622441.984 | 1259612.0695
59 | 2622584.7925 | 1259779.2786
60 | 2622536.5067 | 1259753.0711
61 | 2622541.6231 | 1259738.7503
62 | 2622542.8327 | 1259725.5715
63 | 2622432.254 | 1259617.7727
64 | 2622471.6466 | 1259731.5967
65 | 2622500.3849 | 1259715.2082
66 | 2622494.9004 | 1259705.3292
67 | 2622485.5775 | 1259688.5362
68 | 2622484.9742 | 1259687.4495
69 | 2622498.9317 | 1259646.1817
70 | 2622478.7088 | 1259676.1639
71 | 2622474.7763 | 1259669.0805
72 | 2622473.6674 | 1259667.083
73 | 2622670.44 | 1259393.8369
74 | 2622688.9132 | 1259387.7642
75 | 2622694.3443 | 1259385.5808
76 | 2622697.765 | 1259384.2057
77 | 2622714.2511 | 1259376.7367
78 | 2622717.7913 | 1259375.0127
79 | 2622734.8697 | 1259365.3143
80 | 2622750.6189 | 1259355.2134
81 | 2622756.9279 | 1259350.614
82 | 2622776.3891 | 1259336.0803
83 | 2622780.8731 | 1259332.6072
84 | 2622853.1143 | 1259396.6089
85 | 2622849.928 | 1259398.9179
86 | 2622829.6148 | 1259416.889
87 | 2622829.3246 | 1259417.1457
88 | 2622572.7663 | 1259538.9298

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1