## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6421-109_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6421-109_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6421-109_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6421-109_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6421-109_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6421-109_0_6_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_6421-109_0_6_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_6421-109_0_6_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_6421-109_0_6_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_6421-109_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6421-109_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6421-109_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6421-109_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6421-109_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6421-109_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6421-109_0_6_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_6421-109_0_6_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_6421-109_0_6_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_6421-109_0_6_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_6421-109_0_6_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_6421-109_0_6_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_6421-109_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_6421-109_0_6_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_6421-109_0_6_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_6421-109_0_6_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_6421-109_0_6_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6421-109_0_6_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_6421-109_0_6_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_6421-109_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_6421-109_0_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_6421-109_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_6421-109_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_6421-109_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_6421-109_0_6_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_6421-109_0_6_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_6421-109_0_6_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_6421-109_0_6_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_6421-109_0_6_node_66 | 0.4 | n |  | TRUE
38 | bus_LV_6421-109_0_6_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_6421-109_0_6_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_6421-109_0_6_node_72 | 0.4 | n |  | TRUE
41 | bus_LV_6421-109_0_6_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_6421-109_0_6_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_6421-109_0_6_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_6421-109_0_6_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_6421-109_0_6_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_6421-109_0_6_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_6421-109_0_6_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_6421-109_0_6_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_6421-109_0_6_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_6421-109_0_6_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_6421-109_0_6_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_6421-109_0_6_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_6421-109_0_6_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_6421-109_0_6_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_6421-109_0_6_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_6421-109_0_6_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_6421-109_0_6_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_6421-109_0_6_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_6421-109_0_6_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_6421-109_0_6_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_6421-109_0_6_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_6421-109_0_6_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_6421-109_0_6_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_6421-109_0_6_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_6421-109_0_6_node_81 | 0.4 | n |  | TRUE
66 | bus_LV_6421-109_0_6_node_82 | 0.4 | n |  | TRUE
67 | bus_LV_6421-109_0_6_node_77 | 0.4 | n |  | TRUE
68 | bus_LV_6421-109_0_6_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_6421-109_0_6_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_6421-109_0_6_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_6421-109_0_6_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_6421-109_0_6_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_6421-109_0_6_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_6421-109_0_6_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_6421-109_0_6_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_6421-109_0_6_node_76 | 0.4 | n |  | TRUE
77 | bus_MV_321_0_node_10 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6421-109_0_6_load_0 | 0 | 0.0024909 | 0.00062427 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6421-109_0_6_load_1 | 1 | 0.0020862 | 0.00052284 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6421-109_0_6_load_2 | 2 | 0.012294 | 0.003081 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6421-109_0_6_load_3 | 3 | 0.01787 | 0.0044786 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6421-109_0_6_load_4 | 4 | 0.0011927 | 0.00029893 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6421-109_0_6_load_33 | 5 | 0.0012861 | 0.00032233 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6421-109_0_6_load_39 | 6 | 0.00096232 | 0.00024118 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6421-109_0_6_load_31 | 7 | 0.0052847 | 0.0013245 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6421-109_0_6_load_5 | 9 | 0.015357 | 0.0038489 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6421-109_0_6_load_6 | 10 | 0.018389 | 0.0046087 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6421-109_0_6_load_10 | 14 | 0.0064868 | 0.0016257 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6421-109_0_6_load_41 | 16 | 0.015496 | 0.0038836 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6421-109_0_6_load_17 | 20 | 0.017485 | 0.0043821 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6421-109_0_6_load_11 | 22 | 0.007728 | 0.0019368 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6421-109_0_6_load_43 | 23 | 0.0060714 | 0.0015216 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6421-109_0_6_load_47 | 24 | 0.0074623 | 0.0018702 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6421-109_0_6_load_18 | 25 | 0.0063793 | 0.0015988 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6421-109_0_6_load_24 | 26 | 0.013992 | 0.0035068 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6421-109_0_6_load_42 | 27 | 0.0091736 | 0.0022991 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6421-109_0_6_load_19 | 28 | 0.012897 | 0.0032323 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6421-109_0_6_load_20 | 29 | 0.0065123 | 0.0016321 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6421-109_0_6_load_36 | 33 | 0.0074671 | 0.0018714 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6421-109_0_6_load_35 | 34 | 0.020165 | 0.0050539 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6421-109_0_6_load_56 | 36 | 0.0073417 | 0.00184 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6421-109_0_6_load_66 | 37 | 0.02864 | 0.0071779 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6421-109_0_6_load_61 | 38 | 0.035363 | 0.0088628 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6421-109_0_6_load_74 | 39 | 0.013755 | 0.0034474 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6421-109_0_6_load_72 | 40 | 0.0086364 | 0.0021645 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6421-109_0_6_load_26 | 41 | 0.020646 | 0.0051744 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6421-109_0_6_load_27 | 42 | 0.0080597 | 0.00202 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6421-109_0_6_load_59 | 46 | 0.0082058 | 0.0020566 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6421-109_0_6_load_58 | 47 | 0.0086554 | 0.0021693 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6421-109_0_6_load_30 | 48 | 0.0045481 | 0.0011399 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6421-109_0_6_load_32 | 49 | 0.0086287 | 0.0021625 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6421-109_0_6_load_44 | 53 | 0.0073573 | 0.0018439 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6421-109_0_6_load_57 | 54 | 0.0065149 | 0.0016328 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6421-109_0_6_load_75 | 55 | 0.0080627 | 0.0020207 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6421-109_0_6_load_45 | 56 | 0.0065087 | 0.0016312 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6421-109_0_6_load_69 | 57 | 0.0036603 | 0.00091736 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6421-109_0_6_load_68 | 59 | 0.0035882 | 0.00089929 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6421-109_0_6_load_50 | 60 | 0.0042681 | 0.0010697 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6421-109_0_6_load_51 | 61 | 0.0045552 | 0.0011417 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6421-109_0_6_load_81 | 65 | 0.009908 | 0.0024832 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6421-109_0_6_load_82 | 66 | 0.0041313 | 0.0010354 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6421-109_0_6_load_77 | 67 | 0.0040862 | 0.0010241 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6421-109_0_6_load_71 | 68 | 0.001549 | 0.00038821 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6421-109_0_6_load_80 | 69 | 0.016851 | 0.0042232 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6421-109_0_6_load_60 | 70 | 0.016869 | 0.0042278 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6421-109_0_6_load_64 | 71 | 0.019595 | 0.004911 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6421-109_0_6_load_63 | 72 | 0.016859 | 0.0042253 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6421-109_0_6_load_65 | 73 | 0.016845 | 0.0042219 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6421-109_0_6_load_67 | 74 | 0.018722 | 0.0046923 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6421-109_0_6_load_70 | 75 | 0.013756 | 0.0034476 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6421-109_0_6_load_76 | 76 | 0.0039669 | 0.00099421 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6421-109_0_6_line_0 |  | 0 | 1 | 0.028405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_6421-109_0_6_line_1 |  | 0 | 2 | 0.0054484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_6421-109_0_6_line_2 |  | 1 | 3 | 0.0014267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_6421-109_0_6_line_3 |  | 2 | 4 | 0.011219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_6421-109_0_6_line_4 |  | 3 | 5 | 0.018034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_6421-109_0_6_line_5 |  | 4 | 6 | 0.0073986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6421-109_0_6_line_6 |  | 5 | 7 | 0.0096995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6421-109_0_6_line_7 |  | 6 | 8 | 0.0015021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6421-109_0_6_line_8 |  | 7 | 48 | 0.0076587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6421-109_0_6_line_9 |  | 8 | 16 | 0.028903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6421-109_0_6_line_10 |  | 8 | 27 | 0.044792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6421-109_0_6_line_11 |  | 9 | 10 | 0.028585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6421-109_0_6_line_12 |  | 9 | 11 | 0.047379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6421-109_0_6_line_13 |  | 10 | 12 | 0.03713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6421-109_0_6_line_14 |  | 11 | 13 | 0.008108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6421-109_0_6_line_15 |  | 11 | 14 | 0.0066587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6421-109_0_6_line_16 |  | 12 | 15 | 0.012555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6421-109_0_6_line_17 |  | 13 | 16 | 0.021321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6421-109_0_6_line_18 |  | 15 | 17 | 0.065275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6421-109_0_6_line_19 |  | 17 | 18 | 0.012887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6421-109_0_6_line_20 |  | 18 | 26 | 0.041608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6421-109_0_6_line_21 |  | 19 | 20 | 0.012539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6421-109_0_6_line_22 |  | 19 | 21 | 0.043708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6421-109_0_6_line_23 |  | 20 | 25 | 0.043381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6421-109_0_6_line_24 |  | 21 | 22 | 0.0031301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6421-109_0_6_line_25 |  | 23 | 24 | 0.0039874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6421-109_0_6_line_26 |  | 24 | 56 | 0.010612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6421-109_0_6_line_27 |  | 25 | 28 | 0.00017262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6421-109_0_6_line_28 |  | 28 | 29 | 0.023657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6421-109_0_6_line_29 |  | 29 | 30 | 0.014916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6421-109_0_6_line_30 |  | 30 | 31 | 0.009039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6421-109_0_6_line_31 |  | 30 | 32 | 0.031546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6421-109_0_6_line_32 |  | 31 | 33 | 0.012983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6421-109_0_6_line_33 |  | 31 | 34 | 0.046747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6421-109_0_6_line_34 |  | 32 | 35 | 0.021585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_6421-109_0_6_line_35 |  | 33 | 36 | 0.01912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6421-109_0_6_line_36 |  | 35 | 37 | 0.0272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_6421-109_0_6_line_37 |  | 35 | 38 | 0.013773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6421-109_0_6_line_38 |  | 36 | 54 | 0.01789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6421-109_0_6_line_39 |  | 37 | 71 | 0.017705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_6421-109_0_6_line_40 |  | 38 | 70 | 0.013967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6421-109_0_6_line_41 |  | 39 | 40 | 0.017971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6421-109_0_6_line_42 |  | 40 | 75 | 0.035549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6421-109_0_6_line_43 |  | 41 | 42 | 0.018557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6421-109_0_6_line_44 |  | 42 | 43 | 0.052608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6421-109_0_6_line_45 |  | 43 | 44 | 0.097774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6421-109_0_6_line_46 |  | 44 | 45 | 0.042526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6421-109_0_6_line_47 |  | 45 | 46 | 0.0027501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6421-109_0_6_line_48 |  | 45 | 47 | 0.035554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6421-109_0_6_line_49 |  | 46 | 55 | 0.019163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6421-109_0_6_line_50 |  | 47 | 54 | 0.018573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6421-109_0_6_line_51 |  | 48 | 49 | 0.028392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6421-109_0_6_line_52 |  | 49 | 50 | 0.029247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6421-109_0_6_line_53 |  | 50 | 51 | 0.050103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_6421-109_0_6_line_54 |  | 51 | 52 | 0.008633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6421-109_0_6_line_55 |  | 51 | 53 | 0.017899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6421-109_0_6_line_56 |  | 52 | 57 | 0.011124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_6421-109_0_6_line_57 |  | 53 | 56 | 0.011342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6421-109_0_6_line_58 |  | 57 | 58 | 0.0082234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6421-109_0_6_line_59 |  | 58 | 59 | 0.013746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6421-109_0_6_line_60 |  | 58 | 62 | 0.019307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6421-109_0_6_line_61 |  | 60 | 61 | 0.0027353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6421-109_0_6_line_62 |  | 60 | 62 | 0.02356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6421-109_0_6_line_63 |  | 62 | 63 | 0.002307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6421-109_0_6_line_64 |  | 63 | 64 | 0.042259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6421-109_0_6_line_65 |  | 63 | 65 | 0.037527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_6421-109_0_6_line_66 |  | 64 | 66 | 0.022504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6421-109_0_6_line_67 |  | 64 | 67 | 0.020794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6421-109_0_6_line_68 |  | 64 | 68 | 0.016531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6421-109_0_6_line_69 |  | 65 | 69 | 0.029312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_6421-109_0_6_line_70 |  | 67 | 76 | 0.022835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6421-109_0_6_line_71 |  | 68 | 75 | 0.011251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6421-109_0_6_line_72 |  | 69 | 74 | 0.017315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_6421-109_0_6_line_73 |  | 71 | 72 | 0.017285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_6421-109_0_6_line_74 |  | 72 | 73 | 0.013113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_6421-109_0_6_line_75 |  | 73 | 74 | 0.0042638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6421-109_0_6_trafo_66 | 0.63 MVA 20/0.4 kV | 77 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2552393.5199 | 1215779.1988 | 2552415.0457 | 1215797.7325
1 | 2552393.5199 | 1215779.1988 | 2552389.391 | 1215775.6438
2 | 2552415.0457 | 1215797.7325 | 2552416.1269 | 1215798.6634
3 | 2552380.8894 | 1215768.324 | 2552389.391 | 1215775.6438
4 | 2552429.7932 | 1215810.43 | 2552416.1269 | 1215798.6634
5 | 2552380.8894 | 1215768.324 | 2552375.2827 | 1215763.4966
6 | 2552429.7932 | 1215810.43 | 2552437.1436 | 1215816.7587
7 | 2552374.1444 | 1215762.5165 | 2552375.2827 | 1215763.4966
8 | 2552437.1436 | 1215816.7587 | 2552442.9474 | 1215821.7558
9 | 2552374.1444 | 1215762.5165 | 2552355.1846 | 1215784.3324
10 | 2552374.1444 | 1215762.5165 | 2552339.8901 | 1215733.6546
11 | 2552295.5683 | 1215769.6993 | 2552273.4201 | 1215751.6289
12 | 2552335.0439 | 1215795.127 | 2552317.0994 | 1215787.2661 | 2552295.5683 | 1215769.6993
13 | 2552244.6509 | 1215728.1566 | 2552273.4201 | 1215751.6289
14 | 2552341.1987 | 1215800.4253 | 2552335.0439 | 1215795.127
15 | 2552335.0439 | 1215795.127 | 2552330.7712 | 1215790.0198
16 | 2552252.6293 | 1215718.4646 | 2552250.2599 | 1215721.2519 | 2552247.0751 | 1215725.569 | 2552244.6509 | 1215728.1566
17 | 2552341.1987 | 1215800.4253 | 2552355.1846 | 1215784.3324
18 | 2552264.0911 | 1215669.788 | 2552258.6123 | 1215675.8912 | 2552237.3599 | 1215694.8731 | 2552240.3956 | 1215697.517 | 2552242.5264 | 1215700.9352 | 2552243.5523 | 1215704.8293 | 2552245.7025 | 1215709.715 | 2552252.6293 | 1215718.4646
19 | 2552272.7157 | 1215660.1908 | 2552264.0911 | 1215669.788
20 | 2552272.7157 | 1215660.1908 | 2552288.1612 | 1215655.5975 | 2552308.03 | 1215671.5712
21 | 2552202.4368 | 1215765.3624 | 2552208.3247 | 1215776.4333
22 | 2552164.6297 | 1215746.2883 | 2552173.5538 | 1215747.5284 | 2552178.0291 | 1215747.9037 | 2552180.6152 | 1215749.4061 | 2552183.4476 | 1215750.3728 | 2552187.0438 | 1215753.7903 | 2552193.3712 | 1215758.8091 | 2552202.4368 | 1215765.3624
23 | 2552208.3247 | 1215776.4333 | 2552221.1477 | 1215800.5441 | 2552228.9744 | 1215814.5826
24 | 2552164.6297 | 1215746.2883 | 2552161.4996 | 1215746.2706
25 | 2552420.2916 | 1215868.4815 | 2552423.3141 | 1215871.0822
26 | 2552423.3141 | 1215871.0822 | 2552430.3997 | 1215877.1791 | 2552431.3587 | 1215878.0027
27 | 2552228.9744 | 1215814.5826 | 2552229.0584 | 1215814.7333
28 | 2552240.5784 | 1215835.3965 | 2552229.0584 | 1215814.7333
29 | 2552247.8419 | 1215848.425 | 2552240.5784 | 1215835.3965
30 | 2552252.3392 | 1215856.2713 | 2552247.8419 | 1215848.425
31 | 2552276.3496 | 1215834.7435 | 2552247.8419 | 1215848.425
32 | 2552252.3392 | 1215856.2713 | 2552258.5346 | 1215867.6807
33 | 2552252.3392 | 1215856.2713 | 2552246.5483 | 1215873.5837 | 2552223.3254 | 1215890.0912
34 | 2552276.3496 | 1215834.7435 | 2552289.3036 | 1215827.2351 | 2552294.4625 | 1215831.4407
35 | 2552258.5346 | 1215867.6807 | 2552267.6584 | 1215884.483
36 | 2552294.4625 | 1215831.4407 | 2552315.5479 | 1215848.623
37 | 2552294.4625 | 1215831.4407 | 2552307.4089 | 1215826.7406
38 | 2552267.6584 | 1215884.483 | 2552276.1955 | 1215900.2048
39 | 2552329.2729 | 1215859.8075 | 2552315.5479 | 1215848.623
40 | 2552320.5379 | 1215821.9743 | 2552307.4089 | 1215826.7406
41 | 2552332.4951 | 1215913.883 | 2552346.0831 | 1215925.644
42 | 2552372.9619 | 1215948.909 | 2552346.0831 | 1215925.644
43 | 2552155.8889 | 1215916.8019 | 2552159.1929 | 1215919.8467 | 2552168.9117 | 1215930.0123
44 | 2552205.2663 | 1215968.0384 | 2552168.9117 | 1215930.0123
45 | 2552205.2663 | 1215968.0384 | 2552266.9331 | 1215980.1725 | 2552259.4081 | 1215946.0681
46 | 2552302.0247 | 1215947.7717 | 2552259.4081 | 1215946.0681
47 | 2552302.0247 | 1215947.7717 | 2552303.3375 | 1215950.1882
48 | 2552302.0247 | 1215947.7717 | 2552285.0586 | 1215916.527
49 | 2552303.3375 | 1215950.1882 | 2552303.8589 | 1215951.1478 | 2552312.4817 | 1215967.0289
50 | 2552285.0586 | 1215916.527 | 2552276.1955 | 1215900.2048
51 | 2552464.463 | 1215840.2807 | 2552442.9474 | 1215821.7558
52 | 2552486.6265 | 1215859.3634 | 2552464.463 | 1215840.2807
53 | 2552453.5347 | 1215897.0615 | 2552461.1343 | 1215888.4178 | 2552486.6265 | 1215859.3634
54 | 2552453.5347 | 1215897.0615 | 2552447.9078 | 1215903.6215
55 | 2552453.5347 | 1215897.0615 | 2552447.5789 | 1215891.9394 | 2552442.9687 | 1215887.9739 | 2552439.963 | 1215885.3924
56 | 2552447.9078 | 1215903.6215 | 2552445.2751 | 1215906.7222 | 2552440.7107 | 1215912.1035
57 | 2552439.963 | 1215885.3924 | 2552431.3587 | 1215878.0027
58 | 2552435.3914 | 1215918.3749 | 2552440.7107 | 1215912.1035
59 | 2552435.3914 | 1215918.3749 | 2552445.799 | 1215927.3544
60 | 2552422.8902 | 1215933.117 | 2552435.3914 | 1215918.3749
61 | 2552440.8971 | 1215948.3096 | 2552442.9877 | 1215950.0735
62 | 2552422.8902 | 1215933.117 | 2552440.8971 | 1215948.3096
63 | 2552422.8902 | 1215933.117 | 2552421.3781 | 1215934.8634
64 | 2552393.9682 | 1215967.0909 | 2552421.3781 | 1215934.8634
65 | 2552421.3781 | 1215934.8634 | 2552392.2873 | 1215911.1576
66 | 2552393.9682 | 1215967.0909 | 2552379.3911 | 1215984.2352
67 | 2552393.9682 | 1215967.0909 | 2552409.8031 | 1215980.5689
68 | 2552393.9682 | 1215967.0909 | 2552381.469 | 1215956.2723
69 | 2552369.5649 | 1215892.6412 | 2552392.2873 | 1215911.1576
70 | 2552427.1924 | 1215995.3698 | 2552409.8031 | 1215980.5689
71 | 2552372.9619 | 1215948.909 | 2552381.469 | 1215956.2723
72 | 2552369.5649 | 1215892.6412 | 2552356.1424 | 1215881.7033
73 | 2552342.672 | 1215870.7263 | 2552329.2729 | 1215859.8075
74 | 2552342.672 | 1215870.7263 | 2552352.837 | 1215879.0097
75 | 2552356.1424 | 1215881.7033 | 2552352.837 | 1215879.0097

## bus_geodata
| x | y | coords
0 | 2552393.5199 | 1215779.1988
1 | 2552415.0457 | 1215797.7325
2 | 2552389.391 | 1215775.6438
3 | 2552416.1269 | 1215798.6634
4 | 2552380.8894 | 1215768.324
5 | 2552429.7932 | 1215810.43
6 | 2552375.2827 | 1215763.4966
7 | 2552437.1436 | 1215816.7587
8 | 2552374.1444 | 1215762.5165
9 | 2552295.5683 | 1215769.6993
10 | 2552273.4201 | 1215751.6289
11 | 2552335.0439 | 1215795.127
12 | 2552244.6509 | 1215728.1566
13 | 2552341.1987 | 1215800.4253
14 | 2552330.7712 | 1215790.0198
15 | 2552252.6293 | 1215718.4646
16 | 2552355.1846 | 1215784.3324
17 | 2552264.0911 | 1215669.788
18 | 2552272.7157 | 1215660.1908
19 | 2552202.4368 | 1215765.3624
20 | 2552208.3247 | 1215776.4333
21 | 2552164.6297 | 1215746.2883
22 | 2552161.4996 | 1215746.2706
23 | 2552420.2916 | 1215868.4815
24 | 2552423.3141 | 1215871.0822
25 | 2552228.9744 | 1215814.5826
26 | 2552308.03 | 1215671.5712
27 | 2552339.8901 | 1215733.6546
28 | 2552229.0584 | 1215814.7333
29 | 2552240.5784 | 1215835.3965
30 | 2552247.8419 | 1215848.425
31 | 2552252.3392 | 1215856.2713
32 | 2552276.3496 | 1215834.7435
33 | 2552258.5346 | 1215867.6807
34 | 2552223.3254 | 1215890.0912
35 | 2552294.4625 | 1215831.4407
36 | 2552267.6584 | 1215884.483
37 | 2552315.5479 | 1215848.623
38 | 2552307.4089 | 1215826.7406
39 | 2552332.4951 | 1215913.883
40 | 2552346.0831 | 1215925.644
41 | 2552155.8889 | 1215916.8019
42 | 2552168.9117 | 1215930.0123
43 | 2552205.2663 | 1215968.0384
44 | 2552259.4081 | 1215946.0681
45 | 2552302.0247 | 1215947.7717
46 | 2552303.3375 | 1215950.1882
47 | 2552285.0586 | 1215916.527
48 | 2552442.9474 | 1215821.7558
49 | 2552464.463 | 1215840.2807
50 | 2552486.6265 | 1215859.3634
51 | 2552453.5347 | 1215897.0615
52 | 2552447.9078 | 1215903.6215
53 | 2552439.963 | 1215885.3924
54 | 2552276.1955 | 1215900.2048
55 | 2552312.4817 | 1215967.0289
56 | 2552431.3587 | 1215878.0027
57 | 2552440.7107 | 1215912.1035
58 | 2552435.3914 | 1215918.3749
59 | 2552445.799 | 1215927.3544
60 | 2552440.8971 | 1215948.3096
61 | 2552442.9877 | 1215950.0735
62 | 2552422.8902 | 1215933.117
63 | 2552421.3781 | 1215934.8634
64 | 2552393.9682 | 1215967.0909
65 | 2552392.2873 | 1215911.1576
66 | 2552379.3911 | 1215984.2352
67 | 2552409.8031 | 1215980.5689
68 | 2552381.469 | 1215956.2723
69 | 2552369.5649 | 1215892.6412
70 | 2552320.5379 | 1215821.9743
71 | 2552329.2729 | 1215859.8075
72 | 2552342.672 | 1215870.7263
73 | 2552352.837 | 1215879.0098
74 | 2552356.1424 | 1215881.7033
75 | 2552372.9619 | 1215948.909
76 | 2552427.1924 | 1215995.3698
77 | 2552294.4625 | 1215831.4407

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1