## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6436-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6436-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6436-11_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6436-11_0_4_node_88 | 0.4 | n |  | TRUE
4 | bus_LV_6436-11_0_4_node_86 | 0.4 | n |  | TRUE
5 | bus_LV_6436-11_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_6436-11_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_6436-11_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_6436-11_0_4_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_6436-11_0_4_node_129 | 0.4 | n |  | TRUE
10 | bus_LV_6436-11_0_4_node_63 | 0.4 | n |  | TRUE
11 | bus_LV_6436-11_0_4_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_6436-11_0_4_node_124 | 0.4 | n |  | TRUE
13 | bus_LV_6436-11_0_4_node_113 | 0.4 | n |  | TRUE
14 | bus_LV_6436-11_0_4_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_6436-11_0_4_node_117 | 0.4 | n |  | TRUE
16 | bus_LV_6436-11_0_4_node_116 | 0.4 | n |  | TRUE
17 | bus_LV_6436-11_0_4_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_6436-11_0_4_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_6436-11_0_4_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_6436-11_0_4_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_6436-11_0_4_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_6436-11_0_4_node_81 | 0.4 | n |  | TRUE
23 | bus_LV_6436-11_0_4_node_76 | 0.4 | n |  | TRUE
24 | bus_LV_6436-11_0_4_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_6436-11_0_4_node_80 | 0.4 | n |  | TRUE
26 | bus_LV_6436-11_0_4_node_67 | 0.4 | n |  | TRUE
27 | bus_LV_6436-11_0_4_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_6436-11_0_4_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_6436-11_0_4_node_70 | 0.4 | n |  | TRUE
30 | bus_LV_6436-11_0_4_node_78 | 0.4 | n |  | TRUE
31 | bus_LV_6436-11_0_4_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_6436-11_0_4_node_74 | 0.4 | n |  | TRUE
33 | bus_LV_6436-11_0_4_node_75 | 0.4 | n |  | TRUE
34 | bus_LV_6436-11_0_4_node_77 | 0.4 | n |  | TRUE
35 | bus_LV_6436-11_0_4_node_114 | 0.4 | n |  | TRUE
36 | bus_LV_6436-11_0_4_node_102 | 0.4 | n |  | TRUE
37 | bus_LV_6436-11_0_4_node_109 | 0.4 | n |  | TRUE
38 | bus_LV_6436-11_0_4_node_115 | 0.4 | n |  | TRUE
39 | bus_LV_6436-11_0_4_node_103 | 0.4 | n |  | TRUE
40 | bus_LV_6436-11_0_4_node_107 | 0.4 | n |  | TRUE
41 | bus_LV_6436-11_0_4_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_6436-11_0_4_node_84 | 0.4 | n |  | TRUE
43 | bus_LV_6436-11_0_4_node_85 | 0.4 | n |  | TRUE
44 | bus_LV_6436-11_0_4_node_87 | 0.4 | n |  | TRUE
45 | bus_LV_6436-11_0_4_node_89 | 0.4 | n |  | TRUE
46 | bus_LV_6436-11_0_4_node_90 | 0.4 | n |  | TRUE
47 | bus_LV_6436-11_0_4_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_6436-11_0_4_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_6436-11_0_4_node_93 | 0.4 | n |  | TRUE
50 | bus_LV_6436-11_0_4_node_126 | 0.4 | n |  | TRUE
51 | bus_LV_6436-11_0_4_node_94 | 0.4 | n |  | TRUE
52 | bus_LV_6436-11_0_4_node_127 | 0.4 | n |  | TRUE
53 | bus_LV_6436-11_0_4_node_125 | 0.4 | n |  | TRUE
54 | bus_LV_6436-11_0_4_node_95 | 0.4 | n |  | TRUE
55 | bus_LV_6436-11_0_4_node_104 | 0.4 | n |  | TRUE
56 | bus_LV_6436-11_0_4_node_105 | 0.4 | n |  | TRUE
57 | bus_LV_6436-11_0_4_node_118 | 0.4 | n |  | TRUE
58 | bus_LV_6436-11_0_4_node_119 | 0.4 | n |  | TRUE
59 | bus_LV_6436-11_0_4_node_106 | 0.4 | n |  | TRUE
60 | bus_LV_6436-11_0_4_node_108 | 0.4 | n |  | TRUE
61 | bus_LV_6436-11_0_4_node_110 | 0.4 | n |  | TRUE
62 | bus_LV_6436-11_0_4_node_111 | 0.4 | n |  | TRUE
63 | bus_LV_6436-11_0_4_node_112 | 0.4 | n |  | TRUE
64 | bus_LV_6436-11_0_4_node_120 | 0.4 | n |  | TRUE
65 | bus_LV_6436-11_0_4_node_121 | 0.4 | n |  | TRUE
66 | bus_LV_6436-11_0_4_node_122 | 0.4 | n |  | TRUE
67 | bus_LV_6436-11_0_4_node_123 | 0.4 | n |  | TRUE
68 | bus_LV_6436-11_0_4_node_128 | 0.4 | n |  | TRUE
69 | bus_LV_6436-11_0_4_node_131 | 0.4 | n |  | TRUE
70 | bus_MV_322_0_node_166 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6436-11_0_4_load_0 | 0 | 0.015274 | 0.003828 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6436-11_0_4_load_88 | 3 | 0.0099044 | 0.0024823 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6436-11_0_4_load_86 | 4 | 0.0022948 | 0.00057514 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6436-11_0_4_load_62 | 8 | 0.010147 | 0.0025431 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6436-11_0_4_load_129 | 9 | 0.029824 | 0.0074745 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6436-11_0_4_load_63 | 10 | 0.012624 | 0.0031637 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6436-11_0_4_load_50 | 11 | 0.00071121 | 0.00017825 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6436-11_0_4_load_124 | 12 | 0.00094202 | 0.00023609 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6436-11_0_4_load_113 | 13 | 0.0011072 | 0.00027749 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6436-11_0_4_load_52 | 14 | 0.0024886 | 0.00062369 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6436-11_0_4_load_117 | 15 | 0.004479 | 0.0011225 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6436-11_0_4_load_116 | 16 | 0.0034829 | 0.00087289 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6436-11_0_4_load_66 | 19 | 0.005836 | 0.0014626 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6436-11_0_4_load_73 | 20 | 0.0071082 | 0.0017815 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6436-11_0_4_load_72 | 21 | 0.0040199 | 0.0010075 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6436-11_0_4_load_81 | 22 | 0.036308 | 0.0090997 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6436-11_0_4_load_71 | 24 | 0.0082784 | 0.0020748 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6436-11_0_4_load_80 | 25 | 0.0083349 | 0.0020889 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6436-11_0_4_load_67 | 26 | 0.0031801 | 0.000797 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6436-11_0_4_load_68 | 27 | 0.0032354 | 0.00081088 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6436-11_0_4_load_69 | 28 | 0.002246 | 0.00056291 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6436-11_0_4_load_70 | 29 | 0.0053451 | 0.0013396 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6436-11_0_4_load_78 | 30 | 0.0020443 | 0.00051235 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6436-11_0_4_load_79 | 31 | 0.0041591 | 0.0010424 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6436-11_0_4_load_74 | 32 | 0.00339 | 0.00084962 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6436-11_0_4_load_75 | 33 | 0.0015704 | 0.00039358 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6436-11_0_4_load_77 | 34 | 0.0038377 | 0.00096181 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6436-11_0_4_load_114 | 35 | 0.0038641 | 0.00096843 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6436-11_0_4_load_102 | 36 | 0.0022219 | 0.00055687 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6436-11_0_4_load_109 | 37 | 0.0030729 | 0.00077014 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6436-11_0_4_load_115 | 38 | 0.0022143 | 0.00055496 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6436-11_0_4_load_103 | 39 | 0.003131 | 0.0007847 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6436-11_0_4_load_107 | 40 | 0.0040269 | 0.0010092 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6436-11_0_4_load_83 | 41 | 0.0097929 | 0.0024543 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6436-11_0_4_load_84 | 42 | 0.0048378 | 0.0012125 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6436-11_0_4_load_85 | 43 | 0.0016534 | 0.00041439 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6436-11_0_4_load_87 | 44 | 0.0018121 | 0.00045415 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6436-11_0_4_load_89 | 45 | 0.0028156 | 0.00070566 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6436-11_0_4_load_90 | 46 | 0.0076289 | 0.001912 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6436-11_0_4_load_91 | 47 | 0.0037139 | 0.00093079 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6436-11_0_4_load_92 | 48 | 0.0023037 | 0.00057736 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6436-11_0_4_load_93 | 49 | 0.0045847 | 0.001149 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6436-11_0_4_load_126 | 50 | 0.0016023 | 0.00040156 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6436-11_0_4_load_127 | 52 | 0.0020898 | 0.00052375 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6436-11_0_4_load_125 | 53 | 0.0024832 | 0.00062234 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6436-11_0_4_load_95 | 54 | 0.0028031 | 0.00070253 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6436-11_0_4_load_105 | 56 | 0.0012004 | 0.00030086 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6436-11_0_4_load_118 | 57 | 0.0011292 | 0.00028301 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6436-11_0_4_load_119 | 58 | 0.0011481 | 0.00028773 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6436-11_0_4_load_106 | 59 | 0.0014496 | 0.0003633 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6436-11_0_4_load_108 | 60 | 0.0036253 | 0.00090858 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6436-11_0_4_load_110 | 61 | 0.0024638 | 0.00061748 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6436-11_0_4_load_111 | 62 | 0.0032681 | 0.00081907 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6436-11_0_4_load_112 | 63 | 0.0027455 | 0.00068809 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6436-11_0_4_load_120 | 64 | 0.001532 | 0.00038395 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6436-11_0_4_load_121 | 65 | 0.0014866 | 0.00037256 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6436-11_0_4_load_122 | 66 | 0.00097612 | 0.00024464 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6436-11_0_4_load_123 | 67 | 0.00092942 | 0.00023293 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6436-11_0_4_load_128 | 68 | 0.0015794 | 0.00039583 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6436-11_0_4_load_131 | 69 | 0.0033263 | 0.00083364 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6436-11_0_4_line_0 |  | 0 | 1 | 0.002758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6436-11_0_4_line_1 |  | 1 | 2 | 0.051505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6436-11_0_4_line_2 |  | 2 | 3 | 0.010469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6436-11_0_4_line_3 |  | 3 | 4 | 0.035297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6436-11_0_4_line_4 |  | 4 | 42 | 0.028726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6436-11_0_4_line_5 |  | 5 | 6 | 0.040319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6436-11_0_4_line_6 |  | 5 | 7 | 0.004971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6436-11_0_4_line_7 |  | 6 | 8 | 0.016366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6436-11_0_4_line_8 |  | 7 | 9 | 0.044624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6436-11_0_4_line_9 |  | 8 | 10 | 0.035781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6436-11_0_4_line_10 |  | 10 | 17 | 0.0089732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6436-11_0_4_line_11 |  | 11 | 12 | 0.015013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6436-11_0_4_line_12 |  | 12 | 13 | 0.004183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6436-11_0_4_line_13 |  | 13 | 63 | 0.025446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6436-11_0_4_line_14 |  | 14 | 15 | 0.022113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6436-11_0_4_line_15 |  | 15 | 16 | 0.010498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6436-11_0_4_line_16 |  | 16 | 38 | 0.0108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6436-11_0_4_line_17 |  | 17 | 18 | 0.00568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6436-11_0_4_line_18 |  | 17 | 19 | 0.028025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6436-11_0_4_line_19 |  | 18 | 20 | 0.023274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6436-11_0_4_line_20 |  | 18 | 21 | 0.012471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6436-11_0_4_line_21 |  | 19 | 22 | 0.00029317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6436-11_0_4_line_22 |  | 20 | 23 | 0.016385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6436-11_0_4_line_23 |  | 21 | 24 | 0.019486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6436-11_0_4_line_24 |  | 22 | 25 | 0.015285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6436-11_0_4_line_25 |  | 23 | 30 | 0.03032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6436-11_0_4_line_26 |  | 23 | 31 | 0.0206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6436-11_0_4_line_27 |  | 23 | 32 | 0.0091297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6436-11_0_4_line_28 |  | 24 | 28 | 0.0026838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6436-11_0_4_line_29 |  | 26 | 27 | 0.0038918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6436-11_0_4_line_30 |  | 26 | 28 | 0.015224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6436-11_0_4_line_31 |  | 27 | 29 | 0.0013669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6436-11_0_4_line_32 |  | 30 | 36 | 0.028031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6436-11_0_4_line_33 |  | 31 | 37 | 0.021022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6436-11_0_4_line_34 |  | 32 | 33 | 0.01964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6436-11_0_4_line_35 |  | 33 | 34 | 0.0024688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6436-11_0_4_line_36 |  | 34 | 35 | 0.0087667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6436-11_0_4_line_37 |  | 35 | 38 | 0.0096623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6436-11_0_4_line_38 |  | 36 | 39 | 0.022519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6436-11_0_4_line_39 |  | 37 | 40 | 0.016802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6436-11_0_4_line_40 |  | 39 | 55 | 0.0036246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6436-11_0_4_line_41 |  | 40 | 59 | 0.017645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6436-11_0_4_line_42 |  | 41 | 42 | 0.011946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6436-11_0_4_line_43 |  | 41 | 43 | 0.00023003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6436-11_0_4_line_44 |  | 43 | 44 | 0.01767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6436-11_0_4_line_45 |  | 44 | 45 | 0.027788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6436-11_0_4_line_46 |  | 45 | 46 | 0.0022319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6436-11_0_4_line_47 |  | 46 | 47 | 0.029226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6436-11_0_4_line_48 |  | 47 | 48 | 0.0049758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6436-11_0_4_line_49 |  | 48 | 49 | 0.032335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6436-11_0_4_line_50 |  | 48 | 50 | 0.05367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6436-11_0_4_line_51 |  | 49 | 51 | 0.001746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6436-11_0_4_line_52 |  | 50 | 52 | 0.034155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6436-11_0_4_line_53 |  | 50 | 53 | 0.041011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6436-11_0_4_line_54 |  | 51 | 54 | 0.023512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6436-11_0_4_line_55 |  | 53 | 57 | 0.028235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6436-11_0_4_line_56 |  | 55 | 56 | 0.034232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6436-11_0_4_line_57 |  | 56 | 57 | 0.025989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6436-11_0_4_line_58 |  | 57 | 58 | 0.024798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6436-11_0_4_line_59 |  | 58 | 64 | 0.0052039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6436-11_0_4_line_60 |  | 59 | 60 | 0.017058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6436-11_0_4_line_61 |  | 60 | 61 | 0.031395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6436-11_0_4_line_62 |  | 61 | 62 | 0.014363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6436-11_0_4_line_63 |  | 62 | 63 | 0.01369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6436-11_0_4_line_64 |  | 64 | 65 | 0.021232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6436-11_0_4_line_65 |  | 65 | 66 | 0.0071493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6436-11_0_4_line_66 |  | 66 | 67 | 0.029957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6436-11_0_4_line_67 |  | 67 | 68 | 0.0059021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6436-11_0_4_line_68 |  | 68 | 69 | 0.26961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6436-11_0_4_trafo_76 | 0.63 MVA 20/0.4 kV | 70 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2547152.8008 | 1211627.4828 | 2547152.0717 | 1211628.3787 | 2547151.0569 | 1211629.6195
1 | 2547186.5305 | 1211608.7167 | 2547176.1813 | 1211616.402 | 2547169.909 | 1211606.574 | 2547152.8008 | 1211627.4828
2 | 2547186.5305 | 1211608.7167 | 2547181.4444 | 1211602.4136 | 2547180.1544 | 1211600.4258
3 | 2547160.9406 | 1211570.8161 | 2547180.1544 | 1211600.4258
4 | 2547145.3039 | 1211546.719 | 2547160.9406 | 1211570.8161
5 | 2547272.4216 | 1211681.4652 | 2547297.7418 | 1211650.0334
6 | 2547272.4216 | 1211681.4652 | 2547268.5341 | 1211678.3534
7 | 2547297.7418 | 1211650.0334 | 2547287.9289 | 1211636.9353
8 | 2547268.5341 | 1211678.3534 | 2547241.6869 | 1211713.9983
9 | 2547287.9289 | 1211636.9353 | 2547266.4747 | 1211608.2991
10 | 2547261.0945 | 1211601.1177 | 2547266.4747 | 1211608.2991
11 | 2547306.2833 | 1211491.6964 | 2547320.7529 | 1211495.6988
12 | 2547302.2517 | 1211490.5812 | 2547306.2833 | 1211491.6964
13 | 2547277.9592 | 1211483.0388 | 2547291.4853 | 1211487.6032 | 2547302.2517 | 1211490.5812
14 | 2547291.6372 | 1211529.359 | 2547301.8902 | 1211535.0615 | 2547308.3374 | 1211538.0507 | 2547311.4896 | 1211538.9389
15 | 2547281.6976 | 1211526.9577 | 2547281.6976 | 1211526.9577 | 2547283.1693 | 1211526.689 | 2547285.0089 | 1211526.7727 | 2547286.8437 | 1211527.1678 | 2547288.7111 | 1211527.8295 | 2547290.7338 | 1211528.8566 | 2547291.6372 | 1211529.359
16 | 2547281.6976 | 1211526.9577 | 2547280.4874 | 1211527.5799 | 2547273.1916 | 1211533.5698
17 | 2547257.4843 | 1211596.7249 | 2547261.0945 | 1211601.1177
18 | 2547261.0945 | 1211601.1177 | 2547243.8642 | 1211623.2197
19 | 2547257.4843 | 1211596.7249 | 2547242.5697 | 1211578.8575
20 | 2547257.4843 | 1211596.7249 | 2547267.2226 | 1211588.9342
21 | 2547243.684 | 1211623.4509 | 2547243.8642 | 1211623.2197
22 | 2547234.4655 | 1211564.6654 | 2547237.9185 | 1211571.8946 | 2547242.5697 | 1211578.8575
23 | 2547282.4383 | 1211576.7617 | 2547267.2226 | 1211588.9342
24 | 2547234.2866 | 1211635.5054 | 2547243.684 | 1211623.4509
25 | 2547234.4655 | 1211564.6654 | 2547230.5921 | 1211567.4347 | 2547229.1979 | 1211567.8806 | 2547227.8457 | 1211567.9149 | 2547226.3918 | 1211567.6276 | 2547225.0638 | 1211566.9612 | 2547210.0242 | 1211554.1221
26 | 2547234.4655 | 1211564.6654 | 2547229.511 | 1211550.9233 | 2547227.8643 | 1211545.1615
27 | 2547234.4655 | 1211564.6654 | 2547241.6204 | 1211558.9945
28 | 2547282.4383 | 1211576.7617 | 2547284.534 | 1211575.0851
29 | 2547296.4217 | 1211565.5749 | 2547299.4607 | 1211563.1437
30 | 2547296.4217 | 1211565.5749 | 2547284.534 | 1211575.0851
31 | 2547300.5281 | 1211562.2898 | 2547299.4607 | 1211563.1437
32 | 2547210.0242 | 1211554.1221 | 2547202.2629 | 1211547.4962 | 2547198.6923 | 1211544.1481 | 2547195.6627 | 1211540.9731 | 2547192.4154 | 1211537.2442 | 2547190.3634 | 1211534.2892
33 | 2547227.8643 | 1211545.1615 | 2547227.378 | 1211543.46 | 2547222.7181 | 1211524.7803
34 | 2547241.6204 | 1211558.9945 | 2547257.0117 | 1211546.7954
35 | 2547257.0117 | 1211546.7954 | 2547258.9465 | 1211545.2619
36 | 2547265.7238 | 1211539.701 | 2547259.0636 | 1211545.1691 | 2547258.9465 | 1211545.2619
37 | 2547265.7238 | 1211539.701 | 2547273.1916 | 1211533.5698
38 | 2547180.8602 | 1211513.9488 | 2547185.6657 | 1211525.8639 | 2547187.5097 | 1211529.8722 | 2547189.8909 | 1211533.6088 | 2547190.3634 | 1211534.2892
39 | 2547218.6511 | 1211508.4777 | 2547222.7181 | 1211524.7803
40 | 2547179.5045 | 1211510.5873 | 2547180.8602 | 1211513.9488
41 | 2547215.0167 | 1211491.251 | 2547215.3787 | 1211495.36 | 2547218.6511 | 1211508.4777
42 | 2547138.801 | 1211536.6976 | 2547145.3039 | 1211546.719
43 | 2547138.6758 | 1211536.5046 | 2547138.801 | 1211536.6976
44 | 2547128.8766 | 1211521.8052 | 2547131.4845 | 1211525.4224 | 2547138.6758 | 1211536.5046
45 | 2547128.8766 | 1211521.8052 | 2547118.1519 | 1211506.9298 | 2547112.2882 | 1211499.5194
46 | 2547110.9032 | 1211497.7691 | 2547112.2882 | 1211499.5194
47 | 2547110.9032 | 1211497.7691 | 2547106.909 | 1211492.7213 | 2547097.5674 | 1211482.1313 | 2547091.2163 | 1211476.2327
48 | 2547091.2163 | 1211476.2327 | 2547087.5705 | 1211472.8466
49 | 2547062.3399 | 1211452.7487 | 2547076.7348 | 1211462.7828 | 2547087.5705 | 1211472.8466
50 | 2547087.5705 | 1211472.8466 | 2547123.0355 | 1211432.5636
51 | 2547060.9075 | 1211451.7503 | 2547062.3399 | 1211452.7487
52 | 2547099.2246 | 1211408.0764 | 2547123.0355 | 1211432.5636
53 | 2547151.5654 | 1211462.0241 | 2547141.182 | 1211451.2255 | 2547123.0355 | 1211432.5636
54 | 2547060.9075 | 1211451.7503 | 2547047.5147 | 1211471.0751
55 | 2547177.2999 | 1211450.407 | 2547151.5654 | 1211462.0241
56 | 2547179.5045 | 1211510.5873 | 2547178.2513 | 1211476.378
57 | 2547178.2513 | 1211476.378 | 2547177.2999 | 1211450.407
58 | 2547177.2999 | 1211450.407 | 2547176.5758 | 1211430.6435 | 2547176.3161 | 1211425.6287
59 | 2547176.3161 | 1211425.6287 | 2547176.0469 | 1211420.4318
60 | 2547215.0167 | 1211491.251 | 2547214.8718 | 1211489.6055 | 2547215.3349 | 1211484.4205 | 2547217.0952 | 1211479.8578 | 2547219.8573 | 1211476.8648 | 2547220.9435 | 1211476.2715
61 | 2547220.9435 | 1211476.2715 | 2547225.0297 | 1211474.0395 | 2547231.2316 | 1211472.4947 | 2547238.1574 | 1211472.033 | 2547247.2538 | 1211472.9974 | 2547251.3467 | 1211474.1742
62 | 2547264.9882 | 1211478.6616 | 2547253.6682 | 1211474.8417 | 2547251.3467 | 1211474.1742
63 | 2547264.9882 | 1211478.6616 | 2547277.9592 | 1211483.0388
64 | 2547174.9485 | 1211399.228 | 2547176.0469 | 1211420.4318
65 | 2547174.5786 | 1211392.0883 | 2547174.9485 | 1211399.228
66 | 2547174.5786 | 1211392.0883 | 2547174.0631 | 1211382.1369 | 2547173.6599 | 1211370.1 | 2547172.6559 | 1211363.1492 | 2547172.368 | 1211362.2692
67 | 2547170.533 | 1211356.6596 | 2547172.368 | 1211362.2692
68 | 2547170.533 | 1211356.6596 | 2547311.723 | 1211126.9759

## bus_geodata
| x | y | coords
0 | 2547151.0569 | 1211629.6195
1 | 2547152.8008 | 1211627.4828
2 | 2547186.5305 | 1211608.7167
3 | 2547180.1544 | 1211600.4258
4 | 2547160.9406 | 1211570.8161
5 | 2547272.4216 | 1211681.4652
6 | 2547297.7418 | 1211650.0334
7 | 2547268.5341 | 1211678.3534
8 | 2547287.9289 | 1211636.9353
9 | 2547241.6869 | 1211713.9983
10 | 2547266.4747 | 1211608.2991
11 | 2547320.7529 | 1211495.6988
12 | 2547306.2833 | 1211491.6964
13 | 2547302.2517 | 1211490.5812
14 | 2547311.4896 | 1211538.9389
15 | 2547291.6372 | 1211529.359
16 | 2547281.6976 | 1211526.9577
17 | 2547261.0945 | 1211601.1177
18 | 2547257.4843 | 1211596.7249
19 | 2547243.8642 | 1211623.2197
20 | 2547242.5697 | 1211578.8575
21 | 2547267.2226 | 1211588.9342
22 | 2547243.684 | 1211623.4509
23 | 2547234.4655 | 1211564.6654
24 | 2547282.4383 | 1211576.7617
25 | 2547234.2866 | 1211635.5054
26 | 2547296.4217 | 1211565.5749
27 | 2547299.4607 | 1211563.1437
28 | 2547284.534 | 1211575.0851
29 | 2547300.5281 | 1211562.2898
30 | 2547210.0243 | 1211554.1221
31 | 2547227.8643 | 1211545.1615
32 | 2547241.6204 | 1211558.9945
33 | 2547257.0117 | 1211546.7954
34 | 2547258.9465 | 1211545.2619
35 | 2547265.7238 | 1211539.701
36 | 2547190.3634 | 1211534.2892
37 | 2547222.7181 | 1211524.7803
38 | 2547273.1916 | 1211533.5698
39 | 2547180.8602 | 1211513.9488
40 | 2547218.6511 | 1211508.4777
41 | 2547138.801 | 1211536.6976
42 | 2547145.3039 | 1211546.719
43 | 2547138.6758 | 1211536.5046
44 | 2547128.8766 | 1211521.8052
45 | 2547112.2882 | 1211499.5194
46 | 2547110.9032 | 1211497.7691
47 | 2547091.2163 | 1211476.2327
48 | 2547087.5705 | 1211472.8466
49 | 2547062.3399 | 1211452.7487
50 | 2547123.0355 | 1211432.5636
51 | 2547060.9075 | 1211451.7503
52 | 2547099.2246 | 1211408.0764
53 | 2547151.5654 | 1211462.0241
54 | 2547047.5147 | 1211471.0751
55 | 2547179.5045 | 1211510.5873
56 | 2547178.2513 | 1211476.378
57 | 2547177.2999 | 1211450.407
58 | 2547176.3161 | 1211425.6287
59 | 2547215.0167 | 1211491.251
60 | 2547220.9435 | 1211476.2715
61 | 2547251.3467 | 1211474.1742
62 | 2547264.9882 | 1211478.6616
63 | 2547277.9592 | 1211483.0388
64 | 2547176.0469 | 1211420.4318
65 | 2547174.9485 | 1211399.228
66 | 2547174.5786 | 1211392.0883
67 | 2547172.368 | 1211362.2692
68 | 2547170.533 | 1211356.6596
69 | 2547311.723 | 1211126.9759
70 | 2547257.4843 | 1211596.7249

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1