## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6436-15_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6436-15_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6436-15_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6436-15_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6436-15_0_4_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_6436-15_0_4_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_6436-15_0_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_6436-15_0_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_6436-15_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6436-15_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6436-15_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6436-15_0_4_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_6436-15_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6436-15_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6436-15_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6436-15_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6436-15_0_4_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_6436-15_0_4_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_6436-15_0_4_node_72 | 0.4 | n |  | TRUE
19 | bus_LV_6436-15_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_6436-15_0_4_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_6436-15_0_4_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_6436-15_0_4_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_6436-15_0_4_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_6436-15_0_4_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_6436-15_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_6436-15_0_4_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_6436-15_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6436-15_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_6436-15_0_4_node_5 | 0.4 | n |  | TRUE
30 | bus_LV_6436-15_0_4_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_6436-15_0_4_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_6436-15_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_6436-15_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_6436-15_0_4_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_6436-15_0_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_6436-15_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_6436-15_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_6436-15_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_6436-15_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_6436-15_0_4_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_6436-15_0_4_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_6436-15_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_6436-15_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_6436-15_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_6436-15_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_6436-15_0_4_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_6436-15_0_4_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_6436-15_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_6436-15_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_6436-15_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_6436-15_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_6436-15_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_6436-15_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_6436-15_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_6436-15_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_6436-15_0_4_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_6436-15_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_6436-15_0_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_6436-15_0_4_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_6436-15_0_4_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_6436-15_0_4_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_6436-15_0_4_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_6436-15_0_4_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_6436-15_0_4_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_6436-15_0_4_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_6436-15_0_4_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_6436-15_0_4_node_77 | 0.4 | n |  | TRUE
68 | bus_LV_6436-15_0_4_node_78 | 0.4 | n |  | TRUE
69 | bus_LV_6436-15_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_6436-15_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_6436-15_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_6436-15_0_4_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_6436-15_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_6436-15_0_4_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_6436-15_0_4_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_6436-15_0_4_node_66 | 0.4 | n |  | TRUE
77 | bus_MV_322_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6436-15_0_4_load_0 | 0 | 0.0080369 | 0.0020142 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6436-15_0_4_load_1 | 1 | 0.0021846 | 0.00054751 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6436-15_0_4_load_2 | 2 | 0.0045418 | 0.0011383 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6436-15_0_4_load_3 | 3 | 0.0015657 | 0.00039241 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6436-15_0_4_load_24 | 4 | 0.0095966 | 0.0024051 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6436-15_0_4_load_13 | 5 | 0.012717 | 0.0031871 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6436-15_0_4_load_14 | 6 | 0.012613 | 0.0031612 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6436-15_0_4_load_6 | 8 | 0.035069 | 0.0087891 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6436-15_0_4_load_4 | 11 | 0.052326 | 0.013114 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6436-15_0_4_load_9 | 13 | 0.0086204 | 0.0021605 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6436-15_0_4_load_35 | 16 | 0.0065516 | 0.001642 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6436-15_0_4_load_34 | 17 | 0.0059913 | 0.0015016 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6436-15_0_4_load_72 | 18 | 0.002455 | 0.00061527 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6436-15_0_4_load_16 | 19 | 0.012988 | 0.0032551 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6436-15_0_4_load_36 | 21 | 0.02157 | 0.0054059 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6436-15_0_4_load_37 | 22 | 0.01862 | 0.0046667 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6436-15_0_4_load_58 | 24 | 0.0028897 | 0.00072422 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6436-15_0_4_load_25 | 25 | 0.0067149 | 0.0016829 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6436-15_0_4_load_56 | 26 | 0.0044893 | 0.0011251 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6436-15_0_4_load_5 | 29 | 0.013618 | 0.0034129 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6436-15_0_4_load_43 | 30 | 0.0026924 | 0.00067477 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6436-15_0_4_load_44 | 31 | 0.0022841 | 0.00057244 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6436-15_0_4_load_30 | 32 | 0.002022 | 0.00050676 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6436-15_0_4_load_23 | 33 | 0.0053875 | 0.0013502 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6436-15_0_4_load_69 | 34 | 0.0051402 | 0.0012883 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6436-15_0_4_load_38 | 35 | 0.022743 | 0.0057 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6436-15_0_4_load_22 | 36 | 0.0064033 | 0.0016048 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6436-15_0_4_load_20 | 37 | 0.0064224 | 0.0016096 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6436-15_0_4_load_27 | 38 | 0.0058377 | 0.0014631 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6436-15_0_4_load_21 | 39 | 0.0048877 | 0.001225 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6436-15_0_4_load_68 | 40 | 0.0062432 | 0.0015647 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6436-15_0_4_load_67 | 41 | 0.012789 | 0.0032052 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6436-15_0_4_load_28 | 42 | 0.0045157 | 0.0011318 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6436-15_0_4_load_31 | 44 | 0.0065645 | 0.0016452 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6436-15_0_4_load_32 | 45 | 0.0030657 | 0.00076833 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6436-15_0_4_load_70 | 46 | 0.0051391 | 0.001288 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6436-15_0_4_load_71 | 47 | 0.0062432 | 0.0015647 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6436-15_0_4_load_41 | 48 | 0.0041575 | 0.001042 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6436-15_0_4_load_39 | 49 | 0.0050311 | 0.0012609 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6436-15_0_4_load_40 | 50 | 0.0039735 | 0.00099584 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6436-15_0_4_load_42 | 51 | 0.001335 | 0.00033459 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6436-15_0_4_load_45 | 53 | 0.000552 | 0.00013834 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6436-15_0_4_load_46 | 54 | 0.00020216 | 5.0665e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6436-15_0_4_load_48 | 55 | 0.00021958 | 5.5032e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6436-15_0_4_load_73 | 56 | 0.00027013 | 6.77e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6436-15_0_4_load_51 | 58 | 0.00025416 | 6.3698e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6436-15_0_4_load_52 | 59 | 0.00022416 | 5.618e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6436-15_0_4_load_53 | 60 | 0.0021243 | 0.00053241 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6436-15_0_4_load_55 | 61 | 0.0003144 | 7.8796e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6436-15_0_4_load_79 | 62 | 0.00021681 | 5.4337e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6436-15_0_4_load_80 | 63 | 0.00093238 | 0.00023368 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6436-15_0_4_load_74 | 64 | 0.0002274 | 5.6992e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6436-15_0_4_load_75 | 65 | 0.00021792 | 5.4616e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6436-15_0_4_load_76 | 66 | 0.00022269 | 5.5812e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6436-15_0_4_load_78 | 68 | 0.00022382 | 5.6095e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6436-15_0_4_load_59 | 69 | 0.0019005 | 0.00047631 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6436-15_0_4_load_60 | 70 | 0.0037686 | 0.0009445 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6436-15_0_4_load_61 | 71 | 0.0021869 | 0.00054809 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6436-15_0_4_load_62 | 72 | 0.0019705 | 0.00049386 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6436-15_0_4_load_63 | 74 | 0.0028929 | 0.00072503 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6436-15_0_4_load_64 | 75 | 0.0037065 | 0.00092894 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6436-15_0_4_load_66 | 76 | 0.0024735 | 0.00061992 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6436-15_0_4_line_0 |  | 0 | 1 | 0.023539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_6436-15_0_4_line_1 |  | 0 | 2 | 0.0047973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6436-15_0_4_line_2 |  | 1 | 3 | 0.018276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_6436-15_0_4_line_3 |  | 3 | 4 | 0.031635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_6436-15_0_4_line_4 |  | 4 | 25 | 0.034279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_6436-15_0_4_line_5 |  | 5 | 6 | 0.050237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6436-15_0_4_line_6 |  | 5 | 7 | 0.020962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6436-15_0_4_line_7 |  | 6 | 19 | 0.017269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_6436-15_0_4_line_8 |  | 7 | 27 | 0.029339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6436-15_0_4_line_9 |  | 8 | 9 | 0.025614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_6436-15_0_4_line_10 |  | 8 | 10 | 0.12508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_6436-15_0_4_line_11 |  | 9 | 11 | 0.16658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6436-15_0_4_line_12 |  | 10 | 12 | 0.139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_6436-15_0_4_line_13 |  | 11 | 29 | 0.0293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6436-15_0_4_line_14 |  | 12 | 14 | 0.049286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_6436-15_0_4_line_15 |  | 12 | 13 | 0.029579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6436-15_0_4_line_16 |  | 14 | 18 | 0.017451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6436-15_0_4_line_17 |  | 14 | 15 | 0.082653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6436-15_0_4_line_18 |  | 15 | 16 | 0.028779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6436-15_0_4_line_19 |  | 15 | 17 | 0.04143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6436-15_0_4_line_20 |  | 16 | 21 | 0.014704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6436-15_0_4_line_21 |  | 17 | 20 | 0.026056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6436-15_0_4_line_22 |  | 19 | 20 | 0.035423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6436-15_0_4_line_23 |  | 21 | 22 | 0.064797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6436-15_0_4_line_24 |  | 22 | 28 | 0.024477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6436-15_0_4_line_25 |  | 23 | 24 | 0.017197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_6436-15_0_4_line_26 |  | 23 | 25 | 0.043507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6436-15_0_4_line_27 |  | 23 | 26 | 0.048376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6436-15_0_4_line_28 |  | 24 | 69 | 0.0049106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6436-15_0_4_line_29 |  | 26 | 45 | 0.0080263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6436-15_0_4_line_30 |  | 27 | 33 | 0.061085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6436-15_0_4_line_31 |  | 27 | 34 | 0.013432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6436-15_0_4_line_32 |  | 28 | 35 | 0.034954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6436-15_0_4_line_33 |  | 30 | 31 | 0.026332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6436-15_0_4_line_34 |  | 30 | 32 | 0.087502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6436-15_0_4_line_35 |  | 32 | 42 | 0.0031036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6436-15_0_4_line_36 |  | 33 | 38 | 0.046432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_6436-15_0_4_line_37 |  | 33 | 39 | 0.014099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6436-15_0_4_line_38 |  | 34 | 40 | 0.011487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6436-15_0_4_line_39 |  | 35 | 41 | 0.02889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6436-15_0_4_line_40 |  | 36 | 37 | 0.019427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6436-15_0_4_line_41 |  | 37 | 39 | 0.015081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6436-15_0_4_line_42 |  | 38 | 43 | 0.023467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6436-15_0_4_line_43 |  | 38 | 42 | 0.046848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6436-15_0_4_line_44 |  | 40 | 46 | 0.03656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6436-15_0_4_line_45 |  | 43 | 44 | 0.0066061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_6436-15_0_4_line_46 |  | 43 | 45 | 0.0043299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6436-15_0_4_line_47 |  | 44 | 48 | 0.019808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6436-15_0_4_line_48 |  | 46 | 47 | 0.011968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6436-15_0_4_line_49 |  | 48 | 49 | 0.0083035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_6436-15_0_4_line_50 |  | 49 | 50 | 0.036982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_6436-15_0_4_line_51 |  | 50 | 51 | 0.015268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6436-15_0_4_line_52 |  | 51 | 52 | 0.18186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6436-15_0_4_line_53 |  | 52 | 57 | 0.056456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6436-15_0_4_line_54 |  | 53 | 54 | 0.010625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6436-15_0_4_line_55 |  | 54 | 55 | 0.0073296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6436-15_0_4_line_56 |  | 55 | 56 | 0.0075725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6436-15_0_4_line_57 |  | 56 | 64 | 0.0072837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6436-15_0_4_line_58 |  | 57 | 59 | 0.019087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6436-15_0_4_line_59 |  | 58 | 59 | 0.01762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6436-15_0_4_line_60 |  | 58 | 60 | 0.0036665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6436-15_0_4_line_61 |  | 60 | 61 | 0.0109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6436-15_0_4_line_62 |  | 61 | 62 | 0.0091421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6436-15_0_4_line_63 |  | 61 | 63 | 0.25048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6436-15_0_4_line_64 |  | 62 | 68 | 0.0076574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6436-15_0_4_line_65 |  | 64 | 65 | 0.0077193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6436-15_0_4_line_66 |  | 65 | 66 | 0.0076048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6436-15_0_4_line_67 |  | 66 | 67 | 0.0026836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6436-15_0_4_line_68 |  | 67 | 68 | 0.0050272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6436-15_0_4_line_69 |  | 69 | 70 | 0.018293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_6436-15_0_4_line_70 |  | 70 | 71 | 0.026856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_6436-15_0_4_line_71 |  | 71 | 72 | 0.0054924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_6436-15_0_4_line_72 |  | 72 | 73 | 0.12664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_6436-15_0_4_line_73 |  | 73 | 74 | 0.016342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6436-15_0_4_line_74 |  | 74 | 75 | 0.0038049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6436-15_0_4_line_75 |  | 75 | 76 | 0.01903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6436-15_0_4_trafo_37 | 0.63 MVA 20/0.4 kV | 77 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2546746.8655 | 1211227.613 | 2546733.346 | 1211213.9975 | 2546730.2986 | 1211210.8915
1 | 2546746.8655 | 1211227.613 | 2546750.2458 | 1211231.0172
2 | 2546730.2986 | 1211210.8915 | 2546721.2138 | 1211201.6321 | 2546717.6761 | 1211197.6802
3 | 2546717.6761 | 1211197.6802 | 2546728.9084 | 1211168.1065
4 | 2546728.9084 | 1211168.1065 | 2546714.7888 | 1211150.2812 | 2546723.7028 | 1211142.9541
5 | 2546806.8565 | 1211131.1104 | 2546831.694 | 1211146.3002 | 2546840.4628 | 1211152.2143 | 2546848.5684 | 1211157.8786 | 2546849.0799 | 1211158.2922
6 | 2546788.7647 | 1211120.524 | 2546805.9828 | 1211130.5761 | 2546806.8565 | 1211131.1104
7 | 2546861.9246 | 1211169.805 | 2546860.6851 | 1211168.5324 | 2546855.396 | 1211163.3987 | 2546849.0799 | 1211158.2922
8 | 2546763.3516 | 1211105.8647 | 2546770.1268 | 1211109.762 | 2546780.4474 | 1211115.8289 | 2546788.7647 | 1211120.524
9 | 2547185.0896 | 1211027.0056 | 2547182.9984 | 1211037.9751 | 2547180.7884 | 1211052.2521
10 | 2547161.1732 | 1211175.6618 | 2547161.316 | 1211167.7892 | 2547162.4817 | 1211157.0057 | 2547173.1596 | 1211101.5335 | 2547180.7884 | 1211052.2521
11 | 2547185.0896 | 1211027.0056 | 2547094.085 | 1210887.4834
12 | 2547023.4141 | 1211157.1307 | 2547161.1732 | 1211175.6618
13 | 2547094.085 | 1210887.4834 | 2547092.9901 | 1210887.9408 | 2547085.7304 | 1210890.24 | 2547079.6248 | 1210891.5728 | 2547075.6547 | 1210892.064 | 2547071.3744 | 1210891.8463 | 2547065.4756 | 1210890.9727
14 | 2546992.5711 | 1211153.0139 | 2546994.9174 | 1211138.3065 | 2547000.9199 | 1211140.7879 | 2547007.1133 | 1211144.2237 | 2547013.1164 | 1211148.4839 | 2547018.611 | 1211152.8042 | 2547023.4141 | 1211157.1307
15 | 2547023.4141 | 1211157.1307 | 2547022.5636 | 1211150.3787 | 2547022.0202 | 1211146.5257 | 2547021.3306 | 1211143.3299 | 2547020.3314 | 1211140.3482 | 2547015.6704 | 1211128.784
16 | 2546992.5711 | 1211153.0139 | 2546975.3495 | 1211150.1934
17 | 2546929.2897 | 1211143.1052 | 2546937.2133 | 1211139.4657 | 2546946.2594 | 1211136.4277 | 2546955.2088 | 1211134.469 | 2546964.0155 | 1211133.5567 | 2546972.6018 | 1211133.4913 | 2546980.2322 | 1211134.4572 | 2546987.6318 | 1211135.9589 | 2546994.9174 | 1211138.3065 | 2546992.5711 | 1211153.0139
18 | 2546929.2897 | 1211143.1052 | 2546926.844 | 1211141.5372 | 2546923.8759 | 1211140.1851 | 2546919.8357 | 1211138.7536 | 2546915.5939 | 1211137.7241 | 2546907.3266 | 1211136.0746 | 2546904.5155 | 1211135.277 | 2546902.2019 | 1211134.0725
19 | 2546929.2897 | 1211143.1052 | 2546923.2711 | 1211146.4942 | 2546917.5968 | 1211150.147 | 2546911.8384 | 1211154.5788 | 2546906.314 | 1211159.6977 | 2546901.985 | 1211165.0729 | 2546898.5604 | 1211169.6172 | 2546898.3729 | 1211169.9532
20 | 2546902.2019 | 1211134.0725 | 2546901.6602 | 1211133.7905 | 2546889.8299 | 1211126.1306
21 | 2546887.8403 | 1211193.6716 | 2546889.7673 | 1211187.3729 | 2546891.9876 | 1211181.5719 | 2546895.8978 | 1211174.3883 | 2546898.3729 | 1211169.9532
22 | 2546887.8403 | 1211193.6716 | 2546884.64 | 1211191.8436 | 2546880.9469 | 1211189.2861 | 2546877.508 | 1211186.2705 | 2546873.9019 | 1211182.3893 | 2546867.319 | 1211175.3439 | 2546861.9246 | 1211169.805
23 | 2546836.7526 | 1211088.9973 | 2546842.5368 | 1211093.4719 | 2546854.026 | 1211101.9077 | 2546868.7987 | 1211112.1375 | 2546888.0935 | 1211125.0063 | 2546889.8299 | 1211126.1306
24 | 2546817.0096 | 1211074.5442 | 2546823.3014 | 1211078.7683 | 2546833.7141 | 1211086.6467 | 2546836.7526 | 1211088.9973
25 | 2546681.6221 | 1211154.0026 | 2546668.2729 | 1211164.8446
26 | 2546681.6221 | 1211154.0026 | 2546723.7028 | 1211142.9541
27 | 2546681.6221 | 1211154.0026 | 2546656.7417 | 1211112.5148
28 | 2546668.2729 | 1211164.8446 | 2546664.4611 | 1211167.9404
29 | 2546652.6137 | 1211105.6315 | 2546656.7417 | 1211112.5148
30 | 2546763.3516 | 1211105.8647 | 2546749.9977 | 1211097.9572 | 2546730.6264 | 1211085.9345 | 2546727.0383 | 1211084.0877 | 2546723.5644 | 1211083.1071 | 2546720.2036 | 1211082.8815 | 2546716.8952 | 1211083.4226 | 2546713.3917 | 1211085.0771 | 2546711.0683 | 1211086.988 | 2546710.1673 | 1211088.2098
31 | 2546763.3516 | 1211105.8647 | 2546768.7588 | 1211093.5697
32 | 2546817.0096 | 1211074.5442 | 2546804.0106 | 1211065.5328 | 2546790.1728 | 1211056.2065 | 2546788.1545 | 1211054.8187
33 | 2546659.5178 | 1210921.8847 | 2546663.8998 | 1210930.0503 | 2546665.8541 | 1210936.1364 | 2546666.041 | 1210946.8078
34 | 2546670.7164 | 1211033.9823 | 2546670.3449 | 1211010.6961 | 2546670.0923 | 1210994.3887 | 2546669.7811 | 1210974.9243 | 2546668.6974 | 1210959.158 | 2546666.041 | 1210946.8078
35 | 2546670.7164 | 1211033.9823 | 2546670.7659 | 1211037.0855
36 | 2546664.0254 | 1211083.0246 | 2546710.1673 | 1211088.2098
37 | 2546710.1673 | 1211088.2098 | 2546709.1537 | 1211089.5844 | 2546707.9063 | 1211092.842 | 2546707.3821 | 1211096.2487 | 2546707.5037 | 1211098.7936 | 2546708.3493 | 1211101.5765
38 | 2546771.4571 | 1211082.634 | 2546771.4571 | 1211082.634 | 2546771.6402 | 1211085.2672 | 2546771.1566 | 1211088.1177 | 2546768.7588 | 1211093.5697
39 | 2546767.3659 | 1211035.5981 | 2546769.6815 | 1211040.4581 | 2546771.3032 | 1211042.5004 | 2546773.6706 | 1211044.6582 | 2546776.8456 | 1211047.0424 | 2546788.1545 | 1211054.8187
40 | 2546735.5921 | 1211122.4595 | 2546719.7687 | 1211111.189
41 | 2546719.7687 | 1211111.189 | 2546714.0526 | 1211107.1177 | 2546710.412 | 1211104.5043 | 2546708.3493 | 1211101.5765 | 2546708.3493 | 1211101.5765
42 | 2546650.3868 | 1211101.9181 | 2546653.0513 | 1211099.0703 | 2546658.0693 | 1211093.4331 | 2546662.1989 | 1211087.0145 | 2546664.0254 | 1211083.0246
43 | 2546670.7659 | 1211037.0855 | 2546670.9347 | 1211047.6684 | 2546670.2619 | 1211058.2363 | 2546668.6936 | 1211068.0895 | 2546665.8733 | 1211078.9879 | 2546664.0254 | 1211083.0246
44 | 2546771.4571 | 1211082.634 | 2546769.9024 | 1211079.5905 | 2546767.5962 | 1211077.4765 | 2546764.3219 | 1211075.8826 | 2546744.7819 | 1211067.9305 | 2546743.2482 | 1211067.2327 | 2546741.9586 | 1211065.7767 | 2546741.6409 | 1211064.2453 | 2546741.6468 | 1211064.1635
45 | 2546650.3868 | 1211101.9181 | 2546647.36 | 1211096.0463
46 | 2546650.3868 | 1211101.9181 | 2546652.6137 | 1211105.6315
47 | 2546637.5453 | 1211078.8685 | 2546638.2971 | 1211079.9356 | 2546642.3206 | 1211086.27 | 2546647.36 | 1211096.0463
48 | 2546745.8538 | 1211053.0532 | 2546741.7761 | 1211062.3763 | 2546741.6468 | 1211064.1635
49 | 2546632.7629 | 1211072.0806 | 2546632.7629 | 1211072.0806 | 2546637.5453 | 1211078.8685
50 | 2546632.7629 | 1211072.0806 | 2546625.5217 | 1211064.541 | 2546614.5084 | 1211055.8234 | 2546603.6765 | 1211049.6196
51 | 2546590.4269 | 1211042.0335 | 2546596.4666 | 1211045.4902 | 2546603.6765 | 1211049.6196
52 | 2546590.4269 | 1211042.0335 | 2546441.2371 | 1210938.043
53 | 2546441.2371 | 1210938.043 | 2546442.0225 | 1210928.219 | 2546447.7486 | 1210909.2229 | 2546455.4821 | 1210883.6047
54 | 2546379.9557 | 1210933.5591 | 2546384.2978 | 1210923.8616
55 | 2546384.2978 | 1210923.8616 | 2546387.2931 | 1210917.172
56 | 2546387.2931 | 1210917.172 | 2546390.3876 | 1210910.2606
57 | 2546390.3876 | 1210910.2606 | 2546393.3642 | 1210903.6128
58 | 2546455.4821 | 1210883.6047 | 2546437.8942 | 1210876.1894
59 | 2546421.6584 | 1210869.3442 | 2546437.8942 | 1210876.1894
60 | 2546421.6584 | 1210869.3442 | 2546418.28 | 1210867.9198
61 | 2546409.6432 | 1210867.2566 | 2546410.765 | 1210864.7514 | 2546418.28 | 1210867.9198
62 | 2546405.907 | 1210875.6004 | 2546409.6432 | 1210867.2566
63 | 2546409.6432 | 1210867.2566 | 2546347.6599 | 1210624.5657
64 | 2546402.7776 | 1210882.5891 | 2546405.907 | 1210875.6004
65 | 2546393.3642 | 1210903.6128 | 2546396.5187 | 1210896.5675
66 | 2546396.5187 | 1210896.5675 | 2546399.6264 | 1210889.6267
67 | 2546400.7231 | 1210887.1774 | 2546399.6264 | 1210889.6267
68 | 2546400.7231 | 1210887.1774 | 2546402.7776 | 1210882.5891
69 | 2546650.2616 | 1211179.4729 | 2546664.4611 | 1211167.9404
70 | 2546650.2616 | 1211179.4729 | 2546630.6019 | 1211195.4401 | 2546629.3946 | 1211196.3781
71 | 2546629.3946 | 1211196.3781 | 2546625.0574 | 1211199.7479
72 | 2546561.0421 | 1211308.0423 | 2546596.1247 | 1211235.9734 | 2546621.9161 | 1211202.1886 | 2546625.0574 | 1211199.7479
73 | 2546561.0421 | 1211308.0423 | 2546547.3764 | 1211317.0037
74 | 2546547.3764 | 1211317.0037 | 2546544.9994 | 1211319.9747
75 | 2546544.9994 | 1211319.9747 | 2546533.1112 | 1211334.834

## bus_geodata
| x | y | coords
0 | 2546746.8655 | 1211227.613
1 | 2546730.2986 | 1211210.8915
2 | 2546750.2458 | 1211231.0172
3 | 2546717.6761 | 1211197.6802
4 | 2546728.9084 | 1211168.1065
5 | 2546806.8565 | 1211131.1104
6 | 2546849.0799 | 1211158.2922
7 | 2546788.7647 | 1211120.524
8 | 2547180.7884 | 1211052.2521
9 | 2547185.0896 | 1211027.0056
10 | 2547161.1732 | 1211175.6618
11 | 2547094.085 | 1210887.4834
12 | 2547023.4141 | 1211157.1307
13 | 2547015.6704 | 1211128.784
14 | 2546992.5711 | 1211153.0139
15 | 2546929.2897 | 1211143.1052
16 | 2546902.2019 | 1211134.0725
17 | 2546898.3729 | 1211169.9532
18 | 2546975.3495 | 1211150.1934
19 | 2546861.9246 | 1211169.805
20 | 2546887.8403 | 1211193.6716
21 | 2546889.8299 | 1211126.1306
22 | 2546836.7526 | 1211088.9973
23 | 2546681.6221 | 1211154.0026
24 | 2546668.2729 | 1211164.8446
25 | 2546723.7028 | 1211142.9541
26 | 2546656.7417 | 1211112.5148
27 | 2546763.3516 | 1211105.8647
28 | 2546817.0096 | 1211074.5442
29 | 2547065.4756 | 1210890.9727
30 | 2546666.041 | 1210946.8078
31 | 2546659.5178 | 1210921.8847
32 | 2546670.7164 | 1211033.9823
33 | 2546710.1673 | 1211088.2098
34 | 2546768.7588 | 1211093.5697
35 | 2546788.1545 | 1211054.8187
36 | 2546735.5921 | 1211122.4595
37 | 2546719.7687 | 1211111.189
38 | 2546664.0254 | 1211083.0246
39 | 2546708.3493 | 1211101.5765
40 | 2546771.4571 | 1211082.634
41 | 2546767.3659 | 1211035.5981
42 | 2546670.7659 | 1211037.0855
43 | 2546650.3868 | 1211101.9181
44 | 2546647.36 | 1211096.0463
45 | 2546652.6137 | 1211105.6315
46 | 2546741.6468 | 1211064.1635
47 | 2546745.8538 | 1211053.0532
48 | 2546637.5453 | 1211078.8685
49 | 2546632.7629 | 1211072.0806
50 | 2546603.6765 | 1211049.6196
51 | 2546590.4269 | 1211042.0335
52 | 2546441.2371 | 1210938.043
53 | 2546379.9557 | 1210933.5591
54 | 2546384.2978 | 1210923.8616
55 | 2546387.2931 | 1210917.172
56 | 2546390.3876 | 1210910.2606
57 | 2546455.4821 | 1210883.6047
58 | 2546421.6584 | 1210869.3442
59 | 2546437.8942 | 1210876.1894
60 | 2546418.28 | 1210867.9198
61 | 2546409.6432 | 1210867.2566
62 | 2546405.907 | 1210875.6004
63 | 2546347.6599 | 1210624.5657
64 | 2546393.3642 | 1210903.6128
65 | 2546396.5187 | 1210896.5675
66 | 2546399.6264 | 1210889.6267
67 | 2546400.7231 | 1210887.1774
68 | 2546402.7776 | 1210882.5891
69 | 2546664.4611 | 1211167.9404
70 | 2546650.2616 | 1211179.4729
71 | 2546629.3946 | 1211196.3781
72 | 2546625.0574 | 1211199.7479
73 | 2546561.0421 | 1211308.0423
74 | 2546547.3764 | 1211317.0037
75 | 2546544.9994 | 1211319.9747
76 | 2546533.1112 | 1211334.834
77 | 2546836.7526 | 1211088.9973

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1