## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6436-28_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6436-28_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6436-28_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6436-28_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6436-28_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6436-28_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6436-28_0_6_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_6436-28_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6436-28_0_6_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_6436-28_0_6_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_6436-28_0_6_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_6436-28_0_6_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_6436-28_0_6_node_65 | 0.4 | n |  | TRUE
13 | bus_LV_6436-28_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6436-28_0_6_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6436-28_0_6_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_6436-28_0_6_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_6436-28_0_6_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_6436-28_0_6_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_6436-28_0_6_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_6436-28_0_6_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_6436-28_0_6_node_78 | 0.4 | n |  | TRUE
22 | bus_LV_6436-28_0_6_node_77 | 0.4 | n |  | TRUE
23 | bus_LV_6436-28_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_6436-28_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6436-28_0_6_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_6436-28_0_6_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_6436-28_0_6_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_6436-28_0_6_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_6436-28_0_6_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_6436-28_0_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_6436-28_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_6436-28_0_6_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_6436-28_0_6_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_6436-28_0_6_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_6436-28_0_6_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_6436-28_0_6_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_6436-28_0_6_node_88 | 0.4 | n |  | TRUE
38 | bus_LV_6436-28_0_6_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_6436-28_0_6_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_6436-28_0_6_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_6436-28_0_6_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_6436-28_0_6_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_6436-28_0_6_node_86 | 0.4 | n |  | TRUE
44 | bus_LV_6436-28_0_6_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_6436-28_0_6_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_6436-28_0_6_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_6436-28_0_6_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_6436-28_0_6_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_6436-28_0_6_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_6436-28_0_6_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_6436-28_0_6_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_6436-28_0_6_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_6436-28_0_6_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_6436-28_0_6_node_79 | 0.4 | n |  | TRUE
55 | bus_LV_6436-28_0_6_node_82 | 0.4 | n |  | TRUE
56 | bus_LV_6436-28_0_6_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_6436-28_0_6_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_6436-28_0_6_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_6436-28_0_6_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_6436-28_0_6_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_6436-28_0_6_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_6436-28_0_6_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_6436-28_0_6_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_6436-28_0_6_node_84 | 0.4 | n |  | TRUE
65 | bus_LV_6436-28_0_6_node_83 | 0.4 | n |  | TRUE
66 | bus_LV_6436-28_0_6_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_6436-28_0_6_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_6436-28_0_6_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_6436-28_0_6_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_6436-28_0_6_node_90 | 0.4 | n |  | TRUE
71 | bus_LV_6436-28_0_6_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_6436-28_0_6_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_6436-28_0_6_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_6436-28_0_6_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_6436-28_0_6_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_6436-28_0_6_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_6436-28_0_6_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_6436-28_0_6_node_87 | 0.4 | n |  | TRUE
79 | bus_LV_6436-28_0_6_node_85 | 0.4 | n |  | TRUE
80 | bus_LV_6436-28_0_6_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_6436-28_0_6_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_6436-28_0_6_node_73 | 0.4 | n |  | TRUE
83 | bus_MV_322_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6436-28_0_6_load_0 | 0 | 0.010193 | 0.0025547 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6436-28_0_6_load_1 | 1 | 0.0072376 | 0.0018139 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6436-28_0_6_load_3 | 3 | 0.0063576 | 0.0015934 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6436-28_0_6_load_5 | 5 | 0.0018778 | 0.00047062 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6436-28_0_6_load_6 | 7 | 0.074693 | 0.01872 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6436-28_0_6_load_28 | 9 | 0.00050483 | 0.00012652 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6436-28_0_6_load_29 | 10 | 0.0018118 | 0.00045409 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6436-28_0_6_load_65 | 12 | 0.038973 | 0.0097676 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6436-28_0_6_load_15 | 15 | 0.012195 | 0.0030562 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6436-28_0_6_load_13 | 16 | 0.0019181 | 0.00048073 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6436-28_0_6_load_25 | 18 | 0.0039523 | 0.00099055 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6436-28_0_6_load_26 | 19 | 0.0039616 | 0.00099286 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6436-28_0_6_load_8 | 20 | 0.058543 | 0.014672 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6436-28_0_6_load_78 | 21 | 0.063513 | 0.015918 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6436-28_0_6_load_77 | 22 | 0.0724 | 0.018145 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6436-28_0_6_load_16 | 24 | 0.001937 | 0.00048547 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6436-28_0_6_load_17 | 25 | 0.0019825 | 0.00049686 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6436-28_0_6_load_59 | 27 | 0.0021354 | 0.00053519 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6436-28_0_6_load_40 | 28 | 0.0042607 | 0.0010678 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6436-28_0_6_load_41 | 29 | 0.0020562 | 0.00051533 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6436-28_0_6_load_18 | 30 | 0.00057408 | 0.00014388 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6436-28_0_6_load_19 | 31 | 0.0018253 | 0.00045747 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6436-28_0_6_load_76 | 33 | 0.0014852 | 0.00037222 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6436-28_0_6_load_74 | 34 | 0.0047182 | 0.0011825 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6436-28_0_6_load_88 | 37 | 0.0019055 | 0.00047757 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6436-28_0_6_load_37 | 38 | 0.0015941 | 0.00039953 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6436-28_0_6_load_67 | 39 | 0.0010508 | 0.00026336 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6436-28_0_6_load_21 | 40 | 0.0033284 | 0.00083418 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6436-28_0_6_load_22 | 41 | 0.00037315 | 9.3519e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6436-28_0_6_load_23 | 42 | 0.0023674 | 0.00059332 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6436-28_0_6_load_86 | 43 | 0.00079948 | 0.00020037 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6436-28_0_6_load_58 | 44 | 0.00089875 | 0.00022525 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6436-28_0_6_load_75 | 45 | 0.0027244 | 0.00068279 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6436-28_0_6_load_30 | 46 | 0.0046968 | 0.0011771 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6436-28_0_6_load_31 | 47 | 0.0037046 | 0.00092847 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6436-28_0_6_load_61 | 52 | 0.063733 | 0.015973 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6436-28_0_6_load_89 | 53 | 0.0015979 | 0.00040048 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6436-28_0_6_load_79 | 54 | 0.055321 | 0.013865 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6436-28_0_6_load_62 | 56 | 0.0036884 | 0.0009244 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6436-28_0_6_load_36 | 57 | 0.0018768 | 0.00047037 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6436-28_0_6_load_51 | 58 | 0.0024786 | 0.0006212 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6436-28_0_6_load_49 | 59 | 0.0011865 | 0.00029735 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6436-28_0_6_load_43 | 60 | 0.00033859 | 8.4858e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6436-28_0_6_load_46 | 62 | 0.002703 | 0.00067743 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6436-28_0_6_load_84 | 64 | 0.00079769 | 0.00019992 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6436-28_0_6_load_48 | 66 | 0.0011498 | 0.00028816 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6436-28_0_6_load_53 | 69 | 0.0023244 | 0.00058255 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6436-28_0_6_load_90 | 70 | 0.0028381 | 0.00071129 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6436-28_0_6_load_54 | 71 | 0.00059999 | 0.00015037 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6436-28_0_6_load_55 | 72 | 0.00082712 | 0.00020729 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6436-28_0_6_load_57 | 74 | 0.0012545 | 0.00031442 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6436-28_0_6_load_71 | 75 | 0.0010782 | 0.00027022 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6436-28_0_6_load_72 | 76 | 0.0012304 | 0.00030837 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6436-28_0_6_load_63 | 77 | 0.0025337 | 0.000635 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6436-28_0_6_load_87 | 78 | 0.0027387 | 0.00068637 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6436-28_0_6_load_85 | 79 | 0.0022134 | 0.00055474 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6436-28_0_6_load_70 | 81 | 0.0010285 | 0.00025776 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6436-28_0_6_load_73 | 82 | 0.00047161 | 0.0001182 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6436-28_0_6_line_0 |  | 0 | 1 | 0.010525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6436-28_0_6_line_1 |  | 0 | 2 | 0.015042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6436-28_0_6_line_2 |  | 1 | 3 | 0.029515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6436-28_0_6_line_3 |  | 2 | 4 | 0.032054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6436-28_0_6_line_4 |  | 2 | 5 | 0.043265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6436-28_0_6_line_5 |  | 3 | 6 | 0.011404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6436-28_0_6_line_6 |  | 4 | 7 | 0.016681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6436-28_0_6_line_7 |  | 5 | 8 | 0.0056516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6436-28_0_6_line_8 |  | 6 | 9 | 0.020963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6436-28_0_6_line_9 |  | 6 | 10 | 0.007475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6436-28_0_6_line_10 |  | 7 | 17 | 0.015803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_6436-28_0_6_line_11 |  | 8 | 18 | 0.040698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6436-28_0_6_line_12 |  | 8 | 19 | 0.019509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6436-28_0_6_line_13 |  | 11 | 12 | 0.01356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6436-28_0_6_line_14 |  | 11 | 13 | 0.015414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6436-28_0_6_line_15 |  | 13 | 21 | 0.016586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6436-28_0_6_line_16 |  | 13 | 17 | 0.016382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6436-28_0_6_line_17 |  | 14 | 15 | 0.021869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6436-28_0_6_line_18 |  | 14 | 16 | 0.027753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6436-28_0_6_line_19 |  | 15 | 19 | 0.0078183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6436-28_0_6_line_20 |  | 16 | 23 | 0.015966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6436-28_0_6_line_21 |  | 17 | 20 | 0.00098461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6436-28_0_6_line_22 |  | 18 | 45 | 0.016313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6436-28_0_6_line_23 |  | 21 | 22 | 0.012187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6436-28_0_6_line_24 |  | 22 | 51 | 0.02365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6436-28_0_6_line_25 |  | 23 | 24 | 0.01552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6436-28_0_6_line_26 |  | 23 | 25 | 0.031691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6436-28_0_6_line_27 |  | 24 | 26 | 0.02468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6436-28_0_6_line_28 |  | 25 | 27 | 0.011736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6436-28_0_6_line_29 |  | 26 | 28 | 0.0096871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6436-28_0_6_line_30 |  | 26 | 29 | 0.017392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6436-28_0_6_line_31 |  | 28 | 58 | 0.0095701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6436-28_0_6_line_32 |  | 30 | 31 | 0.01115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6436-28_0_6_line_33 |  | 31 | 32 | 0.013542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6436-28_0_6_line_34 |  | 32 | 35 | 0.050305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6436-28_0_6_line_35 |  | 32 | 33 | 0.1432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6436-28_0_6_line_36 |  | 33 | 34 | 0.017443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6436-28_0_6_line_37 |  | 34 | 45 | 0.023497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6436-28_0_6_line_38 |  | 35 | 39 | 0.036612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6436-28_0_6_line_39 |  | 35 | 36 | 0.045084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6436-28_0_6_line_40 |  | 36 | 37 | 0.033101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6436-28_0_6_line_41 |  | 36 | 38 | 0.0068527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6436-28_0_6_line_42 |  | 38 | 57 | 0.046059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6436-28_0_6_line_43 |  | 39 | 80 | 0.0028172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6436-28_0_6_line_44 |  | 40 | 41 | 0.023741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6436-28_0_6_line_45 |  | 41 | 42 | 0.0064799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6436-28_0_6_line_46 |  | 42 | 43 | 0.00038835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6436-28_0_6_line_47 |  | 43 | 44 | 0.014879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6436-28_0_6_line_48 |  | 44 | 73 | 0.0029871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6436-28_0_6_line_49 |  | 46 | 47 | 0.031803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6436-28_0_6_line_50 |  | 46 | 48 | 0.010399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6436-28_0_6_line_51 |  | 48 | 49 | 0.03133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6436-28_0_6_line_52 |  | 48 | 50 | 0.032135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6436-28_0_6_line_53 |  | 49 | 51 | 0.013969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6436-28_0_6_line_54 |  | 49 | 52 | 0.0034278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6436-28_0_6_line_55 |  | 50 | 53 | 0.027605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6436-28_0_6_line_56 |  | 51 | 54 | 0.017142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6436-28_0_6_line_57 |  | 51 | 55 | 0.016002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6436-28_0_6_line_58 |  | 52 | 56 | 0.040831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6436-28_0_6_line_59 |  | 54 | 65 | 0.0021762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6436-28_0_6_line_60 |  | 55 | 79 | 0.021935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6436-28_0_6_line_61 |  | 56 | 77 | 0.021962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6436-28_0_6_line_62 |  | 58 | 59 | 0.013808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6436-28_0_6_line_63 |  | 59 | 66 | 0.015874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6436-28_0_6_line_64 |  | 60 | 61 | 0.015232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6436-28_0_6_line_65 |  | 61 | 62 | 0.021198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6436-28_0_6_line_66 |  | 61 | 63 | 0.012881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6436-28_0_6_line_67 |  | 63 | 64 | 0.042078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6436-28_0_6_line_68 |  | 64 | 65 | 0.015591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6436-28_0_6_line_69 |  | 65 | 82 | 0.022685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6436-28_0_6_line_70 |  | 66 | 67 | 0.060281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6436-28_0_6_line_71 |  | 67 | 68 | 0.086749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6436-28_0_6_line_72 |  | 67 | 69 | 0.010486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6436-28_0_6_line_73 |  | 68 | 70 | 0.047251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6436-28_0_6_line_74 |  | 71 | 72 | 0.0048941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6436-28_0_6_line_75 |  | 71 | 73 | 0.02413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6436-28_0_6_line_76 |  | 73 | 74 | 0.023109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6436-28_0_6_line_77 |  | 74 | 75 | 0.0046384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6436-28_0_6_line_78 |  | 75 | 76 | 0.0029347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6436-28_0_6_line_79 |  | 76 | 82 | 0.015834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6436-28_0_6_line_80 |  | 77 | 78 | 0.0024576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6436-28_0_6_line_81 |  | 80 | 81 | 0.013137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6436-28_0_6_trafo_7 | 0.63 MVA 20/0.4 kV | 83 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2544254.2416 | 1213322.7059 | 2544257.0489 | 1213326.6292 | 2544258.8528 | 1213328.6358 | 2544261.0596 | 1213330.6719
1 | 2544245.4124 | 1213310.5285 | 2544253.1926 | 1213321.2399 | 2544254.2416 | 1213322.7059
2 | 2544261.0596 | 1213330.6719 | 2544261.0596 | 1213330.6719 | 2544262.5263 | 1213331.5476 | 2544264.1197 | 1213332.1663 | 2544265.5901 | 1213332.6306 | 2544267.1657 | 1213332.9605 | 2544268.6792 | 1213333.1576 | 2544270.3813 | 1213333.2194 | 2544274.9155 | 1213333.1325 | 2544280.7702 | 1213332.922 | 2544282.6095 | 1213333.027 | 2544284.3425 | 1213333.1442 | 2544286.1529 | 1213333.4052 | 2544288.3667 | 1213333.7625 | 2544289.9945 | 1213334.1427
3 | 2544228.974 | 1213282.9882 | 2544234.1679 | 1213291.6892 | 2544245.4124 | 1213310.5285
4 | 2544245.4124 | 1213310.5285 | 2544241.2491 | 1213314.5255 | 2544227.9833 | 1213328.0135 | 2544223.8664 | 1213332.8995 | 2544216.9061 | 1213342.9016
5 | 2544301.1103 | 1213336.6894 | 2544292.7594 | 1213334.7886 | 2544289.9945 | 1213334.1427
6 | 2544228.974 | 1213282.9882 | 2544243.2362 | 1213274.3364
7 | 2544214.2304 | 1213347.8655 | 2544216.0788 | 1213344.0903 | 2544216.9061 | 1213342.9016
8 | 2544301.1103 | 1213336.6894 | 2544303.3168 | 1213340.3154 | 2544312.3324 | 1213354.3943
9 | 2544301.1103 | 1213336.6894 | 2544297.1309 | 1213330.3617
10 | 2544256.7478 | 1213266.14 | 2544243.2362 | 1213274.3364
11 | 2544214.2304 | 1213347.8655 | 2544213.2023 | 1213352.4446 | 2544213.0543 | 1213356.9153 | 2544213.3221 | 1213360.3593 | 2544214.188 | 1213363.5976 | 2544216.3985 | 1213367.646 | 2544219.1169 | 1213371.5784 | 2544228.1845 | 1213383.9413
12 | 2544214.2304 | 1213347.8655 | 2544211.3814 | 1213342.967 | 2544203.8279 | 1213331.3677
13 | 2544239.7986 | 1213239.2159 | 2544232.5834 | 1213227.7343
14 | 2544248.0867 | 1213252.2239 | 2544243.6919 | 1213245.3053 | 2544239.7986 | 1213239.2159
15 | 2544248.0867 | 1213252.2239 | 2544260.6991 | 1213244.3788 | 2544262.1701 | 1213243.4638
16 | 2544248.0867 | 1213252.2239 | 2544252.8668 | 1213259.7392 | 2544256.7478 | 1213266.14
17 | 2544187.6275 | 1213306.49 | 2544199.5615 | 1213324.8161
18 | 2544187.6275 | 1213306.49 | 2544186.1791 | 1213310.8061 | 2544184.9378 | 1213314.52 | 2544182.7391 | 1213319.8327 | 2544180.3712 | 1213324.9136 | 2544177.8031 | 1213329.7072 | 2544176.5258 | 1213331.8459
19 | 2544203.8279 | 1213331.3677 | 2544199.5615 | 1213324.8161
20 | 2544168.0675 | 1213345.3858 | 2544171.4295 | 1213340.1956 | 2544174.4377 | 1213335.3422 | 2544176.5258 | 1213331.8459
21 | 2544257.272 | 1213266.9735 | 2544256.7478 | 1213266.14
22 | 2544237.8327 | 1213397.0956 | 2544228.1845 | 1213383.9413
23 | 2544272.5187 | 1213237.027 | 2544262.1701 | 1213243.4638
24 | 2544292.6003 | 1213224.5348 | 2544289.1186 | 1213226.702 | 2544272.5187 | 1213237.027
25 | 2544168.0675 | 1213345.3858 | 2544158.9744 | 1213357.9634
26 | 2544168.0675 | 1213345.3858 | 2544185.1333 | 1213372.0888
27 | 2544143.8863 | 1213377.4876 | 2544147.7158 | 1213372.7377 | 2544155.192 | 1213363.1951 | 2544158.9744 | 1213357.9634
28 | 2544185.1333 | 1213372.0888 | 2544191.4533 | 1213381.9778
29 | 2544143.8863 | 1213377.4876 | 2544135.2517 | 1213381.879
30 | 2544143.8863 | 1213377.4876 | 2544141.0077 | 1213382.3732 | 2544139.3686 | 1213386.6022 | 2544138.529 | 1213391.0239 | 2544138.444 | 1213393.7076
31 | 2544126.5563 | 1213385.8701 | 2544133.1737 | 1213382.9359 | 2544135.2517 | 1213381.879
32 | 2544392.8877 | 1213507.9596 | 2544390.0272 | 1213501.0903 | 2544389.6 | 1213499.271 | 2544389.431 | 1213497.4382
33 | 2544393.6878 | 1213484.7685 | 2544391.1884 | 1213489.6059 | 2544390.2969 | 1213491.7489 | 2544389.8056 | 1213493.6324 | 2544389.5121 | 1213495.5585 | 2544389.431 | 1213497.4382 | 2544389.431 | 1213497.4382
34 | 2544393.6878 | 1213484.7685 | 2544397.8033 | 1213493.5354 | 2544402.177 | 1213503.923 | 2544404.692 | 1213511.3151 | 2544406.5148 | 1213517.7908 | 2544407.6793 | 1213522.9164 | 2544408.9902 | 1213529.8861 | 2544409.4686 | 1213532.3053
35 | 2544261.0444 | 1213430.8174 | 2544393.6878 | 1213484.7685
36 | 2544251.2053 | 1213416.4142 | 2544261.0444 | 1213430.8174
37 | 2544251.2053 | 1213416.4142 | 2544240.3924 | 1213400.5854 | 2544237.8327 | 1213397.0956
38 | 2544409.4686 | 1213532.3053 | 2544403.9121 | 1213544.8982 | 2544408.8744 | 1213567.2001
39 | 2544387.3437 | 1213552.0462 | 2544389.0009 | 1213549.7404 | 2544398.806 | 1213535.7848 | 2544407.6793 | 1213522.9164 | 2544408.9902 | 1213529.8861 | 2544409.4686 | 1213532.3053
40 | 2544365.2845 | 1213530.0613 | 2544372.1905 | 1213544.0052 | 2544372.97 | 1213545.3209 | 2544374.0974 | 1213546.4777 | 2544375.5353 | 1213547.5316 | 2544377.4817 | 1213548.5362 | 2544387.3437 | 1213552.0462
41 | 2544387.3437 | 1213552.0462 | 2544386.5685 | 1213553.621 | 2544386.0017 | 1213555.5608 | 2544385.7203 | 1213557.9538 | 2544385.7265 | 1213558.6208
42 | 2544385.7265 | 1213558.6208 | 2544385.7458 | 1213560.6885 | 2544385.5593 | 1213562.6693 | 2544385.1211 | 1213564.5523 | 2544384.3223 | 1213566.85 | 2544383.6305 | 1213569.2357 | 2544383.1436 | 1213571.5861 | 2544382.9128 | 1213573.7118 | 2544382.9869 | 1213575.9458 | 2544383.2571 | 1213578.0334 | 2544383.7849 | 1213580.0519 | 2544384.8824 | 1213582.8878 | 2544385.6695 | 1213585.015 | 2544386.092 | 1213587.1457 | 2544386.261 | 1213588.9675 | 2544386.1783 | 1213590.6915 | 2544385.9343 | 1213592.2169 | 2544385.4417 | 1213593.9559 | 2544380.8379 | 1213602.6049
43 | 2544409.4863 | 1213569.9501 | 2544408.8744 | 1213567.2001
44 | 2544362.5956 | 1213312.6131 | 2544379.6863 | 1213329.0924
45 | 2544362.5956 | 1213312.6131 | 2544357.9309 | 1213308.1153
46 | 2544357.6514 | 1213307.8458 | 2544357.9309 | 1213308.1153
47 | 2544357.6514 | 1213307.8458 | 2544346.9405 | 1213297.5181
48 | 2544344.7902 | 1213295.4448 | 2544346.9405 | 1213297.5181
49 | 2544280.7629 | 1213147.3123 | 2544280.8575 | 1213149.2549 | 2544281.1949 | 1213152.0311 | 2544281.8288 | 1213154.8269 | 2544282.8226 | 1213157.9195 | 2544284.2274 | 1213161.1082 | 2544286.0988 | 1213164.6373 | 2544288.8149 | 1213169.1368 | 2544291.6978 | 1213173.6014 | 2544293.2651 | 1213176.0386
50 | 2544298.8901 | 1213184.7852 | 2544293.2651 | 1213176.0386
51 | 2544298.8901 | 1213184.7852 | 2544296.909 | 1213187.3942 | 2544295.0751 | 1213190.3021 | 2544293.4594 | 1213193.7971 | 2544285.023 | 1213212.7875
52 | 2544298.8901 | 1213184.7852 | 2544310.4689 | 1213172.8141 | 2544322.0555 | 1213162.4772
53 | 2544285.023 | 1213212.7875 | 2544292.6003 | 1213224.5348
54 | 2544285.023 | 1213212.7875 | 2544283.2026 | 1213209.8831
55 | 2544322.0555 | 1213162.4772 | 2544321.181 | 1213134.8865
56 | 2544292.6003 | 1213224.5348 | 2544301.7349 | 1213239.0401
57 | 2544292.6003 | 1213224.5348 | 2544297.2077 | 1213221.7233 | 2544295.1324 | 1213218.3184 | 2544293.0417 | 1213214.8915 | 2544295.2701 | 1213213.5476
58 | 2544283.2026 | 1213209.8831 | 2544261.5186 | 1213175.2858
59 | 2544302.8945 | 1213240.8816 | 2544301.7349 | 1213239.0401
60 | 2544295.2701 | 1213213.5476 | 2544298.6618 | 1213209.0798 | 2544312.2272 | 1213199.996
61 | 2544261.5186 | 1213175.2858 | 2544249.8554 | 1213156.6769
62 | 2544126.5563 | 1213385.8701 | 2544124.9508 | 1213386.582 | 2544122.5635 | 1213387.1603 | 2544120.5284 | 1213387.235 | 2544117.1111 | 1213386.5333 | 2544113.8846 | 1213385.1183 | 2544113.4127 | 1213384.8419
63 | 2544100.7584 | 1213375.3159 | 2544104.9912 | 1213378.8314 | 2544108.2989 | 1213381.6131 | 2544111.3258 | 1213383.6193 | 2544113.4127 | 1213384.8419
64 | 2544370.3417 | 1213219.649 | 2544385.2623 | 1213216.5869
65 | 2544370.3417 | 1213219.649 | 2544366.4982 | 1213198.8022
66 | 2544357.8616 | 1213222.9788 | 2544370.3417 | 1213219.649
67 | 2544357.8616 | 1213222.9788 | 2544345.7849 | 1213226.3938 | 2544317.7063 | 1213235.8844
68 | 2544302.8945 | 1213240.8816 | 2544317.7063 | 1213235.8844
69 | 2544302.8945 | 1213240.8816 | 2544314.7517 | 1213260.2208
70 | 2544061.2491 | 1213331.6584 | 2544062.3856 | 1213336.1949 | 2544063.3381 | 1213338.932 | 2544064.6034 | 1213341.8108 | 2544066.2323 | 1213344.586 | 2544068.4172 | 1213347.5228 | 2544071.3877 | 1213350.7858 | 2544075.7999 | 1213354.7022 | 2544080.668 | 1213358.6255 | 2544084.7487 | 1213362.0114 | 2544091.0267 | 1213367.2334 | 2544100.7584 | 1213375.3159
71 | 2544061.2491 | 1213331.6584 | 2544057.0726 | 1213308.3947 | 2544056.2285 | 1213304.2557 | 2544055.1188 | 1213300.1526 | 2544053.7493 | 1213296.6856 | 2544052.2583 | 1213294.0424 | 2544050.5581 | 1213291.7682 | 2544048.0937 | 1213289.0008 | 2544044.2837 | 1213285.3233 | 2544038.8292 | 1213280.4383 | 2544016.8001 | 1213261.912
72 | 2544061.2491 | 1213331.6584 | 2544051.2578 | 1213334.8421
73 | 2544016.8001 | 1213261.912 | 2544014.7055 | 1213265.3449 | 2544012.208 | 1213267.9478 | 2544009.5602 | 1213269.9183 | 2544006.2923 | 1213271.3722 | 2544002.6613 | 1213272.1846 | 2543998.5072 | 1213272.3015 | 2543994.4377 | 1213271.7284 | 2543990.6423 | 1213270.4077 | 2543986.5641 | 1213268.1003 | 2543982.5861 | 1213265.1359 | 2543977.2579 | 1213260.4534
74 | 2544322.584 | 1213313.8747 | 2544326.6896 | 1213311.2107
75 | 2544344.7902 | 1213295.4448 | 2544333.6756 | 1213306.6777 | 2544326.6896 | 1213311.2107
76 | 2544344.7902 | 1213295.4448 | 2544331.3891 | 1213282.3289 | 2544328.3004 | 1213279.2551
77 | 2544325.2915 | 1213275.7281 | 2544327.8696 | 1213278.8263 | 2544328.3004 | 1213279.2551
78 | 2544325.2915 | 1213275.7281 | 2544324.2894 | 1213274.5239 | 2544323.4762 | 1213273.4238
79 | 2544314.7517 | 1213260.2208 | 2544317.5206 | 1213264.7369 | 2544320.9349 | 1213269.9859 | 2544323.4762 | 1213273.4238
80 | 2544248.5502 | 1213154.5944 | 2544249.8554 | 1213156.6769
81 | 2544406.6818 | 1213582.784 | 2544409.4863 | 1213569.9501

## bus_geodata
| x | y | coords
0 | 2544254.2416 | 1213322.7059
1 | 2544261.0596 | 1213330.6719
2 | 2544245.4124 | 1213310.5285
3 | 2544289.9945 | 1213334.1427
4 | 2544228.974 | 1213282.9882
5 | 2544216.9061 | 1213342.9016
6 | 2544301.1103 | 1213336.6894
7 | 2544243.2362 | 1213274.3364
8 | 2544214.2304 | 1213347.8655
9 | 2544312.3324 | 1213354.3943
10 | 2544297.1309 | 1213330.3617
11 | 2544239.7986 | 1213239.2159
12 | 2544232.5834 | 1213227.7343
13 | 2544248.0867 | 1213252.2239
14 | 2544187.6275 | 1213306.49
15 | 2544199.5615 | 1213324.8161
16 | 2544176.5258 | 1213331.8459
17 | 2544256.7478 | 1213266.14
18 | 2544228.1845 | 1213383.9413
19 | 2544203.8279 | 1213331.3677
20 | 2544257.272 | 1213266.9735
21 | 2544262.1701 | 1213243.4638
22 | 2544272.5187 | 1213237.027
23 | 2544168.0675 | 1213345.3858
24 | 2544158.9744 | 1213357.9634
25 | 2544185.1333 | 1213372.0888
26 | 2544143.8863 | 1213377.4876
27 | 2544191.4533 | 1213381.9778
28 | 2544135.2517 | 1213381.879
29 | 2544138.444 | 1213393.7076
30 | 2544392.8877 | 1213507.9596
31 | 2544389.431 | 1213497.4382
32 | 2544393.6878 | 1213484.7685
33 | 2544261.0444 | 1213430.8174
34 | 2544251.2053 | 1213416.4142
35 | 2544409.4686 | 1213532.3053
36 | 2544387.3437 | 1213552.0462
37 | 2544365.2845 | 1213530.0613
38 | 2544385.7265 | 1213558.6208
39 | 2544408.8744 | 1213567.2001
40 | 2544379.6863 | 1213329.0924
41 | 2544362.5956 | 1213312.6131
42 | 2544357.9309 | 1213308.1153
43 | 2544357.6514 | 1213307.8458
44 | 2544346.9405 | 1213297.5181
45 | 2544237.8327 | 1213397.0956
46 | 2544293.2651 | 1213176.0386
47 | 2544280.7629 | 1213147.3123
48 | 2544298.8901 | 1213184.7852
49 | 2544285.023 | 1213212.7875
50 | 2544322.0555 | 1213162.4772
51 | 2544292.6003 | 1213224.5348
52 | 2544283.2026 | 1213209.8831
53 | 2544321.181 | 1213134.8865
54 | 2544301.7349 | 1213239.0401
55 | 2544295.2701 | 1213213.5476
56 | 2544261.5186 | 1213175.2858
57 | 2544380.8379 | 1213602.6049
58 | 2544126.5563 | 1213385.8701
59 | 2544113.4127 | 1213384.8419
60 | 2544385.2623 | 1213216.5869
61 | 2544370.3417 | 1213219.649
62 | 2544366.4982 | 1213198.8022
63 | 2544357.8616 | 1213222.9788
64 | 2544317.7063 | 1213235.8844
65 | 2544302.8945 | 1213240.8816
66 | 2544100.7584 | 1213375.3159
67 | 2544061.2491 | 1213331.6584
68 | 2544016.8001 | 1213261.912
69 | 2544051.2578 | 1213334.8421
70 | 2543977.2579 | 1213260.4534
71 | 2544326.6896 | 1213311.2107
72 | 2544322.584 | 1213313.8747
73 | 2544344.7902 | 1213295.4448
74 | 2544328.3004 | 1213279.2551
75 | 2544325.2915 | 1213275.7281
76 | 2544323.4762 | 1213273.4238
77 | 2544249.8554 | 1213156.6769
78 | 2544248.5502 | 1213154.5944
79 | 2544312.2272 | 1213199.996
80 | 2544409.4863 | 1213569.9501
81 | 2544406.6818 | 1213582.784
82 | 2544314.7517 | 1213260.2208
83 | 2544248.0867 | 1213252.2239

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1