## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6436-33_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6436-33_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6436-33_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6436-33_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6436-33_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6436-33_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6436-33_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_6436-33_0_2_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_6436-33_0_2_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_6436-33_0_2_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_6436-33_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_6436-33_0_2_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_6436-33_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6436-33_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6436-33_0_2_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_6436-33_0_2_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_6436-33_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_6436-33_0_2_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_6436-33_0_2_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_6436-33_0_2_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_6436-33_0_2_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_6436-33_0_2_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_6436-33_0_2_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_6436-33_0_2_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_6436-33_0_2_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_6436-33_0_2_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_6436-33_0_2_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_6436-33_0_2_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_6436-33_0_2_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_6436-33_0_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_6436-33_0_2_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_6436-33_0_2_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_6436-33_0_2_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_6436-33_0_2_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_6436-33_0_2_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_6436-33_0_2_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_6436-33_0_2_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_6436-33_0_2_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_6436-33_0_2_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_6436-33_0_2_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_6436-33_0_2_node_72 | 0.4 | n |  | TRUE
41 | bus_LV_6436-33_0_2_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_6436-33_0_2_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_6436-33_0_2_node_68 | 0.4 | n |  | TRUE
44 | bus_LV_6436-33_0_2_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_6436-33_0_2_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_6436-33_0_2_node_73 | 0.4 | n |  | TRUE
47 | bus_LV_6436-33_0_2_node_70 | 0.4 | n |  | TRUE
48 | bus_LV_6436-33_0_2_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_6436-33_0_2_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_6436-33_0_2_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_6436-33_0_2_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_6436-33_0_2_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_6436-33_0_2_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_6436-33_0_2_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_6436-33_0_2_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_6436-33_0_2_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_6436-33_0_2_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_6436-33_0_2_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_6436-33_0_2_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_6436-33_0_2_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_6436-33_0_2_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_6436-33_0_2_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_6436-33_0_2_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_6436-33_0_2_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_6436-33_0_2_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_6436-33_0_2_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_6436-33_0_2_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_6436-33_0_2_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_6436-33_0_2_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_6436-33_0_2_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_6436-33_0_2_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_6436-33_0_2_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_6436-33_0_2_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_6436-33_0_2_node_69 | 0.4 | n |  | TRUE
75 | bus_MV_0_node_49 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6436-33_0_2_load_0 | 0 | 0.0015469 | 0.00038769 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6436-33_0_2_load_1 | 1 | 0.0013676 | 0.00034275 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6436-33_0_2_load_5 | 4 | 0.0004318 | 0.00010822 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6436-33_0_2_load_6 | 5 | 0.00099916 | 0.00025041 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6436-33_0_2_load_33 | 7 | 0.00044286 | 0.00011099 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6436-33_0_2_load_11 | 8 | 0.0032577 | 0.00081646 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6436-33_0_2_load_12 | 11 | 0.0012535 | 0.00031416 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6436-33_0_2_load_9 | 12 | 0.0012873 | 0.00032263 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6436-33_0_2_load_8 | 13 | 0.0048799 | 0.001223 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6436-33_0_2_load_19 | 15 | 0.0025334 | 0.00063492 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6436-33_0_2_load_13 | 16 | 0.003567 | 0.00089398 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6436-33_0_2_load_14 | 17 | 0.001064 | 0.00026667 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6436-33_0_2_load_16 | 18 | 0.0059295 | 0.0014861 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6436-33_0_2_load_17 | 19 | 0.0022234 | 0.00055723 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6436-33_0_2_load_18 | 20 | 0.00088706 | 0.00022232 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6436-33_0_2_load_20 | 21 | 0.00048881 | 0.00012251 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6436-33_0_2_load_27 | 24 | 0.00059042 | 0.00014797 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6436-33_0_2_load_23 | 26 | 0.002446 | 0.00061302 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6436-33_0_2_load_24 | 27 | 0.0015904 | 0.00039858 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6436-33_0_2_load_29 | 28 | 0.0030625 | 0.00076753 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6436-33_0_2_load_25 | 29 | 0.0020482 | 0.00051332 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6436-33_0_2_load_30 | 30 | 0.00037588 | 9.4203e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6436-33_0_2_load_32 | 31 | 0.0010535 | 0.00026402 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6436-33_0_2_load_58 | 32 | 0.0005633 | 0.00014118 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6436-33_0_2_load_31 | 33 | 0.0019795 | 0.0004961 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6436-33_0_2_load_59 | 35 | 0.00069731 | 0.00017476 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6436-33_0_2_load_60 | 36 | 0.0006451 | 0.00016168 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6436-33_0_2_load_74 | 39 | 0.00045771 | 0.00011471 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6436-33_0_2_load_72 | 40 | 0.00011003 | 2.7576e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6436-33_0_2_load_68 | 43 | 0.00019635 | 4.9211e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6436-33_0_2_load_63 | 44 | 0.00029397 | 7.3677e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6436-33_0_2_load_75 | 45 | 0.00016945 | 4.2469e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6436-33_0_2_load_73 | 46 | 0.00027658 | 6.9317e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6436-33_0_2_load_70 | 47 | 0.00077915 | 0.00019527 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6436-33_0_2_load_77 | 48 | 0.001597 | 0.00040024 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6436-33_0_2_load_53 | 49 | 0.00028901 | 7.2432e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6436-33_0_2_load_41 | 52 | 0.00019346 | 4.8487e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6436-33_0_2_load_38 | 53 | 0.00059093 | 0.0001481 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6436-33_0_2_load_47 | 54 | 0.00046719 | 0.00011709 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6436-33_0_2_load_44 | 55 | 0.00047515 | 0.00011908 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6436-33_0_2_load_35 | 56 | 0.00064815 | 0.00016244 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6436-33_0_2_load_36 | 57 | 0.00020418 | 5.1173e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6436-33_0_2_load_37 | 58 | 0.00041892 | 0.00010499 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6436-33_0_2_load_42 | 59 | 0.00050652 | 0.00012695 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6436-33_0_2_load_52 | 60 | 0.0006942 | 0.00017398 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6436-33_0_2_load_45 | 61 | 0.00025964 | 6.5073e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6436-33_0_2_load_43 | 62 | 0.00074178 | 0.00018591 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6436-33_0_2_load_46 | 63 | 0.00025145 | 6.302e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6436-33_0_2_load_48 | 64 | 0.00018801 | 4.7119e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6436-33_0_2_load_49 | 65 | 0.00026522 | 6.6472e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6436-33_0_2_load_50 | 66 | 0.00038004 | 9.5247e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6436-33_0_2_load_51 | 67 | 0.00055999 | 0.00014035 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6436-33_0_2_load_54 | 68 | 0.0004166 | 0.00010441 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6436-33_0_2_load_56 | 70 | 0.00054263 | 0.000136 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6436-33_0_2_load_57 | 71 | 0.00051075 | 0.00012801 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6436-33_0_2_load_64 | 72 | 0.00047146 | 0.00011816 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6436-33_0_2_load_71 | 73 | 0.00061919 | 0.00015518 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6436-33_0_2_load_69 | 74 | 0.0012602 | 0.00031584 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6436-33_0_2_line_0 |  | 0 | 1 | 0.01527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6436-33_0_2_line_1 |  | 0 | 2 | 0.022632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6436-33_0_2_line_2 |  | 1 | 3 | 0.048785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6436-33_0_2_line_3 |  | 2 | 4 | 0.13867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6436-33_0_2_line_4 |  | 3 | 5 | 0.017912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6436-33_0_2_line_5 |  | 3 | 6 | 0.031977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6436-33_0_2_line_6 |  | 4 | 7 | 0.03511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6436-33_0_2_line_7 |  | 5 | 8 | 0.0076796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6436-33_0_2_line_8 |  | 6 | 9 | 0.008823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6436-33_0_2_line_9 |  | 6 | 10 | 0.012378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6436-33_0_2_line_10 |  | 6 | 11 | 0.017183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6436-33_0_2_line_11 |  | 7 | 14 | 0.078163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6436-33_0_2_line_12 |  | 9 | 15 | 0.035171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6436-33_0_2_line_13 |  | 10 | 13 | 0.017879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6436-33_0_2_line_14 |  | 11 | 16 | 0.0059029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6436-33_0_2_line_15 |  | 12 | 13 | 0.044563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6436-33_0_2_line_16 |  | 14 | 50 | 0.029559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6436-33_0_2_line_17 |  | 14 | 51 | 0.020685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6436-33_0_2_line_18 |  | 16 | 17 | 0.021684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6436-33_0_2_line_19 |  | 17 | 18 | 0.019329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6436-33_0_2_line_20 |  | 18 | 19 | 0.077685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6436-33_0_2_line_21 |  | 19 | 20 | 0.0050529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6436-33_0_2_line_22 |  | 21 | 22 | 0.12578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6436-33_0_2_line_23 |  | 22 | 23 | 0.11802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6436-33_0_2_line_24 |  | 23 | 24 | 0.057091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6436-33_0_2_line_25 |  | 23 | 25 | 0.15195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6436-33_0_2_line_26 |  | 24 | 28 | 0.0089436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6436-33_0_2_line_27 |  | 25 | 31 | 0.093494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6436-33_0_2_line_28 |  | 26 | 27 | 0.026493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6436-33_0_2_line_29 |  | 26 | 28 | 0.24352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6436-33_0_2_line_30 |  | 27 | 29 | 0.0051585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6436-33_0_2_line_31 |  | 28 | 30 | 0.074097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6436-33_0_2_line_32 |  | 30 | 33 | 0.022313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6436-33_0_2_line_33 |  | 31 | 32 | 0.057228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6436-33_0_2_line_34 |  | 32 | 49 | 0.020547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6436-33_0_2_line_35 |  | 33 | 34 | 0.18316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6436-33_0_2_line_36 |  | 34 | 36 | 0.065854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6436-33_0_2_line_37 |  | 35 | 36 | 0.0017498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6436-33_0_2_line_38 |  | 35 | 37 | 0.018702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6436-33_0_2_line_39 |  | 37 | 44 | 0.008741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6436-33_0_2_line_40 |  | 37 | 72 | 0.064506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6436-33_0_2_line_41 |  | 38 | 39 | 0.073748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6436-33_0_2_line_42 |  | 38 | 40 | 0.081795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6436-33_0_2_line_43 |  | 39 | 48 | 0.17838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6436-33_0_2_line_44 |  | 40 | 46 | 0.024224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6436-33_0_2_line_45 |  | 41 | 42 | 0.03708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6436-33_0_2_line_46 |  | 41 | 43 | 0.014806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6436-33_0_2_line_47 |  | 41 | 44 | 0.036704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6436-33_0_2_line_48 |  | 42 | 45 | 0.014893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6436-33_0_2_line_49 |  | 42 | 46 | 0.009565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6436-33_0_2_line_50 |  | 43 | 47 | 0.031999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6436-33_0_2_line_51 |  | 47 | 74 | 0.0039172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6436-33_0_2_line_52 |  | 49 | 60 | 0.036374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6436-33_0_2_line_53 |  | 50 | 52 | 0.0077613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6436-33_0_2_line_54 |  | 50 | 53 | 0.0199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6436-33_0_2_line_55 |  | 51 | 54 | 0.051351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6436-33_0_2_line_56 |  | 51 | 55 | 0.0054642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6436-33_0_2_line_57 |  | 52 | 59 | 0.021857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6436-33_0_2_line_58 |  | 53 | 57 | 0.047084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6436-33_0_2_line_59 |  | 54 | 60 | 0.097254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6436-33_0_2_line_60 |  | 55 | 61 | 0.018566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6436-33_0_2_line_61 |  | 56 | 57 | 0.0064483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6436-33_0_2_line_62 |  | 56 | 58 | 0.047662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6436-33_0_2_line_63 |  | 59 | 62 | 0.0052369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6436-33_0_2_line_64 |  | 61 | 63 | 0.01482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6436-33_0_2_line_65 |  | 63 | 64 | 0.038918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6436-33_0_2_line_66 |  | 64 | 65 | 0.012289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6436-33_0_2_line_67 |  | 65 | 66 | 0.070116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6436-33_0_2_line_68 |  | 66 | 67 | 0.012041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6436-33_0_2_line_69 |  | 67 | 68 | 0.018075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6436-33_0_2_line_70 |  | 68 | 69 | 0.022282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6436-33_0_2_line_71 |  | 69 | 70 | 0.011237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6436-33_0_2_line_72 |  | 70 | 71 | 0.022387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6436-33_0_2_line_73 |  | 72 | 73 | 0.0010442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6436-33_0_2_trafo_49 | 0.63 MVA 20/0.4 kV | 75 | 65 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2544009.4155 | 1209906.0506 | 2544018.7814 | 1209893.9896
1 | 2543997.2258 | 1209925.1041 | 2544007.7155 | 1209908.2398 | 2544009.4155 | 1209906.0506
2 | 2544040.5775 | 1209851.3191 | 2544037.6594 | 1209865.1214 | 2544031.9193 | 1209877.0714 | 2544018.7814 | 1209893.9896
3 | 2543997.2258 | 1209925.1041 | 2543994.2815 | 1209933.6924 | 2543992.5334 | 1209945.805 | 2543995.9688 | 1209963.5611 | 2544001.9743 | 1209979.8365 | 2544009.3662 | 1209994.0088 | 2544019.8012 | 1210007.6855 | 2544030.9757 | 1210019.999 | 2544054.7593 | 1210039.576 | 2544055.7545 | 1210040.4043
4 | 2544040.5775 | 1209851.3191 | 2544047.5711 | 1209858.7022 | 2544053.1022 | 1209864.1202
5 | 2544045.662 | 1209819.7525 | 2544040.5775 | 1209851.3191
6 | 2544055.7545 | 1210040.4043 | 2544070.5703 | 1210052.7354 | 2544083.2909 | 1210062.1643
7 | 2544055.6102 | 1209871.3787 | 2544053.1022 | 1209864.1202
8 | 2544045.662 | 1209819.7525 | 2544048.3725 | 1209811.3553
9 | 2544045.662 | 1209819.7525 | 2544033.26 | 1209819.202
10 | 2544045.662 | 1209819.7525 | 2544062.6116 | 1209822.5729
11 | 2544152.8409 | 1210097.6344 | 2544142.2828 | 1210093.4643 | 2544114.8425 | 1210079.3912 | 2544085.189 | 1210063.5712 | 2544083.2909 | 1210062.1643
12 | 2544048.3725 | 1209811.3553 | 2544055.8522 | 1209803.3247 | 2544073.1977 | 1209786.4548
13 | 2544033.26 | 1209819.202 | 2544031.3846 | 1209825.0676 | 2544027.0907 | 1209829.166 | 2544021.5088 | 1209830.6856
14 | 2544062.6116 | 1209822.5729 | 2544068.4345 | 1209823.5419
15 | 2544021.5088 | 1209830.6856 | 2544019.3502 | 1209831.2733 | 2544008.5454 | 1209835.6775 | 2544007.6444 | 1209839.2882 | 2544013.9501 | 1209851.9031 | 2544015.1674 | 1209856.8724 | 2544008.344 | 1209860.4778
16 | 2544152.8409 | 1210097.6344 | 2544153.8516 | 1210092.7554 | 2544153.0379 | 1210091.0842 | 2544148.7749 | 1210088.745 | 2544141.2911 | 1210083.3565 | 2544135.1382 | 1210077.2439
17 | 2544172.4888 | 1210104.2097 | 2544169.8581 | 1210103.3004 | 2544159.8212 | 1210100.3928 | 2544152.8409 | 1210097.6344
18 | 2544089.0759 | 1209828.8225 | 2544086.009 | 1209826.4664 | 2544068.4345 | 1209823.5419
19 | 2544089.0759 | 1209828.8225 | 2544092.5855 | 1209831.5187 | 2544098.9776 | 1209841.2201 | 2544101.1916 | 1209843.6469
20 | 2544167.333 | 1209864.7182 | 2544142.877 | 1209871.7374 | 2544134.0066 | 1209870.8868 | 2544126.7506 | 1209867.9309 | 2544118.538 | 1209862.6604 | 2544101.1916 | 1209843.6469
21 | 2544172.1899 | 1209863.3242 | 2544167.333 | 1209864.7182
22 | 2544397.5423 | 1210517.2505 | 2544319.9798 | 1210616.264
23 | 2544503.7643 | 1210465.8065 | 2544397.5423 | 1210517.2505
24 | 2544503.7643 | 1210465.8065 | 2544539.8174 | 1210492.6199 | 2544540.4679 | 1210493.103 | 2544551.1718 | 1210496.8771
25 | 2544414.1268 | 1210343.3251 | 2544428.2061 | 1210368.164 | 2544446.1744 | 1210393.6004 | 2544478.2881 | 1210432.2684 | 2544503.7643 | 1210465.8065
26 | 2544559.6065 | 1210499.851 | 2544551.1718 | 1210496.8771
27 | 2544414.1268 | 1210343.3251 | 2544376.6328 | 1210272.2883 | 2544369.7601 | 1210261.0538
28 | 2544634.085 | 1210731.7011 | 2544629.3701 | 1210740.4345 | 2544642.6509 | 1210750.3405
29 | 2544559.6065 | 1210499.851 | 2544634.085 | 1210731.7011
30 | 2544642.6509 | 1210750.3405 | 2544646.7859 | 1210753.4247
31 | 2544559.6065 | 1210499.851 | 2544621.4076 | 1210458.9732
32 | 2544643.5707 | 1210461.558 | 2544621.4076 | 1210458.9732
33 | 2544369.7601 | 1210261.0538 | 2544362.5395 | 1210249.2507 | 2544355.8684 | 1210246.2001 | 2544346.8747 | 1210246.7289 | 2544339.1168 | 1210247.7354 | 2544327.0661 | 1210244.0236 | 2544321.8938 | 1210239.9002
34 | 2544305.8278 | 1210227.0922 | 2544321.8938 | 1210239.9002
35 | 2544643.5707 | 1210461.558 | 2544670.5302 | 1210280.3882
36 | 2544670.5302 | 1210280.3882 | 2544669.4023 | 1210271.0597 | 2544650.3319 | 1210239.8406 | 2544649.1161 | 1210234.9601 | 2544646.6528 | 1210233.2375 | 2544644.5348 | 1210231.0559 | 2544643.6859 | 1210228.0398 | 2544644.1834 | 1210222.3967
37 | 2544644.337 | 1210220.6537 | 2544644.1834 | 1210222.3967
38 | 2544642.5351 | 1210202.3685 | 2544645.164 | 1210211.2716 | 2544644.337 | 1210220.6537
39 | 2544642.5351 | 1210202.3685 | 2544650.4711 | 1210200.06 | 2544650.9472 | 1210200.0595
40 | 2544642.5351 | 1210202.3685 | 2544640.3829 | 1210194.8729 | 2544639.3815 | 1210186.8997 | 2544649.5212 | 1210151.0507 | 2544651.7201 | 1210139.8482
41 | 2544769.2765 | 1210323.5304 | 2544784.5118 | 1210336.3301 | 2544796.9965 | 1210348.3771 | 2544805.2374 | 1210360.1077 | 2544813.6933 | 1210375.3606 | 2544815.4604 | 1210379.7415
42 | 2544769.2765 | 1210323.5304 | 2544738.2206 | 1210275.8568 | 2544730.9488 | 1210261.2934 | 2544728.4133 | 1210253.0547
43 | 2544815.4604 | 1210379.7415 | 2544987.5528 | 1210332.7818
44 | 2544728.4133 | 1210253.0547 | 2544725.275 | 1210242.8573 | 2544720.3822 | 1210230.2168
45 | 2544687.594 | 1210201.2379 | 2544694.5163 | 1210201.8851 | 2544705.9913 | 1210208.2824 | 2544712.9863 | 1210215.1326 | 2544716.4581 | 1210221.5153
46 | 2544687.594 | 1210201.2379 | 2544690.5662 | 1210186.7329
47 | 2544687.594 | 1210201.2379 | 2544674.9284 | 1210200.0327 | 2544650.9472 | 1210200.0595
48 | 2544716.4581 | 1210221.5153 | 2544719.157 | 1210206.8704
49 | 2544716.4581 | 1210221.5153 | 2544718.3757 | 1210225.0329 | 2544720.3822 | 1210230.2168
50 | 2544676.3075 | 1210163.8447 | 2544689.3257 | 1210170.0366 | 2544692.0195 | 1210174.4809 | 2544691.8691 | 1210180.3747 | 2544690.5662 | 1210186.7329
51 | 2544672.77 | 1210162.1623 | 2544676.3075 | 1210163.8447
52 | 2544305.8278 | 1210227.0922 | 2544300.1046 | 1210222.5296 | 2544275.4742 | 1210207.1176
53 | 2544135.1382 | 1210077.2439 | 2544133.8375 | 1210069.5924
54 | 2544135.1382 | 1210077.2439 | 2544130.7923 | 1210075.7838 | 2544118.3359 | 1210066.8728
55 | 2544172.4888 | 1210104.2097 | 2544172.1483 | 1210110.0385 | 2544174.5354 | 1210114.9636 | 2544179.71 | 1210118.0725 | 2544185.0484 | 1210120.8129 | 2544206.7327 | 1210138.5296
56 | 2544172.4888 | 1210104.2097 | 2544177.7347 | 1210105.7388
57 | 2544133.8375 | 1210069.5924 | 2544133.6419 | 1210068.4415 | 2544133.2791 | 1210058.1388 | 2544133.6802 | 1210053.8992 | 2544136.822 | 1210048.6445
58 | 2544095.9991 | 1210026.6911 | 2544096.6764 | 1210029.921 | 2544101.042 | 1210043.188 | 2544105.7368 | 1210053.4611 | 2544114.5015 | 1210064.1297 | 2544118.3359 | 1210066.8728
59 | 2544206.7327 | 1210138.5296 | 2544208.8067 | 1210140.2241 | 2544224.1593 | 1210156.4344 | 2544235.0076 | 1210167.2615 | 2544271.4128 | 1210204.5762 | 2544275.4742 | 1210207.1176
60 | 2544177.7347 | 1210105.7388 | 2544195.5592 | 1210110.9344
61 | 2544094.6757 | 1210020.38 | 2544095.9991 | 1210026.6911
62 | 2544113.2172 | 1209984.0272 | 2544101.4245 | 1209990.0415 | 2544095.7146 | 1209993.8863 | 2544093.1891 | 1209997.7012 | 2544092.5162 | 1210001.3208 | 2544092.5069 | 1210010.0372 | 2544094.6757 | 1210020.38
63 | 2544139.5094 | 1210044.1498 | 2544136.822 | 1210048.6445
64 | 2544195.5592 | 1210110.9344 | 2544205.4505 | 1210113.8175 | 2544209.8734 | 1210114.7365
65 | 2544209.8734 | 1210114.7365 | 2544236.5281 | 1210120.2747 | 2544241.486 | 1210121.34 | 2544247.9626 | 1210122.7257
66 | 2544247.9626 | 1210122.7257 | 2544259.9792 | 1210125.2966
67 | 2544259.9792 | 1210125.2966 | 2544328.5435 | 1210139.9655
68 | 2544328.5435 | 1210139.9655 | 2544331.152 | 1210140.5236 | 2544340.3182 | 1210142.4844
69 | 2544340.3182 | 1210142.4844 | 2544345.3931 | 1210143.5701 | 2544357.9305 | 1210146.5459
70 | 2544379.3815 | 1210152.48 | 2544371.6878 | 1210149.817 | 2544369.5474 | 1210149.3033 | 2544357.9305 | 1210146.5459
71 | 2544379.3815 | 1210152.48 | 2544380.4659 | 1210160.3524 | 2544381.2801 | 1210163.5406
72 | 2544381.2801 | 1210163.5406 | 2544382.4855 | 1210168.2604 | 2544395.4463 | 1210180.0417
73 | 2544651.9212 | 1210138.8236 | 2544651.7201 | 1210139.8482

## bus_geodata
| x | y | coords
0 | 2544009.4155 | 1209906.0506
1 | 2544018.7814 | 1209893.9896
2 | 2543997.2258 | 1209925.1041
3 | 2544040.5775 | 1209851.3191
4 | 2544055.7545 | 1210040.4043
5 | 2544053.1022 | 1209864.1202
6 | 2544045.662 | 1209819.7525
7 | 2544083.2909 | 1210062.1643
8 | 2544055.6102 | 1209871.3787
9 | 2544048.3725 | 1209811.3553
10 | 2544033.26 | 1209819.202
11 | 2544062.6116 | 1209822.5729
12 | 2544008.344 | 1209860.4778
13 | 2544021.5088 | 1209830.6856
14 | 2544152.8409 | 1210097.6344
15 | 2544073.1977 | 1209786.4548
16 | 2544068.4345 | 1209823.5419
17 | 2544089.0759 | 1209828.8225
18 | 2544101.1916 | 1209843.6469
19 | 2544167.333 | 1209864.7182
20 | 2544172.1899 | 1209863.3242
21 | 2544319.9798 | 1210616.264
22 | 2544397.5423 | 1210517.2505
23 | 2544503.7643 | 1210465.8065
24 | 2544551.1718 | 1210496.8771
25 | 2544414.1268 | 1210343.3251
26 | 2544634.085 | 1210731.7011
27 | 2544642.6509 | 1210750.3405
28 | 2544559.6065 | 1210499.851
29 | 2544646.7859 | 1210753.4247
30 | 2544621.4076 | 1210458.9732
31 | 2544369.7601 | 1210261.0538
32 | 2544321.8938 | 1210239.9002
33 | 2544643.5707 | 1210461.558
34 | 2544670.5302 | 1210280.3882
35 | 2544644.337 | 1210220.6537
36 | 2544644.1834 | 1210222.3967
37 | 2544642.5351 | 1210202.3685
38 | 2544769.2765 | 1210323.5304
39 | 2544815.4604 | 1210379.7415
40 | 2544728.4133 | 1210253.0547
41 | 2544687.594 | 1210201.2379
42 | 2544716.4581 | 1210221.5153
43 | 2544690.5662 | 1210186.7329
44 | 2544650.9472 | 1210200.0595
45 | 2544719.157 | 1210206.8704
46 | 2544720.3822 | 1210230.2168
47 | 2544676.3075 | 1210163.8448
48 | 2544987.5528 | 1210332.7818
49 | 2544305.8278 | 1210227.0922
50 | 2544135.1382 | 1210077.2439
51 | 2544172.4888 | 1210104.2097
52 | 2544133.8375 | 1210069.5924
53 | 2544118.3359 | 1210066.8728
54 | 2544206.7327 | 1210138.5296
55 | 2544177.7347 | 1210105.7388
56 | 2544094.6757 | 1210020.38
57 | 2544095.9991 | 1210026.6911
58 | 2544113.2172 | 1209984.0272
59 | 2544136.822 | 1210048.6445
60 | 2544275.4742 | 1210207.1176
61 | 2544195.5592 | 1210110.9344
62 | 2544139.5094 | 1210044.1498
63 | 2544209.8734 | 1210114.7365
64 | 2544247.9626 | 1210122.7257
65 | 2544259.9792 | 1210125.2966
66 | 2544328.5435 | 1210139.9655
67 | 2544340.3182 | 1210142.4844
68 | 2544357.9305 | 1210146.5459
69 | 2544379.3815 | 1210152.48
70 | 2544381.2801 | 1210163.5406
71 | 2544395.4463 | 1210180.0417
72 | 2544651.7201 | 1210139.8482
73 | 2544651.9212 | 1210138.8236
74 | 2544672.77 | 1210162.1623
75 | 2544259.9792 | 1210125.2966

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1