## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6711-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6711-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6711-11_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6711-11_0_4_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_6711-11_0_4_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_6711-11_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_6711-11_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6711-11_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6711-11_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6711-11_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6711-11_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_6711-11_0_4_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_6711-11_0_4_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_6711-11_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_6711-11_0_4_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_6711-11_0_4_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_6711-11_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_6711-11_0_4_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_6711-11_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_6711-11_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_6711-11_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_6711-11_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_6711-11_0_4_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_6711-11_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_6711-11_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_6711-11_0_4_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_6711-11_0_4_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_6711-11_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_6711-11_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_6711-11_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_6711-11_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_6711-11_0_4_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_6711-11_0_4_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_6711-11_0_4_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_6711-11_0_4_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_6711-11_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_6711-11_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_6711-11_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_6711-11_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_6711-11_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_6711-11_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_6711-11_0_4_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_6711-11_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_6711-11_0_4_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_6711-11_0_4_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_6711-11_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_6711-11_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_6711-11_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_6711-11_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_6711-11_0_4_node_81 | 0.4 | n |  | TRUE
50 | bus_LV_6711-11_0_4_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_6711-11_0_4_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_6711-11_0_4_node_83 | 0.4 | n |  | TRUE
53 | bus_LV_6711-11_0_4_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_6711-11_0_4_node_71 | 0.4 | n |  | TRUE
55 | bus_LV_6711-11_0_4_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_6711-11_0_4_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_6711-11_0_4_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_6711-11_0_4_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_6711-11_0_4_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_6711-11_0_4_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_6711-11_0_4_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_6711-11_0_4_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_6711-11_0_4_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_6711-11_0_4_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_6711-11_0_4_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_6711-11_0_4_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_6711-11_0_4_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_6711-11_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_6711-11_0_4_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_6711-11_0_4_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_6711-11_0_4_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_6711-11_0_4_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_6711-11_0_4_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_6711-11_0_4_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_6711-11_0_4_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_6711-11_0_4_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_6711-11_0_4_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_6711-11_0_4_node_82 | 0.4 | n |  | TRUE
79 | bus_MV_332_1_node_174 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6711-11_0_4_load_0 | 0 | 0.0028455 | 0.00071315 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6711-11_0_4_load_1 | 1 | 0.0055086 | 0.0013806 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6711-11_0_4_load_2 | 2 | 0.0055672 | 0.0013953 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6711-11_0_4_load_3 | 5 | 0.0038897 | 0.00097484 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6711-11_0_4_load_4 | 6 | 0.0061675 | 0.0015457 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6711-11_0_4_load_5 | 7 | 0.0054993 | 0.0013782 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6711-11_0_4_load_6 | 8 | 0.0061965 | 0.001553 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6711-11_0_4_load_7 | 9 | 0.097869 | 0.024528 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6711-11_0_4_load_13 | 13 | 0.0066664 | 0.0016708 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6711-11_0_4_load_36 | 14 | 0.0048559 | 0.001217 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6711-11_0_4_load_22 | 15 | 0.0047895 | 0.0012004 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6711-11_0_4_load_19 | 16 | 0.0045759 | 0.0011468 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6711-11_0_4_load_37 | 17 | 0.0059929 | 0.001502 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6711-11_0_4_load_9 | 18 | 0.0029619 | 0.00074232 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6711-11_0_4_load_10 | 19 | 0.0060481 | 0.0015158 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6711-11_0_4_load_18 | 21 | 0.0026865 | 0.00067331 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6711-11_0_4_load_26 | 22 | 0.0035366 | 0.00088635 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6711-11_0_4_load_20 | 23 | 0.0027223 | 0.00068227 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6711-11_0_4_load_44 | 25 | 0.0028323 | 0.00070984 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6711-11_0_4_load_45 | 26 | 0.003357 | 0.00084135 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6711-11_0_4_load_23 | 27 | 0.0034554 | 0.00086601 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6711-11_0_4_load_24 | 28 | 0.0043617 | 0.0010932 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6711-11_0_4_load_27 | 30 | 0.0081946 | 0.0020538 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6711-11_0_4_load_41 | 32 | 0.0041403 | 0.0010377 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6711-11_0_4_load_42 | 33 | 0.0039812 | 0.00099778 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6711-11_0_4_load_28 | 35 | 0.013005 | 0.0032594 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6711-11_0_4_load_29 | 36 | 0.0067284 | 0.0016863 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6711-11_0_4_load_31 | 38 | 0.0025265 | 0.0006332 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6711-11_0_4_load_32 | 39 | 0.020455 | 0.0051266 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6711-11_0_4_load_33 | 40 | 0.039737 | 0.009959 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6711-11_0_4_load_48 | 41 | 0.0050076 | 0.001255 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6711-11_0_4_load_38 | 42 | 0.065692 | 0.016464 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6711-11_0_4_load_52 | 43 | 0.0015477 | 0.00038788 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6711-11_0_4_load_47 | 44 | 0.0032346 | 0.00081067 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6711-11_0_4_load_39 | 45 | 0.014326 | 0.0035903 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6711-11_0_4_load_53 | 46 | 0.0035608 | 0.00089241 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6711-11_0_4_load_49 | 48 | 0.014462 | 0.0036246 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6711-11_0_4_load_81 | 49 | 0.0028279 | 0.00070875 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6711-11_0_4_load_70 | 50 | 0.022401 | 0.0056143 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6711-11_0_4_load_80 | 51 | 0.041666 | 0.010443 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6711-11_0_4_load_83 | 52 | 0.0046866 | 0.0011746 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6711-11_0_4_load_50 | 53 | 0.0012951 | 0.00032458 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6711-11_0_4_load_58 | 55 | 0.0052117 | 0.0013062 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6711-11_0_4_load_68 | 56 | 0.0020638 | 0.00051725 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6711-11_0_4_load_59 | 57 | 0.0047586 | 0.0011926 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6711-11_0_4_load_69 | 58 | 0.002165 | 0.00054261 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6711-11_0_4_load_61 | 60 | 0.0026779 | 0.00067114 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6711-11_0_4_load_57 | 61 | 0.0030229 | 0.00075762 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6711-11_0_4_load_55 | 62 | 0.0012418 | 0.00031122 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6711-11_0_4_load_54 | 63 | 0.0012306 | 0.00030842 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6711-11_0_4_load_64 | 64 | 0.0044742 | 0.0011213 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6711-11_0_4_load_62 | 65 | 0.012331 | 0.0030905 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6711-11_0_4_load_66 | 66 | 0.0036007 | 0.00090241 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6711-11_0_4_load_67 | 67 | 0.0042581 | 0.0010672 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6711-11_0_4_load_63 | 68 | 0.0037881 | 0.00094938 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6711-11_0_4_load_65 | 69 | 0.0041064 | 0.0010292 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6711-11_0_4_load_76 | 71 | 0.0038934 | 0.00097578 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6711-11_0_4_load_72 | 72 | 0.0042997 | 0.0010776 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6711-11_0_4_load_73 | 73 | 0.0032252 | 0.00080831 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6711-11_0_4_load_75 | 75 | 0.0026925 | 0.00067481 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6711-11_0_4_load_78 | 77 | 0.0080768 | 0.0020242 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6711-11_0_4_load_82 | 78 | 0.00044176 | 0.00011071 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6711-11_0_4_line_0 |  | 0 | 1 | 0.02122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6711-11_0_4_line_1 |  | 1 | 2 | 0.00039126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6711-11_0_4_line_2 |  | 2 | 3 | 0.018157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6711-11_0_4_line_3 |  | 3 | 4 | 0.013906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6711-11_0_4_line_4 |  | 4 | 15 | 0.017188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6711-11_0_4_line_5 |  | 4 | 16 | 0.017246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6711-11_0_4_line_6 |  | 5 | 6 | 0.015271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_6711-11_0_4_line_7 |  | 5 | 7 | 0.024639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6711-11_0_4_line_8 |  | 6 | 8 | 0.0005758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6711-11_0_4_line_9 |  | 7 | 9 | 0.005182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6711-11_0_4_line_10 |  | 8 | 10 | 0.020267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_6711-11_0_4_line_11 |  | 9 | 11 | 0.024567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6711-11_0_4_line_12 |  | 10 | 12 | 0.031045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6711-11_0_4_line_13 |  | 10 | 13 | 0.017604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6711-11_0_4_line_14 |  | 11 | 14 | 0.023449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6711-11_0_4_line_15 |  | 12 | 17 | 0.01581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_6711-11_0_4_line_16 |  | 13 | 20 | 0.015432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6711-11_0_4_line_17 |  | 14 | 50 | 0.013311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6711-11_0_4_line_18 |  | 16 | 21 | 0.020465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6711-11_0_4_line_19 |  | 17 | 22 | 0.0059815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6711-11_0_4_line_20 |  | 18 | 19 | 0.046669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6711-11_0_4_line_21 |  | 18 | 20 | 0.043913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6711-11_0_4_line_22 |  | 21 | 23 | 0.023162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6711-11_0_4_line_23 |  | 22 | 29 | 0.036143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_6711-11_0_4_line_24 |  | 23 | 24 | 0.029685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6711-11_0_4_line_25 |  | 24 | 25 | 0.014594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6711-11_0_4_line_26 |  | 25 | 26 | 0.00015994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6711-11_0_4_line_27 |  | 26 | 34 | 0.013101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6711-11_0_4_line_28 |  | 27 | 28 | 0.029711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6711-11_0_4_line_29 |  | 27 | 29 | 0.015388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6711-11_0_4_line_30 |  | 29 | 30 | 0.0047575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6711-11_0_4_line_31 |  | 30 | 31 | 0.025269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_6711-11_0_4_line_32 |  | 31 | 32 | 0.011415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6711-11_0_4_line_33 |  | 31 | 33 | 0.012657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6711-11_0_4_line_34 |  | 31 | 34 | 0.027168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6711-11_0_4_line_35 |  | 32 | 44 | 0.01596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_6711-11_0_4_line_36 |  | 33 | 55 | 0.0094142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6711-11_0_4_line_37 |  | 34 | 56 | 0.0096443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6711-11_0_4_line_38 |  | 35 | 36 | 0.0051859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_6711-11_0_4_line_39 |  | 35 | 37 | 0.006356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6711-11_0_4_line_40 |  | 36 | 38 | 0.014208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_6711-11_0_4_line_41 |  | 37 | 39 | 0.011879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_6711-11_0_4_line_42 |  | 37 | 40 | 0.018949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6711-11_0_4_line_43 |  | 38 | 41 | 0.0047137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_6711-11_0_4_line_44 |  | 39 | 42 | 0.015503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_6711-11_0_4_line_45 |  | 40 | 43 | 0.0078183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6711-11_0_4_line_46 |  | 41 | 44 | 0.010465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_6711-11_0_4_line_47 |  | 42 | 45 | 0.009786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6711-11_0_4_line_48 |  | 43 | 46 | 0.017501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6711-11_0_4_line_49 |  | 45 | 47 | 0.01638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6711-11_0_4_line_50 |  | 46 | 62 | 0.00097079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6711-11_0_4_line_51 |  | 47 | 48 | 0.020563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6711-11_0_4_line_52 |  | 47 | 49 | 0.10438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6711-11_0_4_line_53 |  | 48 | 53 | 0.0095126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6711-11_0_4_line_54 |  | 49 | 51 | 0.015833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6711-11_0_4_line_55 |  | 50 | 54 | 0.097958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6711-11_0_4_line_56 |  | 51 | 52 | 0.14208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6711-11_0_4_line_57 |  | 54 | 70 | 0.025634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6711-11_0_4_line_58 |  | 55 | 57 | 0.010731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6711-11_0_4_line_59 |  | 56 | 58 | 0.0053323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6711-11_0_4_line_60 |  | 57 | 64 | 0.0099371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6711-11_0_4_line_61 |  | 59 | 60 | 0.015883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6711-11_0_4_line_62 |  | 59 | 61 | 0.010941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6711-11_0_4_line_63 |  | 60 | 66 | 0.0064152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6711-11_0_4_line_64 |  | 62 | 63 | 0.016929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6711-11_0_4_line_65 |  | 64 | 65 | 0.0057785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6711-11_0_4_line_66 |  | 65 | 68 | 0.0031139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6711-11_0_4_line_67 |  | 66 | 67 | 0.0010488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6711-11_0_4_line_68 |  | 67 | 69 | 0.0090014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6711-11_0_4_line_69 |  | 68 | 69 | 0.0084964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6711-11_0_4_line_70 |  | 70 | 71 | 0.091378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6711-11_0_4_line_71 |  | 71 | 74 | 0.050342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6711-11_0_4_line_72 |  | 72 | 73 | 0.017648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6711-11_0_4_line_73 |  | 72 | 74 | 0.09037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6711-11_0_4_line_74 |  | 73 | 75 | 0.0023908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6711-11_0_4_line_75 |  | 74 | 76 | 0.036493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6711-11_0_4_line_76 |  | 75 | 77 | 0.0050024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6711-11_0_4_line_77 |  | 76 | 78 | 0.047394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6711-11_0_4_trafo_24 | 0.63 MVA 20/0.4 kV | 79 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2593815.0379 | 1246021.0824 | 2593794.5483 | 1246015.5628
1 | 2593794.5483 | 1246015.5628 | 2593794.1705 | 1246015.4611
2 | 2593776.5938 | 1246010.9084 | 2593791.6151 | 1246014.7727 | 2593794.1705 | 1246015.4611
3 | 2593776.5938 | 1246010.9084 | 2593774.2226 | 1246018.7492 | 2593772.5666 | 1246024.2211
4 | 2593772.5666 | 1246024.2211 | 2593768.2674 | 1246040.863
5 | 2593772.5666 | 1246024.2211 | 2593755.9504 | 1246019.604
6 | 2593798.4237 | 1245906.1559 | 2593795.5533 | 1245921.1549
7 | 2593798.4237 | 1245906.1559 | 2593800.6356 | 1245894.5979 | 2593803.4064 | 1245882.0289
8 | 2593795.4451 | 1245921.7204 | 2593795.5533 | 1245921.1549
9 | 2593804.522 | 1245876.9683 | 2593803.4064 | 1245882.0289
10 | 2593791.6357 | 1245941.6262 | 2593795.4451 | 1245921.7204
11 | 2593810.4574 | 1245853.1389 | 2593807.1838 | 1245864.8943 | 2593804.522 | 1245876.9683
12 | 2593791.6357 | 1245941.6262 | 2593785.5795 | 1245972.0741
13 | 2593791.6357 | 1245941.6262 | 2593805.8463 | 1245943.0787 | 2593809.1478 | 1245943.4199
14 | 2593810.4574 | 1245853.1389 | 2593819.9429 | 1245857.932 | 2593830.4848 | 1245865.2296
15 | 2593785.5795 | 1245972.0741 | 2593770.4087 | 1245967.6241
16 | 2593810.3349 | 1245958.8062 | 2593809.1478 | 1245943.4199
17 | 2593830.4848 | 1245865.2296 | 2593831.9702 | 1245866.2579 | 2593838.8438 | 1245872.8215 | 2593840.1179 | 1245874.3634
18 | 2593736.2328 | 1246014.1251 | 2593755.9504 | 1246019.604
19 | 2593764.6691 | 1245965.9405 | 2593770.4087 | 1245967.6241
20 | 2593849.1474 | 1245976.7028 | 2593862.1393 | 1245979.5537 | 2593859.5003 | 1245991.4641 | 2593855.9502 | 1246006.0548 | 2593855.019 | 1246012.1365
21 | 2593810.3349 | 1245958.8062 | 2593816.1207 | 1245965.4043 | 2593824.3518 | 1245970.0096 | 2593838.1877 | 1245974.2978 | 2593849.1474 | 1245976.7028
22 | 2593713.9167 | 1246007.9242 | 2593736.2328 | 1246014.1251
23 | 2593729.9875 | 1245955.7675 | 2593764.6691 | 1245965.9405
24 | 2593685.3155 | 1245999.9769 | 2593713.9167 | 1246007.9242
25 | 2593685.3155 | 1245999.9769 | 2593689.0563 | 1245985.87
26 | 2593689.0973 | 1245985.7154 | 2593689.0563 | 1245985.87
27 | 2593692.4552 | 1245973.0521 | 2593689.0973 | 1245985.7154
28 | 2593742.0652 | 1245912.3158 | 2593734.1085 | 1245940.9413
29 | 2593729.9875 | 1245955.7675 | 2593734.1085 | 1245940.9413
30 | 2593729.9875 | 1245955.7675 | 2593725.4223 | 1245954.4283
31 | 2593701.175 | 1245947.3152 | 2593725.4223 | 1245954.4283
32 | 2593701.175 | 1245947.3152 | 2593703.9392 | 1245936.2399
33 | 2593701.175 | 1245947.3152 | 2593688.9634 | 1245943.9884
34 | 2593692.4552 | 1245973.0521 | 2593701.175 | 1245947.3152
35 | 2593703.9392 | 1245936.2399 | 2593707.8041 | 1245920.7548
36 | 2593688.9634 | 1245943.9884 | 2593679.8803 | 1245941.5138
37 | 2593692.4552 | 1245973.0521 | 2593683.1399 | 1245970.5546
38 | 2593716.176 | 1245887.2111 | 2593714.9202 | 1245892.2426
39 | 2593717.7151 | 1245881.0443 | 2593716.176 | 1245887.2111
40 | 2593711.4798 | 1245906.0274 | 2593714.9202 | 1245892.2426
41 | 2593717.7151 | 1245881.0443 | 2593721.0009 | 1245869.6283
42 | 2593717.7151 | 1245881.0443 | 2593699.4084 | 1245876.1538
43 | 2593710.3383 | 1245910.6008 | 2593711.4798 | 1245906.0274
44 | 2593725.2891 | 1245854.7299 | 2593721.0009 | 1245869.6283
45 | 2593699.4084 | 1245876.1538 | 2593691.855 | 1245874.136
46 | 2593710.3383 | 1245910.6008 | 2593707.8041 | 1245920.7548
47 | 2593725.2891 | 1245854.7299 | 2593727.9958 | 1245845.3257
48 | 2593691.855 | 1245874.136 | 2593674.9473 | 1245869.6193
49 | 2593732.5265 | 1245829.5846 | 2593727.9958 | 1245845.3257
50 | 2593674.9473 | 1245869.6193 | 2593674.0094 | 1245869.3687
51 | 2593732.5265 | 1245829.5846 | 2593712.6641 | 1245824.2614
52 | 2593732.5265 | 1245829.5846 | 2593791.2709 | 1245743.3022
53 | 2593712.6641 | 1245824.2614 | 2593703.4757 | 1245821.7989
54 | 2593807.0923 | 1245742.6946 | 2593791.2709 | 1245743.3022
55 | 2593894.8981 | 1245955.204 | 2593886.1401 | 1245945.229 | 2593880.1115 | 1245937.486 | 2593875.398 | 1245930.4531 | 2593858.2646 | 1245900.8967 | 2593848.7296 | 1245884.7854 | 2593840.1179 | 1245874.3634
56 | 2593807.0923 | 1245742.6946 | 2593908.0593 | 1245642.7258
57 | 2593894.8981 | 1245955.204 | 2593897.4855 | 1245951.7992 | 2593901.1015 | 1245949.5162 | 2593905.3006 | 1245948.6557 | 2593909.5316 | 1245949.3184 | 2593913.2579 | 1245951.4269 | 2593916.0034 | 1245954.7151
58 | 2593669.5267 | 1245938.6932 | 2593679.8803 | 1245941.5138
59 | 2593683.1399 | 1245970.5546 | 2593677.9895 | 1245969.1737
60 | 2593659.9391 | 1245936.0811 | 2593669.5267 | 1245938.6932
61 | 2593611.9508 | 1245923.0075 | 2593627.2752 | 1245927.1824
62 | 2593611.9508 | 1245923.0075 | 2593614.9555 | 1245912.4871
63 | 2593627.2752 | 1245927.1824 | 2593633.4649 | 1245928.8687
64 | 2593657.6542 | 1245864.9996 | 2593674.0094 | 1245869.3687
65 | 2593654.3637 | 1245934.5622 | 2593659.9391 | 1245936.0811
66 | 2593654.3637 | 1245934.5622 | 2593651.3593 | 1245933.7437
67 | 2593633.4649 | 1245928.8687 | 2593634.4768 | 1245929.1444
68 | 2593634.4768 | 1245929.1444 | 2593643.1616 | 1245931.5104
69 | 2593643.1616 | 1245931.5104 | 2593651.3593 | 1245933.7437
70 | 2593916.0034 | 1245954.7151 | 2593923.8707 | 1245950.9378 | 2593928.8006 | 1245948.0976 | 2593948.3988 | 1245936.5477 | 2593994.0897 | 1245907.3695
71 | 2594035.0443 | 1245878.1773 | 2594026.3569 | 1245885.4352 | 2594001.9519 | 1245902.3487 | 2593994.0897 | 1245907.3695
72 | 2593946.717 | 1245863.0891 | 2593929.2393 | 1245860.6408
73 | 2594035.0443 | 1245878.1773 | 2594020.3595 | 1245871.1434 | 2593999.4395 | 1245868.5298 | 2593976.9714 | 1245866.3626 | 2593949.887 | 1245863.5332 | 2593946.717 | 1245863.0891
74 | 2593929.2393 | 1245860.6408 | 2593926.8716 | 1245860.3092
75 | 2594050.1617 | 1245894.728 | 2594057.2127 | 1245882.8133 | 2594035.0443 | 1245878.1773
76 | 2593921.9176 | 1245859.6152 | 2593926.8716 | 1245860.3092
77 | 2594050.1617 | 1245894.728 | 2594041.2067 | 1245906.1555 | 2594032.2344 | 1245937.783

## bus_geodata
| x | y | coords
0 | 2593815.0379 | 1246021.0824
1 | 2593794.5483 | 1246015.5628
2 | 2593794.1705 | 1246015.4611
3 | 2593776.5938 | 1246010.9084
4 | 2593772.5666 | 1246024.2211
5 | 2593798.4237 | 1245906.1559
6 | 2593795.5533 | 1245921.1549
7 | 2593803.4064 | 1245882.0289
8 | 2593795.4451 | 1245921.7204
9 | 2593804.522 | 1245876.9683
10 | 2593791.6357 | 1245941.6262
11 | 2593810.4574 | 1245853.1389
12 | 2593785.5795 | 1245972.0741
13 | 2593809.1478 | 1245943.4199
14 | 2593830.4848 | 1245865.2296
15 | 2593768.2674 | 1246040.863
16 | 2593755.9504 | 1246019.604
17 | 2593770.4087 | 1245967.6241
18 | 2593849.1474 | 1245976.7028
19 | 2593855.019 | 1246012.1365
20 | 2593810.3349 | 1245958.8062
21 | 2593736.2328 | 1246014.1251
22 | 2593764.6691 | 1245965.9405
23 | 2593713.9167 | 1246007.9242
24 | 2593685.3155 | 1245999.9769
25 | 2593689.0563 | 1245985.87
26 | 2593689.0973 | 1245985.7154
27 | 2593734.1085 | 1245940.9413
28 | 2593742.0652 | 1245912.3158
29 | 2593729.9875 | 1245955.7675
30 | 2593725.4223 | 1245954.4283
31 | 2593701.175 | 1245947.3152
32 | 2593703.9392 | 1245936.2399
33 | 2593688.9634 | 1245943.9884
34 | 2593692.4552 | 1245973.0521
35 | 2593716.176 | 1245887.2111
36 | 2593714.9202 | 1245892.2426
37 | 2593717.7151 | 1245881.0443
38 | 2593711.4798 | 1245906.0274
39 | 2593721.0009 | 1245869.6283
40 | 2593699.4084 | 1245876.1538
41 | 2593710.3383 | 1245910.6008
42 | 2593725.2891 | 1245854.7299
43 | 2593691.855 | 1245874.136
44 | 2593707.8041 | 1245920.7548
45 | 2593727.9958 | 1245845.3257
46 | 2593674.9473 | 1245869.6193
47 | 2593732.5265 | 1245829.5846
48 | 2593712.6641 | 1245824.2614
49 | 2593791.2709 | 1245743.3022
50 | 2593840.1179 | 1245874.3634
51 | 2593807.0923 | 1245742.6946
52 | 2593908.0593 | 1245642.7258
53 | 2593703.4757 | 1245821.7989
54 | 2593894.8981 | 1245955.204
55 | 2593679.8803 | 1245941.5138
56 | 2593683.1399 | 1245970.5546
57 | 2593669.5267 | 1245938.6932
58 | 2593677.9895 | 1245969.1737
59 | 2593611.9508 | 1245923.0075
60 | 2593627.2752 | 1245927.1824
61 | 2593614.9555 | 1245912.4871
62 | 2593674.0094 | 1245869.3687
63 | 2593657.6542 | 1245864.9996
64 | 2593659.9391 | 1245936.0812
65 | 2593654.3637 | 1245934.5622
66 | 2593633.4649 | 1245928.8687
67 | 2593634.4768 | 1245929.1444
68 | 2593651.3593 | 1245933.7437
69 | 2593643.1616 | 1245931.5104
70 | 2593916.0034 | 1245954.7151
71 | 2593994.0897 | 1245907.3695
72 | 2593946.717 | 1245863.0891
73 | 2593929.2393 | 1245860.6408
74 | 2594035.0443 | 1245878.1773
75 | 2593926.8716 | 1245860.3092
76 | 2594050.1617 | 1245894.728
77 | 2593921.9176 | 1245859.6152
78 | 2594032.2344 | 1245937.783
79 | 2593729.9875 | 1245955.7675

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1