## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6711-37_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6711-37_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6711-37_0_5_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_6711-37_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6711-37_0_5_node_57 | 0.4 | n |  | TRUE
5 | bus_LV_6711-37_0_5_node_91 | 0.4 | n |  | TRUE
6 | bus_LV_6711-37_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6711-37_0_5_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_6711-37_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6711-37_0_5_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_6711-37_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6711-37_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6711-37_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_6711-37_0_5_node_68 | 0.4 | n |  | TRUE
14 | bus_LV_6711-37_0_5_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_6711-37_0_5_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_6711-37_0_5_node_86 | 0.4 | n |  | TRUE
17 | bus_LV_6711-37_0_5_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_6711-37_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6711-37_0_5_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_6711-37_0_5_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_6711-37_0_5_node_69 | 0.4 | n |  | TRUE
22 | bus_LV_6711-37_0_5_node_90 | 0.4 | n |  | TRUE
23 | bus_LV_6711-37_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_6711-37_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_6711-37_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6711-37_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_6711-37_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_6711-37_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_6711-37_0_5_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_6711-37_0_5_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_6711-37_0_5_node_85 | 0.4 | n |  | TRUE
32 | bus_LV_6711-37_0_5_node_84 | 0.4 | n |  | TRUE
33 | bus_LV_6711-37_0_5_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_6711-37_0_5_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_6711-37_0_5_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_6711-37_0_5_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_6711-37_0_5_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_6711-37_0_5_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_6711-37_0_5_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_6711-37_0_5_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_6711-37_0_5_node_80 | 0.4 | n |  | TRUE
42 | bus_LV_6711-37_0_5_node_93 | 0.4 | n |  | TRUE
43 | bus_LV_6711-37_0_5_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_6711-37_0_5_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6711-37_0_5_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_6711-37_0_5_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_6711-37_0_5_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_6711-37_0_5_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_6711-37_0_5_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_6711-37_0_5_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_6711-37_0_5_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_6711-37_0_5_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_6711-37_0_5_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_6711-37_0_5_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_6711-37_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_6711-37_0_5_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_6711-37_0_5_node_87 | 0.4 | n |  | TRUE
58 | bus_LV_6711-37_0_5_node_76 | 0.4 | n |  | TRUE
59 | bus_LV_6711-37_0_5_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_6711-37_0_5_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_6711-37_0_5_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_6711-37_0_5_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_6711-37_0_5_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_6711-37_0_5_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_6711-37_0_5_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_6711-37_0_5_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_6711-37_0_5_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_6711-37_0_5_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_6711-37_0_5_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_6711-37_0_5_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_6711-37_0_5_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_6711-37_0_5_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_6711-37_0_5_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_6711-37_0_5_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_6711-37_0_5_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_6711-37_0_5_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_6711-37_0_5_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_6711-37_0_5_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_6711-37_0_5_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_6711-37_0_5_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_6711-37_0_5_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_6711-37_0_5_node_92 | 0.4 | n |  | TRUE
83 | bus_LV_6711-37_0_5_node_88 | 0.4 | n |  | TRUE
84 | bus_LV_6711-37_0_5_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_6711-37_0_5_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_6711-37_0_5_node_82 | 0.4 | n |  | TRUE
87 | bus_MV_332_0_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6711-37_0_5_load_0 | 0 | 0.051868 | 0.012999 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6711-37_0_5_load_57 | 4 | 0.0012502 | 0.00031333 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6711-37_0_5_load_91 | 5 | 0.011123 | 0.0027878 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6711-37_0_5_load_33 | 9 | 0.011694 | 0.0029307 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6711-37_0_5_load_8 | 11 | 0.0088738 | 0.002224 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6711-37_0_5_load_68 | 13 | 0.032367 | 0.008112 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6711-37_0_5_load_55 | 14 | 0.0037092 | 0.00092962 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6711-37_0_5_load_75 | 15 | 0.010261 | 0.0025716 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6711-37_0_5_load_86 | 16 | 0.0059489 | 0.0014909 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6711-37_0_5_load_31 | 20 | 0.0081754 | 0.002049 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6711-37_0_5_load_69 | 21 | 0.0053484 | 0.0013404 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6711-37_0_5_load_90 | 22 | 0.00020082 | 5.033e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6711-37_0_5_load_12 | 23 | 0.010697 | 0.0026808 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6711-37_0_5_load_13 | 24 | 0.00067947 | 0.00017029 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6711-37_0_5_load_14 | 25 | 0.0053895 | 0.0013507 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6711-37_0_5_load_15 | 26 | 0.0012024 | 0.00030136 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6711-37_0_5_load_16 | 27 | 0.007936 | 0.001989 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6711-37_0_5_load_17 | 28 | 0.0022035 | 0.00055224 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6711-37_0_5_load_51 | 30 | 0.0095862 | 0.0024025 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6711-37_0_5_load_85 | 31 | 0.0053015 | 0.0013287 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6711-37_0_5_load_45 | 33 | 0.014676 | 0.0036783 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6711-37_0_5_load_18 | 34 | 0.015823 | 0.0039655 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6711-37_0_5_load_21 | 37 | 0.0072818 | 0.001825 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6711-37_0_5_load_23 | 39 | 0.0049407 | 0.0012383 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6711-37_0_5_load_93 | 42 | 0.0043827 | 0.0010984 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6711-37_0_5_load_39 | 44 | 0.0035259 | 0.00088366 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6711-37_0_5_load_40 | 45 | 0.0097378 | 0.0024405 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6711-37_0_5_load_37 | 48 | 0.0053793 | 0.0013482 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6711-37_0_5_load_78 | 49 | 0.0036313 | 0.00091009 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6711-37_0_5_load_30 | 50 | 0.010026 | 0.0025126 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6711-37_0_5_load_27 | 51 | 0.0090697 | 0.0022731 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6711-37_0_5_load_46 | 52 | 0.0058533 | 0.001467 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6711-37_0_5_load_28 | 53 | 0.0028575 | 0.00071616 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6711-37_0_5_load_41 | 54 | 0.012119 | 0.0030374 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6711-37_0_5_load_42 | 55 | 0.011528 | 0.0028893 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6711-37_0_5_load_36 | 56 | 0.024328 | 0.0060972 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6711-37_0_5_load_87 | 57 | 0.010033 | 0.0025146 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6711-37_0_5_load_76 | 58 | 0.0059734 | 0.0014971 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6711-37_0_5_load_49 | 61 | 0.01819 | 0.0045589 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6711-37_0_5_load_77 | 62 | 0.0029214 | 0.00073218 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6711-37_0_5_load_47 | 63 | 0.014336 | 0.0035929 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6711-37_0_5_load_48 | 64 | 0.0061238 | 0.0015348 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6711-37_0_5_load_50 | 65 | 0.0049957 | 0.001252 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6711-37_0_5_load_73 | 67 | 0.012994 | 0.0032566 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6711-37_0_5_load_74 | 68 | 0.0068742 | 0.0017228 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6711-37_0_5_load_52 | 69 | 0.0046756 | 0.0011718 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6711-37_0_5_load_53 | 70 | 0.0037526 | 0.0009405 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6711-37_0_5_load_59 | 71 | 0.0086322 | 0.0021634 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6711-37_0_5_load_58 | 72 | 0.0027543 | 0.00069029 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6711-37_0_5_load_60 | 73 | 0.0063688 | 0.0015962 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6711-37_0_5_load_61 | 74 | 0.0043046 | 0.0010788 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6711-37_0_5_load_62 | 75 | 0.0071103 | 0.001782 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6711-37_0_5_load_63 | 76 | 0.0056104 | 0.0014061 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6711-37_0_5_load_64 | 77 | 0.0028059 | 0.00070323 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6711-37_0_5_load_65 | 78 | 0.0059814 | 0.0014991 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6711-37_0_5_load_66 | 79 | 0.0050008 | 0.0012533 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6711-37_0_5_load_67 | 80 | 0.0057641 | 0.0014446 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6711-37_0_5_load_92 | 82 | 0.0047413 | 0.0011883 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6711-37_0_5_load_88 | 83 | 0.026717 | 0.006696 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6711-37_0_5_load_79 | 84 | 0.0019297 | 0.00048363 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6711-37_0_5_load_81 | 85 | 0.0023715 | 0.00059435 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6711-37_0_5_load_82 | 86 | 0.0060946 | 0.0015275 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6711-37_0_5_line_0 |  | 0 | 1 | 0.01401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6711-37_0_5_line_1 |  | 1 | 2 | 0.037794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6711-37_0_5_line_2 |  | 2 | 5 | 0.023046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6711-37_0_5_line_3 |  | 2 | 3 | 0.023223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6711-37_0_5_line_4 |  | 3 | 4 | 0.0085242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6711-37_0_5_line_5 |  | 4 | 14 | 0.060499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6711-37_0_5_line_6 |  | 5 | 15 | 0.0033278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6711-37_0_5_line_7 |  | 6 | 7 | 0.014005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6711-37_0_5_line_8 |  | 6 | 8 | 0.070274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6711-37_0_5_line_9 |  | 6 | 9 | 0.010734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6711-37_0_5_line_10 |  | 7 | 16 | 0.012386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6711-37_0_5_line_11 |  | 8 | 10 | 0.03473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6711-37_0_5_line_12 |  | 8 | 11 | 0.16962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6711-37_0_5_line_13 |  | 9 | 17 | 0.0097759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6711-37_0_5_line_14 |  | 10 | 12 | 0.088072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6711-37_0_5_line_15 |  | 10 | 13 | 0.032076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6711-37_0_5_line_16 |  | 12 | 20 | 0.035229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6711-37_0_5_line_17 |  | 13 | 21 | 0.09337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6711-37_0_5_line_18 |  | 14 | 70 | 0.020537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6711-37_0_5_line_19 |  | 15 | 66 | 0.019741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6711-37_0_5_line_20 |  | 16 | 57 | 0.015667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6711-37_0_5_line_21 |  | 17 | 56 | 0.029037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6711-37_0_5_line_22 |  | 18 | 19 | 0.030178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6711-37_0_5_line_23 |  | 18 | 20 | 0.0027425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6711-37_0_5_line_24 |  | 19 | 22 | 0.019261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6711-37_0_5_line_25 |  | 21 | 81 | 0.014799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6711-37_0_5_line_26 |  | 23 | 24 | 0.037143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6711-37_0_5_line_27 |  | 23 | 25 | 0.038835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6711-37_0_5_line_28 |  | 24 | 26 | 0.010759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6711-37_0_5_line_29 |  | 25 | 27 | 0.0018457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6711-37_0_5_line_30 |  | 25 | 28 | 0.02254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6711-37_0_5_line_31 |  | 26 | 29 | 0.043571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6711-37_0_5_line_32 |  | 27 | 30 | 0.028542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6711-37_0_5_line_33 |  | 28 | 31 | 0.0078151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6711-37_0_5_line_34 |  | 29 | 32 | 0.020414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6711-37_0_5_line_35 |  | 30 | 33 | 0.013336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6711-37_0_5_line_36 |  | 32 | 83 | 0.033089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6711-37_0_5_line_37 |  | 33 | 59 | 0.015752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6711-37_0_5_line_38 |  | 34 | 35 | 0.018594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_6711-37_0_5_line_39 |  | 34 | 36 | 0.013095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_6711-37_0_5_line_40 |  | 35 | 37 | 0.056887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6711-37_0_5_line_41 |  | 35 | 38 | 0.006549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6711-37_0_5_line_42 |  | 36 | 39 | 0.024539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6711-37_0_5_line_43 |  | 36 | 40 | 0.013729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6711-37_0_5_line_44 |  | 37 | 41 | 0.019527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6711-37_0_5_line_45 |  | 38 | 42 | 0.011989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6711-37_0_5_line_46 |  | 38 | 43 | 0.027298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6711-37_0_5_line_47 |  | 39 | 44 | 0.044624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6711-37_0_5_line_48 |  | 40 | 45 | 0.033307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6711-37_0_5_line_49 |  | 41 | 49 | 0.011625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6711-37_0_5_line_50 |  | 43 | 50 | 0.019539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_6711-37_0_5_line_51 |  | 43 | 51 | 0.016312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6711-37_0_5_line_52 |  | 44 | 47 | 0.012355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6711-37_0_5_line_53 |  | 46 | 47 | 0.016192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6711-37_0_5_line_54 |  | 46 | 48 | 0.0099065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6711-37_0_5_line_55 |  | 47 | 52 | 0.020476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_6711-37_0_5_line_56 |  | 49 | 84 | 0.01115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6711-37_0_5_line_57 |  | 50 | 54 | 0.012521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6711-37_0_5_line_58 |  | 51 | 53 | 0.0045021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6711-37_0_5_line_59 |  | 52 | 58 | 0.027164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6711-37_0_5_line_60 |  | 54 | 55 | 0.016472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6711-37_0_5_line_61 |  | 55 | 59 | 0.01681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6711-37_0_5_line_62 |  | 57 | 68 | 0.020288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6711-37_0_5_line_63 |  | 58 | 62 | 0.014629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6711-37_0_5_line_64 |  | 60 | 61 | 0.0033859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6711-37_0_5_line_65 |  | 60 | 62 | 0.029733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_6711-37_0_5_line_66 |  | 61 | 63 | 0.004179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_6711-37_0_5_line_67 |  | 63 | 64 | 0.014735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_6711-37_0_5_line_68 |  | 64 | 65 | 0.01812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_6711-37_0_5_line_69 |  | 65 | 66 | 0.026961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_6711-37_0_5_line_70 |  | 66 | 67 | 0.023277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6711-37_0_5_line_71 |  | 66 | 68 | 0.025127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6711-37_0_5_line_72 |  | 67 | 80 | 0.021245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6711-37_0_5_line_73 |  | 69 | 70 | 0.020158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6711-37_0_5_line_74 |  | 71 | 72 | 0.0071343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6711-37_0_5_line_75 |  | 72 | 73 | 0.022448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6711-37_0_5_line_76 |  | 73 | 74 | 0.0045151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6711-37_0_5_line_77 |  | 74 | 75 | 0.022837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6711-37_0_5_line_78 |  | 75 | 76 | 0.0054488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6711-37_0_5_line_79 |  | 76 | 77 | 0.0079355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6711-37_0_5_line_80 |  | 77 | 78 | 0.010854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6711-37_0_5_line_81 |  | 78 | 79 | 0.00096675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6711-37_0_5_line_82 |  | 79 | 80 | 0.00034309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6711-37_0_5_line_83 |  | 81 | 82 | 0.014893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6711-37_0_5_line_84 |  | 84 | 85 | 0.0079072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6711-37_0_5_line_85 |  | 85 | 86 | 0.016915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6711-37_0_5_trafo_50 | 0.63 MVA 20/0.4 kV | 87 | 65 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2592777.7182 | 1245681.489 | 2592765.456 | 1245674.7121
1 | 2592755.6216 | 1245705.8984 | 2592760.1351 | 1245708.7613 | 2592777.7182 | 1245681.489
2 | 2592755.6216 | 1245705.8984 | 2592742.7985 | 1245725.0478
3 | 2592755.6216 | 1245705.8984 | 2592760.1351 | 1245708.7613 | 2592775.2253 | 1245718.3488
4 | 2592775.2253 | 1245718.3488 | 2592782.5433 | 1245722.7204 | 2592782.5433 | 1245722.7204
5 | 2592782.5433 | 1245722.7204 | 2592802.2199 | 1245696.2572 | 2592824.8963 | 1245711.8529
6 | 2592742.7985 | 1245725.0478 | 2592740.9469 | 1245727.8129
7 | 2592668.0621 | 1245683.7153 | 2592669.4702 | 1245686.1373 | 2592670.0327 | 1245688.8828 | 2592669.6735 | 1245691.6628 | 2592668.4529 | 1245694.177 | 2592666.4837 | 1245696.1808
8 | 2592668.0621 | 1245683.7153 | 2592673.8613 | 1245675.6696 | 2592682.8637 | 1245661.6273 | 2592696.3925 | 1245636.5056 | 2592703.6811 | 1245623.2325
9 | 2592668.0621 | 1245683.7153 | 2592665.8463 | 1245681.8058 | 2592663.1103 | 1245680.7418 | 2592660.1791 | 1245680.6454 | 2592658.3287 | 1245681.2294
10 | 2592666.4837 | 1245696.1808 | 2592672.9743 | 1245703.355 | 2592674.9963 | 1245705.1615
11 | 2592685.8595 | 1245604.4984 | 2592681.9904 | 1245615.5658 | 2592703.6811 | 1245623.2325
12 | 2592703.6811 | 1245623.2325 | 2592704.8493 | 1245621.0186 | 2592730.9935 | 1245577.0582 | 2592749.9277 | 1245548.6612 | 2592763.6542 | 1245530.2659 | 2592780.7234 | 1245508.52 | 2592796.5676 | 1245491.9567 | 2592803.1734 | 1245486.8952
13 | 2592652.7178 | 1245688.5709 | 2592653.4243 | 1245685.7349 | 2592655.0454 | 1245683.2869 | 2592657.3851 | 1245681.5273 | 2592658.3287 | 1245681.2294
14 | 2592615.7634 | 1245563.7159 | 2592621.9825 | 1245577.1388 | 2592620.756 | 1245581.0205 | 2592685.8595 | 1245604.4984
15 | 2592685.8595 | 1245604.4984 | 2592701.8421 | 1245608.4477 | 2592710.6245 | 1245595.5395
16 | 2592615.7634 | 1245563.7159 | 2592604.5803 | 1245555.8249 | 2592603.4164 | 1245555.3928 | 2592585.4363 | 1245549.1226 | 2592584.2422 | 1245548.7239
17 | 2592710.6245 | 1245595.5395 | 2592724.4491 | 1245575.2207 | 2592753.1206 | 1245528.1443 | 2592761.2809 | 1245517.1725
18 | 2592824.8963 | 1245711.8529 | 2592837.7702 | 1245720.707 | 2592841.8177 | 1245723.49
19 | 2592726.2152 | 1245738.3443 | 2592734.7952 | 1245736.9995 | 2592740.9469 | 1245727.8129
20 | 2592674.9963 | 1245705.1615 | 2592678.0943 | 1245707.9293 | 2592687.8257 | 1245714.08
21 | 2592652.7178 | 1245688.5709 | 2592643.8074 | 1245685.5802 | 2592626.5571 | 1245676.1952
22 | 2592554.9486 | 1245545.0253 | 2592557.7609 | 1245540.6078 | 2592581.5146 | 1245548.4382
23 | 2592581.5146 | 1245548.4382 | 2592584.2422 | 1245548.7239
24 | 2592554.9486 | 1245545.0253 | 2592548.8368 | 1245563.2913
25 | 2592770.1128 | 1245505.2977 | 2592761.2809 | 1245517.1725
26 | 2592568.5362 | 1245726.7827 | 2592547.819 | 1245695.9545
27 | 2592590.4078 | 1245758.8717 | 2592582.0981 | 1245746.9635 | 2592568.5362 | 1245726.7827
28 | 2592547.819 | 1245695.9545 | 2592542.1663 | 1245687.5431 | 2592541.814 | 1245687.0274
29 | 2592590.4078 | 1245758.8717 | 2592591.3726 | 1245760.4451
30 | 2592590.4078 | 1245758.8717 | 2592573.3535 | 1245773.6094
31 | 2592517.3339 | 1245650.9848 | 2592522.7078 | 1245659.0608 | 2592541.814 | 1245687.0274
32 | 2592591.3726 | 1245760.4451 | 2592606.293 | 1245784.7763
33 | 2592573.3535 | 1245773.6094 | 2592567.4404 | 1245778.7193
34 | 2592523.6876 | 1245633.5434 | 2592524.8573 | 1245638.5117 | 2592524.0705 | 1245643.5493 | 2592521.432 | 1245647.9221 | 2592517.3339 | 1245650.9848
35 | 2592613.2647 | 1245796.1454 | 2592606.293 | 1245784.7763
36 | 2592523.6876 | 1245633.5434 | 2592535.3289 | 1245633.5397 | 2592548.8325 | 1245636.6134 | 2592555.8733 | 1245639.47
37 | 2592621.8893 | 1245809.3196 | 2592617.1064 | 1245802.4101 | 2592613.2647 | 1245796.1454
38 | 2592670.057 | 1245895.7252 | 2592673.9171 | 1245907.7503 | 2592675.3957 | 1245913.5286
39 | 2592677.9968 | 1245926.3459 | 2592677.037 | 1245919.943 | 2592675.3957 | 1245913.5286
40 | 2592670.057 | 1245895.7252 | 2592665.1477 | 1245896.3318 | 2592658.4407 | 1245897.1518 | 2592639.0591 | 1245898.9105 | 2592621.477 | 1245901.9012 | 2592614.1315 | 1245904.7738
41 | 2592667.5868 | 1245889.6578 | 2592670.057 | 1245895.7252
42 | 2592677.9968 | 1245926.3459 | 2592683.4327 | 1245923.9265 | 2592695.387 | 1245909.6907
43 | 2592674.1228 | 1245939.3701 | 2592675.8411 | 1245936.1882 | 2592677.3684 | 1245931.2387 | 2592677.9968 | 1245926.3459
44 | 2592596.7219 | 1245913.473 | 2592605.9611 | 1245907.969 | 2592614.1315 | 1245904.7738
45 | 2592667.5868 | 1245889.6578 | 2592676.2701 | 1245886.5116 | 2592678.8447 | 1245885.4522
46 | 2592656.5568 | 1245864.6891 | 2592665.4798 | 1245884.0791 | 2592667.5868 | 1245889.6578
47 | 2592710.402 | 1245867.872 | 2592707.9363 | 1245873.9976 | 2592697.1154 | 1245907.6324 | 2592695.387 | 1245909.6907
48 | 2592674.1228 | 1245939.3701 | 2592666.4905 | 1245937.1671 | 2592663.3552 | 1245936.8709 | 2592652.1095 | 1245938.6972 | 2592642.5371 | 1245933.651
49 | 2592596.7219 | 1245913.473 | 2592591.9791 | 1245908.4202 | 2592587.6959 | 1245906.4985
50 | 2592656.5568 | 1245864.6891 | 2592648.0096 | 1245849.857 | 2592646.6988 | 1245847.8227
51 | 2592656.5568 | 1245864.6891 | 2592642.3039 | 1245872.056 | 2592642.0428 | 1245872.1131
52 | 2592715.0153 | 1245856.4109 | 2592710.402 | 1245867.872
53 | 2592715.0153 | 1245856.4109 | 2592730.3192 | 1245861.8287
54 | 2592730.3192 | 1245861.8287 | 2592736.4624 | 1245863.2776 | 2592739.6882 | 1245864.8638
55 | 2592715.0153 | 1245856.4109 | 2592710.7425 | 1245840.395 | 2592708.7676 | 1245837.032
56 | 2592587.6959 | 1245906.4985 | 2592584.6399 | 1245905.1274 | 2592577.0705 | 1245903.2421
57 | 2592639.9168 | 1245837.2974 | 2592646.6988 | 1245847.8227
58 | 2592637.6443 | 1245873.0736 | 2592642.0428 | 1245872.1131
59 | 2592708.7676 | 1245837.032 | 2592695.0119 | 1245813.608
60 | 2592639.9168 | 1245837.2974 | 2592630.9947 | 1245823.4506
61 | 2592621.8893 | 1245809.3196 | 2592630.9947 | 1245823.4506
62 | 2592704.9752 | 1245724.9195 | 2592687.8257 | 1245714.08
63 | 2592687.6042 | 1245800.9937 | 2592695.0119 | 1245813.608
64 | 2592670.7844 | 1245776.5709 | 2592673.1168 | 1245775.0781 | 2592673.6303 | 1245774.7364
65 | 2592670.7844 | 1245776.5709 | 2592679.9998 | 1245788.0444 | 2592687.6042 | 1245800.9937
66 | 2592677.1094 | 1245772.4213 | 2592673.6303 | 1245774.7364
67 | 2592677.1094 | 1245772.4213 | 2592689.3764 | 1245764.2582
68 | 2592704.4614 | 1245754.2199 | 2592689.3764 | 1245764.2582
69 | 2592726.2152 | 1245738.3443 | 2592716.6385 | 1245746.1167 | 2592704.4614 | 1245754.2199
70 | 2592726.2152 | 1245738.3443 | 2592732.2024 | 1245741.739 | 2592745.9888 | 1245750.6116
71 | 2592726.2152 | 1245738.3443 | 2592704.9752 | 1245724.9195
72 | 2592745.9888 | 1245750.6116 | 2592753.2729 | 1245755.2994 | 2592762.0201 | 1245760.9366 | 2592763.8505 | 1245762.1148
73 | 2592858.4284 | 1245734.9112 | 2592841.8177 | 1245723.49
74 | 2592827.2061 | 1245802.8979 | 2592833.205 | 1245806.7594
75 | 2592827.2061 | 1245802.8979 | 2592808.3309 | 1245790.7476
76 | 2592804.5344 | 1245788.3037 | 2592808.3309 | 1245790.7476
77 | 2592804.5344 | 1245788.3037 | 2592785.3322 | 1245775.943
78 | 2592780.7506 | 1245772.9937 | 2592785.3322 | 1245775.943
79 | 2592780.7506 | 1245772.9937 | 2592774.078 | 1245768.6985
80 | 2592764.9519 | 1245762.8238 | 2592774.078 | 1245768.6985
81 | 2592764.139 | 1245762.3005 | 2592764.9519 | 1245762.8238
82 | 2592763.8505 | 1245762.1148 | 2592764.139 | 1245762.3005
83 | 2592770.1128 | 1245505.2977 | 2592759.4477 | 1245494.9023
84 | 2592569.3977 | 1245901.3311 | 2592577.0705 | 1245903.2421
85 | 2592569.3977 | 1245901.3311 | 2592552.9839 | 1245897.243

## bus_geodata
| x | y | coords
0 | 2592765.456 | 1245674.7121
1 | 2592777.7182 | 1245681.489
2 | 2592755.6216 | 1245705.8984
3 | 2592775.2253 | 1245718.3488
4 | 2592782.5433 | 1245722.7204
5 | 2592742.7985 | 1245725.0478
6 | 2592668.0621 | 1245683.7153
7 | 2592666.4837 | 1245696.1808
8 | 2592703.6811 | 1245623.2325
9 | 2592658.3287 | 1245681.2294
10 | 2592685.8595 | 1245604.4984
11 | 2592803.1734 | 1245486.8952
12 | 2592615.7634 | 1245563.7158
13 | 2592710.6245 | 1245595.5395
14 | 2592824.8963 | 1245711.8529
15 | 2592740.9469 | 1245727.8129
16 | 2592674.9963 | 1245705.1615
17 | 2592652.7178 | 1245688.5709
18 | 2592581.5146 | 1245548.4382
19 | 2592554.9486 | 1245545.0253
20 | 2592584.2422 | 1245548.7239
21 | 2592761.2809 | 1245517.1725
22 | 2592548.8368 | 1245563.2913
23 | 2592568.5362 | 1245726.7827
24 | 2592547.819 | 1245695.9545
25 | 2592590.4078 | 1245758.8717
26 | 2592541.814 | 1245687.0274
27 | 2592591.3726 | 1245760.4451
28 | 2592573.3535 | 1245773.6094
29 | 2592517.3339 | 1245650.9848
30 | 2592606.293 | 1245784.7763
31 | 2592567.4404 | 1245778.7193
32 | 2592523.6876 | 1245633.5434
33 | 2592613.2647 | 1245796.1454
34 | 2592675.3957 | 1245913.5286
35 | 2592670.057 | 1245895.7252
36 | 2592677.9968 | 1245926.3459
37 | 2592614.1315 | 1245904.7738
38 | 2592667.5868 | 1245889.6578
39 | 2592695.387 | 1245909.6907
40 | 2592674.1228 | 1245939.3701
41 | 2592596.7219 | 1245913.473
42 | 2592678.8447 | 1245885.4522
43 | 2592656.5568 | 1245864.6891
44 | 2592710.402 | 1245867.872
45 | 2592642.5371 | 1245933.651
46 | 2592730.3192 | 1245861.8287
47 | 2592715.0153 | 1245856.4109
48 | 2592739.6882 | 1245864.8638
49 | 2592587.6959 | 1245906.4985
50 | 2592646.6988 | 1245847.8227
51 | 2592642.0428 | 1245872.1131
52 | 2592708.7676 | 1245837.032
53 | 2592637.6443 | 1245873.0736
54 | 2592639.9168 | 1245837.2974
55 | 2592630.9947 | 1245823.4506
56 | 2592626.5571 | 1245676.1952
57 | 2592687.8257 | 1245714.08
58 | 2592695.0119 | 1245813.608
59 | 2592621.8893 | 1245809.3196
60 | 2592670.7844 | 1245776.5709
61 | 2592673.6303 | 1245774.7364
62 | 2592687.6042 | 1245800.9937
63 | 2592677.1094 | 1245772.4213
64 | 2592689.3764 | 1245764.2582
65 | 2592704.4614 | 1245754.2199
66 | 2592726.2152 | 1245738.3443
67 | 2592745.9888 | 1245750.6116
68 | 2592704.9752 | 1245724.9195
69 | 2592858.4284 | 1245734.9112
70 | 2592841.8177 | 1245723.49
71 | 2592833.205 | 1245806.7594
72 | 2592827.2061 | 1245802.8979
73 | 2592808.3309 | 1245790.7476
74 | 2592804.5344 | 1245788.3037
75 | 2592785.3322 | 1245775.943
76 | 2592780.7506 | 1245772.9937
77 | 2592774.078 | 1245768.6985
78 | 2592764.9519 | 1245762.8238
79 | 2592764.139 | 1245762.3005
80 | 2592763.8505 | 1245762.1148
81 | 2592770.1128 | 1245505.2977
82 | 2592759.4477 | 1245494.9023
83 | 2592555.8733 | 1245639.47
84 | 2592577.0705 | 1245903.2421
85 | 2592569.3977 | 1245901.3311
86 | 2592552.9839 | 1245897.243
87 | 2592726.2152 | 1245738.3443

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1