## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6711-38_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6711-38_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6711-38_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6711-38_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6711-38_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6711-38_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6711-38_0_3_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_6711-38_0_3_node_70 | 0.4 | n |  | TRUE
8 | bus_LV_6711-38_0_3_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_6711-38_0_3_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_6711-38_0_3_node_71 | 0.4 | n |  | TRUE
11 | bus_LV_6711-38_0_3_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_6711-38_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6711-38_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6711-38_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6711-38_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6711-38_0_3_node_85 | 0.4 | n |  | TRUE
17 | bus_LV_6711-38_0_3_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_6711-38_0_3_node_86 | 0.4 | n |  | TRUE
19 | bus_LV_6711-38_0_3_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_6711-38_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_6711-38_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_6711-38_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_6711-38_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_6711-38_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6711-38_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6711-38_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6711-38_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_6711-38_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_6711-38_0_3_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_6711-38_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_6711-38_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_6711-38_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_6711-38_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_6711-38_0_3_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_6711-38_0_3_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_6711-38_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_6711-38_0_3_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_6711-38_0_3_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_6711-38_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_6711-38_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_6711-38_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_6711-38_0_3_node_84 | 0.4 | n |  | TRUE
43 | bus_LV_6711-38_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_6711-38_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_6711-38_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_6711-38_0_3_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_6711-38_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_6711-38_0_3_node_90 | 0.4 | n |  | TRUE
49 | bus_LV_6711-38_0_3_node_79 | 0.4 | n |  | TRUE
50 | bus_LV_6711-38_0_3_node_80 | 0.4 | n |  | TRUE
51 | bus_LV_6711-38_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_6711-38_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_6711-38_0_3_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_6711-38_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_6711-38_0_3_node_88 | 0.4 | n |  | TRUE
56 | bus_LV_6711-38_0_3_node_87 | 0.4 | n |  | TRUE
57 | bus_LV_6711-38_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_6711-38_0_3_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_6711-38_0_3_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_6711-38_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_6711-38_0_3_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_6711-38_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_6711-38_0_3_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_6711-38_0_3_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_6711-38_0_3_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_6711-38_0_3_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_6711-38_0_3_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_6711-38_0_3_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_6711-38_0_3_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_6711-38_0_3_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_6711-38_0_3_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_6711-38_0_3_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_6711-38_0_3_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_6711-38_0_3_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_6711-38_0_3_node_82 | 0.4 | n |  | TRUE
76 | bus_LV_6711-38_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_6711-38_0_3_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_6711-38_0_3_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_6711-38_0_3_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_6711-38_0_3_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_6711-38_0_3_node_91 | 0.4 | n |  | TRUE
82 | bus_LV_6711-38_0_3_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_6711-38_0_3_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_6711-38_0_3_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_6711-38_0_3_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_6711-38_0_3_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_6711-38_0_3_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_6711-38_0_3_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_6711-38_0_3_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_6711-38_0_3_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_6711-38_0_3_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_6711-38_0_3_node_93 | 0.4 | n |  | TRUE
93 | bus_MV_332_0_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6711-38_0_3_load_0 | 0 | 0.00451 | 0.0011303 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6711-38_0_3_load_1 | 1 | 0.0047779 | 0.0011975 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6711-38_0_3_load_2 | 2 | 0.00064521 | 0.0001617 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6711-38_0_3_load_3 | 3 | 0.0008299 | 0.00020799 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6711-38_0_3_load_4 | 4 | 0.00069935 | 0.00017527 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6711-38_0_3_load_5 | 5 | 0.00059321 | 0.00014867 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6711-38_0_3_load_30 | 8 | 0.0025719 | 0.00064458 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6711-38_0_3_load_31 | 9 | 0.0048639 | 0.001219 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6711-38_0_3_load_6 | 12 | 0.0014507 | 0.00036357 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6711-38_0_3_load_9 | 15 | 0.00091857 | 0.00023021 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6711-38_0_3_load_85 | 16 | 0.00081914 | 0.0002053 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6711-38_0_3_load_40 | 17 | 0.0014283 | 0.00035798 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6711-38_0_3_load_86 | 18 | 0.00085629 | 0.00021461 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6711-38_0_3_load_38 | 19 | 0.0026799 | 0.00067163 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6711-38_0_3_load_10 | 20 | 0.0036673 | 0.00091911 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6711-38_0_3_load_26 | 22 | 0.00105 | 0.00026316 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6711-38_0_3_load_17 | 24 | 0.0070616 | 0.0017698 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6711-38_0_3_load_14 | 25 | 0.0049471 | 0.0012399 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6711-38_0_3_load_21 | 26 | 0.00081813 | 0.00020504 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6711-38_0_3_load_24 | 27 | 0.0014625 | 0.00036653 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6711-38_0_3_load_15 | 29 | 0.0026738 | 0.00067012 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6711-38_0_3_load_23 | 31 | 0.0033741 | 0.00084564 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6711-38_0_3_load_20 | 33 | 0.0039538 | 0.00099091 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6711-38_0_3_load_69 | 34 | 0.0083871 | 0.002102 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6711-38_0_3_load_68 | 35 | 0.0051694 | 0.0012956 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6711-38_0_3_load_27 | 36 | 0.0033131 | 0.00083033 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6711-38_0_3_load_60 | 37 | 0.001198 | 0.00030024 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6711-38_0_3_load_67 | 38 | 0.0026906 | 0.00067432 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6711-38_0_3_load_22 | 40 | 0.00076438 | 0.00019157 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6711-38_0_3_load_28 | 41 | 0.0032727 | 0.00082021 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6711-38_0_3_load_84 | 42 | 0.0086427 | 0.0021661 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6711-38_0_3_load_34 | 43 | 0.001978 | 0.00049573 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6711-38_0_3_load_36 | 44 | 0.010527 | 0.0026383 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6711-38_0_3_load_32 | 46 | 0.00058231 | 0.00014594 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6711-38_0_3_load_35 | 47 | 0.0029338 | 0.00073529 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6711-38_0_3_load_90 | 48 | 0.00057525 | 0.00014417 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6711-38_0_3_load_79 | 49 | 0.0023136 | 0.00057985 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6711-38_0_3_load_39 | 51 | 0.0013951 | 0.00034964 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6711-38_0_3_load_41 | 52 | 0.0012103 | 0.00030332 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6711-38_0_3_load_89 | 53 | 0.002285 | 0.00057268 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6711-38_0_3_load_49 | 54 | 0.003205 | 0.00080326 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6711-38_0_3_load_88 | 55 | 0.0016086 | 0.00040316 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6711-38_0_3_load_87 | 56 | 0.0025777 | 0.00064602 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6711-38_0_3_load_50 | 57 | 0.0037475 | 0.00093922 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6711-38_0_3_load_42 | 58 | 0.0016237 | 0.00040694 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6711-38_0_3_load_43 | 59 | 0.00088705 | 0.00022232 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6711-38_0_3_load_44 | 60 | 0.0016567 | 0.00041521 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6711-38_0_3_load_45 | 61 | 0.0038799 | 0.0009724 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6711-38_0_3_load_46 | 62 | 0.0020203 | 0.00050634 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6711-38_0_3_load_47 | 64 | 0.0016843 | 0.00042212 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6711-38_0_3_load_59 | 65 | 0.00098362 | 0.00024652 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6711-38_0_3_load_48 | 66 | 0.0016798 | 0.00042099 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6711-38_0_3_load_55 | 67 | 0.0019236 | 0.0004821 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6711-38_0_3_load_54 | 68 | 0.0076734 | 0.0019231 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6711-38_0_3_load_51 | 69 | 0.0066025 | 0.0016547 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6711-38_0_3_load_52 | 70 | 0.0058804 | 0.0014738 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6711-38_0_3_load_56 | 74 | 0.002825 | 0.00070802 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6711-38_0_3_load_82 | 75 | 0.0060349 | 0.0015125 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6711-38_0_3_load_62 | 76 | 0.0038519 | 0.00096537 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6711-38_0_3_load_64 | 77 | 0.0045321 | 0.0011359 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6711-38_0_3_load_61 | 78 | 0.006498 | 0.0016286 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6711-38_0_3_load_63 | 79 | 0.0046577 | 0.0011673 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6711-38_0_3_load_91 | 81 | 0.006087 | 0.0015255 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6711-38_0_3_load_66 | 82 | 0.0031382 | 0.00078651 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6711-38_0_3_load_76 | 83 | 0.00062906 | 0.00015766 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6711-38_0_3_load_73 | 84 | 0.0013159 | 0.00032979 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6711-38_0_3_load_77 | 85 | 0.001974 | 0.00049472 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6711-38_0_3_load_72 | 86 | 0.00066473 | 0.0001666 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6711-38_0_3_load_92 | 89 | 0.0012388 | 0.00031046 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6711-38_0_3_load_78 | 90 | 0.00055708 | 0.00013962 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6711-38_0_3_load_83 | 91 | 0.0040754 | 0.0010214 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6711-38_0_3_load_93 | 92 | 0.002547 | 0.00063833 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6711-38_0_3_line_0 |  | 0 | 1 | 0.0073466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6711-38_0_3_line_1 |  | 0 | 2 | 0.0066815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6711-38_0_3_line_2 |  | 1 | 3 | 0.01363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6711-38_0_3_line_3 |  | 2 | 4 | 0.025345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6711-38_0_3_line_4 |  | 3 | 5 | 0.006119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6711-38_0_3_line_5 |  | 4 | 6 | 0.02315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6711-38_0_3_line_6 |  | 5 | 7 | 0.028641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6711-38_0_3_line_7 |  | 6 | 8 | 0.0047113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6711-38_0_3_line_8 |  | 6 | 9 | 0.0070734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6711-38_0_3_line_9 |  | 7 | 10 | 0.005183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6711-38_0_3_line_10 |  | 7 | 11 | 0.026764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6711-38_0_3_line_11 |  | 8 | 43 | 0.00089351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6711-38_0_3_line_12 |  | 9 | 44 | 0.026328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6711-38_0_3_line_13 |  | 10 | 83 | 0.015176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6711-38_0_3_line_14 |  | 10 | 84 | 0.047955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6711-38_0_3_line_15 |  | 11 | 49 | 0.021833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6711-38_0_3_line_16 |  | 12 | 13 | 0.023503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6711-38_0_3_line_17 |  | 13 | 14 | 0.038487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6711-38_0_3_line_18 |  | 13 | 15 | 0.027356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6711-38_0_3_line_19 |  | 14 | 16 | 0.017186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6711-38_0_3_line_20 |  | 15 | 17 | 0.012257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6711-38_0_3_line_21 |  | 16 | 18 | 0.02965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6711-38_0_3_line_22 |  | 17 | 19 | 0.0037958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6711-38_0_3_line_23 |  | 19 | 51 | 0.014802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6711-38_0_3_line_24 |  | 20 | 21 | 0.034048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6711-38_0_3_line_25 |  | 21 | 22 | 0.044006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6711-38_0_3_line_26 |  | 22 | 26 | 0.052006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6711-38_0_3_line_27 |  | 22 | 27 | 0.014821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6711-38_0_3_line_28 |  | 23 | 24 | 0.037975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6711-38_0_3_line_29 |  | 23 | 25 | 0.034955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6711-38_0_3_line_30 |  | 24 | 28 | 0.034056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6711-38_0_3_line_31 |  | 25 | 29 | 0.026997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6711-38_0_3_line_32 |  | 26 | 40 | 0.0070123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6711-38_0_3_line_33 |  | 27 | 39 | 0.0040776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6711-38_0_3_line_34 |  | 28 | 32 | 0.01197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6711-38_0_3_line_35 |  | 28 | 33 | 0.039058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6711-38_0_3_line_36 |  | 29 | 30 | 0.036653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6711-38_0_3_line_37 |  | 30 | 31 | 0.02144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6711-38_0_3_line_38 |  | 32 | 34 | 0.023714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6711-38_0_3_line_39 |  | 32 | 35 | 0.032215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6711-38_0_3_line_40 |  | 33 | 36 | 0.032643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6711-38_0_3_line_41 |  | 34 | 37 | 0.011433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6711-38_0_3_line_42 |  | 35 | 38 | 0.030946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6711-38_0_3_line_43 |  | 36 | 39 | 0.023075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6711-38_0_3_line_44 |  | 37 | 72 | 0.019594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6711-38_0_3_line_45 |  | 38 | 82 | 0.015012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6711-38_0_3_line_46 |  | 39 | 41 | 0.023949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6711-38_0_3_line_47 |  | 41 | 42 | 0.010285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6711-38_0_3_line_48 |  | 43 | 45 | 0.009916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6711-38_0_3_line_49 |  | 45 | 47 | 0.023487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6711-38_0_3_line_50 |  | 45 | 46 | 0.0079894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6711-38_0_3_line_51 |  | 47 | 48 | 0.0024891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6711-38_0_3_line_52 |  | 49 | 50 | 0.030235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6711-38_0_3_line_53 |  | 50 | 73 | 0.009135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6711-38_0_3_line_54 |  | 51 | 52 | 0.011509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6711-38_0_3_line_55 |  | 51 | 53 | 0.037937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6711-38_0_3_line_56 |  | 52 | 54 | 0.0049675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6711-38_0_3_line_57 |  | 53 | 55 | 0.028215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6711-38_0_3_line_58 |  | 54 | 57 | 0.035943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6711-38_0_3_line_59 |  | 55 | 56 | 0.029638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6711-38_0_3_line_60 |  | 57 | 69 | 0.030772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6711-38_0_3_line_61 |  | 58 | 59 | 0.00387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6711-38_0_3_line_62 |  | 58 | 60 | 0.0099262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6711-38_0_3_line_63 |  | 59 | 61 | 0.023717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6711-38_0_3_line_64 |  | 60 | 62 | 0.0035125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6711-38_0_3_line_65 |  | 61 | 63 | 0.010566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6711-38_0_3_line_66 |  | 62 | 64 | 0.013246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6711-38_0_3_line_67 |  | 63 | 65 | 0.035295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6711-38_0_3_line_68 |  | 64 | 66 | 0.017743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6711-38_0_3_line_69 |  | 66 | 67 | 0.018846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6711-38_0_3_line_70 |  | 67 | 68 | 0.0085061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6711-38_0_3_line_71 |  | 68 | 74 | 0.017591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_6711-38_0_3_line_72 |  | 69 | 70 | 0.0090701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6711-38_0_3_line_73 |  | 70 | 71 | 0.023507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6711-38_0_3_line_74 |  | 71 | 72 | 0.039389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6711-38_0_3_line_75 |  | 71 | 73 | 0.02398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6711-38_0_3_line_76 |  | 72 | 74 | 0.020204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_6711-38_0_3_line_77 |  | 73 | 75 | 0.020306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6711-38_0_3_line_78 |  | 75 | 91 | 0.025465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6711-38_0_3_line_79 |  | 76 | 77 | 0.027066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6711-38_0_3_line_80 |  | 76 | 78 | 0.026004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6711-38_0_3_line_81 |  | 77 | 82 | 0.050393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6711-38_0_3_line_82 |  | 78 | 79 | 0.017676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6711-38_0_3_line_83 |  | 79 | 80 | 0.018834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6711-38_0_3_line_84 |  | 80 | 81 | 0.023952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6711-38_0_3_line_85 |  | 83 | 85 | 0.0054687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6711-38_0_3_line_86 |  | 84 | 86 | 0.015762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6711-38_0_3_line_87 |  | 85 | 90 | 0.015262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6711-38_0_3_line_88 |  | 86 | 87 | 0.0153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6711-38_0_3_line_89 |  | 87 | 88 | 0.018847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6711-38_0_3_line_90 |  | 88 | 89 | 0.023841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6711-38_0_3_line_91 |  | 91 | 92 | 0.01969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6711-38_0_3_trafo_54 | 0.63 MVA 20/0.4 kV | 93 | 68 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2592611.9115 | 1246841.4892 | 2592604.8996 | 1246839.2966
1 | 2592611.9115 | 1246841.4892 | 2592611.9115 | 1246841.4892 | 2592616.8725 | 1246837.0136
2 | 2592604.8996 | 1246839.2966 | 2592604.8996 | 1246839.2966 | 2592595.5505 | 1246829.3778
3 | 2592633.2396 | 1246817.6992 | 2592618.9955 | 1246835.0984 | 2592616.8725 | 1246837.0136
4 | 2592591.2318 | 1246825.0471 | 2592593.2602 | 1246826.9478 | 2592595.5505 | 1246829.3778
5 | 2592645.6864 | 1246798.1858 | 2592633.6558 | 1246817.1908 | 2592633.2396 | 1246817.6992
6 | 2592570.3326 | 1246805.4631 | 2592591.2318 | 1246825.0471
7 | 2592645.6864 | 1246798.1858 | 2592650.0059 | 1246800.0669
8 | 2592645.6864 | 1246798.1858 | 2592639.2025 | 1246795.3588
9 | 2592570.3326 | 1246805.4631 | 2592568.6243 | 1246810.3573
10 | 2592579.0997 | 1246780.1692 | 2592570.3326 | 1246805.4631
11 | 2592650.0059 | 1246800.0669 | 2592650.8251 | 1246800.4237
12 | 2592639.2025 | 1246795.3588 | 2592613.6769 | 1246788.9078
13 | 2592568.6243 | 1246810.3573 | 2592553.7549 | 1246807.3232
14 | 2592568.6243 | 1246810.3573 | 2592554.3031 | 1246856.124
15 | 2592579.0997 | 1246780.1692 | 2592583.8655 | 1246768.0888 | 2592588.5937 | 1246760.6114
16 | 2592800.4555 | 1246781.5387 | 2592802.1631 | 1246775.8997 | 2592803.2717 | 1246774.4863 | 2592805.0979 | 1246773.1721 | 2592807.3248 | 1246772.2577 | 2592810.2545 | 1246771.5426 | 2592812.7922 | 1246771.4394 | 2592818.3811 | 1246771.816
17 | 2592838.9187 | 1246778.3007 | 2592805.6138 | 1246781.2433 | 2592800.4555 | 1246781.5387
18 | 2592800.4555 | 1246781.5387 | 2592791.7853 | 1246782.0386 | 2592773.1229 | 1246781.4582
19 | 2592838.9187 | 1246778.3007 | 2592837.2644 | 1246795.4073
20 | 2592773.1229 | 1246781.4582 | 2592761.867 | 1246781.1082 | 2592760.8746 | 1246781.0289
21 | 2592837.2644 | 1246795.4073 | 2592835.6294 | 1246812.3153 | 2592833.2034 | 1246817.2659 | 2592832.4819 | 1246824.3792
22 | 2592757.0908 | 1246780.7267 | 2592760.8746 | 1246781.0289
23 | 2592757.0908 | 1246780.7267 | 2592749.1164 | 1246780.0899 | 2592742.4844 | 1246778.5761
24 | 2592576.4789 | 1246541.5204 | 2592610.3843 | 1246538.4132
25 | 2592559.7245 | 1246582.212 | 2592576.4789 | 1246541.5204
26 | 2592559.7245 | 1246582.212 | 2592521.6943 | 1246546.7394
27 | 2592559.7245 | 1246582.212 | 2592556.325 | 1246596.6381
28 | 2592670.7751 | 1246554.8326 | 2592658.4956 | 1246590.7676
29 | 2592670.7751 | 1246554.8326 | 2592703.9158 | 1246565.9495
30 | 2592647.4834 | 1246622.994 | 2592658.4956 | 1246590.7676
31 | 2592703.9158 | 1246565.9495 | 2592713.3402 | 1246569.1109 | 2592729.5319 | 1246574.4715
32 | 2592521.6943 | 1246546.7394 | 2592514.7136 | 1246547.4045
33 | 2592555.3897 | 1246600.607 | 2592556.325 | 1246596.6381
34 | 2592647.4834 | 1246622.994 | 2592643.2526 | 1246634.1954
35 | 2592647.4834 | 1246622.994 | 2592609.5307 | 1246613.7681
36 | 2592765.4501 | 1246581.521 | 2592734.6188 | 1246576.1556 | 2592729.5319 | 1246574.4715
37 | 2592759.3045 | 1246602.0639 | 2592765.4501 | 1246581.521
38 | 2592643.2526 | 1246634.1954 | 2592636.2977 | 1246656.8665
39 | 2592643.2526 | 1246634.1954 | 2592674.3112 | 1246642.751
40 | 2592609.5307 | 1246613.7681 | 2592577.8116 | 1246606.0575
41 | 2592635.2169 | 1246668.1764 | 2592634.9899 | 1246664.6251 | 2592636.0838 | 1246657.5637 | 2592636.2977 | 1246656.8665
42 | 2592704.1461 | 1246650.9695 | 2592674.3112 | 1246642.751
43 | 2592555.3897 | 1246600.607 | 2592577.8116 | 1246606.0575
44 | 2592638.9536 | 1246687.4013 | 2592635.2827 | 1246669.2055 | 2592635.2169 | 1246668.1764
45 | 2592704.1461 | 1246650.9695 | 2592718.6187 | 1246654.9562
46 | 2592555.3897 | 1246600.607 | 2592549.8923 | 1246623.9167
47 | 2592547.5314 | 1246633.9271 | 2592549.8923 | 1246623.9167
48 | 2592659.9163 | 1246804.383 | 2592650.8251 | 1246800.4237
49 | 2592659.9163 | 1246804.383 | 2592683.1363 | 1246807.9141
50 | 2592659.9163 | 1246804.383 | 2592663.6412 | 1246811.451
51 | 2592685.5971 | 1246808.2883 | 2592683.1363 | 1246807.9141
52 | 2592613.753 | 1246744.4916 | 2592595.4413 | 1246753.8651 | 2592589.4661 | 1246759.2317 | 2592588.5937 | 1246760.6114
53 | 2592613.753 | 1246744.4916 | 2592621.905 | 1246740.3232
54 | 2592731.3673 | 1246775.6283 | 2592736.4238 | 1246777.1927 | 2592742.4844 | 1246778.5761
55 | 2592742.4844 | 1246778.5761 | 2592735.9128 | 1246815.9399
56 | 2592726.6217 | 1246774.1601 | 2592731.3673 | 1246775.6283
57 | 2592763.8066 | 1246820.1818 | 2592735.9128 | 1246815.9399
58 | 2592726.6217 | 1246774.1601 | 2592723.7527 | 1246773.2725 | 2592710.3243 | 1246767.8413 | 2592694.0705 | 1246759.1019
59 | 2592793.1074 | 1246824.6376 | 2592763.8066 | 1246820.1818
60 | 2592694.0705 | 1246759.1019 | 2592666.9679 | 1246744.5293
61 | 2592744.5007 | 1246716.84 | 2592744.9521 | 1246716.9659 | 2592748.2723 | 1246717.7044
62 | 2592744.5007 | 1246716.84 | 2592734.9395 | 1246714.1733
63 | 2592771.4239 | 1246722.8539 | 2592748.2723 | 1246717.7044
64 | 2592731.5561 | 1246713.2296 | 2592734.9395 | 1246714.1733
65 | 2592781.7379 | 1246725.148 | 2592771.4239 | 1246722.8539
66 | 2592731.5561 | 1246713.2296 | 2592718.7969 | 1246709.6708
67 | 2592781.7379 | 1246725.148 | 2592816.1906 | 1246732.8128
68 | 2592718.7969 | 1246709.6708 | 2592701.7062 | 1246704.904
69 | 2592701.7062 | 1246704.904 | 2592683.5527 | 1246699.8407
70 | 2592675.3594 | 1246697.5555 | 2592683.5527 | 1246699.8407
71 | 2592675.3594 | 1246697.5555 | 2592658.4147 | 1246692.8293
72 | 2592666.9679 | 1246744.5293 | 2592662.6482 | 1246742.2066 | 2592659.2923 | 1246739.7389
73 | 2592640.3539 | 1246725.813 | 2592659.2923 | 1246739.7389
74 | 2592638.9536 | 1246687.4013 | 2592643.476 | 1246709.9323 | 2592643.162 | 1246718.5381 | 2592640.3539 | 1246725.813
75 | 2592640.3539 | 1246725.813 | 2592636.4941 | 1246731.666 | 2592630.8722 | 1246735.7312 | 2592621.905 | 1246740.3232
76 | 2592638.9536 | 1246687.4013 | 2592658.4147 | 1246692.8293
77 | 2592621.905 | 1246740.3232 | 2592602.6665 | 1246733.8267
78 | 2592578.5398 | 1246725.6796 | 2592602.6665 | 1246733.8267
79 | 2592793.7305 | 1246673.8567 | 2592767.3786 | 1246667.6817
80 | 2592819.0488 | 1246679.7896 | 2592793.7305 | 1246673.8567
81 | 2592718.6187 | 1246654.9562 | 2592767.3786 | 1246667.6817
82 | 2592819.0488 | 1246679.7896 | 2592836.259 | 1246683.8225
83 | 2592854.1127 | 1246689.5367 | 2592847.2054 | 1246686.3875 | 2592836.259 | 1246683.8225
84 | 2592872.1399 | 1246681.6986 | 2592864.5387 | 1246679.3842 | 2592861.9102 | 1246679.3874 | 2592859.3736 | 1246680.4022 | 2592857.4498 | 1246682.2168 | 2592854.1127 | 1246689.5367
85 | 2592553.7549 | 1246807.3232 | 2592548.3966 | 1246806.2299
86 | 2592549.596 | 1246871.1664 | 2592554.3031 | 1246856.124
87 | 2592533.443 | 1246803.1787 | 2592548.3966 | 1246806.2299
88 | 2592545.0267 | 1246885.7687 | 2592549.596 | 1246871.1664
89 | 2592545.0267 | 1246885.7687 | 2592563.2604 | 1246880.7979
90 | 2592587.0979 | 1246881.4348 | 2592568.6071 | 1246880.2019 | 2592563.2604 | 1246880.7979
91 | 2592578.5398 | 1246725.6796 | 2592563.3666 | 1246738.2291

## bus_geodata
| x | y | coords
0 | 2592611.9115 | 1246841.4892
1 | 2592604.8996 | 1246839.2966
2 | 2592616.8725 | 1246837.0136
3 | 2592595.5505 | 1246829.3778
4 | 2592633.2396 | 1246817.6992
5 | 2592591.2318 | 1246825.0471
6 | 2592645.6864 | 1246798.1858
7 | 2592570.3326 | 1246805.4631
8 | 2592650.0059 | 1246800.0669
9 | 2592639.2025 | 1246795.3588
10 | 2592568.6243 | 1246810.3573
11 | 2592579.0997 | 1246780.1692
12 | 2592818.3811 | 1246771.816
13 | 2592800.4555 | 1246781.5387
14 | 2592838.9187 | 1246778.3007
15 | 2592773.1229 | 1246781.4582
16 | 2592837.2644 | 1246795.4073
17 | 2592760.8746 | 1246781.0289
18 | 2592832.4819 | 1246824.3792
19 | 2592757.0908 | 1246780.7267
20 | 2592610.3843 | 1246538.4132
21 | 2592576.4789 | 1246541.5204
22 | 2592559.7245 | 1246582.212
23 | 2592670.7751 | 1246554.8326
24 | 2592658.4956 | 1246590.7676
25 | 2592703.9158 | 1246565.9495
26 | 2592521.6943 | 1246546.7394
27 | 2592556.325 | 1246596.6381
28 | 2592647.4834 | 1246622.994
29 | 2592729.5319 | 1246574.4715
30 | 2592765.4501 | 1246581.521
31 | 2592759.3045 | 1246602.0639
32 | 2592643.2526 | 1246634.1954
33 | 2592609.5307 | 1246613.7681
34 | 2592636.2977 | 1246656.8665
35 | 2592674.3112 | 1246642.751
36 | 2592577.8116 | 1246606.0575
37 | 2592635.2169 | 1246668.1764
38 | 2592704.1461 | 1246650.9695
39 | 2592555.3897 | 1246600.607
40 | 2592514.7136 | 1246547.4045
41 | 2592549.8923 | 1246623.9167
42 | 2592547.5314 | 1246633.9271
43 | 2592650.8251 | 1246800.4237
44 | 2592613.6769 | 1246788.9078
45 | 2592659.9163 | 1246804.383
46 | 2592663.6412 | 1246811.451
47 | 2592683.1363 | 1246807.9141
48 | 2592685.5971 | 1246808.2883
49 | 2592588.5937 | 1246760.6114
50 | 2592613.753 | 1246744.4916
51 | 2592742.4844 | 1246778.5761
52 | 2592731.3673 | 1246775.6283
53 | 2592735.9128 | 1246815.9399
54 | 2592726.6217 | 1246774.1601
55 | 2592763.8066 | 1246820.1818
56 | 2592793.1074 | 1246824.6376
57 | 2592694.0705 | 1246759.1019
58 | 2592744.5007 | 1246716.84
59 | 2592748.2723 | 1246717.7044
60 | 2592734.9395 | 1246714.1733
61 | 2592771.4239 | 1246722.8539
62 | 2592731.5561 | 1246713.2296
63 | 2592781.7379 | 1246725.148
64 | 2592718.7969 | 1246709.6708
65 | 2592816.1906 | 1246732.8128
66 | 2592701.7062 | 1246704.904
67 | 2592683.5527 | 1246699.8407
68 | 2592675.3594 | 1246697.5555
69 | 2592666.9679 | 1246744.5293
70 | 2592659.2923 | 1246739.7389
71 | 2592640.3539 | 1246725.813
72 | 2592638.9536 | 1246687.4013
73 | 2592621.905 | 1246740.3232
74 | 2592658.4147 | 1246692.8293
75 | 2592602.6665 | 1246733.8267
76 | 2592793.7305 | 1246673.8567
77 | 2592767.3786 | 1246667.6817
78 | 2592819.0488 | 1246679.7896
79 | 2592836.259 | 1246683.8225
80 | 2592854.1127 | 1246689.5367
81 | 2592872.1399 | 1246681.6986
82 | 2592718.6187 | 1246654.9562
83 | 2592553.7549 | 1246807.3232
84 | 2592554.3031 | 1246856.124
85 | 2592548.3966 | 1246806.2299
86 | 2592549.596 | 1246871.1664
87 | 2592545.0267 | 1246885.7687
88 | 2592563.2604 | 1246880.7979
89 | 2592587.0979 | 1246881.4348
90 | 2592533.443 | 1246803.1787
91 | 2592578.5398 | 1246725.6796
92 | 2592563.3666 | 1246738.2291
93 | 2592638.9536 | 1246687.4013

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1