## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6800-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6800-16_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6800-16_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6800-16_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6800-16_0_4_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_6800-16_0_4_node_64 | 0.4 | n |  | TRUE
6 | bus_LV_6800-16_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6800-16_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6800-16_0_4_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_6800-16_0_4_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_6800-16_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_6800-16_0_4_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_6800-16_0_4_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_6800-16_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_6800-16_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_6800-16_0_4_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_6800-16_0_4_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_6800-16_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_6800-16_0_4_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_6800-16_0_4_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_6800-16_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_6800-16_0_4_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_6800-16_0_4_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_6800-16_0_4_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_6800-16_0_4_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_6800-16_0_4_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_6800-16_0_4_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_6800-16_0_4_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_6800-16_0_4_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_6800-16_0_4_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_6800-16_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_6800-16_0_4_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_6800-16_0_4_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_6800-16_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_6800-16_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_6800-16_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_6800-16_0_4_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_6800-16_0_4_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_6800-16_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_6800-16_0_4_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_6800-16_0_4_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_6800-16_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_6800-16_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_6800-16_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_6800-16_0_4_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_6800-16_0_4_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_6800-16_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_6800-16_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_6800-16_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_6800-16_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_6800-16_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_6800-16_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_6800-16_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_6800-16_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_6800-16_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_6800-16_0_4_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_6800-16_0_4_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_6800-16_0_4_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_6800-16_0_4_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_6800-16_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_MV_344_1_node_186 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6800-16_0_4_load_0 | 0 | 0.0030283 | 0.00075898 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6800-16_0_4_load_64 | 5 | 0.0067066 | 0.0016808 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6800-16_0_4_load_63 | 8 | 0.0033142 | 0.00083063 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6800-16_0_4_load_22 | 9 | 0.0091606 | 0.0022959 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6800-16_0_4_load_61 | 12 | 0.0064917 | 0.001627 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6800-16_0_4_load_16 | 15 | 0.010113 | 0.0025345 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6800-16_0_4_load_47 | 16 | 0.0046238 | 0.0011588 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6800-16_0_4_load_49 | 19 | 0.0018052 | 0.00045243 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6800-16_0_4_load_18 | 20 | 0.0068872 | 0.0017261 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6800-16_0_4_load_62 | 21 | 0.055313 | 0.013863 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6800-16_0_4_load_50 | 22 | 0.0073965 | 0.0018537 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6800-16_0_4_load_42 | 23 | 0.0086827 | 0.0021761 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6800-16_0_4_load_29 | 25 | 0.0029934 | 0.00075021 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6800-16_0_4_load_28 | 26 | 0.0050402 | 0.0012632 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6800-16_0_4_load_48 | 27 | 0.0046246 | 0.001159 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6800-16_0_4_load_27 | 28 | 0.0033437 | 0.00083802 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6800-16_0_4_load_59 | 29 | 0.0031184 | 0.00078155 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6800-16_0_4_load_46 | 32 | 0.0057285 | 0.0014357 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6800-16_0_4_load_33 | 33 | 0.0088891 | 0.0022278 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6800-16_0_4_load_24 | 34 | 0.0063645 | 0.0015951 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6800-16_0_4_load_17 | 36 | 0.0025613 | 0.00064191 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6800-16_0_4_load_44 | 39 | 0.0070703 | 0.001772 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6800-16_0_4_load_23 | 41 | 0.007789 | 0.0019521 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6800-16_0_4_load_25 | 42 | 0.0040905 | 0.0010252 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6800-16_0_4_load_32 | 43 | 0.0096515 | 0.0024189 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6800-16_0_4_load_52 | 44 | 0.0047954 | 0.0012019 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6800-16_0_4_load_51 | 45 | 0.021759 | 0.0054532 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6800-16_0_4_load_53 | 46 | 0.0037793 | 0.00094718 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6800-16_0_4_load_36 | 47 | 0.0011473 | 0.00028753 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6800-16_0_4_load_35 | 49 | 0.038802 | 0.0097247 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6800-16_0_4_load_40 | 50 | 0.0023867 | 0.00059817 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6800-16_0_4_load_37 | 52 | 0.003725 | 0.00093356 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6800-16_0_4_load_41 | 53 | 0.0071049 | 0.0017807 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6800-16_0_4_load_43 | 54 | 0.0060023 | 0.0015043 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6800-16_0_4_load_55 | 55 | 0.0020984 | 0.00052591 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6800-16_0_4_load_54 | 56 | 0.0053235 | 0.0013342 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6800-16_0_4_load_56 | 57 | 0.0043503 | 0.0010903 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6800-16_0_4_load_57 | 58 | 0.0047301 | 0.0011855 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6800-16_0_4_load_58 | 59 | 0.0030736 | 0.00077033 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6800-16_0_4_line_0 |  | 0 | 1 | 0.014282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6800-16_0_4_line_1 |  | 0 | 2 | 0.0041409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6800-16_0_4_line_2 |  | 1 | 3 | 0.074511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6800-16_0_4_line_3 |  | 2 | 4 | 0.002885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6800-16_0_4_line_4 |  | 3 | 5 | 0.049453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6800-16_0_4_line_5 |  | 4 | 20 | 0.021409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6800-16_0_4_line_6 |  | 4 | 6 | 0.007635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6800-16_0_4_line_7 |  | 6 | 7 | 0.029485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6800-16_0_4_line_8 |  | 6 | 8 | 0.063043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6800-16_0_4_line_9 |  | 7 | 9 | 0.018778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6800-16_0_4_line_10 |  | 8 | 21 | 0.031677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6800-16_0_4_line_11 |  | 10 | 11 | 0.028996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6800-16_0_4_line_12 |  | 10 | 12 | 0.0098217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6800-16_0_4_line_13 |  | 11 | 29 | 0.01198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6800-16_0_4_line_14 |  | 11 | 22 | 0.012205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6800-16_0_4_line_15 |  | 13 | 14 | 0.019844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6800-16_0_4_line_16 |  | 13 | 15 | 0.0076488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6800-16_0_4_line_17 |  | 14 | 16 | 0.034435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6800-16_0_4_line_18 |  | 16 | 32 | 0.010958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6800-16_0_4_line_19 |  | 17 | 18 | 0.011816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6800-16_0_4_line_20 |  | 17 | 19 | 0.06602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_6800-16_0_4_line_21 |  | 18 | 33 | 0.0061734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_6800-16_0_4_line_22 |  | 18 | 34 | 0.0086172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6800-16_0_4_line_23 |  | 19 | 35 | 0.004396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6800-16_0_4_line_24 |  | 20 | 36 | 0.037547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6800-16_0_4_line_25 |  | 23 | 24 | 0.01857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6800-16_0_4_line_26 |  | 24 | 54 | 0.0078416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6800-16_0_4_line_27 |  | 24 | 52 | 0.0054937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6800-16_0_4_line_28 |  | 25 | 26 | 0.0086573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6800-16_0_4_line_29 |  | 26 | 30 | 0.016208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6800-16_0_4_line_30 |  | 27 | 28 | 0.0038112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6800-16_0_4_line_31 |  | 28 | 42 | 0.0012154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6800-16_0_4_line_32 |  | 29 | 59 | 0.0017715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6800-16_0_4_line_33 |  | 30 | 31 | 0.029566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6800-16_0_4_line_34 |  | 31 | 44 | 0.0081563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6800-16_0_4_line_35 |  | 31 | 45 | 0.019507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6800-16_0_4_line_36 |  | 32 | 40 | 1.4353e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6800-16_0_4_line_37 |  | 33 | 43 | 0.071062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_6800-16_0_4_line_38 |  | 34 | 41 | 0.0014792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6800-16_0_4_line_39 |  | 35 | 38 | 0.038799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6800-16_0_4_line_40 |  | 36 | 37 | 0.016032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6800-16_0_4_line_41 |  | 37 | 38 | 0.005008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6800-16_0_4_line_42 |  | 38 | 39 | 0.061665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6800-16_0_4_line_43 |  | 39 | 40 | 0.010601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6800-16_0_4_line_44 |  | 41 | 42 | 0.0058736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6800-16_0_4_line_45 |  | 43 | 48 | 0.024919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_6800-16_0_4_line_46 |  | 44 | 46 | 0.0098681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6800-16_0_4_line_47 |  | 45 | 47 | 0.01886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6800-16_0_4_line_48 |  | 46 | 53 | 0.012606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6800-16_0_4_line_49 |  | 48 | 49 | 0.0044384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_6800-16_0_4_line_50 |  | 49 | 50 | 0.016173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6800-16_0_4_line_51 |  | 50 | 51 | 0.0097846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6800-16_0_4_line_52 |  | 51 | 53 | 0.015397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6800-16_0_4_line_53 |  | 51 | 52 | 0.019223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6800-16_0_4_line_54 |  | 54 | 55 | 0.012184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6800-16_0_4_line_55 |  | 55 | 56 | 0.00023555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6800-16_0_4_line_56 |  | 56 | 57 | 2.0796e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6800-16_0_4_line_57 |  | 57 | 58 | 0.01014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6800-16_0_4_line_58 |  | 58 | 59 | 0.0035786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6800-16_0_4_trafo_34 | 0.63 MVA 20/0.4 kV | 60 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2572834.6674 | 1251705.8587 | 2572831.3557 | 1251719.7511
1 | 2572830.3954 | 1251723.7791 | 2572831.3557 | 1251719.7511
2 | 2572834.6674 | 1251705.8587 | 2572840.1687 | 1251682.8181 | 2572835.8839 | 1251681.5815 | 2572841.9944 | 1251656.4478 | 2572845.7959 | 1251636.3059
3 | 2572829.7216 | 1251726.584 | 2572830.3954 | 1251723.7791
4 | 2572845.7959 | 1251636.3059 | 2572840.8573 | 1251635.6838 | 2572819.2055 | 1251648.8366 | 2572800.2599 | 1251646.1032
5 | 2572829.7216 | 1251726.584 | 2572808.7049 | 1251722.5022
6 | 2572827.2871 | 1251733.8222 | 2572829.7216 | 1251726.584
7 | 2572827.2871 | 1251733.8222 | 2572823.8674 | 1251741.7877 | 2572815.5256 | 1251760.872
8 | 2572827.2871 | 1251733.8222 | 2572787.5414 | 1251726.3225 | 2572784.3389 | 1251725.7369 | 2572779.9807 | 1251724.9454 | 2572778.9918 | 1251724.8832 | 2572778.0871 | 1251725.0764 | 2572777.3423 | 1251725.5802 | 2572776.8856 | 1251726.3717 | 2572774.705 | 1251737.339
9 | 2572815.5256 | 1251760.872 | 2572797.2234 | 1251756.6713
10 | 2572768.5276 | 1251768.408 | 2572774.705 | 1251737.339
11 | 2572610.9668 | 1251719.2787 | 2572606.9741 | 1251727.3137 | 2572597.2295 | 1251744.826
12 | 2572610.9668 | 1251719.2787 | 2572615.7007 | 1251710.6732
13 | 2572597.2295 | 1251744.826 | 2572608.3981 | 1251749.1587
14 | 2572597.2295 | 1251744.826 | 2572591.2924 | 1251755.4894
15 | 2572744.3536 | 1251594.5124 | 2572743.6184 | 1251588.9232 | 2572757.823 | 1251589.1911
16 | 2572757.823 | 1251589.1911 | 2572765.4704 | 1251589.3344
17 | 2572744.3536 | 1251594.5124 | 2572745.2216 | 1251601.0571 | 2572748.5116 | 1251615.6738 | 2572751.7848 | 1251628.1002
18 | 2572754.0422 | 1251638.8161 | 2572752.7442 | 1251631.7427 | 2572751.7848 | 1251628.1002
19 | 2572701.1475 | 1251806.6189 | 2572691.2014 | 1251800.1939
20 | 2572701.1475 | 1251806.6189 | 2572708.6592 | 1251795.7881 | 2572720.7086 | 1251778.8768 | 2572726.706 | 1251770.2322 | 2572730.1057 | 1251764.4905 | 2572733.1572 | 1251758.5392 | 2572736.797 | 1251751.1997
21 | 2572691.2014 | 1251800.1939 | 2572695.0574 | 1251795.3729
22 | 2572691.2014 | 1251800.1939 | 2572686.3314 | 1251807.303
23 | 2572738.7501 | 1251747.2614 | 2572736.797 | 1251751.1997
24 | 2572771.9074 | 1251715.0436 | 2572792.4222 | 1251719.3399 | 2572808.7049 | 1251722.5022
25 | 2572641.8782 | 1251761.5411 | 2572639.6276 | 1251764.4313 | 2572631.2854 | 1251773.5537 | 2572630.0229 | 1251775.7634
26 | 2572641.8782 | 1251761.5411 | 2572634.5294 | 1251758.805
27 | 2572641.8782 | 1251761.5411 | 2572645.2565 | 1251757.2089
28 | 2572675.2689 | 1251643.8121 | 2572674.9654 | 1251652.4641
29 | 2572674.3972 | 1251668.6625 | 2572674.9654 | 1251652.4641
30 | 2572679.3352 | 1251817.5159 | 2572681.4891 | 1251814.3717
31 | 2572682.176 | 1251813.369 | 2572681.4891 | 1251814.3717
32 | 2572608.3981 | 1251749.1587 | 2572610.0497 | 1251749.7994
33 | 2572670.411 | 1251697.689 | 2572672.767 | 1251691.4629 | 2572674.2236 | 1251681.7163 | 2572674.3972 | 1251668.6625
34 | 2572670.411 | 1251697.689 | 2572667.8184 | 1251705.4223
35 | 2572670.411 | 1251697.689 | 2572688.2737 | 1251699.1851 | 2572689.6167 | 1251700.0203
36 | 2572754.0448 | 1251638.8303 | 2572754.0422 | 1251638.8161
37 | 2572695.0574 | 1251795.3729 | 2572698.9223 | 1251790.5407 | 2572708.9494 | 1251770.4255 | 2572712.0413 | 1251758.5034 | 2572711.3455 | 1251753.2809 | 2572707.4967 | 1251753.2987 | 2572702.7258 | 1251757.9016 | 2572694.6049 | 1251767.5566 | 2572693.0469 | 1251766.83
38 | 2572686.3314 | 1251807.303 | 2572685.4955 | 1251808.5233
39 | 2572751.3199 | 1251710.6347 | 2572749.2706 | 1251719.5501 | 2572746.1073 | 1251729.0932 | 2572742.2374 | 1251739.24 | 2572738.7501 | 1251747.2614
40 | 2572756.2154 | 1251711.7573 | 2572771.9074 | 1251715.0436
41 | 2572751.3199 | 1251710.6347 | 2572756.2154 | 1251711.7573
42 | 2572751.3199 | 1251710.6347 | 2572751.9621 | 1251707.5186 | 2572754.3798 | 1251695.0437 | 2572755.5183 | 1251678.4719 | 2572755.6598 | 1251674.791 | 2572756.1059 | 1251656.9772 | 2572755.2411 | 1251649.3633
43 | 2572754.0448 | 1251638.8303 | 2572755.2411 | 1251649.3633
44 | 2572682.176 | 1251813.369 | 2572685.4955 | 1251808.5233
45 | 2572685.5421 | 1251749.809 | 2572692.8534 | 1251754.3782 | 2572697.9346 | 1251758.1239 | 2572693.0469 | 1251766.83
46 | 2572664.6816 | 1251714.7786 | 2572667.8184 | 1251705.4223
47 | 2572689.6167 | 1251700.0203 | 2572691.9293 | 1251701.4586 | 2572698.3147 | 1251709.779 | 2572701.8963 | 1251714.1463
48 | 2572664.6816 | 1251714.7786 | 2572660.6746 | 1251726.7304
49 | 2572685.5421 | 1251749.809 | 2572681.273 | 1251748.5949
50 | 2572665.7166 | 1251744.1709 | 2572681.273 | 1251748.5949
51 | 2572656.3052 | 1251741.4944 | 2572665.7166 | 1251744.1709
52 | 2572656.3052 | 1251741.4944 | 2572660.6445 | 1251726.8201 | 2572660.6746 | 1251726.7304
53 | 2572656.3052 | 1251741.4944 | 2572649.3878 | 1251751.9111 | 2572645.2565 | 1251757.2089
54 | 2572634.5294 | 1251758.805 | 2572628.6939 | 1251756.6323 | 2572627.0328 | 1251756.4621 | 2572623.0433 | 1251754.8925
55 | 2572623.0433 | 1251754.8925 | 2572622.8241 | 1251754.8063
56 | 2572622.8241 | 1251754.8063 | 2572622.8222 | 1251754.8055
57 | 2572613.3861 | 1251751.0937 | 2572613.5146 | 1251751.1435 | 2572622.8222 | 1251754.8055
58 | 2572613.3861 | 1251751.0937 | 2572610.0497 | 1251749.7994

## bus_geodata
| x | y | coords
0 | 2572831.3557 | 1251719.7511
1 | 2572834.6674 | 1251705.8587
2 | 2572830.3954 | 1251723.7791
3 | 2572845.7959 | 1251636.3059
4 | 2572829.7216 | 1251726.584
5 | 2572800.2599 | 1251646.1032
6 | 2572827.2871 | 1251733.8222
7 | 2572815.5256 | 1251760.872
8 | 2572774.705 | 1251737.339
9 | 2572797.2234 | 1251756.6713
10 | 2572610.9668 | 1251719.2787
11 | 2572597.2295 | 1251744.826
12 | 2572615.7007 | 1251710.6732
13 | 2572757.823 | 1251589.1911
14 | 2572744.3536 | 1251594.5124
15 | 2572765.4704 | 1251589.3344
16 | 2572751.7848 | 1251628.1002
17 | 2572701.1475 | 1251806.6189
18 | 2572691.2014 | 1251800.1939
19 | 2572736.797 | 1251751.1997
20 | 2572808.7049 | 1251722.5022
21 | 2572768.5276 | 1251768.408
22 | 2572591.2924 | 1251755.4894
23 | 2572630.0229 | 1251775.7634
24 | 2572641.8782 | 1251761.5411
25 | 2572675.2689 | 1251643.8121
26 | 2572674.9654 | 1251652.4641
27 | 2572679.3352 | 1251817.5159
28 | 2572681.4891 | 1251814.3717
29 | 2572608.3981 | 1251749.1587
30 | 2572674.3972 | 1251668.6625
31 | 2572670.411 | 1251697.689
32 | 2572754.0422 | 1251638.8161
33 | 2572695.0574 | 1251795.3729
34 | 2572686.3314 | 1251807.303
35 | 2572738.7501 | 1251747.2614
36 | 2572771.9074 | 1251715.0436
37 | 2572756.2154 | 1251711.7573
38 | 2572751.3199 | 1251710.6347
39 | 2572755.2411 | 1251649.3633
40 | 2572754.0448 | 1251638.8303
41 | 2572685.4955 | 1251808.5233
42 | 2572682.176 | 1251813.369
43 | 2572693.0469 | 1251766.83
44 | 2572667.8184 | 1251705.4223
45 | 2572689.6167 | 1251700.0203
46 | 2572664.6816 | 1251714.7786
47 | 2572701.8963 | 1251714.1463
48 | 2572685.5421 | 1251749.809
49 | 2572681.273 | 1251748.5949
50 | 2572665.7166 | 1251744.1709
51 | 2572656.3052 | 1251741.4944
52 | 2572645.2565 | 1251757.2089
53 | 2572660.6746 | 1251726.7304
54 | 2572634.5294 | 1251758.805
55 | 2572623.0433 | 1251754.8925
56 | 2572622.8241 | 1251754.8063
57 | 2572622.8222 | 1251754.8055
58 | 2572613.3861 | 1251751.0937
59 | 2572610.0497 | 1251749.7994
60 | 2572656.3052 | 1251741.4944

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1