## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6800-9_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6800-9_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6800-9_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6800-9_0_5_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_6800-9_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6800-9_0_5_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_6800-9_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6800-9_0_5_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_6800-9_0_5_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_6800-9_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6800-9_0_5_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_6800-9_0_5_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_6800-9_0_5_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_6800-9_0_5_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_6800-9_0_5_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_6800-9_0_5_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_6800-9_0_5_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_6800-9_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6800-9_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6800-9_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_6800-9_0_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_6800-9_0_5_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_6800-9_0_5_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_6800-9_0_5_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_6800-9_0_5_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_6800-9_0_5_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_6800-9_0_5_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_6800-9_0_5_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_6800-9_0_5_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_6800-9_0_5_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_6800-9_0_5_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_6800-9_0_5_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_6800-9_0_5_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_6800-9_0_5_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_6800-9_0_5_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_6800-9_0_5_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_6800-9_0_5_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_6800-9_0_5_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_6800-9_0_5_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_6800-9_0_5_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_6800-9_0_5_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_6800-9_0_5_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_6800-9_0_5_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_6800-9_0_5_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_6800-9_0_5_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_6800-9_0_5_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_6800-9_0_5_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_6800-9_0_5_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_6800-9_0_5_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_6800-9_0_5_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_6800-9_0_5_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_6800-9_0_5_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_6800-9_0_5_node_99 | 0.4 | n |  | TRUE
53 | bus_LV_6800-9_0_5_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_6800-9_0_5_node_79 | 0.4 | n |  | TRUE
55 | bus_LV_6800-9_0_5_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_6800-9_0_5_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_6800-9_0_5_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_6800-9_0_5_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_6800-9_0_5_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_6800-9_0_5_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_6800-9_0_5_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_6800-9_0_5_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_6800-9_0_5_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_6800-9_0_5_node_90 | 0.4 | n |  | TRUE
65 | bus_LV_6800-9_0_5_node_92 | 0.4 | n |  | TRUE
66 | bus_LV_6800-9_0_5_node_88 | 0.4 | n |  | TRUE
67 | bus_LV_6800-9_0_5_node_96 | 0.4 | n |  | TRUE
68 | bus_LV_6800-9_0_5_node_95 | 0.4 | n |  | TRUE
69 | bus_LV_6800-9_0_5_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_6800-9_0_5_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_6800-9_0_5_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_6800-9_0_5_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_6800-9_0_5_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_6800-9_0_5_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_6800-9_0_5_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_6800-9_0_5_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_6800-9_0_5_node_86 | 0.4 | n |  | TRUE
78 | bus_LV_6800-9_0_5_node_83 | 0.4 | n |  | TRUE
79 | bus_LV_6800-9_0_5_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_6800-9_0_5_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_6800-9_0_5_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_6800-9_0_5_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_6800-9_0_5_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_6800-9_0_5_node_97 | 0.4 | n |  | TRUE
85 | bus_LV_6800-9_0_5_node_98 | 0.4 | n |  | TRUE
86 | bus_LV_6800-9_0_5_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_6800-9_0_5_node_91 | 0.4 | n |  | TRUE
88 | bus_LV_6800-9_0_5_node_93 | 0.4 | n |  | TRUE
89 | bus_LV_6800-9_0_5_node_94 | 0.4 | n |  | TRUE
90 | bus_MV_344_1_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6800-9_0_5_load_0 | 0 | 0.0026544 | 0.00066526 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6800-9_0_5_load_5 | 4 | 0.003039 | 0.00076163 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6800-9_0_5_load_25 | 5 | 0.0024665 | 0.00061816 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6800-9_0_5_load_22 | 7 | 0.0054478 | 0.0013654 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6800-9_0_5_load_23 | 8 | 0.0050727 | 0.0012713 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6800-9_0_5_load_17 | 11 | 0.0022917 | 0.00057436 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6800-9_0_5_load_53 | 14 | 0.013645 | 0.0034197 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6800-9_0_5_load_21 | 16 | 0.0029275 | 0.00073371 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6800-9_0_5_load_9 | 17 | 0.0082894 | 0.0020775 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6800-9_0_5_load_18 | 20 | 0.00049893 | 0.00012504 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6800-9_0_5_load_52 | 21 | 0.0079261 | 0.0019865 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6800-9_0_5_load_51 | 22 | 0.0054407 | 0.0013636 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6800-9_0_5_load_60 | 23 | 0.01959 | 0.0049097 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6800-9_0_5_load_26 | 28 | 0.0095557 | 0.0023949 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6800-9_0_5_load_34 | 29 | 0.0053123 | 0.0013314 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6800-9_0_5_load_32 | 31 | 0.0098586 | 0.0024708 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6800-9_0_5_load_54 | 33 | 0.007352 | 0.0018426 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6800-9_0_5_load_31 | 34 | 0.0079851 | 0.0020012 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6800-9_0_5_load_33 | 35 | 0.0047935 | 0.0012014 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6800-9_0_5_load_35 | 36 | 0.0072403 | 0.0018146 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6800-9_0_5_load_49 | 37 | 0.0046079 | 0.0011548 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6800-9_0_5_load_50 | 38 | 0.007391 | 0.0018524 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6800-9_0_5_load_36 | 39 | 0.0026519 | 0.00066463 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6800-9_0_5_load_37 | 40 | 0.0020664 | 0.00051789 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6800-9_0_5_load_38 | 41 | 0.016125 | 0.0040413 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6800-9_0_5_load_39 | 42 | 0.011589 | 0.0029044 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6800-9_0_5_load_40 | 45 | 0.0087855 | 0.0022019 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6800-9_0_5_load_41 | 46 | 0.0057094 | 0.0014309 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6800-9_0_5_load_43 | 47 | 0.0072063 | 0.0018061 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6800-9_0_5_load_47 | 48 | 0.01097 | 0.0027492 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6800-9_0_5_load_99 | 52 | 0.0032789 | 0.00082177 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6800-9_0_5_load_71 | 53 | 0.0050885 | 0.0012753 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6800-9_0_5_load_79 | 54 | 0.0064199 | 0.001609 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6800-9_0_5_load_70 | 55 | 0.0064755 | 0.0016229 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6800-9_0_5_load_77 | 56 | 0.0035904 | 0.00089984 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6800-9_0_5_load_67 | 57 | 0.0024492 | 0.00061384 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6800-9_0_5_load_78 | 58 | 0.0087056 | 0.0021818 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6800-9_0_5_load_66 | 59 | 0.010551 | 0.0026443 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6800-9_0_5_load_56 | 60 | 0.0071083 | 0.0017815 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6800-9_0_5_load_59 | 61 | 0.0061594 | 0.0015437 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6800-9_0_5_load_62 | 63 | 0.0043637 | 0.0010936 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6800-9_0_5_load_88 | 66 | 0.0081017 | 0.0020305 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6800-9_0_5_load_96 | 67 | 0.0026138 | 0.00065507 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6800-9_0_5_load_95 | 68 | 0.0027787 | 0.0006964 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6800-9_0_5_load_63 | 69 | 0.0408 | 0.010226 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6800-9_0_5_load_65 | 70 | 0.017334 | 0.0043443 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6800-9_0_5_load_76 | 71 | 0.016695 | 0.0041843 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6800-9_0_5_load_74 | 72 | 0.015589 | 0.003907 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6800-9_0_5_load_68 | 73 | 0.0058213 | 0.001459 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6800-9_0_5_load_85 | 75 | 0.0086492 | 0.0021677 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6800-9_0_5_load_84 | 76 | 0.015783 | 0.0039557 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6800-9_0_5_load_86 | 77 | 0.031515 | 0.0078984 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6800-9_0_5_load_83 | 78 | 0.0075633 | 0.0018955 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6800-9_0_5_load_72 | 79 | 0.0047897 | 0.0012004 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6800-9_0_5_load_73 | 80 | 0.0033952 | 0.00085092 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6800-9_0_5_load_81 | 82 | 0.0045641 | 0.0011439 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6800-9_0_5_load_82 | 83 | 0.015866 | 0.0039763 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6800-9_0_5_load_97 | 84 | 0.0023191 | 0.00058122 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6800-9_0_5_load_98 | 85 | 0.0066184 | 0.0016587 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6800-9_0_5_load_89 | 86 | 0.0040412 | 0.0010128 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6800-9_0_5_load_91 | 87 | 0.0050658 | 0.0012696 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6800-9_0_5_load_93 | 88 | 0.0032194 | 0.00080685 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6800-9_0_5_load_94 | 89 | 0.004944 | 0.0012391 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6800-9_0_5_line_0 |  | 0 | 1 | 0.013603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6800-9_0_5_line_1 |  | 1 | 2 | 0.014467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6800-9_0_5_line_2 |  | 2 | 3 | 0.024186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6800-9_0_5_line_3 |  | 2 | 4 | 0.05179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6800-9_0_5_line_4 |  | 3 | 5 | 0.011121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6800-9_0_5_line_5 |  | 4 | 6 | 0.01352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6800-9_0_5_line_6 |  | 6 | 9 | 0.00341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6800-9_0_5_line_7 |  | 7 | 8 | 0.01759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6800-9_0_5_line_8 |  | 8 | 24 | 0.0022502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6800-9_0_5_line_9 |  | 9 | 10 | 0.022537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6800-9_0_5_line_10 |  | 9 | 11 | 0.038083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6800-9_0_5_line_11 |  | 10 | 15 | 0.017567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6800-9_0_5_line_12 |  | 10 | 16 | 0.018991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6800-9_0_5_line_13 |  | 12 | 13 | 0.031102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6800-9_0_5_line_14 |  | 12 | 14 | 0.02275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6800-9_0_5_line_15 |  | 12 | 15 | 0.022019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6800-9_0_5_line_16 |  | 13 | 23 | 0.015531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6800-9_0_5_line_17 |  | 14 | 22 | 0.02264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6800-9_0_5_line_18 |  | 16 | 19 | 0.03763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6800-9_0_5_line_19 |  | 17 | 18 | 0.04299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6800-9_0_5_line_20 |  | 18 | 19 | 0.028984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6800-9_0_5_line_21 |  | 19 | 20 | 0.0065302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6800-9_0_5_line_22 |  | 21 | 22 | 0.01021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6800-9_0_5_line_23 |  | 23 | 30 | 0.015249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6800-9_0_5_line_24 |  | 24 | 25 | 0.042123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6800-9_0_5_line_25 |  | 25 | 27 | 0.029147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6800-9_0_5_line_26 |  | 25 | 29 | 0.0058154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6800-9_0_5_line_27 |  | 26 | 27 | 0.036418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6800-9_0_5_line_28 |  | 26 | 28 | 0.011119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6800-9_0_5_line_29 |  | 27 | 30 | 0.008446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6800-9_0_5_line_30 |  | 29 | 31 | 0.014828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6800-9_0_5_line_31 |  | 30 | 32 | 0.022746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6800-9_0_5_line_32 |  | 31 | 34 | 0.022355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6800-9_0_5_line_33 |  | 32 | 60 | 0.020258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6800-9_0_5_line_34 |  | 32 | 33 | 0.0028037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6800-9_0_5_line_35 |  | 34 | 35 | 0.0006437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6800-9_0_5_line_36 |  | 35 | 36 | 0.0027711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6800-9_0_5_line_37 |  | 36 | 37 | 0.0074914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6800-9_0_5_line_38 |  | 37 | 38 | 0.014309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_6800-9_0_5_line_39 |  | 38 | 55 | 0.014509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6800-9_0_5_line_40 |  | 39 | 40 | 0.012085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6800-9_0_5_line_41 |  | 39 | 41 | 0.010205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6800-9_0_5_line_42 |  | 41 | 42 | 0.0024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6800-9_0_5_line_43 |  | 42 | 43 | 0.01721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6800-9_0_5_line_44 |  | 43 | 44 | 0.011815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6800-9_0_5_line_45 |  | 44 | 51 | 0.014656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_6800-9_0_5_line_46 |  | 44 | 53 | 0.0064556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_6800-9_0_5_line_47 |  | 45 | 46 | 0.0097607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6800-9_0_5_line_48 |  | 46 | 47 | 0.0034889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6800-9_0_5_line_49 |  | 47 | 48 | 0.0094882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6800-9_0_5_line_50 |  | 48 | 49 | 0.017025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6800-9_0_5_line_51 |  | 49 | 56 | 0.0059771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_6800-9_0_5_line_52 |  | 49 | 57 | 0.0067085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_6800-9_0_5_line_53 |  | 50 | 51 | 0.006356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6800-9_0_5_line_54 |  | 50 | 52 | 0.014736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6800-9_0_5_line_55 |  | 51 | 54 | 0.014868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_6800-9_0_5_line_56 |  | 53 | 55 | 0.0073574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_6800-9_0_5_line_57 |  | 54 | 58 | 0.0015604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_6800-9_0_5_line_58 |  | 56 | 58 | 0.00203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_6800-9_0_5_line_59 |  | 57 | 59 | 0.0089499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_6800-9_0_5_line_60 |  | 59 | 73 | 0.014779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_6800-9_0_5_line_61 |  | 61 | 62 | 0.001494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6800-9_0_5_line_62 |  | 62 | 63 | 0.010563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6800-9_0_5_line_63 |  | 63 | 69 | 0.023305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6800-9_0_5_line_64 |  | 64 | 65 | 0.017495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6800-9_0_5_line_65 |  | 64 | 66 | 0.020479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6800-9_0_5_line_66 |  | 65 | 85 | 0.034486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6800-9_0_5_line_67 |  | 66 | 86 | 0.0057089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6800-9_0_5_line_68 |  | 67 | 68 | 0.0054126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6800-9_0_5_line_69 |  | 68 | 89 | 0.00059647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6800-9_0_5_line_70 |  | 69 | 70 | 0.016949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6800-9_0_5_line_71 |  | 70 | 71 | 0.021403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_6800-9_0_5_line_72 |  | 71 | 72 | 0.0043481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_6800-9_0_5_line_73 |  | 72 | 79 | 0.016444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_6800-9_0_5_line_74 |  | 73 | 74 | 0.011768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_6800-9_0_5_line_75 |  | 74 | 75 | 0.0069969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6800-9_0_5_line_76 |  | 74 | 76 | 0.0058758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_6800-9_0_5_line_77 |  | 75 | 77 | 0.0058653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6800-9_0_5_line_78 |  | 76 | 78 | 0.010399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_6800-9_0_5_line_79 |  | 78 | 82 | 0.00104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_6800-9_0_5_line_80 |  | 79 | 80 | 0.0023897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_6800-9_0_5_line_81 |  | 80 | 81 | 0.0031261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_6800-9_0_5_line_82 |  | 81 | 82 | 0.0075357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_6800-9_0_5_line_83 |  | 81 | 83 | 0.012036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6800-9_0_5_line_84 |  | 83 | 84 | 0.003065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6800-9_0_5_line_85 |  | 84 | 85 | 0.012887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6800-9_0_5_line_86 |  | 86 | 87 | 0.0075951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6800-9_0_5_line_87 |  | 87 | 88 | 0.0013243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6800-9_0_5_line_88 |  | 88 | 89 | 0.0077596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6800-9_0_5_trafo_65 | 0.63 MVA 20/0.4 kV | 90 | 70 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2572473.3314 | 1251511.2256 | 2572469.4337 | 1251510.4988 | 2572460.1538 | 1251507.896
1 | 2572473.3314 | 1251511.2256 | 2572471.6928 | 1251525.5983
2 | 2572471.6928 | 1251525.5983 | 2572470.3423 | 1251537.0233 | 2572465.6503 | 1251548.8085
3 | 2572471.6928 | 1251525.5983 | 2572523.1695 | 1251531.2833
4 | 2572465.6503 | 1251548.8085 | 2572455.4313 | 1251544.4205
5 | 2572536.6081 | 1251532.7674 | 2572523.1695 | 1251531.2833
6 | 2572540.006 | 1251533.1519 | 2572536.6081 | 1251532.7674
7 | 2572447.7212 | 1251622.0547 | 2572462.6251 | 1251631.3962
8 | 2572464.5318 | 1251632.5913 | 2572462.6251 | 1251631.3962
9 | 2572540.006 | 1251533.1519 | 2572547.7306 | 1251534.0054 | 2572543.9027 | 1251548.266
10 | 2572540.006 | 1251533.1519 | 2572548.1753 | 1251495.9554
11 | 2572539.3402 | 1251565.2317 | 2572543.9027 | 1251548.266
12 | 2572543.9027 | 1251548.266 | 2572560.8695 | 1251556.7984
13 | 2572519.5544 | 1251614.3674 | 2572532.6301 | 1251586.1323
14 | 2572532.6301 | 1251586.1323 | 2572536.8884 | 1251586.5128 | 2572552.907 | 1251595.7167
15 | 2572539.3402 | 1251565.2317 | 2572535.0893 | 1251581.0175 | 2572532.6301 | 1251586.1323
16 | 2572519.5544 | 1251614.3674 | 2572529.8015 | 1251618.8671 | 2572529.2051 | 1251623.1654
17 | 2572572.5376 | 1251606.996 | 2572552.907 | 1251595.7167
18 | 2572581.3992 | 1251579.757 | 2572584.2037 | 1251574.2515 | 2572572.2172 | 1251568.9592 | 2572570.6288 | 1251561.7062 | 2572560.8695 | 1251556.7984
19 | 2572601.7667 | 1251576.1156 | 2572598.8547 | 1251564.9996 | 2572596.7495 | 1251556.9596 | 2572592.3673 | 1251534.1898
20 | 2572581.3992 | 1251579.757 | 2572585.8213 | 1251582.9052 | 2572598.6459 | 1251583.4127 | 2572597.8225 | 1251576.7343 | 2572601.7667 | 1251576.1156
21 | 2572581.3992 | 1251579.757 | 2572578.5662 | 1251585.6407
22 | 2572572.5376 | 1251606.996 | 2572581.3905 | 1251612.0826
23 | 2572523.6992 | 1251637.3744 | 2572529.1516 | 1251623.551 | 2572529.2051 | 1251623.1654
24 | 2572464.5318 | 1251632.5913 | 2572500.8272 | 1251654.1475
25 | 2572500.8272 | 1251654.1475 | 2572511.3313 | 1251634.4634 | 2572517.3014 | 1251637.7934
26 | 2572500.8272 | 1251654.1475 | 2572498.2491 | 1251659.3602
27 | 2572494.1843 | 1251616.5425 | 2572513.8075 | 1251628.1477 | 2572511.3313 | 1251634.4634 | 2572517.3014 | 1251637.7934
28 | 2572494.1843 | 1251616.5425 | 2572484.9317 | 1251610.3758
29 | 2572523.6992 | 1251637.3744 | 2572518.2935 | 1251635.3093 | 2572517.3014 | 1251637.7934
30 | 2572491.6752 | 1251672.6516 | 2572498.2491 | 1251659.3602
31 | 2572523.6992 | 1251637.3744 | 2572544.9371 | 1251645.6811
32 | 2572491.6752 | 1251672.6516 | 2572481.7647 | 1251692.6894
33 | 2572544.9371 | 1251645.6811 | 2572549.5661 | 1251647.8944 | 2572563.4415 | 1251653.9204
34 | 2572544.9371 | 1251645.6811 | 2572543.8245 | 1251648.2547
35 | 2572481.4793 | 1251693.2664 | 2572481.7647 | 1251692.6894
36 | 2572480.2508 | 1251695.7503 | 2572481.4793 | 1251693.2664
37 | 2572480.2508 | 1251695.7503 | 2572476.9296 | 1251702.4653
38 | 2572470.5859 | 1251715.2915 | 2572476.9296 | 1251702.4653
39 | 2572464.1537 | 1251728.2965 | 2572470.5859 | 1251715.2915
40 | 2572424.7609 | 1251717.8168 | 2572415.2103 | 1251710.4112
41 | 2572424.7609 | 1251717.8168 | 2572428.3026 | 1251720.563 | 2572432.6734 | 1251724.2586
42 | 2572434.5061 | 1251725.8082 | 2572432.6734 | 1251724.2586
43 | 2572445.933 | 1251738.5704 | 2572438.8039 | 1251729.4421 | 2572434.5061 | 1251725.8082
44 | 2572455.5115 | 1251738.9259 | 2572454.1064 | 1251737.0201 | 2572452.0108 | 1251735.918 | 2572449.6407 | 1251735.829 | 2572447.4717 | 1251736.7731 | 2572445.933 | 1251738.5704
45 | 2572455.5115 | 1251738.9259 | 2572455.9524 | 1251741.2365 | 2572455.3367 | 1251743.5187 | 2572449.6847 | 1251751.706
46 | 2572455.5115 | 1251738.9259 | 2572460.1478 | 1251734.4337
47 | 2572442.986 | 1251801.8045 | 2572448.7134 | 1251793.9009
48 | 2572450.7607 | 1251791.0757 | 2572448.7134 | 1251793.9009
49 | 2572450.7607 | 1251791.0757 | 2572456.3282 | 1251783.3928
50 | 2572466.3182 | 1251769.6069 | 2572456.3282 | 1251783.3928
51 | 2572466.3182 | 1251769.6069 | 2572462.2497 | 1251765.2284
52 | 2572466.3182 | 1251769.6069 | 2572470.9579 | 1251774.4524
53 | 2572449.6847 | 1251751.706 | 2572448.2872 | 1251753.0468 | 2572446.4028 | 1251753.5225 | 2572445.0963 | 1251753.3396 | 2572444.015 | 1251752.8888
54 | 2572444.015 | 1251752.8888 | 2572438.2548 | 1251760.5207 | 2572435.3217 | 1251764.7831
55 | 2572449.6847 | 1251751.706 | 2572459.8056 | 1251762.5981
56 | 2572464.1537 | 1251728.2965 | 2572463.909 | 1251728.7912 | 2572460.8155 | 1251733.7867 | 2572460.1478 | 1251734.4337
57 | 2572460.8678 | 1251763.7412 | 2572459.8056 | 1251762.5981
58 | 2572460.8678 | 1251763.7412 | 2572462.2497 | 1251765.2284
59 | 2572477.1476 | 1251780.9167 | 2572470.9579 | 1251774.4524
60 | 2572477.1476 | 1251780.9167 | 2572487.3691 | 1251791.5915
61 | 2572559.3746 | 1251696.0696 | 2572559.9835 | 1251694.7052
62 | 2572559.3746 | 1251696.0696 | 2572555.067 | 1251705.714
63 | 2572555.067 | 1251705.714 | 2572547.2823 | 1251723.1437 | 2572545.4248 | 1251726.9288
64 | 2572560.2009 | 1251821.8267 | 2572568.3926 | 1251806.3562
65 | 2572568.3926 | 1251806.3562 | 2572576.3236 | 1251787.4756
66 | 2572560.2009 | 1251821.8267 | 2572545.645 | 1251814.067 | 2572531.6296 | 1251802.7871
67 | 2572576.3236 | 1251787.4756 | 2572577.7377 | 1251784.1092 | 2572578.5636 | 1251782.2247
68 | 2572587.9105 | 1251761.5635 | 2572586.5419 | 1251764.0216 | 2572585.4985 | 1251766.4022
69 | 2572585.2591 | 1251766.9485 | 2572585.4985 | 1251766.4022
70 | 2572545.4248 | 1251726.9288 | 2572537.9582 | 1251742.1443
71 | 2572537.9582 | 1251742.1443 | 2572531.7624 | 1251754.7701 | 2572528.2569 | 1251761.2172
72 | 2572526.1798 | 1251765.0371 | 2572528.2569 | 1251761.2172
73 | 2572516.5374 | 1251778.1876 | 2572522.4165 | 1251771.9583 | 2572526.1798 | 1251765.0371
74 | 2572495.5077 | 1251800.0911 | 2572487.3691 | 1251791.5915
75 | 2572495.5077 | 1251800.0911 | 2572496.8604 | 1251806.956 | 2572496.8604 | 1251806.956
76 | 2572495.5077 | 1251800.0911 | 2572499.6055 | 1251795.88
77 | 2572496.8604 | 1251806.956 | 2572499.678 | 1251812.1001
78 | 2572506.8575 | 1251788.4274 | 2572499.6055 | 1251795.88
79 | 2572506.8575 | 1251788.4274 | 2572507.5828 | 1251787.6821
80 | 2572516.5374 | 1251778.1876 | 2572514.8972 | 1251779.9255
81 | 2572512.7516 | 1251782.1989 | 2572514.8972 | 1251779.9255
82 | 2572512.7516 | 1251782.1989 | 2572509.2674 | 1251785.951 | 2572507.5828 | 1251787.6821
83 | 2572512.7516 | 1251782.1989 | 2572520.6537 | 1251791.277
84 | 2572520.6537 | 1251791.277 | 2572522.6661 | 1251793.5888
85 | 2572531.6296 | 1251802.7871 | 2572528.4345 | 1251800.2157 | 2572522.6661 | 1251793.5888
86 | 2572581.6125 | 1251775.2684 | 2572578.5636 | 1251782.2247
87 | 2572581.6125 | 1251775.2684 | 2572582.1441 | 1251774.0555
88 | 2572582.1441 | 1251774.0555 | 2572585.2591 | 1251766.9485

## bus_geodata
| x | y | coords
0 | 2572460.1538 | 1251507.896
1 | 2572473.3314 | 1251511.2256
2 | 2572471.6928 | 1251525.5983
3 | 2572465.6503 | 1251548.8085
4 | 2572523.1695 | 1251531.2833
5 | 2572455.4313 | 1251544.4205
6 | 2572536.6081 | 1251532.7674
7 | 2572447.7212 | 1251622.0547
8 | 2572462.6251 | 1251631.3962
9 | 2572540.006 | 1251533.1519
10 | 2572543.9027 | 1251548.266
11 | 2572548.1753 | 1251495.9554
12 | 2572532.6301 | 1251586.1323
13 | 2572519.5544 | 1251614.3674
14 | 2572552.907 | 1251595.7167
15 | 2572539.3402 | 1251565.2317
16 | 2572560.8695 | 1251556.7984
17 | 2572592.3673 | 1251534.1898
18 | 2572601.7667 | 1251576.1156
19 | 2572581.3992 | 1251579.757
20 | 2572578.5662 | 1251585.6407
21 | 2572581.3905 | 1251612.0826
22 | 2572572.5376 | 1251606.996
23 | 2572529.2051 | 1251623.1654
24 | 2572464.5318 | 1251632.5913
25 | 2572500.8272 | 1251654.1475
26 | 2572494.1843 | 1251616.5425
27 | 2572517.3014 | 1251637.7934
28 | 2572484.9317 | 1251610.3758
29 | 2572498.2491 | 1251659.3602
30 | 2572523.6992 | 1251637.3744
31 | 2572491.6752 | 1251672.6516
32 | 2572544.9371 | 1251645.6811
33 | 2572543.8245 | 1251648.2547
34 | 2572481.7647 | 1251692.6894
35 | 2572481.4793 | 1251693.2664
36 | 2572480.2508 | 1251695.7503
37 | 2572476.9296 | 1251702.4653
38 | 2572470.5859 | 1251715.2915
39 | 2572424.7609 | 1251717.8168
40 | 2572415.2103 | 1251710.4112
41 | 2572432.6734 | 1251724.2586
42 | 2572434.5061 | 1251725.8082
43 | 2572445.933 | 1251738.5704
44 | 2572455.5115 | 1251738.9259
45 | 2572442.986 | 1251801.8045
46 | 2572448.7134 | 1251793.9009
47 | 2572450.7607 | 1251791.0757
48 | 2572456.3282 | 1251783.3928
49 | 2572466.3182 | 1251769.6069
50 | 2572444.015 | 1251752.8888
51 | 2572449.6847 | 1251751.706
52 | 2572435.3217 | 1251764.7831
53 | 2572460.1478 | 1251734.4337
54 | 2572459.8056 | 1251762.5981
55 | 2572464.1537 | 1251728.2965
56 | 2572462.2497 | 1251765.2284
57 | 2572470.9579 | 1251774.4524
58 | 2572460.8678 | 1251763.7412
59 | 2572477.1476 | 1251780.9167
60 | 2572563.4415 | 1251653.9204
61 | 2572559.9835 | 1251694.7052
62 | 2572559.3746 | 1251696.0696
63 | 2572555.067 | 1251705.714
64 | 2572568.3926 | 1251806.3562
65 | 2572560.2009 | 1251821.8267
66 | 2572576.3236 | 1251787.4756
67 | 2572587.9105 | 1251761.5635
68 | 2572585.4985 | 1251766.4022
69 | 2572545.4248 | 1251726.9288
70 | 2572537.9582 | 1251742.1443
71 | 2572528.2569 | 1251761.2172
72 | 2572526.1798 | 1251765.0371
73 | 2572487.3691 | 1251791.5915
74 | 2572495.5077 | 1251800.0911
75 | 2572496.8604 | 1251806.956
76 | 2572499.6055 | 1251795.88
77 | 2572499.678 | 1251812.1001
78 | 2572506.8575 | 1251788.4274
79 | 2572516.5374 | 1251778.1876
80 | 2572514.8972 | 1251779.9255
81 | 2572512.7516 | 1251782.1989
82 | 2572507.5828 | 1251787.6821
83 | 2572520.6537 | 1251791.277
84 | 2572522.6661 | 1251793.5888
85 | 2572531.6296 | 1251802.7871
86 | 2572578.5636 | 1251782.2247
87 | 2572581.6125 | 1251775.2684
88 | 2572582.1441 | 1251774.0555
89 | 2572585.2591 | 1251766.9485
90 | 2572512.7516 | 1251782.1989

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1