## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1-1_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1-1_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1-1_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1-1_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1-1_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1-1_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1-1_0_7_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1-1_0_7_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1-1_0_7_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1-1_0_7_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1-1_0_7_node_87 | 0.4 | n |  | TRUE
11 | bus_LV_1-1_0_7_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_1-1_0_7_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_1-1_0_7_node_58 | 0.4 | n |  | TRUE
14 | bus_LV_1-1_0_7_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1-1_0_7_node_90 | 0.4 | n |  | TRUE
16 | bus_LV_1-1_0_7_node_89 | 0.4 | n |  | TRUE
17 | bus_LV_1-1_0_7_node_93 | 0.4 | n |  | TRUE
18 | bus_LV_1-1_0_7_node_91 | 0.4 | n |  | TRUE
19 | bus_LV_1-1_0_7_node_88 | 0.4 | n |  | TRUE
20 | bus_LV_1-1_0_7_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1-1_0_7_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1-1_0_7_node_99 | 0.4 | n |  | TRUE
23 | bus_LV_1-1_0_7_node_97 | 0.4 | n |  | TRUE
24 | bus_LV_1-1_0_7_node_98 | 0.4 | n |  | TRUE
25 | bus_LV_1-1_0_7_node_95 | 0.4 | n |  | TRUE
26 | bus_LV_1-1_0_7_node_96 | 0.4 | n |  | TRUE
27 | bus_LV_1-1_0_7_node_100 | 0.4 | n |  | TRUE
28 | bus_LV_1-1_0_7_node_111 | 0.4 | n |  | TRUE
29 | bus_LV_1-1_0_7_node_112 | 0.4 | n |  | TRUE
30 | bus_LV_1-1_0_7_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_1-1_0_7_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_1-1_0_7_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_1-1_0_7_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_1-1_0_7_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_1-1_0_7_node_67 | 0.4 | n |  | TRUE
36 | bus_LV_1-1_0_7_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_1-1_0_7_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_1-1_0_7_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_1-1_0_7_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_1-1_0_7_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1-1_0_7_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_1-1_0_7_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_1-1_0_7_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_1-1_0_7_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_1-1_0_7_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_1-1_0_7_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_1-1_0_7_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_1-1_0_7_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_1-1_0_7_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_1-1_0_7_node_81 | 0.4 | n |  | TRUE
51 | bus_LV_1-1_0_7_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_1-1_0_7_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_1-1_0_7_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_1-1_0_7_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_1-1_0_7_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_1-1_0_7_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_1-1_0_7_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_1-1_0_7_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_1-1_0_7_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_1-1_0_7_node_83 | 0.4 | n |  | TRUE
61 | bus_LV_1-1_0_7_node_84 | 0.4 | n |  | TRUE
62 | bus_LV_1-1_0_7_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_1-1_0_7_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_1-1_0_7_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_1-1_0_7_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_1-1_0_7_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_1-1_0_7_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_1-1_0_7_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_1-1_0_7_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_1-1_0_7_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_1-1_0_7_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_1-1_0_7_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_1-1_0_7_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_1-1_0_7_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_1-1_0_7_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_1-1_0_7_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_1-1_0_7_node_56 | 0.4 | n |  | TRUE
78 | bus_LV_1-1_0_7_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_1-1_0_7_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_1-1_0_7_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_1-1_0_7_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_1-1_0_7_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_1-1_0_7_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_1-1_0_7_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_1-1_0_7_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_1-1_0_7_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_1-1_0_7_node_66 | 0.4 | n |  | TRUE
88 | bus_LV_1-1_0_7_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_1-1_0_7_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_1-1_0_7_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_1-1_0_7_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_1-1_0_7_node_71 | 0.4 | n |  | TRUE
93 | bus_LV_1-1_0_7_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_1-1_0_7_node_82 | 0.4 | n |  | TRUE
95 | bus_LV_1-1_0_7_node_86 | 0.4 | n |  | TRUE
96 | bus_LV_1-1_0_7_node_119 | 0.4 | n |  | TRUE
97 | bus_LV_1-1_0_7_node_92 | 0.4 | n |  | TRUE
98 | bus_LV_1-1_0_7_node_94 | 0.4 | n |  | TRUE
99 | bus_LV_1-1_0_7_node_120 | 0.4 | n |  | TRUE
100 | bus_LV_1-1_0_7_node_118 | 0.4 | n |  | TRUE
101 | bus_LV_1-1_0_7_node_117 | 0.4 | n |  | TRUE
102 | bus_LV_1-1_0_7_node_116 | 0.4 | n |  | TRUE
103 | bus_LV_1-1_0_7_node_115 | 0.4 | n |  | TRUE
104 | bus_LV_1-1_0_7_node_104 | 0.4 | n |  | TRUE
105 | bus_LV_1-1_0_7_node_105 | 0.4 | n |  | TRUE
106 | bus_LV_1-1_0_7_node_106 | 0.4 | n |  | TRUE
107 | bus_LV_1-1_0_7_node_107 | 0.4 | n |  | TRUE
108 | bus_LV_1-1_0_7_node_101 | 0.4 | n |  | TRUE
109 | bus_LV_1-1_0_7_node_102 | 0.4 | n |  | TRUE
110 | bus_LV_1-1_0_7_node_103 | 0.4 | n |  | TRUE
111 | bus_LV_1-1_0_7_node_108 | 0.4 | n |  | TRUE
112 | bus_LV_1-1_0_7_node_109 | 0.4 | n |  | TRUE
113 | bus_LV_1-1_0_7_node_110 | 0.4 | n |  | TRUE
114 | bus_LV_1-1_0_7_node_124 | 0.4 | n |  | TRUE
115 | bus_LV_1-1_0_7_node_114 | 0.4 | n |  | TRUE
116 | bus_LV_1-1_0_7_node_133 | 0.4 | n |  | TRUE
117 | bus_LV_1-1_0_7_node_126 | 0.4 | n |  | TRUE
118 | bus_LV_1-1_0_7_node_128 | 0.4 | n |  | TRUE
119 | bus_LV_1-1_0_7_node_125 | 0.4 | n |  | TRUE
120 | bus_LV_1-1_0_7_node_127 | 0.4 | n |  | TRUE
121 | bus_LV_1-1_0_7_node_152 | 0.4 | n |  | TRUE
122 | bus_LV_1-1_0_7_node_129 | 0.4 | n |  | TRUE
123 | bus_LV_1-1_0_7_node_113 | 0.4 | n |  | TRUE
124 | bus_LV_1-1_0_7_node_135 | 0.4 | n |  | TRUE
125 | bus_LV_1-1_0_7_node_132 | 0.4 | n |  | TRUE
126 | bus_LV_1-1_0_7_node_122 | 0.4 | n |  | TRUE
127 | bus_LV_1-1_0_7_node_123 | 0.4 | n |  | TRUE
128 | bus_LV_1-1_0_7_node_148 | 0.4 | n |  | TRUE
129 | bus_LV_1-1_0_7_node_146 | 0.4 | n |  | TRUE
130 | bus_LV_1-1_0_7_node_139 | 0.4 | n |  | TRUE
131 | bus_LV_1-1_0_7_node_153 | 0.4 | n |  | TRUE
132 | bus_LV_1-1_0_7_node_130 | 0.4 | n |  | TRUE
133 | bus_LV_1-1_0_7_node_131 | 0.4 | n |  | TRUE
134 | bus_LV_1-1_0_7_node_138 | 0.4 | n |  | TRUE
135 | bus_LV_1-1_0_7_node_157 | 0.4 | n |  | TRUE
136 | bus_LV_1-1_0_7_node_158 | 0.4 | n |  | TRUE
137 | bus_LV_1-1_0_7_node_137 | 0.4 | n |  | TRUE
138 | bus_LV_1-1_0_7_node_140 | 0.4 | n |  | TRUE
139 | bus_LV_1-1_0_7_node_134 | 0.4 | n |  | TRUE
140 | bus_LV_1-1_0_7_node_136 | 0.4 | n |  | TRUE
141 | bus_LV_1-1_0_7_node_160 | 0.4 | n |  | TRUE
142 | bus_LV_1-1_0_7_node_141 | 0.4 | n |  | TRUE
143 | bus_LV_1-1_0_7_node_142 | 0.4 | n |  | TRUE
144 | bus_LV_1-1_0_7_node_143 | 0.4 | n |  | TRUE
145 | bus_LV_1-1_0_7_node_159 | 0.4 | n |  | TRUE
146 | bus_LV_1-1_0_7_node_155 | 0.4 | n |  | TRUE
147 | bus_LV_1-1_0_7_node_144 | 0.4 | n |  | TRUE
148 | bus_LV_1-1_0_7_node_145 | 0.4 | n |  | TRUE
149 | bus_LV_1-1_0_7_node_147 | 0.4 | n |  | TRUE
150 | bus_LV_1-1_0_7_node_149 | 0.4 | n |  | TRUE
151 | bus_LV_1-1_0_7_node_150 | 0.4 | n |  | TRUE
152 | bus_LV_1-1_0_7_node_151 | 0.4 | n |  | TRUE
153 | bus_LV_1-1_0_7_node_156 | 0.4 | n |  | TRUE
154 | bus_LV_1-1_0_7_node_154 | 0.4 | n |  | TRUE
155 | bus_MV_349_0_node_189 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1-1_0_7_load_0 | 0 | 0.0045919 | 0.0011508 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1-1_0_7_load_1 | 1 | 0.0037216 | 0.00093272 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1-1_0_7_load_3 | 3 | 0.00083104 | 0.00020828 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1-1_0_7_load_6 | 6 | 0.0020184 | 0.00050586 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1-1_0_7_load_7 | 7 | 0.0035602 | 0.00089227 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1-1_0_7_load_8 | 8 | 0.0011258 | 0.00028216 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1-1_0_7_load_12 | 11 | 0.0039829 | 0.00099821 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1-1_0_7_load_58 | 13 | 0.0011019 | 0.00027616 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1-1_0_7_load_89 | 16 | 0.082192 | 0.020599 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1-1_0_7_load_91 | 18 | 0.0016713 | 0.00041888 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1-1_0_7_load_88 | 19 | 0.0044324 | 0.0011109 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1-1_0_7_load_15 | 20 | 0.0016794 | 0.00042089 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1-1_0_7_load_99 | 22 | 0.0021146 | 0.00052996 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1-1_0_7_load_97 | 23 | 0.0052348 | 0.001312 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1-1_0_7_load_98 | 24 | 0.0016556 | 0.00041494 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1-1_0_7_load_96 | 26 | 0.0038191 | 0.00095716 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1-1_0_7_load_100 | 27 | 0.0018315 | 0.00045901 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1-1_0_7_load_111 | 28 | 0.0015552 | 0.00038978 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1-1_0_7_load_112 | 29 | 0.0015519 | 0.00038894 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1-1_0_7_load_16 | 30 | 0.0014239 | 0.00035686 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1-1_0_7_load_17 | 31 | 0.00039364 | 9.8654e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1-1_0_7_load_20 | 34 | 0.00041565 | 0.00010417 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1-1_0_7_load_65 | 37 | 0.00039501 | 9.8998e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1-1_0_7_load_21 | 38 | 0.0010504 | 0.00026327 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1-1_0_7_load_35 | 41 | 0.00036868 | 9.2401e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1-1_0_7_load_24 | 43 | 0.00041542 | 0.00010411 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1-1_0_7_load_23 | 44 | 0.00036336 | 9.1065e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1-1_0_7_load_26 | 45 | 0.00035303 | 8.8477e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1-1_0_7_load_27 | 46 | 0.0012841 | 0.00032184 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1-1_0_7_load_28 | 47 | 0.0012699 | 0.00031826 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1-1_0_7_load_29 | 48 | 0.0025709 | 0.00064432 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1-1_0_7_load_34 | 49 | 0.0009142 | 0.00022912 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1-1_0_7_load_36 | 51 | 0.00113 | 0.0002832 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1-1_0_7_load_45 | 52 | 0.0016131 | 0.00040429 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1-1_0_7_load_77 | 54 | 0.0028755 | 0.00072068 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1-1_0_7_load_37 | 55 | 0.000396 | 9.9248e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1-1_0_7_load_38 | 56 | 0.00039223 | 9.8303e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1-1_0_7_load_39 | 57 | 0.00061733 | 0.00015472 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1-1_0_7_load_40 | 58 | 0.00041528 | 0.00010408 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1-1_0_7_load_41 | 59 | 0.0004932 | 0.00012361 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1-1_0_7_load_83 | 60 | 0.0031732 | 0.00079527 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1-1_0_7_load_42 | 62 | 0.00077256 | 0.00019362 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1-1_0_7_load_43 | 63 | 0.00054433 | 0.00013642 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1-1_0_7_load_46 | 64 | 0.002912 | 0.00072981 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1-1_0_7_load_47 | 65 | 0.0014711 | 0.00036868 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1-1_0_7_load_50 | 68 | 0.002648 | 0.00066364 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1-1_0_7_load_51 | 69 | 0.00064193 | 0.00016088 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1-1_0_7_load_61 | 71 | 0.0019222 | 0.00048176 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1-1_0_7_load_62 | 72 | 0.0034852 | 0.00087347 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1-1_0_7_load_52 | 73 | 0.0011168 | 0.0002799 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1-1_0_7_load_53 | 74 | 0.0099265 | 0.0024878 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1-1_0_7_load_54 | 75 | 0.0010918 | 0.00027362 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1-1_0_7_load_57 | 78 | 0.0038986 | 0.00097708 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1-1_0_7_load_59 | 79 | 0.00039068 | 9.7913e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1-1_0_7_load_80 | 80 | 0.0004809 | 0.00012053 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1-1_0_7_load_63 | 82 | 0.0024514 | 0.00061437 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1-1_0_7_load_64 | 83 | 0.00082102 | 0.00020577 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1-1_0_7_load_75 | 84 | 0.0028882 | 0.00072385 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1-1_0_7_load_76 | 85 | 0.0028991 | 0.00072658 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1-1_0_7_load_72 | 90 | 0.00083404 | 0.00020903 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1-1_0_7_load_73 | 91 | 0.00032664 | 8.1865e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1-1_0_7_load_71 | 92 | 0.0056785 | 0.0014232 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1-1_0_7_load_85 | 93 | 0.00042968 | 0.00010769 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1-1_0_7_load_82 | 94 | 0.0013356 | 0.00033473 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1-1_0_7_load_86 | 95 | 0.0016021 | 0.00040153 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1-1_0_7_load_119 | 96 | 0.048607 | 0.012182 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1-1_0_7_load_120 | 99 | 0.0017391 | 0.00043587 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1-1_0_7_load_118 | 100 | 0.005535 | 0.0013872 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1-1_0_7_load_116 | 102 | 0.0062733 | 0.0015722 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_1-1_0_7_load_115 | 103 | 0.0015198 | 0.0003809 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_1-1_0_7_load_105 | 105 | 0.0020022 | 0.0005018 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_1-1_0_7_load_106 | 106 | 0.01119 | 0.0028044 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_1-1_0_7_load_101 | 108 | 0.0015056 | 0.00037733 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_1-1_0_7_load_102 | 109 | 0.0018121 | 0.00045415 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_1-1_0_7_load_103 | 110 | 0.0017019 | 0.00042653 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_1-1_0_7_load_109 | 112 | 0.0015337 | 0.00038439 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_1-1_0_7_load_114 | 115 | 0.0015211 | 0.00038123 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_1-1_0_7_load_128 | 118 | 0.001175 | 0.00029449 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_1-1_0_7_load_127 | 120 | 0.00077024 | 0.00019304 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_1-1_0_7_load_152 | 121 | 0.00063212 | 0.00015843 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_1-1_0_7_load_113 | 123 | 0.0027773 | 0.00069606 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_1-1_0_7_load_132 | 125 | 0.017523 | 0.0043918 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_1-1_0_7_load_122 | 126 | 0.0015566 | 0.00039013 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_1-1_0_7_load_123 | 127 | 0.0063762 | 0.001598 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_1-1_0_7_load_148 | 128 | 0.00070313 | 0.00017622 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_1-1_0_7_load_139 | 130 | 0.0018591 | 0.00046593 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_1-1_0_7_load_153 | 131 | 0.0014061 | 0.0003524 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_1-1_0_7_load_130 | 132 | 0.00058233 | 0.00014595 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_1-1_0_7_load_131 | 133 | 0.00031613 | 7.923e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_1-1_0_7_load_157 | 135 | 0.0017089 | 0.00042829 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_1-1_0_7_load_158 | 136 | 0.0097713 | 0.0024489 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_1-1_0_7_load_140 | 138 | 0.0017836 | 0.00044702 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_1-1_0_7_load_134 | 139 | 0.0077486 | 0.001942 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_1-1_0_7_load_136 | 140 | 0.0098208 | 0.0024613 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_1-1_0_7_load_160 | 141 | 0.0064753 | 0.0016229 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_1-1_0_7_load_141 | 142 | 0.0027078 | 0.00067864 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_1-1_0_7_load_142 | 143 | 0.0033853 | 0.00084844 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_1-1_0_7_load_143 | 144 | 0.0014393 | 0.00036073 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_1-1_0_7_load_159 | 145 | 0.0029092 | 0.00072912 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_1-1_0_7_load_155 | 146 | 0.0010038 | 0.00025158 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_1-1_0_7_load_144 | 147 | 0.0011297 | 0.00028313 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_1-1_0_7_load_145 | 148 | 0.00053605 | 0.00013435 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_1-1_0_7_load_147 | 149 | 0.0056826 | 0.0014242 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_1-1_0_7_load_149 | 150 | 0.00066514 | 0.0001667 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_1-1_0_7_load_150 | 151 | 0.0012113 | 0.00030357 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_1-1_0_7_load_151 | 152 | 0.00048057 | 0.00012044 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1-1_0_7_line_0 |  | 0 | 1 | 0.020001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1-1_0_7_line_1 |  | 0 | 2 | 0.023064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1-1_0_7_line_2 |  | 1 | 3 | 0.056968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1-1_0_7_line_3 |  | 2 | 4 | 0.023228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1-1_0_7_line_4 |  | 2 | 5 | 0.042897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1-1_0_7_line_5 |  | 4 | 6 | 0.025379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1-1_0_7_line_6 |  | 4 | 7 | 0.027478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1-1_0_7_line_7 |  | 5 | 8 | 0.20407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1-1_0_7_line_8 |  | 7 | 9 | 0.014051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1-1_0_7_line_9 |  | 8 | 10 | 0.058819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1-1_0_7_line_10 |  | 9 | 11 | 0.025397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1-1_0_7_line_11 |  | 9 | 12 | 0.11029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1-1_0_7_line_12 |  | 10 | 13 | 0.07736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1-1_0_7_line_13 |  | 11 | 20 | 0.0099277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1-1_0_7_line_14 |  | 12 | 25 | 0.007256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1-1_0_7_line_15 |  | 12 | 26 | 0.041415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1-1_0_7_line_16 |  | 12 | 21 | 0.049034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1-1_0_7_line_17 |  | 13 | 77 | 0.035656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1-1_0_7_line_18 |  | 14 | 15 | 0.13155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1-1_0_7_line_19 |  | 14 | 16 | 0.02903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1-1_0_7_line_20 |  | 15 | 17 | 0.18135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1-1_0_7_line_21 |  | 15 | 18 | 0.11849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1-1_0_7_line_22 |  | 16 | 19 | 0.065505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1-1_0_7_line_23 |  | 17 | 96 | 0.014959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1-1_0_7_line_24 |  | 18 | 97 | 0.039357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1-1_0_7_line_25 |  | 21 | 22 | 0.030328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1-1_0_7_line_26 |  | 21 | 23 | 0.043129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1-1_0_7_line_27 |  | 21 | 24 | 0.014223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1-1_0_7_line_28 |  | 22 | 27 | 0.018598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1-1_0_7_line_29 |  | 25 | 28 | 0.016832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1-1_0_7_line_30 |  | 25 | 29 | 0.0036408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1-1_0_7_line_31 |  | 27 | 108 | 0.0097358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1-1_0_7_line_32 |  | 28 | 103 | 0.0060381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1-1_0_7_line_33 |  | 29 | 102 | 0.012414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1-1_0_7_line_34 |  | 30 | 31 | 0.0024553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1-1_0_7_line_35 |  | 30 | 32 | 0.008799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1-1_0_7_line_36 |  | 31 | 33 | 0.095629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1-1_0_7_line_37 |  | 32 | 34 | 0.041089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1-1_0_7_line_38 |  | 33 | 38 | 0.11397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1-1_0_7_line_39 |  | 33 | 35 | 0.25518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1-1_0_7_line_40 |  | 34 | 39 | 0.025169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1-1_0_7_line_41 |  | 35 | 36 | 0.10454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1-1_0_7_line_42 |  | 35 | 37 | 0.15879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1-1_0_7_line_43 |  | 36 | 92 | 0.023755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1-1_0_7_line_44 |  | 37 | 87 | 0.060157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1-1_0_7_line_45 |  | 39 | 43 | 0.011782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1-1_0_7_line_46 |  | 40 | 41 | 0.046288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1-1_0_7_line_47 |  | 40 | 42 | 0.019771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1-1_0_7_line_48 |  | 41 | 51 | 0.010509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1-1_0_7_line_49 |  | 42 | 48 | 0.019734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1-1_0_7_line_50 |  | 43 | 44 | 0.030986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1-1_0_7_line_51 |  | 45 | 46 | 0.01371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1-1_0_7_line_52 |  | 46 | 47 | 0.00046335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1-1_0_7_line_53 |  | 47 | 48 | 0.012198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1-1_0_7_line_54 |  | 49 | 50 | 0.0026666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1-1_0_7_line_55 |  | 50 | 54 | 0.019607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1-1_0_7_line_56 |  | 51 | 55 | 0.007953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1-1_0_7_line_57 |  | 52 | 53 | 0.022352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1-1_0_7_line_58 |  | 53 | 64 | 0.016975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1-1_0_7_line_59 |  | 53 | 62 | 0.033804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1-1_0_7_line_60 |  | 54 | 85 | 0.0030004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1-1_0_7_line_61 |  | 55 | 56 | 0.0035298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1-1_0_7_line_62 |  | 56 | 57 | 0.021403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1-1_0_7_line_63 |  | 57 | 58 | 0.020481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1-1_0_7_line_64 |  | 58 | 59 | 0.0070749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1-1_0_7_line_65 |  | 59 | 60 | 0.0078969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1-1_0_7_line_66 |  | 60 | 61 | 0.025497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1-1_0_7_line_67 |  | 61 | 93 | 0.024355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1-1_0_7_line_68 |  | 61 | 91 | 0.0095534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1-1_0_7_line_69 |  | 62 | 63 | 0.0052345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1-1_0_7_line_70 |  | 64 | 65 | 0.021558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1-1_0_7_line_71 |  | 65 | 66 | 0.011667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1-1_0_7_line_72 |  | 66 | 67 | 0.1116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1-1_0_7_line_73 |  | 67 | 68 | 0.014594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1-1_0_7_line_74 |  | 67 | 69 | 0.011419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1-1_0_7_line_75 |  | 69 | 70 | 0.035008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1-1_0_7_line_76 |  | 70 | 71 | 0.01002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1-1_0_7_line_77 |  | 70 | 72 | 0.0063914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1-1_0_7_line_78 |  | 71 | 82 | 0.027415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1-1_0_7_line_79 |  | 72 | 83 | 0.015053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1-1_0_7_line_80 |  | 73 | 74 | 0.044205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1-1_0_7_line_81 |  | 73 | 75 | 0.0094491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1-1_0_7_line_82 |  | 74 | 76 | 0.041588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1-1_0_7_line_83 |  | 75 | 77 | 0.038944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1-1_0_7_line_84 |  | 76 | 78 | 0.035625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1-1_0_7_line_85 |  | 77 | 79 | 0.01975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1-1_0_7_line_86 |  | 79 | 80 | 0.008844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1-1_0_7_line_87 |  | 80 | 81 | 0.007646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_1-1_0_7_line_88 |  | 81 | 86 | 0.009814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_1-1_0_7_line_89 |  | 81 | 83 | 0.014662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_1-1_0_7_line_90 |  | 82 | 84 | 0.0059866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_1-1_0_7_line_91 |  | 84 | 85 | 0.0048361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_1-1_0_7_line_92 |  | 86 | 94 | 0.0053008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_1-1_0_7_line_93 |  | 86 | 95 | 0.022478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_1-1_0_7_line_94 |  | 87 | 88 | 0.072397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_1-1_0_7_line_95 |  | 87 | 89 | 0.022477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_1-1_0_7_line_96 |  | 88 | 90 | 0.14338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_1-1_0_7_line_97 |  | 89 | 91 | 0.090612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_1-1_0_7_line_98 |  | 93 | 95 | 0.0038282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_1-1_0_7_line_99 |  | 96 | 100 | 0.024887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_1-1_0_7_line_100 |  | 97 | 98 | 0.10493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_1-1_0_7_line_101 |  | 98 | 99 | 0.074331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_1-1_0_7_line_102 |  | 100 | 101 | 0.01505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_1-1_0_7_line_103 |  | 101 | 102 | 0.024602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_1-1_0_7_line_104 |  | 103 | 123 | 0.0022143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_1-1_0_7_line_105 |  | 104 | 105 | 0.066371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_1-1_0_7_line_106 |  | 104 | 106 | 0.047902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_1-1_0_7_line_107 |  | 104 | 107 | 0.004604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_1-1_0_7_line_108 |  | 105 | 111 | 0.055121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_1-1_0_7_line_109 |  | 107 | 112 | 0.10511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
110 | LV_1-1_0_7_line_110 |  | 107 | 113 | 0.012429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_1-1_0_7_line_111 |  | 108 | 109 | 0.02512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_1-1_0_7_line_112 |  | 109 | 110 | 0.028937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_1-1_0_7_line_113 |  | 111 | 114 | 0.0045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_1-1_0_7_line_114 |  | 112 | 115 | 0.0090891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
115 | LV_1-1_0_7_line_115 |  | 113 | 116 | 0.01853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_1-1_0_7_line_116 |  | 114 | 117 | 0.07811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_1-1_0_7_line_117 |  | 114 | 118 | 0.030733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_1-1_0_7_line_118 |  | 115 | 123 | 0.004106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
119 | LV_1-1_0_7_line_119 |  | 116 | 124 | 0.046058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_1-1_0_7_line_120 |  | 116 | 125 | 0.012945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_1-1_0_7_line_121 |  | 117 | 130 | 0.0060972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_1-1_0_7_line_122 |  | 119 | 120 | 0.013944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_1-1_0_7_line_123 |  | 119 | 121 | 0.050894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_1-1_0_7_line_124 |  | 119 | 122 | 0.18516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_1-1_0_7_line_125 |  | 121 | 131 | 0.0015026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_1-1_0_7_line_126 |  | 122 | 132 | 0.01739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_1-1_0_7_line_127 |  | 124 | 140 | 0.009735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_1-1_0_7_line_128 |  | 124 | 137 | 0.002404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_1-1_0_7_line_129 |  | 125 | 139 | 0.037959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_1-1_0_7_line_130 |  | 126 | 127 | 0.012284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_1-1_0_7_line_131 |  | 127 | 128 | 0.025295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_1-1_0_7_line_132 |  | 128 | 129 | 0.012337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_1-1_0_7_line_133 |  | 129 | 150 | 0.017449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_1-1_0_7_line_134 |  | 129 | 147 | 0.0053928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_1-1_0_7_line_135 |  | 130 | 138 | 0.026621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_1-1_0_7_line_136 |  | 131 | 154 | 0.01026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_1-1_0_7_line_137 |  | 132 | 133 | 0.010984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_1-1_0_7_line_138 |  | 134 | 135 | 0.018735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_1-1_0_7_line_139 |  | 134 | 136 | 0.009423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_1-1_0_7_line_140 |  | 134 | 137 | 0.029905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_1-1_0_7_line_141 |  | 137 | 141 | 0.019509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_1-1_0_7_line_142 |  | 138 | 142 | 0.013446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_1-1_0_7_line_143 |  | 142 | 143 | 0.0041212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_1-1_0_7_line_144 |  | 143 | 144 | 0.013945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_1-1_0_7_line_145 |  | 144 | 145 | 0.019216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_1-1_0_7_line_146 |  | 145 | 146 | 0.013529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_1-1_0_7_line_147 |  | 146 | 154 | 0.01537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_1-1_0_7_line_148 |  | 147 | 148 | 0.015964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_1-1_0_7_line_149 |  | 148 | 149 | 0.027419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_1-1_0_7_line_150 |  | 149 | 151 | 0.059248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_1-1_0_7_line_151 |  | 150 | 152 | 0.020217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_1-1_0_7_line_152 |  | 152 | 153 | 0.017595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_1-1_0_7_line_153 |  | 153 | 154 | 0.003534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1-1_0_7_trafo_11 | 0.63 MVA 20/0.4 kV | 155 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2679153.9016 | 1237559.7686 | 2679167.2943 | 1237574.6238
1 | 2679148.9967 | 1237537.2319 | 2679153.9016 | 1237559.7686
2 | 2679167.2943 | 1237574.6238 | 2679170.4907 | 1237578.1692 | 2679173.7649 | 1237586.2518 | 2679173.2397 | 1237593.2942 | 2679171.6216 | 1237600.0218 | 2679167.1419 | 1237608.0121 | 2679161.9644 | 1237615.5707 | 2679156.0143 | 1237622.6185 | 2679154.6613 | 1237624.0178
3 | 2679148.9967 | 1237537.2319 | 2679171.7535 | 1237532.265
4 | 2679107.8873 | 1237529.5011 | 2679115.1563 | 1237533.623 | 2679122.9053 | 1237536.9285 | 2679130.5846 | 1237538.0872 | 2679139.291 | 1237538.2477 | 2679148.9967 | 1237537.2319
5 | 2679171.7535 | 1237532.265 | 2679172.8115 | 1237546.5446 | 2679174.8709 | 1237550.4081 | 2679181.1185 | 1237552.8264
6 | 2679171.7535 | 1237532.265 | 2679194.564 | 1237527.2544 | 2679198.6231 | 1237526.529
7 | 2679107.8873 | 1237529.5011 | 2679099.6907 | 1237529.6921 | 2679094.1717 | 1237528.2398 | 2679046.1339 | 1237507.2746 | 2679034.726 | 1237500.318 | 2679002.7703 | 1237472.1955 | 2678952.6186 | 1237407.5452
8 | 2679212.4551 | 1237524.0573 | 2679198.6231 | 1237526.529
9 | 2678906.8558 | 1237371.895 | 2678918.8156 | 1237377.202 | 2678928.8779 | 1237383.529 | 2678940.2843 | 1237393.4653 | 2678951.8381 | 1237406.5391 | 2678952.6186 | 1237407.5452
10 | 2679212.4551 | 1237524.0573 | 2679207.9412 | 1237499.0651
11 | 2679212.4551 | 1237524.0573 | 2679231.6656 | 1237520.6333 | 2679257.114 | 1237523.1968 | 2679271.3941 | 1237528.6467 | 2679284.7973 | 1237534.0405 | 2679297.3705 | 1237542.0917 | 2679314.6623 | 1237553.1637
12 | 2678906.8558 | 1237371.895 | 2678906.471 | 1237369.5326 | 2678891.721 | 1237354.4151 | 2678880.6267 | 1237342.615 | 2678854.4223 | 1237315.5816
13 | 2679206.1767 | 1237489.2955 | 2679207.9412 | 1237499.0651
14 | 2679319.3166 | 1237558.7408 | 2679314.6623 | 1237553.1637
15 | 2679314.6623 | 1237553.1637 | 2679323.9315 | 1237543.4806 | 2679332.6463 | 1237544.1419 | 2679348.7493 | 1237533.5555
16 | 2679314.6623 | 1237553.1637 | 2679297.3705 | 1237542.0917 | 2679305.2115 | 1237536.2367 | 2679309.4475 | 1237531.212 | 2679320.9908 | 1237527.4412
17 | 2678833.652 | 1237292.701 | 2678836.0858 | 1237299.7383 | 2678834.1341 | 1237304.26 | 2678853.6144 | 1237314.7481 | 2678854.4223 | 1237315.5816
18 | 2679046.0221 | 1237769.657 | 2679058.5248 | 1237765.3759 | 2679085.1541 | 1237750.2086 | 2679110.0141 | 1237743.4905 | 2679133.3029 | 1237740.5542 | 2679144.8223 | 1237741.3749 | 2679156.4506 | 1237745.933 | 2679170.2487 | 1237751.1872
19 | 2679046.0221 | 1237769.657 | 2679050.947 | 1237775.371 | 2679068.9328 | 1237787.1263
20 | 2679275.1371 | 1237609.8314 | 2679239.1589 | 1237654.1936 | 2679207.4418 | 1237696.2112 | 2679197.8205 | 1237709.6367 | 2679188.4195 | 1237726.401 | 2679175.437 | 1237753.5914 | 2679170.2487 | 1237751.1872
21 | 2679170.2487 | 1237751.1872 | 2679159.5695 | 1237778.1416 | 2679137.8263 | 1237841.0738 | 2679129.5595 | 1237862.4497
22 | 2679068.9328 | 1237787.1263 | 2679094.3445 | 1237803.7352 | 2679127.7105 | 1237814.7804
23 | 2679275.1371 | 1237609.8314 | 2679287.1212 | 1237618.364 | 2679287.2747 | 1237618.1696
24 | 2679121.7285 | 1237892.5844 | 2679114.5324 | 1237890.3981 | 2679118.5708 | 1237881.4457 | 2679127.9141 | 1237866.7042 | 2679129.5595 | 1237862.4497
25 | 2679320.9908 | 1237527.4412 | 2679327.5769 | 1237524.9052 | 2679346.8918 | 1237511.9263
26 | 2679320.9908 | 1237527.4412 | 2679321.1155 | 1237512.4435 | 2679312.0941 | 1237499.047 | 2679309.0096 | 1237492.0676 | 2679309.0636 | 1237487.7191
27 | 2679320.9908 | 1237527.4412 | 2679307.169 | 1237524.0858
28 | 2679346.8918 | 1237511.9263 | 2679356.2451 | 1237505.6412 | 2679362.3841 | 1237501.6373
29 | 2679319.3166 | 1237558.7408 | 2679332.8829 | 1237548.7776
30 | 2679319.3166 | 1237558.7408 | 2679316.7358 | 1237561.3089
31 | 2679362.3841 | 1237501.6373 | 2679370.5387 | 1237496.3187
32 | 2679332.8829 | 1237548.7776 | 2679337.7496 | 1237545.2034
33 | 2679307.9363 | 1237570.0652 | 2679316.7358 | 1237561.3089
34 | 2678594.9121 | 1236874.8411 | 2678594.428 | 1236874.7507 | 2678592.467 | 1236874.8359 | 2678592.467 | 1236874.8359
35 | 2678584.1954 | 1236877.773 | 2678586.7598 | 1236876.6839 | 2678590.0228 | 1236875.4151 | 2678592.467 | 1236874.8359
36 | 2678683.2387 | 1236877.7505 | 2678670.723 | 1236886.3241 | 2678665.683 | 1236889.782 | 2678662.0801 | 1236891.58 | 2678659.1478 | 1236892.4418 | 2678655.7729 | 1236893.0197 | 2678652.6994 | 1236893.1235 | 2678648.7172 | 1236892.7038 | 2678643.3672 | 1236891.5767 | 2678623.0892 | 1236884.6257 | 2678600.4162 | 1236876.2532 | 2678596.4132 | 1236875.1217 | 2678594.9121 | 1236874.8411
37 | 2678584.1954 | 1236877.773 | 2678581.9762 | 1236877.9326 | 2678579.8601 | 1236877.1597 | 2678578.2321 | 1236876.1041 | 2678576.1764 | 1236874.1978 | 2678574.4049 | 1236871.4057 | 2678563.9857 | 1236844.8135
38 | 2678683.2387 | 1236877.7505 | 2678675.0803 | 1236851.5797 | 2678662.3519 | 1236795.1051 | 2678655.1041 | 1236767.3683
39 | 2678924.2182 | 1236961.6832 | 2678683.2387 | 1236877.7505
40 | 2678556.6953 | 1236820.7362 | 2678562.7299 | 1236841.6083 | 2678563.9857 | 1236844.8135
41 | 2678924.2182 | 1236961.6832 | 2678943.9943 | 1236977.3124 | 2678947.604 | 1236979.5619 | 2678952.4959 | 1236976.4359 | 2678961.8708 | 1236959.9601 | 2678966.1886 | 1236958.472 | 2679004.44 | 1236960.0816 | 2679011.3412 | 1236963.4758
42 | 2678924.2182 | 1236961.6832 | 2678921.8859 | 1236965.2325 | 2678917.018 | 1236972.8175 | 2678899.0306 | 1237010.4827 | 2678896.6652 | 1237019.9357 | 2678897.875 | 1237031.3931 | 2678903.1491 | 1237049.031 | 2678903.187 | 1237060.9844 | 2678896.4058 | 1237077.0388 | 2678887.7485 | 1237097.049 | 2678886.7825 | 1237109.9426
43 | 2679011.3412 | 1236963.4758 | 2679009.9059 | 1236973.5304 | 2679009.5358 | 1236987.1239
44 | 2678892.2354 | 1237169.3702 | 2678888.0342 | 1237154.7042 | 2678885.6422 | 1237125.1629 | 2678886.7825 | 1237109.9426
45 | 2678556.6953 | 1236820.7362 | 2678567.2978 | 1236815.597
46 | 2678673.1282 | 1237210.738 | 2678679.6622 | 1237211.5696 | 2678719.2221 | 1237214.9232
47 | 2678672.957 | 1237230.5052 | 2678673.1282 | 1237210.738
48 | 2678729.6932 | 1237215.8108 | 2678719.2221 | 1237214.9232
49 | 2678672.957 | 1237230.5052 | 2678691.1823 | 1237232.9594 | 2678692.3695 | 1237233.5891
50 | 2678585.2875 | 1236793.6564 | 2678584.6058 | 1236799.3126 | 2678583.6644 | 1236802.9805 | 2678582.3704 | 1236806.4102 | 2678579.8524 | 1236809.1343 | 2678575.0722 | 1236811.8286 | 2678567.2978 | 1236815.597
51 | 2678703.5548 | 1237239.5229 | 2678706.187 | 1237240.9192 | 2678716.4375 | 1237244.0931
52 | 2678703.5548 | 1237239.5229 | 2678703.1455 | 1237239.3058
53 | 2678692.3695 | 1237233.5891 | 2678703.1455 | 1237239.3058
54 | 2678747.0693 | 1237292.7639 | 2678744.4462 | 1237292.284
55 | 2678747.0693 | 1237292.7639 | 2678745.5361 | 1237309.6665 | 2678745.5011 | 1237312.3012
56 | 2678729.6932 | 1237215.8108 | 2678737.6178 | 1237216.4826
57 | 2678655.6504 | 1237425.4122 | 2678649.9337 | 1237418.8764 | 2678640.1781 | 1237409.3027
58 | 2678655.6504 | 1237425.4122 | 2678668.8304 | 1237436.11
59 | 2678655.6504 | 1237425.4122 | 2678669.4364 | 1237404.2578 | 2678672.3053 | 1237401.8719 | 2678676.9889 | 1237400.722
60 | 2678745.5011 | 1237312.3012 | 2678745.5011 | 1237312.3012 | 2678746.4774 | 1237315.1384 | 2678746.4774 | 1237315.1384
61 | 2678741.135 | 1237216.7808 | 2678737.6178 | 1237216.4826
62 | 2678741.135 | 1237216.7808 | 2678743.8747 | 1237217.013 | 2678757.7712 | 1237218.9542 | 2678761.3349 | 1237221.8983
63 | 2678761.3349 | 1237221.8983 | 2678766.8947 | 1237226.4915 | 2678778.2763 | 1237233.3136
64 | 2678784.3446 | 1237236.9509 | 2678778.2763 | 1237233.3136
65 | 2678784.3446 | 1237236.9509 | 2678791.118 | 1237241.0108
66 | 2678810.746 | 1237256.9944 | 2678800.1495 | 1237246.4242 | 2678791.118 | 1237241.0108
67 | 2678810.746 | 1237256.9944 | 2678794.7577 | 1237271.8482 | 2678793.7629 | 1237274.1767
68 | 2678810.746 | 1237256.9944 | 2678817.7742 | 1237250.5236
69 | 2678676.9889 | 1237400.722 | 2678676.9889 | 1237400.722 | 2678680.6361 | 1237401.2707 | 2678681.8645 | 1237402.2098
70 | 2678668.8304 | 1237436.11 | 2678675.3003 | 1237441.3614 | 2678685.61 | 1237449.6444
71 | 2678694.7051 | 1237456.9515 | 2678685.61 | 1237449.6444
72 | 2678694.7051 | 1237456.9515 | 2678748.3442 | 1237409.985 | 2678756.8071 | 1237401.1354 | 2678766.8486 | 1237383.9454 | 2678771.007 | 1237376.7622
73 | 2678771.007 | 1237376.7622 | 2678758.1382 | 1237369.809
74 | 2678771.007 | 1237376.7622 | 2678776.7292 | 1237366.8801
75 | 2678789.3202 | 1237334.3532 | 2678780.8338 | 1237359.7918 | 2678776.7292 | 1237366.8801
76 | 2678789.3202 | 1237334.3532 | 2678782.3726 | 1237332.204 | 2678780.2024 | 1237330.5195
77 | 2678789.3202 | 1237334.3532 | 2678791.5993 | 1237328.3819
78 | 2678780.2024 | 1237330.5195 | 2678775.3478 | 1237326.7515 | 2678768.2161 | 1237320.7972 | 2678756.4015 | 1237318.8166
79 | 2678791.5993 | 1237328.3819 | 2678794.8937 | 1237319.7502 | 2678796.6819 | 1237314.2177
80 | 2678881.2571 | 1237284.2414 | 2678884.609 | 1237283.7823 | 2678911.1024 | 1237281.2435 | 2678925.3075 | 1237281.0404
81 | 2678871.8953 | 1237285.5234 | 2678881.2571 | 1237284.2414
82 | 2678966.5092 | 1237285.9274 | 2678950.7287 | 1237282.86 | 2678930.8468 | 1237280.9611 | 2678925.3075 | 1237281.0404
83 | 2678833.652 | 1237292.701 | 2678856.1151 | 1237287.6845 | 2678871.8953 | 1237285.5234
84 | 2678966.5092 | 1237285.9274 | 2678991.4101 | 1237295.0315 | 2678999.3944 | 1237299.4233
85 | 2678833.652 | 1237292.701 | 2678814.4817 | 1237297.4529
86 | 2678805.7911 | 1237299.0104 | 2678810.7034 | 1237298.3894 | 2678814.4817 | 1237297.4529
87 | 2678798.2055 | 1237299.9692 | 2678805.7911 | 1237299.0104
88 | 2678798.2055 | 1237299.9692 | 2678788.3638 | 1237299.8052
89 | 2678798.2055 | 1237299.9692 | 2678799.0125 | 1237307.007 | 2678796.6819 | 1237314.2177
90 | 2678756.4015 | 1237318.8166 | 2678750.4973 | 1237317.8269
91 | 2678746.4774 | 1237315.1384 | 2678750.4973 | 1237317.8269 | 2678750.4973 | 1237317.8269
92 | 2678788.3638 | 1237299.8052 | 2678783.0932 | 1237299.241
93 | 2678788.3638 | 1237299.8052 | 2678789.5892 | 1237289.5699 | 2678792.2588 | 1237277.697 | 2678792.2588 | 1237277.697
94 | 2678892.2354 | 1237169.3702 | 2678908.4384 | 1237160.0344 | 2678949.4882 | 1237125.2221
95 | 2678892.2354 | 1237169.3702 | 2678875.5937 | 1237178.7002 | 2678872.531 | 1237180.2829
96 | 2678949.4882 | 1237125.2221 | 2678965.7522 | 1237118.7115 | 2678972.8101 | 1237113.157 | 2678984.8501 | 1237101.6646 | 2678990.2707 | 1237098.0341 | 2678996.2785 | 1237096.335 | 2679012.5411 | 1237095.0504 | 2679019.2576 | 1237093.5498 | 2679037.3007 | 1237087.5411 | 2679051.7557 | 1237084.498 | 2679077.0771 | 1237080.2653 | 2679081.659 | 1237078.8002
97 | 2678872.531 | 1237180.2829 | 2678862.291 | 1237204.3972 | 2678852.5088 | 1237218.5439 | 2678817.7742 | 1237250.5236
98 | 2678792.2588 | 1237277.697 | 2678793.7629 | 1237274.1767
99 | 2679287.2747 | 1237618.1696 | 2679294.8481 | 1237608.5825 | 2679302.5784 | 1237598.5453
100 | 2679121.7285 | 1237892.5844 | 2679141.4127 | 1237843.3232 | 2679190.557 | 1237859.9453
101 | 2679190.557 | 1237859.9453 | 2679211.3243 | 1237788.5746
102 | 2679291.5017 | 1237588.3569 | 2679302.5784 | 1237598.5453
103 | 2679291.5017 | 1237588.3569 | 2679303.9576 | 1237574.0243 | 2679307.9363 | 1237570.0652
104 | 2679339.5343 | 1237543.8927 | 2679337.7496 | 1237545.2034
105 | 2679445.6254 | 1237493.0715 | 2679467.637 | 1237488.9853 | 2679490.524 | 1237482.2423 | 2679509.2187 | 1237474.7943
106 | 2679445.6254 | 1237493.0715 | 2679439.2233 | 1237464.3213 | 2679456.77 | 1237458.6273
107 | 2679446.7155 | 1237497.5448 | 2679445.6254 | 1237493.0715
108 | 2679560.5735 | 1237454.9942 | 2679551.8115 | 1237457.2785 | 2679543.6005 | 1237460.2262 | 2679512.827 | 1237473.3567 | 2679509.2187 | 1237474.7943
109 | 2679446.7155 | 1237497.5448 | 2679424.7611 | 1237501.8876 | 2679411.463 | 1237504.4783 | 2679393.0318 | 1237511.2811 | 2679376.9251 | 1237519.6496 | 2679350.3137 | 1237536.2947
110 | 2679459.0289 | 1237495.6081 | 2679446.7155 | 1237497.5448
111 | 2679390.5995 | 1237481.2372 | 2679376.609 | 1237492.3595 | 2679370.5387 | 1237496.3187
112 | 2679390.5995 | 1237481.2372 | 2679400.2397 | 1237473.5733 | 2679408.9154 | 1237465.2834 | 2679411.3868 | 1237461.3777
113 | 2679560.5735 | 1237454.9942 | 2679562.646 | 1237458.9915
114 | 2679350.3137 | 1237536.2947 | 2679347.3898 | 1237538.1235 | 2679342.8437 | 1237541.4622
115 | 2679459.0289 | 1237495.6081 | 2679462.3788 | 1237513.8323
116 | 2679606.5883 | 1237520.6456 | 2679598.4687 | 1237517.9127 | 2679592.0093 | 1237512.678 | 2679584.5685 | 1237502.2043 | 2679562.646 | 1237458.9915
117 | 2679562.646 | 1237458.9915 | 2679544.1078 | 1237464.7139 | 2679533.6542 | 1237469.0884
118 | 2679339.5343 | 1237543.8927 | 2679342.8437 | 1237541.4622
119 | 2679462.3788 | 1237513.8323 | 2679467.3417 | 1237515.5666 | 2679497.3544 | 1237526.4536 | 2679505.5085 | 1237522.66
120 | 2679462.3788 | 1237513.8323 | 2679452.8344 | 1237522.5775
121 | 2679606.5883 | 1237520.6456 | 2679612.6642 | 1237520.1368
122 | 2679689.7557 | 1237437.7358 | 2679675.9454 | 1237439.6651
123 | 2679689.7557 | 1237437.7358 | 2679703.2558 | 1237471.9632 | 2679708.2905 | 1237481.871 | 2679709.7523 | 1237484.4752
124 | 2679689.7557 | 1237437.7358 | 2679662.9858 | 1237254.5261
125 | 2679709.7523 | 1237484.4752 | 2679710.4878 | 1237485.7855
126 | 2679662.9858 | 1237254.5261 | 2679675.8837 | 1237249.6734 | 2679679.2563 | 1237248.3877
127 | 2679505.5085 | 1237522.66 | 2679509.0642 | 1237531.7251
128 | 2679505.5085 | 1237522.66 | 2679507.6936 | 1237521.6441
129 | 2679429.6051 | 1237544.1709 | 2679436.545 | 1237523.6826 | 2679452.8344 | 1237522.5775
130 | 2679678.5431 | 1237570.7778 | 2679689.9761 | 1237566.2853
131 | 2679713.5184 | 1237557.0346 | 2679689.9761 | 1237566.2853
132 | 2679725.0011 | 1237552.5226 | 2679713.5184 | 1237557.0346
133 | 2679725.0011 | 1237552.5226 | 2679724.6337 | 1237543.8227 | 2679723.2237 | 1237535.1955
134 | 2679725.0011 | 1237552.5226 | 2679724.4327 | 1237557.8854
135 | 2679638.7761 | 1237515.0677 | 2679615.9733 | 1237519.8597 | 2679612.6642 | 1237520.1368
136 | 2679715.5099 | 1237494.7325 | 2679710.4878 | 1237485.7855
137 | 2679689.5201 | 1237244.4749 | 2679679.2563 | 1237248.3877
138 | 2679534.8665 | 1237508.9879 | 2679528.1593 | 1237495.1439 | 2679525.1652 | 1237496.6827
139 | 2679534.8665 | 1237508.9879 | 2679537.1728 | 1237518.1252
140 | 2679507.6936 | 1237521.6441 | 2679534.8665 | 1237508.9879
141 | 2679507.6936 | 1237521.6441 | 2679503.5925 | 1237505.8448 | 2679500.5819 | 1237506.9164
142 | 2679638.7761 | 1237515.0677 | 2679640.4429 | 1237514.7174 | 2679643.9378 | 1237514.2084 | 2679651.5533 | 1237511.1395
143 | 2679651.5533 | 1237511.1395 | 2679655.3759 | 1237509.5991
144 | 2679668.7071 | 1237505.6101 | 2679659.6924 | 1237507.8596 | 2679655.3759 | 1237509.5991
145 | 2679668.7071 | 1237505.6101 | 2679678.1702 | 1237503.2486 | 2679687.5142 | 1237501.7553
146 | 2679700.7156 | 1237498.9002 | 2679694.6012 | 1237500.6227 | 2679687.5142 | 1237501.7553
147 | 2679715.5099 | 1237494.7325 | 2679700.7156 | 1237498.9002
148 | 2679724.4327 | 1237557.8854 | 2679723.5455 | 1237566.2572 | 2679721.0931 | 1237573.3931
149 | 2679711.5921 | 1237598.8641 | 2679713.4368 | 1237589.3933 | 2679719.837 | 1237577.0483 | 2679721.0931 | 1237573.3931
150 | 2679711.5921 | 1237598.8641 | 2679723.0804 | 1237600.8863 | 2679770.6228 | 1237598.9244
151 | 2679719.9627 | 1237515.2431 | 2679723.2237 | 1237535.1955
152 | 2679717.1246 | 1237497.8786 | 2679719.9627 | 1237515.2431
153 | 2679717.1246 | 1237497.8786 | 2679715.5099 | 1237494.7325

## bus_geodata
| x | y | coords
0 | 2679153.9016 | 1237559.7686
1 | 2679167.2943 | 1237574.6238
2 | 2679148.9967 | 1237537.2319
3 | 2679154.6613 | 1237624.0178
4 | 2679171.7535 | 1237532.265
5 | 2679107.8873 | 1237529.5011
6 | 2679181.1185 | 1237552.8264
7 | 2679198.6231 | 1237526.529
8 | 2678952.6186 | 1237407.5452
9 | 2679212.4551 | 1237524.0573
10 | 2678906.8558 | 1237371.895
11 | 2679207.9412 | 1237499.0651
12 | 2679314.6623 | 1237553.1637
13 | 2678854.4223 | 1237315.5816
14 | 2679046.0221 | 1237769.657
15 | 2679170.2487 | 1237751.1873
16 | 2679068.9328 | 1237787.1263
17 | 2679275.1371 | 1237609.8314
18 | 2679129.5595 | 1237862.4497
19 | 2679127.7105 | 1237814.7804
20 | 2679206.1767 | 1237489.2955
21 | 2679320.9908 | 1237527.4412
22 | 2679346.8918 | 1237511.9263
23 | 2679309.0636 | 1237487.7191
24 | 2679307.169 | 1237524.0858
25 | 2679319.3166 | 1237558.7408
26 | 2679348.7493 | 1237533.5555
27 | 2679362.3841 | 1237501.6373
28 | 2679332.8829 | 1237548.7776
29 | 2679316.7358 | 1237561.3089
30 | 2678592.467 | 1236874.8359
31 | 2678594.9121 | 1236874.8411
32 | 2678584.1954 | 1236877.773
33 | 2678683.2387 | 1236877.7505
34 | 2678563.9857 | 1236844.8135
35 | 2678924.2182 | 1236961.6832
36 | 2679011.3412 | 1236963.4758
37 | 2678886.7825 | 1237109.9426
38 | 2678655.1041 | 1236767.3683
39 | 2678556.6953 | 1236820.7362
40 | 2678673.1282 | 1237210.738
41 | 2678719.2221 | 1237214.9232
42 | 2678672.957 | 1237230.5052
43 | 2678567.2978 | 1236815.597
44 | 2678585.2875 | 1236793.6564
45 | 2678716.4376 | 1237244.0931
46 | 2678703.5548 | 1237239.5229
47 | 2678703.1455 | 1237239.3058
48 | 2678692.3695 | 1237233.5891
49 | 2678744.4462 | 1237292.284
50 | 2678747.0693 | 1237292.7639
51 | 2678729.6932 | 1237215.8108
52 | 2678640.1781 | 1237409.3027
53 | 2678655.6504 | 1237425.4122
54 | 2678745.5011 | 1237312.3012
55 | 2678737.6178 | 1237216.4826
56 | 2678741.135 | 1237216.7808
57 | 2678761.3349 | 1237221.8983
58 | 2678778.2763 | 1237233.3136
59 | 2678784.3446 | 1237236.9509
60 | 2678791.118 | 1237241.0108
61 | 2678810.746 | 1237256.9944
62 | 2678676.9889 | 1237400.722
63 | 2678681.8645 | 1237402.2098
64 | 2678668.8304 | 1237436.11
65 | 2678685.61 | 1237449.6444
66 | 2678694.7051 | 1237456.9515
67 | 2678771.007 | 1237376.7622
68 | 2678758.1382 | 1237369.809
69 | 2678776.7292 | 1237366.8801
70 | 2678789.3202 | 1237334.3532
71 | 2678780.2024 | 1237330.5195
72 | 2678791.5993 | 1237328.3819
73 | 2678881.2571 | 1237284.2414
74 | 2678925.3075 | 1237281.0404
75 | 2678871.8953 | 1237285.5234
76 | 2678966.5092 | 1237285.9274
77 | 2678833.652 | 1237292.701
78 | 2678999.3944 | 1237299.4233
79 | 2678814.4817 | 1237297.4529
80 | 2678805.7911 | 1237299.0104
81 | 2678798.2055 | 1237299.9692
82 | 2678756.4015 | 1237318.8166
83 | 2678796.6819 | 1237314.2177
84 | 2678750.4973 | 1237317.8269
85 | 2678746.4774 | 1237315.1384
86 | 2678788.3638 | 1237299.8052
87 | 2678892.2354 | 1237169.3702
88 | 2678949.4882 | 1237125.2221
89 | 2678872.531 | 1237180.2829
90 | 2679081.659 | 1237078.8002
91 | 2678817.7742 | 1237250.5236
92 | 2679009.5358 | 1236987.1238
93 | 2678793.7629 | 1237274.1767
94 | 2678783.0932 | 1237299.241
95 | 2678792.2589 | 1237277.697
96 | 2679287.2747 | 1237618.1696
97 | 2679121.7285 | 1237892.5844
98 | 2679190.557 | 1237859.9453
99 | 2679211.3243 | 1237788.5746
100 | 2679302.5784 | 1237598.5453
101 | 2679291.5017 | 1237588.3569
102 | 2679307.9363 | 1237570.0652
103 | 2679337.7496 | 1237545.2034
104 | 2679445.6254 | 1237493.0715
105 | 2679509.2187 | 1237474.7943
106 | 2679456.77 | 1237458.6273
107 | 2679446.7155 | 1237497.5448
108 | 2679370.5387 | 1237496.3187
109 | 2679390.5995 | 1237481.2372
110 | 2679411.3868 | 1237461.3777
111 | 2679560.5735 | 1237454.9942
112 | 2679350.3137 | 1237536.2947
113 | 2679459.0289 | 1237495.6081
114 | 2679562.646 | 1237458.9915
115 | 2679342.8437 | 1237541.4622
116 | 2679462.3788 | 1237513.8323
117 | 2679606.5883 | 1237520.6456
118 | 2679533.6542 | 1237469.0884
119 | 2679689.7557 | 1237437.7358
120 | 2679675.9454 | 1237439.6651
121 | 2679709.7523 | 1237484.4752
122 | 2679662.9858 | 1237254.5261
123 | 2679339.5343 | 1237543.8927
124 | 2679505.5085 | 1237522.66
125 | 2679452.8344 | 1237522.5775
126 | 2679678.5431 | 1237570.7778
127 | 2679689.9761 | 1237566.2853
128 | 2679713.5184 | 1237557.0346
129 | 2679725.001 | 1237552.5226
130 | 2679612.6642 | 1237520.1368
131 | 2679710.4878 | 1237485.7855
132 | 2679679.2563 | 1237248.3877
133 | 2679689.5201 | 1237244.4749
134 | 2679534.8665 | 1237508.9879
135 | 2679525.1652 | 1237496.6827
136 | 2679537.1728 | 1237518.1252
137 | 2679507.6936 | 1237521.6441
138 | 2679638.7761 | 1237515.0677
139 | 2679429.6051 | 1237544.1709
140 | 2679509.0642 | 1237531.7251
141 | 2679500.5819 | 1237506.9164
142 | 2679651.5533 | 1237511.1395
143 | 2679655.3759 | 1237509.5991
144 | 2679668.7071 | 1237505.6101
145 | 2679687.5142 | 1237501.7553
146 | 2679700.7156 | 1237498.9002
147 | 2679724.4327 | 1237557.8854
148 | 2679721.0931 | 1237573.3931
149 | 2679711.5921 | 1237598.8641
150 | 2679723.2237 | 1237535.1955
151 | 2679770.6228 | 1237598.9244
152 | 2679719.9627 | 1237515.2431
153 | 2679717.1246 | 1237497.8786
154 | 2679715.5099 | 1237494.7325
155 | 2679171.7535 | 1237532.265

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1