## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1023-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1023-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1023-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1023-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1023-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1023-1_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1023-1_0_2_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_1023-1_0_2_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_1023-1_0_2_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_1023-1_0_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_1023-1_0_2_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_1023-1_0_2_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_1023-1_0_2_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_1023-1_0_2_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_1023-1_0_2_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_1023-1_0_2_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_1023-1_0_2_node_80 | 0.4 | n |  | TRUE
17 | bus_LV_1023-1_0_2_node_77 | 0.4 | n |  | TRUE
18 | bus_LV_1023-1_0_2_node_171 | 0.4 | n |  | TRUE
19 | bus_LV_1023-1_0_2_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_1023-1_0_2_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_1023-1_0_2_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_1023-1_0_2_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_1023-1_0_2_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_1023-1_0_2_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_1023-1_0_2_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_1023-1_0_2_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_1023-1_0_2_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_1023-1_0_2_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_1023-1_0_2_node_161 | 0.4 | n |  | TRUE
30 | bus_LV_1023-1_0_2_node_162 | 0.4 | n |  | TRUE
31 | bus_LV_1023-1_0_2_node_163 | 0.4 | n |  | TRUE
32 | bus_LV_1023-1_0_2_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_1023-1_0_2_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_1023-1_0_2_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_1023-1_0_2_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_1023-1_0_2_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_1023-1_0_2_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_1023-1_0_2_node_164 | 0.4 | n |  | TRUE
39 | bus_LV_1023-1_0_2_node_173 | 0.4 | n |  | TRUE
40 | bus_LV_1023-1_0_2_node_303 | 0.4 | n |  | TRUE
41 | bus_LV_1023-1_0_2_node_304 | 0.4 | n |  | TRUE
42 | bus_LV_1023-1_0_2_node_78 | 0.4 | n |  | TRUE
43 | bus_MV_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1023-1_0_2_load_0 | 0 | 0.0018152 | 0.00045493 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1023-1_0_2_load_1 | 1 | 0.00014528 | 3.641e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1023-1_0_2_load_3 | 3 | 9.1414e-05 | 2.2911e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1023-1_0_2_load_5 | 5 | 0.0013878 | 0.00034781 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1023-1_0_2_load_25 | 7 | 0.0027256 | 0.00068311 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1023-1_0_2_load_12 | 9 | 0.00025845 | 6.4773e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1023-1_0_2_load_13 | 10 | 0.00011879 | 2.977e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1023-1_0_2_load_14 | 12 | 0.00015346 | 3.8461e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1023-1_0_2_load_34 | 13 | 0.0001827 | 4.5789e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1023-1_0_2_load_17 | 14 | 0.0002954 | 7.4033e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1023-1_0_2_load_77 | 17 | 0.0015317 | 0.00038388 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1023-1_0_2_load_171 | 18 | 0.00010518 | 2.636e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1023-1_0_2_load_79 | 19 | 0.00036592 | 9.1708e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1023-1_0_2_load_27 | 20 | 0.0002221 | 5.5664e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1023-1_0_2_load_28 | 21 | 0.00085659 | 0.00021468 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1023-1_0_2_load_36 | 22 | 0.00043084 | 0.00010798 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1023-1_0_2_load_38 | 23 | 0.00041709 | 0.00010453 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1023-1_0_2_load_29 | 24 | 0.00076249 | 0.0001911 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1023-1_0_2_load_30 | 25 | 0.00096195 | 0.00024109 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1023-1_0_2_load_32 | 26 | 0.00019062 | 4.7774e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1023-1_0_2_load_161 | 29 | 0.00066824 | 0.00016748 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1023-1_0_2_load_162 | 30 | 0.00038375 | 9.6176e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1023-1_0_2_load_39 | 32 | 0.00046802 | 0.0001173 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1023-1_0_2_load_45 | 34 | 0.0011514 | 0.00028856 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1023-1_0_2_load_41 | 35 | 0.0019933 | 0.00049956 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1023-1_0_2_load_42 | 36 | 0.0048402 | 0.0012131 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1023-1_0_2_load_47 | 37 | 0.0011275 | 0.00028259 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1023-1_0_2_load_164 | 38 | 0.00085815 | 0.00021507 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1023-1_0_2_load_173 | 39 | 0.00018433 | 4.6199e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1023-1_0_2_load_304 | 41 | 0.00036512 | 9.1508e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1023-1_0_2_load_78 | 42 | 0.00089816 | 0.0002251 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1023-1_0_2_line_0 |  | 0 | 1 | 0.093525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1023-1_0_2_line_1 |  | 0 | 2 | 0.0041034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1023-1_0_2_line_2 |  | 1 | 3 | 0.028249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1023-1_0_2_line_3 |  | 2 | 4 | 0.071585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1023-1_0_2_line_4 |  | 2 | 5 | 0.017126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1023-1_0_2_line_5 |  | 3 | 6 | 0.020857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1023-1_0_2_line_6 |  | 4 | 7 | 0.0059232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1023-1_0_2_line_7 |  | 5 | 8 | 0.020803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1023-1_0_2_line_8 |  | 6 | 20 | 0.0029115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1023-1_0_2_line_9 |  | 6 | 21 | 0.038817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1023-1_0_2_line_10 |  | 8 | 36 | 0.016474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1023-1_0_2_line_11 |  | 9 | 10 | 0.034569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1023-1_0_2_line_12 |  | 9 | 11 | 0.16874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1023-1_0_2_line_13 |  | 10 | 12 | 0.00065768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1023-1_0_2_line_14 |  | 11 | 14 | 0.019659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1023-1_0_2_line_15 |  | 12 | 13 | 0.021942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1023-1_0_2_line_16 |  | 13 | 28 | 0.013957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1023-1_0_2_line_17 |  | 14 | 19 | 0.036197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1023-1_0_2_line_18 |  | 15 | 16 | 0.017874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1023-1_0_2_line_19 |  | 15 | 17 | 0.047648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1023-1_0_2_line_20 |  | 15 | 18 | 0.19972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1023-1_0_2_line_21 |  | 16 | 31 | 0.13908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1023-1_0_2_line_22 |  | 17 | 42 | 0.0030073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1023-1_0_2_line_23 |  | 18 | 37 | 0.022487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1023-1_0_2_line_24 |  | 19 | 40 | 0.43447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1023-1_0_2_line_25 |  | 19 | 42 | 0.067516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1023-1_0_2_line_26 |  | 20 | 22 | 0.053418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1023-1_0_2_line_27 |  | 21 | 23 | 7.1507e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1023-1_0_2_line_28 |  | 22 | 28 | 0.011323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1023-1_0_2_line_29 |  | 23 | 32 | 0.041526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1023-1_0_2_line_30 |  | 24 | 25 | 0.0094548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1023-1_0_2_line_31 |  | 25 | 26 | 0.021745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1023-1_0_2_line_32 |  | 26 | 27 | 0.013229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1023-1_0_2_line_33 |  | 27 | 28 | 0.078193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1023-1_0_2_line_34 |  | 29 | 30 | 0.010744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1023-1_0_2_line_35 |  | 29 | 31 | 0.051844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1023-1_0_2_line_36 |  | 30 | 38 | 0.027612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1023-1_0_2_line_37 |  | 32 | 33 | 0.025237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1023-1_0_2_line_38 |  | 33 | 34 | 0.042357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1023-1_0_2_line_39 |  | 35 | 36 | 0.05971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1023-1_0_2_line_40 |  | 38 | 39 | 0.028961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1023-1_0_2_line_41 |  | 40 | 41 | 0.075092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1023-1_0_2_trafo_36 | 0.63 MVA 20/0.4 kV | 43 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2669392.6286 | 1222371.5891 | 2669377.4799 | 1222373.3663 | 2669337.3073 | 1222378.0904 | 2669315.6194 | 1222378.2715 | 2669299.4852 | 1222378.409
1 | 2669396.704 | 1222371.111 | 2669392.6286 | 1222371.5891
2 | 2669299.4852 | 1222378.409 | 2669284.1913 | 1222378.5393 | 2669271.2662 | 1222377.669
3 | 2669460.4145 | 1222401.3843 | 2669451.146 | 1222396.1395 | 2669405.8986 | 1222379.4457 | 2669400.0324 | 1222376.4421 | 2669396.704 | 1222371.111
4 | 2669396.704 | 1222371.111 | 2669413.7577 | 1222369.5377
5 | 2669250.4565 | 1222376.2678 | 2669271.2662 | 1222377.669
6 | 2669460.4145 | 1222401.3843 | 2669466.1145 | 1222399.7738
7 | 2669434.4729 | 1222367.6267 | 2669413.7577 | 1222369.5377
8 | 2669250.4565 | 1222376.2678 | 2669247.5516 | 1222376.0719
9 | 2669250.4565 | 1222376.2678 | 2669250.8073 | 1222387.846 | 2669264.1021 | 1222411.6139
10 | 2669434.4729 | 1222367.6267 | 2669435.4559 | 1222363.9914 | 2669443.8288 | 1222362.1322 | 2669447.7644 | 1222360.8744
11 | 2669146.4143 | 1222370.73 | 2669136.1411 | 1222370.4471 | 2669129.3698 | 1222370.2573 | 2669111.859 | 1222369.7703
12 | 2668944.1172 | 1222388.1105 | 2669111.859 | 1222369.7703
13 | 2669146.4143 | 1222370.73 | 2669147.0718 | 1222370.7481
14 | 2668944.1172 | 1222388.1105 | 2668942.5938 | 1222368.5111
15 | 2669169.0052 | 1222371.3519 | 2669147.0718 | 1222370.7481
16 | 2669182.9564 | 1222371.736 | 2669169.0052 | 1222371.3519
17 | 2668917.9157 | 1222348.9445 | 2668923.8593 | 1222349.3066 | 2668938.0421 | 1222354.6631 | 2668941.9652 | 1222360.4233 | 2668942.5938 | 1222368.5111
18 | 2668794.9582 | 1222377.5124 | 2668812.5944 | 1222380.7182
19 | 2668812.5944 | 1222380.7182 | 2668814.6447 | 1222375.9165 | 2668824.5512 | 1222360.799 | 2668831.021 | 1222356.8824 | 2668847.7272 | 1222355.2126
20 | 2668812.5944 | 1222380.7182 | 2668828.9822 | 1222579.7659
21 | 2668657.6172 | 1222356.314 | 2668717.39 | 1222362.6852 | 2668794.9582 | 1222377.5124
22 | 2668847.7272 | 1222355.2126 | 2668850.7196 | 1222354.9135
23 | 2668828.9822 | 1222579.7659 | 2668837.4669 | 1222598.368 | 2668838.2812 | 1222600.2398
24 | 2668917.9157 | 1222348.9445 | 2668935.2546 | 1221914.8255
25 | 2668917.9157 | 1222348.9445 | 2668913.2704 | 1222348.6615 | 2668850.7196 | 1222354.9135
26 | 2669247.5516 | 1222376.0719 | 2669234.3129 | 1222375.1794 | 2669194.2536 | 1222372.4934
27 | 2669264.1021 | 1222411.6139 | 2669264.137 | 1222411.6763
28 | 2669182.9564 | 1222371.736 | 2669194.2536 | 1222372.4934
29 | 2669264.137 | 1222411.6763 | 2669284.4089 | 1222447.9175
30 | 2669232.3908 | 1222271.1011 | 2669231.4988 | 1222269.5341 | 2669230.1319 | 1222268.3619 | 2669225.778 | 1222264.4533 | 2669225.778 | 1222264.4533
31 | 2669232.3908 | 1222271.1011 | 2669232.3908 | 1222271.1011 | 2669232.5687 | 1222272.7598 | 2669231.554 | 1222274.5714 | 2669227.2745 | 1222279.258 | 2669220.5029 | 1222288.742
32 | 2669213.7732 | 1222300.1034 | 2669217.9291 | 1222292.3467 | 2669220.5029 | 1222288.742
33 | 2669182.9564 | 1222371.736 | 2669183.5305 | 1222366.7172 | 2669212.1371 | 1222303.1641 | 2669213.7732 | 1222300.1034
34 | 2668605.783 | 1222357.3153 | 2668603.9103 | 1222357.3514 | 2668595.0963 | 1222358.3573
35 | 2668657.6172 | 1222356.314 | 2668605.783 | 1222357.3153
36 | 2668567.662 | 1222361.4883 | 2668595.0963 | 1222358.3573
37 | 2669296.7272 | 1222469.9441 | 2669293.0864 | 1222463.4309 | 2669284.4089 | 1222447.9175
38 | 2669296.7272 | 1222469.9441 | 2669260.6005 | 1222492.0573
39 | 2669484.9302 | 1222319.8592 | 2669482.2906 | 1222328.5369 | 2669478.9748 | 1222339.0272 | 2669465.276 | 1222355.2779 | 2669447.7644 | 1222360.8744
40 | 2668539.0805 | 1222366.0847 | 2668559.3121 | 1222362.4412 | 2668567.662 | 1222361.4883
41 | 2668999.4323 | 1221879.8794 | 2668994.2946 | 1221880.0645 | 2668986.8042 | 1221882.9685 | 2668962.7221 | 1221898.4663 | 2668950.1449 | 1221907.6488 | 2668943.6521 | 1221914.1556 | 2668939.6008 | 1221915.5096 | 2668935.2546 | 1221914.8255

## bus_geodata
| x | y | coords
0 | 2669392.6286 | 1222371.5891
1 | 2669299.4852 | 1222378.409
2 | 2669396.704 | 1222371.111
3 | 2669271.2662 | 1222377.669
4 | 2669460.4145 | 1222401.3843
5 | 2669413.7577 | 1222369.5378
6 | 2669250.4565 | 1222376.2678
7 | 2669466.1145 | 1222399.7738
8 | 2669434.4729 | 1222367.6267
9 | 2669111.859 | 1222369.7703
10 | 2669146.4143 | 1222370.73
11 | 2668944.1172 | 1222388.1105
12 | 2669147.0718 | 1222370.7481
13 | 2669169.0052 | 1222371.3519
14 | 2668942.5938 | 1222368.5111
15 | 2668812.5944 | 1222380.7182
16 | 2668794.9582 | 1222377.5124
17 | 2668847.7272 | 1222355.2126
18 | 2668828.9822 | 1222579.7659
19 | 2668917.9157 | 1222348.9445
20 | 2669247.5516 | 1222376.0719
21 | 2669264.1021 | 1222411.6139
22 | 2669194.2536 | 1222372.4934
23 | 2669264.137 | 1222411.6763
24 | 2669225.778 | 1222264.4533
25 | 2669232.3908 | 1222271.1011
26 | 2669220.5029 | 1222288.742
27 | 2669213.7732 | 1222300.1034
28 | 2669182.9564 | 1222371.736
29 | 2668605.783 | 1222357.3153
30 | 2668595.0963 | 1222358.3573
31 | 2668657.6172 | 1222356.314
32 | 2669284.4089 | 1222447.9175
33 | 2669296.7272 | 1222469.9441
34 | 2669260.6005 | 1222492.0573
35 | 2669484.9302 | 1222319.8592
36 | 2669447.7644 | 1222360.8744
37 | 2668838.2812 | 1222600.2398
38 | 2668567.662 | 1222361.4883
39 | 2668539.0805 | 1222366.0847
40 | 2668935.2546 | 1221914.8255
41 | 2668999.4323 | 1221879.8794
42 | 2668850.7196 | 1222354.9135
43 | 2669194.2536 | 1222372.4934

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99751 | -0.047851 | 0.0018152 | 0.00045493
1 | 0.9986 | -0.026953 | 0.00014528 | 3.641e-05
2 | 0.99747 | -0.048639 | 0 | 0
3 | 0.99893 | -0.020578 | 9.1414e-05 | 2.2911e-05
4 | 0.99729 | -0.052059 | 0 | 0
5 | 0.99734 | -0.051106 | 0.0013878 | 0.00034781
6 | 0.99918 | -0.015839 | 0 | 0
7 | 0.99728 | -0.052342 | 0.0027256 | 0.00068311
8 | 0.99721 | -0.053599 | 0 | 0
9 | 0.99944 | -0.010877 | 0.00025845 | 6.4773e-05
10 | 0.99966 | -0.0066028 | 0.00011879 | 2.977e-05
11 | 0.9984 | -0.030996 | 0 | 0
12 | 0.99966 | -0.0065201 | 0.00015346 | 3.8461e-05
13 | 0.99981 | -0.0037036 | 0.0001827 | 4.5789e-05
14 | 0.99828 | -0.033342 | 0.0002954 | 7.4033e-05
15 | 0.99755 | -0.047349 | 0 | 0
16 | 0.99752 | -0.048007 | 0 | 0
17 | 0.9977 | -0.044558 | 0.0015317 | 0.00038388
18 | 0.99733 | -0.051676 | 0.00010518 | 2.636e-05
19 | 0.99806 | -0.037474 | 0.00036592 | 9.1708e-05
20 | 0.99922 | -0.015031 | 0.0002221 | 5.5664e-05
21 | 0.99907 | -0.017803 | 0.00085659 | 0.00021468
22 | 1 | 0 | -0.027228 | -0.0064034
23 | 0.99907 | -0.017805 | 0.00041709 | 0.00010453
24 | 0.9997 | -0.0057045 | 0.00076249 | 0.0001911
25 | 0.99971 | -0.0055787 | 0.00096195 | 0.00024109
26 | 0.99974 | -0.0049246 | 0.00019062 | 4.7774e-05
27 | 0.99977 | -0.0044825 | 0 | 0
28 | 0.9999 | -0.0018678 | 0 | 0
29 | 0.99716 | -0.055032 | 0.00066824 | 0.00016748
30 | 0.99714 | -0.055301 | 0.00038375 | 9.6176e-05
31 | 0.99726 | -0.053126 | 0 | 0
32 | 0.99901 | -0.018982 | 0.00046802 | 0.0001173
33 | 0.99899 | -0.01949 | 0 | 0
34 | 0.99894 | -0.020342 | 0.0011514 | 0.00028856
35 | 0.997 | -0.05766 | 0.0019933 | 0.00049956
36 | 0.99711 | -0.055573 | 0.0048402 | 0.0012131
37 | 0.99731 | -0.052121 | 0.0011275 | 0.00028259
38 | 0.99712 | -0.055807 | 0.00085815 | 0.00021507
39 | 0.99711 | -0.055901 | 0.00018433 | 4.6199e-05
40 | 0.99792 | -0.040325 | 0 | 0
41 | 0.9979 | -0.040806 | 0.00036512 | 9.1508e-05
42 | 0.99771 | -0.044301 | 0.00089816 | 0.0002251
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.012766 | -0.0031982 | 0.012778 | 0.0032051 | 1.2717e-05 | 6.9168e-06 | 0.019042 | 0.019042 | 0.019042 | 0.99751 | -0.047851 | 0.9986 | -0.026953 | 5.2314
1 | 0.01095 | 0.0027432 | -0.01095 | -0.002743 | 4.1058e-07 | 2.092e-07 | 0.016335 | 0.016335 | 0.016335 | 0.99751 | -0.047851 | 0.99747 | -0.048639 | 4.4875
2 | -0.012924 | -0.0032415 | 0.012928 | 0.0032436 | 3.9289e-06 | 2.1448e-06 | 0.019258 | 0.019258 | 0.019258 | 0.9986 | -0.026953 | 0.99893 | -0.020578 | 5.2908
3 | 0.0027261 | 0.00068241 | -0.0027257 | -0.00068306 | 4.4395e-07 | -6.5011e-07 | 0.0040665 | 0.0040668 | 0.0040668 | 0.99747 | -0.048639 | 0.99729 | -0.052059 | 1.1173
4 | 0.0082239 | 0.0020606 | -0.0082229 | -0.0020602 | 9.666e-07 | 3.951e-07 | 0.012268 | 0.012268 | 0.012268 | 0.99747 | -0.048639 | 0.99734 | -0.051106 | 3.3704
5 | -0.013019 | -0.0032666 | 0.013022 | 0.0032682 | 2.9419e-06 | 1.6097e-06 | 0.019394 | 0.019394 | 0.019394 | 0.99893 | -0.020578 | 0.99918 | -0.015839 | 5.3281
6 | 0.0027257 | 0.00068306 | -0.0027256 | -0.00068311 | 3.6737e-08 | -5.3775e-08 | 0.0040668 | 0.0040669 | 0.0040669 | 0.99729 | -0.052059 | 0.99728 | -0.052342 | 1.1173
7 | 0.0068351 | 0.0017124 | -0.0068343 | -0.0017122 | 8.1127e-07 | 2.4777e-07 | 0.010198 | 0.010198 | 0.010198 | 0.99734 | -0.051106 | 0.99721 | -0.053599 | 2.8016
8 | -0.015915 | -0.0039916 | 0.015916 | 0.0039919 | 6.134e-07 | 3.5444e-07 | 0.023703 | 0.023703 | 0.023703 | 0.99918 | -0.015839 | 0.99922 | -0.015031 | 6.5118
9 | 0.0028935 | 0.00072341 | -0.0028932 | -0.00072374 | 2.7022e-07 | -3.3542e-07 | 0.0043085 | 0.0043087 | 0.0043087 | 0.99918 | -0.015839 | 0.99907 | -0.017803 | 1.1837
10 | 0.0068343 | 0.0017122 | -0.0068337 | -0.001712 | 6.4247e-07 | 1.9627e-07 | 0.010198 | 0.010198 | 0.010198 | 0.99721 | -0.053599 | 0.99711 | -0.055573 | 2.8016
11 | -0.0070539 | -0.0017549 | 0.0070554 | 0.0017554 | 1.4286e-06 | 4.6117e-07 | 0.010498 | 0.010498 | 0.010498 | 0.99944 | -0.010877 | 0.99966 | -0.0066028 | 2.884
12 | 0.0067955 | 0.0016901 | -0.006789 | -0.0016882 | 6.4721e-06 | 1.9331e-06 | 0.010113 | 0.010114 | 0.010114 | 0.99944 | -0.010877 | 0.9984 | -0.030996 | 2.7785
13 | -0.0071742 | -0.0017851 | 0.0071742 | 0.0017852 | 2.8102e-08 | 9.3625e-09 | 0.010674 | 0.010674 | 0.010674 | 0.99966 | -0.0066028 | 0.99966 | -0.0065201 | 2.9325
14 | 0.006789 | 0.0016882 | -0.0067883 | -0.001688 | 7.5407e-07 | 2.2555e-07 | 0.010114 | 0.010114 | 0.010114 | 0.9984 | -0.030996 | 0.99828 | -0.033342 | 2.7785
15 | -0.0073276 | -0.0018236 | 0.0073286 | 0.001824 | 9.7808e-07 | 3.3827e-07 | 0.010903 | 0.010903 | 0.010903 | 0.99966 | -0.0065201 | 0.99981 | -0.0037036 | 2.9953
16 | -0.0075113 | -0.0018697 | 0.007512 | 0.00187 | 6.5354e-07 | 2.3522e-07 | 0.011175 | 0.011175 | 0.011175 | 0.99981 | -0.0037036 | 0.9999 | -0.0018678 | 3.07
17 | 0.0064929 | 0.0016139 | -0.0064916 | -0.0016136 | 1.2702e-06 | 3.3979e-07 | 0.0096735 | 0.0096737 | 0.0096737 | 0.99828 | -0.033342 | 0.99806 | -0.037474 | 2.6576
18 | 0.0020953 | 0.00052184 | -0.0020952 | -0.00052203 | 6.5429e-08 | -1.9147e-07 | 0.0031243 | 0.0031244 | 0.0031244 | 0.99755 | -0.047349 | 0.99752 | -0.048007 | 0.85835
19 | -0.0033283 | -0.00082806 | 0.0033287 | 0.00082772 | 4.4001e-07 | -3.4053e-07 | 0.0049625 | 0.0049623 | 0.0049625 | 0.99755 | -0.047349 | 0.9977 | -0.044558 | 1.3633
20 | 0.001233 | 0.00030622 | -0.0012327 | -0.00030867 | 2.5321e-07 | -2.4448e-06 | 0.0018382 | 0.0018391 | 0.0018391 | 0.99755 | -0.047349 | 0.99733 | -0.051676 | 0.50526
21 | 0.0020952 | 0.00052203 | -0.0020947 | -0.00052352 | 5.0924e-07 | -1.4892e-06 | 0.0031244 | 0.003125 | 0.003125 | 0.99752 | -0.048007 | 0.99726 | -0.053126 | 0.85852
22 | -0.0048604 | -0.0012116 | 0.0048605 | 0.0012116 | 5.9224e-08 | -1.3695e-09 | 0.0072468 | 0.0072468 | 0.0072468 | 0.9977 | -0.044558 | 0.99771 | -0.044301 | 1.9909
23 | 0.0011276 | 0.00028231 | -0.0011275 | -0.00028259 | 2.3865e-08 | -2.7816e-07 | 0.0016822 | 0.0016823 | 0.0016823 | 0.99733 | -0.051676 | 0.99731 | -0.052121 | 0.46218
24 | 0.00036518 | 8.4886e-05 | -0.00036513 | -9.0532e-05 | 4.8062e-08 | -5.6463e-06 | 0.00054219 | 0.00054411 | 0.00054411 | 0.99806 | -0.037474 | 0.99792 | -0.040325 | 0.14948
25 | 0.0057605 | 0.001437 | -0.0057586 | -0.0014367 | 1.8665e-06 | 3.1256e-07 | 0.008586 | 0.0085863 | 0.0085863 | 0.99806 | -0.037474 | 0.99771 | -0.044301 | 2.3589
26 | -0.016138 | -0.0040476 | 0.01615 | 0.0040543 | 1.1571e-05 | 6.7049e-06 | 0.024034 | 0.024033 | 0.024034 | 0.99922 | -0.015031 | 1 | 0 | 6.6026
27 | 0.0020366 | 0.00050906 | -0.0020366 | -0.00050906 | 2.4818e-10 | -7.7896e-10 | 0.0030329 | 0.0030329 | 0.0030329 | 0.99907 | -0.017803 | 0.99907 | -0.017805 | 0.83321
28 | 0.0094282 | 0.0023489 | -0.0094274 | -0.0023485 | 8.3511e-07 | 3.8594e-07 | 0.014024 | 0.014024 | 0.014024 | 1 | 0 | 0.9999 | -0.0018678 | 3.8529
29 | 0.0016195 | 0.00040453 | -0.0016195 | -0.00040502 | 9.0576e-08 | -4.8578e-07 | 0.0024117 | 0.0024119 | 0.0024119 | 0.99907 | -0.017805 | 0.99901 | -0.018982 | 0.6626
30 | -0.00076249 | -0.0001911 | 0.00076249 | 0.00019098 | 4.5667e-09 | -1.2104e-07 | 0.0011349 | 0.0011349 | 0.0011349 | 0.9997 | -0.0057045 | 0.99971 | -0.0055787 | 0.31179
31 | -0.0017244 | -0.00043206 | 0.0017245 | 0.00043181 | 5.3717e-08 | -2.5074e-07 | 0.0025667 | 0.0025666 | 0.0025667 | 0.99971 | -0.0055787 | 0.99974 | -0.0049246 | 0.70514
32 | -0.0019151 | -0.00047959 | 0.0019152 | 0.00047944 | 4.0303e-08 | -1.4768e-07 | 0.0028503 | 0.0028503 | 0.0028503 | 0.99974 | -0.0049246 | 0.99977 | -0.0044825 | 0.78305
33 | -0.0019152 | -0.00047944 | 0.0019154 | 0.00047857 | 2.3818e-07 | -8.7306e-07 | 0.0028503 | 0.0028499 | 0.0028503 | 0.99977 | -0.0044825 | 0.9999 | -0.0018678 | 0.78304
34 | 0.0014263 | 0.0003566 | -0.0014263 | -0.00035673 | 1.8247e-08 | -1.2848e-07 | 0.0021281 | 0.0021281 | 0.0021281 | 0.99716 | -0.055032 | 0.99714 | -0.055301 | 0.58465
35 | -0.0020945 | -0.00052407 | 0.0020947 | 0.00052352 | 1.8987e-07 | -5.5484e-07 | 0.0031253 | 0.003125 | 0.0031253 | 0.99716 | -0.055032 | 0.99726 | -0.053126 | 0.85859
36 | 0.0010425 | 0.00026055 | -0.0010425 | -0.00026089 | 2.5055e-08 | -3.4414e-07 | 0.0015555 | 0.0015556 | 0.0015556 | 0.99714 | -0.055301 | 0.99712 | -0.055807 | 0.42736
37 | 0.0011514 | 0.00028772 | -0.0011514 | -0.00028803 | 2.7829e-08 | -3.1262e-07 | 0.0017147 | 0.0017149 | 0.0017149 | 0.99901 | -0.018982 | 0.99899 | -0.01949 | 0.47112
38 | 0.0011514 | 0.00028803 | -0.0011514 | -0.00028856 | 4.6716e-08 | -5.2465e-07 | 0.0017149 | 0.0017151 | 0.0017151 | 0.99899 | -0.01949 | 0.99894 | -0.020342 | 0.47117
39 | -0.0019933 | -0.00049956 | 0.0019935 | 0.00049891 | 1.9815e-07 | -6.5194e-07 | 0.0029749 | 0.0029747 | 0.0029749 | 0.997 | -0.05766 | 0.99711 | -0.055573 | 0.81729
40 | 0.00018434 | 4.5821e-05 | -0.00018433 | -4.6199e-05 | 8.2145e-10 | -3.7723e-07 | 0.00027495 | 0.00027509 | 0.00027509 | 0.99712 | -0.055807 | 0.99711 | -0.055901 | 0.075573
41 | 0.00036513 | 9.0532e-05 | -0.00036512 | -9.1508e-05 | 8.342e-09 | -9.757e-07 | 0.00054411 | 0.00054445 | 0.00054445 | 0.99792 | -0.040325 | 0.9979 | -0.040806 | 0.14957

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.027659 | 0.0065113

## res_load
| p_mw | q_mvar
0 | 0.0018152 | 0.00045493
1 | 0.00014528 | 3.641e-05
2 | 9.1414e-05 | 2.2911e-05
3 | 0.0013878 | 0.00034781
4 | 0.0027256 | 0.00068311
5 | 0.00025845 | 6.4773e-05
6 | 0.00011879 | 2.977e-05
7 | 0.00015346 | 3.8461e-05
8 | 0.0001827 | 4.5789e-05
9 | 0.0002954 | 7.4033e-05
10 | 0.0015317 | 0.00038388
11 | 0.00010518 | 2.636e-05
12 | 0.00036592 | 9.1708e-05
13 | 0.0002221 | 5.5664e-05
14 | 0.00085659 | 0.00021468
15 | 0.00043084 | 0.00010798
16 | 0.00041709 | 0.00010453
17 | 0.00076249 | 0.0001911
18 | 0.00096195 | 0.00024109
19 | 0.00019062 | 4.7774e-05
20 | 0.00066824 | 0.00016748
21 | 0.00038375 | 9.6176e-05
22 | 0.00046802 | 0.0001173
23 | 0.0011514 | 0.00028856
24 | 0.0019933 | 0.00049956
25 | 0.0048402 | 0.0012131
26 | 0.0011275 | 0.00028259
27 | 0.00085815 | 0.00021507
28 | 0.00018433 | 4.6199e-05
29 | 0.00036512 | 9.1508e-05
30 | 0.00089816 | 0.0002251

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1