## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1023-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1023-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1023-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1023-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1023-7_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1023-7_0_4_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_1023-7_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1023-7_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1023-7_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1023-7_0_4_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_1023-7_0_4_node_40 | 0.4 | n |  | TRUE
11 | bus_LV_1023-7_0_4_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_1023-7_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_1023-7_0_4_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_1023-7_0_4_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_1023-7_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1023-7_0_4_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_1023-7_0_4_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_1023-7_0_4_node_54 | 0.4 | n |  | TRUE
19 | bus_LV_1023-7_0_4_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_1023-7_0_4_node_71 | 0.4 | n |  | TRUE
21 | bus_LV_1023-7_0_4_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_1023-7_0_4_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_1023-7_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_1023-7_0_4_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_1023-7_0_4_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_1023-7_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1023-7_0_4_node_75 | 0.4 | n |  | TRUE
28 | bus_LV_1023-7_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1023-7_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_1023-7_0_4_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_1023-7_0_4_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_1023-7_0_4_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_1023-7_0_4_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_1023-7_0_4_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_1023-7_0_4_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_1023-7_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1023-7_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1023-7_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_1023-7_0_4_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_1023-7_0_4_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_1023-7_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_1023-7_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_1023-7_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_1023-7_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_1023-7_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_1023-7_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_1023-7_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_1023-7_0_4_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_1023-7_0_4_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_1023-7_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_1023-7_0_4_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_1023-7_0_4_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_1023-7_0_4_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_1023-7_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_1023-7_0_4_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_1023-7_0_4_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_1023-7_0_4_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_1023-7_0_4_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_1023-7_0_4_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_1023-7_0_4_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_1023-7_0_4_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_1023-7_0_4_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_1023-7_0_4_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_1023-7_0_4_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_1023-7_0_4_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_1023-7_0_4_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_1023-7_0_4_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_1023-7_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_1023-7_0_4_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_1023-7_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_1023-7_0_4_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_1023-7_0_4_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_1023-7_0_4_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_1023-7_0_4_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_1023-7_0_4_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_1023-7_0_4_node_78 | 0.4 | n |  | TRUE
77 | bus_MV_353_0_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1023-7_0_4_load_0 | 0 | 0.0026538 | 0.00066511 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1023-7_0_4_load_1 | 1 | 0.0029462 | 0.0007384 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1023-7_0_4_load_3 | 3 | 0.0036557 | 0.00091621 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1023-7_0_4_load_7 | 7 | 0.0051457 | 0.0012896 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1023-7_0_4_load_40 | 10 | 0.0052714 | 0.0013211 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1023-7_0_4_load_18 | 11 | 0.0020917 | 0.00052422 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1023-7_0_4_load_59 | 14 | 0.0049139 | 0.0012315 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1023-7_0_4_load_8 | 15 | 0.010415 | 0.0026102 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1023-7_0_4_load_56 | 16 | 0.011967 | 0.0029991 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1023-7_0_4_load_76 | 17 | 0.0056691 | 0.0014208 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1023-7_0_4_load_54 | 18 | 0.0032269 | 0.00080875 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1023-7_0_4_load_48 | 19 | 0.0016297 | 0.00040845 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1023-7_0_4_load_46 | 21 | 0.0013238 | 0.00033177 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1023-7_0_4_load_9 | 22 | 0.0016976 | 0.00042545 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1023-7_0_4_load_60 | 25 | 0.0018068 | 0.00045283 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1023-7_0_4_load_75 | 27 | 0.001632 | 0.00040903 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1023-7_0_4_load_51 | 30 | 0.0015873 | 0.00039781 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1023-7_0_4_load_61 | 31 | 0.0023264 | 0.00058304 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1023-7_0_4_load_13 | 32 | 0.0113 | 0.0028321 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1023-7_0_4_load_14 | 33 | 0.014407 | 0.0036108 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1023-7_0_4_load_17 | 35 | 0.0010551 | 0.00026443 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1023-7_0_4_load_32 | 36 | 0.0042204 | 0.0010577 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1023-7_0_4_load_30 | 37 | 0.0063838 | 0.0015999 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1023-7_0_4_load_20 | 38 | 0.0050753 | 0.001272 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1023-7_0_4_load_74 | 39 | 0.0051804 | 0.0012983 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1023-7_0_4_load_23 | 41 | 0.054646 | 0.013695 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1023-7_0_4_load_24 | 42 | 0.0097768 | 0.0024503 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1023-7_0_4_load_29 | 47 | 0.016238 | 0.0040697 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1023-7_0_4_load_50 | 48 | 0.018982 | 0.0047572 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1023-7_0_4_load_55 | 49 | 0.068261 | 0.017108 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1023-7_0_4_load_65 | 51 | 0.049021 | 0.012286 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1023-7_0_4_load_43 | 54 | 0.0010361 | 0.00025967 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1023-7_0_4_load_31 | 56 | 0.0013086 | 0.00032798 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1023-7_0_4_load_33 | 57 | 0.0068102 | 0.0017068 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1023-7_0_4_load_42 | 58 | 0.030281 | 0.0075891 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1023-7_0_4_load_41 | 59 | 0.016182 | 0.0040556 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1023-7_0_4_load_34 | 60 | 0.0058801 | 0.0014737 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1023-7_0_4_load_36 | 62 | 0.0030291 | 0.00075915 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1023-7_0_4_load_72 | 64 | 0.0020746 | 0.00051994 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1023-7_0_4_load_77 | 65 | 0.016808 | 0.0042125 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1023-7_0_4_load_58 | 66 | 0.0061 | 0.0015288 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1023-7_0_4_load_64 | 67 | 0.0021419 | 0.00053681 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1023-7_0_4_load_62 | 68 | 0.0022952 | 0.00057524 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1023-7_0_4_load_49 | 69 | 0.0041528 | 0.0010408 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1023-7_0_4_load_63 | 70 | 0.002031 | 0.00050903 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1023-7_0_4_load_45 | 71 | 0.0037908 | 0.00095006 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1023-7_0_4_load_47 | 72 | 0.0021055 | 0.00052769 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1023-7_0_4_load_69 | 73 | 0.003272 | 0.00082005 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1023-7_0_4_load_78 | 76 | 0.0077176 | 0.0019342 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1023-7_0_4_line_0 |  | 0 | 1 | 0.021709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1023-7_0_4_line_1 |  | 0 | 2 | 0.034083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1023-7_0_4_line_2 |  | 1 | 3 | 0.026477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1023-7_0_4_line_3 |  | 2 | 4 | 0.039975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1023-7_0_4_line_4 |  | 3 | 5 | 0.0095583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1023-7_0_4_line_5 |  | 4 | 6 | 0.045243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1023-7_0_4_line_6 |  | 4 | 7 | 0.080289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1023-7_0_4_line_7 |  | 5 | 9 | 0.018493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1023-7_0_4_line_8 |  | 5 | 10 | 0.013759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1023-7_0_4_line_9 |  | 6 | 8 | 0.19477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1023-7_0_4_line_10 |  | 7 | 15 | 0.016977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1023-7_0_4_line_11 |  | 8 | 11 | 0.041572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1023-7_0_4_line_12 |  | 9 | 67 | 0.008836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1023-7_0_4_line_13 |  | 9 | 68 | 0.020267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1023-7_0_4_line_14 |  | 11 | 28 | 0.031687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1023-7_0_4_line_15 |  | 12 | 13 | 0.041363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1023-7_0_4_line_16 |  | 12 | 14 | 0.031015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1023-7_0_4_line_17 |  | 13 | 16 | 0.043662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1023-7_0_4_line_18 |  | 14 | 29 | 0.01831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1023-7_0_4_line_19 |  | 15 | 22 | 0.038303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1023-7_0_4_line_20 |  | 16 | 40 | 0.030379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1023-7_0_4_line_21 |  | 17 | 18 | 0.053098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1023-7_0_4_line_22 |  | 18 | 24 | 0.017403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1023-7_0_4_line_23 |  | 19 | 20 | 0.15134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1023-7_0_4_line_24 |  | 19 | 21 | 0.029362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1023-7_0_4_line_25 |  | 20 | 74 | 0.22274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1023-7_0_4_line_26 |  | 21 | 71 | 0.0070031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1023-7_0_4_line_27 |  | 22 | 23 | 0.013936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1023-7_0_4_line_28 |  | 23 | 24 | 0.012439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1023-7_0_4_line_29 |  | 23 | 25 | 0.028282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1023-7_0_4_line_30 |  | 24 | 30 | 0.04514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1023-7_0_4_line_31 |  | 25 | 31 | 0.015682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1023-7_0_4_line_32 |  | 26 | 27 | 0.073231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1023-7_0_4_line_33 |  | 26 | 28 | 0.002416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1023-7_0_4_line_34 |  | 27 | 39 | 0.021677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1023-7_0_4_line_35 |  | 28 | 38 | 0.1168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1023-7_0_4_line_36 |  | 29 | 33 | 0.039261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1023-7_0_4_line_37 |  | 30 | 53 | 0.095385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1023-7_0_4_line_38 |  | 32 | 33 | 0.034908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1023-7_0_4_line_39 |  | 32 | 34 | 0.023454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1023-7_0_4_line_40 |  | 34 | 35 | 0.0056126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1023-7_0_4_line_41 |  | 35 | 36 | 0.021756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1023-7_0_4_line_42 |  | 36 | 37 | 0.026822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1023-7_0_4_line_43 |  | 37 | 56 | 0.003256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1023-7_0_4_line_44 |  | 40 | 66 | 0.00081021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1023-7_0_4_line_45 |  | 41 | 42 | 0.029937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1023-7_0_4_line_46 |  | 42 | 43 | 0.0082443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1023-7_0_4_line_47 |  | 43 | 48 | 0.014038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1023-7_0_4_line_48 |  | 44 | 45 | 0.005619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_1023-7_0_4_line_49 |  | 44 | 46 | 0.005418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_1023-7_0_4_line_50 |  | 44 | 47 | 0.081356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1023-7_0_4_line_51 |  | 45 | 49 | 0.065311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_1023-7_0_4_line_52 |  | 46 | 50 | 0.005671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_1023-7_0_4_line_53 |  | 46 | 51 | 0.022413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1023-7_0_4_line_54 |  | 47 | 52 | 0.10905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1023-7_0_4_line_55 |  | 48 | 53 | 0.033737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1023-7_0_4_line_56 |  | 49 | 53 | 0.031723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_1023-7_0_4_line_57 |  | 50 | 54 | 0.010088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_1023-7_0_4_line_58 |  | 52 | 55 | 0.004523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1023-7_0_4_line_59 |  | 54 | 59 | 0.01283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_1023-7_0_4_line_60 |  | 55 | 75 | 0.16488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1023-7_0_4_line_61 |  | 56 | 57 | 0.022841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_1023-7_0_4_line_62 |  | 57 | 58 | 0.022262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_1023-7_0_4_line_63 |  | 58 | 59 | 0.013211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_1023-7_0_4_line_64 |  | 60 | 61 | 0.04997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1023-7_0_4_line_65 |  | 61 | 62 | 0.029828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1023-7_0_4_line_66 |  | 61 | 63 | 0.009372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1023-7_0_4_line_67 |  | 62 | 64 | 0.014568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1023-7_0_4_line_68 |  | 63 | 65 | 0.018389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1023-7_0_4_line_69 |  | 65 | 66 | 0.031631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1023-7_0_4_line_70 |  | 67 | 69 | 0.013497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1023-7_0_4_line_71 |  | 68 | 70 | 0.0079028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1023-7_0_4_line_72 |  | 69 | 72 | 0.010842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1023-7_0_4_line_73 |  | 71 | 72 | 0.016891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1023-7_0_4_line_74 |  | 73 | 74 | 0.03428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1023-7_0_4_line_75 |  | 75 | 76 | 0.083709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1023-7_0_4_trafo_31 | 0.63 MVA 20/0.4 kV | 77 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2666678.6148 | 1222923.1045 | 2666683.7724 | 1222944.1919
1 | 2666681.6512 | 1222889.4959 | 2666677.7663 | 1222906.5744 | 2666678.4023 | 1222922.236 | 2666678.6148 | 1222923.1045
2 | 2666683.7724 | 1222944.1919 | 2666690.0627 | 1222969.9106
3 | 2666647.3258 | 1222871.7558 | 2666649.5114 | 1222876.3833 | 2666654.9023 | 1222879.9125 | 2666677.0658 | 1222887.8546 | 2666681.6512 | 1222889.4959
4 | 2666692.3336 | 1222979.1952 | 2666690.0627 | 1222969.9106
5 | 2666625.5869 | 1222882.7864 | 2666632.3073 | 1222882.05 | 2666643.9133 | 1222862.912 | 2666648.3148 | 1222860.6487 | 2666647.7419 | 1222867.1131 | 2666647.3258 | 1222871.7558
6 | 2666647.3258 | 1222871.7558 | 2666643.1659 | 1222876.1454 | 2666627.9556 | 1222916.4455 | 2666619.5712 | 1222946.4631
7 | 2666692.3336 | 1222979.1952 | 2666699.4382 | 1222996.2746
8 | 2666692.3336 | 1222979.1952 | 2666705.4351 | 1222974.9919
9 | 2666517.3513 | 1222803.3035 | 2666571.7622 | 1222801.2767 | 2666589.2089 | 1222800.3823 | 2666599.0887 | 1222799.2698 | 2666605.6987 | 1222799.5995 | 2666608.8638 | 1222800.0574 | 2666608.099 | 1222803.3399 | 2666607.8678 | 1222804.349 | 2666610.6105 | 1222806.6367 | 2666612.0185 | 1222810.2659 | 2666613.325 | 1222814.1608 | 2666614.051 | 1222817.0597 | 2666613.2773 | 1222823.166 | 2666618.7427 | 1222824.7837 | 2666626.7254 | 1222827.1523 | 2666628.4489 | 1222827.6608 | 2666624.4912 | 1222841.0918 | 2666626.9856 | 1222849.981 | 2666617.4085 | 1222877.5804 | 2666625.5869 | 1222882.7864
10 | 2666619.5712 | 1222946.4631 | 2666615.004 | 1222962.8143
11 | 2666517.3513 | 1222803.3035 | 2666475.8878 | 1222806.3104
12 | 2666699.4382 | 1222996.2746 | 2666706.5178 | 1223000.7012 | 2666707.0022 | 1223000.7454
13 | 2666699.4382 | 1222996.2746 | 2666691.7773 | 1223000.4137 | 2666680.3732 | 1223002.3
14 | 2666444.2842 | 1222808.6024 | 2666475.8878 | 1222806.3104
15 | 2666591.9851 | 1222902.0451 | 2666553.2974 | 1222887.1143
16 | 2666591.9851 | 1222902.0451 | 2666580.5652 | 1222930.8811
17 | 2666553.2974 | 1222887.1143 | 2666538.5564 | 1222881.4237 | 2666531.0033 | 1222882.0175 | 2666524.7807 | 1222886.3952 | 2666518.4992 | 1222897.4054
18 | 2666573.8234 | 1222947.9048 | 2666580.5652 | 1222930.8811
19 | 2666615.004 | 1222962.8143 | 2666604.6997 | 1222999.7055
20 | 2666503.4452 | 1222923.792 | 2666518.4992 | 1222897.4054
21 | 2666581.651 | 1223019.2734 | 2666563.5124 | 1223012.6867 | 2666576.5438 | 1222981.4995
22 | 2666598.0092 | 1223025.2137 | 2666581.651 | 1223019.2734
23 | 2666782.3506 | 1222983.9625 | 2666917.952 | 1223051.1721
24 | 2666753.9177 | 1222991.2909 | 2666782.3506 | 1222983.9625 | 2666782.3506 | 1222983.9625
25 | 2666917.952 | 1223051.1721 | 2666936.8705 | 1223093.3339 | 2666959.2735 | 1223143.2623 | 2667009.6632 | 1223237.445 | 2666998.0903 | 1223241.473 | 2666995.365 | 1223241.7091
26 | 2666747.1362 | 1222993.0388 | 2666753.9177 | 1222991.2909
27 | 2666600.9506 | 1223013.1277 | 2666604.6997 | 1222999.7055
28 | 2666598.0092 | 1223025.2137 | 2666600.9506 | 1223013.1277
29 | 2666600.9506 | 1223013.1277 | 2666628.2781 | 1223020.4114
30 | 2666598.0092 | 1223025.2137 | 2666596.1569 | 1223032.8312 | 2666591.9287 | 1223069.8916
31 | 2666628.2781 | 1223020.4114 | 2666643.4308 | 1223024.4501
32 | 2666444.7884 | 1222806.2398 | 2666428.6385 | 1222807.1492 | 2666410.3965 | 1222807.9574 | 2666397.3342 | 1222808.123 | 2666379.749 | 1222807.1597 | 2666371.6437 | 1222806.6584
33 | 2666444.7884 | 1222806.2398 | 2666444.2842 | 1222808.6024
34 | 2666350.0084 | 1222805.3206 | 2666371.6437 | 1222806.6584
35 | 2666444.2842 | 1222808.6024 | 2666399.0193 | 1222810.7212 | 2666327.6051 | 1222807.5972
36 | 2666573.8234 | 1222947.9048 | 2666560.2132 | 1222948.9423 | 2666556.7427 | 1222957.4756 | 2666550.5606 | 1222972.6647
37 | 2666584.7737 | 1223164.9664 | 2666585.846 | 1223150.4691 | 2666587.2162 | 1223115.4397 | 2666590.3801 | 1223083.4657 | 2666591.9287 | 1223069.8916
38 | 2666537.4057 | 1223004.9997 | 2666540.0617 | 1222998.4711 | 2666544.4133 | 1222987.7684 | 2666550.5606 | 1222972.6647
39 | 2666543.1353 | 1223025.4227 | 2666534.5871 | 1223011.9296 | 2666536.1624 | 1223008.0559 | 2666537.4057 | 1223004.9997
40 | 2666543.1353 | 1223025.4227 | 2666541.0684 | 1223030.6408
41 | 2666532.4716 | 1223050.6235 | 2666539.1629 | 1223035.4514 | 2666541.0684 | 1223030.6408
42 | 2666532.4716 | 1223050.6235 | 2666521.6486 | 1223075.1646
43 | 2666520.3347 | 1223078.1437 | 2666521.6486 | 1223075.1646
44 | 2666503.4452 | 1222923.792 | 2666503.0436 | 1222924.4957
45 | 2666575.7354 | 1223211.9615 | 2666568.7537 | 1223211.3059 | 2666549.6023 | 1223198.7056
46 | 2666583.9436 | 1223212.7322 | 2666575.7354 | 1223211.9615
47 | 2666583.9436 | 1223212.7322 | 2666584.3127 | 1223198.6993
48 | 2666499.2095 | 1223157.639 | 2666494.8918 | 1223161.2487
49 | 2666490.6215 | 1223157.8989 | 2666494.8918 | 1223161.2487
50 | 2666494.8918 | 1223161.2487 | 2666452.166 | 1223193.6259 | 2666430.7179 | 1223211.2321
51 | 2666499.2095 | 1223157.639 | 2666514.5083 | 1223143.2229 | 2666520.7015 | 1223140.09 | 2666526.9313 | 1223140.471 | 2666555.5012 | 1223152.7784
52 | 2666490.6215 | 1223157.8989 | 2666494.5353 | 1223153.7844
53 | 2666490.6215 | 1223157.8989 | 2666473.1852 | 1223171.9822
54 | 2666346.4261 | 1223280.4249 | 2666430.7179 | 1223211.2321
55 | 2666584.7737 | 1223164.9664 | 2666584.5771 | 1223188.6461 | 2666584.3127 | 1223198.6993
56 | 2666584.7737 | 1223164.9664 | 2666580.5348 | 1223163.5626 | 2666555.5012 | 1223152.7784
57 | 2666494.5353 | 1223153.7844 | 2666498.2501 | 1223149.1562 | 2666500.1474 | 1223145.462
58 | 2666346.4261 | 1223280.4249 | 2666343.2925 | 1223277.1546
59 | 2666500.1474 | 1223145.462 | 2666503.7235 | 1223138.4994 | 2666504.4891 | 1223133.5558
60 | 2666229.1453 | 1223211.9646 | 2666230.3039 | 1223216.8917 | 2666234.0769 | 1223222.0036 | 2666313.5661 | 1223264.6933 | 2666318.5708 | 1223272.2427 | 2666316.3195 | 1223278.266 | 2666315.4973 | 1223286.7178 | 2666318.2034 | 1223292.2848 | 2666320.7846 | 1223295.4378 | 2666343.2925 | 1223277.1546
61 | 2666520.3347 | 1223078.1437 | 2666511.1179 | 1223099.0425
62 | 2666505.8486 | 1223120.4396 | 2666506.0259 | 1223114.343 | 2666508.9013 | 1223104.0685 | 2666511.1179 | 1223099.0425
63 | 2666505.8486 | 1223120.4396 | 2666505.6933 | 1223125.7799 | 2666504.4891 | 1223133.5558
64 | 2666473.149 | 1222975.8094 | 2666467.0143 | 1222996.0983 | 2666457.0861 | 1223023.105
65 | 2666473.149 | 1222975.8094 | 2666451.2942 | 1222967.3934 | 2666447.7479 | 1222966.431 | 2666445.0348 | 1222966.7661
66 | 2666478.2501 | 1222967.939 | 2666473.149 | 1222975.8094
67 | 2666430.5762 | 1222968.5519 | 2666445.0348 | 1222966.7661
68 | 2666478.2501 | 1222967.939 | 2666487.3652 | 1222951.9676
69 | 2666487.3652 | 1222951.9676 | 2666503.0436 | 1222924.4957
70 | 2666720.2805 | 1222999.9607 | 2666714.5564 | 1223001.4361 | 2666707.0022 | 1223000.7454
71 | 2666672.5764 | 1223003.5896 | 2666680.3732 | 1223002.3
72 | 2666730.7795 | 1222997.2547 | 2666720.2805 | 1222999.9607
73 | 2666747.1362 | 1222993.0388 | 2666730.7795 | 1222997.2547
74 | 2666995.365 | 1223241.7091 | 2666961.2143 | 1223244.681
75 | 2666246.1723 | 1223130.7797 | 2666237.5338 | 1223166.929 | 2666228.2928 | 1223195.8892 | 2666228.1199 | 1223203.9258 | 2666229.1453 | 1223211.9646

## bus_geodata
| x | y | coords
0 | 2666678.6148 | 1222923.1045
1 | 2666683.7724 | 1222944.1919
2 | 2666681.6512 | 1222889.4959
3 | 2666690.0627 | 1222969.9106
4 | 2666647.3258 | 1222871.7558
5 | 2666692.3336 | 1222979.1952
6 | 2666625.5869 | 1222882.7864
7 | 2666619.5712 | 1222946.4631
8 | 2666517.3513 | 1222803.3035
9 | 2666699.4382 | 1222996.2746
10 | 2666705.4351 | 1222974.9919
11 | 2666475.8878 | 1222806.3104
12 | 2666591.9851 | 1222902.0451
13 | 2666553.2974 | 1222887.1143
14 | 2666580.5652 | 1222930.8811
15 | 2666615.004 | 1222962.8143
16 | 2666518.4992 | 1222897.4054
17 | 2666576.5438 | 1222981.4995
18 | 2666581.651 | 1223019.2734
19 | 2666782.3506 | 1222983.9625
20 | 2666917.952 | 1223051.1721
21 | 2666753.9177 | 1222991.2909
22 | 2666604.6997 | 1222999.7055
23 | 2666600.9506 | 1223013.1277
24 | 2666598.0092 | 1223025.2137
25 | 2666628.2781 | 1223020.4114
26 | 2666444.7884 | 1222806.2398
27 | 2666371.6437 | 1222806.6584
28 | 2666444.2842 | 1222808.6024
29 | 2666573.8234 | 1222947.9048
30 | 2666591.9287 | 1223069.8916
31 | 2666643.4308 | 1223024.4501
32 | 2666537.4057 | 1223004.9997
33 | 2666550.5606 | 1222972.6647
34 | 2666543.1353 | 1223025.4227
35 | 2666541.0684 | 1223030.6408
36 | 2666532.4716 | 1223050.6235
37 | 2666521.6486 | 1223075.1646
38 | 2666327.6051 | 1222807.5972
39 | 2666350.0084 | 1222805.3206
40 | 2666503.4452 | 1222923.792
41 | 2666549.6023 | 1223198.7056
42 | 2666575.7354 | 1223211.9615
43 | 2666583.9436 | 1223212.7322
44 | 2666494.8918 | 1223161.2487
45 | 2666499.2095 | 1223157.639
46 | 2666490.6215 | 1223157.8989
47 | 2666430.7179 | 1223211.2321
48 | 2666584.3127 | 1223198.6993
49 | 2666555.5012 | 1223152.7784
50 | 2666494.5353 | 1223153.7844
51 | 2666473.1852 | 1223171.9822
52 | 2666346.4261 | 1223280.4249
53 | 2666584.7737 | 1223164.9664
54 | 2666500.1474 | 1223145.462
55 | 2666343.2925 | 1223277.1546
56 | 2666520.3347 | 1223078.1437
57 | 2666511.1179 | 1223099.0425
58 | 2666505.8486 | 1223120.4396
59 | 2666504.4891 | 1223133.5558
60 | 2666457.0861 | 1223023.105
61 | 2666473.149 | 1222975.8094
62 | 2666445.0348 | 1222966.7661
63 | 2666478.2501 | 1222967.939
64 | 2666430.5762 | 1222968.5519
65 | 2666487.3652 | 1222951.9676
66 | 2666503.0436 | 1222924.4957
67 | 2666707.0022 | 1223000.7454
68 | 2666680.3732 | 1223002.3
69 | 2666720.2805 | 1222999.9607
70 | 2666672.5764 | 1223003.5896
71 | 2666747.1362 | 1222993.0388
72 | 2666730.7795 | 1222997.2547
73 | 2666961.2143 | 1223244.681
74 | 2666995.365 | 1223241.7091
75 | 2666229.1453 | 1223211.9646
76 | 2666246.1723 | 1223130.7797
77 | 2666543.1353 | 1223025.4227

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97471 | -0.48793 | 0.0026538 | 0.00066511
1 | 0.97401 | -0.50173 | 0.0029462 | 0.0007384
2 | 0.97589 | -0.46464 | 0 | 0
3 | 0.97323 | -0.51716 | 0.0036557 | 0.00091621
4 | 0.97659 | -0.45101 | 0 | 0
5 | 0.97298 | -0.52209 | 0 | 0
6 | 0.976 | -0.46258 | 0 | 0
7 | 0.97851 | -0.41345 | 0.0051457 | 0.0012896
8 | 0.97346 | -0.51258 | 0 | 0
9 | 0.97258 | -0.52984 | 0 | 0
10 | 0.97291 | -0.52342 | 0.0052714 | 0.0013211
11 | 0.97292 | -0.52328 | 0.0020917 | 0.00052422
12 | 0.98802 | -0.22955 | 0 | 0
13 | 0.98627 | -0.26349 | 0 | 0
14 | 0.98933 | -0.20419 | 0.0049139 | 0.0012315
15 | 0.9788 | -0.40764 | 0.010415 | 0.0026102
16 | 0.98443 | -0.29944 | 0.011967 | 0.0029991
17 | 0.97975 | -0.38914 | 0.0056691 | 0.0014208
18 | 0.98003 | -0.38368 | 0.0032269 | 0.00080875
19 | 0.97177 | -0.54592 | 0.0016297 | 0.00040845
20 | 0.97131 | -0.55509 | 0 | 0
21 | 0.97191 | -0.54325 | 0.0013238 | 0.00033177
22 | 0.9796 | -0.39212 | 0.0016976 | 0.00042545
23 | 0.97989 | -0.38634 | 0 | 0
24 | 0.98017 | -0.38087 | 0 | 0
25 | 0.97979 | -0.38846 | 0.0018068 | 0.00045283
26 | 0.97255 | -0.53052 | 0 | 0
27 | 0.97208 | -0.53972 | 0.001632 | 0.00040903
28 | 0.97256 | -0.53022 | 0 | 0
29 | 0.99019 | -0.18764 | 0 | 0
30 | 0.98132 | -0.35862 | 0.0015873 | 0.00039781
31 | 0.97975 | -0.38912 | 0.0023264 | 0.00058304
32 | 0.99413 | -0.11205 | 0.0113 | 0.0028321
33 | 0.99203 | -0.15227 | 0.014407 | 0.0036108
34 | 0.99577 | -0.080459 | 0 | 0
35 | 0.99617 | -0.072915 | 0.0010551 | 0.00026443
36 | 0.99772 | -0.043328 | 0.0042204 | 0.0010577
37 | 0.99974 | -0.0050041 | 0.0063838 | 0.0015999
38 | 0.97201 | -0.54115 | 0.0050753 | 0.001272
39 | 0.97198 | -0.5418 | 0.0051804 | 0.0012983
40 | 0.98348 | -0.31797 | 0 | 0
41 | 0.97832 | -0.41745 | 0.054646 | 0.013695
42 | 0.97984 | -0.3877 | 0.0097768 | 0.0024503
43 | 0.98033 | -0.37806 | 0 | 0
44 | 0.99055 | -0.18003 | 0 | 0
45 | 0.99014 | -0.18785 | 0 | 0
46 | 0.99098 | -0.17173 | 0 | 0
47 | 0.98876 | -0.21474 | 0.016238 | 0.0040697
48 | 0.98117 | -0.36168 | 0.018982 | 0.0047572
49 | 0.98541 | -0.27919 | 0.068261 | 0.017108
50 | 0.99152 | -0.16141 | 0 | 0
51 | 0.98998 | -0.19125 | 0.049021 | 0.012286
52 | 0.98799 | -0.22977 | 0 | 0
53 | 0.98377 | -0.31087 | 0 | 0
54 | 0.99248 | -0.14308 | 0.0010361 | 0.00025967
55 | 0.98796 | -0.2304 | 0 | 0
56 | 1 | 0 | -0.45829 | -0.1169
57 | 0.99746 | -0.048185 | 0.0068102 | 0.0017068
58 | 0.99502 | -0.094494 | 0.030281 | 0.0075891
59 | 0.9937 | -0.11973 | 0.016182 | 0.0040556
60 | 0.98209 | -0.34514 | 0.0058801 | 0.0014737
61 | 0.98236 | -0.33983 | 0 | 0
62 | 0.98222 | -0.34258 | 0.0030291 | 0.00075915
63 | 0.98245 | -0.33797 | 0 | 0
64 | 0.98219 | -0.34313 | 0.0020746 | 0.00051994
65 | 0.98264 | -0.33433 | 0.016808 | 0.0042125
66 | 0.98345 | -0.31847 | 0.0061 | 0.0015288
67 | 0.97243 | -0.53284 | 0.0021419 | 0.00053681
68 | 0.9725 | -0.53146 | 0.0022952 | 0.00057524
69 | 0.97223 | -0.53689 | 0.0041528 | 0.0010408
70 | 0.97249 | -0.53175 | 0.002031 | 0.00050903
71 | 0.97195 | -0.54245 | 0.0037908 | 0.00095006
72 | 0.9721 | -0.53932 | 0.0021055 | 0.00052769
73 | 0.97052 | -0.57066 | 0.003272 | 0.00082005
74 | 0.97063 | -0.56858 | 0 | 0
75 | 0.98679 | -0.25316 | 0 | 0
76 | 0.98619 | -0.26474 | 0.0077176 | 0.0019342
77 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.034691 | 0.0087162 | -0.034669 | -0.0087019 | 2.2841e-05 | 1.4348e-05 | 0.052969 | 0.052969 | 0.052969 | 0.97471 | -0.48793 | 0.97401 | -0.50173 | 14.5519
1 | -0.037345 | -0.0093813 | 0.037387 | 0.0094075 | 4.1556e-05 | 2.617e-05 | 0.05702 | 0.05702 | 0.05702 | 0.97471 | -0.48793 | 0.97589 | -0.46464 | 15.6649
2 | 0.031722 | 0.0079635 | -0.031699 | -0.0079489 | 2.3324e-05 | 1.4598e-05 | 0.048468 | 0.048468 | 0.048468 | 0.97401 | -0.50173 | 0.97323 | -0.51716 | 13.3154
3 | -0.037387 | -0.0094075 | 0.037411 | 0.0094221 | 2.4369e-05 | 1.4597e-05 | 0.05702 | 0.05702 | 0.05702 | 0.97589 | -0.46464 | 0.97659 | -0.45101 | 7.8324
4 | 0.028043 | 0.0070326 | -0.028037 | -0.0070285 | 6.5901e-06 | 4.0989e-06 | 0.042878 | 0.042879 | 0.042879 | 0.97323 | -0.51716 | 0.97298 | -0.52209 | 11.7798
5 | 0.014038 | 0.0035345 | -0.01403 | -0.00353 | 7.7665e-06 | 4.4048e-06 | 0.021395 | 0.021395 | 0.021395 | 0.97659 | -0.45101 | 0.976 | -0.46258 | 5.8779
6 | -0.051449 | -0.012957 | 0.051542 | 0.013014 | 9.2566e-05 | 5.7229e-05 | 0.078415 | 0.078414 | 0.078415 | 0.97659 | -0.45101 | 0.97851 | -0.41345 | 10.7713
7 | 0.022765 | 0.0057074 | -0.022757 | -0.0057022 | 8.4063e-06 | 5.1504e-06 | 0.034816 | 0.034816 | 0.034816 | 0.97298 | -0.52209 | 0.97258 | -0.52984 | 9.5649
8 | 0.0052717 | 0.0013212 | -0.0052714 | -0.0013211 | 3.3539e-07 | 4.3772e-08 | 0.0080623 | 0.0080624 | 0.0080624 | 0.97298 | -0.52209 | 0.97291 | -0.52342 | 2.2149
9 | 0.01403 | 0.00353 | -0.013997 | -0.0035111 | 3.3435e-05 | 1.8971e-05 | 0.021395 | 0.021396 | 0.021396 | 0.976 | -0.46258 | 0.97346 | -0.51258 | 5.8781
10 | -0.056687 | -0.014303 | 0.056703 | 0.014313 | 1.5783e-05 | 9.461e-06 | 0.086239 | 0.086239 | 0.086239 | 0.97851 | -0.41345 | 0.9788 | -0.40764 | 7.8974
11 | 0.013997 | 0.0035111 | -0.01399 | -0.003507 | 7.137e-06 | 4.0512e-06 | 0.021396 | 0.021397 | 0.021397 | 0.97346 | -0.51258 | 0.97292 | -0.52328 | 5.8782
12 | 0.01843 | 0.0046181 | -0.018427 | -0.0046165 | 2.6344e-06 | 1.5764e-06 | 0.028197 | 0.028197 | 0.028197 | 0.97258 | -0.52984 | 0.97243 | -0.53284 | 7.7464
13 | 0.0043266 | 0.0010842 | -0.0043263 | -0.0010842 | 3.3302e-07 | -3.8349e-08 | 0.0066195 | 0.0066196 | 0.0066196 | 0.97258 | -0.52984 | 0.9725 | -0.53146 | 1.8186
14 | 0.011898 | 0.0029828 | -0.011894 | -0.0029807 | 3.9349e-06 | 2.125e-06 | 0.018197 | 0.018198 | 0.018198 | 0.97292 | -0.52328 | 0.97256 | -0.53022 | 4.9993
15 | 0.046069 | 0.011625 | -0.045994 | -0.011577 | 7.473e-05 | 4.7299e-05 | 0.069411 | 0.069411 | 0.069411 | 0.98802 | -0.22955 | 0.98627 | -0.26349 | 19.0689
16 | -0.046069 | -0.011625 | 0.046125 | 0.01166 | 5.6034e-05 | 3.5464e-05 | 0.069411 | 0.06941 | 0.069411 | 0.98802 | -0.22955 | 0.98933 | -0.20419 | 19.0688
17 | 0.045994 | 0.011577 | -0.045915 | -0.011527 | 7.8884e-05 | 4.993e-05 | 0.069411 | 0.069411 | 0.069411 | 0.98627 | -0.26349 | 0.98443 | -0.29944 | 19.069
18 | -0.051039 | -0.012892 | 0.05108 | 0.012917 | 4.05e-05 | 2.5685e-05 | 0.076801 | 0.076801 | 0.076801 | 0.98933 | -0.20419 | 0.99019 | -0.18764 | 21.0992
19 | -0.067118 | -0.016923 | 0.067168 | 0.016954 | 4.9884e-05 | 3.048e-05 | 0.10207 | 0.10207 | 0.10207 | 0.9788 | -0.40764 | 0.9796 | -0.39212 | 9.3473
20 | 0.033949 | 0.0085282 | -0.033919 | -0.0085094 | 3.0007e-05 | 1.8819e-05 | 0.051323 | 0.051323 | 0.051323 | 0.98443 | -0.29944 | 0.98348 | -0.31797 | 14.0997
21 | -0.0056691 | -0.0014208 | 0.0056706 | 0.0014211 | 1.4761e-06 | 2.7581e-07 | 0.00861 | 0.0086098 | 0.00861 | 0.97975 | -0.38914 | 0.98003 | -0.38368 | 2.3654
22 | -0.0088975 | -0.0022298 | 0.0088987 | 0.0022304 | 1.1911e-06 | 5.4295e-07 | 0.013509 | 0.013509 | 0.013509 | 0.98003 | -0.38368 | 0.98017 | -0.38087 | 3.7114
23 | 0.0032759 | 0.00081746 | -0.0032745 | -0.00081842 | 1.4275e-06 | -9.6051e-07 | 0.0050149 | 0.0050156 | 0.0050156 | 0.97177 | -0.54592 | 0.97131 | -0.55509 | 1.3779
24 | -0.0049056 | -0.0012259 | 0.0049062 | 0.0012259 | 6.2107e-07 | 3.3664e-08 | 0.0075104 | 0.0075103 | 0.0075104 | 0.97177 | -0.54592 | 0.97191 | -0.54325 | 2.0633
25 | 0.0032745 | 0.00081842 | -0.0032724 | -0.00081983 | 2.1016e-06 | -1.4099e-06 | 0.0050156 | 0.0050166 | 0.0050166 | 0.97131 | -0.55509 | 0.97063 | -0.56858 | 1.3782
26 | -0.00623 | -0.0015577 | 0.0062303 | 0.0015578 | 2.3886e-07 | 6.6082e-08 | 0.009537 | 0.009537 | 0.009537 | 0.97191 | -0.54325 | 0.97195 | -0.54245 | 2.6201
27 | -0.068866 | -0.017379 | 0.068885 | 0.017391 | 1.9078e-05 | 1.1683e-05 | 0.10465 | 0.10465 | 0.10465 | 0.9796 | -0.39212 | 0.97989 | -0.38634 | 9.5834
28 | -0.073018 | -0.018426 | 0.073037 | 0.018438 | 1.9132e-05 | 1.1775e-05 | 0.11093 | 0.11093 | 0.11093 | 0.97989 | -0.38634 | 0.98017 | -0.38087 | 10.1582
29 | 0.0041337 | 0.0010356 | -0.0041332 | -0.0010357 | 4.1788e-07 | -8.8781e-08 | 0.006277 | 0.0062772 | 0.0062772 | 0.97989 | -0.38634 | 0.97979 | -0.38846 | 1.7245
30 | -0.081936 | -0.020668 | 0.082023 | 0.020723 | 8.7371e-05 | 5.4208e-05 | 0.12444 | 0.12444 | 0.12444 | 0.98017 | -0.38087 | 0.98132 | -0.35862 | 11.3953
31 | 0.0023264 | 0.00058289 | -0.0023264 | -0.00058304 | 7.3411e-08 | -1.5051e-07 | 0.0035332 | 0.0035332 | 0.0035332 | 0.97979 | -0.38846 | 0.97975 | -0.38912 | 0.97067
32 | 0.0068159 | 0.0017084 | -0.006813 | -0.0017074 | 2.9867e-06 | 1.0032e-06 | 0.010429 | 0.010429 | 0.010429 | 0.97255 | -0.53052 | 0.97208 | -0.53972 | 2.8651
33 | -0.0068159 | -0.0017084 | 0.006816 | 0.0017085 | 9.8532e-08 | 3.308e-08 | 0.010429 | 0.010429 | 0.010429 | 0.97255 | -0.53052 | 0.97256 | -0.53022 | 2.865
34 | 0.0051809 | 0.0012984 | -0.0051804 | -0.0012983 | 5.1127e-07 | 5.8514e-08 | 0.0079307 | 0.0079308 | 0.0079308 | 0.97208 | -0.53972 | 0.97198 | -0.5418 | 2.1788
35 | 0.0050779 | 0.0012722 | -0.0050753 | -0.001272 | 2.6438e-06 | 2.4346e-07 | 0.007769 | 0.0077695 | 0.0077695 | 0.97256 | -0.53022 | 0.97201 | -0.54115 | 2.1345
36 | -0.05108 | -0.012917 | 0.051166 | 0.012972 | 8.6841e-05 | 5.5072e-05 | 0.076801 | 0.076801 | 0.076801 | 0.99019 | -0.18764 | 0.99203 | -0.15227 | 21.0992
37 | -0.083611 | -0.02112 | 0.083803 | 0.02124 | 0.00019183 | 0.00011915 | 0.12684 | 0.12684 | 0.12684 | 0.98132 | -0.35862 | 0.98377 | -0.31087 | 11.6156
38 | 0.0657 | 0.016664 | -0.065573 | -0.016583 | 0.00012678 | 8.0687e-05 | 0.098411 | 0.098411 | 0.098411 | 0.99413 | -0.11205 | 0.99203 | -0.15227 | 27.036
39 | -0.077 | -0.019496 | 0.077117 | 0.01957 | 0.00011698 | 7.456e-05 | 0.11533 | 0.11532 | 0.11533 | 0.99413 | -0.11205 | 0.99577 | -0.080459 | 31.6827
40 | -0.077117 | -0.01957 | 0.077145 | 0.019588 | 2.7993e-05 | 1.7842e-05 | 0.11532 | 0.11532 | 0.11532 | 0.99577 | -0.080459 | 0.99617 | -0.072915 | 31.6827
41 | -0.0782 | -0.019853 | 0.078312 | 0.019924 | 0.00011149 | 7.1073e-05 | 0.1169 | 0.1169 | 0.1169 | 0.99617 | -0.072915 | 0.99772 | -0.043328 | 32.1157
42 | -0.082532 | -0.020981 | 0.082685 | 0.021079 | 0.00015265 | 9.7346e-05 | 0.1232 | 0.1232 | 0.1232 | 0.99772 | -0.043328 | 0.99974 | -0.0050041 | 33.8448
43 | -0.089069 | -0.022679 | 0.08909 | 0.022692 | 2.15e-05 | 1.3717e-05 | 0.1327 | 0.1327 | 0.1327 | 0.99974 | -0.0050041 | 1 | 0 | 36.4551
44 | 0.033919 | 0.0085094 | -0.033918 | -0.0085089 | 8.003e-07 | 5.0191e-07 | 0.051323 | 0.051323 | 0.051323 | 0.98348 | -0.31797 | 0.98345 | -0.31847 | 14.0997
45 | -0.054646 | -0.013695 | 0.054723 | 0.013745 | 7.7554e-05 | 4.9258e-05 | 0.083115 | 0.083115 | 0.083115 | 0.97832 | -0.41745 | 0.97984 | -0.3877 | 22.8339
46 | -0.0645 | -0.016195 | 0.06453 | 0.016214 | 2.9669e-05 | 1.8884e-05 | 0.097963 | 0.097963 | 0.097963 | 0.97984 | -0.3877 | 0.98033 | -0.37806 | 26.9128
47 | -0.06453 | -0.016214 | 0.06458 | 0.016246 | 5.0518e-05 | 3.2155e-05 | 0.097963 | 0.097962 | 0.097963 | 0.98033 | -0.37806 | 0.98117 | -0.36168 | 26.9128
48 | 0.23721 | 0.060362 | -0.23712 | -0.060305 | 8.935e-05 | 5.6967e-05 | 0.35667 | 0.35667 | 0.35667 | 0.99055 | -0.18003 | 0.99014 | -0.18785 | 32.6617
49 | -0.26123 | -0.066397 | 0.26133 | 0.066464 | 0.00010447 | 6.6648e-05 | 0.39275 | 0.39275 | 0.39275 | 0.99055 | -0.18003 | 0.99098 | -0.17173 | 35.9657
50 | 0.024014 | 0.0060354 | -0.023974 | -0.006011 | 3.9716e-05 | 2.4373e-05 | 0.03608 | 0.03608 | 0.03608 | 0.99055 | -0.18003 | 0.98876 | -0.21474 | 9.9122
51 | 0.23712 | 0.060305 | -0.23608 | -0.059642 | 0.0010385 | 0.00066215 | 0.35667 | 0.35667 | 0.35667 | 0.99014 | -0.18785 | 0.98541 | -0.27919 | 32.6618
52 | -0.3104 | -0.078778 | 0.31055 | 0.078877 | 0.00015422 | 9.8481e-05 | 0.46643 | 0.46643 | 0.46643 | 0.99098 | -0.17173 | 0.99152 | -0.16141 | 42.7131
53 | 0.049066 | 0.012315 | -0.049021 | -0.012286 | 4.5631e-05 | 2.8915e-05 | 0.073682 | 0.073682 | 0.073682 | 0.99098 | -0.17173 | 0.98998 | -0.19125 | 20.2422
54 | 0.007736 | 0.0019414 | -0.0077304 | -0.0019392 | 5.5439e-06 | 2.1505e-06 | 0.011643 | 0.011643 | 0.011643 | 0.98876 | -0.21474 | 0.98799 | -0.22977 | 3.1988
55 | -0.083562 | -0.021003 | 0.083765 | 0.021133 | 0.00020325 | 0.00012965 | 0.12675 | 0.12675 | 0.12675 | 0.98117 | -0.36168 | 0.98377 | -0.31087 | 34.8213
56 | 0.16782 | 0.042535 | -0.16757 | -0.042373 | 0.00025501 | 0.00016199 | 0.25359 | 0.25359 | 0.25359 | 0.98541 | -0.27919 | 0.98377 | -0.31087 | 23.2226
57 | -0.31055 | -0.078877 | 0.31082 | 0.079052 | 0.00027432 | 0.00017518 | 0.46643 | 0.46643 | 0.46643 | 0.99152 | -0.16141 | 0.99248 | -0.14308 | 42.7131
58 | 0.0077304 | 0.0019392 | -0.0077302 | -0.0019391 | 2.2994e-07 | 8.9244e-08 | 0.011643 | 0.011643 | 0.011643 | 0.98799 | -0.22977 | 0.98796 | -0.2304 | 3.1988
59 | -0.31186 | -0.079312 | 0.31221 | 0.079536 | 0.00035123 | 0.00022429 | 0.46798 | 0.46798 | 0.46798 | 0.99248 | -0.14308 | 0.9937 | -0.11973 | 42.8553
60 | 0.0077302 | 0.0019391 | -0.0077218 | -0.0019359 | 8.3831e-06 | 3.2563e-06 | 0.011643 | 0.011644 | 0.011644 | 0.98796 | -0.2304 | 0.98679 | -0.25316 | 3.199
61 | 0.36755 | 0.094204 | -0.36669 | -0.093657 | 0.00085632 | 0.00054715 | 0.54765 | 0.54765 | 0.54765 | 1 | 0 | 0.99746 | -0.048185 | 50.1515
62 | 0.35988 | 0.09195 | -0.35907 | -0.091436 | 0.00080392 | 0.00051364 | 0.53749 | 0.53749 | 0.53749 | 0.99746 | -0.048185 | 0.99502 | -0.094494 | 49.2212
63 | 0.32879 | 0.083847 | -0.32839 | -0.083591 | 0.00040009 | 0.00025554 | 0.49221 | 0.49221 | 0.49221 | 0.99502 | -0.094494 | 0.9937 | -0.11973 | 45.0743
64 | -0.0058801 | -0.0014737 | 0.0058816 | 0.001474 | 1.4874e-06 | 3.1945e-07 | 0.0089093 | 0.0089091 | 0.0089093 | 0.98209 | -0.34514 | 0.98236 | -0.33983 | 2.4476
65 | 0.0051044 | 0.001279 | -0.0051037 | -0.0012789 | 6.6866e-07 | 5.0364e-08 | 0.0077317 | 0.0077318 | 0.0077318 | 0.98236 | -0.33983 | 0.98222 | -0.34258 | 2.1241
66 | -0.010986 | -0.002753 | 0.010987 | 0.0027535 | 9.7322e-07 | 5.0419e-07 | 0.016641 | 0.016641 | 0.016641 | 0.98236 | -0.33983 | 0.98245 | -0.33797 | 4.5716
67 | 0.0020746 | 0.00051979 | -0.0020746 | -0.00051994 | 5.3966e-08 | -1.4985e-07 | 0.0031429 | 0.003143 | 0.003143 | 0.98222 | -0.34258 | 0.98219 | -0.34313 | 0.86346
68 | -0.010987 | -0.0027535 | 0.010989 | 0.0027545 | 1.9096e-06 | 9.8924e-07 | 0.016641 | 0.016641 | 0.016641 | 0.98245 | -0.33797 | 0.98264 | -0.33433 | 4.5716
69 | -0.027797 | -0.006967 | 0.027818 | 0.0069801 | 2.1017e-05 | 1.305e-05 | 0.042093 | 0.042093 | 0.042093 | 0.98264 | -0.33433 | 0.98345 | -0.31847 | 11.5641
70 | 0.016285 | 0.0040797 | -0.016282 | -0.0040778 | 3.143e-06 | 1.8441e-06 | 0.024919 | 0.024919 | 0.024919 | 0.97243 | -0.53284 | 0.97223 | -0.53689 | 6.846
71 | 0.0020311 | 0.00050895 | -0.002031 | -0.00050903 | 2.8622e-08 | -7.9736e-08 | 0.0031077 | 0.0031077 | 0.0031077 | 0.9725 | -0.53146 | 0.97249 | -0.53175 | 0.85377
72 | 0.012129 | 0.003037 | -0.012128 | -0.0030363 | 1.4011e-06 | 7.6225e-07 | 0.018563 | 0.018563 | 0.018563 | 0.97223 | -0.53689 | 0.9721 | -0.53932 | 5.0998
73 | -0.010021 | -0.0025078 | 0.010023 | 0.0025086 | 1.4906e-06 | 7.4464e-07 | 0.015341 | 0.01534 | 0.015341 | 0.97195 | -0.54245 | 0.9721 | -0.53932 | 4.2144
74 | -0.003272 | -0.00082005 | 0.0032724 | 0.00081983 | 3.2352e-07 | -2.166e-07 | 0.0050167 | 0.0050166 | 0.0050167 | 0.97052 | -0.57066 | 0.97063 | -0.56858 | 1.3782
75 | 0.0077218 | 0.0019359 | -0.0077176 | -0.0019342 | 4.2564e-06 | 1.6553e-06 | 0.011644 | 0.011645 | 0.011645 | 0.98679 | -0.25316 | 0.98619 | -0.26474 | 3.1991

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45959 | 0.11722

## res_load
| p_mw | q_mvar
0 | 0.0026538 | 0.00066511
1 | 0.0029462 | 0.0007384
2 | 0.0036557 | 0.00091621
3 | 0.0051457 | 0.0012896
4 | 0.0052714 | 0.0013211
5 | 0.0020917 | 0.00052422
6 | 0.0049139 | 0.0012315
7 | 0.010415 | 0.0026102
8 | 0.011967 | 0.0029991
9 | 0.0056691 | 0.0014208
10 | 0.0032269 | 0.00080875
11 | 0.0016297 | 0.00040845
12 | 0.0013238 | 0.00033177
13 | 0.0016976 | 0.00042545
14 | 0.0018068 | 0.00045283
15 | 0.001632 | 0.00040903
16 | 0.0015873 | 0.00039781
17 | 0.0023264 | 0.00058304
18 | 0.0113 | 0.0028321
19 | 0.014407 | 0.0036108
20 | 0.0010551 | 0.00026443
21 | 0.0042204 | 0.0010577
22 | 0.0063838 | 0.0015999
23 | 0.0050753 | 0.001272
24 | 0.0051804 | 0.0012983
25 | 0.054646 | 0.013695
26 | 0.0097768 | 0.0024503
27 | 0.016238 | 0.0040697
28 | 0.018982 | 0.0047572
29 | 0.068261 | 0.017108
30 | 0.049021 | 0.012286
31 | 0.0010361 | 0.00025967
32 | 0.0013086 | 0.00032798
33 | 0.0068102 | 0.0017068
34 | 0.030281 | 0.0075891
35 | 0.016182 | 0.0040556
36 | 0.0058801 | 0.0014737
37 | 0.0030291 | 0.00075915
38 | 0.0020746 | 0.00051994
39 | 0.016808 | 0.0042125
40 | 0.0061 | 0.0015288
41 | 0.0021419 | 0.00053681
42 | 0.0022952 | 0.00057524
43 | 0.0041528 | 0.0010408
44 | 0.002031 | 0.00050903
45 | 0.0037908 | 0.00095006
46 | 0.0021055 | 0.00052769
47 | 0.003272 | 0.00082005
48 | 0.0077176 | 0.0019342

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1