## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1026-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1026-7_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1026-7_0_5_node_11 | 0.4 | n |  | TRUE
3 | bus_LV_1026-7_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1026-7_0_5_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_1026-7_0_5_node_83 | 0.4 | n |  | TRUE
6 | bus_LV_1026-7_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1026-7_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1026-7_0_5_node_61 | 0.4 | n |  | TRUE
9 | bus_LV_1026-7_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1026-7_0_5_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1026-7_0_5_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_1026-7_0_5_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_1026-7_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1026-7_0_5_node_85 | 0.4 | n |  | TRUE
15 | bus_LV_1026-7_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1026-7_0_5_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_1026-7_0_5_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_1026-7_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1026-7_0_5_node_88 | 0.4 | n |  | TRUE
20 | bus_LV_1026-7_0_5_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_1026-7_0_5_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_1026-7_0_5_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_1026-7_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1026-7_0_5_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1026-7_0_5_node_82 | 0.4 | n |  | TRUE
26 | bus_LV_1026-7_0_5_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1026-7_0_5_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_1026-7_0_5_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_1026-7_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_1026-7_0_5_node_84 | 0.4 | n |  | TRUE
31 | bus_LV_1026-7_0_5_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_1026-7_0_5_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_1026-7_0_5_node_67 | 0.4 | n |  | TRUE
34 | bus_LV_1026-7_0_5_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_1026-7_0_5_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_1026-7_0_5_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_1026-7_0_5_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_1026-7_0_5_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_1026-7_0_5_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1026-7_0_5_node_79 | 0.4 | n |  | TRUE
41 | bus_LV_1026-7_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1026-7_0_5_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_1026-7_0_5_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_1026-7_0_5_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_1026-7_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_1026-7_0_5_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_1026-7_0_5_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_1026-7_0_5_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_1026-7_0_5_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_1026-7_0_5_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_1026-7_0_5_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_1026-7_0_5_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_1026-7_0_5_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_1026-7_0_5_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_1026-7_0_5_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_1026-7_0_5_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_1026-7_0_5_node_80 | 0.4 | n |  | TRUE
58 | bus_LV_1026-7_0_5_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_1026-7_0_5_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_1026-7_0_5_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_1026-7_0_5_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_1026-7_0_5_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_1026-7_0_5_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_1026-7_0_5_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_1026-7_0_5_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_1026-7_0_5_node_87 | 0.4 | n |  | TRUE
67 | bus_LV_1026-7_0_5_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_1026-7_0_5_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_1026-7_0_5_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_1026-7_0_5_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_1026-7_0_5_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_1026-7_0_5_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_1026-7_0_5_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_1026-7_0_5_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_1026-7_0_5_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_1026-7_0_5_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_1026-7_0_5_node_72 | 0.4 | n |  | TRUE
78 | bus_MV_353_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1026-7_0_5_load_0 | 0 | 0.024029 | 0.0060223 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1026-7_0_5_load_83 | 5 | 0.0032861 | 0.00082357 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1026-7_0_5_load_61 | 8 | 0.0058686 | 0.0014708 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1026-7_0_5_load_60 | 12 | 0.011966 | 0.0029991 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1026-7_0_5_load_85 | 14 | 0.0041143 | 0.0010311 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1026-7_0_5_load_44 | 16 | 0.0037348 | 0.00093603 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1026-7_0_5_load_76 | 17 | 0.0059226 | 0.0014843 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1026-7_0_5_load_88 | 19 | 0.003441 | 0.0008624 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1026-7_0_5_load_23 | 20 | 0.053301 | 0.013358 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1026-7_0_5_load_52 | 21 | 0.064164 | 0.016081 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1026-7_0_5_load_51 | 22 | 0.0097165 | 0.0024352 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1026-7_0_5_load_82 | 25 | 0.0060528 | 0.001517 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1026-7_0_5_load_35 | 27 | 0.0092968 | 0.00233 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1026-7_0_5_load_63 | 28 | 0.0018552 | 0.00046496 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1026-7_0_5_load_84 | 30 | 0.001279 | 0.00032056 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1026-7_0_5_load_18 | 31 | 0.0066179 | 0.0016586 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1026-7_0_5_load_19 | 32 | 0.0064951 | 0.0016278 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1026-7_0_5_load_67 | 33 | 0.0056148 | 0.0014072 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1026-7_0_5_load_41 | 34 | 0.011097 | 0.0027811 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1026-7_0_5_load_42 | 35 | 0.0080972 | 0.0020294 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1026-7_0_5_load_24 | 36 | 0.048117 | 0.012059 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1026-7_0_5_load_68 | 37 | 0.022804 | 0.0057152 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1026-7_0_5_load_79 | 40 | 0.0081709 | 0.0020478 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1026-7_0_5_load_31 | 42 | 0.016493 | 0.0041336 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1026-7_0_5_load_62 | 43 | 0.029139 | 0.0073029 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1026-7_0_5_load_30 | 46 | 0.0068074 | 0.0017061 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1026-7_0_5_load_26 | 47 | 0.053318 | 0.013363 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1026-7_0_5_load_66 | 48 | 0.012126 | 0.003039 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1026-7_0_5_load_54 | 49 | 0.0053478 | 0.0013403 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1026-7_0_5_load_27 | 50 | 0.0024318 | 0.00060947 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1026-7_0_5_load_75 | 52 | 0.0023616 | 0.00059187 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1026-7_0_5_load_58 | 53 | 0.0023636 | 0.00059238 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1026-7_0_5_load_53 | 54 | 0.010035 | 0.002515 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1026-7_0_5_load_32 | 55 | 0.026876 | 0.0067358 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1026-7_0_5_load_36 | 56 | 0.0085718 | 0.0021483 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1026-7_0_5_load_80 | 57 | 0.014072 | 0.0035267 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1026-7_0_5_load_49 | 59 | 0.0061688 | 0.001546 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1026-7_0_5_load_50 | 60 | 0.0067814 | 0.0016996 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1026-7_0_5_load_46 | 61 | 0.0091938 | 0.0023042 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1026-7_0_5_load_47 | 65 | 0.0057744 | 0.0014472 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1026-7_0_5_load_87 | 66 | 0.0026706 | 0.00066931 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1026-7_0_5_load_55 | 67 | 0.002164 | 0.00054236 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1026-7_0_5_load_56 | 68 | 0.0023617 | 0.00059189 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1026-7_0_5_load_57 | 69 | 0.0021665 | 0.00054298 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1026-7_0_5_load_59 | 70 | 0.0024356 | 0.00061042 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1026-7_0_5_load_64 | 71 | 0.0012331 | 0.00030904 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1026-7_0_5_load_65 | 72 | 0.00057478 | 0.00014405 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1026-7_0_5_load_74 | 74 | 0.0019316 | 0.00048411 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1026-7_0_5_load_73 | 75 | 0.0069075 | 0.0017312 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1026-7_0_5_load_71 | 76 | 0.0016152 | 0.00040481 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1026-7_0_5_load_72 | 77 | 0.0016652 | 0.00041733 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1026-7_0_5_line_0 |  | 0 | 1 | 0.0032176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1026-7_0_5_line_1 |  | 1 | 2 | 0.021535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1026-7_0_5_line_2 |  | 2 | 20 | 0.017428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1026-7_0_5_line_3 |  | 3 | 4 | 0.029669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1026-7_0_5_line_4 |  | 3 | 5 | 0.014815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1026-7_0_5_line_5 |  | 4 | 14 | 0.014613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1026-7_0_5_line_6 |  | 4 | 18 | 0.011487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1026-7_0_5_line_7 |  | 5 | 29 | 0.015454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1026-7_0_5_line_8 |  | 6 | 7 | 0.016883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1026-7_0_5_line_9 |  | 6 | 8 | 0.0032681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1026-7_0_5_line_10 |  | 7 | 13 | 0.022286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1026-7_0_5_line_11 |  | 7 | 14 | 0.016891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1026-7_0_5_line_12 |  | 9 | 10 | 0.055403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1026-7_0_5_line_13 |  | 9 | 11 | 0.006103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1026-7_0_5_line_14 |  | 9 | 12 | 0.028872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1026-7_0_5_line_15 |  | 10 | 21 | 0.0062542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1026-7_0_5_line_16 |  | 10 | 22 | 0.018604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1026-7_0_5_line_17 |  | 11 | 31 | 0.027568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1026-7_0_5_line_18 |  | 13 | 17 | 0.019084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1026-7_0_5_line_19 |  | 13 | 15 | 0.0402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1026-7_0_5_line_20 |  | 15 | 16 | 0.02056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1026-7_0_5_line_21 |  | 16 | 33 | 0.0015792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1026-7_0_5_line_22 |  | 18 | 19 | 0.020568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1026-7_0_5_line_23 |  | 20 | 36 | 0.048549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1026-7_0_5_line_24 |  | 21 | 37 | 0.030613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1026-7_0_5_line_25 |  | 22 | 38 | 0.019255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1026-7_0_5_line_26 |  | 23 | 24 | 0.00583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1026-7_0_5_line_27 |  | 23 | 25 | 0.0044372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1026-7_0_5_line_28 |  | 24 | 27 | 0.038037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1026-7_0_5_line_29 |  | 24 | 42 | 0.011717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1026-7_0_5_line_30 |  | 26 | 27 | 0.0069538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1026-7_0_5_line_31 |  | 26 | 28 | 0.0088446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1026-7_0_5_line_32 |  | 28 | 43 | 9.7277e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1026-7_0_5_line_33 |  | 29 | 30 | 0.011284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1026-7_0_5_line_34 |  | 31 | 32 | 0.019302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1026-7_0_5_line_35 |  | 33 | 48 | 0.025872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1026-7_0_5_line_36 |  | 34 | 35 | 0.0032479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1026-7_0_5_line_37 |  | 35 | 38 | 0.020817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1026-7_0_5_line_38 |  | 36 | 44 | 0.016413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1026-7_0_5_line_39 |  | 37 | 45 | 0.038894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_1026-7_0_5_line_40 |  | 39 | 40 | 0.014902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1026-7_0_5_line_41 |  | 39 | 41 | 0.013636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1026-7_0_5_line_42 |  | 40 | 64 | 0.022108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1026-7_0_5_line_43 |  | 41 | 56 | 0.035199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1026-7_0_5_line_44 |  | 41 | 55 | 0.023157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1026-7_0_5_line_45 |  | 42 | 55 | 0.0085434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1026-7_0_5_line_46 |  | 43 | 71 | 0.01318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1026-7_0_5_line_47 |  | 44 | 45 | 0.025425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_1026-7_0_5_line_48 |  | 44 | 46 | 0.015582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_1026-7_0_5_line_49 |  | 44 | 47 | 0.021118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1026-7_0_5_line_50 |  | 45 | 48 | 0.016185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_1026-7_0_5_line_51 |  | 46 | 49 | 0.013727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_1026-7_0_5_line_52 |  | 47 | 50 | 0.025706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1026-7_0_5_line_53 |  | 49 | 54 | 0.013222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_1026-7_0_5_line_54 |  | 50 | 51 | 0.029208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1026-7_0_5_line_55 |  | 51 | 52 | 0.05196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1026-7_0_5_line_56 |  | 52 | 53 | 0.00014244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1026-7_0_5_line_57 |  | 53 | 68 | 0.0001457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1026-7_0_5_line_58 |  | 54 | 59 | 0.027695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_1026-7_0_5_line_59 |  | 56 | 57 | 0.023172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1026-7_0_5_line_60 |  | 57 | 62 | 0.014385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1026-7_0_5_line_61 |  | 58 | 59 | 0.016771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_1026-7_0_5_line_62 |  | 58 | 60 | 0.020987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_1026-7_0_5_line_63 |  | 58 | 61 | 0.02729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1026-7_0_5_line_64 |  | 60 | 64 | 0.010266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1026-7_0_5_line_65 |  | 61 | 65 | 0.028031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1026-7_0_5_line_66 |  | 62 | 63 | 0.063923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1026-7_0_5_line_67 |  | 63 | 66 | 0.12911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1026-7_0_5_line_68 |  | 66 | 73 | 0.0013686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1026-7_0_5_line_69 |  | 67 | 68 | 0.033728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1026-7_0_5_line_70 |  | 67 | 69 | 0.00018183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1026-7_0_5_line_71 |  | 69 | 70 | 0.017763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1026-7_0_5_line_72 |  | 71 | 72 | 0.020285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1026-7_0_5_line_73 |  | 73 | 74 | 0.0066152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1026-7_0_5_line_74 |  | 74 | 77 | 0.010037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1026-7_0_5_line_75 |  | 75 | 76 | 0.0028245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1026-7_0_5_line_76 |  | 76 | 77 | 0.00030842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1026-7_0_5_trafo_66 | 0.63 MVA 20/0.4 kV | 78 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2666690.6524 | 1220440.9225 | 2666687.5516 | 1220440.0633
1 | 2666690.6524 | 1220440.9225 | 2666693.209 | 1220441.6293 | 2666711.8517 | 1220444.9957
2 | 2666711.8517 | 1220444.9957 | 2666729.1418 | 1220447.1869
3 | 2666800.0628 | 1220598.604 | 2666802.8954 | 1220600.4035 | 2666805.2533 | 1220601.9087 | 2666807.5485 | 1220602.2458 | 2666815.1758 | 1220602.7316 | 2666819.5101 | 1220602.5579 | 2666821.0309 | 1220593.4691
4 | 2666821.0309 | 1220593.4691 | 2666835.708 | 1220595.4863
5 | 2666800.0628 | 1220598.604 | 2666804.3224 | 1220592.2366 | 2666808.0264 | 1220586.3527
6 | 2666800.0628 | 1220598.604 | 2666797.4159 | 1220602.5657 | 2666793.6733 | 1220608.1606
7 | 2666851.0232 | 1220597.5526 | 2666843.0532 | 1220596.4959 | 2666835.708 | 1220595.4863
8 | 2666798.3622 | 1220566.231 | 2666814.6457 | 1220570.8609
9 | 2666798.3622 | 1220566.231 | 2666795.1681 | 1220565.5392
10 | 2666814.6457 | 1220570.8609 | 2666818.5029 | 1220571.9604 | 2666820.783 | 1220566.2046 | 2666822.817 | 1220560.7461 | 2666825.3849 | 1220555.038
11 | 2666814.6457 | 1220570.8609 | 2666812.6116 | 1220577.0087 | 2666808.6175 | 1220585.4137 | 2666808.0264 | 1220586.3527
12 | 2666686.56 | 1220515.6909 | 2666686.6104 | 1220514.5796 | 2666686.7554 | 1220511.1124 | 2666693.5065 | 1220511.2658 | 2666694.3726 | 1220506.4169 | 2666694.8096 | 1220503.9869 | 2666698.6385 | 1220500.8389 | 2666702.9456 | 1220499.0415 | 2666727.9184 | 1220488.6478
13 | 2666680.4483 | 1220516.0338 | 2666686.56 | 1220515.6909
14 | 2666686.56 | 1220515.6909 | 2666686.6934 | 1220518.6832 | 2666700.1967 | 1220521.5917 | 2666711.2325 | 1220526.465
15 | 2666727.9184 | 1220488.6478 | 2666733.8015 | 1220486.5256
16 | 2666727.9184 | 1220488.6478 | 2666736.4456 | 1220488.7434 | 2666746.2272 | 1220491.1639
17 | 2666680.4483 | 1220516.0338 | 2666664.8515 | 1220516.4596 | 2666652.8917 | 1220516.0933
18 | 2666825.3849 | 1220555.038 | 2666806.7303 | 1220551.0113
19 | 2666825.3849 | 1220555.038 | 2666827.9918 | 1220549.2302 | 2666829.852 | 1220520.7218 | 2666824.7609 | 1220522.0655
20 | 2666824.7609 | 1220522.0655 | 2666823.1607 | 1220501.5681
21 | 2666823.0378 | 1220499.9937 | 2666823.1607 | 1220501.5681
22 | 2666793.6733 | 1220608.1606 | 2666791.3 | 1220607.3446 | 2666773.5028 | 1220604.2849
23 | 2666777.5399 | 1220448.6591 | 2666771.2261 | 1220449.5192 | 2666738.0292 | 1220448.3132 | 2666729.1418 | 1220447.1869
24 | 2666762.5985 | 1220476.1378 | 2666733.8015 | 1220486.5256
25 | 2666764.918 | 1220495.7891 | 2666746.2272 | 1220491.1639
26 | 2666878.4428 | 1220524.6695 | 2666882.1325 | 1220529.1916
27 | 2666878.4428 | 1220524.6695 | 2666876.4369 | 1220522.2121 | 2666875.1819 | 1220522.0529
28 | 2666882.1325 | 1220529.1916 | 2666879.0798 | 1220533.4823 | 2666875.0325 | 1220539.1738 | 2666870.1625 | 1220548.5362 | 2666864.404 | 1220562.6395
29 | 2666882.1325 | 1220529.1916 | 2666890.1911 | 1220520.6859
30 | 2666861.7754 | 1220569.0774 | 2666864.404 | 1220562.6395
31 | 2666861.7754 | 1220569.0774 | 2666860.4134 | 1220577.5341 | 2666860.3667 | 1220577.8091
32 | 2666860.3504 | 1220577.905 | 2666860.3667 | 1220577.8091
33 | 2666851.0232 | 1220597.5526 | 2666849.2634 | 1220608.6981
34 | 2666652.8917 | 1220516.0933 | 2666633.5983 | 1220515.5026
35 | 2666812.0519 | 1220479.3814 | 2666819.2183 | 1220483.1898 | 2666822.0278 | 1220487.0571 | 2666823.0378 | 1220499.9937
36 | 2666780.8571 | 1220508.7568 | 2666783.0563 | 1220511.1468
37 | 2666764.918 | 1220495.7891 | 2666773.0395 | 1220500.2607 | 2666780.8571 | 1220508.7568
38 | 2666793.851 | 1220446.8934 | 2666786.0063 | 1220447.5058 | 2666777.5399 | 1220448.6591
39 | 2666797.76 | 1220471.7864 | 2666795.2413 | 1220475.8162 | 2666791.5108 | 1220477.62 | 2666781.2902 | 1220476.9717 | 2666770.3062 | 1220473.3574 | 2666762.5985 | 1220476.1378
40 | 2666913.3291 | 1220490.2726 | 2666908.3142 | 1220489.5603 | 2666898.5952 | 1220491.079
41 | 2666911.994 | 1220497.6735 | 2666917.9348 | 1220490.9359 | 2666913.3291 | 1220490.2726
42 | 2666878.2476 | 1220486.6542 | 2666884.68 | 1220491.5295 | 2666891.3873 | 1220492.2053 | 2666898.5952 | 1220491.079
43 | 2666911.994 | 1220497.6735 | 2666917.5884 | 1220502.8507 | 2666922.7766 | 1220505.0215 | 2666944.5856 | 1220507.5307
44 | 2666911.994 | 1220497.6735 | 2666896.067 | 1220514.484
45 | 2666890.1911 | 1220520.6859 | 2666896.067 | 1220514.484
46 | 2666860.3504 | 1220577.905 | 2666859.2759 | 1220584.2367 | 2666858.7066 | 1220588.9889 | 2666858.4724 | 1220590.9463
47 | 2666793.851 | 1220446.8934 | 2666797.8713 | 1220461.8702 | 2666797.76 | 1220471.7864
48 | 2666793.851 | 1220446.8934 | 2666801.1557 | 1220450.4553 | 2666807.5691 | 1220451.628 | 2666808.4988 | 1220451.7271
49 | 2666793.851 | 1220446.8934 | 2666794.469 | 1220433.7364 | 2666796.7066 | 1220426.1109
50 | 2666797.76 | 1220471.7864 | 2666812.0519 | 1220479.3814
51 | 2666808.4988 | 1220451.7271 | 2666822.1486 | 1220453.182
52 | 2666808.5208 | 1220403.281 | 2666796.7095 | 1220426.1011 | 2666796.7066 | 1220426.1109
53 | 2666835.2962 | 1220454.5834 | 2666822.1486 | 1220453.182
54 | 2666821.9464 | 1220377.3419 | 2666808.5208 | 1220403.281
55 | 2666821.9464 | 1220377.3419 | 2666810.0047 | 1220369.8032 | 2666798.5825 | 1220367.3514 | 2666772.4393 | 1220366.5483
56 | 2666772.297 | 1220366.5439 | 2666772.4393 | 1220366.5483
57 | 2666772.1513 | 1220366.5394 | 2666772.297 | 1220366.5439
58 | 2666862.8436 | 1220457.3739 | 2666861.3151 | 1220457.3567 | 2666835.2962 | 1220454.5834
59 | 2666944.5856 | 1220507.5307 | 2666967.6058 | 1220510.1792
60 | 2666981.897 | 1220511.8234 | 2666967.6058 | 1220510.1792
61 | 2666879.5089 | 1220456.0934 | 2666870.6769 | 1220457.4618 | 2666862.8436 | 1220457.3739
62 | 2666879.5089 | 1220456.0934 | 2666881.8246 | 1220462.7125 | 2666881.1761 | 1220471.1328 | 2666880.1509 | 1220476.5664
63 | 2666879.5089 | 1220456.0934 | 2666873.7642 | 1220448.7465 | 2666873.396 | 1220436.2677 | 2666872.0537 | 1220430.9554
64 | 2666878.2476 | 1220486.6542 | 2666880.1509 | 1220476.5664
65 | 2666856.8923 | 1220407.8393 | 2666865.1516 | 1220418.4194 | 2666870.6718 | 1220425.4859 | 2666872.0537 | 1220430.9554
66 | 2667045.8946 | 1220512.01 | 2667030.5918 | 1220513.272 | 2667010.5873 | 1220513.6361 | 2666981.897 | 1220511.8234
67 | 2667045.8946 | 1220512.01 | 2667047.5535 | 1220537.1892 | 2667044.2248 | 1220569.3388 | 2667035.5878 | 1220616.0714 | 2667026.6056 | 1220620.6955 | 2667015.7486 | 1220629.4234
68 | 2667014.9696 | 1220630.5487 | 2667015.7486 | 1220629.4234
69 | 2666738.4389 | 1220365.5038 | 2666772.1513 | 1220366.5394
70 | 2666738.2571 | 1220365.4982 | 2666738.4389 | 1220365.5038
71 | 2666720.5029 | 1220364.9528 | 2666738.2571 | 1220365.4982
72 | 2666856.0638 | 1220611.0877 | 2666858.0451 | 1220594.5184 | 2666858.4724 | 1220590.9463
73 | 2667014.9696 | 1220630.5487 | 2667011.216 | 1220635.9959
74 | 2667005.5207 | 1220644.2609 | 2667011.216 | 1220635.9959
75 | 2667005.3457 | 1220644.5149 | 2667003.743 | 1220646.8406
76 | 2667005.3457 | 1220644.5149 | 2667005.5207 | 1220644.2609

## bus_geodata
| x | y | coords
0 | 2666687.5516 | 1220440.0633
1 | 2666690.6524 | 1220440.9225
2 | 2666711.8517 | 1220444.9957
3 | 2666821.0309 | 1220593.4691
4 | 2666800.0628 | 1220598.604
5 | 2666835.708 | 1220595.4863
6 | 2666798.3622 | 1220566.231
7 | 2666814.6457 | 1220570.8609
8 | 2666795.1681 | 1220565.5392
9 | 2666686.56 | 1220515.6909
10 | 2666727.9184 | 1220488.6478
11 | 2666680.4483 | 1220516.0338
12 | 2666711.2325 | 1220526.465
13 | 2666825.3849 | 1220555.038
14 | 2666808.0264 | 1220586.3527
15 | 2666824.7609 | 1220522.0655
16 | 2666823.1607 | 1220501.5681
17 | 2666806.7303 | 1220551.0113
18 | 2666793.6733 | 1220608.1606
19 | 2666773.5028 | 1220604.2849
20 | 2666729.1418 | 1220447.1869
21 | 2666733.8015 | 1220486.5256
22 | 2666746.2272 | 1220491.1639
23 | 2666878.4428 | 1220524.6695
24 | 2666882.1325 | 1220529.1916
25 | 2666875.1819 | 1220522.0529
26 | 2666861.7754 | 1220569.0774
27 | 2666864.404 | 1220562.6395
28 | 2666860.3667 | 1220577.8091
29 | 2666851.0232 | 1220597.5526
30 | 2666849.2634 | 1220608.6981
31 | 2666652.8917 | 1220516.0933
32 | 2666633.5983 | 1220515.5026
33 | 2666823.0378 | 1220499.9937
34 | 2666783.0563 | 1220511.1468
35 | 2666780.8571 | 1220508.7568
36 | 2666777.5399 | 1220448.6591
37 | 2666762.5985 | 1220476.1378
38 | 2666764.918 | 1220495.7891
39 | 2666913.3291 | 1220490.2726
40 | 2666898.5952 | 1220491.079
41 | 2666911.994 | 1220497.6735
42 | 2666890.1911 | 1220520.6859
43 | 2666860.3504 | 1220577.905
44 | 2666793.851 | 1220446.8934
45 | 2666797.76 | 1220471.7864
46 | 2666808.4988 | 1220451.7271
47 | 2666796.7066 | 1220426.1109
48 | 2666812.0519 | 1220479.3814
49 | 2666822.1486 | 1220453.182
50 | 2666808.5208 | 1220403.281
51 | 2666821.9464 | 1220377.3419
52 | 2666772.4393 | 1220366.5483
53 | 2666772.297 | 1220366.5439
54 | 2666835.2962 | 1220454.5834
55 | 2666896.067 | 1220514.484
56 | 2666944.5856 | 1220507.5307
57 | 2666967.6058 | 1220510.1792
58 | 2666879.5089 | 1220456.0934
59 | 2666862.8436 | 1220457.3738
60 | 2666880.1509 | 1220476.5664
61 | 2666872.0537 | 1220430.9554
62 | 2666981.897 | 1220511.8234
63 | 2667045.8946 | 1220512.01
64 | 2666878.2476 | 1220486.6542
65 | 2666856.8923 | 1220407.8393
66 | 2667015.7486 | 1220629.4234
67 | 2666738.4389 | 1220365.5038
68 | 2666772.1513 | 1220366.5394
69 | 2666738.2571 | 1220365.4982
70 | 2666720.5029 | 1220364.9528
71 | 2666858.4724 | 1220590.9463
72 | 2666856.0638 | 1220611.0877
73 | 2667014.9696 | 1220630.5487
74 | 2667011.216 | 1220635.9959
75 | 2667003.743 | 1220646.8406
76 | 2667005.3457 | 1220644.5149
77 | 2667005.5207 | 1220644.2609
78 | 2666812.0519 | 1220479.3814

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98958 | -0.20034 | 0.024029 | 0.0060223
1 | 0.98965 | -0.19896 | 0 | 0
2 | 0.99012 | -0.18976 | 0 | 0
3 | 0.99708 | -0.05622 | 0 | 0
4 | 0.9972 | -0.053845 | 0 | 0
5 | 0.99702 | -0.057406 | 0.0032861 | 0.00082357
6 | 0.9974 | -0.049941 | 0 | 0
7 | 0.99749 | -0.048205 | 0 | 0
8 | 0.99739 | -0.050277 | 0.0058686 | 0.0014708
9 | 0.99066 | -0.17952 | 0 | 0
10 | 0.99193 | -0.15487 | 0 | 0
11 | 0.99059 | -0.18094 | 0 | 0
12 | 0.99035 | -0.18565 | 0.011966 | 0.0029991
13 | 0.99786 | -0.041183 | 0 | 0
14 | 0.99731 | -0.051793 | 0.0041143 | 0.0010311
15 | 0.99873 | -0.024366 | 0 | 0
16 | 0.99918 | -0.015777 | 0.0037348 | 0.00093603
17 | 0.99776 | -0.043161 | 0.0059226 | 0.0014843
18 | 0.99716 | -0.054538 | 0 | 0
19 | 0.9971 | -0.055778 | 0.003441 | 0.0008624
20 | 0.99051 | -0.18232 | 0.053301 | 0.013358
21 | 0.99224 | -0.14889 | 0.064164 | 0.016081
22 | 0.99144 | -0.1644 | 0.0097165 | 0.0024352
23 | 0.98044 | -0.37662 | 0 | 0
24 | 0.98047 | -0.37598 | 0 | 0
25 | 0.98041 | -0.3771 | 0.0060528 | 0.001517
26 | 0.97878 | -0.4092 | 0 | 0
27 | 0.97899 | -0.40505 | 0.0092968 | 0.00233
28 | 0.97851 | -0.41448 | 0.0018552 | 0.00046496
29 | 0.997 | -0.057753 | 0 | 0
30 | 0.99699 | -0.058006 | 0.001279 | 0.00032056
31 | 0.99026 | -0.18736 | 0.0066179 | 0.0016586
32 | 0.99014 | -0.18959 | 0.0064951 | 0.0016278
33 | 0.99922 | -0.015014 | 0.0056148 | 0.0014072
34 | 0.99071 | -0.17869 | 0.011097 | 0.0027811
35 | 0.99074 | -0.17805 | 0.0080972 | 0.0020294
36 | 0.99394 | -0.11585 | 0.048117 | 0.012059
37 | 0.99555 | -0.085064 | 0.022804 | 0.0057152
38 | 0.9911 | -0.17096 | 0 | 0
39 | 0.98509 | -0.28584 | 0 | 0
40 | 0.98687 | -0.25139 | 0.0081709 | 0.0020478
41 | 0.98347 | -0.31748 | 0 | 0
42 | 0.98099 | -0.36575 | 0.016493 | 0.0041336
43 | 0.9785 | -0.41454 | 0.029139 | 0.0073029
44 | 0.99583 | -0.079592 | 0 | 0
45 | 0.99806 | -0.036976 | 0 | 0
46 | 0.99515 | -0.092422 | 0.0068074 | 0.0017061
47 | 0.99449 | -0.10546 | 0.053318 | 0.013363
48 | 1 | 0 | -0.56338 | -0.1428
49 | 0.99458 | -0.10333 | 0.0053478 | 0.0013403
50 | 0.9941 | -0.11285 | 0.0024318 | 0.00060947
51 | 0.99373 | -0.11999 | 0 | 0
52 | 0.99308 | -0.1327 | 0.0023616 | 0.00059187
53 | 0.99308 | -0.13273 | 0.0023636 | 0.00059238
54 | 0.99405 | -0.11353 | 0.010035 | 0.002515
55 | 0.98151 | -0.35575 | 0.026876 | 0.0067358
56 | 0.98225 | -0.34126 | 0.0085718 | 0.0021483
57 | 0.98163 | -0.35336 | 0.014072 | 0.0035267
58 | 0.99238 | -0.1455 | 0 | 0
59 | 0.99299 | -0.13371 | 0.0061688 | 0.001546
60 | 0.99098 | -0.17226 | 0.0067814 | 0.0016996
61 | 0.992 | -0.15273 | 0.0091938 | 0.0023042
62 | 0.98143 | -0.35721 | 0 | 0
63 | 0.98056 | -0.37434 | 0 | 0
64 | 0.98968 | -0.19728 | 0 | 0
65 | 0.99186 | -0.1556 | 0.0057744 | 0.0014472
66 | 0.97879 | -0.40902 | 0.0026706 | 0.00066931
67 | 0.99287 | -0.13679 | 0.002164 | 0.00054236
68 | 0.99307 | -0.13275 | 0.0023617 | 0.00059189
69 | 0.99287 | -0.1368 | 0.0021665 | 0.00054298
70 | 0.99283 | -0.13757 | 0.0024356 | 0.00061042
71 | 0.97848 | -0.41497 | 0.0012331 | 0.00030904
72 | 0.97847 | -0.41518 | 0.00057478 | 0.00014405
73 | 0.97877 | -0.40932 | 0 | 0
74 | 0.9787 | -0.41078 | 0.0019316 | 0.00048411
75 | 0.97858 | -0.41305 | 0.0069075 | 0.0017312
76 | 0.9786 | -0.41269 | 0.0016152 | 0.00040481
77 | 0.9786 | -0.41264 | 0.0016652 | 0.00041733
78 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.024029 | -0.0060223 | 0.024031 | 0.0060232 | 1.5753e-06 | 9.6684e-07 | 0.036132 | 0.036132 | 0.036132 | 0.98958 | -0.20034 | 0.98965 | -0.19896 | 9.9265
1 | -0.024031 | -0.0060232 | 0.024041 | 0.0060297 | 1.0543e-05 | 6.4707e-06 | 0.036132 | 0.036132 | 0.036132 | 0.98965 | -0.19896 | 0.99012 | -0.18976 | 9.9265
2 | -0.024041 | -0.0060297 | 0.02405 | 0.0060349 | 8.5325e-06 | 5.2366e-06 | 0.036132 | 0.036132 | 0.036132 | 0.99012 | -0.18976 | 0.99051 | -0.18232 | 9.9264
3 | -0.0045654 | -0.0011438 | 0.0045659 | 0.0011437 | 5.1644e-07 | -5.6485e-08 | 0.0068132 | 0.0068131 | 0.0068132 | 0.99708 | -0.05622 | 0.9972 | -0.053845 | 1.8718
4 | 0.0045654 | 0.0011438 | -0.0045652 | -0.0011438 | 2.5789e-07 | -2.8165e-08 | 0.0068132 | 0.0068133 | 0.0068133 | 0.99708 | -0.05622 | 0.99702 | -0.057406 | 1.8718
5 | -0.0080073 | -0.0020059 | 0.0080081 | 0.0020062 | 7.8231e-07 | 3.1001e-07 | 0.011948 | 0.011948 | 0.011948 | 0.9972 | -0.053845 | 0.99731 | -0.051793 | 3.2824
6 | 0.0034413 | 0.00086219 | -0.0034412 | -0.00086226 | 1.1359e-07 | -7.7157e-08 | 0.005135 | 0.0051351 | 0.0051351 | 0.9972 | -0.053845 | 0.99716 | -0.054538 | 1.4107
7 | 0.0012791 | 0.00032023 | -0.0012791 | -0.00032042 | 2.1117e-08 | -1.8802e-07 | 0.0019089 | 0.0019089 | 0.0019089 | 0.99702 | -0.057406 | 0.997 | -0.057753 | 0.52444
8 | -0.0058687 | -0.0014708 | 0.0058691 | 0.0014709 | 4.8532e-07 | 9.0241e-08 | 0.0087554 | 0.0087553 | 0.0087554 | 0.9974 | -0.049941 | 0.99749 | -0.048205 | 2.4053
9 | 0.0058687 | 0.0014708 | -0.0058686 | -0.0014708 | 9.3948e-08 | 1.7474e-08 | 0.0087554 | 0.0087554 | 0.0087554 | 0.9974 | -0.049941 | 0.99739 | -0.050277 | 2.4053
10 | -0.017994 | -0.0045094 | 0.018 | 0.0045129 | 6.0213e-06 | 3.5626e-06 | 0.026842 | 0.026842 | 0.026842 | 0.99749 | -0.048205 | 0.99786 | -0.041183 | 7.3742
11 | 0.012124 | 0.0030385 | -0.012122 | -0.0030374 | 2.072e-06 | 1.1057e-06 | 0.018087 | 0.018087 | 0.018087 | 0.99749 | -0.048205 | 0.99731 | -0.051793 | 4.9689
12 | -0.025089 | -0.0062903 | 0.025118 | 0.0063084 | 2.9505e-05 | 1.8169e-05 | 0.037685 | 0.037685 | 0.037685 | 0.99066 | -0.17952 | 0.99193 | -0.15487 | 10.353
13 | 0.013119 | 0.0032893 | -0.013118 | -0.0032888 | 8.8865e-07 | 4.9016e-07 | 0.019705 | 0.019705 | 0.019705 | 0.99066 | -0.17952 | 0.99059 | -0.18094 | 5.4135
14 | 0.01197 | 0.003001 | -0.011966 | -0.0029991 | 3.5001e-06 | 1.8685e-06 | 0.01798 | 0.01798 | 0.01798 | 0.99066 | -0.17952 | 0.99035 | -0.18565 | 4.9395
15 | -0.054055 | -0.01357 | 0.05407 | 0.01358 | 1.5424e-05 | 9.7908e-06 | 0.081096 | 0.081096 | 0.081096 | 0.99193 | -0.15487 | 0.99224 | -0.14889 | 22.2791
16 | 0.028937 | 0.0072615 | -0.028923 | -0.0072533 | 1.3148e-05 | 8.1746e-06 | 0.043411 | 0.043411 | 0.043411 | 0.99193 | -0.15487 | 0.99144 | -0.1644 | 11.9262
17 | 0.013118 | 0.0032888 | -0.013114 | -0.0032866 | 4.0142e-06 | 2.2143e-06 | 0.019705 | 0.019705 | 0.019705 | 0.99059 | -0.18094 | 0.99026 | -0.18736 | 5.4135
18 | 0.0059232 | 0.0014845 | -0.0059226 | -0.0014843 | 5.5834e-07 | 1.0806e-07 | 0.0088327 | 0.0088328 | 0.0088328 | 0.99786 | -0.041183 | 0.99776 | -0.043161 | 2.4266
19 | -0.023923 | -0.0059974 | 0.023942 | 0.0060091 | 1.9186e-05 | 1.1753e-05 | 0.035675 | 0.035674 | 0.035675 | 0.99786 | -0.041183 | 0.99873 | -0.024366 | 9.8007
20 | -0.023942 | -0.0060091 | 0.023952 | 0.0060152 | 9.8121e-06 | 6.0106e-06 | 0.035674 | 0.035674 | 0.035674 | 0.99873 | -0.024366 | 0.99918 | -0.015777 | 9.8006
21 | -0.027687 | -0.0069512 | 0.027688 | 0.0069518 | 1.007e-06 | 6.2378e-07 | 0.041236 | 0.041236 | 0.041236 | 0.99918 | -0.015777 | 0.99922 | -0.015014 | 11.3287
22 | 0.0034412 | 0.00086226 | -0.003441 | -0.0008624 | 2.0339e-07 | -1.3812e-07 | 0.0051351 | 0.0051352 | 0.0051352 | 0.99716 | -0.054538 | 0.9971 | -0.055778 | 1.4108
23 | -0.07735 | -0.019393 | 0.077596 | 0.01955 | 0.00024584 | 0.00015671 | 0.1162 | 0.1162 | 0.1162 | 0.99051 | -0.18232 | 0.99394 | -0.11585 | 31.9243
24 | -0.11823 | -0.029661 | 0.11859 | 0.029891 | 0.00036095 | 0.00023061 | 0.17732 | 0.17732 | 0.17732 | 0.99224 | -0.14889 | 0.99555 | -0.085064 | 48.7141
25 | 0.019207 | 0.0048181 | -0.019201 | -0.0048145 | 6.0007e-06 | 3.5923e-06 | 0.028828 | 0.028828 | 0.028828 | 0.99144 | -0.1644 | 0.9911 | -0.17096 | 7.9199
26 | -0.0060529 | -0.001517 | 0.0060531 | 0.0015171 | 1.845e-07 | 4.4557e-08 | 0.0091866 | 0.0091865 | 0.0091866 | 0.98044 | -0.37662 | 0.98047 | -0.37598 | 2.5238
27 | 0.0060529 | 0.001517 | -0.0060528 | -0.001517 | 1.4042e-07 | 3.3916e-08 | 0.0091866 | 0.0091866 | 0.0091866 | 0.98044 | -0.37662 | 0.98041 | -0.3771 | 2.5238
28 | 0.042172 | 0.010597 | -0.042114 | -0.01056 | 5.8448e-05 | 3.6927e-05 | 0.064013 | 0.064013 | 0.064013 | 0.98047 | -0.37598 | 0.97899 | -0.40505 | 17.586
29 | -0.048225 | -0.012114 | 0.048249 | 0.012129 | 2.3543e-05 | 1.492e-05 | 0.073199 | 0.073199 | 0.073199 | 0.98047 | -0.37598 | 0.98099 | -0.36575 | 20.1097
30 | -0.03281 | -0.0082258 | 0.032817 | 0.0082299 | 6.4885e-06 | 4.0652e-06 | 0.049882 | 0.049882 | 0.049882 | 0.97878 | -0.4092 | 0.97899 | -0.40505 | 13.7039
31 | 0.03281 | 0.0082258 | -0.032802 | -0.0082206 | 8.2528e-06 | 5.1707e-06 | 0.049882 | 0.049882 | 0.049882 | 0.97878 | -0.4092 | 0.97851 | -0.41448 | 13.7039
32 | 0.030947 | 0.0077557 | -0.030947 | -0.0077556 | 8.0789e-08 | 5.0483e-08 | 0.047061 | 0.047061 | 0.047061 | 0.97851 | -0.41448 | 0.9785 | -0.41454 | 12.9288
33 | 0.0012791 | 0.00032042 | -0.001279 | -0.00032056 | 1.542e-08 | -1.3727e-07 | 0.0019089 | 0.001909 | 0.001909 | 0.997 | -0.057753 | 0.99699 | -0.058006 | 0.52445
34 | 0.0064957 | 0.001628 | -0.0064951 | -0.0016278 | 6.8964e-07 | 1.9307e-07 | 0.0097609 | 0.009761 | 0.009761 | 0.99026 | -0.18736 | 0.99014 | -0.18959 | 2.6816
35 | -0.033302 | -0.008359 | 0.033326 | 0.008374 | 2.3866e-05 | 1.4935e-05 | 0.049598 | 0.049598 | 0.049598 | 0.99922 | -0.015014 | 1 | 0 | 13.6258
36 | -0.011097 | -0.0027811 | 0.011097 | 0.0027813 | 3.3834e-07 | 1.7471e-07 | 0.016667 | 0.016667 | 0.016667 | 0.99071 | -0.17869 | 0.99074 | -0.17805 | 4.5789
37 | -0.019194 | -0.0048106 | 0.019201 | 0.0048145 | 6.4876e-06 | 3.8839e-06 | 0.028829 | 0.028828 | 0.028829 | 0.99074 | -0.17805 | 0.9911 | -0.17096 | 7.9199
38 | -0.12571 | -0.031609 | 0.12593 | 0.031749 | 0.00021809 | 0.00013937 | 0.18824 | 0.18824 | 0.18824 | 0.99394 | -0.11585 | 0.99583 | -0.079592 | 51.714
39 | -0.1414 | -0.035606 | 0.14172 | 0.035814 | 0.00032592 | 0.00020757 | 0.2114 | 0.2114 | 0.2114 | 0.99555 | -0.085064 | 0.99806 | -0.036976 | 29.0389
40 | -0.12955 | -0.032693 | 0.12976 | 0.03283 | 0.00021417 | 0.00013688 | 0.19577 | 0.19577 | 0.19577 | 0.98509 | -0.28584 | 0.98687 | -0.25139 | 53.7819
41 | 0.12955 | 0.032693 | -0.12935 | -0.032567 | 0.00019597 | 0.00012525 | 0.19577 | 0.19577 | 0.19577 | 0.98509 | -0.28584 | 0.98347 | -0.31748 | 53.7819
42 | -0.13793 | -0.034877 | 0.13829 | 0.035107 | 0.00035897 | 0.00022946 | 0.20809 | 0.20809 | 0.20809 | 0.98687 | -0.25139 | 0.98968 | -0.19728 | 57.1665
43 | 0.037535 | 0.0094426 | -0.037492 | -0.0094158 | 4.2591e-05 | 2.6812e-05 | 0.056804 | 0.056804 | 0.056804 | 0.98347 | -0.31748 | 0.98225 | -0.34126 | 15.6054
44 | 0.091817 | 0.023125 | -0.091649 | -0.023018 | 0.00016769 | 0.00010703 | 0.13896 | 0.13896 | 0.13896 | 0.98347 | -0.31748 | 0.98151 | -0.35575 | 38.1765
45 | -0.064742 | -0.016262 | 0.064773 | 0.016282 | 3.0905e-05 | 1.9672e-05 | 0.098217 | 0.098217 | 0.098217 | 0.98099 | -0.36575 | 0.98151 | -0.35575 | 26.9827
46 | 0.0018079 | 0.0004527 | -0.0018079 | -0.00045284 | 3.7354e-08 | -1.4164e-07 | 0.0027491 | 0.0027492 | 0.0027492 | 0.9785 | -0.41454 | 0.97848 | -0.41497 | 0.75527
47 | -0.38495 | -0.097502 | 0.38574 | 0.098006 | 0.00078967 | 0.00050406 | 0.57558 | 0.57558 | 0.57558 | 0.99583 | -0.079592 | 0.99806 | -0.036976 | 39.5316
48 | 0.18931 | 0.048244 | -0.1892 | -0.04817 | 0.00011713 | 7.4152e-05 | 0.28317 | 0.28317 | 0.28317 | 0.99583 | -0.079592 | 0.99515 | -0.092422 | 19.4482
49 | 0.069709 | 0.01751 | -0.069623 | -0.017455 | 8.5948e-05 | 5.4733e-05 | 0.10418 | 0.10418 | 0.10418 | 0.99583 | -0.079592 | 0.99449 | -0.10546 | 28.6201
50 | -0.52747 | -0.13382 | 0.52841 | 0.13442 | 0.00093973 | 0.00060058 | 0.78698 | 0.78698 | 0.78698 | 0.99806 | -0.036976 | 1 | 0 | 54.051
51 | 0.18239 | 0.046464 | -0.18229 | -0.046403 | 9.5903e-05 | 6.0665e-05 | 0.27299 | 0.27299 | 0.27299 | 0.99515 | -0.092422 | 0.99458 | -0.10333 | 18.7491
52 | 0.016305 | 0.0040923 | -0.016299 | -0.0040889 | 5.7386e-06 | 3.3393e-06 | 0.024399 | 0.024399 | 0.024399 | 0.99449 | -0.10546 | 0.9941 | -0.11285 | 6.703
53 | 0.17695 | 0.045063 | -0.17686 | -0.045008 | 8.704e-05 | 5.5019e-05 | 0.26499 | 0.26499 | 0.26499 | 0.99458 | -0.10333 | 0.99405 | -0.11353 | 18.1996
54 | 0.013868 | 0.0034795 | -0.013863 | -0.0034768 | 4.72e-06 | 2.6422e-06 | 0.020759 | 0.020759 | 0.020759 | 0.9941 | -0.11285 | 0.99373 | -0.11999 | 5.703
55 | 0.013863 | 0.0034768 | -0.013854 | -0.0034721 | 8.3969e-06 | 4.7013e-06 | 0.020759 | 0.020759 | 0.020759 | 0.99373 | -0.11999 | 0.99308 | -0.1327 | 5.7031
56 | 0.011493 | 0.0028803 | -0.011493 | -0.0028803 | 1.584e-08 | 8.2941e-09 | 0.017221 | 0.017221 | 0.017221 | 0.99308 | -0.1327 | 0.99308 | -0.13273 | 4.731
57 | 0.0091292 | 0.0022879 | -0.0091292 | -0.0022879 | 1.0224e-08 | 4.6571e-09 | 0.013679 | 0.013679 | 0.013679 | 0.99308 | -0.13273 | 0.99307 | -0.13275 | 3.758
58 | 0.16682 | 0.042493 | -0.16666 | -0.04239 | 0.00016223 | 0.00010239 | 0.24996 | 0.24997 | 0.24997 | 0.99405 | -0.11353 | 0.99299 | -0.13371 | 17.1679
59 | 0.02892 | 0.0072675 | -0.028903 | -0.0072571 | 1.6684e-05 | 1.0385e-05 | 0.043818 | 0.043818 | 0.043818 | 0.98225 | -0.34126 | 0.98163 | -0.35336 | 12.038
60 | 0.014832 | 0.0037304 | -0.014829 | -0.0037288 | 2.7279e-06 | 1.564e-06 | 0.022487 | 0.022487 | 0.022487 | 0.98163 | -0.35336 | 0.98143 | -0.35721 | 6.1779
61 | -0.1604 | -0.040787 | 0.16049 | 0.040844 | 9.1109e-05 | 5.7443e-05 | 0.24072 | 0.24072 | 0.24072 | 0.99238 | -0.1455 | 0.99299 | -0.13371 | 16.5331
62 | 0.14543 | 0.037032 | -0.14524 | -0.036913 | 0.00018747 | 0.00011944 | 0.21827 | 0.21827 | 0.21827 | 0.99238 | -0.1455 | 0.99098 | -0.17226 | 29.9819
63 | 0.014974 | 0.0037545 | -0.014969 | -0.0037515 | 5.1594e-06 | 2.9495e-06 | 0.022453 | 0.022454 | 0.022454 | 0.99238 | -0.1455 | 0.992 | -0.15273 | 6.1685
64 | 0.13846 | 0.035213 | -0.13829 | -0.035107 | 0.00016669 | 0.00010655 | 0.20809 | 0.20809 | 0.20809 | 0.99098 | -0.17226 | 0.98968 | -0.19728 | 57.1665
65 | 0.0057751 | 0.0014473 | -0.0057744 | -0.0014472 | 7.8883e-07 | 1.4302e-07 | 0.0086628 | 0.0086629 | 0.0086629 | 0.992 | -0.15273 | 0.99186 | -0.1556 | 2.3799
66 | 0.014829 | 0.0037288 | -0.014817 | -0.0037219 | 1.2122e-05 | 6.951e-06 | 0.022487 | 0.022488 | 0.022488 | 0.98143 | -0.35721 | 0.98056 | -0.37434 | 6.1779
67 | 0.014817 | 0.0037219 | -0.014792 | -0.0037078 | 2.4485e-05 | 1.4045e-05 | 0.022488 | 0.022488 | 0.022488 | 0.98056 | -0.37434 | 0.97879 | -0.40902 | 6.1781
68 | 0.012122 | 0.0030385 | -0.012121 | -0.0030384 | 1.7429e-07 | 9.4346e-08 | 0.018428 | 0.018428 | 0.018428 | 0.97879 | -0.40902 | 0.97877 | -0.40932 | 5.0627
69 | -0.0067662 | -0.0016956 | 0.0067675 | 0.001696 | 1.3006e-06 | 3.9609e-07 | 0.010141 | 0.01014 | 0.010141 | 0.99287 | -0.13679 | 0.99307 | -0.13275 | 2.7859
70 | 0.0046022 | 0.0011532 | -0.0046022 | -0.0011532 | 3.2436e-09 | -2.7538e-10 | 0.0068973 | 0.0068973 | 0.0068973 | 0.99287 | -0.13679 | 0.99287 | -0.1368 | 1.8949
71 | 0.0024357 | 0.00061024 | -0.0024356 | -0.00061042 | 8.8757e-08 | -1.7291e-07 | 0.0036503 | 0.0036504 | 0.0036504 | 0.99287 | -0.1368 | 0.99283 | -0.13757 | 1.0029
72 | 0.00057479 | 0.0001438 | -0.00057478 | -0.00014405 | 5.8114e-09 | -2.5107e-07 | 0.00087401 | 0.0008741 | 0.0008741 | 0.97848 | -0.41497 | 0.97847 | -0.41518 | 0.24014
73 | 0.012121 | 0.0030384 | -0.012121 | -0.0030379 | 8.4245e-07 | 4.5603e-07 | 0.018428 | 0.018428 | 0.018428 | 0.97877 | -0.40932 | 0.9787 | -0.41078 | 5.0627
74 | 0.010189 | 0.0025538 | -0.010188 | -0.0025534 | 9.033e-07 | 4.5199e-07 | 0.015491 | 0.015491 | 0.015491 | 0.9787 | -0.41078 | 0.9786 | -0.41264 | 4.2559
75 | -0.0069075 | -0.0017312 | 0.0069077 | 0.0017312 | 1.1685e-07 | 3.93e-08 | 0.010503 | 0.010503 | 0.010503 | 0.97858 | -0.41305 | 0.9786 | -0.41269 | 2.8856
76 | -0.0085229 | -0.002136 | 0.0085229 | 0.002136 | 1.9424e-08 | 8.5567e-09 | 0.012959 | 0.012959 | 0.012959 | 0.9786 | -0.41269 | 0.9786 | -0.41264 | 3.5603

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57551 | 0.14583

## res_load
| p_mw | q_mvar
0 | 0.024029 | 0.0060223
1 | 0.0032861 | 0.00082357
2 | 0.0058686 | 0.0014708
3 | 0.011966 | 0.0029991
4 | 0.0041143 | 0.0010311
5 | 0.0037348 | 0.00093603
6 | 0.0059226 | 0.0014843
7 | 0.003441 | 0.0008624
8 | 0.053301 | 0.013358
9 | 0.064164 | 0.016081
10 | 0.0097165 | 0.0024352
11 | 0.0060528 | 0.001517
12 | 0.0092968 | 0.00233
13 | 0.0018552 | 0.00046496
14 | 0.001279 | 0.00032056
15 | 0.0066179 | 0.0016586
16 | 0.0064951 | 0.0016278
17 | 0.0056148 | 0.0014072
18 | 0.011097 | 0.0027811
19 | 0.0080972 | 0.0020294
20 | 0.048117 | 0.012059
21 | 0.022804 | 0.0057152
22 | 0.0081709 | 0.0020478
23 | 0.016493 | 0.0041336
24 | 0.029139 | 0.0073029
25 | 0.0068074 | 0.0017061
26 | 0.053318 | 0.013363
27 | 0.012126 | 0.003039
28 | 0.0053478 | 0.0013403
29 | 0.0024318 | 0.00060947
30 | 0.0023616 | 0.00059187
31 | 0.0023636 | 0.00059238
32 | 0.010035 | 0.002515
33 | 0.026876 | 0.0067358
34 | 0.0085718 | 0.0021483
35 | 0.014072 | 0.0035267
36 | 0.0061688 | 0.001546
37 | 0.0067814 | 0.0016996
38 | 0.0091938 | 0.0023042
39 | 0.0057744 | 0.0014472
40 | 0.0026706 | 0.00066931
41 | 0.002164 | 0.00054236
42 | 0.0023617 | 0.00059189
43 | 0.0021665 | 0.00054298
44 | 0.0024356 | 0.00061042
45 | 0.0012331 | 0.00030904
46 | 0.00057478 | 0.00014405
47 | 0.0019316 | 0.00048411
48 | 0.0069075 | 0.0017312
49 | 0.0016152 | 0.00040481
50 | 0.0016652 | 0.00041733

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1