## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1026-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1026-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1026-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1026-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1026-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1026-8_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1026-8_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1026-8_0_3_node_52 | 0.4 | n |  | TRUE
8 | bus_LV_1026-8_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1026-8_0_3_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_1026-8_0_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_1026-8_0_3_node_63 | 0.4 | n |  | TRUE
12 | bus_LV_1026-8_0_3_node_62 | 0.4 | n |  | TRUE
13 | bus_LV_1026-8_0_3_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_1026-8_0_3_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_1026-8_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_1026-8_0_3_node_60 | 0.4 | n |  | TRUE
17 | bus_LV_1026-8_0_3_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_1026-8_0_3_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_1026-8_0_3_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_1026-8_0_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_1026-8_0_3_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_1026-8_0_3_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_1026-8_0_3_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_1026-8_0_3_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_1026-8_0_3_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_1026-8_0_3_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_1026-8_0_3_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_1026-8_0_3_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_1026-8_0_3_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_1026-8_0_3_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_1026-8_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1026-8_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_1026-8_0_3_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_1026-8_0_3_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_1026-8_0_3_node_13 | 0.4 | n |  | TRUE
36 | bus_LV_1026-8_0_3_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_1026-8_0_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_1026-8_0_3_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_1026-8_0_3_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_1026-8_0_3_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_1026-8_0_3_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_1026-8_0_3_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_1026-8_0_3_node_10 | 0.4 | n |  | TRUE
44 | bus_LV_1026-8_0_3_node_11 | 0.4 | n |  | TRUE
45 | bus_LV_1026-8_0_3_node_12 | 0.4 | n |  | TRUE
46 | bus_LV_1026-8_0_3_node_14 | 0.4 | n |  | TRUE
47 | bus_LV_1026-8_0_3_node_15 | 0.4 | n |  | TRUE
48 | bus_LV_1026-8_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_1026-8_0_3_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_1026-8_0_3_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_1026-8_0_3_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_1026-8_0_3_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_1026-8_0_3_node_26 | 0.4 | n |  | TRUE
54 | bus_LV_1026-8_0_3_node_24 | 0.4 | n |  | TRUE
55 | bus_LV_1026-8_0_3_node_23 | 0.4 | n |  | TRUE
56 | bus_LV_1026-8_0_3_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_1026-8_0_3_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_1026-8_0_3_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_1026-8_0_3_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_1026-8_0_3_node_47 | 0.4 | n |  | TRUE
61 | bus_MV_353_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1026-8_0_3_load_0 | 0 | 0.0032259 | 0.00080848 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1026-8_0_3_load_1 | 1 | 0.010164 | 0.0025474 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1026-8_0_3_load_3 | 3 | 0.011359 | 0.0028469 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1026-8_0_3_load_5 | 5 | 0.0042446 | 0.0010638 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1026-8_0_3_load_6 | 6 | 0.032131 | 0.0080529 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1026-8_0_3_load_52 | 7 | 0.0051096 | 0.0012806 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1026-8_0_3_load_7 | 8 | 0.0028346 | 0.00071041 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1026-8_0_3_load_63 | 11 | 0.0014358 | 0.00035985 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1026-8_0_3_load_62 | 12 | 0.0018042 | 0.00045217 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1026-8_0_3_load_60 | 16 | 0.00071186 | 0.00017841 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1026-8_0_3_load_43 | 17 | 0.0020685 | 0.00051842 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1026-8_0_3_load_57 | 22 | 0.0048426 | 0.0012137 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1026-8_0_3_load_51 | 23 | 0.0074764 | 0.0018738 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1026-8_0_3_load_65 | 24 | 0.021504 | 0.0053895 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1026-8_0_3_load_66 | 26 | 0.017186 | 0.0043073 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1026-8_0_3_load_61 | 29 | 0.0017781 | 0.00044563 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1026-8_0_3_load_67 | 30 | 0.026309 | 0.0065937 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1026-8_0_3_load_53 | 33 | 0.012674 | 0.0031765 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1026-8_0_3_load_45 | 34 | 0.004839 | 0.0012128 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1026-8_0_3_load_42 | 36 | 0.0053191 | 0.0013331 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1026-8_0_3_load_46 | 39 | 0.035415 | 0.0088759 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1026-8_0_3_load_50 | 40 | 0.0021727 | 0.00054453 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1026-8_0_3_load_54 | 41 | 0.083017 | 0.020806 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1026-8_0_3_load_55 | 42 | 0.022102 | 0.0055394 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1026-8_0_3_load_10 | 43 | 0.0028292 | 0.00070906 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1026-8_0_3_load_14 | 46 | 0.00050955 | 0.0001277 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1026-8_0_3_load_44 | 48 | 0.00031655 | 7.9336e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1026-8_0_3_load_64 | 49 | 0.0008469 | 0.00021225 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1026-8_0_3_load_58 | 52 | 0.001136 | 0.0002847 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1026-8_0_3_load_26 | 53 | 0.0011448 | 0.00028693 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1026-8_0_3_load_24 | 54 | 0.00043011 | 0.0001078 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1026-8_0_3_load_23 | 55 | 0.00062394 | 0.00015637 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1026-8_0_3_load_56 | 58 | 0.0030138 | 0.00075532 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1026-8_0_3_load_59 | 59 | 0.0014682 | 0.00036797 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1026-8_0_3_load_47 | 60 | 0.022509 | 0.0056413 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1026-8_0_3_line_0 |  | 0 | 1 | 0.024234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1026-8_0_3_line_1 |  | 0 | 2 | 0.010706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1026-8_0_3_line_2 |  | 1 | 3 | 0.032989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1026-8_0_3_line_3 |  | 2 | 4 | 0.068588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1026-8_0_3_line_4 |  | 2 | 5 | 0.014267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1026-8_0_3_line_5 |  | 3 | 6 | 0.026739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1026-8_0_3_line_6 |  | 4 | 7 | 0.072134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1026-8_0_3_line_7 |  | 5 | 8 | 0.0052859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1026-8_0_3_line_8 |  | 6 | 9 | 0.05728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1026-8_0_3_line_9 |  | 9 | 13 | 0.00429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1026-8_0_3_line_10 |  | 10 | 11 | 0.008629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1026-8_0_3_line_11 |  | 10 | 12 | 0.037725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1026-8_0_3_line_12 |  | 10 | 13 | 0.013308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1026-8_0_3_line_13 |  | 11 | 15 | 0.014886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1026-8_0_3_line_14 |  | 12 | 29 | 0.022187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1026-8_0_3_line_15 |  | 13 | 17 | 0.013691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1026-8_0_3_line_16 |  | 14 | 15 | 0.030182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1026-8_0_3_line_17 |  | 14 | 16 | 0.026353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1026-8_0_3_line_18 |  | 16 | 52 | 0.013599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1026-8_0_3_line_19 |  | 18 | 19 | 0.14549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1026-8_0_3_line_20 |  | 18 | 20 | 0.044943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1026-8_0_3_line_21 |  | 18 | 21 | 0.035071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1026-8_0_3_line_22 |  | 18 | 22 | 0.0089885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1026-8_0_3_line_23 |  | 19 | 24 | 0.020525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1026-8_0_3_line_24 |  | 19 | 25 | 0.024248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1026-8_0_3_line_25 |  | 20 | 36 | 0.021882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1026-8_0_3_line_26 |  | 20 | 27 | 0.004654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1026-8_0_3_line_27 |  | 21 | 23 | 0.0054057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1026-8_0_3_line_28 |  | 22 | 58 | 0.013205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1026-8_0_3_line_29 |  | 23 | 38 | 0.019777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1026-8_0_3_line_30 |  | 25 | 26 | 0.022023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1026-8_0_3_line_31 |  | 27 | 28 | 0.036946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1026-8_0_3_line_32 |  | 27 | 29 | 0.022792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1026-8_0_3_line_33 |  | 28 | 30 | 0.002897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1026-8_0_3_line_34 |  | 31 | 32 | 0.01268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1026-8_0_3_line_35 |  | 31 | 33 | 0.020831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1026-8_0_3_line_36 |  | 32 | 34 | 0.0042892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1026-8_0_3_line_37 |  | 32 | 35 | 0.05766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1026-8_0_3_line_38 |  | 33 | 57 | 0.037205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1026-8_0_3_line_39 |  | 35 | 48 | 0.03588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1026-8_0_3_line_40 |  | 35 | 44 | 0.023403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1026-8_0_3_line_41 |  | 37 | 38 | 0.03117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1026-8_0_3_line_42 |  | 37 | 39 | 0.017212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1026-8_0_3_line_43 |  | 38 | 40 | 0.032312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1026-8_0_3_line_44 |  | 39 | 60 | 0.018503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1026-8_0_3_line_45 |  | 40 | 56 | 0.03565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1026-8_0_3_line_46 |  | 41 | 42 | 0.04648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1026-8_0_3_line_47 |  | 42 | 58 | 0.039613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_1026-8_0_3_line_48 |  | 43 | 44 | 0.0024111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1026-8_0_3_line_49 |  | 43 | 45 | 0.0024576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1026-8_0_3_line_50 |  | 44 | 46 | 0.045456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1026-8_0_3_line_51 |  | 45 | 47 | 0.02875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1026-8_0_3_line_52 |  | 47 | 49 | 0.02027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1026-8_0_3_line_53 |  | 48 | 50 | 0.021583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1026-8_0_3_line_54 |  | 50 | 51 | 0.005623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1026-8_0_3_line_55 |  | 51 | 55 | 0.023938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1026-8_0_3_line_56 |  | 52 | 59 | 0.026971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1026-8_0_3_line_57 |  | 53 | 54 | 0.015297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1026-8_0_3_line_58 |  | 54 | 55 | 0.0041821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1026-8_0_3_line_59 |  | 56 | 57 | 0.044725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1026-8_0_3_trafo_55 | 0.63 MVA 20/0.4 kV | 61 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2666656.1224 | 1220577.2588 | 2666659.8421 | 1220578.2873 | 2666679.2466 | 1220584.5003
1 | 2666645.8035 | 1220574.4056 | 2666656.1224 | 1220577.2588
2 | 2666679.2466 | 1220584.5003 | 2666694.8533 | 1220589.4973 | 2666711.0348 | 1220593.2102
3 | 2666645.8035 | 1220574.4056 | 2666677.6933 | 1220526.2651 | 2666680.5037 | 1220520.5707 | 2666680.4483 | 1220516.0338
4 | 2666645.8035 | 1220574.4056 | 2666631.6675 | 1220572.4732
5 | 2666711.0348 | 1220593.2102 | 2666716.8606 | 1220594.5469 | 2666737.322 | 1220598.0647
6 | 2666680.4483 | 1220516.0338 | 2666664.8515 | 1220516.4596 | 2666631.6605 | 1220515.4432 | 2666611.9263 | 1220513.3546 | 2666608.4873 | 1220512.8223
7 | 2666626.4303 | 1220571.7572 | 2666631.6675 | 1220572.4732
8 | 2666793.6733 | 1220608.1606 | 2666791.3 | 1220607.3446 | 2666737.322 | 1220598.0647
9 | 2666793.6733 | 1220608.1606 | 2666797.7395 | 1220609.5627
10 | 2666805.2533 | 1220601.9087 | 2666807.5485 | 1220602.2458 | 2666813.8449 | 1220602.6468
11 | 2666805.2533 | 1220601.9087 | 2666802.5354 | 1220606.1142 | 2666801.2423 | 1220609.791 | 2666800.0812 | 1220615.8929 | 2666798.2752 | 1220638.4291
12 | 2666797.7395 | 1220609.5627 | 2666802.8954 | 1220600.4035 | 2666805.2533 | 1220601.9087
13 | 2666821.0309 | 1220593.4691 | 2666819.5101 | 1220602.5579 | 2666815.1758 | 1220602.7316 | 2666813.8449 | 1220602.6468
14 | 2666796.5028 | 1220660.5452 | 2666798.2752 | 1220638.4291
15 | 2666797.7395 | 1220609.5627 | 2666797.1384 | 1220618.5061 | 2666796.712 | 1220623.2147
16 | 2666821.0309 | 1220593.4691 | 2666843.0532 | 1220596.4959 | 2666851.0232 | 1220597.5526
17 | 2666851.0232 | 1220597.5526 | 2666846.9131 | 1220623.5832
18 | 2666845.3605 | 1220637.0911 | 2666846.5634 | 1220625.7983 | 2666846.9131 | 1220623.5832
19 | 2666673.5973 | 1220758.5781 | 2666677.3922 | 1220711.7019 | 2666694.2814 | 1220713.0362 | 2666771.4882 | 1220719.1159 | 2666771.705 | 1220716.0164 | 2666771.7766 | 1220715.0499
20 | 2666771.7766 | 1220715.0499 | 2666777.3405 | 1220714.8232 | 2666783.2162 | 1220710.4752 | 2666784.9001 | 1220703.7453 | 2666786.0373 | 1220703.8248 | 2666788.8725 | 1220704.0345 | 2666789.4014 | 1220692.055 | 2666790.0274 | 1220682.9229
21 | 2666771.7766 | 1220715.0499 | 2666771.705 | 1220716.0164 | 2666771.4882 | 1220719.1159 | 2666771.262 | 1220722.371 | 2666771.1442 | 1220724.0819 | 2666776.7542 | 1220725.1566 | 2666781.3897 | 1220729.9115 | 2666782.5822 | 1220736.5625 | 2666783.424 | 1220736.5941 | 2666785.9417 | 1220736.7002 | 2666788.558 | 1220736.8074 | 2666789.4832 | 1220736.8511
22 | 2666771.7766 | 1220715.0499 | 2666762.8205 | 1220714.2871
23 | 2666673.5973 | 1220758.5781 | 2666674.8464 | 1220765.5966 | 2666668.1687 | 1220777.2181
24 | 2666673.5973 | 1220758.5781 | 2666661.5239 | 1220764.2133 | 2666656.397 | 1220764.0336 | 2666651.8018 | 1220760.4132
25 | 2666790.0274 | 1220682.9229 | 2666791.5395 | 1220661.0936
26 | 2666790.0274 | 1220682.9229 | 2666794.6821 | 1220683.2642
27 | 2666789.4832 | 1220736.8511 | 2666789.1393 | 1220742.2459
28 | 2666749.6578 | 1220713.2307 | 2666755.692 | 1220713.6799 | 2666762.8205 | 1220714.2871
29 | 2666787.8811 | 1220761.9825 | 2666789.1393 | 1220742.2459
30 | 2666651.8018 | 1220760.4132 | 2666655.0666 | 1220756.1359 | 2666654.059 | 1220746.5185 | 2666650.0487 | 1220740.8033
31 | 2666794.6821 | 1220683.2642 | 2666813.9529 | 1220684.67 | 2666813.4825 | 1220693.4592 | 2666822.2584 | 1220694.3582
32 | 2666794.6821 | 1220683.2642 | 2666796.5028 | 1220660.5452
33 | 2666822.0363 | 1220697.2465 | 2666822.2584 | 1220694.3582
34 | 2666843.4958 | 1220736.8457 | 2666844.6264 | 1220736.8362 | 2666848.9288 | 1220736.7955 | 2666849.7558 | 1220736.7937 | 2666850.9243 | 1220736.7846 | 2666855.113 | 1220736.7315 | 2666856.1753 | 1220736.7212
35 | 2666843.4958 | 1220736.8457 | 2666842.1737 | 1220737.0199 | 2666841.1504 | 1220737.6088 | 2666840.4891 | 1220739.069 | 2666839.0617 | 1220755.3856 | 2666839.2491 | 1220755.663
36 | 2666856.1753 | 1220736.7212 | 2666856.2388 | 1220741.01
37 | 2666897.5415 | 1220709.5905 | 2666896.2917 | 1220714.8131 | 2666856.1114 | 1220726.1916 | 2666856.1753 | 1220736.7212
38 | 2666841.1568 | 1220791.1096 | 2666839.4264 | 1220789.8116 | 2666839.2549 | 1220788.1864 | 2666841.7782 | 1220759.4075 | 2666839.2491 | 1220755.663
39 | 2666897.5415 | 1220709.5905 | 2666876.2348 | 1220680.7218
40 | 2666897.5415 | 1220709.5905 | 2666913.4787 | 1220726.7693
41 | 2666765.1701 | 1220769.0102 | 2666783.4886 | 1220770.7388 | 2666784.0668 | 1220761.8063 | 2666787.8811 | 1220761.9825
42 | 2666765.1701 | 1220769.0102 | 2666748.0339 | 1220767.395
43 | 2666787.8811 | 1220761.9825 | 2666802.1755 | 1220762.632 | 2666804.6099 | 1220766.106 | 2666809.2317 | 1220768.6928 | 2666809.0227 | 1220777.1541
44 | 2666746.219 | 1220785.8086 | 2666748.0339 | 1220767.395
45 | 2666815.1563 | 1220810.6971 | 2666815.3715 | 1220787.4625 | 2666808.9815 | 1220778.8187 | 2666809.0227 | 1220777.1541
46 | 2666663.8238 | 1220706.5739 | 2666667.1126 | 1220706.8727 | 2666693.1806 | 1220709.0324 | 2666710.1544 | 1220710.2923
47 | 2666710.1544 | 1220710.2923 | 2666720.3503 | 1220711.049 | 2666749.6578 | 1220713.2307
48 | 2666913.4787 | 1220726.7693 | 2666915.2869 | 1220728.3643
49 | 2666917.1299 | 1220729.9901 | 2666915.2869 | 1220728.3643
50 | 2666913.4787 | 1220726.7693 | 2666941.1419 | 1220708.5017 | 2666952.2158 | 1220703.1368
51 | 2666917.1299 | 1220729.9901 | 2666937.247 | 1220750.5848
52 | 2666937.247 | 1220750.5848 | 2666919.8744 | 1220761.0289
53 | 2666856.5992 | 1220673.2856 | 2666865.0723 | 1220674.8039 | 2666872.4518 | 1220677.077 | 2666876.2348 | 1220680.7218
54 | 2666856.5992 | 1220673.2856 | 2666851.049 | 1220672.2894
55 | 2666851.049 | 1220672.2894 | 2666852.349 | 1220648.3869
56 | 2666845.3605 | 1220637.0911 | 2666845.2149 | 1220638.4579 | 2666844.3061 | 1220664.038
57 | 2666852.5761 | 1220644.211 | 2666852.9708 | 1220636.9551 | 2666853.9241 | 1220628.9819
58 | 2666852.5761 | 1220644.211 | 2666852.349 | 1220648.3869
59 | 2666815.1563 | 1220810.6971 | 2666832.5296 | 1220810.7809 | 2666838.5308 | 1220810.7927 | 2666840.0858 | 1220810.8212 | 2666841.4463 | 1220792.3581 | 2666841.1568 | 1220791.1096

## bus_geodata
| x | y | coords
0 | 2666656.1224 | 1220577.2588
1 | 2666679.2466 | 1220584.5003
2 | 2666645.8035 | 1220574.4056
3 | 2666711.0348 | 1220593.2102
4 | 2666680.4483 | 1220516.0338
5 | 2666631.6675 | 1220572.4732
6 | 2666737.322 | 1220598.0647
7 | 2666608.4873 | 1220512.8223
8 | 2666626.4303 | 1220571.7572
9 | 2666793.6733 | 1220608.1606
10 | 2666805.2533 | 1220601.9087
11 | 2666813.8449 | 1220602.6468
12 | 2666798.2752 | 1220638.4291
13 | 2666797.7395 | 1220609.5627
14 | 2666851.0232 | 1220597.5526
15 | 2666821.0309 | 1220593.4691
16 | 2666846.9131 | 1220623.5832
17 | 2666796.712 | 1220623.2147
18 | 2666771.7766 | 1220715.0499
19 | 2666673.5973 | 1220758.5781
20 | 2666790.0274 | 1220682.9229
21 | 2666789.4832 | 1220736.8511
22 | 2666762.8205 | 1220714.2871
23 | 2666789.1393 | 1220742.2459
24 | 2666668.1687 | 1220777.2181
25 | 2666651.8018 | 1220760.4132
26 | 2666650.0487 | 1220740.8033
27 | 2666794.6821 | 1220683.2642
28 | 2666822.2584 | 1220694.3582
29 | 2666796.5028 | 1220660.5452
30 | 2666822.0363 | 1220697.2465
31 | 2666843.4958 | 1220736.8457
32 | 2666856.1753 | 1220736.7212
33 | 2666839.2491 | 1220755.663
34 | 2666856.2388 | 1220741.01
35 | 2666897.5415 | 1220709.5905
36 | 2666791.5395 | 1220661.0936
37 | 2666765.1701 | 1220769.0102
38 | 2666787.8811 | 1220761.9825
39 | 2666748.0339 | 1220767.395
40 | 2666809.0227 | 1220777.1541
41 | 2666663.8238 | 1220706.5739
42 | 2666710.1544 | 1220710.2923
43 | 2666915.2869 | 1220728.3643
44 | 2666913.4787 | 1220726.7693
45 | 2666917.1299 | 1220729.9901
46 | 2666952.2158 | 1220703.1368
47 | 2666937.247 | 1220750.5848
48 | 2666876.2348 | 1220680.7218
49 | 2666919.8744 | 1220761.0289
50 | 2666856.5992 | 1220673.2856
51 | 2666851.049 | 1220672.2894
52 | 2666845.3605 | 1220637.0911
53 | 2666853.9241 | 1220628.9819
54 | 2666852.5761 | 1220644.211
55 | 2666852.349 | 1220648.3869
56 | 2666815.1563 | 1220810.6971
57 | 2666841.1568 | 1220791.1096
58 | 2666749.6578 | 1220713.2307
59 | 2666844.3061 | 1220664.038
60 | 2666746.219 | 1220785.8086
61 | 2666771.7766 | 1220715.0499

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97503 | -0.48167 | 0.0032259 | 0.00080848
1 | 0.97538 | -0.47482 | 0.010164 | 0.0025474
2 | 0.97491 | -0.48406 | 0 | 0
3 | 0.97616 | -0.45937 | 0.011359 | 0.0028469
4 | 0.97458 | -0.49049 | 0 | 0
5 | 0.97481 | -0.48591 | 0.0042446 | 0.0010638
6 | 0.97708 | -0.44131 | 0.032131 | 0.0080529
7 | 0.97424 | -0.49726 | 0.0051096 | 0.0012806
8 | 0.9748 | -0.48619 | 0.0028346 | 0.00071041
9 | 0.98076 | -0.36935 | 0 | 0
10 | 0.98191 | -0.34685 | 0 | 0
11 | 0.98187 | -0.34759 | 0.0014358 | 0.00035985
12 | 0.98457 | -0.29522 | 0.0018042 | 0.00045217
13 | 0.98103 | -0.36398 | 0 | 0
14 | 0.98173 | -0.35029 | 0 | 0
15 | 0.98183 | -0.34848 | 0 | 0
16 | 0.98165 | -0.35187 | 0.00071186 | 0.00017841
17 | 0.981 | -0.36449 | 0.0020685 | 0.00051842
18 | 0.99293 | -0.13437 | 0 | 0
19 | 0.98776 | -0.23441 | 0 | 0
20 | 0.98831 | -0.22307 | 0 | 0
21 | 0.98997 | -0.19146 | 0 | 0
22 | 0.99394 | -0.11519 | 0.0048426 | 0.0012137
23 | 0.98951 | -0.20029 | 0.0074764 | 0.0018738
24 | 0.98736 | -0.2423 | 0.021504 | 0.0053895
25 | 0.98738 | -0.24186 | 0 | 0
26 | 0.98703 | -0.24863 | 0.017186 | 0.0043073
27 | 0.98785 | -0.23186 | 0 | 0
28 | 0.98696 | -0.24923 | 0 | 0
29 | 0.98617 | -0.26427 | 0.0017781 | 0.00044563
30 | 0.98689 | -0.2506 | 0.026309 | 0.0065937
31 | 0.98435 | -0.30067 | 0 | 0
32 | 0.98422 | -0.30331 | 0 | 0
33 | 0.98457 | -0.29635 | 0.012674 | 0.0031765
34 | 0.9842 | -0.30368 | 0.004839 | 0.0012128
35 | 0.98386 | -0.31027 | 0 | 0
36 | 0.9882 | -0.22514 | 0.0053191 | 0.0013331
37 | 0.98632 | -0.26231 | 0 | 0
38 | 0.98798 | -0.23002 | 0 | 0
39 | 0.9854 | -0.28019 | 0.035415 | 0.0088759
40 | 0.98719 | -0.24526 | 0.0021727 | 0.00054453
41 | 0.99649 | -0.067492 | 0.083017 | 0.020806
42 | 1 | 0 | -0.3382 | -0.085924
43 | 0.98376 | -0.3122 | 0.0028292 | 0.00070906
44 | 0.98377 | -0.31204 | 0 | 0
45 | 0.98376 | -0.31223 | 0 | 0
46 | 0.98375 | -0.31245 | 0.00050955 | 0.0001277
47 | 0.98374 | -0.31267 | 0 | 0
48 | 0.98378 | -0.3119 | 0.00031655 | 7.9336e-05
49 | 0.98372 | -0.31298 | 0.0008469 | 0.00021225
50 | 0.98373 | -0.31275 | 0 | 0
51 | 0.98372 | -0.31298 | 0 | 0
52 | 0.98162 | -0.35251 | 0.001136 | 0.0002847
53 | 0.98365 | -0.31436 | 0.0011448 | 0.00028693
54 | 0.98367 | -0.31404 | 0.00043011 | 0.0001078
55 | 0.98367 | -0.31392 | 0.00062394 | 0.00015637
56 | 0.9864 | -0.26072 | 0 | 0
57 | 0.9854 | -0.28015 | 0 | 0
58 | 0.99544 | -0.08652 | 0.0030138 | 0.00075532
59 | 0.98158 | -0.35323 | 0.0014682 | 0.00036797
60 | 0.98502 | -0.28767 | 0.022509 | 0.0056413
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.01542 | -0.0038645 | 0.015425 | 0.0038674 | 5.0327e-06 | 2.9185e-06 | 0.023533 | 0.023533 | 0.023533 | 0.97503 | -0.48167 | 0.97538 | -0.47482 | 6.465
1 | 0.012194 | 0.003056 | -0.012193 | -0.0030553 | 1.3904e-06 | 7.5634e-07 | 0.01861 | 0.01861 | 0.01861 | 0.97503 | -0.48167 | 0.97491 | -0.48406 | 5.1125
2 | -0.025589 | -0.0064148 | 0.025608 | 0.0064265 | 1.8854e-05 | 1.1654e-05 | 0.039039 | 0.039039 | 0.039039 | 0.97538 | -0.47482 | 0.97616 | -0.45937 | 10.725
3 | 0.0051128 | 0.0012809 | -0.0051113 | -0.0012808 | 1.5664e-06 | 1.4752e-07 | 0.0078036 | 0.0078039 | 0.0078039 | 0.97491 | -0.48406 | 0.97458 | -0.49049 | 2.1439
4 | 0.0070798 | 0.0017744 | -0.0070792 | -0.0017742 | 6.2476e-07 | 2.2196e-07 | 0.010806 | 0.010806 | 0.010806 | 0.97491 | -0.48406 | 0.97481 | -0.48591 | 2.9687
5 | -0.036967 | -0.0092734 | 0.036999 | 0.0092934 | 3.1844e-05 | 2.0046e-05 | 0.056354 | 0.056354 | 0.056354 | 0.97616 | -0.45937 | 0.97708 | -0.44131 | 15.482
6 | 0.0051113 | 0.0012808 | -0.0051096 | -0.0012806 | 1.6475e-06 | 1.5584e-07 | 0.0078039 | 0.0078043 | 0.0078043 | 0.97458 | -0.49049 | 0.97424 | -0.49726 | 2.144
7 | 0.0028346 | 0.00071036 | -0.0028346 | -0.00071041 | 3.7111e-08 | -4.2146e-08 | 0.0043269 | 0.0043269 | 0.0043269 | 0.97481 | -0.48591 | 0.9748 | -0.48619 | 1.1887
8 | -0.069131 | -0.017346 | 0.069369 | 0.017498 | 0.00023811 | 0.00015167 | 0.10529 | 0.10529 | 0.10529 | 0.97708 | -0.44131 | 0.98076 | -0.36935 | 28.9252
9 | -0.069369 | -0.017498 | 0.069387 | 0.017509 | 1.7834e-05 | 1.1359e-05 | 0.10529 | 0.10529 | 0.10529 | 0.98076 | -0.36935 | 0.98103 | -0.36398 | 28.9251
10 | 0.0047529 | 0.00119 | -0.0047527 | -0.00119 | 1.6785e-07 | -1.7177e-09 | 0.0072022 | 0.0072023 | 0.0072023 | 0.98191 | -0.34685 | 0.98187 | -0.34759 | 1.9786
11 | -0.076267 | -0.019255 | 0.076456 | 0.019376 | 0.00018914 | 0.00012057 | 0.11563 | 0.11563 | 0.11563 | 0.98191 | -0.34685 | 0.98457 | -0.29522 | 31.7657
12 | 0.071514 | 0.018065 | -0.071455 | -0.018028 | 5.8668e-05 | 3.7379e-05 | 0.10843 | 0.10843 | 0.10843 | 0.98191 | -0.34685 | 0.98103 | -0.36398 | 29.7871
13 | 0.0033169 | 0.00083018 | -0.0033167 | -0.00083028 | 1.4103e-07 | -9.8013e-08 | 0.0050263 | 0.0050263 | 0.0050263 | 0.98187 | -0.34759 | 0.98183 | -0.34848 | 1.3809
14 | -0.07826 | -0.019828 | 0.078376 | 0.019902 | 0.00011654 | 7.4306e-05 | 0.11835 | 0.11835 | 0.11835 | 0.98457 | -0.29522 | 0.98617 | -0.26427 | 32.5148
15 | 0.0020686 | 0.00051828 | -0.0020685 | -0.00051842 | 5.0544e-08 | -1.4052e-07 | 0.0031375 | 0.0031376 | 0.0031376 | 0.98103 | -0.36398 | 0.981 | -0.36449 | 0.86198
16 | -0.0033164 | -0.00083048 | 0.0033167 | 0.00083028 | 2.8595e-07 | -1.9866e-07 | 0.0050265 | 0.0050263 | 0.0050265 | 0.98173 | -0.35029 | 0.98183 | -0.34848 | 1.3809
17 | 0.0033164 | 0.00083048 | -0.0033162 | -0.00083065 | 2.4969e-07 | -1.7339e-07 | 0.0050265 | 0.0050266 | 0.0050266 | 0.98173 | -0.35029 | 0.98165 | -0.35187 | 1.3809
18 | 0.0026043 | 0.00065224 | -0.0026042 | -0.00065236 | 7.947e-08 | -1.2106e-07 | 0.0039475 | 0.0039476 | 0.0039476 | 0.98165 | -0.35187 | 0.98162 | -0.35251 | 1.0845
19 | 0.038896 | 0.0098255 | -0.038711 | -0.0097086 | 0.00018555 | 0.00011688 | 0.058317 | 0.058318 | 0.058318 | 0.99293 | -0.13437 | 0.98776 | -0.23441 | 16.0214
20 | 0.11246 | 0.028704 | -0.11198 | -0.028398 | 0.00047973 | 0.00030645 | 0.16871 | 0.16871 | 0.16871 | 0.99293 | -0.13437 | 0.98831 | -0.22307 | 46.35
21 | 0.092432 | 0.023409 | -0.092179 | -0.023247 | 0.00025266 | 0.00016125 | 0.13861 | 0.13861 | 0.13861 | 0.99293 | -0.13437 | 0.98997 | -0.19146 | 38.0784
22 | -0.24378 | -0.061938 | 0.24401 | 0.062082 | 0.00022531 | 0.00014397 | 0.36564 | 0.36564 | 0.36564 | 0.99293 | -0.13437 | 0.99394 | -0.11519 | 50.2247
23 | 0.021512 | 0.0053944 | -0.021504 | -0.0053895 | 8.0841e-06 | 4.9112e-06 | 0.032408 | 0.032408 | 0.032408 | 0.98776 | -0.23441 | 0.98736 | -0.2423 | 8.9034
24 | 0.017198 | 0.0043142 | -0.017192 | -0.0043106 | 6.1042e-06 | 3.5964e-06 | 0.025909 | 0.02591 | 0.02591 | 0.98776 | -0.23441 | 0.98738 | -0.24186 | 7.118
25 | 0.0053196 | 0.0013332 | -0.0053191 | -0.0013331 | 5.2639e-07 | 5.6521e-08 | 0.0080093 | 0.0080094 | 0.0080094 | 0.98831 | -0.22307 | 0.9882 | -0.22514 | 2.2004
26 | 0.10666 | 0.027065 | -0.10661 | -0.027036 | 4.5073e-05 | 2.8787e-05 | 0.1607 | 0.1607 | 0.1607 | 0.98831 | -0.22307 | 0.98785 | -0.23186 | 44.1496
27 | 0.092179 | 0.023247 | -0.09214 | -0.023223 | 3.8944e-05 | 2.4855e-05 | 0.13861 | 0.13861 | 0.13861 | 0.98997 | -0.19146 | 0.98951 | -0.20029 | 38.0784
28 | -0.24885 | -0.063296 | 0.2492 | 0.063516 | 0.00034427 | 0.00021999 | 0.37289 | 0.37289 | 0.37289 | 0.99394 | -0.11519 | 0.99544 | -0.08652 | 51.2205
29 | 0.084664 | 0.021349 | -0.084544 | -0.021272 | 0.0001203 | 7.6739e-05 | 0.12736 | 0.12736 | 0.12736 | 0.98951 | -0.20029 | 0.98798 | -0.23002 | 34.9897
30 | 0.017192 | 0.0043106 | -0.017186 | -0.0043073 | 5.5441e-06 | 3.2666e-06 | 0.02591 | 0.02591 | 0.02591 | 0.98738 | -0.24186 | 0.98703 | -0.24863 | 7.118
31 | 0.026333 | 0.0066082 | -0.026311 | -0.0065947 | 2.1801e-05 | 1.348e-05 | 0.039668 | 0.039668 | 0.039668 | 0.98785 | -0.23186 | 0.98696 | -0.24923 | 10.8979
32 | 0.08028 | 0.020428 | -0.080155 | -0.020348 | 0.00012521 | 7.9844e-05 | 0.12104 | 0.12104 | 0.12104 | 0.98785 | -0.23186 | 0.98617 | -0.26427 | 33.2518
33 | 0.026311 | 0.0065947 | -0.026309 | -0.0065937 | 1.7095e-06 | 1.0571e-06 | 0.039668 | 0.039668 | 0.039668 | 0.98696 | -0.24923 | 0.98689 | -0.2506 | 10.8979
34 | 0.011545 | 0.0028913 | -0.011543 | -0.0028905 | 1.4481e-06 | 7.6561e-07 | 0.017451 | 0.017451 | 0.017451 | 0.98435 | -0.30067 | 0.98422 | -0.30331 | 4.7943
35 | -0.011545 | -0.0028913 | 0.011547 | 0.0028926 | 2.3789e-06 | 1.2576e-06 | 0.017451 | 0.017451 | 0.017451 | 0.98435 | -0.30067 | 0.98457 | -0.29635 | 4.7942
36 | 0.004839 | 0.0012128 | -0.004839 | -0.0012128 | 8.6092e-08 | 5.909e-10 | 0.007316 | 0.0073161 | 0.0073161 | 0.98422 | -0.30331 | 0.9842 | -0.30368 | 2.0099
37 | 0.0067042 | 0.0016778 | -0.0067019 | -0.0016771 | 2.2211e-06 | 6.89e-07 | 0.010135 | 0.010135 | 0.010135 | 0.98422 | -0.30331 | 0.98386 | -0.31027 | 2.7844
38 | -0.024221 | -0.006069 | 0.02424 | 0.0060805 | 1.8696e-05 | 1.1492e-05 | 0.036606 | 0.036606 | 0.036606 | 0.98457 | -0.29635 | 0.9854 | -0.28015 | 10.0566
39 | 0.0025159 | 0.00062936 | -0.0025157 | -0.00062969 | 1.9478e-07 | -3.3095e-07 | 0.0038047 | 0.0038048 | 0.0038048 | 0.98386 | -0.31027 | 0.98378 | -0.3119 | 1.0453
40 | 0.0041861 | 0.0010477 | -0.0041857 | -0.0010478 | 3.5173e-07 | -7.2068e-08 | 0.0063306 | 0.0063307 | 0.0063307 | 0.98386 | -0.31027 | 0.98377 | -0.31204 | 1.7392
41 | -0.057982 | -0.014553 | 0.058071 | 0.01461 | 8.9455e-05 | 5.6852e-05 | 0.087482 | 0.087482 | 0.087482 | 0.98632 | -0.26231 | 0.98798 | -0.23002 | 24.0336
42 | 0.057982 | 0.014553 | -0.057932 | -0.014522 | 4.9398e-05 | 3.1395e-05 | 0.087482 | 0.087482 | 0.087482 | 0.98632 | -0.26231 | 0.9854 | -0.28019 | 24.0337
43 | 0.026472 | 0.0066618 | -0.026453 | -0.0066499 | 1.9271e-05 | 1.192e-05 | 0.03988 | 0.03988 | 0.03988 | 0.98798 | -0.23002 | 0.98719 | -0.24526 | 10.9561
44 | 0.022517 | 0.0056462 | -0.022509 | -0.0056413 | 8.0226e-06 | 4.8988e-06 | 0.034003 | 0.034003 | 0.034003 | 0.9854 | -0.28019 | 0.98502 | -0.28767 | 9.3416
45 | 0.02428 | 0.0061053 | -0.024262 | -0.0060943 | 1.7914e-05 | 1.1009e-05 | 0.036605 | 0.036606 | 0.036606 | 0.98719 | -0.24526 | 0.9864 | -0.26072 | 10.0565
46 | -0.083017 | -0.020806 | 0.083285 | 0.020977 | 0.00026786 | 0.00017082 | 0.12397 | 0.12397 | 0.12397 | 0.99649 | -0.067492 | 1 | 0 | 34.0567
47 | 0.25327 | 0.064947 | -0.25221 | -0.064271 | 0.0010578 | 0.00067597 | 0.37739 | 0.37739 | 0.37739 | 1 | 0 | 0.99544 | -0.08652 | 51.8393
48 | -0.0036761 | -0.00092068 | 0.0036762 | 0.00092067 | 2.7953e-08 | -1.2723e-08 | 0.0055602 | 0.0055602 | 0.0055602 | 0.98376 | -0.3122 | 0.98377 | -0.31204 | 1.5275
49 | 0.00084693 | 0.00021162 | -0.00084693 | -0.00021165 | 1.512e-09 | -3.0236e-08 | 0.0012808 | 0.0012808 | 0.0012808 | 0.98376 | -0.3122 | 0.98376 | -0.31223 | 0.35188
50 | 0.00050956 | 0.00012713 | -0.00050955 | -0.0001277 | 1.0123e-08 | -5.7065e-07 | 0.00077054 | 0.00077074 | 0.00077074 | 0.98377 | -0.31204 | 0.98375 | -0.31245 | 0.21174
51 | 0.00084693 | 0.00021165 | -0.00084691 | -0.000212 | 1.7689e-08 | -3.537e-07 | 0.0012808 | 0.001281 | 0.001281 | 0.98376 | -0.31223 | 0.98374 | -0.31267 | 0.35191
52 | 0.00084691 | 0.000212 | -0.0008469 | -0.00021225 | 1.2474e-08 | -2.4937e-07 | 0.001281 | 0.0012811 | 0.0012811 | 0.98374 | -0.31267 | 0.98372 | -0.31298 | 0.35194
53 | 0.0021991 | 0.00055035 | -0.002199 | -0.00055057 | 8.9537e-08 | -2.1672e-07 | 0.003326 | 0.0033261 | 0.0033261 | 0.98378 | -0.3119 | 0.98373 | -0.31275 | 0.91377
54 | 0.002199 | 0.00055057 | -0.002199 | -0.00055062 | 2.3328e-08 | -5.6458e-08 | 0.0033261 | 0.0033261 | 0.0033261 | 0.98373 | -0.31275 | 0.98372 | -0.31298 | 0.91378
55 | 0.002199 | 0.00055062 | -0.0021989 | -0.00055086 | 9.9315e-08 | -2.4033e-07 | 0.0033261 | 0.0033263 | 0.0033263 | 0.98372 | -0.31298 | 0.98367 | -0.31392 | 0.91381
56 | 0.0014683 | 0.00036766 | -0.0014682 | -0.00036797 | 5.0101e-08 | -3.0887e-07 | 0.0022256 | 0.0022257 | 0.0022257 | 0.98162 | -0.35251 | 0.98158 | -0.35323 | 0.61146
57 | -0.0011448 | -0.00028693 | 0.0011449 | 0.00028674 | 1.7204e-08 | -1.8316e-07 | 0.0017319 | 0.0017318 | 0.0017319 | 0.98365 | -0.31436 | 0.98367 | -0.31404 | 0.47579
58 | -0.001575 | -0.00039454 | 0.001575 | 0.00039449 | 8.9014e-09 | -4.7392e-08 | 0.0023824 | 0.0023824 | 0.0023824 | 0.98367 | -0.31404 | 0.98367 | -0.31392 | 0.65451
59 | 0.024262 | 0.0060943 | -0.02424 | -0.0060805 | 2.2474e-05 | 1.3813e-05 | 0.036606 | 0.036606 | 0.036606 | 0.9864 | -0.26072 | 0.9854 | -0.28015 | 10.0565

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36031 | 0.091464

## res_load
| p_mw | q_mvar
0 | 0.0032259 | 0.00080848
1 | 0.010164 | 0.0025474
2 | 0.011359 | 0.0028469
3 | 0.0042446 | 0.0010638
4 | 0.032131 | 0.0080529
5 | 0.0051096 | 0.0012806
6 | 0.0028346 | 0.00071041
7 | 0.0014358 | 0.00035985
8 | 0.0018042 | 0.00045217
9 | 0.00071186 | 0.00017841
10 | 0.0020685 | 0.00051842
11 | 0.0048426 | 0.0012137
12 | 0.0074764 | 0.0018738
13 | 0.021504 | 0.0053895
14 | 0.017186 | 0.0043073
15 | 0.0017781 | 0.00044563
16 | 0.026309 | 0.0065937
17 | 0.012674 | 0.0031765
18 | 0.004839 | 0.0012128
19 | 0.0053191 | 0.0013331
20 | 0.035415 | 0.0088759
21 | 0.0021727 | 0.00054453
22 | 0.083017 | 0.020806
23 | 0.022102 | 0.0055394
24 | 0.0028292 | 0.00070906
25 | 0.00050955 | 0.0001277
26 | 0.00031655 | 7.9336e-05
27 | 0.0008469 | 0.00021225
28 | 0.001136 | 0.0002847
29 | 0.0011448 | 0.00028693
30 | 0.00043011 | 0.0001078
31 | 0.00062394 | 0.00015637
32 | 0.0030138 | 0.00075532
33 | 0.0014682 | 0.00036797
34 | 0.022509 | 0.0056413

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1