## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1033-1_2_3_node_285 | 0.4 | n |  | TRUE
1 | bus_LV_1033-1_2_3_node_89 | 0.4 | n |  | TRUE
2 | bus_LV_1033-1_2_3_node_286 | 0.4 | n |  | TRUE
3 | bus_LV_1033-1_2_3_node_53 | 0.4 | n |  | TRUE
4 | bus_LV_1033-1_2_3_node_287 | 0.4 | n |  | TRUE
5 | bus_LV_1033-1_2_3_node_288 | 0.4 | n |  | TRUE
6 | bus_LV_1033-1_2_3_node_289 | 0.4 | n |  | TRUE
7 | bus_LV_1033-1_2_3_node_300 | 0.4 | n |  | TRUE
8 | bus_LV_1033-1_2_3_node_298 | 0.4 | n |  | TRUE
9 | bus_LV_1033-1_2_3_node_290 | 0.4 | n |  | TRUE
10 | bus_LV_1033-1_2_3_node_291 | 0.4 | n |  | TRUE
11 | bus_LV_1033-1_2_3_node_292 | 0.4 | n |  | TRUE
12 | bus_LV_1033-1_2_3_node_293 | 0.4 | n |  | TRUE
13 | bus_LV_1033-1_2_3_node_294 | 0.4 | n |  | TRUE
14 | bus_LV_1033-1_2_3_node_295 | 0.4 | n |  | TRUE
15 | bus_LV_1033-1_2_3_node_301 | 0.4 | n |  | TRUE
16 | bus_LV_1033-1_2_3_node_296 | 0.4 | n |  | TRUE
17 | bus_LV_1033-1_2_3_node_297 | 0.4 | n |  | TRUE
18 | bus_LV_1033-1_2_3_node_306 | 0.4 | n |  | TRUE
19 | bus_LV_1033-1_2_3_node_305 | 0.4 | n |  | TRUE
20 | bus_LV_1033-1_2_3_node_299 | 0.4 | n |  | TRUE
21 | bus_LV_1033-1_2_3_node_320 | 0.4 | n |  | TRUE
22 | bus_LV_1033-1_2_3_node_322 | 0.4 | n |  | TRUE
23 | bus_LV_1033-1_2_3_node_302 | 0.4 | n |  | TRUE
24 | bus_LV_1033-1_2_3_node_303 | 0.4 | n |  | TRUE
25 | bus_LV_1033-1_2_3_node_90 | 0.4 | n |  | TRUE
26 | bus_LV_1033-1_2_3_node_304 | 0.4 | n |  | TRUE
27 | bus_LV_1033-1_2_3_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_1033-1_2_3_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_1033-1_2_3_node_307 | 0.4 | n |  | TRUE
30 | bus_LV_1033-1_2_3_node_55 | 0.4 | n |  | TRUE
31 | bus_LV_1033-1_2_3_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_1033-1_2_3_node_326 | 0.4 | n |  | TRUE
33 | bus_LV_1033-1_2_3_node_95 | 0.4 | n |  | TRUE
34 | bus_LV_1033-1_2_3_node_314 | 0.4 | n |  | TRUE
35 | bus_LV_1033-1_2_3_node_316 | 0.4 | n |  | TRUE
36 | bus_LV_1033-1_2_3_node_317 | 0.4 | n |  | TRUE
37 | bus_LV_1033-1_2_3_node_318 | 0.4 | n |  | TRUE
38 | bus_LV_1033-1_2_3_node_319 | 0.4 | n |  | TRUE
39 | bus_LV_1033-1_2_3_node_321 | 0.4 | n |  | TRUE
40 | bus_LV_1033-1_2_3_node_323 | 0.4 | n |  | TRUE
41 | bus_LV_1033-1_2_3_node_94 | 0.4 | n |  | TRUE
42 | bus_LV_1033-1_2_3_node_327 | 0.4 | n |  | TRUE
43 | bus_LV_1033-1_2_3_node_328 | 0.4 | n |  | TRUE
44 | bus_LV_1033-1_2_3_node_329 | 0.4 | n |  | TRUE
45 | bus_LV_1033-1_2_3_node_330 | 0.4 | n |  | TRUE
46 | bus_LV_1033-1_2_3_node_77 | 0.4 | n |  | TRUE
47 | bus_LV_1033-1_2_3_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_1033-1_2_3_node_79 | 0.4 | n |  | TRUE
49 | bus_LV_1033-1_2_3_node_81 | 0.4 | n |  | TRUE
50 | bus_LV_1033-1_2_3_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_1033-1_2_3_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_1033-1_2_3_node_83 | 0.4 | n |  | TRUE
53 | bus_LV_1033-1_2_3_node_84 | 0.4 | n |  | TRUE
54 | bus_LV_1033-1_2_3_node_87 | 0.4 | n |  | TRUE
55 | bus_LV_1033-1_2_3_node_88 | 0.4 | n |  | TRUE
56 | bus_LV_1033-1_2_3_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_1033-1_2_3_node_92 | 0.4 | n |  | TRUE
58 | bus_LV_1033-1_2_3_node_93 | 0.4 | n |  | TRUE
59 | bus_MV_0_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1033-1_2_3_load_285 | 0 | 0.00016529 | 4.1426e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1033-1_2_3_load_89 | 1 | 0.00028894 | 7.2415e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1033-1_2_3_load_286 | 2 | 0.00027163 | 6.8076e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1033-1_2_3_load_287 | 4 | 0.00018389 | 4.6087e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1033-1_2_3_load_288 | 5 | 0.0010387 | 0.00026031 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1033-1_2_3_load_298 | 8 | 0.0006807 | 0.0001706 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1033-1_2_3_load_290 | 9 | 0.0001478 | 3.7042e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1033-1_2_3_load_291 | 10 | 0.0002212 | 5.5438e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1033-1_2_3_load_292 | 11 | 0.00017455 | 4.3745e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1033-1_2_3_load_293 | 12 | 0.0014637 | 0.00036684 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1033-1_2_3_load_294 | 13 | 0.00036038 | 9.0319e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1033-1_2_3_load_301 | 15 | 0.00010352 | 2.5944e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1033-1_2_3_load_297 | 17 | 0.00032119 | 8.0498e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1033-1_2_3_load_306 | 18 | 0.00011752 | 2.9454e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1033-1_2_3_load_305 | 19 | 0.00011431 | 2.865e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1033-1_2_3_load_299 | 20 | 0.00011429 | 2.8644e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1033-1_2_3_load_320 | 21 | 0.00087346 | 0.00021891 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1033-1_2_3_load_302 | 23 | 0.00043837 | 0.00010987 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1033-1_2_3_load_303 | 24 | 0.00023251 | 5.8274e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1033-1_2_3_load_304 | 26 | 0.00028351 | 7.1055e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1033-1_2_3_load_50 | 27 | 0.0009089 | 0.00022779 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1033-1_2_3_load_52 | 28 | 0.00060279 | 0.00015107 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1033-1_2_3_load_307 | 29 | 0.00063479 | 0.00015909 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1033-1_2_3_load_56 | 31 | 0.00047577 | 0.00011924 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1033-1_2_3_load_326 | 32 | 0.00053766 | 0.00013475 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1033-1_2_3_load_95 | 33 | 6.9044e-05 | 1.7304e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1033-1_2_3_load_314 | 34 | 0.00071665 | 0.00017961 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1033-1_2_3_load_316 | 35 | 0.00038327 | 9.6058e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1033-1_2_3_load_317 | 36 | 0.00046498 | 0.00011653 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1033-1_2_3_load_318 | 37 | 0.0003187 | 7.9873e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1033-1_2_3_load_319 | 38 | 0.00021282 | 5.3338e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1033-1_2_3_load_321 | 39 | 0.0011196 | 0.00028061 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1033-1_2_3_load_323 | 40 | 0.00041772 | 0.00010469 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1033-1_2_3_load_94 | 41 | 0.00040042 | 0.00010035 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1033-1_2_3_load_327 | 42 | 0.00018842 | 4.7223e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1033-1_2_3_load_328 | 43 | 0.0001452 | 3.639e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1033-1_2_3_load_329 | 44 | 0.00023838 | 5.9744e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1033-1_2_3_load_330 | 45 | 9.4578e-05 | 2.3703e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1033-1_2_3_load_77 | 46 | 0.0013614 | 0.00034119 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1033-1_2_3_load_78 | 47 | 0.0030715 | 0.00076979 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1033-1_2_3_load_86 | 50 | 0.0098266 | 0.0024628 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1033-1_2_3_load_82 | 51 | 0.00069941 | 0.00017529 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1033-1_2_3_load_83 | 52 | 0.0022338 | 0.00055983 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1033-1_2_3_load_84 | 53 | 0.0019625 | 0.00049186 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1033-1_2_3_load_87 | 54 | 0.00033321 | 8.3511e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1033-1_2_3_load_88 | 55 | 0.00051509 | 0.00012909 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1033-1_2_3_load_91 | 56 | 0.0010707 | 0.00026833 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1033-1_2_3_load_92 | 57 | 0.00034034 | 8.5297e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1033-1_2_3_line_0 |  | 0 | 1 | 0.027211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1033-1_2_3_line_1 |  | 0 | 2 | 0.022425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1033-1_2_3_line_2 |  | 1 | 55 | 0.017944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1033-1_2_3_line_3 |  | 2 | 3 | 0.030868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1033-1_2_3_line_4 |  | 3 | 32 | 0.25137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1033-1_2_3_line_5 |  | 3 | 5 | 0.044302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1033-1_2_3_line_6 |  | 3 | 6 | 0.57241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1033-1_2_3_line_7 |  | 4 | 5 | 0.025736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1033-1_2_3_line_8 |  | 6 | 7 | 0.17816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1033-1_2_3_line_9 |  | 6 | 8 | 0.2628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1033-1_2_3_line_10 |  | 7 | 21 | 0.052483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1033-1_2_3_line_11 |  | 7 | 22 | 0.034077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1033-1_2_3_line_12 |  | 8 | 20 | 0.017771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1033-1_2_3_line_13 |  | 9 | 10 | 0.028636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1033-1_2_3_line_14 |  | 9 | 11 | 0.01031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1033-1_2_3_line_15 |  | 10 | 12 | 0.0025855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1033-1_2_3_line_16 |  | 11 | 13 | 0.0049425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1033-1_2_3_line_17 |  | 12 | 14 | 0.047785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1033-1_2_3_line_18 |  | 13 | 15 | 0.025265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1033-1_2_3_line_19 |  | 14 | 16 | 0.10792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1033-1_2_3_line_20 |  | 14 | 17 | 0.038799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1033-1_2_3_line_21 |  | 15 | 23 | 0.0029911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1033-1_2_3_line_22 |  | 16 | 18 | 0.065753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1033-1_2_3_line_23 |  | 16 | 19 | 0.028858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1033-1_2_3_line_24 |  | 17 | 20 | 0.029195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1033-1_2_3_line_25 |  | 18 | 29 | 0.041621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1033-1_2_3_line_26 |  | 19 | 26 | 0.071611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1033-1_2_3_line_27 |  | 21 | 38 | 0.044458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1033-1_2_3_line_28 |  | 22 | 40 | 0.10128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1033-1_2_3_line_29 |  | 22 | 39 | 0.014934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1033-1_2_3_line_30 |  | 23 | 24 | 0.020686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1033-1_2_3_line_31 |  | 24 | 25 | 0.035553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1033-1_2_3_line_32 |  | 25 | 49 | 0.67534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1033-1_2_3_line_33 |  | 27 | 28 | 0.03645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1033-1_2_3_line_34 |  | 28 | 30 | 0.30603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1033-1_2_3_line_35 |  | 28 | 31 | 0.017752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1033-1_2_3_line_36 |  | 30 | 33 | 0.017479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1033-1_2_3_line_37 |  | 32 | 41 | 0.024603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1033-1_2_3_line_38 |  | 32 | 42 | 0.030772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1033-1_2_3_line_39 |  | 33 | 54 | 0.36208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1033-1_2_3_line_40 |  | 33 | 58 | 0.17616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1033-1_2_3_line_41 |  | 34 | 35 | 0.024299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1033-1_2_3_line_42 |  | 35 | 36 | 0.042371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1033-1_2_3_line_43 |  | 36 | 37 | 0.20676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1033-1_2_3_line_44 |  | 37 | 38 | 0.0017109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1033-1_2_3_line_45 |  | 42 | 43 | 0.0056945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1033-1_2_3_line_46 |  | 43 | 44 | 0.01843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1033-1_2_3_line_47 |  | 44 | 45 | 0.020723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1033-1_2_3_line_48 |  | 46 | 47 | 5.1497e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1033-1_2_3_line_49 |  | 46 | 48 | 0.017498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1033-1_2_3_line_50 |  | 48 | 49 | 0.18151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1033-1_2_3_line_51 |  | 49 | 50 | 0.14113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1033-1_2_3_line_52 |  | 50 | 53 | 0.023701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1033-1_2_3_line_53 |  | 51 | 52 | 0.01313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1033-1_2_3_line_54 |  | 52 | 53 | 0.045217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1033-1_2_3_line_55 |  | 54 | 55 | 0.052038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1033-1_2_3_line_56 |  | 56 | 57 | 0.045907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1033-1_2_3_line_57 |  | 57 | 58 | 0.012197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1033-1_2_3_trafo_81 | 0.63 MVA 20/0.4 kV | 59 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2671092.565 | 1220945.1268 | 2671088.0904 | 1220936.4298 | 2671080.1166 | 1220920.9297
1 | 2671069.8584 | 1220900.989 | 2671080.1166 | 1220920.9297
2 | 2671100.7744 | 1220961.0826 | 2671092.565 | 1220945.1268
3 | 2671055.7237 | 1220873.5476 | 2671057.8077 | 1220877.5639 | 2671069.8584 | 1220900.989
4 | 2671055.7237 | 1220873.5476 | 2671257.676 | 1220723.8668
5 | 2671055.7237 | 1220873.5476 | 2671045.5128 | 1220882.9763 | 2671034.2766 | 1220903.9448 | 2671029.3381 | 1220908.3443
6 | 2670603.7608 | 1220539.1145 | 2670647.6022 | 1220573.5675 | 2670733.2641 | 1220640.6381 | 2670760.2206 | 1220658.6254 | 2670948.2091 | 1220759.4482 | 2670995.3196 | 1220784.7702 | 2671012.8735 | 1220799.6334 | 2671028.4604 | 1220821.0108 | 2671055.7237 | 1220873.5476
7 | 2671004.6168 | 1220906.912 | 2671012.705 | 1220904.0877 | 2671029.3381 | 1220908.3443 | 2671029.3381 | 1220908.3443
8 | 2670603.7608 | 1220539.1145 | 2670623.698 | 1220522.0732 | 2670655.7058 | 1220512.8022 | 2670700.9813 | 1220485.8887 | 2670733.2801 | 1220464.9252 | 2670740.9205 | 1220452.8192 | 2670741.9068 | 1220439.4112
9 | 2670603.7608 | 1220539.1145 | 2670549.9239 | 1220495.8934 | 2670525.8716 | 1220472.8271 | 2670451.9293 | 1220381.2601 | 2670423.9546 | 1220348.9423
10 | 2670741.9068 | 1220439.4112 | 2670727.7102 | 1220408.1337 | 2670718.9191 | 1220392.273
11 | 2670741.9068 | 1220439.4112 | 2670748.3098 | 1220427.3573 | 2670761.328 | 1220411.5795
12 | 2670423.9546 | 1220348.9423 | 2670412.3242 | 1220335.5062
13 | 2670312.6342 | 1220351.5298 | 2670321.8982 | 1220340.2532 | 2670331.0423 | 1220329.5965
14 | 2670312.6342 | 1220351.5298 | 2670306.0898 | 1220359.4959
15 | 2670332.726 | 1220327.6343 | 2670331.0423 | 1220329.5965
16 | 2670303.0881 | 1220363.4207 | 2670305.0542 | 1220360.7565 | 2670306.0898 | 1220359.4959
17 | 2670361.9875 | 1220289.883 | 2670340.9476 | 1220318.0527 | 2670332.726 | 1220327.6343
18 | 2670303.0881 | 1220363.4207 | 2670296.7494 | 1220372.0102 | 2670290.067 | 1220384.9796
19 | 2670361.9875 | 1220289.883 | 2670278.5747 | 1220221.1211
20 | 2670361.9875 | 1220289.883 | 2670391.103 | 1220315.5283
21 | 2670290.067 | 1220384.9796 | 2670288.6969 | 1220387.6385
22 | 2670278.5747 | 1220221.1211 | 2670227.8361 | 1220179.3
23 | 2670278.5747 | 1220221.1211 | 2670270.0438 | 1220230.949 | 2670258.9385 | 1220237.0998 | 2670256.0878 | 1220238.4377
24 | 2670412.3242 | 1220335.5062 | 2670407.6381 | 1220330.0926 | 2670391.103 | 1220315.5283
25 | 2670227.8361 | 1220179.3 | 2670214.338 | 1220168.1742 | 2670195.6448 | 1220152.9183
26 | 2670189.0291 | 1220263.2216 | 2670194.2683 | 1220261.4754 | 2670235.6209 | 1220248.043 | 2670256.0878 | 1220238.4377
27 | 2670693.2214 | 1220356.1516 | 2670693.435 | 1220356.5159 | 2670712.2887 | 1220380.3105 | 2670718.9191 | 1220392.273
28 | 2670802.8928 | 1220493.9152 | 2670809.1646 | 1220482.0487 | 2670810.3615 | 1220475.8367 | 2670808.0962 | 1220467.8936 | 2670772.6825 | 1220422.1434 | 2670761.328 | 1220411.5795
29 | 2670761.328 | 1220411.5795 | 2670766.1085 | 1220397.4313
30 | 2670279.2225 | 1220406.0268 | 2670288.6969 | 1220387.6385
31 | 2670262.9383 | 1220437.6313 | 2670279.2225 | 1220406.0268
32 | 2670427.0786 | 1221073.4562 | 2670425.5325 | 1221061.1411 | 2670397.7234 | 1220904.8674 | 2670390.209 | 1220869.2112 | 2670382.2643 | 1220842.9893 | 2670367.4119 | 1220803.5663 | 2670350.7288 | 1220762.3872 | 2670342.39 | 1220743.1653 | 2670303.8775 | 1220665.4051 | 2670265.147 | 1220597.0265 | 2670255.4352 | 1220577.7329 | 2670247.7685 | 1220554.2274 | 2670243.1185 | 1220534.193 | 2670241.1629 | 1220516.6587 | 2670240.8244 | 1220504.1911 | 2670242.0034 | 1220493.0089 | 2670245.1196 | 1220480.3375 | 2670248.4399 | 1220470.3036 | 2670262.9383 | 1220437.6313
33 | 2671354.2426 | 1220633.7384 | 2671350.3558 | 1220626.3093 | 2671347.1621 | 1220614.23 | 2671344.7932 | 1220599.8034 | 2671344.5409 | 1220598.8862
34 | 2671354.2426 | 1220633.7384 | 2671358.2776 | 1220641.4584 | 2671367.9579 | 1220653.5822 | 2671375.0086 | 1220664.1735 | 2671383.5872 | 1220674.5163 | 2671393.3754 | 1220685.2294 | 2671402.0342 | 1220697.1075 | 2671407.1656 | 1220706.3972 | 2671411.0311 | 1220714.9601 | 2671418.7157 | 1220740.3687 | 2671424.5644 | 1220757.5276 | 2671435.8045 | 1220783.1678 | 2671468.9509 | 1220840.2244 | 2671477.5553 | 1220856.6049 | 2671481.4375 | 1220865.6462 | 2671484.3849 | 1220876.7221 | 2671484.6575 | 1220883.7187 | 2671484.1163 | 1220894.6749 | 2671482.0471 | 1220904.612
35 | 2671354.2426 | 1220633.7384 | 2671364.7567 | 1220626.304 | 2671369.5525 | 1220625.4315
36 | 2671482.0471 | 1220904.612 | 2671476.0632 | 1220918.3269 | 2671476.1734 | 1220920.8405
37 | 2671272.881 | 1220743.2095 | 2671270.0678 | 1220739.6326 | 2671257.676 | 1220723.8668
38 | 2671257.676 | 1220723.8668 | 2671256.1822 | 1220721.9662 | 2671245.082 | 1220704.8446 | 2671241.2814 | 1220697.8621
39 | 2671124.5818 | 1221007.3552 | 2671476.1734 | 1220920.8405
40 | 2671512.0212 | 1221093.0268 | 2671509.3043 | 1221081.0976 | 2671501.1492 | 1221047.5558 | 2671492.5631 | 1221004.4027 | 2671476.9625 | 1220938.8398 | 2671476.1734 | 1220920.8405
41 | 2670552.72 | 1220123.5038 | 2670552.6999 | 1220125.1991 | 2670552.2507 | 1220138.7803 | 2670553.6107 | 1220145.6786 | 2670554.4891 | 1220147.457
42 | 2670554.4891 | 1220147.457 | 2670563.0735 | 1220164.8363 | 2670571.746 | 1220178.3254 | 2670575.7004 | 1220184.0412
43 | 2670575.7004 | 1220184.0412 | 2670587.8001 | 1220201.5305 | 2670681.5281 | 1220336.2171 | 2670692.3557 | 1220354.6759
44 | 2670692.3557 | 1220354.6759 | 2670693.2214 | 1220356.1516
45 | 2671238.559 | 1220692.8604 | 2671241.2814 | 1220697.8621
46 | 2671238.559 | 1220692.8604 | 2671232.8323 | 1220682.3392 | 2671230.8265 | 1220676.2073
47 | 2671222.9271 | 1220657.1746 | 2671226.6252 | 1220663.3638 | 2671230.8265 | 1220676.2073
48 | 2670401.1311 | 1221241.1464 | 2670401.1819 | 1221241.1385
49 | 2670383.8276 | 1221241.4867 | 2670385.2209 | 1221241.7144 | 2670388.6189 | 1221242.4217 | 2670392.6923 | 1221242.4698 | 2670401.1311 | 1221241.1464
50 | 2670427.0786 | 1221073.4562 | 2670427.3139 | 1221084.3549 | 2670426.087 | 1221103.4082 | 2670421.7422 | 1221125.0152 | 2670412.9218 | 1221145.2907 | 2670393.3136 | 1221182.861 | 2670374.7732 | 1221216.7638 | 2670380.845 | 1221234.5247 | 2670383.8276 | 1221241.4867
51 | 2670427.0786 | 1221073.4562 | 2670436.7888 | 1221122.2691 | 2670442.149 | 1221152.0739 | 2670448.3805 | 1221191.5842 | 2670452.0922 | 1221212.3298
52 | 2670456.2664 | 1221235.6604 | 2670452.0922 | 1221212.3298
53 | 2670469.7525 | 1221292.4185 | 2670466.569 | 1221279.6802
54 | 2670456.2664 | 1221235.6604 | 2670457.0121 | 1221239.8285 | 2670463.6507 | 1221268.003 | 2670466.569 | 1221279.6802
55 | 2671100.7744 | 1220961.0826 | 2671124.5818 | 1221007.3552
56 | 2671509.4284 | 1221148.9054 | 2671515.7921 | 1221127.1053 | 2671518.6391 | 1221114.9427 | 2671515.8336 | 1221104.6109
57 | 2671512.0212 | 1221093.0268 | 2671515.5949 | 1221103.7322 | 2671515.8336 | 1221104.6109

## bus_geodata
| x | y | coords
0 | 2671080.1166 | 1220920.9297
1 | 2671092.565 | 1220945.1268
2 | 2671069.8584 | 1220900.989
3 | 2671055.7237 | 1220873.5476
4 | 2671004.6168 | 1220906.912
5 | 2671029.3381 | 1220908.3443
6 | 2670603.7608 | 1220539.1145
7 | 2670741.9068 | 1220439.4112
8 | 2670423.9546 | 1220348.9423
9 | 2670312.6342 | 1220351.5298
10 | 2670331.0423 | 1220329.5965
11 | 2670306.0898 | 1220359.4959
12 | 2670332.726 | 1220327.6344
13 | 2670303.0881 | 1220363.4207
14 | 2670361.9875 | 1220289.883
15 | 2670290.067 | 1220384.9796
16 | 2670278.5747 | 1220221.1211
17 | 2670391.103 | 1220315.5283
18 | 2670227.8361 | 1220179.3
19 | 2670256.0878 | 1220238.4377
20 | 2670412.3242 | 1220335.5062
21 | 2670718.9191 | 1220392.273
22 | 2670761.328 | 1220411.5795
23 | 2670288.6969 | 1220387.6385
24 | 2670279.2225 | 1220406.0268
25 | 2670262.9383 | 1220437.6313
26 | 2670189.0291 | 1220263.2216
27 | 2671344.5409 | 1220598.8862
28 | 2671354.2426 | 1220633.7384
29 | 2670195.6448 | 1220152.9183
30 | 2671482.0471 | 1220904.612
31 | 2671369.5525 | 1220625.4315
32 | 2671257.676 | 1220723.8668
33 | 2671476.1734 | 1220920.8405
34 | 2670552.72 | 1220123.5038
35 | 2670554.4891 | 1220147.457
36 | 2670575.7004 | 1220184.0412
37 | 2670692.3557 | 1220354.6759
38 | 2670693.2214 | 1220356.1516
39 | 2670766.1085 | 1220397.4313
40 | 2670802.8928 | 1220493.9152
41 | 2671272.881 | 1220743.2095
42 | 2671241.2814 | 1220697.8621
43 | 2671238.559 | 1220692.8604
44 | 2671230.8265 | 1220676.2073
45 | 2671222.9271 | 1220657.1746
46 | 2670401.1311 | 1221241.1464
47 | 2670401.1819 | 1221241.1385
48 | 2670383.8276 | 1221241.4867
49 | 2670427.0786 | 1221073.4562
50 | 2670452.0922 | 1221212.3298
51 | 2670469.7525 | 1221292.4185
52 | 2670466.569 | 1221279.6802
53 | 2670456.2664 | 1221235.6604
54 | 2671124.5818 | 1221007.3552
55 | 2671100.7744 | 1220961.0826
56 | 2671509.4284 | 1221148.9054
57 | 2671515.8336 | 1221104.6109
58 | 2671512.0212 | 1221093.0268
59 | 2670427.0786 | 1221073.4562

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9777 | -0.43292 | 0.00016529 | 4.1426e-05
1 | 0.97758 | -0.43522 | 0.00028894 | 7.2415e-05
2 | 0.9778 | -0.43095 | 0.00027163 | 6.8076e-05
3 | 0.97794 | -0.4281 | 0 | 0
4 | 0.97789 | -0.42917 | 0.00018389 | 4.6087e-05
5 | 0.97789 | -0.42909 | 0.0010387 | 0.00026031
6 | 0.98212 | -0.34575 | 0 | 0
7 | 0.98138 | -0.36033 | 0 | 0
8 | 0.98513 | -0.2867 | 0.0006807 | 0.0001706
9 | 0.9873 | -0.24429 | 0.0001478 | 3.7042e-05
10 | 0.98687 | -0.25272 | 0.0002212 | 5.5438e-05
11 | 0.98746 | -0.24124 | 0.00017455 | 4.3745e-05
12 | 0.98683 | -0.25347 | 0.0014637 | 0.00036684
13 | 0.98754 | -0.23976 | 0.00036038 | 9.0319e-05
14 | 0.98618 | -0.2661 | 0 | 0
15 | 0.98793 | -0.23203 | 0.00010352 | 2.5944e-05
16 | 0.98607 | -0.26834 | 0 | 0
17 | 0.9857 | -0.27555 | 0.00032119 | 8.0498e-05
18 | 0.98603 | -0.26923 | 0.00011752 | 2.9454e-05
19 | 0.98606 | -0.26854 | 0.00011431 | 2.865e-05
20 | 0.98534 | -0.28251 | 0.00011429 | 2.8644e-05
21 | 0.98123 | -0.36316 | 0.00087346 | 0.00021891
22 | 0.98133 | -0.36128 | 0 | 0
23 | 0.98798 | -0.23111 | 0.00043837 | 0.00010987
24 | 0.98832 | -0.22458 | 0.00023251 | 5.8274e-05
25 | 0.9889 | -0.21323 | 0 | 0
26 | 0.98604 | -0.26891 | 0.00028351 | 7.1055e-05
27 | 0.97554 | -0.4758 | 0.0009089 | 0.00022779
28 | 0.97557 | -0.4752 | 0.00060279 | 0.00015107
29 | 0.986 | -0.2697 | 0.00063479 | 0.00015909
30 | 0.97613 | -0.46403 | 0 | 0
31 | 0.97556 | -0.47535 | 0.00047577 | 0.00011924
32 | 0.97757 | -0.43548 | 0.00053766 | 0.00013475
33 | 0.97616 | -0.46339 | 6.9044e-05 | 1.7304e-05
34 | 0.98079 | -0.37196 | 0.00071665 | 0.00017961
35 | 0.9808 | -0.37164 | 0.00038327 | 9.6058e-05
36 | 0.98085 | -0.3708 | 0.00046498 | 0.00011653
37 | 0.98114 | -0.36492 | 0.0003187 | 7.9873e-05
38 | 0.98115 | -0.36486 | 0.00021282 | 5.3338e-05
39 | 0.98131 | -0.36159 | 0.0011196 | 0.00028061
40 | 0.98129 | -0.36205 | 0.00041772 | 0.00010469
41 | 0.97756 | -0.43566 | 0.00040042 | 0.00010035
42 | 0.97755 | -0.43586 | 0.00018842 | 4.7223e-05
43 | 0.97755 | -0.43591 | 0.0001452 | 3.639e-05
44 | 0.97754 | -0.43602 | 0.00023838 | 5.9744e-05
45 | 0.97754 | -0.43606 | 9.4578e-05 | 2.3703e-05
46 | 0.9992 | -0.0154 | 0.0013614 | 0.00034119
47 | 0.9992 | -0.015403 | 0.0030715 | 0.00076979
48 | 0.99927 | -0.014046 | 0 | 0
49 | 1 | 0 | -0.038937 | -0.0094199
50 | 0.99811 | -0.036294 | 0.0098266 | 0.0024628
51 | 0.99788 | -0.040808 | 0.00069941 | 0.00017529
52 | 0.99789 | -0.040648 | 0.0022338 | 0.00055983
53 | 0.99801 | -0.038325 | 0.0019625 | 0.00049186
54 | 0.97733 | -0.44028 | 0.00033321 | 8.3511e-05
55 | 0.97751 | -0.43664 | 0.00051509 | 0.00012909
56 | 0.97587 | -0.46917 | 0.0010707 | 0.00026833
57 | 0.97592 | -0.46827 | 0.00034034 | 8.5297e-05
58 | 0.97593 | -0.46795 | 0 | 0
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0046115 | 0.001145 | -0.004611 | -0.001145 | 5.0211e-07 | -1.9858e-08 | 0.0070146 | 0.0070148 | 0.0070148 | 0.9777 | -0.43292 | 0.97758 | -0.43522 | 1.9271
1 | -0.0047768 | -0.0011864 | 0.0047772 | 0.0011864 | 4.4398e-07 | 2.8994e-09 | 0.0072662 | 0.0072661 | 0.0072662 | 0.9777 | -0.43292 | 0.9778 | -0.43095 | 1.9962
2 | 0.004322 | 0.0010726 | -0.0043218 | -0.0010726 | 2.909e-07 | -3.8785e-08 | 0.006575 | 0.006575 | 0.006575 | 0.97758 | -0.43522 | 0.97751 | -0.43664 | 1.8063
3 | -0.0050489 | -0.0012545 | 0.0050495 | 0.0012545 | 6.8264e-07 | 4.9649e-08 | 0.0076795 | 0.0076793 | 0.0076795 | 0.9778 | -0.43095 | 0.97794 | -0.4281 | 2.1097
4 | 0.0016052 | 0.00039813 | -0.0016047 | -0.00040092 | 5.6194e-07 | -2.7931e-06 | 0.002441 | 0.0024421 | 0.0024421 | 0.97794 | -0.4281 | 0.97757 | -0.43548 | 0.67091
5 | 0.0012226 | 0.00030556 | -0.0012226 | -0.00030608 | 5.748e-08 | -5.1903e-07 | 0.00186 | 0.0018602 | 0.0018602 | 0.97794 | -0.4281 | 0.97789 | -0.42909 | 0.51104
6 | -0.0078774 | -0.0019582 | 0.0079082 | 0.0019707 | 3.0802e-05 | 1.2501e-05 | 0.01198 | 0.011978 | 0.01198 | 0.97794 | -0.4281 | 0.98212 | -0.34575 | 3.2913
7 | -0.00018389 | -4.6087e-05 | 0.00018389 | 4.5764e-05 | 7.5533e-10 | -3.2239e-07 | 0.00027981 | 0.0002797 | 0.00027981 | 0.97789 | -0.42917 | 0.97789 | -0.42909 | 0.076872
8 | 0.0045115 | 0.0011235 | -0.0045084 | -0.0011238 | 3.1197e-06 | -2.5624e-07 | 0.0068329 | 0.0068337 | 0.0068337 | 0.98212 | -0.34575 | 0.98138 | -0.36033 | 1.8774
9 | -0.01242 | -0.0030942 | 0.012455 | 0.0031132 | 3.4869e-05 | 1.898e-05 | 0.018811 | 0.018809 | 0.018811 | 0.98212 | -0.34575 | 0.98513 | -0.2867 | 5.1678
10 | 0.0029709 | 0.00074031 | -0.0029706 | -0.00074071 | 3.9913e-07 | -4.0759e-07 | 0.0045032 | 0.0045034 | 0.0045034 | 0.98138 | -0.36033 | 0.98123 | -0.36316 | 1.2372
11 | 0.0015375 | 0.00038346 | -0.0015374 | -0.00038385 | 6.9411e-08 | -3.8613e-07 | 0.0023305 | 0.0023307 | 0.0023307 | 0.98138 | -0.36033 | 0.98133 | -0.36128 | 0.64029
12 | -0.013135 | -0.0032838 | 0.013138 | 0.0032853 | 2.6225e-06 | 1.4521e-06 | 0.019838 | 0.019838 | 0.019838 | 0.98513 | -0.2867 | 0.98534 | -0.28251 | 5.4499
13 | 0.016435 | 0.0041161 | -0.016429 | -0.0041123 | 6.5883e-06 | 3.8504e-06 | 0.024769 | 0.024769 | 0.024769 | 0.9873 | -0.24429 | 0.98687 | -0.25272 | 6.8048
14 | -0.016583 | -0.0041532 | 0.016585 | 0.0041546 | 2.4148e-06 | 1.4136e-06 | 0.024992 | 0.024992 | 0.024992 | 0.9873 | -0.24429 | 0.98746 | -0.24124 | 6.8659
15 | 0.016207 | 0.0040568 | -0.016207 | -0.0040565 | 5.7894e-07 | 3.3749e-07 | 0.024436 | 0.024436 | 0.024436 | 0.98687 | -0.25272 | 0.98683 | -0.25347 | 6.7131
16 | -0.01676 | -0.0041983 | 0.016761 | 0.004199 | 1.1822e-06 | 6.9335e-07 | 0.025255 | 0.025255 | 0.025255 | 0.98746 | -0.24124 | 0.98754 | -0.23976 | 6.9382
17 | 0.014743 | 0.0036897 | -0.014734 | -0.0036846 | 8.8544e-06 | 5.0567e-06 | 0.022229 | 0.022229 | 0.022229 | 0.98683 | -0.25347 | 0.98618 | -0.2661 | 6.1069
18 | -0.017121 | -0.0042893 | 0.017128 | 0.004293 | 6.3055e-06 | 3.7121e-06 | 0.025798 | 0.025798 | 0.025798 | 0.98754 | -0.23976 | 0.98793 | -0.23203 | 7.0874
19 | 0.0011503 | 0.00028434 | -0.0011502 | -0.00028564 | 1.2175e-07 | -1.2989e-06 | 0.0017343 | 0.0017347 | 0.0017347 | 0.98618 | -0.2661 | 0.98607 | -0.26834 | 0.47658
20 | 0.013584 | 0.0034003 | -0.013578 | -0.0033968 | 6.1114e-06 | 3.4165e-06 | 0.020495 | 0.020495 | 0.020495 | 0.98618 | -0.2661 | 0.9857 | -0.27555 | 5.6305
21 | -0.017231 | -0.004319 | 0.017232 | 0.0043194 | 7.5556e-07 | 4.4526e-07 | 0.025954 | 0.025954 | 0.025954 | 0.98793 | -0.23203 | 0.98798 | -0.23111 | 7.1302
22 | 0.00075236 | 0.00018721 | -0.00075232 | -0.00018802 | 3.1764e-08 | -8.184e-07 | 0.0011349 | 0.0011351 | 0.0011351 | 0.98607 | -0.26834 | 0.98603 | -0.26923 | 0.31185
23 | 0.00039784 | 9.8429e-05 | -0.00039783 | -9.8795e-05 | 3.8953e-09 | -3.6563e-07 | 0.0005999 | 0.00060003 | 0.00060003 | 0.98607 | -0.26834 | 0.98606 | -0.26854 | 0.16484
24 | 0.013257 | 0.0033164 | -0.013252 | -0.0033139 | 4.3836e-06 | 2.4335e-06 | 0.02001 | 0.02001 | 0.02001 | 0.9857 | -0.27555 | 0.98534 | -0.28251 | 5.4973
25 | 0.0006348 | 0.00015857 | -0.00063479 | -0.00015909 | 1.4321e-08 | -5.217e-07 | 0.0009578 | 0.00095798 | 0.00095798 | 0.98603 | -0.26923 | 0.986 | -0.2697 | 0.26318
26 | 0.00028352 | 7.0145e-05 | -0.00028351 | -7.1055e-05 | 4.9119e-09 | -9.1031e-07 | 0.00042752 | 0.00042784 | 0.00042784 | 0.98606 | -0.26854 | 0.98604 | -0.26891 | 0.11754
27 | 0.0020971 | 0.0005218 | -0.0020969 | -0.00052226 | 1.6848e-07 | -4.537e-07 | 0.0031788 | 0.003179 | 0.003179 | 0.98123 | -0.36316 | 0.98115 | -0.36486 | 0.87336
28 | 0.00041773 | 0.00010342 | -0.00041772 | -0.00010469 | 1.5228e-08 | -1.2698e-06 | 0.00063296 | 0.00063342 | 0.00063342 | 0.98133 | -0.36128 | 0.98129 | -0.36205 | 0.17402
29 | 0.0011197 | 0.00028043 | -0.0011196 | -0.00028061 | 1.6142e-08 | -1.7834e-07 | 0.0016977 | 0.0016978 | 0.0016978 | 0.98133 | -0.36128 | 0.98131 | -0.36159 | 0.46642
30 | -0.01767 | -0.0044293 | 0.017676 | 0.0044326 | 5.4944e-06 | 3.2514e-06 | 0.026614 | 0.026614 | 0.026614 | 0.98798 | -0.23111 | 0.98832 | -0.22458 | 7.3115
31 | -0.017908 | -0.0044908 | 0.017918 | 0.0044966 | 9.6934e-06 | 5.7479e-06 | 0.026964 | 0.026964 | 0.026964 | 0.98832 | -0.22458 | 0.9889 | -0.21323 | 7.4077
32 | -0.017918 | -0.0044966 | 0.018102 | 0.0046056 | 0.00018411 | 0.00010907 | 0.026964 | 0.026961 | 0.026964 | 0.9889 | -0.21323 | 1 | 0 | 7.4076
33 | -0.0009089 | -0.00022779 | 0.00090893 | 0.00022735 | 2.6269e-08 | -4.3829e-07 | 0.0013864 | 0.0013862 | 0.0013864 | 0.97554 | -0.4758 | 0.97557 | -0.4752 | 0.38087
34 | -0.0019875 | -0.00049745 | 0.0019885 | 0.0004943 | 1.054e-06 | -3.1487e-06 | 0.0030312 | 0.0030299 | 0.0030312 | 0.97557 | -0.4752 | 0.97613 | -0.46403 | 0.83276
35 | 0.00047577 | 0.00011902 | -0.00047577 | -0.00011924 | 3.5053e-09 | -2.194e-07 | 0.00072561 | 0.00072569 | 0.00072569 | 0.97557 | -0.4752 | 0.97556 | -0.47535 | 0.19936
36 | -0.0019885 | -0.0004943 | 0.0019886 | 0.00049412 | 6.0172e-08 | -1.8e-07 | 0.0030299 | 0.0030298 | 0.0030299 | 0.97613 | -0.46403 | 0.97616 | -0.46339 | 0.83238
37 | 0.00040042 | 0.00010005 | -0.00040042 | -0.00010035 | 3.427e-09 | -3.0627e-07 | 0.0006094 | 0.00060951 | 0.00060951 | 0.97757 | -0.43548 | 0.97756 | -0.43566 | 0.16745
38 | 0.00066659 | 0.00016612 | -0.00066658 | -0.0001665 | 1.1874e-08 | -3.782e-07 | 0.0010143 | 0.0010145 | 0.0010145 | 0.97757 | -0.43548 | 0.97755 | -0.43586 | 0.2787
39 | -0.003469 | -0.00086236 | 0.0034728 | 0.00086026 | 3.792e-06 | -2.105e-06 | 0.0052855 | 0.0052839 | 0.0052855 | 0.97616 | -0.46339 | 0.97733 | -0.44028 | 1.4521
40 | 0.0014114 | 0.00035094 | -0.0014111 | -0.00035295 | 3.056e-07 | -2.0062e-06 | 0.0021504 | 0.0021512 | 0.0021512 | 0.97616 | -0.46339 | 0.97593 | -0.46795 | 0.59099
41 | -0.00071665 | -0.00017961 | 0.00071666 | 0.00017931 | 1.0771e-08 | -2.9976e-07 | 0.0010873 | 0.0010872 | 0.0010873 | 0.98079 | -0.37196 | 0.9808 | -0.37164 | 0.2987
42 | -0.0010999 | -0.00027537 | 0.0011 | 0.00027486 | 4.4236e-08 | -5.0645e-07 | 0.0016687 | 0.0016685 | 0.0016687 | 0.9808 | -0.37164 | 0.98085 | -0.3708 | 0.45842
43 | -0.001565 | -0.0003914 | 0.0015654 | 0.00038906 | 4.3675e-07 | -2.3309e-06 | 0.0023739 | 0.0023729 | 0.0023739 | 0.98085 | -0.3708 | 0.98114 | -0.36492 | 0.65216
44 | -0.0018841 | -0.00046894 | 0.0018841 | 0.00046892 | 5.2343e-09 | -1.8258e-08 | 0.0028563 | 0.0028563 | 0.0028563 | 0.98114 | -0.36492 | 0.98115 | -0.36486 | 0.78469
45 | 0.00047816 | 0.00011928 | -0.00047816 | -0.00011935 | 1.1307e-09 | -7.0668e-08 | 0.00072764 | 0.00072767 | 0.00072767 | 0.97755 | -0.43586 | 0.97755 | -0.43591 | 0.19991
46 | 0.00033296 | 8.2957e-05 | -0.00033296 | -8.3187e-05 | 1.7744e-09 | -2.2992e-07 | 0.00050665 | 0.00050673 | 0.00050673 | 0.97755 | -0.43591 | 0.97754 | -0.43602 | 0.13921
47 | 9.4578e-05 | 2.3444e-05 | -9.4578e-05 | -2.3703e-05 | 1.6096e-10 | -2.5969e-07 | 0.00014387 | 0.00014397 | 0.00014397 | 0.97754 | -0.43602 | 0.97754 | -0.43606 | 0.039551
48 | 0.0030715 | 0.00076979 | -0.0030715 | -0.00076979 | 4.0386e-10 | -4.1754e-10 | 0.0045741 | 0.0045741 | 0.0045741 | 0.9992 | -0.0154 | 0.9992 | -0.015403 | 1.2566
49 | -0.0044329 | -0.001111 | 0.0044332 | 0.0011109 | 2.8596e-07 | -4.6199e-08 | 0.0066015 | 0.0066014 | 0.0066015 | 0.9992 | -0.0154 | 0.99927 | -0.014046 | 1.8136
50 | -0.0044332 | -0.0011109 | 0.0044361 | 0.0011105 | 2.9658e-06 | -4.8139e-07 | 0.0066014 | 0.0066006 | 0.0066014 | 0.99927 | -0.014046 | 1 | 0 | 1.8136
51 | 0.014749 | 0.0037037 | -0.014723 | -0.0036892 | 2.5496e-05 | 1.4469e-05 | 0.021949 | 0.021949 | 0.021949 | 1 | 0 | 0.99811 | -0.036294 | 6.0301
52 | 0.0048965 | 0.0012264 | -0.004896 | -0.0012264 | 4.7359e-07 | -6.637e-09 | 0.0072996 | 0.0072997 | 0.0072997 | 0.99811 | -0.036294 | 0.99801 | -0.038325 | 2.0054
53 | -0.00069941 | -0.00017529 | 0.00069942 | 0.00017512 | 5.3555e-09 | -1.681e-07 | 0.001043 | 0.0010429 | 0.001043 | 0.99788 | -0.040808 | 0.99789 | -0.040648 | 0.28652
54 | -0.0029332 | -0.00073495 | 0.0029335 | 0.00073457 | 3.2436e-07 | -3.8319e-07 | 0.0043738 | 0.0043736 | 0.0043738 | 0.99789 | -0.040648 | 0.99801 | -0.038325 | 1.2016
55 | -0.003806 | -0.00094377 | 0.0038067 | 0.00094353 | 6.5444e-07 | -2.3338e-07 | 0.0057912 | 0.0057909 | 0.0057912 | 0.97733 | -0.44028 | 0.97751 | -0.43664 | 1.591
56 | -0.0010707 | -0.00026833 | 0.0010707 | 0.00026779 | 4.5876e-08 | -5.4422e-07 | 0.0016325 | 0.0016323 | 0.0016325 | 0.97587 | -0.46917 | 0.97592 | -0.46827 | 0.4485
57 | -0.001411 | -0.00035309 | 0.0014111 | 0.00035295 | 2.1167e-08 | -1.3885e-07 | 0.0021513 | 0.0021512 | 0.0021513 | 0.97592 | -0.46827 | 0.97593 | -0.46795 | 0.59101

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.038937 | 0.0094199

## res_load
| p_mw | q_mvar
0 | 0.00016529 | 4.1426e-05
1 | 0.00028894 | 7.2415e-05
2 | 0.00027163 | 6.8076e-05
3 | 0.00018389 | 4.6087e-05
4 | 0.0010387 | 0.00026031
5 | 0.0006807 | 0.0001706
6 | 0.0001478 | 3.7042e-05
7 | 0.0002212 | 5.5438e-05
8 | 0.00017455 | 4.3745e-05
9 | 0.0014637 | 0.00036684
10 | 0.00036038 | 9.0319e-05
11 | 0.00010352 | 2.5944e-05
12 | 0.00032119 | 8.0498e-05
13 | 0.00011752 | 2.9454e-05
14 | 0.00011431 | 2.865e-05
15 | 0.00011429 | 2.8644e-05
16 | 0.00087346 | 0.00021891
17 | 0.00043837 | 0.00010987
18 | 0.00023251 | 5.8274e-05
19 | 0.00028351 | 7.1055e-05
20 | 0.0009089 | 0.00022779
21 | 0.00060279 | 0.00015107
22 | 0.00063479 | 0.00015909
23 | 0.00047577 | 0.00011924
24 | 0.00053766 | 0.00013475
25 | 6.9044e-05 | 1.7304e-05
26 | 0.00071665 | 0.00017961
27 | 0.00038327 | 9.6058e-05
28 | 0.00046498 | 0.00011653
29 | 0.0003187 | 7.9873e-05
30 | 0.00021282 | 5.3338e-05
31 | 0.0011196 | 0.00028061
32 | 0.00041772 | 0.00010469
33 | 0.00040042 | 0.00010035
34 | 0.00018842 | 4.7223e-05
35 | 0.0001452 | 3.639e-05
36 | 0.00023838 | 5.9744e-05
37 | 9.4578e-05 | 2.3703e-05
38 | 0.0013614 | 0.00034119
39 | 0.0030715 | 0.00076979
40 | 0.0098266 | 0.0024628
41 | 0.00069941 | 0.00017529
42 | 0.0022338 | 0.00055983
43 | 0.0019625 | 0.00049186
44 | 0.00033321 | 8.3511e-05
45 | 0.00051509 | 0.00012909
46 | 0.0010707 | 0.00026833
47 | 0.00034034 | 8.5297e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1