## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1033-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1033-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1033-5_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1033-5_0_5_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1033-5_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1033-5_0_5_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1033-5_0_5_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_1033-5_0_5_node_70 | 0.4 | n |  | TRUE
8 | bus_LV_1033-5_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1033-5_0_5_node_72 | 0.4 | n |  | TRUE
10 | bus_LV_1033-5_0_5_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_1033-5_0_5_node_66 | 0.4 | n |  | TRUE
12 | bus_LV_1033-5_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1033-5_0_5_node_62 | 0.4 | n |  | TRUE
14 | bus_LV_1033-5_0_5_node_60 | 0.4 | n |  | TRUE
15 | bus_LV_1033-5_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1033-5_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1033-5_0_5_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_1033-5_0_5_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_1033-5_0_5_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_1033-5_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1033-5_0_5_node_84 | 0.4 | n |  | TRUE
22 | bus_LV_1033-5_0_5_node_81 | 0.4 | n |  | TRUE
23 | bus_LV_1033-5_0_5_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_1033-5_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_1033-5_0_5_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_1033-5_0_5_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_1033-5_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1033-5_0_5_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_1033-5_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1033-5_0_5_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1033-5_0_5_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1033-5_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1033-5_0_5_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_1033-5_0_5_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1033-5_0_5_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1033-5_0_5_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1033-5_0_5_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1033-5_0_5_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1033-5_0_5_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1033-5_0_5_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_1033-5_0_5_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_1033-5_0_5_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_1033-5_0_5_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_1033-5_0_5_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_1033-5_0_5_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_1033-5_0_5_node_83 | 0.4 | n |  | TRUE
47 | bus_LV_1033-5_0_5_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_1033-5_0_5_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_1033-5_0_5_node_21 | 0.4 | n |  | TRUE
50 | bus_LV_1033-5_0_5_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_1033-5_0_5_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_1033-5_0_5_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_1033-5_0_5_node_79 | 0.4 | n |  | TRUE
54 | bus_LV_1033-5_0_5_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_1033-5_0_5_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_1033-5_0_5_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_1033-5_0_5_node_22 | 0.4 | n |  | TRUE
58 | bus_LV_1033-5_0_5_node_20 | 0.4 | n |  | TRUE
59 | bus_LV_1033-5_0_5_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_1033-5_0_5_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_1033-5_0_5_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_1033-5_0_5_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_1033-5_0_5_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_1033-5_0_5_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_1033-5_0_5_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_1033-5_0_5_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_1033-5_0_5_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_1033-5_0_5_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_1033-5_0_5_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_1033-5_0_5_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_1033-5_0_5_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_1033-5_0_5_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_1033-5_0_5_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_1033-5_0_5_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_1033-5_0_5_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_1033-5_0_5_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_1033-5_0_5_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_1033-5_0_5_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_1033-5_0_5_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_1033-5_0_5_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_1033-5_0_5_node_82 | 0.4 | n |  | TRUE
82 | bus_MV_5_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1033-5_0_5_load_0 | 0 | 0.0036447 | 0.00091344 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1033-5_0_5_load_1 | 1 | 0.011036 | 0.0027659 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1033-5_0_5_load_3 | 2 | 0.0074939 | 0.0018781 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1033-5_0_5_load_18 | 6 | 0.012068 | 0.0030246 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1033-5_0_5_load_70 | 7 | 0.0060552 | 0.0015176 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1033-5_0_5_load_72 | 9 | 0.00041536 | 0.0001041 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1033-5_0_5_load_66 | 11 | 0.0060516 | 0.0015167 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1033-5_0_5_load_62 | 13 | 0.0011866 | 0.00029739 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1033-5_0_5_load_60 | 14 | 0.0011975 | 0.00030012 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1033-5_0_5_load_52 | 17 | 0.0029267 | 0.00073351 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1033-5_0_5_load_61 | 18 | 0.0062999 | 0.0015789 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1033-5_0_5_load_23 | 19 | 0.00071998 | 0.00018045 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1033-5_0_5_load_84 | 21 | 0.00062873 | 0.00015758 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1033-5_0_5_load_81 | 22 | 0.00057066 | 0.00014302 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1033-5_0_5_load_27 | 26 | 0.0082062 | 0.0020567 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1033-5_0_5_load_19 | 27 | 0.0052072 | 0.0013051 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1033-5_0_5_load_28 | 28 | 0.00062185 | 0.00015585 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1033-5_0_5_load_25 | 30 | 0.01632 | 0.0040902 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1033-5_0_5_load_26 | 31 | 0.027186 | 0.0068134 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1033-5_0_5_load_24 | 32 | 0.010804 | 0.0027076 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1033-5_0_5_load_29 | 33 | 0.001219 | 0.0003055 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1033-5_0_5_load_30 | 34 | 0.00086297 | 0.00021628 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1033-5_0_5_load_31 | 35 | 0.0026037 | 0.00065254 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1033-5_0_5_load_33 | 38 | 0.0039591 | 0.00099224 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1033-5_0_5_load_34 | 39 | 0.0028278 | 0.00070871 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1033-5_0_5_load_36 | 40 | 0.0012375 | 0.00031014 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1033-5_0_5_load_37 | 41 | 0.0070644 | 0.0017705 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1033-5_0_5_load_45 | 42 | 0.0011628 | 0.00029143 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1033-5_0_5_load_38 | 43 | 0.004028 | 0.0010095 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1033-5_0_5_load_49 | 44 | 0.00059042 | 0.00014797 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1033-5_0_5_load_43 | 45 | 0.0046123 | 0.001156 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1033-5_0_5_load_83 | 46 | 0.0011973 | 0.00030007 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1033-5_0_5_load_53 | 47 | 0.0029267 | 0.00073351 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1033-5_0_5_load_69 | 48 | 0.0019378 | 0.00048565 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1033-5_0_5_load_21 | 49 | 0.0039526 | 0.00099061 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1033-5_0_5_load_42 | 50 | 0.00088076 | 0.00022074 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1033-5_0_5_load_44 | 51 | 0.0017152 | 0.00042988 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1033-5_0_5_load_40 | 52 | 0.0021627 | 0.00054203 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1033-5_0_5_load_79 | 53 | 0.00076286 | 0.00019119 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1033-5_0_5_load_59 | 54 | 0.005453 | 0.0013666 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1033-5_0_5_load_57 | 55 | 0.0023856 | 0.0005979 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1033-5_0_5_load_71 | 56 | 0.0030449 | 0.00076311 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1033-5_0_5_load_22 | 57 | 0.0039114 | 0.00098029 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1033-5_0_5_load_20 | 58 | 0.00089837 | 0.00022515 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1033-5_0_5_load_65 | 61 | 0.00078691 | 0.00019722 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1033-5_0_5_load_77 | 62 | 0.006083 | 0.0015245 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1033-5_0_5_load_41 | 63 | 0.0026656 | 0.00066806 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1033-5_0_5_load_46 | 64 | 0.0089271 | 0.0022373 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1033-5_0_5_load_47 | 65 | 0.0055843 | 0.0013996 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1033-5_0_5_load_50 | 67 | 0.0041788 | 0.0010473 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1033-5_0_5_load_51 | 68 | 0.012095 | 0.0030314 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1033-5_0_5_load_80 | 69 | 0.078698 | 0.019724 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1033-5_0_5_load_73 | 70 | 0.0010115 | 0.0002535 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1033-5_0_5_load_78 | 71 | 0.00081935 | 0.00020535 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1033-5_0_5_load_74 | 72 | 0.0015671 | 0.00039275 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1033-5_0_5_load_54 | 73 | 0.005453 | 0.0013666 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1033-5_0_5_load_55 | 74 | 0.0052474 | 0.0013151 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1033-5_0_5_load_56 | 75 | 0.0054086 | 0.0013555 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1033-5_0_5_load_58 | 76 | 0.005408 | 0.0013554 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1033-5_0_5_load_63 | 77 | 0.0054055 | 0.0013547 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1033-5_0_5_load_64 | 78 | 0.0010608 | 0.00026587 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1033-5_0_5_load_76 | 79 | 0.00056619 | 0.0001419 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1033-5_0_5_load_75 | 80 | 0.0014408 | 0.0003611 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1033-5_0_5_load_82 | 81 | 0.032346 | 0.0081067 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1033-5_0_5_line_0 |  | 0 | 1 | 0.032259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1033-5_0_5_line_1 |  | 1 | 2 | 0.0026295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1033-5_0_5_line_2 |  | 2 | 6 | 0.022749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1033-5_0_5_line_3 |  | 3 | 4 | 0.032804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1033-5_0_5_line_4 |  | 3 | 5 | 0.010815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1033-5_0_5_line_5 |  | 4 | 7 | 0.028557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1033-5_0_5_line_6 |  | 5 | 19 | 0.002414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1033-5_0_5_line_7 |  | 5 | 9 | 0.018753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1033-5_0_5_line_8 |  | 6 | 27 | 0.0075466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1033-5_0_5_line_9 |  | 7 | 16 | 0.039137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1033-5_0_5_line_10 |  | 8 | 9 | 0.028871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1033-5_0_5_line_11 |  | 8 | 10 | 0.20397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1033-5_0_5_line_12 |  | 8 | 11 | 0.042844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1033-5_0_5_line_13 |  | 10 | 43 | 0.14021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1033-5_0_5_line_14 |  | 12 | 13 | 0.015309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1033-5_0_5_line_15 |  | 12 | 14 | 0.012196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1033-5_0_5_line_16 |  | 13 | 46 | 0.0046181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1033-5_0_5_line_17 |  | 14 | 18 | 0.016911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1033-5_0_5_line_18 |  | 15 | 16 | 0.24869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1033-5_0_5_line_19 |  | 15 | 17 | 0.01004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1033-5_0_5_line_20 |  | 16 | 18 | 0.017569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1033-5_0_5_line_21 |  | 17 | 47 | 0.017214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1033-5_0_5_line_22 |  | 19 | 48 | 0.06011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1033-5_0_5_line_23 |  | 19 | 49 | 0.036103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1033-5_0_5_line_24 |  | 20 | 21 | 0.02995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1033-5_0_5_line_25 |  | 20 | 22 | 0.015934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1033-5_0_5_line_26 |  | 22 | 53 | 0.0030677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1033-5_0_5_line_27 |  | 23 | 24 | 0.004177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1033-5_0_5_line_28 |  | 23 | 25 | 0.0076397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1033-5_0_5_line_29 |  | 23 | 26 | 0.011827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1033-5_0_5_line_30 |  | 24 | 28 | 0.052078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1033-5_0_5_line_31 |  | 25 | 27 | 0.022031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1033-5_0_5_line_32 |  | 26 | 30 | 0.0051685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1033-5_0_5_line_33 |  | 29 | 30 | 0.030663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1033-5_0_5_line_34 |  | 29 | 31 | 0.025964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_1033-5_0_5_line_35 |  | 29 | 32 | 0.02721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_1033-5_0_5_line_36 |  | 31 | 56 | 0.034416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1033-5_0_5_line_37 |  | 32 | 57 | 0.034112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_1033-5_0_5_line_38 |  | 33 | 34 | 0.024946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1033-5_0_5_line_39 |  | 33 | 35 | 0.00070346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1033-5_0_5_line_40 |  | 34 | 36 | 0.072856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1033-5_0_5_line_41 |  | 36 | 37 | 0.088767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1033-5_0_5_line_42 |  | 37 | 41 | 0.050987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1033-5_0_5_line_43 |  | 37 | 38 | 0.012037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1033-5_0_5_line_44 |  | 38 | 39 | 0.066693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1033-5_0_5_line_45 |  | 39 | 40 | 0.0068454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1033-5_0_5_line_46 |  | 40 | 42 | 0.0078827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1033-5_0_5_line_47 |  | 42 | 44 | 0.025218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1033-5_0_5_line_48 |  | 44 | 45 | 0.0034448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1033-5_0_5_line_49 |  | 45 | 63 | 0.0060835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_1033-5_0_5_line_50 |  | 46 | 78 | 0.018303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1033-5_0_5_line_51 |  | 48 | 59 | 0.022262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_1033-5_0_5_line_52 |  | 49 | 58 | 0.030891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_1033-5_0_5_line_53 |  | 50 | 51 | 0.0078658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_1033-5_0_5_line_54 |  | 50 | 52 | 0.018525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_1033-5_0_5_line_55 |  | 51 | 64 | 0.014029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_1033-5_0_5_line_56 |  | 52 | 63 | 0.013174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_1033-5_0_5_line_57 |  | 53 | 71 | 0.026376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1033-5_0_5_line_58 |  | 54 | 55 | 0.0033832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1033-5_0_5_line_59 |  | 55 | 74 | 6.4406e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1033-5_0_5_line_60 |  | 56 | 62 | 0.043831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_1033-5_0_5_line_61 |  | 57 | 58 | 0.0070684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_1033-5_0_5_line_62 |  | 59 | 60 | 0.013329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_1033-5_0_5_line_63 |  | 59 | 61 | 0.050322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1033-5_0_5_line_64 |  | 60 | 68 | 0.035135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_1033-5_0_5_line_65 |  | 62 | 79 | 0.011009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1033-5_0_5_line_66 |  | 64 | 65 | 0.026314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_1033-5_0_5_line_67 |  | 65 | 66 | 0.018031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_1033-5_0_5_line_68 |  | 66 | 67 | 0.03609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_1033-5_0_5_line_69 |  | 66 | 68 | 0.060884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_1033-5_0_5_line_70 |  | 66 | 69 | 0.15292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_1033-5_0_5_line_71 |  | 67 | 70 | 0.032304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_1033-5_0_5_line_72 |  | 69 | 71 | 0.008251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1033-5_0_5_line_73 |  | 70 | 72 | 0.056066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_1033-5_0_5_line_74 |  | 72 | 80 | 0.012794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_1033-5_0_5_line_75 |  | 73 | 74 | 0.004954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1033-5_0_5_line_76 |  | 73 | 75 | 0.018546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1033-5_0_5_line_77 |  | 75 | 76 | 0.0025766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1033-5_0_5_line_78 |  | 76 | 77 | 6.8062e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1033-5_0_5_line_79 |  | 77 | 78 | 0.0057036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1033-5_0_5_line_80 |  | 80 | 81 | 0.059524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1033-5_0_5_trafo_77 | 0.63 MVA 20/0.4 kV | 82 | 62 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2668994.8028 | 1219410.1647 | 2668998.904 | 1219410.625 | 2669014.0097 | 1219412.9124 | 2669026.713 | 1219414.8755
1 | 2669029.3116 | 1219415.2771 | 2669026.713 | 1219414.8755
2 | 2669029.3116 | 1219415.2771 | 2669043.6442 | 1219417.492 | 2669051.7808 | 1219418.8315
3 | 2668880.9777 | 1219425.3256 | 2668885.0426 | 1219410.4743 | 2668886.8917 | 1219406.104 | 2668889.0048 | 1219402.5261 | 2668892.0612 | 1219400.071 | 2668896.4332 | 1219398.6873
4 | 2668896.4332 | 1219398.6873 | 2668896.5006 | 1219398.11 | 2668896.9075 | 1219394.4234 | 2668897.0266 | 1219393.313 | 2668897.1192 | 1219392.5247 | 2668897.5258 | 1219388.8604 | 2668897.6276 | 1219387.9387
5 | 2668880.9777 | 1219425.3256 | 2668909.3479 | 1219428.5895
6 | 2668897.6276 | 1219387.9387 | 2668900.0397 | 1219388.0333
7 | 2668897.6276 | 1219387.9387 | 2668879.5058 | 1219387.2399 | 2668878.8884 | 1219387.2344
8 | 2669051.7808 | 1219418.8315 | 2669059.2271 | 1219420.0574
9 | 2668925.7907 | 1219450.1596 | 2668928.792 | 1219430.8265 | 2668909.3479 | 1219428.5895
10 | 2668850.0184 | 1219386.9768 | 2668878.8884 | 1219387.2344
11 | 2668850.0184 | 1219386.9768 | 2668664.6391 | 1219301.9059
12 | 2668850.0184 | 1219386.9768 | 2668850.6402 | 1219344.1377
13 | 2668664.6391 | 1219301.9059 | 2668680.7659 | 1219304.5156 | 2668723.6569 | 1219270.4884 | 2668730.6958 | 1219262.9203 | 2668714.695 | 1219248.0597 | 2668731.7479 | 1219215.2841
14 | 2668958.8825 | 1219474.6692 | 2668974.0711 | 1219476.5859
15 | 2668958.8825 | 1219474.6692 | 2668957.7499 | 1219462.5257
16 | 2668974.0711 | 1219476.5859 | 2668978.6529 | 1219477.1641
17 | 2668957.7499 | 1219462.5257 | 2668957.7146 | 1219462.1477 | 2668942.2387 | 1219456.3362
18 | 2668925.7907 | 1219450.1596 | 2668923.5922 | 1219459.807 | 2668918.2451 | 1219458.889 | 2668913.2996 | 1219497.3786 | 2668918.2241 | 1219498.0805 | 2668914.7161 | 1219523.8341 | 2668909.4736 | 1219523.0619 | 2668906.8593 | 1219544.3786 | 2668905.6527 | 1219554.2154 | 2668905.4682 | 1219555.7364 | 2668947.8992 | 1219560.0855 | 2668988.7536 | 1219564.2721 | 2668994.7868 | 1219564.2531 | 2669001.0933 | 1219564.2261 | 2669001.8542 | 1219558.1533 | 2669004.7314 | 1219535.1386
19 | 2669004.7314 | 1219535.1386 | 2669014.6963 | 1219536.3666
20 | 2668925.7907 | 1219450.1596 | 2668942.2387 | 1219456.3362
21 | 2669014.6963 | 1219536.3666 | 2669031.7813 | 1219538.4722
22 | 2668900.0397 | 1219388.0333 | 2668921.6343 | 1219331.9362
23 | 2668935.5513 | 1219394.4184 | 2668930.9297 | 1219393.6608 | 2668911.8829 | 1219389.6157 | 2668900.0397 | 1219388.0333
24 | 2669149.7032 | 1219304.016 | 2669142.1531 | 1219332.9986
25 | 2669149.7032 | 1219304.016 | 2669134.591 | 1219298.9658
26 | 2669131.6814 | 1219297.9935 | 2669134.591 | 1219298.9658
27 | 2669081.1012 | 1219413.7014 | 2669085.2905 | 1219413.6833
28 | 2669081.1012 | 1219413.7014 | 2669081.136 | 1219416.5926 | 2669081.1872 | 1219421.3406
29 | 2669081.1012 | 1219413.7014 | 2669074.377 | 1219413.7457 | 2669069.2974 | 1219413.2665
30 | 2669085.2905 | 1219413.6833 | 2669084.338 | 1219402.2427 | 2669083.1027 | 1219391.6328 | 2669083.4296 | 1219386.3443 | 2669093.1371 | 1219363.7213
31 | 2669081.1872 | 1219421.3406 | 2669075.0926 | 1219421.4034 | 2669062.6787 | 1219420.6256 | 2669059.2271 | 1219420.0574
32 | 2669069.2974 | 1219413.2665 | 2669064.1518 | 1219412.7811
33 | 2669033.8569 | 1219408.1282 | 2669058.2531 | 1219412.2246 | 2669064.1518 | 1219412.7811
34 | 2669033.8569 | 1219408.1282 | 2669035.0134 | 1219400.0142 | 2669034.7209 | 1219396.4418 | 2669033.6174 | 1219392.7823 | 2669031.2472 | 1219390.3755 | 2669025.431 | 1219386.5104
35 | 2669033.8569 | 1219408.1282 | 2669006.9496 | 1219404.0838
36 | 2668999.8399 | 1219363.906 | 2669012.3296 | 1219377.8039 | 2669025.431 | 1219386.5104
37 | 2669006.9496 | 1219404.0838 | 2668994.1831 | 1219402.1649 | 2668973.0918 | 1219400.0038
38 | 2668700.2902 | 1219160.1336 | 2668725.2177 | 1219159.1815
39 | 2668725.9206 | 1219159.1547 | 2668725.2177 | 1219159.1815
40 | 2668680.1834 | 1219101.6686 | 2668684.2011 | 1219156.6833 | 2668686.6089 | 1219159.8019 | 2668690.3725 | 1219160.5124 | 2668700.2902 | 1219160.1336
41 | 2668680.1834 | 1219101.6686 | 2668714.5546 | 1219099.0743 | 2668735.8732 | 1219099.6983 | 2668752.8239 | 1219102.6512 | 2668767.7845 | 1219108.3719
42 | 2668767.7845 | 1219108.3719 | 2668773.1265 | 1219090.7001 | 2668768.5825 | 1219058.4941
43 | 2668767.7845 | 1219108.3719 | 2668778.0757 | 1219114.6157
44 | 2668778.0757 | 1219114.6157 | 2668780.9733 | 1219116.3737 | 2668793.6172 | 1219126.8596 | 2668805.5139 | 1219137.6483 | 2668820.2619 | 1219150.5935 | 2668829.4236 | 1219157.0256 | 2668829.4236 | 1219157.0256
45 | 2668829.4236 | 1219157.0256 | 2668835.3447 | 1219160.4608
46 | 2668835.3447 | 1219160.4608 | 2668837.6558 | 1219161.8015 | 2668842.3962 | 1219163.9653
47 | 2668865.807 | 1219173.3063 | 2668849.2516 | 1219167.0944 | 2668842.3962 | 1219163.9653
48 | 2668865.807 | 1219173.3063 | 2668869.0322 | 1219174.5165
49 | 2668874.728 | 1219176.6536 | 2668869.0322 | 1219174.5165
50 | 2668978.6529 | 1219477.1641 | 2668996.8121 | 1219479.4557
51 | 2668929.5098 | 1219311.114 | 2668921.6343 | 1219331.9362
52 | 2668966.0789 | 1219399.1316 | 2668950.9264 | 1219396.9387 | 2668935.5513 | 1219394.4184
53 | 2668911.771 | 1219190.5528 | 2668904.4066 | 1219187.7895
54 | 2668887.0622 | 1219181.2816 | 2668904.4066 | 1219187.7895
55 | 2668924.9058 | 1219195.4812 | 2668911.771 | 1219190.5528
56 | 2668887.0622 | 1219181.2816 | 2668874.728 | 1219176.6536
57 | 2669106.981 | 1219288.7451 | 2669116.5617 | 1219292.2684 | 2669130.8493 | 1219297.7154 | 2669131.6814 | 1219297.9935
58 | 2669031.8297 | 1219483.8747 | 2669028.4731 | 1219483.4511
59 | 2669028.4731 | 1219483.4511 | 2669028.4092 | 1219483.443
60 | 2668999.8399 | 1219363.906 | 2669007.7387 | 1219320.7922
61 | 2668966.0789 | 1219399.1316 | 2668969.7153 | 1219399.6578 | 2668973.0918 | 1219400.0038
62 | 2668929.5098 | 1219311.114 | 2668932.5551 | 1219303.0552 | 2668934.3284 | 1219298.684
63 | 2668929.5098 | 1219311.114 | 2668893.8017 | 1219309.311 | 2668879.2649 | 1219308.3547
64 | 2668934.3284 | 1219298.684 | 2668947.5146 | 1219266.1176
65 | 2669007.7387 | 1219320.7922 | 2668997.1974 | 1219317.6176
66 | 2668924.9058 | 1219195.4812 | 2668949.5428 | 1219204.7255
67 | 2668966.8266 | 1219209.3809 | 2668959.899 | 1219208.6113 | 2668949.5428 | 1219204.7255
68 | 2668966.8266 | 1219209.3809 | 2668973.1179 | 1219206.1071 | 2668983.6831 | 1219179.1021
69 | 2668966.8266 | 1219209.3809 | 2668967.6349 | 1219218.874 | 2668956.4141 | 1219244.1381 | 2668947.5146 | 1219266.1176
70 | 2669099.2496 | 1219285.8636 | 2668966.8266 | 1219209.3809
71 | 2668995.4527 | 1219149.0184 | 2668983.6831 | 1219179.1021
72 | 2669099.2496 | 1219285.8636 | 2669106.3223 | 1219288.5029 | 2669106.981 | 1219288.7451
73 | 2668995.4527 | 1219149.0184 | 2669015.8798 | 1219096.8058
74 | 2669015.8798 | 1219096.8058 | 2669017.8136 | 1219091.8629 | 2669020.6219 | 1219084.9231
75 | 2669023.4942 | 1219482.8228 | 2669028.4092 | 1219483.443
76 | 2669023.4942 | 1219482.8228 | 2669005.0946 | 1219480.5009
77 | 2669002.5383 | 1219480.1783 | 2669005.0946 | 1219480.5009
78 | 2669002.5383 | 1219480.1783 | 2669002.4708 | 1219480.1698
79 | 2669002.4708 | 1219480.1698 | 2668996.8121 | 1219479.4557
80 | 2669020.6219 | 1219084.9231 | 2669042.9505 | 1219029.7457

## bus_geodata
| x | y | coords
0 | 2668994.8028 | 1219410.1647
1 | 2669026.713 | 1219414.8755
2 | 2669029.3116 | 1219415.2771
3 | 2668896.4332 | 1219398.6873
4 | 2668880.9777 | 1219425.3256
5 | 2668897.6276 | 1219387.9387
6 | 2669051.7808 | 1219418.8315
7 | 2668909.3479 | 1219428.5895
8 | 2668850.0184 | 1219386.9768
9 | 2668878.8884 | 1219387.2344
10 | 2668664.6391 | 1219301.9059
11 | 2668850.6402 | 1219344.1377
12 | 2668958.8825 | 1219474.6692
13 | 2668974.0711 | 1219476.5859
14 | 2668957.7499 | 1219462.5257
15 | 2669004.7314 | 1219535.1386
16 | 2668925.7907 | 1219450.1596
17 | 2669014.6963 | 1219536.3666
18 | 2668942.2387 | 1219456.3362
19 | 2668900.0397 | 1219388.0333
20 | 2669149.7032 | 1219304.016
21 | 2669142.1531 | 1219332.9986
22 | 2669134.591 | 1219298.9658
23 | 2669081.1012 | 1219413.7014
24 | 2669085.2905 | 1219413.6833
25 | 2669081.1872 | 1219421.3406
26 | 2669069.2974 | 1219413.2665
27 | 2669059.2271 | 1219420.0574
28 | 2669093.1371 | 1219363.7213
29 | 2669033.8569 | 1219408.1282
30 | 2669064.1518 | 1219412.7811
31 | 2669025.431 | 1219386.5104
32 | 2669006.9496 | 1219404.0838
33 | 2668725.2177 | 1219159.1815
34 | 2668700.2902 | 1219160.1336
35 | 2668725.9206 | 1219159.1547
36 | 2668680.1834 | 1219101.6686
37 | 2668767.7845 | 1219108.3719
38 | 2668778.0757 | 1219114.6157
39 | 2668829.4236 | 1219157.0256
40 | 2668835.3447 | 1219160.4608
41 | 2668768.5825 | 1219058.4941
42 | 2668842.3962 | 1219163.9653
43 | 2668731.7479 | 1219215.2841
44 | 2668865.807 | 1219173.3063
45 | 2668869.0322 | 1219174.5165
46 | 2668978.6529 | 1219477.1641
47 | 2669031.7813 | 1219538.4722
48 | 2668921.6343 | 1219331.9362
49 | 2668935.5513 | 1219394.4184
50 | 2668904.4066 | 1219187.7895
51 | 2668911.771 | 1219190.5528
52 | 2668887.0622 | 1219181.2816
53 | 2669131.6814 | 1219297.9935
54 | 2669031.8297 | 1219483.8747
55 | 2669028.4731 | 1219483.4511
56 | 2668999.8399 | 1219363.906
57 | 2668973.0918 | 1219400.0038
58 | 2668966.0789 | 1219399.1316
59 | 2668929.5098 | 1219311.114
60 | 2668934.3284 | 1219298.684
61 | 2668879.2649 | 1219308.3547
62 | 2669007.7387 | 1219320.7922
63 | 2668874.728 | 1219176.6536
64 | 2668924.9058 | 1219195.4812
65 | 2668949.5428 | 1219204.7255
66 | 2668966.8266 | 1219209.3809
67 | 2668983.6831 | 1219179.1021
68 | 2668947.5146 | 1219266.1176
69 | 2669099.2496 | 1219285.8636
70 | 2668995.4527 | 1219149.0184
71 | 2669106.981 | 1219288.7451
72 | 2669015.8798 | 1219096.8058
73 | 2669023.4942 | 1219482.8228
74 | 2669028.4092 | 1219483.443
75 | 2669005.0946 | 1219480.5009
76 | 2669002.5383 | 1219480.1783
77 | 2669002.4708 | 1219480.1698
78 | 2668996.8121 | 1219479.4557
79 | 2668997.1974 | 1219317.6176
80 | 2669020.6219 | 1219084.9231
81 | 2669042.9505 | 1219029.7457
82 | 2668934.3284 | 1219298.684

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9869 | -0.2502 | 0.0036447 | 0.00091344
1 | 0.98701 | -0.2481 | 0.011036 | 0.0027659
2 | 0.98704 | -0.24741 | 0.0074939 | 0.0018781
3 | 0.98234 | -0.33711 | 0 | 0
4 | 0.98058 | -0.37131 | 0 | 0
5 | 0.98292 | -0.32586 | 0 | 0
6 | 0.98751 | -0.23839 | 0.012068 | 0.0030246
7 | 0.97905 | -0.40119 | 0.0060552 | 0.0015176
8 | 0.98247 | -0.33467 | 0 | 0
9 | 0.98273 | -0.32941 | 0.00041536 | 0.0001041
10 | 0.98171 | -0.34955 | 0 | 0
11 | 0.98223 | -0.33936 | 0.0060516 | 0.0015167
12 | 0.97537 | -0.47335 | 0 | 0
13 | 0.97482 | -0.48408 | 0.0011866 | 0.00029739
14 | 0.9758 | -0.46482 | 0.0011975 | 0.00030012
15 | 0.97582 | -0.46459 | 0 | 0
16 | 0.97717 | -0.43796 | 0 | 0
17 | 0.97576 | -0.46567 | 0.0029267 | 0.00073351
18 | 0.97642 | -0.45263 | 0.0062999 | 0.0015789
19 | 0.98307 | -0.32289 | 0.00071998 | 0.00018045
20 | 0.97207 | -0.53814 | 0 | 0
21 | 0.97205 | -0.53849 | 0.00062873 | 0.00015758
22 | 0.97208 | -0.53795 | 0.00057066 | 0.00014302
23 | 0.98882 | -0.21288 | 0 | 0
24 | 0.98882 | -0.21293 | 0 | 0
25 | 0.98854 | -0.21826 | 0 | 0
26 | 0.98926 | -0.20444 | 0.0082062 | 0.0020567
27 | 0.98775 | -0.23377 | 0.0052072 | 0.0013051
28 | 0.98879 | -0.21351 | 0.00062185 | 0.00015585
29 | 0.9913 | -0.16479 | 0 | 0
30 | 0.98948 | -0.19999 | 0.01632 | 0.0040902
31 | 0.99334 | -0.12595 | 0.027186 | 0.0068134
32 | 0.98957 | -0.19784 | 0.010804 | 0.0027076
33 | 0.97144 | -0.55068 | 0.001219 | 0.0003055
34 | 0.97153 | -0.54892 | 0.00086297 | 0.00021628
35 | 0.97144 | -0.55072 | 0.0026037 | 0.00065254
36 | 0.97184 | -0.54262 | 0 | 0
37 | 0.97223 | -0.53494 | 0 | 0
38 | 0.97236 | -0.53233 | 0.0039591 | 0.00099224
39 | 0.97334 | -0.51302 | 0.0028278 | 0.00070871
40 | 0.97346 | -0.51069 | 0.0012375 | 0.00031014
41 | 0.9719 | -0.54158 | 0.0070644 | 0.0017705
42 | 0.97361 | -0.50782 | 0.0011628 | 0.00029143
43 | 0.98119 | -0.35977 | 0.004028 | 0.0010095
44 | 0.9741 | -0.49811 | 0.00059042 | 0.00014797
45 | 0.97417 | -0.49675 | 0.0046123 | 0.001156
46 | 0.97466 | -0.48721 | 0.0011973 | 0.00030007
47 | 0.97572 | -0.46659 | 0.0029267 | 0.00073351
48 | 0.98048 | -0.37316 | 0.0019378 | 0.00048565
49 | 0.9852 | -0.28166 | 0.0039526 | 0.00099061
50 | 0.97443 | -0.49164 | 0.00088076 | 0.00022074
51 | 0.97448 | -0.49049 | 0.0017152 | 0.00042988
52 | 0.97429 | -0.49427 | 0.0021627 | 0.00054203
53 | 0.97208 | -0.53789 | 0.00076286 | 0.00019119
54 | 0.97341 | -0.51193 | 0.005453 | 0.0013666
55 | 0.97343 | -0.51159 | 0.0023856 | 0.0005979
56 | 0.99626 | -0.070605 | 0.0030449 | 0.00076311
57 | 0.98748 | -0.23779 | 0.0039114 | 0.00098029
58 | 0.98706 | -0.24597 | 0.00089837 | 0.00022515
59 | 0.97953 | -0.39165 | 0 | 0
60 | 0.97896 | -0.40269 | 0 | 0
61 | 0.97949 | -0.39237 | 0.00078691 | 0.00019722
62 | 1 | 0 | -0.3777 | -0.097042
63 | 0.9742 | -0.49602 | 0.0026656 | 0.00066806
64 | 0.97459 | -0.48833 | 0.0089271 | 0.0022373
65 | 0.97485 | -0.4832 | 0.0055843 | 0.0013996
66 | 0.97506 | -0.47922 | 0 | 0
67 | 0.97472 | -0.48593 | 0.0041788 | 0.0010473
68 | 0.97747 | -0.43186 | 0.012095 | 0.0030314
69 | 0.97215 | -0.53651 | 0.078698 | 0.019724
70 | 0.97444 | -0.49132 | 0.0010115 | 0.0002535
71 | 0.97213 | -0.53693 | 0.00081935 | 0.00020535
72 | 0.97398 | -0.50043 | 0.0015671 | 0.00039275
73 | 0.97349 | -0.51039 | 0.005453 | 0.0013666
74 | 0.97343 | -0.51158 | 0.0052474 | 0.0013151
75 | 0.97381 | -0.50406 | 0.0054086 | 0.0013555
76 | 0.97387 | -0.50293 | 0.005408 | 0.0013554
77 | 0.97387 | -0.50289 | 0.0054055 | 0.0013547
78 | 0.97405 | -0.49925 | 0.0010608 | 0.00026587
79 | 0.99999 | -0.00010868 | 0.00056619 | 0.0001419
80 | 0.97378 | -0.5044 | 0.0014408 | 0.0003611
81 | 0.97198 | -0.53985 | 0.032346 | 0.0081067
82 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0036447 | -0.00091344 | 0.003645 | 0.00091326 | 3.653e-07 | -1.7845e-07 | 0.0054953 | 0.0054952 | 0.0054953 | 0.9869 | -0.2502 | 0.98701 | -0.2481 | 1.5097
1 | -0.014681 | -0.0036791 | 0.014681 | 0.0036794 | 4.8303e-07 | 2.7553e-07 | 0.022133 | 0.022133 | 0.022133 | 0.98701 | -0.2481 | 0.98704 | -0.24741 | 6.0805
2 | -0.022175 | -0.0055575 | 0.022185 | 0.0055633 | 9.5338e-06 | 5.8107e-06 | 0.03343 | 0.03343 | 0.03343 | 0.98704 | -0.24741 | 0.98751 | -0.23839 | 9.1841
3 | 0.058019 | 0.014693 | -0.057924 | -0.014633 | 9.5134e-05 | 6.0471e-05 | 0.08794 | 0.08794 | 0.08794 | 0.98234 | -0.33711 | 0.98058 | -0.37131 | 24.1594
4 | -0.058019 | -0.014693 | 0.05805 | 0.014713 | 3.1363e-05 | 1.9935e-05 | 0.08794 | 0.08794 | 0.08794 | 0.98234 | -0.33711 | 0.98292 | -0.32586 | 24.1593
5 | 0.057924 | 0.014633 | -0.057841 | -0.01458 | 8.2818e-05 | 5.2644e-05 | 0.08794 | 0.08794 | 0.08794 | 0.98058 | -0.37131 | 0.97905 | -0.40119 | 24.1594
6 | -0.068556 | -0.017345 | 0.068565 | 0.017351 | 9.7618e-06 | 6.2169e-06 | 0.10384 | 0.10384 | 0.10384 | 0.98292 | -0.32586 | 0.98307 | -0.32289 | 28.5284
7 | 0.010505 | 0.0026315 | -0.010504 | -0.0026306 | 1.7786e-06 | 9.0066e-07 | 0.015903 | 0.015904 | 0.015904 | 0.98292 | -0.32586 | 0.98273 | -0.32941 | 4.3691
8 | -0.034253 | -0.0085879 | 0.03426 | 0.0085926 | 7.5393e-06 | 4.7286e-06 | 0.051615 | 0.051615 | 0.051615 | 0.98751 | -0.23839 | 0.98775 | -0.23377 | 14.1799
9 | 0.051786 | 0.013062 | -0.051695 | -0.013005 | 9.0987e-05 | 5.7741e-05 | 0.078737 | 0.078737 | 0.078737 | 0.97905 | -0.40119 | 0.97717 | -0.43796 | 21.6311
10 | -0.010086 | -0.0025252 | 0.010088 | 0.0025265 | 2.526e-06 | 1.251e-06 | 0.015275 | 0.015275 | 0.015275 | 0.98247 | -0.33467 | 0.98273 | -0.32941 | 4.1964
11 | 0.0040328 | 0.0010082 | -0.0040299 | -0.001009 | 2.8531e-06 | -7.5491e-07 | 0.006107 | 0.006108 | 0.006108 | 0.98247 | -0.33467 | 0.98171 | -0.34955 | 1.678
12 | 0.006053 | 0.001517 | -0.0060516 | -0.0015167 | 1.3503e-06 | 3.2182e-07 | 0.0091677 | 0.0091679 | 0.0091679 | 0.98247 | -0.33467 | 0.98223 | -0.33936 | 2.5186
13 | 0.0040299 | 0.001009 | -0.004028 | -0.0010095 | 1.9617e-06 | -5.1628e-07 | 0.006108 | 0.0061086 | 0.0061086 | 0.98171 | -0.34955 | 0.98119 | -0.35977 | 1.6782
14 | 0.038265 | 0.0096124 | -0.038246 | -0.0096001 | 1.957e-05 | 1.2334e-05 | 0.058385 | 0.058385 | 0.058385 | 0.97537 | -0.47335 | 0.97482 | -0.48408 | 16.0399
15 | -0.038265 | -0.0096124 | 0.038281 | 0.0096222 | 1.5591e-05 | 9.8257e-06 | 0.058385 | 0.058385 | 0.058385 | 0.97537 | -0.47335 | 0.9758 | -0.46482 | 16.0399
16 | 0.037059 | 0.0093027 | -0.037054 | -0.0092992 | 5.5429e-06 | 3.4899e-06 | 0.056574 | 0.056574 | 0.056574 | 0.97482 | -0.48408 | 0.97466 | -0.48721 | 15.5423
17 | -0.039478 | -0.0099224 | 0.039501 | 0.0099369 | 2.2991e-05 | 1.4503e-05 | 0.060211 | 0.060211 | 0.060211 | 0.9758 | -0.46482 | 0.97642 | -0.45263 | 16.5416
18 | -0.0058539 | -0.0014669 | 0.0058613 | 0.0014686 | 7.43e-06 | 1.6442e-06 | 0.0089265 | 0.0089254 | 0.0089265 | 0.97582 | -0.46459 | 0.97717 | -0.43796 | 2.4523
19 | 0.0058539 | 0.0014669 | -0.0058536 | -0.0014669 | 3.0001e-07 | 6.6589e-08 | 0.0089265 | 0.0089265 | 0.0089265 | 0.97582 | -0.46459 | 0.97576 | -0.46567 | 2.4523
20 | 0.045833 | 0.011536 | -0.045801 | -0.011516 | 3.211e-05 | 2.0331e-05 | 0.069812 | 0.069812 | 0.069812 | 0.97717 | -0.43796 | 0.97642 | -0.45263 | 19.1791
21 | 0.0029269 | 0.00073337 | -0.0029267 | -0.00073351 | 1.286e-07 | -1.3271e-07 | 0.0044633 | 0.0044634 | 0.0044634 | 0.97576 | -0.46567 | 0.97572 | -0.46659 | 1.2262
22 | 0.18666 | 0.047426 | -0.18621 | -0.047141 | 0.00045061 | 0.00028535 | 0.28277 | 0.28278 | 0.28278 | 0.98307 | -0.32289 | 0.98048 | -0.37316 | 19.4214
23 | -0.25595 | -0.064957 | 0.25646 | 0.065281 | 0.00050878 | 0.00032378 | 0.38771 | 0.38771 | 0.38771 | 0.98307 | -0.32289 | 0.9852 | -0.28166 | 26.6283
24 | 0.00062874 | 0.00015721 | -0.00062873 | -0.00015758 | 1.0402e-08 | -3.6461e-07 | 0.00096233 | 0.00096246 | 0.00096246 | 0.97207 | -0.53814 | 0.97205 | -0.53849 | 0.26441
25 | -0.00062874 | -0.00015721 | 0.00062875 | 0.00015702 | 5.533e-09 | -1.9399e-07 | 0.00096233 | 0.00096226 | 0.00096233 | 0.97207 | -0.53814 | 0.97208 | -0.53795 | 0.26438
26 | -0.0011994 | -0.00030004 | 0.0011994 | 0.0003 | 3.877e-09 | -3.5549e-08 | 0.0018358 | 0.0018358 | 0.0018358 | 0.97208 | -0.53795 | 0.97208 | -0.53789 | 0.50434
27 | 0.00062186 | 0.00015514 | -0.00062186 | -0.00015519 | 1.371e-09 | -5.2703e-08 | 0.00093555 | 0.00093557 | 0.00093557 | 0.98882 | -0.21288 | 0.98882 | -0.21293 | 0.25703
28 | 0.039507 | 0.0099225 | -0.039497 | -0.0099161 | 1.0129e-05 | 6.3843e-06 | 0.059459 | 0.059459 | 0.059459 | 0.98882 | -0.21288 | 0.98854 | -0.21826 | 16.335
29 | -0.040129 | -0.010078 | 0.040145 | 0.010088 | 1.6177e-05 | 1.0201e-05 | 0.060395 | 0.060395 | 0.060395 | 0.98882 | -0.21288 | 0.98926 | -0.20444 | 16.592
30 | 0.00062186 | 0.00015519 | -0.00062185 | -0.00015585 | 1.7098e-08 | -6.5707e-07 | 0.00093557 | 0.00093581 | 0.00093581 | 0.98882 | -0.21293 | 0.98879 | -0.21351 | 0.25709
31 | 0.039497 | 0.0099161 | -0.039468 | -0.0098977 | 2.9209e-05 | 1.8411e-05 | 0.059459 | 0.059459 | 0.059459 | 0.98854 | -0.21826 | 0.98775 | -0.23377 | 16.335
32 | -0.048351 | -0.012144 | 0.048362 | 0.012151 | 1.0255e-05 | 6.4966e-06 | 0.072738 | 0.072738 | 0.072738 | 0.98926 | -0.20444 | 0.98948 | -0.19999 | 19.9831
33 | 0.06479 | 0.01631 | -0.064682 | -0.016241 | 0.00010882 | 6.9248e-05 | 0.097281 | 0.097281 | 0.097281 | 0.9913 | -0.16479 | 0.98948 | -0.19999 | 26.7256
34 | -0.34233 | -0.087457 | 0.34297 | 0.087868 | 0.00064421 | 0.00041095 | 0.51445 | 0.51445 | 0.51445 | 0.9913 | -0.16479 | 0.99334 | -0.12595 | 35.333
35 | 0.27753 | 0.071146 | -0.27709 | -0.070863 | 0.00044393 | 0.00028271 | 0.41717 | 0.41717 | 0.41717 | 0.9913 | -0.16479 | 0.98957 | -0.19784 | 28.6517
36 | -0.37015 | -0.094681 | 0.37115 | 0.095316 | 0.00099445 | 0.00063466 | 0.55517 | 0.55517 | 0.55517 | 0.99334 | -0.12595 | 0.99626 | -0.070605 | 38.1299
37 | 0.26629 | 0.068156 | -0.26577 | -0.067829 | 0.00051404 | 0.00032724 | 0.40092 | 0.40092 | 0.40092 | 0.98957 | -0.19784 | 0.98748 | -0.23779 | 27.536
38 | -0.0038226 | -0.00095804 | 0.003823 | 0.00095793 | 3.2072e-07 | -1.0361e-07 | 0.0058554 | 0.0058553 | 0.0058554 | 0.97144 | -0.55068 | 0.97153 | -0.54892 | 1.6086
39 | 0.0026037 | 0.00065253 | -0.0026037 | -0.00065254 | 4.1957e-09 | -6.0238e-09 | 0.0039882 | 0.0039882 | 0.0039882 | 0.97144 | -0.55068 | 0.97144 | -0.55072 | 1.0957
40 | -0.0046859 | -0.0011742 | 0.0046873 | 0.0011742 | 1.4072e-06 | -1.8308e-09 | 0.007177 | 0.0071767 | 0.007177 | 0.97153 | -0.54892 | 0.97184 | -0.54262 | 1.9717
41 | -0.0046873 | -0.0011742 | 0.004689 | 0.0011742 | 1.7144e-06 | -3.1408e-09 | 0.0071767 | 0.0071763 | 0.0071767 | 0.97184 | -0.54262 | 0.97223 | -0.53494 | 1.9716
42 | 0.0070666 | 0.0017713 | -0.0070644 | -0.0017705 | 2.2367e-06 | 7.9941e-07 | 0.010816 | 0.010816 | 0.010816 | 0.97223 | -0.53494 | 0.9719 | -0.54158 | 2.9714
43 | -0.011756 | -0.0029455 | 0.011757 | 0.0029463 | 1.4612e-06 | 7.8588e-07 | 0.017992 | 0.017992 | 0.017992 | 0.97223 | -0.53494 | 0.97236 | -0.53233 | 4.9428
44 | -0.015716 | -0.0039385 | 0.015731 | 0.003947 | 1.4466e-05 | 8.4303e-06 | 0.024051 | 0.02405 | 0.024051 | 0.97236 | -0.53233 | 0.97334 | -0.51302 | 6.6073
45 | -0.018558 | -0.0046557 | 0.018561 | 0.0046569 | 2.0666e-06 | 1.2375e-06 | 0.028373 | 0.028373 | 0.028373 | 0.97334 | -0.51302 | 0.97346 | -0.51069 | 7.7949
46 | -0.019798 | -0.0049671 | 0.019801 | 0.0049687 | 2.7076e-06 | 1.6348e-06 | 0.030265 | 0.030265 | 0.030265 | 0.97346 | -0.51069 | 0.97361 | -0.50782 | 8.3145
47 | -0.020964 | -0.0052601 | 0.020973 | 0.005266 | 9.7092e-06 | 5.9001e-06 | 0.032042 | 0.032042 | 0.032042 | 0.97361 | -0.50782 | 0.9741 | -0.49811 | 8.8027
48 | -0.021564 | -0.005414 | 0.021565 | 0.0054149 | 1.402e-06 | 8.5439e-07 | 0.032944 | 0.032944 | 0.032944 | 0.9741 | -0.49811 | 0.97417 | -0.49675 | 9.0505
49 | -0.026177 | -0.0065708 | 0.026178 | 0.0065711 | 9.1203e-07 | 2.8072e-07 | 0.039989 | 0.039989 | 0.039989 | 0.97417 | -0.49675 | 0.9742 | -0.49602 | 2.7465
50 | 0.035856 | 0.0089991 | -0.035836 | -0.0089862 | 2.0572e-05 | 1.2938e-05 | 0.054746 | 0.054746 | 0.054746 | 0.97466 | -0.48721 | 0.97405 | -0.49925 | 15.0402
51 | 0.18428 | 0.046655 | -0.18411 | -0.046552 | 0.00016343 | 0.00010347 | 0.27983 | 0.27984 | 0.27984 | 0.98048 | -0.37316 | 0.97953 | -0.39165 | 19.2194
52 | -0.26041 | -0.066272 | 0.26086 | 0.066557 | 0.00044882 | 0.00028567 | 0.39368 | 0.39368 | 0.39368 | 0.9852 | -0.28166 | 0.98706 | -0.24597 | 27.0382
53 | -0.031894 | -0.0080044 | 0.031895 | 0.0080051 | 1.7495e-06 | 7.2772e-07 | 0.048708 | 0.048708 | 0.048708 | 0.97443 | -0.49164 | 0.97448 | -0.49049 | 3.3453
54 | 0.031013 | 0.0077836 | -0.031009 | -0.0077821 | 3.8959e-06 | 1.5705e-06 | 0.047363 | 0.047363 | 0.047363 | 0.97443 | -0.49164 | 0.97429 | -0.49427 | 3.253
55 | -0.033611 | -0.008435 | 0.033614 | 0.0084365 | 3.4649e-06 | 1.5183e-06 | 0.051327 | 0.051327 | 0.051327 | 0.97448 | -0.49049 | 0.97459 | -0.48833 | 3.5252
56 | 0.028846 | 0.00724 | -0.028844 | -0.0072392 | 2.3976e-06 | 8.783e-07 | 0.04406 | 0.04406 | 0.04406 | 0.97429 | -0.49427 | 0.9742 | -0.49602 | 3.0261
57 | -0.0019623 | -0.00049119 | 0.0019624 | 0.00049092 | 8.9225e-08 | -2.699e-07 | 0.0030035 | 0.0030034 | 0.0030035 | 0.97208 | -0.53789 | 0.97213 | -0.53693 | 0.82514
58 | -0.005453 | -0.0013666 | 0.0054531 | 0.0013667 | 8.8156e-08 | 1.4362e-08 | 0.0083357 | 0.0083357 | 0.0083357 | 0.97341 | -0.51193 | 0.97343 | -0.51159 | 2.29
59 | -0.0078387 | -0.0019646 | 0.0078387 | 0.0019646 | 3.4677e-09 | 1.419e-09 | 0.011983 | 0.011983 | 0.011983 | 0.97343 | -0.51159 | 0.97343 | -0.51158 | 3.2919
60 | -0.37419 | -0.096079 | 0.37548 | 0.0969 | 0.0012873 | 0.00082161 | 0.55972 | 0.55972 | 0.55972 | 0.99626 | -0.070605 | 1 | 0 | 38.4422
61 | 0.26186 | 0.066848 | -0.26176 | -0.066783 | 0.00010341 | 6.582e-05 | 0.39503 | 0.39503 | 0.39503 | 0.98748 | -0.23779 | 0.98706 | -0.24597 | 27.1312
62 | 0.18333 | 0.046355 | -0.18323 | -0.046294 | 9.7019e-05 | 6.1421e-05 | 0.27864 | 0.27864 | 0.27864 | 0.97953 | -0.39165 | 0.97896 | -0.40269 | 19.1374
63 | 0.00078694 | 0.0001966 | -0.00078691 | -0.00019722 | 2.6963e-08 | -6.1615e-07 | 0.0011952 | 0.0011955 | 0.0011955 | 0.97953 | -0.39165 | 0.97949 | -0.39237 | 0.32842
64 | 0.18323 | 0.046294 | -0.18297 | -0.046132 | 0.00025574 | 0.00016191 | 0.27864 | 0.27864 | 0.27864 | 0.97896 | -0.40269 | 0.97747 | -0.43186 | 19.1374
65 | 0.00056619 | 0.00014176 | -0.00056619 | -0.0001419 | 2.9302e-09 | -1.4255e-07 | 0.00084245 | 0.00084251 | 0.00084251 | 1 | 0 | 0.99999 | -0.00010868 | 0.23146
66 | -0.042541 | -0.010674 | 0.042552 | 0.010679 | 1.0409e-05 | 5.3497e-06 | 0.064957 | 0.064956 | 0.064957 | 0.97459 | -0.48833 | 0.97485 | -0.4832 | 4.4613
67 | -0.048136 | -0.012079 | 0.048145 | 0.012084 | 9.1272e-06 | 4.942e-06 | 0.07348 | 0.07348 | 0.07348 | 0.97485 | -0.4832 | 0.97506 | -0.47922 | 5.0467
68 | 0.040643 | 0.010217 | -0.04063 | -0.010211 | 1.3021e-05 | 6.5336e-06 | 0.062036 | 0.062037 | 0.062037 | 0.97506 | -0.47922 | 0.97472 | -0.48593 | 4.2608
69 | -0.17049 | -0.042856 | 0.17088 | 0.0431 | 0.00038653 | 0.00024434 | 0.26023 | 0.26023 | 0.26023 | 0.97506 | -0.47922 | 0.97747 | -0.43186 | 17.8729
70 | 0.081703 | 0.020555 | -0.08148 | -0.02042 | 0.00022299 | 0.0001351 | 0.12471 | 0.12472 | 0.12472 | 0.97506 | -0.47922 | 0.97215 | -0.53651 | 8.5657
71 | 0.036451 | 0.0091636 | -0.036442 | -0.0091592 | 9.3816e-06 | 4.3941e-06 | 0.055657 | 0.055658 | 0.055658 | 0.97472 | -0.48593 | 0.97444 | -0.49132 | 3.8227
72 | 0.0027818 | 0.0006962 | -0.0027817 | -0.00069627 | 5.6086e-08 | -6.6404e-08 | 0.0042575 | 0.0042576 | 0.0042576 | 0.97215 | -0.53651 | 0.97213 | -0.53693 | 1.1697
73 | 0.03543 | 0.0089057 | -0.035415 | -0.0088986 | 1.5392e-05 | 7.0583e-06 | 0.054113 | 0.054114 | 0.054114 | 0.97444 | -0.49132 | 0.97398 | -0.50043 | 3.7166
74 | 0.033848 | 0.0085059 | -0.033842 | -0.0085021 | 6.4171e-06 | 3.7885e-06 | 0.05172 | 0.05172 | 0.05172 | 0.97398 | -0.50043 | 0.97378 | -0.5044 | 7.1044
75 | 0.013087 | 0.0032801 | -0.013086 | -0.0032797 | 7.4338e-07 | 4.1417e-07 | 0.020004 | 0.020004 | 0.020004 | 0.97349 | -0.51039 | 0.97343 | -0.51158 | 5.4956
76 | -0.01854 | -0.0046467 | 0.018545 | 0.0046501 | 5.5851e-06 | 3.3438e-06 | 0.028339 | 0.028339 | 0.028339 | 0.97349 | -0.51039 | 0.97381 | -0.50406 | 7.7854
77 | -0.023954 | -0.0060056 | 0.023955 | 0.0060064 | 1.2945e-06 | 7.9645e-07 | 0.036603 | 0.036603 | 0.036603 | 0.97381 | -0.50406 | 0.97387 | -0.50293 | 10.0558
78 | -0.029363 | -0.0073618 | 0.029363 | 0.0073618 | 5.1378e-08 | 3.2037e-08 | 0.044866 | 0.044866 | 0.044866 | 0.97387 | -0.50293 | 0.97387 | -0.50289 | 12.3259
79 | -0.034769 | -0.0087165 | 0.034775 | 0.0087203 | 6.0365e-06 | 3.7924e-06 | 0.053126 | 0.053126 | 0.053126 | 0.97387 | -0.50289 | 0.97405 | -0.49925 | 14.595
80 | 0.032401 | 0.008141 | -0.032346 | -0.0081067 | 5.4735e-05 | 3.4291e-05 | 0.049519 | 0.049519 | 0.049519 | 0.97378 | -0.5044 | 0.97198 | -0.53985 | 13.6041

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38378 | 0.098567

## res_load
| p_mw | q_mvar
0 | 0.0036447 | 0.00091344
1 | 0.011036 | 0.0027659
2 | 0.0074939 | 0.0018781
3 | 0.012068 | 0.0030246
4 | 0.0060552 | 0.0015176
5 | 0.00041536 | 0.0001041
6 | 0.0060516 | 0.0015167
7 | 0.0011866 | 0.00029739
8 | 0.0011975 | 0.00030012
9 | 0.0029267 | 0.00073351
10 | 0.0062999 | 0.0015789
11 | 0.00071998 | 0.00018045
12 | 0.00062873 | 0.00015758
13 | 0.00057066 | 0.00014302
14 | 0.0082062 | 0.0020567
15 | 0.0052072 | 0.0013051
16 | 0.00062185 | 0.00015585
17 | 0.01632 | 0.0040902
18 | 0.027186 | 0.0068134
19 | 0.010804 | 0.0027076
20 | 0.001219 | 0.0003055
21 | 0.00086297 | 0.00021628
22 | 0.0026037 | 0.00065254
23 | 0.0039591 | 0.00099224
24 | 0.0028278 | 0.00070871
25 | 0.0012375 | 0.00031014
26 | 0.0070644 | 0.0017705
27 | 0.0011628 | 0.00029143
28 | 0.004028 | 0.0010095
29 | 0.00059042 | 0.00014797
30 | 0.0046123 | 0.001156
31 | 0.0011973 | 0.00030007
32 | 0.0029267 | 0.00073351
33 | 0.0019378 | 0.00048565
34 | 0.0039526 | 0.00099061
35 | 0.00088076 | 0.00022074
36 | 0.0017152 | 0.00042988
37 | 0.0021627 | 0.00054203
38 | 0.00076286 | 0.00019119
39 | 0.005453 | 0.0013666
40 | 0.0023856 | 0.0005979
41 | 0.0030449 | 0.00076311
42 | 0.0039114 | 0.00098029
43 | 0.00089837 | 0.00022515
44 | 0.00078691 | 0.00019722
45 | 0.006083 | 0.0015245
46 | 0.0026656 | 0.00066806
47 | 0.0089271 | 0.0022373
48 | 0.0055843 | 0.0013996
49 | 0.0041788 | 0.0010473
50 | 0.012095 | 0.0030314
51 | 0.078698 | 0.019724
52 | 0.0010115 | 0.0002535
53 | 0.00081935 | 0.00020535
54 | 0.0015671 | 0.00039275
55 | 0.005453 | 0.0013666
56 | 0.0052474 | 0.0013151
57 | 0.0054086 | 0.0013555
58 | 0.005408 | 0.0013554
59 | 0.0054055 | 0.0013547
60 | 0.0010608 | 0.00026587
61 | 0.00056619 | 0.0001419
62 | 0.0014408 | 0.0003611
63 | 0.032346 | 0.0081067

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1