## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1037-1_1_3_node_129 | 0.4 | n |  | TRUE
1 | bus_LV_1037-1_1_3_node_127 | 0.4 | n |  | TRUE
2 | bus_LV_1037-1_1_3_node_131 | 0.4 | n |  | TRUE
3 | bus_LV_1037-1_1_3_node_64 | 0.4 | n |  | TRUE
4 | bus_LV_1037-1_1_3_node_85 | 0.4 | n |  | TRUE
5 | bus_LV_1037-1_1_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_1037-1_1_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1037-1_1_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1037-1_1_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1037-1_1_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1037-1_1_3_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1037-1_1_3_node_71 | 0.4 | n |  | TRUE
12 | bus_LV_1037-1_1_3_node_118 | 0.4 | n |  | TRUE
13 | bus_LV_1037-1_1_3_node_122 | 0.4 | n |  | TRUE
14 | bus_LV_1037-1_1_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1037-1_1_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1037-1_1_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1037-1_1_3_node_161 | 0.4 | n |  | TRUE
18 | bus_LV_1037-1_1_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1037-1_1_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_1037-1_1_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_1037-1_1_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1037-1_1_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1037-1_1_3_node_149 | 0.4 | n |  | TRUE
24 | bus_LV_1037-1_1_3_node_154 | 0.4 | n |  | TRUE
25 | bus_LV_1037-1_1_3_node_153 | 0.4 | n |  | TRUE
26 | bus_LV_1037-1_1_3_node_166 | 0.4 | n |  | TRUE
27 | bus_LV_1037-1_1_3_node_140 | 0.4 | n |  | TRUE
28 | bus_LV_1037-1_1_3_node_79 | 0.4 | n |  | TRUE
29 | bus_LV_1037-1_1_3_node_150 | 0.4 | n |  | TRUE
30 | bus_LV_1037-1_1_3_node_74 | 0.4 | n |  | TRUE
31 | bus_LV_1037-1_1_3_node_159 | 0.4 | n |  | TRUE
32 | bus_LV_1037-1_1_3_node_99 | 0.4 | n |  | TRUE
33 | bus_LV_1037-1_1_3_node_135 | 0.4 | n |  | TRUE
34 | bus_LV_1037-1_1_3_node_77 | 0.4 | n |  | TRUE
35 | bus_LV_1037-1_1_3_node_136 | 0.4 | n |  | TRUE
36 | bus_LV_1037-1_1_3_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_1037-1_1_3_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_1037-1_1_3_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_1037-1_1_3_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_1037-1_1_3_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_1037-1_1_3_node_84 | 0.4 | n |  | TRUE
42 | bus_LV_1037-1_1_3_node_137 | 0.4 | n |  | TRUE
43 | bus_LV_1037-1_1_3_node_138 | 0.4 | n |  | TRUE
44 | bus_LV_1037-1_1_3_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_1037-1_1_3_node_139 | 0.4 | n |  | TRUE
46 | bus_LV_1037-1_1_3_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_1037-1_1_3_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_1037-1_1_3_node_63 | 0.4 | n |  | TRUE
49 | bus_LV_1037-1_1_3_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_1037-1_1_3_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_1037-1_1_3_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_1037-1_1_3_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_1037-1_1_3_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_1037-1_1_3_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_1037-1_1_3_node_76 | 0.4 | n |  | TRUE
56 | bus_LV_1037-1_1_3_node_98 | 0.4 | n |  | TRUE
57 | bus_LV_1037-1_1_3_node_95 | 0.4 | n |  | TRUE
58 | bus_LV_1037-1_1_3_node_96 | 0.4 | n |  | TRUE
59 | bus_LV_1037-1_1_3_node_97 | 0.4 | n |  | TRUE
60 | bus_MV_354_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1037-1_1_3_load_127 | 1 | 0.00027611 | 6.9199e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1037-1_1_3_load_131 | 2 | 0.0016768 | 0.00042025 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1037-1_1_3_load_7 | 5 | 0.0010888 | 0.00027287 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1037-1_1_3_load_10 | 8 | 0.0011874 | 0.0002976 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1037-1_1_3_load_11 | 9 | 0.00026596 | 6.6655e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1037-1_1_3_load_12 | 10 | 0.00025076 | 6.2846e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1037-1_1_3_load_71 | 11 | 0.0008241 | 0.00020654 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1037-1_1_3_load_118 | 12 | 0.00014336 | 3.5928e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1037-1_1_3_load_122 | 13 | 0.00013984 | 3.5047e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1037-1_1_3_load_13 | 14 | 0.017774 | 0.0044547 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1037-1_1_3_load_161 | 17 | 0.0039686 | 0.00099463 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1037-1_1_3_load_16 | 18 | 0.0054126 | 0.0013565 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1037-1_1_3_load_19 | 20 | 0.0095805 | 0.0024011 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1037-1_1_3_load_154 | 24 | 0.0050033 | 0.0012539 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1037-1_1_3_load_153 | 25 | 0.012498 | 0.0031324 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1037-1_1_3_load_166 | 26 | 0.008184 | 0.0020511 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1037-1_1_3_load_140 | 27 | 0.0023353 | 0.00058528 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1037-1_1_3_load_150 | 29 | 0.0043502 | 0.0010903 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1037-1_1_3_load_74 | 30 | 0.0073605 | 0.0018447 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1037-1_1_3_load_159 | 31 | 0.00027227 | 6.8238e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1037-1_1_3_load_99 | 32 | 7.4436e-05 | 1.8655e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1037-1_1_3_load_135 | 33 | 8.6477e-05 | 2.1673e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1037-1_1_3_load_136 | 35 | 0.0010059 | 0.00025211 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1037-1_1_3_load_48 | 36 | 0.00035534 | 8.9056e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1037-1_1_3_load_49 | 37 | 0.00065996 | 0.0001654 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1037-1_1_3_load_70 | 39 | 0.038509 | 0.0096513 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1037-1_1_3_load_51 | 40 | 0.00015664 | 3.9258e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1037-1_1_3_load_84 | 41 | 0.00029244 | 7.3292e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1037-1_1_3_load_137 | 42 | 0.0002363 | 5.9223e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1037-1_1_3_load_138 | 43 | 0.0006975 | 0.00017481 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1037-1_1_3_load_139 | 45 | 0.00062825 | 0.00015745 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1037-1_1_3_load_61 | 46 | 0.0020976 | 0.0005257 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1037-1_1_3_load_62 | 47 | 0.00060951 | 0.00015276 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1037-1_1_3_load_63 | 48 | 0.0010028 | 0.00025133 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1037-1_1_3_load_65 | 49 | 0.0006266 | 0.00015704 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1037-1_1_3_load_66 | 50 | 7.0528e-05 | 1.7676e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1037-1_1_3_load_67 | 51 | 0.001128 | 0.0002827 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1037-1_1_3_load_68 | 52 | 0.00067213 | 0.00016845 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1037-1_1_3_load_69 | 53 | 0.0048239 | 0.001209 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1037-1_1_3_load_76 | 55 | 0.012882 | 0.0032286 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1037-1_1_3_load_95 | 57 | 9.0235e-05 | 2.2615e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1037-1_1_3_load_96 | 58 | 0.00040255 | 0.00010089 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1037-1_1_3_line_0 |  | 0 | 1 | 0.16542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1037-1_1_3_line_1 |  | 0 | 2 | 0.18177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1037-1_1_3_line_2 |  | 2 | 3 | 0.051248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1037-1_1_3_line_3 |  | 2 | 4 | 0.1598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1037-1_1_3_line_4 |  | 3 | 47 | 0.046586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1037-1_1_3_line_5 |  | 4 | 41 | 0.12091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1037-1_1_3_line_6 |  | 5 | 6 | 0.11453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1037-1_1_3_line_7 |  | 5 | 7 | 0.039082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1037-1_1_3_line_8 |  | 6 | 8 | 0.019841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1037-1_1_3_line_9 |  | 6 | 9 | 0.020603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1037-1_1_3_line_10 |  | 7 | 10 | 0.030147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1037-1_1_3_line_11 |  | 8 | 11 | 0.03955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1037-1_1_3_line_12 |  | 9 | 12 | 0.05347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1037-1_1_3_line_13 |  | 10 | 13 | 0.02077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1037-1_1_3_line_14 |  | 12 | 31 | 0.066043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1037-1_1_3_line_15 |  | 14 | 15 | 0.058594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1037-1_1_3_line_16 |  | 14 | 16 | 0.063818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1037-1_1_3_line_17 |  | 14 | 17 | 0.30123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1037-1_1_3_line_18 |  | 15 | 18 | 0.014824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1037-1_1_3_line_19 |  | 15 | 19 | 0.042161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1037-1_1_3_line_20 |  | 16 | 20 | 0.032884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1037-1_1_3_line_21 |  | 16 | 21 | 0.012394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1037-1_1_3_line_22 |  | 19 | 24 | 0.012469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1037-1_1_3_line_23 |  | 19 | 25 | 0.021111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1037-1_1_3_line_24 |  | 20 | 22 | 0.0015572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1037-1_1_3_line_25 |  | 21 | 26 | 0.007406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1037-1_1_3_line_26 |  | 22 | 23 | 0.026097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1037-1_1_3_line_27 |  | 23 | 29 | 0.030612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1037-1_1_3_line_28 |  | 25 | 30 | 0.27687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1037-1_1_3_line_29 |  | 27 | 28 | 0.003735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1037-1_1_3_line_30 |  | 28 | 34 | 0.084125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1037-1_1_3_line_31 |  | 28 | 45 | 0.012621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1037-1_1_3_line_32 |  | 28 | 54 | 0.089925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1037-1_1_3_line_33 |  | 30 | 54 | 0.14993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1037-1_1_3_line_34 |  | 30 | 53 | 0.020598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1037-1_1_3_line_35 |  | 31 | 32 | 0.0055616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1037-1_1_3_line_36 |  | 32 | 59 | 0.17053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1037-1_1_3_line_37 |  | 33 | 34 | 0.016425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1037-1_1_3_line_38 |  | 33 | 35 | 1.7223e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1037-1_1_3_line_39 |  | 34 | 42 | 0.026206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1037-1_1_3_line_40 |  | 36 | 37 | 0.042045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1037-1_1_3_line_41 |  | 36 | 38 | 0.020464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1037-1_1_3_line_42 |  | 37 | 39 | 0.21641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1037-1_1_3_line_43 |  | 38 | 40 | 0.056555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1037-1_1_3_line_44 |  | 39 | 52 | 0.01416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1037-1_1_3_line_45 |  | 40 | 41 | 0.0044372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1037-1_1_3_line_46 |  | 42 | 43 | 0.013611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1037-1_1_3_line_47 |  | 43 | 44 | 0.014084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1037-1_1_3_line_48 |  | 44 | 56 | 0.036403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1037-1_1_3_line_49 |  | 46 | 47 | 0.026211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1037-1_1_3_line_50 |  | 46 | 48 | 0.0069417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1037-1_1_3_line_51 |  | 48 | 49 | 0.012347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1037-1_1_3_line_52 |  | 50 | 51 | 0.015631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1037-1_1_3_line_53 |  | 50 | 52 | 0.0041293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1037-1_1_3_line_54 |  | 51 | 53 | 0.022103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1037-1_1_3_line_55 |  | 54 | 55 | 0.051216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1037-1_1_3_line_56 |  | 56 | 59 | 0.12276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1037-1_1_3_line_57 |  | 57 | 58 | 0.021995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1037-1_1_3_line_58 |  | 57 | 59 | 0.021525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1037-1_1_3_trafo_74 | 0.63 MVA 20/0.4 kV | 60 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2662376.7875 | 1220874.1073 | 2662390.8579 | 1220892.5107 | 2662423.115 | 1220939.0111 | 2662432.429 | 1220958.0651 | 2662438.5571 | 1220977.7862 | 2662444.8378 | 1221021.1315
1 | 2662198.6147 | 1220910.1118 | 2662376.7875 | 1220874.1073
2 | 2662198.6147 | 1220910.1118 | 2662180.9436 | 1220933.5088 | 2662174.7052 | 1220934.4331 | 2662159.0077 | 1220933.7689
3 | 2662198.6147 | 1220910.1118 | 2662208.2472 | 1220750.601
4 | 2662159.0077 | 1220933.7689 | 2662126.9376 | 1220930.9549 | 2662117.9658 | 1220931.3616 | 2662113.0975 | 1220933.7244
5 | 2662208.2472 | 1220750.601 | 2662235.5905 | 1220664.9438 | 2662241.2962 | 1220634.4815
6 | 2661422.0436 | 1220839.4449 | 2661412.8239 | 1220845.4981 | 2661400.0916 | 1220850.8036 | 2661354.3855 | 1220860.6834 | 2661311.9382 | 1220867.1946
7 | 2661273.1171 | 1220869.3971 | 2661280.5185 | 1220870.4627 | 2661302.8961 | 1220868.5806 | 2661309.2866 | 1220867.6013 | 2661311.9382 | 1220867.1946
8 | 2661422.0436 | 1220839.4449 | 2661421.4501 | 1220834.469 | 2661423.6166 | 1220819.7985
9 | 2661422.0436 | 1220839.4449 | 2661435.2559 | 1220838.3582 | 2661442.5365 | 1220839.3356
10 | 2661273.1171 | 1220869.3971 | 2661258.7871 | 1220860.4108 | 2661247.2304 | 1220853.9657 | 2661247.2304 | 1220853.9657
11 | 2661429.3946 | 1220780.6728 | 2661423.6166 | 1220819.7985
12 | 2661495.5428 | 1220846.3572 | 2661487.6538 | 1220845.392 | 2661442.5365 | 1220839.3356
13 | 2661247.2304 | 1220853.9657 | 2661227.4452 | 1220847.6465
14 | 2661509.814 | 1220910.8396 | 2661495.5428 | 1220846.3572
15 | 2661679.9292 | 1220397.5762 | 2661668.3783 | 1220394.9328 | 2661664.7793 | 1220392.9832 | 2661661.9839 | 1220390.3638 | 2661660.1999 | 1220387.5213 | 2661659.3355 | 1220383.7989 | 2661659.3834 | 1220379.1743 | 2661660.0002 | 1220374.5667 | 2661666.2922 | 1220353.1002
16 | 2661701.097 | 1220314.1987 | 2661686.4002 | 1220311.9785 | 2661682.884 | 1220312.2867 | 2661680.0479 | 1220313.5915 | 2661677.9573 | 1220315.4488 | 2661676.3506 | 1220318.2006 | 2661667.307 | 1220349.6378 | 2661666.2922 | 1220353.1002
17 | 2661666.2922 | 1220353.1002 | 2661370.4583 | 1220296.362
18 | 2661679.9292 | 1220397.5762 | 2661676.3013 | 1220411.9491
19 | 2661679.9292 | 1220397.5762 | 2661707.2401 | 1220403.7962 | 2661721.0394 | 1220406.93
20 | 2661701.097 | 1220314.1987 | 2661712.4078 | 1220316.6062 | 2661732.6828 | 1220323.1989
21 | 2661698.5888 | 1220326.3359 | 2661701.097 | 1220314.1987
22 | 2661733.2341 | 1220409.6914 | 2661721.0394 | 1220406.93
23 | 2661721.0394 | 1220406.93 | 2661716.2415 | 1220427.4889
24 | 2661734.1637 | 1220323.6804 | 2661732.6828 | 1220323.1989
25 | 2661705.9131 | 1220327.568 | 2661698.5888 | 1220326.3359
26 | 2661759.8144 | 1220328.3158 | 2661756.7791 | 1220328.351 | 2661753.1475 | 1220328.0799 | 2661746.6355 | 1220326.8005 | 2661734.1637 | 1220323.6804
27 | 2661759.8144 | 1220328.3158 | 2661761.6288 | 1220297.7577
28 | 2661939.6541 | 1220591.03 | 2661716.2415 | 1220427.4889
29 | 2661858.0279 | 1220773.7695 | 2661861.5736 | 1220774.9737
30 | 2661792.8671 | 1220770.5247 | 2661802.0135 | 1220778.1688 | 2661809.7151 | 1220783.9301 | 2661825.911 | 1220761.484 | 2661833.7803 | 1220767.1692 | 2661839.4624 | 1220769.4074 | 2661854.3611 | 1220772.5306 | 2661858.0279 | 1220773.7695
31 | 2661858.0279 | 1220773.7695 | 2661856.4586 | 1220780.9577 | 2661856.5642 | 1220784.6611 | 2661857.2869 | 1220786.0418
32 | 2661856.2348 | 1220715.581 | 2661827.2966 | 1220759.5638 | 2661825.911 | 1220761.484 | 2661833.7803 | 1220767.1692 | 2661839.4624 | 1220769.4074 | 2661854.3611 | 1220772.5306 | 2661858.0279 | 1220773.7695
33 | 2661856.2348 | 1220715.581 | 2661884.0788 | 1220673.2658 | 2661930.7815 | 1220602.8068 | 2661939.6541 | 1220591.03
34 | 2661939.6541 | 1220591.03 | 2661952.0483 | 1220574.5787
35 | 2661509.814 | 1220910.8396 | 2661515.3545 | 1220911.3237
36 | 2661683.174 | 1220929.5991 | 2661679.5571 | 1220926.4708 | 2661660.065 | 1220921.5215 | 2661626.6819 | 1220914.3383 | 2661608.9227 | 1220912.7425 | 2661539.5424 | 1220913.4371 | 2661515.3545 | 1220911.3237
37 | 2661792.8671 | 1220770.5247 | 2661794.5418 | 1220767.0621 | 2661796.6872 | 1220754.6673
38 | 2661796.6875 | 1220754.6656 | 2661796.6872 | 1220754.6673
39 | 2661792.8671 | 1220770.5247 | 2661792.363 | 1220771.5868 | 2661787.1929 | 1220777.0255 | 2661780.6464 | 1220782.0496 | 2661777.9771 | 1220785.5797 | 2661777.184 | 1220790.3634
40 | 2662225.0333 | 1220576.4842 | 2662218.4111 | 1220586.7375 | 2662205.3472 | 1220590.2589 | 2662192.764 | 1220600.6339
41 | 2662245.0346 | 1220573.6629 | 2662225.4367 | 1220575.8596 | 2662225.0333 | 1220576.4842
42 | 2661987.7112 | 1220531.4363 | 2662192.764 | 1220600.6339
43 | 2662245.0346 | 1220573.6629 | 2662242.5573 | 1220627.7488 | 2662242.1131 | 1220630.1202
44 | 2661978.2683 | 1220541.9878 | 2661987.7112 | 1220531.4363
45 | 2662242.1131 | 1220630.1202 | 2662241.2962 | 1220634.4815
46 | 2661777.184 | 1220790.3634 | 2661777.184 | 1220790.3634 | 2661777.3864 | 1220799.3712 | 2661778.5796 | 1220803.8152
47 | 2661789.8632 | 1220811.4192 | 2661783.8413 | 1220809.033 | 2661780.9315 | 1220807.224 | 2661778.7305 | 1220804.3771 | 2661778.5796 | 1220803.8152
48 | 2661766.9537 | 1220839.6772 | 2661778.8865 | 1220826.6372 | 2661789.8632 | 1220811.4192
49 | 2662087.626 | 1220935.2615 | 2662106.9549 | 1220936.7057 | 2662113.0975 | 1220933.7244
50 | 2662087.626 | 1220935.2615 | 2662080.7036 | 1220934.7443
51 | 2662068.3913 | 1220933.8243 | 2662080.7036 | 1220934.7443
52 | 2661975.5146 | 1220545.0649 | 2661967.7329 | 1220553.7602 | 2661965.3487 | 1220556.9248
53 | 2661975.5146 | 1220545.0649 | 2661978.2683 | 1220541.9878
54 | 2661965.3487 | 1220556.9248 | 2661952.0483 | 1220574.5787
55 | 2661856.2348 | 1220715.581 | 2661889.9825 | 1220738.8683 | 2661898.5957 | 1220744.3577
56 | 2661766.9537 | 1220839.6772 | 2661716.6224 | 1220894.6012 | 2661683.174 | 1220929.5991
57 | 2661668.2999 | 1220945.1581 | 2661653.1012 | 1220961.0568
58 | 2661683.174 | 1220929.5991 | 2661668.2999 | 1220945.1581

## bus_geodata
| x | y | coords
0 | 2662376.7875 | 1220874.1073
1 | 2662444.8378 | 1221021.1315
2 | 2662198.6147 | 1220910.1118
3 | 2662159.0077 | 1220933.7689
4 | 2662208.2472 | 1220750.601
5 | 2661311.9382 | 1220867.1946
6 | 2661422.0436 | 1220839.4449
7 | 2661273.1171 | 1220869.3971
8 | 2661423.6166 | 1220819.7985
9 | 2661442.5365 | 1220839.3356
10 | 2661247.2304 | 1220853.9657
11 | 2661429.3946 | 1220780.6728
12 | 2661495.5428 | 1220846.3572
13 | 2661227.4452 | 1220847.6465
14 | 2661666.2922 | 1220353.1002
15 | 2661679.9292 | 1220397.5762
16 | 2661701.097 | 1220314.1987
17 | 2661370.4583 | 1220296.362
18 | 2661676.3013 | 1220411.9491
19 | 2661721.0394 | 1220406.93
20 | 2661732.6828 | 1220323.1989
21 | 2661698.5888 | 1220326.3359
22 | 2661734.1637 | 1220323.6804
23 | 2661759.8144 | 1220328.3158
24 | 2661733.2341 | 1220409.6914
25 | 2661716.2415 | 1220427.4889
26 | 2661705.9131 | 1220327.568
27 | 2661861.5736 | 1220774.9737
28 | 2661858.0279 | 1220773.7695
29 | 2661761.6288 | 1220297.7577
30 | 2661939.6541 | 1220591.0299
31 | 2661509.814 | 1220910.8396
32 | 2661515.3545 | 1220911.3237
33 | 2661796.6872 | 1220754.6673
34 | 2661792.8671 | 1220770.5247
35 | 2661796.6875 | 1220754.6656
36 | 2662225.0333 | 1220576.4842
37 | 2662192.764 | 1220600.6339
38 | 2662245.0346 | 1220573.6629
39 | 2661987.7112 | 1220531.4363
40 | 2662242.1131 | 1220630.1202
41 | 2662241.2962 | 1220634.4815
42 | 2661777.184 | 1220790.3634
43 | 2661778.5796 | 1220803.8152
44 | 2661789.8632 | 1220811.4192
45 | 2661857.2869 | 1220786.0418
46 | 2662087.626 | 1220935.2615
47 | 2662113.0975 | 1220933.7244
48 | 2662080.7036 | 1220934.7443
49 | 2662068.3913 | 1220933.8243
50 | 2661975.5146 | 1220545.0649
51 | 2661965.3487 | 1220556.9248
52 | 2661978.2683 | 1220541.9878
53 | 2661952.0483 | 1220574.5787
54 | 2661856.2348 | 1220715.581
55 | 2661898.5957 | 1220744.3577
56 | 2661766.9537 | 1220839.6772
57 | 2661668.2999 | 1220945.1581
58 | 2661653.1012 | 1220961.0568
59 | 2661683.174 | 1220929.5991
60 | 2661856.2348 | 1220715.581

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99264 | -0.14222 | 0 | 0
1 | 0.99259 | -0.14303 | 0.00027611 | 6.9199e-05
2 | 0.99268 | -0.1413 | 0.0016768 | 0.00042025
3 | 0.99248 | -0.14524 | 0 | 0
4 | 0.9936 | -0.12349 | 0 | 0
5 | 0.99333 | -0.12891 | 0.0010888 | 0.00027287
6 | 0.99348 | -0.12591 | 0 | 0
7 | 0.99331 | -0.12918 | 0 | 0
8 | 0.99344 | -0.12662 | 0.0011874 | 0.0002976
9 | 0.99355 | -0.12464 | 0.00026596 | 6.6655e-05
10 | 0.9933 | -0.12939 | 0.00025076 | 6.2846e-05
11 | 0.99341 | -0.12719 | 0.0008241 | 0.00020654
12 | 0.99373 | -0.12108 | 0.00014336 | 3.5928e-05
13 | 0.9933 | -0.12944 | 0.00013984 | 3.5047e-05
14 | 0.97747 | -0.43311 | 0.017774 | 0.0044547
15 | 0.97985 | -0.38632 | 0 | 0
16 | 0.97616 | -0.45889 | 0 | 0
17 | 0.97636 | -0.45497 | 0.0039686 | 0.00099463
18 | 0.97978 | -0.38778 | 0.0054126 | 0.0013565
19 | 0.98178 | -0.34867 | 0 | 0
20 | 0.97573 | -0.46728 | 0.0095805 | 0.0024011
21 | 0.97606 | -0.46075 | 0 | 0
22 | 0.97572 | -0.4674 | 0 | 0
23 | 0.97562 | -0.46948 | 0 | 0
24 | 0.98172 | -0.3498 | 0.0050033 | 0.0012539
25 | 0.98285 | -0.32797 | 0.012498 | 0.0031324
26 | 0.97601 | -0.46186 | 0.008184 | 0.0020511
27 | 0.99611 | -0.074936 | 0.0023353 | 0.00058528
28 | 0.99612 | -0.074783 | 0 | 0
29 | 0.97549 | -0.47192 | 0.0043502 | 0.0010903
30 | 1 | 0 | -0.14561 | -0.03667
31 | 0.99396 | -0.11652 | 0.00027227 | 6.8238e-05
32 | 0.99399 | -0.11611 | 7.4436e-05 | 1.8655e-05
33 | 0.99558 | -0.085146 | 8.6477e-05 | 2.1673e-05
34 | 0.9956 | -0.08483 | 0 | 0
35 | 0.99558 | -0.085146 | 0.0010059 | 0.00025211
36 | 0.99479 | -0.10032 | 0.00035534 | 8.9056e-05
37 | 0.99507 | -0.09505 | 0.00065996 | 0.0001654
38 | 0.99467 | -0.10276 | 0 | 0
39 | 0.9966 | -0.065431 | 0.038509 | 0.0096513
40 | 0.99432 | -0.10951 | 0.00015664 | 3.9258e-05
41 | 0.99429 | -0.11002 | 0.00029244 | 7.3292e-05
42 | 0.99546 | -0.087458 | 0.0002363 | 5.9223e-05
43 | 0.99539 | -0.088766 | 0.0006975 | 0.00017481
44 | 0.99533 | -0.089947 | 0 | 0
45 | 0.99611 | -0.074922 | 0.00062825 | 0.00015745
46 | 0.9922 | -0.15054 | 0.0020976 | 0.0005257
47 | 0.99229 | -0.14881 | 0.00060951 | 0.00015276
48 | 0.99219 | -0.15074 | 0.0010028 | 0.00025133
49 | 0.99219 | -0.15088 | 0.0006266 | 0.00015704
50 | 0.99737 | -0.050534 | 7.0528e-05 | 1.7676e-05
51 | 0.99804 | -0.037658 | 0.001128 | 0.0002827
52 | 0.99719 | -0.053933 | 0.00067213 | 0.00016845
53 | 0.99901 | -0.019045 | 0.0048239 | 0.001209
54 | 0.99691 | -0.059374 | 0 | 0
55 | 0.99631 | -0.070953 | 0.012882 | 0.0032286
56 | 0.99518 | -0.092999 | 0 | 0
57 | 0.99464 | -0.10348 | 9.0235e-05 | 2.2615e-05
58 | 0.99463 | -0.10364 | 0.00040255 | 0.00010089
59 | 0.99465 | -0.10329 | 0 | 0
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00027612 | 6.7068e-05 | -0.00027611 | -6.9199e-05 | 1.0609e-08 | -2.1314e-06 | 0.00041317 | 0.00041392 | 0.00041392 | 0.99264 | -0.14222 | 0.99259 | -0.14303 | 0.11371
1 | -0.00027612 | -6.7068e-05 | 0.00027613 | 6.4725e-05 | 1.1614e-08 | -2.3424e-06 | 0.00041317 | 0.00041238 | 0.00041317 | 0.99264 | -0.14222 | 0.99268 | -0.1413 | 0.11351
2 | 0.0043384 | 0.0010862 | -0.0043376 | -0.0010863 | 8.1269e-07 | -1.4228e-07 | 0.0065028 | 0.006503 | 0.006503 | 0.99268 | -0.1413 | 0.99248 | -0.14524 | 1.7865
3 | -0.0062913 | -0.0015712 | 0.0062966 | 0.0015725 | 5.3269e-06 | 1.3414e-06 | 0.0094286 | 0.0094279 | 0.0094286 | 0.99268 | -0.1413 | 0.9936 | -0.12349 | 2.5903
4 | 0.0043376 | 0.0010863 | -0.0043368 | -0.0010865 | 7.388e-07 | -1.2907e-07 | 0.006503 | 0.0065032 | 0.0065032 | 0.99248 | -0.14524 | 0.99229 | -0.14881 | 1.7866
5 | -0.0062966 | -0.0015725 | 0.0063007 | 0.0015735 | 4.0299e-06 | 1.012e-06 | 0.0094279 | 0.0094273 | 0.0094279 | 0.9936 | -0.12349 | 0.99429 | -0.11002 | 2.5901
6 | -0.0014794 | -0.00036961 | 0.0014796 | 0.00036826 | 2.108e-07 | -1.3479e-06 | 0.0022157 | 0.0022152 | 0.0022157 | 0.99333 | -0.12891 | 0.99348 | -0.12591 | 0.60871
7 | 0.0003906 | 9.6733e-05 | -0.0003906 | -9.7236e-05 | 5.0123e-09 | -5.0269e-07 | 0.00058472 | 0.0005849 | 0.0005849 | 0.99333 | -0.12891 | 0.99331 | -0.12918 | 0.16069
8 | 0.0020116 | 0.00050343 | -0.0020116 | -0.00050364 | 6.7534e-08 | -2.1368e-07 | 0.0030127 | 0.0030128 | 0.0030128 | 0.99348 | -0.12591 | 0.99344 | -0.12662 | 0.8277
9 | -0.0034912 | -0.00087169 | 0.0034914 | 0.00087156 | 2.1116e-07 | -1.3166e-07 | 0.0052279 | 0.0052278 | 0.0052279 | 0.99348 | -0.12591 | 0.99355 | -0.12464 | 1.4362
10 | 0.0003906 | 9.7236e-05 | -0.0003906 | -9.7624e-05 | 3.8685e-09 | -3.8775e-07 | 0.0005849 | 0.00058504 | 0.00058504 | 0.99331 | -0.12918 | 0.9933 | -0.12939 | 0.16072
11 | 0.00082412 | 0.00020604 | -0.0008241 | -0.00020654 | 2.2596e-08 | -4.9761e-07 | 0.0012342 | 0.0012344 | 0.0012344 | 0.99344 | -0.12662 | 0.99341 | -0.12719 | 0.33912
12 | -0.0037574 | -0.00093821 | 0.003758 | 0.00093792 | 6.3466e-07 | -2.864e-07 | 0.0056261 | 0.0056259 | 0.0056261 | 0.99355 | -0.12464 | 0.99373 | -0.12108 | 1.5456
13 | 0.00013984 | 3.4778e-05 | -0.00013984 | -3.5047e-05 | 3.4165e-10 | -2.6863e-07 | 0.00020939 | 0.00020948 | 0.00020948 | 0.9933 | -0.12939 | 0.9933 | -0.12944 | 0.057551
14 | -0.0039014 | -0.00097385 | 0.0039022 | 0.00097354 | 8.4478e-07 | -3.1515e-07 | 0.0058406 | 0.0058403 | 0.0058406 | 0.99373 | -0.12108 | 0.99396 | -0.11652 | 1.6046
15 | -0.043897 | -0.011011 | 0.043995 | 0.011073 | 9.813e-05 | 6.2067e-05 | 0.066828 | 0.066828 | 0.066828 | 0.97747 | -0.43311 | 0.97985 | -0.38632 | 18.3594
16 | 0.02215 | 0.0055626 | -0.022122 | -0.005546 | 2.7216e-05 | 1.662e-05 | 0.033723 | 0.033723 | 0.033723 | 0.97747 | -0.43311 | 0.97616 | -0.45889 | 9.2646
17 | 0.0039727 | 0.0009935 | -0.0039686 | -0.00099463 | 4.1314e-06 | -1.1274e-06 | 0.006047 | 0.0060484 | 0.0060484 | 0.97747 | -0.43311 | 0.97636 | -0.45497 | 1.6616
18 | 0.005413 | 0.0013566 | -0.0054126 | -0.0013565 | 3.7563e-07 | 5.3699e-08 | 0.0082203 | 0.0082203 | 0.0082203 | 0.97985 | -0.38632 | 0.97978 | -0.38778 | 2.2583
19 | -0.049408 | -0.012429 | 0.049497 | 0.012486 | 8.9047e-05 | 5.6458e-05 | 0.075048 | 0.075048 | 0.075048 | 0.97985 | -0.38632 | 0.98178 | -0.34867 | 20.6176
20 | 0.013937 | 0.0034944 | -0.013932 | -0.0034913 | 5.5664e-06 | 3.1516e-06 | 0.021246 | 0.021246 | 0.021246 | 0.97616 | -0.45889 | 0.97573 | -0.46728 | 5.8368
21 | 0.0081851 | 0.0020516 | -0.0081844 | -0.0020513 | 7.2356e-07 | 3.0816e-07 | 0.012477 | 0.012477 | 0.012477 | 0.97616 | -0.45889 | 0.97606 | -0.46075 | 3.4278
22 | 0.0050036 | 0.001254 | -0.0050033 | -0.0012539 | 2.6891e-07 | 1.4434e-08 | 0.0075835 | 0.0075836 | 0.0075836 | 0.98178 | -0.34867 | 0.98172 | -0.3498 | 2.0834
23 | -0.0545 | -0.01374 | 0.054555 | 0.013774 | 5.4055e-05 | 3.4328e-05 | 0.082631 | 0.082631 | 0.082631 | 0.98178 | -0.34867 | 0.98285 | -0.32797 | 22.7009
24 | 0.0043512 | 0.0010902 | -0.0043512 | -0.0010902 | 2.5711e-08 | -2.9939e-09 | 0.0066356 | 0.0066356 | 0.0066356 | 0.97573 | -0.46728 | 0.97572 | -0.4674 | 1.823
25 | 0.0081844 | 0.0020513 | -0.008184 | -0.0020511 | 4.3237e-07 | 1.8415e-07 | 0.012477 | 0.012477 | 0.012477 | 0.97606 | -0.46075 | 0.97601 | -0.46186 | 3.4278
26 | 0.0043512 | 0.0010902 | -0.0043508 | -0.0010902 | 4.3091e-07 | -5.0134e-08 | 0.0066356 | 0.0066357 | 0.0066357 | 0.97572 | -0.4674 | 0.97562 | -0.46948 | 1.823
27 | 0.0043508 | 0.0010902 | -0.0043502 | -0.0010903 | 5.0548e-07 | -5.8705e-08 | 0.0066357 | 0.0066359 | 0.0066359 | 0.97562 | -0.46948 | 0.97549 | -0.47192 | 1.823
28 | -0.067053 | -0.016907 | 0.068124 | 0.017588 | 0.0010708 | 0.00068173 | 0.10155 | 0.10155 | 0.10155 | 0.98285 | -0.32797 | 1 | 0 | 27.8994
29 | -0.0023353 | -0.00058528 | 0.0023353 | 0.00058524 | 1.7045e-08 | -3.7711e-08 | 0.0034885 | 0.0034885 | 0.0034885 | 0.99611 | -0.074936 | 0.99612 | -0.074783 | 0.95838
30 | 0.0067782 | 0.0016914 | -0.0067749 | -0.0016904 | 3.2327e-06 | 9.7442e-07 | 0.010123 | 0.010123 | 0.010123 | 0.99612 | -0.074783 | 0.9956 | -0.08483 | 2.7811
31 | 0.00062825 | 0.00015729 | -0.00062825 | -0.00015745 | 4.1683e-09 | -1.6162e-07 | 0.00093844 | 0.0009385 | 0.0009385 | 0.99612 | -0.074783 | 0.99611 | -0.074922 | 0.25783
32 | -0.0097417 | -0.0024339 | 0.0097489 | 0.0024373 | 7.1385e-06 | 3.3971e-06 | 0.01455 | 0.014549 | 0.01455 | 0.99612 | -0.074783 | 0.99691 | -0.059374 | 3.9972
33 | 0.022702 | 0.0057089 | -0.022638 | -0.0056698 | 6.419e-05 | 3.912e-05 | 0.033788 | 0.033789 | 0.033789 | 1 | 0 | 0.99691 | -0.059374 | 9.2827
34 | 0.053138 | 0.013372 | -0.053089 | -0.013342 | 4.8315e-05 | 3.0652e-05 | 0.079089 | 0.079089 | 0.079089 | 1 | 0 | 0.99901 | -0.019045 | 21.7278
35 | -0.0041745 | -0.0010418 | 0.0041746 | 0.0010418 | 8.1413e-08 | -1.9983e-08 | 0.0062479 | 0.0062478 | 0.0062479 | 0.99396 | -0.11652 | 0.99399 | -0.11611 | 1.7164
36 | -0.004249 | -0.0010604 | 0.0042516 | 0.0010599 | 2.5859e-06 | -5.5698e-07 | 0.0063593 | 0.0063585 | 0.0063593 | 0.99399 | -0.11611 | 0.99465 | -0.10329 | 1.7471
37 | -0.0010924 | -0.00027378 | 0.0010924 | 0.00027358 | 1.6419e-08 | -2.0308e-07 | 0.0016327 | 0.0016327 | 0.0016327 | 0.99558 | -0.085146 | 0.9956 | -0.08483 | 0.44855
38 | 0.0010059 | 0.00025211 | -0.0010059 | -0.00025211 | 1.46e-12 | 9.3438e-13 | 0.0015035 | 0.0015035 | 0.0015035 | 0.99558 | -0.085146 | 0.99558 | -0.085146 | 0.41304
39 | 0.0056825 | 0.0014168 | -0.0056818 | -0.0014167 | 7.0845e-07 | 1.1267e-07 | 0.0084905 | 0.0084906 | 0.0084906 | 0.9956 | -0.08483 | 0.99546 | -0.087458 | 2.3326
40 | -0.0071082 | -0.001776 | 0.00711 | 0.0017766 | 1.7818e-06 | 5.9431e-07 | 0.010631 | 0.01063 | 0.010631 | 0.99479 | -0.10032 | 0.99507 | -0.09505 | 2.9205
41 | 0.0067529 | 0.001687 | -0.0067521 | -0.0016868 | 7.8269e-07 | 2.3527e-07 | 0.010099 | 0.010099 | 0.010099 | 0.99479 | -0.10032 | 0.99467 | -0.10276 | 2.7745
42 | -0.0077699 | -0.001942 | 0.0077809 | 0.0019462 | 1.0952e-05 | 4.1936e-06 | 0.011617 | 0.011616 | 0.011617 | 0.99507 | -0.09505 | 0.9966 | -0.065431 | 3.1916
43 | 0.0067521 | 0.0016868 | -0.0067499 | -0.0016861 | 2.1631e-06 | 6.5059e-07 | 0.010099 | 0.010099 | 0.010099 | 0.99467 | -0.10276 | 0.99432 | -0.10951 | 2.7746
44 | -0.04629 | -0.011598 | 0.046316 | 0.011614 | 2.5365e-05 | 1.6049e-05 | 0.069114 | 0.069114 | 0.069114 | 0.9966 | -0.065431 | 0.99719 | -0.053933 | 18.9875
45 | 0.0065933 | 0.0016468 | -0.0065931 | -0.0016468 | 1.6193e-07 | 4.6085e-08 | 0.009865 | 0.009865 | 0.009865 | 0.99432 | -0.10951 | 0.99429 | -0.11002 | 2.7102
46 | 0.0054455 | 0.0013575 | -0.0054452 | -0.0013574 | 3.3799e-07 | 3.9372e-08 | 0.0081374 | 0.0081374 | 0.0081374 | 0.99546 | -0.087458 | 0.99539 | -0.088766 | 2.2356
47 | 0.0047477 | 0.0011826 | -0.0047474 | -0.0011827 | 2.6585e-07 | -1.292e-08 | 0.0070947 | 0.0070948 | 0.0070948 | 0.99539 | -0.088766 | 0.99533 | -0.089947 | 1.9491
48 | 0.0047474 | 0.0011827 | -0.0047467 | -0.0011827 | 6.8716e-07 | -3.3276e-08 | 0.0070948 | 0.007095 | 0.007095 | 0.99533 | -0.089947 | 0.99518 | -0.092999 | 1.9492
49 | -0.003727 | -0.00093384 | 0.0037273 | 0.00093369 | 3.0706e-07 | -1.4204e-07 | 0.0055893 | 0.0055892 | 0.0055893 | 0.9922 | -0.15054 | 0.99229 | -0.14881 | 1.5355
50 | 0.0016294 | 0.00040813 | -0.0016294 | -0.00040821 | 1.5544e-08 | -7.9707e-08 | 0.0024436 | 0.0024436 | 0.0024436 | 0.9922 | -0.15054 | 0.99219 | -0.15074 | 0.67132
51 | 0.0006266 | 0.00015688 | -0.0006266 | -0.00015704 | 4.0884e-09 | -1.5684e-07 | 0.00093967 | 0.00093973 | 0.00093973 | 0.99219 | -0.15074 | 0.99219 | -0.15088 | 0.25817
52 | -0.047066 | -0.011805 | 0.047095 | 0.011823 | 2.8905e-05 | 1.8295e-05 | 0.070222 | 0.070222 | 0.070222 | 0.99737 | -0.050534 | 0.99804 | -0.037658 | 19.2919
53 | 0.046995 | 0.011787 | -0.046988 | -0.011782 | 7.6131e-06 | 4.8185e-06 | 0.070117 | 0.070117 | 0.070117 | 0.99737 | -0.050534 | 0.99719 | -0.053933 | 19.263
54 | -0.048223 | -0.012106 | 0.048266 | 0.012133 | 4.2855e-05 | 2.7138e-05 | 0.071904 | 0.071904 | 0.071904 | 0.99804 | -0.037658 | 0.99901 | -0.019045 | 19.7539
55 | 0.012889 | 0.0032325 | -0.012882 | -0.0032286 | 7.1095e-06 | 3.8827e-06 | 0.01924 | 0.01924 | 0.01924 | 0.99691 | -0.059374 | 0.99631 | -0.070953 | 5.2857
56 | 0.0047467 | 0.0011827 | -0.0047444 | -0.0011828 | 2.3175e-06 | -1.1096e-07 | 0.007095 | 0.0070955 | 0.0070955 | 0.99518 | -0.092999 | 0.99465 | -0.10329 | 1.9493
57 | 0.00040255 | 0.0001006 | -0.00040255 | -0.00010089 | 2.991e-09 | -2.8355e-07 | 0.00060214 | 0.00060224 | 0.00060224 | 0.99464 | -0.10348 | 0.99463 | -0.10364 | 0.16545
58 | -0.00049279 | -0.00012322 | 0.00049279 | 0.00012294 | 4.3853e-09 | -2.7657e-07 | 0.00073713 | 0.00073703 | 0.00073713 | 0.99464 | -0.10348 | 0.99465 | -0.10329 | 0.20251

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.15297 | 0.038514

## res_load
| p_mw | q_mvar
0 | 0.00027611 | 6.9199e-05
1 | 0.0016768 | 0.00042025
2 | 0.0010888 | 0.00027287
3 | 0.0011874 | 0.0002976
4 | 0.00026596 | 6.6655e-05
5 | 0.00025076 | 6.2846e-05
6 | 0.0008241 | 0.00020654
7 | 0.00014336 | 3.5928e-05
8 | 0.00013984 | 3.5047e-05
9 | 0.017774 | 0.0044547
10 | 0.0039686 | 0.00099463
11 | 0.0054126 | 0.0013565
12 | 0.0095805 | 0.0024011
13 | 0.0050033 | 0.0012539
14 | 0.012498 | 0.0031324
15 | 0.008184 | 0.0020511
16 | 0.0023353 | 0.00058528
17 | 0.0043502 | 0.0010903
18 | 0.0073605 | 0.0018447
19 | 0.00027227 | 6.8238e-05
20 | 7.4436e-05 | 1.8655e-05
21 | 8.6477e-05 | 2.1673e-05
22 | 0.0010059 | 0.00025211
23 | 0.00035534 | 8.9056e-05
24 | 0.00065996 | 0.0001654
25 | 0.038509 | 0.0096513
26 | 0.00015664 | 3.9258e-05
27 | 0.00029244 | 7.3292e-05
28 | 0.0002363 | 5.9223e-05
29 | 0.0006975 | 0.00017481
30 | 0.00062825 | 0.00015745
31 | 0.0020976 | 0.0005257
32 | 0.00060951 | 0.00015276
33 | 0.0010028 | 0.00025133
34 | 0.0006266 | 0.00015704
35 | 7.0528e-05 | 1.7676e-05
36 | 0.001128 | 0.0002827
37 | 0.00067213 | 0.00016845
38 | 0.0048239 | 0.001209
39 | 0.012882 | 0.0032286
40 | 9.0235e-05 | 2.2615e-05
41 | 0.00040255 | 0.00010089

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1