## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1093-1_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1093-1_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1093-1_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1093-1_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1093-1_0_7_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_1093-1_0_7_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_1093-1_0_7_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1093-1_0_7_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1093-1_0_7_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_1093-1_0_7_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1093-1_0_7_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1093-1_0_7_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_1093-1_0_7_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1093-1_0_7_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1093-1_0_7_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1093-1_0_7_node_190 | 0.4 | n |  | TRUE
16 | bus_LV_1093-1_0_7_node_75 | 0.4 | n |  | TRUE
17 | bus_LV_1093-1_0_7_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1093-1_0_7_node_163 | 0.4 | n |  | TRUE
19 | bus_LV_1093-1_0_7_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_1093-1_0_7_node_187 | 0.4 | n |  | TRUE
21 | bus_LV_1093-1_0_7_node_185 | 0.4 | n |  | TRUE
22 | bus_LV_1093-1_0_7_node_184 | 0.4 | n |  | TRUE
23 | bus_LV_1093-1_0_7_node_186 | 0.4 | n |  | TRUE
24 | bus_LV_1093-1_0_7_node_174 | 0.4 | n |  | TRUE
25 | bus_LV_1093-1_0_7_node_175 | 0.4 | n |  | TRUE
26 | bus_LV_1093-1_0_7_node_176 | 0.4 | n |  | TRUE
27 | bus_LV_1093-1_0_7_node_177 | 0.4 | n |  | TRUE
28 | bus_LV_1093-1_0_7_node_178 | 0.4 | n |  | TRUE
29 | bus_LV_1093-1_0_7_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_1093-1_0_7_node_180 | 0.4 | n |  | TRUE
31 | bus_LV_1093-1_0_7_node_179 | 0.4 | n |  | TRUE
32 | bus_LV_1093-1_0_7_node_72 | 0.4 | n |  | TRUE
33 | bus_LV_1093-1_0_7_node_181 | 0.4 | n |  | TRUE
34 | bus_LV_1093-1_0_7_node_182 | 0.4 | n |  | TRUE
35 | bus_LV_1093-1_0_7_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_1093-1_0_7_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_1093-1_0_7_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_1093-1_0_7_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_1093-1_0_7_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_1093-1_0_7_node_66 | 0.4 | n |  | TRUE
41 | bus_LV_1093-1_0_7_node_191 | 0.4 | n |  | TRUE
42 | bus_LV_1093-1_0_7_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_1093-1_0_7_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_1093-1_0_7_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_1093-1_0_7_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_1093-1_0_7_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_1093-1_0_7_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_1093-1_0_7_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_1093-1_0_7_node_70 | 0.4 | n |  | TRUE
50 | bus_LV_1093-1_0_7_node_71 | 0.4 | n |  | TRUE
51 | bus_LV_1093-1_0_7_node_73 | 0.4 | n |  | TRUE
52 | bus_LV_1093-1_0_7_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_1093-1_0_7_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_1093-1_0_7_node_79 | 0.4 | n |  | TRUE
55 | bus_LV_1093-1_0_7_node_81 | 0.4 | n |  | TRUE
56 | bus_LV_1093-1_0_7_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_1093-1_0_7_node_83 | 0.4 | n |  | TRUE
58 | bus_LV_1093-1_0_7_node_86 | 0.4 | n |  | TRUE
59 | bus_LV_1093-1_0_7_node_87 | 0.4 | n |  | TRUE
60 | bus_LV_1093-1_0_7_node_93 | 0.4 | n |  | TRUE
61 | bus_LV_1093-1_0_7_node_92 | 0.4 | n |  | TRUE
62 | bus_LV_1093-1_0_7_node_85 | 0.4 | n |  | TRUE
63 | bus_LV_1093-1_0_7_node_88 | 0.4 | n |  | TRUE
64 | bus_LV_1093-1_0_7_node_89 | 0.4 | n |  | TRUE
65 | bus_LV_1093-1_0_7_node_90 | 0.4 | n |  | TRUE
66 | bus_LV_1093-1_0_7_node_91 | 0.4 | n |  | TRUE
67 | bus_MV_3_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1093-1_0_7_load_0 | 0 | 0.014683 | 0.0036799 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1093-1_0_7_load_3 | 3 | 0.0013253 | 0.00033216 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1093-1_0_7_load_15 | 8 | 0.020431 | 0.0051205 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1093-1_0_7_load_49 | 11 | 0.0097062 | 0.0024326 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1093-1_0_7_load_12 | 12 | 0.025399 | 0.0063656 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1093-1_0_7_load_190 | 15 | 0.011741 | 0.0029425 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1093-1_0_7_load_13 | 17 | 0.018993 | 0.0047602 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1093-1_0_7_load_163 | 18 | 0.0002102 | 5.2681e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1093-1_0_7_load_187 | 20 | 0.00025537 | 6.4003e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1093-1_0_7_load_185 | 21 | 0.00042919 | 0.00010757 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1093-1_0_7_load_184 | 22 | 0.00068744 | 0.00017229 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1093-1_0_7_load_174 | 24 | 0.0004816 | 0.0001207 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1093-1_0_7_load_175 | 25 | 0.00018622 | 4.6671e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1093-1_0_7_load_177 | 27 | 0.00029321 | 7.3486e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1093-1_0_7_load_50 | 29 | 0.0054719 | 0.0013714 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1093-1_0_7_load_180 | 30 | 0.00013701 | 3.4339e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1093-1_0_7_load_179 | 31 | 0.00034576 | 8.6656e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1093-1_0_7_load_181 | 33 | 0.025089 | 0.0062878 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1093-1_0_7_load_182 | 34 | 0.0007687 | 0.00019266 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1093-1_0_7_load_59 | 36 | 0.0010793 | 0.0002705 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1093-1_0_7_load_66 | 40 | 0.00033831 | 8.4788e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1093-1_0_7_load_191 | 41 | 0.00028989 | 7.2654e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1093-1_0_7_load_77 | 43 | 0.00096087 | 0.00024082 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1093-1_0_7_load_69 | 47 | 0.0002398 | 6.0098e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1093-1_0_7_load_68 | 48 | 0.000404 | 0.00010125 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1093-1_0_7_load_70 | 49 | 0.00023484 | 5.8855e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1093-1_0_7_load_71 | 50 | 0.00072592 | 0.00018193 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1093-1_0_7_load_74 | 52 | 0.0014053 | 0.0003522 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1093-1_0_7_load_78 | 53 | 0.00061962 | 0.00015529 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1093-1_0_7_load_79 | 54 | 0.00070336 | 0.00017628 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1093-1_0_7_load_87 | 59 | 0.0031051 | 0.00077822 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1093-1_0_7_load_93 | 60 | 0.001379 | 0.0003456 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1093-1_0_7_load_92 | 61 | 0.0027361 | 0.00068573 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1093-1_0_7_load_85 | 62 | 0.0016081 | 0.00040302 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1093-1_0_7_load_89 | 64 | 0.011753 | 0.0029456 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1093-1_0_7_load_90 | 65 | 0.0027929 | 0.00069996 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1093-1_0_7_line_0 |  | 0 | 1 | 0.004777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_1093-1_0_7_line_1 |  | 0 | 2 | 0.028968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_1093-1_0_7_line_2 |  | 1 | 3 | 0.0038912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1093-1_0_7_line_3 |  | 2 | 4 | 0.039541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1093-1_0_7_line_4 |  | 3 | 5 | 0.017699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1093-1_0_7_line_5 |  | 4 | 12 | 0.0075802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1093-1_0_7_line_6 |  | 5 | 13 | 0.68108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1093-1_0_7_line_7 |  | 6 | 7 | 0.097946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1093-1_0_7_line_8 |  | 6 | 8 | 0.048195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1093-1_0_7_line_9 |  | 7 | 12 | 0.022317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1093-1_0_7_line_10 |  | 8 | 10 | 0.028044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1093-1_0_7_line_11 |  | 9 | 10 | 0.043996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1093-1_0_7_line_12 |  | 9 | 11 | 0.014038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1093-1_0_7_line_13 |  | 10 | 14 | 0.03934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1093-1_0_7_line_14 |  | 11 | 29 | 0.025614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1093-1_0_7_line_15 |  | 13 | 15 | 0.028725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1093-1_0_7_line_16 |  | 13 | 16 | 0.36178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1093-1_0_7_line_17 |  | 14 | 17 | 0.01875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1093-1_0_7_line_18 |  | 16 | 52 | 0.10397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1093-1_0_7_line_19 |  | 18 | 19 | 0.52034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1093-1_0_7_line_20 |  | 18 | 20 | 0.010695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1093-1_0_7_line_21 |  | 19 | 36 | 0.10365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1093-1_0_7_line_22 |  | 20 | 23 | 0.0015316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1093-1_0_7_line_23 |  | 21 | 22 | 0.033035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1093-1_0_7_line_24 |  | 22 | 23 | 0.024437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1093-1_0_7_line_25 |  | 24 | 25 | 0.025519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1093-1_0_7_line_26 |  | 24 | 26 | 0.039896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1093-1_0_7_line_27 |  | 25 | 27 | 0.024989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1093-1_0_7_line_28 |  | 26 | 28 | 0.009118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1093-1_0_7_line_29 |  | 28 | 30 | 0.18305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1093-1_0_7_line_30 |  | 30 | 31 | 0.015668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1093-1_0_7_line_31 |  | 31 | 32 | 0.056623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1093-1_0_7_line_32 |  | 32 | 35 | 0.004199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1093-1_0_7_line_33 |  | 32 | 45 | 0.32501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1093-1_0_7_line_34 |  | 33 | 34 | 0.050609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1093-1_0_7_line_35 |  | 34 | 35 | 0.12589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1093-1_0_7_line_36 |  | 36 | 37 | 0.0805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1093-1_0_7_line_37 |  | 37 | 38 | 0.034495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1093-1_0_7_line_38 |  | 38 | 41 | 0.019483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1093-1_0_7_line_39 |  | 38 | 39 | 0.15597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1093-1_0_7_line_40 |  | 39 | 40 | 0.023166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1093-1_0_7_line_41 |  | 40 | 46 | 0.014153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1093-1_0_7_line_42 |  | 42 | 43 | 0.23778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1093-1_0_7_line_43 |  | 42 | 44 | 0.22966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1093-1_0_7_line_44 |  | 43 | 51 | 0.0071796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_1093-1_0_7_line_45 |  | 44 | 55 | 0.12976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_1093-1_0_7_line_46 |  | 45 | 46 | 0.11472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1093-1_0_7_line_47 |  | 45 | 47 | 0.11169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1093-1_0_7_line_48 |  | 46 | 48 | 0.044012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1093-1_0_7_line_49 |  | 47 | 49 | 0.039055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1093-1_0_7_line_50 |  | 49 | 50 | 0.049145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1093-1_0_7_line_51 |  | 50 | 51 | 0.03854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1093-1_0_7_line_52 |  | 51 | 52 | 0.0161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_1093-1_0_7_line_53 |  | 53 | 54 | 0.011298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1093-1_0_7_line_54 |  | 54 | 55 | 0.01028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1093-1_0_7_line_55 |  | 55 | 56 | 0.50254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1093-1_0_7_line_56 |  | 56 | 60 | 0.043867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1093-1_0_7_line_57 |  | 56 | 61 | 0.023705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1093-1_0_7_line_58 |  | 57 | 58 | 0.038114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1093-1_0_7_line_59 |  | 57 | 59 | 0.014465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1093-1_0_7_line_60 |  | 58 | 62 | 0.093214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1093-1_0_7_line_61 |  | 59 | 63 | 0.004541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1093-1_0_7_line_62 |  | 61 | 66 | 0.072604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1093-1_0_7_line_63 |  | 63 | 64 | 0.0087488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1093-1_0_7_line_64 |  | 64 | 65 | 0.030855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1093-1_0_7_line_65 |  | 65 | 66 | 0.056089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1093-1_0_7_trafo_11 | 0.63 MVA 20/0.4 kV | 67 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32
0 | 2660316.3797 | 1218384.6325 | 2660318.4045 | 1218380.3059
1 | 2660293.8411 | 1218372.2857 | 2660294.994 | 1218375.366 | 2660296.0029 | 1218376.1656 | 2660297.4091 | 1218376.7135 | 2660314.3799 | 1218375.9958 | 2660318.4045 | 1218380.3059
2 | 2660316.3797 | 1218384.6325 | 2660317.0508 | 1218388.4654
3 | 2660293.8411 | 1218372.2857 | 2660288.4674 | 1218352.786 | 2660284.098 | 1218345.0481 | 2660284.0422 | 1218343.8134 | 2660289.8902 | 1218336.7015
4 | 2660307.4639 | 1218399.3959 | 2660313.1505 | 1218398.464 | 2660316.6311 | 1218395.7864 | 2660317.7214 | 1218392.2953 | 2660317.0508 | 1218388.4654
5 | 2660289.8902 | 1218336.7015 | 2660296.441 | 1218332.8876
6 | 2659987.7657 | 1218223.3944 | 2659934.0392 | 1218262.2336 | 2659869.931 | 1218282.1128 | 2659936.3437 | 1218393.7827 | 2659954.8975 | 1218385.0861 | 2659978.1985 | 1218376.0372 | 2659990.9493 | 1218372.2965 | 2660004.7563 | 1218370.7011 | 2660018.8653 | 1218370.0205 | 2660031.9326 | 1218371.0305 | 2660044.0673 | 1218372.6982 | 2660060.3294 | 1218376.7645 | 2660101.4376 | 1218390.9543 | 2660197.3804 | 1218425.6328 | 2660205.2447 | 1218428.514 | 2660214.6733 | 1218431.3221 | 2660226.3774 | 1218434.2755 | 2660239.6544 | 1218436.2998 | 2660255.3881 | 1218437.0593 | 2660256.4839 | 1218428.5206 | 2660256.7221 | 1218425.2321 | 2660256.6391 | 1218423.6748 | 2660255.8471 | 1218420.9428 | 2660255.411 | 1218419.7822 | 2660253.7777 | 1218415.4296 | 2660256.4019 | 1218413.366 | 2660258.6331 | 1218410.3867 | 2660260.3058 | 1218407.0904 | 2660261.2125 | 1218402.9971 | 2660276.1135 | 1218404.293 | 2660279.9415 | 1218404.0315 | 2660290.7458 | 1218402.1507 | 2660307.4639 | 1218399.3959
7 | 2660233.7755 | 1218277.5865 | 2660242.41 | 1218271.8702 | 2660250.507 | 1218263.0243 | 2660262.0729 | 1218273.67 | 2660263.8393 | 1218276.1227 | 2660264.7357 | 1218285.8045 | 2660265.4781 | 1218287.4463 | 2660266.2823 | 1218288.9776 | 2660272.2377 | 1218296.7538 | 2660273.2641 | 1218298.8321 | 2660273.7852 | 1218313.3464 | 2660275.7219 | 1218315.4784 | 2660280.0371 | 1218319.569 | 2660282.8895 | 1218321.966 | 2660286.1458 | 1218324.9452
8 | 2660233.7755 | 1218277.5865 | 2660204.3591 | 1218306.6073 | 2660199.4691 | 1218311.4363
9 | 2660286.1458 | 1218324.9452 | 2660289.3048 | 1218327.79 | 2660286.6279 | 1218331.3096 | 2660287.7999 | 1218332.5 | 2660292.1206 | 1218328.5523 | 2660296.441 | 1218332.8876
10 | 2660204.8854 | 1218337.1426 | 2660204.7067 | 1218332.2934 | 2660204.6354 | 1218330.3359 | 2660203.3967 | 1218323.7304 | 2660202.6357 | 1218321.677 | 2660198.2151 | 1218315.9844 | 2660197.9408 | 1218314.5919 | 2660197.9846 | 1218313.2581 | 2660198.7089 | 1218312.187 | 2660199.4691 | 1218311.4363
11 | 2660204.8854 | 1218337.1426 | 2660196.4461 | 1218345.3292 | 2660193.4231 | 1218351.558 | 2660192.4042 | 1218355.4946 | 2660192.2696 | 1218359.051 | 2660192.7288 | 1218362.4356 | 2660193.9399 | 1218365.761 | 2660196.0064 | 1218369.3174 | 2660197.9809 | 1218371.4608 | 2660200.9335 | 1218373.7032
12 | 2660200.9335 | 1218373.7032 | 2660198.6277 | 1218375.8034 | 2660196.4615 | 1218376.86 | 2660193.1735 | 1218377.0157 | 2660188.0004 | 1218376.34
13 | 2660168.8781 | 1218346.2069 | 2660196.4461 | 1218345.3292 | 2660204.8854 | 1218337.1426
14 | 2660188.0004 | 1218376.34 | 2660187.7311 | 1218376.3048 | 2660181.5742 | 1218374.9418 | 2660163.457 | 1218369.0987
15 | 2659987.7657 | 1218223.3944 | 2659968.4355 | 1218202.0979
16 | 2659987.7657 | 1218223.3944 | 2659934.0392 | 1218262.2336 | 2659869.931 | 1218282.1128 | 2659822.4277 | 1218256.131 | 2659772.3583 | 1218221.0959 | 2659751.6072 | 1218233.9403 | 2659738.5031 | 1218236.5661 | 2659727.4493 | 1218235.3101 | 2659706.1225 | 1218228.3589 | 2659690.2455 | 1218223.6636 | 2659681.9784 | 1218222.2911 | 2659665.2046 | 1218220.7334
17 | 2660168.8781 | 1218346.2069 | 2660168.7827 | 1218343.6266 | 2660168.1741 | 1218327.4698
18 | 2659665.2046 | 1218220.7334 | 2659656.0936 | 1218217.2289 | 2659603.388 | 1218193.6982 | 2659592.3405 | 1218190.2857 | 2659582.142 | 1218189.2609 | 2659571.9621 | 1218189.4037 | 2659567.5526 | 1218188.5055
19 | 2659023.6031 | 1217890.8518 | 2659136.6837 | 1218398.7548
20 | 2659031.2506 | 1217883.4041 | 2659026.4266 | 1217887.6575 | 2659023.6031 | 1217890.8518
21 | 2659136.6837 | 1218398.7548 | 2659136.8882 | 1218408.7407 | 2659137.262 | 1218417.7278 | 2659149.5697 | 1218452.4269 | 2659164.8764 | 1218489.3127 | 2659166.0563 | 1218492.7822 | 2659170.1118 | 1218494.0454
22 | 2659032.3994 | 1217882.3911 | 2659031.2506 | 1217883.4041
23 | 2659050.7322 | 1217866.2329 | 2659070.2578 | 1217849.0233 | 2659075.9536 | 1217844.9405
24 | 2659032.3994 | 1217882.3911 | 2659050.7322 | 1217866.2329
25 | 2659389.0796 | 1218680.6773 | 2659369.5518 | 1218664.2485
26 | 2659417.6923 | 1218708.3852 | 2659401.4036 | 1218691.0455 | 2659389.0796 | 1218680.6773
27 | 2659369.5518 | 1218664.2485 | 2659350.4296 | 1218648.1609
28 | 2659425.4289 | 1218703.526 | 2659417.6923 | 1218708.3852
29 | 2659425.4289 | 1218703.526 | 2659504.773 | 1218653.7867 | 2659531.6458 | 1218634.9878 | 2659575.4821 | 1218599.167
30 | 2659575.4821 | 1218599.167 | 2659587.6146 | 1218589.2529
31 | 2659631.4608 | 1218553.4239 | 2659587.6146 | 1218589.2529
32 | 2659631.4608 | 1218553.4239 | 2659634.6832 | 1218550.7211
33 | 2659381.2757 | 1218346.1648 | 2659389.4155 | 1218358.0088 | 2659452.9735 | 1218413.5434 | 2659486.1789 | 1218440.936 | 2659517.0171 | 1218464.4139 | 2659547.6468 | 1218488.2346 | 2659631.4608 | 1218553.4239
34 | 2659802.134 | 1218600.5982 | 2659783.3616 | 1218592.692 | 2659755.7134 | 1218580.4446
35 | 2659634.6832 | 1218550.7211 | 2659638.9997 | 1218554.7112 | 2659646.7908 | 1218558.0913 | 2659732.2582 | 1218572.4894 | 2659745.8684 | 1218576.0835 | 2659755.7134 | 1218580.4446
36 | 2659179.8243 | 1218542.4273 | 2659190.0453 | 1218538.0705 | 2659196.4223 | 1218531.0295 | 2659200.974 | 1218524.3706 | 2659201.0455 | 1218515.6548 | 2659196.6563 | 1218507.4839 | 2659187.1877 | 1218496.4497 | 2659181.3374 | 1218491.7221 | 2659176.0575 | 1218491.4584 | 2659170.1118 | 1218494.0454
37 | 2659173.1982 | 1218573.0138 | 2659180.8283 | 1218564.362 | 2659182.7128 | 1218562.6018 | 2659179.8243 | 1218542.4273
38 | 2659175.892 | 1218589.8732 | 2659170.4662 | 1218582.9261 | 2659169.8736 | 1218580.6855 | 2659173.1982 | 1218573.0138
39 | 2659173.1982 | 1218573.0138 | 2659180.8283 | 1218564.362 | 2659182.7128 | 1218562.6018 | 2659189.4542 | 1218556.3204 | 2659210.837 | 1218535.4309 | 2659248.6739 | 1218497.0498 | 2659267.8225 | 1218475.727 | 2659279.9898 | 1218459.6158
40 | 2659279.9898 | 1218459.6158 | 2659294.2162 | 1218441.3321
41 | 2659303.2244 | 1218430.4288 | 2659299.5793 | 1218434.4395 | 2659294.2162 | 1218441.3321
42 | 2659474.6646 | 1217969.5963 | 2659480.7321 | 1217994.4166 | 2659493.3029 | 1218011.7861 | 2659565.3646 | 1218131.1128 | 2659573.5555 | 1218143.9137 | 2659571.8989 | 1218147.1436 | 2659559.5439 | 1218164.4197 | 2659555.5774 | 1218175.0296
43 | 2659581.3478 | 1217766.2137 | 2659474.6646 | 1217969.5963
44 | 2659553.0632 | 1218181.7546 | 2659555.5774 | 1218175.0296
45 | 2659581.3478 | 1217766.2137 | 2659585.4717 | 1217764.476 | 2659620.1939 | 1217753.6276 | 2659636.2235 | 1217746.2389 | 2659643.2595 | 1217751.6126 | 2659687.7489 | 1217769.0131 | 2659701.53 | 1217773.9207
46 | 2659381.2757 | 1218346.1648 | 2659335.1868 | 1218395.214 | 2659303.2244 | 1218430.4288
47 | 2659381.2757 | 1218346.1648 | 2659413.121 | 1218308.3254 | 2659456.4949 | 1218263.69
48 | 2659303.2244 | 1218430.4288 | 2659292.8662 | 1218423.3659 | 2659280.5155 | 1218415.9384 | 2659269.9633 | 1218402.4363
49 | 2659456.4949 | 1218263.69 | 2659467.4236 | 1218252.4434 | 2659485.6394 | 1218237.7973
50 | 2659485.6394 | 1218237.7973 | 2659518.1227 | 1218211.6797 | 2659523.7916 | 1218206.8245
51 | 2659553.0632 | 1218181.7546 | 2659523.7916 | 1218206.8245
52 | 2659553.0632 | 1218181.7546 | 2659558.8189 | 1218185.3143 | 2659565.3039 | 1218188.0474 | 2659567.5526 | 1218188.5055
53 | 2659708.5303 | 1217794.2034 | 2659708.2249 | 1217791.3541 | 2659704.9124 | 1217783.5998
54 | 2659701.53 | 1217773.9207 | 2659702.7588 | 1217778.5581 | 2659704.9124 | 1217783.5998
55 | 2659701.53 | 1217773.9207 | 2659701.7904 | 1217769.8986 | 2659703.3128 | 1217766.4451 | 2659706.3159 | 1217762.9397 | 2659714.158 | 1217756.0362 | 2659758.7192 | 1217733.7133 | 2659765.1545 | 1217732.3659 | 2659777.725 | 1217733.8595 | 2659791.7956 | 1217734.123 | 2659799.9603 | 1217731.3921 | 2659807.3253 | 1217725.8959 | 2659811.7667 | 1217719.77 | 2659813.7443 | 1217714.8312 | 2659815.2897 | 1217707.5867 | 2659816.8731 | 1217696.5513 | 2659820.8603 | 1217688.7865 | 2659825.5024 | 1217683.0852 | 2659832.6268 | 1217678.1314 | 2659856.0271 | 1217665.5029 | 2659865.9016 | 1217657.3081 | 2659877.515 | 1217644.5279 | 2659890.3109 | 1217619.0741 | 2659907.4689 | 1217577.2984 | 2659908.4927 | 1217572.8615 | 2659909.2314 | 1217565.0752 | 2659909.2124 | 1217556.403 | 2659908.6365 | 1217538.1749 | 2659907.5964 | 1217504.9772 | 2659906.287 | 1217432.864 | 2659904.8653 | 1217420.2419 | 2659897.4509 | 1217396.6195 | 2659887.3481 | 1217396.5179
56 | 2659887.3481 | 1217396.5179 | 2659884.0549 | 1217392.6047 | 2659872.9135 | 1217391.6033 | 2659866.4461 | 1217388.5475 | 2659854.2039 | 1217379.2411 | 2659849.2947 | 1217380.3617
57 | 2659887.3481 | 1217396.5179 | 2659889.4196 | 1217372.9036
58 | 2660014.9896 | 1217390.898 | 2660038.9411 | 1217393.7853 | 2660052.8555 | 1217396.0602
59 | 2660014.9896 | 1217390.898 | 2660013.599 | 1217384.2576 | 2660013.1801 | 1217376.5888
60 | 2660052.8555 | 1217396.0602 | 2660117.32 | 1217406.583 | 2660143.6207 | 1217409.8503 | 2660145.0136 | 1217409.8833
61 | 2660012.9324 | 1217372.0545 | 2660013.1801 | 1217376.5888
62 | 2659935.1486 | 1217323.4198 | 2659924.8569 | 1217329.2533 | 2659897.3487 | 1217347.1324 | 2659890.9232 | 1217355.762 | 2659889.4196 | 1217372.9036
63 | 2660012.9324 | 1217372.0545 | 2660010.512 | 1217363.6472
64 | 2660010.512 | 1217363.6472 | 2660006.3609 | 1217356.7345 | 2659995.9965 | 1217349.4256 | 2659986.6132 | 1217345.6643
65 | 2659935.1486 | 1217323.4198 | 2659959.0396 | 1217334.6114 | 2659986.6132 | 1217345.6643

## bus_geodata
| x | y | coords
0 | 2660318.4045 | 1218380.3059
1 | 2660316.3797 | 1218384.6325
2 | 2660293.8411 | 1218372.2857
3 | 2660317.0508 | 1218388.4654
4 | 2660289.8902 | 1218336.7015
5 | 2660307.4639 | 1218399.3959
6 | 2660233.7755 | 1218277.5865
7 | 2660286.1458 | 1218324.9452
8 | 2660199.4691 | 1218311.4363
9 | 2660200.9335 | 1218373.7032
10 | 2660204.8854 | 1218337.1426
11 | 2660188.0004 | 1218376.34
12 | 2660296.441 | 1218332.8876
13 | 2659987.7657 | 1218223.3944
14 | 2660168.8781 | 1218346.2069
15 | 2659968.4355 | 1218202.0979
16 | 2659665.2046 | 1218220.7334
17 | 2660168.1741 | 1218327.4698
18 | 2659023.6031 | 1217890.8518
19 | 2659136.6837 | 1218398.7548
20 | 2659031.2506 | 1217883.4041
21 | 2659075.9536 | 1217844.9405
22 | 2659050.7322 | 1217866.2329
23 | 2659032.3994 | 1217882.3911
24 | 2659389.0796 | 1218680.6773
25 | 2659369.5518 | 1218664.2485
26 | 2659417.6923 | 1218708.3852
27 | 2659350.4296 | 1218648.1609
28 | 2659425.4289 | 1218703.526
29 | 2660163.457 | 1218369.0987
30 | 2659575.4821 | 1218599.167
31 | 2659587.6146 | 1218589.2529
32 | 2659631.4608 | 1218553.4239
33 | 2659802.134 | 1218600.5982
34 | 2659755.7134 | 1218580.4446
35 | 2659634.6832 | 1218550.7211
36 | 2659170.1118 | 1218494.0454
37 | 2659179.8243 | 1218542.4273
38 | 2659173.1982 | 1218573.0138
39 | 2659279.9898 | 1218459.6158
40 | 2659294.2162 | 1218441.3321
41 | 2659175.8921 | 1218589.8732
42 | 2659474.6646 | 1217969.5963
43 | 2659555.5774 | 1218175.0296
44 | 2659581.3478 | 1217766.2137
45 | 2659381.2757 | 1218346.1648
46 | 2659303.2244 | 1218430.4288
47 | 2659456.4949 | 1218263.69
48 | 2659269.9633 | 1218402.4363
49 | 2659485.6394 | 1218237.7973
50 | 2659523.7916 | 1218206.8245
51 | 2659553.0632 | 1218181.7546
52 | 2659567.5526 | 1218188.5055
53 | 2659708.5303 | 1217794.2034
54 | 2659704.9124 | 1217783.5998
55 | 2659701.53 | 1217773.9207
56 | 2659887.3481 | 1217396.5179
57 | 2660014.9896 | 1217390.898
58 | 2660052.8555 | 1217396.0602
59 | 2660013.1801 | 1217376.5888
60 | 2659849.2947 | 1217380.3617
61 | 2659889.4196 | 1217372.9036
62 | 2660145.0136 | 1217409.8833
63 | 2660012.9324 | 1217372.0545
64 | 2660010.512 | 1217363.6472
65 | 2659986.6132 | 1217345.6643
66 | 2659935.1486 | 1217323.4198
67 | 2659968.4355 | 1218202.0979

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9789 | -0.40331 | 0.014683 | 0.0036799
1 | 0.97904 | -0.40057 | 0 | 0
2 | 0.97818 | -0.41738 | 0 | 0
3 | 0.97915 | -0.39833 | 0.0013253 | 0.00033216
4 | 0.9772 | -0.43661 | 0 | 0
5 | 0.97968 | -0.38804 | 0 | 0
6 | 0.97496 | -0.48036 | 0 | 0
7 | 0.97663 | -0.44772 | 0 | 0
8 | 0.97251 | -0.52874 | 0.020431 | 0.0051205
9 | 0.97099 | -0.55876 | 0 | 0
10 | 0.97161 | -0.54642 | 0 | 0
11 | 0.97079 | -0.5627 | 0.0097062 | 0.0024326
12 | 0.97701 | -0.4403 | 0.025399 | 0.0063656
13 | 1 | 0 | -0.17244 | -0.044157
14 | 0.97091 | -0.56022 | 0 | 0
15 | 0.99969 | -0.0058801 | 0.011741 | 0.0029425
16 | 0.99334 | -0.12579 | 0 | 0
17 | 0.97058 | -0.56681 | 0.018993 | 0.0047602
18 | 0.98206 | -0.34323 | 0.0002102 | 5.2681e-05
19 | 0.98282 | -0.32826 | 0 | 0
20 | 0.98204 | -0.34349 | 0.00025537 | 6.4003e-05
21 | 0.982 | -0.34427 | 0.00042919 | 0.00010757
22 | 0.98202 | -0.34402 | 0.00068744 | 0.00017229
23 | 0.98204 | -0.34352 | 0 | 0
24 | 0.97559 | -0.46861 | 0.0004816 | 0.0001207
25 | 0.97557 | -0.46883 | 0.00018622 | 4.6671e-05
26 | 0.97562 | -0.4679 | 0 | 0
27 | 0.97557 | -0.46896 | 0.00029321 | 7.3486e-05
28 | 0.97563 | -0.46774 | 0 | 0
29 | 0.97066 | -0.56529 | 0.0054719 | 0.0013714
30 | 0.97579 | -0.4645 | 0.00013701 | 3.4339e-05
31 | 0.97581 | -0.46418 | 0.00034576 | 8.6656e-05
32 | 0.97588 | -0.46268 | 0 | 0
33 | 0.97156 | -0.54786 | 0.025089 | 0.0062878
34 | 0.97274 | -0.52444 | 0.0007687 | 0.00019266
35 | 0.97578 | -0.46466 | 0 | 0
36 | 0.98297 | -0.32526 | 0.0010793 | 0.0002705
37 | 0.98316 | -0.32136 | 0 | 0
38 | 0.98325 | -0.31969 | 0 | 0
39 | 0.98367 | -0.31131 | 0 | 0
40 | 0.98374 | -0.31007 | 0.00033831 | 8.4788e-05
41 | 0.98324 | -0.31979 | 0.00028989 | 7.2654e-05
42 | 0.98925 | -0.20375 | 0 | 0
43 | 0.99108 | -0.16885 | 0.00096087 | 0.00024082
44 | 0.98749 | -0.23755 | 0 | 0
45 | 0.98417 | -0.30152 | 0 | 0
46 | 0.98378 | -0.30922 | 0 | 0
47 | 0.9874 | -0.23929 | 0.0002398 | 6.0098e-05
48 | 0.98376 | -0.30954 | 0.000404 | 0.00010125
49 | 0.98853 | -0.21746 | 0.00023484 | 5.8855e-05
50 | 0.98998 | -0.18985 | 0.00072592 | 0.00018193
51 | 0.99113 | -0.16776 | 0 | 0
52 | 0.99142 | -0.16224 | 0.0014053 | 0.0003522
53 | 0.98597 | -0.26665 | 0.00061962 | 0.00015529
54 | 0.98598 | -0.26652 | 0.00070336 | 0.00017628
55 | 0.98599 | -0.26628 | 0 | 0
56 | 0.97503 | -0.47942 | 0 | 0
57 | 0.97168 | -0.54557 | 0 | 0
58 | 0.97162 | -0.5467 | 0 | 0
59 | 0.9717 | -0.54514 | 0.0031051 | 0.00077822
60 | 0.97497 | -0.48053 | 0.001379 | 0.0003456
61 | 0.97454 | -0.48899 | 0.0027361 | 0.00068573
62 | 0.97148 | -0.54947 | 0.0016081 | 0.00040302
63 | 0.97172 | -0.54474 | 0 | 0
64 | 0.97176 | -0.54398 | 0.011753 | 0.0029456
65 | 0.97223 | -0.5346 | 0.0027929 | 0.00069996
66 | 0.97324 | -0.5147 | 0 | 0
67 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.095119 | -0.023998 | 0.095131 | 0.024006 | 1.2493e-05 | 7.8155e-06 | 0.14465 | 0.14465 | 0.14465 | 0.9789 | -0.40331 | 0.97904 | -0.40057 | 13.246
1 | 0.080435 | 0.020318 | -0.080381 | -0.020284 | 5.4184e-05 | 3.3586e-05 | 0.12233 | 0.12233 | 0.12233 | 0.9789 | -0.40331 | 0.97818 | -0.41738 | 11.2021
2 | -0.095131 | -0.024006 | 0.095141 | 0.024012 | 1.0177e-05 | 6.3663e-06 | 0.14465 | 0.14465 | 0.14465 | 0.97904 | -0.40057 | 0.97915 | -0.39833 | 13.246
3 | 0.080381 | 0.020284 | -0.080307 | -0.020238 | 7.3961e-05 | 4.5847e-05 | 0.12233 | 0.12233 | 0.12233 | 0.97818 | -0.41738 | 0.9772 | -0.43661 | 11.2021
4 | -0.096467 | -0.024344 | 0.096514 | 0.024374 | 4.7587e-05 | 2.9788e-05 | 0.14666 | 0.14666 | 0.14666 | 0.97915 | -0.39833 | 0.97968 | -0.38804 | 13.4304
5 | 0.080307 | 0.020238 | -0.080293 | -0.02023 | 1.4179e-05 | 8.7895e-06 | 0.12233 | 0.12233 | 0.12233 | 0.9772 | -0.43661 | 0.97701 | -0.4403 | 11.2021
6 | -0.096514 | -0.024374 | 0.098345 | 0.02552 | 0.0018311 | 0.0011456 | 0.14666 | 0.14665 | 0.14666 | 0.97968 | -0.38804 | 1 | 0 | 13.4304
7 | -0.054789 | -0.013801 | 0.054874 | 0.013852 | 8.5659e-05 | 5.1151e-05 | 0.083645 | 0.083644 | 0.083645 | 0.97496 | -0.48036 | 0.97663 | -0.44772 | 7.6598
8 | 0.054789 | 0.013801 | -0.054662 | -0.013721 | 0.00012645 | 8.0328e-05 | 0.083645 | 0.083645 | 0.083645 | 0.97496 | -0.48036 | 0.97251 | -0.52874 | 22.9795
9 | -0.054874 | -0.013852 | 0.054894 | 0.013864 | 1.9517e-05 | 1.1653e-05 | 0.083644 | 0.083644 | 0.083644 | 0.97663 | -0.44772 | 0.97701 | -0.4403 | 7.6597
10 | 0.034231 | 0.0086004 | -0.034202 | -0.0085822 | 2.8859e-05 | 1.8122e-05 | 0.052384 | 0.052384 | 0.052384 | 0.97251 | -0.52874 | 0.97161 | -0.54642 | 14.3913
11 | -0.015182 | -0.0038058 | 0.015191 | 0.0038109 | 8.9306e-06 | 5.1711e-06 | 0.023266 | 0.023266 | 0.023266 | 0.97099 | -0.55876 | 0.97161 | -0.54642 | 6.3917
12 | 0.015182 | 0.0038058 | -0.015179 | -0.0038041 | 2.8495e-06 | 1.6501e-06 | 0.023266 | 0.023266 | 0.023266 | 0.97099 | -0.55876 | 0.97079 | -0.5627 | 6.3917
13 | 0.019012 | 0.0047713 | -0.018999 | -0.0047638 | 1.2509e-05 | 7.5187e-06 | 0.029119 | 0.029119 | 0.029119 | 0.97161 | -0.54642 | 0.97091 | -0.56022 | 7.9997
14 | 0.0054726 | 0.0013715 | -0.0054719 | -0.0013714 | 6.7587e-07 | 1.1591e-07 | 0.0083883 | 0.0083885 | 0.0083885 | 0.97079 | -0.5627 | 0.97066 | -0.56529 | 2.3045
15 | 0.011744 | 0.0029442 | -0.011741 | -0.0029425 | 3.2897e-06 | 1.7287e-06 | 0.017476 | 0.017476 | 0.017476 | 1 | 0 | 0.99969 | -0.0058801 | 4.801
16 | 0.060699 | 0.015693 | -0.060329 | -0.01547 | 0.00037034 | 0.00022287 | 0.090493 | 0.090498 | 0.090498 | 1 | 0 | 0.99334 | -0.12579 | 8.2873
17 | 0.018999 | 0.0047638 | -0.018993 | -0.0047602 | 5.962e-06 | 3.5839e-06 | 0.029119 | 0.029119 | 0.029119 | 0.97091 | -0.56022 | 0.97058 | -0.56681 | 7.9997
18 | 0.060329 | 0.01547 | -0.060223 | -0.015406 | 0.00010644 | 6.4094e-05 | 0.090498 | 0.090499 | 0.090499 | 0.99334 | -0.12579 | 0.99142 | -0.16224 | 8.2875
19 | -0.0015823 | -0.00039569 | 0.0015834 | 0.00038982 | 1.1202e-06 | -5.8719e-06 | 0.0023971 | 0.0023948 | 0.0023971 | 0.98206 | -0.34323 | 0.98282 | -0.32826 | 0.65855
20 | 0.0013721 | 0.00034301 | -0.001372 | -0.00034313 | 1.7329e-08 | -1.2422e-07 | 0.0020786 | 0.0020787 | 0.0020787 | 0.98206 | -0.34323 | 0.98204 | -0.34349 | 0.57107
21 | -0.0015834 | -0.00038982 | 0.0015836 | 0.00038865 | 2.2287e-07 | -1.171e-06 | 0.0023948 | 0.0023943 | 0.0023948 | 0.98282 | -0.32826 | 0.98297 | -0.32526 | 0.65791
22 | 0.0011167 | 0.00027913 | -0.0011167 | -0.00027915 | 1.6439e-09 | -1.8327e-08 | 0.0016917 | 0.0016917 | 0.0016917 | 0.98204 | -0.34349 | 0.98204 | -0.34352 | 0.46477
23 | -0.00042919 | -0.00010757 | 0.0004292 | 0.00010715 | 5.2384e-09 | -4.1459e-07 | 0.00065035 | 0.0006502 | 0.00065035 | 0.982 | -0.34427 | 0.98202 | -0.34402 | 0.17867
24 | -0.0011166 | -0.00027944 | 0.0011167 | 0.00027915 | 2.6229e-08 | -2.9239e-07 | 0.0016919 | 0.0016917 | 0.0016919 | 0.98202 | -0.34402 | 0.98204 | -0.34352 | 0.4648
25 | 0.00047944 | 0.00011953 | -0.00047944 | -0.00011985 | 5.1151e-09 | -3.1537e-07 | 0.00073104 | 0.00073116 | 0.00073116 | 0.97559 | -0.46861 | 0.97557 | -0.46883 | 0.20087
26 | -0.00096105 | -0.00024023 | 0.00096108 | 0.00023976 | 3.2132e-08 | -4.7761e-07 | 0.0014656 | 0.0014654 | 0.0014656 | 0.97559 | -0.46861 | 0.97562 | -0.4679 | 0.40264
27 | 0.00029322 | 7.3176e-05 | -0.00029321 | -7.3486e-05 | 1.8739e-09 | -3.1082e-07 | 0.00044712 | 0.00044723 | 0.00044723 | 0.97557 | -0.46883 | 0.97557 | -0.46896 | 0.12287
28 | -0.00096108 | -0.00023976 | 0.00096108 | 0.00023965 | 7.3426e-09 | -1.0916e-07 | 0.0014654 | 0.0014654 | 0.0014654 | 0.97562 | -0.4679 | 0.97563 | -0.46774 | 0.40259
29 | -0.00096108 | -0.00023965 | 0.00096123 | 0.00023745 | 1.4732e-07 | -2.192e-06 | 0.0014654 | 0.0014646 | 0.0014654 | 0.97563 | -0.46774 | 0.97579 | -0.4645 | 0.40258
30 | -0.0010982 | -0.00027179 | 0.0010983 | 0.00027161 | 1.6455e-08 | -1.8519e-07 | 0.0016735 | 0.0016734 | 0.0016735 | 0.97579 | -0.4645 | 0.97581 | -0.46418 | 0.45976
31 | -0.001444 | -0.00035826 | 0.0014441 | 0.00035762 | 1.0282e-07 | -6.416e-07 | 0.0022007 | 0.0022004 | 0.0022007 | 0.97581 | -0.46418 | 0.97588 | -0.46268 | 0.60459
32 | 0.025962 | 0.0065451 | -0.025959 | -0.0065435 | 2.4693e-06 | 1.5279e-06 | 0.0396 | 0.0396 | 0.0396 | 0.97588 | -0.46268 | 0.97578 | -0.46466 | 10.8791
33 | -0.027406 | -0.0069027 | 0.027619 | 0.0070349 | 0.00021295 | 0.00013219 | 0.0418 | 0.041799 | 0.0418 | 0.97588 | -0.46268 | 0.98417 | -0.30152 | 11.4836
34 | -0.025089 | -0.0062878 | 0.025117 | 0.0063051 | 2.8021e-05 | 1.7306e-05 | 0.038425 | 0.038425 | 0.038425 | 0.97156 | -0.54786 | 0.97274 | -0.52444 | 10.5563
35 | -0.025885 | -0.0064977 | 0.025959 | 0.0065435 | 7.403e-05 | 4.5812e-05 | 0.039601 | 0.0396 | 0.039601 | 0.97274 | -0.52444 | 0.97578 | -0.46466 | 10.8793
36 | -0.0026629 | -0.00065914 | 0.0026634 | 0.00065844 | 4.8979e-07 | -7.0717e-07 | 0.0040282 | 0.0040278 | 0.0040282 | 0.98297 | -0.32526 | 0.98316 | -0.32136 | 1.1066
37 | -0.0026634 | -0.00065844 | 0.0026636 | 0.00065813 | 2.0985e-07 | -3.0317e-07 | 0.0040278 | 0.0040277 | 0.0040278 | 0.98316 | -0.32136 | 0.98325 | -0.31969 | 1.1065
38 | 0.00028989 | 7.2407e-05 | -0.00028989 | -7.2654e-05 | 1.4059e-09 | -2.4621e-07 | 0.00043863 | 0.00043871 | 0.00043871 | 0.98325 | -0.31969 | 0.98324 | -0.31979 | 0.12053
39 | -0.0029535 | -0.00073054 | 0.0029547 | 0.00072931 | 1.1665e-06 | -1.2325e-06 | 0.0044663 | 0.0044656 | 0.0044663 | 0.98325 | -0.31969 | 0.98367 | -0.31131 | 1.227
40 | -0.0029547 | -0.00072931 | 0.0029548 | 0.00072913 | 1.7324e-07 | -1.8323e-07 | 0.0044656 | 0.0044655 | 0.0044656 | 0.98367 | -0.31131 | 0.98374 | -0.31007 | 1.2268
41 | -0.0032931 | -0.00081391 | 0.0032933 | 0.00081382 | 1.3148e-07 | -9.5549e-08 | 0.0049772 | 0.0049772 | 0.0049772 | 0.98374 | -0.31007 | 0.98378 | -0.30922 | 1.3674
42 | -0.025074 | -0.0064073 | 0.025116 | 0.0064252 | 4.2376e-05 | 1.7945e-05 | 0.03776 | 0.037757 | 0.03776 | 0.98925 | -0.20375 | 0.99108 | -0.16885 | 3.4579
43 | 0.025074 | 0.0064073 | -0.025033 | -0.0063899 | 4.0936e-05 | 1.7369e-05 | 0.03776 | 0.037763 | 0.037763 | 0.98925 | -0.20375 | 0.98749 | -0.23755 | 3.4582
44 | -0.026077 | -0.006666 | 0.026079 | 0.0066667 | 1.379e-06 | 6.0499e-07 | 0.039199 | 0.039199 | 0.039199 | 0.99108 | -0.16885 | 0.99113 | -0.16776 | 3.5897
45 | 0.025033 | 0.0063899 | -0.024998 | -0.006371 | 3.4696e-05 | 1.889e-05 | 0.037763 | 0.037764 | 0.037764 | 0.98749 | -0.23755 | 0.98599 | -0.26628 | 5.1874
46 | 0.0036986 | 0.00091392 | -0.0036973 | -0.00091452 | 1.3433e-06 | -5.9754e-07 | 0.0055875 | 0.005588 | 0.005588 | 0.98417 | -0.30152 | 0.98378 | -0.30922 | 1.5352
47 | -0.031317 | -0.0079488 | 0.031411 | 0.0080076 | 9.4052e-05 | 5.8769e-05 | 0.047386 | 0.047386 | 0.047386 | 0.98417 | -0.30152 | 0.9874 | -0.23929 | 13.0182
48 | 0.00040401 | 0.0001007 | -0.000404 | -0.00010125 | 6.1612e-09 | -5.5487e-07 | 0.00061089 | 0.00061109 | 0.00061109 | 0.98378 | -0.30922 | 0.98376 | -0.30954 | 0.16788
49 | -0.031651 | -0.0080677 | 0.031685 | 0.0080885 | 3.3389e-05 | 2.0869e-05 | 0.047747 | 0.047747 | 0.047747 | 0.9874 | -0.23929 | 0.98853 | -0.21746 | 13.1174
50 | -0.03192 | -0.0081474 | 0.031962 | 0.0081741 | 4.2639e-05 | 2.6658e-05 | 0.048101 | 0.0481 | 0.048101 | 0.98853 | -0.21746 | 0.98998 | -0.18985 | 13.2144
51 | -0.032688 | -0.008356 | 0.032723 | 0.0083779 | 3.4972e-05 | 2.1886e-05 | 0.049191 | 0.049191 | 0.049191 | 0.98998 | -0.18985 | 0.99113 | -0.16776 | 13.5141
52 | -0.058802 | -0.015045 | 0.058817 | 0.015054 | 1.5723e-05 | 9.4402e-06 | 0.08839 | 0.08839 | 0.08839 | 0.99113 | -0.16776 | 0.99142 | -0.16224 | 8.0944
53 | -0.00061962 | -0.00015529 | 0.00061963 | 0.00015515 | 3.7046e-09 | -1.4172e-07 | 0.00093513 | 0.00093508 | 0.00093513 | 0.98597 | -0.26665 | 0.98598 | -0.26652 | 0.2569
54 | -0.001323 | -0.00033143 | 0.001323 | 0.00033131 | 1.5366e-08 | -1.2128e-07 | 0.0019966 | 0.0019965 | 0.0019966 | 0.98598 | -0.26652 | 0.98599 | -0.26628 | 0.54851
55 | 0.023675 | 0.0060397 | -0.023434 | -0.0058917 | 0.00024111 | 0.00014797 | 0.035768 | 0.03577 | 0.03577 | 0.98599 | -0.26628 | 0.97503 | -0.47942 | 9.8269
56 | 0.001379 | 0.0003451 | -0.001379 | -0.0003456 | 7.2856e-08 | -5.0047e-07 | 0.0021044 | 0.0021046 | 0.0021046 | 0.97503 | -0.47942 | 0.97497 | -0.48053 | 0.57818
57 | 0.022055 | 0.0055466 | -0.022045 | -0.0055405 | 1.0075e-05 | 6.1525e-06 | 0.033666 | 0.033666 | 0.033666 | 0.97503 | -0.47942 | 0.97454 | -0.48899 | 9.2488
58 | 0.0016084 | 0.00040159 | -0.0016083 | -0.000402 | 8.6677e-08 | -4.1661e-07 | 0.0024625 | 0.0024627 | 0.0024627 | 0.97168 | -0.54557 | 0.97162 | -0.5467 | 0.67656
59 | -0.0016084 | -0.00040159 | 0.0016084 | 0.00040143 | 3.2892e-08 | -1.5812e-07 | 0.0024625 | 0.0024624 | 0.0024625 | 0.97168 | -0.54557 | 0.9717 | -0.54514 | 0.67651
60 | 0.0016083 | 0.000402 | -0.0016081 | -0.00040302 | 2.1203e-07 | -1.0186e-06 | 0.0024627 | 0.0024631 | 0.0024631 | 0.97162 | -0.5467 | 0.97148 | -0.54947 | 0.67667
61 | -0.0047135 | -0.0011796 | 0.0047136 | 0.0011796 | 8.8706e-08 | 5.2022e-10 | 0.0072175 | 0.0072175 | 0.0072175 | 0.9717 | -0.54514 | 0.97172 | -0.54474 | 1.9828
62 | 0.019309 | 0.0048548 | -0.019285 | -0.0048405 | 2.3675e-05 | 1.4249e-05 | 0.029488 | 0.029488 | 0.029488 | 0.97454 | -0.48899 | 0.97324 | -0.5147 | 8.1012
63 | -0.0047136 | -0.0011796 | 0.0047138 | 0.0011796 | 1.709e-07 | 9.9485e-10 | 0.0072175 | 0.0072174 | 0.0072175 | 0.97172 | -0.54474 | 0.97176 | -0.54398 | 1.9828
64 | -0.016467 | -0.0041252 | 0.016474 | 0.0041295 | 7.356e-06 | 4.3254e-06 | 0.025214 | 0.025214 | 0.025214 | 0.97176 | -0.54398 | 0.97223 | -0.5346 | 6.927
65 | -0.019267 | -0.0048295 | 0.019285 | 0.0048405 | 1.829e-05 | 1.1009e-05 | 0.029489 | 0.029488 | 0.029489 | 0.97223 | -0.5346 | 0.97324 | -0.5147 | 8.1013

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.17244 | 0.044157

## res_load
| p_mw | q_mvar
0 | 0.014683 | 0.0036799
1 | 0.0013253 | 0.00033216
2 | 0.020431 | 0.0051205
3 | 0.0097062 | 0.0024326
4 | 0.025399 | 0.0063656
5 | 0.011741 | 0.0029425
6 | 0.018993 | 0.0047602
7 | 0.0002102 | 5.2681e-05
8 | 0.00025537 | 6.4003e-05
9 | 0.00042919 | 0.00010757
10 | 0.00068744 | 0.00017229
11 | 0.0004816 | 0.0001207
12 | 0.00018622 | 4.6671e-05
13 | 0.00029321 | 7.3486e-05
14 | 0.0054719 | 0.0013714
15 | 0.00013701 | 3.4339e-05
16 | 0.00034576 | 8.6656e-05
17 | 0.025089 | 0.0062878
18 | 0.0007687 | 0.00019266
19 | 0.0010793 | 0.0002705
20 | 0.00033831 | 8.4788e-05
21 | 0.00028989 | 7.2654e-05
22 | 0.00096087 | 0.00024082
23 | 0.0002398 | 6.0098e-05
24 | 0.000404 | 0.00010125
25 | 0.00023484 | 5.8855e-05
26 | 0.00072592 | 0.00018193
27 | 0.0014053 | 0.0003522
28 | 0.00061962 | 0.00015529
29 | 0.00070336 | 0.00017628
30 | 0.0031051 | 0.00077822
31 | 0.001379 | 0.0003456
32 | 0.0027361 | 0.00068573
33 | 0.0016081 | 0.00040302
34 | 0.011753 | 0.0029456
35 | 0.0027929 | 0.00069996

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1