## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1093-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1093-4_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1093-4_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1093-4_0_6_node_27 | 0.4 | n |  | TRUE
4 | bus_LV_1093-4_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1093-4_0_6_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1093-4_0_6_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1093-4_0_6_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_1093-4_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1093-4_0_6_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_1093-4_0_6_node_77 | 0.4 | n |  | TRUE
11 | bus_LV_1093-4_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1093-4_0_6_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_1093-4_0_6_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_1093-4_0_6_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1093-4_0_6_node_49 | 0.4 | n |  | TRUE
16 | bus_LV_1093-4_0_6_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1093-4_0_6_node_91 | 0.4 | n |  | TRUE
18 | bus_LV_1093-4_0_6_node_90 | 0.4 | n |  | TRUE
19 | bus_LV_1093-4_0_6_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1093-4_0_6_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_1093-4_0_6_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1093-4_0_6_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_1093-4_0_6_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_1093-4_0_6_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1093-4_0_6_node_85 | 0.4 | n |  | TRUE
26 | bus_LV_1093-4_0_6_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_1093-4_0_6_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_1093-4_0_6_node_86 | 0.4 | n |  | TRUE
29 | bus_LV_1093-4_0_6_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_1093-4_0_6_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1093-4_0_6_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_1093-4_0_6_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_1093-4_0_6_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_1093-4_0_6_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1093-4_0_6_node_83 | 0.4 | n |  | TRUE
36 | bus_LV_1093-4_0_6_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_1093-4_0_6_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_1093-4_0_6_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_1093-4_0_6_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_1093-4_0_6_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_1093-4_0_6_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_1093-4_0_6_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_1093-4_0_6_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_1093-4_0_6_node_81 | 0.4 | n |  | TRUE
45 | bus_LV_1093-4_0_6_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_1093-4_0_6_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_1093-4_0_6_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_1093-4_0_6_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_1093-4_0_6_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_1093-4_0_6_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_1093-4_0_6_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_1093-4_0_6_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_1093-4_0_6_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_1093-4_0_6_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_1093-4_0_6_node_93 | 0.4 | n |  | TRUE
56 | bus_LV_1093-4_0_6_node_92 | 0.4 | n |  | TRUE
57 | bus_LV_1093-4_0_6_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_1093-4_0_6_node_87 | 0.4 | n |  | TRUE
59 | bus_LV_1093-4_0_6_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_1093-4_0_6_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_1093-4_0_6_node_82 | 0.4 | n |  | TRUE
62 | bus_LV_1093-4_0_6_node_95 | 0.4 | n |  | TRUE
63 | bus_LV_1093-4_0_6_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_1093-4_0_6_node_31 | 0.4 | n |  | TRUE
65 | bus_LV_1093-4_0_6_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_1093-4_0_6_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_1093-4_0_6_node_30 | 0.4 | n |  | TRUE
68 | bus_LV_1093-4_0_6_node_32 | 0.4 | n |  | TRUE
69 | bus_LV_1093-4_0_6_node_34 | 0.4 | n |  | TRUE
70 | bus_LV_1093-4_0_6_node_42 | 0.4 | n |  | TRUE
71 | bus_LV_1093-4_0_6_node_43 | 0.4 | n |  | TRUE
72 | bus_LV_1093-4_0_6_node_44 | 0.4 | n |  | TRUE
73 | bus_LV_1093-4_0_6_node_45 | 0.4 | n |  | TRUE
74 | bus_LV_1093-4_0_6_node_46 | 0.4 | n |  | TRUE
75 | bus_LV_1093-4_0_6_node_51 | 0.4 | n |  | TRUE
76 | bus_LV_1093-4_0_6_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_1093-4_0_6_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_1093-4_0_6_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_1093-4_0_6_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_1093-4_0_6_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_1093-4_0_6_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_1093-4_0_6_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_1093-4_0_6_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_1093-4_0_6_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_1093-4_0_6_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_1093-4_0_6_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_1093-4_0_6_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_1093-4_0_6_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_1093-4_0_6_node_94 | 0.4 | n |  | TRUE
90 | bus_MV_354_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1093-4_0_6_load_0 | 0 | 0.0052661 | 0.0013198 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1093-4_0_6_load_62 | 7 | 0.0037643 | 0.00094342 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1093-4_0_6_load_78 | 9 | 0.0066976 | 0.0016786 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1093-4_0_6_load_77 | 10 | 0.012994 | 0.0032567 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1093-4_0_6_load_52 | 12 | 0.0037769 | 0.00094657 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1093-4_0_6_load_49 | 15 | 0.0021094 | 0.00052866 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1093-4_0_6_load_90 | 18 | 0.0076783 | 0.0019244 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1093-4_0_6_load_63 | 22 | 0.0096097 | 0.0024084 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1093-4_0_6_load_85 | 25 | 0.0064398 | 0.001614 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1093-4_0_6_load_60 | 27 | 0.00055192 | 0.00013833 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1093-4_0_6_load_86 | 28 | 0.022675 | 0.0056828 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1093-4_0_6_load_35 | 31 | 0.020509 | 0.00514 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1093-4_0_6_load_57 | 32 | 0.0034737 | 0.00087058 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1093-4_0_6_load_83 | 35 | 0.018613 | 0.0046649 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1093-4_0_6_load_38 | 36 | 0.0068581 | 0.0017188 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1093-4_0_6_load_64 | 38 | 0.0052569 | 0.0013175 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1093-4_0_6_load_54 | 40 | 0.001868 | 0.00046817 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1093-4_0_6_load_39 | 42 | 0.095594 | 0.023958 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1093-4_0_6_load_61 | 43 | 0.014721 | 0.0036894 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1093-4_0_6_load_81 | 44 | 0.011543 | 0.0028928 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1093-4_0_6_load_33 | 46 | 0.01866 | 0.0046766 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1093-4_0_6_load_48 | 49 | 0.0060246 | 0.0015099 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1093-4_0_6_load_56 | 50 | 0.00061822 | 0.00015494 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1093-4_0_6_load_80 | 51 | 0.024083 | 0.0060357 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1093-4_0_6_load_40 | 52 | 0.033432 | 0.0083789 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1093-4_0_6_load_50 | 54 | 0.004157 | 0.0010418 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1093-4_0_6_load_92 | 56 | 0.0083016 | 0.0020806 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1093-4_0_6_load_59 | 57 | 0.00089363 | 0.00022396 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1093-4_0_6_load_36 | 59 | 0.0066013 | 0.0016544 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1093-4_0_6_load_58 | 60 | 0.0010322 | 0.00025869 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1093-4_0_6_load_82 | 61 | 0.013841 | 0.0034688 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1093-4_0_6_load_95 | 62 | 0.023172 | 0.0058074 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1093-4_0_6_load_68 | 63 | 0.011176 | 0.002801 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1093-4_0_6_load_31 | 64 | 0.0060834 | 0.0015246 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1093-4_0_6_load_55 | 65 | 0.015128 | 0.0037914 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1093-4_0_6_load_47 | 66 | 0.0010014 | 0.00025097 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1093-4_0_6_load_30 | 67 | 0.022164 | 0.0055548 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1093-4_0_6_load_32 | 68 | 0.0065685 | 0.0016462 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1093-4_0_6_load_34 | 69 | 0.022162 | 0.0055544 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1093-4_0_6_load_42 | 70 | 0.0078475 | 0.0019668 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1093-4_0_6_load_43 | 71 | 0.001387 | 0.00034762 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1093-4_0_6_load_44 | 72 | 0.0020276 | 0.00050817 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1093-4_0_6_load_45 | 73 | 0.0040276 | 0.0010094 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1093-4_0_6_load_46 | 74 | 0.0010515 | 0.00026354 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1093-4_0_6_load_51 | 75 | 0.0077629 | 0.0019456 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1093-4_0_6_load_65 | 76 | 0.010006 | 0.0025078 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1093-4_0_6_load_76 | 79 | 0.013394 | 0.003357 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1093-4_0_6_load_73 | 81 | 0.010329 | 0.0025886 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1093-4_0_6_load_69 | 83 | 0.0038196 | 0.00095727 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1093-4_0_6_load_72 | 84 | 0.010409 | 0.0026087 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1093-4_0_6_load_84 | 86 | 0.0098927 | 0.0024794 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1093-4_0_6_load_88 | 87 | 0.0032839 | 0.00082303 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1093-4_0_6_load_94 | 89 | 0.010165 | 0.0025477 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1093-4_0_6_line_0 |  | 0 | 1 | 0.035768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_1093-4_0_6_line_1 |  | 0 | 2 | 0.015031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_1093-4_0_6_line_2 |  | 1 | 3 | 0.057723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_1093-4_0_6_line_3 |  | 2 | 4 | 0.0059319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_1093-4_0_6_line_4 |  | 3 | 45 | 0.048538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_1093-4_0_6_line_5 |  | 3 | 46 | 0.023972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_1093-4_0_6_line_6 |  | 4 | 7 | 0.04392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_1093-4_0_6_line_7 |  | 5 | 6 | 0.038802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_1093-4_0_6_line_8 |  | 5 | 7 | 0.011899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_1093-4_0_6_line_9 |  | 6 | 21 | 0.059637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_1093-4_0_6_line_10 |  | 6 | 22 | 0.02192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1093-4_0_6_line_11 |  | 8 | 9 | 0.023373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1093-4_0_6_line_12 |  | 8 | 10 | 0.043914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1093-4_0_6_line_13 |  | 9 | 51 | 0.019222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1093-4_0_6_line_14 |  | 11 | 12 | 0.06109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1093-4_0_6_line_15 |  | 11 | 13 | 0.03871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1093-4_0_6_line_16 |  | 11 | 14 | 0.040733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_1093-4_0_6_line_17 |  | 11 | 15 | 0.21006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1093-4_0_6_line_18 |  | 13 | 32 | 0.016452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1093-4_0_6_line_19 |  | 14 | 26 | 0.18799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_1093-4_0_6_line_20 |  | 14 | 27 | 0.013283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1093-4_0_6_line_21 |  | 15 | 54 | 0.059394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1093-4_0_6_line_22 |  | 16 | 17 | 0.017819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1093-4_0_6_line_23 |  | 16 | 18 | 0.026778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1093-4_0_6_line_24 |  | 17 | 55 | 0.002642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1093-4_0_6_line_25 |  | 17 | 56 | 0.029935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1093-4_0_6_line_26 |  | 18 | 19 | 0.026507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1093-4_0_6_line_27 |  | 19 | 20 | 0.048926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1093-4_0_6_line_28 |  | 20 | 36 | 0.010609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1093-4_0_6_line_29 |  | 21 | 37 | 0.002959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_1093-4_0_6_line_30 |  | 21 | 38 | 0.014146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1093-4_0_6_line_31 |  | 23 | 24 | 0.040913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1093-4_0_6_line_32 |  | 23 | 25 | 0.015471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1093-4_0_6_line_33 |  | 24 | 28 | 0.0017805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1093-4_0_6_line_34 |  | 25 | 33 | 0.045571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_1093-4_0_6_line_35 |  | 26 | 50 | 0.029233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1093-4_0_6_line_36 |  | 26 | 39 | 0.041451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_1093-4_0_6_line_37 |  | 27 | 57 | 0.0023946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1093-4_0_6_line_38 |  | 28 | 58 | 0.043541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1093-4_0_6_line_39 |  | 29 | 30 | 0.065336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_1093-4_0_6_line_40 |  | 29 | 31 | 0.018249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_1093-4_0_6_line_41 |  | 30 | 41 | 0.095672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_1093-4_0_6_line_42 |  | 30 | 42 | 0.020709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_1093-4_0_6_line_43 |  | 31 | 59 | 0.020038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_1093-4_0_6_line_44 |  | 33 | 34 | 0.029992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_1093-4_0_6_line_45 |  | 33 | 35 | 0.020296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1093-4_0_6_line_46 |  | 34 | 37 | 0.039335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_1093-4_0_6_line_47 |  | 34 | 44 | 0.015074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1093-4_0_6_line_48 |  | 35 | 61 | 0.028389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1093-4_0_6_line_49 |  | 37 | 63 | 0.016233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1093-4_0_6_line_50 |  | 39 | 40 | 0.022735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_1093-4_0_6_line_51 |  | 40 | 45 | 0.056722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_1093-4_0_6_line_52 |  | 41 | 43 | 0.0082282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1093-4_0_6_line_53 |  | 46 | 64 | 0.020539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_1093-4_0_6_line_54 |  | 47 | 48 | 0.002735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1093-4_0_6_line_55 |  | 47 | 49 | 0.016859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1093-4_0_6_line_56 |  | 48 | 50 | 0.022069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1093-4_0_6_line_57 |  | 48 | 65 | 0.018983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1093-4_0_6_line_58 |  | 49 | 66 | 0.0068672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1093-4_0_6_line_59 |  | 51 | 84 | 0.028655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1093-4_0_6_line_60 |  | 52 | 53 | 0.045183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1093-4_0_6_line_61 |  | 53 | 70 | 0.02643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1093-4_0_6_line_62 |  | 54 | 75 | 0.016134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1093-4_0_6_line_63 |  | 55 | 62 | 0.012163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1093-4_0_6_line_64 |  | 55 | 89 | 0.02105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1093-4_0_6_line_65 |  | 56 | 70 | 0.059182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1093-4_0_6_line_66 |  | 57 | 60 | 0.0095572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1093-4_0_6_line_67 |  | 58 | 87 | 0.023609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1093-4_0_6_line_68 |  | 58 | 88 | 0.013294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1093-4_0_6_line_69 |  | 59 | 69 | 0.021906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_1093-4_0_6_line_70 |  | 61 | 86 | 0.0018709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1093-4_0_6_line_71 |  | 63 | 83 | 0.027838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1093-4_0_6_line_72 |  | 64 | 67 | 0.021202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_1093-4_0_6_line_73 |  | 66 | 73 | 0.0098206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1093-4_0_6_line_74 |  | 67 | 68 | 0.021857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_1093-4_0_6_line_75 |  | 68 | 69 | 0.020902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_1093-4_0_6_line_76 |  | 71 | 72 | 0.026019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1093-4_0_6_line_77 |  | 71 | 73 | 0.025883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1093-4_0_6_line_78 |  | 72 | 74 | 0.0015729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1093-4_0_6_line_79 |  | 76 | 77 | 0.021606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1093-4_0_6_line_80 |  | 77 | 78 | 0.003254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1093-4_0_6_line_81 |  | 78 | 79 | 0.021772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1093-4_0_6_line_82 |  | 78 | 80 | 0.003842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1093-4_0_6_line_83 |  | 79 | 85 | 0.01931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1093-4_0_6_line_84 |  | 80 | 84 | 0.034861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1093-4_0_6_line_85 |  | 80 | 83 | 0.029827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1093-4_0_6_line_86 |  | 81 | 82 | 0.02347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1093-4_0_6_line_87 |  | 82 | 85 | 0.024759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_1093-4_0_6_line_88 |  | 88 | 89 | 0.026492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1093-4_0_6_trafo_85 | 0.63 MVA 20/0.4 kV | 90 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2657439.8528 | 1218621.2004 | 2657475.4352 | 1218617.559
1 | 2657490.3884 | 1218616.0288 | 2657475.4352 | 1218617.559
2 | 2657439.8528 | 1218621.2004 | 2657437.4495 | 1218605.9789 | 2657436.8517 | 1218599.4914 | 2657430.101 | 1218599.871 | 2657429.9331 | 1218593.6656 | 2657427.2714 | 1218594.2181 | 2657426.9789 | 1218591.4914 | 2657443.9616 | 1218587.8528
3 | 2657490.6045 | 1218621.9567 | 2657490.4899 | 1218618.8871 | 2657490.3884 | 1218616.0288
4 | 2657443.9616 | 1218587.8528 | 2657438.6206 | 1218539.616
5 | 2657443.9616 | 1218587.8528 | 2657448.3955 | 1218586.8949 | 2657447.8629 | 1218583.0985 | 2657463.4107 | 1218581.7918
6 | 2657490.6045 | 1218621.9567 | 2657488.6216 | 1218622.16 | 2657488.966 | 1218628.9452 | 2657453.9368 | 1218631.6387
7 | 2657415.3901 | 1218643.4117 | 2657415.0386 | 1218638.9389 | 2657418.9992 | 1218638.2655 | 2657418.5846 | 1218631.6797 | 2657430.2414 | 1218631.7476 | 2657439.2508 | 1218630.9005 | 2657442.1505 | 1218631.64
8 | 2657442.1505 | 1218631.64 | 2657444.8988 | 1218632.3336 | 2657453.9368 | 1218631.6387
9 | 2657474.343 | 1218643.68 | 2657471.1981 | 1218643.9721 | 2657470.2942 | 1218644.0523 | 2657457.3145 | 1218644.2162 | 2657452.5011 | 1218643.6027 | 2657425.188 | 1218645.7964 | 2657418.4897 | 1218643.0969 | 2657415.3901 | 1218643.4117
10 | 2657415.3901 | 1218643.4117 | 2657417.0997 | 1218665.2651
11 | 2657489.6979 | 1218819.7143 | 2657493.6714 | 1218818.4741 | 2657492.9207 | 1218805.0475 | 2657492.3479 | 1218799.3137
12 | 2657489.6979 | 1218819.7143 | 2657489.6574 | 1218815.2556 | 2657485.8991 | 1218775.9797
13 | 2657490.4374 | 1218780.187 | 2657492.3479 | 1218799.3137
14 | 2657380.4798 | 1218309.1365 | 2657382.7262 | 1218275.2817 | 2657382.6635 | 1218264.4522 | 2657382.1342 | 1218257.9431 | 2657380.5784 | 1218248.2664
15 | 2657352.187 | 1218282.8592 | 2657355.3848 | 1218286.5477 | 2657370.1055 | 1218298.7747 | 2657371.6976 | 1218300.5355 | 2657375.9782 | 1218305.2797 | 2657380.4798 | 1218309.1365
16 | 2657369.7387 | 1218332.1361 | 2657373.7561 | 1218335.0432 | 2657375.9782 | 1218305.2797 | 2657380.4798 | 1218309.1365
17 | 2657380.4798 | 1218309.1365 | 2657481.3137 | 1218395.5277 | 2657536.2807 | 1218449.8455
18 | 2657352.187 | 1218282.8592 | 2657341.422 | 1218270.4177
19 | 2657366.542 | 1218512.7832 | 2657366.7789 | 1218509.4612 | 2657361.8536 | 1218509.4138 | 2657363.8417 | 1218477.1353 | 2657370.6797 | 1218376.2946 | 2657373.7561 | 1218335.0432 | 2657369.7387 | 1218332.1361
20 | 2657369.7387 | 1218332.1361 | 2657358.9752 | 1218324.3532
21 | 2657536.2807 | 1218449.8455 | 2657565.9595 | 1218479.1738 | 2657550.6795 | 1218488.0455
22 | 2657676.9387 | 1218677.3019 | 2657673.8964 | 1218681.1082 | 2657667.5728 | 1218685.1829 | 2657662.3438 | 1218686.7443
23 | 2657676.9387 | 1218677.3019 | 2657682.4842 | 1218680.6799 | 2657688.6467 | 1218681.4845 | 2657702.3426 | 1218678.2635
24 | 2657659.7077 | 1218687.0079 | 2657662.3438 | 1218686.7443
25 | 2657662.3438 | 1218686.7443 | 2657665.0253 | 1218696.6875 | 2657673.9305 | 1218707.3691 | 2657676.0656 | 1218712.6861
26 | 2657719.6976 | 1218671.0564 | 2657712.524 | 1218677.4798 | 2657712.4769 | 1218682.349 | 2657706.2641 | 1218677.3413 | 2657702.3426 | 1218678.2635
27 | 2657710.5741 | 1218629.6314 | 2657708.1104 | 1218632.4649 | 2657720.8764 | 1218643.3952 | 2657718.7927 | 1218647.7444 | 2657718.0628 | 1218651.006 | 2657717.6811 | 1218654.371 | 2657717.9677 | 1218658.4763 | 2657719.6976 | 1218671.0564
28 | 2657710.5741 | 1218629.6314 | 2657718.746 | 1218636.3972
29 | 2657477.2979 | 1218643.4083 | 2657474.343 | 1218643.68
30 | 2657474.343 | 1218643.68 | 2657475.4714 | 1218657.7806
31 | 2657602.8776 | 1218626.5768 | 2657604.6463 | 1218639.891 | 2657608.2763 | 1218667.1317
32 | 2657602.8776 | 1218626.5768 | 2657594.1113 | 1218628.1819 | 2657587.5765 | 1218628.7439
33 | 2657608.2763 | 1218667.1317 | 2657608.5117 | 1218668.8966
34 | 2657543.5897 | 1218633.4751 | 2657548.3422 | 1218634.8996 | 2657568.2571 | 1218633.3354 | 2657571.7947 | 1218630.1009 | 2657587.5765 | 1218628.7439
35 | 2657366.542 | 1218512.7832 | 2657380.5074 | 1218512.7398 | 2657395.7744 | 1218512.6687
36 | 2657366.542 | 1218512.7832 | 2657363.6393 | 1218554.1252
37 | 2657357.0347 | 1218322.9501 | 2657358.9752 | 1218324.3532
38 | 2657611.3041 | 1218711.8997 | 2657613.2014 | 1218704.0576 | 2657608.5117 | 1218668.8966
39 | 2657607.3463 | 1218567.0833 | 2657607.9601 | 1218572.6816 | 2657640.7681 | 1218568.952 | 2657653.6753 | 1218566.8866 | 2657667.268 | 1218566.1399
40 | 2657607.3463 | 1218567.0833 | 2657589.2015 | 1218569.0338
41 | 2657592.5819 | 1218520.2451 | 2657600.3633 | 1218529.4593 | 2657609.34 | 1218537.5066 | 2657618.7571 | 1218546.3141 | 2657635.2474 | 1218559.8597 | 2657640.7681 | 1218568.952 | 2657653.6753 | 1218566.8866 | 2657667.268 | 1218566.1399
42 | 2657667.268 | 1218566.1399 | 2657670.3281 | 1218565.9805 | 2657687.9716 | 1218565.8022
43 | 2657589.2015 | 1218569.0338 | 2657574.6086 | 1218570.6025 | 2657569.2733 | 1218571.1223
44 | 2657543.5897 | 1218633.4751 | 2657513.6238 | 1218636.0875
45 | 2657543.5897 | 1218633.4751 | 2657546.3167 | 1218636.381 | 2657548.0997 | 1218652.5944
46 | 2657513.6238 | 1218636.0875 | 2657511.2776 | 1218640.9123 | 2657477.2979 | 1218643.4083
47 | 2657513.6238 | 1218636.0875 | 2657514.8123 | 1218651.1144
48 | 2657551.2029 | 1218680.8129 | 2657548.0997 | 1218652.5944
49 | 2657477.2979 | 1218643.4083 | 2657478.6092 | 1218659.5878
50 | 2657363.6393 | 1218554.1252 | 2657380.5247 | 1218554.2878 | 2657386.3618 | 1218553.9196
51 | 2657438.6206 | 1218539.616 | 2657435.376 | 1218540.7966 | 2657431.2481 | 1218543.0693 | 2657420.6515 | 1218549.5157 | 2657418.8637 | 1218549.9543 | 2657409.0531 | 1218549.6707 | 2657404.7143 | 1218550.1959 | 2657402.6807 | 1218551.7329 | 2657400.9884 | 1218554.0736 | 2657396.3465 | 1218554.5514 | 2657388.324 | 1218553.7959 | 2657386.3618 | 1218553.9196
52 | 2657592.5819 | 1218520.2451 | 2657587.5768 | 1218522.9651 | 2657585.6558 | 1218524.6142
53 | 2657483.8771 | 1218580.0717 | 2657463.4107 | 1218581.7918
54 | 2657417.8464 | 1218509.8309 | 2657417.8428 | 1218512.5659
55 | 2657417.8464 | 1218509.8309 | 2657434.7047 | 1218509.7192
56 | 2657417.8428 | 1218512.5659 | 2657395.7744 | 1218512.6687
57 | 2657417.8428 | 1218512.5659 | 2657417.8338 | 1218518.2248 | 2657421.526 | 1218525.7206 | 2657422.1969 | 1218527.7727 | 2657422.0316 | 1218530.5766
58 | 2657434.7047 | 1218509.7192 | 2657438.355 | 1218509.695 | 2657441.4674 | 1218508.8823
59 | 2657487.5893 | 1218751.6742 | 2657490.4374 | 1218780.187
60 | 2657719.7294 | 1218770.3957 | 2657725.6882 | 1218765.5727 | 2657743.9626 | 1218752.3527 | 2657755.1051 | 1218742.3672
61 | 2657719.7294 | 1218770.3957 | 2657708.7008 | 1218757.9813 | 2657706.3113 | 1218751.5987 | 2657705.7708 | 1218748.6388
62 | 2657536.7269 | 1218496.1465 | 2657550.6795 | 1218488.0455
63 | 2657659.7077 | 1218687.0079 | 2657655.741 | 1218686.736 | 2657652.249 | 1218684.4675 | 2657649.951 | 1218681.1655
64 | 2657659.7077 | 1218687.0079 | 2657652.9 | 1218700.328 | 2657647.9819 | 1218702.693 | 2657647.3518 | 1218702.7651
65 | 2657676.0656 | 1218712.6861 | 2657676.176 | 1218712.961 | 2657674.6388 | 1218723.5749 | 2657675.5136 | 1218728.075 | 2657678.6857 | 1218730.4516 | 2657693.0228 | 1218729.6009 | 2657697.1605 | 1218730.2303 | 2657701.667 | 1218734.3209 | 2657704.3221 | 1218740.706 | 2657705.7708 | 1218748.6388
66 | 2657357.0347 | 1218322.9501 | 2657349.29 | 1218317.3501
67 | 2657594.7069 | 1218728.2938 | 2657603.5251 | 1218722.0863 | 2657609.906 | 1218714.4322 | 2657611.3041 | 1218711.8997
68 | 2657611.3041 | 1218711.8997 | 2657613.184 | 1218712.9296 | 2657624.3162 | 1218712.2924
69 | 2657569.2733 | 1218571.1223 | 2657564.3302 | 1218571.6039 | 2657547.4901 | 1218573.4392
70 | 2657551.2029 | 1218680.8129 | 2657551.4074 | 1218682.6726
71 | 2657478.6092 | 1218659.5878 | 2657479.5496 | 1218671.1916 | 2657481.1595 | 1218687.307
72 | 2657504.9825 | 1218578.0718 | 2657495.9213 | 1218579.0594 | 2657483.8771 | 1218580.0717
73 | 2657449.5257 | 1218503.783 | 2657445.0889 | 1218507.9366 | 2657441.4674 | 1218508.8823
74 | 2657504.9825 | 1218578.0718 | 2657526.7108 | 1218575.7038
75 | 2657526.7108 | 1218575.7038 | 2657547.4901 | 1218573.4392
76 | 2657487.4652 | 1218486.617 | 2657485.2211 | 1218483.7642 | 2657477.73 | 1218479.834 | 2657472.4407 | 1218478.9713 | 2657468.3574 | 1218480.5551 | 2657466.135 | 1218484.1084
77 | 2657449.5257 | 1218503.783 | 2657449.8144 | 1218503.5128 | 2657458.0337 | 1218495.676 | 2657463.8093 | 1218487.8269 | 2657466.135 | 1218484.1084
78 | 2657488.4377 | 1218487.8533 | 2657487.4652 | 1218486.617
79 | 2657479.9849 | 1218714.1778 | 2657478.2612 | 1218692.6405
80 | 2657480.2951 | 1218717.4161 | 2657479.9849 | 1218714.1778
81 | 2657480.2951 | 1218717.4161 | 2657473.5179 | 1218718.1846 | 2657458.6617 | 1218719.8664
82 | 2657480.2951 | 1218717.4161 | 2657484.1244 | 1218716.9861
83 | 2657439.4727 | 1218722.0255 | 2657445.8242 | 1218721.3196 | 2657458.6617 | 1218719.8664
84 | 2657484.1244 | 1218716.9861 | 2657487.5893 | 1218751.6742
85 | 2657484.1244 | 1218716.9861 | 2657481.1595 | 1218687.307
86 | 2657417.2459 | 1218721.7556 | 2657440.5468 | 1218718.9413
87 | 2657439.4727 | 1218722.0255 | 2657417.5313 | 1218724.4267 | 2657417.2459 | 1218721.7556
88 | 2657624.3162 | 1218712.2924 | 2657627.5887 | 1218707.4432 | 2657633.1053 | 1218704.3947 | 2657647.3518 | 1218702.7651

## bus_geodata
| x | y | coords
0 | 2657475.4352 | 1218617.559
1 | 2657439.8528 | 1218621.2004
2 | 2657490.3884 | 1218616.0288
3 | 2657443.9616 | 1218587.8528
4 | 2657490.6045 | 1218621.9567
5 | 2657442.1505 | 1218631.64
6 | 2657415.3901 | 1218643.4117
7 | 2657453.9368 | 1218631.6387
8 | 2657489.6979 | 1218819.7143
9 | 2657492.3479 | 1218799.3137
10 | 2657485.8991 | 1218775.9797
11 | 2657380.4798 | 1218309.1365
12 | 2657380.5784 | 1218248.2664
13 | 2657352.187 | 1218282.8592
14 | 2657369.7387 | 1218332.1361
15 | 2657536.2807 | 1218449.8455
16 | 2657676.9387 | 1218677.3019
17 | 2657662.3438 | 1218686.7443
18 | 2657702.3426 | 1218678.2635
19 | 2657719.6976 | 1218671.0564
20 | 2657710.5741 | 1218629.6314
21 | 2657474.343 | 1218643.68
22 | 2657417.0997 | 1218665.2651
23 | 2657602.8776 | 1218626.5768
24 | 2657608.2763 | 1218667.1317
25 | 2657587.5765 | 1218628.7439
26 | 2657366.542 | 1218512.7832
27 | 2657358.9752 | 1218324.3532
28 | 2657608.5117 | 1218668.8966
29 | 2657607.3463 | 1218567.0833
30 | 2657667.268 | 1218566.1399
31 | 2657589.2015 | 1218569.0338
32 | 2657341.422 | 1218270.4177
33 | 2657543.5897 | 1218633.4751
34 | 2657513.6238 | 1218636.0875
35 | 2657548.0997 | 1218652.5944
36 | 2657718.746 | 1218636.3972
37 | 2657477.2979 | 1218643.4083
38 | 2657475.4714 | 1218657.7806
39 | 2657363.6393 | 1218554.1252
40 | 2657386.3618 | 1218553.9196
41 | 2657592.5819 | 1218520.2451
42 | 2657687.9716 | 1218565.8022
43 | 2657585.6558 | 1218524.6142
44 | 2657514.8123 | 1218651.1144
45 | 2657438.6206 | 1218539.616
46 | 2657463.4107 | 1218581.7918
47 | 2657417.8464 | 1218509.8309
48 | 2657417.8428 | 1218512.5659
49 | 2657434.7047 | 1218509.7192
50 | 2657395.7744 | 1218512.6687
51 | 2657490.4374 | 1218780.187
52 | 2657755.1051 | 1218742.3672
53 | 2657719.7294 | 1218770.3957
54 | 2657550.6795 | 1218488.0455
55 | 2657659.7077 | 1218687.0079
56 | 2657676.0656 | 1218712.6861
57 | 2657357.0347 | 1218322.9501
58 | 2657611.3041 | 1218711.8997
59 | 2657569.2733 | 1218571.1223
60 | 2657349.29 | 1218317.3501
61 | 2657551.2029 | 1218680.8129
62 | 2657649.951 | 1218681.1655
63 | 2657478.6092 | 1218659.5878
64 | 2657483.8771 | 1218580.0717
65 | 2657422.0316 | 1218530.5766
66 | 2657441.4674 | 1218508.8823
67 | 2657504.9825 | 1218578.0718
68 | 2657526.7108 | 1218575.7038
69 | 2657547.4901 | 1218573.4392
70 | 2657705.7708 | 1218748.6388
71 | 2657466.135 | 1218484.1084
72 | 2657487.4652 | 1218486.617
73 | 2657449.5257 | 1218503.783
74 | 2657488.4377 | 1218487.8533
75 | 2657536.7269 | 1218496.1465
76 | 2657478.2612 | 1218692.6405
77 | 2657479.9849 | 1218714.1778
78 | 2657480.2951 | 1218717.4161
79 | 2657458.6617 | 1218719.8664
80 | 2657484.1244 | 1218716.9861
81 | 2657440.5468 | 1218718.9413
82 | 2657417.2459 | 1218721.7556
83 | 2657481.1595 | 1218687.307
84 | 2657487.5893 | 1218751.6742
85 | 2657439.4727 | 1218722.0255
86 | 2657551.4074 | 1218682.6726
87 | 2657594.7069 | 1218728.2938
88 | 2657624.3162 | 1218712.2924
89 | 2657647.3518 | 1218702.7651
90 | 2657602.8776 | 1218626.5768

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98165 | -0.34986 | 0.0052661 | 0.0013198
1 | 0.97985 | -0.38488 | 0 | 0
2 | 0.98243 | -0.3349 | 0 | 0
3 | 0.97694 | -0.44165 | 0 | 0
4 | 0.98273 | -0.329 | 0 | 0
5 | 0.98561 | -0.27352 | 0 | 0
6 | 0.98763 | -0.23473 | 0 | 0
7 | 0.98499 | -0.28545 | 0.0037643 | 0.00094342
8 | 0.98115 | -0.36161 | 0 | 0
9 | 0.98143 | -0.35611 | 0.0066976 | 0.0016786
10 | 0.98062 | -0.37195 | 0.012994 | 0.0032567
11 | 0.97418 | -0.49614 | 0 | 0
12 | 0.97396 | -0.50038 | 0.0037769 | 0.00094657
13 | 0.97405 | -0.49861 | 0 | 0
14 | 0.97434 | -0.49295 | 0 | 0
15 | 0.9728 | -0.52325 | 0.0021094 | 0.00052866
16 | 0.98364 | -0.31381 | 0 | 0
17 | 0.98388 | -0.30914 | 0 | 0
18 | 0.98328 | -0.32082 | 0.0076783 | 0.0019244
19 | 0.98312 | -0.3241 | 0 | 0
20 | 0.98281 | -0.33015 | 0 | 0
21 | 0.99084 | -0.17338 | 0 | 0
22 | 0.98743 | -0.2385 | 0.0096097 | 0.0024084
23 | 0.99824 | -0.033341 | 0 | 0
24 | 0.99358 | -0.12208 | 0 | 0
25 | 1 | 0 | -0.58677 | -0.15086
26 | 0.97517 | -0.47653 | 0 | 0
27 | 0.97431 | -0.49355 | 0.00055192 | 0.00013833
28 | 0.99338 | -0.12596 | 0.022675 | 0.0056828
29 | 0.97177 | -0.54341 | 0 | 0
30 | 0.97042 | -0.57006 | 0 | 0
31 | 0.97215 | -0.53598 | 0.020509 | 0.00514
32 | 0.974 | -0.49966 | 0.0034737 | 0.00087058
33 | 0.99619 | -0.071897 | 0 | 0
34 | 0.99391 | -0.11503 | 0 | 0
35 | 0.9954 | -0.087004 | 0.018613 | 0.0046649
36 | 0.98274 | -0.33147 | 0.0068581 | 0.0017188
37 | 0.991 | -0.17029 | 0 | 0
38 | 0.99077 | -0.1747 | 0.0052569 | 0.0013175
39 | 0.97559 | -0.46817 | 0 | 0
40 | 0.97583 | -0.46358 | 0.001868 | 0.00046817
41 | 0.97016 | -0.57527 | 0 | 0
42 | 0.97005 | -0.57739 | 0.095594 | 0.023958
43 | 0.97005 | -0.57752 | 0.014721 | 0.0036894
44 | 0.99375 | -0.1181 | 0.011543 | 0.0028928
45 | 0.97643 | -0.45176 | 0 | 0
46 | 0.97599 | -0.46033 | 0.01866 | 0.0046766
47 | 0.97365 | -0.50651 | 0 | 0
48 | 0.97369 | -0.50573 | 0 | 0
49 | 0.97341 | -0.51132 | 0.0060246 | 0.0015099
50 | 0.97432 | -0.4933 | 0.00061822 | 0.00015494
51 | 0.98178 | -0.34926 | 0.024083 | 0.0060357
52 | 0.97802 | -0.42365 | 0.033432 | 0.0083789
53 | 0.97942 | -0.39616 | 0 | 0
54 | 0.97214 | -0.5363 | 0.004157 | 0.0010418
55 | 0.98404 | -0.30609 | 0 | 0
56 | 0.98251 | -0.3359 | 0.0083016 | 0.0020806
57 | 0.9743 | -0.49364 | 0.00089363 | 0.00022396
58 | 0.98932 | -0.20376 | 0 | 0
59 | 0.97264 | -0.52631 | 0.0066013 | 0.0016544
60 | 0.97429 | -0.49382 | 0.0010322 | 0.00025869
61 | 0.99479 | -0.098864 | 0.013841 | 0.0034688
62 | 0.98378 | -0.31116 | 0.023172 | 0.0058074
63 | 0.98946 | -0.19999 | 0.011176 | 0.002801
64 | 0.97524 | -0.47496 | 0.0060834 | 0.0015246
65 | 0.97342 | -0.51101 | 0.015128 | 0.0037914
66 | 0.97334 | -0.51252 | 0.0010014 | 0.00025097
67 | 0.9745 | -0.48961 | 0.022164 | 0.0055548
68 | 0.97382 | -0.50295 | 0.0065685 | 0.0016462
69 | 0.9732 | -0.51522 | 0.022162 | 0.0055544
70 | 0.98024 | -0.38012 | 0.0078475 | 0.0019668
71 | 0.97316 | -0.51619 | 0.001387 | 0.00034762
72 | 0.97308 | -0.51766 | 0.0020276 | 0.00050817
73 | 0.97327 | -0.51406 | 0.0040276 | 0.0010094
74 | 0.97308 | -0.51769 | 0.0010515 | 0.00026354
75 | 0.97202 | -0.53861 | 0.0077629 | 0.0019456
76 | 0.98434 | -0.29939 | 0.010006 | 0.0025078
77 | 0.98453 | -0.2955 | 0 | 0
78 | 0.98456 | -0.29492 | 0 | 0
79 | 0.98409 | -0.30421 | 0.013394 | 0.003357
80 | 0.98468 | -0.29259 | 0 | 0
81 | 0.98345 | -0.31678 | 0.010329 | 0.0025886
82 | 0.98367 | -0.31241 | 0 | 0
83 | 0.9871 | -0.24556 | 0.0038196 | 0.00095727
84 | 0.98294 | -0.32661 | 0.010409 | 0.0026087
85 | 0.9839 | -0.3078 | 0 | 0
86 | 0.99477 | -0.09919 | 0.0098927 | 0.0024794
87 | 0.98925 | -0.20514 | 0.0032839 | 0.00082303
88 | 0.98812 | -0.22686 | 0 | 0
89 | 0.98574 | -0.27307 | 0.010165 | 0.0025477
90 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.27236 | 0.069134 | -0.2719 | -0.068843 | 0.00045793 | 0.00029082 | 0.41316 | 0.41316 | 0.41316 | 0.98165 | -0.34986 | 0.97985 | -0.38488 | 22.7013
1 | -0.27762 | -0.070453 | 0.27782 | 0.07058 | 0.00019995 | 0.00012702 | 0.42115 | 0.42115 | 0.42115 | 0.98165 | -0.34986 | 0.98243 | -0.3349 | 23.1399
2 | 0.2719 | 0.068843 | -0.27116 | -0.068373 | 0.00073902 | 0.00046935 | 0.41316 | 0.41317 | 0.41317 | 0.97985 | -0.38488 | 0.97694 | -0.44165 | 22.7014
3 | -0.27782 | -0.07058 | 0.2779 | 0.070631 | 7.8907e-05 | 5.0125e-05 | 0.42115 | 0.42114 | 0.42115 | 0.98243 | -0.3349 | 0.98273 | -0.329 | 23.1398
4 | 0.057088 | 0.014349 | -0.057061 | -0.014335 | 2.7534e-05 | 1.4584e-05 | 0.086968 | 0.086969 | 0.086969 | 0.97694 | -0.44165 | 0.97643 | -0.45176 | 4.7785
5 | 0.21407 | 0.054024 | -0.21388 | -0.053903 | 0.00019131 | 0.00012094 | 0.3262 | 0.3262 | 0.3262 | 0.97694 | -0.44165 | 0.97599 | -0.46033 | 17.923
6 | -0.2779 | -0.070631 | 0.27849 | 0.071002 | 0.00058423 | 0.00037112 | 0.42114 | 0.42114 | 0.42114 | 0.98273 | -0.329 | 0.98499 | -0.28545 | 23.1398
7 | -0.28241 | -0.072048 | 0.28295 | 0.072385 | 0.00053018 | 0.00033684 | 0.42683 | 0.42683 | 0.42683 | 0.98561 | -0.27352 | 0.98763 | -0.23473 | 23.4522
8 | 0.28241 | 0.072048 | -0.28225 | -0.071945 | 0.00016259 | 0.0001033 | 0.42683 | 0.42683 | 0.42683 | 0.98561 | -0.27352 | 0.98499 | -0.28545 | 23.4522
9 | -0.29256 | -0.074794 | 0.29343 | 0.075348 | 0.0008711 | 0.00055367 | 0.44131 | 0.44131 | 0.44131 | 0.98763 | -0.23473 | 0.99084 | -0.17338 | 24.2478
10 | 0.0096115 | 0.0024092 | -0.0096097 | -0.0024084 | 1.7238e-06 | 8.228e-07 | 0.014481 | 0.014481 | 0.014481 | 0.98763 | -0.23473 | 0.98743 | -0.2385 | 3.9784
11 | -0.013001 | -0.0032602 | 0.013004 | 0.0032621 | 3.4076e-06 | 1.8856e-06 | 0.019718 | 0.019718 | 0.019718 | 0.98115 | -0.36161 | 0.98143 | -0.35611 | 5.417
12 | 0.013001 | 0.0032602 | -0.012994 | -0.0032567 | 6.4026e-06 | 3.5433e-06 | 0.019718 | 0.019718 | 0.019718 | 0.98115 | -0.36161 | 0.98062 | -0.37195 | 5.417
13 | -0.019702 | -0.0049407 | 0.019708 | 0.0049446 | 6.4323e-06 | 3.8737e-06 | 0.029872 | 0.029872 | 0.029872 | 0.98143 | -0.35611 | 0.98178 | -0.34926 | 8.2067
14 | 0.0037776 | 0.0009463 | -0.0037769 | -0.00094657 | 7.6274e-07 | -2.7228e-07 | 0.00577 | 0.0057703 | 0.0057703 | 0.97418 | -0.49614 | 0.97396 | -0.50038 | 1.5852
15 | 0.0034743 | 0.00087027 | -0.0034738 | -0.00087049 | 4.0879e-07 | -2.2026e-07 | 0.0053066 | 0.0053068 | 0.0053068 | 0.97418 | -0.49614 | 0.97405 | -0.49861 | 1.4579
16 | -0.021308 | -0.0053434 | 0.021311 | 0.0053429 | 3.2362e-06 | -4.6497e-07 | 0.032548 | 0.032547 | 0.032548 | 0.97418 | -0.49614 | 0.97434 | -0.49295 | 1.7883
17 | 0.014056 | 0.0035268 | -0.014038 | -0.0035204 | 1.8159e-05 | 6.3984e-06 | 0.021471 | 0.021473 | 0.021473 | 0.97418 | -0.49614 | 0.9728 | -0.52325 | 2.9496
18 | 0.0034738 | 0.00087049 | -0.0034737 | -0.00087058 | 1.7375e-07 | -9.3573e-08 | 0.0053068 | 0.0053069 | 0.0053069 | 0.97405 | -0.49861 | 0.974 | -0.49966 | 1.4579
19 | -0.023789 | -0.0059637 | 0.023807 | 0.0059638 | 1.8608e-05 | 1.9234e-07 | 0.036331 | 0.036327 | 0.036331 | 0.97434 | -0.49295 | 0.97517 | -0.47653 | 1.9962
20 | 0.0024778 | 0.00062072 | -0.0024778 | -0.00062084 | 7.1324e-08 | -1.1978e-07 | 0.0037841 | 0.0037841 | 0.0037841 | 0.97434 | -0.49295 | 0.97431 | -0.49355 | 1.0396
21 | 0.011928 | 0.0029918 | -0.011921 | -0.0029878 | 7.4154e-06 | 4.009e-06 | 0.018246 | 0.018247 | 0.018247 | 0.9728 | -0.52325 | 0.97214 | -0.5363 | 5.0128
22 | -0.014545 | -0.0036471 | 0.014548 | 0.0036489 | 3.2351e-06 | 1.8442e-06 | 0.022003 | 0.022003 | 0.022003 | 0.98364 | -0.31381 | 0.98388 | -0.30914 | 6.0449
23 | 0.014545 | 0.0036471 | -0.01454 | -0.0036443 | 4.8616e-06 | 2.7717e-06 | 0.022003 | 0.022003 | 0.022003 | 0.98364 | -0.31381 | 0.98328 | -0.32082 | 6.0449
24 | -0.06435 | -0.016214 | 0.064359 | 0.01622 | 9.39e-06 | 5.976e-06 | 0.097353 | 0.097353 | 0.097353 | 0.98388 | -0.30914 | 0.98404 | -0.30609 | 26.7454
25 | 0.049802 | 0.012565 | -0.049738 | -0.012525 | 6.3735e-05 | 4.0411e-05 | 0.07535 | 0.07535 | 0.07535 | 0.98388 | -0.30914 | 0.98251 | -0.3359 | 20.7006
26 | 0.0068615 | 0.0017199 | -0.0068605 | -0.0017196 | 1.0718e-06 | 3.4977e-07 | 0.010384 | 0.010384 | 0.010384 | 0.98328 | -0.32082 | 0.98312 | -0.3241 | 2.8527
27 | 0.0068605 | 0.0017196 | -0.0068585 | -0.0017189 | 1.9783e-06 | 6.4594e-07 | 0.010384 | 0.010384 | 0.010384 | 0.98312 | -0.3241 | 0.98281 | -0.33015 | 2.8528
28 | 0.0068585 | 0.0017189 | -0.0068581 | -0.0017188 | 4.29e-07 | 1.4013e-07 | 0.010384 | 0.010384 | 0.010384 | 0.98281 | -0.33015 | 0.98274 | -0.33147 | 2.8528
29 | -0.29868 | -0.076666 | 0.29873 | 0.076694 | 4.4781e-05 | 2.8469e-05 | 0.4492 | 0.4492 | 0.4492 | 0.99084 | -0.17338 | 0.991 | -0.17029 | 24.6816
30 | 0.0052573 | 0.0013175 | -0.0052569 | -0.0013175 | 3.3066e-07 | 2.944e-08 | 0.0078952 | 0.0078953 | 0.0078953 | 0.99084 | -0.17338 | 0.99077 | -0.1747 | 2.169
31 | 0.12506 | 0.03198 | -0.12453 | -0.031639 | 0.0005345 | 0.00034155 | 0.18665 | 0.18665 | 0.18665 | 0.99824 | -0.033341 | 0.99358 | -0.12208 | 51.2778
32 | -0.12506 | -0.03198 | 0.12527 | 0.032109 | 0.00020212 | 0.00012915 | 0.18665 | 0.18665 | 0.18665 | 0.99824 | -0.033341 | 1 | 0 | 51.2777
33 | 0.12453 | 0.031639 | -0.12451 | -0.031624 | 2.3261e-05 | 1.4864e-05 | 0.18665 | 0.18665 | 0.18665 | 0.99358 | -0.12208 | 0.99338 | -0.12596 | 51.2778
34 | 0.45985 | 0.11875 | -0.45824 | -0.11772 | 0.0016061 | 0.0010249 | 0.68551 | 0.68551 | 0.68551 | 1 | 0 | 0.99619 | -0.071897 | 37.6654
35 | 0.031319 | 0.0078679 | -0.031294 | -0.0078523 | 2.5043e-05 | 1.5663e-05 | 0.047797 | 0.047797 | 0.047797 | 0.97517 | -0.47653 | 0.97432 | -0.4933 | 13.1309
36 | -0.055126 | -0.013832 | 0.055148 | 0.013843 | 2.2e-05 | 1.1493e-05 | 0.084123 | 0.084122 | 0.084123 | 0.97517 | -0.47653 | 0.97559 | -0.46817 | 4.6222
37 | 0.0019258 | 0.00048252 | -0.0019258 | -0.00048254 | 7.7681e-09 | -2.485e-08 | 0.0029412 | 0.0029412 | 0.0029412 | 0.97431 | -0.49355 | 0.9743 | -0.49364 | 0.80802
38 | 0.10183 | 0.025941 | -0.10145 | -0.025698 | 0.00038065 | 0.00024306 | 0.15269 | 0.15269 | 0.15269 | 0.99338 | -0.12596 | 0.98932 | -0.20376 | 41.9468
39 | 0.11049 | 0.027751 | -0.11035 | -0.027665 | 0.00014031 | 8.5756e-05 | 0.16921 | 0.16921 | 0.16921 | 0.97177 | -0.54341 | 0.97042 | -0.57006 | 9.2975
40 | -0.11049 | -0.027751 | 0.11053 | 0.027775 | 3.919e-05 | 2.3951e-05 | 0.16921 | 0.16921 | 0.16921 | 0.97177 | -0.54341 | 0.97215 | -0.53598 | 9.2974
41 | 0.014726 | 0.0036867 | -0.014722 | -0.0036903 | 3.6584e-06 | -3.567e-06 | 0.022579 | 0.022581 | 0.022581 | 0.97042 | -0.57006 | 0.97016 | -0.57527 | 1.2407
42 | 0.095627 | 0.023978 | -0.095594 | -0.023958 | 3.3396e-05 | 2.0095e-05 | 0.14664 | 0.14664 | 0.14664 | 0.97042 | -0.57006 | 0.97005 | -0.57739 | 8.0569
43 | -0.13104 | -0.032914 | 0.1311 | 0.032952 | 6.0477e-05 | 3.7462e-05 | 0.2006 | 0.2006 | 0.2006 | 0.97215 | -0.53598 | 0.97264 | -0.52631 | 11.0222
44 | 0.41585 | 0.10708 | -0.41498 | -0.10652 | 0.00087078 | 0.00055535 | 0.62219 | 0.62219 | 0.62219 | 0.99619 | -0.071897 | 0.99391 | -0.11503 | 34.1861
45 | 0.042391 | 0.010641 | -0.04236 | -0.010621 | 3.0521e-05 | 1.927e-05 | 0.063325 | 0.063326 | 0.063326 | 0.99619 | -0.071897 | 0.9954 | -0.087004 | 17.3971
46 | 0.40344 | 0.10363 | -0.40236 | -0.10294 | 0.0010795 | 0.00068833 | 0.6049 | 0.60491 | 0.60491 | 0.99391 | -0.11503 | 0.991 | -0.17029 | 33.2365
47 | 0.011544 | 0.0028937 | -0.011543 | -0.0028928 | 1.6886e-06 | 8.8536e-07 | 0.017283 | 0.017283 | 0.017283 | 0.99391 | -0.11503 | 0.99375 | -0.1181 | 4.7482
48 | 0.023747 | 0.0059565 | -0.023734 | -0.0059482 | 1.3417e-05 | 8.2181e-06 | 0.035501 | 0.035501 | 0.035501 | 0.9954 | -0.087004 | 0.99479 | -0.098864 | 9.753
49 | 0.10363 | 0.026249 | -0.10348 | -0.026155 | 0.00014757 | 9.4237e-05 | 0.1557 | 0.1557 | 0.1557 | 0.991 | -0.17029 | 0.98946 | -0.19999 | 42.7752
50 | -0.055148 | -0.013843 | 0.05516 | 0.01385 | 1.2066e-05 | 6.3026e-06 | 0.084122 | 0.084122 | 0.084122 | 0.97559 | -0.46817 | 0.97583 | -0.46358 | 4.6221
51 | -0.057028 | -0.014318 | 0.057061 | 0.014335 | 3.2177e-05 | 1.7048e-05 | 0.08697 | 0.086969 | 0.08697 | 0.97583 | -0.46358 | 0.97643 | -0.45176 | 4.7786
52 | 0.014722 | 0.0036903 | -0.014721 | -0.0036894 | 1.5733e-06 | 9.0535e-07 | 0.022581 | 0.022581 | 0.022581 | 0.97016 | -0.57527 | 0.97005 | -0.57752 | 6.2036
53 | 0.19522 | 0.049227 | -0.19509 | -0.04914 | 0.00013656 | 8.6118e-05 | 0.29775 | 0.29775 | 0.29775 | 0.97599 | -0.46033 | 0.97524 | -0.47496 | 16.3599
54 | -0.015525 | -0.003892 | 0.015526 | 0.0038923 | 5.7741e-07 | 3.3553e-07 | 0.023727 | 0.023727 | 0.023727 | 0.97365 | -0.50651 | 0.97369 | -0.50573 | 6.5185
55 | 0.015525 | 0.003892 | -0.015522 | -0.0038899 | 3.5592e-06 | 2.0683e-06 | 0.023727 | 0.023727 | 0.023727 | 0.97365 | -0.50651 | 0.97341 | -0.51132 | 6.5185
56 | -0.030658 | -0.007686 | 0.030676 | 0.0076973 | 1.8167e-05 | 1.1352e-05 | 0.046853 | 0.046852 | 0.046853 | 0.97369 | -0.50573 | 0.97432 | -0.4933 | 12.8716
57 | 0.015132 | 0.0037936 | -0.015128 | -0.0037914 | 3.8068e-06 | 2.2003e-06 | 0.023125 | 0.023125 | 0.023125 | 0.97369 | -0.50573 | 0.97342 | -0.51101 | 6.3531
58 | 0.0094969 | 0.00238 | -0.0094964 | -0.0023797 | 5.4275e-07 | 2.62e-07 | 0.014518 | 0.014518 | 0.014518 | 0.97341 | -0.51132 | 0.97334 | -0.51252 | 3.9884
59 | -0.043791 | -0.01098 | 0.043838 | 0.01101 | 4.7338e-05 | 2.9933e-05 | 0.066373 | 0.066373 | 0.066373 | 0.98178 | -0.34926 | 0.98294 | -0.32661 | 18.2343
60 | -0.033432 | -0.0083789 | 0.033476 | 0.0084064 | 4.3838e-05 | 2.7489e-05 | 0.050865 | 0.050865 | 0.050865 | 0.97802 | -0.42365 | 0.97942 | -0.39616 | 13.974
61 | -0.033476 | -0.0084064 | 0.033502 | 0.0084225 | 2.5643e-05 | 1.6078e-05 | 0.050865 | 0.050865 | 0.050865 | 0.97942 | -0.39616 | 0.98024 | -0.38012 | 13.974
62 | 0.0077638 | 0.0019459 | -0.0077629 | -0.0019456 | 8.5443e-07 | 3.4682e-07 | 0.011884 | 0.011884 | 0.011884 | 0.97214 | -0.5363 | 0.97202 | -0.53861 | 3.2648
63 | 0.023178 | 0.0058109 | -0.023172 | -0.0058074 | 5.603e-06 | 3.4314e-06 | 0.035049 | 0.035049 | 0.035049 | 0.98404 | -0.30609 | 0.98378 | -0.31116 | 9.6288
64 | -0.087537 | -0.022031 | 0.087675 | 0.02212 | 0.00013838 | 8.8297e-05 | 0.1324 | 0.1324 | 0.1324 | 0.98404 | -0.30609 | 0.98574 | -0.27307 | 36.3742
65 | 0.041437 | 0.010444 | -0.041349 | -0.010389 | 8.7464e-05 | 5.5229e-05 | 0.062777 | 0.062778 | 0.062778 | 0.98251 | -0.3359 | 0.98024 | -0.38012 | 17.2466
66 | 0.0010322 | 0.00025858 | -0.0010322 | -0.00025869 | 8.9063e-09 | -1.1332e-07 | 0.0015764 | 0.0015764 | 0.0015764 | 0.9743 | -0.49364 | 0.97429 | -0.49382 | 0.43308
67 | 0.0032842 | 0.00082287 | -0.0032839 | -0.00082303 | 2.1602e-07 | -1.6488e-07 | 0.0049396 | 0.0049397 | 0.0049397 | 0.98932 | -0.20376 | 0.98925 | -0.20514 | 1.3571
68 | 0.098166 | 0.024875 | -0.098058 | -0.024806 | 0.00010882 | 6.9477e-05 | 0.14775 | 0.14775 | 0.14775 | 0.98932 | -0.20376 | 0.98812 | -0.22686 | 40.5898
69 | -0.1377 | -0.034606 | 0.13778 | 0.034652 | 7.2941e-05 | 4.5322e-05 | 0.2107 | 0.2107 | 0.2107 | 0.97264 | -0.52631 | 0.9732 | -0.51522 | 11.5771
70 | 0.0098929 | 0.0024794 | -0.0098927 | -0.0024794 | 1.5363e-07 | 7.4036e-08 | 0.014798 | 0.014798 | 0.014798 | 0.99479 | -0.098864 | 0.99477 | -0.09919 | 4.0654
71 | 0.092306 | 0.023354 | -0.092105 | -0.023225 | 0.00020139 | 0.00012853 | 0.13889 | 0.13889 | 0.13889 | 0.98946 | -0.19999 | 0.9871 | -0.24556 | 38.1578
72 | 0.189 | 0.047616 | -0.18887 | -0.047532 | 0.00013232 | 8.3363e-05 | 0.28847 | 0.28847 | 0.28847 | 0.97524 | -0.47496 | 0.9745 | -0.48961 | 15.8499
73 | 0.008495 | 0.0021288 | -0.0084944 | -0.0021285 | 6.2112e-07 | 2.7546e-07 | 0.012987 | 0.012987 | 0.012987 | 0.97334 | -0.51252 | 0.97327 | -0.51406 | 3.5678
74 | 0.16671 | 0.041978 | -0.1666 | -0.041911 | 0.00010628 | 6.6659e-05 | 0.25462 | 0.25462 | 0.25462 | 0.9745 | -0.48961 | 0.97382 | -0.50295 | 13.9904
75 | 0.16003 | 0.040265 | -0.15994 | -0.040206 | 9.3784e-05 | 5.8722e-05 | 0.24459 | 0.24459 | 0.24459 | 0.97382 | -0.50295 | 0.9732 | -0.51522 | 13.4389
76 | 0.0030794 | 0.00077151 | -0.0030792 | -0.00077169 | 2.1632e-07 | -1.8481e-07 | 0.0047084 | 0.0047086 | 0.0047086 | 0.97316 | -0.51619 | 0.97308 | -0.51766 | 1.2936
77 | -0.0044664 | -0.0011191 | 0.0044668 | 0.0011191 | 4.5267e-07 | -3.1907e-08 | 0.0068293 | 0.0068291 | 0.0068293 | 0.97316 | -0.51619 | 0.97327 | -0.51406 | 1.8762
78 | 0.0010515 | 0.00026352 | -0.0010515 | -0.00026354 | 1.5251e-09 | -1.8564e-08 | 0.001608 | 0.001608 | 0.001608 | 0.97308 | -0.51766 | 0.97308 | -0.51769 | 0.44175
79 | -0.010006 | -0.0025078 | 0.010008 | 0.0025087 | 1.8538e-06 | 9.1173e-07 | 0.015126 | 0.015126 | 0.015126 | 0.98434 | -0.29939 | 0.98453 | -0.2955 | 4.1555
80 | -0.010008 | -0.0025087 | 0.010008 | 0.0025088 | 2.7919e-07 | 1.373e-07 | 0.015126 | 0.015126 | 0.015126 | 0.98453 | -0.2955 | 0.98456 | -0.29492 | 4.1555
81 | 0.02374 | 0.0059551 | -0.023729 | -0.0059486 | 1.0511e-05 | 6.4504e-06 | 0.035881 | 0.035881 | 0.035881 | 0.98456 | -0.29492 | 0.98409 | -0.30421 | 9.8574
82 | -0.033748 | -0.0084639 | 0.033752 | 0.0084663 | 3.7484e-06 | 2.3501e-06 | 0.051007 | 0.051007 | 0.051007 | 0.98456 | -0.29492 | 0.98468 | -0.29259 | 14.0129
83 | 0.010335 | 0.0025917 | -0.010333 | -0.0025908 | 1.7684e-06 | 8.8652e-07 | 0.015627 | 0.015628 | 0.015628 | 0.98409 | -0.30421 | 0.9839 | -0.3078 | 4.2933
84 | 0.054336 | 0.013675 | -0.054247 | -0.013619 | 8.8181e-05 | 5.5993e-05 | 0.08213 | 0.08213 | 0.08213 | 0.98468 | -0.29259 | 0.98294 | -0.32661 | 22.5633
85 | -0.088087 | -0.022141 | 0.088285 | 0.022268 | 0.00019826 | 0.00012651 | 0.13314 | 0.13314 | 0.13314 | 0.98468 | -0.29259 | 0.9871 | -0.24556 | 36.5761
86 | -0.010329 | -0.0025886 | 0.010331 | 0.0025897 | 2.1495e-06 | 1.0778e-06 | 0.015628 | 0.015628 | 0.015628 | 0.98345 | -0.31678 | 0.98367 | -0.31241 | 4.2933
87 | -0.010331 | -0.0025897 | 0.010333 | 0.0025908 | 2.2675e-06 | 1.1368e-06 | 0.015628 | 0.015628 | 0.015628 | 0.98367 | -0.31241 | 0.9839 | -0.3078 | 4.2933
88 | 0.098058 | 0.024806 | -0.097841 | -0.024667 | 0.00021686 | 0.00013845 | 0.14775 | 0.14775 | 0.14775 | 0.98812 | -0.22686 | 0.98574 | -0.27307 | 40.5898

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59321 | 0.15247

## res_load
| p_mw | q_mvar
0 | 0.0052661 | 0.0013198
1 | 0.0037643 | 0.00094342
2 | 0.0066976 | 0.0016786
3 | 0.012994 | 0.0032567
4 | 0.0037769 | 0.00094657
5 | 0.0021094 | 0.00052866
6 | 0.0076783 | 0.0019244
7 | 0.0096097 | 0.0024084
8 | 0.0064398 | 0.001614
9 | 0.00055192 | 0.00013833
10 | 0.022675 | 0.0056828
11 | 0.020509 | 0.00514
12 | 0.0034737 | 0.00087058
13 | 0.018613 | 0.0046649
14 | 0.0068581 | 0.0017188
15 | 0.0052569 | 0.0013175
16 | 0.001868 | 0.00046817
17 | 0.095594 | 0.023958
18 | 0.014721 | 0.0036894
19 | 0.011543 | 0.0028928
20 | 0.01866 | 0.0046766
21 | 0.0060246 | 0.0015099
22 | 0.00061822 | 0.00015494
23 | 0.024083 | 0.0060357
24 | 0.033432 | 0.0083789
25 | 0.004157 | 0.0010418
26 | 0.0083016 | 0.0020806
27 | 0.00089363 | 0.00022396
28 | 0.0066013 | 0.0016544
29 | 0.0010322 | 0.00025869
30 | 0.013841 | 0.0034688
31 | 0.023172 | 0.0058074
32 | 0.011176 | 0.002801
33 | 0.0060834 | 0.0015246
34 | 0.015128 | 0.0037914
35 | 0.0010014 | 0.00025097
36 | 0.022164 | 0.0055548
37 | 0.0065685 | 0.0016462
38 | 0.022162 | 0.0055544
39 | 0.0078475 | 0.0019668
40 | 0.001387 | 0.00034762
41 | 0.0020276 | 0.00050817
42 | 0.0040276 | 0.0010094
43 | 0.0010515 | 0.00026354
44 | 0.0077629 | 0.0019456
45 | 0.010006 | 0.0025078
46 | 0.013394 | 0.003357
47 | 0.010329 | 0.0025886
48 | 0.0038196 | 0.00095727
49 | 0.010409 | 0.0026087
50 | 0.0098927 | 0.0024794
51 | 0.0032839 | 0.00082303
52 | 0.010165 | 0.0025477

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1