## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1093-5_1_3_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_1093-5_1_3_node_5 | 0.4 | n |  | TRUE
2 | bus_LV_1093-5_1_3_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_1093-5_1_3_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_1093-5_1_3_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_1093-5_1_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1093-5_1_3_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_1093-5_1_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1093-5_1_3_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_1093-5_1_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_1093-5_1_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_1093-5_1_3_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_1093-5_1_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1093-5_1_3_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_1093-5_1_3_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_1093-5_1_3_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_1093-5_1_3_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_1093-5_1_3_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_1093-5_1_3_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_1093-5_1_3_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_1093-5_1_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_1093-5_1_3_node_141 | 0.4 | n |  | TRUE
22 | bus_LV_1093-5_1_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_1093-5_1_3_node_146 | 0.4 | n |  | TRUE
24 | bus_LV_1093-5_1_3_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1093-5_1_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_1093-5_1_3_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_1093-5_1_3_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_1093-5_1_3_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_1093-5_1_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_1093-5_1_3_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_1093-5_1_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_1093-5_1_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1093-5_1_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_1093-5_1_3_node_145 | 0.4 | n |  | TRUE
35 | bus_LV_1093-5_1_3_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_1093-5_1_3_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_1093-5_1_3_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_1093-5_1_3_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_1093-5_1_3_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_1093-5_1_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1093-5_1_3_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_1093-5_1_3_node_149 | 0.4 | n |  | TRUE
43 | bus_LV_1093-5_1_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_1093-5_1_3_node_142 | 0.4 | n |  | TRUE
45 | bus_LV_1093-5_1_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_1093-5_1_3_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_1093-5_1_3_node_148 | 0.4 | n |  | TRUE
48 | bus_LV_1093-5_1_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_1093-5_1_3_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_1093-5_1_3_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_1093-5_1_3_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_1093-5_1_3_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_1093-5_1_3_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_1093-5_1_3_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_1093-5_1_3_node_73 | 0.4 | n |  | TRUE
56 | bus_LV_1093-5_1_3_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_1093-5_1_3_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_1093-5_1_3_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_1093-5_1_3_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_1093-5_1_3_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_1093-5_1_3_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_1093-5_1_3_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_1093-5_1_3_node_79 | 0.4 | n |  | TRUE
64 | bus_LV_1093-5_1_3_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_1093-5_1_3_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_1093-5_1_3_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_1093-5_1_3_node_143 | 0.4 | n |  | TRUE
68 | bus_MV_354_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1093-5_1_3_load_4 | 0 | 0.0067374 | 0.0016885 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1093-5_1_3_load_5 | 1 | 0.061691 | 0.015461 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1093-5_1_3_load_36 | 8 | 0.011042 | 0.0027674 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1093-5_1_3_load_25 | 9 | 0.023963 | 0.0060058 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1093-5_1_3_load_57 | 11 | 0.0071441 | 0.0017905 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1093-5_1_3_load_37 | 15 | 0.0011627 | 0.00029139 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1093-5_1_3_load_58 | 16 | 0.0016066 | 0.00040266 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1093-5_1_3_load_56 | 19 | 0.0045484 | 0.0011399 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1093-5_1_3_load_141 | 21 | 0.0062267 | 0.0015606 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1093-5_1_3_load_27 | 22 | 0.0090096 | 0.002258 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1093-5_1_3_load_146 | 23 | 0.0063339 | 0.0015874 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1093-5_1_3_load_13 | 25 | 0.010432 | 0.0026144 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1093-5_1_3_load_11 | 26 | 0.031589 | 0.0079168 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1093-5_1_3_load_35 | 27 | 0.014498 | 0.0036335 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1093-5_1_3_load_41 | 28 | 0.0016069 | 0.00040274 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1093-5_1_3_load_14 | 30 | 0.010826 | 0.0027132 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1093-5_1_3_load_17 | 31 | 0.026815 | 0.0067206 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1093-5_1_3_load_26 | 32 | 0.015734 | 0.0039433 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1093-5_1_3_load_145 | 34 | 0.017222 | 0.0043162 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1093-5_1_3_load_54 | 35 | 0.00050401 | 0.00012632 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1093-5_1_3_load_60 | 37 | 0.00014438 | 3.6185e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1093-5_1_3_load_69 | 38 | 0.00019275 | 4.8309e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1093-5_1_3_load_59 | 39 | 0.0013894 | 0.00034821 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1093-5_1_3_load_149 | 42 | 0.00029351 | 7.356e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1093-5_1_3_load_142 | 44 | 0.013315 | 0.003337 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1093-5_1_3_load_30 | 45 | 0.0091826 | 0.0023014 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1093-5_1_3_load_53 | 46 | 0.0027553 | 0.00069054 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1093-5_1_3_load_148 | 47 | 0.035181 | 0.0088172 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1093-5_1_3_load_42 | 48 | 0.00030958 | 7.7588e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1093-5_1_3_load_61 | 49 | 0.00053503 | 0.00013409 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1093-5_1_3_load_75 | 52 | 0.00021918 | 5.4931e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1093-5_1_3_load_66 | 53 | 0.00032534 | 8.1538e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1093-5_1_3_load_73 | 55 | 0.0003092 | 7.7492e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1093-5_1_3_load_63 | 56 | 0.0013689 | 0.00034308 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1093-5_1_3_load_67 | 58 | 0.00047186 | 0.00011826 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1093-5_1_3_load_68 | 59 | 0.00025312 | 6.3438e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1093-5_1_3_load_72 | 60 | 0.00013975 | 3.5025e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1093-5_1_3_load_71 | 61 | 0.0004821 | 0.00012083 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1093-5_1_3_load_79 | 63 | 0.00028337 | 7.1019e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1093-5_1_3_load_74 | 65 | 0.0006317 | 0.00015832 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1093-5_1_3_load_78 | 66 | 0.00011002 | 2.7575e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1093-5_1_3_load_143 | 67 | 0.015872 | 0.003978 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1093-5_1_3_line_0 |  | 0 | 1 | 0.12936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1093-5_1_3_line_1 |  | 1 | 2 | 0.13454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1093-5_1_3_line_2 |  | 2 | 3 | 0.003587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1093-5_1_3_line_3 |  | 2 | 4 | 0.040523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1093-5_1_3_line_4 |  | 3 | 9 | 0.035545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1093-5_1_3_line_5 |  | 3 | 10 | 0.037385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1093-5_1_3_line_6 |  | 4 | 11 | 0.063024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1093-5_1_3_line_7 |  | 5 | 6 | 0.012962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1093-5_1_3_line_8 |  | 5 | 7 | 0.054579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1093-5_1_3_line_9 |  | 5 | 8 | 0.029482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1093-5_1_3_line_10 |  | 6 | 24 | 0.030988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1093-5_1_3_line_11 |  | 6 | 23 | 0.03868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1093-5_1_3_line_12 |  | 7 | 25 | 0.026744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1093-5_1_3_line_13 |  | 7 | 26 | 0.035278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1093-5_1_3_line_14 |  | 8 | 27 | 0.037542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1093-5_1_3_line_15 |  | 9 | 32 | 0.029209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1093-5_1_3_line_16 |  | 10 | 31 | 0.11999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1093-5_1_3_line_17 |  | 10 | 30 | 0.10086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1093-5_1_3_line_18 |  | 11 | 14 | 0.045338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1093-5_1_3_line_19 |  | 12 | 13 | 0.026613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1093-5_1_3_line_20 |  | 12 | 14 | 0.041533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1093-5_1_3_line_21 |  | 12 | 15 | 0.010307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1093-5_1_3_line_22 |  | 13 | 38 | 0.032469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1093-5_1_3_line_23 |  | 13 | 36 | 0.032334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1093-5_1_3_line_24 |  | 14 | 16 | 0.015202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1093-5_1_3_line_25 |  | 16 | 39 | 0.040851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1093-5_1_3_line_26 |  | 17 | 18 | 0.07823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1093-5_1_3_line_27 |  | 17 | 19 | 0.029678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1093-5_1_3_line_28 |  | 18 | 20 | 0.028314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1093-5_1_3_line_29 |  | 18 | 21 | 0.12171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1093-5_1_3_line_30 |  | 20 | 22 | 0.085677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1093-5_1_3_line_31 |  | 21 | 44 | 0.057346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1093-5_1_3_line_32 |  | 22 | 43 | 0.014816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1093-5_1_3_line_33 |  | 24 | 47 | 0.031658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1093-5_1_3_line_34 |  | 25 | 30 | 0.026013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1093-5_1_3_line_35 |  | 28 | 29 | 0.019839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1093-5_1_3_line_36 |  | 29 | 48 | 0.076632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1093-5_1_3_line_37 |  | 33 | 34 | 0.029205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1093-5_1_3_line_38 |  | 33 | 35 | 0.07129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1093-5_1_3_line_39 |  | 35 | 46 | 0.039914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1093-5_1_3_line_40 |  | 36 | 37 | 0.031097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1093-5_1_3_line_41 |  | 37 | 49 | 0.026813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1093-5_1_3_line_42 |  | 38 | 54 | 0.0085576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1093-5_1_3_line_43 |  | 40 | 41 | 0.039186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1093-5_1_3_line_44 |  | 40 | 42 | 0.015767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1093-5_1_3_line_45 |  | 40 | 43 | 0.004175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1093-5_1_3_line_46 |  | 41 | 46 | 0.031285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1093-5_1_3_line_47 |  | 42 | 47 | 0.050946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1093-5_1_3_line_48 |  | 43 | 45 | 0.035555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1093-5_1_3_line_49 |  | 44 | 67 | 0.0011385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1093-5_1_3_line_50 |  | 48 | 49 | 9.5894e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1093-5_1_3_line_51 |  | 50 | 51 | 0.002798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1093-5_1_3_line_52 |  | 50 | 52 | 0.079813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1093-5_1_3_line_53 |  | 51 | 53 | 0.034555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1093-5_1_3_line_54 |  | 52 | 55 | 0.0025606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1093-5_1_3_line_55 |  | 53 | 57 | 0.0099555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1093-5_1_3_line_56 |  | 54 | 59 | 0.011687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1093-5_1_3_line_57 |  | 54 | 56 | 0.014731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1093-5_1_3_line_58 |  | 55 | 65 | 0.02163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1093-5_1_3_line_59 |  | 56 | 57 | 0.026735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1093-5_1_3_line_60 |  | 57 | 58 | 0.024866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1093-5_1_3_line_61 |  | 58 | 60 | 0.012588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1093-5_1_3_line_62 |  | 61 | 62 | 0.022228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1093-5_1_3_line_63 |  | 62 | 63 | 0.011134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1093-5_1_3_line_64 |  | 62 | 64 | 0.002836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1093-5_1_3_line_65 |  | 64 | 66 | 0.17233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1093-5_1_3_line_66 |  | 64 | 65 | 0.044155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1093-5_1_3_trafo_35 | 0.63 MVA 20/0.4 kV | 68 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2658157.4613 | 1218682.8729 | 2658147.8886 | 1218686.7164 | 2658138.2354 | 1218692.1034 | 2658132.073 | 1218698.2916 | 2658128.6038 | 1218703.8278 | 2658125.929 | 1218711.9401 | 2658123.3766 | 1218718.4081 | 2658120.0306 | 1218721.4217 | 2658104.8483 | 1218728.7672 | 2658078.2939 | 1218747.3532 | 2658059.2271 | 1218760.9993
1 | 2657950.2743 | 1218834.1052 | 2657971.2407 | 1218813.3407 | 2657978.468 | 1218813.0998 | 2657986.1516 | 1218804.9806 | 2658009.0962 | 1218783.724 | 2658012.2536 | 1218782.1427 | 2658039.1028 | 1218772.9984 | 2658054.9989 | 1218764.0254 | 2658059.2271 | 1218760.9993
2 | 2657950.2743 | 1218834.1052 | 2657947.519 | 1218831.7992
3 | 2657950.2743 | 1218834.1052 | 2657956.688 | 1218839.4931 | 2657965.0288 | 1218846.4897 | 2657968.9221 | 1218849.6072 | 2657966.4348 | 1218852.5293 | 2657976.0111 | 1218860.4606
4 | 2657947.519 | 1218831.7992 | 2657920.3086 | 1218808.9292
5 | 2657947.519 | 1218831.7992 | 2657971.0938 | 1218808.1583 | 2657974.7685 | 1218806.4486
6 | 2657976.0111 | 1218860.4606 | 2658009.2797 | 1218887.2453 | 2658014.5255 | 1218889.4088 | 2658026.126 | 1218898.3366
7 | 2658011.0989 | 1218643.5237 | 2658005.3998 | 1218641.9006 | 2658011.8183 | 1218639.0168
8 | 2658050.6985 | 1218680.3986 | 2658049.5012 | 1218677.8743 | 2658046.9241 | 1218675.2031 | 2658042.1167 | 1218670.8536 | 2658024.9302 | 1218658.0117 | 2658015.4753 | 1218650.0481 | 2658011.0989 | 1218643.5237
9 | 2658011.0989 | 1218643.5237 | 2657993.0233 | 1218666.8146
10 | 2657982.3903 | 1218629.2244 | 2657991.1364 | 1218631.2552 | 2658004.4086 | 1218636.1318 | 2658011.8183 | 1218639.0168
11 | 2658011.8183 | 1218639.0168 | 2658044.2385 | 1218624.4567 | 2658044.8832 | 1218621.3833
12 | 2658050.6985 | 1218680.3986 | 2658051.1641 | 1218683.2493 | 2658050.6384 | 1218686.5685 | 2658049.7671 | 1218688.7503 | 2658048.395 | 1218690.9271 | 2658037.9101 | 1218702.4404
13 | 2658050.6985 | 1218680.3986 | 2658061.8344 | 1218679.4065 | 2658069.0211 | 1218677.1306 | 2658083.8899 | 1218669.8409
14 | 2657970.0969 | 1218696.543 | 2657981.0316 | 1218682.2662 | 2657993.0233 | 1218666.8146
15 | 2657897.9488 | 1218790.136 | 2657920.3086 | 1218808.9292
16 | 2657974.7685 | 1218806.4486 | 2657953.35 | 1218786.3056 | 2657931.1412 | 1218767.8228 | 2657919.4358 | 1218757.158 | 2657917.272 | 1218749.4322 | 2657924.4886 | 1218740.1633 | 2657934.3303 | 1218732.5431 | 2657944.1742 | 1218723.1045
17 | 2657974.7685 | 1218806.4486 | 2657982.5846 | 1218801.0768 | 2658011.6148 | 1218767.4719 | 2658013.1521 | 1218756.1243 | 2658026.1607 | 1218737.3838 | 2658027.3325 | 1218724.7339
18 | 2658063.912 | 1218923.3217 | 2658035.0974 | 1218905.241 | 2658026.126 | 1218898.3366
19 | 2658126.3694 | 1218940.5967 | 2658120.5889 | 1218936.4489 | 2658101.0974 | 1218935.9363
20 | 2658063.912 | 1218923.3217 | 2658065.0448 | 1218921.5539 | 2658074.2371 | 1218927.6027 | 2658090.363 | 1218934.7198 | 2658101.0974 | 1218935.9363
21 | 2658101.0974 | 1218935.9363 | 2658101.7564 | 1218934.5085 | 2658105.4474 | 1218926.592
22 | 2658126.3694 | 1218940.5967 | 2658152.7377 | 1218959.543
23 | 2658126.3694 | 1218940.5967 | 2658120.5889 | 1218936.4489 | 2658132.5704 | 1218936.6325 | 2658136.3028 | 1218936.0129 | 2658145.7534 | 1218935.7939
24 | 2658063.912 | 1218923.3217 | 2658060.4517 | 1218928.7358 | 2658057.2148 | 1218933.0291 | 2658054.8085 | 1218935.4304
25 | 2658054.8085 | 1218935.4304 | 2658047.1524 | 1218943.0707 | 2658026.2498 | 1218964.6385
26 | 2657756.246 | 1218661.9381 | 2657754.0515 | 1218664.3962 | 2657753.3226 | 1218665.2118 | 2657767.5029 | 1218676.634 | 2657776.1178 | 1218682.8102 | 2657784.08 | 1218687.4236 | 2657788.4907 | 1218689.6455 | 2657792.0126 | 1218690.3801 | 2657805.3983 | 1218689.0424 | 2657809.6967 | 1218686.4047 | 2657811.0802 | 1218685.3952 | 2657815.6207 | 1218689.1082 | 2657816.5618 | 1218689.8845
27 | 2657756.246 | 1218661.9381 | 2657777.6455 | 1218677.0993 | 2657780.7756 | 1218678.5559
28 | 2657816.5618 | 1218689.8845 | 2657812.1641 | 1218694.1445 | 2657809.8887 | 1218696.346 | 2657813.4554 | 1218699.5048 | 2657816.0197 | 1218703.5099 | 2657817.372 | 1218708.0591 | 2657817.4169 | 1218712.818
29 | 2657816.5618 | 1218689.8845 | 2657826.2184 | 1218680.9949 | 2657832.0429 | 1218676.7377 | 2657843.4917 | 1218669.3108 | 2657849.3743 | 1218664.5428 | 2657855.8953 | 1218658.1243 | 2657861.0746 | 1218652.3266 | 2657869.9816 | 1218640.9171 | 2657875.0807 | 1218633.2174 | 2657879.5465 | 1218625.0891 | 2657883.9863 | 1218616.5047 | 2657886.8562 | 1218609.3615 | 2657891.088 | 1218597.1951
30 | 2657817.4169 | 1218712.818 | 2657826.665 | 1218713.9529 | 2657830.2275 | 1218713.6428 | 2657832.8759 | 1218712.8903 | 2657835.2773 | 1218711.7907 | 2657837.2632 | 1218710.4869 | 2657841.5813 | 1218706.6042 | 2657845.0065 | 1218702.4571 | 2657852.0607 | 1218692.7084 | 2657865.972 | 1218677.1005 | 2657881.2594 | 1218662.8683
31 | 2657891.088 | 1218597.1951 | 2657893.6787 | 1218587.5476 | 2657895.9544 | 1218574.395 | 2657896.8889 | 1218561.7963 | 2657896.8922 | 1218551.3121 | 2657896.2419 | 1218541.6887 | 2657896.0672 | 1218540.4547
32 | 2657892.1038 | 1218652.7726 | 2657881.2594 | 1218662.8683
33 | 2657982.3903 | 1218629.2244 | 2657977.0745 | 1218627.9831 | 2657970.7637 | 1218627.5993 | 2657951.0083 | 1218629.7947
34 | 2658037.9101 | 1218702.4404 | 2658028.4337 | 1218712.8463 | 2658027.3325 | 1218724.7339
35 | 2658145.5799 | 1218853.2745 | 2658156.1528 | 1218836.4878
36 | 2658145.5799 | 1218853.2745 | 2658155.4087 | 1218859.4187 | 2658165.398 | 1218867.0097 | 2658178.7123 | 1218862.8371 | 2658188.5159 | 1218866.9019 | 2658189.882 | 1218885.549 | 2658184.8274 | 1218893.2745
37 | 2657764.8491 | 1218592.6232 | 2657782.1584 | 1218599.9288 | 2657787.0161 | 1218603.0222 | 2657789.0086 | 1218607.2997
38 | 2657764.8491 | 1218592.6232 | 2657835.8972 | 1218586.7553
39 | 2657855.6209 | 1218600.8421 | 2657861.3093 | 1218587.5222 | 2657836.8866 | 1218586.6736 | 2657835.8972 | 1218586.7553
40 | 2658145.7534 | 1218935.7939 | 2658152.6088 | 1218926.2215 | 2658166.7324 | 1218913.035
41 | 2658166.7324 | 1218913.035 | 2658173.0201 | 1218907.1644 | 2658181.3457 | 1218898.596 | 2658184.7749 | 1218893.3548
42 | 2658159.6873 | 1218964.5365 | 2658152.7377 | 1218959.543
43 | 2657889.2954 | 1218649.6767 | 2657881.3433 | 1218640.9052 | 2657877.8293 | 1218637.7803 | 2657867.7988 | 1218632.0238 | 2657861.4966 | 1218630.7507 | 2657856.7681 | 1218630.7715
44 | 2657889.2954 | 1218649.6767 | 2657897.5432 | 1218642.0743 | 2657901.3141 | 1218639.5285
45 | 2657889.2954 | 1218649.6767 | 2657892.1038 | 1218652.7726
46 | 2657856.7681 | 1218630.7715 | 2657852.7162 | 1218616.6123 | 2657852.0141 | 1218613.1033 | 2657852.1219 | 1218609.0352 | 2657855.6209 | 1218600.8421
47 | 2657951.0083 | 1218629.7947 | 2657950.2497 | 1218629.879 | 2657925.6958 | 1218633.1757 | 2657915.3373 | 1218634.6093 | 2657906.8005 | 1218636.8055 | 2657902.2187 | 1218638.9178 | 2657901.3141 | 1218639.5285
48 | 2657892.1038 | 1218652.7726 | 2657897.8676 | 1218646.18 | 2657900.6932 | 1218644.3841 | 2657905.9363 | 1218641.3888 | 2657912.3139 | 1218639.583 | 2657918.2271 | 1218638.7065 | 2657923.0012 | 1218638.1546
49 | 2657895.9076 | 1218539.3274 | 2657896.0672 | 1218540.4547
50 | 2658184.8274 | 1218893.2745 | 2658184.7749 | 1218893.3548
51 | 2658207.5825 | 1218940.4446 | 2658207.2073 | 1218937.6726
52 | 2658207.2073 | 1218937.6726 | 2658220.0288 | 1218938.1092 | 2658229.1831 | 1218939.4772 | 2658242.626 | 1218939.9978 | 2658258.5205 | 1218939.7196 | 2658267.106 | 1218940.2705 | 2658280.2951 | 1218942.6899 | 2658286.4282 | 1218944.3974
53 | 2658207.5825 | 1218940.4446 | 2658209.725 | 1218957.2871 | 2658201.0533 | 1218972.5763
54 | 2658288.8921 | 1218945.0933 | 2658288.7794 | 1218945.0521 | 2658286.4282 | 1218944.3974
55 | 2658196.1417 | 1218981.2359 | 2658201.0533 | 1218972.5763
56 | 2658159.6873 | 1218964.5365 | 2658154.387 | 1218974.9578
57 | 2658159.6873 | 1218964.5365 | 2658171.773 | 1218972.9585
58 | 2658288.8921 | 1218945.0933 | 2658309.2005 | 1218952.5377
59 | 2658196.1417 | 1218981.2359 | 2658185.0649 | 1218980.9053 | 2658182.1953 | 1218980.2214 | 2658171.773 | 1218972.9585
60 | 2658196.1417 | 1218981.2359 | 2658211.6268 | 1218994.8844 | 2658212.7633 | 1218998.9536
61 | 2658208.7289 | 1219010.5878 | 2658212.6953 | 1219002.8109 | 2658212.7633 | 1218998.9536
62 | 2658349.9231 | 1218970.0657 | 2658340.5929 | 1218967.2949 | 2658328.8457 | 1218963.0357
63 | 2658349.9231 | 1218970.0657 | 2658346.571 | 1218980.6839
64 | 2658349.9231 | 1218970.0657 | 2658350.7768 | 1218967.3613
65 | 2658350.7768 | 1218967.3613 | 2658361.5546 | 1218970.3353 | 2658392.9641 | 1218976.7247 | 2658418.9897 | 1218983.4394 | 2658487.1174 | 1219008.9233 | 2658499.8191 | 1219010.7157 | 2658509.9779 | 1219009.4702 | 2658516.0728 | 1219007.4555
66 | 2658350.7768 | 1218967.3613 | 2658346.2431 | 1218966.1162 | 2658309.2005 | 1218952.5377

## bus_geodata
| x | y | coords
0 | 2658157.4613 | 1218682.8729
1 | 2658059.2271 | 1218760.9993
2 | 2657950.2743 | 1218834.1052
3 | 2657947.519 | 1218831.7992
4 | 2657976.0111 | 1218860.4606
5 | 2658011.0989 | 1218643.5237
6 | 2658011.8183 | 1218639.0168
7 | 2658050.6985 | 1218680.3986
8 | 2657993.0233 | 1218666.8146
9 | 2657920.3086 | 1218808.9292
10 | 2657974.7685 | 1218806.4486
11 | 2658026.126 | 1218898.3366
12 | 2658101.0974 | 1218935.9363
13 | 2658126.3694 | 1218940.5967
14 | 2658063.912 | 1218923.3217
15 | 2658105.4474 | 1218926.592
16 | 2658054.8085 | 1218935.4304
17 | 2657756.246 | 1218661.9381
18 | 2657816.5618 | 1218689.8845
19 | 2657780.7756 | 1218678.5559
20 | 2657817.4169 | 1218712.818
21 | 2657891.088 | 1218597.1951
22 | 2657881.2594 | 1218662.8683
23 | 2658044.8832 | 1218621.3833
24 | 2657982.3903 | 1218629.2244
25 | 2658037.9101 | 1218702.4404
26 | 2658083.8899 | 1218669.8409
27 | 2657970.0969 | 1218696.543
28 | 2658156.1528 | 1218836.4878
29 | 2658145.5799 | 1218853.2745
30 | 2658027.3325 | 1218724.7339
31 | 2657944.1742 | 1218723.1045
32 | 2657897.9488 | 1218790.136
33 | 2657764.8491 | 1218592.6232
34 | 2657789.0086 | 1218607.2997
35 | 2657835.8972 | 1218586.7553
36 | 2658145.7534 | 1218935.7939
37 | 2658166.7324 | 1218913.035
38 | 2658152.7377 | 1218959.543
39 | 2658026.2498 | 1218964.6385
40 | 2657889.2954 | 1218649.6767
41 | 2657856.7681 | 1218630.7715
42 | 2657901.3141 | 1218639.5285
43 | 2657892.1038 | 1218652.7726
44 | 2657896.0672 | 1218540.4547
45 | 2657923.0012 | 1218638.1546
46 | 2657855.6209 | 1218600.8421
47 | 2657951.0083 | 1218629.7947
48 | 2658184.8274 | 1218893.2745
49 | 2658184.7749 | 1218893.3548
50 | 2658207.2073 | 1218937.6726
51 | 2658207.5825 | 1218940.4446
52 | 2658286.4282 | 1218944.3974
53 | 2658201.0533 | 1218972.5763
54 | 2658159.6873 | 1218964.5365
55 | 2658288.8921 | 1218945.0933
56 | 2658171.773 | 1218972.9585
57 | 2658196.1417 | 1218981.2359
58 | 2658212.7633 | 1218998.9536
59 | 2658154.387 | 1218974.9578
60 | 2658208.7289 | 1219010.5878
61 | 2658328.8457 | 1218963.0357
62 | 2658349.9231 | 1218970.0657
63 | 2658346.571 | 1218980.6839
64 | 2658350.7768 | 1218967.3613
65 | 2658309.2005 | 1218952.5377
66 | 2658516.0728 | 1219007.4555
67 | 2657895.9076 | 1218539.3274
68 | 2657960.8221 | 1218708.6526

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97011 | -0.57701 | 0.0067374 | 0.0016885
1 | 0.97092 | -0.56088 | 0.061691 | 0.015461
2 | 0.97953 | -0.39214 | 0 | 0
3 | 0.97982 | -0.38646 | 0 | 0
4 | 0.97882 | -0.40593 | 0 | 0
5 | 0.99309 | -0.13065 | 0 | 0
6 | 0.99237 | -0.14446 | 0 | 0
7 | 0.98961 | -0.19729 | 0 | 0
8 | 0.99608 | -0.074026 | 0.011042 | 0.0027674
9 | 0.97851 | -0.41212 | 0.023963 | 0.0060058
10 | 0.98203 | -0.34351 | 0 | 0
11 | 0.97773 | -0.42741 | 0.0071441 | 0.0017905
12 | 0.97692 | -0.44348 | 0 | 0
13 | 0.97673 | -0.44708 | 0 | 0
14 | 0.97725 | -0.43698 | 0 | 0
15 | 0.9769 | -0.4437 | 0.0011627 | 0.00029139
16 | 0.9772 | -0.43781 | 0.0016066 | 0.00040266
17 | 0.97535 | -0.47387 | 0 | 0
18 | 0.97568 | -0.46735 | 0 | 0
19 | 0.97522 | -0.47635 | 0.0045484 | 0.0011399
20 | 0.97674 | -0.44665 | 0 | 0
21 | 0.97165 | -0.54661 | 0.0062267 | 0.0015606
22 | 0.97994 | -0.38429 | 0.0090096 | 0.002258
23 | 0.99215 | -0.1488 | 0.0063339 | 0.0015874
24 | 0.98909 | -0.20726 | 0 | 0
25 | 0.98816 | -0.22509 | 0.010432 | 0.0026144
26 | 0.98859 | -0.21715 | 0.031589 | 0.0079168
27 | 1 | 0 | -0.34622 | -0.088889
28 | 0.97638 | -0.45414 | 0.0016069 | 0.00040274
29 | 0.97641 | -0.45355 | 0 | 0
30 | 0.98683 | -0.25058 | 0.010826 | 0.0027132
31 | 0.97905 | -0.40184 | 0.026815 | 0.0067206
32 | 0.97808 | -0.42048 | 0.015734 | 0.0039433
33 | 0.97771 | -0.42814 | 0 | 0
34 | 0.97724 | -0.43732 | 0.017222 | 0.0043162
35 | 0.97884 | -0.40578 | 0.00050401 | 0.00012632
36 | 0.97666 | -0.44862 | 0 | 0
37 | 0.97658 | -0.45009 | 0.00014438 | 3.6185e-05
38 | 0.97659 | -0.44993 | 0.00019275 | 4.8309e-05
39 | 0.97715 | -0.43885 | 0.0013894 | 0.00034821
40 | 0.98084 | -0.36672 | 0 | 0
41 | 0.9801 | -0.38128 | 0 | 0
42 | 0.98199 | -0.34428 | 0.00029351 | 7.356e-05
43 | 0.98061 | -0.37112 | 0 | 0
44 | 0.97009 | -0.57756 | 0.013315 | 0.003337
45 | 0.98031 | -0.37704 | 0.0091826 | 0.0023014
46 | 0.9795 | -0.39292 | 0.0027553 | 0.00069054
47 | 0.98574 | -0.27186 | 0.035181 | 0.0088172
48 | 0.97652 | -0.4513 | 0.00030958 | 7.7588e-05
49 | 0.97652 | -0.4513 | 0.00053503 | 0.00013409
50 | 0.97633 | -0.45511 | 0 | 0
51 | 0.97633 | -0.45501 | 0 | 0
52 | 0.97618 | -0.4581 | 0.00021918 | 5.4931e-05
53 | 0.9764 | -0.45372 | 0.00032534 | 8.1538e-05
54 | 0.97655 | -0.45065 | 0 | 0
55 | 0.97617 | -0.45818 | 0.0003092 | 7.7492e-05
56 | 0.97649 | -0.45182 | 0.0013689 | 0.00034308
57 | 0.97642 | -0.45328 | 0 | 0
58 | 0.97641 | -0.45356 | 0.00047186 | 0.00011826
59 | 0.97655 | -0.4507 | 0.00025312 | 6.3438e-05
60 | 0.9764 | -0.45359 | 0.00013975 | 3.5025e-05
61 | 0.97609 | -0.45973 | 0.0004821 | 0.00012083
62 | 0.9761 | -0.45954 | 0 | 0
63 | 0.9761 | -0.4596 | 0.00028337 | 7.1019e-05
64 | 0.97611 | -0.4595 | 0 | 0
65 | 0.97614 | -0.45878 | 0.0006317 | 0.00015832
66 | 0.97609 | -0.45985 | 0.00011002 | 2.7575e-05
67 | 0.97007 | -0.57789 | 0.015872 | 0.003978
68 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0067374 | -0.0016885 | 0.0067426 | 0.0016903 | 5.1804e-06 | 1.7169e-06 | 0.010334 | 0.010334 | 0.010334 | 0.97011 | -0.57701 | 0.97092 | -0.56088 | 2.8391
1 | -0.068433 | -0.017151 | 0.068988 | 0.017505 | 0.00055498 | 0.00035351 | 0.10488 | 0.10488 | 0.10488 | 0.97092 | -0.56088 | 0.97953 | -0.39214 | 28.813
2 | -0.087718 | -0.022203 | 0.087741 | 0.022218 | 2.3913e-05 | 1.5259e-05 | 0.13333 | 0.13333 | 0.13333 | 0.97953 | -0.39214 | 0.97982 | -0.38646 | 36.6297
3 | 0.018729 | 0.0046983 | -0.018717 | -0.0046909 | 1.2303e-05 | 7.3641e-06 | 0.028454 | 0.028454 | 0.028454 | 0.97953 | -0.39214 | 0.97882 | -0.40593 | 7.817
4 | 0.039752 | 0.0099834 | -0.039704 | -0.0099527 | 4.8592e-05 | 3.0652e-05 | 0.060378 | 0.060378 | 0.060378 | 0.97982 | -0.38646 | 0.97851 | -0.41212 | 16.5873
5 | -0.12749 | -0.032202 | 0.12776 | 0.032369 | 0.00026303 | 0.00016739 | 0.19371 | 0.19371 | 0.19371 | 0.97982 | -0.38646 | 0.98203 | -0.34351 | 26.6085
6 | 0.018717 | 0.0046909 | -0.018698 | -0.0046795 | 1.9135e-05 | 1.1455e-05 | 0.028454 | 0.028454 | 0.028454 | 0.97882 | -0.40593 | 0.97773 | -0.42741 | 7.817
7 | 0.12205 | 0.031201 | -0.12196 | -0.031149 | 8.1471e-05 | 5.1806e-05 | 0.18309 | 0.18309 | 0.18309 | 0.99309 | -0.13065 | 0.99237 | -0.14446 | 25.1494
8 | 0.20933 | 0.053548 | -0.20866 | -0.05312 | 0.00067283 | 0.0004285 | 0.31404 | 0.31404 | 0.31404 | 0.99309 | -0.13065 | 0.98961 | -0.19729 | 28.7584
9 | -0.33138 | -0.084749 | 0.33229 | 0.085331 | 0.00091076 | 0.00058174 | 0.49713 | 0.49713 | 0.49713 | 0.99309 | -0.13065 | 0.99608 | -0.074026 | 45.5246
10 | 0.11563 | 0.029561 | -0.11528 | -0.029337 | 0.00035016 | 0.0002237 | 0.17359 | 0.17359 | 0.17359 | 0.99237 | -0.14446 | 0.98909 | -0.20726 | 47.6892
11 | 0.0063352 | 0.0015878 | -0.0063339 | -0.0015874 | 1.3089e-06 | 3.381e-07 | 0.0094994 | 0.0094996 | 0.0094996 | 0.99237 | -0.14446 | 0.99215 | -0.1488 | 2.6098
12 | 0.17704 | 0.045184 | -0.1768 | -0.045033 | 0.00023741 | 0.00015092 | 0.26649 | 0.2665 | 0.2665 | 0.98961 | -0.19729 | 0.98816 | -0.22509 | 24.4043
13 | 0.031618 | 0.0079355 | -0.031589 | -0.0079168 | 2.9907e-05 | 1.8688e-05 | 0.047547 | 0.047547 | 0.047547 | 0.98961 | -0.19729 | 0.98859 | -0.21715 | 13.0623
14 | -0.34333 | -0.088098 | 0.34457 | 0.088889 | 0.001238 | 0.00079084 | 0.51362 | 0.51362 | 0.51362 | 0.99608 | -0.074026 | 1 | 0 | 47.0351
15 | 0.01574 | 0.003947 | -0.015734 | -0.0039433 | 6.276e-06 | 3.6499e-06 | 0.023937 | 0.023937 | 0.023937 | 0.97851 | -0.41212 | 0.97808 | -0.42048 | 6.5761
16 | 0.02689 | 0.0067669 | -0.026815 | -0.0067206 | 7.4737e-05 | 4.6318e-05 | 0.040755 | 0.040756 | 0.040756 | 0.98203 | -0.34351 | 0.97905 | -0.40184 | 11.1967
17 | -0.15465 | -0.039136 | 0.15534 | 0.039576 | 0.00069308 | 0.00043972 | 0.23446 | 0.23446 | 0.23446 | 0.98203 | -0.34351 | 0.98683 | -0.25058 | 21.4711
18 | 0.011554 | 0.002889 | -0.011549 | -0.0028862 | 5.2554e-06 | 2.7951e-06 | 0.017581 | 0.017582 | 0.017582 | 0.97773 | -0.42741 | 0.97725 | -0.43698 | 4.8301
19 | 0.007387 | 0.0018435 | -0.0073858 | -0.001843 | 1.2629e-06 | 4.7508e-07 | 0.011249 | 0.011249 | 0.011249 | 0.97692 | -0.44348 | 0.97673 | -0.44708 | 3.0904
20 | -0.0085497 | -0.0021348 | 0.0085524 | 0.0021359 | 2.6402e-06 | 1.1695e-06 | 0.01302 | 0.01302 | 0.01302 | 0.97692 | -0.44348 | 0.97725 | -0.43698 | 3.5769
21 | 0.0011627 | 0.00029127 | -0.0011627 | -0.00029139 | 1.2122e-08 | -1.2129e-07 | 0.0017709 | 0.001771 | 0.001771 | 0.97692 | -0.44348 | 0.9769 | -0.4437 | 0.48653
22 | 0.0047891 | 0.0011943 | -0.0047885 | -0.0011943 | 6.4779e-07 | 8.2608e-09 | 0.0072939 | 0.007294 | 0.007294 | 0.97673 | -0.44708 | 0.97659 | -0.44993 | 2.0039
23 | 0.0025967 | 0.00064873 | -0.0025965 | -0.00064901 | 1.8969e-07 | -2.8326e-07 | 0.0039552 | 0.0039553 | 0.0039553 | 0.97673 | -0.44708 | 0.97666 | -0.44862 | 1.0866
24 | 0.0029962 | 0.00075028 | -0.0029961 | -0.0007504 | 1.1864e-07 | -1.1452e-07 | 0.0045619 | 0.004562 | 0.004562 | 0.97725 | -0.43698 | 0.9772 | -0.43781 | 1.2533
25 | 0.0013894 | 0.00034774 | -0.0013894 | -0.00034821 | 6.8568e-08 | -4.6787e-07 | 0.0021156 | 0.0021157 | 0.0021157 | 0.9772 | -0.43781 | 0.97715 | -0.43885 | 0.58125
26 | -0.0045489 | -0.0011399 | 0.0045503 | 0.0011398 | 1.4128e-06 | -7.2474e-08 | 0.0069399 | 0.0069395 | 0.0069399 | 0.97535 | -0.47387 | 0.97568 | -0.46735 | 1.9066
27 | 0.0045489 | 0.0011399 | -0.0045484 | -0.0011399 | 5.3602e-07 | -2.7297e-08 | 0.0069399 | 0.00694 | 0.00694 | 0.97535 | -0.47387 | 0.97522 | -0.47635 | 1.9066
28 | -0.040142 | -0.010127 | 0.040182 | 0.010152 | 3.9826e-05 | 2.5135e-05 | 0.061245 | 0.061245 | 0.061245 | 0.97568 | -0.46735 | 0.97674 | -0.44665 | 16.8255
29 | 0.035592 | 0.0089872 | -0.035457 | -0.0089025 | 0.0001346 | 8.4631e-05 | 0.054305 | 0.054306 | 0.054306 | 0.97568 | -0.46735 | 0.97165 | -0.54661 | 14.9192
30 | -0.040182 | -0.010152 | 0.040302 | 0.010228 | 0.00012051 | 7.6052e-05 | 0.061245 | 0.061244 | 0.061245 | 0.97674 | -0.44665 | 0.97994 | -0.38429 | 16.8255
31 | 0.02923 | 0.007342 | -0.029187 | -0.0073151 | 4.3104e-05 | 2.6877e-05 | 0.04477 | 0.04477 | 0.04477 | 0.97165 | -0.54661 | 0.97009 | -0.57756 | 12.2996
32 | -0.049312 | -0.012486 | 0.049343 | 0.012506 | 3.1191e-05 | 1.9775e-05 | 0.074925 | 0.074925 | 0.074925 | 0.97994 | -0.38429 | 0.98061 | -0.37112 | 20.5839
33 | 0.11528 | 0.029337 | -0.11492 | -0.029109 | 0.00035774 | 0.00022855 | 0.17359 | 0.17359 | 0.17359 | 0.98909 | -0.20726 | 0.98574 | -0.27186 | 47.6892
34 | 0.16637 | 0.042419 | -0.16617 | -0.042289 | 0.00020451 | 0.00012989 | 0.25079 | 0.25079 | 0.25079 | 0.98816 | -0.22509 | 0.98683 | -0.25058 | 22.9659
35 | -0.0016069 | -0.00040274 | 0.001607 | 0.00040252 | 4.4618e-08 | -2.1957e-07 | 0.002449 | 0.0024489 | 0.002449 | 0.97638 | -0.45414 | 0.97641 | -0.45355 | 0.6728
36 | -0.001607 | -0.00040252 | 0.0016072 | 0.00040167 | 1.7232e-07 | -8.4831e-07 | 0.0024489 | 0.0024486 | 0.0024489 | 0.97641 | -0.45355 | 0.97652 | -0.4513 | 0.67278
37 | 0.017229 | 0.0043207 | -0.017222 | -0.0043162 | 7.5312e-06 | 4.4539e-06 | 0.026223 | 0.026223 | 0.026223 | 0.97771 | -0.42814 | 0.97724 | -0.43732 | 7.2042
38 | -0.017229 | -0.0043207 | 0.017248 | 0.0043315 | 1.8383e-05 | 1.087e-05 | 0.026223 | 0.026223 | 0.026223 | 0.97771 | -0.42814 | 0.97884 | -0.40578 | 7.2042
39 | -0.017752 | -0.0044579 | 0.017763 | 0.0044643 | 1.0903e-05 | 6.4756e-06 | 0.026989 | 0.026989 | 0.026989 | 0.97884 | -0.40578 | 0.9795 | -0.39292 | 7.4146
40 | 0.0025965 | 0.00064901 | -0.0025963 | -0.00064929 | 1.8244e-07 | -2.7235e-07 | 0.0039553 | 0.0039555 | 0.0039555 | 0.97666 | -0.44862 | 0.97658 | -0.45009 | 1.0867
41 | 0.0024519 | 0.0006131 | -0.0024518 | -0.00061335 | 1.4031e-07 | -2.4566e-07 | 0.0037355 | 0.0037356 | 0.0037356 | 0.97658 | -0.45009 | 0.97652 | -0.4513 | 1.0263
42 | 0.0045957 | 0.001146 | -0.0045956 | -0.001146 | 1.5726e-07 | -6.4226e-09 | 0.0070003 | 0.0070004 | 0.0070004 | 0.97659 | -0.44993 | 0.97655 | -0.45065 | 1.9232
43 | 0.020544 | 0.0051704 | -0.020529 | -0.0051618 | 1.4281e-05 | 8.6456e-06 | 0.031174 | 0.031174 | 0.031174 | 0.98084 | -0.36672 | 0.9801 | -0.38128 | 8.5644
44 | -0.079084 | -0.019987 | 0.07917 | 0.020041 | 8.5194e-05 | 5.4325e-05 | 0.12004 | 0.12004 | 0.12004 | 0.98084 | -0.36672 | 0.98199 | -0.34428 | 32.9773
45 | 0.058541 | 0.014816 | -0.058528 | -0.014809 | 1.2363e-05 | 7.8598e-06 | 0.088863 | 0.088863 | 0.088863 | 0.98084 | -0.36672 | 0.98061 | -0.37112 | 24.413
46 | 0.020529 | 0.0051618 | -0.020518 | -0.0051549 | 1.1401e-05 | 6.9029e-06 | 0.031174 | 0.031175 | 0.031175 | 0.9801 | -0.38128 | 0.9795 | -0.39292 | 8.5644
47 | -0.079463 | -0.020115 | 0.07974 | 0.020292 | 0.00027732 | 0.00017684 | 0.12048 | 0.12048 | 0.12048 | 0.98199 | -0.34428 | 0.98574 | -0.27186 | 33.0995
48 | 0.0091852 | 0.0023026 | -0.0091826 | -0.0023014 | 2.5903e-06 | 1.2094e-06 | 0.013938 | 0.013938 | 0.013938 | 0.98061 | -0.37112 | 0.98031 | -0.37704 | 3.8292
49 | 0.015873 | 0.0039781 | -0.015872 | -0.003978 | 2.5308e-07 | 1.4792e-07 | 0.024347 | 0.024347 | 0.024347 | 0.97009 | -0.57756 | 0.97007 | -0.57789 | 6.6888
50 | -0.0019167 | -0.00047926 | 0.0019167 | 0.00047926 | 3.0432e-10 | -1.0045e-09 | 0.0029203 | 0.0029203 | 0.0029203 | 0.97652 | -0.4513 | 0.97652 | -0.4513 | 0.80228
51 | -0.0020359 | -0.00050594 | 0.002036 | 0.00050592 | 1.0093e-08 | -2.8531e-08 | 0.0031014 | 0.0031014 | 0.0031014 | 0.97633 | -0.45511 | 0.97633 | -0.45501 | 0.85204
52 | 0.0020359 | 0.00050594 | -0.0020357 | -0.00050676 | 2.8793e-07 | -8.1368e-07 | 0.0031014 | 0.0031018 | 0.0031018 | 0.97633 | -0.45511 | 0.97618 | -0.4581 | 0.85214
53 | -0.002036 | -0.00050592 | 0.0020361 | 0.00050556 | 1.2464e-07 | -3.524e-07 | 0.0031014 | 0.0031013 | 0.0031014 | 0.97633 | -0.45501 | 0.9764 | -0.45372 | 0.85204
54 | 0.0018165 | 0.00045183 | -0.0018165 | -0.00045185 | 7.3556e-09 | -2.7305e-08 | 0.0027677 | 0.0027677 | 0.0027677 | 0.97618 | -0.4581 | 0.97617 | -0.45818 | 0.76036
55 | -0.0023614 | -0.0005871 | 0.0023615 | 0.00058701 | 4.8305e-08 | -9.3605e-08 | 0.0035971 | 0.003597 | 0.0035971 | 0.9764 | -0.45372 | 0.97642 | -0.45328 | 0.98821
56 | 0.00025312 | 6.3292e-05 | -0.00025312 | -6.3438e-05 | 6.5184e-10 | -1.458e-07 | 0.00038564 | 0.00038569 | 0.00038569 | 0.97655 | -0.45065 | 0.97655 | -0.4507 | 0.10596
57 | 0.0043424 | 0.0010827 | -0.0043422 | -0.0010827 | 2.417e-07 | -2.9597e-08 | 0.0066148 | 0.0066148 | 0.0066148 | 0.97655 | -0.45065 | 0.97649 | -0.45182 | 1.8173
58 | 0.0015073 | 0.00037436 | -0.0015072 | -0.00037461 | 4.2775e-08 | -2.4302e-07 | 0.0022964 | 0.0022965 | 0.0022965 | 0.97617 | -0.45818 | 0.97614 | -0.45878 | 0.6309
59 | 0.0029733 | 0.00073963 | -0.0029731 | -0.00073983 | 2.0563e-07 | -2.0282e-07 | 0.0045288 | 0.0045289 | 0.0045289 | 0.97649 | -0.45182 | 0.97642 | -0.45328 | 1.2442
60 | 0.00061162 | 0.00015282 | -0.00061161 | -0.00015313 | 8.0992e-09 | -3.0584e-07 | 0.00093191 | 0.00093202 | 0.00093202 | 0.97642 | -0.45328 | 0.97641 | -0.45356 | 0.25605
61 | 0.00013975 | 3.4868e-05 | -0.00013975 | -3.5025e-05 | 2.1407e-10 | -1.5731e-07 | 0.00021292 | 0.00021298 | 0.00021298 | 0.97641 | -0.45356 | 0.9764 | -0.45359 | 0.058511
62 | -0.0004821 | -0.00012083 | 0.00048211 | 0.00012055 | 4.5018e-09 | -2.7497e-07 | 0.00073494 | 0.00073484 | 0.00073494 | 0.97609 | -0.45973 | 0.9761 | -0.45954 | 0.20191
63 | 0.00028337 | 7.0881e-05 | -0.00028337 | -7.1019e-05 | 7.7905e-10 | -1.3867e-07 | 0.00043193 | 0.00043198 | 0.00043198 | 0.9761 | -0.45954 | 0.9761 | -0.4596 | 0.11868
64 | -0.00076548 | -0.00019143 | 0.00076548 | 0.0001914 | 1.4477e-09 | -3.4523e-08 | 0.0011668 | 0.0011668 | 0.0011668 | 0.9761 | -0.45954 | 0.97611 | -0.4595 | 0.32054
65 | 0.00011003 | 2.5422e-05 | -0.00011002 | -2.7575e-05 | 1.8098e-09 | -2.1529e-06 | 0.00016698 | 0.00016773 | 0.00016773 | 0.97611 | -0.4595 | 0.97609 | -0.45985 | 0.046079
66 | -0.0008755 | -0.00021682 | 0.00087553 | 0.00021629 | 2.9449e-08 | -5.331e-07 | 0.0013337 | 0.0013335 | 0.0013337 | 0.97611 | -0.4595 | 0.97614 | -0.45878 | 0.36641

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36072 | 0.092522

## res_load
| p_mw | q_mvar
0 | 0.0067374 | 0.0016885
1 | 0.061691 | 0.015461
2 | 0.011042 | 0.0027674
3 | 0.023963 | 0.0060058
4 | 0.0071441 | 0.0017905
5 | 0.0011627 | 0.00029139
6 | 0.0016066 | 0.00040266
7 | 0.0045484 | 0.0011399
8 | 0.0062267 | 0.0015606
9 | 0.0090096 | 0.002258
10 | 0.0063339 | 0.0015874
11 | 0.010432 | 0.0026144
12 | 0.031589 | 0.0079168
13 | 0.014498 | 0.0036335
14 | 0.0016069 | 0.00040274
15 | 0.010826 | 0.0027132
16 | 0.026815 | 0.0067206
17 | 0.015734 | 0.0039433
18 | 0.017222 | 0.0043162
19 | 0.00050401 | 0.00012632
20 | 0.00014438 | 3.6185e-05
21 | 0.00019275 | 4.8309e-05
22 | 0.0013894 | 0.00034821
23 | 0.00029351 | 7.356e-05
24 | 0.013315 | 0.003337
25 | 0.0091826 | 0.0023014
26 | 0.0027553 | 0.00069054
27 | 0.035181 | 0.0088172
28 | 0.00030958 | 7.7588e-05
29 | 0.00053503 | 0.00013409
30 | 0.00021918 | 5.4931e-05
31 | 0.00032534 | 8.1538e-05
32 | 0.0003092 | 7.7492e-05
33 | 0.0013689 | 0.00034308
34 | 0.00047186 | 0.00011826
35 | 0.00025312 | 6.3438e-05
36 | 0.00013975 | 3.5025e-05
37 | 0.0004821 | 0.00012083
38 | 0.00028337 | 7.1019e-05
39 | 0.0006317 | 0.00015832
40 | 0.00011002 | 2.7575e-05
41 | 0.015872 | 0.003978

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1