## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1093-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1093-6_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1093-6_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_1093-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1093-6_0_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_1093-6_0_4_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_1093-6_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1093-6_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1093-6_0_4_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1093-6_0_4_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_1093-6_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1093-6_0_4_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_1093-6_0_4_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_1093-6_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1093-6_0_4_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_1093-6_0_4_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_1093-6_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1093-6_0_4_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_1093-6_0_4_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_1093-6_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1093-6_0_4_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_1093-6_0_4_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_1093-6_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1093-6_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1093-6_0_4_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_1093-6_0_4_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_1093-6_0_4_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_1093-6_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1093-6_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1093-6_0_4_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_1093-6_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1093-6_0_4_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_1093-6_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_1093-6_0_4_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_1093-6_0_4_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_1093-6_0_4_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1093-6_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1093-6_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1093-6_0_4_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_1093-6_0_4_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_1093-6_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1093-6_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_1093-6_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_1093-6_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_1093-6_0_4_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_1093-6_0_4_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_1093-6_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_1093-6_0_4_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_1093-6_0_4_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_1093-6_0_4_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_1093-6_0_4_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_1093-6_0_4_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_1093-6_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_1093-6_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_1093-6_0_4_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_1093-6_0_4_node_58 | 0.4 | n |  | TRUE
56 | bus_MV_3_0_node_107 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1093-6_0_4_load_0 | 0 | 0.064169 | 0.016082 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1093-6_0_4_load_3 | 3 | 0.011685 | 0.0029286 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1093-6_0_4_load_24 | 5 | 0.023065 | 0.0057807 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1093-6_0_4_load_44 | 9 | 0.0056051 | 0.0014048 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1093-6_0_4_load_35 | 11 | 0.0085558 | 0.0021443 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1093-6_0_4_load_36 | 12 | 0.010631 | 0.0026643 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1093-6_0_4_load_37 | 14 | 0.0072353 | 0.0018133 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1093-6_0_4_load_42 | 18 | 0.064852 | 0.016253 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1093-6_0_4_load_33 | 20 | 0.0053773 | 0.0013477 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1093-6_0_4_load_29 | 21 | 0.0062179 | 0.0015583 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1093-6_0_4_load_62 | 24 | 0.0017384 | 0.00043568 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1093-6_0_4_load_61 | 25 | 0.0020647 | 0.00051746 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1093-6_0_4_load_63 | 26 | 0.00082462 | 0.00020667 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1093-6_0_4_load_40 | 29 | 0.0043884 | 0.0010998 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1093-6_0_4_load_43 | 31 | 0.026141 | 0.0065515 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1093-6_0_4_load_28 | 32 | 0.0067684 | 0.0016963 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1093-6_0_4_load_45 | 33 | 0.0095438 | 0.0023919 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1093-6_0_4_load_38 | 34 | 0.0024206 | 0.00060666 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1093-6_0_4_load_39 | 35 | 0.0024179 | 0.00060599 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1093-6_0_4_load_26 | 37 | 0.0261 | 0.0065413 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1093-6_0_4_load_50 | 38 | 0.0024721 | 0.00061957 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1093-6_0_4_load_64 | 39 | 0.0084704 | 0.0021229 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1093-6_0_4_load_27 | 40 | 0.0015921 | 0.00039903 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1093-6_0_4_load_30 | 41 | 0.0051869 | 0.0012999 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1093-6_0_4_load_41 | 43 | 0.0087312 | 0.0021882 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1093-6_0_4_load_46 | 44 | 0.0024708 | 0.00061924 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1093-6_0_4_load_60 | 48 | 0.0023428 | 0.00058716 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1093-6_0_4_load_56 | 49 | 0.0022443 | 0.00056248 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1093-6_0_4_load_54 | 51 | 0.0022706 | 0.00056908 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1093-6_0_4_load_51 | 52 | 0.0020144 | 0.00050487 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1093-6_0_4_load_52 | 53 | 0.0017441 | 0.00043712 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1093-6_0_4_load_57 | 54 | 0.0023129 | 0.00057967 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1093-6_0_4_load_58 | 55 | 0.0025078 | 0.00062851 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1093-6_0_4_line_0 |  | 0 | 1 | 0.018956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1093-6_0_4_line_1 |  | 1 | 5 | 0.010384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1093-6_0_4_line_2 |  | 2 | 3 | 0.02571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1093-6_0_4_line_3 |  | 2 | 4 | 0.0077715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1093-6_0_4_line_4 |  | 3 | 6 | 0.032795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1093-6_0_4_line_5 |  | 4 | 13 | 0.006711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1093-6_0_4_line_6 |  | 4 | 14 | 0.012518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1093-6_0_4_line_7 |  | 5 | 17 | 0.039582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1093-6_0_4_line_8 |  | 6 | 16 | 0.038654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1093-6_0_4_line_9 |  | 7 | 8 | 0.018751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1093-6_0_4_line_10 |  | 7 | 9 | 0.046113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1093-6_0_4_line_11 |  | 8 | 24 | 0.031093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1093-6_0_4_line_12 |  | 8 | 23 | 0.057384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1093-6_0_4_line_13 |  | 8 | 25 | 0.0058207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1093-6_0_4_line_14 |  | 9 | 33 | 0.0090952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1093-6_0_4_line_15 |  | 10 | 11 | 0.022181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1093-6_0_4_line_16 |  | 10 | 12 | 0.020721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1093-6_0_4_line_17 |  | 11 | 36 | 0.020222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1093-6_0_4_line_18 |  | 12 | 13 | 0.022542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1093-6_0_4_line_19 |  | 13 | 15 | 0.035858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1093-6_0_4_line_20 |  | 15 | 20 | 0.017621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1093-6_0_4_line_21 |  | 16 | 17 | 0.04828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1093-6_0_4_line_22 |  | 16 | 18 | 0.052232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1093-6_0_4_line_23 |  | 17 | 37 | 0.026623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1093-6_0_4_line_24 |  | 18 | 22 | 0.038765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1093-6_0_4_line_25 |  | 19 | 20 | 0.022386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1093-6_0_4_line_26 |  | 19 | 21 | 0.021861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1093-6_0_4_line_27 |  | 21 | 30 | 0.029384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1093-6_0_4_line_28 |  | 22 | 23 | 0.021851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1093-6_0_4_line_29 |  | 23 | 26 | 0.033169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1093-6_0_4_line_30 |  | 25 | 38 | 0.057239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1093-6_0_4_line_31 |  | 26 | 39 | 0.0067904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1093-6_0_4_line_32 |  | 27 | 28 | 0.012527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1093-6_0_4_line_33 |  | 27 | 29 | 0.016737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1093-6_0_4_line_34 |  | 28 | 30 | 0.0092308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1093-6_0_4_line_35 |  | 28 | 31 | 0.018345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1093-6_0_4_line_36 |  | 30 | 32 | 0.034788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1093-6_0_4_line_37 |  | 34 | 35 | 0.0086726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1093-6_0_4_line_38 |  | 35 | 42 | 0.040877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1093-6_0_4_line_39 |  | 36 | 42 | 0.004861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1093-6_0_4_line_40 |  | 36 | 41 | 0.012276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1093-6_0_4_line_41 |  | 37 | 40 | 0.024502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1093-6_0_4_line_42 |  | 38 | 46 | 0.041309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1093-6_0_4_line_43 |  | 42 | 43 | 0.013907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1093-6_0_4_line_44 |  | 44 | 45 | 0.031878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1093-6_0_4_line_45 |  | 44 | 46 | 0.016974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1093-6_0_4_line_46 |  | 45 | 47 | 0.002959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1093-6_0_4_line_47 |  | 47 | 48 | 0.018975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1093-6_0_4_line_48 |  | 47 | 49 | 0.036322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1093-6_0_4_line_49 |  | 48 | 50 | 0.015578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1093-6_0_4_line_50 |  | 49 | 51 | 0.0019933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1093-6_0_4_line_51 |  | 50 | 54 | 0.027137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1093-6_0_4_line_52 |  | 51 | 53 | 0.020802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1093-6_0_4_line_53 |  | 52 | 53 | 0.021519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1093-6_0_4_line_54 |  | 54 | 55 | 0.026991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1093-6_0_4_trafo_25 | 0.63 MVA 20/0.4 kV | 56 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2657879.1623 | 1216863.4911 | 2657878.1463 | 1216875.0772 | 2657880.7674 | 1216881.918
1 | 2657879.1623 | 1216863.4911 | 2657883.4118 | 1216854.016
2 | 2657930.8086 | 1216852.6304 | 2657940.1262 | 1216828.6682
3 | 2657930.8086 | 1216852.6304 | 2657931.7918 | 1216853.018 | 2657933.3421 | 1216853.6334 | 2657934.9078 | 1216854.2379 | 2657938.0387 | 1216855.4802
4 | 2657952.0114 | 1216798.103 | 2657940.1262 | 1216828.6682
5 | 2657938.0387 | 1216855.4802 | 2657935.4126 | 1216861.6584
6 | 2657938.0387 | 1216855.4802 | 2657939.2198 | 1216852.6899 | 2657942.6934 | 1216843.8607
7 | 2657901.5876 | 1216819.0482 | 2657895.1089 | 1216827.9352 | 2657883.4118 | 1216854.016
8 | 2657926.3489 | 1216777.9969 | 2657932.013 | 1216780.2866 | 2657934.8938 | 1216779.9255 | 2657941.951 | 1216782.6068 | 2657950.1844 | 1216786.1223 | 2657952.1949 | 1216788.599 | 2657953.2665 | 1216790.833 | 2657953.4435 | 1216792.9249 | 2657952.0114 | 1216798.103
9 | 2657763.5799 | 1216771.5584 | 2657769.7619 | 1216768.9834 | 2657768.5732 | 1216765.5253 | 2657772.7886 | 1216763.765 | 2657771.129 | 1216760.3135
10 | 2657763.5799 | 1216771.5584 | 2657769.0328 | 1216787.0318 | 2657770.1979 | 1216792.9245 | 2657768.5225 | 1216797.3776 | 2657764.0123 | 1216800.5804 | 2657751.4496 | 1216805.2739
11 | 2657771.129 | 1216760.3135 | 2657753.6209 | 1216767.4816 | 2657742.003 | 1216771.1208
12 | 2657771.129 | 1216760.3135 | 2657772.7886 | 1216763.765 | 2657774.3738 | 1216767.0491 | 2657816.8076 | 1216749.5719 | 2657820.7114 | 1216748.6314
13 | 2657771.129 | 1216760.3135 | 2657776.5162 | 1216758.1091
14 | 2657751.4496 | 1216805.2739 | 2657742.9297 | 1216808.457
15 | 2657915.604 | 1216900.1007 | 2657924.3643 | 1216905.6225 | 2657934.6532 | 1216911.4519
16 | 2657915.604 | 1216900.1007 | 2657917.3276 | 1216896.9488 | 2657924.9797 | 1216882.9257 | 2657925.5069 | 1216881.8993
17 | 2657950.3303 | 1216923.3524 | 2657941.1276 | 1216918.0486 | 2657940.0295 | 1216916.2034 | 2657938.7398 | 1216913.7672 | 2657934.6532 | 1216911.4519
18 | 2657935.4126 | 1216861.6584 | 2657933.9831 | 1216865.0133 | 2657931.2477 | 1216870.7235 | 2657925.5069 | 1216881.8993
19 | 2657935.4126 | 1216861.6584 | 2657964.4263 | 1216874.3704 | 2657968.3734 | 1216875.9987
20 | 2657968.3734 | 1216875.9987 | 2657973.2283 | 1216871.7099 | 2657982.9457 | 1216866.2566
21 | 2657926.3489 | 1216777.9969 | 2657919.8742 | 1216794.2773 | 2657909.3514 | 1216808.3837 | 2657901.5876 | 1216819.0482
22 | 2657926.3489 | 1216777.9969 | 2657895.5564 | 1216765.4568 | 2657893.8464 | 1216763.3055 | 2657878.8144 | 1216757.1705
23 | 2657901.5876 | 1216819.0482 | 2657876.4096 | 1216810.3979
24 | 2657842.2866 | 1216745.6166 | 2657861.7657 | 1216748.9409 | 2657865.8744 | 1216750.3483 | 2657874.4802 | 1216755.4016 | 2657878.8144 | 1216757.1705
25 | 2658004.8956 | 1216867.6154 | 2657996.8375 | 1216865.6024 | 2657989.7998 | 1216864.8335 | 2657982.9457 | 1216866.2566
26 | 2658004.8956 | 1216867.6154 | 2658003.225 | 1216873.1136 | 2658001.3292 | 1216887.7152 | 2658001.212 | 1216889.1009
27 | 2657999.4894 | 1216918.4051 | 2657999.3474 | 1216911.1548 | 2658001.212 | 1216889.1009
28 | 2657820.7114 | 1216748.6314 | 2657832.7269 | 1216745.7684 | 2657842.2866 | 1216745.6166
29 | 2657820.7114 | 1216748.6314 | 2657820.9362 | 1216749.7231 | 2657818.751 | 1216754.2825 | 2657805.9029 | 1216778.0281
30 | 2657776.5162 | 1216758.1091 | 2657817.2052 | 1216741.4597 | 2657827.8695 | 1216738.5724 | 2657830.0936 | 1216738.4497
31 | 2657802.6715 | 1216784.0004 | 2657805.9029 | 1216778.0281
32 | 2658008.5201 | 1216920.3163 | 2658005.7895 | 1216932.5417
33 | 2658005.7895 | 1216932.5417 | 2658002.504 | 1216948.9534
34 | 2657999.4894 | 1216918.4051 | 2658003.7623 | 1216919.3138 | 2658008.5201 | 1216920.3163
35 | 2658008.5201 | 1216920.3163 | 2658010.8456 | 1216909.9326 | 2658013.7397 | 1216902.793
36 | 2657999.4894 | 1216918.4051 | 2657992.6861 | 1216952.5215
37 | 2657918.6007 | 1216961.3554 | 2657923.1707 | 1216953.9845
38 | 2657950.0412 | 1216928.0969 | 2657943.9756 | 1216931.9848 | 2657933.2938 | 1216949.1915 | 2657929.96 | 1216947.736 | 2657926.2812 | 1216948.9677 | 2657923.1707 | 1216953.9845
39 | 2657950.3303 | 1216923.3524 | 2657949.7533 | 1216924.9144 | 2657950.0412 | 1216928.0969
40 | 2657950.3303 | 1216923.3524 | 2657954.5641 | 1216911.8292
41 | 2657876.4096 | 1216810.3979 | 2657860.8262 | 1216805.044 | 2657853.8636 | 1216809.0344
42 | 2657861.2338 | 1216723.1866 | 2657858.5823 | 1216733.545 | 2657856.9914 | 1216736.3202 | 2657854.7757 | 1216737.7662 | 2657851.003 | 1216738.4968 | 2657837.638 | 1216738.0335 | 2657830.0936 | 1216738.4497
43 | 2657950.0412 | 1216928.0969 | 2657961.9896 | 1216935.2134
44 | 2657823.2036 | 1216694.4334 | 2657828.3056 | 1216698.3298 | 2657830.6596 | 1216701.41 | 2657832.8291 | 1216703.1655 | 2657838.1558 | 1216706.5859 | 2657842.1746 | 1216710.2271 | 2657846.4937 | 1216715.7835
45 | 2657861.2338 | 1216723.1866 | 2657855.8475 | 1216718.8651 | 2657850.9751 | 1216717.9061 | 2657849.0648 | 1216717.6096 | 2657848.1205 | 1216717.1224 | 2657846.4937 | 1216715.7835
46 | 2657823.2036 | 1216694.4334 | 2657820.365 | 1216693.5721
47 | 2657820.365 | 1216693.5721 | 2657807.3488 | 1216679.7658
48 | 2657820.365 | 1216693.5721 | 2657817.1184 | 1216695.6307 | 2657787.427 | 1216708.793
49 | 2657798.263 | 1216667.1194 | 2657806.8986 | 1216679.2883 | 2657807.3488 | 1216679.7658
50 | 2657785.6047 | 1216709.6008 | 2657787.427 | 1216708.793
51 | 2657798.263 | 1216667.1194 | 2657776.6252 | 1216671.0788 | 2657771.7759 | 1216672.783
52 | 2657785.6047 | 1216709.6008 | 2657766.5872 | 1216718.0313
53 | 2657746.9148 | 1216726.7521 | 2657766.5872 | 1216718.0313
54 | 2657771.7759 | 1216672.783 | 2657746.3118 | 1216681.732

## bus_geodata
| x | y | coords
0 | 2657880.7674 | 1216881.918
1 | 2657879.1623 | 1216863.4911
2 | 2657930.8086 | 1216852.6304
3 | 2657940.1262 | 1216828.6682
4 | 2657938.0387 | 1216855.4802
5 | 2657883.4118 | 1216854.016
6 | 2657952.0114 | 1216798.103
7 | 2657763.5799 | 1216771.5584
8 | 2657771.129 | 1216760.3135
9 | 2657751.4496 | 1216805.2739
10 | 2657915.604 | 1216900.1007
11 | 2657934.6532 | 1216911.4519
12 | 2657925.5069 | 1216881.8993
13 | 2657935.4126 | 1216861.6584
14 | 2657942.6934 | 1216843.8607
15 | 2657968.3734 | 1216875.9987
16 | 2657926.3489 | 1216777.9969
17 | 2657901.5876 | 1216819.0482
18 | 2657878.8144 | 1216757.1705
19 | 2658004.8956 | 1216867.6154
20 | 2657982.9457 | 1216866.2566
21 | 2658001.212 | 1216889.1009
22 | 2657842.2866 | 1216745.6166
23 | 2657820.7114 | 1216748.6314
24 | 2657742.003 | 1216771.1208
25 | 2657776.5162 | 1216758.1091
26 | 2657805.9029 | 1216778.0281
27 | 2658005.7895 | 1216932.5417
28 | 2658008.5201 | 1216920.3163
29 | 2658002.504 | 1216948.9534
30 | 2657999.4894 | 1216918.4051
31 | 2658013.7397 | 1216902.793
32 | 2657992.6861 | 1216952.5215
33 | 2657742.9297 | 1216808.457
34 | 2657918.6007 | 1216961.3554
35 | 2657923.1707 | 1216953.9846
36 | 2657950.3303 | 1216923.3524
37 | 2657876.4096 | 1216810.3979
38 | 2657830.0936 | 1216738.4497
39 | 2657802.6715 | 1216784.0004
40 | 2657853.8636 | 1216809.0344
41 | 2657954.5641 | 1216911.8292
42 | 2657950.0412 | 1216928.0969
43 | 2657961.9896 | 1216935.2134
44 | 2657846.4937 | 1216715.7835
45 | 2657823.2036 | 1216694.4334
46 | 2657861.2338 | 1216723.1866
47 | 2657820.365 | 1216693.5721
48 | 2657807.3488 | 1216679.7658
49 | 2657787.427 | 1216708.793
50 | 2657798.263 | 1216667.1194
51 | 2657785.6047 | 1216709.6008
52 | 2657746.9148 | 1216726.7521
53 | 2657766.5872 | 1216718.0313
54 | 2657771.7759 | 1216672.783
55 | 2657746.3118 | 1216681.732
56 | 2657926.3489 | 1216777.9969

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99514 | -0.093452 | 0.064169 | 0.016082
1 | 0.99625 | -0.072067 | 0 | 0
2 | 0.9859 | -0.26994 | 0 | 0
3 | 0.98814 | -0.22666 | 0.011685 | 0.0029286
4 | 0.98523 | -0.28306 | 0 | 0
5 | 0.99685 | -0.060372 | 0.023065 | 0.0057807
6 | 0.99134 | -0.16495 | 0 | 0
7 | 0.98461 | -0.29584 | 0 | 0
8 | 0.98488 | -0.29073 | 0 | 0
9 | 0.98397 | -0.3084 | 0.0056051 | 0.0014048
10 | 0.98338 | -0.31912 | 0 | 0
11 | 0.98282 | -0.33005 | 0.0085558 | 0.0021443
12 | 0.9839 | -0.30892 | 0.010631 | 0.0026643
13 | 0.98469 | -0.29353 | 0 | 0
14 | 0.98514 | -0.28469 | 0.0072353 | 0.0018133
15 | 0.98306 | -0.3251 | 0 | 0
16 | 0.99512 | -0.092711 | 0 | 0
17 | 1 | 0 | -0.33931 | -0.085968
18 | 0.98967 | -0.19763 | 0.064852 | 0.016253
19 | 0.98136 | -0.35827 | 0 | 0
20 | 0.98227 | -0.34066 | 0.0053773 | 0.0013477
21 | 0.98048 | -0.3755 | 0.0062179 | 0.0015583
22 | 0.98794 | -0.23124 | 0 | 0
23 | 0.98696 | -0.25024 | 0 | 0
24 | 0.98483 | -0.2917 | 0.0017384 | 0.00043568
25 | 0.98475 | -0.29308 | 0.0020647 | 0.00051746
26 | 0.98667 | -0.25576 | 0.00082462 | 0.00020667
27 | 0.97916 | -0.40152 | 0 | 0
28 | 0.97921 | -0.40052 | 0 | 0
29 | 0.97909 | -0.40285 | 0.0043884 | 0.0010998
30 | 0.97947 | -0.3954 | 0 | 0
31 | 0.97876 | -0.40924 | 0.026141 | 0.0065515
32 | 0.97925 | -0.39968 | 0.0067684 | 0.0016963
33 | 0.98389 | -0.30997 | 0.0095438 | 0.0023919
34 | 0.9822 | -0.34204 | 0.0024206 | 0.00060666
35 | 0.98222 | -0.34166 | 0.0024179 | 0.00060599
36 | 0.98247 | -0.33689 | 0 | 0
37 | 0.99933 | -0.012859 | 0.0261 | 0.0065413
38 | 0.98368 | -0.31408 | 0.0024721 | 0.00061957
39 | 0.98662 | -0.25679 | 0.0084704 | 0.0021229
40 | 0.9993 | -0.01354 | 0.0015921 | 0.00039903
41 | 0.98241 | -0.33804 | 0.0051869 | 0.0012999
42 | 0.98241 | -0.33808 | 0 | 0
43 | 0.98229 | -0.34028 | 0.0087312 | 0.0021882
44 | 0.98271 | -0.3329 | 0.0024708 | 0.00061924
45 | 0.98226 | -0.34179 | 0 | 0
46 | 0.98299 | -0.32742 | 0 | 0
47 | 0.98222 | -0.34262 | 0 | 0
48 | 0.98209 | -0.34507 | 0.0023428 | 0.00058716
49 | 0.98194 | -0.34805 | 0.0022443 | 0.00056248
50 | 0.98202 | -0.34643 | 0 | 0
51 | 0.98193 | -0.34827 | 0.0022706 | 0.00056908
52 | 0.98182 | -0.35047 | 0.0020144 | 0.00050487
53 | 0.98186 | -0.34968 | 0.0017441 | 0.00043712
54 | 0.9819 | -0.3488 | 0.0023129 | 0.00057967
55 | 0.98184 | -0.35002 | 0.0025078 | 0.00062851
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.064169 | -0.016082 | 0.064234 | 0.016124 | 6.5445e-05 | 4.1638e-05 | 0.095951 | 0.09595 | 0.095951 | 0.99514 | -0.093452 | 0.99625 | -0.072067 | 26.36
1 | -0.064234 | -0.016124 | 0.06427 | 0.016147 | 3.5852e-05 | 2.281e-05 | 0.09595 | 0.09595 | 0.09595 | 0.99625 | -0.072067 | 0.99685 | -0.060372 | 26.36
2 | -0.094478 | -0.023832 | 0.094674 | 0.023957 | 0.00019619 | 0.00012523 | 0.14265 | 0.14265 | 0.14265 | 0.9859 | -0.26994 | 0.98814 | -0.22666 | 39.1894
3 | 0.094478 | 0.023832 | -0.094419 | -0.023794 | 5.9303e-05 | 3.7855e-05 | 0.14265 | 0.14265 | 0.14265 | 0.9859 | -0.26994 | 0.98523 | -0.28306 | 39.1894
4 | -0.10636 | -0.026885 | 0.10668 | 0.027087 | 0.0003158 | 0.00020169 | 0.16025 | 0.16025 | 0.16025 | 0.98814 | -0.22666 | 0.99134 | -0.16495 | 44.0236
5 | 0.087183 | 0.02198 | -0.087139 | -0.021952 | 4.3665e-05 | 2.786e-05 | 0.13172 | 0.13172 | 0.13172 | 0.98523 | -0.28306 | 0.98469 | -0.29353 | 36.1871
6 | 0.0072359 | 0.0018135 | -0.0072353 | -0.0018133 | 5.6065e-07 | 1.9942e-07 | 0.010929 | 0.010929 | 0.010929 | 0.98523 | -0.28306 | 0.98514 | -0.28469 | 3.0024
7 | -0.087335 | -0.021927 | 0.087588 | 0.022088 | 0.00025232 | 0.00016097 | 0.13038 | 0.13038 | 0.13038 | 0.99685 | -0.060372 | 1 | 0 | 35.8188
8 | -0.10668 | -0.027087 | 0.10705 | 0.027325 | 0.00037222 | 0.00023772 | 0.16025 | 0.16025 | 0.16025 | 0.99134 | -0.16495 | 0.99512 | -0.092711 | 44.0236
9 | -0.015159 | -0.0038022 | 0.015162 | 0.0038044 | 3.6908e-06 | 2.1235e-06 | 0.02291 | 0.02291 | 0.02291 | 0.98461 | -0.29584 | 0.98488 | -0.29073 | 6.294
10 | 0.015159 | 0.0038022 | -0.01515 | -0.003797 | 9.0764e-06 | 5.2228e-06 | 0.02291 | 0.02291 | 0.02291 | 0.98461 | -0.29584 | 0.98397 | -0.3084 | 6.294
11 | 0.0017384 | 0.00043533 | -0.0017384 | -0.00043568 | 8.0436e-08 | -3.4418e-07 | 0.0026264 | 0.0026266 | 0.0026266 | 0.98488 | -0.29073 | 0.98483 | -0.2917 | 0.72159
12 | -0.039396 | -0.0098931 | 0.039472 | 0.0099412 | 7.6257e-05 | 4.8073e-05 | 0.059529 | 0.059529 | 0.059529 | 0.98488 | -0.29073 | 0.98696 | -0.25024 | 16.3542
13 | 0.022495 | 0.0056534 | -0.022493 | -0.0056519 | 2.5222e-06 | 1.5402e-06 | 0.033993 | 0.033993 | 0.033993 | 0.98488 | -0.29073 | 0.98475 | -0.29308 | 9.3387
14 | 0.0095445 | 0.0023922 | -0.0095438 | -0.0023919 | 7.1057e-07 | 3.3925e-07 | 0.014434 | 0.014434 | 0.014434 | 0.98397 | -0.3084 | 0.98389 | -0.30997 | 3.9654
15 | 0.027336 | 0.0068584 | -0.027321 | -0.0068496 | 1.4233e-05 | 8.8279e-06 | 0.041366 | 0.041366 | 0.041366 | 0.98338 | -0.31912 | 0.98282 | -0.33005 | 11.3643
16 | -0.027336 | -0.0068584 | 0.027349 | 0.0068666 | 1.3296e-05 | 8.2467e-06 | 0.041366 | 0.041366 | 0.041366 | 0.98338 | -0.31912 | 0.9839 | -0.30892 | 11.3643
17 | 0.018766 | 0.0047053 | -0.018759 | -0.0047016 | 6.1218e-06 | 3.6618e-06 | 0.028412 | 0.028412 | 0.028412 | 0.98282 | -0.33005 | 0.98247 | -0.33689 | 7.8056
18 | -0.03798 | -0.009531 | 0.038008 | 0.0095486 | 2.7894e-05 | 1.7566e-05 | 0.057444 | 0.057444 | 0.057444 | 0.9839 | -0.30892 | 0.98469 | -0.29353 | 15.7812
19 | 0.049131 | 0.012404 | -0.049057 | -0.012357 | 7.4188e-05 | 4.7025e-05 | 0.074278 | 0.074278 | 0.074278 | 0.98469 | -0.29353 | 0.98306 | -0.3251 | 20.406
20 | 0.049057 | 0.012357 | -0.049021 | -0.012334 | 3.6457e-05 | 2.3109e-05 | 0.074278 | 0.074278 | 0.074278 | 0.98306 | -0.3251 | 0.98227 | -0.34066 | 20.406
21 | -0.22137 | -0.056294 | 0.22236 | 0.056929 | 0.0009936 | 0.00063464 | 0.3313 | 0.3313 | 0.3313 | 0.99512 | -0.092711 | 1 | 0 | 45.5082
22 | 0.11432 | 0.02897 | -0.11375 | -0.028603 | 0.00057311 | 0.00036611 | 0.17105 | 0.17105 | 0.17105 | 0.99512 | -0.092711 | 0.98967 | -0.19763 | 46.993
23 | 0.027709 | 0.0069506 | -0.027692 | -0.0069401 | 1.6974e-05 | 1.0515e-05 | 0.041234 | 0.041234 | 0.041234 | 1 | 0 | 0.99933 | -0.012859 | 11.3281
24 | 0.048893 | 0.01235 | -0.048815 | -0.0123 | 7.8632e-05 | 4.9827e-05 | 0.073547 | 0.073547 | 0.073547 | 0.98967 | -0.19763 | 0.98794 | -0.23124 | 20.2053
25 | -0.043607 | -0.010963 | 0.043643 | 0.010986 | 3.6713e-05 | 2.3213e-05 | 0.066132 | 0.066132 | 0.066132 | 0.98136 | -0.35827 | 0.98227 | -0.34066 | 18.1681
26 | 0.043607 | 0.010963 | -0.043571 | -0.01094 | 3.5853e-05 | 2.267e-05 | 0.066132 | 0.066132 | 0.066132 | 0.98136 | -0.35827 | 0.98048 | -0.3755 | 18.1681
27 | 0.037353 | 0.0093817 | -0.037318 | -0.0093594 | 3.542e-05 | 2.2298e-05 | 0.056695 | 0.056696 | 0.056696 | 0.98048 | -0.3755 | 0.97947 | -0.3954 | 15.5757
28 | 0.048815 | 0.0123 | -0.04877 | -0.012272 | 4.4324e-05 | 2.8088e-05 | 0.073547 | 0.073547 | 0.073547 | 0.98794 | -0.23124 | 0.98696 | -0.25024 | 20.2053
29 | 0.0092979 | 0.0023309 | -0.0092954 | -0.0023297 | 2.4444e-06 | 1.1407e-06 | 0.014018 | 0.014019 | 0.014019 | 0.98696 | -0.25024 | 0.98667 | -0.25576 | 3.8513
30 | 0.020428 | 0.0051344 | -0.020408 | -0.005122 | 2.0459e-05 | 1.2366e-05 | 0.030873 | 0.030873 | 0.030873 | 0.98475 | -0.29308 | 0.98368 | -0.31408 | 8.4817
31 | 0.0084708 | 0.0021231 | -0.0084704 | -0.0021229 | 4.1557e-07 | 1.7925e-07 | 0.012775 | 0.012775 | 0.012775 | 0.98667 | -0.25576 | 0.98662 | -0.25679 | 3.5096
32 | -0.0043887 | -0.0010998 | 0.0043889 | 0.0010998 | 2.0895e-07 | -2.3845e-08 | 0.0066694 | 0.0066693 | 0.0066694 | 0.97916 | -0.40152 | 0.97921 | -0.40052 | 1.8322
33 | 0.0043887 | 0.0010998 | -0.0043884 | -0.0010998 | 2.7919e-07 | -3.183e-08 | 0.0066694 | 0.0066694 | 0.0066694 | 0.97916 | -0.40152 | 0.97909 | -0.40285 | 1.8323
34 | -0.03054 | -0.0076579 | 0.030548 | 0.0076626 | 7.456e-06 | 4.6557e-06 | 0.046411 | 0.046411 | 0.046411 | 0.97921 | -0.40052 | 0.97947 | -0.3954 | 12.7502
35 | 0.026151 | 0.0065582 | -0.026141 | -0.0065515 | 1.0865e-05 | 6.723e-06 | 0.039742 | 0.039742 | 0.039742 | 0.97921 | -0.40052 | 0.97876 | -0.40924 | 10.918
36 | 0.0067698 | 0.0016968 | -0.0067684 | -0.0016963 | 1.3799e-06 | 4.4542e-07 | 0.010285 | 0.010285 | 0.010285 | 0.97947 | -0.3954 | 0.97925 | -0.39968 | 2.8255
37 | -0.0024206 | -0.00060666 | 0.0024206 | 0.00060658 | 4.3736e-08 | -8.1776e-08 | 0.0036672 | 0.0036671 | 0.0036672 | 0.9822 | -0.34204 | 0.98222 | -0.34166 | 1.0075
38 | -0.0048386 | -0.0012126 | 0.0048394 | 0.0012126 | 8.2363e-07 | 9.6408e-09 | 0.0073302 | 0.00733 | 0.0073302 | 0.98222 | -0.34166 | 0.98241 | -0.33808 | 2.0138
39 | 0.013572 | 0.0034017 | -0.013571 | -0.0034012 | 7.7027e-07 | 4.3142e-07 | 0.020556 | 0.020556 | 0.020556 | 0.98247 | -0.33689 | 0.98241 | -0.33808 | 5.6473
40 | 0.0051871 | 0.0013 | -0.0051869 | -0.0012999 | 2.8414e-07 | 2.6402e-08 | 0.0078563 | 0.0078563 | 0.0078563 | 0.98247 | -0.33689 | 0.98241 | -0.33804 | 2.1583
41 | 0.0015922 | 0.00039874 | -0.0015921 | -0.00039903 | 5.1643e-08 | -2.8796e-07 | 0.0023707 | 0.0023708 | 0.0023708 | 0.99933 | -0.012859 | 0.9993 | -0.01354 | 0.65132
42 | 0.017935 | 0.0045025 | -0.017924 | -0.0044957 | 1.1405e-05 | 6.7751e-06 | 0.027134 | 0.027134 | 0.027134 | 0.98368 | -0.31408 | 0.98299 | -0.32742 | 7.4544
43 | 0.0087321 | 0.0021886 | -0.0087312 | -0.0021882 | 9.1231e-07 | 4.0781e-07 | 0.013226 | 0.013226 | 0.013226 | 0.98241 | -0.33808 | 0.98229 | -0.34028 | 3.6336
44 | 0.015449 | 0.0038737 | -0.015442 | -0.0038699 | 6.5416e-06 | 3.783e-06 | 0.023393 | 0.023393 | 0.023393 | 0.98271 | -0.3329 | 0.98226 | -0.34179 | 6.4266
45 | -0.017919 | -0.0044929 | 0.017924 | 0.0044957 | 4.6864e-06 | 2.7842e-06 | 0.027134 | 0.027134 | 0.027134 | 0.98271 | -0.3329 | 0.98299 | -0.32742 | 7.4544
46 | 0.015442 | 0.0038699 | -0.015441 | -0.0038695 | 6.0721e-07 | 3.5116e-07 | 0.023393 | 0.023393 | 0.023393 | 0.98226 | -0.34179 | 0.98222 | -0.34262 | 6.4266
47 | 0.0071653 | 0.0017954 | -0.0071645 | -0.0017951 | 8.3843e-07 | 2.9647e-07 | 0.010855 | 0.010855 | 0.010855 | 0.98222 | -0.34262 | 0.98209 | -0.34507 | 2.9822
48 | 0.0082761 | 0.0020741 | -0.0082739 | -0.0020732 | 2.1412e-06 | 9.1077e-07 | 0.012538 | 0.012538 | 0.012538 | 0.98222 | -0.34262 | 0.98194 | -0.34805 | 3.4445
49 | 0.0048217 | 0.0012079 | -0.0048214 | -0.0012079 | 3.1177e-07 | 2.4274e-09 | 0.0073054 | 0.0073054 | 0.0073054 | 0.98209 | -0.34507 | 0.98202 | -0.34643 | 2.007
50 | 0.0060296 | 0.0015108 | -0.0060295 | -0.0015107 | 6.2405e-08 | 1.4724e-08 | 0.009137 | 0.009137 | 0.009137 | 0.98194 | -0.34805 | 0.98193 | -0.34827 | 2.5102
51 | 0.0048214 | 0.0012079 | -0.0048208 | -0.0012079 | 5.4312e-07 | 4.3042e-09 | 0.0073054 | 0.0073056 | 0.0073056 | 0.98202 | -0.34643 | 0.9819 | -0.3488 | 2.007
52 | 0.0037589 | 0.00094166 | -0.0037586 | -0.00094176 | 2.5311e-07 | -1.0113e-07 | 0.0056961 | 0.0056962 | 0.0056962 | 0.98193 | -0.34827 | 0.98186 | -0.34968 | 1.5649
53 | -0.0020144 | -0.00050487 | 0.0020145 | 0.00050464 | 7.5214e-08 | -2.2401e-07 | 0.003053 | 0.0030529 | 0.003053 | 0.98182 | -0.35047 | 0.98186 | -0.34968 | 0.83874
54 | 0.0025079 | 0.00062826 | -0.0025078 | -0.00062851 | 1.462e-07 | -2.4781e-07 | 0.0038005 | 0.0038006 | 0.0038006 | 0.9819 | -0.3488 | 0.98184 | -0.35002 | 1.0441

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33931 | 0.085968

## res_load
| p_mw | q_mvar
0 | 0.064169 | 0.016082
1 | 0.011685 | 0.0029286
2 | 0.023065 | 0.0057807
3 | 0.0056051 | 0.0014048
4 | 0.0085558 | 0.0021443
5 | 0.010631 | 0.0026643
6 | 0.0072353 | 0.0018133
7 | 0.064852 | 0.016253
8 | 0.0053773 | 0.0013477
9 | 0.0062179 | 0.0015583
10 | 0.0017384 | 0.00043568
11 | 0.0020647 | 0.00051746
12 | 0.00082462 | 0.00020667
13 | 0.0043884 | 0.0010998
14 | 0.026141 | 0.0065515
15 | 0.0067684 | 0.0016963
16 | 0.0095438 | 0.0023919
17 | 0.0024206 | 0.00060666
18 | 0.0024179 | 0.00060599
19 | 0.0261 | 0.0065413
20 | 0.0024721 | 0.00061957
21 | 0.0084704 | 0.0021229
22 | 0.0015921 | 0.00039903
23 | 0.0051869 | 0.0012999
24 | 0.0087312 | 0.0021882
25 | 0.0024708 | 0.00061924
26 | 0.0023428 | 0.00058716
27 | 0.0022443 | 0.00056248
28 | 0.0022706 | 0.00056908
29 | 0.0020144 | 0.00050487
30 | 0.0017441 | 0.00043712
31 | 0.0023129 | 0.00057967
32 | 0.0025078 | 0.00062851

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1