## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_11-1_1_2_node_20 | 0.4 | n |  | TRUE
1 | bus_LV_11-1_1_2_node_21 | 0.4 | n |  | TRUE
2 | bus_LV_11-1_1_2_node_22 | 0.4 | n |  | TRUE
3 | bus_LV_11-1_1_2_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_11-1_1_2_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_11-1_1_2_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_11-1_1_2_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_11-1_1_2_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_11-1_1_2_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_11-1_1_2_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_11-1_1_2_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_11-1_1_2_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_11-1_1_2_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_11-1_1_2_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_11-1_1_2_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_11-1_1_2_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_11-1_1_2_node_115 | 0.4 | n |  | TRUE
17 | bus_LV_11-1_1_2_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_11-1_1_2_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_11-1_1_2_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_11-1_1_2_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_11-1_1_2_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_11-1_1_2_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_11-1_1_2_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_11-1_1_2_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_11-1_1_2_node_105 | 0.4 | n |  | TRUE
26 | bus_LV_11-1_1_2_node_81 | 0.4 | n |  | TRUE
27 | bus_LV_11-1_1_2_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_11-1_1_2_node_201 | 0.4 | n |  | TRUE
29 | bus_LV_11-1_1_2_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_11-1_1_2_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_11-1_1_2_node_189 | 0.4 | n |  | TRUE
32 | bus_LV_11-1_1_2_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_11-1_1_2_node_188 | 0.4 | n |  | TRUE
34 | bus_LV_11-1_1_2_node_89 | 0.4 | n |  | TRUE
35 | bus_LV_11-1_1_2_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_11-1_1_2_node_159 | 0.4 | n |  | TRUE
37 | bus_LV_11-1_1_2_node_156 | 0.4 | n |  | TRUE
38 | bus_LV_11-1_1_2_node_202 | 0.4 | n |  | TRUE
39 | bus_LV_11-1_1_2_node_200 | 0.4 | n |  | TRUE
40 | bus_LV_11-1_1_2_node_69 | 0.4 | n |  | TRUE
41 | bus_LV_11-1_1_2_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_11-1_1_2_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_11-1_1_2_node_72 | 0.4 | n |  | TRUE
44 | bus_LV_11-1_1_2_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_11-1_1_2_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_11-1_1_2_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_11-1_1_2_node_86 | 0.4 | n |  | TRUE
48 | bus_LV_11-1_1_2_node_118 | 0.4 | n |  | TRUE
49 | bus_LV_11-1_1_2_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_11-1_1_2_node_96 | 0.4 | n |  | TRUE
51 | bus_LV_11-1_1_2_node_87 | 0.4 | n |  | TRUE
52 | bus_LV_11-1_1_2_node_88 | 0.4 | n |  | TRUE
53 | bus_LV_11-1_1_2_node_90 | 0.4 | n |  | TRUE
54 | bus_LV_11-1_1_2_node_91 | 0.4 | n |  | TRUE
55 | bus_LV_11-1_1_2_node_93 | 0.4 | n |  | TRUE
56 | bus_LV_11-1_1_2_node_95 | 0.4 | n |  | TRUE
57 | bus_LV_11-1_1_2_node_97 | 0.4 | n |  | TRUE
58 | bus_LV_11-1_1_2_node_98 | 0.4 | n |  | TRUE
59 | bus_LV_11-1_1_2_node_102 | 0.4 | n |  | TRUE
60 | bus_LV_11-1_1_2_node_99 | 0.4 | n |  | TRUE
61 | bus_LV_11-1_1_2_node_100 | 0.4 | n |  | TRUE
62 | bus_LV_11-1_1_2_node_101 | 0.4 | n |  | TRUE
63 | bus_LV_11-1_1_2_node_103 | 0.4 | n |  | TRUE
64 | bus_LV_11-1_1_2_node_104 | 0.4 | n |  | TRUE
65 | bus_LV_11-1_1_2_node_139 | 0.4 | n |  | TRUE
66 | bus_LV_11-1_1_2_node_116 | 0.4 | n |  | TRUE
67 | bus_LV_11-1_1_2_node_117 | 0.4 | n |  | TRUE
68 | bus_LV_11-1_1_2_node_119 | 0.4 | n |  | TRUE
69 | bus_LV_11-1_1_2_node_120 | 0.4 | n |  | TRUE
70 | bus_LV_11-1_1_2_node_121 | 0.4 | n |  | TRUE
71 | bus_LV_11-1_1_2_node_129 | 0.4 | n |  | TRUE
72 | bus_LV_11-1_1_2_node_130 | 0.4 | n |  | TRUE
73 | bus_LV_11-1_1_2_node_131 | 0.4 | n |  | TRUE
74 | bus_LV_11-1_1_2_node_132 | 0.4 | n |  | TRUE
75 | bus_LV_11-1_1_2_node_133 | 0.4 | n |  | TRUE
76 | bus_LV_11-1_1_2_node_134 | 0.4 | n |  | TRUE
77 | bus_LV_11-1_1_2_node_135 | 0.4 | n |  | TRUE
78 | bus_LV_11-1_1_2_node_136 | 0.4 | n |  | TRUE
79 | bus_LV_11-1_1_2_node_137 | 0.4 | n |  | TRUE
80 | bus_LV_11-1_1_2_node_138 | 0.4 | n |  | TRUE
81 | bus_LV_11-1_1_2_node_158 | 0.4 | n |  | TRUE
82 | bus_LV_11-1_1_2_node_157 | 0.4 | n |  | TRUE
83 | bus_LV_11-1_1_2_node_160 | 0.4 | n |  | TRUE
84 | bus_LV_11-1_1_2_node_161 | 0.4 | n |  | TRUE
85 | bus_LV_11-1_1_2_node_162 | 0.4 | n |  | TRUE
86 | bus_LV_11-1_1_2_node_163 | 0.4 | n |  | TRUE
87 | bus_LV_11-1_1_2_node_164 | 0.4 | n |  | TRUE
88 | bus_LV_11-1_1_2_node_165 | 0.4 | n |  | TRUE
89 | bus_MV_350_0_node_242 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_11-1_1_2_load_20 | 0 | 0.0022177 | 0.00055581 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_11-1_1_2_load_21 | 1 | 0.0021884 | 0.00054846 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_11-1_1_2_load_22 | 2 | 0.0013454 | 0.00033718 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_11-1_1_2_load_23 | 3 | 0.0016504 | 0.00041362 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_11-1_1_2_load_24 | 4 | 0.0020589 | 0.00051601 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_11-1_1_2_load_25 | 5 | 0.0009918 | 0.00024857 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_11-1_1_2_load_26 | 7 | 0.0030579 | 0.00076637 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_11-1_1_2_load_27 | 8 | 0.00056555 | 0.00014174 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_11-1_1_2_load_28 | 9 | 0.00077671 | 0.00019466 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_11-1_1_2_load_29 | 10 | 0.00066131 | 0.00016574 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_11-1_1_2_load_30 | 11 | 0.00078978 | 0.00019794 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_11-1_1_2_load_32 | 13 | 0.00072806 | 0.00018247 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_11-1_1_2_load_115 | 16 | 0.0027263 | 0.00068327 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_11-1_1_2_load_33 | 17 | 0.00095054 | 0.00023823 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_11-1_1_2_load_34 | 18 | 0.0039618 | 0.00099291 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_11-1_1_2_load_37 | 20 | 0.012397 | 0.003107 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_11-1_1_2_load_38 | 21 | 0.0010602 | 0.0002657 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_11-1_1_2_load_39 | 22 | 0.00061046 | 0.000153 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_11-1_1_2_load_40 | 23 | 0.015193 | 0.0038077 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_11-1_1_2_load_41 | 24 | 0.0022741 | 0.00056994 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_11-1_1_2_load_105 | 25 | 0.00060904 | 0.00015264 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_11-1_1_2_load_81 | 26 | 0.0025214 | 0.00063191 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_11-1_1_2_load_201 | 28 | 0.0043849 | 0.001099 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_11-1_1_2_load_189 | 31 | 0.0074975 | 0.001879 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_11-1_1_2_load_188 | 33 | 0.0023127 | 0.00057962 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_11-1_1_2_load_89 | 34 | 0.0028898 | 0.00072426 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_11-1_1_2_load_159 | 36 | 0.0029055 | 0.00072818 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_11-1_1_2_load_156 | 37 | 0.00075823 | 0.00019003 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_11-1_1_2_load_202 | 38 | 0.0082202 | 0.0020602 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_11-1_1_2_load_200 | 39 | 0.0015852 | 0.0003973 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_11-1_1_2_load_69 | 40 | 0.0069381 | 0.0017389 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_11-1_1_2_load_70 | 41 | 0.0042243 | 0.0010587 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_11-1_1_2_load_72 | 43 | 0.0068498 | 0.0017167 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_11-1_1_2_load_73 | 44 | 0.00069315 | 0.00017372 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_11-1_1_2_load_76 | 46 | 0.0049636 | 0.001244 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_11-1_1_2_load_86 | 47 | 0.0012918 | 0.00032375 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_11-1_1_2_load_82 | 49 | 0.013645 | 0.0034198 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_11-1_1_2_load_96 | 50 | 0.010121 | 0.0025365 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_11-1_1_2_load_87 | 51 | 0.00070094 | 0.00017567 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_11-1_1_2_load_88 | 52 | 0.00099941 | 0.00025048 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_11-1_1_2_load_90 | 53 | 0.0036333 | 0.00091058 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_11-1_1_2_load_91 | 54 | 0.0032963 | 0.00082614 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_11-1_1_2_load_93 | 55 | 0.0015478 | 0.00038791 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_11-1_1_2_load_95 | 56 | 0.0024919 | 0.00062453 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_11-1_1_2_load_97 | 57 | 0.0017173 | 0.00043039 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_11-1_1_2_load_102 | 59 | 0.00077953 | 0.00019537 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_11-1_1_2_load_99 | 60 | 0.0070072 | 0.0017562 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_11-1_1_2_load_100 | 61 | 0.00082159 | 0.00020591 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_11-1_1_2_load_101 | 62 | 0.00072806 | 0.00018247 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_11-1_1_2_load_103 | 63 | 0.00084453 | 0.00021166 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_11-1_1_2_load_104 | 64 | 0.00078294 | 0.00019622 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_11-1_1_2_load_139 | 65 | 0.0010673 | 0.00026749 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_11-1_1_2_load_116 | 66 | 0.0043186 | 0.0010823 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_11-1_1_2_load_117 | 67 | 0.0050854 | 0.0012745 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_11-1_1_2_load_119 | 68 | 0.0050148 | 0.0012568 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_11-1_1_2_load_120 | 69 | 0.004232 | 0.0010606 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_11-1_1_2_load_121 | 70 | 0.01083 | 0.0027142 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_11-1_1_2_load_129 | 71 | 0.00099227 | 0.00024869 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_11-1_1_2_load_130 | 72 | 0.0006382 | 0.00015995 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_11-1_1_2_load_131 | 73 | 0.00096488 | 0.00024182 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_11-1_1_2_load_132 | 74 | 0.00053607 | 0.00013435 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_11-1_1_2_load_133 | 75 | 0.00097686 | 0.00024482 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_11-1_1_2_load_134 | 76 | 0.00054039 | 0.00013543 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_11-1_1_2_load_135 | 77 | 0.00097725 | 0.00024492 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_11-1_1_2_load_136 | 78 | 0.00046188 | 0.00011576 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_11-1_1_2_load_138 | 80 | 0.00059094 | 0.0001481 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_11-1_1_2_load_158 | 81 | 0.00049009 | 0.00012283 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_11-1_1_2_load_157 | 82 | 0.00034141 | 8.5565e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_11-1_1_2_load_160 | 83 | 0.00039571 | 9.9174e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_11-1_1_2_load_161 | 84 | 0.00019009 | 4.7642e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_11-1_1_2_load_164 | 87 | 0.0011741 | 0.00029426 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_11-1_1_2_load_165 | 88 | 0.0066221 | 0.0016597 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_11-1_1_2_line_0 |  | 0 | 1 | 0.041463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_11-1_1_2_line_1 |  | 0 | 2 | 0.03005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_11-1_1_2_line_2 |  | 1 | 3 | 0.022287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_11-1_1_2_line_3 |  | 2 | 4 | 0.018723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_11-1_1_2_line_4 |  | 3 | 5 | 0.022886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_11-1_1_2_line_5 |  | 5 | 6 | 0.016935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_11-1_1_2_line_6 |  | 6 | 22 | 0.012766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_11-1_1_2_line_7 |  | 6 | 18 | 0.015615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_11-1_1_2_line_8 |  | 7 | 8 | 0.0048368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_11-1_1_2_line_9 |  | 7 | 9 | 0.010595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_11-1_1_2_line_10 |  | 8 | 10 | 0.0033192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_11-1_1_2_line_11 |  | 9 | 11 | 0.0057218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_11-1_1_2_line_12 |  | 10 | 12 | 0.077097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_11-1_1_2_line_13 |  | 11 | 13 | 0.0045303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_11-1_1_2_line_14 |  | 12 | 14 | 0.02112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_11-1_1_2_line_15 |  | 12 | 15 | 0.090179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_11-1_1_2_line_16 |  | 13 | 16 | 0.0060803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_11-1_1_2_line_17 |  | 14 | 39 | 0.10359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_11-1_1_2_line_18 |  | 15 | 46 | 0.024108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_11-1_1_2_line_19 |  | 15 | 42 | 0.09288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_11-1_1_2_line_20 |  | 16 | 63 | 0.0026014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_11-1_1_2_line_21 |  | 17 | 18 | 0.0051844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_11-1_1_2_line_22 |  | 17 | 19 | 0.027517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_11-1_1_2_line_23 |  | 19 | 20 | 0.021142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_11-1_1_2_line_24 |  | 19 | 21 | 0.022383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_11-1_1_2_line_25 |  | 20 | 23 | 0.023092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_11-1_1_2_line_26 |  | 21 | 24 | 0.027977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_11-1_1_2_line_27 |  | 22 | 25 | 0.0011863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_11-1_1_2_line_28 |  | 23 | 26 | 0.0060924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_11-1_1_2_line_29 |  | 25 | 56 | 0.024408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_11-1_1_2_line_30 |  | 26 | 49 | 0.00018102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_11-1_1_2_line_31 |  | 27 | 28 | 0.048049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_11-1_1_2_line_32 |  | 27 | 29 | 0.19546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_11-1_1_2_line_33 |  | 29 | 32 | 0.23524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_11-1_1_2_line_34 |  | 29 | 34 | 0.12222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_11-1_1_2_line_35 |  | 30 | 31 | 0.11771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_11-1_1_2_line_36 |  | 30 | 32 | 0.20408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_11-1_1_2_line_37 |  | 30 | 33 | 0.047088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_11-1_1_2_line_38 |  | 32 | 38 | 0.073069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_11-1_1_2_line_39 |  | 33 | 88 | 0.028267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_11-1_1_2_line_40 |  | 34 | 45 | 0.049459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_11-1_1_2_line_41 |  | 35 | 36 | 0.12734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_11-1_1_2_line_42 |  | 35 | 37 | 0.075207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_11-1_1_2_line_43 |  | 37 | 82 | 0.0038085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_11-1_1_2_line_44 |  | 40 | 41 | 0.047401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_11-1_1_2_line_45 |  | 40 | 42 | 0.013381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_11-1_1_2_line_46 |  | 41 | 43 | 0.0057465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_11-1_1_2_line_47 |  | 42 | 44 | 0.02538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_11-1_1_2_line_48 |  | 44 | 45 | 0.025628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_11-1_1_2_line_49 |  | 45 | 47 | 0.036048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_11-1_1_2_line_50 |  | 46 | 48 | 0.011939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_11-1_1_2_line_51 |  | 47 | 51 | 0.017927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_11-1_1_2_line_52 |  | 48 | 68 | 0.043011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_11-1_1_2_line_53 |  | 48 | 66 | 0.052736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_11-1_1_2_line_54 |  | 49 | 50 | 0.019785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_11-1_1_2_line_55 |  | 50 | 57 | 0.01177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_11-1_1_2_line_56 |  | 51 | 52 | 0.0098168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_11-1_1_2_line_57 |  | 53 | 54 | 0.031286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_11-1_1_2_line_58 |  | 54 | 55 | 0.02974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_11-1_1_2_line_59 |  | 55 | 56 | 0.0064236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_11-1_1_2_line_60 |  | 57 | 58 | 0.017745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_11-1_1_2_line_61 |  | 58 | 59 | 0.019162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_11-1_1_2_line_62 |  | 58 | 60 | 0.0038073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_11-1_1_2_line_63 |  | 59 | 64 | 0.0032521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_11-1_1_2_line_64 |  | 60 | 61 | 0.020102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_11-1_1_2_line_65 |  | 61 | 62 | 0.0064072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_11-1_1_2_line_66 |  | 62 | 63 | 0.00032364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_11-1_1_2_line_67 |  | 64 | 65 | 0.019574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_11-1_1_2_line_68 |  | 65 | 79 | 0.028097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_11-1_1_2_line_69 |  | 66 | 67 | 0.0009649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_11-1_1_2_line_70 |  | 68 | 69 | 0.019473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_11-1_1_2_line_71 |  | 69 | 70 | 0.020685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_11-1_1_2_line_72 |  | 71 | 72 | 0.010418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_11-1_1_2_line_73 |  | 71 | 73 | 0.0097937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_11-1_1_2_line_74 |  | 72 | 74 | 0.0034916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_11-1_1_2_line_75 |  | 73 | 75 | 0.013698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_11-1_1_2_line_76 |  | 74 | 76 | 0.012524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_11-1_1_2_line_77 |  | 75 | 77 | 0.0083962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_11-1_1_2_line_78 |  | 76 | 78 | 0.010151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_11-1_1_2_line_79 |  | 78 | 79 | 0.010267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_11-1_1_2_line_80 |  | 79 | 80 | 0.017545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_11-1_1_2_line_81 |  | 80 | 81 | 0.00064375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_11-1_1_2_line_82 |  | 81 | 82 | 0.0088473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_11-1_1_2_line_83 |  | 83 | 84 | 0.012504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_11-1_1_2_line_84 |  | 83 | 85 | 0.1375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_11-1_1_2_line_85 |  | 84 | 86 | 0.034261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_11-1_1_2_line_86 |  | 85 | 87 | 0.0757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_11-1_1_2_line_87 |  | 86 | 88 | 0.082794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_11-1_1_2_trafo_72 | 0.63 MVA 20/0.4 kV | 89 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2673353.994 | 1236650.7102 | 2673381.7981 | 1236624.3566 | 2673383.7132 | 1236621.8502
1 | 2673401.9577 | 1236597.973 | 2673383.7132 | 1236621.8502
2 | 2673353.994 | 1236650.7102 | 2673337.8181 | 1236666.0422 | 2673337.8181 | 1236666.0422
3 | 2673413.3255 | 1236583.0955 | 2673401.9577 | 1236597.973
4 | 2673337.8181 | 1236666.0422 | 2673354.0268 | 1236682.1985
5 | 2673366.021 | 1236694.1541 | 2673354.0268 | 1236682.1985
6 | 2673366.021 | 1236694.1541 | 2673374.9885 | 1236685.0683
7 | 2673366.021 | 1236694.1541 | 2673355.5437 | 1236705.7324
8 | 2673218.4962 | 1236839.6628 | 2673214.4379 | 1236842.2943
9 | 2673227.3858 | 1236833.8987 | 2673218.4962 | 1236839.6628
10 | 2673211.6529 | 1236844.1001 | 2673214.4379 | 1236842.2943
11 | 2673227.3858 | 1236833.8987 | 2673232.1867 | 1236830.7857
12 | 2673147.0683 | 1236886.0418 | 2673167.4282 | 1236870.8599 | 2673200.1806 | 1236851.5389 | 2673211.6529 | 1236844.1001
13 | 2673232.1867 | 1236830.7857 | 2673232.1867 | 1236830.7857 | 2673235.8951 | 1236828.1837
14 | 2673130.9714 | 1236899.7642 | 2673139.8518 | 1236892.0126 | 2673147.0683 | 1236886.0418
15 | 2673129.8467 | 1236800.0152 | 2673128.6008 | 1236811.4744 | 2673128.0526 | 1236827.1117 | 2673128.5833 | 1236835.6241 | 2673129.8046 | 1236846.4355 | 2673132.3172 | 1236856.2287 | 2673135.3375 | 1236865.3499 | 2673139.6872 | 1236875.2769 | 2673147.0683 | 1236886.0418
16 | 2673235.8951 | 1236828.1837 | 2673240.8724 | 1236824.6914
17 | 2673216.1147 | 1236906.8843 | 2673202.9824 | 1236927.47 | 2673199.6992 | 1236929.253 | 2673196.1806 | 1236929.8767 | 2673183.856 | 1236926.0778 | 2673175.0731 | 1236922.8452 | 2673152.3134 | 1236911.724 | 2673138.2088 | 1236904.3787 | 2673130.9714 | 1236899.7642
18 | 2673129.8467 | 1236800.0152 | 2673153.8699 | 1236802.0364
19 | 2673139.225 | 1236707.6229 | 2673133.2781 | 1236764.0884 | 2673132.6266 | 1236770.9073 | 2673130.9927 | 1236788.0656 | 2673129.8467 | 1236800.0152
20 | 2673243.0019 | 1236823.1972 | 2673240.8724 | 1236824.6914
21 | 2673355.5437 | 1236705.7324 | 2673352.0651 | 1236709.5766
22 | 2673333.6006 | 1236729.9785 | 2673335.0659 | 1236728.3621 | 2673352.0651 | 1236709.5766
23 | 2673333.6006 | 1236729.9785 | 2673321.905 | 1236742.6206 | 2673319.3248 | 1236745.5709
24 | 2673333.6006 | 1236729.9785 | 2673351.5265 | 1236743.3817
25 | 2673319.3248 | 1236745.5709 | 2673304.1228 | 1236762.953
26 | 2673368.377 | 1236764.9762 | 2673359.9099 | 1236749.6501 | 2673351.5265 | 1236743.3817
27 | 2673375.8219 | 1236684.224 | 2673374.9885 | 1236685.0683
28 | 2673300.112 | 1236767.539 | 2673304.1228 | 1236762.953
29 | 2673375.8219 | 1236684.224 | 2673377.4158 | 1236682.6091 | 2673393.0944 | 1236666.9789
30 | 2673299.9929 | 1236767.6753 | 2673300.112 | 1236767.539
31 | 2673050.739 | 1236642.2895 | 2673010.2737 | 1236616.1965
32 | 2673050.739 | 1236642.2895 | 2673093.3783 | 1236514.493 | 2673103.1151 | 1236493.1537 | 2673113.4944 | 1236486.6325 | 2673131.9129 | 1236485.4139 | 2673138.4824 | 1236485.3169
33 | 2673125.8919 | 1236266.4454 | 2673130.9996 | 1236275.6923 | 2673135.7156 | 1236288.4814 | 2673138.1529 | 1236297.651 | 2673139.4869 | 1236309.7646 | 2673139.4405 | 1236332.5796 | 2673143.5192 | 1236333.1969 | 2673147.1968 | 1236335.0546 | 2673150.0969 | 1236337.9812 | 2673151.9206 | 1236341.6728 | 2673152.4793 | 1236345.4601 | 2673151.9031 | 1236349.2333 | 2673150.2414 | 1236352.6708 | 2673147.6339 | 1236355.4739 | 2673144.3185 | 1236357.39 | 2673140.5848 | 1236358.2446 | 2673139.2798 | 1236378.7982 | 2673138.4824 | 1236485.3169
34 | 2673138.4824 | 1236485.3169 | 2673143.6626 | 1236572.2069 | 2673144.526 | 1236587.5058 | 2673144.7116 | 1236607.3623
35 | 2673057.7021 | 1236078.7671 | 2673066.4507 | 1236078.7413 | 2673087.6146 | 1236078.3791 | 2673117.9829 | 1236077.8412 | 2673175.7223 | 1236076.1952
36 | 2673057.7021 | 1236078.7671 | 2673058.3786 | 1236097.5994 | 2673059.2455 | 1236115.7113 | 2673061.6209 | 1236137.3109 | 2673066.5664 | 1236160.3652 | 2673087.6567 | 1236205.9224 | 2673125.8919 | 1236266.4454
37 | 2673057.7021 | 1236078.7671 | 2673057.5613 | 1236065.6119 | 2673057.5494 | 1236031.6794
38 | 2673125.8919 | 1236266.4454 | 2673138.7025 | 1236248.7242 | 2673149.6168 | 1236241.8094 | 2673160.6779 | 1236240.7893 | 2673177.6695 | 1236242.433 | 2673187.3677 | 1236245.7769
39 | 2673058.9523 | 1236003.458 | 2673057.547 | 1236024.9395 | 2673057.5494 | 1236031.6794
40 | 2673143.4454 | 1236656.7955 | 2673144.2216 | 1236641.0832 | 2673144.6395 | 1236626.2004 | 2673144.7284 | 1236609.1564 | 2673144.7116 | 1236607.3623
41 | 2673433.4169 | 1236854.6969 | 2673452.6155 | 1236816.0187 | 2673465.501 | 1236795.8975 | 2673466.3463 | 1236793.0171 | 2673465.8668 | 1236791.4101 | 2673418.24 | 1236762.7462
42 | 2673433.4169 | 1236854.6969 | 2673421.6604 | 1236852.072 | 2673390.904 | 1236850.0351 | 2673374.9832 | 1236847.003 | 2673360.3129 | 1236840.2968
43 | 2673356.8491 | 1236838.7134 | 2673360.3129 | 1236840.2968
44 | 2673152.5593 | 1236708.7433 | 2673152.4497 | 1236717.637 | 2673153.7516 | 1236720.6773 | 2673155.5251 | 1236721.6776 | 2673158.6453 | 1236722.0719 | 2673188.4087 | 1236718.169
45 | 2673139.225 | 1236707.6229 | 2673152.5593 | 1236708.7433 | 2673152.5593 | 1236708.7433
46 | 2673191.3267 | 1236713.4907 | 2673190.3966 | 1236716.5035 | 2673188.4087 | 1236718.169
47 | 2673139.225 | 1236707.6229 | 2673141.5817 | 1236684.0023 | 2673141.694 | 1236682.3637
48 | 2673143.4454 | 1236656.7955 | 2673141.694 | 1236682.3637
49 | 2673143.4454 | 1236656.7955 | 2673151.778 | 1236656.6869 | 2673162.8307 | 1236650.1518 | 2673170.7145 | 1236637.539
50 | 2673165.7669 | 1236803.0373 | 2673153.8699 | 1236802.0364
51 | 2673170.7145 | 1236637.539 | 2673180.2165 | 1236622.3371
52 | 2673165.7669 | 1236803.0373 | 2673195.277 | 1236805.5358 | 2673200.2303 | 1236793.0902
53 | 2673165.7669 | 1236803.0373 | 2673167.9172 | 1236788.198 | 2673167.5893 | 1236771.2046 | 2673165.8846 | 1236750.5294
54 | 2673299.9929 | 1236767.6753 | 2673298.6721 | 1236769.1855 | 2673292.6625 | 1236776.0494 | 2673287.0887 | 1236782.6718
55 | 2673287.0887 | 1236782.6718 | 2673279.5094 | 1236791.6768
56 | 2673185.6984 | 1236614.1982 | 2673182.314 | 1236618.9815 | 2673180.2165 | 1236622.3371
57 | 2673440.0773 | 1236618.6195 | 2673428.8852 | 1236631.2986 | 2673418.7056 | 1236641.4467
58 | 2673418.7056 | 1236641.4467 | 2673397.6436 | 1236662.4437
59 | 2673397.6436 | 1236662.4437 | 2673393.0944 | 1236666.9789
60 | 2673267.2875 | 1236804.5338 | 2673277.7414 | 1236793.7775 | 2673279.5094 | 1236791.6768
61 | 2673267.2875 | 1236804.5338 | 2673275.3291 | 1236812.0492 | 2673283.0829 | 1236814.5765
62 | 2673267.2875 | 1236804.5338 | 2673264.3111 | 1236806.9079
63 | 2673283.0829 | 1236814.5765 | 2673286.1749 | 1236815.5843
64 | 2673248.5118 | 1236819.3312 | 2673250.3757 | 1236818.0234 | 2673264.3111 | 1236806.9079
65 | 2673248.5118 | 1236819.3312 | 2673243.2669 | 1236823.0113
66 | 2673243.2669 | 1236823.0113 | 2673243.0019 | 1236823.1972
67 | 2673286.1749 | 1236815.5843 | 2673295.0068 | 1236818.463 | 2673305.1182 | 1236820.3437
68 | 2673332.2603 | 1236827.4733 | 2673313.7672 | 1236821.9524 | 2673305.1182 | 1236820.3437
69 | 2673165.8846 | 1236750.5294 | 2673165.8053 | 1236749.5678
70 | 2673207.4311 | 1236774.9975 | 2673200.2303 | 1236793.0902
71 | 2673215.0799 | 1236755.779 | 2673207.4311 | 1236774.9975
72 | 2673303.5075 | 1236864.0375 | 2673311.2588 | 1236857.0768
73 | 2673296.2206 | 1236870.5811 | 2673303.5075 | 1236864.0375
74 | 2673313.8566 | 1236854.7439 | 2673311.2588 | 1236857.0768
75 | 2673296.2206 | 1236870.5811 | 2673286.0288 | 1236879.7334
76 | 2673313.8566 | 1236854.7439 | 2673314.8718 | 1236853.8323 | 2673321.0172 | 1236844.5166
77 | 2673279.7818 | 1236885.3433 | 2673286.0288 | 1236879.7334
78 | 2673321.0172 | 1236844.5166 | 2673326.6067 | 1236836.0435
79 | 2673332.2603 | 1236827.4733 | 2673326.6067 | 1236836.0435
80 | 2673332.2603 | 1236827.4733 | 2673348.2172 | 1236834.7676
81 | 2673348.2172 | 1236834.7676 | 2673348.8027 | 1236835.0352
82 | 2673356.8491 | 1236838.7134 | 2673348.8027 | 1236835.0352
83 | 2673114.7614 | 1235932.7645 | 2673127.1777 | 1235934.2411
84 | 2673264.0218 | 1235947.4507 | 2673207.65 | 1235942.4192 | 2673161.08 | 1235938.4985 | 2673133.5758 | 1235935.002 | 2673127.1777 | 1235934.2411
85 | 2673081.7241 | 1235924.2568 | 2673103.7489 | 1235931.4548 | 2673114.7614 | 1235932.7645
86 | 2673264.0218 | 1235947.4507 | 2673286.708 | 1235949.4762 | 2673333.1376 | 1235955.5643 | 2673339.1937 | 1235956.2685
87 | 2673081.7241 | 1235924.2568 | 2673064.4947 | 1235972.0109 | 2673061.1975 | 1235984.112 | 2673059.2993 | 1235998.1538 | 2673058.9523 | 1236003.458

## bus_geodata
| x | y | coords
0 | 2673383.7132 | 1236621.8502
1 | 2673353.994 | 1236650.7102
2 | 2673401.9577 | 1236597.973
3 | 2673337.8181 | 1236666.0422
4 | 2673413.3255 | 1236583.0955
5 | 2673354.0268 | 1236682.1985
6 | 2673366.021 | 1236694.1541
7 | 2673218.4962 | 1236839.6628
8 | 2673214.4379 | 1236842.2943
9 | 2673227.3858 | 1236833.8987
10 | 2673211.6529 | 1236844.1001
11 | 2673232.1867 | 1236830.7857
12 | 2673147.0683 | 1236886.0418
13 | 2673235.8951 | 1236828.1837
14 | 2673130.9714 | 1236899.7642
15 | 2673129.8467 | 1236800.0152
16 | 2673240.8724 | 1236824.6914
17 | 2673352.0651 | 1236709.5766
18 | 2673355.5437 | 1236705.7324
19 | 2673333.6006 | 1236729.9785
20 | 2673319.3247 | 1236745.5709
21 | 2673351.5265 | 1236743.3817
22 | 2673374.9885 | 1236685.0683
23 | 2673304.1228 | 1236762.953
24 | 2673368.377 | 1236764.9762
25 | 2673375.8219 | 1236684.224
26 | 2673300.112 | 1236767.539
27 | 2673050.7391 | 1236642.2895
28 | 2673010.2737 | 1236616.1965
29 | 2673138.4824 | 1236485.3169
30 | 2673057.7021 | 1236078.7671
31 | 2673175.7223 | 1236076.1952
32 | 2673125.8919 | 1236266.4454
33 | 2673057.5494 | 1236031.6794
34 | 2673144.7116 | 1236607.3623
35 | 2673433.4169 | 1236854.6969
36 | 2673418.24 | 1236762.7462
37 | 2673360.3129 | 1236840.2968
38 | 2673187.3677 | 1236245.7769
39 | 2673216.1147 | 1236906.8843
40 | 2673152.5593 | 1236708.7433
41 | 2673188.4087 | 1236718.1691
42 | 2673139.225 | 1236707.6229
43 | 2673191.3267 | 1236713.4907
44 | 2673141.694 | 1236682.3637
45 | 2673143.4454 | 1236656.7955
46 | 2673153.8699 | 1236802.0364
47 | 2673170.7145 | 1236637.539
48 | 2673165.7669 | 1236803.0373
49 | 2673299.9929 | 1236767.6753
50 | 2673287.0887 | 1236782.6718
51 | 2673180.2165 | 1236622.3371
52 | 2673185.6984 | 1236614.1982
53 | 2673440.0773 | 1236618.6195
54 | 2673418.7056 | 1236641.4467
55 | 2673397.6436 | 1236662.4437
56 | 2673393.0944 | 1236666.9789
57 | 2673279.5094 | 1236791.6768
58 | 2673267.2875 | 1236804.5338
59 | 2673283.0829 | 1236814.5765
60 | 2673264.3111 | 1236806.9079
61 | 2673248.5118 | 1236819.3312
62 | 2673243.2669 | 1236823.0113
63 | 2673243.0019 | 1236823.1972
64 | 2673286.1749 | 1236815.5843
65 | 2673305.1182 | 1236820.3437
66 | 2673165.8846 | 1236750.5294
67 | 2673165.8053 | 1236749.5678
68 | 2673200.2303 | 1236793.0902
69 | 2673207.4311 | 1236774.9975
70 | 2673215.0799 | 1236755.779
71 | 2673303.5075 | 1236864.0375
72 | 2673311.2588 | 1236857.0768
73 | 2673296.2206 | 1236870.5811
74 | 2673313.8566 | 1236854.7439
75 | 2673286.0288 | 1236879.7334
76 | 2673321.0172 | 1236844.5166
77 | 2673279.7818 | 1236885.3433
78 | 2673326.6067 | 1236836.0435
79 | 2673332.2603 | 1236827.4733
80 | 2673348.2172 | 1236834.7676
81 | 2673348.8027 | 1236835.0352
82 | 2673356.8491 | 1236838.7134
83 | 2673127.1777 | 1235934.2411
84 | 2673114.7614 | 1235932.7645
85 | 2673264.0218 | 1235947.4507
86 | 2673081.7241 | 1235924.2568
87 | 2673339.1937 | 1235956.2685
88 | 2673058.9523 | 1236003.458
89 | 2673139.225 | 1236707.6229

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97013 | -0.57599 | 0.0022177 | 0.00055581
1 | 0.97035 | -0.57167 | 0.0021884 | 0.00054846
2 | 0.97004 | -0.57789 | 0.0013454 | 0.00033718
3 | 0.97051 | -0.56845 | 0.0016504 | 0.00041362
4 | 0.97 | -0.5786 | 0.0020589 | 0.00051601
5 | 0.97072 | -0.56444 | 0.0009918 | 0.00024857
6 | 0.97088 | -0.56117 | 0 | 0
7 | 0.97736 | -0.43353 | 0.0030579 | 0.00076637
8 | 0.97763 | -0.42833 | 0.00056555 | 0.00014174
9 | 0.9768 | -0.44463 | 0.00077671 | 0.00019466
10 | 0.97781 | -0.42475 | 0.00066131 | 0.00016574
11 | 0.97649 | -0.45059 | 0.00078978 | 0.00019794
12 | 0.98209 | -0.34147 | 0 | 0
13 | 0.97625 | -0.45527 | 0.00072806 | 0.00018247
14 | 0.98206 | -0.34208 | 0 | 0
15 | 0.98717 | -0.24369 | 0 | 0
16 | 0.97594 | -0.46153 | 0.0027263 | 0.00068327
17 | 0.97111 | -0.55663 | 0.00095054 | 0.00023823
18 | 0.97105 | -0.5579 | 0.0039618 | 0.00099291
19 | 0.97146 | -0.54962 | 0 | 0
20 | 0.97177 | -0.54359 | 0.012397 | 0.003107
21 | 0.9714 | -0.551 | 0.0010602 | 0.0002657
22 | 0.97074 | -0.56405 | 0.00061046 | 0.000153
23 | 0.97224 | -0.53436 | 0.015193 | 0.0038077
24 | 0.97134 | -0.55217 | 0.0022741 | 0.00056994
25 | 0.97072 | -0.5643 | 0.00060904 | 0.00015264
26 | 0.9724 | -0.53108 | 0.0025214 | 0.00063191
27 | 0.9863 | -0.26132 | 0 | 0
28 | 0.98611 | -0.2651 | 0.0043849 | 0.001099
29 | 0.98709 | -0.24596 | 0 | 0
30 | 0.97789 | -0.42539 | 0 | 0
31 | 0.97707 | -0.44149 | 0.0074975 | 0.001879
32 | 0.98133 | -0.35788 | 0 | 0
33 | 0.97742 | -0.43458 | 0.0023127 | 0.00057962
34 | 0.99058 | -0.17877 | 0.0028898 | 0.00072426
35 | 0.97314 | -0.51655 | 0 | 0
36 | 0.9728 | -0.52337 | 0.0029055 | 0.00072818
37 | 0.97335 | -0.51252 | 0.00075823 | 0.00019003
38 | 0.98078 | -0.36876 | 0.0082202 | 0.0020602
39 | 0.98191 | -0.34505 | 0.0015852 | 0.0003973
40 | 0.99506 | -0.093049 | 0.0069381 | 0.0017389
41 | 0.99946 | -0.010205 | 0.0042243 | 0.0010587
42 | 0.99387 | -0.11575 | 0 | 0
43 | 1 | 0 | -0.20945 | -0.053688
44 | 0.99299 | -0.13252 | 0.00069315 | 0.00017372
45 | 0.99212 | -0.14918 | 0 | 0
46 | 0.9864 | -0.25856 | 0.0049636 | 0.001244
47 | 0.99202 | -0.15109 | 0.0012918 | 0.00032375
48 | 0.98608 | -0.26487 | 0 | 0
49 | 0.97241 | -0.53098 | 0.013645 | 0.0034198
50 | 0.9731 | -0.51737 | 0.010121 | 0.0025365
51 | 0.99199 | -0.15163 | 0.00070094 | 0.00017567
52 | 0.99199 | -0.1518 | 0.00099941 | 0.00025048
53 | 0.97012 | -0.57619 | 0.0036333 | 0.00091058
54 | 0.97023 | -0.57408 | 0.0032963 | 0.00082614
55 | 0.97042 | -0.57026 | 0.0015478 | 0.00038791
56 | 0.97047 | -0.56926 | 0.0024919 | 0.00062453
57 | 0.97356 | -0.50819 | 0.0017173 | 0.00043039
58 | 0.97428 | -0.49409 | 0 | 0
59 | 0.97403 | -0.49895 | 0.00077953 | 0.00019537
60 | 0.97446 | -0.49059 | 0.0070072 | 0.0017562
61 | 0.97546 | -0.47081 | 0.00082159 | 0.00020591
62 | 0.97579 | -0.46446 | 0.00072806 | 0.00018247
63 | 0.9758 | -0.46414 | 0.00084453 | 0.00021166
64 | 0.97399 | -0.49973 | 0.00078294 | 0.00019622
65 | 0.97377 | -0.50414 | 0.0010673 | 0.00026749
66 | 0.98562 | -0.27376 | 0.0043186 | 0.0010823
67 | 0.98562 | -0.27385 | 0.0050854 | 0.0012745
68 | 0.98528 | -0.28036 | 0.0050148 | 0.0012568
69 | 0.98501 | -0.28563 | 0.004232 | 0.0010606
70 | 0.98481 | -0.28965 | 0.01083 | 0.0027142
71 | 0.97325 | -0.51433 | 0.00099227 | 0.00024869
72 | 0.97329 | -0.51358 | 0.0006382 | 0.00015995
73 | 0.97323 | -0.51486 | 0.00096488 | 0.00024182
74 | 0.97331 | -0.51329 | 0.00053607 | 0.00013435
75 | 0.9732 | -0.51535 | 0.00097686 | 0.00024482
76 | 0.97337 | -0.51212 | 0.00054039 | 0.00013543
77 | 0.97319 | -0.5155 | 0.00097725 | 0.00024492
78 | 0.97342 | -0.51107 | 0.00046188 | 0.00011576
79 | 0.97348 | -0.50992 | 0 | 0
80 | 0.97339 | -0.51156 | 0.00059094 | 0.0001481
81 | 0.97339 | -0.51161 | 0.00049009 | 0.00012283
82 | 0.97336 | -0.51227 | 0.00034141 | 8.5565e-05
83 | 0.97699 | -0.44305 | 0.00039571 | 9.9174e-05
84 | 0.97701 | -0.44269 | 0.00019009 | 4.7642e-05
85 | 0.97684 | -0.44601 | 0 | 0
86 | 0.97707 | -0.44159 | 0 | 0
87 | 0.97676 | -0.44764 | 0.0011741 | 0.00029426
88 | 0.9772 | -0.43891 | 0.0066221 | 0.0016597
89 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0056223 | -0.0014086 | 0.0056235 | 0.0014089 | 1.1563e-06 | 2.2793e-07 | 0.0086235 | 0.0086233 | 0.0086235 | 0.97013 | -0.57599 | 0.97035 | -0.57167 | 2.3691
1 | 0.0034046 | 0.00085282 | -0.0034043 | -0.000853 | 3.0729e-07 | -1.7433e-07 | 0.0052219 | 0.0052221 | 0.0052221 | 0.97013 | -0.57599 | 0.97004 | -0.57789 | 1.4346
2 | -0.0078119 | -0.0019573 | 0.0078131 | 0.0019578 | 1.1993e-06 | 4.9221e-07 | 0.011979 | 0.011979 | 0.011979 | 0.97035 | -0.57167 | 0.97051 | -0.56845 | 3.291
3 | 0.002059 | 0.00051582 | -0.0020589 | -0.00051601 | 7.0039e-08 | -1.8631e-07 | 0.0031583 | 0.0031584 | 0.0031584 | 0.97004 | -0.57789 | 0.97 | -0.5786 | 0.86769
4 | -0.0094634 | -0.0023714 | 0.0094652 | 0.0023723 | 1.8067e-06 | 8.7344e-07 | 0.014509 | 0.014509 | 0.014509 | 0.97051 | -0.56845 | 0.97072 | -0.56444 | 3.9861
5 | -0.010457 | -0.0026209 | 0.010459 | 0.0026217 | 1.6318e-06 | 8.3496e-07 | 0.01603 | 0.01603 | 0.01603 | 0.97072 | -0.56444 | 0.97088 | -0.56117 | 4.4038
6 | 0.012195 | 0.0030576 | -0.012194 | -0.0030567 | 1.6725e-06 | 9.1255e-07 | 0.018691 | 0.018691 | 0.018691 | 0.97088 | -0.56117 | 0.97074 | -0.56405 | 5.135
7 | -0.022654 | -0.0056793 | 0.022657 | 0.0056812 | 3.5296e-06 | 1.8727e-06 | 0.034721 | 0.034721 | 0.034721 | 0.97088 | -0.56117 | 0.97105 | -0.5579 | 4.7694
8 | -0.11831 | -0.029848 | 0.11834 | 0.029866 | 2.9446e-05 | 1.8724e-05 | 0.18019 | 0.18019 | 0.18019 | 0.97736 | -0.43353 | 0.97763 | -0.42833 | 24.7515
9 | 0.11525 | 0.029081 | -0.11519 | -0.029042 | 6.121e-05 | 3.8909e-05 | 0.17554 | 0.17554 | 0.17554 | 0.97736 | -0.43353 | 0.9768 | -0.44463 | 24.112
10 | -0.1189 | -0.030008 | 0.11892 | 0.030021 | 2.0401e-05 | 1.2973e-05 | 0.18105 | 0.18105 | 0.18105 | 0.97763 | -0.42833 | 0.97781 | -0.42475 | 24.8698
11 | 0.11441 | 0.028848 | -0.11438 | -0.028827 | 3.2613e-05 | 2.0729e-05 | 0.17435 | 0.17435 | 0.17435 | 0.9768 | -0.44463 | 0.97649 | -0.45059 | 23.9495
12 | -0.11958 | -0.030187 | 0.12006 | 0.030491 | 0.00047913 | 0.0003047 | 0.18206 | 0.18206 | 0.18206 | 0.97781 | -0.42475 | 0.98209 | -0.34147 | 25.008
13 | 0.11359 | 0.028629 | -0.11356 | -0.028613 | 2.5466e-05 | 1.6185e-05 | 0.17315 | 0.17315 | 0.17315 | 0.97649 | -0.45059 | 0.97625 | -0.45527 | 23.7842
14 | 0.0015855 | 0.00039589 | -0.0015854 | -0.00039613 | 4.5687e-08 | -2.38e-07 | 0.0024017 | 0.0024018 | 0.0024018 | 0.98209 | -0.34147 | 0.98206 | -0.34208 | 0.65984
15 | -0.12165 | -0.030887 | 0.12222 | 0.031253 | 0.00057531 | 0.00036591 | 0.18446 | 0.18446 | 0.18446 | 0.98209 | -0.34147 | 0.98717 | -0.24369 | 25.3378
16 | 0.11284 | 0.02843 | -0.1128 | -0.028409 | 3.3743e-05 | 2.1443e-05 | 0.17204 | 0.17204 | 0.17204 | 0.97625 | -0.45527 | 0.97594 | -0.46153 | 23.6318
17 | 0.0015854 | 0.00039613 | -0.0015852 | -0.0003973 | 2.2414e-07 | -1.1671e-06 | 0.0024018 | 0.0024023 | 0.0024023 | 0.98206 | -0.34208 | 0.98191 | -0.34505 | 0.65997
18 | 0.034502 | 0.0086675 | -0.034478 | -0.0086521 | 2.4459e-05 | 1.5346e-05 | 0.052015 | 0.052015 | 0.052015 | 0.98717 | -0.24369 | 0.9864 | -0.25856 | 14.2898
19 | -0.15673 | -0.039921 | 0.1577 | 0.040542 | 0.00097383 | 0.00062086 | 0.23647 | 0.23647 | 0.23647 | 0.98717 | -0.24369 | 0.99387 | -0.11575 | 32.4825
20 | 0.11008 | 0.027726 | -0.11006 | -0.027717 | 1.3747e-05 | 8.7333e-06 | 0.16788 | 0.16788 | 0.16788 | 0.97594 | -0.46153 | 0.9758 | -0.46414 | 23.0608
21 | 0.026621 | 0.006675 | -0.026619 | -0.0066741 | 1.6175e-06 | 9.0692e-07 | 0.040792 | 0.040792 | 0.040792 | 0.97111 | -0.55663 | 0.97105 | -0.5579 | 5.6033
22 | -0.027571 | -0.0069132 | 0.027581 | 0.0069184 | 9.209e-06 | 5.2126e-06 | 0.042248 | 0.042248 | 0.042248 | 0.97111 | -0.55663 | 0.97146 | -0.54962 | 5.8033
23 | -0.030915 | -0.0077537 | 0.030924 | 0.0077588 | 8.8896e-06 | 5.1657e-06 | 0.047355 | 0.047355 | 0.047355 | 0.97146 | -0.54962 | 0.97177 | -0.54359 | 6.5049
24 | 0.0033346 | 0.00083524 | -0.0033344 | -0.00083538 | 2.1896e-07 | -1.3697e-07 | 0.0051075 | 0.0051076 | 0.0051076 | 0.97146 | -0.54962 | 0.9714 | -0.551 | 1.4032
25 | -0.043321 | -0.010866 | 0.04334 | 0.010877 | 1.9054e-05 | 1.1622e-05 | 0.066338 | 0.066338 | 0.066338 | 0.97177 | -0.54359 | 0.97224 | -0.53436 | 9.1124
26 | 0.0022742 | 0.00056968 | -0.0022741 | -0.00056994 | 1.2733e-07 | -2.6483e-07 | 0.0034836 | 0.0034838 | 0.0034838 | 0.9714 | -0.551 | 0.97134 | -0.55217 | 0.95708
27 | 0.011583 | 0.0029037 | -0.011583 | -0.0029036 | 1.4025e-07 | 7.5095e-08 | 0.017756 | 0.017756 | 0.017756 | 0.97074 | -0.56405 | 0.97072 | -0.5643 | 4.8779
28 | -0.058533 | -0.014685 | 0.058542 | 0.014691 | 9.1689e-06 | 5.717e-06 | 0.089591 | 0.089591 | 0.089591 | 0.97224 | -0.53436 | 0.9724 | -0.53108 | 12.3064
29 | 0.010974 | 0.002751 | -0.010971 | -0.0027496 | 2.5901e-06 | 1.356e-06 | 0.016822 | 0.016822 | 0.016822 | 0.97072 | -0.5643 | 0.97047 | -0.56926 | 4.6215
30 | -0.061064 | -0.015323 | 0.061064 | 0.015323 | 2.964e-07 | 1.852e-07 | 0.093449 | 0.093449 | 0.093449 | 0.9724 | -0.53108 | 0.97241 | -0.53098 | 12.8364
31 | 0.0043857 | 0.0010988 | -0.0043849 | -0.001099 | 7.8883e-07 | -1.0825e-07 | 0.0066165 | 0.0066167 | 0.0066167 | 0.9863 | -0.26132 | 0.98611 | -0.2651 | 1.8178
32 | -0.0043857 | -0.0010988 | 0.0043889 | 0.0010984 | 3.2084e-06 | -4.432e-07 | 0.0066165 | 0.0066156 | 0.0066165 | 0.9863 | -0.26132 | 0.98709 | -0.24596 | 1.8177
33 | 0.026631 | 0.006746 | -0.026488 | -0.0066579 | 0.00014235 | 8.8115e-05 | 0.04017 | 0.040172 | 0.040172 | 0.98709 | -0.24596 | 0.98133 | -0.35788 | 11.0361
34 | -0.031019 | -0.0078444 | 0.03112 | 0.007907 | 0.00010033 | 6.2641e-05 | 0.046786 | 0.046785 | 0.046786 | 0.98709 | -0.24596 | 0.99058 | -0.17877 | 12.8533
35 | 0.0075032 | 0.0018813 | -0.0074975 | -0.001879 | 5.7544e-06 | 2.2074e-06 | 0.011418 | 0.011418 | 0.011418 | 0.97789 | -0.42539 | 0.97707 | -0.44149 | 3.1369
36 | -0.018205 | -0.0045608 | 0.018264 | 0.0045959 | 5.8723e-05 | 3.5013e-05 | 0.027701 | 0.0277 | 0.027701 | 0.97789 | -0.42539 | 0.98133 | -0.35788 | 7.6102
37 | 0.010702 | 0.0026796 | -0.010697 | -0.0026772 | 4.6822e-06 | 2.4061e-06 | 0.016284 | 0.016284 | 0.016284 | 0.97789 | -0.42539 | 0.97742 | -0.43458 | 4.4735
38 | 0.0082245 | 0.002062 | -0.0082202 | -0.0020602 | 4.2618e-06 | 1.8049e-06 | 0.012471 | 0.012472 | 0.012472 | 0.98133 | -0.35788 | 0.98078 | -0.36876 | 3.4263
39 | 0.0083843 | 0.0020976 | -0.0083826 | -0.0020968 | 1.7267e-06 | 7.5088e-07 | 0.012763 | 0.012763 | 0.012763 | 0.97742 | -0.43458 | 0.9772 | -0.43891 | 3.5063
40 | -0.03401 | -0.0086313 | 0.034058 | 0.0086617 | 4.848e-05 | 3.0389e-05 | 0.051126 | 0.051126 | 0.051126 | 0.99058 | -0.17877 | 0.99212 | -0.14918 | 14.0457
41 | 0.0029064 | 0.0007272 | -0.0029055 | -0.00072818 | 9.4307e-07 | -9.7796e-07 | 0.0044437 | 0.0044443 | 0.0044443 | 0.97314 | -0.51655 | 0.9728 | -0.52337 | 1.221
42 | -0.0029064 | -0.0007272 | 0.002907 | 0.00072662 | 5.5686e-07 | -5.7818e-07 | 0.0044437 | 0.0044434 | 0.0044437 | 0.97314 | -0.51655 | 0.97335 | -0.51252 | 1.2208
43 | -0.0036652 | -0.00091665 | 0.0036652 | 0.00091663 | 4.4828e-08 | -1.8647e-08 | 0.0056025 | 0.0056025 | 0.0056025 | 0.97335 | -0.51252 | 0.97336 | -0.51227 | 1.5392
44 | -0.20266 | -0.052041 | 0.20348 | 0.052563 | 0.00081866 | 0.00052271 | 0.3035 | 0.3035 | 0.3035 | 0.99506 | -0.093049 | 0.99946 | -0.010205 | 41.6894
45 | 0.19572 | 0.050302 | -0.1955 | -0.050164 | 0.00021558 | 0.00013762 | 0.29312 | 0.29312 | 0.29312 | 0.99506 | -0.093049 | 0.99387 | -0.11575 | 40.2643
46 | -0.2077 | -0.053622 | 0.2078 | 0.053688 | 0.0001034 | 6.6028e-05 | 0.30979 | 0.30979 | 0.30979 | 0.99946 | -0.010205 | 1 | 0 | 42.5533
47 | 0.037804 | 0.0096226 | -0.037773 | -0.0096034 | 3.0547e-05 | 1.9221e-05 | 0.056653 | 0.056653 | 0.056653 | 0.99387 | -0.11575 | 0.99299 | -0.13252 | 15.5639
48 | 0.03708 | 0.0094296 | -0.03705 | -0.0094109 | 2.9725e-05 | 1.8693e-05 | 0.055614 | 0.055614 | 0.055614 | 0.99299 | -0.13252 | 0.99212 | -0.14918 | 15.2786
49 | 0.0029925 | 0.00074928 | -0.0029922 | -0.00074957 | 2.7228e-07 | -2.9119e-07 | 0.0044879 | 0.0044881 | 0.0044881 | 0.99212 | -0.14918 | 0.99202 | -0.15109 | 1.233
50 | 0.029514 | 0.0074081 | -0.029505 | -0.0074026 | 8.8767e-06 | 5.5287e-06 | 0.044527 | 0.044527 | 0.044527 | 0.9864 | -0.25856 | 0.98608 | -0.26487 | 12.2327
51 | 0.0017004 | 0.00042582 | -0.0017004 | -0.00042603 | 4.3732e-08 | -2.0346e-07 | 0.0025505 | 0.0025505 | 0.0025505 | 0.99202 | -0.15109 | 0.99199 | -0.15163 | 0.7007
52 | 0.020097 | 0.0050439 | -0.020083 | -0.0050349 | 1.4837e-05 | 8.9476e-06 | 0.03033 | 0.03033 | 0.03033 | 0.98608 | -0.26487 | 0.98528 | -0.28036 | 8.3324
53 | 0.009408 | 0.0023587 | -0.009404 | -0.0023569 | 3.9861e-06 | 1.8787e-06 | 0.014197 | 0.014197 | 0.014197 | 0.98608 | -0.26487 | 0.98562 | -0.27376 | 3.9004
54 | -0.074709 | -0.018743 | 0.074757 | 0.018773 | 4.849e-05 | 3.0542e-05 | 0.11433 | 0.11433 | 0.11433 | 0.97241 | -0.53098 | 0.9731 | -0.51737 | 15.7046
55 | -0.084878 | -0.02131 | 0.084915 | 0.021333 | 3.7185e-05 | 2.3506e-05 | 0.12981 | 0.12981 | 0.12981 | 0.9731 | -0.51737 | 0.97356 | -0.50819 | 17.8304
56 | 0.00099942 | 0.00025036 | -0.00099941 | -0.00025048 | 8.2734e-09 | -1.2144e-07 | 0.0014991 | 0.0014992 | 0.0014992 | 0.99199 | -0.15163 | 0.99199 | -0.1518 | 0.41186
57 | -0.0036333 | -0.00091058 | 0.0036336 | 0.00091043 | 3.6435e-07 | -1.5315e-07 | 0.0055728 | 0.0055727 | 0.0055728 | 0.97012 | -0.57619 | 0.97023 | -0.57408 | 1.531
58 | -0.00693 | -0.0017366 | 0.0069312 | 0.001737 | 1.2598e-06 | 4.3889e-07 | 0.010628 | 0.010628 | 0.010628 | 0.97023 | -0.57408 | 0.97042 | -0.57026 | 2.9198
59 | -0.008479 | -0.0021249 | 0.0084794 | 0.0021251 | 4.0718e-07 | 1.8123e-07 | 0.013001 | 0.013001 | 0.013001 | 0.97042 | -0.57026 | 0.97047 | -0.56926 | 3.5718
60 | -0.086633 | -0.021764 | 0.086691 | 0.021801 | 5.8351e-05 | 3.6903e-05 | 0.13243 | 0.13243 | 0.13243 | 0.97356 | -0.50819 | 0.97428 | -0.49409 | 18.1909
61 | 0.013816 | 0.0034629 | -0.013813 | -0.0034611 | 3.1997e-06 | 1.8093e-06 | 0.021102 | 0.021102 | 0.021102 | 0.97428 | -0.49409 | 0.97403 | -0.49895 | 5.7972
62 | -0.10051 | -0.025263 | 0.10052 | 0.025274 | 1.6827e-05 | 1.0675e-05 | 0.15353 | 0.15353 | 0.15353 | 0.97428 | -0.49409 | 0.97446 | -0.49059 | 21.0895
63 | 0.013034 | 0.0032657 | -0.013033 | -0.0032654 | 4.8347e-07 | 2.6895e-07 | 0.019911 | 0.019911 | 0.019911 | 0.97403 | -0.49895 | 0.97399 | -0.49973 | 5.47
64 | -0.10753 | -0.02703 | 0.10763 | 0.027095 | 0.00010166 | 6.4563e-05 | 0.16423 | 0.16423 | 0.16423 | 0.97446 | -0.49059 | 0.97546 | -0.47081 | 22.5593
65 | -0.10845 | -0.027301 | 0.10849 | 0.027322 | 3.2899e-05 | 2.0896e-05 | 0.16548 | 0.16548 | 0.16548 | 0.97546 | -0.47081 | 0.97579 | -0.46446 | 22.7314
66 | -0.10922 | -0.027504 | 0.10922 | 0.027505 | 1.6842e-06 | 1.0698e-06 | 0.16659 | 0.16659 | 0.16659 | 0.97579 | -0.46446 | 0.9758 | -0.46414 | 22.8839
67 | 0.01225 | 0.0030692 | -0.012248 | -0.0030678 | 2.5709e-06 | 1.4018e-06 | 0.018715 | 0.018715 | 0.018715 | 0.97399 | -0.49973 | 0.97377 | -0.50414 | 5.1415
68 | 0.01118 | 0.0028003 | -0.011177 | -0.0027987 | 3.0752e-06 | 1.6187e-06 | 0.017084 | 0.017084 | 0.017084 | 0.97377 | -0.50414 | 0.97348 | -0.50992 | 4.6934
69 | 0.0050854 | 0.0012745 | -0.0050854 | -0.0012745 | 2.1329e-08 | 1.353e-09 | 0.0076776 | 0.0076776 | 0.0076776 | 0.98562 | -0.27376 | 0.98562 | -0.27385 | 2.1092
70 | 0.015068 | 0.0037781 | -0.015064 | -0.0037759 | 3.7816e-06 | 2.1723e-06 | 0.022757 | 0.022757 | 0.022757 | 0.98528 | -0.28036 | 0.98501 | -0.28563 | 6.2518
71 | 0.010832 | 0.0027153 | -0.01083 | -0.0027142 | 2.077e-06 | 1.066e-06 | 0.016363 | 0.016364 | 0.016364 | 0.98501 | -0.28563 | 0.98481 | -0.28965 | 4.4955
72 | -0.0039114 | -0.00097994 | 0.0039115 | 0.0009799 | 1.3971e-07 | -4.0055e-08 | 0.00598 | 0.00598 | 0.00598 | 0.97325 | -0.51433 | 0.97329 | -0.51358 | 1.6429
73 | 0.0029191 | 0.00073125 | -0.002919 | -0.00073133 | 7.3152e-08 | -7.4885e-08 | 0.0044629 | 0.004463 | 0.004463 | 0.97325 | -0.51433 | 0.97323 | -0.51486 | 1.2261
74 | -0.0045497 | -0.0011398 | 0.0045498 | 0.0011398 | 6.3348e-08 | -2.8508e-09 | 0.0069557 | 0.0069557 | 0.0069557 | 0.97329 | -0.51358 | 0.97331 | -0.51329 | 1.9109
75 | 0.0019542 | 0.00048951 | -0.0019541 | -0.00048965 | 4.5855e-08 | -1.4086e-07 | 0.0029877 | 0.0029878 | 0.0029878 | 0.97323 | -0.51486 | 0.9732 | -0.51535 | 0.82082
76 | -0.0050859 | -0.0012742 | 0.0050862 | 0.0012742 | 2.8393e-07 | 2.605e-08 | 0.0077752 | 0.0077752 | 0.0077752 | 0.97331 | -0.51329 | 0.97337 | -0.51212 | 2.1361
77 | 0.00097726 | 0.00024482 | -0.00097725 | -0.00024492 | 7.0297e-09 | -9.9828e-08 | 0.0014942 | 0.0014942 | 0.0014942 | 0.9732 | -0.51535 | 0.97319 | -0.5155 | 0.4105
78 | -0.0056265 | -0.0014097 | 0.0056268 | 0.0014097 | 2.8161e-07 | 5.4055e-08 | 0.0086013 | 0.0086013 | 0.0086013 | 0.97337 | -0.51212 | 0.97342 | -0.51107 | 2.363
79 | -0.0060887 | -0.0015255 | 0.006089 | 0.0015256 | 3.3352e-07 | 8.5815e-08 | 0.0093073 | 0.0093073 | 0.0093073 | 0.97342 | -0.51107 | 0.97348 | -0.50992 | 2.557
80 | 0.0050882 | 0.0012731 | -0.0050878 | -0.0012731 | 3.9793e-07 | 3.656e-08 | 0.0077769 | 0.007777 | 0.007777 | 0.97348 | -0.50992 | 0.97339 | -0.51156 | 2.1365
81 | 0.0044969 | 0.001125 | -0.0044969 | -0.001125 | 1.1405e-08 | -7.0261e-10 | 0.0068736 | 0.0068736 | 0.0068736 | 0.97339 | -0.51156 | 0.97339 | -0.51161 | 1.8883
82 | 0.0040068 | 0.0010022 | -0.0040067 | -0.0010022 | 1.2444e-07 | -3.0328e-08 | 0.0061244 | 0.0061244 | 0.0061244 | 0.97339 | -0.51161 | 0.97336 | -0.51227 | 1.6825
83 | -0.0015701 | -0.00039093 | 0.0015701 | 0.00039079 | 2.6792e-08 | -1.3943e-07 | 0.0023904 | 0.0023904 | 0.0023904 | 0.97699 | -0.44305 | 0.97701 | -0.44269 | 0.65671
84 | 0.0011744 | 0.00029176 | -0.0011742 | -0.00029337 | 1.6485e-07 | -1.6161e-06 | 0.0017877 | 0.0017883 | 0.0017883 | 0.97699 | -0.44305 | 0.97684 | -0.44601 | 0.4913
85 | -0.0017602 | -0.00043843 | 0.0017603 | 0.00043806 | 9.2266e-08 | -3.7003e-07 | 0.0026799 | 0.0026797 | 0.0026799 | 0.97701 | -0.44269 | 0.97707 | -0.44159 | 0.73623
86 | 0.0011742 | 0.00029337 | -0.0011741 | -0.00029426 | 9.0806e-08 | -8.8947e-07 | 0.0017883 | 0.0017887 | 0.0017887 | 0.97684 | -0.44601 | 0.97676 | -0.44764 | 0.4914
87 | -0.0017603 | -0.00043806 | 0.0017605 | 0.00043717 | 2.2292e-07 | -8.9443e-07 | 0.0026797 | 0.0026794 | 0.0026797 | 0.97707 | -0.44159 | 0.9772 | -0.43891 | 0.73619

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.2163 | 0.055405

## res_load
| p_mw | q_mvar
0 | 0.0022177 | 0.00055581
1 | 0.0021884 | 0.00054846
2 | 0.0013454 | 0.00033718
3 | 0.0016504 | 0.00041362
4 | 0.0020589 | 0.00051601
5 | 0.0009918 | 0.00024857
6 | 0.0030579 | 0.00076637
7 | 0.00056555 | 0.00014174
8 | 0.00077671 | 0.00019466
9 | 0.00066131 | 0.00016574
10 | 0.00078978 | 0.00019794
11 | 0.00072806 | 0.00018247
12 | 0.0027263 | 0.00068327
13 | 0.00095054 | 0.00023823
14 | 0.0039618 | 0.00099291
15 | 0.012397 | 0.003107
16 | 0.0010602 | 0.0002657
17 | 0.00061046 | 0.000153
18 | 0.015193 | 0.0038077
19 | 0.0022741 | 0.00056994
20 | 0.00060904 | 0.00015264
21 | 0.0025214 | 0.00063191
22 | 0.0043849 | 0.001099
23 | 0.0074975 | 0.001879
24 | 0.0023127 | 0.00057962
25 | 0.0028898 | 0.00072426
26 | 0.0029055 | 0.00072818
27 | 0.00075823 | 0.00019003
28 | 0.0082202 | 0.0020602
29 | 0.0015852 | 0.0003973
30 | 0.0069381 | 0.0017389
31 | 0.0042243 | 0.0010587
32 | 0.0068498 | 0.0017167
33 | 0.00069315 | 0.00017372
34 | 0.0049636 | 0.001244
35 | 0.0012918 | 0.00032375
36 | 0.013645 | 0.0034198
37 | 0.010121 | 0.0025365
38 | 0.00070094 | 0.00017567
39 | 0.00099941 | 0.00025048
40 | 0.0036333 | 0.00091058
41 | 0.0032963 | 0.00082614
42 | 0.0015478 | 0.00038791
43 | 0.0024919 | 0.00062453
44 | 0.0017173 | 0.00043039
45 | 0.00077953 | 0.00019537
46 | 0.0070072 | 0.0017562
47 | 0.00082159 | 0.00020591
48 | 0.00072806 | 0.00018247
49 | 0.00084453 | 0.00021166
50 | 0.00078294 | 0.00019622
51 | 0.0010673 | 0.00026749
52 | 0.0043186 | 0.0010823
53 | 0.0050854 | 0.0012745
54 | 0.0050148 | 0.0012568
55 | 0.004232 | 0.0010606
56 | 0.01083 | 0.0027142
57 | 0.00099227 | 0.00024869
58 | 0.0006382 | 0.00015995
59 | 0.00096488 | 0.00024182
60 | 0.00053607 | 0.00013435
61 | 0.00097686 | 0.00024482
62 | 0.00054039 | 0.00013543
63 | 0.00097725 | 0.00024492
64 | 0.00046188 | 0.00011576
65 | 0.00059094 | 0.0001481
66 | 0.00049009 | 0.00012283
67 | 0.00034141 | 8.5565e-05
68 | 0.00039571 | 9.9174e-05
69 | 0.00019009 | 4.7642e-05
70 | 0.0011741 | 0.00029426
71 | 0.0066221 | 0.0016597

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1